## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 4.283 | 0 | 9.2778 | 0 | 148.3662 | 6.297e-19 | -1e-07 | -4.9284e-19 | -1e-07 | -77.7798 | 102.2202 | 0 | 0 | 0 | 0
Line_1 | 3.4587 | 0 | 6.7756 | 0 | 119.8128 | 0 | -1e-07 | 1.6014e-19 | -1e-07 | -1.2512e-19 | -77.7798 | 0 | 0 | 0 | 0 | 0
Line_2 | 3.4587 | 0 | 6.7756 | 0 | 119.8128 | 0 | -1e-07 | 1.6014e-19 | -1e-07 | -1.2512e-19 | -77.7798 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 4.283 | 0 | 9.2778 | 0 | 148.3662 | 6.297e-19 | -1e-07 | -4.9284e-19 | -1e-07 | -77.7798 | 102.2202 | 0 | 0 | 0 | 0
Line_1 | 3.4587 | 0 | 6.7756 | 0 | 119.8128 | 0 | -1e-07 | 1.6014e-19 | -1e-07 | -1.2512e-19 | -77.7798 | 0 | 0 | 0 | 0 | 0
Line_2 | 3.4587 | 0 | 6.7756 | 0 | 119.8128 | 0 | -1e-07 | 1.6014e-19 | -1e-07 | -1.2512e-19 | -77.7798 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 1.3097 | 0 | 2.8371 | 0 | 45.3689 | -6.0676e-09 | -25.7292 | 5.5265e-09 | -25.7292 | -54.5297 | 125.4703 | 0.87234 | 0.80202 | -10.051 | -9.5297
Line_1 | 1.2119 | 0 | 2.3741 | 0 | 41.9813 | 0 | -22.0304 | -2.495e-09 | -22.0304 | 1.6066e-09 | -54.5297 | 0 | 0.74213 | 0.80202 | -9.0862 | -9.5297
Line_2 | 1.2119 | 0 | 2.3741 | 0 | 41.9813 | 0 | -22.0304 | -2.495e-09 | -22.0304 | 1.6066e-09 | -54.5297 | 0 | 0.74213 | 0.80202 | -9.0862 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 1.3097 | 0 | 2.8371 | 0 | 45.3689 | -6.0676e-09 | -25.7292 | 5.5265e-09 | -25.7292 | -54.5297 | 125.4703 | 0.87234 | 0.80202 | -10.051 | -9.5297
Line_1 | 1.2119 | 0 | 2.3741 | 0 | 41.9813 | 0 | -22.0304 | -2.495e-09 | -22.0304 | 1.6066e-09 | -54.5297 | 0 | 0.74213 | 0.80202 | -9.0862 | -9.5297
Line_2 | 1.2119 | 0 | 2.3741 | 0 | 41.9813 | 0 | -22.0304 | -2.495e-09 | -22.0304 | 1.6066e-09 | -54.5297 | 0 | 0.74213 | 0.80202 | -9.0862 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 3.6016 | 0 | 6.8381 | 0 | 124.7634 | 7.2789e-20 | -1e-07 | 2.6702e-19 | -1e-07 | -69.6723 | 110.3277 | 0 | 0 | 0 | 0
Line_1 | 2.7686 | 0 | 4.6525 | 0 | 95.9057 | 0 | -1e-07 | 1.7283e-20 | -1e-07 | 6.3218e-20 | -69.6723 | 0 | 0 | 0 | 0 | 0
Line_2 | 2.7686 | 0 | 4.6525 | 0 | 95.9057 | 0 | -1e-07 | 1.7283e-20 | -1e-07 | 6.3218e-20 | -69.6723 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 3.6016 | 0 | 6.8381 | 0 | 124.7634 | 7.2789e-20 | -1e-07 | 2.6702e-19 | -1e-07 | -69.6723 | 110.3277 | 0 | 0 | 0 | 0
Line_1 | 2.7686 | 0 | 4.6525 | 0 | 95.9057 | 0 | -1e-07 | 1.7283e-20 | -1e-07 | 6.3218e-20 | -69.6723 | 0 | 0 | 0 | 0 | 0
Line_2 | 2.7686 | 0 | 4.6525 | 0 | 95.9057 | 0 | -1e-07 | 1.7283e-20 | -1e-07 | 6.3218e-20 | -69.6723 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 1.1462 | 0 | 2.1763 | 0 | 39.7072 | -5.1465e-09 | -19.7082 | 4.6774e-09 | -19.7082 | -52.6343 | 127.3657 | 0.78485 | 0.70193 | -10.4046 | -7.6343
Line_1 | 1.0349 | 0 | 1.7392 | 0 | 35.8516 | 0 | -16.0667 | -2.233e-09 | -16.0667 | 1.0258e-09 | -52.6343 | 0 | 0.63377 | 0.70193 | -5.3977 | -7.6343
Line_2 | 1.0349 | 0 | 1.7392 | 0 | 35.8516 | 0 | -16.0667 | -2.233e-09 | -16.0667 | 1.0258e-09 | -52.6343 | 0 | 0.63377 | 0.70193 | -5.3977 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 1.1462 | 0 | 2.1763 | 0 | 39.7072 | -5.1465e-09 | -19.7082 | 4.6774e-09 | -19.7082 | -52.6343 | 127.3657 | 0.78485 | 0.70193 | -10.4046 | -7.6343
Line_1 | 1.0349 | 0 | 1.7392 | 0 | 35.8516 | 0 | -16.0667 | -2.233e-09 | -16.0667 | 1.0258e-09 | -52.6343 | 0 | 0.63377 | 0.70193 | -5.3977 | -7.6343
Line_2 | 1.0349 | 0 | 1.7392 | 0 | 35.8516 | 0 | -16.0667 | -2.233e-09 | -16.0667 | 1.0258e-09 | -52.6343 | 0 | 0.63377 | 0.70193 | -5.3977 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 3.7092 | 3.7092 | 0 | 0 | 0 | 0 | 42.8296 | 42.8296 | -5.2106e-14 | -7.816e-15 | 5.2106e-15 | 3.6475e-14 | -23.0225 | 23.0225 | -3.1264e-14 | 5.7634e-09 | -5.7634e-09 | 2.6053e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 7.5157e-13 | 180 | -180 | 5.7349e-13 | 180 | -180
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 0 | 0 | 0 | 34.587 | 34.587 | 0 | 0 | 0 | 1.0421e-14 | -18.0699 | 18.0699 | -1.5632e-14 | 2.8659e-14 | 1.1188e-21 | 5.2106e-15 | 5.9452 | -5.9452 | -1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | -167.7798 | 12.2202 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 4.6069e-13 | 180 | -180 | 5.7349e-13 | 180 | -180
Line_2 | 0 | 2.9953 | 2.9953 | 0 | 0 | 0 | 0 | 34.587 | 34.587 | 0 | 0 | 0 | -5.2106e-15 | -18.0699 | 18.0699 | -5.2106e-15 | 1.8237e-14 | 1.1188e-21 | -4.1493e-29 | 5.9452 | -5.9452 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | -167.7798 | 12.2202 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 4.5625e-13 | 180 | -180 | 5.7349e-13 | 180 | -180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 3.7092 | 3.7092 | 0 | 0 | 0 | 0 | 42.8296 | 42.8296 | -5.2106e-14 | -7.816e-15 | 5.2106e-15 | 3.6475e-14 | -23.0225 | 23.0225 | -3.1264e-14 | 5.7634e-09 | -5.7634e-09 | 2.6053e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 7.5157e-13 | 180 | -180 | 5.7349e-13 | 180 | -180
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 0 | 0 | 0 | 34.587 | 34.587 | 0 | 0 | 0 | 1.0421e-14 | -18.0699 | 18.0699 | -1.5632e-14 | 2.8659e-14 | 1.1188e-21 | 5.2106e-15 | 5.9452 | -5.9452 | -1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | -167.7798 | 12.2202 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 4.6069e-13 | 180 | -180 | 5.7349e-13 | 180 | -180
Line_2 | 0 | 2.9953 | 2.9953 | 0 | 0 | 0 | 0 | 34.587 | 34.587 | 0 | 0 | 0 | -5.2106e-15 | -18.0699 | 18.0699 | -5.2106e-15 | 1.8237e-14 | 1.1188e-21 | -4.1493e-29 | 5.9452 | -5.9452 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | -167.7798 | 12.2202 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 4.5625e-13 | 180 | -180 | 5.7349e-13 | 180 | -180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 1.7631 | 1.7631 | 0 | 0 | 0 | 0 | 20.3584 | 20.3584 | -1.4329e-14 | -9.5548e-10 | -3.075e-09 | 1.8237e-14 | -17.4596 | 1.9173 | -1.3027e-14 | 4.0277e-09 | -3.5664e-10 | 1.3027e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1075 | 0.71098 | 0.91717 | 1.0759 | 0.62335 | 0.92294 | 2.7482e-13 | -140.8543 | 122.4159 | 2.3948e-13 | -142.8673 | 128.239
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 0 | 0 | 0 | 18.1144 | 18.1144 | 0 | 0 | 0 | -2.6053e-15 | -14.6611 | 2.3562 | -1.0421e-14 | -4.7339e-10 | -1.0337e-09 | -9.7588e-30 | -0.96958 | -11.3353 | -5.2106e-15 | 1.3544e-09 | -3.8387e-10 | 0 | -149.913 | 30.087 | 0 | 0 | 0 | 1.0531 | 0.55464 | 0.92719 | 1.0759 | 0.62335 | 0.92294 | 2.1461e-13 | -144.8696 | 133.0893 | 2.3948e-13 | -142.8673 | 128.239
Line_2 | 0 | 1.5688 | 1.5688 | 0 | 0 | 0 | 0 | 18.1144 | 18.1144 | 0 | 0 | 0 | -5.2106e-15 | -14.6611 | 2.3562 | -2.6053e-15 | -4.7337e-10 | -1.0337e-09 | -1.9377e-29 | -0.96958 | -11.3353 | 2.6053e-15 | 1.3544e-09 | -3.8385e-10 | 0 | -149.913 | 30.087 | 0 | 0 | 0 | 1.0531 | 0.55464 | 0.92719 | 1.0759 | 0.62335 | 0.92294 | 2.1307e-13 | -144.8696 | 133.0893 | 2.3948e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 1.7631 | 1.7631 | 0 | 0 | 0 | 0 | 20.3584 | 20.3584 | -1.4329e-14 | -9.5548e-10 | -3.075e-09 | 1.8237e-14 | -17.4596 | 1.9173 | -1.3027e-14 | 4.0277e-09 | -3.5664e-10 | 1.3027e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1075 | 0.71098 | 0.91717 | 1.0759 | 0.62335 | 0.92294 | 2.7482e-13 | -140.8543 | 122.4159 | 2.3948e-13 | -142.8673 | 128.239
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 0 | 0 | 0 | 18.1144 | 18.1144 | 0 | 0 | 0 | -2.6053e-15 | -14.6611 | 2.3562 | -1.0421e-14 | -4.7339e-10 | -1.0337e-09 | -9.7588e-30 | -0.96958 | -11.3353 | -5.2106e-15 | 1.3544e-09 | -3.8387e-10 | 0 | -149.913 | 30.087 | 0 | 0 | 0 | 1.0531 | 0.55464 | 0.92719 | 1.0759 | 0.62335 | 0.92294 | 2.1461e-13 | -144.8696 | 133.0893 | 2.3948e-13 | -142.8673 | 128.239
Line_2 | 0 | 1.5688 | 1.5688 | 0 | 0 | 0 | 0 | 18.1144 | 18.1144 | 0 | 0 | 0 | -5.2106e-15 | -14.6611 | 2.3562 | -2.6053e-15 | -4.7337e-10 | -1.0337e-09 | -1.9377e-29 | -0.96958 | -11.3353 | 2.6053e-15 | 1.3544e-09 | -3.8385e-10 | 0 | -149.913 | 30.087 | 0 | 0 | 0 | 1.0531 | 0.55464 | 0.92719 | 1.0759 | 0.62335 | 0.92294 | 2.1307e-13 | -144.8696 | 133.0893 | 2.3948e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 3.1191 | 3.1191 | 0 | 0 | 0 | 0 | 36.0161 | 36.0161 | 9.4739e-15 | 1.6579e-14 | 2.3685e-15 | 2.3685e-15 | -16.8865 | 16.8865 | -4.737e-15 | 4.7631e-09 | -4.7631e-09 | 2.0867e-29 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 7.1856e-13 | -180 | 180 | 5.0479e-13 | -180 | 180
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 0 | 0 | 0 | 27.6856 | 27.6856 | 0 | 0 | 0 | -5.9212e-15 | -11.9365 | 11.9365 | -2.3685e-15 | 2.3685e-15 | -1.4429e-20 | 4.737e-15 | 7.0103 | -7.0103 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | -159.6723 | 20.3277 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 3.4819e-13 | -180 | 180 | 5.0479e-13 | -180 | 180
Line_2 | 0 | 2.3976 | 2.3976 | 0 | 0 | 0 | 0 | 27.6856 | 27.6856 | 0 | 0 | 0 | -7.1054e-15 | -11.9365 | 11.9365 | -2.3685e-15 | 2.3685e-15 | -1.4429e-20 | 7.1054e-15 | 7.0103 | -7.0103 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | -159.6723 | 20.3277 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 3.4257e-13 | -180 | 180 | 5.0479e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 3.1191 | 3.1191 | 0 | 0 | 0 | 0 | 36.0161 | 36.0161 | 9.4739e-15 | 1.6579e-14 | 2.3685e-15 | 2.3685e-15 | -16.8865 | 16.8865 | -4.737e-15 | 4.7631e-09 | -4.7631e-09 | 2.0867e-29 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 7.1856e-13 | -180 | 180 | 5.0479e-13 | -180 | 180
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 0 | 0 | 0 | 27.6856 | 27.6856 | 0 | 0 | 0 | -5.9212e-15 | -11.9365 | 11.9365 | -2.3685e-15 | 2.3685e-15 | -1.4429e-20 | 4.737e-15 | 7.0103 | -7.0103 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | -159.6723 | 20.3277 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 3.4819e-13 | -180 | 180 | 5.0479e-13 | -180 | 180
Line_2 | 0 | 2.3976 | 2.3976 | 0 | 0 | 0 | 0 | 27.6856 | 27.6856 | 0 | 0 | 0 | -7.1054e-15 | -11.9365 | 11.9365 | -2.3685e-15 | 2.3685e-15 | -1.4429e-20 | 7.1054e-15 | 7.0103 | -7.0103 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | -159.6723 | 20.3277 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 3.4257e-13 | -180 | 180 | 5.0479e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 1.5183 | 1.5183 | 0 | 0 | 0 | 0 | 17.5318 | 17.5318 | 4.737e-15 | -8.0024e-10 | -2.5674e-09 | -2.3685e-15 | -13.0917 | 1.5655 | -9.4739e-15 | 3.4014e-09 | -3.4064e-10 | 4.737e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1.0057 | 0.63489 | 0.83074 | 0.95734 | 0.5368 | 0.85298 | 2.8636e-13 | -141.4824 | 122.8363 | 2.2209e-13 | -142.5584 | 131.6989
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 0 | 0 | 0 | 15.105 | 15.105 | 0 | 0 | 0 | -5.9212e-16 | -10.3011 | 1.745 | -2.3685e-15 | -4.798e-10 | -8.2616e-10 | 4.737e-15 | 0.27863 | -8.8347 | 4.737e-15 | 1.0532e-09 | -4.5326e-10 | 0 | -146.7238 | 33.2762 | 0 | 0 | 0 | 0.92653 | 0.4625 | 0.86515 | 0.95734 | 0.5368 | 0.85298 | 1.7696e-13 | -144.4405 | 138.2821 | 2.2209e-13 | -142.5584 | 131.6989
Line_2 | 0 | 1.3081 | 1.3081 | 0 | 0 | 0 | 0 | 15.105 | 15.105 | 0 | 0 | 0 | 5.9212e-16 | -10.3011 | 1.745 | 2.3685e-15 | -4.7979e-10 | -8.2616e-10 | -4.737e-15 | 0.27863 | -8.8347 | -2.3685e-15 | 1.0532e-09 | -4.5326e-10 | 0 | -146.7238 | 33.2762 | 0 | 0 | 0 | 0.92653 | 0.4625 | 0.86515 | 0.95734 | 0.5368 | 0.85298 | 1.7017e-13 | -144.4405 | 138.2821 | 2.2209e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 1.5183 | 1.5183 | 0 | 0 | 0 | 0 | 17.5318 | 17.5318 | 4.737e-15 | -8.0024e-10 | -2.5674e-09 | -2.3685e-15 | -13.0917 | 1.5655 | -9.4739e-15 | 3.4014e-09 | -3.4064e-10 | 4.737e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1.0057 | 0.63489 | 0.83074 | 0.95734 | 0.5368 | 0.85298 | 2.8636e-13 | -141.4824 | 122.8363 | 2.2209e-13 | -142.5584 | 131.6989
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 0 | 0 | 0 | 15.105 | 15.105 | 0 | 0 | 0 | -5.9212e-16 | -10.3011 | 1.745 | -2.3685e-15 | -4.798e-10 | -8.2616e-10 | 4.737e-15 | 0.27863 | -8.8347 | 4.737e-15 | 1.0532e-09 | -4.5326e-10 | 0 | -146.7238 | 33.2762 | 0 | 0 | 0 | 0.92653 | 0.4625 | 0.86515 | 0.95734 | 0.5368 | 0.85298 | 1.7696e-13 | -144.4405 | 138.2821 | 2.2209e-13 | -142.5584 | 131.6989
Line_2 | 0 | 1.3081 | 1.3081 | 0 | 0 | 0 | 0 | 15.105 | 15.105 | 0 | 0 | 0 | 5.9212e-16 | -10.3011 | 1.745 | 2.3685e-15 | -4.7979e-10 | -8.2616e-10 | -4.737e-15 | 0.27863 | -8.8347 | -2.3685e-15 | 1.0532e-09 | -4.5326e-10 | 0 | -146.7238 | 33.2762 | 0 | 0 | 0 | 0.92653 | 0.4625 | 0.86515 | 0.95734 | 0.5368 | 0.85298 | 1.7017e-13 | -144.4405 | 138.2821 | 2.2209e-13 | -142.5584 | 131.6989

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002359 | 0.002359 | 0.002359 | 0.0043343 | 5.0281 | 2.9707 | 0.027239 | 0.027239 | 0.027239 | 0.050049 | 58.0599 | 34.3032 | 4.6289e-05 | -3.5321e-13 | -9.4499e-14 | -2.6043e-05 | 2.3501e-10 | 1.5555e-10 | -0.012963 | -3.1477e-13 | 4.6273e-13 | 0.065727 | -1.5157e-10 | -5.2147e-11 | 0 | 175.6604 | 41.1037 | -102.572 | -4.3885 | -138.8468 | 0.27476 | 0 | 0.27476 | 0.75821 | 0 | 0.75821 | 1.9015 | 0 | 0 | -12.5493 | 0 | 0
Line_1 | 0 | 3.7102 | 2.4883 | 0.0021672 | 0.0021672 | 0.0021672 | 0 | 42.8415 | 28.7326 | 0.025024 | 0.025024 | 0.025024 | -1.702e-09 | 1.1649e-10 | 9.4807e-11 | 1.3021e-05 | -5.0245e-14 | -6.8976e-14 | -8.1086e-10 | -8.4293e-11 | -1.0539e-11 | -0.032863 | -1.0956e-13 | 9.7809e-14 | 0 | 175.6604 | 41.1037 | 77.428 | 77.428 | 77.428 | 0.81784 | 0 | 0.81784 | 0.75821 | 0 | 0.75821 | -8.1592 | 0 | 0 | -12.5493 | 0 | 0
Line_2 | 0 | 3.7102 | 2.4883 | 0.0021672 | 0.0021672 | 0.0021672 | 0 | 42.8415 | 28.7326 | 0.025024 | 0.025024 | 0.025024 | -1.702e-09 | 1.1649e-10 | 9.4808e-11 | 1.3021e-05 | -5.0245e-14 | -6.8976e-14 | -8.1085e-10 | -8.4274e-11 | -1.0548e-11 | -0.032863 | -1.0956e-13 | 9.7809e-14 | 0 | 175.6604 | 41.1037 | 77.428 | 77.428 | 77.428 | 0.81784 | 0 | 0.81784 | 0.75821 | 0 | 0.75821 | -8.1592 | 0 | 0 | -12.5493 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002359 | 0.002359 | 0.002359 | 0.0043343 | 5.0281 | 2.9707 | 0.027239 | 0.027239 | 0.027239 | 0.050049 | 58.0599 | 34.3032 | 4.6289e-05 | -3.5321e-13 | -9.4499e-14 | -2.6043e-05 | 2.3501e-10 | 1.5555e-10 | -0.012963 | -3.1477e-13 | 4.6273e-13 | 0.065727 | -1.5157e-10 | -5.2147e-11 | 0 | 175.6604 | 41.1037 | -102.572 | -4.3885 | -138.8468 | 0.27476 | 0 | 0.27476 | 0.75821 | 0 | 0.75821 | 1.9015 | 0 | 0 | -12.5493 | 0 | 0
Line_1 | 0 | 3.7102 | 2.4883 | 0.0021672 | 0.0021672 | 0.0021672 | 0 | 42.8415 | 28.7326 | 0.025024 | 0.025024 | 0.025024 | -1.702e-09 | 1.1649e-10 | 9.4807e-11 | 1.3021e-05 | -5.0245e-14 | -6.8976e-14 | -8.1086e-10 | -8.4293e-11 | -1.0539e-11 | -0.032863 | -1.0956e-13 | 9.7809e-14 | 0 | 175.6604 | 41.1037 | 77.428 | 77.428 | 77.428 | 0.81784 | 0 | 0.81784 | 0.75821 | 0 | 0.75821 | -8.1592 | 0 | 0 | -12.5493 | 0 | 0
Line_2 | 0 | 3.7102 | 2.4883 | 0.0021672 | 0.0021672 | 0.0021672 | 0 | 42.8415 | 28.7326 | 0.025024 | 0.025024 | 0.025024 | -1.702e-09 | 1.1649e-10 | 9.4808e-11 | 1.3021e-05 | -5.0245e-14 | -6.8976e-14 | -8.1085e-10 | -8.4274e-11 | -1.0548e-11 | -0.032863 | -1.0956e-13 | 9.7809e-14 | 0 | 175.6604 | 41.1037 | 77.428 | 77.428 | 77.428 | 0.81784 | 0 | 0.81784 | 0.75821 | 0 | 0.75821 | -8.1592 | 0 | 0 | -12.5493 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00032332 | 0.00032332 | 0.00032332 | 0.0014368 | 1.3823 | 1.1776 | 0.0037334 | 0.0037334 | 0.0037334 | 0.016591 | 15.961 | 13.5973 | -0.0025903 | -0.00053716 | 0.0031284 | -0.0036912 | -9.5488 | -6.9262 | -0.0028533 | 0.0034487 | -0.00083894 | 0.018869 | -9.5666 | -6.9237 | 0 | -169.7726 | 65.5646 | -105.9175 | 10.174 | -114.425 | 1.025 | 0.87234 | 0.93763 | 1.0065 | 0.80202 | 0.927 | -2.8124 | -131.7251 | 114.41 | -4.8488 | -124.7726 | 110.5646
Line_1 | 0 | 1.2592 | 1.0353 | 0.00071842 | 0.00071842 | 0.00071842 | 0 | 14.54 | 11.9544 | 0.0082956 | 0.0082956 | 0.0082956 | -6.4096e-10 | -7.9279 | -5.359 | 0.0018456 | -0.0066482 | 0.004804 | -4.4804e-10 | -7.9279 | -5.359 | -0.0094343 | 0.0022703 | 0.0035525 | 0 | -169.7726 | 65.5646 | 74.0825 | 74.0825 | 74.0825 | 0.99036 | 0.74213 | 0.91863 | 1.0065 | 0.80202 | 0.927 | -5.1526 | -120.5446 | 107.334 | -4.8488 | -124.7726 | 110.5646
Line_2 | 0 | 1.2592 | 1.0353 | 0.00071842 | 0.00071842 | 0.00071842 | 0 | 14.54 | 11.9544 | 0.0082956 | 0.0082956 | 0.0082956 | -6.4096e-10 | -7.9279 | -5.359 | 0.0018456 | -0.0066482 | 0.004804 | -4.4803e-10 | -7.9279 | -5.359 | -0.0094343 | 0.0022703 | 0.0035525 | 0 | -169.7726 | 65.5646 | 74.0825 | 74.0825 | 74.0825 | 0.99036 | 0.74213 | 0.91863 | 1.0065 | 0.80202 | 0.927 | -5.1526 | -120.5446 | 107.334 | -4.8488 | -124.7726 | 110.5646

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00032332 | 0.00032332 | 0.00032332 | 0.0014368 | 1.3823 | 1.1776 | 0.0037334 | 0.0037334 | 0.0037334 | 0.016591 | 15.961 | 13.5973 | -0.0025903 | -0.00053716 | 0.0031284 | -0.0036912 | -9.5488 | -6.9262 | -0.0028533 | 0.0034487 | -0.00083894 | 0.018869 | -9.5666 | -6.9237 | 0 | -169.7726 | 65.5646 | -105.9175 | 10.174 | -114.425 | 1.025 | 0.87234 | 0.93763 | 1.0065 | 0.80202 | 0.927 | -2.8124 | -131.7251 | 114.41 | -4.8488 | -124.7726 | 110.5646
Line_1 | 0 | 1.2592 | 1.0353 | 0.00071842 | 0.00071842 | 0.00071842 | 0 | 14.54 | 11.9544 | 0.0082956 | 0.0082956 | 0.0082956 | -6.4096e-10 | -7.9279 | -5.359 | 0.0018456 | -0.0066482 | 0.004804 | -4.4804e-10 | -7.9279 | -5.359 | -0.0094343 | 0.0022703 | 0.0035525 | 0 | -169.7726 | 65.5646 | 74.0825 | 74.0825 | 74.0825 | 0.99036 | 0.74213 | 0.91863 | 1.0065 | 0.80202 | 0.927 | -5.1526 | -120.5446 | 107.334 | -4.8488 | -124.7726 | 110.5646
Line_2 | 0 | 1.2592 | 1.0353 | 0.00071842 | 0.00071842 | 0.00071842 | 0 | 14.54 | 11.9544 | 0.0082956 | 0.0082956 | 0.0082956 | -6.4096e-10 | -7.9279 | -5.359 | 0.0018456 | -0.0066482 | 0.004804 | -4.4803e-10 | -7.9279 | -5.359 | -0.0094343 | 0.0022703 | 0.0035525 | 0 | -169.7726 | 65.5646 | 74.0825 | 74.0825 | 74.0825 | 0.99036 | 0.74213 | 0.91863 | 1.0065 | 0.80202 | 0.927 | -5.1526 | -120.5446 | 107.334 | -4.8488 | -124.7726 | 110.5646

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0021137 | 0.0021137 | 0.0021137 | 0.0043448 | 3.9229 | 2.4897 | 0.024407 | 0.024407 | 0.024407 | 0.05017 | 45.2975 | 28.7485 | 7.1355e-05 | -6.2226e-14 | 2.1527e-13 | -5.0242e-05 | -1.6984e-10 | -2.5876e-11 | -0.010408 | 2.112e-13 | -5.2101e-14 | 0.066045 | -1.9371e-10 | -1.6157e-10 | 0 | -170.2299 | 37.1355 | -99.0075 | 9.71 | -142.7952 | 0.2462 | 0 | 0.2462 | 0.76005 | 0 | 0.76005 | 1.9562 | 0 | 0 | -8.9639 | 0 | 0
Line_1 | 0 | 2.7796 | 2.0851 | 0.0021724 | 0.0021724 | 0.0021724 | 0 | 32.0962 | 24.0769 | 0.025085 | 0.025085 | 0.025085 | -1.8146e-09 | -1.4918e-10 | -2.5953e-11 | 2.512e-05 | -1.3178e-13 | 1.1385e-13 | -4.6655e-10 | -1.2382e-10 | -1.4312e-10 | -0.033023 | 5.4657e-14 | 8.6147e-14 | 0 | -170.2299 | 37.1355 | 80.9925 | 80.9925 | 80.9925 | 0.78497 | 0 | 0.78497 | 0.76005 | 0 | 0.76005 | -5.37 | 0 | 0 | -8.9639 | 0 | 0
Line_2 | 0 | 2.7796 | 2.0851 | 0.0021724 | 0.0021724 | 0.0021724 | 0 | 32.0962 | 24.0769 | 0.025085 | 0.025085 | 0.025085 | -1.8145e-09 | -1.4918e-10 | -2.5957e-11 | 2.512e-05 | -1.3178e-13 | 1.1385e-13 | -4.6656e-10 | -1.238e-10 | -1.4313e-10 | -0.033023 | 5.4657e-14 | 8.6147e-14 | 0 | -170.2299 | 37.1355 | 80.9925 | 80.9925 | 80.9925 | 0.78497 | 0 | 0.78497 | 0.76005 | 0 | 0.76005 | -5.37 | 0 | 0 | -8.9639 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0021137 | 0.0021137 | 0.0021137 | 0.0043448 | 3.9229 | 2.4897 | 0.024407 | 0.024407 | 0.024407 | 0.05017 | 45.2975 | 28.7485 | 7.1355e-05 | -6.2226e-14 | 2.1527e-13 | -5.0242e-05 | -1.6984e-10 | -2.5876e-11 | -0.010408 | 2.112e-13 | -5.2101e-14 | 0.066045 | -1.9371e-10 | -1.6157e-10 | 0 | -170.2299 | 37.1355 | -99.0075 | 9.71 | -142.7952 | 0.2462 | 0 | 0.2462 | 0.76005 | 0 | 0.76005 | 1.9562 | 0 | 0 | -8.9639 | 0 | 0
Line_1 | 0 | 2.7796 | 2.0851 | 0.0021724 | 0.0021724 | 0.0021724 | 0 | 32.0962 | 24.0769 | 0.025085 | 0.025085 | 0.025085 | -1.8146e-09 | -1.4918e-10 | -2.5953e-11 | 2.512e-05 | -1.3178e-13 | 1.1385e-13 | -4.6655e-10 | -1.2382e-10 | -1.4312e-10 | -0.033023 | 5.4657e-14 | 8.6147e-14 | 0 | -170.2299 | 37.1355 | 80.9925 | 80.9925 | 80.9925 | 0.78497 | 0 | 0.78497 | 0.76005 | 0 | 0.76005 | -5.37 | 0 | 0 | -8.9639 | 0 | 0
Line_2 | 0 | 2.7796 | 2.0851 | 0.0021724 | 0.0021724 | 0.0021724 | 0 | 32.0962 | 24.0769 | 0.025085 | 0.025085 | 0.025085 | -1.8145e-09 | -1.4918e-10 | -2.5957e-11 | 2.512e-05 | -1.3178e-13 | 1.1385e-13 | -4.6656e-10 | -1.238e-10 | -1.4313e-10 | -0.033023 | 5.4657e-14 | 8.6147e-14 | 0 | -170.2299 | 37.1355 | 80.9925 | 80.9925 | 80.9925 | 0.78497 | 0 | 0.78497 | 0.76005 | 0 | 0.76005 | -5.37 | 0 | 0 | -8.9639 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00030015 | 0.00030016 | 0.00030015 | 0.0019529 | 1.2106 | 0.96733 | 0.0034659 | 0.0034659 | 0.0034659 | 0.02255 | 13.9783 | 11.1697 | -0.0021684 | -0.00044662 | 0.0026164 | -0.00643 | -7.3248 | -4.6699 | -0.0024097 | 0.0028899 | -0.00069008 | 0.024413 | -7.3438 | -4.6684 | 0 | -164.0905 | 64.6966 | -110.7976 | 15.8354 | -115.2943 | 0.92823 | 0.78485 | 0.84697 | 0.90451 | 0.70193 | 0.85199 | -2.9382 | -132.17 | 114.2695 | -6.0417 | -119.0905 | 109.6966
Line_1 | 0 | 1.0635 | 0.83458 | 0.00097643 | 0.00097643 | 0.00097643 | 0 | 12.2803 | 9.6369 | 0.011275 | 0.011275 | 0.011275 | -9.3538e-10 | -5.6552 | -3.4827 | 0.003215 | -0.0082787 | 0.0050688 | -4.2939e-10 | -5.6552 | -3.4827 | -0.012206 | 0.0012067 | 0.0043283 | 0 | -164.0905 | 64.6966 | 69.2024 | 69.2024 | 69.2024 | 0.88187 | 0.63377 | 0.85207 | 0.90451 | 0.70193 | 0.85199 | -5.5691 | -112.3141 | 106.3667 | -6.0417 | -119.0905 | 109.6966
Line_2 | 0 | 1.0635 | 0.83458 | 0.00097643 | 0.00097643 | 0.00097643 | 0 | 12.2803 | 9.6369 | 0.011275 | 0.011275 | 0.011275 | -9.354e-10 | -5.6552 | -3.4827 | 0.003215 | -0.0082787 | 0.0050688 | -4.2939e-10 | -5.6552 | -3.4827 | -0.012206 | 0.0012067 | 0.0043283 | 0 | -164.0905 | 64.6966 | 69.2024 | 69.2024 | 69.2024 | 0.88187 | 0.63377 | 0.85207 | 0.90451 | 0.70193 | 0.85199 | -5.5691 | -112.3141 | 106.3667 | -6.0417 | -119.0905 | 109.6966

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00030015 | 0.00030016 | 0.00030015 | 0.0019529 | 1.2106 | 0.96733 | 0.0034659 | 0.0034659 | 0.0034659 | 0.02255 | 13.9783 | 11.1697 | -0.0021684 | -0.00044662 | 0.0026164 | -0.00643 | -7.3248 | -4.6699 | -0.0024097 | 0.0028899 | -0.00069008 | 0.024413 | -7.3438 | -4.6684 | 0 | -164.0905 | 64.6966 | -110.7976 | 15.8354 | -115.2943 | 0.92823 | 0.78485 | 0.84697 | 0.90451 | 0.70193 | 0.85199 | -2.9382 | -132.17 | 114.2695 | -6.0417 | -119.0905 | 109.6966
Line_1 | 0 | 1.0635 | 0.83458 | 0.00097643 | 0.00097643 | 0.00097643 | 0 | 12.2803 | 9.6369 | 0.011275 | 0.011275 | 0.011275 | -9.3538e-10 | -5.6552 | -3.4827 | 0.003215 | -0.0082787 | 0.0050688 | -4.2939e-10 | -5.6552 | -3.4827 | -0.012206 | 0.0012067 | 0.0043283 | 0 | -164.0905 | 64.6966 | 69.2024 | 69.2024 | 69.2024 | 0.88187 | 0.63377 | 0.85207 | 0.90451 | 0.70193 | 0.85199 | -5.5691 | -112.3141 | 106.3667 | -6.0417 | -119.0905 | 109.6966
Line_2 | 0 | 1.0635 | 0.83458 | 0.00097643 | 0.00097643 | 0.00097643 | 0 | 12.2803 | 9.6369 | 0.011275 | 0.011275 | 0.011275 | -9.354e-10 | -5.6552 | -3.4827 | 0.003215 | -0.0082787 | 0.0050688 | -4.2939e-10 | -5.6552 | -3.4827 | -0.012206 | 0.0012067 | 0.0043283 | 0 | -164.0905 | 64.6966 | 69.2024 | 69.2024 | 69.2024 | 0.88187 | 0.63377 | 0.85207 | 0.90451 | 0.70193 | 0.85199 | -5.5691 | -112.3141 | 106.3667 | -6.0417 | -119.0905 | 109.6966

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0015048 | 0.0015048 | 0.0015048 | 4.152 | 0.004959 | 0.004959 | 0.017376 | 0.017376 | 0.017376 | 47.9427 | 0.057262 | 0.057262 | -3.5299e-13 | 0.01655 | -0.016531 | 3.0947e-10 | -0.047336 | 0.047301 | 1.251e-13 | -0.003279 | -0.0019958 | -3.6799e-10 | 0.015879 | 0.07016 | -57.2634 | 0 | 0 | 122.6759 | 60.1629 | 60.1629 | 0.56059 | 1.1 | 0.55326 | 0.5034 | 1.1 | 0.85315 | 0 | -98.9856 | 99.1056 | 0 | -138.3815 | 116.1751
Line_1 | 2.6829 | 0 | 0 | 0.0024795 | 0.0024795 | 0.0024795 | 30.979 | 0 | 0 | 0.028631 | 0.028631 | 0.028631 | 8.5979e-11 | -2.6591e-10 | -2.7765e-09 | -2.8025e-13 | 0.023668 | -0.023651 | -1.5103e-10 | -1.8639e-09 | 4.1439e-10 | -6.2522e-14 | -0.0079395 | -0.03508 | -57.2634 | 0 | 0 | -119.8371 | -119.8371 | -119.8371 | 0.61088 | 1.1 | 0.91085 | 0.5034 | 1.1 | 0.85315 | 0 | -145.8969 | 123.7339 | 0 | -138.3815 | 116.1751
Line_2 | 2.6829 | 0 | 0 | 0.0024795 | 0.0024795 | 0.0024795 | 30.979 | 0 | 0 | 0.028631 | 0.028631 | 0.028631 | 8.6006e-11 | -2.6592e-10 | -2.7765e-09 | -2.8025e-13 | 0.023668 | -0.023651 | -1.5102e-10 | -1.8639e-09 | 4.144e-10 | -6.2522e-14 | -0.0079395 | -0.03508 | -57.2634 | 0 | 0 | -119.8371 | -119.8371 | -119.8371 | 0.61088 | 1.1 | 0.91085 | 0.5034 | 1.1 | 0.85315 | 0 | -145.8969 | 123.7339 | 0 | -138.3815 | 116.1751

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0015048 | 0.0015048 | 0.0015048 | 4.152 | 0.004959 | 0.004959 | 0.017376 | 0.017376 | 0.017376 | 47.9427 | 0.057262 | 0.057262 | -3.5299e-13 | 0.01655 | -0.016531 | 3.0947e-10 | -0.047336 | 0.047301 | 1.251e-13 | -0.003279 | -0.0019958 | -3.6799e-10 | 0.015879 | 0.07016 | -57.2634 | 0 | 0 | 122.6759 | 60.1629 | 60.1629 | 0.56059 | 1.1 | 0.55326 | 0.5034 | 1.1 | 0.85315 | 0 | -98.9856 | 99.1056 | 0 | -138.3815 | 116.1751
Line_1 | 2.6829 | 0 | 0 | 0.0024795 | 0.0024795 | 0.0024795 | 30.979 | 0 | 0 | 0.028631 | 0.028631 | 0.028631 | 8.5979e-11 | -2.6591e-10 | -2.7765e-09 | -2.8025e-13 | 0.023668 | -0.023651 | -1.5103e-10 | -1.8639e-09 | 4.1439e-10 | -6.2522e-14 | -0.0079395 | -0.03508 | -57.2634 | 0 | 0 | -119.8371 | -119.8371 | -119.8371 | 0.61088 | 1.1 | 0.91085 | 0.5034 | 1.1 | 0.85315 | 0 | -145.8969 | 123.7339 | 0 | -138.3815 | 116.1751
Line_2 | 2.6829 | 0 | 0 | 0.0024795 | 0.0024795 | 0.0024795 | 30.979 | 0 | 0 | 0.028631 | 0.028631 | 0.028631 | 8.6006e-11 | -2.6592e-10 | -2.7765e-09 | -2.8025e-13 | 0.023668 | -0.023651 | -1.5102e-10 | -1.8639e-09 | 4.144e-10 | -6.2522e-14 | -0.0079395 | -0.03508 | -57.2634 | 0 | 0 | -119.8371 | -119.8371 | -119.8371 | 0.61088 | 1.1 | 0.91085 | 0.5034 | 1.1 | 0.85315 | 0 | -145.8969 | 123.7339 | 0 | -138.3815 | 116.1751

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00030395 | 0.00030395 | 0.00030395 | 1.2604 | 0.0015054 | 0.0015054 | 0.0035097 | 0.0035097 | 0.0035097 | 14.5538 | 0.017383 | 0.017383 | 0.00229 | 0.0015276 | -0.0038169 | -7.9302 | -0.017457 | 0.013405 | 0.0023064 | -0.0032702 | 0.00074856 | -7.947 | 0.0043487 | 0.016363 | -48.697 | 0 | 0 | 131.2423 | 68.7293 | 68.7293 | 0.9259 | 1.1 | 1.0368 | 0.91324 | 1.1 | 1.0167 | -7.8542 | -118.0199 | 115.8451 | -3.697 | -125.2589 | 119.4039
Line_1 | 1.0761 | 0 | 0 | 0.0007527 | 0.0007527 | 0.0007527 | 12.4252 | 0 | 0 | 0.0086914 | 0.0086914 | 0.0086914 | -5.7895 | 8.6048e-11 | -9.0278e-10 | -0.0020243 | 0.0087286 | -0.0067027 | -5.7895 | -7.5214e-10 | 1.8124e-10 | 0.0063917 | -0.0021744 | -0.0081817 | -48.697 | 0 | 0 | -111.2707 | -111.2707 | -111.2707 | 0.90299 | 1.1 | 1.0031 | 0.91324 | 1.1 | 1.0167 | -0.75341 | -130.1253 | 121.996 | -3.697 | -125.2589 | 119.4039
Line_2 | 1.0761 | 0 | 0 | 0.0007527 | 0.0007527 | 0.0007527 | 12.4252 | 0 | 0 | 0.0086914 | 0.0086914 | 0.0086914 | -5.7895 | 8.6046e-11 | -9.0276e-10 | -0.0020243 | 0.0087286 | -0.0067027 | -5.7895 | -7.5213e-10 | 1.8124e-10 | 0.0063917 | -0.0021744 | -0.0081817 | -48.697 | 0 | 0 | -111.2707 | -111.2707 | -111.2707 | 0.90299 | 1.1 | 1.0031 | 0.91324 | 1.1 | 1.0167 | -0.75341 | -130.1253 | 121.996 | -3.697 | -125.2589 | 119.4039

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00030395 | 0.00030395 | 0.00030395 | 1.2604 | 0.0015054 | 0.0015054 | 0.0035097 | 0.0035097 | 0.0035097 | 14.5538 | 0.017383 | 0.017383 | 0.00229 | 0.0015276 | -0.0038169 | -7.9302 | -0.017457 | 0.013405 | 0.0023064 | -0.0032702 | 0.00074856 | -7.947 | 0.0043487 | 0.016363 | -48.697 | 0 | 0 | 131.2423 | 68.7293 | 68.7293 | 0.9259 | 1.1 | 1.0368 | 0.91324 | 1.1 | 1.0167 | -7.8542 | -118.0199 | 115.8451 | -3.697 | -125.2589 | 119.4039
Line_1 | 1.0761 | 0 | 0 | 0.0007527 | 0.0007527 | 0.0007527 | 12.4252 | 0 | 0 | 0.0086914 | 0.0086914 | 0.0086914 | -5.7895 | 8.6048e-11 | -9.0278e-10 | -0.0020243 | 0.0087286 | -0.0067027 | -5.7895 | -7.5214e-10 | 1.8124e-10 | 0.0063917 | -0.0021744 | -0.0081817 | -48.697 | 0 | 0 | -111.2707 | -111.2707 | -111.2707 | 0.90299 | 1.1 | 1.0031 | 0.91324 | 1.1 | 1.0167 | -0.75341 | -130.1253 | 121.996 | -3.697 | -125.2589 | 119.4039
Line_2 | 1.0761 | 0 | 0 | 0.0007527 | 0.0007527 | 0.0007527 | 12.4252 | 0 | 0 | 0.0086914 | 0.0086914 | 0.0086914 | -5.7895 | 8.6046e-11 | -9.0276e-10 | -0.0020243 | 0.0087286 | -0.0067027 | -5.7895 | -7.5213e-10 | 1.8124e-10 | 0.0063917 | -0.0021744 | -0.0081817 | -48.697 | 0 | 0 | -111.2707 | -111.2707 | -111.2707 | 0.90299 | 1.1 | 1.0031 | 0.91324 | 1.1 | 1.0167 | -0.75341 | -130.1253 | 121.996 | -3.697 | -125.2589 | 119.4039

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.001343 | 0.001343 | 0.001343 | 2.8294 | 0.0059593 | 0.0059593 | 0.015507 | 0.015507 | 0.015507 | 32.6716 | 0.068812 | 0.068812 | 1.2557e-13 | 0.013435 | -0.013406 | -9.756e-11 | -0.053903 | 0.053808 | 1.0793e-13 | -0.0025913 | -0.0016102 | 1.249e-11 | 0.036611 | 0.087635 | -40.2366 | 0 | 0 | 139.6468 | 64.6526 | 64.6526 | 0.50942 | 1 | 0.50272 | 0.54672 | 1 | 0.86283 | 0 | -98.8235 | 98.9421 | 0 | -149.5321 | 123.1025
Line_1 | 1.6301 | 0 | 0 | 0.0029796 | 0.0029796 | 0.0029796 | 18.8231 | 0 | 0 | 0.034406 | 0.034406 | 0.034406 | -2.3889e-11 | -1.1596e-09 | -3.0216e-09 | 3.9305e-14 | 0.026951 | -0.026904 | 7.9338e-12 | -2.0915e-09 | 1.0165e-09 | 9.5829e-14 | -0.018306 | -0.043818 | -40.2366 | 0 | 0 | -115.3474 | -115.3474 | -115.3474 | 0.66006 | 1 | 0.8799 | 0.54672 | 1 | 0.86283 | 0 | -149.9304 | 130.4806 | 0 | -149.5321 | 123.1025
Line_2 | 1.6301 | 0 | 0 | 0.0029796 | 0.0029796 | 0.0029796 | 18.8231 | 0 | 0 | 0.034406 | 0.034406 | 0.034406 | -2.3891e-11 | -1.1596e-09 | -3.0216e-09 | 3.9305e-14 | 0.026951 | -0.026904 | 7.9382e-12 | -2.0916e-09 | 1.0165e-09 | 9.5829e-14 | -0.018306 | -0.043818 | -40.2366 | 0 | 0 | -115.3474 | -115.3474 | -115.3474 | 0.66006 | 1 | 0.8799 | 0.54672 | 1 | 0.86283 | 0 | -149.9304 | 130.4806 | 0 | -149.5321 | 123.1025

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.001343 | 0.001343 | 0.001343 | 2.8294 | 0.0059593 | 0.0059593 | 0.015507 | 0.015507 | 0.015507 | 32.6716 | 0.068812 | 0.068812 | 1.2557e-13 | 0.013435 | -0.013406 | -9.756e-11 | -0.053903 | 0.053808 | 1.0793e-13 | -0.0025913 | -0.0016102 | 1.249e-11 | 0.036611 | 0.087635 | -40.2366 | 0 | 0 | 139.6468 | 64.6526 | 64.6526 | 0.50942 | 1 | 0.50272 | 0.54672 | 1 | 0.86283 | 0 | -98.8235 | 98.9421 | 0 | -149.5321 | 123.1025
Line_1 | 1.6301 | 0 | 0 | 0.0029796 | 0.0029796 | 0.0029796 | 18.8231 | 0 | 0 | 0.034406 | 0.034406 | 0.034406 | -2.3889e-11 | -1.1596e-09 | -3.0216e-09 | 3.9305e-14 | 0.026951 | -0.026904 | 7.9338e-12 | -2.0915e-09 | 1.0165e-09 | 9.5829e-14 | -0.018306 | -0.043818 | -40.2366 | 0 | 0 | -115.3474 | -115.3474 | -115.3474 | 0.66006 | 1 | 0.8799 | 0.54672 | 1 | 0.86283 | 0 | -149.9304 | 130.4806 | 0 | -149.5321 | 123.1025
Line_2 | 1.6301 | 0 | 0 | 0.0029796 | 0.0029796 | 0.0029796 | 18.8231 | 0 | 0 | 0.034406 | 0.034406 | 0.034406 | -2.3891e-11 | -1.1596e-09 | -3.0216e-09 | 3.9305e-14 | 0.026951 | -0.026904 | 7.9382e-12 | -2.0916e-09 | 1.0165e-09 | 9.5829e-14 | -0.018306 | -0.043818 | -40.2366 | 0 | 0 | -115.3474 | -115.3474 | -115.3474 | 0.66006 | 1 | 0.8799 | 0.54672 | 1 | 0.86283 | 0 | -149.9304 | 130.4806 | 0 | -149.5321 | 123.1025

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00028131 | 0.00028131 | 0.00028131 | 1.0366 | 0.0021832 | 0.0021832 | 0.0032483 | 0.0032483 | 0.0032483 | 11.9696 | 0.02521 | 0.02521 | 0.0019059 | 0.0013099 | -0.0032145 | -5.3588 | -0.023229 | 0.015192 | 0.0019322 | -0.0027304 | 0.00061379 | -5.3807 | 0.004883 | 0.025629 | -43.2566 | 0 | 0 | 136.6268 | 61.6326 | 61.6326 | 0.83548 | 1 | 0.93979 | 0.83431 | 1 | 0.91861 | -8.1375 | -117.9012 | 115.6593 | 1.7434 | -130.2389 | 120.974
Line_1 | 0.8231 | 0 | 0 | 0.0010916 | 0.0010916 | 0.0010916 | 9.5043 | 0 | 0 | 0.012605 | 0.012605 | 0.012605 | -3.3874 | -1.4696e-10 | -1.2874e-09 | -0.0040119 | 0.011615 | -0.0075962 | -3.3874 | -1.0444e-09 | 3.86e-10 | 0.0069179 | -0.0024415 | -0.012815 | -43.2566 | 0 | 0 | -118.3674 | -118.3674 | -118.3674 | 0.83026 | 1 | 0.90509 | 0.83431 | 1 | 0.91861 | 7.652 | -136.5738 | 124.7454 | 1.7434 | -130.2389 | 120.974
Line_2 | 0.8231 | 0 | 0 | 0.0010916 | 0.0010916 | 0.0010916 | 9.5043 | 0 | 0 | 0.012605 | 0.012605 | 0.012605 | -3.3874 | -1.4696e-10 | -1.2874e-09 | -0.0040119 | 0.011615 | -0.0075962 | -3.3874 | -1.0444e-09 | 3.86e-10 | 0.0069179 | -0.0024415 | -0.012815 | -43.2566 | 0 | 0 | -118.3674 | -118.3674 | -118.3674 | 0.83026 | 1 | 0.90509 | 0.83431 | 1 | 0.91861 | 7.652 | -136.5738 | 124.7454 | 1.7434 | -130.2389 | 120.974

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00028131 | 0.00028131 | 0.00028131 | 1.0366 | 0.0021832 | 0.0021832 | 0.0032483 | 0.0032483 | 0.0032483 | 11.9696 | 0.02521 | 0.02521 | 0.0019059 | 0.0013099 | -0.0032145 | -5.3588 | -0.023229 | 0.015192 | 0.0019322 | -0.0027304 | 0.00061379 | -5.3807 | 0.004883 | 0.025629 | -43.2566 | 0 | 0 | 136.6268 | 61.6326 | 61.6326 | 0.83548 | 1 | 0.93979 | 0.83431 | 1 | 0.91861 | -8.1375 | -117.9012 | 115.6593 | 1.7434 | -130.2389 | 120.974
Line_1 | 0.8231 | 0 | 0 | 0.0010916 | 0.0010916 | 0.0010916 | 9.5043 | 0 | 0 | 0.012605 | 0.012605 | 0.012605 | -3.3874 | -1.4696e-10 | -1.2874e-09 | -0.0040119 | 0.011615 | -0.0075962 | -3.3874 | -1.0444e-09 | 3.86e-10 | 0.0069179 | -0.0024415 | -0.012815 | -43.2566 | 0 | 0 | -118.3674 | -118.3674 | -118.3674 | 0.83026 | 1 | 0.90509 | 0.83431 | 1 | 0.91861 | 7.652 | -136.5738 | 124.7454 | 1.7434 | -130.2389 | 120.974
Line_2 | 0.8231 | 0 | 0 | 0.0010916 | 0.0010916 | 0.0010916 | 9.5043 | 0 | 0 | 0.012605 | 0.012605 | 0.012605 | -3.3874 | -1.4696e-10 | -1.2874e-09 | -0.0040119 | 0.011615 | -0.0075962 | -3.3874 | -1.0444e-09 | 3.86e-10 | 0.0069179 | -0.0024415 | -0.012815 | -43.2566 | 0 | 0 | -118.3674 | -118.3674 | -118.3674 | 0.83026 | 1 | 0.90509 | 0.83431 | 1 | 0.91861 | 7.652 | -136.5738 | 124.7454 | 1.7434 | -130.2389 | 120.974