## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_deg | pf_ikss_to_deg | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_deg | pf_va_to_deg
Line_0 | 0 | 4.283 | 0 | 9.2778 | 0 | 148.3662 | 6.2986e-19 | -1e-07 | -4.9297e-19 | -1e-07 | -77.7798 | 102.2202 | 0 | 0 | 87.328 | 77.7798
Line_1 | 2.4666 | 0 | 4.9647 | 0 | 85.4462 | 0 | -1e-07 | 1.6022e-19 | -1e-07 | -1.2516e-19 | -77.7798 | 0 | 0 | 0 | 73.5107 | 77.7798
Line_2 | 2.4666 | 0 | 4.9647 | 0 | 85.4462 | 0 | -1e-07 | 1.6022e-19 | -1e-07 | -1.2516e-19 | -77.7798 | 0 | 0 | 0 | 73.5107 | 77.7798
Line_4 | 1.2333 | 1.2333 | 2.4824 | 2.4824 | 42.7231 | 42.7231 | -1e-07 | -1e-07 | -1e-07 | -1e-07 | -73.5107 | 106.4893 | 0 | 0 | 73.5107 | 73.5107

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_deg | pf_ikss_to_deg | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_deg | pf_va_to_deg
Line_0 | 0 | 4.283 | 0 | 9.2778 | 0 | 148.3662 | 6.2984e-19 | -1e-07 | -4.9301e-19 | -1e-07 | -77.7798 | 102.2202 | 0 | 0 | 87.328 | 77.7798
Line_1 | 2.4666 | 0 | 4.9647 | 0 | 85.4462 | 0 | -1e-07 | 1.602e-19 | -1e-07 | -1.2518e-19 | -77.7798 | 0 | 0 | 0 | 73.5107 | 77.7798
Line_2 | 2.4666 | 0 | 4.9647 | 0 | 85.4462 | 0 | -1e-07 | 1.602e-19 | -1e-07 | -1.2518e-19 | -77.7798 | 0 | 0 | 0 | 73.5107 | 77.7798
Line_4 | 1.2333 | 1.2333 | 2.4824 | 2.4824 | 42.7231 | 42.7231 | -1e-07 | -1e-07 | -1e-07 | -1e-07 | -73.5107 | 106.4893 | 0 | 0 | 73.5107 | 73.5107

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_deg | pf_ikss_to_deg | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_deg | pf_va_to_deg
Line_0 | 0 | 1.3097 | 0 | 2.8371 | 0 | 45.3689 | -6.0676e-09 | -25.7292 | 5.5265e-09 | -25.7292 | -54.5297 | 125.4703 | 0.87234 | 0.80202 | 45 | 45
Line_1 | 0.82856 | 0 | 1.6677 | 0 | 28.7021 | 0 | -15.4464 | -2.495e-09 | -15.4464 | 1.6066e-09 | -54.5297 | 0 | 0.76108 | 0.80202 | 45 | 45
Line_2 | 0.82856 | 0 | 1.6677 | 0 | 28.7021 | 0 | -15.4464 | -2.495e-09 | -15.4464 | 1.6066e-09 | -54.5297 | 0 | 0.76108 | 0.80202 | 45 | 45
Line_4 | 0.41428 | 0.41428 | 0.83384 | 0.83384 | 14.351 | 14.351 | -7.7232 | -7.7232 | -7.7232 | -7.7232 | -54.2264 | 125.7736 | 0.76108 | 0.76108 | 45 | 45

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_deg | pf_ikss_to_deg | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_deg | pf_va_to_deg
Line_0 | 0 | 1.3097 | 0 | 2.8371 | 0 | 45.3689 | -6.0676e-09 | -25.7292 | 5.5265e-09 | -25.7292 | -54.5297 | 125.4703 | 0.87234 | 0.80202 | 45 | 45
Line_1 | 0.82856 | 0 | 1.6677 | 0 | 28.7021 | 0 | -15.4464 | -2.495e-09 | -15.4464 | 1.6066e-09 | -54.5297 | 0 | 0.76108 | 0.80202 | 45 | 45
Line_2 | 0.82856 | 0 | 1.6677 | 0 | 28.7021 | 0 | -15.4464 | -2.495e-09 | -15.4464 | 1.6066e-09 | -54.5297 | 0 | 0.76108 | 0.80202 | 45 | 45
Line_4 | 0.41428 | 0.41428 | 0.83384 | 0.83384 | 14.351 | 14.351 | -7.7232 | -7.7232 | -7.7232 | -7.7232 | -54.2264 | 125.7736 | 0.76108 | 0.76108 | 45 | 45

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_deg | pf_ikss_to_deg | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_deg | pf_va_to_deg
Line_0 | 0 | 3.6016 | 0 | 6.8381 | 0 | 124.7634 | 7.2813e-20 | -1e-07 | 2.6701e-19 | -1e-07 | -69.6723 | 110.3277 | 0 | 0 | 87.2669 | 69.6723
Line_1 | 2.0061 | 0 | 3.4722 | 0 | 69.4947 | 0 | -1e-07 | 1.7293e-20 | -1e-07 | 6.3216e-20 | -69.6723 | 0 | 0 | 0 | 62.3733 | 69.6723
Line_2 | 2.0061 | 0 | 3.4722 | 0 | 69.4947 | 0 | -1e-07 | 1.7293e-20 | -1e-07 | 6.3216e-20 | -69.6723 | 0 | 0 | 0 | 62.3733 | 69.6723
Line_4 | 1.0031 | 1.0031 | 1.7361 | 1.7361 | 34.7474 | 34.7474 | -1e-07 | -1e-07 | -1e-07 | -1e-07 | -62.3733 | 117.6267 | 0 | 0 | 62.3733 | 62.3733

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_deg | pf_ikss_to_deg | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_deg | pf_va_to_deg
Line_0 | 0 | 3.6016 | 0 | 6.8381 | 0 | 124.7634 | 7.2813e-20 | -1e-07 | 2.6704e-19 | -1e-07 | -69.6723 | 110.3277 | 0 | 0 | 87.2669 | 69.6723
Line_1 | 2.0061 | 0 | 3.4722 | 0 | 69.4947 | 0 | -1e-07 | 1.7288e-20 | -1e-07 | 6.3228e-20 | -69.6723 | 0 | 0 | 0 | 62.3733 | 69.6723
Line_2 | 2.0061 | 0 | 3.4722 | 0 | 69.4947 | 0 | -1e-07 | 1.7288e-20 | -1e-07 | 6.3228e-20 | -69.6723 | 0 | 0 | 0 | 62.3733 | 69.6723
Line_4 | 1.0031 | 1.0031 | 1.7361 | 1.7361 | 34.7474 | 34.7474 | -1e-07 | -1e-07 | -1e-07 | -1e-07 | -62.3733 | 117.6267 | 0 | 0 | 62.3733 | 62.3733

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_deg | pf_ikss_to_deg | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_deg | pf_va_to_deg
Line_0 | 0 | 1.1462 | 0 | 2.1763 | 0 | 39.7072 | -5.1465e-09 | -19.7082 | 4.6775e-09 | -19.7082 | -52.6343 | 127.3657 | 0.78485 | 0.70193 | 45 | 45
Line_1 | 0.71316 | 0 | 1.2343 | 0 | 24.7046 | 0 | -11.4434 | -2.233e-09 | -11.4434 | 1.0258e-09 | -52.6343 | 0 | 0.65508 | 0.70193 | 45 | 45
Line_2 | 0.71316 | 0 | 1.2343 | 0 | 24.7046 | 0 | -11.4434 | -2.233e-09 | -11.4434 | 1.0258e-09 | -52.6343 | 0 | 0.65508 | 0.70193 | 45 | 45
Line_4 | 0.35658 | 0.35658 | 0.61717 | 0.61717 | 12.3523 | 12.3523 | -5.7217 | -5.7217 | -5.7217 | -5.7217 | -51.0933 | 128.9067 | 0.65508 | 0.65508 | 45 | 45

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_deg | pf_ikss_to_deg | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_deg | pf_va_to_deg
Line_0 | 0 | 1.1462 | 0 | 2.1763 | 0 | 39.7072 | -5.1465e-09 | -19.7082 | 4.6775e-09 | -19.7082 | -52.6343 | 127.3657 | 0.78485 | 0.70193 | 45 | 45
Line_1 | 0.71316 | 0 | 1.2343 | 0 | 24.7046 | 0 | -11.4434 | -2.233e-09 | -11.4434 | 1.0258e-09 | -52.6343 | 0 | 0.65508 | 0.70193 | 45 | 45
Line_2 | 0.71316 | 0 | 1.2343 | 0 | 24.7046 | 0 | -11.4434 | -2.233e-09 | -11.4434 | 1.0258e-09 | -52.6343 | 0 | 0.65508 | 0.70193 | 45 | 45
Line_4 | 0.35658 | 0.35658 | 0.61717 | 0.61717 | 12.3523 | 12.3523 | -5.7217 | -5.7217 | -5.7217 | -5.7217 | -51.0933 | 128.9067 | 0.65508 | 0.65508 | 45 | 45

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw | pf_ikss_a_from_deg | pf_ikss_b_from_deg | pf_ikss_c_from_deg | pf_ikss_a_to_deg | pf_ikss_b_to_deg | pf_ikss_c_to_deg | pf_vm_a_from_pu | pf_vm_b_from_bus_pu | pf_vm_c_from_bus_pu | pf_vm_a_to_bus_pu | pf_vm_b_to_bus_pu | pf_vm_c_to_bus_pu | pf_va_a_from_bus_deg | pf_va_b_from_bus_deg | pf_va_c_from_bus_deg | pf_va_a_to_bus_deg | pf_va_b_to_bus_deg | pf_va_c_to_bus_deg
Line_0 | 0 | 0 | 0 | 0 | 3.7092 | 3.7092 | 0 | 0 | 0 | 0 | 42.8296 | 42.8296 | -7.2949e-14 | 1.3495e-21 | -2.0843e-14 | 4.6896e-14 | -23.0225 | 23.0225 | -1.0421e-14 | 5.7634e-09 | -5.7634e-09 | 3.1264e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | -3.9812e-12 | 0 | -180 | -1.2437e-11 | 0 | -180
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 0 | 0 | 0 | 24.6662 | 24.6662 | 0 | 0 | 0 | 3.1264e-14 | -13.0085 | 13.0085 | -2.0843e-14 | 1.0421e-14 | 1.1238e-21 | 5.2106e-15 | 3.8506 | -3.8506 | -1.0421e-14 | 1.9211e-09 | -1.9212e-09 | 0 | -167.7798 | 12.2202 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | -1.4262e-11 | 0 | -180 | -1.2437e-11 | 0 | -180
Line_2 | 0 | 2.1362 | 2.1362 | 0 | 0 | 0 | 0 | 24.6662 | 24.6662 | 0 | 0 | 0 | -5.2106e-15 | -13.0085 | 13.0085 | -3.1264e-14 | 2.0843e-14 | -4.1685e-14 | 2.0843e-14 | 3.8506 | -3.8506 | -3.2194e-28 | 1.9211e-09 | -1.9211e-09 | 0 | -167.7798 | 12.2202 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | -1.4259e-11 | 0 | -180 | -1.2437e-11 | 0 | -180
Line_4 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 2.6053e-14 | -6.5042 | 6.5042 | -2.6053e-14 | -6.5042 | 6.5042 | -1.0421e-14 | 1.9253 | -1.9253 | 5.2106e-15 | 1.9253 | -1.9253 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | -1.4262e-11 | 0 | -180 | -1.4259e-11 | 0 | -180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw | pf_ikss_a_from_deg | pf_ikss_b_from_deg | pf_ikss_c_from_deg | pf_ikss_a_to_deg | pf_ikss_b_to_deg | pf_ikss_c_to_deg | pf_vm_a_from_pu | pf_vm_b_from_bus_pu | pf_vm_c_from_bus_pu | pf_vm_a_to_bus_pu | pf_vm_b_to_bus_pu | pf_vm_c_to_bus_pu | pf_va_a_from_bus_deg | pf_va_b_from_bus_deg | pf_va_c_from_bus_deg | pf_va_a_to_bus_deg | pf_va_b_to_bus_deg | pf_va_c_to_bus_deg
Line_0 | 0 | 0 | 0 | 0 | 3.7092 | 3.7092 | 0 | 0 | 0 | 0 | 42.8296 | 42.8296 | -7.2949e-14 | 1.3495e-21 | -2.0843e-14 | 4.6896e-14 | -23.0225 | 23.0225 | -1.0421e-14 | 5.7634e-09 | -5.7634e-09 | 3.1264e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | -3.9812e-12 | 0 | -180 | -1.2437e-11 | 0 | -180
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 0 | 0 | 0 | 24.6662 | 24.6662 | 0 | 0 | 0 | 3.1264e-14 | -13.0085 | 13.0085 | -2.0843e-14 | 1.0421e-14 | 1.1238e-21 | 5.2106e-15 | 3.8506 | -3.8506 | -1.0421e-14 | 1.9211e-09 | -1.9212e-09 | 0 | -167.7798 | 12.2202 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | -1.4262e-11 | 0 | -180 | -1.2437e-11 | 0 | -180
Line_2 | 0 | 2.1362 | 2.1362 | 0 | 0 | 0 | 0 | 24.6662 | 24.6662 | 0 | 0 | 0 | -5.2106e-15 | -13.0085 | 13.0085 | -3.1264e-14 | 2.0843e-14 | -4.1685e-14 | 2.0843e-14 | 3.8506 | -3.8506 | -3.2194e-28 | 1.9211e-09 | -1.9211e-09 | 0 | -167.7798 | 12.2202 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | -1.4259e-11 | 0 | -180 | -1.2437e-11 | 0 | -180
Line_4 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 2.6053e-14 | -6.5042 | 6.5042 | -2.6053e-14 | -6.5042 | 6.5042 | -1.0421e-14 | 1.9253 | -1.9253 | 5.2106e-15 | 1.9253 | -1.9253 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | -1.4262e-11 | 0 | -180 | -1.4259e-11 | 0 | -180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw | pf_ikss_a_from_deg | pf_ikss_b_from_deg | pf_ikss_c_from_deg | pf_ikss_a_to_deg | pf_ikss_b_to_deg | pf_ikss_c_to_deg | pf_vm_a_from_pu | pf_vm_b_from_bus_pu | pf_vm_c_from_bus_pu | pf_vm_a_to_bus_pu | pf_vm_b_to_bus_pu | pf_vm_c_to_bus_pu | pf_va_a_from_bus_deg | pf_va_b_from_bus_deg | pf_va_c_from_bus_deg | pf_va_a_to_bus_deg | pf_va_b_to_bus_deg | pf_va_c_to_bus_deg
Line_0 | 0 | 0 | 0 | 0 | 1.7631 | 1.7631 | 0 | 0 | 0 | 0 | 20.3584 | 20.3584 | -2.7356e-14 | -9.5549e-10 | -3.075e-09 | 2.0843e-14 | -17.4596 | 1.9173 | -1.5632e-14 | 4.0277e-09 | -3.5663e-10 | 1.3027e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1075 | 0.71098 | 0.91717 | 1.0759 | 0.62335 | 0.92294 | 17.922 | -106.528 | 158.1868 | 16.2567 | -104.913 | 160.9544
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 0 | 0 | 0 | 12.5375 | 12.5375 | 0 | 0 | 0 | 7.816e-15 | -10.3342 | 1.4923 | -7.816e-15 | -4.7339e-10 | -1.0338e-09 | 2.6053e-15 | -0.87368 | -7.9682 | -5.2106e-15 | 1.3544e-09 | -3.8387e-10 | 0 | -149.913 | 30.087 | 0 | 0 | 0 | 1.0599 | 0.57582 | 0.92591 | 1.0759 | 0.62335 | 0.92294 | 15.2786 | -104.0411 | 162.4427 | 16.2567 | -104.913 | 160.9544
Line_2 | 0 | 1.0858 | 1.0858 | 0 | 0 | 0 | 0 | 12.5375 | 12.5375 | 0 | 0 | 0 | 2.6053e-15 | -10.3342 | 1.4923 | -1.0421e-14 | -4.7339e-10 | -1.0338e-09 | 1.0421e-14 | -0.87368 | -7.9682 | -5.2106e-15 | 1.3544e-09 | -3.8387e-10 | 0 | -149.913 | 30.087 | 0 | 0 | 0 | 1.0599 | 0.57582 | 0.92591 | 1.0759 | 0.62335 | 0.92294 | 15.2786 | -104.0411 | 162.4427 | 16.2567 | -104.913 | 160.9544
Line_4 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 2.6053e-15 | -5.1671 | 0.74615 | -1.0421e-14 | -5.1671 | 0.74615 | -2.6053e-15 | -0.43684 | -3.9841 | 7.816e-15 | -0.43684 | -3.9841 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.0599 | 0.57582 | 0.92591 | 1.0599 | 0.57582 | 0.92591 | 15.2786 | -104.0411 | 162.4427 | 15.2786 | -104.0411 | 162.4427

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw | pf_ikss_a_from_deg | pf_ikss_b_from_deg | pf_ikss_c_from_deg | pf_ikss_a_to_deg | pf_ikss_b_to_deg | pf_ikss_c_to_deg | pf_vm_a_from_pu | pf_vm_b_from_bus_pu | pf_vm_c_from_bus_pu | pf_vm_a_to_bus_pu | pf_vm_b_to_bus_pu | pf_vm_c_to_bus_pu | pf_va_a_from_bus_deg | pf_va_b_from_bus_deg | pf_va_c_from_bus_deg | pf_va_a_to_bus_deg | pf_va_b_to_bus_deg | pf_va_c_to_bus_deg
Line_0 | 0 | 0 | 0 | 0 | 1.7631 | 1.7631 | 0 | 0 | 0 | 0 | 20.3584 | 20.3584 | -2.7356e-14 | -9.5549e-10 | -3.075e-09 | 2.0843e-14 | -17.4596 | 1.9173 | -1.5632e-14 | 4.0277e-09 | -3.5663e-10 | 1.3027e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1075 | 0.71098 | 0.91717 | 1.0759 | 0.62335 | 0.92294 | 17.922 | -106.528 | 158.1868 | 16.2567 | -104.913 | 160.9544
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 0 | 0 | 0 | 12.5375 | 12.5375 | 0 | 0 | 0 | 7.816e-15 | -10.3342 | 1.4923 | -7.816e-15 | -4.7339e-10 | -1.0338e-09 | 2.6053e-15 | -0.87368 | -7.9682 | -5.2106e-15 | 1.3544e-09 | -3.8387e-10 | 0 | -149.913 | 30.087 | 0 | 0 | 0 | 1.0599 | 0.57582 | 0.92591 | 1.0759 | 0.62335 | 0.92294 | 15.2786 | -104.0411 | 162.4427 | 16.2567 | -104.913 | 160.9544
Line_2 | 0 | 1.0858 | 1.0858 | 0 | 0 | 0 | 0 | 12.5375 | 12.5375 | 0 | 0 | 0 | 2.6053e-15 | -10.3342 | 1.4923 | -1.0421e-14 | -4.7339e-10 | -1.0338e-09 | 1.0421e-14 | -0.87368 | -7.9682 | -5.2106e-15 | 1.3544e-09 | -3.8387e-10 | 0 | -149.913 | 30.087 | 0 | 0 | 0 | 1.0599 | 0.57582 | 0.92591 | 1.0759 | 0.62335 | 0.92294 | 15.2786 | -104.0411 | 162.4427 | 16.2567 | -104.913 | 160.9544
Line_4 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 2.6053e-15 | -5.1671 | 0.74615 | -1.0421e-14 | -5.1671 | 0.74615 | -2.6053e-15 | -0.43684 | -3.9841 | 7.816e-15 | -0.43684 | -3.9841 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.0599 | 0.57582 | 0.92591 | 1.0599 | 0.57582 | 0.92591 | 15.2786 | -104.0411 | 162.4427 | 15.2786 | -104.0411 | 162.4427

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw | pf_ikss_a_from_deg | pf_ikss_b_from_deg | pf_ikss_c_from_deg | pf_ikss_a_to_deg | pf_ikss_b_to_deg | pf_ikss_c_to_deg | pf_vm_a_from_pu | pf_vm_b_from_bus_pu | pf_vm_c_from_bus_pu | pf_vm_a_to_bus_pu | pf_vm_b_to_bus_pu | pf_vm_c_to_bus_pu | pf_va_a_from_bus_deg | pf_va_b_from_bus_deg | pf_va_c_from_bus_deg | pf_va_a_to_bus_deg | pf_va_b_to_bus_deg | pf_va_c_to_bus_deg
Line_0 | 0 | 0 | 0 | 0 | 3.1191 | 3.1191 | 0 | 0 | 0 | 0 | 36.0161 | 36.0161 | -1.8948e-14 | -1.8948e-14 | 2.3685e-15 | 1.8948e-14 | -16.8865 | 16.8865 | 1.8948e-14 | 4.7631e-09 | -4.7631e-09 | -1.8948e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 3.0782e-11 | 0 | 180 | 1.7236e-10 | 0 | 180
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 0 | 0 | 0 | 20.0614 | 20.0614 | 0 | 0 | 0 | 9.4739e-15 | -8.8871 | 8.8871 | -9.4739e-15 | -4.737e-15 | 2.3685e-15 | 2.3685e-15 | 4.6513 | -4.6513 | -9.8633e-29 | 1.5877e-09 | -1.5877e-09 | 0 | -159.6723 | 20.3277 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 1.9242e-10 | 0 | 180 | 1.7236e-10 | 0 | 180
Line_2 | 0 | 1.7374 | 1.7374 | 0 | 0 | 0 | 0 | 20.0614 | 20.0614 | 0 | 0 | 0 | 1.0658e-14 | -8.8871 | 8.8871 | -7.1054e-15 | -4.737e-15 | 2.3685e-15 | -1.1842e-14 | 4.6513 | -4.6513 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | -159.6723 | 20.3277 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 1.9242e-10 | 0 | 180 | 1.7236e-10 | 0 | 180
Line_4 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 7.1054e-15 | -4.4435 | 4.4435 | 2.3685e-15 | -4.4435 | 4.4435 | 5.7525e-29 | 2.3257 | -2.3257 | -1.4211e-14 | 2.3257 | -2.3257 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 1.9242e-10 | 0 | 180 | 1.9242e-10 | 0 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw | pf_ikss_a_from_deg | pf_ikss_b_from_deg | pf_ikss_c_from_deg | pf_ikss_a_to_deg | pf_ikss_b_to_deg | pf_ikss_c_to_deg | pf_vm_a_from_pu | pf_vm_b_from_bus_pu | pf_vm_c_from_bus_pu | pf_vm_a_to_bus_pu | pf_vm_b_to_bus_pu | pf_vm_c_to_bus_pu | pf_va_a_from_bus_deg | pf_va_b_from_bus_deg | pf_va_c_from_bus_deg | pf_va_a_to_bus_deg | pf_va_b_to_bus_deg | pf_va_c_to_bus_deg
Line_0 | 0 | 0 | 0 | 0 | 3.1191 | 3.1191 | 0 | 0 | 0 | 0 | 36.0161 | 36.0161 | -1.8948e-14 | -1.8948e-14 | 2.3685e-15 | 1.8948e-14 | -16.8865 | 16.8865 | 1.8948e-14 | 4.7631e-09 | -4.7631e-09 | -1.8948e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 3.0782e-11 | 0 | 180 | 1.7236e-10 | 0 | 180
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 0 | 0 | 0 | 20.0614 | 20.0614 | 0 | 0 | 0 | 9.4739e-15 | -8.8871 | 8.8871 | -9.4739e-15 | -4.737e-15 | 2.3685e-15 | 2.3685e-15 | 4.6513 | -4.6513 | -9.8633e-29 | 1.5877e-09 | -1.5877e-09 | 0 | -159.6723 | 20.3277 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 1.9242e-10 | 0 | 180 | 1.7236e-10 | 0 | 180
Line_2 | 0 | 1.7374 | 1.7374 | 0 | 0 | 0 | 0 | 20.0614 | 20.0614 | 0 | 0 | 0 | 1.0658e-14 | -8.8871 | 8.8871 | -7.1054e-15 | -4.737e-15 | 2.3685e-15 | -1.1842e-14 | 4.6513 | -4.6513 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | -159.6723 | 20.3277 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 1.9242e-10 | 0 | 180 | 1.7236e-10 | 0 | 180
Line_4 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 7.1054e-15 | -4.4435 | 4.4435 | 2.3685e-15 | -4.4435 | 4.4435 | 5.7525e-29 | 2.3257 | -2.3257 | -1.4211e-14 | 2.3257 | -2.3257 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 1.9242e-10 | 0 | 180 | 1.9242e-10 | 0 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw | pf_ikss_a_from_deg | pf_ikss_b_from_deg | pf_ikss_c_from_deg | pf_ikss_a_to_deg | pf_ikss_b_to_deg | pf_ikss_c_to_deg | pf_vm_a_from_pu | pf_vm_b_from_bus_pu | pf_vm_c_from_bus_pu | pf_vm_a_to_bus_pu | pf_vm_b_to_bus_pu | pf_vm_c_to_bus_pu | pf_va_a_from_bus_deg | pf_va_b_from_bus_deg | pf_va_c_from_bus_deg | pf_va_a_to_bus_deg | pf_va_b_to_bus_deg | pf_va_c_to_bus_deg
Line_0 | 0 | 0 | 0 | 0 | 1.5183 | 1.5183 | 0 | 0 | 0 | 0 | 17.5318 | 17.5318 | -2.9606e-15 | -8.0026e-10 | -2.5674e-09 | 4.1448e-15 | -13.0917 | 1.5655 | -1.5745e-29 | 3.4014e-09 | -3.4065e-10 | -7.1054e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1.0057 | 0.63489 | 0.83074 | 0.95734 | 0.5368 | 0.85298 | 17.5701 | -106.9886 | 158.5648 | 15.9329 | -101.7238 | 162.0554
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0 | 0 | 0 | 10.5621 | 10.5621 | 0 | 0 | 0 | 1.1842e-15 | -7.4125 | 1.1373 | -7.1054e-15 | -4.7981e-10 | -8.2616e-10 | 4.737e-15 | -0.036791 | -6.2383 | -2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | -146.7238 | 33.2762 | 0 | 0 | 0 | 0.93535 | 0.4851 | 0.86185 | 0.95734 | 0.5368 | 0.85298 | 14.8381 | -99.0449 | 163.8635 | 15.9329 | -101.7238 | 162.0554
Line_2 | 0 | 0.9147 | 0.9147 | 0 | 0 | 0 | 0 | 10.5621 | 10.5621 | 0 | 0 | 0 | 2.3685e-15 | -7.4125 | 1.1373 | -4.737e-15 | -4.7981e-10 | -8.2616e-10 | 2.3685e-15 | -0.036791 | -6.2383 | -2.1182e-29 | 1.0532e-09 | -4.5325e-10 | 0 | -146.7238 | 33.2762 | 0 | 0 | 0 | 0.93535 | 0.4851 | 0.86185 | 0.95734 | 0.5368 | 0.85298 | 14.8381 | -99.0449 | 163.8635 | 15.9329 | -101.7238 | 162.0554
Line_4 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -5.9212e-16 | -3.7062 | 0.56866 | 0 | -3.7062 | 0.56866 | 4.737e-15 | -0.018396 | -3.1192 | 0 | -0.018396 | -3.1192 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 0.93535 | 0.4851 | 0.86185 | 0.93535 | 0.4851 | 0.86185 | 14.8381 | -99.0449 | 163.8635 | 14.8381 | -99.0449 | 163.8635

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw | pf_ikss_a_from_deg | pf_ikss_b_from_deg | pf_ikss_c_from_deg | pf_ikss_a_to_deg | pf_ikss_b_to_deg | pf_ikss_c_to_deg | pf_vm_a_from_pu | pf_vm_b_from_bus_pu | pf_vm_c_from_bus_pu | pf_vm_a_to_bus_pu | pf_vm_b_to_bus_pu | pf_vm_c_to_bus_pu | pf_va_a_from_bus_deg | pf_va_b_from_bus_deg | pf_va_c_from_bus_deg | pf_va_a_to_bus_deg | pf_va_b_to_bus_deg | pf_va_c_to_bus_deg
Line_0 | 0 | 0 | 0 | 0 | 1.5183 | 1.5183 | 0 | 0 | 0 | 0 | 17.5318 | 17.5318 | -2.9606e-15 | -8.0026e-10 | -2.5674e-09 | 4.1448e-15 | -13.0917 | 1.5655 | -1.5745e-29 | 3.4014e-09 | -3.4065e-10 | -7.1054e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1.0057 | 0.63489 | 0.83074 | 0.95734 | 0.5368 | 0.85298 | 17.5701 | -106.9886 | 158.5648 | 15.9329 | -101.7238 | 162.0554
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0 | 0 | 0 | 10.5621 | 10.5621 | 0 | 0 | 0 | 1.1842e-15 | -7.4125 | 1.1373 | -7.1054e-15 | -4.7981e-10 | -8.2616e-10 | 4.737e-15 | -0.036791 | -6.2383 | -2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | -146.7238 | 33.2762 | 0 | 0 | 0 | 0.93535 | 0.4851 | 0.86185 | 0.95734 | 0.5368 | 0.85298 | 14.8381 | -99.0449 | 163.8635 | 15.9329 | -101.7238 | 162.0554
Line_2 | 0 | 0.9147 | 0.9147 | 0 | 0 | 0 | 0 | 10.5621 | 10.5621 | 0 | 0 | 0 | 2.3685e-15 | -7.4125 | 1.1373 | -4.737e-15 | -4.7981e-10 | -8.2616e-10 | 2.3685e-15 | -0.036791 | -6.2383 | -2.1182e-29 | 1.0532e-09 | -4.5325e-10 | 0 | -146.7238 | 33.2762 | 0 | 0 | 0 | 0.93535 | 0.4851 | 0.86185 | 0.95734 | 0.5368 | 0.85298 | 14.8381 | -99.0449 | 163.8635 | 15.9329 | -101.7238 | 162.0554
Line_4 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -5.9212e-16 | -3.7062 | 0.56866 | 0 | -3.7062 | 0.56866 | 4.737e-15 | -0.018396 | -3.1192 | 0 | -0.018396 | -3.1192 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 0.93535 | 0.4851 | 0.86185 | 0.93535 | 0.4851 | 0.86185 | 14.8381 | -99.0449 | 163.8635 | 14.8381 | -99.0449 | 163.8635

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw | pf_ikss_a_from_deg | pf_ikss_b_from_deg | pf_ikss_c_from_deg | pf_ikss_a_to_deg | pf_ikss_b_to_deg | pf_ikss_c_to_deg | pf_vm_a_from_pu | pf_vm_b_from_bus_pu | pf_vm_c_from_bus_pu | pf_vm_a_to_bus_pu | pf_vm_b_to_bus_pu | pf_vm_c_to_bus_pu | pf_va_a_from_bus_deg | pf_va_b_from_bus_deg | pf_va_c_from_bus_deg | pf_va_a_to_bus_deg | pf_va_b_to_bus_deg | pf_va_c_to_bus_deg
Line_0 | 0.0047579 | 0.0047579 | 0.0047579 | 0.0065052 | 4.8903 | 3.0773 | 0.05494 | 0.05494 | 0.05494 | 0.075115 | 56.4688 | 35.5339 | 0.00022365 | -8.2687e-13 | 9.6637e-14 | -0.00010429 | 1.9371e-10 | 1.5438e-10 | -0.039518 | -3.6939e-13 | 8.9994e-13 | 0.098676 | -2.2207e-10 | -1.0097e-10 | 0 | 175.5435 | 39.4044 | -101.0634 | -4.5322 | -140.5185 | 0.4153 | 0 | 0.4153 | 0.75844 | 0 | 0.75844 | -0.027566 | 0 | 179.9724 | -11.0028 | 0 | 168.9972
Line_1 | 0.0010078 | 2.664 | 1.7846 | 0.0032526 | 0.0032526 | 0.0032526 | 0.011638 | 30.7612 | 20.607 | 0.037558 | 0.037558 | 0.037558 | 0.00025505 | 7.8181e-11 | 7.2413e-11 | 5.2144e-05 | -1.3209e-13 | -5.8165e-14 | 0.016231 | -8.7181e-11 | -2.8382e-11 | -0.049338 | -1.448e-13 | 1.8609e-13 | 0 | 175.5435 | 39.4044 | 78.9366 | 78.9366 | 78.9366 | 0.80534 | 0 | 0.80534 | 0.75844 | 0 | 0.75844 | -8.4243 | 0 | 171.5757 | -11.0028 | 0 | 168.9972
Line_2 | 0.0010078 | 2.664 | 1.7846 | 0.0032526 | 0.0032526 | 0.0032526 | 0.011638 | 30.7612 | 20.607 | 0.037558 | 0.037558 | 0.037558 | 0.00025505 | 7.8167e-11 | 7.2414e-11 | 5.2144e-05 | -1.3209e-13 | -5.8165e-14 | 0.016231 | -8.718e-11 | -2.8388e-11 | -0.049338 | -1.448e-13 | 1.8609e-13 | 0 | 175.5435 | 39.4044 | 78.9366 | 78.9366 | 78.9366 | 0.80534 | 0 | 0.80534 | 0.75844 | 0 | 0.75844 | -8.4243 | 0 | 171.5757 | -11.0028 | 0 | 168.9972
Line_4 | 0.0010078 | 1.3323 | 0.89126 | 0.0010078 | 1.3323 | 0.89126 | 0.011638 | 15.3839 | 10.2914 | 0.011638 | 15.3839 | 10.2914 | -0.00025505 | 3.905e-11 | 3.6181e-11 | -0.00025505 | 3.9043e-11 | 3.6182e-11 | -0.016231 | -4.3644e-11 | -1.413e-11 | -0.016231 | -4.3643e-11 | -1.4133e-11 | 0 | -176.654 | 36.3413 | 82.4759 | 3.3885 | -143.7055 | 0.80534 | 0 | 0.80534 | 0.80534 | 0 | 0.80534 | -8.4243 | 0 | 171.5757 | -8.4243 | 0 | 171.5757

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw | pf_ikss_a_from_deg | pf_ikss_b_from_deg | pf_ikss_c_from_deg | pf_ikss_a_to_deg | pf_ikss_b_to_deg | pf_ikss_c_to_deg | pf_vm_a_from_pu | pf_vm_b_from_bus_pu | pf_vm_c_from_bus_pu | pf_vm_a_to_bus_pu | pf_vm_b_to_bus_pu | pf_vm_c_to_bus_pu | pf_va_a_from_bus_deg | pf_va_b_from_bus_deg | pf_va_c_from_bus_deg | pf_va_a_to_bus_deg | pf_va_b_to_bus_deg | pf_va_c_to_bus_deg
Line_0 | 0.0047579 | 0.0047579 | 0.0047579 | 0.0065052 | 4.8903 | 3.0773 | 0.05494 | 0.05494 | 0.05494 | 0.075115 | 56.4688 | 35.5339 | 0.00022365 | -8.2687e-13 | 9.6637e-14 | -0.00010429 | 1.9371e-10 | 1.5438e-10 | -0.039518 | -3.6939e-13 | 8.9994e-13 | 0.098676 | -2.2207e-10 | -1.0097e-10 | 0 | 175.5435 | 39.4044 | -101.0634 | -4.5322 | -140.5185 | 0.4153 | 0 | 0.4153 | 0.75844 | 0 | 0.75844 | -0.027566 | 0 | 179.9724 | -11.0028 | 0 | 168.9972
Line_1 | 0.0010078 | 2.664 | 1.7846 | 0.0032526 | 0.0032526 | 0.0032526 | 0.011638 | 30.7612 | 20.607 | 0.037558 | 0.037558 | 0.037558 | 0.00025505 | 7.8181e-11 | 7.2413e-11 | 5.2144e-05 | -1.3209e-13 | -5.8165e-14 | 0.016231 | -8.7181e-11 | -2.8382e-11 | -0.049338 | -1.448e-13 | 1.8609e-13 | 0 | 175.5435 | 39.4044 | 78.9366 | 78.9366 | 78.9366 | 0.80534 | 0 | 0.80534 | 0.75844 | 0 | 0.75844 | -8.4243 | 0 | 171.5757 | -11.0028 | 0 | 168.9972
Line_2 | 0.0010078 | 2.664 | 1.7846 | 0.0032526 | 0.0032526 | 0.0032526 | 0.011638 | 30.7612 | 20.607 | 0.037558 | 0.037558 | 0.037558 | 0.00025505 | 7.8167e-11 | 7.2414e-11 | 5.2144e-05 | -1.3209e-13 | -5.8165e-14 | 0.016231 | -8.718e-11 | -2.8388e-11 | -0.049338 | -1.448e-13 | 1.8609e-13 | 0 | 175.5435 | 39.4044 | 78.9366 | 78.9366 | 78.9366 | 0.80534 | 0 | 0.80534 | 0.75844 | 0 | 0.75844 | -8.4243 | 0 | 171.5757 | -11.0028 | 0 | 168.9972
Line_4 | 0.0010078 | 1.3323 | 0.89126 | 0.0010078 | 1.3323 | 0.89126 | 0.011638 | 15.3839 | 10.2914 | 0.011638 | 15.3839 | 10.2914 | -0.00025505 | 3.905e-11 | 3.6181e-11 | -0.00025505 | 3.9043e-11 | 3.6182e-11 | -0.016231 | -4.3644e-11 | -1.413e-11 | -0.016231 | -4.3643e-11 | -1.4133e-11 | 0 | -176.654 | 36.3413 | 82.4759 | 3.3885 | -143.7055 | 0.80534 | 0 | 0.80534 | 0.80534 | 0 | 0.80534 | -8.4243 | 0 | 171.5757 | -8.4243 | 0 | 171.5757

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw | pf_ikss_a_from_deg | pf_ikss_b_from_deg | pf_ikss_c_from_deg | pf_ikss_a_to_deg | pf_ikss_b_to_deg | pf_ikss_c_to_deg | pf_vm_a_from_pu | pf_vm_b_from_bus_pu | pf_vm_c_from_bus_pu | pf_vm_a_to_bus_pu | pf_vm_b_to_bus_pu | pf_vm_c_to_bus_pu | pf_va_a_from_bus_deg | pf_va_b_from_bus_deg | pf_va_c_from_bus_deg | pf_va_a_to_bus_deg | pf_va_b_to_bus_deg | pf_va_c_to_bus_deg
Line_0 | 0.00079893 | 0.00079893 | 0.00079893 | 0.0022407 | 1.3668 | 1.1837 | 0.0092252 | 0.0092252 | 0.0092252 | 0.025874 | 15.7827 | 13.6682 | -0.005892 | -0.0019344 | 0.0078326 | -0.0042428 | -9.3328 | -6.9957 | -0.0076753 | 0.0082529 | -0.0016918 | 0.029883 | -9.361 | -6.9898 | 0 | -169.6005 | 64.8443 | -102.4002 | 10.3129 | -115.1317 | 1.0272 | 0.87234 | 0.93702 | 1.0079 | 0.80202 | 0.92653 | 21.5118 | -100.051 | 149.0211 | 20.1558 | -99.5297 | 151.391
Line_1 | 0.00044549 | 0.85778 | 0.72092 | 0.0011204 | 0.0011204 | 0.0011204 | 0.0051441 | 9.9048 | 8.3245 | 0.012937 | 0.012937 | 0.012937 | -0.00083106 | -5.5171 | -3.8963 | 0.0021214 | -0.010032 | 0.0079165 | 0.0062196 | -5.5223 | -3.895 | -0.014942 | 0.0040939 | 0.0049939 | 0 | -169.6005 | 64.8443 | 77.5998 | 77.5998 | 77.5998 | 0.99659 | 0.76108 | 0.92083 | 1.0079 | 0.80202 | 0.92653 | 19.3023 | -99.2264 | 152.7372 | 20.1558 | -99.5297 | 151.391
Line_2 | 0.00044549 | 0.85778 | 0.72092 | 0.0011204 | 0.0011204 | 0.0011204 | 0.0051441 | 9.9048 | 8.3245 | 0.012937 | 0.012937 | 0.012937 | -0.00083106 | -5.5171 | -3.8963 | 0.0021214 | -0.010032 | 0.0079165 | 0.0062196 | -5.5223 | -3.895 | -0.014942 | 0.0040939 | 0.0049939 | 0 | -169.6005 | 64.8443 | 77.5998 | 77.5998 | 77.5998 | 0.99659 | 0.76108 | 0.92083 | 1.0079 | 0.80202 | 0.92653 | 19.3023 | -99.2264 | 152.7372 | 20.1558 | -99.5297 | 151.391
Line_4 | 0.00044549 | 0.42918 | 0.35982 | 0.00044549 | 0.42918 | 0.35982 | 0.0051441 | 4.9558 | 4.1548 | 0.0051441 | 4.9558 | 4.1548 | 0.00083106 | -2.7643 | -1.9437 | 0.00083106 | -2.7643 | -1.9437 | -0.0062196 | -2.7591 | -1.945 | -0.0062196 | -2.7591 | -1.945 | 0 | -166.64 | 62.777 | 77.6692 | 13.4136 | -117.2412 | 0.99659 | 0.76108 | 0.92083 | 0.99659 | 0.76108 | 0.92083 | 19.3023 | -99.2264 | 152.7372 | 19.3023 | -99.2264 | 152.7372

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw | pf_ikss_a_from_deg | pf_ikss_b_from_deg | pf_ikss_c_from_deg | pf_ikss_a_to_deg | pf_ikss_b_to_deg | pf_ikss_c_to_deg | pf_vm_a_from_pu | pf_vm_b_from_bus_pu | pf_vm_c_from_bus_pu | pf_vm_a_to_bus_pu | pf_vm_b_to_bus_pu | pf_vm_c_to_bus_pu | pf_va_a_from_bus_deg | pf_va_b_from_bus_deg | pf_va_c_from_bus_deg | pf_va_a_to_bus_deg | pf_va_b_to_bus_deg | pf_va_c_to_bus_deg
Line_0 | 0.00079893 | 0.00079893 | 0.00079893 | 0.0022407 | 1.3668 | 1.1837 | 0.0092252 | 0.0092252 | 0.0092252 | 0.025874 | 15.7827 | 13.6682 | -0.005892 | -0.0019344 | 0.0078326 | -0.0042428 | -9.3328 | -6.9957 | -0.0076753 | 0.0082529 | -0.0016918 | 0.029883 | -9.361 | -6.9898 | 0 | -169.6005 | 64.8443 | -102.4002 | 10.3129 | -115.1317 | 1.0272 | 0.87234 | 0.93702 | 1.0079 | 0.80202 | 0.92653 | 21.5118 | -100.051 | 149.0211 | 20.1558 | -99.5297 | 151.391
Line_1 | 0.00044549 | 0.85778 | 0.72092 | 0.0011204 | 0.0011204 | 0.0011204 | 0.0051441 | 9.9048 | 8.3245 | 0.012937 | 0.012937 | 0.012937 | -0.00083106 | -5.5171 | -3.8963 | 0.0021214 | -0.010032 | 0.0079165 | 0.0062196 | -5.5223 | -3.895 | -0.014942 | 0.0040939 | 0.0049939 | 0 | -169.6005 | 64.8443 | 77.5998 | 77.5998 | 77.5998 | 0.99659 | 0.76108 | 0.92083 | 1.0079 | 0.80202 | 0.92653 | 19.3023 | -99.2264 | 152.7372 | 20.1558 | -99.5297 | 151.391
Line_2 | 0.00044549 | 0.85778 | 0.72092 | 0.0011204 | 0.0011204 | 0.0011204 | 0.0051441 | 9.9048 | 8.3245 | 0.012937 | 0.012937 | 0.012937 | -0.00083106 | -5.5171 | -3.8963 | 0.0021214 | -0.010032 | 0.0079165 | 0.0062196 | -5.5223 | -3.895 | -0.014942 | 0.0040939 | 0.0049939 | 0 | -169.6005 | 64.8443 | 77.5998 | 77.5998 | 77.5998 | 0.99659 | 0.76108 | 0.92083 | 1.0079 | 0.80202 | 0.92653 | 19.3023 | -99.2264 | 152.7372 | 20.1558 | -99.5297 | 151.391
Line_4 | 0.00044549 | 0.42918 | 0.35982 | 0.00044549 | 0.42918 | 0.35982 | 0.0051441 | 4.9558 | 4.1548 | 0.0051441 | 4.9558 | 4.1548 | 0.00083106 | -2.7643 | -1.9437 | 0.00083106 | -2.7643 | -1.9437 | -0.0062196 | -2.7591 | -1.945 | -0.0062196 | -2.7591 | -1.945 | 0 | -166.64 | 62.777 | 77.6692 | 13.4136 | -117.2412 | 0.99659 | 0.76108 | 0.92083 | 0.99659 | 0.76108 | 0.92083 | 19.3023 | -99.2264 | 152.7372 | 19.3023 | -99.2264 | 152.7372

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw | pf_ikss_a_from_deg | pf_ikss_b_from_deg | pf_ikss_c_from_deg | pf_ikss_a_to_deg | pf_ikss_b_to_deg | pf_ikss_c_to_deg | pf_vm_a_from_pu | pf_vm_b_from_bus_pu | pf_vm_c_from_bus_pu | pf_vm_a_to_bus_pu | pf_vm_b_to_bus_pu | pf_vm_c_to_bus_pu | pf_va_a_from_bus_deg | pf_va_b_from_bus_deg | pf_va_c_from_bus_deg | pf_va_a_to_bus_deg | pf_va_b_to_bus_deg | pf_va_c_to_bus_deg
Line_0 | 0.0043968 | 0.0043968 | 0.0043968 | 0.0064937 | 3.8705 | 2.5465 | 0.05077 | 0.05077 | 0.05077 | 0.074982 | 44.6928 | 29.404 | 0.00036671 | 1.1082e-15 | 4.8952e-13 | -0.00019952 | -1.881e-10 | -4.3753e-11 | -0.033748 | 5.6287e-13 | -2.8306e-13 | 0.098327 | -1.7645e-10 | -1.6426e-10 | 0 | -170.5274 | 37.0011 | -98.445 | 9.3812 | -142.8964 | 0.3838 | 0 | 0.3838 | 0.7571 | 0 | 0.7571 | -0.071379 | 0 | 179.9286 | -8.3287 | 0 | 171.6713
Line_1 | 0.00096917 | 2.0373 | 1.496 | 0.0032468 | 0.0032468 | 0.0032468 | 0.011191 | 23.5246 | 17.2745 | 0.037491 | 0.037491 | 0.037491 | 0.000147 | -1.1007e-10 | -2.1595e-11 | 9.9761e-05 | -1.8922e-13 | 1.8649e-13 | 0.015104 | -9.1293e-11 | -1.0285e-10 | -0.049164 | 1.049e-13 | 1.1044e-13 | 0 | -170.5274 | 37.0011 | 81.555 | 81.555 | 81.555 | 0.77925 | 0 | 0.77925 | 0.7571 | 0 | 0.7571 | -5.8447 | 0 | 174.1553 | -8.3287 | 0 | 171.6713
Line_2 | 0.00096917 | 2.0373 | 1.496 | 0.0032468 | 0.0032468 | 0.0032468 | 0.011191 | 23.5246 | 17.2745 | 0.037491 | 0.037491 | 0.037491 | 0.000147 | -1.1007e-10 | -2.1593e-11 | 9.9761e-05 | -1.8922e-13 | 1.8649e-13 | 0.015104 | -9.1289e-11 | -1.0286e-10 | -0.049164 | 1.049e-13 | 1.1044e-13 | 0 | -170.5274 | 37.0011 | 81.555 | 81.555 | 81.555 | 0.77925 | 0 | 0.77925 | 0.7571 | 0 | 0.7571 | -5.8447 | 0 | 174.1553 | -8.3287 | 0 | 171.6713
Line_4 | 0.00096917 | 1.0192 | 0.74698 | 0.00096917 | 1.0192 | 0.74698 | 0.011191 | 11.7691 | 8.6254 | 0.011191 | 11.7691 | 8.6254 | -0.000147 | -5.5126e-11 | -1.0712e-11 | -0.000147 | -5.5125e-11 | -1.0711e-11 | -0.015104 | -4.5601e-11 | -5.1371e-11 | -0.015104 | -4.5599e-11 | -5.1372e-11 | 0 | -161.2835 | 39.8114 | 84.713 | 18.7662 | -140.2411 | 0.77925 | 0 | 0.77925 | 0.77925 | 0 | 0.77925 | -5.8447 | 0 | 174.1553 | -5.8447 | 0 | 174.1553

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw | pf_ikss_a_from_deg | pf_ikss_b_from_deg | pf_ikss_c_from_deg | pf_ikss_a_to_deg | pf_ikss_b_to_deg | pf_ikss_c_to_deg | pf_vm_a_from_pu | pf_vm_b_from_bus_pu | pf_vm_c_from_bus_pu | pf_vm_a_to_bus_pu | pf_vm_b_to_bus_pu | pf_vm_c_to_bus_pu | pf_va_a_from_bus_deg | pf_va_b_from_bus_deg | pf_va_c_from_bus_deg | pf_va_a_to_bus_deg | pf_va_b_to_bus_deg | pf_va_c_to_bus_deg
Line_0 | 0.0043968 | 0.0043968 | 0.0043968 | 0.0064937 | 3.8705 | 2.5465 | 0.05077 | 0.05077 | 0.05077 | 0.074982 | 44.6928 | 29.404 | 0.00036671 | 1.1082e-15 | 4.8952e-13 | -0.00019952 | -1.881e-10 | -4.3753e-11 | -0.033748 | 5.6287e-13 | -2.8306e-13 | 0.098327 | -1.7645e-10 | -1.6426e-10 | 0 | -170.5274 | 37.0011 | -98.445 | 9.3812 | -142.8964 | 0.3838 | 0 | 0.3838 | 0.7571 | 0 | 0.7571 | -0.071379 | 0 | 179.9286 | -8.3287 | 0 | 171.6713
Line_1 | 0.00096917 | 2.0373 | 1.496 | 0.0032468 | 0.0032468 | 0.0032468 | 0.011191 | 23.5246 | 17.2745 | 0.037491 | 0.037491 | 0.037491 | 0.000147 | -1.1007e-10 | -2.1595e-11 | 9.9761e-05 | -1.8922e-13 | 1.8649e-13 | 0.015104 | -9.1293e-11 | -1.0285e-10 | -0.049164 | 1.049e-13 | 1.1044e-13 | 0 | -170.5274 | 37.0011 | 81.555 | 81.555 | 81.555 | 0.77925 | 0 | 0.77925 | 0.7571 | 0 | 0.7571 | -5.8447 | 0 | 174.1553 | -8.3287 | 0 | 171.6713
Line_2 | 0.00096917 | 2.0373 | 1.496 | 0.0032468 | 0.0032468 | 0.0032468 | 0.011191 | 23.5246 | 17.2745 | 0.037491 | 0.037491 | 0.037491 | 0.000147 | -1.1007e-10 | -2.1593e-11 | 9.9761e-05 | -1.8922e-13 | 1.8649e-13 | 0.015104 | -9.1289e-11 | -1.0286e-10 | -0.049164 | 1.049e-13 | 1.1044e-13 | 0 | -170.5274 | 37.0011 | 81.555 | 81.555 | 81.555 | 0.77925 | 0 | 0.77925 | 0.7571 | 0 | 0.7571 | -5.8447 | 0 | 174.1553 | -8.3287 | 0 | 171.6713
Line_4 | 0.00096917 | 1.0192 | 0.74698 | 0.00096917 | 1.0192 | 0.74698 | 0.011191 | 11.7691 | 8.6254 | 0.011191 | 11.7691 | 8.6254 | -0.000147 | -5.5126e-11 | -1.0712e-11 | -0.000147 | -5.5125e-11 | -1.0711e-11 | -0.015104 | -4.5601e-11 | -5.1371e-11 | -0.015104 | -4.5599e-11 | -5.1372e-11 | 0 | -161.2835 | 39.8114 | 84.713 | 18.7662 | -140.2411 | 0.77925 | 0 | 0.77925 | 0.77925 | 0 | 0.77925 | -5.8447 | 0 | 174.1553 | -5.8447 | 0 | 174.1553

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw | pf_ikss_a_from_deg | pf_ikss_b_from_deg | pf_ikss_c_from_deg | pf_ikss_a_to_deg | pf_ikss_b_to_deg | pf_ikss_c_to_deg | pf_vm_a_from_pu | pf_vm_b_from_bus_pu | pf_vm_c_from_bus_pu | pf_vm_a_to_bus_pu | pf_vm_b_to_bus_pu | pf_vm_c_to_bus_pu | pf_va_a_from_bus_deg | pf_va_b_from_bus_deg | pf_va_c_from_bus_deg | pf_va_a_to_bus_deg | pf_va_b_to_bus_deg | pf_va_c_to_bus_deg
Line_0 | 0.00077635 | 0.00077636 | 0.00077635 | 0.002957 | 1.1988 | 0.97477 | 0.0089646 | 0.0089646 | 0.0089646 | 0.034144 | 13.842 | 11.2556 | -0.0051115 | -0.001739 | 0.0068619 | -0.0086689 | -7.1805 | -4.7384 | -0.0068393 | 0.0072102 | -0.0014231 | 0.037363 | -7.2097 | -4.7348 | 0 | -164.0251 | 64.1425 | -108.636 | 15.8586 | -115.8356 | 0.93054 | 0.78485 | 0.84636 | 0.90546 | 0.70193 | 0.85149 | 21.2051 | -100.4046 | 149.0428 | 19.8948 | -97.6343 | 152.9233
Line_1 | 0.00055936 | 0.73445 | 0.58364 | 0.0014785 | 0.0014785 | 0.0014785 | 0.006459 | 8.4807 | 6.7393 | 0.017072 | 0.017072 | 0.017072 | -0.0013449 | -4.045 | -2.5529 | 0.0043344 | -0.012344 | 0.0080303 | 0.0075401 | -4.05 | -2.5519 | -0.018682 | 0.0022631 | 0.0062241 | 0 | -164.0251 | 64.1425 | 71.364 | 71.364 | 71.364 | 0.88962 | 0.65508 | 0.85192 | 0.90546 | 0.70193 | 0.85149 | 19.0265 | -96.0933 | 154.9018 | 19.8948 | -97.6343 | 152.9233
Line_2 | 0.00055936 | 0.73445 | 0.58364 | 0.0014785 | 0.0014785 | 0.0014785 | 0.006459 | 8.4807 | 6.7393 | 0.017072 | 0.017072 | 0.017072 | -0.0013449 | -4.045 | -2.5529 | 0.0043344 | -0.012344 | 0.0080303 | 0.0075401 | -4.05 | -2.5519 | -0.018682 | 0.0022631 | 0.0062241 | 0 | -164.0251 | 64.1425 | 71.364 | 71.364 | 71.364 | 0.88962 | 0.65508 | 0.85192 | 0.90546 | 0.70193 | 0.85149 | 19.0265 | -96.0933 | 154.9018 | 19.8948 | -97.6343 | 152.9233
Line_4 | 0.00055936 | 0.36772 | 0.291 | 0.00055936 | 0.36772 | 0.291 | 0.006459 | 4.2461 | 3.3602 | 0.006459 | 4.2461 | 3.3602 | 0.0013449 | -2.029 | -1.2721 | 0.0013449 | -2.029 | -1.2721 | -0.0075401 | -2.024 | -1.2731 | -0.0075401 | -2.024 | -1.2731 | 0 | -159.1657 | 61.9185 | 74.3959 | 20.9044 | -118.1053 | 0.88962 | 0.65508 | 0.85192 | 0.88962 | 0.65508 | 0.85192 | 19.0265 | -96.0933 | 154.9018 | 19.0265 | -96.0933 | 154.9018

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw | pf_ikss_a_from_deg | pf_ikss_b_from_deg | pf_ikss_c_from_deg | pf_ikss_a_to_deg | pf_ikss_b_to_deg | pf_ikss_c_to_deg | pf_vm_a_from_pu | pf_vm_b_from_bus_pu | pf_vm_c_from_bus_pu | pf_vm_a_to_bus_pu | pf_vm_b_to_bus_pu | pf_vm_c_to_bus_pu | pf_va_a_from_bus_deg | pf_va_b_from_bus_deg | pf_va_c_from_bus_deg | pf_va_a_to_bus_deg | pf_va_b_to_bus_deg | pf_va_c_to_bus_deg
Line_0 | 0.00077635 | 0.00077636 | 0.00077635 | 0.002957 | 1.1988 | 0.97477 | 0.0089646 | 0.0089646 | 0.0089646 | 0.034144 | 13.842 | 11.2556 | -0.0051115 | -0.001739 | 0.0068619 | -0.0086689 | -7.1805 | -4.7384 | -0.0068393 | 0.0072102 | -0.0014231 | 0.037363 | -7.2097 | -4.7348 | 0 | -164.0251 | 64.1425 | -108.636 | 15.8586 | -115.8356 | 0.93054 | 0.78485 | 0.84636 | 0.90546 | 0.70193 | 0.85149 | 21.2051 | -100.4046 | 149.0428 | 19.8948 | -97.6343 | 152.9233
Line_1 | 0.00055936 | 0.73445 | 0.58364 | 0.0014785 | 0.0014785 | 0.0014785 | 0.006459 | 8.4807 | 6.7393 | 0.017072 | 0.017072 | 0.017072 | -0.0013449 | -4.045 | -2.5529 | 0.0043344 | -0.012344 | 0.0080303 | 0.0075401 | -4.05 | -2.5519 | -0.018682 | 0.0022631 | 0.0062241 | 0 | -164.0251 | 64.1425 | 71.364 | 71.364 | 71.364 | 0.88962 | 0.65508 | 0.85192 | 0.90546 | 0.70193 | 0.85149 | 19.0265 | -96.0933 | 154.9018 | 19.8948 | -97.6343 | 152.9233
Line_2 | 0.00055936 | 0.73445 | 0.58364 | 0.0014785 | 0.0014785 | 0.0014785 | 0.006459 | 8.4807 | 6.7393 | 0.017072 | 0.017072 | 0.017072 | -0.0013449 | -4.045 | -2.5529 | 0.0043344 | -0.012344 | 0.0080303 | 0.0075401 | -4.05 | -2.5519 | -0.018682 | 0.0022631 | 0.0062241 | 0 | -164.0251 | 64.1425 | 71.364 | 71.364 | 71.364 | 0.88962 | 0.65508 | 0.85192 | 0.90546 | 0.70193 | 0.85149 | 19.0265 | -96.0933 | 154.9018 | 19.8948 | -97.6343 | 152.9233
Line_4 | 0.00055936 | 0.36772 | 0.291 | 0.00055936 | 0.36772 | 0.291 | 0.006459 | 4.2461 | 3.3602 | 0.006459 | 4.2461 | 3.3602 | 0.0013449 | -2.029 | -1.2721 | 0.0013449 | -2.029 | -1.2721 | -0.0075401 | -2.024 | -1.2731 | -0.0075401 | -2.024 | -1.2731 | 0 | -159.1657 | 61.9185 | 74.3959 | 20.9044 | -118.1053 | 0.88962 | 0.65508 | 0.85192 | 0.88962 | 0.65508 | 0.85192 | 19.0265 | -96.0933 | 154.9018 | 19.0265 | -96.0933 | 154.9018

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw | pf_ikss_a_from_deg | pf_ikss_b_from_deg | pf_ikss_c_from_deg | pf_ikss_a_to_deg | pf_ikss_b_to_deg | pf_ikss_c_to_deg | pf_vm_a_from_pu | pf_vm_b_from_bus_pu | pf_vm_c_from_bus_pu | pf_vm_a_to_bus_pu | pf_vm_b_to_bus_pu | pf_vm_c_to_bus_pu | pf_va_a_from_bus_deg | pf_va_b_from_bus_deg | pf_va_c_from_bus_deg | pf_va_a_to_bus_deg | pf_va_b_to_bus_deg | pf_va_c_to_bus_deg
Line_0 | 0.0035347 | 0.0035347 | 0.0035347 | 3.9869 | 0.0075771 | 0.0075771 | 0.040815 | 0.040815 | 0.040815 | 46.0365 | 0.087493 | 0.087493 | -7.7531e-13 | 0.038942 | -0.038819 | 3.4653e-10 | -0.074689 | 0.074547 | 5.8489e-14 | -0.010657 | -0.011153 | -2.5304e-10 | 0.029801 | 0.10408 | -58.3569 | 0 | 0 | 121.5506 | 63.5406 | 63.5406 | 0.57112 | 1.1 | 0.57133 | 0.53064 | 1.1 | 0.84477 | 74.3295 | -90 | 105.6645 | 41.7882 | -90 | 117.9274
Line_1 | 1.9777 | 0.0013116 | 0.0013116 | 0.0037886 | 0.0037886 | 0.0037886 | 22.8368 | 0.015145 | 0.015145 | 0.043747 | 0.043747 | 0.043747 | 1.0277e-10 | -0.013206 | 0.013638 | -3.7839e-13 | 0.037344 | -0.037274 | -9.9598e-11 | 0.0084537 | 0.019036 | -1.519e-13 | -0.014901 | -0.052038 | -58.3569 | 0 | 0 | -116.4594 | -116.4594 | -116.4594 | 0.59775 | 1.1 | 0.89271 | 0.53064 | 1.1 | 0.84477 | 35.8607 | -90 | 122.8654 | 41.7882 | -90 | 117.9274
Line_2 | 1.9777 | 0.0013116 | 0.0013116 | 0.0037886 | 0.0037886 | 0.0037886 | 22.8368 | 0.015145 | 0.015145 | 0.043747 | 0.043747 | 0.043747 | 1.0276e-10 | -0.013206 | 0.013638 | -3.7839e-13 | 0.037344 | -0.037274 | -9.9602e-11 | 0.0084537 | 0.019036 | -1.519e-13 | -0.014901 | -0.052038 | -58.3569 | 0 | 0 | -116.4594 | -116.4594 | -116.4594 | 0.59775 | 1.1 | 0.89271 | 0.53064 | 1.1 | 0.84477 | 35.8607 | -90 | 122.8654 | 41.7882 | -90 | 117.9274
Line_4 | 0.98791 | 0.0013116 | 0.0013116 | 0.98791 | 0.0013116 | 0.0013116 | 11.4074 | 0.015145 | 0.015145 | 11.4074 | 0.015145 | 0.015145 | 5.125e-11 | 0.013206 | -0.013638 | 5.1244e-11 | 0.013206 | -0.013638 | -4.9841e-11 | -0.0084537 | -0.019036 | -4.9842e-11 | -0.0084537 | -0.019036 | -50.3973 | 0 | 0 | 129.6693 | -111.5153 | -111.5153 | 0.59775 | 1.1 | 0.89271 | 0.59775 | 1.1 | 0.89271 | 35.8607 | -90 | 122.8654 | 35.8607 | -90 | 122.8654

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw | pf_ikss_a_from_deg | pf_ikss_b_from_deg | pf_ikss_c_from_deg | pf_ikss_a_to_deg | pf_ikss_b_to_deg | pf_ikss_c_to_deg | pf_vm_a_from_pu | pf_vm_b_from_bus_pu | pf_vm_c_from_bus_pu | pf_vm_a_to_bus_pu | pf_vm_b_to_bus_pu | pf_vm_c_to_bus_pu | pf_va_a_from_bus_deg | pf_va_b_from_bus_deg | pf_va_c_from_bus_deg | pf_va_a_to_bus_deg | pf_va_b_to_bus_deg | pf_va_c_to_bus_deg
Line_0 | 0.0035347 | 0.0035347 | 0.0035347 | 3.9869 | 0.0075771 | 0.0075771 | 0.040815 | 0.040815 | 0.040815 | 46.0365 | 0.087493 | 0.087493 | -7.7531e-13 | 0.038942 | -0.038819 | 3.4653e-10 | -0.074689 | 0.074547 | 5.8489e-14 | -0.010657 | -0.011153 | -2.5304e-10 | 0.029801 | 0.10408 | -58.3569 | 0 | 0 | 121.5506 | 63.5406 | 63.5406 | 0.57112 | 1.1 | 0.57133 | 0.53064 | 1.1 | 0.84477 | 74.3295 | -90 | 105.6645 | 41.7882 | -90 | 117.9274
Line_1 | 1.9777 | 0.0013116 | 0.0013116 | 0.0037886 | 0.0037886 | 0.0037886 | 22.8368 | 0.015145 | 0.015145 | 0.043747 | 0.043747 | 0.043747 | 1.0277e-10 | -0.013206 | 0.013638 | -3.7839e-13 | 0.037344 | -0.037274 | -9.9598e-11 | 0.0084537 | 0.019036 | -1.519e-13 | -0.014901 | -0.052038 | -58.3569 | 0 | 0 | -116.4594 | -116.4594 | -116.4594 | 0.59775 | 1.1 | 0.89271 | 0.53064 | 1.1 | 0.84477 | 35.8607 | -90 | 122.8654 | 41.7882 | -90 | 117.9274
Line_2 | 1.9777 | 0.0013116 | 0.0013116 | 0.0037886 | 0.0037886 | 0.0037886 | 22.8368 | 0.015145 | 0.015145 | 0.043747 | 0.043747 | 0.043747 | 1.0276e-10 | -0.013206 | 0.013638 | -3.7839e-13 | 0.037344 | -0.037274 | -9.9602e-11 | 0.0084537 | 0.019036 | -1.519e-13 | -0.014901 | -0.052038 | -58.3569 | 0 | 0 | -116.4594 | -116.4594 | -116.4594 | 0.59775 | 1.1 | 0.89271 | 0.53064 | 1.1 | 0.84477 | 35.8607 | -90 | 122.8654 | 41.7882 | -90 | 117.9274
Line_4 | 0.98791 | 0.0013116 | 0.0013116 | 0.98791 | 0.0013116 | 0.0013116 | 11.4074 | 0.015145 | 0.015145 | 11.4074 | 0.015145 | 0.015145 | 5.125e-11 | 0.013206 | -0.013638 | 5.1244e-11 | 0.013206 | -0.013638 | -4.9841e-11 | -0.0084537 | -0.019036 | -4.9842e-11 | -0.0084537 | -0.019036 | -50.3973 | 0 | 0 | 129.6693 | -111.5153 | -111.5153 | 0.59775 | 1.1 | 0.89271 | 0.59775 | 1.1 | 0.89271 | 35.8607 | -90 | 122.8654 | 35.8607 | -90 | 122.8654

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw | pf_ikss_a_from_deg | pf_ikss_b_from_deg | pf_ikss_c_from_deg | pf_ikss_a_to_deg | pf_ikss_b_to_deg | pf_ikss_c_to_deg | pf_vm_a_from_pu | pf_vm_b_from_bus_pu | pf_vm_c_from_bus_pu | pf_vm_a_to_bus_pu | pf_vm_b_to_bus_pu | pf_vm_c_to_bus_pu | pf_va_a_from_bus_deg | pf_va_b_from_bus_deg | pf_va_c_from_bus_deg | pf_va_a_to_bus_deg | pf_va_b_to_bus_deg | pf_va_c_to_bus_deg
Line_0 | 0.00076259 | 0.00076259 | 0.00076259 | 1.2465 | 0.0023689 | 0.0023689 | 0.0088057 | 0.0088057 | 0.0088057 | 14.3928 | 0.027354 | 0.027354 | 0.005374 | 0.0043026 | -0.0096709 | -7.7479 | -0.027258 | 0.022516 | 0.0059779 | -0.008139 | 0.0011459 | -7.7729 | 0.0089755 | 0.024425 | -49.1418 | 0 | 0 | 130.7658 | 72.7558 | 72.7558 | 0.92825 | 1.1 | 1.0361 | 0.91542 | 1.1 | 1.0162 | 29.2628 | -90 | 141.4081 | 30.2747 | -90 | 141.0746
Line_1 | 0.74681 | 0.00049528 | 0.00049528 | 0.0011845 | 0.0011845 | 0.0011845 | 8.6235 | 0.005719 | 0.005719 | 0.013677 | 0.013677 | 0.013677 | -4.1792 | -0.0056906 | 0.0046633 | -0.0023642 | 0.013629 | -0.011258 | -4.1841 | 0.0021464 | 0.0055413 | 0.010158 | -0.0044877 | -0.012213 | -49.1418 | 0 | 0 | -107.2443 | -107.2442 | -107.2442 | 0.90822 | 1.1 | 1.0067 | 0.91542 | 1.1 | 1.0162 | 30.7456 | -90 | 140.8405 | 30.2747 | -90 | 141.0746
Line_2 | 0.74681 | 0.00049528 | 0.00049528 | 0.0011845 | 0.0011845 | 0.0011845 | 8.6235 | 0.005719 | 0.005719 | 0.013677 | 0.013677 | 0.013677 | -4.1792 | -0.0056906 | 0.0046633 | -0.0023642 | 0.013629 | -0.011258 | -4.1841 | 0.0021464 | 0.0055413 | 0.010158 | -0.0044877 | -0.012213 | -49.1418 | 0 | 0 | -107.2443 | -107.2442 | -107.2442 | 0.90822 | 1.1 | 1.0067 | 0.91542 | 1.1 | 1.0162 | 30.7456 | -90 | 140.8405 | 30.2747 | -90 | 141.0746
Line_4 | 0.37305 | 0.00049528 | 0.00049528 | 0.37305 | 0.00049528 | 0.00049528 | 4.3076 | 0.005719 | 0.005719 | 4.3076 | 0.005719 | 0.005719 | -2.0912 | 0.0056906 | -0.0046633 | -2.0912 | 0.0056906 | -0.0046633 | -2.0864 | -0.0021464 | -0.0055413 | -2.0864 | -0.0021464 | -0.0055413 | -47.0355 | 0 | 0 | 133.0311 | -108.1536 | -108.1536 | 0.90822 | 1.1 | 1.0067 | 0.90822 | 1.1 | 1.0067 | 30.7456 | -90 | 140.8405 | 30.7456 | -90 | 140.8405

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw | pf_ikss_a_from_deg | pf_ikss_b_from_deg | pf_ikss_c_from_deg | pf_ikss_a_to_deg | pf_ikss_b_to_deg | pf_ikss_c_to_deg | pf_vm_a_from_pu | pf_vm_b_from_bus_pu | pf_vm_c_from_bus_pu | pf_vm_a_to_bus_pu | pf_vm_b_to_bus_pu | pf_vm_c_to_bus_pu | pf_va_a_from_bus_deg | pf_va_b_from_bus_deg | pf_va_c_from_bus_deg | pf_va_a_to_bus_deg | pf_va_b_to_bus_deg | pf_va_c_to_bus_deg
Line_0 | 0.00076259 | 0.00076259 | 0.00076259 | 1.2465 | 0.0023689 | 0.0023689 | 0.0088057 | 0.0088057 | 0.0088057 | 14.3928 | 0.027354 | 0.027354 | 0.005374 | 0.0043026 | -0.0096709 | -7.7479 | -0.027258 | 0.022516 | 0.0059779 | -0.008139 | 0.0011459 | -7.7729 | 0.0089755 | 0.024425 | -49.1418 | 0 | 0 | 130.7658 | 72.7558 | 72.7558 | 0.92825 | 1.1 | 1.0361 | 0.91542 | 1.1 | 1.0162 | 29.2628 | -90 | 141.4081 | 30.2747 | -90 | 141.0746
Line_1 | 0.74681 | 0.00049528 | 0.00049528 | 0.0011845 | 0.0011845 | 0.0011845 | 8.6235 | 0.005719 | 0.005719 | 0.013677 | 0.013677 | 0.013677 | -4.1792 | -0.0056906 | 0.0046633 | -0.0023642 | 0.013629 | -0.011258 | -4.1841 | 0.0021464 | 0.0055413 | 0.010158 | -0.0044877 | -0.012213 | -49.1418 | 0 | 0 | -107.2443 | -107.2442 | -107.2442 | 0.90822 | 1.1 | 1.0067 | 0.91542 | 1.1 | 1.0162 | 30.7456 | -90 | 140.8405 | 30.2747 | -90 | 141.0746
Line_2 | 0.74681 | 0.00049528 | 0.00049528 | 0.0011845 | 0.0011845 | 0.0011845 | 8.6235 | 0.005719 | 0.005719 | 0.013677 | 0.013677 | 0.013677 | -4.1792 | -0.0056906 | 0.0046633 | -0.0023642 | 0.013629 | -0.011258 | -4.1841 | 0.0021464 | 0.0055413 | 0.010158 | -0.0044877 | -0.012213 | -49.1418 | 0 | 0 | -107.2443 | -107.2442 | -107.2442 | 0.90822 | 1.1 | 1.0067 | 0.91542 | 1.1 | 1.0162 | 30.7456 | -90 | 140.8405 | 30.2747 | -90 | 141.0746
Line_4 | 0.37305 | 0.00049528 | 0.00049528 | 0.37305 | 0.00049528 | 0.00049528 | 4.3076 | 0.005719 | 0.005719 | 4.3076 | 0.005719 | 0.005719 | -2.0912 | 0.0056906 | -0.0046633 | -2.0912 | 0.0056906 | -0.0046633 | -2.0864 | -0.0021464 | -0.0055413 | -2.0864 | -0.0021464 | -0.0055413 | -47.0355 | 0 | 0 | 133.0311 | -108.1536 | -108.1536 | 0.90822 | 1.1 | 1.0067 | 0.90822 | 1.1 | 1.0067 | 30.7456 | -90 | 140.8405 | 30.7456 | -90 | 140.8405

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw | pf_ikss_a_from_deg | pf_ikss_b_from_deg | pf_ikss_c_from_deg | pf_ikss_a_to_deg | pf_ikss_b_to_deg | pf_ikss_c_to_deg | pf_vm_a_from_pu | pf_vm_b_from_bus_pu | pf_vm_c_from_bus_pu | pf_vm_a_to_bus_pu | pf_vm_b_to_bus_pu | pf_vm_c_to_bus_pu | pf_va_a_from_bus_deg | pf_va_b_from_bus_deg | pf_va_c_from_bus_deg | pf_va_a_to_bus_deg | pf_va_b_to_bus_deg | pf_va_c_to_bus_deg
Line_0 | 0.0032929 | 0.0032929 | 0.0032929 | 2.751 | 0.0089233 | 0.0089233 | 0.038023 | 0.038023 | 0.038023 | 31.7653 | 0.10304 | 0.10304 | 1.2728e-13 | 0.033029 | -0.032824 | -7.0477e-11 | -0.081973 | 0.081597 | 2.5436e-13 | -0.0090453 | -0.0098838 | -1.7239e-11 | 0.057146 | 0.12853 | -41.6331 | 0 | 0 | 138.1902 | 66.4243 | 66.4243 | 0.51999 | 1 | 0.5205 | 0.55992 | 1 | 0.85304 | 73.9552 | -90 | 106.0285 | 31.5426 | -90 | 124.0142
Line_1 | 1.2485 | 0.0014432 | 0.0014432 | 0.0044617 | 0.0044617 | 0.0044617 | 14.417 | 0.016665 | 0.016665 | 0.051519 | 0.051519 | 0.051519 | -1.8354e-11 | -0.013631 | 0.013957 | 9.2109e-15 | 0.040987 | -0.040798 | -1.4605e-12 | 0.012503 | 0.020989 | 1.1731e-13 | -0.028573 | -0.064263 | -41.6331 | 0 | 0 | -113.5757 | -113.5757 | -113.5757 | 0.64083 | 1 | 0.87326 | 0.55992 | 1 | 0.85304 | 30.3747 | -90 | 129.2797 | 31.5426 | -90 | 124.0142
Line_2 | 1.2485 | 0.0014432 | 0.0014432 | 0.0044617 | 0.0044617 | 0.0044617 | 14.417 | 0.016665 | 0.016665 | 0.051519 | 0.051519 | 0.051519 | -1.8353e-11 | -0.013631 | 0.013957 | 9.2109e-15 | 0.040987 | -0.040798 | -1.4596e-12 | 0.012503 | 0.020989 | 1.1731e-13 | -0.028573 | -0.064263 | -41.6331 | 0 | 0 | -113.5757 | -113.5757 | -113.5757 | 0.64083 | 1 | 0.87326 | 0.55992 | 1 | 0.85304 | 30.3747 | -90 | 129.2797 | 31.5426 | -90 | 124.0142
Line_4 | 0.62368 | 0.0014432 | 0.0014432 | 0.62368 | 0.0014432 | 0.0014432 | 7.2016 | 0.016665 | 0.016665 | 7.2016 | 0.016665 | 0.016665 | -9.1708e-12 | 0.013631 | -0.013957 | -9.1702e-12 | 0.013631 | -0.013957 | -6.9895e-13 | -0.012503 | -0.020989 | -6.9851e-13 | -0.012503 | -0.020989 | -33.0418 | 0 | 0 | 147.0857 | -107.0971 | -107.0971 | 0.64083 | 1 | 0.87326 | 0.64083 | 1 | 0.87326 | 30.3747 | -90 | 129.2797 | 30.3747 | -90 | 129.2797

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw | pf_ikss_a_from_deg | pf_ikss_b_from_deg | pf_ikss_c_from_deg | pf_ikss_a_to_deg | pf_ikss_b_to_deg | pf_ikss_c_to_deg | pf_vm_a_from_pu | pf_vm_b_from_bus_pu | pf_vm_c_from_bus_pu | pf_vm_a_to_bus_pu | pf_vm_b_to_bus_pu | pf_vm_c_to_bus_pu | pf_va_a_from_bus_deg | pf_va_b_from_bus_deg | pf_va_c_from_bus_deg | pf_va_a_to_bus_deg | pf_va_b_to_bus_deg | pf_va_c_to_bus_deg
Line_0 | 0.0032929 | 0.0032929 | 0.0032929 | 2.751 | 0.0089233 | 0.0089233 | 0.038023 | 0.038023 | 0.038023 | 31.7653 | 0.10304 | 0.10304 | 1.2728e-13 | 0.033029 | -0.032824 | -7.0477e-11 | -0.081973 | 0.081597 | 2.5436e-13 | -0.0090453 | -0.0098838 | -1.7239e-11 | 0.057146 | 0.12853 | -41.6331 | 0 | 0 | 138.1902 | 66.4243 | 66.4243 | 0.51999 | 1 | 0.5205 | 0.55992 | 1 | 0.85304 | 73.9552 | -90 | 106.0285 | 31.5426 | -90 | 124.0142
Line_1 | 1.2485 | 0.0014432 | 0.0014432 | 0.0044617 | 0.0044617 | 0.0044617 | 14.417 | 0.016665 | 0.016665 | 0.051519 | 0.051519 | 0.051519 | -1.8354e-11 | -0.013631 | 0.013957 | 9.2109e-15 | 0.040987 | -0.040798 | -1.4605e-12 | 0.012503 | 0.020989 | 1.1731e-13 | -0.028573 | -0.064263 | -41.6331 | 0 | 0 | -113.5757 | -113.5757 | -113.5757 | 0.64083 | 1 | 0.87326 | 0.55992 | 1 | 0.85304 | 30.3747 | -90 | 129.2797 | 31.5426 | -90 | 124.0142
Line_2 | 1.2485 | 0.0014432 | 0.0014432 | 0.0044617 | 0.0044617 | 0.0044617 | 14.417 | 0.016665 | 0.016665 | 0.051519 | 0.051519 | 0.051519 | -1.8353e-11 | -0.013631 | 0.013957 | 9.2109e-15 | 0.040987 | -0.040798 | -1.4596e-12 | 0.012503 | 0.020989 | 1.1731e-13 | -0.028573 | -0.064263 | -41.6331 | 0 | 0 | -113.5757 | -113.5757 | -113.5757 | 0.64083 | 1 | 0.87326 | 0.55992 | 1 | 0.85304 | 30.3747 | -90 | 129.2797 | 31.5426 | -90 | 124.0142
Line_4 | 0.62368 | 0.0014432 | 0.0014432 | 0.62368 | 0.0014432 | 0.0014432 | 7.2016 | 0.016665 | 0.016665 | 7.2016 | 0.016665 | 0.016665 | -9.1708e-12 | 0.013631 | -0.013957 | -9.1702e-12 | 0.013631 | -0.013957 | -6.9895e-13 | -0.012503 | -0.020989 | -6.9851e-13 | -0.012503 | -0.020989 | -33.0418 | 0 | 0 | 147.0857 | -107.0971 | -107.0971 | 0.64083 | 1 | 0.87326 | 0.64083 | 1 | 0.87326 | 30.3747 | -90 | 129.2797 | 30.3747 | -90 | 129.2797

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw | pf_ikss_a_from_deg | pf_ikss_b_from_deg | pf_ikss_c_from_deg | pf_ikss_a_to_deg | pf_ikss_b_to_deg | pf_ikss_c_to_deg | pf_vm_a_from_pu | pf_vm_b_from_bus_pu | pf_vm_c_from_bus_pu | pf_vm_a_to_bus_pu | pf_vm_b_to_bus_pu | pf_vm_c_to_bus_pu | pf_va_a_from_bus_deg | pf_va_b_from_bus_deg | pf_va_c_from_bus_deg | pf_va_a_to_bus_deg | pf_va_b_to_bus_deg | pf_va_c_to_bus_deg
Line_0 | 0.00074028 | 0.00074028 | 0.00074028 | 1.0258 | 0.0033273 | 0.0033273 | 0.008548 | 0.008548 | 0.008548 | 11.8447 | 0.038421 | 0.038421 | 0.0046579 | 0.0038972 | -0.0085447 | -5.2395 | -0.035473 | 0.024497 | 0.0052618 | -0.0071219 | 0.00090343 | -5.272 | 0.0092316 | 0.038077 | -43.7452 | 0 | 0 | 136.0781 | 64.3122 | 64.3122 | 0.838 | 1 | 0.93906 | 0.83623 | 1 | 0.91811 | 29.3079 | -90 | 141.0918 | 30.7994 | -90 | 141.4771
Line_1 | 0.58483 | 0.00067601 | 0.00067601 | 0.0016637 | 0.0016637 | 0.0016637 | 6.7531 | 0.0078059 | 0.0078059 | 0.01921 | 0.01921 | 0.01921 | -2.5616 | -0.0071823 | 0.005218 | -0.0054621 | 0.017737 | -0.012248 | -2.5673 | 0.0028124 | 0.0082005 | 0.010747 | -0.0046158 | -0.019039 | -43.7452 | 0 | 0 | -115.6878 | -115.6878 | -115.6878 | 0.83327 | 1 | 0.90858 | 0.83623 | 1 | 0.91811 | 31.4215 | -90 | 141.5014 | 30.7994 | -90 | 141.4771
Line_2 | 0.58483 | 0.00067601 | 0.00067601 | 0.0016637 | 0.0016637 | 0.0016637 | 6.7531 | 0.0078059 | 0.0078059 | 0.01921 | 0.01921 | 0.01921 | -2.5616 | -0.0071823 | 0.005218 | -0.0054621 | 0.017737 | -0.012248 | -2.5673 | 0.0028124 | 0.0082005 | 0.010747 | -0.0046158 | -0.019039 | -43.7452 | 0 | 0 | -115.6878 | -115.6878 | -115.6878 | 0.83327 | 1 | 0.90858 | 0.83623 | 1 | 0.91811 | 31.4215 | -90 | 141.5014 | 30.7994 | -90 | 141.4771
Line_4 | 0.29214 | 0.00067601 | 0.00067601 | 0.29214 | 0.00067601 | 0.00067601 | 3.3733 | 0.0078059 | 0.0078059 | 3.3733 | 0.0078059 | 0.0078059 | -1.2838 | 0.0071823 | -0.005218 | -1.2838 | 0.0071823 | -0.005218 | -1.2781 | -0.0028124 | -0.0082005 | -1.2781 | -0.0028124 | -0.0082005 | -39.4305 | 0 | 0 | 140.697 | -113.4857 | -113.4857 | 0.83327 | 1 | 0.90858 | 0.83327 | 1 | 0.90858 | 31.4215 | -90 | 141.5014 | 31.4215 | -90 | 141.5014

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw | pf_ikss_a_from_deg | pf_ikss_b_from_deg | pf_ikss_c_from_deg | pf_ikss_a_to_deg | pf_ikss_b_to_deg | pf_ikss_c_to_deg | pf_vm_a_from_pu | pf_vm_b_from_bus_pu | pf_vm_c_from_bus_pu | pf_vm_a_to_bus_pu | pf_vm_b_to_bus_pu | pf_vm_c_to_bus_pu | pf_va_a_from_bus_deg | pf_va_b_from_bus_deg | pf_va_c_from_bus_deg | pf_va_a_to_bus_deg | pf_va_b_to_bus_deg | pf_va_c_to_bus_deg
Line_0 | 0.00074028 | 0.00074028 | 0.00074028 | 1.0258 | 0.0033273 | 0.0033273 | 0.008548 | 0.008548 | 0.008548 | 11.8447 | 0.038421 | 0.038421 | 0.0046579 | 0.0038972 | -0.0085447 | -5.2395 | -0.035473 | 0.024497 | 0.0052618 | -0.0071219 | 0.00090343 | -5.272 | 0.0092316 | 0.038077 | -43.7452 | 0 | 0 | 136.0781 | 64.3122 | 64.3122 | 0.838 | 1 | 0.93906 | 0.83623 | 1 | 0.91811 | 29.3079 | -90 | 141.0918 | 30.7994 | -90 | 141.4771
Line_1 | 0.58483 | 0.00067601 | 0.00067601 | 0.0016637 | 0.0016637 | 0.0016637 | 6.7531 | 0.0078059 | 0.0078059 | 0.01921 | 0.01921 | 0.01921 | -2.5616 | -0.0071823 | 0.005218 | -0.0054621 | 0.017737 | -0.012248 | -2.5673 | 0.0028124 | 0.0082005 | 0.010747 | -0.0046158 | -0.019039 | -43.7452 | 0 | 0 | -115.6878 | -115.6878 | -115.6878 | 0.83327 | 1 | 0.90858 | 0.83623 | 1 | 0.91811 | 31.4215 | -90 | 141.5014 | 30.7994 | -90 | 141.4771
Line_2 | 0.58483 | 0.00067601 | 0.00067601 | 0.0016637 | 0.0016637 | 0.0016637 | 6.7531 | 0.0078059 | 0.0078059 | 0.01921 | 0.01921 | 0.01921 | -2.5616 | -0.0071823 | 0.005218 | -0.0054621 | 0.017737 | -0.012248 | -2.5673 | 0.0028124 | 0.0082005 | 0.010747 | -0.0046158 | -0.019039 | -43.7452 | 0 | 0 | -115.6878 | -115.6878 | -115.6878 | 0.83327 | 1 | 0.90858 | 0.83623 | 1 | 0.91811 | 31.4215 | -90 | 141.5014 | 30.7994 | -90 | 141.4771
Line_4 | 0.29214 | 0.00067601 | 0.00067601 | 0.29214 | 0.00067601 | 0.00067601 | 3.3733 | 0.0078059 | 0.0078059 | 3.3733 | 0.0078059 | 0.0078059 | -1.2838 | 0.0071823 | -0.005218 | -1.2838 | 0.0071823 | -0.005218 | -1.2781 | -0.0028124 | -0.0082005 | -1.2781 | -0.0028124 | -0.0082005 | -39.4305 | 0 | 0 | 140.697 | -113.4857 | -113.4857 | 0.83327 | 1 | 0.90858 | 0.83327 | 1 | 0.90858 | 31.4215 | -90 | 141.5014 | 31.4215 | -90 | 141.5014