## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9117e-19 | 0 | -1.6603e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9117e-19 | 0 | -1.6603e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.1816e-09 | 0 | 6.694e-09 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.1816e-09 | 0 | 6.694e-09 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7469e-20 | 0 | -1.3401e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7469e-20 | 0 | -1.3401e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.9607e-09 | 0 | 5.6951e-09 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.9607e-09 | 0 | 5.6951e-09 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | -5.2106e-15 | 4.6896e-14 | 1.0421e-14 | 1.3027e-14 | -4.1685e-14 | 5.2106e-15 | 5.7634e-09 | -5.7634e-09 | -1.0421e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 7.393e-13 | 180 | 180 | 7.5496e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | 2.6053e-14 | -1.5632e-14 | 1.0421e-14 | -1.0421e-14 | 1.0421e-14 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 7.5496e-13 | -180 | 180 | 7.697e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.8658e-29 | 3.1264e-14 | -1.5632e-14 | -1.0421e-14 | -1.5632e-14 | 1.0421e-14 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | -1.3796e-28 | -1.9211e-09 | 1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 7.5496e-13 | -180 | 180 | 7.5848e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | -5.2106e-15 | 4.6896e-14 | 1.0421e-14 | 1.3027e-14 | -4.1685e-14 | 5.2106e-15 | 5.7634e-09 | -5.7634e-09 | -1.0421e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 7.393e-13 | 180 | 180 | 7.5496e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | 2.6053e-14 | -1.5632e-14 | 1.0421e-14 | -1.0421e-14 | 1.0421e-14 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 7.5496e-13 | -180 | 180 | 7.697e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.8658e-29 | 3.1264e-14 | -1.5632e-14 | -1.0421e-14 | -1.5632e-14 | 1.0421e-14 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | -1.3796e-28 | -1.9211e-09 | 1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 7.5496e-13 | -180 | 180 | 7.5848e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.816e-15 | -1.1336e-09 | -3.1634e-09 | -7.4196e-29 | 1.1336e-09 | 3.1634e-09 | -7.816e-15 | 4.993e-09 | -1.4772e-09 | 1.0421e-14 | -4.993e-09 | 1.4772e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0769 | 0.51998 | 0.88914 | 1.0769 | 0.51998 | 0.88914 | 4.1072e-13 | -149.7905 | 132.4483 | 4.0793e-13 | -149.7905 | 132.4483
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-14 | -3.7786e-10 | -1.0545e-09 | 5.2106e-15 | 3.7787e-10 | 1.0545e-09 | 2.6053e-15 | 1.6643e-09 | -4.924e-10 | -5.2106e-15 | -1.6643e-09 | 4.924e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0769 | 0.51998 | 0.88914 | 1.0769 | 0.51998 | 0.88914 | 4.0793e-13 | -149.7905 | 132.4483 | 4.148e-13 | -149.7905 | 132.4483
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8237e-14 | -3.7788e-10 | -1.0545e-09 | 1.3027e-14 | 3.7789e-10 | 1.0545e-09 | 1.0421e-14 | 1.6643e-09 | -4.9239e-10 | -1.3027e-14 | -1.6643e-09 | 4.9239e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0769 | 0.51998 | 0.88914 | 1.0769 | 0.51998 | 0.88914 | 4.0793e-13 | -149.7905 | 132.4483 | 4.0833e-13 | -149.7905 | 132.4483

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.816e-15 | -1.1336e-09 | -3.1634e-09 | -7.4196e-29 | 1.1336e-09 | 3.1634e-09 | -7.816e-15 | 4.993e-09 | -1.4772e-09 | 1.0421e-14 | -4.993e-09 | 1.4772e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0769 | 0.51998 | 0.88914 | 1.0769 | 0.51998 | 0.88914 | 4.1072e-13 | -149.7905 | 132.4483 | 4.0793e-13 | -149.7905 | 132.4483
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-14 | -3.7786e-10 | -1.0545e-09 | 5.2106e-15 | 3.7787e-10 | 1.0545e-09 | 2.6053e-15 | 1.6643e-09 | -4.924e-10 | -5.2106e-15 | -1.6643e-09 | 4.924e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0769 | 0.51998 | 0.88914 | 1.0769 | 0.51998 | 0.88914 | 4.0793e-13 | -149.7905 | 132.4483 | 4.148e-13 | -149.7905 | 132.4483
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8237e-14 | -3.7788e-10 | -1.0545e-09 | 1.3027e-14 | 3.7789e-10 | 1.0545e-09 | 1.0421e-14 | 1.6643e-09 | -4.9239e-10 | -1.3027e-14 | -1.6643e-09 | 4.9239e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0769 | 0.51998 | 0.88914 | 1.0769 | 0.51998 | 0.88914 | 4.0793e-13 | -149.7905 | 132.4483 | 4.0833e-13 | -149.7905 | 132.4483

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.3685e-15 | 1.1842e-14 | -2.3685e-15 | -2.3678e-15 | -7.1047e-15 | 1.4211e-14 | 4.7631e-09 | -4.7631e-09 | -1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.886e-13 | -180 | 180 | 6.3406e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 1.1842e-14 | 2.3682e-15 | 2.3685e-15 | -9.4736e-15 | 3.0279e-19 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 2.6674e-29 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.3406e-13 | -180 | 180 | 6.4527e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.3682e-15 | -4.7372e-15 | -4.737e-15 | -1.1839e-15 | 2.3688e-15 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.3406e-13 | -180 | 180 | 6.2768e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.3685e-15 | 1.1842e-14 | -2.3685e-15 | -2.3678e-15 | -7.1047e-15 | 1.4211e-14 | 4.7631e-09 | -4.7631e-09 | -1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.886e-13 | -180 | 180 | 6.3406e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 1.1842e-14 | 2.3682e-15 | 2.3685e-15 | -9.4736e-15 | 3.0279e-19 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 2.6674e-29 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.3406e-13 | -180 | 180 | 6.4527e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.3682e-15 | -4.7372e-15 | -4.737e-15 | -1.1839e-15 | 2.3688e-15 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.3406e-13 | -180 | 180 | 6.2768e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.6297e-29 | -9.1816e-10 | -2.5622e-09 | 6.3588e-29 | 9.1816e-10 | 2.5622e-09 | 1.1842e-14 | 4.2643e-09 | -1.4167e-09 | -9.4739e-15 | -4.2643e-09 | 1.4167e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.97347 | 0.43899 | 0.80543 | 0.97347 | 0.43899 | 0.80543 | 4.1752e-13 | -151.709 | 135.0798 | 3.8457e-13 | -151.709 | 135.0798
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -3.0605e-10 | -8.5407e-10 | -3.5527e-15 | 3.0605e-10 | 8.5407e-10 | -4.737e-15 | 1.4214e-09 | -4.7225e-10 | 9.4739e-15 | -1.4214e-09 | 4.7225e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.97347 | 0.43899 | 0.80543 | 0.97347 | 0.43899 | 0.80543 | 3.8457e-13 | -151.709 | 135.0798 | 3.9297e-13 | -151.709 | 135.0798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.0605e-10 | -8.5407e-10 | 2.3685e-15 | 3.0606e-10 | 8.5407e-10 | -1.5897e-29 | 1.4214e-09 | -4.7224e-10 | 7.1054e-15 | -1.4214e-09 | 4.7224e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.97347 | 0.43899 | 0.80543 | 0.97347 | 0.43899 | 0.80543 | 3.8457e-13 | -151.709 | 135.0798 | 3.8186e-13 | -151.709 | 135.0798

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.6297e-29 | -9.1816e-10 | -2.5622e-09 | 6.3588e-29 | 9.1816e-10 | 2.5622e-09 | 1.1842e-14 | 4.2643e-09 | -1.4167e-09 | -9.4739e-15 | -4.2643e-09 | 1.4167e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.97347 | 0.43899 | 0.80543 | 0.97347 | 0.43899 | 0.80543 | 4.1752e-13 | -151.709 | 135.0798 | 3.8457e-13 | -151.709 | 135.0798
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -3.0605e-10 | -8.5407e-10 | -3.5527e-15 | 3.0605e-10 | 8.5407e-10 | -4.737e-15 | 1.4214e-09 | -4.7225e-10 | 9.4739e-15 | -1.4214e-09 | 4.7225e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.97347 | 0.43899 | 0.80543 | 0.97347 | 0.43899 | 0.80543 | 3.8457e-13 | -151.709 | 135.0798 | 3.9297e-13 | -151.709 | 135.0798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.0605e-10 | -8.5407e-10 | 2.3685e-15 | 3.0606e-10 | 8.5407e-10 | -1.5897e-29 | 1.4214e-09 | -4.7224e-10 | 7.1054e-15 | -1.4214e-09 | 4.7224e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.97347 | 0.43899 | 0.80543 | 0.97347 | 0.43899 | 0.80543 | 3.8457e-13 | -151.709 | 135.0798 | 3.8186e-13 | -151.709 | 135.0798

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054731 | 0.0054731 | 0.0054731 | 0.0036499 | 0.0036499 | 0.0036499 | 0.063198 | 0.063198 | 0.063198 | 0.042145 | 0.042145 | 0.042145 | 1.1594e-13 | 0.060328 | -0.060079 | 6.1525e-05 | -0.040188 | 0.040108 | -2.4248e-13 | -0.034651 | -0.035128 | 2.4483e-05 | 0.023101 | 0.023482 | -90.227 | -90.227 | -90.227 | 89.7276 | 89.7276 | 89.7276 | 0.63558 | 1.1 | 0.63579 | 0.63558 | 1.1 | 0.63579 | 0 | -120.0991 | 120.0879 | 111.4265 | -120.1632 | 120.0756
Line_1 | 0.0018249 | 0.0018249 | 0.0018249 | 0 | 0 | 0 | 0.021073 | 0.021073 | 0.021073 | 0 | 0 | 0 | -3.0763e-05 | 0.020094 | -0.020054 | -2.7905e-12 | 1.2644e-12 | -1.2484e-11 | -1.2241e-05 | -0.01155 | -0.011741 | 7.0794e-12 | -1.3629e-11 | 5.6806e-12 | -90.2724 | -90.2724 | -90.2724 | 0 | 0 | 0 | 0.63558 | 1.1 | 0.63579 | 0.63558 | 1.1 | 0.63579 | 111.4265 | -120.1632 | 120.0756 | 111.422 | -120.176 | 120.0731
Line_2 | 0.0018249 | 0.0018249 | 0.0018249 | 0 | 0 | 0 | 0.021073 | 0.021073 | 0.021073 | 0 | 0 | 0 | -3.0763e-05 | 0.020094 | -0.020054 | -2.7905e-12 | 1.2667e-12 | -1.2495e-11 | -1.2241e-05 | -0.01155 | -0.011741 | 7.0794e-12 | -1.3604e-11 | 5.6833e-12 | -90.2724 | -90.2724 | -90.2724 | 0 | 0 | 0 | 0.63558 | 1.1 | 0.63579 | 0.63558 | 1.1 | 0.63579 | 111.4265 | -120.1632 | 120.0756 | 111.422 | -120.176 | 120.0731

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054731 | 0.0054731 | 0.0054731 | 0.0036499 | 0.0036499 | 0.0036499 | 0.063198 | 0.063198 | 0.063198 | 0.042145 | 0.042145 | 0.042145 | 1.1594e-13 | 0.060328 | -0.060079 | 6.1525e-05 | -0.040188 | 0.040108 | -2.4248e-13 | -0.034651 | -0.035128 | 2.4483e-05 | 0.023101 | 0.023482 | -90.227 | -90.227 | -90.227 | 89.7276 | 89.7276 | 89.7276 | 0.63558 | 1.1 | 0.63579 | 0.63558 | 1.1 | 0.63579 | 0 | -120.0991 | 120.0879 | 111.4265 | -120.1632 | 120.0756
Line_1 | 0.0018249 | 0.0018249 | 0.0018249 | 0 | 0 | 0 | 0.021073 | 0.021073 | 0.021073 | 0 | 0 | 0 | -3.0763e-05 | 0.020094 | -0.020054 | -2.7905e-12 | 1.2644e-12 | -1.2484e-11 | -1.2241e-05 | -0.01155 | -0.011741 | 7.0794e-12 | -1.3629e-11 | 5.6806e-12 | -90.2724 | -90.2724 | -90.2724 | 0 | 0 | 0 | 0.63558 | 1.1 | 0.63579 | 0.63558 | 1.1 | 0.63579 | 111.4265 | -120.1632 | 120.0756 | 111.422 | -120.176 | 120.0731
Line_2 | 0.0018249 | 0.0018249 | 0.0018249 | 0 | 0 | 0 | 0.021073 | 0.021073 | 0.021073 | 0 | 0 | 0 | -3.0763e-05 | 0.020094 | -0.020054 | -2.7905e-12 | 1.2667e-12 | -1.2495e-11 | -1.2241e-05 | -0.01155 | -0.011741 | 7.0794e-12 | -1.3604e-11 | 5.6833e-12 | -90.2724 | -90.2724 | -90.2724 | 0 | 0 | 0 | 0.63558 | 1.1 | 0.63579 | 0.63558 | 1.1 | 0.63579 | 111.4265 | -120.1632 | 120.0756 | 111.422 | -120.176 | 120.0731

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002224 | 0.002224 | 0.002224 | 0.0014831 | 0.0014831 | 0.0014831 | 0.02568 | 0.02568 | 0.02568 | 0.017126 | 0.017126 | 0.017126 | 0.0116 | 0.016544 | -0.028103 | -0.007718 | -0.011035 | 0.01875 | 0.014299 | -0.022917 | -0.0029038 | -0.0095375 | 0.015278 | 0.0019554 | -65.856 | -65.856 | -65.856 | 114.0986 | 114.0986 | 114.0986 | 0.84403 | 1.1 | 0.97279 | 0.84403 | 1.1 | 0.97279 | -14.9072 | -120.0293 | 120.0432 | -14.8822 | -120.0615 | 120.0523
Line_1 | 0.00074156 | 0.00074156 | 0.00074156 | 0 | 0 | 0 | 0.0085628 | 0.0085628 | 0.0085628 | 0 | 0 | 0 | 0.003859 | 0.0055175 | -0.009375 | 9.109e-10 | -1.8029e-12 | -3.6649e-12 | 0.0047688 | -0.007639 | -0.00097769 | -7.4177e-10 | -5.2708e-12 | 4.1926e-12 | -65.9014 | -65.9014 | -65.9014 | 0 | 0 | 0 | 0.84403 | 1.1 | 0.97279 | 0.84403 | 1.1 | 0.97279 | -14.8822 | -120.0615 | 120.0523 | -14.8772 | -120.0679 | 120.0541
Line_2 | 0.00074156 | 0.00074156 | 0.00074156 | 0 | 0 | 0 | 0.0085628 | 0.0085628 | 0.0085628 | 0 | 0 | 0 | 0.003859 | 0.0055175 | -0.009375 | 9.1091e-10 | -1.8016e-12 | -3.6698e-12 | 0.0047688 | -0.007639 | -0.00097769 | -7.4177e-10 | -5.2642e-12 | 4.1937e-12 | -65.9014 | -65.9014 | -65.9014 | 0 | 0 | 0 | 0.84403 | 1.1 | 0.97279 | 0.84403 | 1.1 | 0.97279 | -14.8822 | -120.0615 | 120.0523 | -14.8772 | -120.0679 | 120.0541

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002224 | 0.002224 | 0.002224 | 0.0014831 | 0.0014831 | 0.0014831 | 0.02568 | 0.02568 | 0.02568 | 0.017126 | 0.017126 | 0.017126 | 0.0116 | 0.016544 | -0.028103 | -0.007718 | -0.011035 | 0.01875 | 0.014299 | -0.022917 | -0.0029038 | -0.0095375 | 0.015278 | 0.0019554 | -65.856 | -65.856 | -65.856 | 114.0986 | 114.0986 | 114.0986 | 0.84403 | 1.1 | 0.97279 | 0.84403 | 1.1 | 0.97279 | -14.9072 | -120.0293 | 120.0432 | -14.8822 | -120.0615 | 120.0523
Line_1 | 0.00074156 | 0.00074156 | 0.00074156 | 0 | 0 | 0 | 0.0085628 | 0.0085628 | 0.0085628 | 0 | 0 | 0 | 0.003859 | 0.0055175 | -0.009375 | 9.109e-10 | -1.8029e-12 | -3.6649e-12 | 0.0047688 | -0.007639 | -0.00097769 | -7.4177e-10 | -5.2708e-12 | 4.1926e-12 | -65.9014 | -65.9014 | -65.9014 | 0 | 0 | 0 | 0.84403 | 1.1 | 0.97279 | 0.84403 | 1.1 | 0.97279 | -14.8822 | -120.0615 | 120.0523 | -14.8772 | -120.0679 | 120.0541
Line_2 | 0.00074156 | 0.00074156 | 0.00074156 | 0 | 0 | 0 | 0.0085628 | 0.0085628 | 0.0085628 | 0 | 0 | 0 | 0.003859 | 0.0055175 | -0.009375 | 9.1091e-10 | -1.8016e-12 | -3.6698e-12 | 0.0047688 | -0.007639 | -0.00097769 | -7.4177e-10 | -5.2642e-12 | 4.1937e-12 | -65.9014 | -65.9014 | -65.9014 | 0 | 0 | 0 | 0.84403 | 1.1 | 0.97279 | 0.84403 | 1.1 | 0.97279 | -14.8822 | -120.0615 | 120.0523 | -14.8772 | -120.0679 | 120.0541

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.004978 | 0.004978 | 0.004978 | 0.0033197 | 0.0033197 | 0.0033197 | 0.057481 | 0.057481 | 0.057481 | 0.038332 | 0.038332 | 0.038332 | -7.5556e-14 | 0.049976 | -0.04958 | 9.7722e-05 | -0.033259 | 0.033132 | -2.2558e-13 | -0.028499 | -0.029227 | 2.0264e-05 | 0.018975 | 0.019561 | -90.4191 | -90.4191 | -90.4191 | 89.4937 | 89.4938 | 89.4938 | 0.57785 | 1 | 0.57808 | 0.57785 | 1 | 0.57808 | 0 | -120.1128 | 120.0996 | 101.2088 | -120.2114 | 120.0515
Line_1 | 0.0016598 | 0.0016598 | 0.0016598 | 0 | 0 | 0 | 0.019166 | 0.019166 | 0.019166 | 0 | 0 | 0 | -4.8861e-05 | 0.01663 | -0.016566 | -2.261e-12 | 5.3542e-12 | -1.5566e-11 | -1.0132e-05 | -0.0094873 | -0.0097806 | 1.1238e-11 | -1.476e-11 | 2.6872e-12 | -90.5063 | -90.5062 | -90.5062 | 0 | 0 | 0 | 0.57785 | 1 | 0.57808 | 0.57785 | 1 | 0.57808 | 101.2088 | -120.2114 | 120.0515 | 101.2001 | -120.2312 | 120.0419
Line_2 | 0.0016598 | 0.0016598 | 0.0016598 | 0 | 0 | 0 | 0.019166 | 0.019166 | 0.019166 | 0 | 0 | 0 | -4.8861e-05 | 0.01663 | -0.016566 | -2.2609e-12 | 5.3565e-12 | -1.5559e-11 | -1.0132e-05 | -0.0094873 | -0.0097806 | 1.1238e-11 | -1.4775e-11 | 2.6841e-12 | -90.5063 | -90.5062 | -90.5062 | 0 | 0 | 0 | 0.57785 | 1 | 0.57808 | 0.57785 | 1 | 0.57808 | 101.2088 | -120.2114 | 120.0515 | 101.2001 | -120.2312 | 120.0419

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.004978 | 0.004978 | 0.004978 | 0.0033197 | 0.0033197 | 0.0033197 | 0.057481 | 0.057481 | 0.057481 | 0.038332 | 0.038332 | 0.038332 | -7.5556e-14 | 0.049976 | -0.04958 | 9.7722e-05 | -0.033259 | 0.033132 | -2.2558e-13 | -0.028499 | -0.029227 | 2.0264e-05 | 0.018975 | 0.019561 | -90.4191 | -90.4191 | -90.4191 | 89.4937 | 89.4938 | 89.4938 | 0.57785 | 1 | 0.57808 | 0.57785 | 1 | 0.57808 | 0 | -120.1128 | 120.0996 | 101.2088 | -120.2114 | 120.0515
Line_1 | 0.0016598 | 0.0016598 | 0.0016598 | 0 | 0 | 0 | 0.019166 | 0.019166 | 0.019166 | 0 | 0 | 0 | -4.8861e-05 | 0.01663 | -0.016566 | -2.261e-12 | 5.3542e-12 | -1.5566e-11 | -1.0132e-05 | -0.0094873 | -0.0097806 | 1.1238e-11 | -1.476e-11 | 2.6872e-12 | -90.5063 | -90.5062 | -90.5062 | 0 | 0 | 0 | 0.57785 | 1 | 0.57808 | 0.57785 | 1 | 0.57808 | 101.2088 | -120.2114 | 120.0515 | 101.2001 | -120.2312 | 120.0419
Line_2 | 0.0016598 | 0.0016598 | 0.0016598 | 0 | 0 | 0 | 0.019166 | 0.019166 | 0.019166 | 0 | 0 | 0 | -4.8861e-05 | 0.01663 | -0.016566 | -2.2609e-12 | 5.3565e-12 | -1.5559e-11 | -1.0132e-05 | -0.0094873 | -0.0097806 | 1.1238e-11 | -1.4775e-11 | 2.6841e-12 | -90.5063 | -90.5062 | -90.5062 | 0 | 0 | 0 | 0.57785 | 1 | 0.57808 | 0.57785 | 1 | 0.57808 | 101.2088 | -120.2114 | 120.0515 | 101.2001 | -120.2312 | 120.0419

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002188 | 0.002188 | 0.002188 | 0.0014591 | 0.0014591 | 0.0014591 | 0.025265 | 0.025265 | 0.025265 | 0.016848 | 0.016848 | 0.016848 | 0.0098315 | 0.015307 | -0.025062 | -0.0065251 | -0.01021 | 0.016729 | 0.012203 | -0.020122 | -0.0032335 | -0.008144 | 0.013407 | 0.0021857 | -67.2988 | -67.2988 | -67.2988 | 112.6141 | 112.6141 | 112.6141 | 0.74921 | 1 | 0.87194 | 0.74921 | 1 | 0.87194 | -16.1559 | -120.037 | 120.0529 | -16.0885 | -120.0961 | 120.0578
Line_1 | 0.00072956 | 0.00072956 | 0.00072956 | 0 | 0 | 0 | 0.0084242 | 0.0084242 | 0.0084242 | 0 | 0 | 0 | 0.0032626 | 0.0051048 | -0.0083645 | 7.7579e-10 | -3.7295e-13 | -5.8149e-12 | 0.004072 | -0.0067035 | -0.0010928 | -6.2867e-10 | -6.9095e-12 | 3.7631e-12 | -67.3859 | -67.3859 | -67.3859 | 0 | 0 | 0 | 0.74921 | 1 | 0.87194 | 0.74921 | 1 | 0.87194 | -16.0885 | -120.0961 | 120.0578 | -16.075 | -120.1079 | 120.0587
Line_2 | 0.00072956 | 0.00072956 | 0.00072956 | 0 | 0 | 0 | 0.0084242 | 0.0084242 | 0.0084242 | 0 | 0 | 0 | 0.0032626 | 0.0051048 | -0.0083645 | 7.7579e-10 | -3.71e-13 | -5.8165e-12 | 0.004072 | -0.0067035 | -0.0010928 | -6.2867e-10 | -6.9091e-12 | 3.767e-12 | -67.3859 | -67.3859 | -67.3859 | 0 | 0 | 0 | 0.74921 | 1 | 0.87194 | 0.74921 | 1 | 0.87194 | -16.0885 | -120.0961 | 120.0578 | -16.075 | -120.1079 | 120.0587

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002188 | 0.002188 | 0.002188 | 0.0014591 | 0.0014591 | 0.0014591 | 0.025265 | 0.025265 | 0.025265 | 0.016848 | 0.016848 | 0.016848 | 0.0098315 | 0.015307 | -0.025062 | -0.0065251 | -0.01021 | 0.016729 | 0.012203 | -0.020122 | -0.0032335 | -0.008144 | 0.013407 | 0.0021857 | -67.2988 | -67.2988 | -67.2988 | 112.6141 | 112.6141 | 112.6141 | 0.74921 | 1 | 0.87194 | 0.74921 | 1 | 0.87194 | -16.1559 | -120.037 | 120.0529 | -16.0885 | -120.0961 | 120.0578
Line_1 | 0.00072956 | 0.00072956 | 0.00072956 | 0 | 0 | 0 | 0.0084242 | 0.0084242 | 0.0084242 | 0 | 0 | 0 | 0.0032626 | 0.0051048 | -0.0083645 | 7.7579e-10 | -3.7295e-13 | -5.8149e-12 | 0.004072 | -0.0067035 | -0.0010928 | -6.2867e-10 | -6.9095e-12 | 3.7631e-12 | -67.3859 | -67.3859 | -67.3859 | 0 | 0 | 0 | 0.74921 | 1 | 0.87194 | 0.74921 | 1 | 0.87194 | -16.0885 | -120.0961 | 120.0578 | -16.075 | -120.1079 | 120.0587
Line_2 | 0.00072956 | 0.00072956 | 0.00072956 | 0 | 0 | 0 | 0.0084242 | 0.0084242 | 0.0084242 | 0 | 0 | 0 | 0.0032626 | 0.0051048 | -0.0083645 | 7.7579e-10 | -3.71e-13 | -5.8165e-12 | 0.004072 | -0.0067035 | -0.0010928 | -6.2867e-10 | -6.9091e-12 | 3.767e-12 | -67.3859 | -67.3859 | -67.3859 | 0 | 0 | 0 | 0.74921 | 1 | 0.87194 | 0.74921 | 1 | 0.87194 | -16.0885 | -120.0961 | 120.0578 | -16.075 | -120.1079 | 120.0587

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054628 | 0.0054628 | 0.0054628 | 0.003643 | 0.003643 | 0.003643 | 0.063079 | 0.063079 | 0.063079 | 0.042066 | 0.042066 | 0.042066 | 0.00024825 | 2.1221e-13 | 8.158e-15 | -0.00014098 | 6.1294e-05 | 6.1294e-05 | -0.069517 | 1.2753e-13 | -2.4897e-13 | 0.046383 | 2.439e-05 | 2.439e-05 | 89.7842 | 89.7842 | 89.7842 | -90.2612 | -90.2612 | -90.2612 | 0.63628 | 0 | 0.63628 | 0.63628 | 0 | 0.63628 | -0.011174 | 0 | 0 | -0.087018 | -68.5622 | -68.5622
Line_1 | 0.0018215 | 0.0018215 | 0.0018215 | 0 | 0 | 0 | 0.021033 | 0.021033 | 0.021033 | 0 | 0 | 0 | 7.0491e-05 | -3.0647e-05 | -3.0647e-05 | -1.1156e-11 | 4.7191e-12 | -7.5187e-12 | -0.023192 | -1.2195e-05 | -1.2195e-05 | -7.9411e-12 | 5.9348e-12 | 1.1307e-12 | 89.7388 | 89.7388 | 89.7388 | 0 | 0 | 0 | 0.63628 | 0 | 0.63628 | 0.63628 | 0 | 0.63628 | -0.087018 | -68.5622 | -68.5622 | -0.10218 | -68.5668 | -68.5668
Line_2 | 0.0018215 | 0.0018215 | 0.0018215 | 0 | 0 | 0 | 0.021033 | 0.021033 | 0.021033 | 0 | 0 | 0 | 7.0491e-05 | -3.0647e-05 | -3.0647e-05 | -1.1162e-11 | 4.7191e-12 | -7.5187e-12 | -0.023192 | -1.2195e-05 | -1.2195e-05 | -7.9515e-12 | 5.9348e-12 | 1.1307e-12 | 89.7388 | 89.7388 | 89.7388 | 0 | 0 | 0 | 0.63628 | 0 | 0.63628 | 0.63628 | 0 | 0.63628 | -0.087018 | -68.5622 | -68.5622 | -0.10218 | -68.5668 | -68.5668

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054628 | 0.0054628 | 0.0054628 | 0.003643 | 0.003643 | 0.003643 | 0.063079 | 0.063079 | 0.063079 | 0.042066 | 0.042066 | 0.042066 | 0.00024825 | 2.1221e-13 | 8.158e-15 | -0.00014098 | 6.1294e-05 | 6.1294e-05 | -0.069517 | 1.2753e-13 | -2.4897e-13 | 0.046383 | 2.439e-05 | 2.439e-05 | 89.7842 | 89.7842 | 89.7842 | -90.2612 | -90.2612 | -90.2612 | 0.63628 | 0 | 0.63628 | 0.63628 | 0 | 0.63628 | -0.011174 | 0 | 0 | -0.087018 | -68.5622 | -68.5622
Line_1 | 0.0018215 | 0.0018215 | 0.0018215 | 0 | 0 | 0 | 0.021033 | 0.021033 | 0.021033 | 0 | 0 | 0 | 7.0491e-05 | -3.0647e-05 | -3.0647e-05 | -1.1156e-11 | 4.7191e-12 | -7.5187e-12 | -0.023192 | -1.2195e-05 | -1.2195e-05 | -7.9411e-12 | 5.9348e-12 | 1.1307e-12 | 89.7388 | 89.7388 | 89.7388 | 0 | 0 | 0 | 0.63628 | 0 | 0.63628 | 0.63628 | 0 | 0.63628 | -0.087018 | -68.5622 | -68.5622 | -0.10218 | -68.5668 | -68.5668
Line_2 | 0.0018215 | 0.0018215 | 0.0018215 | 0 | 0 | 0 | 0.021033 | 0.021033 | 0.021033 | 0 | 0 | 0 | 7.0491e-05 | -3.0647e-05 | -3.0647e-05 | -1.1162e-11 | 4.7191e-12 | -7.5187e-12 | -0.023192 | -1.2195e-05 | -1.2195e-05 | -7.9515e-12 | 5.9348e-12 | 1.1307e-12 | 89.7388 | 89.7388 | 89.7388 | 0 | 0 | 0 | 0.63628 | 0 | 0.63628 | 0.63628 | 0 | 0.63628 | -0.087018 | -68.5622 | -68.5622 | -0.10218 | -68.5668 | -68.5668

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0022224 | 0.0022224 | 0.0022224 | 0.001482 | 0.001482 | 0.001482 | 0.025662 | 0.025662 | 0.025662 | 0.017113 | 0.017113 | 0.017113 | -0.011542 | -0.0065964 | 0.018179 | 0.0076936 | 0.0044182 | -0.012115 | -0.025783 | 0.017179 | -0.0029009 | 0.017204 | -0.011449 | 0.001929 | 114.13 | 114.13 | 114.13 | -65.9154 | -65.9154 | -65.9154 | 0.97296 | 0.7175 | 0.8439 | 0.97296 | 0.7175 | 0.8439 | 0.013927 | -134.8639 | 105.0636 | -0.0092262 | -134.8129 | 105.0375
Line_1 | 0.00074102 | 0.00074102 | 0.00074102 | 0 | 0 | 0 | 0.0085566 | 0.0085566 | 0.0085566 | 0 | 0 | 0 | -0.0038468 | -0.0022091 | 0.0060574 | -5.4586e-12 | 9.1082e-10 | 9.0916e-10 | -0.0086021 | 0.0057243 | -0.0009645 | -1.076e-12 | -7.3894e-10 | -7.4662e-10 | 114.0846 | 114.0846 | 114.0846 | 0 | 0 | 0 | 0.97296 | 0.7175 | 0.8439 | 0.97296 | 0.7175 | 0.8439 | -0.0092262 | -134.8129 | 105.0375 | -0.013858 | -134.8027 | 105.0323
Line_2 | 0.00074102 | 0.00074102 | 0.00074102 | 0 | 0 | 0 | 0.0085566 | 0.0085566 | 0.0085566 | 0 | 0 | 0 | -0.0038468 | -0.0022091 | 0.0060574 | -5.4638e-12 | 9.1083e-10 | 9.0916e-10 | -0.0086021 | 0.0057243 | -0.0009645 | -1.0734e-12 | -7.3894e-10 | -7.4663e-10 | 114.0846 | 114.0846 | 114.0846 | 0 | 0 | 0 | 0.97296 | 0.7175 | 0.8439 | 0.97296 | 0.7175 | 0.8439 | -0.0092262 | -134.8129 | 105.0375 | -0.013858 | -134.8027 | 105.0323

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0022224 | 0.0022224 | 0.0022224 | 0.001482 | 0.001482 | 0.001482 | 0.025662 | 0.025662 | 0.025662 | 0.017113 | 0.017113 | 0.017113 | -0.011542 | -0.0065964 | 0.018179 | 0.0076936 | 0.0044182 | -0.012115 | -0.025783 | 0.017179 | -0.0029009 | 0.017204 | -0.011449 | 0.001929 | 114.13 | 114.13 | 114.13 | -65.9154 | -65.9154 | -65.9154 | 0.97296 | 0.7175 | 0.8439 | 0.97296 | 0.7175 | 0.8439 | 0.013927 | -134.8639 | 105.0636 | -0.0092262 | -134.8129 | 105.0375
Line_1 | 0.00074102 | 0.00074102 | 0.00074102 | 0 | 0 | 0 | 0.0085566 | 0.0085566 | 0.0085566 | 0 | 0 | 0 | -0.0038468 | -0.0022091 | 0.0060574 | -5.4586e-12 | 9.1082e-10 | 9.0916e-10 | -0.0086021 | 0.0057243 | -0.0009645 | -1.076e-12 | -7.3894e-10 | -7.4662e-10 | 114.0846 | 114.0846 | 114.0846 | 0 | 0 | 0 | 0.97296 | 0.7175 | 0.8439 | 0.97296 | 0.7175 | 0.8439 | -0.0092262 | -134.8129 | 105.0375 | -0.013858 | -134.8027 | 105.0323
Line_2 | 0.00074102 | 0.00074102 | 0.00074102 | 0 | 0 | 0 | 0.0085566 | 0.0085566 | 0.0085566 | 0 | 0 | 0 | -0.0038468 | -0.0022091 | 0.0060574 | -5.4638e-12 | 9.1083e-10 | 9.0916e-10 | -0.0086021 | 0.0057243 | -0.0009645 | -1.0734e-12 | -7.3894e-10 | -7.4663e-10 | 114.0846 | 114.0846 | 114.0846 | 0 | 0 | 0 | 0.97296 | 0.7175 | 0.8439 | 0.97296 | 0.7175 | 0.8439 | -0.0092262 | -134.8129 | 105.0375 | -0.013858 | -134.8027 | 105.0323

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049673 | 0.0049673 | 0.0049673 | 0.0033126 | 0.0033126 | 0.0033126 | 0.057358 | 0.057358 | 0.057358 | 0.03825 | 0.03825 | 0.03825 | 0.00039409 | -1.493e-13 | 1.2375e-13 | -0.00022381 | 9.7305e-05 | 9.7305e-05 | -0.057479 | 5.3132e-14 | 1.0175e-13 | 0.038351 | 2.0178e-05 | 2.0178e-05 | 89.5941 | 89.5941 | 89.5941 | -90.4931 | -90.4931 | -90.4931 | 0.57859 | 0 | 0.57859 | 0.57859 | 0 | 0.57859 | -0.013103 | 0 | 0 | -0.15872 | -78.778 | -78.778
Line_1 | 0.0016563 | 0.0016563 | 0.0016563 | 0 | 0 | 0 | 0.019125 | 0.019125 | 0.019125 | 0 | 0 | 0 | 0.00011191 | -4.8652e-05 | -4.8652e-05 | -1.0136e-11 | 8.5639e-12 | -1.0858e-11 | -0.019176 | -1.0089e-05 | -1.0089e-05 | -1.2051e-11 | 7.5318e-12 | 3.6815e-12 | 89.5069 | 89.5069 | 89.5069 | 0 | 0 | 0 | 0.57859 | 0 | 0.57859 | 0.57859 | 0 | 0.57859 | -0.15872 | -78.778 | -78.778 | -0.18784 | -78.7867 | -78.7867
Line_2 | 0.0016563 | 0.0016563 | 0.0016563 | 0 | 0 | 0 | 0.019125 | 0.019125 | 0.019125 | 0 | 0 | 0 | 0.00011191 | -4.8652e-05 | -4.8652e-05 | -1.0128e-11 | 8.5639e-12 | -1.0858e-11 | -0.019176 | -1.0089e-05 | -1.0089e-05 | -1.2041e-11 | 7.5319e-12 | 3.6815e-12 | 89.5069 | 89.5069 | 89.5069 | 0 | 0 | 0 | 0.57859 | 0 | 0.57859 | 0.57859 | 0 | 0.57859 | -0.15872 | -78.778 | -78.778 | -0.18784 | -78.7867 | -78.7867

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049673 | 0.0049673 | 0.0049673 | 0.0033126 | 0.0033126 | 0.0033126 | 0.057358 | 0.057358 | 0.057358 | 0.03825 | 0.03825 | 0.03825 | 0.00039409 | -1.493e-13 | 1.2375e-13 | -0.00022381 | 9.7305e-05 | 9.7305e-05 | -0.057479 | 5.3132e-14 | 1.0175e-13 | 0.038351 | 2.0178e-05 | 2.0178e-05 | 89.5941 | 89.5941 | 89.5941 | -90.4931 | -90.4931 | -90.4931 | 0.57859 | 0 | 0.57859 | 0.57859 | 0 | 0.57859 | -0.013103 | 0 | 0 | -0.15872 | -78.778 | -78.778
Line_1 | 0.0016563 | 0.0016563 | 0.0016563 | 0 | 0 | 0 | 0.019125 | 0.019125 | 0.019125 | 0 | 0 | 0 | 0.00011191 | -4.8652e-05 | -4.8652e-05 | -1.0136e-11 | 8.5639e-12 | -1.0858e-11 | -0.019176 | -1.0089e-05 | -1.0089e-05 | -1.2051e-11 | 7.5318e-12 | 3.6815e-12 | 89.5069 | 89.5069 | 89.5069 | 0 | 0 | 0 | 0.57859 | 0 | 0.57859 | 0.57859 | 0 | 0.57859 | -0.15872 | -78.778 | -78.778 | -0.18784 | -78.7867 | -78.7867
Line_2 | 0.0016563 | 0.0016563 | 0.0016563 | 0 | 0 | 0 | 0.019125 | 0.019125 | 0.019125 | 0 | 0 | 0 | 0.00011191 | -4.8652e-05 | -4.8652e-05 | -1.0128e-11 | 8.5639e-12 | -1.0858e-11 | -0.019176 | -1.0089e-05 | -1.0089e-05 | -1.2041e-11 | 7.5319e-12 | 3.6815e-12 | 89.5069 | 89.5069 | 89.5069 | 0 | 0 | 0 | 0.57859 | 0 | 0.57859 | 0.57859 | 0 | 0.57859 | -0.15872 | -78.778 | -78.778 | -0.18784 | -78.7867 | -78.7867

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002186 | 0.002186 | 0.002186 | 0.0014578 | 0.0014578 | 0.0014578 | 0.025242 | 0.025242 | 0.025242 | 0.016833 | 0.016833 | 0.016833 | -0.0097374 | -0.005666 | 0.01548 | 0.0064888 | 0.0038122 | -0.010307 | -0.023313 | 0.014599 | -0.002418 | 0.015561 | -0.0097261 | 0.0016007 | 112.6854 | 112.6854 | 112.6854 | -67.4018 | -67.4018 | -67.4018 | 0.87213 | 0.62083 | 0.74906 | 0.87213 | 0.62083 | 0.74906 | 0.015819 | -136.103 | 103.8072 | -0.038214 | -135.9989 | 103.7701
Line_1 | 0.0007289 | 0.0007289 | 0.0007289 | 0 | 0 | 0 | 0.0084166 | 0.0084166 | 0.0084166 | 0 | 0 | 0 | -0.0032444 | -0.0019061 | 0.0051533 | -6.1639e-12 | 7.754e-10 | 7.738e-10 | -0.0077803 | 0.004863 | -0.00080037 | -3.1406e-12 | -6.2641e-10 | -6.3505e-10 | 112.5982 | 112.5982 | 112.5982 | 0 | 0 | 0 | 0.87213 | 0.62083 | 0.74906 | 0.87213 | 0.62083 | 0.74906 | -0.038214 | -135.9989 | 103.7701 | -0.049021 | -135.9781 | 103.7627
Line_2 | 0.0007289 | 0.0007289 | 0.0007289 | 0 | 0 | 0 | 0.0084166 | 0.0084166 | 0.0084166 | 0 | 0 | 0 | -0.0032444 | -0.0019061 | 0.0051533 | -6.1616e-12 | 7.7541e-10 | 7.738e-10 | -0.0077803 | 0.004863 | -0.00080037 | -3.1359e-12 | -6.2641e-10 | -6.3505e-10 | 112.5982 | 112.5982 | 112.5982 | 0 | 0 | 0 | 0.87213 | 0.62083 | 0.74906 | 0.87213 | 0.62083 | 0.74906 | -0.038214 | -135.9989 | 103.7701 | -0.049021 | -135.9781 | 103.7627

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002186 | 0.002186 | 0.002186 | 0.0014578 | 0.0014578 | 0.0014578 | 0.025242 | 0.025242 | 0.025242 | 0.016833 | 0.016833 | 0.016833 | -0.0097374 | -0.005666 | 0.01548 | 0.0064888 | 0.0038122 | -0.010307 | -0.023313 | 0.014599 | -0.002418 | 0.015561 | -0.0097261 | 0.0016007 | 112.6854 | 112.6854 | 112.6854 | -67.4018 | -67.4018 | -67.4018 | 0.87213 | 0.62083 | 0.74906 | 0.87213 | 0.62083 | 0.74906 | 0.015819 | -136.103 | 103.8072 | -0.038214 | -135.9989 | 103.7701
Line_1 | 0.0007289 | 0.0007289 | 0.0007289 | 0 | 0 | 0 | 0.0084166 | 0.0084166 | 0.0084166 | 0 | 0 | 0 | -0.0032444 | -0.0019061 | 0.0051533 | -6.1639e-12 | 7.754e-10 | 7.738e-10 | -0.0077803 | 0.004863 | -0.00080037 | -3.1406e-12 | -6.2641e-10 | -6.3505e-10 | 112.5982 | 112.5982 | 112.5982 | 0 | 0 | 0 | 0.87213 | 0.62083 | 0.74906 | 0.87213 | 0.62083 | 0.74906 | -0.038214 | -135.9989 | 103.7701 | -0.049021 | -135.9781 | 103.7627
Line_2 | 0.0007289 | 0.0007289 | 0.0007289 | 0 | 0 | 0 | 0.0084166 | 0.0084166 | 0.0084166 | 0 | 0 | 0 | -0.0032444 | -0.0019061 | 0.0051533 | -6.1616e-12 | 7.7541e-10 | 7.738e-10 | -0.0077803 | 0.004863 | -0.00080037 | -3.1359e-12 | -6.2641e-10 | -6.3505e-10 | 112.5982 | 112.5982 | 112.5982 | 0 | 0 | 0 | 0.87213 | 0.62083 | 0.74906 | 0.87213 | 0.62083 | 0.74906 | -0.038214 | -135.9989 | 103.7701 | -0.049021 | -135.9781 | 103.7627