## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.5104 | 2.5104 | 0 | 5.5724 | 86.9625 | 86.9625 | 9.8312 | -1e-07 | 11.1547 | -1e-07 | -79.0878 | 100.9122 | 0.17098 | 0 | -30.4793 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -5.4633e-20 | 0 | -3.9589e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -5.4632e-20 | 0 | -3.9588e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.5104 | 2.5104 | 0 | 5.5724 | 86.9625 | 86.9625 | 9.8312 | -1e-07 | 11.1547 | -1e-07 | -79.0878 | 100.9122 | 0.17098 | 0 | -30.4793 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -5.4633e-20 | 0 | -3.9589e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -5.4632e-20 | 0 | -3.9588e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0938 | 1.0938 | 0 | 2.4279 | 37.8888 | 37.8888 | 19.8108 | -17.9446 | 20.062 | -17.9446 | -59.1339 | 120.8661 | 0.74415 | 0.66979 | -13.7729 | -14.1339
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9243e-09 | 0 | 1.979e-09 | 0 | 0 | 0 | 0.66979 | 0.66979 | -14.1339 | -14.1339
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9243e-09 | 0 | 1.979e-09 | 0 | 0 | 0 | 0.66979 | 0.66979 | -14.1339 | -14.1339

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0938 | 1.0938 | 0 | 2.4279 | 37.8888 | 37.8888 | 19.8108 | -17.9446 | 20.062 | -17.9446 | -59.1339 | 120.8661 | 0.74415 | 0.66979 | -13.7729 | -14.1339
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9243e-09 | 0 | 1.979e-09 | 0 | 0 | 0 | 0.66979 | 0.66979 | -14.1339 | -14.1339
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9243e-09 | 0 | 1.979e-09 | 0 | 0 | 0 | 0.66979 | 0.66979 | -14.1339 | -14.1339

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0037 | 2.0037 | 0 | 4.1302 | 69.4115 | 69.4115 | 12.0256 | -1e-07 | 7.1065 | -1e-07 | -74.9546 | 105.0454 | 0.20124 | 0 | -44.3738 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4608e-20 | 0 | -3.7514e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4608e-20 | 0 | -3.7514e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0037 | 2.0037 | 0 | 4.1302 | 69.4115 | 69.4115 | 12.0256 | -1e-07 | 7.1065 | -1e-07 | -74.9546 | 105.0454 | 0.20124 | 0 | -44.3738 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4608e-20 | 0 | -3.7514e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4608e-20 | 0 | -3.7514e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.93103 | 0.93103 | 0 | 1.9191 | 32.2518 | 32.2518 | 15.5985 | -13.0022 | 14.5365 | -13.0022 | -58.4151 | 121.5849 | 0.66111 | 0.57014 | -15.4334 | -13.4151
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5248e-09 | 0 | 1.455e-09 | 0 | 0 | 0 | 0.57014 | 0.57014 | -13.4151 | -13.4151
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5248e-09 | 0 | 1.455e-09 | 0 | 0 | 0 | 0.57014 | 0.57014 | -13.4151 | -13.4151

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.93103 | 0.93103 | 0 | 1.9191 | 32.2518 | 32.2518 | 15.5985 | -13.0022 | 14.5365 | -13.0022 | -58.4151 | 121.5849 | 0.66111 | 0.57014 | -15.4334 | -13.4151
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5248e-09 | 0 | 1.455e-09 | 0 | 0 | 0 | 0.57014 | 0.57014 | -13.4151 | -13.4151
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5248e-09 | 0 | 1.455e-09 | 0 | 0 | 0 | 0.57014 | 0.57014 | -13.4151 | -13.4151

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.1741 | 2.1741 | 0 | 2.1741 | 2.1741 | 0 | 25.1039 | 25.1039 | 0 | 25.1039 | 25.1039 | -2.0843e-14 | 16.0153 | -11.0997 | 1.0421e-14 | -13.5575 | 13.5575 | 5.2106e-15 | 0.1749 | 5.4024 | -1.0421e-14 | 2.6138 | -2.6138 | 0 | -169.0878 | 10.9122 | 0 | 10.9122 | -169.0878 | 0.99871 | 0.17098 | 0.91225 | 0.95263 | 0 | 0.95263 | 6.4583e-13 | -168.4621 | 164.9592 | 6.5424e-13 | 180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 1.8237e-14 | -1.1828e-22 | 0 | -2.6053e-15 | -5.2106e-15 | -1.19e-28 | 1.9211e-09 | -1.9212e-09 | 0 | -1.9211e-09 | 1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 6.5424e-13 | 180 | 180 | 6.686e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.3448e-14 | -1.1828e-22 | 5.2106e-15 | -5.2106e-15 | -5.2106e-15 | -1.19e-28 | 1.9211e-09 | -1.9211e-09 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 6.5424e-13 | 180 | 180 | 6.5768e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.1741 | 2.1741 | 0 | 2.1741 | 2.1741 | 0 | 25.1039 | 25.1039 | 0 | 25.1039 | 25.1039 | -2.0843e-14 | 16.0153 | -11.0997 | 1.0421e-14 | -13.5575 | 13.5575 | 5.2106e-15 | 0.1749 | 5.4024 | -1.0421e-14 | 2.6138 | -2.6138 | 0 | -169.0878 | 10.9122 | 0 | 10.9122 | -169.0878 | 0.99871 | 0.17098 | 0.91225 | 0.95263 | 0 | 0.95263 | 6.4583e-13 | -168.4621 | 164.9592 | 6.5424e-13 | 180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 1.8237e-14 | -1.1828e-22 | 0 | -2.6053e-15 | -5.2106e-15 | -1.19e-28 | 1.9211e-09 | -1.9212e-09 | 0 | -1.9211e-09 | 1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 6.5424e-13 | 180 | 180 | 6.686e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.3448e-14 | -1.1828e-22 | 5.2106e-15 | -5.2106e-15 | -5.2106e-15 | -1.19e-28 | 1.9211e-09 | -1.9211e-09 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 6.5424e-13 | 180 | 180 | 6.5768e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3366 | 1.3366 | 0 | 1.3366 | 1.3366 | 0 | 15.4338 | 15.4338 | 0 | 15.4338 | 15.4338 | -1.3027e-14 | 13.0982 | -2.3077 | 1.3027e-14 | -12.1692 | 3.2367 | 5.2106e-15 | 1.9538 | 9.0868 | -2.6053e-15 | -0.89974 | -8.0328 | 0 | -155.1555 | 24.8445 | 0 | 24.8445 | -155.1555 | 1.0837 | 0.57751 | 0.89847 | 1.0576 | 0.47256 | 0.89901 | 3.7532e-13 | -146.6716 | 129.0942 | 3.7298e-13 | -150.927 | 136.7907
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.696e-29 | -4.4345e-10 | -1.0122e-09 | -5.2106e-15 | 4.4345e-10 | 1.0122e-09 | -2.6053e-15 | 1.6389e-09 | -6.538e-10 | -3.454e-29 | -1.6389e-09 | 6.538e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0576 | 0.47256 | 0.89901 | 1.0576 | 0.47256 | 0.89901 | 3.7298e-13 | -150.927 | 136.7907 | 3.7979e-13 | -150.927 | 136.7907
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.816e-15 | -4.4347e-10 | -1.0122e-09 | 7.816e-15 | 4.4347e-10 | 1.0122e-09 | 5.2106e-15 | 1.6389e-09 | -6.538e-10 | -7.816e-15 | -1.6389e-09 | 6.538e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0576 | 0.47256 | 0.89901 | 1.0576 | 0.47256 | 0.89901 | 3.7298e-13 | -150.927 | 136.7907 | 3.7372e-13 | -150.927 | 136.7907

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3366 | 1.3366 | 0 | 1.3366 | 1.3366 | 0 | 15.4338 | 15.4338 | 0 | 15.4338 | 15.4338 | -1.3027e-14 | 13.0982 | -2.3077 | 1.3027e-14 | -12.1692 | 3.2367 | 5.2106e-15 | 1.9538 | 9.0868 | -2.6053e-15 | -0.89974 | -8.0328 | 0 | -155.1555 | 24.8445 | 0 | 24.8445 | -155.1555 | 1.0837 | 0.57751 | 0.89847 | 1.0576 | 0.47256 | 0.89901 | 3.7532e-13 | -146.6716 | 129.0942 | 3.7298e-13 | -150.927 | 136.7907
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.696e-29 | -4.4345e-10 | -1.0122e-09 | -5.2106e-15 | 4.4345e-10 | 1.0122e-09 | -2.6053e-15 | 1.6389e-09 | -6.538e-10 | -3.454e-29 | -1.6389e-09 | 6.538e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0576 | 0.47256 | 0.89901 | 1.0576 | 0.47256 | 0.89901 | 3.7298e-13 | -150.927 | 136.7907 | 3.7979e-13 | -150.927 | 136.7907
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.816e-15 | -4.4347e-10 | -1.0122e-09 | 7.816e-15 | 4.4347e-10 | 1.0122e-09 | 5.2106e-15 | 1.6389e-09 | -6.538e-10 | -7.816e-15 | -1.6389e-09 | 6.538e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0576 | 0.47256 | 0.89901 | 1.0576 | 0.47256 | 0.89901 | 3.7298e-13 | -150.927 | 136.7907 | 3.7372e-13 | -150.927 | 136.7907

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7353 | 1.7353 | 0 | 1.7353 | 1.7353 | 0 | 20.0374 | 20.0374 | 0 | 20.0374 | 20.0374 | -2.3685e-15 | 12.6817 | -6.6688 | 2.3685e-15 | -9.6753 | 9.6753 | 1.4211e-14 | -0.82408 | 4.3773 | -1.4211e-14 | 2.6007 | -2.6007 | 0 | -164.9546 | 15.0454 | 0 | 15.0454 | -164.9546 | 0.93915 | 0.20124 | 0.7989 | 0.86603 | 0 | 0.86603 | 5.9201e-13 | -168.6725 | 161.7652 | 5.3442e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.8366e-29 | 8.2897e-15 | 7.1054e-15 | -2.3685e-15 | -7.1054e-15 | -4.7369e-15 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 5.3442e-13 | -180 | 180 | 5.4455e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 3.5527e-15 | -1.6104e-21 | -4.737e-15 | -1.1842e-15 | 7.7115e-20 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 5.3442e-13 | -180 | 180 | 5.2794e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7353 | 1.7353 | 0 | 1.7353 | 1.7353 | 0 | 20.0374 | 20.0374 | 0 | 20.0374 | 20.0374 | -2.3685e-15 | 12.6817 | -6.6688 | 2.3685e-15 | -9.6753 | 9.6753 | 1.4211e-14 | -0.82408 | 4.3773 | -1.4211e-14 | 2.6007 | -2.6007 | 0 | -164.9546 | 15.0454 | 0 | 15.0454 | -164.9546 | 0.93915 | 0.20124 | 0.7989 | 0.86603 | 0 | 0.86603 | 5.9201e-13 | -168.6725 | 161.7652 | 5.3442e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.8366e-29 | 8.2897e-15 | 7.1054e-15 | -2.3685e-15 | -7.1054e-15 | -4.7369e-15 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 5.3442e-13 | -180 | 180 | 5.4455e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 3.5527e-15 | -1.6104e-21 | -4.737e-15 | -1.1842e-15 | 7.7115e-20 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 5.3442e-13 | -180 | 180 | 5.2794e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.111 | 1.111 | 0 | 1.111 | 1.111 | 0 | 12.8289 | 12.8289 | 0 | 12.8289 | 12.8289 | -2.3685e-15 | 10.0659 | -1.4294 | 2.3685e-15 | -8.8335 | 2.6618 | 7.1054e-15 | 0.96644 | 6.6618 | -4.737e-15 | -0.23817 | -5.9336 | 0 | -153.6438 | 26.3562 | 0 | 26.3562 | -153.6438 | 0.99341 | 0.51858 | 0.80474 | 0.94727 | 0.3928 | 0.82451 | 3.6144e-13 | -148.1595 | 128.4665 | 3.237e-13 | -152.0993 | 140.5172
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.9984e-10 | -7.9858e-10 | 2.3685e-15 | 3.9984e-10 | 7.9858e-10 | 7.1054e-15 | 1.3421e-09 | -6.5146e-10 | -2.3685e-15 | -1.3421e-09 | 6.5146e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.94727 | 0.3928 | 0.82451 | 0.94727 | 0.3928 | 0.82451 | 3.237e-13 | -152.0993 | 140.5172 | 3.3047e-13 | -152.0993 | 140.5172
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5527e-15 | -3.9984e-10 | -7.9859e-10 | -3.5527e-15 | 3.9984e-10 | 7.9858e-10 | -4.737e-15 | 1.3421e-09 | -6.5147e-10 | 7.1054e-15 | -1.3421e-09 | 6.5146e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.94727 | 0.3928 | 0.82451 | 0.94727 | 0.3928 | 0.82451 | 3.237e-13 | -152.0993 | 140.5172 | 3.2043e-13 | -152.0993 | 140.5172

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.111 | 1.111 | 0 | 1.111 | 1.111 | 0 | 12.8289 | 12.8289 | 0 | 12.8289 | 12.8289 | -2.3685e-15 | 10.0659 | -1.4294 | 2.3685e-15 | -8.8335 | 2.6618 | 7.1054e-15 | 0.96644 | 6.6618 | -4.737e-15 | -0.23817 | -5.9336 | 0 | -153.6438 | 26.3562 | 0 | 26.3562 | -153.6438 | 0.99341 | 0.51858 | 0.80474 | 0.94727 | 0.3928 | 0.82451 | 3.6144e-13 | -148.1595 | 128.4665 | 3.237e-13 | -152.0993 | 140.5172
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.9984e-10 | -7.9858e-10 | 2.3685e-15 | 3.9984e-10 | 7.9858e-10 | 7.1054e-15 | 1.3421e-09 | -6.5146e-10 | -2.3685e-15 | -1.3421e-09 | 6.5146e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.94727 | 0.3928 | 0.82451 | 0.94727 | 0.3928 | 0.82451 | 3.237e-13 | -152.0993 | 140.5172 | 3.3047e-13 | -152.0993 | 140.5172
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5527e-15 | -3.9984e-10 | -7.9859e-10 | -3.5527e-15 | 3.9984e-10 | 7.9858e-10 | -4.737e-15 | 1.3421e-09 | -6.5147e-10 | 7.1054e-15 | -1.3421e-09 | 6.5146e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.94727 | 0.3928 | 0.82451 | 0.94727 | 0.3928 | 0.82451 | 3.237e-13 | -152.0993 | 140.5172 | 3.2043e-13 | -152.0993 | 140.5172

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2544 | 0.0064223 | 0.0064223 | 2.2527 | 0.0046346 | 0.0046346 | 26.0312 | 0.074158 | 0.074158 | 26.0121 | 0.053516 | 0.053516 | 8.0457 | 0.077235 | -0.061331 | -6.2764e-12 | -0.049393 | 0.049363 | 4.4783 | -0.026377 | -0.053985 | 8.1161e-11 | 0.024891 | 0.050259 | -68.9805 | -101.2682 | -101.2682 | 111.0385 | 75.5938 | 75.5938 | 0.63362 | 1.1 | 0.83094 | 0.59671 | 1.1 | 0.76 | -39.8796 | -120.1241 | 120.0868 | 0 | -131.1519 | 121.109
Line_1 | 0.0023173 | 0.0023173 | 0.0023173 | 0 | 0 | 0 | 0.026758 | 0.026758 | 0.026758 | 0 | 0 | 0 | 5.3676e-14 | 0.024696 | -0.024682 | -2.0415e-13 | 1.7392e-10 | -1.0473e-09 | -6.4272e-14 | -0.012446 | -0.02513 | 1.5968e-12 | -8.0724e-10 | 1.0216e-10 | -104.4062 | -104.4062 | -104.4062 | 0 | 0 | 0 | 0.59671 | 1.1 | 0.76 | 0.59671 | 1.1 | 0.76 | 0 | -131.1519 | 121.109 | 97.2655 | -131.1685 | 121.102
Line_2 | 0.0023173 | 0.0023173 | 0.0023173 | 0 | 0 | 0 | 0.026758 | 0.026758 | 0.026758 | 0 | 0 | 0 | 5.3676e-14 | 0.024696 | -0.024682 | -2.0414e-13 | 1.7394e-10 | -1.0473e-09 | -6.4272e-14 | -0.012446 | -0.02513 | 1.5967e-12 | -8.0723e-10 | 1.0217e-10 | -104.4062 | -104.4062 | -104.4062 | 0 | 0 | 0 | 0.59671 | 1.1 | 0.76 | 0.59671 | 1.1 | 0.76 | 0 | -131.1519 | 121.109 | 97.2655 | -131.1685 | 121.102

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2544 | 0.0064223 | 0.0064223 | 2.2527 | 0.0046346 | 0.0046346 | 26.0312 | 0.074158 | 0.074158 | 26.0121 | 0.053516 | 0.053516 | 8.0457 | 0.077235 | -0.061331 | -6.2764e-12 | -0.049393 | 0.049363 | 4.4783 | -0.026377 | -0.053985 | 8.1161e-11 | 0.024891 | 0.050259 | -68.9805 | -101.2682 | -101.2682 | 111.0385 | 75.5938 | 75.5938 | 0.63362 | 1.1 | 0.83094 | 0.59671 | 1.1 | 0.76 | -39.8796 | -120.1241 | 120.0868 | 0 | -131.1519 | 121.109
Line_1 | 0.0023173 | 0.0023173 | 0.0023173 | 0 | 0 | 0 | 0.026758 | 0.026758 | 0.026758 | 0 | 0 | 0 | 5.3676e-14 | 0.024696 | -0.024682 | -2.0415e-13 | 1.7392e-10 | -1.0473e-09 | -6.4272e-14 | -0.012446 | -0.02513 | 1.5968e-12 | -8.0724e-10 | 1.0216e-10 | -104.4062 | -104.4062 | -104.4062 | 0 | 0 | 0 | 0.59671 | 1.1 | 0.76 | 0.59671 | 1.1 | 0.76 | 0 | -131.1519 | 121.109 | 97.2655 | -131.1685 | 121.102
Line_2 | 0.0023173 | 0.0023173 | 0.0023173 | 0 | 0 | 0 | 0.026758 | 0.026758 | 0.026758 | 0 | 0 | 0 | 5.3676e-14 | 0.024696 | -0.024682 | -2.0414e-13 | 1.7394e-10 | -1.0473e-09 | -6.4272e-14 | -0.012446 | -0.02513 | 1.5967e-12 | -8.0723e-10 | 1.0217e-10 | -104.4062 | -104.4062 | -104.4062 | 0 | 0 | 0 | 0.59671 | 1.1 | 0.76 | 0.59671 | 1.1 | 0.76 | 0 | -131.1519 | 121.109 | 97.2655 | -131.1685 | 121.102

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0229 | 0.0029141 | 0.0029141 | 1.0222 | 0.002103 | 0.002103 | 11.8118 | 0.03365 | 0.03365 | 11.8031 | 0.024283 | 0.024283 | 6.8679 | 0.031375 | -0.032696 | -5.2093 | -0.021881 | 0.024376 | 6.1494 | -0.019671 | -0.017395 | -5.2217 | 0.014775 | 0.015666 | -55.6777 | -87.9655 | -87.9655 | 124.3412 | 88.8965 | 88.8965 | 0.87557 | 1.1 | 1.0019 | 0.84401 | 1.1 | 0.96891 | -13.8373 | -120.0518 | 120.0481 | -10.5903 | -125.1316 | 121.6239
Line_1 | 0.0010515 | 0.0010515 | 0.0010515 | 0 | 0 | 0 | 0.012142 | 0.012142 | 0.012142 | 0 | 0 | 0 | 0.0012506 | 0.010941 | -0.012188 | 1.0458e-09 | 3.3569e-11 | -4.1075e-10 | 0.0074836 | -0.0073873 | -0.0078328 | -4.6253e-10 | -3.928e-10 | 1.3626e-10 | -91.1035 | -91.1035 | -91.1035 | 0 | 0 | 0 | 0.84401 | 1.1 | 0.96891 | 0.84401 | 1.1 | 0.96891 | -10.5903 | -125.1316 | 121.6239 | -10.5761 | -125.1394 | 121.6222
Line_2 | 0.0010515 | 0.0010515 | 0.0010515 | 0 | 0 | 0 | 0.012142 | 0.012142 | 0.012142 | 0 | 0 | 0 | 0.0012506 | 0.010941 | -0.012188 | 1.0458e-09 | 3.357e-11 | -4.1075e-10 | 0.0074836 | -0.0073873 | -0.0078328 | -4.6254e-10 | -3.928e-10 | 1.3627e-10 | -91.1035 | -91.1035 | -91.1035 | 0 | 0 | 0 | 0.84401 | 1.1 | 0.96891 | 0.84401 | 1.1 | 0.96891 | -10.5903 | -125.1316 | 121.6239 | -10.5761 | -125.1394 | 121.6222

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0229 | 0.0029141 | 0.0029141 | 1.0222 | 0.002103 | 0.002103 | 11.8118 | 0.03365 | 0.03365 | 11.8031 | 0.024283 | 0.024283 | 6.8679 | 0.031375 | -0.032696 | -5.2093 | -0.021881 | 0.024376 | 6.1494 | -0.019671 | -0.017395 | -5.2217 | 0.014775 | 0.015666 | -55.6777 | -87.9655 | -87.9655 | 124.3412 | 88.8965 | 88.8965 | 0.87557 | 1.1 | 1.0019 | 0.84401 | 1.1 | 0.96891 | -13.8373 | -120.0518 | 120.0481 | -10.5903 | -125.1316 | 121.6239
Line_1 | 0.0010515 | 0.0010515 | 0.0010515 | 0 | 0 | 0 | 0.012142 | 0.012142 | 0.012142 | 0 | 0 | 0 | 0.0012506 | 0.010941 | -0.012188 | 1.0458e-09 | 3.3569e-11 | -4.1075e-10 | 0.0074836 | -0.0073873 | -0.0078328 | -4.6253e-10 | -3.928e-10 | 1.3626e-10 | -91.1035 | -91.1035 | -91.1035 | 0 | 0 | 0 | 0.84401 | 1.1 | 0.96891 | 0.84401 | 1.1 | 0.96891 | -10.5903 | -125.1316 | 121.6239 | -10.5761 | -125.1394 | 121.6222
Line_2 | 0.0010515 | 0.0010515 | 0.0010515 | 0 | 0 | 0 | 0.012142 | 0.012142 | 0.012142 | 0 | 0 | 0 | 0.0012506 | 0.010941 | -0.012188 | 1.0458e-09 | 3.357e-11 | -4.1075e-10 | 0.0074836 | -0.0073873 | -0.0078328 | -4.6254e-10 | -3.928e-10 | 1.3627e-10 | -91.1035 | -91.1035 | -91.1035 | 0 | 0 | 0 | 0.84401 | 1.1 | 0.96891 | 0.84401 | 1.1 | 0.96891 | -10.5903 | -125.1316 | 121.6239 | -10.5761 | -125.1394 | 121.6222

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6893 | 0.006489 | 0.006489 | 1.6879 | 0.0048311 | 0.0048311 | 19.5066 | 0.074929 | 0.074929 | 19.4907 | 0.055785 | 0.055785 | 8.6763 | 0.07239 | -0.052906 | 3.8373e-11 | -0.045755 | 0.045693 | 2.4924 | -0.01947 | -0.053289 | 3.2942e-11 | 0.025231 | 0.056426 | -58.8305 | -105.1052 | -105.1052 | 121.2031 | 71.1644 | 71.1644 | 0.58091 | 1 | 0.83768 | 0.54077 | 1 | 0.75145 | -42.803 | -120.1589 | 120.1015 | 0 | -137.7096 | 122.1644
Line_1 | 0.0024156 | 0.0024156 | 0.0024156 | 0 | 0 | 0 | 0.027892 | 0.027892 | 0.027892 | 0 | 0 | 0 | 8.6343e-16 | 0.022878 | -0.022846 | 3.449e-13 | 5.6215e-11 | -1.4459e-09 | -7.2368e-14 | -0.012616 | -0.028213 | 2.7573e-12 | -1.0458e-09 | 1.7856e-10 | -108.8356 | -108.8356 | -108.8356 | 0 | 0 | 0 | 0.54077 | 1 | 0.75145 | 0.54077 | 1 | 0.75145 | 0 | -137.7096 | 122.1644 | 82.8272 | -137.7398 | 122.1432
Line_2 | 0.0024156 | 0.0024156 | 0.0024156 | 0 | 0 | 0 | 0.027892 | 0.027892 | 0.027892 | 0 | 0 | 0 | 8.6343e-16 | 0.022878 | -0.022846 | 3.449e-13 | 5.6218e-11 | -1.4459e-09 | -7.2368e-14 | -0.012616 | -0.028213 | 2.7573e-12 | -1.0458e-09 | 1.7857e-10 | -108.8356 | -108.8356 | -108.8356 | 0 | 0 | 0 | 0.54077 | 1 | 0.75145 | 0.54077 | 1 | 0.75145 | 0 | -137.7096 | 122.1644 | 82.8272 | -137.7398 | 122.1432

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6893 | 0.006489 | 0.006489 | 1.6879 | 0.0048311 | 0.0048311 | 19.5066 | 0.074929 | 0.074929 | 19.4907 | 0.055785 | 0.055785 | 8.6763 | 0.07239 | -0.052906 | 3.8373e-11 | -0.045755 | 0.045693 | 2.4924 | -0.01947 | -0.053289 | 3.2942e-11 | 0.025231 | 0.056426 | -58.8305 | -105.1052 | -105.1052 | 121.2031 | 71.1644 | 71.1644 | 0.58091 | 1 | 0.83768 | 0.54077 | 1 | 0.75145 | -42.803 | -120.1589 | 120.1015 | 0 | -137.7096 | 122.1644
Line_1 | 0.0024156 | 0.0024156 | 0.0024156 | 0 | 0 | 0 | 0.027892 | 0.027892 | 0.027892 | 0 | 0 | 0 | 8.6343e-16 | 0.022878 | -0.022846 | 3.449e-13 | 5.6215e-11 | -1.4459e-09 | -7.2368e-14 | -0.012616 | -0.028213 | 2.7573e-12 | -1.0458e-09 | 1.7856e-10 | -108.8356 | -108.8356 | -108.8356 | 0 | 0 | 0 | 0.54077 | 1 | 0.75145 | 0.54077 | 1 | 0.75145 | 0 | -137.7096 | 122.1644 | 82.8272 | -137.7398 | 122.1432
Line_2 | 0.0024156 | 0.0024156 | 0.0024156 | 0 | 0 | 0 | 0.027892 | 0.027892 | 0.027892 | 0 | 0 | 0 | 8.6343e-16 | 0.022878 | -0.022846 | 3.449e-13 | 5.6218e-11 | -1.4459e-09 | -7.2368e-14 | -0.012616 | -0.028213 | 2.7573e-12 | -1.0458e-09 | 1.7857e-10 | -108.8356 | -108.8356 | -108.8356 | 0 | 0 | 0 | 0.54077 | 1 | 0.75145 | 0.54077 | 1 | 0.75145 | 0 | -137.7096 | 122.1644 | 82.8272 | -137.7398 | 122.1432

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.83741 | 0.0032167 | 0.0032167 | 0.83673 | 0.0023948 | 0.0023948 | 9.6696 | 0.037143 | 0.037143 | 9.6617 | 0.027653 | 0.027653 | 5.6192 | 0.034472 | -0.029209 | -3.4865 | -0.024078 | 0.02279 | 4.1192 | -0.013868 | -0.023002 | -3.5018 | 0.01214 | 0.022011 | -51.8876 | -98.1623 | -98.1623 | 128.1459 | 78.1073 | 78.1073 | 0.79147 | 1 | 0.92259 | 0.76156 | 1 | 0.87737 | -15.6445 | -120.0766 | 120.0575 | -6.7282 | -128.6499 | 122.1108
Line_1 | 0.0011974 | 0.0011974 | 0.0011974 | 0 | 0 | 0 | 0.013827 | 0.013827 | 0.013827 | 0 | 0 | 0 | -0.00063656 | 0.012039 | -0.011395 | 9.0344e-10 | 4.91e-11 | -6.1668e-10 | 0.0070428 | -0.0060701 | -0.011005 | -2.1833e-10 | -5.3843e-10 | 1.5405e-10 | -101.8927 | -101.8927 | -101.8927 | 0 | 0 | 0 | 0.76156 | 1 | 0.87737 | 0.76156 | 1 | 0.87737 | -6.7282 | -128.6499 | 122.1108 | -6.6863 | -128.6636 | 122.1008
Line_2 | 0.0011974 | 0.0011974 | 0.0011974 | 0 | 0 | 0 | 0.013827 | 0.013827 | 0.013827 | 0 | 0 | 0 | -0.00063656 | 0.012039 | -0.011395 | 9.0344e-10 | 4.9097e-11 | -6.1668e-10 | 0.0070428 | -0.0060701 | -0.011005 | -2.1834e-10 | -5.3843e-10 | 1.5404e-10 | -101.8927 | -101.8927 | -101.8927 | 0 | 0 | 0 | 0.76156 | 1 | 0.87737 | 0.76156 | 1 | 0.87737 | -6.7282 | -128.6499 | 122.1108 | -6.6863 | -128.6636 | 122.1008

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.83741 | 0.0032167 | 0.0032167 | 0.83673 | 0.0023948 | 0.0023948 | 9.6696 | 0.037143 | 0.037143 | 9.6617 | 0.027653 | 0.027653 | 5.6192 | 0.034472 | -0.029209 | -3.4865 | -0.024078 | 0.02279 | 4.1192 | -0.013868 | -0.023002 | -3.5018 | 0.01214 | 0.022011 | -51.8876 | -98.1623 | -98.1623 | 128.1459 | 78.1073 | 78.1073 | 0.79147 | 1 | 0.92259 | 0.76156 | 1 | 0.87737 | -15.6445 | -120.0766 | 120.0575 | -6.7282 | -128.6499 | 122.1108
Line_1 | 0.0011974 | 0.0011974 | 0.0011974 | 0 | 0 | 0 | 0.013827 | 0.013827 | 0.013827 | 0 | 0 | 0 | -0.00063656 | 0.012039 | -0.011395 | 9.0344e-10 | 4.91e-11 | -6.1668e-10 | 0.0070428 | -0.0060701 | -0.011005 | -2.1833e-10 | -5.3843e-10 | 1.5405e-10 | -101.8927 | -101.8927 | -101.8927 | 0 | 0 | 0 | 0.76156 | 1 | 0.87737 | 0.76156 | 1 | 0.87737 | -6.7282 | -128.6499 | 122.1108 | -6.6863 | -128.6636 | 122.1008
Line_2 | 0.0011974 | 0.0011974 | 0.0011974 | 0 | 0 | 0 | 0.013827 | 0.013827 | 0.013827 | 0 | 0 | 0 | -0.00063656 | 0.012039 | -0.011395 | 9.0344e-10 | 4.9097e-11 | -6.1668e-10 | 0.0070428 | -0.0060701 | -0.011005 | -2.1834e-10 | -5.3843e-10 | 1.5404e-10 | -101.8927 | -101.8927 | -101.8927 | 0 | 0 | 0 | 0.76156 | 1 | 0.87737 | 0.76156 | 1 | 0.87737 | -6.7282 | -128.6499 | 122.1108 | -6.6863 | -128.6636 | 122.1008

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0056861 | 2.6604 | 2.092 | 0.0041034 | 2.66 | 2.0912 | 0.065657 | 30.7202 | 24.1568 | 0.047381 | 30.7155 | 24.1467 | 0.0040151 | 8.442 | 1.7581 | -2.334e-05 | -4.3204e-11 | -4.3341e-11 | -0.072252 | 0.77184 | 7.1556 | 0.058909 | 5.3632e-11 | 3.3665e-11 | 86.8019 | 169.9697 | 37.9479 | -96.3362 | -9.9969 | -142.089 | 0.7952 | 0.17098 | 0.7264 | 0.71781 | 0 | 0.71781 | -0.017443 | 175.1937 | 114.1442 | -6.3135 | 0 | 0
Line_1 | 0.0020517 | 0.0020517 | 0.0020517 | 0 | 0 | 0 | 0.023691 | 0.023691 | 0.023691 | 0 | 0 | 0 | 1.167e-05 | 4.341e-14 | 6.0101e-15 | -6.844e-10 | 1.0014e-12 | -1.3792e-12 | -0.029454 | 3.0614e-14 | -5.3506e-14 | -5.5284e-10 | 1.0136e-12 | 3.608e-13 | 83.6638 | 83.6638 | 83.6638 | 0 | 0 | 0 | 0.71781 | 0 | 0.71781 | 0.71781 | 0 | 0.71781 | -6.3135 | 0 | 0 | -6.3286 | -74.6645 | -74.6645
Line_2 | 0.0020517 | 0.0020517 | 0.0020517 | 0 | 0 | 0 | 0.023691 | 0.023691 | 0.023691 | 0 | 0 | 0 | 1.167e-05 | 4.341e-14 | 6.0101e-15 | -6.8442e-10 | 1.0014e-12 | -1.3792e-12 | -0.029454 | 3.0614e-14 | -5.3506e-14 | -5.528e-10 | 1.0136e-12 | 3.6078e-13 | 83.6638 | 83.6638 | 83.6638 | 0 | 0 | 0 | 0.71781 | 0 | 0.71781 | 0.71781 | 0 | 0.71781 | -6.3135 | 0 | 0 | -6.3286 | -74.6645 | -74.6645

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0056861 | 2.6604 | 2.092 | 0.0041034 | 2.66 | 2.0912 | 0.065657 | 30.7202 | 24.1568 | 0.047381 | 30.7155 | 24.1467 | 0.0040151 | 8.442 | 1.7581 | -2.334e-05 | -4.3204e-11 | -4.3341e-11 | -0.072252 | 0.77184 | 7.1556 | 0.058909 | 5.3632e-11 | 3.3665e-11 | 86.8019 | 169.9697 | 37.9479 | -96.3362 | -9.9969 | -142.089 | 0.7952 | 0.17098 | 0.7264 | 0.71781 | 0 | 0.71781 | -0.017443 | 175.1937 | 114.1442 | -6.3135 | 0 | 0
Line_1 | 0.0020517 | 0.0020517 | 0.0020517 | 0 | 0 | 0 | 0.023691 | 0.023691 | 0.023691 | 0 | 0 | 0 | 1.167e-05 | 4.341e-14 | 6.0101e-15 | -6.844e-10 | 1.0014e-12 | -1.3792e-12 | -0.029454 | 3.0614e-14 | -5.3506e-14 | -5.5284e-10 | 1.0136e-12 | 3.608e-13 | 83.6638 | 83.6638 | 83.6638 | 0 | 0 | 0 | 0.71781 | 0 | 0.71781 | 0.71781 | 0 | 0.71781 | -6.3135 | 0 | 0 | -6.3286 | -74.6645 | -74.6645
Line_2 | 0.0020517 | 0.0020517 | 0.0020517 | 0 | 0 | 0 | 0.023691 | 0.023691 | 0.023691 | 0 | 0 | 0 | 1.167e-05 | 4.341e-14 | 6.0101e-15 | -6.8442e-10 | 1.0014e-12 | -1.3792e-12 | -0.029454 | 3.0614e-14 | -5.3506e-14 | -5.528e-10 | 1.0136e-12 | 3.6078e-13 | 83.6638 | 83.6638 | 83.6638 | 0 | 0 | 0 | 0.71781 | 0 | 0.71781 | 0.71781 | 0 | 0.71781 | -6.3135 | 0 | 0 | -6.3286 | -74.6645 | -74.6645

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0027226 | 1.1085 | 1.0122 | 0.0019648 | 1.1084 | 1.0117 | 0.031438 | 12.7996 | 11.6882 | 0.022687 | 12.7984 | 11.6819 | -0.0030912 | 7.6256 | 5.7678 | 0.0021778 | -6.1323 | -5.1146 | -0.034476 | 6.0917 | 6.7684 | 0.026571 | -6.154 | -5.1037 | 95.123 | -174.5624 | 58.9142 | -88.015 | 5.477 | -121.1162 | 1.0001 | 0.74415 | 0.8798 | 0.96532 | 0.66979 | 0.85183 | -0.0005537 | -135.9428 | 108.4779 | -2.7007 | -129.4216 | 103.8229
Line_1 | 0.00098239 | 0.00098239 | 0.00098239 | 0 | 0 | 0 | 0.011344 | 0.011344 | 0.011344 | 0 | 0 | 0 | -0.0010889 | -0.0057755 | 0.006867 | -3.2918e-10 | 1.0114e-09 | 9.9325e-10 | -0.013285 | 0.0050929 | 0.0014394 | -2.2396e-10 | -4.4764e-10 | -6.9495e-10 | 91.985 | 91.9849 | 91.9849 | 0 | 0 | 0 | 0.96532 | 0.66979 | 0.85183 | 0.96532 | 0.66979 | 0.85183 | -2.7007 | -129.4216 | 103.8229 | -2.7081 | -129.4089 | 103.8203
Line_2 | 0.00098239 | 0.00098239 | 0.00098239 | 0 | 0 | 0 | 0.011344 | 0.011344 | 0.011344 | 0 | 0 | 0 | -0.0010889 | -0.0057755 | 0.006867 | -3.2917e-10 | 1.0114e-09 | 9.9326e-10 | -0.013285 | 0.0050929 | 0.0014394 | -2.2395e-10 | -4.4765e-10 | -6.9496e-10 | 91.985 | 91.9849 | 91.9849 | 0 | 0 | 0 | 0.96532 | 0.66979 | 0.85183 | 0.96532 | 0.66979 | 0.85183 | -2.7007 | -129.4216 | 103.8229 | -2.7081 | -129.4089 | 103.8203

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0027226 | 1.1085 | 1.0122 | 0.0019648 | 1.1084 | 1.0117 | 0.031438 | 12.7996 | 11.6882 | 0.022687 | 12.7984 | 11.6819 | -0.0030912 | 7.6256 | 5.7678 | 0.0021778 | -6.1323 | -5.1146 | -0.034476 | 6.0917 | 6.7684 | 0.026571 | -6.154 | -5.1037 | 95.123 | -174.5624 | 58.9142 | -88.015 | 5.477 | -121.1162 | 1.0001 | 0.74415 | 0.8798 | 0.96532 | 0.66979 | 0.85183 | -0.0005537 | -135.9428 | 108.4779 | -2.7007 | -129.4216 | 103.8229
Line_1 | 0.00098239 | 0.00098239 | 0.00098239 | 0 | 0 | 0 | 0.011344 | 0.011344 | 0.011344 | 0 | 0 | 0 | -0.0010889 | -0.0057755 | 0.006867 | -3.2918e-10 | 1.0114e-09 | 9.9325e-10 | -0.013285 | 0.0050929 | 0.0014394 | -2.2396e-10 | -4.4764e-10 | -6.9495e-10 | 91.985 | 91.9849 | 91.9849 | 0 | 0 | 0 | 0.96532 | 0.66979 | 0.85183 | 0.96532 | 0.66979 | 0.85183 | -2.7007 | -129.4216 | 103.8229 | -2.7081 | -129.4089 | 103.8203
Line_2 | 0.00098239 | 0.00098239 | 0.00098239 | 0 | 0 | 0 | 0.011344 | 0.011344 | 0.011344 | 0 | 0 | 0 | -0.0010889 | -0.0057755 | 0.006867 | -3.2917e-10 | 1.0114e-09 | 9.9326e-10 | -0.013285 | 0.0050929 | 0.0014394 | -2.2395e-10 | -4.4765e-10 | -6.9496e-10 | 91.985 | 91.9849 | 91.9849 | 0 | 0 | 0 | 0.96532 | 0.66979 | 0.85183 | 0.96532 | 0.66979 | 0.85183 | -2.7007 | -129.4216 | 103.8229 | -2.7081 | -129.4089 | 103.8203

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0053366 | 2.1446 | 1.5471 | 0.0039731 | 2.1444 | 1.5463 | 0.061621 | 24.7634 | 17.8641 | 0.045877 | 24.7611 | 17.8556 | 0.0042038 | 9.4319 | 1.4996 | -4.2012e-05 | -2.5473e-11 | -1.0135e-11 | -0.061618 | -1.0675 | 5.7525 | 0.055228 | -3.2914e-11 | -2.8769e-11 | 86.075 | 178.2475 | 38.6618 | -97.6554 | -1.7156 | -141.3821 | 0.79834 | 0.20124 | 0.68005 | 0.69502 | 0 | 0.69502 | -0.022111 | 171.7901 | 114.0509 | -7.6118 | 0 | 0
Line_1 | 0.0019866 | 0.0019866 | 0.0019866 | 0 | 0 | 0 | 0.022939 | 0.022939 | 0.022939 | 0 | 0 | 0 | 2.1005e-05 | -3.277e-14 | 3.4956e-14 | -9.3949e-10 | 1.8932e-12 | -2.0558e-12 | -0.027614 | 2.0316e-14 | 1.7709e-14 | -5.8695e-10 | 1.2783e-12 | 1.0016e-12 | 82.3446 | 82.3446 | 82.3446 | 0 | 0 | 0 | 0.69502 | 0 | 0.69502 | 0.69502 | 0 | 0.69502 | -7.6118 | 0 | 0 | -7.6409 | -85.9926 | -85.9926
Line_2 | 0.0019866 | 0.0019866 | 0.0019866 | 0 | 0 | 0 | 0.022939 | 0.022939 | 0.022939 | 0 | 0 | 0 | 2.1005e-05 | -3.277e-14 | 3.4956e-14 | -9.3948e-10 | 1.8932e-12 | -2.0557e-12 | -0.027614 | 2.0316e-14 | 1.7709e-14 | -5.8695e-10 | 1.2783e-12 | 1.0016e-12 | 82.3446 | 82.3446 | 82.3446 | 0 | 0 | 0 | 0.69502 | 0 | 0.69502 | 0.69502 | 0 | 0.69502 | -7.6118 | 0 | 0 | -7.6409 | -85.9926 | -85.9926

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0053366 | 2.1446 | 1.5471 | 0.0039731 | 2.1444 | 1.5463 | 0.061621 | 24.7634 | 17.8641 | 0.045877 | 24.7611 | 17.8556 | 0.0042038 | 9.4319 | 1.4996 | -4.2012e-05 | -2.5473e-11 | -1.0135e-11 | -0.061618 | -1.0675 | 5.7525 | 0.055228 | -3.2914e-11 | -2.8769e-11 | 86.075 | 178.2475 | 38.6618 | -97.6554 | -1.7156 | -141.3821 | 0.79834 | 0.20124 | 0.68005 | 0.69502 | 0 | 0.69502 | -0.022111 | 171.7901 | 114.0509 | -7.6118 | 0 | 0
Line_1 | 0.0019866 | 0.0019866 | 0.0019866 | 0 | 0 | 0 | 0.022939 | 0.022939 | 0.022939 | 0 | 0 | 0 | 2.1005e-05 | -3.277e-14 | 3.4956e-14 | -9.3949e-10 | 1.8932e-12 | -2.0558e-12 | -0.027614 | 2.0316e-14 | 1.7709e-14 | -5.8695e-10 | 1.2783e-12 | 1.0016e-12 | 82.3446 | 82.3446 | 82.3446 | 0 | 0 | 0 | 0.69502 | 0 | 0.69502 | 0.69502 | 0 | 0.69502 | -7.6118 | 0 | 0 | -7.6409 | -85.9926 | -85.9926
Line_2 | 0.0019866 | 0.0019866 | 0.0019866 | 0 | 0 | 0 | 0.022939 | 0.022939 | 0.022939 | 0 | 0 | 0 | 2.1005e-05 | -3.277e-14 | 3.4956e-14 | -9.3948e-10 | 1.8932e-12 | -2.0557e-12 | -0.027614 | 2.0316e-14 | 1.7709e-14 | -5.8695e-10 | 1.2783e-12 | 1.0016e-12 | 82.3446 | 82.3446 | 82.3446 | 0 | 0 | 0 | 0.69502 | 0 | 0.69502 | 0.69502 | 0 | 0.69502 | -7.6118 | 0 | 0 | -7.6409 | -85.9926 | -85.9926

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0028876 | 0.95703 | 0.81755 | 0.0021499 | 0.95704 | 0.81697 | 0.033343 | 11.0508 | 9.4403 | 0.024824 | 11.051 | 9.4335 | 0.001614 | 6.4849 | 4.1594 | -0.0010383 | -4.5725 | -3.333 | -0.033346 | 4.0426 | 4.9777 | 0.027522 | -4.5923 | -3.3255 | 87.2184 | -171.0928 | 58.4135 | -96.5121 | 8.9524 | -121.6201 | 0.91797 | 0.66111 | 0.79837 | 0.86718 | 0.57014 | 0.77804 | -0.010567 | -139.1542 | 108.5308 | -4.3516 | -125.9236 | 103.3157
Line_1 | 0.0010749 | 0.0010749 | 0.0010749 | 0 | 0 | 0 | 0.012412 | 0.012412 | 0.012412 | 0 | 0 | 0 | 0.00051914 | -0.0063406 | 0.0058276 | -4.5729e-10 | 8.7771e-10 | 8.3972e-10 | -0.013761 | 0.0035744 | 0.0021013 | -3.0989e-10 | -2.2119e-10 | -5.2487e-10 | 83.4879 | 83.4879 | 83.4879 | 0 | 0 | 0 | 0.86718 | 0.57014 | 0.77804 | 0.86718 | 0.57014 | 0.77804 | -4.3516 | -125.9236 | 103.3157 | -4.3687 | -125.9019 | 103.3212
Line_2 | 0.0010749 | 0.0010749 | 0.0010749 | 0 | 0 | 0 | 0.012412 | 0.012412 | 0.012412 | 0 | 0 | 0 | 0.00051914 | -0.0063406 | 0.0058276 | -4.5728e-10 | 8.7772e-10 | 8.3972e-10 | -0.013761 | 0.0035744 | 0.0021013 | -3.0988e-10 | -2.2119e-10 | -5.2487e-10 | 83.4879 | 83.4879 | 83.4879 | 0 | 0 | 0 | 0.86718 | 0.57014 | 0.77804 | 0.86718 | 0.57014 | 0.77804 | -4.3516 | -125.9236 | 103.3157 | -4.3687 | -125.9019 | 103.3212

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0028876 | 0.95703 | 0.81755 | 0.0021499 | 0.95704 | 0.81697 | 0.033343 | 11.0508 | 9.4403 | 0.024824 | 11.051 | 9.4335 | 0.001614 | 6.4849 | 4.1594 | -0.0010383 | -4.5725 | -3.333 | -0.033346 | 4.0426 | 4.9777 | 0.027522 | -4.5923 | -3.3255 | 87.2184 | -171.0928 | 58.4135 | -96.5121 | 8.9524 | -121.6201 | 0.91797 | 0.66111 | 0.79837 | 0.86718 | 0.57014 | 0.77804 | -0.010567 | -139.1542 | 108.5308 | -4.3516 | -125.9236 | 103.3157
Line_1 | 0.0010749 | 0.0010749 | 0.0010749 | 0 | 0 | 0 | 0.012412 | 0.012412 | 0.012412 | 0 | 0 | 0 | 0.00051914 | -0.0063406 | 0.0058276 | -4.5729e-10 | 8.7771e-10 | 8.3972e-10 | -0.013761 | 0.0035744 | 0.0021013 | -3.0989e-10 | -2.2119e-10 | -5.2487e-10 | 83.4879 | 83.4879 | 83.4879 | 0 | 0 | 0 | 0.86718 | 0.57014 | 0.77804 | 0.86718 | 0.57014 | 0.77804 | -4.3516 | -125.9236 | 103.3157 | -4.3687 | -125.9019 | 103.3212
Line_2 | 0.0010749 | 0.0010749 | 0.0010749 | 0 | 0 | 0 | 0.012412 | 0.012412 | 0.012412 | 0 | 0 | 0 | 0.00051914 | -0.0063406 | 0.0058276 | -4.5728e-10 | 8.7772e-10 | 8.3972e-10 | -0.013761 | 0.0035744 | 0.0021013 | -3.0988e-10 | -2.2119e-10 | -5.2487e-10 | 83.4879 | 83.4879 | 83.4879 | 0 | 0 | 0 | 0.86718 | 0.57014 | 0.77804 | 0.86718 | 0.57014 | 0.77804 | -4.3516 | -125.9236 | 103.3157 | -4.3687 | -125.9019 | 103.3212