## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.2085 | 2.2085 | 0 | 0 | 76.5048 | 76.5048 | 15.2178 | -7.6089 | 17.2663 | -8.6332 | -75.1106 | 104.8894 | 0.30084 | 0.15042 | -26.5021 | -26.5021
Line_1 | 2.2085 | 2.2085 | 0 | 4.5643 | 76.5048 | 76.5048 | 7.6089 | -1e-07 | 8.6332 | -1e-07 | -75.1106 | 104.8894 | 0.15042 | 0 | -26.5021 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15042 | 0.15042 | -26.5021 | -26.5021

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.2085 | 2.2085 | 0 | 0 | 76.5048 | 76.5048 | 15.2178 | -7.6089 | 17.2663 | -8.6332 | -75.1106 | 104.8894 | 0.30084 | 0.15042 | -26.5021 | -26.5021
Line_1 | 2.2085 | 2.2085 | 0 | 4.5643 | 76.5048 | 76.5048 | 7.6089 | -1e-07 | 8.6332 | -1e-07 | -75.1106 | 104.8894 | 0.15042 | 0 | -26.5021 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15042 | 0.15042 | -26.5021 | -26.5021

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0254 | 1.0254 | 0 | 0 | 35.5212 | 35.5212 | 19.0525 | -17.4122 | 19.4941 | -17.633 | -58.4694 | 121.5306 | 0.76738 | 0.69765 | -12.813 | -13.1084
Line_1 | 1.0254 | 1.0254 | 0 | 2.1192 | 35.5212 | 35.5212 | 17.4122 | -15.772 | 17.633 | -15.772 | -58.4694 | 121.5306 | 0.69765 | 0.62793 | -13.1084 | -13.4694
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.69765 | 0.69765 | -13.1084 | -13.1084

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0254 | 1.0254 | 0 | 0 | 35.5212 | 35.5212 | 19.0525 | -17.4122 | 19.4941 | -17.633 | -58.4694 | 121.5306 | 0.76738 | 0.69765 | -12.813 | -13.1084
Line_1 | 1.0254 | 1.0254 | 0 | 2.1192 | 35.5212 | 35.5212 | 17.4122 | -15.772 | 17.633 | -15.772 | -58.4694 | 121.5306 | 0.69765 | 0.62793 | -13.1084 | -13.4694
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.69765 | 0.69765 | -13.1084 | -13.1084

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7386 | 1.7386 | 0 | 0 | 60.2284 | 60.2284 | 18.1083 | -9.0542 | 10.701 | -5.3505 | -67.9403 | 112.0597 | 0.34923 | 0.17462 | -37.3595 | -37.3595
Line_1 | 1.7386 | 1.7386 | 0 | 3.2224 | 60.2284 | 60.2284 | 9.0542 | -1e-07 | 5.3505 | -1e-07 | -67.9403 | 112.0597 | 0.17462 | 0 | -37.3595 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17462 | 0.17462 | -37.3595 | -37.3595

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7386 | 1.7386 | 0 | 0 | 60.2284 | 60.2284 | 18.1083 | -9.0542 | 10.701 | -5.3505 | -67.9403 | 112.0597 | 0.34923 | 0.17462 | -37.3595 | -37.3595
Line_1 | 1.7386 | 1.7386 | 0 | 3.2224 | 60.2284 | 60.2284 | 9.0542 | -1e-07 | 5.3505 | -1e-07 | -67.9403 | 112.0597 | 0.17462 | 0 | -37.3595 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17462 | 0.17462 | -37.3595 | -37.3595

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.85923 | 0.85923 | 0 | 0 | 29.7644 | 29.7644 | 15.4965 | -13.2853 | 13.6875 | -12.3807 | -56.1059 | 123.8941 | 0.69465 | 0.61012 | -14.653 | -13.1242
Line_1 | 0.85923 | 0.85923 | 0 | 1.5925 | 29.7644 | 29.7644 | 13.2853 | -11.074 | 12.3807 | -11.074 | -56.1059 | 123.8941 | 0.61012 | 0.52617 | -13.1242 | -11.1059
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61012 | 0.61012 | -13.1242 | -13.1242

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.85923 | 0.85923 | 0 | 0 | 29.7644 | 29.7644 | 15.4965 | -13.2853 | 13.6875 | -12.3807 | -56.1059 | 123.8941 | 0.69465 | 0.61012 | -14.653 | -13.1242
Line_1 | 0.85923 | 0.85923 | 0 | 1.5925 | 29.7644 | 29.7644 | 13.2853 | -11.074 | 12.3807 | -11.074 | -56.1059 | 123.8941 | 0.61012 | 0.52617 | -13.1242 | -11.1059
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61012 | 0.61012 | -13.1242 | -13.1242

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.9126 | 1.9126 | 0 | 1.9126 | 1.9126 | 0 | 22.085 | 22.085 | 0 | 22.085 | 22.085 | -1.5632e-14 | 15.5434 | -7.9345 | 1.5632e-14 | -13.6411 | 9.8367 | 1.0421e-14 | 1.1954 | 7.4377 | -1.5632e-14 | 0.96288 | -5.2795 | 0 | -165.1106 | 14.8894 | 0 | 14.8894 | -165.1106 | 1.0286 | 0.30084 | 0.89568 | 0.98848 | 0.15042 | 0.92153 | 5.6227e-13 | -160.7127 | 151.7402 | 5.7206e-13 | -169.1482 | 166.6665
Line_1 | 0 | 1.9126 | 1.9126 | 0 | 1.9126 | 1.9126 | 0 | 22.085 | 22.085 | 0 | 22.085 | 22.085 | -2.0843e-14 | 13.6411 | -9.8367 | 1.0421e-14 | -11.7389 | 11.7389 | 5.2106e-15 | -0.96288 | 5.2795 | -1.0421e-14 | 3.1212 | -3.1212 | 0 | -165.1106 | 14.8894 | 0 | 14.8894 | -165.1106 | 0.98848 | 0.15042 | 0.92153 | 0.95263 | 0 | 0.95263 | 5.7206e-13 | -169.1482 | 166.6665 | 5.8688e-13 | 180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -2.2774e-10 | -4.6221e-10 | -1.0421e-14 | 2.2775e-10 | 4.6221e-10 | -1.0421e-14 | 1.8891e-09 | -1.483e-09 | 5.2106e-15 | -1.8891e-09 | 1.483e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.98848 | 0.15042 | 0.92153 | 0.98848 | 0.15042 | 0.92153 | 5.7206e-13 | -169.1482 | 166.6665 | 5.7454e-13 | -169.1482 | 166.6665

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.9126 | 1.9126 | 0 | 1.9126 | 1.9126 | 0 | 22.085 | 22.085 | 0 | 22.085 | 22.085 | -1.5632e-14 | 15.5434 | -7.9345 | 1.5632e-14 | -13.6411 | 9.8367 | 1.0421e-14 | 1.1954 | 7.4377 | -1.5632e-14 | 0.96288 | -5.2795 | 0 | -165.1106 | 14.8894 | 0 | 14.8894 | -165.1106 | 1.0286 | 0.30084 | 0.89568 | 0.98848 | 0.15042 | 0.92153 | 5.6227e-13 | -160.7127 | 151.7402 | 5.7206e-13 | -169.1482 | 166.6665
Line_1 | 0 | 1.9126 | 1.9126 | 0 | 1.9126 | 1.9126 | 0 | 22.085 | 22.085 | 0 | 22.085 | 22.085 | -2.0843e-14 | 13.6411 | -9.8367 | 1.0421e-14 | -11.7389 | 11.7389 | 5.2106e-15 | -0.96288 | 5.2795 | -1.0421e-14 | 3.1212 | -3.1212 | 0 | -165.1106 | 14.8894 | 0 | 14.8894 | -165.1106 | 0.98848 | 0.15042 | 0.92153 | 0.95263 | 0 | 0.95263 | 5.7206e-13 | -169.1482 | 166.6665 | 5.8688e-13 | 180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -2.2774e-10 | -4.6221e-10 | -1.0421e-14 | 2.2775e-10 | 4.6221e-10 | -1.0421e-14 | 1.8891e-09 | -1.483e-09 | 5.2106e-15 | -1.8891e-09 | 1.483e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.98848 | 0.15042 | 0.92153 | 0.98848 | 0.15042 | 0.92153 | 5.7206e-13 | -169.1482 | 166.6665 | 5.7454e-13 | -169.1482 | 166.6665

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.2241 | 1.2241 | 0 | 1.2241 | 1.2241 | 0 | 14.1342 | 14.1342 | 0 | 14.1342 | 14.1342 | -5.2106e-15 | 12.2748 | -1.6667 | -2.6053e-15 | -11.4957 | 2.4458 | -5.2106e-15 | 2.0728 | 8.9549 | 2.6053e-15 | -1.1888 | -8.0709 | 0 | -153.7273 | 26.2727 | 0 | 26.2727 | -153.7273 | 1.0887 | 0.62504 | 0.90828 | 1.0648 | 0.52888 | 0.90617 | 3.3991e-13 | -144.1425 | 126.8161 | 3.3587e-13 | -147.8233 | 133.1319
Line_1 | 0 | 1.2241 | 1.2241 | 0 | 1.2241 | 1.2241 | 0 | 14.1342 | 14.1342 | 0 | 14.1342 | 14.1342 | -1.5632e-14 | 11.4957 | -2.4458 | 7.816e-15 | -10.7166 | 3.225 | 2.6053e-15 | 1.1888 | 8.0709 | 4.6824e-29 | -0.30477 | -7.1868 | 0 | -153.7273 | 26.2727 | 0 | 26.2727 | -153.7273 | 1.0648 | 0.52888 | 0.90617 | 1.0424 | 0.43277 | 0.90662 | 3.3587e-13 | -147.8233 | 133.1319 | 3.4325e-13 | -152.0983 | 140.44
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -4.6519e-10 | -1.0383e-09 | -2.6053e-15 | 4.6521e-10 | 1.0383e-09 | -2.6053e-15 | 1.5393e-09 | -5.4674e-10 | 2.6053e-15 | -1.5393e-09 | 5.4675e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0648 | 0.52888 | 0.90617 | 1.0648 | 0.52888 | 0.90617 | 3.3587e-13 | -147.8233 | 133.1319 | 3.3641e-13 | -147.8233 | 133.1319

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.2241 | 1.2241 | 0 | 1.2241 | 1.2241 | 0 | 14.1342 | 14.1342 | 0 | 14.1342 | 14.1342 | -5.2106e-15 | 12.2748 | -1.6667 | -2.6053e-15 | -11.4957 | 2.4458 | -5.2106e-15 | 2.0728 | 8.9549 | 2.6053e-15 | -1.1888 | -8.0709 | 0 | -153.7273 | 26.2727 | 0 | 26.2727 | -153.7273 | 1.0887 | 0.62504 | 0.90828 | 1.0648 | 0.52888 | 0.90617 | 3.3991e-13 | -144.1425 | 126.8161 | 3.3587e-13 | -147.8233 | 133.1319
Line_1 | 0 | 1.2241 | 1.2241 | 0 | 1.2241 | 1.2241 | 0 | 14.1342 | 14.1342 | 0 | 14.1342 | 14.1342 | -1.5632e-14 | 11.4957 | -2.4458 | 7.816e-15 | -10.7166 | 3.225 | 2.6053e-15 | 1.1888 | 8.0709 | 4.6824e-29 | -0.30477 | -7.1868 | 0 | -153.7273 | 26.2727 | 0 | 26.2727 | -153.7273 | 1.0648 | 0.52888 | 0.90617 | 1.0424 | 0.43277 | 0.90662 | 3.3587e-13 | -147.8233 | 133.1319 | 3.4325e-13 | -152.0983 | 140.44
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -4.6519e-10 | -1.0383e-09 | -2.6053e-15 | 4.6521e-10 | 1.0383e-09 | -2.6053e-15 | 1.5393e-09 | -5.4674e-10 | 2.6053e-15 | -1.5393e-09 | 5.4675e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0648 | 0.52888 | 0.90617 | 1.0648 | 0.52888 | 0.90617 | 3.3587e-13 | -147.8233 | 133.1319 | 3.3641e-13 | -147.8233 | 133.1319

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | 4.737e-15 | 12.5839 | -3.5297 | -1.1842e-14 | -10.3204 | 5.7933 | 4.1474e-29 | -0.58968 | 5.9402 | -4.737e-15 | 1.9273 | -4.6026 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 0.98185 | 0.34923 | 0.77263 | 0.92162 | 0.17462 | 0.816 | 5.0165e-13 | -160.6232 | 142.7791 | 4.446e-13 | -168.5183 | 163.5938
Line_1 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | -4.737e-15 | 10.3204 | -5.7933 | 0 | -8.0568 | 8.0568 | -3.6758e-29 | -1.9273 | 4.6026 | 0 | 3.2649 | -3.2649 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 0.92162 | 0.17462 | 0.816 | 0.86603 | 0 | 0.86603 | 4.446e-13 | -168.5183 | 163.5938 | 4.5595e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -1.296e-10 | -4.6606e-10 | -3.6352e-29 | 1.296e-10 | 4.6607e-10 | -4.737e-15 | 1.6587e-09 | -1.076e-09 | 4.737e-15 | -1.6587e-09 | 1.076e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92162 | 0.17462 | 0.816 | 0.92162 | 0.17462 | 0.816 | 4.446e-13 | -168.5183 | 163.5938 | 4.3969e-13 | -168.5183 | 163.5938

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | 4.737e-15 | 12.5839 | -3.5297 | -1.1842e-14 | -10.3204 | 5.7933 | 4.1474e-29 | -0.58968 | 5.9402 | -4.737e-15 | 1.9273 | -4.6026 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 0.98185 | 0.34923 | 0.77263 | 0.92162 | 0.17462 | 0.816 | 5.0165e-13 | -160.6232 | 142.7791 | 4.446e-13 | -168.5183 | 163.5938
Line_1 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | -4.737e-15 | 10.3204 | -5.7933 | 0 | -8.0568 | 8.0568 | -3.6758e-29 | -1.9273 | 4.6026 | 0 | 3.2649 | -3.2649 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 0.92162 | 0.17462 | 0.816 | 0.86603 | 0 | 0.86603 | 4.446e-13 | -168.5183 | 163.5938 | 4.5595e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -1.296e-10 | -4.6606e-10 | -3.6352e-29 | 1.296e-10 | 4.6607e-10 | -4.737e-15 | 1.6587e-09 | -1.076e-09 | 4.737e-15 | -1.6587e-09 | 1.076e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92162 | 0.17462 | 0.816 | 0.92162 | 0.17462 | 0.816 | 4.446e-13 | -168.5183 | 163.5938 | 4.3969e-13 | -168.5183 | 163.5938

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | 2.9606e-15 | 9.5076 | -0.501 | -3.5527e-15 | -8.5078 | 1.5008 | 7.1054e-15 | 0.79768 | 6.573 | -9.4739e-15 | -0.20683 | -5.9821 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1.0063 | 0.58149 | 0.81017 | 0.96608 | 0.4671 | 0.82206 | 3.1626e-13 | -145.2178 | 124.345 | 2.8462e-13 | -148.6211 | 134.0705
Line_1 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | 2.3531e-29 | 8.5078 | -1.5008 | -1.1842e-15 | -7.5079 | 2.5007 | -4.737e-15 | 0.20683 | 5.9821 | 7.1054e-15 | 0.38403 | -5.3913 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 0.96608 | 0.4671 | 0.82206 | 0.92772 | 0.35381 | 0.83781 | 2.8462e-13 | -148.6211 | 134.0705 | 2.9375e-13 | -152.9418 | 144.8701
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | -3.8165e-10 | -8.5378e-10 | 3.5527e-15 | 3.8165e-10 | 8.5378e-10 | -2.3685e-15 | 1.2935e-09 | -4.7579e-10 | 2.3685e-15 | -1.2935e-09 | 4.7578e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.96608 | 0.4671 | 0.82206 | 0.96608 | 0.4671 | 0.82206 | 2.8462e-13 | -148.6211 | 134.0705 | 2.8195e-13 | -148.6211 | 134.0705

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | 2.9606e-15 | 9.5076 | -0.501 | -3.5527e-15 | -8.5078 | 1.5008 | 7.1054e-15 | 0.79768 | 6.573 | -9.4739e-15 | -0.20683 | -5.9821 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1.0063 | 0.58149 | 0.81017 | 0.96608 | 0.4671 | 0.82206 | 3.1626e-13 | -145.2178 | 124.345 | 2.8462e-13 | -148.6211 | 134.0705
Line_1 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | 2.3531e-29 | 8.5078 | -1.5008 | -1.1842e-15 | -7.5079 | 2.5007 | -4.737e-15 | 0.20683 | 5.9821 | 7.1054e-15 | 0.38403 | -5.3913 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 0.96608 | 0.4671 | 0.82206 | 0.92772 | 0.35381 | 0.83781 | 2.8462e-13 | -148.6211 | 134.0705 | 2.9375e-13 | -152.9418 | 144.8701
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | -3.8165e-10 | -8.5378e-10 | 3.5527e-15 | 3.8165e-10 | 8.5378e-10 | -2.3685e-15 | 1.2935e-09 | -4.7579e-10 | 2.3685e-15 | -1.2935e-09 | 4.7578e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.96608 | 0.4671 | 0.82206 | 0.96608 | 0.4671 | 0.82206 | 2.8462e-13 | -148.6211 | 134.0705 | 2.8195e-13 | -148.6211 | 134.0705

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7846 | 0.0055028 | 0.0055028 | 1.7833 | 0.0041042 | 0.0041042 | 20.6072 | 0.063541 | 0.063541 | 20.5921 | 0.047391 | 0.047391 | 10.0613 | 0.063362 | -0.05723 | -5.0153 | -0.043949 | 0.045249 | 5.616 | -0.029611 | -0.040277 | -2.8074 | 0.025436 | 0.039449 | -59.6439 | -95.0545 | -95.0545 | 120.375 | 81.072 | 81.072 | 0.71091 | 1.1 | 0.93064 | 0.66219 | 1.1 | 0.87748 | -30.4746 | -120.1031 | 120.0826 | -30.3862 | -128.989 | 122.1546
Line_1 | 1.7818 | 0.0022767 | 0.0022767 | 1.7802 | 0 | 0 | 20.5749 | 0.026289 | 0.026289 | 20.5555 | 0 | 0 | 5.0128 | 0.025104 | -0.023887 | 3.9665e-12 | -9.3951e-11 | -1.7564e-09 | 2.802 | -0.012778 | -0.023202 | 4.7101e-11 | -1.3388e-09 | 3.7893e-10 | -59.5907 | -102.0123 | -102.0123 | 120.4587 | 0 | 0 | 0.66219 | 1.1 | 0.87748 | 0.61756 | 1.1 | 0.82684 | -30.3862 | -128.989 | 122.1546 | 0 | -138.0784 | 123.7614
Line_2 | 0.0018349 | 0.0018349 | 0.0018349 | 0 | 0 | 0 | 0.021187 | 0.021187 | 0.021187 | 0 | 0 | 0 | 0.002526 | 0.018845 | -0.021362 | 6.8558e-10 | 5.9457e-11 | -7.7952e-10 | 0.005347 | -0.012658 | -0.016247 | -5.6822e-10 | -6.7617e-10 | 1.9179e-10 | -95.0999 | -95.0998 | -95.0998 | 0 | 0 | 0 | 0.66219 | 1.1 | 0.87748 | 0.66219 | 1.1 | 0.87748 | -30.3862 | -128.989 | 122.1546 | -30.3419 | -129.0029 | 122.1508

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7846 | 0.0055028 | 0.0055028 | 1.7833 | 0.0041042 | 0.0041042 | 20.6072 | 0.063541 | 0.063541 | 20.5921 | 0.047391 | 0.047391 | 10.0613 | 0.063362 | -0.05723 | -5.0153 | -0.043949 | 0.045249 | 5.616 | -0.029611 | -0.040277 | -2.8074 | 0.025436 | 0.039449 | -59.6439 | -95.0545 | -95.0545 | 120.375 | 81.072 | 81.072 | 0.71091 | 1.1 | 0.93064 | 0.66219 | 1.1 | 0.87748 | -30.4746 | -120.1031 | 120.0826 | -30.3862 | -128.989 | 122.1546
Line_1 | 1.7818 | 0.0022767 | 0.0022767 | 1.7802 | 0 | 0 | 20.5749 | 0.026289 | 0.026289 | 20.5555 | 0 | 0 | 5.0128 | 0.025104 | -0.023887 | 3.9665e-12 | -9.3951e-11 | -1.7564e-09 | 2.802 | -0.012778 | -0.023202 | 4.7101e-11 | -1.3388e-09 | 3.7893e-10 | -59.5907 | -102.0123 | -102.0123 | 120.4587 | 0 | 0 | 0.66219 | 1.1 | 0.87748 | 0.61756 | 1.1 | 0.82684 | -30.3862 | -128.989 | 122.1546 | 0 | -138.0784 | 123.7614
Line_2 | 0.0018349 | 0.0018349 | 0.0018349 | 0 | 0 | 0 | 0.021187 | 0.021187 | 0.021187 | 0 | 0 | 0 | 0.002526 | 0.018845 | -0.021362 | 6.8558e-10 | 5.9457e-11 | -7.7952e-10 | 0.005347 | -0.012658 | -0.016247 | -5.6822e-10 | -6.7617e-10 | 1.9179e-10 | -95.0999 | -95.0998 | -95.0998 | 0 | 0 | 0 | 0.66219 | 1.1 | 0.87748 | 0.66219 | 1.1 | 0.87748 | -30.3862 | -128.989 | 122.1546 | -30.3419 | -129.0029 | 122.1508

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.90361 | 0.0027862 | 0.0027862 | 0.90295 | 0.0020781 | 0.0020781 | 10.434 | 0.032173 | 0.032173 | 10.4264 | 0.023995 | 0.023995 | 6.6444 | 0.029949 | -0.031304 | -5.3491 | -0.022034 | 0.023663 | 5.5194 | -0.018884 | -0.016549 | -4.795 | 0.014233 | 0.015582 | -52.4062 | -87.8168 | -87.8168 | 127.6127 | 88.3097 | 88.3097 | 0.90185 | 1.1 | 1.022 | 0.87243 | 1.1 | 0.99358 | -12.6906 | -120.0495 | 120.0461 | -10.5141 | -124.5514 | 121.6743
Line_1 | 0.90219 | 0.0011528 | 0.0011528 | 0.90134 | 0 | 0 | 10.4176 | 0.013311 | 0.013311 | 10.4078 | 0 | 0 | 5.3475 | 0.01263 | -0.012642 | -4.0621 | -2.7002e-11 | -7.525e-10 | 4.7878 | -0.0072266 | -0.0093375 | -4.0621 | -6.9387e-10 | 2.7499e-10 | -52.3531 | -94.7746 | -94.7746 | 127.6964 | 0 | 0 | 0.87243 | 1.1 | 0.99358 | 0.84347 | 1.1 | 0.96565 | -10.5141 | -124.5514 | 121.6743 | -7.3036 | -129.0554 | 123.0991
Line_2 | 0.00092904 | 0.00092904 | 0.00092904 | 0 | 0 | 0 | 0.010728 | 0.010728 | 0.010728 | 0 | 0 | 0 | 0.0016189 | 0.0094041 | -0.011021 | 9.9188e-10 | 1.3655e-11 | -3.5239e-10 | 0.0072118 | -0.0070068 | -0.0062444 | -5.0651e-10 | -3.5041e-10 | 1.3907e-10 | -87.8622 | -87.8622 | -87.8622 | 0 | 0 | 0 | 0.87243 | 1.1 | 0.99358 | 0.87243 | 1.1 | 0.99358 | -10.5141 | -124.5514 | 121.6743 | -10.5031 | -124.5585 | 121.6732

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.90361 | 0.0027862 | 0.0027862 | 0.90295 | 0.0020781 | 0.0020781 | 10.434 | 0.032173 | 0.032173 | 10.4264 | 0.023995 | 0.023995 | 6.6444 | 0.029949 | -0.031304 | -5.3491 | -0.022034 | 0.023663 | 5.5194 | -0.018884 | -0.016549 | -4.795 | 0.014233 | 0.015582 | -52.4062 | -87.8168 | -87.8168 | 127.6127 | 88.3097 | 88.3097 | 0.90185 | 1.1 | 1.022 | 0.87243 | 1.1 | 0.99358 | -12.6906 | -120.0495 | 120.0461 | -10.5141 | -124.5514 | 121.6743
Line_1 | 0.90219 | 0.0011528 | 0.0011528 | 0.90134 | 0 | 0 | 10.4176 | 0.013311 | 0.013311 | 10.4078 | 0 | 0 | 5.3475 | 0.01263 | -0.012642 | -4.0621 | -2.7002e-11 | -7.525e-10 | 4.7878 | -0.0072266 | -0.0093375 | -4.0621 | -6.9387e-10 | 2.7499e-10 | -52.3531 | -94.7746 | -94.7746 | 127.6964 | 0 | 0 | 0.87243 | 1.1 | 0.99358 | 0.84347 | 1.1 | 0.96565 | -10.5141 | -124.5514 | 121.6743 | -7.3036 | -129.0554 | 123.0991
Line_2 | 0.00092904 | 0.00092904 | 0.00092904 | 0 | 0 | 0 | 0.010728 | 0.010728 | 0.010728 | 0 | 0 | 0 | 0.0016189 | 0.0094041 | -0.011021 | 9.9188e-10 | 1.3655e-11 | -3.5239e-10 | 0.0072118 | -0.0070068 | -0.0062444 | -5.0651e-10 | -3.5041e-10 | 1.3907e-10 | -87.8622 | -87.8622 | -87.8622 | 0 | 0 | 0 | 0.87243 | 1.1 | 0.99358 | 0.87243 | 1.1 | 0.99358 | -10.5141 | -124.5514 | 121.6743 | -10.5031 | -124.5585 | 121.6732

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2283 | 0.0052684 | 0.0052684 | 1.2273 | 0.0040837 | 0.0040837 | 14.183 | 0.060834 | 0.060834 | 14.1714 | 0.047154 | 0.047154 | 9.1511 | 0.05543 | -0.049418 | -4.5603 | -0.039444 | 0.040992 | 2.6486 | -0.025174 | -0.035636 | -1.3302 | 0.025402 | 0.039562 | -45.7222 | -95.698 | -95.698 | 134.3114 | 80.0157 | 80.0157 | 0.6989 | 1 | 0.93373 | 0.64709 | 1 | 0.87491 | -29.5804 | -120.1238 | 120.0979 | -29.4271 | -132.7656 | 123.9988
Line_1 | 1.2262 | 0.0023352 | 0.0023352 | 1.2249 | 0 | 0 | 14.1584 | 0.026965 | 0.026965 | 14.1439 | 0 | 0 | 4.5576 | 0.023322 | -0.022159 | 1.9687e-11 | -4.967e-10 | -2.2022e-09 | 1.324 | -0.013261 | -0.02388 | 1.0434e-11 | -1.5995e-09 | 6.1486e-10 | -45.6256 | -103.1419 | -103.1419 | 134.4665 | 0 | 0 | 0.64709 | 1 | 0.87491 | 0.59923 | 1 | 0.81803 | -29.4271 | -132.7656 | 123.9988 | 0 | -144.854 | 126.797
Line_2 | 0.0017567 | 0.0017567 | 0.0017567 | 0 | 0 | 0 | 0.020284 | 0.020284 | 0.020284 | 0 | 0 | 0 | 0.0027267 | 0.016122 | -0.018833 | 6.5909e-10 | -7.0738e-11 | -9.3535e-10 | 0.0062288 | -0.01214 | -0.015682 | -6.0187e-10 | -8.0729e-10 | 3.0809e-10 | -95.7852 | -95.7852 | -95.7852 | 0 | 0 | 0 | 0.64709 | 1 | 0.87491 | 0.64709 | 1 | 0.87491 | -29.4271 | -132.7656 | 123.9988 | -29.3501 | -132.7894 | 123.9865

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2283 | 0.0052684 | 0.0052684 | 1.2273 | 0.0040837 | 0.0040837 | 14.183 | 0.060834 | 0.060834 | 14.1714 | 0.047154 | 0.047154 | 9.1511 | 0.05543 | -0.049418 | -4.5603 | -0.039444 | 0.040992 | 2.6486 | -0.025174 | -0.035636 | -1.3302 | 0.025402 | 0.039562 | -45.7222 | -95.698 | -95.698 | 134.3114 | 80.0157 | 80.0157 | 0.6989 | 1 | 0.93373 | 0.64709 | 1 | 0.87491 | -29.5804 | -120.1238 | 120.0979 | -29.4271 | -132.7656 | 123.9988
Line_1 | 1.2262 | 0.0023352 | 0.0023352 | 1.2249 | 0 | 0 | 14.1584 | 0.026965 | 0.026965 | 14.1439 | 0 | 0 | 4.5576 | 0.023322 | -0.022159 | 1.9687e-11 | -4.967e-10 | -2.2022e-09 | 1.324 | -0.013261 | -0.02388 | 1.0434e-11 | -1.5995e-09 | 6.1486e-10 | -45.6256 | -103.1419 | -103.1419 | 134.4665 | 0 | 0 | 0.64709 | 1 | 0.87491 | 0.59923 | 1 | 0.81803 | -29.4271 | -132.7656 | 123.9988 | 0 | -144.854 | 126.797
Line_2 | 0.0017567 | 0.0017567 | 0.0017567 | 0 | 0 | 0 | 0.020284 | 0.020284 | 0.020284 | 0 | 0 | 0 | 0.0027267 | 0.016122 | -0.018833 | 6.5909e-10 | -7.0738e-11 | -9.3535e-10 | 0.0062288 | -0.01214 | -0.015682 | -6.0187e-10 | -8.0729e-10 | 3.0809e-10 | -95.7852 | -95.7852 | -95.7852 | 0 | 0 | 0 | 0.64709 | 1 | 0.87491 | 0.64709 | 1 | 0.87491 | -29.4271 | -132.7656 | 123.9988 | -29.3501 | -132.7894 | 123.9865

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.70184 | 0.0030104 | 0.0030104 | 0.70127 | 0.0023334 | 0.0023334 | 8.1042 | 0.034761 | 0.034761 | 8.0976 | 0.026944 | 0.026944 | 5.4359 | 0.031619 | -0.028315 | -3.9364 | -0.023692 | 0.022301 | 3.329 | -0.014477 | -0.020216 | -2.8951 | 0.012347 | 0.020255 | -45.4935 | -95.4694 | -95.4694 | 134.5401 | 80.2443 | 80.2443 | 0.82762 | 1 | 0.95138 | 0.79833 | 1 | 0.91481 | -14.0099 | -120.0707 | 120.0562 | -9.127 | -127.2822 | 122.4916
Line_1 | 0.70063 | 0.0013344 | 0.0013344 | 0.69991 | 0 | 0 | 8.0902 | 0.015408 | 0.015408 | 8.0819 | 0 | 0 | 3.936 | 0.013917 | -0.012096 | -2.4494 | -1.1353e-10 | -1.083e-09 | 2.8881 | -0.0063038 | -0.012268 | -2.4494 | -9.1446e-10 | 3.5473e-10 | -45.397 | -102.9132 | -102.9132 | 134.6952 | 0 | 0 | 0.79833 | 1 | 0.91481 | 0.77007 | 1 | 0.87859 | -9.127 | -127.2822 | 122.4916 | -0.30484 | -134.4516 | 124.4896
Line_2 | 0.0010038 | 0.0010038 | 0.0010038 | 0 | 0 | 0 | 0.011591 | 0.011591 | 0.011591 | 0 | 0 | 0 | 0.00043558 | 0.0097755 | -0.010206 | 8.4966e-10 | 2.0872e-12 | -4.8942e-10 | 0.0069807 | -0.0060435 | -0.0079874 | -3.4983e-10 | -4.6154e-10 | 1.7776e-10 | -95.5565 | -95.5565 | -95.5565 | 0 | 0 | 0 | 0.79833 | 1 | 0.91481 | 0.79833 | 1 | 0.91481 | -9.127 | -127.2822 | 122.4916 | -9.0982 | -127.2947 | 122.4845

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.70184 | 0.0030104 | 0.0030104 | 0.70127 | 0.0023334 | 0.0023334 | 8.1042 | 0.034761 | 0.034761 | 8.0976 | 0.026944 | 0.026944 | 5.4359 | 0.031619 | -0.028315 | -3.9364 | -0.023692 | 0.022301 | 3.329 | -0.014477 | -0.020216 | -2.8951 | 0.012347 | 0.020255 | -45.4935 | -95.4694 | -95.4694 | 134.5401 | 80.2443 | 80.2443 | 0.82762 | 1 | 0.95138 | 0.79833 | 1 | 0.91481 | -14.0099 | -120.0707 | 120.0562 | -9.127 | -127.2822 | 122.4916
Line_1 | 0.70063 | 0.0013344 | 0.0013344 | 0.69991 | 0 | 0 | 8.0902 | 0.015408 | 0.015408 | 8.0819 | 0 | 0 | 3.936 | 0.013917 | -0.012096 | -2.4494 | -1.1353e-10 | -1.083e-09 | 2.8881 | -0.0063038 | -0.012268 | -2.4494 | -9.1446e-10 | 3.5473e-10 | -45.397 | -102.9132 | -102.9132 | 134.6952 | 0 | 0 | 0.79833 | 1 | 0.91481 | 0.77007 | 1 | 0.87859 | -9.127 | -127.2822 | 122.4916 | -0.30484 | -134.4516 | 124.4896
Line_2 | 0.0010038 | 0.0010038 | 0.0010038 | 0 | 0 | 0 | 0.011591 | 0.011591 | 0.011591 | 0 | 0 | 0 | 0.00043558 | 0.0097755 | -0.010206 | 8.4966e-10 | 2.0872e-12 | -4.8942e-10 | 0.0069807 | -0.0060435 | -0.0079874 | -3.4983e-10 | -4.6154e-10 | 1.7776e-10 | -95.5565 | -95.5565 | -95.5565 | 0 | 0 | 0 | 0.79833 | 1 | 0.91481 | 0.79833 | 1 | 0.91481 | -9.127 | -127.2822 | 122.4916 | -9.0982 | -127.2947 | 122.4845

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0044288 | 2.3146 | 1.7308 | 0.0033031 | 2.3143 | 1.7303 | 0.05114 | 26.7268 | 19.985 | 0.038141 | 26.7228 | 19.9803 | -0.004885 | 11.7139 | 1.3536 | 0.0038463 | -5.8503 | -0.67209 | -0.056128 | 2.3641 | 8.7066 | 0.046283 | -1.1911 | -4.3427 | 94.973 | 178.5694 | 36.963 | -88.9005 | -1.4034 | -143.0727 | 0.89142 | 0.30084 | 0.78868 | 0.82887 | 0.15042 | 0.77742 | -0.0011299 | -170.0204 | 118.1263 | -3.6511 | -169.8955 | 118.1298
Line_1 | 0.0018323 | 2.3141 | 1.7296 | 0 | 2.3141 | 1.7284 | 0.021158 | 26.7209 | 19.9713 | 0 | 26.7212 | 19.958 | -0.0007491 | 5.8506 | 0.66864 | -1.1986e-09 | -1.5456e-11 | -2.0209e-11 | -0.025752 | 1.1873 | 4.3412 | -6.2175e-10 | 3.0573e-11 | 1.6684e-11 | 88.0151 | 178.633 | 36.8858 | 0 | -1.3217 | -143.1615 | 0.82887 | 0.15042 | 0.77742 | 0.77199 | 0 | 0.77199 | -3.6511 | -169.8955 | 118.1298 | -6.62 | 0 | 0
Line_2 | 0.0014767 | 0.0014767 | 0.0014767 | 0 | 0 | 0 | 0.017052 | 0.017052 | 0.017052 | 0 | 0 | 0 | -0.0030972 | -0.00034375 | 0.003447 | -5.3594e-10 | 3.9814e-10 | 7.0862e-10 | -0.020531 | 0.0037941 | 0.0014775 | -3.1365e-10 | -6.8838e-10 | -2.889e-11 | 94.9276 | 94.9276 | 94.9276 | 0 | 0 | 0 | 0.82887 | 0.15042 | 0.77742 | 0.82887 | 0.15042 | 0.77742 | -3.6511 | -169.8955 | 118.1298 | -3.6614 | -169.8329 | 118.1315

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0044288 | 2.3146 | 1.7308 | 0.0033031 | 2.3143 | 1.7303 | 0.05114 | 26.7268 | 19.985 | 0.038141 | 26.7228 | 19.9803 | -0.004885 | 11.7139 | 1.3536 | 0.0038463 | -5.8503 | -0.67209 | -0.056128 | 2.3641 | 8.7066 | 0.046283 | -1.1911 | -4.3427 | 94.973 | 178.5694 | 36.963 | -88.9005 | -1.4034 | -143.0727 | 0.89142 | 0.30084 | 0.78868 | 0.82887 | 0.15042 | 0.77742 | -0.0011299 | -170.0204 | 118.1263 | -3.6511 | -169.8955 | 118.1298
Line_1 | 0.0018323 | 2.3141 | 1.7296 | 0 | 2.3141 | 1.7284 | 0.021158 | 26.7209 | 19.9713 | 0 | 26.7212 | 19.958 | -0.0007491 | 5.8506 | 0.66864 | -1.1986e-09 | -1.5456e-11 | -2.0209e-11 | -0.025752 | 1.1873 | 4.3412 | -6.2175e-10 | 3.0573e-11 | 1.6684e-11 | 88.0151 | 178.633 | 36.8858 | 0 | -1.3217 | -143.1615 | 0.82887 | 0.15042 | 0.77742 | 0.77199 | 0 | 0.77199 | -3.6511 | -169.8955 | 118.1298 | -6.62 | 0 | 0
Line_2 | 0.0014767 | 0.0014767 | 0.0014767 | 0 | 0 | 0 | 0.017052 | 0.017052 | 0.017052 | 0 | 0 | 0 | -0.0030972 | -0.00034375 | 0.003447 | -5.3594e-10 | 3.9814e-10 | 7.0862e-10 | -0.020531 | 0.0037941 | 0.0014775 | -3.1365e-10 | -6.8838e-10 | -2.889e-11 | 94.9276 | 94.9276 | 94.9276 | 0 | 0 | 0 | 0.82887 | 0.15042 | 0.77742 | 0.82887 | 0.15042 | 0.77742 | -3.6511 | -169.8955 | 118.1298 | -3.6614 | -169.8329 | 118.1315

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024656 | 1.0402 | 0.90357 | 0.0018389 | 1.0401 | 0.90316 | 0.028471 | 12.0116 | 10.4335 | 0.021234 | 12.0104 | 10.4288 | -0.0038061 | 7.8925 | 4.9184 | 0.0022066 | -6.6469 | -4.4932 | -0.031113 | 5.489 | 6.6178 | 0.024667 | -5.455 | -5.3396 | 96.9756 | -170.7135 | 57.3676 | -86.8978 | 9.3215 | -122.664 | 1.0195 | 0.76738 | 0.90425 | 0.98834 | 0.69765 | 0.87998 | 0.0010795 | -135.8962 | 110.7475 | -2.0097 | -131.3034 | 107.2563
Line_1 | 0.0010201 | 1.0402 | 0.90253 | 0 | 1.0403 | 0.90167 | 0.011779 | 12.0108 | 10.4215 | 0 | 12.0127 | 10.4116 | -0.00048605 | 6.6514 | 4.4869 | -6.1043e-10 | -5.4115 | -4.065 | -0.01373 | 5.4499 | 5.3385 | -3.2801e-10 | -5.4115 | -4.065 | 90.0178 | -170.6333 | 57.3027 | 0 | 9.4222 | -122.7323 | 0.98834 | 0.69765 | 0.87998 | 0.95792 | 0.62793 | 0.85648 | -2.0097 | -131.3034 | 107.2563 | -3.7829 | -125.5778 | 102.2677
Line_2 | 0.00082214 | 0.00082214 | 0.00082214 | 0 | 0 | 0 | 0.0094932 | 0.0094932 | 0.0094932 | 0 | 0 | 0 | -0.0017206 | -0.0045272 | 0.0062496 | -2.8681e-10 | 9.5224e-10 | 9.9073e-10 | -0.010938 | 0.0050693 | 0.0011387 | -1.6546e-10 | -5.6551e-10 | -5.9535e-10 | 96.9303 | 96.9303 | 96.9303 | 0 | 0 | 0 | 0.98834 | 0.69765 | 0.87998 | 0.98834 | 0.69765 | 0.87998 | -2.0097 | -131.3034 | 107.2563 | -2.0157 | -131.2927 | 107.2539

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024656 | 1.0402 | 0.90357 | 0.0018389 | 1.0401 | 0.90316 | 0.028471 | 12.0116 | 10.4335 | 0.021234 | 12.0104 | 10.4288 | -0.0038061 | 7.8925 | 4.9184 | 0.0022066 | -6.6469 | -4.4932 | -0.031113 | 5.489 | 6.6178 | 0.024667 | -5.455 | -5.3396 | 96.9756 | -170.7135 | 57.3676 | -86.8978 | 9.3215 | -122.664 | 1.0195 | 0.76738 | 0.90425 | 0.98834 | 0.69765 | 0.87998 | 0.0010795 | -135.8962 | 110.7475 | -2.0097 | -131.3034 | 107.2563
Line_1 | 0.0010201 | 1.0402 | 0.90253 | 0 | 1.0403 | 0.90167 | 0.011779 | 12.0108 | 10.4215 | 0 | 12.0127 | 10.4116 | -0.00048605 | 6.6514 | 4.4869 | -6.1043e-10 | -5.4115 | -4.065 | -0.01373 | 5.4499 | 5.3385 | -3.2801e-10 | -5.4115 | -4.065 | 90.0178 | -170.6333 | 57.3027 | 0 | 9.4222 | -122.7323 | 0.98834 | 0.69765 | 0.87998 | 0.95792 | 0.62793 | 0.85648 | -2.0097 | -131.3034 | 107.2563 | -3.7829 | -125.5778 | 102.2677
Line_2 | 0.00082214 | 0.00082214 | 0.00082214 | 0 | 0 | 0 | 0.0094932 | 0.0094932 | 0.0094932 | 0 | 0 | 0 | -0.0017206 | -0.0045272 | 0.0062496 | -2.8681e-10 | 9.5224e-10 | 9.9073e-10 | -0.010938 | 0.0050693 | 0.0011387 | -1.6546e-10 | -5.6551e-10 | -5.9535e-10 | 96.9303 | 96.9303 | 96.9303 | 0 | 0 | 0 | 0.98834 | 0.69765 | 0.87998 | 0.98834 | 0.69765 | 0.87998 | -2.0097 | -131.3034 | 107.2563 | -2.0157 | -131.2927 | 107.2539

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0038311 | 1.7911 | 1.3143 | 0.0029696 | 1.7909 | 1.314 | 0.044238 | 20.6816 | 15.1766 | 0.03429 | 20.6799 | 15.1732 | -0.004296 | 11.6967 | 1.4119 | 0.0033351 | -5.8458 | -0.69929 | -0.044103 | -0.11628 | 6.4112 | 0.039179 | 0.044578 | -3.194 | 95.5633 | -170.0041 | 38.6073 | -88.7229 | 10.0242 | -141.4298 | 0.90203 | 0.34923 | 0.72408 | 0.82181 | 0.17462 | 0.73191 | -0.00024388 | -170.5736 | 116.1876 | -3.5885 | -170.4127 | 116.2209
Line_1 | 0.0016982 | 1.791 | 1.3133 | 0 | 1.7914 | 1.3122 | 0.019609 | 20.681 | 15.1652 | 0 | 20.6851 | 15.1525 | -0.00067018 | 5.8461 | 0.69632 | -1.4272e-09 | -2.6133e-11 | -1.2611e-11 | -0.022476 | -0.048737 | 3.1929 | -5.2069e-10 | -1.1398e-11 | -1.7205e-11 | 88.1195 | -169.935 | 38.5235 | 0 | 10.1181 | -141.5329 | 0.82181 | 0.17462 | 0.73191 | 0.74745 | 0 | 0.74745 | -3.5885 | -170.4127 | 116.2209 | -6.2976 | 0 | 0
Line_2 | 0.0012774 | 0.0012774 | 0.0012774 | 0 | 0 | 0 | 0.014751 | 0.014751 | 0.014751 | 0 | 0 | 0 | -0.0026649 | -0.00029894 | 0.0029725 | -6.2591e-10 | 3.6862e-10 | 6.1734e-10 | -0.016704 | 0.0041591 | 0.0011259 | -2.6456e-10 | -7.9772e-10 | -5.1748e-11 | 95.4762 | 95.4762 | 95.4762 | 0 | 0 | 0 | 0.82181 | 0.17462 | 0.73191 | 0.82181 | 0.17462 | 0.73191 | -3.5885 | -170.4127 | 116.2209 | -3.6072 | -170.3321 | 116.2378

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0038311 | 1.7911 | 1.3143 | 0.0029696 | 1.7909 | 1.314 | 0.044238 | 20.6816 | 15.1766 | 0.03429 | 20.6799 | 15.1732 | -0.004296 | 11.6967 | 1.4119 | 0.0033351 | -5.8458 | -0.69929 | -0.044103 | -0.11628 | 6.4112 | 0.039179 | 0.044578 | -3.194 | 95.5633 | -170.0041 | 38.6073 | -88.7229 | 10.0242 | -141.4298 | 0.90203 | 0.34923 | 0.72408 | 0.82181 | 0.17462 | 0.73191 | -0.00024388 | -170.5736 | 116.1876 | -3.5885 | -170.4127 | 116.2209
Line_1 | 0.0016982 | 1.791 | 1.3133 | 0 | 1.7914 | 1.3122 | 0.019609 | 20.681 | 15.1652 | 0 | 20.6851 | 15.1525 | -0.00067018 | 5.8461 | 0.69632 | -1.4272e-09 | -2.6133e-11 | -1.2611e-11 | -0.022476 | -0.048737 | 3.1929 | -5.2069e-10 | -1.1398e-11 | -1.7205e-11 | 88.1195 | -169.935 | 38.5235 | 0 | 10.1181 | -141.5329 | 0.82181 | 0.17462 | 0.73191 | 0.74745 | 0 | 0.74745 | -3.5885 | -170.4127 | 116.2209 | -6.2976 | 0 | 0
Line_2 | 0.0012774 | 0.0012774 | 0.0012774 | 0 | 0 | 0 | 0.014751 | 0.014751 | 0.014751 | 0 | 0 | 0 | -0.0026649 | -0.00029894 | 0.0029725 | -6.2591e-10 | 3.6862e-10 | 6.1734e-10 | -0.016704 | 0.0041591 | 0.0011259 | -2.6456e-10 | -7.9772e-10 | -5.1748e-11 | 95.4762 | 95.4762 | 95.4762 | 0 | 0 | 0 | 0.82181 | 0.17462 | 0.73191 | 0.82181 | 0.17462 | 0.73191 | -3.5885 | -170.4127 | 116.2209 | -3.6072 | -170.3321 | 116.2378

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024889 | 0.87739 | 0.71196 | 0.0019292 | 0.87738 | 0.71158 | 0.028739 | 10.1312 | 8.221 | 0.022277 | 10.1311 | 8.2166 | -0.00089639 | 6.8402 | 3.4555 | 0.00011138 | -5.3431 | -2.9871 | -0.028756 | 3.2741 | 4.8156 | 0.024322 | -3.5698 | -3.6656 | 91.7812 | -164.5235 | 56.8083 | -92.5051 | 15.5146 | -123.2273 | 0.94736 | 0.69465 | 0.82518 | 0.90307 | 0.61012 | 0.80842 | -0.0042269 | -138.9452 | 111.1459 | -2.7674 | -130.7377 | 107.5964
Line_1 | 0.0011032 | 0.87758 | 0.7109 | 0 | 0.87798 | 0.70992 | 0.012739 | 10.1334 | 8.2087 | 0 | 10.138 | 8.1974 | 0.00070253 | 5.3476 | 2.9818 | -8.179e-10 | -3.8542 | -2.5199 | -0.013891 | 3.5657 | 3.6641 | -3.826e-10 | -3.8542 | -2.5199 | 84.3374 | -164.4328 | 56.7344 | 0 | 15.6344 | -123.3069 | 0.90307 | 0.61012 | 0.80842 | 0.85952 | 0.52617 | 0.79344 | -2.7674 | -130.7377 | 107.5964 | -5.0542 | -119.3656 | 101.6931
Line_2 | 0.0008299 | 0.0008299 | 0.0008299 | 0 | 0 | 0 | 0.0095828 | 0.0095828 | 0.0095828 | 0 | 0 | 0 | -0.00081391 | -0.0044862 | 0.0053038 | -3.7274e-10 | 8.0982e-10 | 8.467e-10 | -0.010431 | 0.004101 | 0.0015111 | -1.9422e-10 | -4.3265e-10 | -4.5298e-10 | 91.6941 | 91.6941 | 91.6941 | 0 | 0 | 0 | 0.90307 | 0.61012 | 0.80842 | 0.90307 | 0.61012 | 0.80842 | -2.7674 | -130.7377 | 107.5964 | -2.7806 | -130.7186 | 107.5983

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024889 | 0.87739 | 0.71196 | 0.0019292 | 0.87738 | 0.71158 | 0.028739 | 10.1312 | 8.221 | 0.022277 | 10.1311 | 8.2166 | -0.00089639 | 6.8402 | 3.4555 | 0.00011138 | -5.3431 | -2.9871 | -0.028756 | 3.2741 | 4.8156 | 0.024322 | -3.5698 | -3.6656 | 91.7812 | -164.5235 | 56.8083 | -92.5051 | 15.5146 | -123.2273 | 0.94736 | 0.69465 | 0.82518 | 0.90307 | 0.61012 | 0.80842 | -0.0042269 | -138.9452 | 111.1459 | -2.7674 | -130.7377 | 107.5964
Line_1 | 0.0011032 | 0.87758 | 0.7109 | 0 | 0.87798 | 0.70992 | 0.012739 | 10.1334 | 8.2087 | 0 | 10.138 | 8.1974 | 0.00070253 | 5.3476 | 2.9818 | -8.179e-10 | -3.8542 | -2.5199 | -0.013891 | 3.5657 | 3.6641 | -3.826e-10 | -3.8542 | -2.5199 | 84.3374 | -164.4328 | 56.7344 | 0 | 15.6344 | -123.3069 | 0.90307 | 0.61012 | 0.80842 | 0.85952 | 0.52617 | 0.79344 | -2.7674 | -130.7377 | 107.5964 | -5.0542 | -119.3656 | 101.6931
Line_2 | 0.0008299 | 0.0008299 | 0.0008299 | 0 | 0 | 0 | 0.0095828 | 0.0095828 | 0.0095828 | 0 | 0 | 0 | -0.00081391 | -0.0044862 | 0.0053038 | -3.7274e-10 | 8.0982e-10 | 8.467e-10 | -0.010431 | 0.004101 | 0.0015111 | -1.9422e-10 | -4.3265e-10 | -4.5298e-10 | 91.6941 | 91.6941 | 91.6941 | 0 | 0 | 0 | 0.90307 | 0.61012 | 0.80842 | 0.90307 | 0.61012 | 0.80842 | -2.7674 | -130.7377 | 107.5964 | -2.7806 | -130.7186 | 107.5983