## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | 1.0421e-14 | 30.1766 | -15.8685 | 0 | -23.0225 | 23.0225 | 2.0843e-14 | 3.131 | 13.1032 | 0 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | -1.3971e-11 | -161.8563 | 152.6723 | -1.3972e-11 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0843e-14 | -7.8159e-15 | 4.554e-20 | -2.0843e-14 | 3.0636e-22 | -1.5632e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -1.397e-11 | -180 | 180 | -1.3972e-11 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -7.8159e-15 | -1.0421e-14 | 1.5632e-14 | 1.0421e-14 | -1.5632e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -1.3965e-11 | -180 | 180 | -1.3972e-11 | 180 | -180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | 1.0421e-14 | 30.1766 | -15.8685 | 0 | -23.0225 | 23.0225 | 2.0843e-14 | 3.131 | 13.1032 | 0 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | -1.3971e-11 | -161.8563 | 152.6723 | -1.3972e-11 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0843e-14 | -7.8159e-15 | 4.554e-20 | -2.0843e-14 | 3.0636e-22 | -1.5632e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -1.397e-11 | -180 | 180 | -1.3972e-11 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -7.8159e-15 | -1.0421e-14 | 1.5632e-14 | 1.0421e-14 | -1.5632e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -1.3965e-11 | -180 | 180 | -1.3972e-11 | 180 | -180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | 2.6053e-15 | 19.0761 | -0.30087 | -2.6053e-15 | -17.4596 | 1.9173 | -2.6053e-15 | 3.9919 | 15.2185 | 5.2106e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | -6.004e-12 | -138.0936 | 121.2196 | -6.008e-12 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.7341e-10 | 1.0337e-09 | 2.7319e-28 | -4.7339e-10 | -1.0337e-09 | 2.6053e-15 | -1.3544e-09 | 3.8387e-10 | 2.6053e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | -6.0089e-12 | -142.8673 | 128.239 | -6.008e-12 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.734e-10 | 1.0337e-09 | 2.7319e-28 | -4.7338e-10 | -1.0337e-09 | 2.6053e-15 | -1.3544e-09 | 3.8385e-10 | 2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | -6.0051e-12 | -142.8673 | 128.239 | -6.008e-12 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | 2.6053e-15 | 19.0761 | -0.30087 | -2.6053e-15 | -17.4596 | 1.9173 | -2.6053e-15 | 3.9919 | 15.2185 | 5.2106e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | -6.004e-12 | -138.0936 | 121.2196 | -6.008e-12 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.7341e-10 | 1.0337e-09 | 2.7319e-28 | -4.7339e-10 | -1.0337e-09 | 2.6053e-15 | -1.3544e-09 | 3.8387e-10 | 2.6053e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | -6.0089e-12 | -142.8673 | 128.239 | -6.008e-12 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.734e-10 | 1.0337e-09 | 2.7319e-28 | -4.7338e-10 | -1.0337e-09 | 2.6053e-15 | -1.3544e-09 | 3.8385e-10 | 2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | -6.0051e-12 | -142.8673 | 128.239 | -6.008e-12 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -2.8422e-14 | 26.5997 | -7.1734 | 2.6053e-14 | -16.8865 | 16.8865 | 1.4211e-14 | -0.51586 | 11.9957 | -1.4211e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 4.1934e-12 | -160.7833 | 141.207 | 4.2148e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -2.3684e-15 | -2.3684e-15 | -2.3685e-15 | 7.1054e-15 | 4.7369e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.2163e-12 | -180 | 180 | 4.2148e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.9276e-28 | 2.3686e-15 | 2.3686e-15 | -2.3685e-15 | 2.3685e-15 | 4.7369e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.1897e-12 | -180 | 180 | 4.2148e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -2.8422e-14 | 26.5997 | -7.1734 | 2.6053e-14 | -16.8865 | 16.8865 | 1.4211e-14 | -0.51586 | 11.9957 | -1.4211e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 4.1934e-12 | -160.7833 | 141.207 | 4.2148e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -2.3684e-15 | -2.3684e-15 | -2.3685e-15 | 7.1054e-15 | 4.7369e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.2163e-12 | -180 | 180 | 4.2148e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.9276e-28 | 2.3686e-15 | 2.3686e-15 | -2.3685e-15 | 2.3685e-15 | 4.7369e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.1897e-12 | -180 | 180 | 4.2148e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -1.3619e-14 | 15.3932 | 0.73601 | 1.3619e-14 | -13.0917 | 1.5655 | 4.737e-15 | 2.3135 | 11.9328 | -7.1054e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 1.256e-12 | -138.1765 | 119.7467 | 1.2675e-12 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-16 | 4.7979e-10 | 8.2616e-10 | 1.0479e-28 | -4.7979e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -4.737e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.2702e-12 | -142.5584 | 131.6989 | 1.2675e-12 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 4.798e-10 | 8.2616e-10 | 1.1842e-15 | -4.798e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5326e-10 | -4.737e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.2557e-12 | -142.5584 | 131.6989 | 1.2675e-12 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -1.3619e-14 | 15.3932 | 0.73601 | 1.3619e-14 | -13.0917 | 1.5655 | 4.737e-15 | 2.3135 | 11.9328 | -7.1054e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 1.256e-12 | -138.1765 | 119.7467 | 1.2675e-12 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-16 | 4.7979e-10 | 8.2616e-10 | 1.0479e-28 | -4.7979e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -4.737e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.2702e-12 | -142.5584 | 131.6989 | 1.2675e-12 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 4.798e-10 | 8.2616e-10 | 1.1842e-15 | -4.798e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5326e-10 | -4.737e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.2557e-12 | -142.5584 | 131.6989 | 1.2675e-12 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016417 | 0.016417 | 0.016417 | 0.021888 | 0.010946 | 0.010946 | 0.18956 | 0.18957 | 0.18957 | 0.25274 | 0.12639 | 0.12639 | 2.0844e-05 | 0.18089 | -0.18029 | 1.7357e-14 | -0.12049 | 0.12032 | 0.00014573 | -0.31396 | -0.31439 | -1.0469e-13 | 0.20941 | 0.20977 | 89.8763 | -90.0697 | -90.0697 | -90.1027 | 89.9151 | 89.9151 |  | 0.00077658 | 1.9114 | 1.9118 | 0 | 1.9115 | 1.9133 | 171.7364 | -150.121 | 150.0987 | 0 | -150.1702 | 150.0767
Line_1 | 0 | 0 | 0 | 0.0054729 | 0.0054729 | 0.0054729 | 0 | 0 | 0 | 0.063196 | 0.063196 | 0.063196 | -1.4019e-12 | -6.7326e-09 | -6.7512e-09 | 4.3319e-15 | 0.060243 | -0.06016 | 3.535e-12 | -3.8776e-09 | 3.8669e-09 | -2.6178e-14 | -0.1047 | -0.10488 | 0 | 0 | 0 | -90.0849 | -90.0849 | -90.0849 |  | 0.00094255 | 1.9114 | 1.914 | 0 | 1.9115 | 1.9133 | 111.5868 | -150.1981 | 150.0591 | 0 | -150.1702 | 150.0767
Line_2 | 0 | 0 | 0 | 0.0054729 | 0.0054729 | 0.0054729 | 0 | 0 | 0 | 0.063196 | 0.063196 | 0.063196 | -1.4019e-12 | -6.7326e-09 | -6.7512e-09 | 4.3319e-15 | 0.060243 | -0.06016 | 3.535e-12 | -3.8776e-09 | 3.8669e-09 | -2.6178e-14 | -0.1047 | -0.10488 | 0 | 0 | 0 | -90.0849 | -90.0849 | -90.0849 |  | 0.00094255 | 1.9114 | 1.914 | 0 | 1.9115 | 1.9133 | 111.5868 | -150.1981 | 150.0591 | 0 | -150.1702 | 150.0767

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016417 | 0.016417 | 0.016417 | 0.021888 | 0.010946 | 0.010946 | 0.18956 | 0.18957 | 0.18957 | 0.25274 | 0.12639 | 0.12639 | 2.0844e-05 | 0.18089 | -0.18029 | 1.7357e-14 | -0.12049 | 0.12032 | 0.00014573 | -0.31396 | -0.31439 | -1.0469e-13 | 0.20941 | 0.20977 | 89.8763 | -90.0697 | -90.0697 | -90.1027 | 89.9151 | 89.9151 |  | 0.00077658 | 1.9114 | 1.9118 | 0 | 1.9115 | 1.9133 | 171.7364 | -150.121 | 150.0987 | 0 | -150.1702 | 150.0767
Line_1 | 0 | 0 | 0 | 0.0054729 | 0.0054729 | 0.0054729 | 0 | 0 | 0 | 0.063196 | 0.063196 | 0.063196 | -1.4019e-12 | -6.7326e-09 | -6.7512e-09 | 4.3319e-15 | 0.060243 | -0.06016 | 3.535e-12 | -3.8776e-09 | 3.8669e-09 | -2.6178e-14 | -0.1047 | -0.10488 | 0 | 0 | 0 | -90.0849 | -90.0849 | -90.0849 |  | 0.00094255 | 1.9114 | 1.914 | 0 | 1.9115 | 1.9133 | 111.5868 | -150.1981 | 150.0591 | 0 | -150.1702 | 150.0767
Line_2 | 0 | 0 | 0 | 0.0054729 | 0.0054729 | 0.0054729 | 0 | 0 | 0 | 0.063196 | 0.063196 | 0.063196 | -1.4019e-12 | -6.7326e-09 | -6.7512e-09 | 4.3319e-15 | 0.060243 | -0.06016 | 3.535e-12 | -3.8776e-09 | 3.8669e-09 | -2.6178e-14 | -0.1047 | -0.10488 | 0 | 0 | 0 | -90.0849 | -90.0849 | -90.0849 |  | 0.00094255 | 1.9114 | 1.914 | 0 | 1.9115 | 1.9133 | 111.5868 | -150.1981 | 150.0591 | 0 | -150.1702 | 150.0767

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.01663 | 0.01663 | 0.01663 | 0.022172 | 0.011088 | 0.011088 | 0.19202 | 0.19203 | 0.19203 | 0.25602 | 0.12803 | 0.12803 | 0.0027856 | 0.1846 | -0.18122 | -0.0036868 | -0.12296 | 0.12095 | 0.0029164 | -0.31838 | -0.32363 | -0.0036876 | 0.21236 | 0.21592 | 89.1248 | -90.8212 | -90.8212 | -90.8541 | 89.1637 | 89.1637 |  | 0.021002 | 1.9165 | 1.9315 | 0.020367 | 1.9166 | 1.933 | 135.4385 | -150.7151 | 149.9314 | 134.1518 | -150.7648 | 149.9089
Line_1 | 0 | 0 | 0 | 0.005544 | 0.005544 | 0.005544 | 0 | 0 | 0 | 0.064016 | 0.064016 | 0.064016 | -6.0247e-11 | -6.8275e-09 | -6.9493e-09 | -0.00092215 | 0.061481 | -0.060473 | 6.254e-11 | -3.9572e-09 | 3.8869e-09 | -0.00092177 | -0.10618 | -0.10796 | 0 | 0 | 0 | -90.8363 | -90.8363 | -90.8363 |  | 0.021248 | 1.9165 | 1.9338 | 0.020367 | 1.9166 | 1.933 | 133.1327 | -150.793 | 149.891 | 134.1518 | -150.7648 | 149.9089
Line_2 | 0 | 0 | 0 | 0.005544 | 0.005544 | 0.005544 | 0 | 0 | 0 | 0.064016 | 0.064016 | 0.064016 | -6.0248e-11 | -6.8275e-09 | -6.9493e-09 | -0.00092215 | 0.061481 | -0.060473 | 6.2541e-11 | -3.9571e-09 | 3.8869e-09 | -0.00092177 | -0.10618 | -0.10796 | 0 | 0 | 0 | -90.8363 | -90.8363 | -90.8363 |  | 0.021248 | 1.9165 | 1.9338 | 0.020367 | 1.9166 | 1.933 | 133.1327 | -150.793 | 149.891 | 134.1518 | -150.7648 | 149.9089

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.01663 | 0.01663 | 0.01663 | 0.022172 | 0.011088 | 0.011088 | 0.19202 | 0.19203 | 0.19203 | 0.25602 | 0.12803 | 0.12803 | 0.0027856 | 0.1846 | -0.18122 | -0.0036868 | -0.12296 | 0.12095 | 0.0029164 | -0.31838 | -0.32363 | -0.0036876 | 0.21236 | 0.21592 | 89.1248 | -90.8212 | -90.8212 | -90.8541 | 89.1637 | 89.1637 |  | 0.021002 | 1.9165 | 1.9315 | 0.020367 | 1.9166 | 1.933 | 135.4385 | -150.7151 | 149.9314 | 134.1518 | -150.7648 | 149.9089
Line_1 | 0 | 0 | 0 | 0.005544 | 0.005544 | 0.005544 | 0 | 0 | 0 | 0.064016 | 0.064016 | 0.064016 | -6.0247e-11 | -6.8275e-09 | -6.9493e-09 | -0.00092215 | 0.061481 | -0.060473 | 6.254e-11 | -3.9572e-09 | 3.8869e-09 | -0.00092177 | -0.10618 | -0.10796 | 0 | 0 | 0 | -90.8363 | -90.8363 | -90.8363 |  | 0.021248 | 1.9165 | 1.9338 | 0.020367 | 1.9166 | 1.933 | 133.1327 | -150.793 | 149.891 | 134.1518 | -150.7648 | 149.9089
Line_2 | 0 | 0 | 0 | 0.005544 | 0.005544 | 0.005544 | 0 | 0 | 0 | 0.064016 | 0.064016 | 0.064016 | -6.0248e-11 | -6.8275e-09 | -6.9493e-09 | -0.00092215 | 0.061481 | -0.060473 | 6.2541e-11 | -3.9571e-09 | 3.8869e-09 | -0.00092177 | -0.10618 | -0.10796 | 0 | 0 | 0 | -90.8363 | -90.8363 | -90.8363 |  | 0.021248 | 1.9165 | 1.9338 | 0.020367 | 1.9166 | 1.933 | 133.1327 | -150.793 | 149.891 | 134.1518 | -150.7648 | 149.9089

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014927 | 0.014927 | 0.014927 | 0.019902 | 0.0099525 | 0.0099525 | 0.17237 | 0.17236 | 0.17236 | 0.22981 | 0.11492 | 0.11492 | 3.3108e-05 | 0.14975 | -0.14879 | -8.3711e-14 | -0.099657 | 0.099393 | 0.00011999 | -0.25942 | -0.26007 | -7.6204e-14 | 0.17301 | 0.17354 | 89.7723 | -90.1249 | -90.1249 | -90.1875 | 89.8461 | 89.8461 |  | 0.00072216 | 1.7378 | 1.7383 | 0 | 1.7373 | 1.7402 | 164.3473 | -150.1291 | 150.0998 | 0 | -150.211 | 150.045
Line_1 | 0 | 0 | 0 | 0.0049763 | 0.0049763 | 0.0049763 | 0 | 0 | 0 | 0.057461 | 0.057461 | 0.057461 | -1.1512e-12 | -5.5603e-09 | -5.5884e-09 | -2.0942e-14 | 0.049828 | -0.049697 | 5.61e-12 | -3.2092e-09 | 3.1929e-09 | -1.9042e-14 | -0.086504 | -0.086771 | 0 | 0 | 0 | -90.1539 | -90.1539 | -90.1539 |  | 0.0015614 | 1.7368 | 1.7413 | 0 | 1.7373 | 1.7402 | 101.5089 | -150.2599 | 150.0065 | 0 | -150.211 | 150.045
Line_2 | 0 | 0 | 0 | 0.0049763 | 0.0049763 | 0.0049763 | 0 | 0 | 0 | 0.057461 | 0.057461 | 0.057461 | -1.1512e-12 | -5.5603e-09 | -5.5884e-09 | -2.0942e-14 | 0.049828 | -0.049697 | 5.61e-12 | -3.2092e-09 | 3.1929e-09 | -1.9042e-14 | -0.086504 | -0.086771 | 0 | 0 | 0 | -90.1539 | -90.1539 | -90.1539 |  | 0.0015614 | 1.7368 | 1.7413 | 0 | 1.7373 | 1.7402 | 101.5089 | -150.2599 | 150.0065 | 0 | -150.211 | 150.045

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014927 | 0.014927 | 0.014927 | 0.019902 | 0.0099525 | 0.0099525 | 0.17237 | 0.17236 | 0.17236 | 0.22981 | 0.11492 | 0.11492 | 3.3108e-05 | 0.14975 | -0.14879 | -8.3711e-14 | -0.099657 | 0.099393 | 0.00011999 | -0.25942 | -0.26007 | -7.6204e-14 | 0.17301 | 0.17354 | 89.7723 | -90.1249 | -90.1249 | -90.1875 | 89.8461 | 89.8461 |  | 0.00072216 | 1.7378 | 1.7383 | 0 | 1.7373 | 1.7402 | 164.3473 | -150.1291 | 150.0998 | 0 | -150.211 | 150.045
Line_1 | 0 | 0 | 0 | 0.0049763 | 0.0049763 | 0.0049763 | 0 | 0 | 0 | 0.057461 | 0.057461 | 0.057461 | -1.1512e-12 | -5.5603e-09 | -5.5884e-09 | -2.0942e-14 | 0.049828 | -0.049697 | 5.61e-12 | -3.2092e-09 | 3.1929e-09 | -1.9042e-14 | -0.086504 | -0.086771 | 0 | 0 | 0 | -90.1539 | -90.1539 | -90.1539 |  | 0.0015614 | 1.7368 | 1.7413 | 0 | 1.7373 | 1.7402 | 101.5089 | -150.2599 | 150.0065 | 0 | -150.211 | 150.045
Line_2 | 0 | 0 | 0 | 0.0049763 | 0.0049763 | 0.0049763 | 0 | 0 | 0 | 0.057461 | 0.057461 | 0.057461 | -1.1512e-12 | -5.5603e-09 | -5.5884e-09 | -2.0942e-14 | 0.049828 | -0.049697 | 5.61e-12 | -3.2092e-09 | 3.1929e-09 | -1.9042e-14 | -0.086504 | -0.086771 | 0 | 0 | 0 | -90.1539 | -90.1539 | -90.1539 |  | 0.0015614 | 1.7368 | 1.7413 | 0 | 1.7373 | 1.7402 | 101.5089 | -150.2599 | 150.0065 | 0 | -150.211 | 150.045

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015121 | 0.015121 | 0.015121 | 0.02016 | 0.010082 | 0.010082 | 0.1746 | 0.1746 | 0.1746 | 0.23279 | 0.11641 | 0.11641 | 0.0023184 | 0.15282 | -0.14956 | -0.0030478 | -0.1017 | 0.099906 | 0.0024116 | -0.26307 | -0.2677 | -0.003049 | 0.17544 | 0.17863 | 89.0196 | -90.8775 | -90.8775 | -90.9401 | 89.0935 | 89.0935 |  | 0.019159 | 1.7425 | 1.7562 | 0.018519 | 1.742 | 1.7582 | 135.1492 | -150.7236 | 149.9315 | 134.0711 | -150.8063 | 149.876
Line_1 | 0 | 0 | 0 | 0.0050408 | 0.0050408 | 0.0050408 | 0 | 0 | 0 | 0.058206 | 0.058206 | 0.058206 | -4.9759e-11 | -5.6385e-09 | -5.7521e-09 | -0.00076251 | 0.050851 | -0.049953 | 5.4485e-11 | -3.2749e-09 | 3.2093e-09 | -0.00076192 | -0.087721 | -0.089316 | 0 | 0 | 0 | -90.9065 | -90.9065 | -90.9065 |  | 0.01986 | 1.7415 | 1.7592 | 0.018519 | 1.742 | 1.7582 | 131.5641 | -150.8556 | 149.837 | 134.0711 | -150.8063 | 149.876
Line_2 | 0 | 0 | 0 | 0.0050408 | 0.0050408 | 0.0050408 | 0 | 0 | 0 | 0.058206 | 0.058206 | 0.058206 | -4.9759e-11 | -5.6385e-09 | -5.7521e-09 | -0.00076251 | 0.050851 | -0.049953 | 5.4484e-11 | -3.275e-09 | 3.2093e-09 | -0.00076192 | -0.087721 | -0.089316 | 0 | 0 | 0 | -90.9065 | -90.9065 | -90.9065 |  | 0.01986 | 1.7415 | 1.7592 | 0.018519 | 1.742 | 1.7582 | 131.5641 | -150.8556 | 149.837 | 134.0711 | -150.8063 | 149.876

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015121 | 0.015121 | 0.015121 | 0.02016 | 0.010082 | 0.010082 | 0.1746 | 0.1746 | 0.1746 | 0.23279 | 0.11641 | 0.11641 | 0.0023184 | 0.15282 | -0.14956 | -0.0030478 | -0.1017 | 0.099906 | 0.0024116 | -0.26307 | -0.2677 | -0.003049 | 0.17544 | 0.17863 | 89.0196 | -90.8775 | -90.8775 | -90.9401 | 89.0935 | 89.0935 |  | 0.019159 | 1.7425 | 1.7562 | 0.018519 | 1.742 | 1.7582 | 135.1492 | -150.7236 | 149.9315 | 134.0711 | -150.8063 | 149.876
Line_1 | 0 | 0 | 0 | 0.0050408 | 0.0050408 | 0.0050408 | 0 | 0 | 0 | 0.058206 | 0.058206 | 0.058206 | -4.9759e-11 | -5.6385e-09 | -5.7521e-09 | -0.00076251 | 0.050851 | -0.049953 | 5.4485e-11 | -3.2749e-09 | 3.2093e-09 | -0.00076192 | -0.087721 | -0.089316 | 0 | 0 | 0 | -90.9065 | -90.9065 | -90.9065 |  | 0.01986 | 1.7415 | 1.7592 | 0.018519 | 1.742 | 1.7582 | 131.5641 | -150.8556 | 149.837 | 134.0711 | -150.8063 | 149.876
Line_2 | 0 | 0 | 0 | 0.0050408 | 0.0050408 | 0.0050408 | 0 | 0 | 0 | 0.058206 | 0.058206 | 0.058206 | -4.9759e-11 | -5.6385e-09 | -5.7521e-09 | -0.00076251 | 0.050851 | -0.049953 | 5.4484e-11 | -3.275e-09 | 3.2093e-09 | -0.00076192 | -0.087721 | -0.089316 | 0 | 0 | 0 | -90.9065 | -90.9065 | -90.9065 |  | 0.01986 | 1.7415 | 1.7592 | 0.018519 | 1.742 | 1.7582 | 131.5641 | -150.8556 | 149.837 | 134.0711 | -150.8063 | 149.876

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0081779 | 3.7092 | 3.7092 | 0.0054525 | 3.7097 | 3.7086 | 0.09443 | 42.8297 | 42.8296 | 0.06296 | 42.8363 | 42.8229 | 8.5006e-05 | 7.1527 | 7.1555 | -4.1217e-05 | 7.209e-11 | 5.24e-11 | -0.15596 | 8.1037 | 8.1305 | 0.10401 | -3.3601e-11 | 3.6589e-11 | 89.9769 | -167.7799 | 12.2202 | -90.0382 | 12.2613 | -167.821 |  | 1.6516 | 0.25237 | 0.25288 | 1.6521 | 0 | 0 | 0.008174 | -119.2129 | 60.8701 | -0.015481 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0027262 | 0.0027262 | 0.0027262 | 0 | 0 | 0 | 0.03148 | 0.03148 | 0.03148 | -3.3455e-09 | 1.1746e-12 | -1.8744e-12 | 2.0607e-05 | -1.2841e-14 | -3.444e-14 | -3.5658e-12 | 1.4848e-12 | 2.7554e-13 | -0.052006 | -5.7022e-14 | 3.1956e-14 | 0 | 0 | 0 | 89.9618 | 89.9618 | 89.9618 |  | 1.6522 | 0.00046952 | 0.00046952 | 1.6521 | 0 | 0 | -0.030614 | -68.3665 | -68.3665 | -0.015481 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0027262 | 0.0027262 | 0.0027262 | 0 | 0 | 0 | 0.03148 | 0.03148 | 0.03148 | -3.3455e-09 | 1.1746e-12 | -1.8744e-12 | 2.0607e-05 | -1.2841e-14 | -3.444e-14 | -3.5658e-12 | 1.4848e-12 | 2.7555e-13 | -0.052006 | -5.7022e-14 | 3.1956e-14 | 0 | 0 | 0 | 89.9618 | 89.9618 | 89.9618 |  | 1.6522 | 0.00046952 | 0.00046952 | 1.6521 | 0 | 0 | -0.030614 | -68.3665 | -68.3665 | -0.015481 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0081779 | 3.7092 | 3.7092 | 0.0054525 | 3.7097 | 3.7086 | 0.09443 | 42.8297 | 42.8296 | 0.06296 | 42.8363 | 42.8229 | 8.5006e-05 | 7.1527 | 7.1555 | -4.1217e-05 | 7.209e-11 | 5.24e-11 | -0.15596 | 8.1037 | 8.1305 | 0.10401 | -3.3601e-11 | 3.6589e-11 | 89.9769 | -167.7799 | 12.2202 | -90.0382 | 12.2613 | -167.821 |  | 1.6516 | 0.25237 | 0.25288 | 1.6521 | 0 | 0 | 0.008174 | -119.2129 | 60.8701 | -0.015481 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0027262 | 0.0027262 | 0.0027262 | 0 | 0 | 0 | 0.03148 | 0.03148 | 0.03148 | -3.3455e-09 | 1.1746e-12 | -1.8744e-12 | 2.0607e-05 | -1.2841e-14 | -3.444e-14 | -3.5658e-12 | 1.4848e-12 | 2.7554e-13 | -0.052006 | -5.7022e-14 | 3.1956e-14 | 0 | 0 | 0 | 89.9618 | 89.9618 | 89.9618 |  | 1.6522 | 0.00046952 | 0.00046952 | 1.6521 | 0 | 0 | -0.030614 | -68.3665 | -68.3665 | -0.015481 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0027262 | 0.0027262 | 0.0027262 | 0 | 0 | 0 | 0.03148 | 0.03148 | 0.03148 | -3.3455e-09 | 1.1746e-12 | -1.8744e-12 | 2.0607e-05 | -1.2841e-14 | -3.444e-14 | -3.5658e-12 | 1.4848e-12 | 2.7555e-13 | -0.052006 | -5.7022e-14 | 3.1956e-14 | 0 | 0 | 0 | 89.9618 | 89.9618 | 89.9618 |  | 1.6522 | 0.00046952 | 0.00046952 | 1.6521 | 0 | 0 | -0.030614 | -68.3665 | -68.3665 | -0.015481 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0082306 | 1.1342 | 1.1342 | 0.0054877 | 1.1358 | 1.1326 | 0.095039 | 13.0969 | 13.0968 | 0.063366 | 13.1155 | 13.0783 | 0.00076385 | 7.0888 | 7.1137 | -0.00049351 | -6.4437 | -6.4211 | -0.1573 | 7.2529 | 7.1297 | 0.10491 | -6.4941 | -6.3707 | 89.6053 | -144.5298 | 35.4704 | -90.4098 | 35.5824 | -144.642 |  | 1.6552 | 0.77436 | 0.76901 | 1.6556 | 0.69753 | 0.69162 | -0.11643 | -98.8741 | 80.5347 | -0.14025 | -99.1943 | 80.1321
Line_1 | 0 | 0 | 0 | 0.0027438 | 0.0027438 | 0.0027438 | 0 | 0 | 0 | 0.031683 | 0.031683 | 0.031683 | -3.3742e-09 | 8.4501e-10 | 3.8728e-10 | 0.00024675 | -0.021841 | 0.021615 | -1.8146e-11 | 1.0008e-09 | -1.7879e-09 | -0.052454 | 0.0033751 | -0.0036009 | 0 | 0 | 0 | 89.5902 | 89.5902 | 89.5902 |  | 1.6558 | 0.69794 | 0.69122 | 1.6556 | 0.69753 | 0.69162 | -0.15548 | -99.1746 | 80.1118 | -0.14025 | -99.1943 | 80.1321
Line_2 | 0 | 0 | 0 | 0.0027438 | 0.0027438 | 0.0027438 | 0 | 0 | 0 | 0.031683 | 0.031683 | 0.031683 | -3.3742e-09 | 8.4502e-10 | 3.873e-10 | 0.00024675 | -0.021841 | 0.021615 | -1.8139e-11 | 1.0008e-09 | -1.7879e-09 | -0.052454 | 0.0033751 | -0.0036009 | 0 | 0 | 0 | 89.5902 | 89.5902 | 89.5902 |  | 1.6558 | 0.69794 | 0.69122 | 1.6556 | 0.69753 | 0.69162 | -0.15548 | -99.1746 | 80.1118 | -0.14025 | -99.1943 | 80.1321

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0082306 | 1.1342 | 1.1342 | 0.0054877 | 1.1358 | 1.1326 | 0.095039 | 13.0969 | 13.0968 | 0.063366 | 13.1155 | 13.0783 | 0.00076385 | 7.0888 | 7.1137 | -0.00049351 | -6.4437 | -6.4211 | -0.1573 | 7.2529 | 7.1297 | 0.10491 | -6.4941 | -6.3707 | 89.6053 | -144.5298 | 35.4704 | -90.4098 | 35.5824 | -144.642 |  | 1.6552 | 0.77436 | 0.76901 | 1.6556 | 0.69753 | 0.69162 | -0.11643 | -98.8741 | 80.5347 | -0.14025 | -99.1943 | 80.1321
Line_1 | 0 | 0 | 0 | 0.0027438 | 0.0027438 | 0.0027438 | 0 | 0 | 0 | 0.031683 | 0.031683 | 0.031683 | -3.3742e-09 | 8.4501e-10 | 3.8728e-10 | 0.00024675 | -0.021841 | 0.021615 | -1.8146e-11 | 1.0008e-09 | -1.7879e-09 | -0.052454 | 0.0033751 | -0.0036009 | 0 | 0 | 0 | 89.5902 | 89.5902 | 89.5902 |  | 1.6558 | 0.69794 | 0.69122 | 1.6556 | 0.69753 | 0.69162 | -0.15548 | -99.1746 | 80.1118 | -0.14025 | -99.1943 | 80.1321
Line_2 | 0 | 0 | 0 | 0.0027438 | 0.0027438 | 0.0027438 | 0 | 0 | 0 | 0.031683 | 0.031683 | 0.031683 | -3.3742e-09 | 8.4502e-10 | 3.873e-10 | 0.00024675 | -0.021841 | 0.021615 | -1.8139e-11 | 1.0008e-09 | -1.7879e-09 | -0.052454 | 0.0033751 | -0.0036009 | 0 | 0 | 0 | 89.5902 | 89.5902 | 89.5902 |  | 1.6558 | 0.69794 | 0.69122 | 1.6556 | 0.69753 | 0.69162 | -0.15548 | -99.1746 | 80.1118 | -0.14025 | -99.1943 | 80.1321

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0074347 | 3.1191 | 3.1191 | 0.004957 | 3.12 | 3.1182 | 0.085849 | 36.0162 | 36.016 | 0.057239 | 36.0261 | 36.0061 | 0.00013489 | 9.7074 | 9.7189 | -6.54e-05 | -1.3026e-10 | 4.3729e-11 | -0.1289 | 5.7211 | 5.7588 | 0.085969 | -1.4462e-10 | -1.7067e-10 | 89.958 | -159.6724 | 20.3277 | -90.0711 | 20.3703 | -159.715 |  | 1.5015 | 0.31286 | 0.31366 | 1.5019 | 0 | 0 | 0.017939 | -129.1593 | 50.976 | -0.027477 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0024785 | 0.0024785 | 0.0024785 | 0 | 0 | 0 | 0.028619 | 0.028619 | 0.028619 | -2.7653e-09 | 2.1304e-12 | -2.7078e-12 | 3.2699e-05 | -1.438e-13 | 1.1509e-13 | -5.4541e-12 | 1.8929e-12 | 9.0047e-13 | -0.042984 | 5.6842e-14 | 7.9776e-14 | 0 | 0 | 0 | 89.9289 | 89.9289 | 89.9289 |  | 1.5021 | 0.00077769 | 0.00077768 | 1.5019 | 0 | 0 | -0.056533 | -78.4083 | -78.4083 | -0.027477 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0024785 | 0.0024785 | 0.0024785 | 0 | 0 | 0 | 0.028619 | 0.028619 | 0.028619 | -2.7653e-09 | 2.1304e-12 | -2.7078e-12 | 3.2699e-05 | -1.438e-13 | 1.1509e-13 | -5.4399e-12 | 1.8929e-12 | 9.0047e-13 | -0.042984 | 5.6842e-14 | 7.9776e-14 | 0 | 0 | 0 | 89.9289 | 89.9289 | 89.9289 |  | 1.5021 | 0.00077769 | 0.00077768 | 1.5019 | 0 | 0 | -0.056533 | -78.4083 | -78.4083 | -0.027477 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0074347 | 3.1191 | 3.1191 | 0.004957 | 3.12 | 3.1182 | 0.085849 | 36.0162 | 36.016 | 0.057239 | 36.0261 | 36.0061 | 0.00013489 | 9.7074 | 9.7189 | -6.54e-05 | -1.3026e-10 | 4.3729e-11 | -0.1289 | 5.7211 | 5.7588 | 0.085969 | -1.4462e-10 | -1.7067e-10 | 89.958 | -159.6724 | 20.3277 | -90.0711 | 20.3703 | -159.715 |  | 1.5015 | 0.31286 | 0.31366 | 1.5019 | 0 | 0 | 0.017939 | -129.1593 | 50.976 | -0.027477 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0024785 | 0.0024785 | 0.0024785 | 0 | 0 | 0 | 0.028619 | 0.028619 | 0.028619 | -2.7653e-09 | 2.1304e-12 | -2.7078e-12 | 3.2699e-05 | -1.438e-13 | 1.1509e-13 | -5.4541e-12 | 1.8929e-12 | 9.0047e-13 | -0.042984 | 5.6842e-14 | 7.9776e-14 | 0 | 0 | 0 | 89.9289 | 89.9289 | 89.9289 |  | 1.5021 | 0.00077769 | 0.00077768 | 1.5019 | 0 | 0 | -0.056533 | -78.4083 | -78.4083 | -0.027477 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0024785 | 0.0024785 | 0.0024785 | 0 | 0 | 0 | 0.028619 | 0.028619 | 0.028619 | -2.7653e-09 | 2.1304e-12 | -2.7078e-12 | 3.2699e-05 | -1.438e-13 | 1.1509e-13 | -5.4399e-12 | 1.8929e-12 | 9.0047e-13 | -0.042984 | 5.6842e-14 | 7.9776e-14 | 0 | 0 | 0 | 89.9289 | 89.9289 | 89.9289 |  | 1.5021 | 0.00077769 | 0.00077768 | 1.5019 | 0 | 0 | -0.056533 | -78.4083 | -78.4083 | -0.027477 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0074827 | 0.99268 | 0.99267 | 0.004989 | 0.99421 | 0.99115 | 0.086403 | 11.4625 | 11.4624 | 0.057608 | 11.4802 | 11.4448 | 0.00069705 | 5.9008 | 5.921 | -0.0004397 | -4.938 | -4.9163 | -0.13001 | 5.5554 | 5.4615 | 0.086708 | -4.9771 | -4.8772 | 89.5861 | -142.6346 | 37.3659 | -90.443 | 37.4791 | -142.7481 |  | 1.5048 | 0.70704 | 0.70275 | 1.5052 | 0.61071 | 0.60509 | -0.10673 | -99.3614 | 80.0542 | -0.15241 | -97.2948 | 82.023
Line_1 | 0 | 0 | 0 | 0.0024945 | 0.0024945 | 0.0024945 | 0 | 0 | 0 | 0.028804 | 0.028804 | 0.028804 | -2.7891e-09 | 6.9702e-10 | 4.0695e-10 | 0.00021985 | -0.017465 | 0.017278 | -1.7492e-11 | 8.6622e-10 | -1.3643e-09 | -0.043354 | 0.0020986 | -0.0022852 | 0 | 0 | 0 | 89.557 | 89.557 | 89.557 |  | 1.5053 | 0.61145 | 0.60435 | 1.5052 | 0.61071 | 0.60509 | -0.18162 | -97.2715 | 81.9986 | -0.15241 | -97.2948 | 82.023
Line_2 | 0 | 0 | 0 | 0.0024945 | 0.0024945 | 0.0024945 | 0 | 0 | 0 | 0.028804 | 0.028804 | 0.028804 | -2.7891e-09 | 6.9702e-10 | 4.0694e-10 | 0.00021985 | -0.017465 | 0.017278 | -1.7514e-11 | 8.6622e-10 | -1.3643e-09 | -0.043354 | 0.0020986 | -0.0022852 | 0 | 0 | 0 | 89.557 | 89.557 | 89.557 |  | 1.5053 | 0.61145 | 0.60435 | 1.5052 | 0.61071 | 0.60509 | -0.18162 | -97.2715 | 81.9986 | -0.15241 | -97.2948 | 82.023

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0074827 | 0.99268 | 0.99267 | 0.004989 | 0.99421 | 0.99115 | 0.086403 | 11.4625 | 11.4624 | 0.057608 | 11.4802 | 11.4448 | 0.00069705 | 5.9008 | 5.921 | -0.0004397 | -4.938 | -4.9163 | -0.13001 | 5.5554 | 5.4615 | 0.086708 | -4.9771 | -4.8772 | 89.5861 | -142.6346 | 37.3659 | -90.443 | 37.4791 | -142.7481 |  | 1.5048 | 0.70704 | 0.70275 | 1.5052 | 0.61071 | 0.60509 | -0.10673 | -99.3614 | 80.0542 | -0.15241 | -97.2948 | 82.023
Line_1 | 0 | 0 | 0 | 0.0024945 | 0.0024945 | 0.0024945 | 0 | 0 | 0 | 0.028804 | 0.028804 | 0.028804 | -2.7891e-09 | 6.9702e-10 | 4.0695e-10 | 0.00021985 | -0.017465 | 0.017278 | -1.7492e-11 | 8.6622e-10 | -1.3643e-09 | -0.043354 | 0.0020986 | -0.0022852 | 0 | 0 | 0 | 89.557 | 89.557 | 89.557 |  | 1.5053 | 0.61145 | 0.60435 | 1.5052 | 0.61071 | 0.60509 | -0.18162 | -97.2715 | 81.9986 | -0.15241 | -97.2948 | 82.023
Line_2 | 0 | 0 | 0 | 0.0024945 | 0.0024945 | 0.0024945 | 0 | 0 | 0 | 0.028804 | 0.028804 | 0.028804 | -2.7891e-09 | 6.9702e-10 | 4.0694e-10 | 0.00021985 | -0.017465 | 0.017278 | -1.7514e-11 | 8.6622e-10 | -1.3643e-09 | -0.043354 | 0.0020986 | -0.0022852 | 0 | 0 | 0 | 89.557 | 89.557 | 89.557 |  | 1.5053 | 0.61145 | 0.60435 | 1.5052 | 0.61071 | 0.60509 | -0.18162 | -97.2715 | 81.9986 | -0.15241 | -97.2948 | 82.023