## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6475e-14 | 1.0421e-14 | -2.6053e-14 | -3.1264e-14 | -5.2102e-15 | 2.6054e-14 | -5.2106e-15 | 5.7634e-09 | -5.7634e-09 | 5.2106e-15 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -1.0813e-11 | -180 | -180 | -1.0844e-11 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 1.9067e-19 | -1.5632e-14 | 1.0421e-14 | 5.2105e-15 | 5.2105e-15 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -1.0847e-11 | -180 | 180 | -1.0844e-11 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -1.0421e-14 | 5.2108e-15 | 1.0421e-14 | 1.5632e-14 | -5.2108e-15 | 1.9734e-27 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -1.085e-11 | -180 | 180 | -1.0844e-11 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6475e-14 | 1.0421e-14 | -2.6053e-14 | -3.1264e-14 | -5.2102e-15 | 2.6054e-14 | -5.2106e-15 | 5.7634e-09 | -5.7634e-09 | 5.2106e-15 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -1.0813e-11 | -180 | -180 | -1.0844e-11 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 1.9067e-19 | -1.5632e-14 | 1.0421e-14 | 5.2105e-15 | 5.2105e-15 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -1.0847e-11 | -180 | 180 | -1.0844e-11 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -1.0421e-14 | 5.2108e-15 | 1.0421e-14 | 1.5632e-14 | -5.2108e-15 | 1.9734e-27 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -1.085e-11 | -180 | 180 | -1.0844e-11 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -9.5549e-10 | -3.075e-09 | -6.5133e-15 | 9.5548e-10 | 3.075e-09 | -7.816e-15 | 4.0277e-09 | -3.5663e-10 | 2.6053e-15 | -4.0277e-09 | 3.5663e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -4.0908e-12 | -140.8543 | 122.4159 | -4.1027e-12 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-15 | 3.185e-10 | 1.025e-09 | 1.3027e-15 | -3.185e-10 | -1.025e-09 | -9.3297e-29 | -1.3426e-09 | 1.1889e-10 | -2.6053e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -4.1035e-12 | -140.8543 | 122.4159 | -4.1027e-12 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | 3.1848e-10 | 1.025e-09 | 7.816e-15 | -3.1849e-10 | -1.025e-09 | 2.6053e-15 | -1.3426e-09 | 1.1888e-10 | -5.2106e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -4.1043e-12 | -140.8543 | 122.4159 | -4.1027e-12 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -9.5549e-10 | -3.075e-09 | -6.5133e-15 | 9.5548e-10 | 3.075e-09 | -7.816e-15 | 4.0277e-09 | -3.5663e-10 | 2.6053e-15 | -4.0277e-09 | 3.5663e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -4.0908e-12 | -140.8543 | 122.4159 | -4.1027e-12 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-15 | 3.185e-10 | 1.025e-09 | 1.3027e-15 | -3.185e-10 | -1.025e-09 | -9.3297e-29 | -1.3426e-09 | 1.1889e-10 | -2.6053e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -4.1035e-12 | -140.8543 | 122.4159 | -4.1027e-12 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | 3.1848e-10 | 1.025e-09 | 7.816e-15 | -3.1849e-10 | -1.025e-09 | 2.6053e-15 | -1.3426e-09 | 1.1888e-10 | -5.2106e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -4.1043e-12 | -140.8543 | 122.4159 | -4.1027e-12 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.8948e-14 | -4.737e-15 | 1.1842e-14 | 1.4212e-14 | 2.3692e-15 | -1.4211e-14 | 4.7631e-09 | -4.7631e-09 | 1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -6.6272e-12 | -180 | 180 | -6.5737e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 4.7373e-15 | 3.0442e-19 | 1.087e-27 | -4.7372e-15 | -2.3687e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -6.5686e-12 | -180 | 180 | -6.5737e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 4.7373e-15 | 3.0442e-19 | 9.4739e-15 | -4.7372e-15 | -2.3687e-15 | 2.7251e-28 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -6.5924e-12 | -180 | 180 | -6.5737e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.8948e-14 | -4.737e-15 | 1.1842e-14 | 1.4212e-14 | 2.3692e-15 | -1.4211e-14 | 4.7631e-09 | -4.7631e-09 | 1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -6.6272e-12 | -180 | 180 | -6.5737e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 4.7373e-15 | 3.0442e-19 | 1.087e-27 | -4.7372e-15 | -2.3687e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -6.5686e-12 | -180 | 180 | -6.5737e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 4.7373e-15 | 3.0442e-19 | 9.4739e-15 | -4.7372e-15 | -2.3687e-15 | 2.7251e-28 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -6.5924e-12 | -180 | 180 | -6.5737e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1448e-15 | -8.0025e-10 | -2.5674e-09 | -5.9212e-16 | 8.0024e-10 | 2.5674e-09 | -4.737e-15 | 3.4014e-09 | -3.4064e-10 | 4.737e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -3.902e-12 | -141.4824 | 122.8363 | -3.8757e-12 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 2.6674e-10 | 8.558e-10 | 5.033e-15 | -2.6674e-10 | -8.558e-10 | 8.0072e-29 | -1.1338e-09 | 1.1355e-10 | -3.4046e-28 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -3.874e-12 | -141.4824 | 122.8363 | -3.8757e-12 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7764e-15 | 2.6676e-10 | 8.558e-10 | 2.9606e-15 | -2.6676e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -2.0027e-28 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -3.8836e-12 | -141.4824 | 122.8363 | -3.8757e-12 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1448e-15 | -8.0025e-10 | -2.5674e-09 | -5.9212e-16 | 8.0024e-10 | 2.5674e-09 | -4.737e-15 | 3.4014e-09 | -3.4064e-10 | 4.737e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -3.902e-12 | -141.4824 | 122.8363 | -3.8757e-12 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 2.6674e-10 | 8.558e-10 | 5.033e-15 | -2.6674e-10 | -8.558e-10 | 8.0072e-29 | -1.1338e-09 | 1.1355e-10 | -3.4046e-28 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -3.874e-12 | -141.4824 | 122.8363 | -3.8757e-12 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7764e-15 | 2.6676e-10 | 8.558e-10 | 2.9606e-15 | -2.6676e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -2.0027e-28 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -3.8836e-12 | -141.4824 | 122.8363 | -3.8757e-12 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016423 | 0.016423 | 0.016423 | 0.010952 | 0.010952 | 0.010952 | 0.18964 | 0.18964 | 0.18964 | 0.12647 | 0.12647 | 0.12647 | 6.3884e-14 | 0.18178 | -0.17953 | 0.000554 | -0.12083 | 0.12011 | -1.357e-14 | -0.31348 | -0.31485 | 0.00022045 | 0.20918 | 0.21028 | -90.2166 | -90.2166 | -90.2166 | 89.738 | 89.738 | 89.738 |  | 0 | 1.9108 | 1.9112 | 0.0047147 | 1.9101 | 1.9149 | 0 | -150.1084 | 150.0904 | 111.437 | -150.2483 | 150.0023
Line_1 | 0 | 0 | 0 | 0.0054762 | 0.0054762 | 0.0054762 | 0 | 0 | 0 | 0.063233 | 0.063233 | 0.063233 | -8.4558e-12 | -6.7236e-09 | -6.7628e-09 | -0.000277 | 0.060417 | -0.060057 | 2.1242e-11 | -3.8839e-09 | 3.8614e-09 | -0.00011023 | -0.10459 | -0.10514 | 0 | 0 | 0 | -90.262 | -90.262 | -90.262 |  | 0.0056578 | 1.91 | 1.9156 | 0.0047147 | 1.9101 | 1.9149 | 111.4324 | -150.2763 | 149.9847 | 111.437 | -150.2483 | 150.0023
Line_2 | 0 | 0 | 0 | 0.0054762 | 0.0054762 | 0.0054762 | 0 | 0 | 0 | 0.063233 | 0.063233 | 0.063233 | -8.4557e-12 | -6.7236e-09 | -6.7628e-09 | -0.000277 | 0.060417 | -0.060057 | 2.1242e-11 | -3.8839e-09 | 3.8614e-09 | -0.00011023 | -0.10459 | -0.10514 | 0 | 0 | 0 | -90.262 | -90.262 | -90.262 |  | 0.0056578 | 1.91 | 1.9156 | 0.0047147 | 1.9101 | 1.9149 | 111.4324 | -150.2763 | 149.9847 | 111.437 | -150.2483 | 150.0023

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016423 | 0.016423 | 0.016423 | 0.010952 | 0.010952 | 0.010952 | 0.18964 | 0.18964 | 0.18964 | 0.12647 | 0.12647 | 0.12647 | 6.3884e-14 | 0.18178 | -0.17953 | 0.000554 | -0.12083 | 0.12011 | -1.357e-14 | -0.31348 | -0.31485 | 0.00022045 | 0.20918 | 0.21028 | -90.2166 | -90.2166 | -90.2166 | 89.738 | 89.738 | 89.738 |  | 0 | 1.9108 | 1.9112 | 0.0047147 | 1.9101 | 1.9149 | 0 | -150.1084 | 150.0904 | 111.437 | -150.2483 | 150.0023
Line_1 | 0 | 0 | 0 | 0.0054762 | 0.0054762 | 0.0054762 | 0 | 0 | 0 | 0.063233 | 0.063233 | 0.063233 | -8.4558e-12 | -6.7236e-09 | -6.7628e-09 | -0.000277 | 0.060417 | -0.060057 | 2.1242e-11 | -3.8839e-09 | 3.8614e-09 | -0.00011023 | -0.10459 | -0.10514 | 0 | 0 | 0 | -90.262 | -90.262 | -90.262 |  | 0.0056578 | 1.91 | 1.9156 | 0.0047147 | 1.9101 | 1.9149 | 111.4324 | -150.2763 | 149.9847 | 111.437 | -150.2483 | 150.0023
Line_2 | 0 | 0 | 0 | 0.0054762 | 0.0054762 | 0.0054762 | 0 | 0 | 0 | 0.063233 | 0.063233 | 0.063233 | -8.4557e-12 | -6.7236e-09 | -6.7628e-09 | -0.000277 | 0.060417 | -0.060057 | 2.1242e-11 | -3.8839e-09 | 3.8614e-09 | -0.00011023 | -0.10459 | -0.10514 | 0 | 0 | 0 | -90.262 | -90.262 | -90.262 |  | 0.0056578 | 1.91 | 1.9156 | 0.0047147 | 1.9101 | 1.9149 | 111.4324 | -150.2763 | 149.9847 | 111.437 | -150.2483 | 150.0023

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016638 | 0.016638 | 0.016638 | 0.011096 | 0.011096 | 0.011096 | 0.19212 | 0.19212 | 0.19212 | 0.12812 | 0.12812 | 0.12812 | -0.0028022 | 0.18554 | -0.18044 | 0.0024358 | -0.12333 | 0.12073 | -0.0027925 | -0.31791 | -0.32416 | 0.00209 | 0.21213 | 0.2165 | -90.9792 | -90.9792 | -90.9792 | 88.9754 | 88.9754 | 88.9754 |  | 0.020591 | 1.916 | 1.9311 | 0.025051 | 1.9152 | 1.9348 | 133.9217 | -150.7095 | 149.9191 | 129.6058 | -150.8508 | 149.8296
Line_1 | 0 | 0 | 0 | 0.0055478 | 0.0055478 | 0.0055478 | 0 | 0 | 0 | 0.06406 | 0.06406 | 0.06406 | -6.8243e-11 | -6.8186e-09 | -6.9627e-09 | -0.0012179 | 0.061667 | -0.060364 | 8.1451e-11 | -3.9643e-09 | 3.8811e-09 | -0.001045 | -0.10607 | -0.10825 | 0 | 0 | 0 | -91.0246 | -91.0246 | -91.0246 |  | 0.025956 | 1.9151 | 1.9355 | 0.025051 | 1.9152 | 1.9348 | 128.9206 | -150.8791 | 149.8118 | 129.6058 | -150.8508 | 149.8296
Line_2 | 0 | 0 | 0 | 0.0055478 | 0.0055478 | 0.0055478 | 0 | 0 | 0 | 0.06406 | 0.06406 | 0.06406 | -6.8242e-11 | -6.8186e-09 | -6.9628e-09 | -0.0012179 | 0.061667 | -0.060364 | 8.1451e-11 | -3.9642e-09 | 3.8811e-09 | -0.001045 | -0.10607 | -0.10825 | 0 | 0 | 0 | -91.0246 | -91.0246 | -91.0246 |  | 0.025956 | 1.9151 | 1.9355 | 0.025051 | 1.9152 | 1.9348 | 128.9206 | -150.8791 | 149.8118 | 129.6058 | -150.8508 | 149.8296

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016638 | 0.016638 | 0.016638 | 0.011096 | 0.011096 | 0.011096 | 0.19212 | 0.19212 | 0.19212 | 0.12812 | 0.12812 | 0.12812 | -0.0028022 | 0.18554 | -0.18044 | 0.0024358 | -0.12333 | 0.12073 | -0.0027925 | -0.31791 | -0.32416 | 0.00209 | 0.21213 | 0.2165 | -90.9792 | -90.9792 | -90.9792 | 88.9754 | 88.9754 | 88.9754 |  | 0.020591 | 1.916 | 1.9311 | 0.025051 | 1.9152 | 1.9348 | 133.9217 | -150.7095 | 149.9191 | 129.6058 | -150.8508 | 149.8296
Line_1 | 0 | 0 | 0 | 0.0055478 | 0.0055478 | 0.0055478 | 0 | 0 | 0 | 0.06406 | 0.06406 | 0.06406 | -6.8243e-11 | -6.8186e-09 | -6.9627e-09 | -0.0012179 | 0.061667 | -0.060364 | 8.1451e-11 | -3.9643e-09 | 3.8811e-09 | -0.001045 | -0.10607 | -0.10825 | 0 | 0 | 0 | -91.0246 | -91.0246 | -91.0246 |  | 0.025956 | 1.9151 | 1.9355 | 0.025051 | 1.9152 | 1.9348 | 128.9206 | -150.8791 | 149.8118 | 129.6058 | -150.8508 | 149.8296
Line_2 | 0 | 0 | 0 | 0.0055478 | 0.0055478 | 0.0055478 | 0 | 0 | 0 | 0.06406 | 0.06406 | 0.06406 | -6.8242e-11 | -6.8186e-09 | -6.9628e-09 | -0.0012179 | 0.061667 | -0.060364 | 8.1451e-11 | -3.9642e-09 | 3.8811e-09 | -0.001045 | -0.10607 | -0.10825 | 0 | 0 | 0 | -91.0246 | -91.0246 | -91.0246 |  | 0.025956 | 1.9151 | 1.9355 | 0.025051 | 1.9152 | 1.9348 | 128.9206 | -150.8791 | 149.8118 | 129.6058 | -150.8508 | 149.8296

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014933 | 0.014933 | 0.014933 | 0.0099583 | 0.0099583 | 0.0099583 | 0.17243 | 0.17243 | 0.17243 | 0.11499 | 0.11499 | 0.11499 | -4.3875e-14 | 0.1511 | -0.14754 | 0.00087936 | -0.10015 | 0.099008 | -3.2856e-14 | -0.25866 | -0.26079 | 0.00018235 | 0.17253 | 0.17424 | -90.4068 | -90.4068 | -90.4068 | 89.506 | 89.506 | 89.506 |  | 0 | 1.7373 | 1.7377 | 0.0078101 | 1.7349 | 1.7429 | 0 | -150.1146 | 150.0936 | 101.2211 | -150.3589 | 149.9002
Line_1 | 0 | 0 | 0 | 0.0049791 | 0.0049791 | 0.0049791 | 0 | 0 | 0 | 0.057494 | 0.057494 | 0.057494 | -7.0044e-12 | -5.5448e-09 | -5.6055e-09 | -0.00043968 | 0.050075 | -0.049504 | 3.3709e-11 | -3.2187e-09 | 3.1837e-09 | -9.1174e-05 | -0.086263 | -0.087122 | 0 | 0 | 0 | -90.494 | -90.494 | -90.494 |  | 0.0093724 | 1.7344 | 1.7439 | 0.0078101 | 1.7349 | 1.7429 | 101.2124 | -150.4079 | 149.8616 | 101.2211 | -150.3589 | 149.9002
Line_2 | 0 | 0 | 0 | 0.0049791 | 0.0049791 | 0.0049791 | 0 | 0 | 0 | 0.057494 | 0.057494 | 0.057494 | -7.0045e-12 | -5.5448e-09 | -5.6055e-09 | -0.00043968 | 0.050075 | -0.049504 | 3.3709e-11 | -3.2188e-09 | 3.1837e-09 | -9.1174e-05 | -0.086263 | -0.087122 | 0 | 0 | 0 | -90.494 | -90.494 | -90.494 |  | 0.0093724 | 1.7344 | 1.7439 | 0.0078101 | 1.7349 | 1.7429 | 101.2124 | -150.4079 | 149.8616 | 101.2211 | -150.3589 | 149.9002

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014933 | 0.014933 | 0.014933 | 0.0099583 | 0.0099583 | 0.0099583 | 0.17243 | 0.17243 | 0.17243 | 0.11499 | 0.11499 | 0.11499 | -4.3875e-14 | 0.1511 | -0.14754 | 0.00087936 | -0.10015 | 0.099008 | -3.2856e-14 | -0.25866 | -0.26079 | 0.00018235 | 0.17253 | 0.17424 | -90.4068 | -90.4068 | -90.4068 | 89.506 | 89.506 | 89.506 |  | 0 | 1.7373 | 1.7377 | 0.0078101 | 1.7349 | 1.7429 | 0 | -150.1146 | 150.0936 | 101.2211 | -150.3589 | 149.9002
Line_1 | 0 | 0 | 0 | 0.0049791 | 0.0049791 | 0.0049791 | 0 | 0 | 0 | 0.057494 | 0.057494 | 0.057494 | -7.0044e-12 | -5.5448e-09 | -5.6055e-09 | -0.00043968 | 0.050075 | -0.049504 | 3.3709e-11 | -3.2187e-09 | 3.1837e-09 | -9.1174e-05 | -0.086263 | -0.087122 | 0 | 0 | 0 | -90.494 | -90.494 | -90.494 |  | 0.0093724 | 1.7344 | 1.7439 | 0.0078101 | 1.7349 | 1.7429 | 101.2124 | -150.4079 | 149.8616 | 101.2211 | -150.3589 | 149.9002
Line_2 | 0 | 0 | 0 | 0.0049791 | 0.0049791 | 0.0049791 | 0 | 0 | 0 | 0.057494 | 0.057494 | 0.057494 | -7.0045e-12 | -5.5448e-09 | -5.6055e-09 | -0.00043968 | 0.050075 | -0.049504 | 3.3709e-11 | -3.2188e-09 | 3.1837e-09 | -9.1174e-05 | -0.086263 | -0.087122 | 0 | 0 | 0 | -90.494 | -90.494 | -90.494 |  | 0.0093724 | 1.7344 | 1.7439 | 0.0078101 | 1.7349 | 1.7429 | 101.2124 | -150.4079 | 149.8616 | 101.2211 | -150.3589 | 149.9002

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015127 | 0.015127 | 0.015127 | 0.010088 | 0.010088 | 0.010088 | 0.17467 | 0.17467 | 0.17467 | 0.11648 | 0.11648 | 0.11648 | -0.00232 | 0.15423 | -0.14825 | 0.0024472 | -0.10221 | 0.099495 | -0.0023046 | -0.26228 | -0.26847 | 0.0017264 | 0.17494 | 0.17937 | -91.1732 | -91.1732 | -91.1732 | 88.7397 | 88.7397 | 88.7397 |  | 0.018721 | 1.7419 | 1.7558 | 0.02571 | 1.7394 | 1.7609 | 133.6365 | -150.7166 | 149.9192 | 123.9407 | -150.9632 | 149.7235
Line_1 | 0 | 0 | 0 | 0.0050439 | 0.0050439 | 0.0050439 | 0 | 0 | 0 | 0.058242 | 0.058242 | 0.058242 | -5.6389e-11 | -5.6223e-09 | -5.7706e-09 | -0.0012236 | 0.051107 | -0.049748 | 8.3915e-11 | -3.285e-09 | 3.1994e-09 | -0.00086318 | -0.087469 | -0.089687 | 0 | 0 | 0 | -91.2603 | -91.2603 | -91.2603 |  | 0.027169 | 1.7389 | 1.762 | 0.02571 | 1.7394 | 1.7609 | 122.6077 | -151.0126 | 149.6845 | 123.9407 | -150.9632 | 149.7235
Line_2 | 0 | 0 | 0 | 0.0050439 | 0.0050439 | 0.0050439 | 0 | 0 | 0 | 0.058242 | 0.058242 | 0.058242 | -5.6389e-11 | -5.6223e-09 | -5.7705e-09 | -0.0012236 | 0.051107 | -0.049748 | 8.3915e-11 | -3.285e-09 | 3.1994e-09 | -0.00086318 | -0.087469 | -0.089687 | 0 | 0 | 0 | -91.2603 | -91.2603 | -91.2603 |  | 0.027169 | 1.7389 | 1.762 | 0.02571 | 1.7394 | 1.7609 | 122.6077 | -151.0126 | 149.6845 | 123.9407 | -150.9632 | 149.7235

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015127 | 0.015127 | 0.015127 | 0.010088 | 0.010088 | 0.010088 | 0.17467 | 0.17467 | 0.17467 | 0.11648 | 0.11648 | 0.11648 | -0.00232 | 0.15423 | -0.14825 | 0.0024472 | -0.10221 | 0.099495 | -0.0023046 | -0.26228 | -0.26847 | 0.0017264 | 0.17494 | 0.17937 | -91.1732 | -91.1732 | -91.1732 | 88.7397 | 88.7397 | 88.7397 |  | 0.018721 | 1.7419 | 1.7558 | 0.02571 | 1.7394 | 1.7609 | 133.6365 | -150.7166 | 149.9192 | 123.9407 | -150.9632 | 149.7235
Line_1 | 0 | 0 | 0 | 0.0050439 | 0.0050439 | 0.0050439 | 0 | 0 | 0 | 0.058242 | 0.058242 | 0.058242 | -5.6389e-11 | -5.6223e-09 | -5.7706e-09 | -0.0012236 | 0.051107 | -0.049748 | 8.3915e-11 | -3.285e-09 | 3.1994e-09 | -0.00086318 | -0.087469 | -0.089687 | 0 | 0 | 0 | -91.2603 | -91.2603 | -91.2603 |  | 0.027169 | 1.7389 | 1.762 | 0.02571 | 1.7394 | 1.7609 | 122.6077 | -151.0126 | 149.6845 | 123.9407 | -150.9632 | 149.7235
Line_2 | 0 | 0 | 0 | 0.0050439 | 0.0050439 | 0.0050439 | 0 | 0 | 0 | 0.058242 | 0.058242 | 0.058242 | -5.6389e-11 | -5.6223e-09 | -5.7705e-09 | -0.0012236 | 0.051107 | -0.049748 | 8.3915e-11 | -3.285e-09 | 3.1994e-09 | -0.00086318 | -0.087469 | -0.089687 | 0 | 0 | 0 | -91.2603 | -91.2603 | -91.2603 |  | 0.027169 | 1.7389 | 1.762 | 0.02571 | 1.7394 | 1.7609 | 122.6077 | -151.0126 | 149.6845 | 123.9407 | -150.9632 | 149.7235

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.008187 | 0.008187 | 0.008187 | 0.0054597 | 0.0054597 | 0.0054597 | 0.094535 | 0.094535 | 0.094535 | 0.063043 | 0.063043 | 0.063043 | 0.00055759 | -1.2647e-14 | -3.4531e-14 | -0.00031666 | 0.00013767 | 0.00013767 | -0.15614 | -4.355e-14 | 3.7869e-14 | 0.10418 | 5.4782e-05 | 5.4782e-05 | 89.7924 | 89.7924 | 89.7924 | -90.253 | -90.253 | -90.253 |  | 1.6517 | 0 | 0 | 1.6525 | 0.0023503 | 0.0023503 | -0.0029847 | 0 | 0 | -0.078829 | -68.5541 | -68.5541
Line_1 | 0 | 0 | 0 | 0.0027299 | 0.0027299 | 0.0027299 | 0 | 0 | 0 | 0.031522 | 0.031522 | 0.031522 | -3.3492e-09 | 7.0614e-12 | -1.1278e-11 | 0.00015833 | -6.8835e-05 | -6.8835e-05 | -1.0915e-11 | 8.8955e-12 | 1.693e-12 | -0.05209 | -2.7391e-05 | -2.7391e-05 | 0 | 0 | 0 | 89.747 | 89.747 | 89.747 |  | 1.6527 | 0.0028204 | 0.0028204 | 1.6525 | 0.0023503 | 0.0023503 | -0.093994 | -68.5586 | -68.5586 | -0.078829 | -68.5541 | -68.5541
Line_2 | 0 | 0 | 0 | 0.0027299 | 0.0027299 | 0.0027299 | 0 | 0 | 0 | 0.031522 | 0.031522 | 0.031522 | -3.3492e-09 | 7.0614e-12 | -1.1278e-11 | 0.00015833 | -6.8835e-05 | -6.8835e-05 | -1.0946e-11 | 8.8954e-12 | 1.693e-12 | -0.05209 | -2.7391e-05 | -2.7391e-05 | 0 | 0 | 0 | 89.747 | 89.747 | 89.747 |  | 1.6527 | 0.0028204 | 0.0028204 | 1.6525 | 0.0023503 | 0.0023503 | -0.093994 | -68.5586 | -68.5586 | -0.078829 | -68.5541 | -68.5541

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.008187 | 0.008187 | 0.008187 | 0.0054597 | 0.0054597 | 0.0054597 | 0.094535 | 0.094535 | 0.094535 | 0.063043 | 0.063043 | 0.063043 | 0.00055759 | -1.2647e-14 | -3.4531e-14 | -0.00031666 | 0.00013767 | 0.00013767 | -0.15614 | -4.355e-14 | 3.7869e-14 | 0.10418 | 5.4782e-05 | 5.4782e-05 | 89.7924 | 89.7924 | 89.7924 | -90.253 | -90.253 | -90.253 |  | 1.6517 | 0 | 0 | 1.6525 | 0.0023503 | 0.0023503 | -0.0029847 | 0 | 0 | -0.078829 | -68.5541 | -68.5541
Line_1 | 0 | 0 | 0 | 0.0027299 | 0.0027299 | 0.0027299 | 0 | 0 | 0 | 0.031522 | 0.031522 | 0.031522 | -3.3492e-09 | 7.0614e-12 | -1.1278e-11 | 0.00015833 | -6.8835e-05 | -6.8835e-05 | -1.0915e-11 | 8.8955e-12 | 1.693e-12 | -0.05209 | -2.7391e-05 | -2.7391e-05 | 0 | 0 | 0 | 89.747 | 89.747 | 89.747 |  | 1.6527 | 0.0028204 | 0.0028204 | 1.6525 | 0.0023503 | 0.0023503 | -0.093994 | -68.5586 | -68.5586 | -0.078829 | -68.5541 | -68.5541
Line_2 | 0 | 0 | 0 | 0.0027299 | 0.0027299 | 0.0027299 | 0 | 0 | 0 | 0.031522 | 0.031522 | 0.031522 | -3.3492e-09 | 7.0614e-12 | -1.1278e-11 | 0.00015833 | -6.8835e-05 | -6.8835e-05 | -1.0946e-11 | 8.8954e-12 | 1.693e-12 | -0.05209 | -2.7391e-05 | -2.7391e-05 | 0 | 0 | 0 | 89.747 | 89.747 | 89.747 |  | 1.6527 | 0.0028204 | 0.0028204 | 1.6525 | 0.0023503 | 0.0023503 | -0.093994 | -68.5586 | -68.5586 | -0.078829 | -68.5541 | -68.5541

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0082402 | 0.0082402 | 0.0082402 | 0.0054952 | 0.0054952 | 0.0054952 | 0.09515 | 0.09515 | 0.09515 | 0.063453 | 0.063453 | 0.063453 | 0.0012522 | -0.071248 | 0.07056 | -0.00077879 | 0.047659 | -0.046922 | -0.15749 | 0.011479 | -0.012164 | 0.10508 | -0.0075621 | 0.0081303 | 89.4148 | 89.4148 | 89.4148 | -90.6306 | -90.6306 | -90.6306 |  | 1.6552 | 0.75845 | 0.75251 | 1.6561 | 0.76049 | 0.7505 | -0.12967 | -99.7379 | 79.6334 | -0.20597 | -99.6467 | 79.5393
Line_1 | 0 | 0 | 0 | 0.0027476 | 0.0027476 | 0.0027476 | 0 | 0 | 0 | 0.031727 | 0.031727 | 0.031727 | -3.3782e-09 | 7.5415e-10 | 2.382e-10 | 0.00038939 | -0.023829 | 0.023461 | -2.58e-11 | 1.0683e-09 | -1.964e-09 | -0.05254 | 0.0037811 | -0.0040651 | 0 | 0 | 0 | 89.3694 | 89.3694 | 89.3694 |  | 1.6563 | 0.76089 | 0.75009 | 1.6561 | 0.76049 | 0.7505 | -0.22123 | -99.6285 | 79.5204 | -0.20597 | -99.6467 | 79.5393
Line_2 | 0 | 0 | 0 | 0.0027476 | 0.0027476 | 0.0027476 | 0 | 0 | 0 | 0.031727 | 0.031727 | 0.031727 | -3.3782e-09 | 7.5415e-10 | 2.3819e-10 | 0.00038939 | -0.023829 | 0.023461 | -2.5816e-11 | 1.0683e-09 | -1.964e-09 | -0.05254 | 0.0037811 | -0.0040651 | 0 | 0 | 0 | 89.3694 | 89.3694 | 89.3694 |  | 1.6563 | 0.76089 | 0.75009 | 1.6561 | 0.76049 | 0.7505 | -0.22123 | -99.6285 | 79.5204 | -0.20597 | -99.6467 | 79.5393

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0082402 | 0.0082402 | 0.0082402 | 0.0054952 | 0.0054952 | 0.0054952 | 0.09515 | 0.09515 | 0.09515 | 0.063453 | 0.063453 | 0.063453 | 0.0012522 | -0.071248 | 0.07056 | -0.00077879 | 0.047659 | -0.046922 | -0.15749 | 0.011479 | -0.012164 | 0.10508 | -0.0075621 | 0.0081303 | 89.4148 | 89.4148 | 89.4148 | -90.6306 | -90.6306 | -90.6306 |  | 1.6552 | 0.75845 | 0.75251 | 1.6561 | 0.76049 | 0.7505 | -0.12967 | -99.7379 | 79.6334 | -0.20597 | -99.6467 | 79.5393
Line_1 | 0 | 0 | 0 | 0.0027476 | 0.0027476 | 0.0027476 | 0 | 0 | 0 | 0.031727 | 0.031727 | 0.031727 | -3.3782e-09 | 7.5415e-10 | 2.382e-10 | 0.00038939 | -0.023829 | 0.023461 | -2.58e-11 | 1.0683e-09 | -1.964e-09 | -0.05254 | 0.0037811 | -0.0040651 | 0 | 0 | 0 | 89.3694 | 89.3694 | 89.3694 |  | 1.6563 | 0.76089 | 0.75009 | 1.6561 | 0.76049 | 0.7505 | -0.22123 | -99.6285 | 79.5204 | -0.20597 | -99.6467 | 79.5393
Line_2 | 0 | 0 | 0 | 0.0027476 | 0.0027476 | 0.0027476 | 0 | 0 | 0 | 0.031727 | 0.031727 | 0.031727 | -3.3782e-09 | 7.5415e-10 | 2.3819e-10 | 0.00038939 | -0.023829 | 0.023461 | -2.5816e-11 | 1.0683e-09 | -1.964e-09 | -0.05254 | 0.0037811 | -0.0040651 | 0 | 0 | 0 | 89.3694 | 89.3694 | 89.3694 |  | 1.6563 | 0.76089 | 0.75009 | 1.6561 | 0.76049 | 0.7505 | -0.22123 | -99.6285 | 79.5204 | -0.20597 | -99.6467 | 79.5393

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0074429 | 0.0074429 | 0.0074429 | 0.0049635 | 0.0049635 | 0.0049635 | 0.085943 | 0.085943 | 0.085943 | 0.057313 | 0.057313 | 0.057313 | 0.00088479 | -9.196e-14 | 5.1672e-14 | -0.00050249 | 0.00021846 | 0.00021846 | -0.12905 | 2.4192e-14 | 4.79e-14 | 0.086102 | 4.5301e-05 | 4.5301e-05 | 89.6037 | 89.6037 | 89.6037 | -90.4835 | -90.4835 | -90.4835 |  | 1.5016 | 0 | 0 | 1.5023 | 0.0038928 | 0.0038928 | -0.0034816 | 0 | 0 | -0.1491 | -78.7684 | -78.7684
Line_1 | 0 | 0 | 0 | 0.0024817 | 0.0024817 | 0.0024817 | 0 | 0 | 0 | 0.028657 | 0.028657 | 0.028657 | -2.7683e-09 | 1.2803e-11 | -1.6297e-11 | 0.00025124 | -0.00010923 | -0.00010923 | -1.714e-11 | 1.1288e-11 | 5.5136e-12 | -0.043051 | -2.265e-05 | -2.265e-05 | 0 | 0 | 0 | 89.5165 | 89.5165 | 89.5165 |  | 1.5025 | 0.0046715 | 0.0046715 | 1.5023 | 0.0038928 | 0.0038928 | -0.17821 | -78.7771 | -78.7771 | -0.1491 | -78.7684 | -78.7684
Line_2 | 0 | 0 | 0 | 0.0024817 | 0.0024817 | 0.0024817 | 0 | 0 | 0 | 0.028657 | 0.028657 | 0.028657 | -2.7683e-09 | 1.2803e-11 | -1.6297e-11 | 0.00025124 | -0.00010923 | -0.00010923 | -1.7147e-11 | 1.1288e-11 | 5.5135e-12 | -0.043051 | -2.265e-05 | -2.265e-05 | 0 | 0 | 0 | 89.5165 | 89.5165 | 89.5165 |  | 1.5025 | 0.0046715 | 0.0046715 | 1.5023 | 0.0038928 | 0.0038928 | -0.17821 | -78.7771 | -78.7771 | -0.1491 | -78.7684 | -78.7684

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0074429 | 0.0074429 | 0.0074429 | 0.0049635 | 0.0049635 | 0.0049635 | 0.085943 | 0.085943 | 0.085943 | 0.057313 | 0.057313 | 0.057313 | 0.00088479 | -9.196e-14 | 5.1672e-14 | -0.00050249 | 0.00021846 | 0.00021846 | -0.12905 | 2.4192e-14 | 4.79e-14 | 0.086102 | 4.5301e-05 | 4.5301e-05 | 89.6037 | 89.6037 | 89.6037 | -90.4835 | -90.4835 | -90.4835 |  | 1.5016 | 0 | 0 | 1.5023 | 0.0038928 | 0.0038928 | -0.0034816 | 0 | 0 | -0.1491 | -78.7684 | -78.7684
Line_1 | 0 | 0 | 0 | 0.0024817 | 0.0024817 | 0.0024817 | 0 | 0 | 0 | 0.028657 | 0.028657 | 0.028657 | -2.7683e-09 | 1.2803e-11 | -1.6297e-11 | 0.00025124 | -0.00010923 | -0.00010923 | -1.714e-11 | 1.1288e-11 | 5.5136e-12 | -0.043051 | -2.265e-05 | -2.265e-05 | 0 | 0 | 0 | 89.5165 | 89.5165 | 89.5165 |  | 1.5025 | 0.0046715 | 0.0046715 | 1.5023 | 0.0038928 | 0.0038928 | -0.17821 | -78.7771 | -78.7771 | -0.1491 | -78.7684 | -78.7684
Line_2 | 0 | 0 | 0 | 0.0024817 | 0.0024817 | 0.0024817 | 0 | 0 | 0 | 0.028657 | 0.028657 | 0.028657 | -2.7683e-09 | 1.2803e-11 | -1.6297e-11 | 0.00025124 | -0.00010923 | -0.00010923 | -1.7147e-11 | 1.1288e-11 | 5.5135e-12 | -0.043051 | -2.265e-05 | -2.265e-05 | 0 | 0 | 0 | 89.5165 | 89.5165 | 89.5165 |  | 1.5025 | 0.0046715 | 0.0046715 | 1.5023 | 0.0038928 | 0.0038928 | -0.17821 | -78.7771 | -78.7771 | -0.1491 | -78.7684 | -78.7684

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.007491 | 0.007491 | 0.007491 | 0.0049956 | 0.0049956 | 0.0049956 | 0.086499 | 0.086499 | 0.086499 | 0.057684 | 0.057684 | 0.057684 | 0.0014652 | -0.05825 | 0.057681 | -0.00088784 | 0.039076 | -0.038255 | -0.13016 | 0.0095515 | -0.010117 | 0.086842 | -0.0062647 | 0.0067339 | 89.2242 | 89.2242 | 89.2242 | -90.8629 | -90.8629 | -90.8629 |  | 1.5048 | 0.68241 | 0.67702 | 1.5056 | 0.68607 | 0.67337 | -0.13078 | -100.088 | 79.2763 | -0.27715 | -99.971 | 79.1537
Line_1 | 0 | 0 | 0 | 0.0024978 | 0.0024978 | 0.0024978 | 0 | 0 | 0 | 0.028842 | 0.028842 | 0.028842 | -2.7921e-09 | 6.3606e-10 | 2.0604e-10 | 0.00044392 | -0.019538 | 0.019127 | -2.9518e-11 | 8.6346e-10 | -1.6139e-09 | -0.043421 | 0.0031323 | -0.003367 | 0 | 0 | 0 | 89.1371 | 89.1371 | 89.1371 |  | 1.5057 | 0.6868 | 0.67265 | 1.5056 | 0.68607 | 0.67337 | -0.30642 | -99.9479 | 79.1291 | -0.27715 | -99.971 | 79.1537
Line_2 | 0 | 0 | 0 | 0.0024978 | 0.0024978 | 0.0024978 | 0 | 0 | 0 | 0.028842 | 0.028842 | 0.028842 | -2.792e-09 | 6.3606e-10 | 2.0603e-10 | 0.00044392 | -0.019538 | 0.019127 | -2.9532e-11 | 8.6345e-10 | -1.6139e-09 | -0.043421 | 0.0031323 | -0.003367 | 0 | 0 | 0 | 89.1371 | 89.1371 | 89.1371 |  | 1.5057 | 0.6868 | 0.67265 | 1.5056 | 0.68607 | 0.67337 | -0.30642 | -99.9479 | 79.1291 | -0.27715 | -99.971 | 79.1537

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.007491 | 0.007491 | 0.007491 | 0.0049956 | 0.0049956 | 0.0049956 | 0.086499 | 0.086499 | 0.086499 | 0.057684 | 0.057684 | 0.057684 | 0.0014652 | -0.05825 | 0.057681 | -0.00088784 | 0.039076 | -0.038255 | -0.13016 | 0.0095515 | -0.010117 | 0.086842 | -0.0062647 | 0.0067339 | 89.2242 | 89.2242 | 89.2242 | -90.8629 | -90.8629 | -90.8629 |  | 1.5048 | 0.68241 | 0.67702 | 1.5056 | 0.68607 | 0.67337 | -0.13078 | -100.088 | 79.2763 | -0.27715 | -99.971 | 79.1537
Line_1 | 0 | 0 | 0 | 0.0024978 | 0.0024978 | 0.0024978 | 0 | 0 | 0 | 0.028842 | 0.028842 | 0.028842 | -2.7921e-09 | 6.3606e-10 | 2.0604e-10 | 0.00044392 | -0.019538 | 0.019127 | -2.9518e-11 | 8.6346e-10 | -1.6139e-09 | -0.043421 | 0.0031323 | -0.003367 | 0 | 0 | 0 | 89.1371 | 89.1371 | 89.1371 |  | 1.5057 | 0.6868 | 0.67265 | 1.5056 | 0.68607 | 0.67337 | -0.30642 | -99.9479 | 79.1291 | -0.27715 | -99.971 | 79.1537
Line_2 | 0 | 0 | 0 | 0.0024978 | 0.0024978 | 0.0024978 | 0 | 0 | 0 | 0.028842 | 0.028842 | 0.028842 | -2.792e-09 | 6.3606e-10 | 2.0603e-10 | 0.00044392 | -0.019538 | 0.019127 | -2.9532e-11 | 8.6345e-10 | -1.6139e-09 | -0.043421 | 0.0031323 | -0.003367 | 0 | 0 | 0 | 89.1371 | 89.1371 | 89.1371 |  | 1.5057 | 0.6868 | 0.67265 | 1.5056 | 0.68607 | 0.67337 | -0.30642 | -99.9479 | 79.1291 | -0.27715 | -99.971 | 79.1537