## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 3.6475e-14 | -2.6053e-14 | 1.0421e-14 | -1.8237e-14 | 2.0843e-14 | -2.6053e-14 | 5.7634e-09 | -5.7634e-09 | 1.0421e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.5728e-12 | 180 | -180 | 1.5792e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -1.5632e-14 | 1.5632e-14 | -2.0843e-14 | 3.3869e-14 | -3.1264e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.5794e-12 | -180 | 180 | 1.5792e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | -2.6053e-14 | 2.6053e-14 | -3.6475e-14 | 3.3869e-14 | -3.1264e-14 | 4.3392e-28 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.5904e-12 | -180 | 180 | 1.5792e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 1.0421e-14 | -1.0421e-14 | 1.4464e-28 | 5.2106e-15 | 5.1573e-25 | -1.0421e-14 | -1.0421e-14 | 1.0421e-14 | -5.2106e-15 | 2.3448e-14 | 5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.5794e-12 | -180 | 180 | 1.5904e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 3.6475e-14 | -2.6053e-14 | 1.0421e-14 | -1.8237e-14 | 2.0843e-14 | -2.6053e-14 | 5.7634e-09 | -5.7634e-09 | 1.0421e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.5728e-12 | 180 | -180 | 1.5792e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -1.5632e-14 | 1.5632e-14 | -2.0843e-14 | 3.3869e-14 | -3.1264e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.5794e-12 | -180 | 180 | 1.5792e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | -2.6053e-14 | 2.6053e-14 | -3.6475e-14 | 3.3869e-14 | -3.1264e-14 | 4.3392e-28 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.5904e-12 | -180 | 180 | 1.5792e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 1.0421e-14 | -1.0421e-14 | 1.4464e-28 | 5.2106e-15 | 5.1573e-25 | -1.0421e-14 | -1.0421e-14 | 1.0421e-14 | -5.2106e-15 | 2.3448e-14 | 5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.5794e-12 | -180 | 180 | 1.5904e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8237e-14 | -9.5549e-10 | -3.075e-09 | 1.3027e-14 | 9.555e-10 | 3.075e-09 | -1.3027e-14 | 4.0277e-09 | -3.5665e-10 | 5.2106e-15 | -4.0277e-09 | 3.5665e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.6183e-13 | -140.8543 | 122.4159 | 2.6703e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-15 | 3.1848e-10 | 1.025e-09 | -3.908e-15 | -3.1848e-10 | -1.025e-09 | -2.6053e-15 | -1.3426e-09 | 1.1887e-10 | -5.2106e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.676e-13 | -140.8543 | 122.4159 | 2.6703e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 3.1849e-10 | 1.025e-09 | -1.0421e-14 | -3.1848e-10 | -1.025e-09 | 2.4781e-29 | -1.3426e-09 | 1.1888e-10 | -5.2106e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.7249e-13 | -140.8543 | 122.4159 | 2.6703e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | -6.2312e-15 | -4.7045e-15 | 3.908e-15 | 1.3101e-14 | 6.7457e-15 | -2.6053e-15 | 6.3891e-16 | -4.9492e-15 | 1.8586e-29 | 4.9534e-15 | 1.4093e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.676e-13 | -140.8543 | 122.4159 | 2.7249e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8237e-14 | -9.5549e-10 | -3.075e-09 | 1.3027e-14 | 9.555e-10 | 3.075e-09 | -1.3027e-14 | 4.0277e-09 | -3.5665e-10 | 5.2106e-15 | -4.0277e-09 | 3.5665e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.6183e-13 | -140.8543 | 122.4159 | 2.6703e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-15 | 3.1848e-10 | 1.025e-09 | -3.908e-15 | -3.1848e-10 | -1.025e-09 | -2.6053e-15 | -1.3426e-09 | 1.1887e-10 | -5.2106e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.676e-13 | -140.8543 | 122.4159 | 2.6703e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 3.1849e-10 | 1.025e-09 | -1.0421e-14 | -3.1848e-10 | -1.025e-09 | 2.4781e-29 | -1.3426e-09 | 1.1888e-10 | -5.2106e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.7249e-13 | -140.8543 | 122.4159 | 2.6703e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | -6.2312e-15 | -4.7045e-15 | 3.908e-15 | 1.3101e-14 | 6.7457e-15 | -2.6053e-15 | 6.3891e-16 | -4.9492e-15 | 1.8586e-29 | 4.9534e-15 | 1.4093e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.676e-13 | -140.8543 | 122.4159 | 2.7249e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -5.9212e-15 | 4.7369e-15 | -4.737e-15 | 5.9219e-15 | -2.3678e-15 | -4.737e-15 | 4.7631e-09 | -4.7631e-09 | 9.4739e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 3.0799e-13 | -180 | 180 | 3.3586e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -1.1839e-15 | -4.7366e-15 | 1.1842e-14 | 1.184e-15 | 7.1052e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 3.054e-13 | -180 | 180 | 3.3586e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | -5.9209e-15 | -4.7366e-15 | 9.4739e-15 | 5.921e-15 | 7.1052e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 3.0685e-13 | -180 | 180 | 3.3586e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 4.737e-15 | -2.3685e-15 | 2.3685e-15 | -4.737e-15 | 2.3685e-15 | -1.2624e-29 | 4.737e-15 | 4.5451e-25 | -4.737e-15 | -2.3685e-15 | -9.4739e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 3.054e-13 | -180 | 180 | 3.0685e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -5.9212e-15 | 4.7369e-15 | -4.737e-15 | 5.9219e-15 | -2.3678e-15 | -4.737e-15 | 4.7631e-09 | -4.7631e-09 | 9.4739e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 3.0799e-13 | -180 | 180 | 3.3586e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -1.1839e-15 | -4.7366e-15 | 1.1842e-14 | 1.184e-15 | 7.1052e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 3.054e-13 | -180 | 180 | 3.3586e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | -5.9209e-15 | -4.7366e-15 | 9.4739e-15 | 5.921e-15 | 7.1052e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 3.0685e-13 | -180 | 180 | 3.3586e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 4.737e-15 | -2.3685e-15 | 2.3685e-15 | -4.737e-15 | 2.3685e-15 | -1.2624e-29 | 4.737e-15 | 4.5451e-25 | -4.737e-15 | -2.3685e-15 | -9.4739e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 3.054e-13 | -180 | 180 | 3.0685e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4803e-14 | -8.0026e-10 | -2.5674e-09 | -1.125e-14 | 8.0026e-10 | 2.5674e-09 | 4.737e-15 | 3.4014e-09 | -3.4065e-10 | -2.3685e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -3.1215e-12 | -141.4824 | 122.8363 | -3.1024e-12 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | 2.6676e-10 | 8.558e-10 | 8.5857e-15 | -2.6676e-10 | -8.558e-10 | 3.5395e-28 | -1.1338e-09 | 1.1355e-10 | -4.6489e-28 | 1.1338e-09 | -1.1356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -3.1136e-12 | -141.4824 | 122.8363 | -3.1024e-12 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.3291e-15 | 2.6676e-10 | 8.5579e-10 | 7.6975e-15 | -2.6676e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -4.168e-28 | 1.1338e-09 | -1.1356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -3.1131e-12 | -141.4824 | 122.8363 | -3.1024e-12 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 0 | 1.2852e-15 | 2.9606e-16 | -1.4929e-15 | -6.4679e-15 | -3.2177e-29 | 0 | 3.4756e-15 | -2.3685e-15 | -3.7442e-15 | -6.3792e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -3.1136e-12 | -141.4824 | 122.8363 | -3.1131e-12 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4803e-14 | -8.0026e-10 | -2.5674e-09 | -1.125e-14 | 8.0026e-10 | 2.5674e-09 | 4.737e-15 | 3.4014e-09 | -3.4065e-10 | -2.3685e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -3.1215e-12 | -141.4824 | 122.8363 | -3.1024e-12 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | 2.6676e-10 | 8.558e-10 | 8.5857e-15 | -2.6676e-10 | -8.558e-10 | 3.5395e-28 | -1.1338e-09 | 1.1355e-10 | -4.6489e-28 | 1.1338e-09 | -1.1356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -3.1136e-12 | -141.4824 | 122.8363 | -3.1024e-12 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.3291e-15 | 2.6676e-10 | 8.5579e-10 | 7.6975e-15 | -2.6676e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -4.168e-28 | 1.1338e-09 | -1.1356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -3.1131e-12 | -141.4824 | 122.8363 | -3.1024e-12 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 0 | 1.2852e-15 | 2.9606e-16 | -1.4929e-15 | -6.4679e-15 | -3.2177e-29 | 0 | 3.4756e-15 | -2.3685e-15 | -3.7442e-15 | -6.3792e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -3.1136e-12 | -141.4824 | 122.8363 | -3.1131e-12 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.021959 | 0.021959 | 0.021959 | 0.016475 | 0.016475 | 0.016475 | 0.25356 | 0.25356 | 0.25356 | 0.19024 | 0.19024 | 0.19024 | -6.2511e-14 | 0.24392 | -0.23916 | 0.00117 | -0.18214 | 0.1803 | -4.778e-14 | -0.41942 | -0.42231 | 0.00046566 | 0.31498 | 0.31749 | -90.3429 | -90.3429 | -90.3429 | 89.6023 | 89.6023 | 89.6023 |  | 0 | 1.9135 | 1.9141 | 0.0066192 | 1.9126 | 1.9192 | 0 | -150.1619 | 150.1339 | 111.3053 | -150.358 | 150.01
Line_1 | 0.0027464 | 0.0027464 | 0.0027464 | 0.0082376 | 0.0082376 | 0.0082376 | 0.031713 | 0.031713 | 0.031713 | 0.09512 | 0.09512 | 0.09512 | 0.00025074 | -0.030335 | 0.030085 | -0.00058498 | 0.091071 | -0.090152 | 9.9905e-05 | 0.052513 | 0.052964 | -0.00023283 | -0.15749 | -0.15875 | 89.572 | 89.572 | 89.572 | -90.3977 | -90.3977 | -90.3977 |  | 0.0085109 | 1.9123 | 1.9207 | 0.0066192 | 1.9126 | 1.9192 | 111.2967 | -150.414 | 149.9747 | 111.3053 | -150.358 | 150.01
Line_2 | 0.0027464 | 0.0027464 | 0.0027464 | 0.0082376 | 0.0082376 | 0.0082376 | 0.031713 | 0.031713 | 0.031713 | 0.09512 | 0.09512 | 0.09512 | 0.00025074 | -0.030335 | 0.030085 | -0.00058498 | 0.091071 | -0.090152 | 9.9905e-05 | 0.052513 | 0.052964 | -0.00023283 | -0.15749 | -0.15875 | 89.572 | 89.572 | 89.572 | -90.3977 | -90.3977 | -90.3977 |  | 0.0085109 | 1.9123 | 1.9207 | 0.0066192 | 1.9126 | 1.9192 | 111.2967 | -150.414 | 149.9747 | 111.3053 | -150.358 | 150.01
Line_3 | 0.0027464 | 0.0027464 | 0.0027464 | 0.0027464 | 0.0027464 | 0.0027464 | 0.031713 | 0.031713 | 0.031713 | 0.031713 | 0.031713 | 0.031713 | -0.00025074 | 0.030335 | -0.030085 | -0.00025074 | 0.030335 | -0.030085 | -9.9905e-05 | -0.052513 | -0.052964 | -9.9905e-05 | -0.052513 | -0.052964 | -90.428 | -90.428 | -90.428 | -90.428 | -90.428 | -90.428 |  | 0.0085109 | 1.9123 | 1.9207 | 0.0085109 | 1.9123 | 1.9207 | 111.2967 | -150.414 | 149.9747 | 111.2967 | -150.414 | 149.9747

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.021959 | 0.021959 | 0.021959 | 0.016475 | 0.016475 | 0.016475 | 0.25356 | 0.25356 | 0.25356 | 0.19024 | 0.19024 | 0.19024 | -6.2511e-14 | 0.24392 | -0.23916 | 0.00117 | -0.18214 | 0.1803 | -4.778e-14 | -0.41942 | -0.42231 | 0.00046566 | 0.31498 | 0.31749 | -90.3429 | -90.3429 | -90.3429 | 89.6023 | 89.6023 | 89.6023 |  | 0 | 1.9135 | 1.9141 | 0.0066192 | 1.9126 | 1.9192 | 0 | -150.1619 | 150.1339 | 111.3053 | -150.358 | 150.01
Line_1 | 0.0027464 | 0.0027464 | 0.0027464 | 0.0082376 | 0.0082376 | 0.0082376 | 0.031713 | 0.031713 | 0.031713 | 0.09512 | 0.09512 | 0.09512 | 0.00025074 | -0.030335 | 0.030085 | -0.00058498 | 0.091071 | -0.090152 | 9.9905e-05 | 0.052513 | 0.052964 | -0.00023283 | -0.15749 | -0.15875 | 89.572 | 89.572 | 89.572 | -90.3977 | -90.3977 | -90.3977 |  | 0.0085109 | 1.9123 | 1.9207 | 0.0066192 | 1.9126 | 1.9192 | 111.2967 | -150.414 | 149.9747 | 111.3053 | -150.358 | 150.01
Line_2 | 0.0027464 | 0.0027464 | 0.0027464 | 0.0082376 | 0.0082376 | 0.0082376 | 0.031713 | 0.031713 | 0.031713 | 0.09512 | 0.09512 | 0.09512 | 0.00025074 | -0.030335 | 0.030085 | -0.00058498 | 0.091071 | -0.090152 | 9.9905e-05 | 0.052513 | 0.052964 | -0.00023283 | -0.15749 | -0.15875 | 89.572 | 89.572 | 89.572 | -90.3977 | -90.3977 | -90.3977 |  | 0.0085109 | 1.9123 | 1.9207 | 0.0066192 | 1.9126 | 1.9192 | 111.2967 | -150.414 | 149.9747 | 111.3053 | -150.358 | 150.01
Line_3 | 0.0027464 | 0.0027464 | 0.0027464 | 0.0027464 | 0.0027464 | 0.0027464 | 0.031713 | 0.031713 | 0.031713 | 0.031713 | 0.031713 | 0.031713 | -0.00025074 | 0.030335 | -0.030085 | -0.00025074 | 0.030335 | -0.030085 | -9.9905e-05 | -0.052513 | -0.052964 | -9.9905e-05 | -0.052513 | -0.052964 | -90.428 | -90.428 | -90.428 | -90.428 | -90.428 | -90.428 |  | 0.0085109 | 1.9123 | 1.9207 | 0.0085109 | 1.9123 | 1.9207 | 111.2967 | -150.414 | 149.9747 | 111.2967 | -150.414 | 149.9747

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.022386 | 0.022386 | 0.022386 | 0.016796 | 0.016796 | 0.016796 | 0.2585 | 0.2585 | 0.2585 | 0.19395 | 0.19395 | 0.19395 | -0.0056517 | 0.25147 | -0.24087 | 0.0054524 | -0.18777 | 0.18162 | -0.0056305 | -0.42821 | -0.44101 | 0.0047125 | 0.32158 | 0.33154 | -91.4885 | -91.4885 | -91.4885 | 88.4566 | 88.4566 | 88.4566 |  | 0.030862 | 1.9211 | 1.9439 | 0.037158 | 1.9201 | 1.9491 | 133.4036 | -151.0648 | 149.8693 | 129.2937 | -151.2638 | 149.7425
Line_1 | 0.0028 | 0.0028 | 0.0028 | 0.0083981 | 0.0083981 | 0.0083981 | 0.032331 | 0.032331 | 0.032331 | 0.096973 | 0.096973 | 0.096973 | 0.00096644 | -0.031271 | 0.030305 | -0.0027262 | 0.093883 | -0.090809 | 0.00080911 | 0.053615 | 0.055307 | -0.0023563 | -0.16079 | -0.16577 | 88.4263 | 88.4263 | 88.4263 | -91.5434 | -91.5434 | -91.5434 |  | 0.038985 | 1.9198 | 1.9506 | 0.037158 | 1.9201 | 1.9491 | 128.3628 | -151.3207 | 149.7064 | 129.2937 | -151.2638 | 149.7425
Line_2 | 0.0028 | 0.0028 | 0.0028 | 0.0083981 | 0.0083981 | 0.0083981 | 0.032331 | 0.032331 | 0.032331 | 0.096973 | 0.096973 | 0.096973 | 0.00096644 | -0.031271 | 0.030305 | -0.0027262 | 0.093883 | -0.090809 | 0.00080911 | 0.053615 | 0.055307 | -0.0023563 | -0.16079 | -0.16577 | 88.4263 | 88.4263 | 88.4263 | -91.5434 | -91.5434 | -91.5434 |  | 0.038985 | 1.9198 | 1.9506 | 0.037158 | 1.9201 | 1.9491 | 128.3628 | -151.3207 | 149.7064 | 129.2937 | -151.2638 | 149.7425
Line_3 | 0.0028 | 0.0028 | 0.0028 | 0.0028 | 0.0028 | 0.0028 | 0.032331 | 0.032331 | 0.032331 | 0.032331 | 0.032331 | 0.032331 | -0.00096644 | 0.031271 | -0.030305 | -0.00096644 | 0.031271 | -0.030305 | -0.00080911 | -0.053615 | -0.055307 | -0.00080911 | -0.053615 | -0.055307 | -91.5736 | -91.5736 | -91.5736 | -91.5736 | -91.5736 | -91.5736 |  | 0.038985 | 1.9198 | 1.9506 | 0.038985 | 1.9198 | 1.9506 | 128.3628 | -151.3207 | 149.7064 | 128.3628 | -151.3207 | 149.7064

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.022386 | 0.022386 | 0.022386 | 0.016796 | 0.016796 | 0.016796 | 0.2585 | 0.2585 | 0.2585 | 0.19395 | 0.19395 | 0.19395 | -0.0056517 | 0.25147 | -0.24087 | 0.0054524 | -0.18777 | 0.18162 | -0.0056305 | -0.42821 | -0.44101 | 0.0047125 | 0.32158 | 0.33154 | -91.4885 | -91.4885 | -91.4885 | 88.4566 | 88.4566 | 88.4566 |  | 0.030862 | 1.9211 | 1.9439 | 0.037158 | 1.9201 | 1.9491 | 133.4036 | -151.0648 | 149.8693 | 129.2937 | -151.2638 | 149.7425
Line_1 | 0.0028 | 0.0028 | 0.0028 | 0.0083981 | 0.0083981 | 0.0083981 | 0.032331 | 0.032331 | 0.032331 | 0.096973 | 0.096973 | 0.096973 | 0.00096644 | -0.031271 | 0.030305 | -0.0027262 | 0.093883 | -0.090809 | 0.00080911 | 0.053615 | 0.055307 | -0.0023563 | -0.16079 | -0.16577 | 88.4263 | 88.4263 | 88.4263 | -91.5434 | -91.5434 | -91.5434 |  | 0.038985 | 1.9198 | 1.9506 | 0.037158 | 1.9201 | 1.9491 | 128.3628 | -151.3207 | 149.7064 | 129.2937 | -151.2638 | 149.7425
Line_2 | 0.0028 | 0.0028 | 0.0028 | 0.0083981 | 0.0083981 | 0.0083981 | 0.032331 | 0.032331 | 0.032331 | 0.096973 | 0.096973 | 0.096973 | 0.00096644 | -0.031271 | 0.030305 | -0.0027262 | 0.093883 | -0.090809 | 0.00080911 | 0.053615 | 0.055307 | -0.0023563 | -0.16079 | -0.16577 | 88.4263 | 88.4263 | 88.4263 | -91.5434 | -91.5434 | -91.5434 |  | 0.038985 | 1.9198 | 1.9506 | 0.037158 | 1.9201 | 1.9491 | 128.3628 | -151.3207 | 149.7064 | 129.2937 | -151.2638 | 149.7425
Line_3 | 0.0028 | 0.0028 | 0.0028 | 0.0028 | 0.0028 | 0.0028 | 0.032331 | 0.032331 | 0.032331 | 0.032331 | 0.032331 | 0.032331 | -0.00096644 | 0.031271 | -0.030305 | -0.00096644 | 0.031271 | -0.030305 | -0.00080911 | -0.053615 | -0.055307 | -0.00080911 | -0.053615 | -0.055307 | -91.5736 | -91.5736 | -91.5736 | -91.5736 | -91.5736 | -91.5736 |  | 0.038985 | 1.9198 | 1.9506 | 0.038985 | 1.9198 | 1.9506 | 128.3628 | -151.3207 | 149.7064 | 128.3628 | -151.3207 | 149.7064

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.019967 | 0.019967 | 0.019967 | 0.014981 | 0.014981 | 0.014981 | 0.23056 | 0.23056 | 0.23056 | 0.17298 | 0.17298 | 0.17298 | -1.9155e-14 | 0.20344 | -0.19587 | 0.0018573 | -0.15125 | 0.14834 | -2.3203e-14 | -0.34573 | -0.35023 | 0.0003854 | 0.2595 | 0.26343 | -90.6449 | -90.6449 | -90.6449 | 89.2498 | 89.2498 | 89.2498 |  | 0 | 1.7399 | 1.7405 | 0.010966 | 1.7364 | 1.7477 | 0 | -150.1715 | 150.1379 | 100.9727 | -150.514 | 149.8659
Line_1 | 0.0024973 | 0.0024973 | 0.0024973 | 0.0074904 | 0.0074904 | 0.0074904 | 0.028837 | 0.028837 | 0.028837 | 0.086491 | 0.086491 | 0.086491 | 0.00039804 | -0.02517 | 0.024772 | -0.00092864 | 0.075627 | -0.074168 | 8.2897e-05 | 0.043252 | 0.043957 | -0.0001927 | -0.12975 | -0.13171 | 89.1917 | 89.1917 | 89.1917 | -90.7502 | -90.7502 | -90.7502 |  | 0.014099 | 1.7354 | 1.7497 | 0.010966 | 1.7364 | 1.7477 | 100.9561 | -150.612 | 149.7885 | 100.9727 | -150.514 | 149.8659
Line_2 | 0.0024973 | 0.0024973 | 0.0024973 | 0.0074904 | 0.0074904 | 0.0074904 | 0.028837 | 0.028837 | 0.028837 | 0.086491 | 0.086491 | 0.086491 | 0.00039804 | -0.02517 | 0.024772 | -0.00092864 | 0.075627 | -0.074168 | 8.2897e-05 | 0.043252 | 0.043957 | -0.0001927 | -0.12975 | -0.13171 | 89.1917 | 89.1917 | 89.1917 | -90.7502 | -90.7502 | -90.7502 |  | 0.014099 | 1.7354 | 1.7497 | 0.010966 | 1.7364 | 1.7477 | 100.9561 | -150.612 | 149.7885 | 100.9727 | -150.514 | 149.8659
Line_3 | 0.0024973 | 0.0024973 | 0.0024973 | 0.0024973 | 0.0024973 | 0.0024973 | 0.028837 | 0.028837 | 0.028837 | 0.028837 | 0.028837 | 0.028837 | -0.00039804 | 0.02517 | -0.024772 | -0.00039804 | 0.02517 | -0.024772 | -8.2896e-05 | -0.043252 | -0.043957 | -8.2896e-05 | -0.043252 | -0.043957 | -90.8083 | -90.8083 | -90.8083 | -90.8083 | -90.8083 | -90.8083 |  | 0.014099 | 1.7354 | 1.7497 | 0.014099 | 1.7354 | 1.7497 | 100.9561 | -150.612 | 149.7885 | 100.9561 | -150.612 | 149.7885

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.019967 | 0.019967 | 0.019967 | 0.014981 | 0.014981 | 0.014981 | 0.23056 | 0.23056 | 0.23056 | 0.17298 | 0.17298 | 0.17298 | -1.9155e-14 | 0.20344 | -0.19587 | 0.0018573 | -0.15125 | 0.14834 | -2.3203e-14 | -0.34573 | -0.35023 | 0.0003854 | 0.2595 | 0.26343 | -90.6449 | -90.6449 | -90.6449 | 89.2498 | 89.2498 | 89.2498 |  | 0 | 1.7399 | 1.7405 | 0.010966 | 1.7364 | 1.7477 | 0 | -150.1715 | 150.1379 | 100.9727 | -150.514 | 149.8659
Line_1 | 0.0024973 | 0.0024973 | 0.0024973 | 0.0074904 | 0.0074904 | 0.0074904 | 0.028837 | 0.028837 | 0.028837 | 0.086491 | 0.086491 | 0.086491 | 0.00039804 | -0.02517 | 0.024772 | -0.00092864 | 0.075627 | -0.074168 | 8.2897e-05 | 0.043252 | 0.043957 | -0.0001927 | -0.12975 | -0.13171 | 89.1917 | 89.1917 | 89.1917 | -90.7502 | -90.7502 | -90.7502 |  | 0.014099 | 1.7354 | 1.7497 | 0.010966 | 1.7364 | 1.7477 | 100.9561 | -150.612 | 149.7885 | 100.9727 | -150.514 | 149.8659
Line_2 | 0.0024973 | 0.0024973 | 0.0024973 | 0.0074904 | 0.0074904 | 0.0074904 | 0.028837 | 0.028837 | 0.028837 | 0.086491 | 0.086491 | 0.086491 | 0.00039804 | -0.02517 | 0.024772 | -0.00092864 | 0.075627 | -0.074168 | 8.2897e-05 | 0.043252 | 0.043957 | -0.0001927 | -0.12975 | -0.13171 | 89.1917 | 89.1917 | 89.1917 | -90.7502 | -90.7502 | -90.7502 |  | 0.014099 | 1.7354 | 1.7497 | 0.010966 | 1.7364 | 1.7477 | 100.9561 | -150.612 | 149.7885 | 100.9727 | -150.514 | 149.8659
Line_3 | 0.0024973 | 0.0024973 | 0.0024973 | 0.0024973 | 0.0024973 | 0.0024973 | 0.028837 | 0.028837 | 0.028837 | 0.028837 | 0.028837 | 0.028837 | -0.00039804 | 0.02517 | -0.024772 | -0.00039804 | 0.02517 | -0.024772 | -8.2896e-05 | -0.043252 | -0.043957 | -8.2896e-05 | -0.043252 | -0.043957 | -90.8083 | -90.8083 | -90.8083 | -90.8083 | -90.8083 | -90.8083 |  | 0.014099 | 1.7354 | 1.7497 | 0.014099 | 1.7354 | 1.7497 | 100.9561 | -150.612 | 149.7885 | 100.9561 | -150.612 | 149.7885

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.020353 | 0.020353 | 0.020353 | 0.015271 | 0.015271 | 0.015271 | 0.23502 | 0.23502 | 0.23502 | 0.17633 | 0.17633 | 0.17633 | -0.0046797 | 0.2097 | -0.19716 | 0.0054345 | -0.15589 | 0.14935 | -0.004646 | -0.35286 | -0.36564 | 0.0038927 | 0.26486 | 0.275 | -91.7985 | -91.7985 | -91.7985 | 88.0961 | 88.0961 | 88.0961 |  | 0.028059 | 1.7466 | 1.7676 | 0.037911 | 1.7429 | 1.7748 | 132.9944 | -151.0764 | 149.8668 | 123.71 | -151.4236 | 149.5902
Line_1 | 0.0025456 | 0.0025456 | 0.0025456 | 0.0076353 | 0.0076353 | 0.0076353 | 0.029394 | 0.029394 | 0.029394 | 0.088164 | 0.088164 | 0.088164 | 0.00099723 | -0.02594 | 0.024943 | -0.0027172 | 0.077945 | -0.074676 | 0.00066889 | 0.044145 | 0.045888 | -0.0019463 | -0.13243 | -0.1375 | 88.038 | 88.038 | 88.038 | -91.9039 | -91.9039 | -91.9039 |  | 0.040851 | 1.7419 | 1.7768 | 0.037911 | 1.7429 | 1.7748 | 121.8898 | -151.5231 | 149.5114 | 123.71 | -151.4236 | 149.5902
Line_2 | 0.0025456 | 0.0025456 | 0.0025456 | 0.0076353 | 0.0076353 | 0.0076353 | 0.029394 | 0.029394 | 0.029394 | 0.088164 | 0.088164 | 0.088164 | 0.00099723 | -0.02594 | 0.024943 | -0.0027172 | 0.077945 | -0.074676 | 0.00066889 | 0.044145 | 0.045888 | -0.0019463 | -0.13243 | -0.1375 | 88.038 | 88.038 | 88.038 | -91.9039 | -91.9039 | -91.9039 |  | 0.040851 | 1.7419 | 1.7768 | 0.037911 | 1.7429 | 1.7748 | 121.8898 | -151.5231 | 149.5114 | 123.71 | -151.4236 | 149.5902
Line_3 | 0.0025456 | 0.0025456 | 0.0025456 | 0.0025456 | 0.0025456 | 0.0025456 | 0.029394 | 0.029394 | 0.029394 | 0.029394 | 0.029394 | 0.029394 | -0.00099723 | 0.02594 | -0.024943 | -0.00099723 | 0.02594 | -0.024943 | -0.00066889 | -0.044145 | -0.045888 | -0.00066889 | -0.044145 | -0.045888 | -91.962 | -91.962 | -91.962 | -91.962 | -91.962 | -91.962 |  | 0.040851 | 1.7419 | 1.7768 | 0.040851 | 1.7419 | 1.7768 | 121.8898 | -151.5231 | 149.5114 | 121.8898 | -151.5231 | 149.5114

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.020353 | 0.020353 | 0.020353 | 0.015271 | 0.015271 | 0.015271 | 0.23502 | 0.23502 | 0.23502 | 0.17633 | 0.17633 | 0.17633 | -0.0046797 | 0.2097 | -0.19716 | 0.0054345 | -0.15589 | 0.14935 | -0.004646 | -0.35286 | -0.36564 | 0.0038927 | 0.26486 | 0.275 | -91.7985 | -91.7985 | -91.7985 | 88.0961 | 88.0961 | 88.0961 |  | 0.028059 | 1.7466 | 1.7676 | 0.037911 | 1.7429 | 1.7748 | 132.9944 | -151.0764 | 149.8668 | 123.71 | -151.4236 | 149.5902
Line_1 | 0.0025456 | 0.0025456 | 0.0025456 | 0.0076353 | 0.0076353 | 0.0076353 | 0.029394 | 0.029394 | 0.029394 | 0.088164 | 0.088164 | 0.088164 | 0.00099723 | -0.02594 | 0.024943 | -0.0027172 | 0.077945 | -0.074676 | 0.00066889 | 0.044145 | 0.045888 | -0.0019463 | -0.13243 | -0.1375 | 88.038 | 88.038 | 88.038 | -91.9039 | -91.9039 | -91.9039 |  | 0.040851 | 1.7419 | 1.7768 | 0.037911 | 1.7429 | 1.7748 | 121.8898 | -151.5231 | 149.5114 | 123.71 | -151.4236 | 149.5902
Line_2 | 0.0025456 | 0.0025456 | 0.0025456 | 0.0076353 | 0.0076353 | 0.0076353 | 0.029394 | 0.029394 | 0.029394 | 0.088164 | 0.088164 | 0.088164 | 0.00099723 | -0.02594 | 0.024943 | -0.0027172 | 0.077945 | -0.074676 | 0.00066889 | 0.044145 | 0.045888 | -0.0019463 | -0.13243 | -0.1375 | 88.038 | 88.038 | 88.038 | -91.9039 | -91.9039 | -91.9039 |  | 0.040851 | 1.7419 | 1.7768 | 0.037911 | 1.7429 | 1.7748 | 121.8898 | -151.5231 | 149.5114 | 123.71 | -151.4236 | 149.5902
Line_3 | 0.0025456 | 0.0025456 | 0.0025456 | 0.0025456 | 0.0025456 | 0.0025456 | 0.029394 | 0.029394 | 0.029394 | 0.029394 | 0.029394 | 0.029394 | -0.00099723 | 0.02594 | -0.024943 | -0.00099723 | 0.02594 | -0.024943 | -0.00066889 | -0.044145 | -0.045888 | -0.00066889 | -0.044145 | -0.045888 | -91.962 | -91.962 | -91.962 | -91.962 | -91.962 | -91.962 |  | 0.040851 | 1.7419 | 1.7768 | 0.040851 | 1.7419 | 1.7768 | 121.8898 | -151.5231 | 149.5114 | 121.8898 | -151.5231 | 149.5114

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.01093 | 0.01093 | 0.01093 | 0.0082008 | 0.0082008 | 0.0082008 | 0.12621 | 0.12621 | 0.12621 | 0.094695 | 0.094695 | 0.094695 | 0.0011803 | -4.0564e-14 | -6.9929e-14 | -0.00074551 | 0.00028988 | 0.00028988 | -0.20856 | -7.115e-14 | 3.533e-14 | 0.15659 | 0.00011538 | 0.00011538 | 89.6711 | 89.6711 | 89.6711 | -90.3837 | -90.3837 | -90.3837 |  | 1.6525 | 0 | 0 | 1.6537 | 0.0032948 | 0.0032948 | -0.00463 | 0 | 0 | -0.11097 | -68.6807 | -68.6807
Line_1 | 0.0013671 | 0.0013671 | 0.0013671 | 0.0041004 | 0.0041004 | 0.0041004 | 0.015786 | 0.015786 | 0.015786 | 0.047347 | 0.047347 | 0.047347 | -0.00012425 | 6.2125e-05 | 6.2125e-05 | 0.00037275 | -0.00014494 | -0.00014494 | 0.026109 | 2.4753e-05 | 2.4753e-05 | -0.078295 | -5.7688e-05 | -5.7688e-05 | -90.414 | -90.414 | -90.414 | 89.6163 | 89.6163 | 89.6163 |  | 1.654 | 0.0042364 | 0.0042364 | 1.6537 | 0.0032948 | 0.0032948 | -0.14134 | -68.6894 | -68.6894 | -0.11097 | -68.6807 | -68.6807
Line_2 | 0.0013671 | 0.0013671 | 0.0013671 | 0.0041004 | 0.0041004 | 0.0041004 | 0.015786 | 0.015786 | 0.015786 | 0.047347 | 0.047347 | 0.047347 | -0.00012425 | 6.2125e-05 | 6.2125e-05 | 0.00037275 | -0.00014494 | -0.00014494 | 0.026109 | 2.4753e-05 | 2.4753e-05 | -0.078295 | -5.7688e-05 | -5.7688e-05 | -90.414 | -90.414 | -90.414 | 89.6163 | 89.6163 | 89.6163 |  | 1.654 | 0.0042364 | 0.0042364 | 1.6537 | 0.0032948 | 0.0032948 | -0.14134 | -68.6894 | -68.6894 | -0.11097 | -68.6807 | -68.6807
Line_3 | 0.0013671 | 0.0013671 | 0.0013671 | 0.0013671 | 0.0013671 | 0.0013671 | 0.015786 | 0.015786 | 0.015786 | 0.015786 | 0.015786 | 0.015786 | 0.00012425 | -6.2125e-05 | -6.2125e-05 | 0.00012425 | -6.2125e-05 | -6.2125e-05 | -0.026109 | -2.4753e-05 | -2.4753e-05 | -0.026109 | -2.4753e-05 | -2.4753e-05 | 89.586 | 89.586 | 89.586 | 89.586 | 89.586 | 89.586 |  | 1.654 | 0.0042364 | 0.0042364 | 1.654 | 0.0042364 | 0.0042364 | -0.14134 | -68.6894 | -68.6894 | -0.14134 | -68.6894 | -68.6894

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.01093 | 0.01093 | 0.01093 | 0.0082008 | 0.0082008 | 0.0082008 | 0.12621 | 0.12621 | 0.12621 | 0.094695 | 0.094695 | 0.094695 | 0.0011803 | -4.0564e-14 | -6.9929e-14 | -0.00074551 | 0.00028988 | 0.00028988 | -0.20856 | -7.115e-14 | 3.533e-14 | 0.15659 | 0.00011538 | 0.00011538 | 89.6711 | 89.6711 | 89.6711 | -90.3837 | -90.3837 | -90.3837 |  | 1.6525 | 0 | 0 | 1.6537 | 0.0032948 | 0.0032948 | -0.00463 | 0 | 0 | -0.11097 | -68.6807 | -68.6807
Line_1 | 0.0013671 | 0.0013671 | 0.0013671 | 0.0041004 | 0.0041004 | 0.0041004 | 0.015786 | 0.015786 | 0.015786 | 0.047347 | 0.047347 | 0.047347 | -0.00012425 | 6.2125e-05 | 6.2125e-05 | 0.00037275 | -0.00014494 | -0.00014494 | 0.026109 | 2.4753e-05 | 2.4753e-05 | -0.078295 | -5.7688e-05 | -5.7688e-05 | -90.414 | -90.414 | -90.414 | 89.6163 | 89.6163 | 89.6163 |  | 1.654 | 0.0042364 | 0.0042364 | 1.6537 | 0.0032948 | 0.0032948 | -0.14134 | -68.6894 | -68.6894 | -0.11097 | -68.6807 | -68.6807
Line_2 | 0.0013671 | 0.0013671 | 0.0013671 | 0.0041004 | 0.0041004 | 0.0041004 | 0.015786 | 0.015786 | 0.015786 | 0.047347 | 0.047347 | 0.047347 | -0.00012425 | 6.2125e-05 | 6.2125e-05 | 0.00037275 | -0.00014494 | -0.00014494 | 0.026109 | 2.4753e-05 | 2.4753e-05 | -0.078295 | -5.7688e-05 | -5.7688e-05 | -90.414 | -90.414 | -90.414 | 89.6163 | 89.6163 | 89.6163 |  | 1.654 | 0.0042364 | 0.0042364 | 1.6537 | 0.0032948 | 0.0032948 | -0.14134 | -68.6894 | -68.6894 | -0.11097 | -68.6807 | -68.6807
Line_3 | 0.0013671 | 0.0013671 | 0.0013671 | 0.0013671 | 0.0013671 | 0.0013671 | 0.015786 | 0.015786 | 0.015786 | 0.015786 | 0.015786 | 0.015786 | 0.00012425 | -6.2125e-05 | -6.2125e-05 | 0.00012425 | -6.2125e-05 | -6.2125e-05 | -0.026109 | -2.4753e-05 | -2.4753e-05 | -0.026109 | -2.4753e-05 | -2.4753e-05 | 89.586 | 89.586 | 89.586 | 89.586 | 89.586 | 89.586 |  | 1.654 | 0.0042364 | 0.0042364 | 1.654 | 0.0042364 | 0.0042364 | -0.14134 | -68.6894 | -68.6894 | -0.14134 | -68.6894 | -68.6894

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.011036 | 0.011036 | 0.011036 | 0.00828 | 0.00828 | 0.00828 | 0.12743 | 0.12743 | 0.12743 | 0.095609 | 0.095609 | 0.095609 | 0.0025767 | -0.09573 | 0.094356 | -0.0017895 | 0.072131 | -0.07051 | -0.21123 | 0.014637 | -0.016005 | 0.1586 | -0.010796 | 0.012058 | 89.1065 | 89.1065 | 89.1065 | -90.9484 | -90.9484 | -90.9484 |  | 1.6578 | 0.75996 | 0.75103 | 1.659 | 0.76284 | 0.74819 | -0.19463 | -99.5867 | 79.4792 | -0.30193 | -99.4605 | 79.3469
Line_1 | 0.0013803 | 0.0013803 | 0.0013803 | 0.00414 | 0.00414 | 0.00414 | 0.015938 | 0.015938 | 0.015938 | 0.047805 | 0.047805 | 0.047805 | -0.00029819 | 0.012039 | -0.011741 | 0.00089474 | -0.036065 | 0.035255 | 0.026445 | -0.0017877 | 0.0020096 | -0.079301 | 0.0053978 | -0.0060292 | -90.9786 | -90.9786 | -90.9786 | 89.0516 | 89.0516 | 89.0516 |  | 1.6593 | 0.76366 | 0.74738 | 1.659 | 0.76284 | 0.74819 | -0.33257 | -99.4247 | 79.309 | -0.30193 | -99.4605 | 79.3469
Line_2 | 0.0013803 | 0.0013803 | 0.0013803 | 0.00414 | 0.00414 | 0.00414 | 0.015938 | 0.015938 | 0.015938 | 0.047805 | 0.047805 | 0.047805 | -0.00029819 | 0.012039 | -0.011741 | 0.00089474 | -0.036065 | 0.035255 | 0.026445 | -0.0017877 | 0.0020096 | -0.079301 | 0.0053978 | -0.0060292 | -90.9786 | -90.9786 | -90.9786 | 89.0516 | 89.0516 | 89.0516 |  | 1.6593 | 0.76366 | 0.74738 | 1.659 | 0.76284 | 0.74819 | -0.33257 | -99.4247 | 79.309 | -0.30193 | -99.4605 | 79.3469
Line_3 | 0.0013803 | 0.0013803 | 0.0013803 | 0.0013803 | 0.0013803 | 0.0013803 | 0.015938 | 0.015938 | 0.015938 | 0.015938 | 0.015938 | 0.015938 | 0.00029819 | -0.012039 | 0.011741 | 0.00029819 | -0.012039 | 0.011741 | -0.026445 | 0.0017877 | -0.0020096 | -0.026445 | 0.0017877 | -0.0020096 | 89.0214 | 89.0214 | 89.0214 | 89.0214 | 89.0214 | 89.0214 |  | 1.6593 | 0.76366 | 0.74738 | 1.6593 | 0.76366 | 0.74738 | -0.33257 | -99.4247 | 79.309 | -0.33257 | -99.4247 | 79.309

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.011036 | 0.011036 | 0.011036 | 0.00828 | 0.00828 | 0.00828 | 0.12743 | 0.12743 | 0.12743 | 0.095609 | 0.095609 | 0.095609 | 0.0025767 | -0.09573 | 0.094356 | -0.0017895 | 0.072131 | -0.07051 | -0.21123 | 0.014637 | -0.016005 | 0.1586 | -0.010796 | 0.012058 | 89.1065 | 89.1065 | 89.1065 | -90.9484 | -90.9484 | -90.9484 |  | 1.6578 | 0.75996 | 0.75103 | 1.659 | 0.76284 | 0.74819 | -0.19463 | -99.5867 | 79.4792 | -0.30193 | -99.4605 | 79.3469
Line_1 | 0.0013803 | 0.0013803 | 0.0013803 | 0.00414 | 0.00414 | 0.00414 | 0.015938 | 0.015938 | 0.015938 | 0.047805 | 0.047805 | 0.047805 | -0.00029819 | 0.012039 | -0.011741 | 0.00089474 | -0.036065 | 0.035255 | 0.026445 | -0.0017877 | 0.0020096 | -0.079301 | 0.0053978 | -0.0060292 | -90.9786 | -90.9786 | -90.9786 | 89.0516 | 89.0516 | 89.0516 |  | 1.6593 | 0.76366 | 0.74738 | 1.659 | 0.76284 | 0.74819 | -0.33257 | -99.4247 | 79.309 | -0.30193 | -99.4605 | 79.3469
Line_2 | 0.0013803 | 0.0013803 | 0.0013803 | 0.00414 | 0.00414 | 0.00414 | 0.015938 | 0.015938 | 0.015938 | 0.047805 | 0.047805 | 0.047805 | -0.00029819 | 0.012039 | -0.011741 | 0.00089474 | -0.036065 | 0.035255 | 0.026445 | -0.0017877 | 0.0020096 | -0.079301 | 0.0053978 | -0.0060292 | -90.9786 | -90.9786 | -90.9786 | 89.0516 | 89.0516 | 89.0516 |  | 1.6593 | 0.76366 | 0.74738 | 1.659 | 0.76284 | 0.74819 | -0.33257 | -99.4247 | 79.309 | -0.30193 | -99.4605 | 79.3469
Line_3 | 0.0013803 | 0.0013803 | 0.0013803 | 0.0013803 | 0.0013803 | 0.0013803 | 0.015938 | 0.015938 | 0.015938 | 0.015938 | 0.015938 | 0.015938 | 0.00029819 | -0.012039 | 0.011741 | 0.00029819 | -0.012039 | 0.011741 | -0.026445 | 0.0017877 | -0.0020096 | -0.026445 | 0.0017877 | -0.0020096 | 89.0214 | 89.0214 | 89.0214 | 89.0214 | 89.0214 | 89.0214 |  | 1.6593 | 0.76366 | 0.74738 | 1.6593 | 0.76366 | 0.74738 | -0.33257 | -99.4247 | 79.309 | -0.33257 | -99.4247 | 79.309

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0099367 | 0.0099367 | 0.0099367 | 0.0074553 | 0.0074553 | 0.0074553 | 0.11474 | 0.11474 | 0.11474 | 0.086087 | 0.086087 | 0.086087 | 0.001873 | -1.0287e-13 | 8.2868e-14 | -0.001183 | 0.00045999 | 0.00045999 | -0.17237 | 3.5906e-14 | 6.7523e-14 | 0.12942 | 9.5451e-05 | 9.5451e-05 | 89.3719 | 89.3719 | 89.3719 | -90.7334 | -90.7334 | -90.7334 |  | 1.5023 | 0 | 0 | 1.5034 | 0.0054571 | 0.0054571 | -0.0055621 | 0 | 0 | -0.20972 | -79.0105 | -79.0105
Line_1 | 0.0012428 | 0.0012428 | 0.0012428 | 0.0037277 | 0.0037277 | 0.0037277 | 0.014351 | 0.014351 | 0.014351 | 0.043043 | 0.043043 | 0.043043 | -0.00019716 | 9.858e-05 | 9.858e-05 | 0.00059149 | -0.00022999 | -0.00022999 | 0.021578 | 2.0531e-05 | 2.0531e-05 | -0.064708 | -4.7726e-05 | -4.7726e-05 | -90.7915 | -90.7915 | -90.7915 | 89.2666 | 89.2666 | 89.2666 |  | 1.5037 | 0.0070167 | 0.0070167 | 1.5034 | 0.0054571 | 0.0054571 | -0.26803 | -79.0271 | -79.0271 | -0.20972 | -79.0105 | -79.0105
Line_2 | 0.0012428 | 0.0012428 | 0.0012428 | 0.0037277 | 0.0037277 | 0.0037277 | 0.014351 | 0.014351 | 0.014351 | 0.043043 | 0.043043 | 0.043043 | -0.00019716 | 9.858e-05 | 9.858e-05 | 0.00059149 | -0.00022999 | -0.00022999 | 0.021578 | 2.0531e-05 | 2.0531e-05 | -0.064708 | -4.7726e-05 | -4.7726e-05 | -90.7915 | -90.7915 | -90.7915 | 89.2666 | 89.2666 | 89.2666 |  | 1.5037 | 0.0070167 | 0.0070167 | 1.5034 | 0.0054571 | 0.0054571 | -0.26803 | -79.0271 | -79.0271 | -0.20972 | -79.0105 | -79.0105
Line_3 | 0.0012428 | 0.0012428 | 0.0012428 | 0.0012428 | 0.0012428 | 0.0012428 | 0.014351 | 0.014351 | 0.014351 | 0.014351 | 0.014351 | 0.014351 | 0.00019716 | -9.858e-05 | -9.858e-05 | 0.00019716 | -9.858e-05 | -9.858e-05 | -0.021578 | -2.0531e-05 | -2.0531e-05 | -0.021578 | -2.0531e-05 | -2.0531e-05 | 89.2085 | 89.2085 | 89.2085 | 89.2085 | 89.2085 | 89.2085 |  | 1.5037 | 0.0070167 | 0.0070167 | 1.5037 | 0.0070167 | 0.0070167 | -0.26803 | -79.0271 | -79.0271 | -0.26803 | -79.0271 | -79.0271

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0099367 | 0.0099367 | 0.0099367 | 0.0074553 | 0.0074553 | 0.0074553 | 0.11474 | 0.11474 | 0.11474 | 0.086087 | 0.086087 | 0.086087 | 0.001873 | -1.0287e-13 | 8.2868e-14 | -0.001183 | 0.00045999 | 0.00045999 | -0.17237 | 3.5906e-14 | 6.7523e-14 | 0.12942 | 9.5451e-05 | 9.5451e-05 | 89.3719 | 89.3719 | 89.3719 | -90.7334 | -90.7334 | -90.7334 |  | 1.5023 | 0 | 0 | 1.5034 | 0.0054571 | 0.0054571 | -0.0055621 | 0 | 0 | -0.20972 | -79.0105 | -79.0105
Line_1 | 0.0012428 | 0.0012428 | 0.0012428 | 0.0037277 | 0.0037277 | 0.0037277 | 0.014351 | 0.014351 | 0.014351 | 0.043043 | 0.043043 | 0.043043 | -0.00019716 | 9.858e-05 | 9.858e-05 | 0.00059149 | -0.00022999 | -0.00022999 | 0.021578 | 2.0531e-05 | 2.0531e-05 | -0.064708 | -4.7726e-05 | -4.7726e-05 | -90.7915 | -90.7915 | -90.7915 | 89.2666 | 89.2666 | 89.2666 |  | 1.5037 | 0.0070167 | 0.0070167 | 1.5034 | 0.0054571 | 0.0054571 | -0.26803 | -79.0271 | -79.0271 | -0.20972 | -79.0105 | -79.0105
Line_2 | 0.0012428 | 0.0012428 | 0.0012428 | 0.0037277 | 0.0037277 | 0.0037277 | 0.014351 | 0.014351 | 0.014351 | 0.043043 | 0.043043 | 0.043043 | -0.00019716 | 9.858e-05 | 9.858e-05 | 0.00059149 | -0.00022999 | -0.00022999 | 0.021578 | 2.0531e-05 | 2.0531e-05 | -0.064708 | -4.7726e-05 | -4.7726e-05 | -90.7915 | -90.7915 | -90.7915 | 89.2666 | 89.2666 | 89.2666 |  | 1.5037 | 0.0070167 | 0.0070167 | 1.5034 | 0.0054571 | 0.0054571 | -0.26803 | -79.0271 | -79.0271 | -0.20972 | -79.0105 | -79.0105
Line_3 | 0.0012428 | 0.0012428 | 0.0012428 | 0.0012428 | 0.0012428 | 0.0012428 | 0.014351 | 0.014351 | 0.014351 | 0.014351 | 0.014351 | 0.014351 | 0.00019716 | -9.858e-05 | -9.858e-05 | 0.00019716 | -9.858e-05 | -9.858e-05 | -0.021578 | -2.0531e-05 | -2.0531e-05 | -0.021578 | -2.0531e-05 | -2.0531e-05 | 89.2085 | 89.2085 | 89.2085 | 89.2085 | 89.2085 | 89.2085 |  | 1.5037 | 0.0070167 | 0.0070167 | 1.5037 | 0.0070167 | 0.0070167 | -0.26803 | -79.0271 | -79.0271 | -0.26803 | -79.0271 | -79.0271

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010032 | 0.010032 | 0.010032 | 0.0075268 | 0.0075268 | 0.0075268 | 0.11584 | 0.11584 | 0.11584 | 0.086912 | 0.086912 | 0.086912 | 0.003046 | -0.07829 | 0.077153 | -0.0020572 | 0.059225 | -0.057436 | -0.17456 | 0.012035 | -0.013164 | 0.13106 | -0.0088244 | 0.0098674 | 88.8034 | 88.8034 | 88.8034 | -91.3019 | -91.3019 | -91.3019 |  | 1.5071 | 0.68379 | 0.67566 | 1.5082 | 0.68896 | 0.67053 | -0.19687 | -99.9358 | 79.121 | -0.4026 | -99.7764 | 78.95
Line_1 | 0.0012547 | 0.0012547 | 0.0012547 | 0.0037634 | 0.0037634 | 0.0037634 | 0.014488 | 0.014488 | 0.014488 | 0.043456 | 0.043456 | 0.043456 | -0.00034276 | 0.0098967 | -0.009554 | 0.0010286 | -0.029613 | 0.028718 | 0.021852 | -0.0014564 | 0.0016398 | -0.065531 | 0.0044122 | -0.0049337 | -91.36 | -91.36 | -91.36 | 88.6981 | 88.6981 | 88.6981 |  | 1.5085 | 0.69044 | 0.66906 | 1.5082 | 0.68896 | 0.67053 | -0.46135 | -99.7315 | 78.9008 | -0.4026 | -99.7764 | 78.95
Line_2 | 0.0012547 | 0.0012547 | 0.0012547 | 0.0037634 | 0.0037634 | 0.0037634 | 0.014488 | 0.014488 | 0.014488 | 0.043456 | 0.043456 | 0.043456 | -0.00034276 | 0.0098967 | -0.009554 | 0.0010286 | -0.029613 | 0.028718 | 0.021852 | -0.0014564 | 0.0016398 | -0.065531 | 0.0044122 | -0.0049337 | -91.36 | -91.36 | -91.36 | 88.6981 | 88.6981 | 88.6981 |  | 1.5085 | 0.69044 | 0.66906 | 1.5082 | 0.68896 | 0.67053 | -0.46135 | -99.7315 | 78.9008 | -0.4026 | -99.7764 | 78.95
Line_3 | 0.0012547 | 0.0012547 | 0.0012547 | 0.0012547 | 0.0012547 | 0.0012547 | 0.014488 | 0.014488 | 0.014488 | 0.014488 | 0.014488 | 0.014488 | 0.00034276 | -0.0098967 | 0.009554 | 0.00034276 | -0.0098967 | 0.009554 | -0.021852 | 0.0014564 | -0.0016398 | -0.021852 | 0.0014564 | -0.0016398 | 88.64 | 88.64 | 88.64 | 88.64 | 88.64 | 88.64 |  | 1.5085 | 0.69044 | 0.66906 | 1.5085 | 0.69044 | 0.66906 | -0.46135 | -99.7315 | 78.9008 | -0.46135 | -99.7315 | 78.9008

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010032 | 0.010032 | 0.010032 | 0.0075268 | 0.0075268 | 0.0075268 | 0.11584 | 0.11584 | 0.11584 | 0.086912 | 0.086912 | 0.086912 | 0.003046 | -0.07829 | 0.077153 | -0.0020572 | 0.059225 | -0.057436 | -0.17456 | 0.012035 | -0.013164 | 0.13106 | -0.0088244 | 0.0098674 | 88.8034 | 88.8034 | 88.8034 | -91.3019 | -91.3019 | -91.3019 |  | 1.5071 | 0.68379 | 0.67566 | 1.5082 | 0.68896 | 0.67053 | -0.19687 | -99.9358 | 79.121 | -0.4026 | -99.7764 | 78.95
Line_1 | 0.0012547 | 0.0012547 | 0.0012547 | 0.0037634 | 0.0037634 | 0.0037634 | 0.014488 | 0.014488 | 0.014488 | 0.043456 | 0.043456 | 0.043456 | -0.00034276 | 0.0098967 | -0.009554 | 0.0010286 | -0.029613 | 0.028718 | 0.021852 | -0.0014564 | 0.0016398 | -0.065531 | 0.0044122 | -0.0049337 | -91.36 | -91.36 | -91.36 | 88.6981 | 88.6981 | 88.6981 |  | 1.5085 | 0.69044 | 0.66906 | 1.5082 | 0.68896 | 0.67053 | -0.46135 | -99.7315 | 78.9008 | -0.4026 | -99.7764 | 78.95
Line_2 | 0.0012547 | 0.0012547 | 0.0012547 | 0.0037634 | 0.0037634 | 0.0037634 | 0.014488 | 0.014488 | 0.014488 | 0.043456 | 0.043456 | 0.043456 | -0.00034276 | 0.0098967 | -0.009554 | 0.0010286 | -0.029613 | 0.028718 | 0.021852 | -0.0014564 | 0.0016398 | -0.065531 | 0.0044122 | -0.0049337 | -91.36 | -91.36 | -91.36 | 88.6981 | 88.6981 | 88.6981 |  | 1.5085 | 0.69044 | 0.66906 | 1.5082 | 0.68896 | 0.67053 | -0.46135 | -99.7315 | 78.9008 | -0.4026 | -99.7764 | 78.95
Line_3 | 0.0012547 | 0.0012547 | 0.0012547 | 0.0012547 | 0.0012547 | 0.0012547 | 0.014488 | 0.014488 | 0.014488 | 0.014488 | 0.014488 | 0.014488 | 0.00034276 | -0.0098967 | 0.009554 | 0.00034276 | -0.0098967 | 0.009554 | -0.021852 | 0.0014564 | -0.0016398 | -0.021852 | 0.0014564 | -0.0016398 | 88.64 | 88.64 | 88.64 | 88.64 | 88.64 | 88.64 |  | 1.5085 | 0.69044 | 0.66906 | 1.5085 | 0.69044 | 0.66906 | -0.46135 | -99.7315 | 78.9008 | -0.46135 | -99.7315 | 78.9008