## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -2.6053e-14 | 28.4108 | -10.6145 | 2.0843e-14 | -23.0719 | 15.9534 | -2.0843e-14 | 4.32 | 15.8719 | 1.0421e-14 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | 5.3685e-13 | -154.8648 | 140.2623 | 5.4077e-13 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | 1.0421e-14 | -13.0085 | 13.0085 | -2.0843e-14 | 15.3813 | -10.6356 | -1.0421e-14 | 3.8506 | -3.8506 | -1.9672e-28 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | 5.4049e-13 | 180 | -180 | 5.4077e-13 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 1.5632e-14 | -7.0974 | 5.911 | -2.6053e-14 | 7.6906 | -5.3178 | 1.5014e-28 | 1.2523 | -2.5984 | -1.0421e-14 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | 5.5029e-13 | -173.5168 | 172.7598 | 5.4077e-13 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -5.2106e-15 | -6.5042 | 6.5042 | -5.2106e-15 | 7.0974 | -5.911 | -1.5632e-14 | 1.9253 | -1.9253 | 5.2106e-15 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | 5.4049e-13 | 180 | -180 | 5.5029e-13 | -173.5168 | 172.7598

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -2.6053e-14 | 28.4108 | -10.6145 | 2.0843e-14 | -23.0719 | 15.9534 | -2.0843e-14 | 4.32 | 15.8719 | 1.0421e-14 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | 5.3685e-13 | -154.8648 | 140.2623 | 5.4077e-13 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | 1.0421e-14 | -13.0085 | 13.0085 | -2.0843e-14 | 15.3813 | -10.6356 | -1.0421e-14 | 3.8506 | -3.8506 | -1.9672e-28 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | 5.4049e-13 | 180 | -180 | 5.4077e-13 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 1.5632e-14 | -7.0974 | 5.911 | -2.6053e-14 | 7.6906 | -5.3178 | 1.5014e-28 | 1.2523 | -2.5984 | -1.0421e-14 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | 5.5029e-13 | -173.5168 | 172.7598 | 5.4077e-13 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -5.2106e-15 | -6.5042 | 6.5042 | -5.2106e-15 | 7.0974 | -5.911 | -1.5632e-14 | 1.9253 | -1.9253 | 5.2106e-15 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | 5.4049e-13 | 180 | -180 | 5.5029e-13 | -173.5168 | 172.7598

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -7.816e-15 | 17.8002 | 0.06044 | 7.816e-15 | -16.4209 | 1.3189 | -1.8237e-14 | 3.9189 | 14.5607 | 1.0421e-14 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 1.0132e-12 | -136.625 | 120.7211 | 1.0177e-12 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | 7.816e-15 | -10.3342 | 1.4923 | -1.3027e-14 | 10.9473 | -0.87927 | -7.816e-15 | -0.87368 | -7.9682 | -2.3137e-28 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 1.0184e-12 | -144.2087 | 131.5665 | 1.0177e-12 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 5.2106e-15 | -5.3204 | 0.59289 | -7.816e-15 | 5.4736 | -0.43963 | -2.6053e-15 | -0.61073 | -4.158 | -7.816e-15 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 1.0239e-12 | -142.4927 | 129.0741 | 1.0177e-12 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 2.6053e-15 | -5.1671 | 0.74615 | -1.0421e-14 | 5.3204 | -0.59289 | -1.0421e-14 | -0.43684 | -3.9841 | 2.6053e-15 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 1.0184e-12 | -144.2087 | 131.5665 | 1.0239e-12 | -142.4927 | 129.0741

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -7.816e-15 | 17.8002 | 0.06044 | 7.816e-15 | -16.4209 | 1.3189 | -1.8237e-14 | 3.9189 | 14.5607 | 1.0421e-14 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 1.0132e-12 | -136.625 | 120.7211 | 1.0177e-12 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | 7.816e-15 | -10.3342 | 1.4923 | -1.3027e-14 | 10.9473 | -0.87927 | -7.816e-15 | -0.87368 | -7.9682 | -2.3137e-28 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 1.0184e-12 | -144.2087 | 131.5665 | 1.0177e-12 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 5.2106e-15 | -5.3204 | 0.59289 | -7.816e-15 | 5.4736 | -0.43963 | -2.6053e-15 | -0.61073 | -4.158 | -7.816e-15 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 1.0239e-12 | -142.4927 | 129.0741 | 1.0177e-12 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 2.6053e-15 | -5.1671 | 0.74615 | -1.0421e-14 | 5.3204 | -0.59289 | -1.0421e-14 | -0.43684 | -3.9841 | 2.6053e-15 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 1.0184e-12 | -144.2087 | 131.5665 | 1.0239e-12 | -142.4927 | 129.0741

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 1.3027e-14 | 24.6317 | -2.0295 | -1.3027e-14 | -17.851 | 8.8102 | -9.4739e-15 | -0.29866 | 13.6553 | 4.737e-15 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | -1.8208e-12 | -153.068 | 126.0805 | -1.7985e-12 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -3.5527e-15 | -8.8871 | 8.8871 | 3.5527e-15 | 11.9007 | -5.8735 | -4.737e-15 | 4.6513 | -4.6513 | 2.3685e-15 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | -1.8254e-12 | -180 | 180 | -1.7985e-12 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -1.1842e-15 | -5.1969 | 3.6901 | 1.1842e-15 | 5.9503 | -2.9367 | -9.4739e-15 | 1.8804 | -2.7709 | 7.1054e-15 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | -1.8241e-12 | -172.2653 | 170.7242 | -1.7985e-12 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -2.3685e-15 | -4.4435 | 4.4435 | 4.737e-15 | 5.1969 | -3.6901 | 4.737e-15 | 2.3257 | -2.3257 | -4.737e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | -1.8254e-12 | -180 | 180 | -1.8241e-12 | -172.2653 | 170.7242

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 1.3027e-14 | 24.6317 | -2.0295 | -1.3027e-14 | -17.851 | 8.8102 | -9.4739e-15 | -0.29866 | 13.6553 | 4.737e-15 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | -1.8208e-12 | -153.068 | 126.0805 | -1.7985e-12 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -3.5527e-15 | -8.8871 | 8.8871 | 3.5527e-15 | 11.9007 | -5.8735 | -4.737e-15 | 4.6513 | -4.6513 | 2.3685e-15 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | -1.8254e-12 | -180 | 180 | -1.7985e-12 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -1.1842e-15 | -5.1969 | 3.6901 | 1.1842e-15 | 5.9503 | -2.9367 | -9.4739e-15 | 1.8804 | -2.7709 | 7.1054e-15 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | -1.8241e-12 | -172.2653 | 170.7242 | -1.7985e-12 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -2.3685e-15 | -4.4435 | 4.4435 | 4.737e-15 | 5.1969 | -3.6901 | 4.737e-15 | 2.3257 | -2.3257 | -4.737e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | -1.8254e-12 | -180 | 180 | -1.8241e-12 | -172.2653 | 170.7242

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 8.8818e-15 | 14.2512 | 1.4266 | -8.2897e-15 | -12.3717 | 0.45296 | 2.3685e-15 | 1.9064 | 11.2087 | -2.3685e-15 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | -9.3665e-13 | -136.4258 | 118.7019 | -9.2283e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -1.1842e-15 | -7.4125 | 1.1373 | 3.5527e-15 | 8.2478 | -0.30197 | -4.737e-15 | -0.036791 | -6.2383 | 2.3685e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | -9.3608e-13 | -143.7605 | 136.2873 | -9.2283e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -3.5527e-15 | -3.9151 | 0.35982 | 2.9606e-15 | 4.1239 | -0.15099 | -2.3685e-15 | -0.14181 | -3.2426 | 4.737e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | -9.3517e-13 | -141.9705 | 132.2872 | -9.2283e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 2.9606e-15 | -3.7062 | 0.56866 | 1.1842e-15 | 3.9151 | -0.35982 | -4.8369e-29 | -0.018396 | -3.1192 | -1.9329e-29 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | -9.3608e-13 | -143.7605 | 136.2873 | -9.3517e-13 | -141.9705 | 132.2872

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 8.8818e-15 | 14.2512 | 1.4266 | -8.2897e-15 | -12.3717 | 0.45296 | 2.3685e-15 | 1.9064 | 11.2087 | -2.3685e-15 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | -9.3665e-13 | -136.4258 | 118.7019 | -9.2283e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -1.1842e-15 | -7.4125 | 1.1373 | 3.5527e-15 | 8.2478 | -0.30197 | -4.737e-15 | -0.036791 | -6.2383 | 2.3685e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | -9.3608e-13 | -143.7605 | 136.2873 | -9.2283e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -3.5527e-15 | -3.9151 | 0.35982 | 2.9606e-15 | 4.1239 | -0.15099 | -2.3685e-15 | -0.14181 | -3.2426 | 4.737e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | -9.3517e-13 | -141.9705 | 132.2872 | -9.2283e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 2.9606e-15 | -3.7062 | 0.56866 | 1.1842e-15 | 3.9151 | -0.35982 | -4.8369e-29 | -0.018396 | -3.1192 | -1.9329e-29 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | -9.3608e-13 | -143.7605 | 136.2873 | -9.3517e-13 | -141.9705 | 132.2872

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.027461 | 0.021975 | 0.021975 | 0.032955 | 0.016481 | 0.016481 | 0.31709 | 0.25374 | 0.25374 | 0.38053 | 0.1903 | 0.1903 | 0.0010629 | 0.24227 | -0.24117 | -0.0010456 | -0.18138 | 0.18119 | 0.0010003 | -0.4211 | -0.42286 | -0.00069294 | 0.31606 | 0.31736 | 89.7819 | -90.2079 | -90.2079 | -90.2174 | 89.794 | 89.794 |  | 0.0046029 | 1.9146 | 1.9185 | 0.0032963 | 1.9149 | 1.9203 | 133.0452 | -150.2949 | 150.0946 | 123.3172 | -150.3548 | 150.0702
Line_1 | 0.03021 | 0.0027468 | 0.0027468 | 0.024717 | 0.0082398 | 0.0082398 | 0.34884 | 0.031717 | 0.031717 | 0.28541 | 0.095146 | 0.095146 | -8.6328e-14 | -0.03027 | 0.030159 | 0.00078418 | 0.090657 | -0.090619 | -6.5078e-14 | 0.052672 | 0.052889 | 0.00051976 | -0.15803 | -0.15865 | -90.2143 | 89.794 | 89.794 | 89.7805 | -90.1959 | -90.1959 |  | 0 | 1.9154 | 1.9196 | 0.0032963 | 1.9149 | 1.9203 | 0 | -150.32 | 150.1009 | 123.3172 | -150.3548 | 150.0702
Line_2 | 0.013732 | 0.0027462 | 0.0027462 | 0.0082376 | 0.008241 | 0.008241 | 0.15857 | 0.031711 | 0.031711 | 0.095119 | 0.095159 | 0.095159 | -0.00035725 | -0.030188 | 0.030228 | 0.00026137 | 0.090725 | -0.090575 | -0.00019981 | 0.05269 | 0.052875 | 0.00017318 | -0.15802 | -0.15871 | -90.2211 | 89.8243 | 89.8243 | 89.7889 | -90.2161 | -90.2161 |  | 0.0025814 | 1.915 | 1.9207 | 0.0032963 | 1.9149 | 1.9203 | 118.9974 | -150.3654 | 150.0679 | 123.3172 | -150.3548 | 150.0702
Line_3 | 0.019225 | 0.0027468 | 0.0027468 | 0.013732 | 0.0027462 | 0.0027462 | 0.222 | 0.031717 | 0.031717 | 0.15857 | 0.031711 | 0.031711 | -5.4939e-14 | 0.03027 | -0.030159 | 0.00035725 | 0.030188 | -0.030228 | -4.1413e-14 | -0.052672 | -0.052889 | 0.00019981 | -0.05269 | -0.052875 | -90.2125 | -90.206 | -90.206 | 89.7789 | -90.1757 | -90.1757 |  | 0 | 1.9154 | 1.9196 | 0.0025814 | 1.915 | 1.9207 | 0 | -150.32 | 150.1009 | 118.9974 | -150.3654 | 150.0679

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.027461 | 0.021975 | 0.021975 | 0.032955 | 0.016481 | 0.016481 | 0.31709 | 0.25374 | 0.25374 | 0.38053 | 0.1903 | 0.1903 | 0.0010629 | 0.24227 | -0.24117 | -0.0010456 | -0.18138 | 0.18119 | 0.0010003 | -0.4211 | -0.42286 | -0.00069294 | 0.31606 | 0.31736 | 89.7819 | -90.2079 | -90.2079 | -90.2174 | 89.794 | 89.794 |  | 0.0046029 | 1.9146 | 1.9185 | 0.0032963 | 1.9149 | 1.9203 | 133.0452 | -150.2949 | 150.0946 | 123.3172 | -150.3548 | 150.0702
Line_1 | 0.03021 | 0.0027468 | 0.0027468 | 0.024717 | 0.0082398 | 0.0082398 | 0.34884 | 0.031717 | 0.031717 | 0.28541 | 0.095146 | 0.095146 | -8.6328e-14 | -0.03027 | 0.030159 | 0.00078418 | 0.090657 | -0.090619 | -6.5078e-14 | 0.052672 | 0.052889 | 0.00051976 | -0.15803 | -0.15865 | -90.2143 | 89.794 | 89.794 | 89.7805 | -90.1959 | -90.1959 |  | 0 | 1.9154 | 1.9196 | 0.0032963 | 1.9149 | 1.9203 | 0 | -150.32 | 150.1009 | 123.3172 | -150.3548 | 150.0702
Line_2 | 0.013732 | 0.0027462 | 0.0027462 | 0.0082376 | 0.008241 | 0.008241 | 0.15857 | 0.031711 | 0.031711 | 0.095119 | 0.095159 | 0.095159 | -0.00035725 | -0.030188 | 0.030228 | 0.00026137 | 0.090725 | -0.090575 | -0.00019981 | 0.05269 | 0.052875 | 0.00017318 | -0.15802 | -0.15871 | -90.2211 | 89.8243 | 89.8243 | 89.7889 | -90.2161 | -90.2161 |  | 0.0025814 | 1.915 | 1.9207 | 0.0032963 | 1.9149 | 1.9203 | 118.9974 | -150.3654 | 150.0679 | 123.3172 | -150.3548 | 150.0702
Line_3 | 0.019225 | 0.0027468 | 0.0027468 | 0.013732 | 0.0027462 | 0.0027462 | 0.222 | 0.031717 | 0.031717 | 0.15857 | 0.031711 | 0.031711 | -5.4939e-14 | 0.03027 | -0.030159 | 0.00035725 | 0.030188 | -0.030228 | -4.1413e-14 | -0.052672 | -0.052889 | 0.00019981 | -0.05269 | -0.052875 | -90.2125 | -90.206 | -90.206 | 89.7789 | -90.1757 | -90.1757 |  | 0 | 1.9154 | 1.9196 | 0.0025814 | 1.915 | 1.9207 | 0 | -150.32 | 150.1009 | 118.9974 | -150.3654 | 150.0679

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.027998 | 0.022405 | 0.022405 | 0.0336 | 0.016803 | 0.016803 | 0.3233 | 0.25871 | 0.25871 | 0.38798 | 0.19403 | 0.19403 | 0.0081603 | 0.24978 | -0.24299 | -0.009554 | -0.187 | 0.18257 | 0.0080964 | -0.43003 | -0.44164 | -0.0091886 | 0.32276 | 0.33145 | 88.6408 | -91.349 | -91.349 | -91.3585 | 88.6529 | 88.6529 |  | 0.035557 | 1.9223 | 1.9484 | 0.034166 | 1.9225 | 1.9503 | 133.4155 | -151.1992 | 149.8315 | 132.5246 | -151.26 | 149.8061
Line_1 | 0.030802 | 0.0028006 | 0.0028006 | 0.025201 | 0.0084011 | 0.0084011 | 0.35567 | 0.032338 | 0.032338 | 0.291 | 0.097007 | 0.097007 | -0.0077624 | -0.031209 | 0.030387 | 0.0071656 | 0.093466 | -0.091308 | -0.0077626 | 0.053789 | 0.055238 | 0.006892 | -0.16139 | -0.1657 | -91.3554 | 88.6529 | 88.6529 | 88.6394 | -91.337 | -91.337 |  | 0.030866 | 1.923 | 1.9495 | 0.034166 | 1.9225 | 1.9503 | 133.6453 | -151.2247 | 149.8373 | 132.5246 | -151.26 | 149.8061
Line_2 | 0.014001 | 0.0028 | 0.0028 | 0.0083988 | 0.0084023 | 0.0084023 | 0.16167 | 0.032331 | 0.032331 | 0.096981 | 0.097021 | 0.097021 | -0.0038994 | -0.031124 | 0.030459 | 0.0023884 | 0.093536 | -0.091262 | -0.0037367 | 0.053808 | 0.055224 | 0.0022966 | -0.16138 | -0.16575 | -91.3622 | 88.6832 | 88.6832 | 88.6478 | -91.3572 | -91.3572 |  | 0.033406 | 1.9226 | 1.9506 | 0.034166 | 1.9225 | 1.9503 | 132.4169 | -151.2708 | 149.8037 | 132.5246 | -151.26 | 149.8061
Line_3 | 0.019602 | 0.0028006 | 0.0028006 | 0.014001 | 0.0028 | 0.0028 | 0.22634 | 0.032338 | 0.032338 | 0.16167 | 0.032331 | 0.032331 | -0.00494 | 0.031209 | -0.030387 | 0.0038994 | 0.031124 | -0.030459 | -0.0049398 | -0.053789 | -0.055238 | 0.0037367 | -0.053808 | -0.055224 | -91.3536 | -91.3471 | -91.3471 | 88.6378 | -91.3168 | -91.3168 |  | 0.030866 | 1.923 | 1.9495 | 0.033406 | 1.9226 | 1.9506 | 133.6453 | -151.2247 | 149.8373 | 132.4169 | -151.2708 | 149.8037

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.027998 | 0.022405 | 0.022405 | 0.0336 | 0.016803 | 0.016803 | 0.3233 | 0.25871 | 0.25871 | 0.38798 | 0.19403 | 0.19403 | 0.0081603 | 0.24978 | -0.24299 | -0.009554 | -0.187 | 0.18257 | 0.0080964 | -0.43003 | -0.44164 | -0.0091886 | 0.32276 | 0.33145 | 88.6408 | -91.349 | -91.349 | -91.3585 | 88.6529 | 88.6529 |  | 0.035557 | 1.9223 | 1.9484 | 0.034166 | 1.9225 | 1.9503 | 133.4155 | -151.1992 | 149.8315 | 132.5246 | -151.26 | 149.8061
Line_1 | 0.030802 | 0.0028006 | 0.0028006 | 0.025201 | 0.0084011 | 0.0084011 | 0.35567 | 0.032338 | 0.032338 | 0.291 | 0.097007 | 0.097007 | -0.0077624 | -0.031209 | 0.030387 | 0.0071656 | 0.093466 | -0.091308 | -0.0077626 | 0.053789 | 0.055238 | 0.006892 | -0.16139 | -0.1657 | -91.3554 | 88.6529 | 88.6529 | 88.6394 | -91.337 | -91.337 |  | 0.030866 | 1.923 | 1.9495 | 0.034166 | 1.9225 | 1.9503 | 133.6453 | -151.2247 | 149.8373 | 132.5246 | -151.26 | 149.8061
Line_2 | 0.014001 | 0.0028 | 0.0028 | 0.0083988 | 0.0084023 | 0.0084023 | 0.16167 | 0.032331 | 0.032331 | 0.096981 | 0.097021 | 0.097021 | -0.0038994 | -0.031124 | 0.030459 | 0.0023884 | 0.093536 | -0.091262 | -0.0037367 | 0.053808 | 0.055224 | 0.0022966 | -0.16138 | -0.16575 | -91.3622 | 88.6832 | 88.6832 | 88.6478 | -91.3572 | -91.3572 |  | 0.033406 | 1.9226 | 1.9506 | 0.034166 | 1.9225 | 1.9503 | 132.4169 | -151.2708 | 149.8037 | 132.5246 | -151.26 | 149.8061
Line_3 | 0.019602 | 0.0028006 | 0.0028006 | 0.014001 | 0.0028 | 0.0028 | 0.22634 | 0.032338 | 0.032338 | 0.16167 | 0.032331 | 0.032331 | -0.00494 | 0.031209 | -0.030387 | 0.0038994 | 0.031124 | -0.030459 | -0.0049398 | -0.053789 | -0.055238 | 0.0037367 | -0.053808 | -0.055224 | -91.3536 | -91.3471 | -91.3471 | 88.6378 | -91.3168 | -91.3168 |  | 0.030866 | 1.923 | 1.9495 | 0.033406 | 1.9226 | 1.9506 | 133.6453 | -151.2247 | 149.8373 | 132.4169 | -151.2708 | 149.8037

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.024971 | 0.019982 | 0.019982 | 0.029967 | 0.014987 | 0.014987 | 0.28834 | 0.23074 | 0.23074 | 0.34603 | 0.17305 | 0.17305 | 0.0016874 | 0.20069 | -0.19894 | -0.0016599 | -0.15001 | 0.14971 | 0.00082627 | -0.34758 | -0.35027 | -0.00057215 | 0.26088 | 0.26288 | 89.5947 | -90.3856 | -90.3856 | -90.4038 | 89.618 | 89.618 |  | 0.0065161 | 1.7395 | 1.7458 | 0.0050741 | 1.739 | 1.7482 | 115.6838 | -150.3836 | 150.0191 | 108.6145 | -150.4822 | 149.956
Line_1 | 0.027471 | 0.0024978 | 0.0024978 | 0.022476 | 0.0074927 | 0.0074927 | 0.31721 | 0.028842 | 0.028842 | 0.25953 | 0.086519 | 0.086519 | -2.6821e-14 | -0.025066 | 0.024888 | 0.001245 | 0.074956 | -0.074895 | -3.1178e-14 | 0.043477 | 0.04381 | 0.00042922 | -0.13046 | -0.1314 | -90.3979 | 89.618 | 89.618 | 89.5922 | -90.3626 | -90.3626 |  | 0 | 1.74 | 1.747 | 0.0050741 | 1.739 | 1.7482 | 0 | -150.4173 | 150.0169 | 108.6145 | -150.4822 | 149.956
Line_2 | 0.012487 | 0.0024972 | 0.0024972 | 0.0074907 | 0.0074938 | 0.0074938 | 0.14419 | 0.028836 | 0.028836 | 0.086495 | 0.086531 | 0.086531 | -0.00056718 | -0.02494 | 0.025004 | 0.00041496 | 0.075055 | -0.074817 | -0.000165 | 0.043504 | 0.043786 | 0.00014293 | -0.13042 | -0.13147 | -90.4111 | 89.6761 | 89.6761 | 89.6083 | -90.4014 | -90.4014 |  | 0.0040966 | 1.739 | 1.7486 | 0.0050741 | 1.739 | 1.7482 | 105.8093 | -150.4988 | 149.9478 | 108.6145 | -150.4822 | 149.956
Line_3 | 0.017482 | 0.0024978 | 0.0024978 | 0.012487 | 0.0024972 | 0.0024972 | 0.20187 | 0.028842 | 0.028842 | 0.14419 | 0.028836 | 0.028836 | -1.707e-14 | 0.025066 | -0.024888 | 0.00056718 | 0.02494 | -0.025004 | -1.984e-14 | -0.043477 | -0.04381 | 0.000165 | -0.043504 | -0.043786 | -90.3945 | -90.382 | -90.382 | 89.5889 | -90.3239 | -90.3239 |  | 0 | 1.74 | 1.747 | 0.0040966 | 1.739 | 1.7486 | 0 | -150.4173 | 150.0169 | 105.8093 | -150.4988 | 149.9478

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.024971 | 0.019982 | 0.019982 | 0.029967 | 0.014987 | 0.014987 | 0.28834 | 0.23074 | 0.23074 | 0.34603 | 0.17305 | 0.17305 | 0.0016874 | 0.20069 | -0.19894 | -0.0016599 | -0.15001 | 0.14971 | 0.00082627 | -0.34758 | -0.35027 | -0.00057215 | 0.26088 | 0.26288 | 89.5947 | -90.3856 | -90.3856 | -90.4038 | 89.618 | 89.618 |  | 0.0065161 | 1.7395 | 1.7458 | 0.0050741 | 1.739 | 1.7482 | 115.6838 | -150.3836 | 150.0191 | 108.6145 | -150.4822 | 149.956
Line_1 | 0.027471 | 0.0024978 | 0.0024978 | 0.022476 | 0.0074927 | 0.0074927 | 0.31721 | 0.028842 | 0.028842 | 0.25953 | 0.086519 | 0.086519 | -2.6821e-14 | -0.025066 | 0.024888 | 0.001245 | 0.074956 | -0.074895 | -3.1178e-14 | 0.043477 | 0.04381 | 0.00042922 | -0.13046 | -0.1314 | -90.3979 | 89.618 | 89.618 | 89.5922 | -90.3626 | -90.3626 |  | 0 | 1.74 | 1.747 | 0.0050741 | 1.739 | 1.7482 | 0 | -150.4173 | 150.0169 | 108.6145 | -150.4822 | 149.956
Line_2 | 0.012487 | 0.0024972 | 0.0024972 | 0.0074907 | 0.0074938 | 0.0074938 | 0.14419 | 0.028836 | 0.028836 | 0.086495 | 0.086531 | 0.086531 | -0.00056718 | -0.02494 | 0.025004 | 0.00041496 | 0.075055 | -0.074817 | -0.000165 | 0.043504 | 0.043786 | 0.00014293 | -0.13042 | -0.13147 | -90.4111 | 89.6761 | 89.6761 | 89.6083 | -90.4014 | -90.4014 |  | 0.0040966 | 1.739 | 1.7486 | 0.0050741 | 1.739 | 1.7482 | 105.8093 | -150.4988 | 149.9478 | 108.6145 | -150.4822 | 149.956
Line_3 | 0.017482 | 0.0024978 | 0.0024978 | 0.012487 | 0.0024972 | 0.0024972 | 0.20187 | 0.028842 | 0.028842 | 0.14419 | 0.028836 | 0.028836 | -1.707e-14 | 0.025066 | -0.024888 | 0.00056718 | 0.02494 | -0.025004 | -1.984e-14 | -0.043477 | -0.04381 | 0.000165 | -0.043504 | -0.043786 | -90.3945 | -90.382 | -90.382 | 89.5889 | -90.3239 | -90.3239 |  | 0 | 1.74 | 1.747 | 0.0040966 | 1.739 | 1.7486 | 0 | -150.4173 | 150.0169 | 105.8093 | -150.4988 | 149.9478

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.025458 | 0.020372 | 0.020372 | 0.030552 | 0.015279 | 0.015279 | 0.29397 | 0.23524 | 0.23524 | 0.35278 | 0.17643 | 0.17643 | 0.0075868 | 0.20689 | -0.2004 | -0.0087254 | -0.15464 | 0.15083 | 0.0066935 | -0.3549 | -0.36578 | -0.0075965 | 0.26637 | 0.27452 | 88.4498 | -91.5306 | -91.5306 | -91.5488 | 88.473 | 88.473 |  | 0.034417 | 1.7463 | 1.773 | 0.032794 | 1.7458 | 1.7754 | 129.8703 | -151.29 | 149.7519 | 129.4948 | -151.3901 | 149.6874
Line_1 | 0.028007 | 0.0025465 | 0.0025465 | 0.022915 | 0.0076389 | 0.0076389 | 0.3234 | 0.029404 | 0.029404 | 0.2646 | 0.088206 | 0.088206 | -0.0064177 | -0.02584 | 0.025072 | 0.0065439 | 0.07727 | -0.075455 | -0.006418 | 0.044392 | 0.045749 | 0.0056981 | -0.1332 | -0.13722 | -91.5428 | 88.473 | 88.473 | 88.4472 | -91.5076 | -91.5076 |  | 0.028065 | 1.7469 | 1.7742 | 0.032794 | 1.7458 | 1.7754 | 133.4585 | -151.3243 | 149.7491 | 129.4948 | -151.3901 | 149.6874
Line_2 | 0.012731 | 0.0025459 | 0.0025459 | 0.0076368 | 0.00764 | 0.00764 | 0.147 | 0.029398 | 0.029398 | 0.088183 | 0.088219 | 0.088219 | -0.0035061 | -0.02571 | 0.025192 | 0.0021814 | 0.077371 | -0.075373 | -0.0030895 | 0.04442 | 0.045726 | 0.0018984 | -0.13317 | -0.13729 | -91.556 | 88.5311 | 88.5311 | 88.4633 | -91.5463 | -91.5463 |  | 0.031789 | 1.7458 | 1.7758 | 0.032794 | 1.7458 | 1.7754 | 129.8303 | -151.4069 | 149.679 | 129.4948 | -151.3901 | 149.6874
Line_3 | 0.017823 | 0.0025465 | 0.0025465 | 0.012731 | 0.0025459 | 0.0025459 | 0.20581 | 0.029404 | 0.029404 | 0.147 | 0.029398 | 0.029398 | -0.0040844 | 0.02584 | -0.025072 | 0.0035061 | 0.02571 | -0.025192 | -0.0040841 | -0.044392 | -0.045749 | 0.0030895 | -0.04442 | -0.045726 | -91.5394 | -91.527 | -91.527 | 88.444 | -91.4689 | -91.4689 |  | 0.028065 | 1.7469 | 1.7742 | 0.031789 | 1.7458 | 1.7758 | 133.4585 | -151.3243 | 149.7491 | 129.8303 | -151.4069 | 149.679

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.025458 | 0.020372 | 0.020372 | 0.030552 | 0.015279 | 0.015279 | 0.29397 | 0.23524 | 0.23524 | 0.35278 | 0.17643 | 0.17643 | 0.0075868 | 0.20689 | -0.2004 | -0.0087254 | -0.15464 | 0.15083 | 0.0066935 | -0.3549 | -0.36578 | -0.0075965 | 0.26637 | 0.27452 | 88.4498 | -91.5306 | -91.5306 | -91.5488 | 88.473 | 88.473 |  | 0.034417 | 1.7463 | 1.773 | 0.032794 | 1.7458 | 1.7754 | 129.8703 | -151.29 | 149.7519 | 129.4948 | -151.3901 | 149.6874
Line_1 | 0.028007 | 0.0025465 | 0.0025465 | 0.022915 | 0.0076389 | 0.0076389 | 0.3234 | 0.029404 | 0.029404 | 0.2646 | 0.088206 | 0.088206 | -0.0064177 | -0.02584 | 0.025072 | 0.0065439 | 0.07727 | -0.075455 | -0.006418 | 0.044392 | 0.045749 | 0.0056981 | -0.1332 | -0.13722 | -91.5428 | 88.473 | 88.473 | 88.4472 | -91.5076 | -91.5076 |  | 0.028065 | 1.7469 | 1.7742 | 0.032794 | 1.7458 | 1.7754 | 133.4585 | -151.3243 | 149.7491 | 129.4948 | -151.3901 | 149.6874
Line_2 | 0.012731 | 0.0025459 | 0.0025459 | 0.0076368 | 0.00764 | 0.00764 | 0.147 | 0.029398 | 0.029398 | 0.088183 | 0.088219 | 0.088219 | -0.0035061 | -0.02571 | 0.025192 | 0.0021814 | 0.077371 | -0.075373 | -0.0030895 | 0.04442 | 0.045726 | 0.0018984 | -0.13317 | -0.13729 | -91.556 | 88.5311 | 88.5311 | 88.4633 | -91.5463 | -91.5463 |  | 0.031789 | 1.7458 | 1.7758 | 0.032794 | 1.7458 | 1.7754 | 129.8303 | -151.4069 | 149.679 | 129.4948 | -151.3901 | 149.6874
Line_3 | 0.017823 | 0.0025465 | 0.0025465 | 0.012731 | 0.0025459 | 0.0025459 | 0.20581 | 0.029404 | 0.029404 | 0.147 | 0.029398 | 0.029398 | -0.0040844 | 0.02584 | -0.025072 | 0.0035061 | 0.02571 | -0.025192 | -0.0040841 | -0.044392 | -0.045749 | 0.0030895 | -0.04442 | -0.045726 | -91.5394 | -91.527 | -91.527 | 88.444 | -91.4689 | -91.4689 |  | 0.028065 | 1.7469 | 1.7742 | 0.031789 | 1.7458 | 1.7758 | 133.4585 | -151.3243 | 149.7491 | 129.8303 | -151.4069 | 149.679

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010917 | 3.2046 | 3.2038 | 0.008188 | 3.2054 | 3.2031 | 0.12606 | 37.0038 | 36.9948 | 0.094547 | 37.0128 | 36.9858 | 0.00024959 | 8.8927 | 8.9036 | -0.00010586 | -3.5588 | -3.5598 | -0.20838 | 10.1255 | 10.0665 | 0.15634 | -4.076 | -4.0008 | 89.9014 | -163.4874 | 16.4659 | -90.0967 | 16.5594 | -163.5808 |  | 1.653 | 0.36418 | 0.36327 | 1.6536 | 0.14619 | 0.14479 | -0.029938 | -114.7787 | 64.9739 | -0.057884 | -114.5654 | 64.7577
Line_1 | 0.0013647 | 2.1381 | 2.1342 | 0.0040937 | 2.1373 | 2.135 | 0.015758 | 24.6888 | 24.6438 | 0.04727 | 24.6797 | 24.6527 | -2.7538e-05 | 4.027e-11 | 4.0727e-11 | 3.916e-05 | 2.3747 | 2.3711 | 0.026056 | -3.123e-11 | 2.8649e-11 | -0.078164 | 2.7164 | 2.6682 | -90.0967 | 16.6645 | -163.6862 | 89.9134 | -163.4056 | 16.384 |  | 1.6535 | 0 | 0 | 1.6536 | 0.14619 | 0.14479 | -0.036129 | 0 | 0 | -0.057884 | -114.5654 | 64.7577
Line_2 | 0.0013644 | 1.0689 | 1.0673 | 0.0040943 | 1.0681 | 1.0681 | 0.015755 | 12.3421 | 12.3241 | 0.047277 | 12.3331 | 12.3331 | -1.941e-06 | -0.59369 | -0.59279 | 6.6692e-05 | 1.1842 | 1.1887 | 0.026053 | -0.68464 | -0.66152 | -0.078175 | 1.3596 | 1.3326 | -90.0664 | 16.6295 | -163.6511 | 89.8932 | -163.5107 | 16.4893 |  | 1.6537 | 0.073423 | 0.072075 | 1.6536 | 0.14619 | 0.14479 | -0.062148 | -114.301 | 64.4852 | -0.057884 | -114.5654 | 64.7577
Line_3 | 0.0013647 | 1.0696 | 1.0665 | 0.0013644 | 1.0689 | 1.0673 | 0.015758 | 12.3512 | 12.3152 | 0.015755 | 12.3421 | 12.3241 | 2.7534e-05 | 2.0118e-11 | 2.0326e-11 | 1.9376e-06 | 0.59369 | 0.59279 | -0.026056 | -1.5661e-11 | 1.4354e-11 | -0.026053 | 0.68464 | 0.66152 | 89.9033 | 16.7695 | -163.7917 | 89.9336 | -163.3705 | 16.3489 |  | 1.6535 | 0 | 0 | 1.6537 | 0.073423 | 0.072075 | -0.036129 | 0 | 0 | -0.062148 | -114.301 | 64.4852

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010917 | 3.2046 | 3.2038 | 0.008188 | 3.2054 | 3.2031 | 0.12606 | 37.0038 | 36.9948 | 0.094547 | 37.0128 | 36.9858 | 0.00024959 | 8.8927 | 8.9036 | -0.00010586 | -3.5588 | -3.5598 | -0.20838 | 10.1255 | 10.0665 | 0.15634 | -4.076 | -4.0008 | 89.9014 | -163.4874 | 16.4659 | -90.0967 | 16.5594 | -163.5808 |  | 1.653 | 0.36418 | 0.36327 | 1.6536 | 0.14619 | 0.14479 | -0.029938 | -114.7787 | 64.9739 | -0.057884 | -114.5654 | 64.7577
Line_1 | 0.0013647 | 2.1381 | 2.1342 | 0.0040937 | 2.1373 | 2.135 | 0.015758 | 24.6888 | 24.6438 | 0.04727 | 24.6797 | 24.6527 | -2.7538e-05 | 4.027e-11 | 4.0727e-11 | 3.916e-05 | 2.3747 | 2.3711 | 0.026056 | -3.123e-11 | 2.8649e-11 | -0.078164 | 2.7164 | 2.6682 | -90.0967 | 16.6645 | -163.6862 | 89.9134 | -163.4056 | 16.384 |  | 1.6535 | 0 | 0 | 1.6536 | 0.14619 | 0.14479 | -0.036129 | 0 | 0 | -0.057884 | -114.5654 | 64.7577
Line_2 | 0.0013644 | 1.0689 | 1.0673 | 0.0040943 | 1.0681 | 1.0681 | 0.015755 | 12.3421 | 12.3241 | 0.047277 | 12.3331 | 12.3331 | -1.941e-06 | -0.59369 | -0.59279 | 6.6692e-05 | 1.1842 | 1.1887 | 0.026053 | -0.68464 | -0.66152 | -0.078175 | 1.3596 | 1.3326 | -90.0664 | 16.6295 | -163.6511 | 89.8932 | -163.5107 | 16.4893 |  | 1.6537 | 0.073423 | 0.072075 | 1.6536 | 0.14619 | 0.14479 | -0.062148 | -114.301 | 64.4852 | -0.057884 | -114.5654 | 64.7577
Line_3 | 0.0013647 | 1.0696 | 1.0665 | 0.0013644 | 1.0689 | 1.0673 | 0.015758 | 12.3512 | 12.3152 | 0.015755 | 12.3421 | 12.3241 | 2.7534e-05 | 2.0118e-11 | 2.0326e-11 | 1.9376e-06 | 0.59369 | 0.59279 | -0.026056 | -1.5661e-11 | 1.4354e-11 | -0.026053 | 0.68464 | 0.66152 | 89.9033 | 16.7695 | -163.7917 | 89.9336 | -163.3705 | 16.3489 |  | 1.6535 | 0 | 0 | 1.6537 | 0.073423 | 0.072075 | -0.036129 | 0 | 0 | -0.062148 | -114.301 | 64.4852

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.011023 | 1.0771 | 1.0755 | 0.0082674 | 1.0788 | 1.0739 | 0.12729 | 12.4378 | 12.4189 | 0.095464 | 12.4568 | 12.4001 | 0.0016214 | 6.7951 | 6.798 | -0.0011332 | -6.2162 | -6.1724 | -0.21108 | 7.0347 | 6.8287 | 0.15836 | -6.3505 | -6.1462 | 89.3411 | -144.1676 | 35.7146 | -90.657 | 35.9501 | -144.4038 |  | 1.6583 | 0.78636 | 0.77588 | 1.6589 | 0.71339 | 0.70247 | -0.21879 | -98.1749 | 80.8436 | -0.24705 | -98.4377 | 80.4744
Line_1 | 0.0013779 | 0.72167 | 0.71348 | 0.0041334 | 0.72002 | 0.7151 | 0.015911 | 8.3331 | 8.2386 | 0.047729 | 8.314 | 8.2573 | -0.00019895 | -3.9045 | -3.8196 | 0.0005526 | 4.1554 | 4.1039 | 0.026392 | -3.9164 | -3.8076 | -0.079175 | 4.2321 | 4.0992 | -90.657 | 36.2135 | -144.6715 | 89.3531 | -143.9619 | 35.5072 |  | 1.6588 | 0.66365 | 0.65463 | 1.6589 | 0.71339 | 0.70247 | -0.22514 | -98.6991 | 80.2389 | -0.24705 | -98.4377 | 80.4744
Line_2 | 0.0013776 | 0.36042 | 0.35715 | 0.004134 | 0.35878 | 0.35878 | 0.015907 | 4.1618 | 4.124 | 0.047735 | 4.1428 | 4.1428 | -0.00017291 | -2.0157 | -1.9802 | 0.00058056 | 2.0608 | 2.0685 | 0.02639 | -2.039 | -1.9748 | -0.079186 | 2.1184 | 2.047 | -90.6268 | 36.1259 | -144.582 | 89.3329 | -144.2265 | 35.7736 |  | 1.659 | 0.68893 | 0.67814 | 1.6589 | 0.71339 | 0.70247 | -0.25137 | -98.5442 | 80.3403 | -0.24705 | -98.4377 | 80.4744
Line_3 | 0.0013779 | 0.36208 | 0.35553 | 0.0013776 | 0.36042 | 0.35715 | 0.015911 | 4.1809 | 4.1053 | 0.015907 | 4.1618 | 4.124 | 0.00019895 | -1.9679 | -1.8944 | 0.0001729 | 2.0157 | 1.9802 | -0.026392 | -1.956 | -1.9063 | -0.02639 | 2.039 | 1.9748 | 89.343 | 36.4752 | -144.941 | 89.3732 | -143.8741 | 35.418 |  | 1.6588 | 0.66365 | 0.65463 | 1.659 | 0.68893 | 0.67814 | -0.22514 | -98.6991 | 80.2389 | -0.25137 | -98.5442 | 80.3403

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.011023 | 1.0771 | 1.0755 | 0.0082674 | 1.0788 | 1.0739 | 0.12729 | 12.4378 | 12.4189 | 0.095464 | 12.4568 | 12.4001 | 0.0016214 | 6.7951 | 6.798 | -0.0011332 | -6.2162 | -6.1724 | -0.21108 | 7.0347 | 6.8287 | 0.15836 | -6.3505 | -6.1462 | 89.3411 | -144.1676 | 35.7146 | -90.657 | 35.9501 | -144.4038 |  | 1.6583 | 0.78636 | 0.77588 | 1.6589 | 0.71339 | 0.70247 | -0.21879 | -98.1749 | 80.8436 | -0.24705 | -98.4377 | 80.4744
Line_1 | 0.0013779 | 0.72167 | 0.71348 | 0.0041334 | 0.72002 | 0.7151 | 0.015911 | 8.3331 | 8.2386 | 0.047729 | 8.314 | 8.2573 | -0.00019895 | -3.9045 | -3.8196 | 0.0005526 | 4.1554 | 4.1039 | 0.026392 | -3.9164 | -3.8076 | -0.079175 | 4.2321 | 4.0992 | -90.657 | 36.2135 | -144.6715 | 89.3531 | -143.9619 | 35.5072 |  | 1.6588 | 0.66365 | 0.65463 | 1.6589 | 0.71339 | 0.70247 | -0.22514 | -98.6991 | 80.2389 | -0.24705 | -98.4377 | 80.4744
Line_2 | 0.0013776 | 0.36042 | 0.35715 | 0.004134 | 0.35878 | 0.35878 | 0.015907 | 4.1618 | 4.124 | 0.047735 | 4.1428 | 4.1428 | -0.00017291 | -2.0157 | -1.9802 | 0.00058056 | 2.0608 | 2.0685 | 0.02639 | -2.039 | -1.9748 | -0.079186 | 2.1184 | 2.047 | -90.6268 | 36.1259 | -144.582 | 89.3329 | -144.2265 | 35.7736 |  | 1.659 | 0.68893 | 0.67814 | 1.6589 | 0.71339 | 0.70247 | -0.25137 | -98.5442 | 80.3403 | -0.24705 | -98.4377 | 80.4744
Line_3 | 0.0013779 | 0.36208 | 0.35553 | 0.0013776 | 0.36042 | 0.35715 | 0.015911 | 4.1809 | 4.1053 | 0.015907 | 4.1618 | 4.124 | 0.00019895 | -1.9679 | -1.8944 | 0.0001729 | 2.0157 | 1.9802 | -0.026392 | -1.956 | -1.9063 | -0.02639 | 2.039 | 1.9748 | 89.343 | 36.4752 | -144.941 | 89.3732 | -143.8741 | 35.418 |  | 1.6588 | 0.66365 | 0.65463 | 1.659 | 0.68893 | 0.67814 | -0.22514 | -98.6991 | 80.2389 | -0.25137 | -98.5442 | 80.3403

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0099256 | 2.6066 | 2.6055 | 0.0074441 | 2.6078 | 2.6043 | 0.11461 | 30.0988 | 30.0854 | 0.085957 | 30.1122 | 30.0721 | 0.00039608 | 11.3121 | 11.2901 | -0.00016798 | -4.5396 | -4.5014 | -0.17224 | 6.7162 | 6.6404 | 0.12922 | -2.7199 | -2.6228 | 89.8141 | -152.3493 | 27.6026 | -90.1823 | 27.6989 | -152.4457 |  | 1.5028 | 0.43708 | 0.43537 | 1.5033 | 0.17574 | 0.17324 | -0.054116 | -121.6507 | 58.065 | -0.10777 | -121.3731 | 57.7819
Line_1 | 0.0012407 | 1.7403 | 1.7345 | 0.0037218 | 1.7391 | 1.7356 | 0.014326 | 20.0949 | 20.0281 | 0.042976 | 20.0815 | 20.0414 | -4.3699e-05 | -9.4919e-11 | 1.5169e-11 | 6.2144e-05 | 3.0286 | 2.9988 | 0.021536 | -7.3159e-11 | -1.1262e-10 | -0.064607 | 1.812 | 1.7498 | -90.1823 | 27.8073 | -152.5545 | 89.8371 | -152.2649 | 27.5181 |  | 1.5033 | 0 | 0 | 1.5033 | 0.17574 | 0.17324 | -0.066002 | 0 | 0 | -0.10777 | -121.3731 | 57.7819
Line_2 | 0.0012404 | 0.86985 | 0.86753 | 0.0037223 | 0.86868 | 0.86868 | 0.014323 | 10.0441 | 10.0173 | 0.042982 | 10.0307 | 10.0307 | -3.0777e-06 | -0.75987 | -0.74703 | 0.00010584 | 1.511 | 1.5026 | 0.021535 | -0.46017 | -0.43029 | -0.064616 | 0.90794 | 0.87295 | -90.1241 | 27.7712 | -152.5182 | 89.7984 | -152.3734 | 27.6267 |  | 1.5035 | 0.088445 | 0.08606 | 1.5033 | 0.17574 | 0.17324 | -0.11596 | -121.0301 | 57.4239 | -0.10777 | -121.3731 | 57.7819
Line_3 | 0.0012407 | 0.87101 | 0.86638 | 0.0012404 | 0.86985 | 0.86753 | 0.014326 | 10.0576 | 10.0041 | 0.014323 | 10.0441 | 10.0173 | 4.3696e-05 | -4.7576e-11 | 7.6841e-12 | 3.0749e-06 | 0.75987 | 0.74703 | -0.021536 | -3.6527e-11 | -5.6241e-11 | -0.021535 | 0.46017 | 0.43029 | 89.8177 | 27.9154 | -152.6636 | 89.8759 | -152.2288 | 27.4818 |  | 1.5033 | 0 | 0 | 1.5035 | 0.088445 | 0.08606 | -0.066002 | 0 | 0 | -0.11596 | -121.0301 | 57.4239

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0099256 | 2.6066 | 2.6055 | 0.0074441 | 2.6078 | 2.6043 | 0.11461 | 30.0988 | 30.0854 | 0.085957 | 30.1122 | 30.0721 | 0.00039608 | 11.3121 | 11.2901 | -0.00016798 | -4.5396 | -4.5014 | -0.17224 | 6.7162 | 6.6404 | 0.12922 | -2.7199 | -2.6228 | 89.8141 | -152.3493 | 27.6026 | -90.1823 | 27.6989 | -152.4457 |  | 1.5028 | 0.43708 | 0.43537 | 1.5033 | 0.17574 | 0.17324 | -0.054116 | -121.6507 | 58.065 | -0.10777 | -121.3731 | 57.7819
Line_1 | 0.0012407 | 1.7403 | 1.7345 | 0.0037218 | 1.7391 | 1.7356 | 0.014326 | 20.0949 | 20.0281 | 0.042976 | 20.0815 | 20.0414 | -4.3699e-05 | -9.4919e-11 | 1.5169e-11 | 6.2144e-05 | 3.0286 | 2.9988 | 0.021536 | -7.3159e-11 | -1.1262e-10 | -0.064607 | 1.812 | 1.7498 | -90.1823 | 27.8073 | -152.5545 | 89.8371 | -152.2649 | 27.5181 |  | 1.5033 | 0 | 0 | 1.5033 | 0.17574 | 0.17324 | -0.066002 | 0 | 0 | -0.10777 | -121.3731 | 57.7819
Line_2 | 0.0012404 | 0.86985 | 0.86753 | 0.0037223 | 0.86868 | 0.86868 | 0.014323 | 10.0441 | 10.0173 | 0.042982 | 10.0307 | 10.0307 | -3.0777e-06 | -0.75987 | -0.74703 | 0.00010584 | 1.511 | 1.5026 | 0.021535 | -0.46017 | -0.43029 | -0.064616 | 0.90794 | 0.87295 | -90.1241 | 27.7712 | -152.5182 | 89.7984 | -152.3734 | 27.6267 |  | 1.5035 | 0.088445 | 0.08606 | 1.5033 | 0.17574 | 0.17324 | -0.11596 | -121.0301 | 57.4239 | -0.10777 | -121.3731 | 57.7819
Line_3 | 0.0012407 | 0.87101 | 0.86638 | 0.0012404 | 0.86985 | 0.86753 | 0.014326 | 10.0576 | 10.0041 | 0.014323 | 10.0441 | 10.0173 | 4.3696e-05 | -4.7576e-11 | 7.6841e-12 | 3.0749e-06 | 0.75987 | 0.74703 | -0.021536 | -3.6527e-11 | -5.6241e-11 | -0.021535 | 0.46017 | 0.43029 | 89.8177 | 27.9154 | -152.6636 | 89.8759 | -152.2288 | 27.4818 |  | 1.5033 | 0 | 0 | 1.5035 | 0.088445 | 0.08606 | -0.066002 | 0 | 0 | -0.11596 | -121.0301 | 57.4239

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010022 | 0.92722 | 0.92562 | 0.0075162 | 0.92883 | 0.92403 | 0.11572 | 10.7066 | 10.6882 | 0.086789 | 10.7252 | 10.6697 | 0.0015337 | 5.7279 | 5.7111 | -0.0010187 | -4.8913 | -4.8343 | -0.17446 | 5.2214 | 5.0492 | 0.13089 | -4.7169 | -4.5413 | 89.2528 | -141.0339 | 38.8472 | -90.7435 | 39.085 | -141.2725 |  | 1.5076 | 0.72391 | 0.71323 | 1.5082 | 0.63358 | 0.62164 | -0.24346 | -98.6827 | 80.3275 | -0.29759 | -96.9548 | 81.937
Line_1 | 0.0012527 | 0.62163 | 0.61364 | 0.0037578 | 0.62002 | 0.61522 | 0.014465 | 7.178 | 7.0857 | 0.043392 | 7.1594 | 7.104 | -0.0001858 | -2.8975 | -2.8249 | 0.00048722 | 3.27 | 3.214 | 0.021814 | -2.9064 | -2.816 | -0.065441 | 3.1436 | 3.0286 | -90.7435 | 39.351 | -141.5434 | 89.2758 | -140.8261 | 38.6375 |  | 1.5081 | 0.57175 | 0.56293 | 1.5082 | 0.63358 | 0.62164 | -0.25554 | -95.5608 | 83.3658 | -0.29759 | -96.9548 | 81.937
Line_2 | 0.0012524 | 0.31041 | 0.30721 | 0.0037584 | 0.30881 | 0.30881 | 0.014462 | 3.5843 | 3.5474 | 0.043398 | 3.5658 | 3.5658 | -0.0001445 | -1.5434 | -1.5082 | 0.00053153 | 1.6213 | 1.6204 | 0.021812 | -1.5149 | -1.4588 | -0.065449 | 1.5733 | 1.5126 | -90.6854 | 39.2625 | -141.4528 | 89.2371 | -141.0934 | 38.9068 |  | 1.5083 | 0.60337 | 0.5915 | 1.5082 | 0.63358 | 0.62164 | -0.30586 | -96.2714 | 82.5921 | -0.29759 | -96.9548 | 81.937
Line_3 | 0.0012527 | 0.31203 | 0.30563 | 0.0012524 | 0.31041 | 0.30721 | 0.014465 | 3.603 | 3.5292 | 0.014462 | 3.5843 | 3.5474 | 0.0001858 | -1.4611 | -1.4003 | 0.0001445 | 1.5434 | 1.5082 | -0.021814 | -1.4522 | -1.4093 | -0.021812 | 1.5149 | 1.4588 | 89.2565 | 39.615 | -141.8164 | 89.3146 | -140.7375 | 38.5472 |  | 1.5081 | 0.57175 | 0.56293 | 1.5083 | 0.60337 | 0.5915 | -0.25554 | -95.5608 | 83.3658 | -0.30586 | -96.2714 | 82.5921

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010022 | 0.92722 | 0.92562 | 0.0075162 | 0.92883 | 0.92403 | 0.11572 | 10.7066 | 10.6882 | 0.086789 | 10.7252 | 10.6697 | 0.0015337 | 5.7279 | 5.7111 | -0.0010187 | -4.8913 | -4.8343 | -0.17446 | 5.2214 | 5.0492 | 0.13089 | -4.7169 | -4.5413 | 89.2528 | -141.0339 | 38.8472 | -90.7435 | 39.085 | -141.2725 |  | 1.5076 | 0.72391 | 0.71323 | 1.5082 | 0.63358 | 0.62164 | -0.24346 | -98.6827 | 80.3275 | -0.29759 | -96.9548 | 81.937
Line_1 | 0.0012527 | 0.62163 | 0.61364 | 0.0037578 | 0.62002 | 0.61522 | 0.014465 | 7.178 | 7.0857 | 0.043392 | 7.1594 | 7.104 | -0.0001858 | -2.8975 | -2.8249 | 0.00048722 | 3.27 | 3.214 | 0.021814 | -2.9064 | -2.816 | -0.065441 | 3.1436 | 3.0286 | -90.7435 | 39.351 | -141.5434 | 89.2758 | -140.8261 | 38.6375 |  | 1.5081 | 0.57175 | 0.56293 | 1.5082 | 0.63358 | 0.62164 | -0.25554 | -95.5608 | 83.3658 | -0.29759 | -96.9548 | 81.937
Line_2 | 0.0012524 | 0.31041 | 0.30721 | 0.0037584 | 0.30881 | 0.30881 | 0.014462 | 3.5843 | 3.5474 | 0.043398 | 3.5658 | 3.5658 | -0.0001445 | -1.5434 | -1.5082 | 0.00053153 | 1.6213 | 1.6204 | 0.021812 | -1.5149 | -1.4588 | -0.065449 | 1.5733 | 1.5126 | -90.6854 | 39.2625 | -141.4528 | 89.2371 | -141.0934 | 38.9068 |  | 1.5083 | 0.60337 | 0.5915 | 1.5082 | 0.63358 | 0.62164 | -0.30586 | -96.2714 | 82.5921 | -0.29759 | -96.9548 | 81.937
Line_3 | 0.0012527 | 0.31203 | 0.30563 | 0.0012524 | 0.31041 | 0.30721 | 0.014465 | 3.603 | 3.5292 | 0.014462 | 3.5843 | 3.5474 | 0.0001858 | -1.4611 | -1.4003 | 0.0001445 | 1.5434 | 1.5082 | -0.021814 | -1.4522 | -1.4093 | -0.021812 | 1.5149 | 1.4588 | 89.2565 | 39.615 | -141.8164 | 89.3146 | -140.7375 | 38.5472 |  | 1.5081 | 0.57175 | 0.56293 | 1.5083 | 0.60337 | 0.5915 | -0.25554 | -95.5608 | 83.3658 | -0.30586 | -96.2714 | 82.5921