## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.6896e-14 | 4.1685e-14 | -6.2528e-14 | 3.1264e-14 | -3.3869e-14 | 6.7739e-14 | -2.0843e-14 | 5.7634e-09 | -5.7634e-09 | 1.0421e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.2588e-12 | -180 | 180 | 2.2802e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-14 | -2.0842e-14 | 3.1264e-14 | -3.1264e-14 | 2.8658e-14 | -3.6475e-14 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.2964e-12 | -180 | 180 | 2.2802e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | -2.0842e-14 | 2.0843e-14 | -2.0843e-14 | 3.908e-14 | -2.6053e-14 | -2.0843e-14 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.294e-12 | -180 | 180 | 2.2802e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | 7.816e-15 | 1.0421e-14 | -1.5632e-14 | -2.6053e-15 | -1.0421e-14 | -1.0421e-14 | 8.3338e-25 | 5.2106e-15 | 5.2106e-15 | -5.2106e-15 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.2964e-12 | -180 | 180 | 2.294e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.6896e-14 | 4.1685e-14 | -6.2528e-14 | 3.1264e-14 | -3.3869e-14 | 6.7739e-14 | -2.0843e-14 | 5.7634e-09 | -5.7634e-09 | 1.0421e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.2588e-12 | -180 | 180 | 2.2802e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-14 | -2.0842e-14 | 3.1264e-14 | -3.1264e-14 | 2.8658e-14 | -3.6475e-14 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.2964e-12 | -180 | 180 | 2.2802e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | -2.0842e-14 | 2.0843e-14 | -2.0843e-14 | 3.908e-14 | -2.6053e-14 | -2.0843e-14 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.294e-12 | -180 | 180 | 2.2802e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | 7.816e-15 | 1.0421e-14 | -1.5632e-14 | -2.6053e-15 | -1.0421e-14 | -1.0421e-14 | 8.3338e-25 | 5.2106e-15 | 5.2106e-15 | -5.2106e-15 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.2964e-12 | -180 | 180 | 2.294e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1685e-14 | -7.3072e-10 | -2.0393e-09 | 3.1264e-14 | 7.3074e-10 | 2.0393e-09 | -2.3019e-27 | 5.8225e-09 | -3.556e-09 | 1.7364e-27 | -5.8225e-09 | 3.556e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 3.1639e-12 | -164.9034 | 158.1097 | 3.1823e-12 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 2.4356e-10 | 6.7979e-10 | -1.5632e-14 | -2.4355e-10 | -6.7978e-10 | 5.2106e-15 | -1.9408e-09 | 1.1854e-09 | -8.6822e-28 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 3.1937e-12 | -164.9034 | 158.1097 | 3.1823e-12 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 2.4358e-10 | 6.7979e-10 | -1.5632e-14 | -2.4357e-10 | -6.7978e-10 | 2.9023e-28 | -1.9409e-09 | 1.1854e-09 | -8.6822e-28 | 1.9409e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 3.1913e-12 | -164.9034 | 158.1097 | 3.1823e-12 | -164.9034 | 158.1097
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2122e-14 | 3.364e-15 | -5.2106e-15 | 1.524e-14 | -3.364e-15 | 0 | 2.0141e-14 | 8.3722e-15 | -5.2106e-15 | -1.93e-14 | -8.3722e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 3.1937e-12 | -164.9034 | 158.1097 | 3.1913e-12 | -164.9034 | 158.1097

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1685e-14 | -7.3072e-10 | -2.0393e-09 | 3.1264e-14 | 7.3074e-10 | 2.0393e-09 | -2.3019e-27 | 5.8225e-09 | -3.556e-09 | 1.7364e-27 | -5.8225e-09 | 3.556e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 3.1639e-12 | -164.9034 | 158.1097 | 3.1823e-12 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 2.4356e-10 | 6.7979e-10 | -1.5632e-14 | -2.4355e-10 | -6.7978e-10 | 5.2106e-15 | -1.9408e-09 | 1.1854e-09 | -8.6822e-28 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 3.1937e-12 | -164.9034 | 158.1097 | 3.1823e-12 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 2.4358e-10 | 6.7979e-10 | -1.5632e-14 | -2.4357e-10 | -6.7978e-10 | 2.9023e-28 | -1.9409e-09 | 1.1854e-09 | -8.6822e-28 | 1.9409e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 3.1913e-12 | -164.9034 | 158.1097 | 3.1823e-12 | -164.9034 | 158.1097
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2122e-14 | 3.364e-15 | -5.2106e-15 | 1.524e-14 | -3.364e-15 | 0 | 2.0141e-14 | 8.3722e-15 | -5.2106e-15 | -1.93e-14 | -8.3722e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 3.1937e-12 | -164.9034 | 158.1097 | 3.1913e-12 | -164.9034 | 158.1097

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-14 | -2.3686e-15 | 4.7368e-15 | -1.6579e-14 | 3.5535e-15 | 2.3693e-15 | 9.4739e-15 | 4.7631e-09 | -4.7631e-09 | -1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.7996e-12 | -180 | 180 | 1.7912e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -2.3681e-15 | 4.7373e-15 | 1.4211e-14 | 3.5525e-15 | -2.3687e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.7733e-12 | -180 | 180 | 1.7912e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-14 | -7.1051e-15 | 4.7373e-15 | 1.8948e-14 | 8.2894e-15 | 2.3682e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.7798e-12 | -180 | 180 | 1.7912e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-15 | 1.0036e-24 | -4.737e-15 | -5.9212e-15 | -2.0071e-24 | 0 | 7.1054e-15 | 4.737e-15 | -4.737e-15 | 2.3685e-15 | -9.4739e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.7733e-12 | -180 | 180 | 1.7798e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-14 | -2.3686e-15 | 4.7368e-15 | -1.6579e-14 | 3.5535e-15 | 2.3693e-15 | 9.4739e-15 | 4.7631e-09 | -4.7631e-09 | -1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.7996e-12 | -180 | 180 | 1.7912e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -2.3681e-15 | 4.7373e-15 | 1.4211e-14 | 3.5525e-15 | -2.3687e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.7733e-12 | -180 | 180 | 1.7912e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-14 | -7.1051e-15 | 4.7373e-15 | 1.8948e-14 | 8.2894e-15 | 2.3682e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.7798e-12 | -180 | 180 | 1.7912e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-15 | 1.0036e-24 | -4.737e-15 | -5.9212e-15 | -2.0071e-24 | 0 | 7.1054e-15 | 4.737e-15 | -4.737e-15 | 2.3685e-15 | -9.4739e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.7733e-12 | -180 | 180 | 1.7798e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6579e-14 | -5.5596e-10 | -1.5515e-09 | -1.6579e-14 | 5.5597e-10 | 1.5515e-09 | 9.4739e-15 | 4.8331e-09 | -3.1089e-09 | -9.4739e-15 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 9.1025e-13 | -166.2936 | 160.6236 | 9.026e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | 1.8531e-10 | 5.1716e-10 | 1.6579e-14 | -1.8531e-10 | -5.1715e-10 | 2.3685e-15 | -1.611e-09 | 1.0363e-09 | -4.737e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 8.8408e-13 | -166.2936 | 160.6236 | 9.026e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | 1.8532e-10 | 5.1715e-10 | 1.4211e-14 | -1.8532e-10 | -5.1715e-10 | -4.737e-15 | -1.6111e-09 | 1.0363e-09 | 2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 8.9307e-13 | -166.2936 | 160.6236 | 9.026e-13 | -166.2936 | 160.6236
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 4.0944e-16 | 0 | 1.4767e-28 | -3.4168e-17 | 3.3042e-15 | 7.1054e-15 | 1.0472e-14 | 0 | -9.4739e-15 | -5.9354e-15 | 3.1974e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 8.8408e-13 | -166.2936 | 160.6236 | 8.9307e-13 | -166.2936 | 160.6236

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6579e-14 | -5.5596e-10 | -1.5515e-09 | -1.6579e-14 | 5.5597e-10 | 1.5515e-09 | 9.4739e-15 | 4.8331e-09 | -3.1089e-09 | -9.4739e-15 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 9.1025e-13 | -166.2936 | 160.6236 | 9.026e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | 1.8531e-10 | 5.1716e-10 | 1.6579e-14 | -1.8531e-10 | -5.1715e-10 | 2.3685e-15 | -1.611e-09 | 1.0363e-09 | -4.737e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 8.8408e-13 | -166.2936 | 160.6236 | 9.026e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | 1.8532e-10 | 5.1715e-10 | 1.4211e-14 | -1.8532e-10 | -5.1715e-10 | -4.737e-15 | -1.6111e-09 | 1.0363e-09 | 2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 8.9307e-13 | -166.2936 | 160.6236 | 9.026e-13 | -166.2936 | 160.6236
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 4.0944e-16 | 0 | 1.4767e-28 | -3.4168e-17 | 3.3042e-15 | 7.1054e-15 | 1.0472e-14 | 0 | -9.4739e-15 | -5.9354e-15 | 3.1974e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 8.8408e-13 | -166.2936 | 160.6236 | 8.9307e-13 | -166.2936 | 160.6236

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0023841 | 0.0023841 | 0.0023841 | 0.0017888 | 0.0017888 | 0.0017888 | 0.02753 | 0.02753 | 0.02753 | 0.020655 | 0.020655 | 0.020655 | -1.6837e-07 | -0.026197 | 0.026254 | 4.3375e-06 | 0.019671 | -0.019683 | -0.01334 | 0.001774 | 0.001643 | 0.010014 | -0.0013067 | -0.0012461 | 90.1431 | 90.1431 | 90.1431 | -89.9117 | -89.9118 | -89.9118 |  | 0.48455 | 0.95378 | 0.95551 | 0.48482 | 0.95443 | 0.95483 | 0.14238 | -93.7308 | 93.7241 | 0.063443 | -93.7122 | 93.7107
Line_1 | 0.00029819 | 0.00029819 | 0.00029819 | 0.0008944 | 0.0008944 | 0.0008944 | 0.0034433 | 0.0034433 | 0.0034433 | 0.010328 | 0.010328 | 0.010328 | 4.9915e-07 | 0.0032799 | -0.0032804 | -2.1682e-06 | -0.0098353 | 0.0098414 | 0.0016696 | -0.00021583 | -0.0002092 | -0.005007 | 0.00065334 | 0.00062304 | -89.942 | -89.942 | -89.942 | 90.0883 | 90.0882 | 90.0882 |  | 0.4849 | 0.95462 | 0.95464 | 0.48482 | 0.95443 | 0.95483 | 0.040892 | -93.7069 | 93.7069 | 0.063443 | -93.7122 | 93.7107
Line_2 | 0.00029819 | 0.00029819 | 0.00029819 | 0.0008944 | 0.0008944 | 0.0008944 | 0.0034433 | 0.0034433 | 0.0034433 | 0.010328 | 0.010328 | 0.010328 | 4.9915e-07 | 0.0032799 | -0.0032804 | -2.1682e-06 | -0.0098353 | 0.0098414 | 0.0016696 | -0.00021583 | -0.0002092 | -0.005007 | 0.00065334 | 0.00062304 | -89.942 | -89.942 | -89.942 | 90.0883 | 90.0882 | 90.0882 |  | 0.4849 | 0.95462 | 0.95464 | 0.48482 | 0.95443 | 0.95483 | 0.040892 | -93.7069 | 93.7069 | 0.063443 | -93.7122 | 93.7107
Line_3 | 0.00029819 | 0.00029819 | 0.00029819 | 0.00029819 | 0.00029819 | 0.00029819 | 0.0034433 | 0.0034433 | 0.0034433 | 0.0034433 | 0.0034433 | 0.0034433 | -4.9806e-07 | -0.0032799 | 0.0032804 | -4.9806e-07 | -0.0032799 | 0.0032804 | -0.0016696 | 0.00021583 | 0.00020919 | -0.0016696 | 0.00021583 | 0.00020919 | 90.058 | 90.058 | 90.058 | 90.058 | 90.058 | 90.058 |  | 0.4849 | 0.95462 | 0.95464 | 0.4849 | 0.95462 | 0.95464 | 0.040892 | -93.7069 | 93.7069 | 0.040892 | -93.7069 | 93.7069

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0023841 | 0.0023841 | 0.0023841 | 0.0017888 | 0.0017888 | 0.0017888 | 0.02753 | 0.02753 | 0.02753 | 0.020655 | 0.020655 | 0.020655 | -1.6837e-07 | -0.026197 | 0.026254 | 4.3375e-06 | 0.019671 | -0.019683 | -0.01334 | 0.001774 | 0.001643 | 0.010014 | -0.0013067 | -0.0012461 | 90.1431 | 90.1431 | 90.1431 | -89.9117 | -89.9118 | -89.9118 |  | 0.48455 | 0.95378 | 0.95551 | 0.48482 | 0.95443 | 0.95483 | 0.14238 | -93.7308 | 93.7241 | 0.063443 | -93.7122 | 93.7107
Line_1 | 0.00029819 | 0.00029819 | 0.00029819 | 0.0008944 | 0.0008944 | 0.0008944 | 0.0034433 | 0.0034433 | 0.0034433 | 0.010328 | 0.010328 | 0.010328 | 4.9915e-07 | 0.0032799 | -0.0032804 | -2.1682e-06 | -0.0098353 | 0.0098414 | 0.0016696 | -0.00021583 | -0.0002092 | -0.005007 | 0.00065334 | 0.00062304 | -89.942 | -89.942 | -89.942 | 90.0883 | 90.0882 | 90.0882 |  | 0.4849 | 0.95462 | 0.95464 | 0.48482 | 0.95443 | 0.95483 | 0.040892 | -93.7069 | 93.7069 | 0.063443 | -93.7122 | 93.7107
Line_2 | 0.00029819 | 0.00029819 | 0.00029819 | 0.0008944 | 0.0008944 | 0.0008944 | 0.0034433 | 0.0034433 | 0.0034433 | 0.010328 | 0.010328 | 0.010328 | 4.9915e-07 | 0.0032799 | -0.0032804 | -2.1682e-06 | -0.0098353 | 0.0098414 | 0.0016696 | -0.00021583 | -0.0002092 | -0.005007 | 0.00065334 | 0.00062304 | -89.942 | -89.942 | -89.942 | 90.0883 | 90.0882 | 90.0882 |  | 0.4849 | 0.95462 | 0.95464 | 0.48482 | 0.95443 | 0.95483 | 0.040892 | -93.7069 | 93.7069 | 0.063443 | -93.7122 | 93.7107
Line_3 | 0.00029819 | 0.00029819 | 0.00029819 | 0.00029819 | 0.00029819 | 0.00029819 | 0.0034433 | 0.0034433 | 0.0034433 | 0.0034433 | 0.0034433 | 0.0034433 | -4.9806e-07 | -0.0032799 | 0.0032804 | -4.9806e-07 | -0.0032799 | 0.0032804 | -0.0016696 | 0.00021583 | 0.00020919 | -0.0016696 | 0.00021583 | 0.00020919 | 90.058 | 90.058 | 90.058 | 90.058 | 90.058 | 90.058 |  | 0.4849 | 0.95462 | 0.95464 | 0.4849 | 0.95462 | 0.95464 | 0.040892 | -93.7069 | 93.7069 | 0.040892 | -93.7069 | 93.7069

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0016418 | 0.0016418 | 0.0016418 | 0.0012319 | 0.0012319 | 0.0012319 | 0.018958 | 0.018958 | 0.018958 | 0.014224 | 0.014224 | 0.014224 | -0.0048628 | -0.01511 | 0.02 | 0.0036463 | 0.011349 | -0.014999 | -0.012236 | 0.0080073 | -0.00047735 | 0.0091864 | -0.0059943 | 0.00034638 | 103.5857 | 103.5856 | 103.5856 | -76.4692 | -76.4692 | -76.4692 |  | 0.6945 | 0.90202 | 1.0552 | 0.69484 | 0.90234 | 1.0548 | -8.0887 | -104.3347 | 102.2184 | -8.1184 | -104.3108 | 102.2079
Line_1 | 0.00020535 | 0.00020535 | 0.00020535 | 0.00061593 | 0.00061593 | 0.00061593 | 0.0023712 | 0.0023712 | 0.0023712 | 0.0071121 | 0.0071121 | 0.0071121 | 0.00060734 | 0.0018928 | -0.0025001 | -0.0018231 | -0.0056746 | 0.0074996 | 0.0015318 | -0.00099814 | 5.6546e-05 | -0.0045932 | 0.0029972 | -0.00017319 | -76.4994 | -76.4995 | -76.4995 | 103.5308 | 103.5308 | 103.5308 |  | 0.69494 | 0.90243 | 1.0546 | 0.69484 | 0.90234 | 1.0548 | -8.1269 | -104.304 | 102.2049 | -8.1184 | -104.3108 | 102.2079
Line_2 | 0.00020535 | 0.00020535 | 0.00020535 | 0.00061593 | 0.00061593 | 0.00061593 | 0.0023712 | 0.0023712 | 0.0023712 | 0.0071121 | 0.0071121 | 0.0071121 | 0.00060734 | 0.0018928 | -0.0025001 | -0.0018231 | -0.0056746 | 0.0074996 | 0.0015318 | -0.00099814 | 5.6546e-05 | -0.0045932 | 0.0029972 | -0.00017319 | -76.4994 | -76.4995 | -76.4995 | 103.5308 | 103.5308 | 103.5308 |  | 0.69494 | 0.90243 | 1.0546 | 0.69484 | 0.90234 | 1.0548 | -8.1269 | -104.304 | 102.2049 | -8.1184 | -104.3108 | 102.2079
Line_3 | 0.00020535 | 0.00020535 | 0.00020535 | 0.00020535 | 0.00020535 | 0.00020535 | 0.0023712 | 0.0023712 | 0.0023712 | 0.0023712 | 0.0023712 | 0.0023712 | -0.00060734 | -0.0018928 | 0.0025001 | -0.00060734 | -0.0018928 | 0.0025001 | -0.0015318 | 0.00099814 | -5.6547e-05 | -0.0015318 | 0.00099814 | -5.6547e-05 | 103.5006 | 103.5006 | 103.5006 | 103.5006 | 103.5006 | 103.5006 |  | 0.69494 | 0.90243 | 1.0546 | 0.69494 | 0.90243 | 1.0546 | -8.1269 | -104.304 | 102.2049 | -8.1269 | -104.304 | 102.2049

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0016418 | 0.0016418 | 0.0016418 | 0.0012319 | 0.0012319 | 0.0012319 | 0.018958 | 0.018958 | 0.018958 | 0.014224 | 0.014224 | 0.014224 | -0.0048628 | -0.01511 | 0.02 | 0.0036463 | 0.011349 | -0.014999 | -0.012236 | 0.0080073 | -0.00047735 | 0.0091864 | -0.0059943 | 0.00034638 | 103.5857 | 103.5856 | 103.5856 | -76.4692 | -76.4692 | -76.4692 |  | 0.6945 | 0.90202 | 1.0552 | 0.69484 | 0.90234 | 1.0548 | -8.0887 | -104.3347 | 102.2184 | -8.1184 | -104.3108 | 102.2079
Line_1 | 0.00020535 | 0.00020535 | 0.00020535 | 0.00061593 | 0.00061593 | 0.00061593 | 0.0023712 | 0.0023712 | 0.0023712 | 0.0071121 | 0.0071121 | 0.0071121 | 0.00060734 | 0.0018928 | -0.0025001 | -0.0018231 | -0.0056746 | 0.0074996 | 0.0015318 | -0.00099814 | 5.6546e-05 | -0.0045932 | 0.0029972 | -0.00017319 | -76.4994 | -76.4995 | -76.4995 | 103.5308 | 103.5308 | 103.5308 |  | 0.69494 | 0.90243 | 1.0546 | 0.69484 | 0.90234 | 1.0548 | -8.1269 | -104.304 | 102.2049 | -8.1184 | -104.3108 | 102.2079
Line_2 | 0.00020535 | 0.00020535 | 0.00020535 | 0.00061593 | 0.00061593 | 0.00061593 | 0.0023712 | 0.0023712 | 0.0023712 | 0.0071121 | 0.0071121 | 0.0071121 | 0.00060734 | 0.0018928 | -0.0025001 | -0.0018231 | -0.0056746 | 0.0074996 | 0.0015318 | -0.00099814 | 5.6546e-05 | -0.0045932 | 0.0029972 | -0.00017319 | -76.4994 | -76.4995 | -76.4995 | 103.5308 | 103.5308 | 103.5308 |  | 0.69494 | 0.90243 | 1.0546 | 0.69484 | 0.90234 | 1.0548 | -8.1269 | -104.304 | 102.2049 | -8.1184 | -104.3108 | 102.2079
Line_3 | 0.00020535 | 0.00020535 | 0.00020535 | 0.00020535 | 0.00020535 | 0.00020535 | 0.0023712 | 0.0023712 | 0.0023712 | 0.0023712 | 0.0023712 | 0.0023712 | -0.00060734 | -0.0018928 | 0.0025001 | -0.00060734 | -0.0018928 | 0.0025001 | -0.0015318 | 0.00099814 | -5.6547e-05 | -0.0015318 | 0.00099814 | -5.6547e-05 | 103.5006 | 103.5006 | 103.5006 | 103.5006 | 103.5006 | 103.5006 |  | 0.69494 | 0.90243 | 1.0546 | 0.69494 | 0.90243 | 1.0546 | -8.1269 | -104.304 | 102.2049 | -8.1269 | -104.304 | 102.2049

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0021651 | 0.0021651 | 0.0021651 | 0.0016244 | 0.0016244 | 0.0016244 | 0.025 | 0.025 | 0.025 | 0.018757 | 0.018757 | 0.018757 | -2.7017e-07 | -0.021606 | 0.021695 | 6.8673e-06 | 0.016235 | -0.016254 | -0.011003 | 0.0015032 | 0.0013165 | 0.0082598 | -0.0010935 | -0.0010131 | 90.2471 | 90.247 | 90.247 | -89.8582 | -89.8583 | -89.8583 |  | 0.44011 | 0.86632 | 0.8694 | 0.44035 | 0.86747 | 0.86822 | 0.24566 | -93.7328 | 93.7196 | 0.094122 | -93.7117 | 93.7085
Line_1 | 0.0002708 | 0.0002708 | 0.0002708 | 0.00081222 | 0.00081222 | 0.00081222 | 0.0031269 | 0.0031269 | 0.0031269 | 0.0093787 | 0.0093787 | 0.0093787 | 7.896e-07 | 0.0027076 | -0.0027084 | -3.4332e-06 | -0.0081173 | 0.008127 | 0.0013771 | -0.00017933 | -0.00017142 | -0.0041299 | 0.00054675 | 0.00050657 | -89.9163 | -89.9164 | -89.9164 | 90.1418 | 90.1417 | 90.1417 |  | 0.44042 | 0.8678 | 0.86788 | 0.44035 | 0.86747 | 0.86822 | 0.050832 | -93.7057 | 93.7053 | 0.094122 | -93.7117 | 93.7085
Line_2 | 0.0002708 | 0.0002708 | 0.0002708 | 0.00081222 | 0.00081222 | 0.00081222 | 0.0031269 | 0.0031269 | 0.0031269 | 0.0093787 | 0.0093787 | 0.0093787 | 7.896e-07 | 0.0027076 | -0.0027084 | -3.4332e-06 | -0.0081173 | 0.008127 | 0.0013771 | -0.00017933 | -0.00017142 | -0.0041299 | 0.00054675 | 0.00050657 | -89.9163 | -89.9164 | -89.9164 | 90.1418 | 90.1417 | 90.1417 |  | 0.44042 | 0.8678 | 0.86788 | 0.44035 | 0.86747 | 0.86822 | 0.050832 | -93.7057 | 93.7053 | 0.094122 | -93.7117 | 93.7085
Line_3 | 0.0002708 | 0.0002708 | 0.0002708 | 0.0002708 | 0.0002708 | 0.0002708 | 0.0031269 | 0.0031269 | 0.0031269 | 0.0031269 | 0.0031269 | 0.0031269 | -7.887e-07 | -0.0027076 | 0.0027084 | -7.887e-07 | -0.0027076 | 0.0027084 | -0.0013771 | 0.00017933 | 0.00017142 | -0.0013771 | 0.00017933 | 0.00017142 | 90.0836 | 90.0836 | 90.0836 | 90.0836 | 90.0836 | 90.0836 |  | 0.44042 | 0.8678 | 0.86788 | 0.44042 | 0.8678 | 0.86788 | 0.050832 | -93.7057 | 93.7053 | 0.050832 | -93.7057 | 93.7053

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0021651 | 0.0021651 | 0.0021651 | 0.0016244 | 0.0016244 | 0.0016244 | 0.025 | 0.025 | 0.025 | 0.018757 | 0.018757 | 0.018757 | -2.7017e-07 | -0.021606 | 0.021695 | 6.8673e-06 | 0.016235 | -0.016254 | -0.011003 | 0.0015032 | 0.0013165 | 0.0082598 | -0.0010935 | -0.0010131 | 90.2471 | 90.247 | 90.247 | -89.8582 | -89.8583 | -89.8583 |  | 0.44011 | 0.86632 | 0.8694 | 0.44035 | 0.86747 | 0.86822 | 0.24566 | -93.7328 | 93.7196 | 0.094122 | -93.7117 | 93.7085
Line_1 | 0.0002708 | 0.0002708 | 0.0002708 | 0.00081222 | 0.00081222 | 0.00081222 | 0.0031269 | 0.0031269 | 0.0031269 | 0.0093787 | 0.0093787 | 0.0093787 | 7.896e-07 | 0.0027076 | -0.0027084 | -3.4332e-06 | -0.0081173 | 0.008127 | 0.0013771 | -0.00017933 | -0.00017142 | -0.0041299 | 0.00054675 | 0.00050657 | -89.9163 | -89.9164 | -89.9164 | 90.1418 | 90.1417 | 90.1417 |  | 0.44042 | 0.8678 | 0.86788 | 0.44035 | 0.86747 | 0.86822 | 0.050832 | -93.7057 | 93.7053 | 0.094122 | -93.7117 | 93.7085
Line_2 | 0.0002708 | 0.0002708 | 0.0002708 | 0.00081222 | 0.00081222 | 0.00081222 | 0.0031269 | 0.0031269 | 0.0031269 | 0.0093787 | 0.0093787 | 0.0093787 | 7.896e-07 | 0.0027076 | -0.0027084 | -3.4332e-06 | -0.0081173 | 0.008127 | 0.0013771 | -0.00017933 | -0.00017142 | -0.0041299 | 0.00054675 | 0.00050657 | -89.9163 | -89.9164 | -89.9164 | 90.1418 | 90.1417 | 90.1417 |  | 0.44042 | 0.8678 | 0.86788 | 0.44035 | 0.86747 | 0.86822 | 0.050832 | -93.7057 | 93.7053 | 0.094122 | -93.7117 | 93.7085
Line_3 | 0.0002708 | 0.0002708 | 0.0002708 | 0.0002708 | 0.0002708 | 0.0002708 | 0.0031269 | 0.0031269 | 0.0031269 | 0.0031269 | 0.0031269 | 0.0031269 | -7.887e-07 | -0.0027076 | 0.0027084 | -7.887e-07 | -0.0027076 | 0.0027084 | -0.0013771 | 0.00017933 | 0.00017142 | -0.0013771 | 0.00017933 | 0.00017142 | 90.0836 | 90.0836 | 90.0836 | 90.0836 | 90.0836 | 90.0836 |  | 0.44042 | 0.8678 | 0.86788 | 0.44042 | 0.8678 | 0.86788 | 0.050832 | -93.7057 | 93.7053 | 0.050832 | -93.7057 | 93.7053

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.001552 | 0.001552 | 0.001552 | 0.0011645 | 0.0011645 | 0.0011645 | 0.017921 | 0.017921 | 0.017921 | 0.013446 | 0.013446 | 0.013446 | -0.0038382 | -0.013207 | 0.017091 | 0.0028768 | 0.0099294 | -0.012813 | -0.010301 | 0.0064197 | -0.00032406 | 0.007736 | -0.004796 | 0.00022189 | 102.548 | 102.548 | 102.548 | -77.5573 | -77.5574 | -77.5574 |  | 0.61338 | 0.81942 | 0.95387 | 0.61383 | 0.8201 | 0.95304 | -7.8886 | -103.3747 | 101.4618 | -7.956 | -103.3384 | 101.4505
Line_1 | 0.00019412 | 0.00019412 | 0.00019412 | 0.00058223 | 0.00058223 | 0.00058223 | 0.0022415 | 0.0022415 | 0.0022415 | 0.006723 | 0.006723 | 0.006723 | 0.00047879 | 0.0016566 | -0.0021354 | -0.0014384 | -0.0049647 | 0.0064063 | 0.0012902 | -0.00079772 | 3.4934e-05 | -0.003868 | 0.002398 | -0.00011095 | -77.6154 | -77.6155 | -77.6155 | 102.4427 | 102.4427 | 102.4427 |  | 0.61396 | 0.82029 | 0.9528 | 0.61383 | 0.8201 | 0.95304 | -7.9753 | -103.3281 | 101.4473 | -7.956 | -103.3384 | 101.4505
Line_2 | 0.00019412 | 0.00019412 | 0.00019412 | 0.00058223 | 0.00058223 | 0.00058223 | 0.0022415 | 0.0022415 | 0.0022415 | 0.006723 | 0.006723 | 0.006723 | 0.00047879 | 0.0016566 | -0.0021354 | -0.0014384 | -0.0049647 | 0.0064063 | 0.0012902 | -0.00079772 | 3.4934e-05 | -0.003868 | 0.002398 | -0.00011095 | -77.6154 | -77.6155 | -77.6155 | 102.4427 | 102.4427 | 102.4427 |  | 0.61396 | 0.82029 | 0.9528 | 0.61383 | 0.8201 | 0.95304 | -7.9753 | -103.3281 | 101.4473 | -7.956 | -103.3384 | 101.4505
Line_3 | 0.00019412 | 0.00019412 | 0.00019412 | 0.00019412 | 0.00019412 | 0.00019412 | 0.0022415 | 0.0022415 | 0.0022415 | 0.0022415 | 0.0022415 | 0.0022415 | -0.00047879 | -0.0016566 | 0.0021354 | -0.00047879 | -0.0016566 | 0.0021354 | -0.0012902 | 0.00079772 | -3.4935e-05 | -0.0012902 | 0.00079772 | -3.4935e-05 | 102.3846 | 102.3846 | 102.3846 | 102.3846 | 102.3846 | 102.3846 |  | 0.61396 | 0.82029 | 0.9528 | 0.61396 | 0.82029 | 0.9528 | -7.9753 | -103.3281 | 101.4473 | -7.9753 | -103.3281 | 101.4473

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.001552 | 0.001552 | 0.001552 | 0.0011645 | 0.0011645 | 0.0011645 | 0.017921 | 0.017921 | 0.017921 | 0.013446 | 0.013446 | 0.013446 | -0.0038382 | -0.013207 | 0.017091 | 0.0028768 | 0.0099294 | -0.012813 | -0.010301 | 0.0064197 | -0.00032406 | 0.007736 | -0.004796 | 0.00022189 | 102.548 | 102.548 | 102.548 | -77.5573 | -77.5574 | -77.5574 |  | 0.61338 | 0.81942 | 0.95387 | 0.61383 | 0.8201 | 0.95304 | -7.8886 | -103.3747 | 101.4618 | -7.956 | -103.3384 | 101.4505
Line_1 | 0.00019412 | 0.00019412 | 0.00019412 | 0.00058223 | 0.00058223 | 0.00058223 | 0.0022415 | 0.0022415 | 0.0022415 | 0.006723 | 0.006723 | 0.006723 | 0.00047879 | 0.0016566 | -0.0021354 | -0.0014384 | -0.0049647 | 0.0064063 | 0.0012902 | -0.00079772 | 3.4934e-05 | -0.003868 | 0.002398 | -0.00011095 | -77.6154 | -77.6155 | -77.6155 | 102.4427 | 102.4427 | 102.4427 |  | 0.61396 | 0.82029 | 0.9528 | 0.61383 | 0.8201 | 0.95304 | -7.9753 | -103.3281 | 101.4473 | -7.956 | -103.3384 | 101.4505
Line_2 | 0.00019412 | 0.00019412 | 0.00019412 | 0.00058223 | 0.00058223 | 0.00058223 | 0.0022415 | 0.0022415 | 0.0022415 | 0.006723 | 0.006723 | 0.006723 | 0.00047879 | 0.0016566 | -0.0021354 | -0.0014384 | -0.0049647 | 0.0064063 | 0.0012902 | -0.00079772 | 3.4934e-05 | -0.003868 | 0.002398 | -0.00011095 | -77.6154 | -77.6155 | -77.6155 | 102.4427 | 102.4427 | 102.4427 |  | 0.61396 | 0.82029 | 0.9528 | 0.61383 | 0.8201 | 0.95304 | -7.9753 | -103.3281 | 101.4473 | -7.956 | -103.3384 | 101.4505
Line_3 | 0.00019412 | 0.00019412 | 0.00019412 | 0.00019412 | 0.00019412 | 0.00019412 | 0.0022415 | 0.0022415 | 0.0022415 | 0.0022415 | 0.0022415 | 0.0022415 | -0.00047879 | -0.0016566 | 0.0021354 | -0.00047879 | -0.0016566 | 0.0021354 | -0.0012902 | 0.00079772 | -3.4935e-05 | -0.0012902 | 0.00079772 | -3.4935e-05 | 102.3846 | 102.3846 | 102.3846 | 102.3846 | 102.3846 | 102.3846 |  | 0.61396 | 0.82029 | 0.9528 | 0.61396 | 0.82029 | 0.9528 | -7.9753 | -103.3281 | 101.4473 | -7.9753 | -103.3281 | 101.4473

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0023915 | 0.0023915 | 0.0023915 | 0.0017943 | 0.0017943 | 0.0017943 | 0.027615 | 0.027615 | 0.027615 | 0.020719 | 0.020719 | 0.020719 | 5.6834e-05 | -1.6646e-07 | -1.6644e-07 | -1.6653e-05 | 4.3613e-06 | 4.3613e-06 | 0.01686 | -0.013422 | -0.013422 | -0.012645 | 0.010076 | 0.010076 | -89.8745 | -89.8745 | -89.8745 | 90.0707 | 90.0707 | 90.0707 |  | 0.61056 | 0.48605 | 0.48605 | 0.61029 | 0.48632 | 0.48632 | -0.06762 | -179.8752 | -179.8752 | -0.0047985 | -179.9541 | -179.9541
Line_1 | 0.00029912 | 0.00029911 | 0.00029912 | 0.00089716 | 0.00089716 | 0.00089716 | 0.0034539 | 0.0034539 | 0.0034539 | 0.010359 | 0.010359 | 0.010359 | -1.0012e-06 | 5.0125e-07 | 5.0125e-07 | 8.327e-06 | -2.1806e-06 | -2.1806e-06 | -0.0021076 | 0.0016799 | 0.0016799 | 0.0063223 | -0.005038 | -0.005038 | 90.0404 | 90.0404 | 90.0404 | -89.9293 | -89.9293 | -89.9293 |  | 0.61021 | 0.48639 | 0.48639 | 0.61029 | 0.48632 | 0.48632 | 0.01317 | -179.9767 | -179.9767 | -0.0047985 | -179.9541 | -179.9541
Line_2 | 0.00029912 | 0.00029911 | 0.00029912 | 0.00089716 | 0.00089716 | 0.00089716 | 0.0034539 | 0.0034539 | 0.0034539 | 0.010359 | 0.010359 | 0.010359 | -1.0012e-06 | 5.0125e-07 | 5.0125e-07 | 8.327e-06 | -2.1806e-06 | -2.1806e-06 | -0.0021076 | 0.0016799 | 0.0016799 | 0.0063223 | -0.005038 | -0.005038 | 90.0404 | 90.0404 | 90.0404 | -89.9293 | -89.9293 | -89.9293 |  | 0.61021 | 0.48639 | 0.48639 | 0.61029 | 0.48632 | 0.48632 | 0.01317 | -179.9767 | -179.9767 | -0.0047985 | -179.9541 | -179.9541
Line_3 | 0.00029912 | 0.00029912 | 0.00029912 | 0.00029912 | 0.00029912 | 0.00029912 | 0.0034539 | 0.0034539 | 0.0034539 | 0.0034539 | 0.0034539 | 0.0034539 | 1.0023e-06 | -5.0114e-07 | -5.0114e-07 | 1.0023e-06 | -5.0114e-07 | -5.0114e-07 | 0.0021076 | -0.0016799 | -0.0016799 | 0.0021076 | -0.0016799 | -0.0016799 | -89.9596 | -89.9596 | -89.9596 | -89.9596 | -89.9596 | -89.9596 |  | 0.61021 | 0.48639 | 0.48639 | 0.61021 | 0.48639 | 0.48639 | 0.01317 | -179.9767 | -179.9767 | 0.01317 | -179.9767 | -179.9767

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0023915 | 0.0023915 | 0.0023915 | 0.0017943 | 0.0017943 | 0.0017943 | 0.027615 | 0.027615 | 0.027615 | 0.020719 | 0.020719 | 0.020719 | 5.6834e-05 | -1.6646e-07 | -1.6644e-07 | -1.6653e-05 | 4.3613e-06 | 4.3613e-06 | 0.01686 | -0.013422 | -0.013422 | -0.012645 | 0.010076 | 0.010076 | -89.8745 | -89.8745 | -89.8745 | 90.0707 | 90.0707 | 90.0707 |  | 0.61056 | 0.48605 | 0.48605 | 0.61029 | 0.48632 | 0.48632 | -0.06762 | -179.8752 | -179.8752 | -0.0047985 | -179.9541 | -179.9541
Line_1 | 0.00029912 | 0.00029911 | 0.00029912 | 0.00089716 | 0.00089716 | 0.00089716 | 0.0034539 | 0.0034539 | 0.0034539 | 0.010359 | 0.010359 | 0.010359 | -1.0012e-06 | 5.0125e-07 | 5.0125e-07 | 8.327e-06 | -2.1806e-06 | -2.1806e-06 | -0.0021076 | 0.0016799 | 0.0016799 | 0.0063223 | -0.005038 | -0.005038 | 90.0404 | 90.0404 | 90.0404 | -89.9293 | -89.9293 | -89.9293 |  | 0.61021 | 0.48639 | 0.48639 | 0.61029 | 0.48632 | 0.48632 | 0.01317 | -179.9767 | -179.9767 | -0.0047985 | -179.9541 | -179.9541
Line_2 | 0.00029912 | 0.00029911 | 0.00029912 | 0.00089716 | 0.00089716 | 0.00089716 | 0.0034539 | 0.0034539 | 0.0034539 | 0.010359 | 0.010359 | 0.010359 | -1.0012e-06 | 5.0125e-07 | 5.0125e-07 | 8.327e-06 | -2.1806e-06 | -2.1806e-06 | -0.0021076 | 0.0016799 | 0.0016799 | 0.0063223 | -0.005038 | -0.005038 | 90.0404 | 90.0404 | 90.0404 | -89.9293 | -89.9293 | -89.9293 |  | 0.61021 | 0.48639 | 0.48639 | 0.61029 | 0.48632 | 0.48632 | 0.01317 | -179.9767 | -179.9767 | -0.0047985 | -179.9541 | -179.9541
Line_3 | 0.00029912 | 0.00029912 | 0.00029912 | 0.00029912 | 0.00029912 | 0.00029912 | 0.0034539 | 0.0034539 | 0.0034539 | 0.0034539 | 0.0034539 | 0.0034539 | 1.0023e-06 | -5.0114e-07 | -5.0114e-07 | 1.0023e-06 | -5.0114e-07 | -5.0114e-07 | 0.0021076 | -0.0016799 | -0.0016799 | 0.0021076 | -0.0016799 | -0.0016799 | -89.9596 | -89.9596 | -89.9596 | -89.9596 | -89.9596 | -89.9596 |  | 0.61021 | 0.48639 | 0.48639 | 0.61021 | 0.48639 | 0.48639 | 0.01317 | -179.9767 | -179.9767 | 0.01317 | -179.9767 | -179.9767

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0016453 | 0.0016453 | 0.0016453 | 0.0012345 | 0.0012345 | 0.0012345 | 0.018998 | 0.018998 | 0.018998 | 0.014254 | 0.014254 | 0.014254 | 0.0049102 | 0.0026736 | -0.0075571 | -0.0036675 | -0.0020091 | 0.0056729 | 0.013915 | -0.013534 | -0.005106 | -0.010441 | 0.010155 | 0.003839 | -76.3978 | -76.3978 | -76.3978 | 103.5473 | 103.5473 | 103.5473 |  | 0.77668 | 0.72617 | 0.48006 | 0.77636 | 0.72626 | 0.48054 | -5.8347 | -155.2233 | 137.6472 | -5.8071 | -155.2618 | 137.6345
Line_1 | 0.00020579 | 0.00020579 | 0.00020579 | 0.00061723 | 0.00061723 | 0.00061723 | 0.0023762 | 0.0023762 | 0.0023762 | 0.0071271 | 0.0071271 | 0.0071271 | -0.00061015 | -0.00033551 | 0.00094566 | 0.0018338 | 0.0010046 | -0.0028365 | -0.0017407 | 0.0016929 | 0.00064059 | 0.0052205 | -0.0050777 | -0.0019195 | 103.5171 | 103.5171 | 103.5171 | -76.4527 | -76.4527 | -76.4527 |  | 0.77626 | 0.72628 | 0.48068 | 0.77636 | 0.72626 | 0.48054 | -5.7992 | -155.2728 | 137.6308 | -5.8071 | -155.2618 | 137.6345
Line_2 | 0.00020579 | 0.00020579 | 0.00020579 | 0.00061723 | 0.00061723 | 0.00061723 | 0.0023762 | 0.0023762 | 0.0023762 | 0.0071271 | 0.0071271 | 0.0071271 | -0.00061015 | -0.00033551 | 0.00094566 | 0.0018338 | 0.0010046 | -0.0028365 | -0.0017407 | 0.0016929 | 0.00064059 | 0.0052205 | -0.0050777 | -0.0019195 | 103.5171 | 103.5171 | 103.5171 | -76.4527 | -76.4527 | -76.4527 |  | 0.77626 | 0.72628 | 0.48068 | 0.77636 | 0.72626 | 0.48054 | -5.7992 | -155.2728 | 137.6308 | -5.8071 | -155.2618 | 137.6345
Line_3 | 0.00020579 | 0.00020579 | 0.00020579 | 0.00020579 | 0.00020579 | 0.00020579 | 0.0023762 | 0.0023762 | 0.0023762 | 0.0023762 | 0.0023762 | 0.0023762 | 0.00061015 | 0.00033551 | -0.00094566 | 0.00061015 | 0.00033551 | -0.00094566 | 0.0017407 | -0.0016929 | -0.00064059 | 0.0017407 | -0.0016929 | -0.00064059 | -76.4829 | -76.4829 | -76.4829 | -76.4829 | -76.4829 | -76.4829 |  | 0.77626 | 0.72628 | 0.48068 | 0.77626 | 0.72628 | 0.48068 | -5.7992 | -155.2728 | 137.6308 | -5.7992 | -155.2728 | 137.6308

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0016453 | 0.0016453 | 0.0016453 | 0.0012345 | 0.0012345 | 0.0012345 | 0.018998 | 0.018998 | 0.018998 | 0.014254 | 0.014254 | 0.014254 | 0.0049102 | 0.0026736 | -0.0075571 | -0.0036675 | -0.0020091 | 0.0056729 | 0.013915 | -0.013534 | -0.005106 | -0.010441 | 0.010155 | 0.003839 | -76.3978 | -76.3978 | -76.3978 | 103.5473 | 103.5473 | 103.5473 |  | 0.77668 | 0.72617 | 0.48006 | 0.77636 | 0.72626 | 0.48054 | -5.8347 | -155.2233 | 137.6472 | -5.8071 | -155.2618 | 137.6345
Line_1 | 0.00020579 | 0.00020579 | 0.00020579 | 0.00061723 | 0.00061723 | 0.00061723 | 0.0023762 | 0.0023762 | 0.0023762 | 0.0071271 | 0.0071271 | 0.0071271 | -0.00061015 | -0.00033551 | 0.00094566 | 0.0018338 | 0.0010046 | -0.0028365 | -0.0017407 | 0.0016929 | 0.00064059 | 0.0052205 | -0.0050777 | -0.0019195 | 103.5171 | 103.5171 | 103.5171 | -76.4527 | -76.4527 | -76.4527 |  | 0.77626 | 0.72628 | 0.48068 | 0.77636 | 0.72626 | 0.48054 | -5.7992 | -155.2728 | 137.6308 | -5.8071 | -155.2618 | 137.6345
Line_2 | 0.00020579 | 0.00020579 | 0.00020579 | 0.00061723 | 0.00061723 | 0.00061723 | 0.0023762 | 0.0023762 | 0.0023762 | 0.0071271 | 0.0071271 | 0.0071271 | -0.00061015 | -0.00033551 | 0.00094566 | 0.0018338 | 0.0010046 | -0.0028365 | -0.0017407 | 0.0016929 | 0.00064059 | 0.0052205 | -0.0050777 | -0.0019195 | 103.5171 | 103.5171 | 103.5171 | -76.4527 | -76.4527 | -76.4527 |  | 0.77626 | 0.72628 | 0.48068 | 0.77636 | 0.72626 | 0.48054 | -5.7992 | -155.2728 | 137.6308 | -5.8071 | -155.2618 | 137.6345
Line_3 | 0.00020579 | 0.00020579 | 0.00020579 | 0.00020579 | 0.00020579 | 0.00020579 | 0.0023762 | 0.0023762 | 0.0023762 | 0.0023762 | 0.0023762 | 0.0023762 | 0.00061015 | 0.00033551 | -0.00094566 | 0.00061015 | 0.00033551 | -0.00094566 | 0.0017407 | -0.0016929 | -0.00064059 | 0.0017407 | -0.0016929 | -0.00064059 | -76.4829 | -76.4829 | -76.4829 | -76.4829 | -76.4829 | -76.4829 |  | 0.77626 | 0.72628 | 0.48068 | 0.77626 | 0.72628 | 0.48068 | -5.7992 | -155.2728 | 137.6308 | -5.7992 | -155.2728 | 137.6308

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0021727 | 0.0021727 | 0.0021727 | 0.0016301 | 0.0016301 | 0.0016301 | 0.025088 | 0.025088 | 0.025088 | 0.018823 | 0.018823 | 0.018823 | 9.008e-05 | -2.6964e-07 | -2.6961e-07 | -2.6396e-05 | 6.9131e-06 | 6.9131e-06 | 0.01392 | -0.01108 | -0.01108 | -0.010439 | 0.0083178 | 0.0083178 | -89.7729 | -89.7729 | -89.7729 | 90.1218 | 90.1218 | 90.1218 |  | 0.55485 | 0.44165 | 0.44165 | 0.5546 | 0.44189 | 0.44189 | -0.14366 | -179.7743 | -179.7743 | -0.023073 | -179.9258 | -179.9258
Line_1 | 0.00027175 | 0.00027174 | 0.00027175 | 0.00081506 | 0.00081506 | 0.00081507 | 0.0031378 | 0.0031378 | 0.0031378 | 0.0094116 | 0.0094116 | 0.0094116 | -1.5876e-06 | 7.9433e-07 | 7.9433e-07 | 1.3199e-05 | -3.4565e-06 | -3.4565e-06 | -0.00174 | 0.0013868 | 0.0013868 | 0.0052196 | -0.0041589 | -0.0041589 | 90.0637 | 90.0637 | 90.0637 | -89.8782 | -89.8782 | -89.8782 |  | 0.55453 | 0.44196 | 0.44196 | 0.5546 | 0.44189 | 0.44189 | 0.011418 | -179.9691 | -179.9691 | -0.023073 | -179.9258 | -179.9258
Line_2 | 0.00027175 | 0.00027174 | 0.00027175 | 0.00081506 | 0.00081506 | 0.00081507 | 0.0031378 | 0.0031378 | 0.0031378 | 0.0094116 | 0.0094116 | 0.0094116 | -1.5876e-06 | 7.9433e-07 | 7.9433e-07 | 1.3199e-05 | -3.4565e-06 | -3.4565e-06 | -0.00174 | 0.0013868 | 0.0013868 | 0.0052196 | -0.0041589 | -0.0041589 | 90.0637 | 90.0637 | 90.0637 | -89.8782 | -89.8782 | -89.8782 |  | 0.55453 | 0.44196 | 0.44196 | 0.5546 | 0.44189 | 0.44189 | 0.011418 | -179.9691 | -179.9691 | -0.023073 | -179.9258 | -179.9258
Line_3 | 0.00027175 | 0.00027175 | 0.00027175 | 0.00027175 | 0.00027175 | 0.00027175 | 0.0031378 | 0.0031378 | 0.0031378 | 0.0031378 | 0.0031378 | 0.0031378 | 1.5885e-06 | -7.9424e-07 | -7.9424e-07 | 1.5885e-06 | -7.9424e-07 | -7.9424e-07 | 0.00174 | -0.0013868 | -0.0013868 | 0.00174 | -0.0013868 | -0.0013868 | -89.9363 | -89.9363 | -89.9363 | -89.9363 | -89.9363 | -89.9363 |  | 0.55453 | 0.44196 | 0.44196 | 0.55453 | 0.44196 | 0.44196 | 0.011418 | -179.9691 | -179.9691 | 0.011418 | -179.9691 | -179.9691

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0021727 | 0.0021727 | 0.0021727 | 0.0016301 | 0.0016301 | 0.0016301 | 0.025088 | 0.025088 | 0.025088 | 0.018823 | 0.018823 | 0.018823 | 9.008e-05 | -2.6964e-07 | -2.6961e-07 | -2.6396e-05 | 6.9131e-06 | 6.9131e-06 | 0.01392 | -0.01108 | -0.01108 | -0.010439 | 0.0083178 | 0.0083178 | -89.7729 | -89.7729 | -89.7729 | 90.1218 | 90.1218 | 90.1218 |  | 0.55485 | 0.44165 | 0.44165 | 0.5546 | 0.44189 | 0.44189 | -0.14366 | -179.7743 | -179.7743 | -0.023073 | -179.9258 | -179.9258
Line_1 | 0.00027175 | 0.00027174 | 0.00027175 | 0.00081506 | 0.00081506 | 0.00081507 | 0.0031378 | 0.0031378 | 0.0031378 | 0.0094116 | 0.0094116 | 0.0094116 | -1.5876e-06 | 7.9433e-07 | 7.9433e-07 | 1.3199e-05 | -3.4565e-06 | -3.4565e-06 | -0.00174 | 0.0013868 | 0.0013868 | 0.0052196 | -0.0041589 | -0.0041589 | 90.0637 | 90.0637 | 90.0637 | -89.8782 | -89.8782 | -89.8782 |  | 0.55453 | 0.44196 | 0.44196 | 0.5546 | 0.44189 | 0.44189 | 0.011418 | -179.9691 | -179.9691 | -0.023073 | -179.9258 | -179.9258
Line_2 | 0.00027175 | 0.00027174 | 0.00027175 | 0.00081506 | 0.00081506 | 0.00081507 | 0.0031378 | 0.0031378 | 0.0031378 | 0.0094116 | 0.0094116 | 0.0094116 | -1.5876e-06 | 7.9433e-07 | 7.9433e-07 | 1.3199e-05 | -3.4565e-06 | -3.4565e-06 | -0.00174 | 0.0013868 | 0.0013868 | 0.0052196 | -0.0041589 | -0.0041589 | 90.0637 | 90.0637 | 90.0637 | -89.8782 | -89.8782 | -89.8782 |  | 0.55453 | 0.44196 | 0.44196 | 0.5546 | 0.44189 | 0.44189 | 0.011418 | -179.9691 | -179.9691 | -0.023073 | -179.9258 | -179.9258
Line_3 | 0.00027175 | 0.00027175 | 0.00027175 | 0.00027175 | 0.00027175 | 0.00027175 | 0.0031378 | 0.0031378 | 0.0031378 | 0.0031378 | 0.0031378 | 0.0031378 | 1.5885e-06 | -7.9424e-07 | -7.9424e-07 | 1.5885e-06 | -7.9424e-07 | -7.9424e-07 | 0.00174 | -0.0013868 | -0.0013868 | 0.00174 | -0.0013868 | -0.0013868 | -89.9363 | -89.9363 | -89.9363 | -89.9363 | -89.9363 | -89.9363 |  | 0.55453 | 0.44196 | 0.44196 | 0.55453 | 0.44196 | 0.44196 | 0.011418 | -179.9691 | -179.9691 | 0.011418 | -179.9691 | -179.9691

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0015559 | 0.0015559 | 0.0015559 | 0.0011674 | 0.0011674 | 0.0011674 | 0.017966 | 0.017966 | 0.017966 | 0.01348 | 0.01348 | 0.01348 | 0.0039036 | 0.0020934 | -0.0059511 | -0.0029012 | -0.001575 | 0.0044698 | 0.011808 | -0.011344 | -0.004691 | -0.0088627 | 0.0085103 | 0.0035301 | -77.4353 | -77.4353 | -77.4353 | 102.4594 | 102.4594 | 102.4594 |  | 0.69225 | 0.64205 | 0.42178 | 0.69182 | 0.64207 | 0.42254 | -5.7278 | -156.9791 | 140.8121 | -5.6665 | -157.0554 | 140.7602
Line_1 | 0.0001946 | 0.0001946 | 0.0001946 | 0.00058369 | 0.00058369 | 0.00058369 | 0.0022471 | 0.0022471 | 0.0022471 | 0.0067398 | 0.0067398 | 0.0067398 | -0.0004816 | -0.00026346 | 0.00074506 | 0.0014506 | 0.00078751 | -0.0022349 | -0.0014778 | 0.0014185 | 0.00058934 | 0.0044314 | -0.0042551 | -0.0017651 | 102.4012 | 102.4013 | 102.4013 | -77.5406 | -77.5406 | -77.5406 |  | 0.6917 | 0.64207 | 0.42276 | 0.69182 | 0.64207 | 0.42254 | -5.6489 | -157.0772 | 140.7453 | -5.6665 | -157.0554 | 140.7602
Line_2 | 0.0001946 | 0.0001946 | 0.0001946 | 0.00058369 | 0.00058369 | 0.00058369 | 0.0022471 | 0.0022471 | 0.0022471 | 0.0067398 | 0.0067398 | 0.0067398 | -0.0004816 | -0.00026346 | 0.00074506 | 0.0014506 | 0.00078751 | -0.0022349 | -0.0014778 | 0.0014185 | 0.00058934 | 0.0044314 | -0.0042551 | -0.0017651 | 102.4012 | 102.4013 | 102.4013 | -77.5406 | -77.5406 | -77.5406 |  | 0.6917 | 0.64207 | 0.42276 | 0.69182 | 0.64207 | 0.42254 | -5.6489 | -157.0772 | 140.7453 | -5.6665 | -157.0554 | 140.7602
Line_3 | 0.0001946 | 0.0001946 | 0.0001946 | 0.0001946 | 0.0001946 | 0.0001946 | 0.0022471 | 0.0022471 | 0.0022471 | 0.0022471 | 0.0022471 | 0.0022471 | 0.0004816 | 0.00026346 | -0.00074506 | 0.0004816 | 0.00026346 | -0.00074506 | 0.0014778 | -0.0014185 | -0.00058934 | 0.0014778 | -0.0014185 | -0.00058934 | -77.5987 | -77.5987 | -77.5987 | -77.5987 | -77.5987 | -77.5987 |  | 0.6917 | 0.64207 | 0.42276 | 0.6917 | 0.64207 | 0.42276 | -5.6489 | -157.0772 | 140.7453 | -5.6489 | -157.0772 | 140.7453

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0015559 | 0.0015559 | 0.0015559 | 0.0011674 | 0.0011674 | 0.0011674 | 0.017966 | 0.017966 | 0.017966 | 0.01348 | 0.01348 | 0.01348 | 0.0039036 | 0.0020934 | -0.0059511 | -0.0029012 | -0.001575 | 0.0044698 | 0.011808 | -0.011344 | -0.004691 | -0.0088627 | 0.0085103 | 0.0035301 | -77.4353 | -77.4353 | -77.4353 | 102.4594 | 102.4594 | 102.4594 |  | 0.69225 | 0.64205 | 0.42178 | 0.69182 | 0.64207 | 0.42254 | -5.7278 | -156.9791 | 140.8121 | -5.6665 | -157.0554 | 140.7602
Line_1 | 0.0001946 | 0.0001946 | 0.0001946 | 0.00058369 | 0.00058369 | 0.00058369 | 0.0022471 | 0.0022471 | 0.0022471 | 0.0067398 | 0.0067398 | 0.0067398 | -0.0004816 | -0.00026346 | 0.00074506 | 0.0014506 | 0.00078751 | -0.0022349 | -0.0014778 | 0.0014185 | 0.00058934 | 0.0044314 | -0.0042551 | -0.0017651 | 102.4012 | 102.4013 | 102.4013 | -77.5406 | -77.5406 | -77.5406 |  | 0.6917 | 0.64207 | 0.42276 | 0.69182 | 0.64207 | 0.42254 | -5.6489 | -157.0772 | 140.7453 | -5.6665 | -157.0554 | 140.7602
Line_2 | 0.0001946 | 0.0001946 | 0.0001946 | 0.00058369 | 0.00058369 | 0.00058369 | 0.0022471 | 0.0022471 | 0.0022471 | 0.0067398 | 0.0067398 | 0.0067398 | -0.0004816 | -0.00026346 | 0.00074506 | 0.0014506 | 0.00078751 | -0.0022349 | -0.0014778 | 0.0014185 | 0.00058934 | 0.0044314 | -0.0042551 | -0.0017651 | 102.4012 | 102.4013 | 102.4013 | -77.5406 | -77.5406 | -77.5406 |  | 0.6917 | 0.64207 | 0.42276 | 0.69182 | 0.64207 | 0.42254 | -5.6489 | -157.0772 | 140.7453 | -5.6665 | -157.0554 | 140.7602
Line_3 | 0.0001946 | 0.0001946 | 0.0001946 | 0.0001946 | 0.0001946 | 0.0001946 | 0.0022471 | 0.0022471 | 0.0022471 | 0.0022471 | 0.0022471 | 0.0022471 | 0.0004816 | 0.00026346 | -0.00074506 | 0.0004816 | 0.00026346 | -0.00074506 | 0.0014778 | -0.0014185 | -0.00058934 | 0.0014778 | -0.0014185 | -0.00058934 | -77.5987 | -77.5987 | -77.5987 | -77.5987 | -77.5987 | -77.5987 |  | 0.6917 | 0.64207 | 0.42276 | 0.6917 | 0.64207 | 0.42276 | -5.6489 | -157.0772 | 140.7453 | -5.6489 | -157.0772 | 140.7453