## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.7317e-14 | 2.6053e-15 | -5.7317e-14 | 3.6475e-14 | 1.5632e-14 | 5.7318e-14 | -4.1685e-14 | 5.7634e-09 | -5.7634e-09 | 3.1264e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1684e-12 | 180 | -180 | 1.1417e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -7.8158e-15 | 5.2108e-15 | 5.1913e-28 | 1.5632e-14 | -5.2108e-15 | 1.5632e-14 | -1.9211e-09 | 1.9211e-09 | -2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1295e-12 | -180 | 180 | 1.1417e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 2.6055e-15 | 5.2108e-15 | -1.0421e-14 | 5.2105e-15 | -5.2108e-15 | 1.5632e-14 | -1.9211e-09 | 1.9211e-09 | -2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1347e-12 | -180 | 180 | 1.1417e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -2.6053e-15 | 5.2106e-15 | 1.0319e-28 | 7.816e-15 | -5.2106e-15 | -5.2106e-15 | 2.6053e-15 | 1.0421e-14 | -5.2106e-15 | 1.0421e-14 | 5.1581e-25 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1295e-12 | -180 | 180 | 1.1347e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.7317e-14 | 2.6053e-15 | -5.7317e-14 | 3.6475e-14 | 1.5632e-14 | 5.7318e-14 | -4.1685e-14 | 5.7634e-09 | -5.7634e-09 | 3.1264e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1684e-12 | 180 | -180 | 1.1417e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -7.8158e-15 | 5.2108e-15 | 5.1913e-28 | 1.5632e-14 | -5.2108e-15 | 1.5632e-14 | -1.9211e-09 | 1.9211e-09 | -2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1295e-12 | -180 | 180 | 1.1417e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 2.6055e-15 | 5.2108e-15 | -1.0421e-14 | 5.2105e-15 | -5.2108e-15 | 1.5632e-14 | -1.9211e-09 | 1.9211e-09 | -2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1347e-12 | -180 | 180 | 1.1417e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -2.6053e-15 | 5.2106e-15 | 1.0319e-28 | 7.816e-15 | -5.2106e-15 | -5.2106e-15 | 2.6053e-15 | 1.0421e-14 | -5.2106e-15 | 1.0421e-14 | 5.1581e-25 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1295e-12 | -180 | 180 | 1.1347e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2145e-14 | -9.5549e-10 | -3.075e-09 | 1.6935e-14 | 9.555e-10 | 3.075e-09 | -2.3448e-14 | 4.0277e-09 | -3.5661e-10 | 1.5632e-14 | -4.0277e-09 | 3.5663e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -3.589e-14 | -140.8543 | 122.4159 | -4.7961e-14 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 3.185e-10 | 1.025e-09 | -7.816e-15 | -3.1849e-10 | -1.025e-09 | -7.816e-15 | -1.3426e-09 | 1.1887e-10 | -2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -5.25e-14 | -140.8543 | 122.4159 | -4.7961e-14 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 3.185e-10 | 1.025e-09 | -1.5632e-14 | -3.185e-10 | -1.025e-09 | -5.2106e-15 | -1.3426e-09 | 1.1887e-10 | -5.2106e-15 | 1.3426e-09 | -1.1886e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -5.1156e-14 | -140.8543 | 122.4159 | -4.7961e-14 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 4.5137e-15 | 0 | 2.6053e-15 | 6.2312e-15 | -8.8779e-16 | -7.816e-15 | -2.037e-15 | 0 | -2.6053e-15 | -6.3891e-16 | 1.3981e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -5.25e-14 | -140.8543 | 122.4159 | -5.1156e-14 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2145e-14 | -9.5549e-10 | -3.075e-09 | 1.6935e-14 | 9.555e-10 | 3.075e-09 | -2.3448e-14 | 4.0277e-09 | -3.5661e-10 | 1.5632e-14 | -4.0277e-09 | 3.5663e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -3.589e-14 | -140.8543 | 122.4159 | -4.7961e-14 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 3.185e-10 | 1.025e-09 | -7.816e-15 | -3.1849e-10 | -1.025e-09 | -7.816e-15 | -1.3426e-09 | 1.1887e-10 | -2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -5.25e-14 | -140.8543 | 122.4159 | -4.7961e-14 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 3.185e-10 | 1.025e-09 | -1.5632e-14 | -3.185e-10 | -1.025e-09 | -5.2106e-15 | -1.3426e-09 | 1.1887e-10 | -5.2106e-15 | 1.3426e-09 | -1.1886e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -5.1156e-14 | -140.8543 | 122.4159 | -4.7961e-14 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 4.5137e-15 | 0 | 2.6053e-15 | 6.2312e-15 | -8.8779e-16 | -7.816e-15 | -2.037e-15 | 0 | -2.6053e-15 | -6.3891e-16 | 1.3981e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -5.25e-14 | -140.8543 | 122.4159 | -5.1156e-14 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.079e-14 | -4.737e-15 | 7.1054e-15 | -3.079e-14 | 3.5534e-15 | -7.1047e-15 | 2.8422e-14 | 4.7631e-09 | -4.7632e-09 | -1.4211e-14 | -4.7631e-09 | 4.7632e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -6.4448e-12 | -180 | 180 | -6.3645e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -4.7366e-15 | 1.658e-14 | 3.1571e-27 | 3.5525e-15 | -1.658e-14 | -1.8948e-14 | -1.5877e-09 | 1.5877e-09 | 2.8422e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -6.3739e-12 | -180 | 180 | -6.3645e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -4.7366e-15 | 7.1057e-15 | 7.1054e-15 | 3.5525e-15 | -7.1057e-15 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 2.3685e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -6.3797e-12 | -180 | 180 | -6.3645e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | -1.1842e-15 | 2.3685e-15 | -4.737e-15 | 2.3685e-15 | -2.3685e-15 | -7.9044e-28 | 2.3685e-15 | 4.737e-15 | 1.4211e-14 | 4.5493e-25 | -9.4739e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -6.3739e-12 | -180 | 180 | -6.3797e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.079e-14 | -4.737e-15 | 7.1054e-15 | -3.079e-14 | 3.5534e-15 | -7.1047e-15 | 2.8422e-14 | 4.7631e-09 | -4.7632e-09 | -1.4211e-14 | -4.7631e-09 | 4.7632e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -6.4448e-12 | -180 | 180 | -6.3645e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -4.7366e-15 | 1.658e-14 | 3.1571e-27 | 3.5525e-15 | -1.658e-14 | -1.8948e-14 | -1.5877e-09 | 1.5877e-09 | 2.8422e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -6.3739e-12 | -180 | 180 | -6.3645e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -4.7366e-15 | 7.1057e-15 | 7.1054e-15 | 3.5525e-15 | -7.1057e-15 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 2.3685e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -6.3797e-12 | -180 | 180 | -6.3645e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | -1.1842e-15 | 2.3685e-15 | -4.737e-15 | 2.3685e-15 | -2.3685e-15 | -7.9044e-28 | 2.3685e-15 | 4.737e-15 | 1.4211e-14 | 4.5493e-25 | -9.4739e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -6.3739e-12 | -180 | 180 | -6.3797e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2172e-15 | -8.0026e-10 | -2.5674e-09 | -2.6645e-15 | 8.0026e-10 | 2.5674e-09 | 1.8948e-14 | 3.4014e-09 | -3.4065e-10 | -1.1842e-14 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -3.5618e-12 | -141.4824 | 122.8363 | -3.5218e-12 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6676e-10 | 8.558e-10 | 4.737e-15 | -2.6675e-10 | -8.558e-10 | 0 | -1.1338e-09 | 1.1355e-10 | 9.4739e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -3.5296e-12 | -141.4824 | 122.8363 | -3.5218e-12 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2567e-15 | 2.6675e-10 | 8.558e-10 | 7.9936e-15 | -2.6675e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 7.1054e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -3.5296e-12 | -141.4824 | 122.8363 | -3.5218e-12 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6251e-15 | 1.2454e-15 | -2.0094e-16 | -2.0724e-15 | -6.3861e-16 | -2.0094e-16 | 7.1054e-15 | -1.5647e-15 | 3.1136e-16 | 4.737e-15 | -5.6203e-15 | 3.1136e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -3.5296e-12 | -141.4824 | 122.8363 | -3.5296e-12 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2172e-15 | -8.0026e-10 | -2.5674e-09 | -2.6645e-15 | 8.0026e-10 | 2.5674e-09 | 1.8948e-14 | 3.4014e-09 | -3.4065e-10 | -1.1842e-14 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -3.5618e-12 | -141.4824 | 122.8363 | -3.5218e-12 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6676e-10 | 8.558e-10 | 4.737e-15 | -2.6675e-10 | -8.558e-10 | 0 | -1.1338e-09 | 1.1355e-10 | 9.4739e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -3.5296e-12 | -141.4824 | 122.8363 | -3.5218e-12 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2567e-15 | 2.6675e-10 | 8.558e-10 | 7.9936e-15 | -2.6675e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 7.1054e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -3.5296e-12 | -141.4824 | 122.8363 | -3.5218e-12 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6251e-15 | 1.2454e-15 | -2.0094e-16 | -2.0724e-15 | -6.3861e-16 | -2.0094e-16 | 7.1054e-15 | -1.5647e-15 | 3.1136e-16 | 4.737e-15 | -5.6203e-15 | 3.1136e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -3.5296e-12 | -141.4824 | 122.8363 | -3.5296e-12 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.02196 | 0.02196 | 0.02196 | 0.016476 | 0.016476 | 0.016476 | 0.25357 | 0.25357 | 0.25357 | 0.19025 | 0.19025 | 0.19025 | 1.0153e-13 | 0.24393 | -0.23917 | 0.0011701 | -0.18215 | 0.18031 | -9.7981e-14 | -0.41945 | -0.42235 | 0.00046569 | 0.315 | 0.31752 | -90.343 | -90.343 | -90.343 | 89.6022 | 89.6022 | 89.6022 |  | 0 | 1.9136 | 1.9141 | 0.0066194 | 1.9126 | 1.9193 | 0 | -150.1629 | 150.1348 | 111.3052 | -150.359 | 150.0109
Line_1 | 0.0027466 | 0.0027466 | 0.0027466 | 0.0082379 | 0.0082379 | 0.0082379 | 0.031715 | 0.031715 | 0.031715 | 0.095124 | 0.095124 | 0.095124 | 0.00025076 | -0.030337 | 0.030086 | -0.00058503 | 0.091075 | -0.090155 | 9.9913e-05 | 0.052517 | 0.052969 | -0.00023285 | -0.1575 | -0.15876 | 89.5719 | 89.5719 | 89.5719 | -90.3978 | -90.3978 | -90.3978 |  | 0.0085112 | 1.9124 | 1.9208 | 0.0066194 | 1.9126 | 1.9193 | 111.2966 | -150.4151 | 149.9756 | 111.3052 | -150.359 | 150.0109
Line_2 | 0.0027466 | 0.0027466 | 0.0027466 | 0.0082379 | 0.0082379 | 0.0082379 | 0.031715 | 0.031715 | 0.031715 | 0.095124 | 0.095124 | 0.095124 | 0.00025076 | -0.030337 | 0.030086 | -0.00058503 | 0.091075 | -0.090155 | 9.9913e-05 | 0.052517 | 0.052969 | -0.00023285 | -0.1575 | -0.15876 | 89.5719 | 89.5719 | 89.5719 | -90.3978 | -90.3978 | -90.3978 |  | 0.0085112 | 1.9124 | 1.9208 | 0.0066194 | 1.9126 | 1.9193 | 111.2966 | -150.4151 | 149.9756 | 111.3052 | -150.359 | 150.0109
Line_3 | 0.0027466 | 0.0027466 | 0.0027466 | 0.0027466 | 0.0027466 | 0.0027466 | 0.031715 | 0.031715 | 0.031715 | 0.031715 | 0.031715 | 0.031715 | -0.00025076 | 0.030337 | -0.030086 | -0.00025076 | 0.030337 | -0.030086 | -9.9913e-05 | -0.052517 | -0.052969 | -9.9913e-05 | -0.052517 | -0.052969 | -90.4281 | -90.4281 | -90.4281 | -90.4281 | -90.4281 | -90.4281 |  | 0.0085112 | 1.9124 | 1.9208 | 0.0085112 | 1.9124 | 1.9208 | 111.2966 | -150.4151 | 149.9756 | 111.2966 | -150.4151 | 149.9756

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.02196 | 0.02196 | 0.02196 | 0.016476 | 0.016476 | 0.016476 | 0.25357 | 0.25357 | 0.25357 | 0.19025 | 0.19025 | 0.19025 | 1.0153e-13 | 0.24393 | -0.23917 | 0.0011701 | -0.18215 | 0.18031 | -9.7981e-14 | -0.41945 | -0.42235 | 0.00046569 | 0.315 | 0.31752 | -90.343 | -90.343 | -90.343 | 89.6022 | 89.6022 | 89.6022 |  | 0 | 1.9136 | 1.9141 | 0.0066194 | 1.9126 | 1.9193 | 0 | -150.1629 | 150.1348 | 111.3052 | -150.359 | 150.0109
Line_1 | 0.0027466 | 0.0027466 | 0.0027466 | 0.0082379 | 0.0082379 | 0.0082379 | 0.031715 | 0.031715 | 0.031715 | 0.095124 | 0.095124 | 0.095124 | 0.00025076 | -0.030337 | 0.030086 | -0.00058503 | 0.091075 | -0.090155 | 9.9913e-05 | 0.052517 | 0.052969 | -0.00023285 | -0.1575 | -0.15876 | 89.5719 | 89.5719 | 89.5719 | -90.3978 | -90.3978 | -90.3978 |  | 0.0085112 | 1.9124 | 1.9208 | 0.0066194 | 1.9126 | 1.9193 | 111.2966 | -150.4151 | 149.9756 | 111.3052 | -150.359 | 150.0109
Line_2 | 0.0027466 | 0.0027466 | 0.0027466 | 0.0082379 | 0.0082379 | 0.0082379 | 0.031715 | 0.031715 | 0.031715 | 0.095124 | 0.095124 | 0.095124 | 0.00025076 | -0.030337 | 0.030086 | -0.00058503 | 0.091075 | -0.090155 | 9.9913e-05 | 0.052517 | 0.052969 | -0.00023285 | -0.1575 | -0.15876 | 89.5719 | 89.5719 | 89.5719 | -90.3978 | -90.3978 | -90.3978 |  | 0.0085112 | 1.9124 | 1.9208 | 0.0066194 | 1.9126 | 1.9193 | 111.2966 | -150.4151 | 149.9756 | 111.3052 | -150.359 | 150.0109
Line_3 | 0.0027466 | 0.0027466 | 0.0027466 | 0.0027466 | 0.0027466 | 0.0027466 | 0.031715 | 0.031715 | 0.031715 | 0.031715 | 0.031715 | 0.031715 | -0.00025076 | 0.030337 | -0.030086 | -0.00025076 | 0.030337 | -0.030086 | -9.9913e-05 | -0.052517 | -0.052969 | -9.9913e-05 | -0.052517 | -0.052969 | -90.4281 | -90.4281 | -90.4281 | -90.4281 | -90.4281 | -90.4281 |  | 0.0085112 | 1.9124 | 1.9208 | 0.0085112 | 1.9124 | 1.9208 | 111.2966 | -150.4151 | 149.9756 | 111.2966 | -150.4151 | 149.9756

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.02239 | 0.02239 | 0.02239 | 0.016799 | 0.016799 | 0.016799 | 0.25854 | 0.25854 | 0.25854 | 0.19398 | 0.19398 | 0.19398 | -0.0056913 | 0.25153 | -0.24089 | 0.0054824 | -0.18781 | 0.18163 | -0.0056705 | -0.42831 | -0.44117 | 0.0047427 | 0.32166 | 0.33166 | -91.4965 | -91.4965 | -91.4965 | 88.4487 | 88.4487 | 88.4487 |  | 0.031075 | 1.9212 | 1.9442 | 0.037371 | 1.9202 | 1.9494 | 133.3986 | -151.0721 | 149.8683 | 129.3109 | -151.2712 | 149.7415
Line_1 | 0.0028004 | 0.0028004 | 0.0028004 | 0.0083995 | 0.0083995 | 0.0083995 | 0.032337 | 0.032337 | 0.032337 | 0.09699 | 0.09699 | 0.09699 | 0.00097147 | -0.031279 | 0.030307 | -0.0027412 | 0.093906 | -0.090817 | 0.00081416 | 0.053627 | 0.055328 | -0.0023714 | -0.16083 | -0.16583 | 88.4184 | 88.4184 | 88.4184 | -91.5513 | -91.5513 | -91.5513 |  | 0.039198 | 1.9199 | 1.9509 | 0.037371 | 1.9202 | 1.9494 | 128.3837 | -151.3281 | 149.7054 | 129.3109 | -151.2712 | 149.7415
Line_2 | 0.0028004 | 0.0028004 | 0.0028004 | 0.0083995 | 0.0083995 | 0.0083995 | 0.032337 | 0.032337 | 0.032337 | 0.09699 | 0.09699 | 0.09699 | 0.00097147 | -0.031279 | 0.030307 | -0.0027412 | 0.093906 | -0.090817 | 0.00081416 | 0.053627 | 0.055328 | -0.0023714 | -0.16083 | -0.16583 | 88.4184 | 88.4184 | 88.4184 | -91.5513 | -91.5513 | -91.5513 |  | 0.039198 | 1.9199 | 1.9509 | 0.037371 | 1.9202 | 1.9494 | 128.3837 | -151.3281 | 149.7054 | 129.3109 | -151.2712 | 149.7415
Line_3 | 0.0028004 | 0.0028004 | 0.0028004 | 0.0028004 | 0.0028004 | 0.0028004 | 0.032337 | 0.032337 | 0.032337 | 0.032337 | 0.032337 | 0.032337 | -0.00097147 | 0.031279 | -0.030307 | -0.00097147 | 0.031279 | -0.030307 | -0.00081416 | -0.053627 | -0.055328 | -0.00081416 | -0.053627 | -0.055328 | -91.5816 | -91.5816 | -91.5816 | -91.5816 | -91.5816 | -91.5816 |  | 0.039198 | 1.9199 | 1.9509 | 0.039198 | 1.9199 | 1.9509 | 128.3837 | -151.3281 | 149.7054 | 128.3837 | -151.3281 | 149.7054

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.02239 | 0.02239 | 0.02239 | 0.016799 | 0.016799 | 0.016799 | 0.25854 | 0.25854 | 0.25854 | 0.19398 | 0.19398 | 0.19398 | -0.0056913 | 0.25153 | -0.24089 | 0.0054824 | -0.18781 | 0.18163 | -0.0056705 | -0.42831 | -0.44117 | 0.0047427 | 0.32166 | 0.33166 | -91.4965 | -91.4965 | -91.4965 | 88.4487 | 88.4487 | 88.4487 |  | 0.031075 | 1.9212 | 1.9442 | 0.037371 | 1.9202 | 1.9494 | 133.3986 | -151.0721 | 149.8683 | 129.3109 | -151.2712 | 149.7415
Line_1 | 0.0028004 | 0.0028004 | 0.0028004 | 0.0083995 | 0.0083995 | 0.0083995 | 0.032337 | 0.032337 | 0.032337 | 0.09699 | 0.09699 | 0.09699 | 0.00097147 | -0.031279 | 0.030307 | -0.0027412 | 0.093906 | -0.090817 | 0.00081416 | 0.053627 | 0.055328 | -0.0023714 | -0.16083 | -0.16583 | 88.4184 | 88.4184 | 88.4184 | -91.5513 | -91.5513 | -91.5513 |  | 0.039198 | 1.9199 | 1.9509 | 0.037371 | 1.9202 | 1.9494 | 128.3837 | -151.3281 | 149.7054 | 129.3109 | -151.2712 | 149.7415
Line_2 | 0.0028004 | 0.0028004 | 0.0028004 | 0.0083995 | 0.0083995 | 0.0083995 | 0.032337 | 0.032337 | 0.032337 | 0.09699 | 0.09699 | 0.09699 | 0.00097147 | -0.031279 | 0.030307 | -0.0027412 | 0.093906 | -0.090817 | 0.00081416 | 0.053627 | 0.055328 | -0.0023714 | -0.16083 | -0.16583 | 88.4184 | 88.4184 | 88.4184 | -91.5513 | -91.5513 | -91.5513 |  | 0.039198 | 1.9199 | 1.9509 | 0.037371 | 1.9202 | 1.9494 | 128.3837 | -151.3281 | 149.7054 | 129.3109 | -151.2712 | 149.7415
Line_3 | 0.0028004 | 0.0028004 | 0.0028004 | 0.0028004 | 0.0028004 | 0.0028004 | 0.032337 | 0.032337 | 0.032337 | 0.032337 | 0.032337 | 0.032337 | -0.00097147 | 0.031279 | -0.030307 | -0.00097147 | 0.031279 | -0.030307 | -0.00081416 | -0.053627 | -0.055328 | -0.00081416 | -0.053627 | -0.055328 | -91.5816 | -91.5816 | -91.5816 | -91.5816 | -91.5816 | -91.5816 |  | 0.039198 | 1.9199 | 1.9509 | 0.039198 | 1.9199 | 1.9509 | 128.3837 | -151.3281 | 149.7054 | 128.3837 | -151.3281 | 149.7054

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.019968 | 0.019968 | 0.019968 | 0.014981 | 0.014981 | 0.014981 | 0.23057 | 0.23057 | 0.23057 | 0.17299 | 0.17299 | 0.17299 | -4.7789e-14 | 0.20345 | -0.19588 | 0.0018574 | -0.15126 | 0.14834 | -6.9555e-14 | -0.34576 | -0.35026 | 0.00038543 | 0.25952 | 0.26345 | -90.645 | -90.645 | -90.645 | 89.2497 | 89.2497 | 89.2497 |  | 0 | 1.74 | 1.7405 | 0.010966 | 1.7364 | 1.7477 | 0 | -150.1727 | 150.1389 | 100.9726 | -150.5151 | 149.8669
Line_1 | 0.0024974 | 0.0024974 | 0.0024974 | 0.0074907 | 0.0074907 | 0.0074907 | 0.028838 | 0.028838 | 0.028838 | 0.086495 | 0.086495 | 0.086495 | 0.00039807 | -0.025171 | 0.024773 | -0.00092872 | 0.07563 | -0.074171 | 8.2903e-05 | 0.043256 | 0.043961 | -0.00019272 | -0.12976 | -0.13172 | 89.1916 | 89.1916 | 89.1916 | -90.7503 | -90.7503 | -90.7503 |  | 0.0141 | 1.7354 | 1.7498 | 0.010966 | 1.7364 | 1.7477 | 100.956 | -150.6132 | 149.7895 | 100.9726 | -150.5151 | 149.8669
Line_2 | 0.0024974 | 0.0024974 | 0.0024974 | 0.0074907 | 0.0074907 | 0.0074907 | 0.028838 | 0.028838 | 0.028838 | 0.086495 | 0.086495 | 0.086495 | 0.00039807 | -0.025171 | 0.024773 | -0.00092872 | 0.07563 | -0.074171 | 8.2903e-05 | 0.043256 | 0.043961 | -0.00019272 | -0.12976 | -0.13172 | 89.1916 | 89.1916 | 89.1916 | -90.7503 | -90.7503 | -90.7503 |  | 0.0141 | 1.7354 | 1.7498 | 0.010966 | 1.7364 | 1.7477 | 100.956 | -150.6132 | 149.7895 | 100.9726 | -150.5151 | 149.8669
Line_3 | 0.0024974 | 0.0024974 | 0.0024974 | 0.0024974 | 0.0024974 | 0.0024974 | 0.028838 | 0.028838 | 0.028838 | 0.028838 | 0.028838 | 0.028838 | -0.00039807 | 0.025171 | -0.024773 | -0.00039807 | 0.025171 | -0.024773 | -8.2903e-05 | -0.043256 | -0.043961 | -8.2903e-05 | -0.043256 | -0.043961 | -90.8084 | -90.8084 | -90.8084 | -90.8084 | -90.8084 | -90.8084 |  | 0.0141 | 1.7354 | 1.7498 | 0.0141 | 1.7354 | 1.7498 | 100.956 | -150.6132 | 149.7895 | 100.956 | -150.6132 | 149.7895

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.019968 | 0.019968 | 0.019968 | 0.014981 | 0.014981 | 0.014981 | 0.23057 | 0.23057 | 0.23057 | 0.17299 | 0.17299 | 0.17299 | -4.7789e-14 | 0.20345 | -0.19588 | 0.0018574 | -0.15126 | 0.14834 | -6.9555e-14 | -0.34576 | -0.35026 | 0.00038543 | 0.25952 | 0.26345 | -90.645 | -90.645 | -90.645 | 89.2497 | 89.2497 | 89.2497 |  | 0 | 1.74 | 1.7405 | 0.010966 | 1.7364 | 1.7477 | 0 | -150.1727 | 150.1389 | 100.9726 | -150.5151 | 149.8669
Line_1 | 0.0024974 | 0.0024974 | 0.0024974 | 0.0074907 | 0.0074907 | 0.0074907 | 0.028838 | 0.028838 | 0.028838 | 0.086495 | 0.086495 | 0.086495 | 0.00039807 | -0.025171 | 0.024773 | -0.00092872 | 0.07563 | -0.074171 | 8.2903e-05 | 0.043256 | 0.043961 | -0.00019272 | -0.12976 | -0.13172 | 89.1916 | 89.1916 | 89.1916 | -90.7503 | -90.7503 | -90.7503 |  | 0.0141 | 1.7354 | 1.7498 | 0.010966 | 1.7364 | 1.7477 | 100.956 | -150.6132 | 149.7895 | 100.9726 | -150.5151 | 149.8669
Line_2 | 0.0024974 | 0.0024974 | 0.0024974 | 0.0074907 | 0.0074907 | 0.0074907 | 0.028838 | 0.028838 | 0.028838 | 0.086495 | 0.086495 | 0.086495 | 0.00039807 | -0.025171 | 0.024773 | -0.00092872 | 0.07563 | -0.074171 | 8.2903e-05 | 0.043256 | 0.043961 | -0.00019272 | -0.12976 | -0.13172 | 89.1916 | 89.1916 | 89.1916 | -90.7503 | -90.7503 | -90.7503 |  | 0.0141 | 1.7354 | 1.7498 | 0.010966 | 1.7364 | 1.7477 | 100.956 | -150.6132 | 149.7895 | 100.9726 | -150.5151 | 149.8669
Line_3 | 0.0024974 | 0.0024974 | 0.0024974 | 0.0024974 | 0.0024974 | 0.0024974 | 0.028838 | 0.028838 | 0.028838 | 0.028838 | 0.028838 | 0.028838 | -0.00039807 | 0.025171 | -0.024773 | -0.00039807 | 0.025171 | -0.024773 | -8.2903e-05 | -0.043256 | -0.043961 | -8.2903e-05 | -0.043256 | -0.043961 | -90.8084 | -90.8084 | -90.8084 | -90.8084 | -90.8084 | -90.8084 |  | 0.0141 | 1.7354 | 1.7498 | 0.0141 | 1.7354 | 1.7498 | 100.956 | -150.6132 | 149.7895 | 100.956 | -150.6132 | 149.7895

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.020356 | 0.020356 | 0.020356 | 0.015273 | 0.015273 | 0.015273 | 0.23506 | 0.23506 | 0.23506 | 0.17636 | 0.17636 | 0.17636 | -0.0047122 | 0.20975 | -0.19718 | 0.0054596 | -0.15593 | 0.14936 | -0.0046792 | -0.35294 | -0.36577 | 0.0039178 | 0.26492 | 0.27511 | -91.8065 | -91.8065 | -91.8065 | 88.0882 | 88.0882 | 88.0882 |  | 0.028252 | 1.7467 | 1.7678 | 0.038103 | 1.743 | 1.775 | 132.992 | -151.0838 | 149.8658 | 123.7517 | -151.431 | 149.5892
Line_1 | 0.0025461 | 0.0025461 | 0.0025461 | 0.0076366 | 0.0076366 | 0.0076366 | 0.029399 | 0.029399 | 0.029399 | 0.08818 | 0.08818 | 0.08818 | 0.0010014 | -0.025946 | 0.024945 | -0.0027298 | 0.077964 | -0.074682 | 0.00067309 | 0.044155 | 0.045905 | -0.0019589 | -0.13246 | -0.13755 | 88.0301 | 88.0301 | 88.0301 | -91.9118 | -91.9118 | -91.9118 |  | 0.041042 | 1.742 | 1.7771 | 0.038103 | 1.743 | 1.775 | 121.9362 | -151.5305 | 149.5104 | 123.7517 | -151.431 | 149.5892
Line_2 | 0.0025461 | 0.0025461 | 0.0025461 | 0.0076366 | 0.0076366 | 0.0076366 | 0.029399 | 0.029399 | 0.029399 | 0.08818 | 0.08818 | 0.08818 | 0.0010014 | -0.025946 | 0.024945 | -0.0027298 | 0.077964 | -0.074682 | 0.00067309 | 0.044155 | 0.045905 | -0.0019589 | -0.13246 | -0.13755 | 88.0301 | 88.0301 | 88.0301 | -91.9118 | -91.9118 | -91.9118 |  | 0.041042 | 1.742 | 1.7771 | 0.038103 | 1.743 | 1.775 | 121.9362 | -151.5305 | 149.5104 | 123.7517 | -151.431 | 149.5892
Line_3 | 0.0025461 | 0.0025461 | 0.0025461 | 0.0025461 | 0.0025461 | 0.0025461 | 0.029399 | 0.029399 | 0.029399 | 0.029399 | 0.029399 | 0.029399 | -0.0010014 | 0.025946 | -0.024945 | -0.0010014 | 0.025946 | -0.024945 | -0.00067309 | -0.044155 | -0.045905 | -0.00067309 | -0.044155 | -0.045905 | -91.9699 | -91.9699 | -91.9699 | -91.9699 | -91.9699 | -91.9699 |  | 0.041042 | 1.742 | 1.7771 | 0.041042 | 1.742 | 1.7771 | 121.9362 | -151.5305 | 149.5104 | 121.9362 | -151.5305 | 149.5104

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.020356 | 0.020356 | 0.020356 | 0.015273 | 0.015273 | 0.015273 | 0.23506 | 0.23506 | 0.23506 | 0.17636 | 0.17636 | 0.17636 | -0.0047122 | 0.20975 | -0.19718 | 0.0054596 | -0.15593 | 0.14936 | -0.0046792 | -0.35294 | -0.36577 | 0.0039178 | 0.26492 | 0.27511 | -91.8065 | -91.8065 | -91.8065 | 88.0882 | 88.0882 | 88.0882 |  | 0.028252 | 1.7467 | 1.7678 | 0.038103 | 1.743 | 1.775 | 132.992 | -151.0838 | 149.8658 | 123.7517 | -151.431 | 149.5892
Line_1 | 0.0025461 | 0.0025461 | 0.0025461 | 0.0076366 | 0.0076366 | 0.0076366 | 0.029399 | 0.029399 | 0.029399 | 0.08818 | 0.08818 | 0.08818 | 0.0010014 | -0.025946 | 0.024945 | -0.0027298 | 0.077964 | -0.074682 | 0.00067309 | 0.044155 | 0.045905 | -0.0019589 | -0.13246 | -0.13755 | 88.0301 | 88.0301 | 88.0301 | -91.9118 | -91.9118 | -91.9118 |  | 0.041042 | 1.742 | 1.7771 | 0.038103 | 1.743 | 1.775 | 121.9362 | -151.5305 | 149.5104 | 123.7517 | -151.431 | 149.5892
Line_2 | 0.0025461 | 0.0025461 | 0.0025461 | 0.0076366 | 0.0076366 | 0.0076366 | 0.029399 | 0.029399 | 0.029399 | 0.08818 | 0.08818 | 0.08818 | 0.0010014 | -0.025946 | 0.024945 | -0.0027298 | 0.077964 | -0.074682 | 0.00067309 | 0.044155 | 0.045905 | -0.0019589 | -0.13246 | -0.13755 | 88.0301 | 88.0301 | 88.0301 | -91.9118 | -91.9118 | -91.9118 |  | 0.041042 | 1.742 | 1.7771 | 0.038103 | 1.743 | 1.775 | 121.9362 | -151.5305 | 149.5104 | 123.7517 | -151.431 | 149.5892
Line_3 | 0.0025461 | 0.0025461 | 0.0025461 | 0.0025461 | 0.0025461 | 0.0025461 | 0.029399 | 0.029399 | 0.029399 | 0.029399 | 0.029399 | 0.029399 | -0.0010014 | 0.025946 | -0.024945 | -0.0010014 | 0.025946 | -0.024945 | -0.00067309 | -0.044155 | -0.045905 | -0.00067309 | -0.044155 | -0.045905 | -91.9699 | -91.9699 | -91.9699 | -91.9699 | -91.9699 | -91.9699 |  | 0.041042 | 1.742 | 1.7771 | 0.041042 | 1.742 | 1.7771 | 121.9362 | -151.5305 | 149.5104 | 121.9362 | -151.5305 | 149.5104

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.01093 | 0.01093 | 0.01093 | 0.0082009 | 0.0082009 | 0.0082009 | 0.12621 | 0.12621 | 0.12621 | 0.094696 | 0.094696 | 0.094696 | 0.0011804 | 1.4713e-15 | -2.6351e-14 | -0.00074552 | 0.00028989 | 0.00028989 | -0.20856 | -8.0536e-14 | 2.5716e-14 | 0.15659 | 0.00011538 | 0.00011538 | 89.6711 | 89.6711 | 89.6711 | -90.3838 | -90.3838 | -90.3838 |  | 1.6525 | 0 | 0 | 1.6537 | 0.0032948 | 0.0032948 | -0.0046568 | 0 | 0 | -0.111 | -68.6807 | -68.6807
Line_1 | 0.0013671 | 0.0013671 | 0.0013671 | 0.0041004 | 0.0041004 | 0.0041004 | 0.015786 | 0.015786 | 0.015786 | 0.047348 | 0.047348 | 0.047348 | -0.00012426 | 6.2126e-05 | 6.2126e-05 | 0.00037276 | -0.00014494 | -0.00014494 | 0.02611 | 2.4754e-05 | 2.4754e-05 | -0.078297 | -5.7689e-05 | -5.7689e-05 | -90.414 | -90.414 | -90.414 | 89.6162 | 89.6162 | 89.6162 |  | 1.654 | 0.0042364 | 0.0042364 | 1.6537 | 0.0032948 | 0.0032948 | -0.14137 | -68.6894 | -68.6894 | -0.111 | -68.6807 | -68.6807
Line_2 | 0.0013671 | 0.0013671 | 0.0013671 | 0.0041004 | 0.0041004 | 0.0041004 | 0.015786 | 0.015786 | 0.015786 | 0.047348 | 0.047348 | 0.047348 | -0.00012426 | 6.2126e-05 | 6.2126e-05 | 0.00037276 | -0.00014494 | -0.00014494 | 0.02611 | 2.4754e-05 | 2.4754e-05 | -0.078297 | -5.7689e-05 | -5.7689e-05 | -90.414 | -90.414 | -90.414 | 89.6162 | 89.6162 | 89.6162 |  | 1.654 | 0.0042364 | 0.0042364 | 1.6537 | 0.0032948 | 0.0032948 | -0.14137 | -68.6894 | -68.6894 | -0.111 | -68.6807 | -68.6807
Line_3 | 0.0013671 | 0.0013671 | 0.0013671 | 0.0013671 | 0.0013671 | 0.0013671 | 0.015786 | 0.015786 | 0.015786 | 0.015786 | 0.015786 | 0.015786 | 0.00012425 | -6.2126e-05 | -6.2126e-05 | 0.00012425 | -6.2126e-05 | -6.2126e-05 | -0.02611 | -2.4754e-05 | -2.4754e-05 | -0.02611 | -2.4754e-05 | -2.4754e-05 | 89.586 | 89.586 | 89.586 | 89.586 | 89.586 | 89.586 |  | 1.654 | 0.0042364 | 0.0042364 | 1.654 | 0.0042364 | 0.0042364 | -0.14137 | -68.6894 | -68.6894 | -0.14137 | -68.6894 | -68.6894

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.01093 | 0.01093 | 0.01093 | 0.0082009 | 0.0082009 | 0.0082009 | 0.12621 | 0.12621 | 0.12621 | 0.094696 | 0.094696 | 0.094696 | 0.0011804 | 1.4713e-15 | -2.6351e-14 | -0.00074552 | 0.00028989 | 0.00028989 | -0.20856 | -8.0536e-14 | 2.5716e-14 | 0.15659 | 0.00011538 | 0.00011538 | 89.6711 | 89.6711 | 89.6711 | -90.3838 | -90.3838 | -90.3838 |  | 1.6525 | 0 | 0 | 1.6537 | 0.0032948 | 0.0032948 | -0.0046568 | 0 | 0 | -0.111 | -68.6807 | -68.6807
Line_1 | 0.0013671 | 0.0013671 | 0.0013671 | 0.0041004 | 0.0041004 | 0.0041004 | 0.015786 | 0.015786 | 0.015786 | 0.047348 | 0.047348 | 0.047348 | -0.00012426 | 6.2126e-05 | 6.2126e-05 | 0.00037276 | -0.00014494 | -0.00014494 | 0.02611 | 2.4754e-05 | 2.4754e-05 | -0.078297 | -5.7689e-05 | -5.7689e-05 | -90.414 | -90.414 | -90.414 | 89.6162 | 89.6162 | 89.6162 |  | 1.654 | 0.0042364 | 0.0042364 | 1.6537 | 0.0032948 | 0.0032948 | -0.14137 | -68.6894 | -68.6894 | -0.111 | -68.6807 | -68.6807
Line_2 | 0.0013671 | 0.0013671 | 0.0013671 | 0.0041004 | 0.0041004 | 0.0041004 | 0.015786 | 0.015786 | 0.015786 | 0.047348 | 0.047348 | 0.047348 | -0.00012426 | 6.2126e-05 | 6.2126e-05 | 0.00037276 | -0.00014494 | -0.00014494 | 0.02611 | 2.4754e-05 | 2.4754e-05 | -0.078297 | -5.7689e-05 | -5.7689e-05 | -90.414 | -90.414 | -90.414 | 89.6162 | 89.6162 | 89.6162 |  | 1.654 | 0.0042364 | 0.0042364 | 1.6537 | 0.0032948 | 0.0032948 | -0.14137 | -68.6894 | -68.6894 | -0.111 | -68.6807 | -68.6807
Line_3 | 0.0013671 | 0.0013671 | 0.0013671 | 0.0013671 | 0.0013671 | 0.0013671 | 0.015786 | 0.015786 | 0.015786 | 0.015786 | 0.015786 | 0.015786 | 0.00012425 | -6.2126e-05 | -6.2126e-05 | 0.00012425 | -6.2126e-05 | -6.2126e-05 | -0.02611 | -2.4754e-05 | -2.4754e-05 | -0.02611 | -2.4754e-05 | -2.4754e-05 | 89.586 | 89.586 | 89.586 | 89.586 | 89.586 | 89.586 |  | 1.654 | 0.0042364 | 0.0042364 | 1.654 | 0.0042364 | 0.0042364 | -0.14137 | -68.6894 | -68.6894 | -0.14137 | -68.6894 | -68.6894

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.011037 | 0.011037 | 0.011037 | 0.0082806 | 0.0082806 | 0.0082806 | 0.12744 | 0.12744 | 0.12744 | 0.095616 | 0.095616 | 0.095616 | 0.0025862 | -0.095743 | 0.09436 | -0.0017966 | 0.07214 | -0.070513 | -0.21126 | 0.014627 | -0.016005 | 0.15862 | -0.010788 | 0.012058 | 89.1027 | 89.1027 | 89.1027 | -90.9522 | -90.9522 | -90.9522 |  | 1.6578 | 0.75999 | 0.751 | 1.659 | 0.76287 | 0.74816 | -0.19595 | -99.5836 | 79.476 | -0.30325 | -99.4574 | 79.3437
Line_1 | 0.0013804 | 0.0013804 | 0.0013804 | 0.0041403 | 0.0041403 | 0.0041403 | 0.015939 | 0.015939 | 0.015939 | 0.047808 | 0.047808 | 0.047808 | -0.00029938 | 0.012041 | -0.011742 | 0.0008983 | -0.03607 | 0.035256 | 0.026447 | -0.0017865 | 0.0020095 | -0.079309 | 0.0053941 | -0.0060291 | -90.9825 | -90.9825 | -90.9825 | 89.0478 | 89.0478 | 89.0478 |  | 1.6594 | 0.76369 | 0.74735 | 1.659 | 0.76287 | 0.74816 | -0.3339 | -99.4216 | 79.3058 | -0.30325 | -99.4574 | 79.3437
Line_2 | 0.0013804 | 0.0013804 | 0.0013804 | 0.0041403 | 0.0041403 | 0.0041403 | 0.015939 | 0.015939 | 0.015939 | 0.047808 | 0.047808 | 0.047808 | -0.00029938 | 0.012041 | -0.011742 | 0.0008983 | -0.03607 | 0.035256 | 0.026447 | -0.0017865 | 0.0020095 | -0.079309 | 0.0053941 | -0.0060291 | -90.9825 | -90.9825 | -90.9825 | 89.0478 | 89.0478 | 89.0478 |  | 1.6594 | 0.76369 | 0.74735 | 1.659 | 0.76287 | 0.74816 | -0.3339 | -99.4216 | 79.3058 | -0.30325 | -99.4574 | 79.3437
Line_3 | 0.0013804 | 0.0013804 | 0.0013804 | 0.0013804 | 0.0013804 | 0.0013804 | 0.015939 | 0.015939 | 0.015939 | 0.015939 | 0.015939 | 0.015939 | 0.00029938 | -0.012041 | 0.011742 | 0.00029938 | -0.012041 | 0.011742 | -0.026447 | 0.0017865 | -0.0020095 | -0.026447 | 0.0017865 | -0.0020095 | 89.0176 | 89.0176 | 89.0176 | 89.0176 | 89.0176 | 89.0176 |  | 1.6594 | 0.76369 | 0.74735 | 1.6594 | 0.76369 | 0.74735 | -0.3339 | -99.4216 | 79.3058 | -0.3339 | -99.4216 | 79.3058

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.011037 | 0.011037 | 0.011037 | 0.0082806 | 0.0082806 | 0.0082806 | 0.12744 | 0.12744 | 0.12744 | 0.095616 | 0.095616 | 0.095616 | 0.0025862 | -0.095743 | 0.09436 | -0.0017966 | 0.07214 | -0.070513 | -0.21126 | 0.014627 | -0.016005 | 0.15862 | -0.010788 | 0.012058 | 89.1027 | 89.1027 | 89.1027 | -90.9522 | -90.9522 | -90.9522 |  | 1.6578 | 0.75999 | 0.751 | 1.659 | 0.76287 | 0.74816 | -0.19595 | -99.5836 | 79.476 | -0.30325 | -99.4574 | 79.3437
Line_1 | 0.0013804 | 0.0013804 | 0.0013804 | 0.0041403 | 0.0041403 | 0.0041403 | 0.015939 | 0.015939 | 0.015939 | 0.047808 | 0.047808 | 0.047808 | -0.00029938 | 0.012041 | -0.011742 | 0.0008983 | -0.03607 | 0.035256 | 0.026447 | -0.0017865 | 0.0020095 | -0.079309 | 0.0053941 | -0.0060291 | -90.9825 | -90.9825 | -90.9825 | 89.0478 | 89.0478 | 89.0478 |  | 1.6594 | 0.76369 | 0.74735 | 1.659 | 0.76287 | 0.74816 | -0.3339 | -99.4216 | 79.3058 | -0.30325 | -99.4574 | 79.3437
Line_2 | 0.0013804 | 0.0013804 | 0.0013804 | 0.0041403 | 0.0041403 | 0.0041403 | 0.015939 | 0.015939 | 0.015939 | 0.047808 | 0.047808 | 0.047808 | -0.00029938 | 0.012041 | -0.011742 | 0.0008983 | -0.03607 | 0.035256 | 0.026447 | -0.0017865 | 0.0020095 | -0.079309 | 0.0053941 | -0.0060291 | -90.9825 | -90.9825 | -90.9825 | 89.0478 | 89.0478 | 89.0478 |  | 1.6594 | 0.76369 | 0.74735 | 1.659 | 0.76287 | 0.74816 | -0.3339 | -99.4216 | 79.3058 | -0.30325 | -99.4574 | 79.3437
Line_3 | 0.0013804 | 0.0013804 | 0.0013804 | 0.0013804 | 0.0013804 | 0.0013804 | 0.015939 | 0.015939 | 0.015939 | 0.015939 | 0.015939 | 0.015939 | 0.00029938 | -0.012041 | 0.011742 | 0.00029938 | -0.012041 | 0.011742 | -0.026447 | 0.0017865 | -0.0020095 | -0.026447 | 0.0017865 | -0.0020095 | 89.0176 | 89.0176 | 89.0176 | 89.0176 | 89.0176 | 89.0176 |  | 1.6594 | 0.76369 | 0.74735 | 1.6594 | 0.76369 | 0.74735 | -0.3339 | -99.4216 | 79.3058 | -0.3339 | -99.4216 | 79.3058

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0099368 | 0.0099368 | 0.0099368 | 0.0074554 | 0.0074554 | 0.0074554 | 0.11474 | 0.11474 | 0.11474 | 0.086088 | 0.086088 | 0.086088 | 0.001873 | -1.0859e-13 | 7.7506e-14 | -0.001183 | 0.00046 | 0.00046 | -0.17237 | 2.5581e-14 | 5.705e-14 | 0.12942 | 9.5453e-05 | 9.5453e-05 | 89.3719 | 89.3719 | 89.3719 | -90.7335 | -90.7335 | -90.7335 |  | 1.5024 | 0 | 0 | 1.5034 | 0.0054572 | 0.0054572 | -0.0055908 | 0 | 0 | -0.20975 | -79.0105 | -79.0105
Line_1 | 0.0012428 | 0.0012428 | 0.0012428 | 0.0037277 | 0.0037277 | 0.0037277 | 0.014351 | 0.014351 | 0.014351 | 0.043044 | 0.043044 | 0.043044 | -0.00019717 | 9.8583e-05 | 9.8583e-05 | 0.0005915 | -0.00023 | -0.00023 | 0.021579 | 2.0531e-05 | 2.0531e-05 | -0.06471 | -4.7727e-05 | -4.7727e-05 | -90.7916 | -90.7916 | -90.7916 | 89.2665 | 89.2665 | 89.2665 |  | 1.5037 | 0.0070168 | 0.0070168 | 1.5034 | 0.0054572 | 0.0054572 | -0.26806 | -79.0271 | -79.0271 | -0.20975 | -79.0105 | -79.0105
Line_2 | 0.0012428 | 0.0012428 | 0.0012428 | 0.0037277 | 0.0037277 | 0.0037277 | 0.014351 | 0.014351 | 0.014351 | 0.043044 | 0.043044 | 0.043044 | -0.00019717 | 9.8583e-05 | 9.8583e-05 | 0.0005915 | -0.00023 | -0.00023 | 0.021579 | 2.0531e-05 | 2.0531e-05 | -0.06471 | -4.7727e-05 | -4.7727e-05 | -90.7916 | -90.7916 | -90.7916 | 89.2665 | 89.2665 | 89.2665 |  | 1.5037 | 0.0070168 | 0.0070168 | 1.5034 | 0.0054572 | 0.0054572 | -0.26806 | -79.0271 | -79.0271 | -0.20975 | -79.0105 | -79.0105
Line_3 | 0.0012428 | 0.0012428 | 0.0012428 | 0.0012428 | 0.0012428 | 0.0012428 | 0.014351 | 0.014351 | 0.014351 | 0.014351 | 0.014351 | 0.014351 | 0.00019717 | -9.8583e-05 | -9.8583e-05 | 0.00019717 | -9.8583e-05 | -9.8583e-05 | -0.021579 | -2.0531e-05 | -2.0531e-05 | -0.021579 | -2.0531e-05 | -2.0531e-05 | 89.2084 | 89.2084 | 89.2084 | 89.2084 | 89.2084 | 89.2084 |  | 1.5037 | 0.0070168 | 0.0070168 | 1.5037 | 0.0070168 | 0.0070168 | -0.26806 | -79.0271 | -79.0271 | -0.26806 | -79.0271 | -79.0271

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0099368 | 0.0099368 | 0.0099368 | 0.0074554 | 0.0074554 | 0.0074554 | 0.11474 | 0.11474 | 0.11474 | 0.086088 | 0.086088 | 0.086088 | 0.001873 | -1.0859e-13 | 7.7506e-14 | -0.001183 | 0.00046 | 0.00046 | -0.17237 | 2.5581e-14 | 5.705e-14 | 0.12942 | 9.5453e-05 | 9.5453e-05 | 89.3719 | 89.3719 | 89.3719 | -90.7335 | -90.7335 | -90.7335 |  | 1.5024 | 0 | 0 | 1.5034 | 0.0054572 | 0.0054572 | -0.0055908 | 0 | 0 | -0.20975 | -79.0105 | -79.0105
Line_1 | 0.0012428 | 0.0012428 | 0.0012428 | 0.0037277 | 0.0037277 | 0.0037277 | 0.014351 | 0.014351 | 0.014351 | 0.043044 | 0.043044 | 0.043044 | -0.00019717 | 9.8583e-05 | 9.8583e-05 | 0.0005915 | -0.00023 | -0.00023 | 0.021579 | 2.0531e-05 | 2.0531e-05 | -0.06471 | -4.7727e-05 | -4.7727e-05 | -90.7916 | -90.7916 | -90.7916 | 89.2665 | 89.2665 | 89.2665 |  | 1.5037 | 0.0070168 | 0.0070168 | 1.5034 | 0.0054572 | 0.0054572 | -0.26806 | -79.0271 | -79.0271 | -0.20975 | -79.0105 | -79.0105
Line_2 | 0.0012428 | 0.0012428 | 0.0012428 | 0.0037277 | 0.0037277 | 0.0037277 | 0.014351 | 0.014351 | 0.014351 | 0.043044 | 0.043044 | 0.043044 | -0.00019717 | 9.8583e-05 | 9.8583e-05 | 0.0005915 | -0.00023 | -0.00023 | 0.021579 | 2.0531e-05 | 2.0531e-05 | -0.06471 | -4.7727e-05 | -4.7727e-05 | -90.7916 | -90.7916 | -90.7916 | 89.2665 | 89.2665 | 89.2665 |  | 1.5037 | 0.0070168 | 0.0070168 | 1.5034 | 0.0054572 | 0.0054572 | -0.26806 | -79.0271 | -79.0271 | -0.20975 | -79.0105 | -79.0105
Line_3 | 0.0012428 | 0.0012428 | 0.0012428 | 0.0012428 | 0.0012428 | 0.0012428 | 0.014351 | 0.014351 | 0.014351 | 0.014351 | 0.014351 | 0.014351 | 0.00019717 | -9.8583e-05 | -9.8583e-05 | 0.00019717 | -9.8583e-05 | -9.8583e-05 | -0.021579 | -2.0531e-05 | -2.0531e-05 | -0.021579 | -2.0531e-05 | -2.0531e-05 | 89.2084 | 89.2084 | 89.2084 | 89.2084 | 89.2084 | 89.2084 |  | 1.5037 | 0.0070168 | 0.0070168 | 1.5037 | 0.0070168 | 0.0070168 | -0.26806 | -79.0271 | -79.0271 | -0.26806 | -79.0271 | -79.0271

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010033 | 0.010033 | 0.010033 | 0.0075274 | 0.0075274 | 0.0075274 | 0.11585 | 0.11585 | 0.11585 | 0.086919 | 0.086919 | 0.086919 | 0.0030539 | -0.0783 | 0.077156 | -0.0020632 | 0.059233 | -0.057438 | -0.17458 | 0.012027 | -0.013163 | 0.13108 | -0.0088182 | 0.0098671 | 88.7996 | 88.7996 | 88.7996 | -91.3057 | -91.3057 | -91.3057 |  | 1.5072 | 0.68382 | 0.67563 | 1.5082 | 0.68899 | 0.6705 | -0.1982 | -99.9326 | 79.1177 | -0.40393 | -99.7733 | 78.9467
Line_1 | 0.0012548 | 0.0012548 | 0.0012548 | 0.0037637 | 0.0037637 | 0.0037637 | 0.014489 | 0.014489 | 0.014489 | 0.043459 | 0.043459 | 0.043459 | -0.00034375 | 0.0098981 | -0.0095543 | 0.0010316 | -0.029616 | 0.028719 | 0.021855 | -0.0014554 | 0.0016398 | -0.065538 | 0.0044091 | -0.0049336 | -91.3638 | -91.3638 | -91.3638 | 88.6943 | 88.6943 | 88.6943 |  | 1.5085 | 0.69046 | 0.66904 | 1.5082 | 0.68899 | 0.6705 | -0.46269 | -99.7284 | 78.8975 | -0.40393 | -99.7733 | 78.9467
Line_2 | 0.0012548 | 0.0012548 | 0.0012548 | 0.0037637 | 0.0037637 | 0.0037637 | 0.014489 | 0.014489 | 0.014489 | 0.043459 | 0.043459 | 0.043459 | -0.00034375 | 0.0098981 | -0.0095543 | 0.0010316 | -0.029616 | 0.028719 | 0.021855 | -0.0014554 | 0.0016398 | -0.065538 | 0.0044091 | -0.0049336 | -91.3638 | -91.3638 | -91.3638 | 88.6943 | 88.6943 | 88.6943 |  | 1.5085 | 0.69046 | 0.66904 | 1.5082 | 0.68899 | 0.6705 | -0.46269 | -99.7284 | 78.8975 | -0.40393 | -99.7733 | 78.9467
Line_3 | 0.0012548 | 0.0012548 | 0.0012548 | 0.0012548 | 0.0012548 | 0.0012548 | 0.014489 | 0.014489 | 0.014489 | 0.014489 | 0.014489 | 0.014489 | 0.00034374 | -0.0098981 | 0.0095543 | 0.00034374 | -0.0098981 | 0.0095543 | -0.021855 | 0.0014554 | -0.0016398 | -0.021855 | 0.0014554 | -0.0016398 | 88.6362 | 88.6362 | 88.6362 | 88.6362 | 88.6362 | 88.6362 |  | 1.5085 | 0.69046 | 0.66904 | 1.5085 | 0.69046 | 0.66904 | -0.46269 | -99.7284 | 78.8975 | -0.46269 | -99.7284 | 78.8975

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010033 | 0.010033 | 0.010033 | 0.0075274 | 0.0075274 | 0.0075274 | 0.11585 | 0.11585 | 0.11585 | 0.086919 | 0.086919 | 0.086919 | 0.0030539 | -0.0783 | 0.077156 | -0.0020632 | 0.059233 | -0.057438 | -0.17458 | 0.012027 | -0.013163 | 0.13108 | -0.0088182 | 0.0098671 | 88.7996 | 88.7996 | 88.7996 | -91.3057 | -91.3057 | -91.3057 |  | 1.5072 | 0.68382 | 0.67563 | 1.5082 | 0.68899 | 0.6705 | -0.1982 | -99.9326 | 79.1177 | -0.40393 | -99.7733 | 78.9467
Line_1 | 0.0012548 | 0.0012548 | 0.0012548 | 0.0037637 | 0.0037637 | 0.0037637 | 0.014489 | 0.014489 | 0.014489 | 0.043459 | 0.043459 | 0.043459 | -0.00034375 | 0.0098981 | -0.0095543 | 0.0010316 | -0.029616 | 0.028719 | 0.021855 | -0.0014554 | 0.0016398 | -0.065538 | 0.0044091 | -0.0049336 | -91.3638 | -91.3638 | -91.3638 | 88.6943 | 88.6943 | 88.6943 |  | 1.5085 | 0.69046 | 0.66904 | 1.5082 | 0.68899 | 0.6705 | -0.46269 | -99.7284 | 78.8975 | -0.40393 | -99.7733 | 78.9467
Line_2 | 0.0012548 | 0.0012548 | 0.0012548 | 0.0037637 | 0.0037637 | 0.0037637 | 0.014489 | 0.014489 | 0.014489 | 0.043459 | 0.043459 | 0.043459 | -0.00034375 | 0.0098981 | -0.0095543 | 0.0010316 | -0.029616 | 0.028719 | 0.021855 | -0.0014554 | 0.0016398 | -0.065538 | 0.0044091 | -0.0049336 | -91.3638 | -91.3638 | -91.3638 | 88.6943 | 88.6943 | 88.6943 |  | 1.5085 | 0.69046 | 0.66904 | 1.5082 | 0.68899 | 0.6705 | -0.46269 | -99.7284 | 78.8975 | -0.40393 | -99.7733 | 78.9467
Line_3 | 0.0012548 | 0.0012548 | 0.0012548 | 0.0012548 | 0.0012548 | 0.0012548 | 0.014489 | 0.014489 | 0.014489 | 0.014489 | 0.014489 | 0.014489 | 0.00034374 | -0.0098981 | 0.0095543 | 0.00034374 | -0.0098981 | 0.0095543 | -0.021855 | 0.0014554 | -0.0016398 | -0.021855 | 0.0014554 | -0.0016398 | 88.6362 | 88.6362 | 88.6362 | 88.6362 | 88.6362 | 88.6362 |  | 1.5085 | 0.69046 | 0.66904 | 1.5085 | 0.69046 | 0.66904 | -0.46269 | -99.7284 | 78.8975 | -0.46269 | -99.7284 | 78.8975