## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -4.1685e-14 | 30.1766 | -15.8685 | 3.6475e-14 | -23.0225 | 23.0225 | -3.6475e-14 | 3.131 | 13.1032 | 2.0843e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | -6.4379e-13 | -161.8563 | 152.6723 | -6.6684e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0843e-14 | -2.6053e-15 | 1.0421e-14 | -3.1264e-14 | 7.816e-15 | -1.0421e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -6.763e-13 | -180 | 180 | -6.6684e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-14 | 7.816e-15 | 1.0421e-14 | -3.6475e-14 | -2.6053e-15 | -1.0421e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -6.7165e-13 | -180 | 180 | -6.6684e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -7.816e-15 | -1.0421e-14 | -5.2106e-15 | 1.0421e-14 | 5.2106e-15 | -5.2106e-15 | -2.6053e-15 | 2.5188e-25 | -5.2106e-15 | 1.3027e-14 | 5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -6.763e-13 | -180 | 180 | -6.7165e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -4.1685e-14 | 30.1766 | -15.8685 | 3.6475e-14 | -23.0225 | 23.0225 | -3.6475e-14 | 3.131 | 13.1032 | 2.0843e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | -6.4379e-13 | -161.8563 | 152.6723 | -6.6684e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0843e-14 | -2.6053e-15 | 1.0421e-14 | -3.1264e-14 | 7.816e-15 | -1.0421e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -6.763e-13 | -180 | 180 | -6.6684e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-14 | 7.816e-15 | 1.0421e-14 | -3.6475e-14 | -2.6053e-15 | -1.0421e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -6.7165e-13 | -180 | 180 | -6.6684e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -7.816e-15 | -1.0421e-14 | -5.2106e-15 | 1.0421e-14 | 5.2106e-15 | -5.2106e-15 | -2.6053e-15 | 2.5188e-25 | -5.2106e-15 | 1.3027e-14 | 5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -6.763e-13 | -180 | 180 | -6.7165e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.3448e-14 | 19.0761 | -0.30087 | 1.8237e-14 | -17.4596 | 1.9173 | -1.5632e-14 | 3.9919 | 15.2185 | 1.0421e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 7.6617e-13 | -138.0936 | 121.2196 | 7.5712e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.734e-10 | 1.0338e-09 | 3.4427e-29 | -4.734e-10 | -1.0337e-09 | -2.6053e-15 | -1.3544e-09 | 3.8387e-10 | -2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 7.5405e-13 | -142.8673 | 128.239 | 7.5712e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 4.7341e-10 | 1.0338e-09 | -7.816e-15 | -4.7341e-10 | -1.0337e-09 | -5.2106e-15 | -1.3544e-09 | 3.8387e-10 | -2.6053e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 7.5552e-13 | -142.8673 | 128.239 | 7.5712e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.816e-15 | -1.6854e-14 | 1.9472e-15 | 2.6053e-15 | 1.4289e-14 | 2.9948e-15 | -1.0286e-28 | 1.5478e-14 | -2.471e-15 | -2.6053e-15 | 8.2524e-15 | 6.3655e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 7.5405e-13 | -142.8673 | 128.239 | 7.5552e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.3448e-14 | 19.0761 | -0.30087 | 1.8237e-14 | -17.4596 | 1.9173 | -1.5632e-14 | 3.9919 | 15.2185 | 1.0421e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 7.6617e-13 | -138.0936 | 121.2196 | 7.5712e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.734e-10 | 1.0338e-09 | 3.4427e-29 | -4.734e-10 | -1.0337e-09 | -2.6053e-15 | -1.3544e-09 | 3.8387e-10 | -2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 7.5405e-13 | -142.8673 | 128.239 | 7.5712e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 4.7341e-10 | 1.0338e-09 | -7.816e-15 | -4.7341e-10 | -1.0337e-09 | -5.2106e-15 | -1.3544e-09 | 3.8387e-10 | -2.6053e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 7.5552e-13 | -142.8673 | 128.239 | 7.5712e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.816e-15 | -1.6854e-14 | 1.9472e-15 | 2.6053e-15 | 1.4289e-14 | 2.9948e-15 | -1.0286e-28 | 1.5478e-14 | -2.471e-15 | -2.6053e-15 | 8.2524e-15 | 6.3655e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 7.5405e-13 | -142.8673 | 128.239 | 7.5552e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 1.4211e-14 | 26.5997 | -7.1734 | -4.737e-15 | -16.8865 | 16.8865 | 3.3159e-14 | -0.51586 | 11.9957 | -2.3685e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | -6.7048e-12 | -160.7833 | 141.207 | -6.6372e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -3.5526e-15 | 2.3686e-15 | 1.6579e-14 | 3.5527e-15 | -2.3685e-15 | 1.1e-27 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -6.6522e-12 | -180 | 180 | -6.6372e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -3.5526e-15 | 2.3686e-15 | 1.6579e-14 | 3.5527e-15 | -2.3685e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -6.6568e-12 | -180 | 180 | -6.6372e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -2.3685e-15 | -7.1054e-15 | 2.3685e-15 | 1.1842e-15 | 7.1054e-15 | 1.4211e-14 | -1.4211e-14 | 4.737e-15 | -2.7518e-28 | 6.7258e-26 | -9.4739e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -6.6522e-12 | -180 | 180 | -6.6568e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 1.4211e-14 | 26.5997 | -7.1734 | -4.737e-15 | -16.8865 | 16.8865 | 3.3159e-14 | -0.51586 | 11.9957 | -2.3685e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | -6.7048e-12 | -160.7833 | 141.207 | -6.6372e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -3.5526e-15 | 2.3686e-15 | 1.6579e-14 | 3.5527e-15 | -2.3685e-15 | 1.1e-27 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -6.6522e-12 | -180 | 180 | -6.6372e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -3.5526e-15 | 2.3686e-15 | 1.6579e-14 | 3.5527e-15 | -2.3685e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -6.6568e-12 | -180 | 180 | -6.6372e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -2.3685e-15 | -7.1054e-15 | 2.3685e-15 | 1.1842e-15 | 7.1054e-15 | 1.4211e-14 | -1.4211e-14 | 4.737e-15 | -2.7518e-28 | 6.7258e-26 | -9.4739e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -6.6522e-12 | -180 | 180 | -6.6568e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 2.9606e-15 | 15.3932 | 0.73601 | -1.7764e-15 | -13.0917 | 1.5655 | 1.8948e-14 | 2.3135 | 11.9328 | -1.4211e-14 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | -2.5107e-12 | -138.1765 | 119.7467 | -2.474e-12 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | 4.798e-10 | 8.2616e-10 | 2.9606e-15 | -4.798e-10 | -8.2616e-10 | 7.6986e-29 | -1.0532e-09 | 4.5325e-10 | 7.1054e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | -2.4832e-12 | -142.5584 | 131.6989 | -2.474e-12 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | 4.7981e-10 | 8.2616e-10 | 5.3291e-15 | -4.798e-10 | -8.2616e-10 | 1.2838e-28 | -1.0532e-09 | 4.5326e-10 | 7.1054e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | -2.4845e-12 | -142.5584 | 131.6989 | -2.474e-12 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7764e-15 | 1.4522e-15 | 0 | -1.7764e-15 | 6.4686e-15 | -1.6759e-15 | 4.737e-15 | -3.355e-15 | 0 | 4.737e-15 | -8.4478e-15 | -2.4601e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | -2.4832e-12 | -142.5584 | 131.6989 | -2.4845e-12 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 2.9606e-15 | 15.3932 | 0.73601 | -1.7764e-15 | -13.0917 | 1.5655 | 1.8948e-14 | 2.3135 | 11.9328 | -1.4211e-14 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | -2.5107e-12 | -138.1765 | 119.7467 | -2.474e-12 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | 4.798e-10 | 8.2616e-10 | 2.9606e-15 | -4.798e-10 | -8.2616e-10 | 7.6986e-29 | -1.0532e-09 | 4.5325e-10 | 7.1054e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | -2.4832e-12 | -142.5584 | 131.6989 | -2.474e-12 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | 4.7981e-10 | 8.2616e-10 | 5.3291e-15 | -4.798e-10 | -8.2616e-10 | 1.2838e-28 | -1.0532e-09 | 4.5326e-10 | 7.1054e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | -2.4845e-12 | -142.5584 | 131.6989 | -2.474e-12 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7764e-15 | 1.4522e-15 | 0 | -1.7764e-15 | 6.4686e-15 | -1.6759e-15 | 4.737e-15 | -3.355e-15 | 0 | 4.737e-15 | -8.4478e-15 | -2.4601e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | -2.4832e-12 | -142.5584 | 131.6989 | -2.4845e-12 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.02777 | 0.02195 | 0.02195 | 0.033255 | 0.016465 | 0.016465 | 0.32066 | 0.25346 | 0.25346 | 0.384 | 0.19012 | 0.19012 | 0.00020836 | 0.24215 | -0.24075 | 1.5322e-13 | -0.18145 | 0.18078 | 0.00043509 | -0.4205 | -0.42163 | -1.4835e-13 | 0.31558 | 0.31656 | 89.8171 | -90.1343 | -90.1343 | -90.1647 | 89.8451 | 89.8451 |  | 0.0015044 | 1.9145 | 1.9156 | 0 | 1.9147 | 1.9174 | 154.2279 | -150.1987 | 150.1392 | 0 | -150.2576 | 150.1155
Line_1 | 0.0027447 | 0.0027447 | 0.0027447 | 0.0082325 | 0.0082325 | 0.0082325 | 0.031693 | 0.031693 | 0.031693 | 0.09506 | 0.09506 | 0.09506 | 5.5673e-05 | -0.03022 | 0.030164 | 3.7923e-14 | 0.090724 | -0.09039 | 2.2149e-05 | 0.052614 | 0.052809 | -3.673e-14 | -0.15779 | -0.15828 | 89.8148 | 89.8148 | 89.8148 | -90.1549 | -90.1549 | -90.1549 |  | 0.0018905 | 1.9144 | 1.9189 | 0 | 1.9147 | 1.9174 | 111.5092 | -150.3136 | 150.0803 | 0 | -150.2576 | 150.1155
Line_2 | 0.0027447 | 0.0027447 | 0.0027447 | 0.0082325 | 0.0082325 | 0.0082325 | 0.031693 | 0.031693 | 0.031693 | 0.09506 | 0.09506 | 0.09506 | 5.5673e-05 | -0.03022 | 0.030164 | 3.7923e-14 | 0.090724 | -0.09039 | 2.2149e-05 | 0.052614 | 0.052809 | -3.673e-14 | -0.15779 | -0.15828 | 89.8148 | 89.8148 | 89.8148 | -90.1549 | -90.1549 | -90.1549 |  | 0.0018905 | 1.9144 | 1.9189 | 0 | 1.9147 | 1.9174 | 111.5092 | -150.3136 | 150.0803 | 0 | -150.2576 | 150.1155
Line_3 | 0.0027447 | 0.0027447 | 0.0027447 | 0.0027447 | 0.0027447 | 0.0027447 | 0.031693 | 0.031693 | 0.031693 | 0.031693 | 0.031693 | 0.031693 | -5.5673e-05 | 0.03022 | -0.030164 | -5.5673e-05 | 0.03022 | -0.030164 | -2.2149e-05 | -0.052614 | -0.052809 | -2.2149e-05 | -0.052614 | -0.052809 | -90.1852 | -90.1852 | -90.1852 | -90.1852 | -90.1852 | -90.1852 |  | 0.0018905 | 1.9144 | 1.9189 | 0.0018905 | 1.9144 | 1.9189 | 111.5092 | -150.3136 | 150.0803 | 111.5092 | -150.3136 | 150.0803

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.02777 | 0.02195 | 0.02195 | 0.033255 | 0.016465 | 0.016465 | 0.32066 | 0.25346 | 0.25346 | 0.384 | 0.19012 | 0.19012 | 0.00020836 | 0.24215 | -0.24075 | 1.5322e-13 | -0.18145 | 0.18078 | 0.00043509 | -0.4205 | -0.42163 | -1.4835e-13 | 0.31558 | 0.31656 | 89.8171 | -90.1343 | -90.1343 | -90.1647 | 89.8451 | 89.8451 |  | 0.0015044 | 1.9145 | 1.9156 | 0 | 1.9147 | 1.9174 | 154.2279 | -150.1987 | 150.1392 | 0 | -150.2576 | 150.1155
Line_1 | 0.0027447 | 0.0027447 | 0.0027447 | 0.0082325 | 0.0082325 | 0.0082325 | 0.031693 | 0.031693 | 0.031693 | 0.09506 | 0.09506 | 0.09506 | 5.5673e-05 | -0.03022 | 0.030164 | 3.7923e-14 | 0.090724 | -0.09039 | 2.2149e-05 | 0.052614 | 0.052809 | -3.673e-14 | -0.15779 | -0.15828 | 89.8148 | 89.8148 | 89.8148 | -90.1549 | -90.1549 | -90.1549 |  | 0.0018905 | 1.9144 | 1.9189 | 0 | 1.9147 | 1.9174 | 111.5092 | -150.3136 | 150.0803 | 0 | -150.2576 | 150.1155
Line_2 | 0.0027447 | 0.0027447 | 0.0027447 | 0.0082325 | 0.0082325 | 0.0082325 | 0.031693 | 0.031693 | 0.031693 | 0.09506 | 0.09506 | 0.09506 | 5.5673e-05 | -0.03022 | 0.030164 | 3.7923e-14 | 0.090724 | -0.09039 | 2.2149e-05 | 0.052614 | 0.052809 | -3.673e-14 | -0.15779 | -0.15828 | 89.8148 | 89.8148 | 89.8148 | -90.1549 | -90.1549 | -90.1549 |  | 0.0018905 | 1.9144 | 1.9189 | 0 | 1.9147 | 1.9174 | 111.5092 | -150.3136 | 150.0803 | 0 | -150.2576 | 150.1155
Line_3 | 0.0027447 | 0.0027447 | 0.0027447 | 0.0027447 | 0.0027447 | 0.0027447 | 0.031693 | 0.031693 | 0.031693 | 0.031693 | 0.031693 | 0.031693 | -5.5673e-05 | 0.03022 | -0.030164 | -5.5673e-05 | 0.03022 | -0.030164 | -2.2149e-05 | -0.052614 | -0.052809 | -2.2149e-05 | -0.052614 | -0.052809 | -90.1852 | -90.1852 | -90.1852 | -90.1852 | -90.1852 | -90.1852 |  | 0.0018905 | 1.9144 | 1.9189 | 0.0018905 | 1.9144 | 1.9189 | 111.5092 | -150.3136 | 150.0803 | 111.5092 | -150.3136 | 150.0803

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.028317 | 0.022383 | 0.022383 | 0.03391 | 0.016789 | 0.016789 | 0.32698 | 0.25845 | 0.25845 | 0.39156 | 0.19387 | 0.19387 | 0.0073923 | 0.24971 | -0.24258 | -0.0085957 | -0.18711 | 0.18216 | 0.0076334 | -0.42948 | -0.44049 | -0.0085967 | 0.32232 | 0.33071 | 88.6703 | -91.2811 | -91.2811 | -91.3115 | 88.6983 | 88.6983 |  | 0.032498 | 1.9222 | 1.9457 | 0.031047 | 1.9224 | 1.9475 | 134.5897 | -151.1065 | 149.8768 | 133.6918 | -151.1664 | 149.8521
Line_1 | 0.0027988 | 0.0027988 | 0.0027988 | 0.0083947 | 0.0083947 | 0.0083947 | 0.032318 | 0.032318 | 0.032318 | 0.096933 | 0.096933 | 0.096933 | 0.00076709 | -0.031162 | 0.030395 | -0.0021283 | 0.093555 | -0.09108 | 0.00073281 | 0.053738 | 0.05517 | -0.0021278 | -0.16116 | -0.16536 | 88.668 | 88.668 | 88.668 | -91.3017 | -91.3017 | -91.3017 |  | 0.032826 | 1.9222 | 1.949 | 0.031047 | 1.9224 | 1.9475 | 132.3591 | -151.2232 | 149.8161 | 133.6918 | -151.1664 | 149.8521
Line_2 | 0.0027988 | 0.0027988 | 0.0027988 | 0.0083947 | 0.0083947 | 0.0083947 | 0.032318 | 0.032318 | 0.032318 | 0.096933 | 0.096933 | 0.096933 | 0.00076709 | -0.031162 | 0.030395 | -0.0021283 | 0.093555 | -0.09108 | 0.00073281 | 0.053738 | 0.05517 | -0.0021278 | -0.16116 | -0.16536 | 88.668 | 88.668 | 88.668 | -91.3017 | -91.3017 | -91.3017 |  | 0.032826 | 1.9222 | 1.949 | 0.031047 | 1.9224 | 1.9475 | 132.3591 | -151.2232 | 149.8161 | 133.6918 | -151.1664 | 149.8521
Line_3 | 0.0027988 | 0.0027988 | 0.0027988 | 0.0027988 | 0.0027988 | 0.0027988 | 0.032318 | 0.032318 | 0.032318 | 0.032318 | 0.032318 | 0.032318 | -0.00076709 | 0.031162 | -0.030395 | -0.00076709 | 0.031162 | -0.030395 | -0.00073281 | -0.053738 | -0.05517 | -0.00073281 | -0.053738 | -0.05517 | -91.332 | -91.332 | -91.332 | -91.332 | -91.332 | -91.332 |  | 0.032826 | 1.9222 | 1.949 | 0.032826 | 1.9222 | 1.949 | 132.3591 | -151.2232 | 149.8161 | 132.3591 | -151.2232 | 149.8161

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.028317 | 0.022383 | 0.022383 | 0.03391 | 0.016789 | 0.016789 | 0.32698 | 0.25845 | 0.25845 | 0.39156 | 0.19387 | 0.19387 | 0.0073923 | 0.24971 | -0.24258 | -0.0085957 | -0.18711 | 0.18216 | 0.0076334 | -0.42948 | -0.44049 | -0.0085967 | 0.32232 | 0.33071 | 88.6703 | -91.2811 | -91.2811 | -91.3115 | 88.6983 | 88.6983 |  | 0.032498 | 1.9222 | 1.9457 | 0.031047 | 1.9224 | 1.9475 | 134.5897 | -151.1065 | 149.8768 | 133.6918 | -151.1664 | 149.8521
Line_1 | 0.0027988 | 0.0027988 | 0.0027988 | 0.0083947 | 0.0083947 | 0.0083947 | 0.032318 | 0.032318 | 0.032318 | 0.096933 | 0.096933 | 0.096933 | 0.00076709 | -0.031162 | 0.030395 | -0.0021283 | 0.093555 | -0.09108 | 0.00073281 | 0.053738 | 0.05517 | -0.0021278 | -0.16116 | -0.16536 | 88.668 | 88.668 | 88.668 | -91.3017 | -91.3017 | -91.3017 |  | 0.032826 | 1.9222 | 1.949 | 0.031047 | 1.9224 | 1.9475 | 132.3591 | -151.2232 | 149.8161 | 133.6918 | -151.1664 | 149.8521
Line_2 | 0.0027988 | 0.0027988 | 0.0027988 | 0.0083947 | 0.0083947 | 0.0083947 | 0.032318 | 0.032318 | 0.032318 | 0.096933 | 0.096933 | 0.096933 | 0.00076709 | -0.031162 | 0.030395 | -0.0021283 | 0.093555 | -0.09108 | 0.00073281 | 0.053738 | 0.05517 | -0.0021278 | -0.16116 | -0.16536 | 88.668 | 88.668 | 88.668 | -91.3017 | -91.3017 | -91.3017 |  | 0.032826 | 1.9222 | 1.949 | 0.031047 | 1.9224 | 1.9475 | 132.3591 | -151.2232 | 149.8161 | 133.6918 | -151.1664 | 149.8521
Line_3 | 0.0027988 | 0.0027988 | 0.0027988 | 0.0027988 | 0.0027988 | 0.0027988 | 0.032318 | 0.032318 | 0.032318 | 0.032318 | 0.032318 | 0.032318 | -0.00076709 | 0.031162 | -0.030395 | -0.00076709 | 0.031162 | -0.030395 | -0.00073281 | -0.053738 | -0.05517 | -0.00073281 | -0.053738 | -0.05517 | -91.332 | -91.332 | -91.332 | -91.332 | -91.332 | -91.332 |  | 0.032826 | 1.9222 | 1.949 | 0.032826 | 1.9222 | 1.949 | 132.3591 | -151.2232 | 149.8161 | 132.3591 | -151.2232 | 149.8161

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.025252 | 0.01996 | 0.01996 | 0.03024 | 0.014972 | 0.014972 | 0.29159 | 0.23048 | 0.23048 | 0.34918 | 0.17288 | 0.17288 | 0.00033081 | 0.20071 | -0.19849 | -7.272e-14 | -0.15025 | 0.14919 | 0.00035879 | -0.34733 | -0.34903 | -1.0459e-13 | 0.26062 | 0.2621 | 89.6625 | -90.2443 | -90.2443 | -90.3026 | 89.7162 | 89.7162 |  | 0.0016737 | 1.7405 | 1.7421 | 0 | 1.74 | 1.7444 | 136.9861 | -150.2227 | 150.1289 | 0 | -150.3195 | 150.0672
Line_1 | 0.0024959 | 0.0024959 | 0.0024959 | 0.0074861 | 0.0074861 | 0.0074861 | 0.02882 | 0.02882 | 0.02882 | 0.086442 | 0.086442 | 0.086442 | 8.8388e-05 | -0.025003 | 0.024914 | -1.8011e-14 | 0.075125 | -0.074595 | 1.8315e-05 | 0.043438 | 0.043736 | -2.5886e-14 | -0.13031 | -0.13105 | 89.6581 | 89.6581 | 89.6581 | -90.2838 | -90.2838 | -90.2838 |  | 0.0031321 | 1.7391 | 1.7465 | 0 | 1.74 | 1.7444 | 101.3644 | -150.4175 | 149.99 | 0 | -150.3195 | 150.0672
Line_2 | 0.0024959 | 0.0024959 | 0.0024959 | 0.0074861 | 0.0074861 | 0.0074861 | 0.02882 | 0.02882 | 0.02882 | 0.086442 | 0.086442 | 0.086442 | 8.8388e-05 | -0.025003 | 0.024914 | -1.8011e-14 | 0.075125 | -0.074595 | 1.8315e-05 | 0.043438 | 0.043736 | -2.5886e-14 | -0.13031 | -0.13105 | 89.6581 | 89.6581 | 89.6581 | -90.2838 | -90.2838 | -90.2838 |  | 0.0031321 | 1.7391 | 1.7465 | 0 | 1.74 | 1.7444 | 101.3644 | -150.4175 | 149.99 | 0 | -150.3195 | 150.0672
Line_3 | 0.0024959 | 0.0024959 | 0.0024959 | 0.0024959 | 0.0024959 | 0.0024959 | 0.02882 | 0.02882 | 0.02882 | 0.02882 | 0.02882 | 0.02882 | -8.8388e-05 | 0.025003 | -0.024914 | -8.8388e-05 | 0.025003 | -0.024914 | -1.8315e-05 | -0.043438 | -0.043736 | -1.8315e-05 | -0.043438 | -0.043736 | -90.3419 | -90.3419 | -90.3419 | -90.3419 | -90.3419 | -90.3419 |  | 0.0031321 | 1.7391 | 1.7465 | 0.0031321 | 1.7391 | 1.7465 | 101.3644 | -150.4175 | 149.99 | 101.3644 | -150.4175 | 149.99

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.025252 | 0.01996 | 0.01996 | 0.03024 | 0.014972 | 0.014972 | 0.29159 | 0.23048 | 0.23048 | 0.34918 | 0.17288 | 0.17288 | 0.00033081 | 0.20071 | -0.19849 | -7.272e-14 | -0.15025 | 0.14919 | 0.00035879 | -0.34733 | -0.34903 | -1.0459e-13 | 0.26062 | 0.2621 | 89.6625 | -90.2443 | -90.2443 | -90.3026 | 89.7162 | 89.7162 |  | 0.0016737 | 1.7405 | 1.7421 | 0 | 1.74 | 1.7444 | 136.9861 | -150.2227 | 150.1289 | 0 | -150.3195 | 150.0672
Line_1 | 0.0024959 | 0.0024959 | 0.0024959 | 0.0074861 | 0.0074861 | 0.0074861 | 0.02882 | 0.02882 | 0.02882 | 0.086442 | 0.086442 | 0.086442 | 8.8388e-05 | -0.025003 | 0.024914 | -1.8011e-14 | 0.075125 | -0.074595 | 1.8315e-05 | 0.043438 | 0.043736 | -2.5886e-14 | -0.13031 | -0.13105 | 89.6581 | 89.6581 | 89.6581 | -90.2838 | -90.2838 | -90.2838 |  | 0.0031321 | 1.7391 | 1.7465 | 0 | 1.74 | 1.7444 | 101.3644 | -150.4175 | 149.99 | 0 | -150.3195 | 150.0672
Line_2 | 0.0024959 | 0.0024959 | 0.0024959 | 0.0074861 | 0.0074861 | 0.0074861 | 0.02882 | 0.02882 | 0.02882 | 0.086442 | 0.086442 | 0.086442 | 8.8388e-05 | -0.025003 | 0.024914 | -1.8011e-14 | 0.075125 | -0.074595 | 1.8315e-05 | 0.043438 | 0.043736 | -2.5886e-14 | -0.13031 | -0.13105 | 89.6581 | 89.6581 | 89.6581 | -90.2838 | -90.2838 | -90.2838 |  | 0.0031321 | 1.7391 | 1.7465 | 0 | 1.74 | 1.7444 | 101.3644 | -150.4175 | 149.99 | 0 | -150.3195 | 150.0672
Line_3 | 0.0024959 | 0.0024959 | 0.0024959 | 0.0024959 | 0.0024959 | 0.0024959 | 0.02882 | 0.02882 | 0.02882 | 0.02882 | 0.02882 | 0.02882 | -8.8388e-05 | 0.025003 | -0.024914 | -8.8388e-05 | 0.025003 | -0.024914 | -1.8315e-05 | -0.043438 | -0.043736 | -1.8315e-05 | -0.043438 | -0.043736 | -90.3419 | -90.3419 | -90.3419 | -90.3419 | -90.3419 | -90.3419 |  | 0.0031321 | 1.7391 | 1.7465 | 0.0031321 | 1.7391 | 1.7465 | 101.3644 | -150.4175 | 149.99 | 101.3644 | -150.4175 | 149.99

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.025749 | 0.020352 | 0.020352 | 0.030835 | 0.015266 | 0.015266 | 0.29732 | 0.23501 | 0.23501 | 0.35605 | 0.17628 | 0.17628 | 0.0062749 | 0.20696 | -0.19997 | -0.0071068 | -0.15493 | 0.15031 | 0.0063125 | -0.35471 | -0.36461 | -0.0071083 | 0.26616 | 0.27379 | 88.5127 | -91.3941 | -91.3941 | -91.4523 | 88.5664 | 88.5664 |  | 0.029936 | 1.7475 | 1.7695 | 0.028231 | 1.747 | 1.7718 | 133.684 | -151.1317 | 149.8639 | 133.5539 | -151.23 | 149.8008
Line_1 | 0.0025449 | 0.0025449 | 0.0025449 | 0.0076332 | 0.0076332 | 0.0076332 | 0.029387 | 0.029387 | 0.029387 | 0.088141 | 0.088141 | 0.088141 | 0.00067806 | -0.02578 | 0.025102 | -0.0017599 | 0.077464 | -0.075153 | 0.00060613 | 0.044361 | 0.045686 | -0.0017591 | -0.13308 | -0.1369 | 88.5083 | 88.5083 | 88.5083 | -91.4336 | -91.4336 | -91.4336 |  | 0.030949 | 1.746 | 1.7739 | 0.028231 | 1.747 | 1.7718 | 130.3027 | -151.3293 | 149.7222 | 133.5539 | -151.23 | 149.8008
Line_2 | 0.0025449 | 0.0025449 | 0.0025449 | 0.0076332 | 0.0076332 | 0.0076332 | 0.029387 | 0.029387 | 0.029387 | 0.088141 | 0.088141 | 0.088141 | 0.00067806 | -0.02578 | 0.025102 | -0.0017599 | 0.077464 | -0.075153 | 0.00060613 | 0.044361 | 0.045686 | -0.0017591 | -0.13308 | -0.1369 | 88.5083 | 88.5083 | 88.5083 | -91.4336 | -91.4336 | -91.4336 |  | 0.030949 | 1.746 | 1.7739 | 0.028231 | 1.747 | 1.7718 | 130.3027 | -151.3293 | 149.7222 | 133.5539 | -151.23 | 149.8008
Line_3 | 0.0025449 | 0.0025449 | 0.0025449 | 0.0025449 | 0.0025449 | 0.0025449 | 0.029387 | 0.029387 | 0.029387 | 0.029387 | 0.029387 | 0.029387 | -0.00067806 | 0.02578 | -0.025102 | -0.00067806 | 0.02578 | -0.025102 | -0.00060613 | -0.044361 | -0.045686 | -0.00060613 | -0.044361 | -0.045686 | -91.4917 | -91.4917 | -91.4917 | -91.4917 | -91.4917 | -91.4917 |  | 0.030949 | 1.746 | 1.7739 | 0.030949 | 1.746 | 1.7739 | 130.3027 | -151.3293 | 149.7222 | 130.3027 | -151.3293 | 149.7222

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.025749 | 0.020352 | 0.020352 | 0.030835 | 0.015266 | 0.015266 | 0.29732 | 0.23501 | 0.23501 | 0.35605 | 0.17628 | 0.17628 | 0.0062749 | 0.20696 | -0.19997 | -0.0071068 | -0.15493 | 0.15031 | 0.0063125 | -0.35471 | -0.36461 | -0.0071083 | 0.26616 | 0.27379 | 88.5127 | -91.3941 | -91.3941 | -91.4523 | 88.5664 | 88.5664 |  | 0.029936 | 1.7475 | 1.7695 | 0.028231 | 1.747 | 1.7718 | 133.684 | -151.1317 | 149.8639 | 133.5539 | -151.23 | 149.8008
Line_1 | 0.0025449 | 0.0025449 | 0.0025449 | 0.0076332 | 0.0076332 | 0.0076332 | 0.029387 | 0.029387 | 0.029387 | 0.088141 | 0.088141 | 0.088141 | 0.00067806 | -0.02578 | 0.025102 | -0.0017599 | 0.077464 | -0.075153 | 0.00060613 | 0.044361 | 0.045686 | -0.0017591 | -0.13308 | -0.1369 | 88.5083 | 88.5083 | 88.5083 | -91.4336 | -91.4336 | -91.4336 |  | 0.030949 | 1.746 | 1.7739 | 0.028231 | 1.747 | 1.7718 | 130.3027 | -151.3293 | 149.7222 | 133.5539 | -151.23 | 149.8008
Line_2 | 0.0025449 | 0.0025449 | 0.0025449 | 0.0076332 | 0.0076332 | 0.0076332 | 0.029387 | 0.029387 | 0.029387 | 0.088141 | 0.088141 | 0.088141 | 0.00067806 | -0.02578 | 0.025102 | -0.0017599 | 0.077464 | -0.075153 | 0.00060613 | 0.044361 | 0.045686 | -0.0017591 | -0.13308 | -0.1369 | 88.5083 | 88.5083 | 88.5083 | -91.4336 | -91.4336 | -91.4336 |  | 0.030949 | 1.746 | 1.7739 | 0.028231 | 1.747 | 1.7718 | 130.3027 | -151.3293 | 149.7222 | 133.5539 | -151.23 | 149.8008
Line_3 | 0.0025449 | 0.0025449 | 0.0025449 | 0.0025449 | 0.0025449 | 0.0025449 | 0.029387 | 0.029387 | 0.029387 | 0.029387 | 0.029387 | 0.029387 | -0.00067806 | 0.02578 | -0.025102 | -0.00067806 | 0.02578 | -0.025102 | -0.00060613 | -0.044361 | -0.045686 | -0.00060613 | -0.044361 | -0.045686 | -91.4917 | -91.4917 | -91.4917 | -91.4917 | -91.4917 | -91.4917 |  | 0.030949 | 1.746 | 1.7739 | 0.030949 | 1.746 | 1.7739 | 130.3027 | -151.3293 | 149.7222 | 130.3027 | -151.3293 | 149.7222

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010913 | 3.7095 | 3.7088 | 0.008186 | 3.71 | 3.7083 | 0.12601 | 42.8332 | 42.826 | 0.094524 | 42.8399 | 42.8194 | 0.00024493 | 7.1538 | 7.1543 | -0.00016515 | 7.1712e-11 | 5.0689e-11 | -0.20824 | 8.1057 | 8.1285 | 0.15626 | -3.0976e-11 | 3.5001e-11 | 89.9366 | -167.758 | 12.1983 | -90.084 | 12.2831 | -167.8428 |  | 1.6525 | 0.2524 | 0.25285 | 1.6531 | 0 | 0 | 0.0039528 | -119.1886 | 60.8458 | -0.023459 | 0 | 0
Line_1 | 0.0013646 | 0.0013646 | 0.0013646 | 0.004093 | 0.004093 | 0.004093 | 0.015757 | 0.015757 | 0.015757 | 0.047262 | 0.047262 | 0.047262 | -2.7527e-05 | 1.3762e-05 | 1.3762e-05 | 8.2574e-05 | -1.6436e-14 | -4.9617e-14 | 0.026054 | 5.4749e-06 | 5.4749e-06 | -0.078129 | -8.4598e-14 | 4.6485e-14 | -90.1143 | -90.1143 | -90.1143 | 89.916 | 89.916 | 89.916 |  | 1.6534 | 0.00093993 | 0.00093993 | 1.6531 | 0 | 0 | -0.053741 | -68.4199 | -68.4199 | -0.023459 | 0 | 0
Line_2 | 0.0013646 | 0.0013646 | 0.0013646 | 0.004093 | 0.004093 | 0.004093 | 0.015757 | 0.015757 | 0.015757 | 0.047262 | 0.047262 | 0.047262 | -2.7527e-05 | 1.3762e-05 | 1.3762e-05 | 8.2574e-05 | -1.6436e-14 | -4.9617e-14 | 0.026054 | 5.4749e-06 | 5.4749e-06 | -0.078129 | -8.4598e-14 | 4.6485e-14 | -90.1143 | -90.1143 | -90.1143 | 89.916 | 89.916 | 89.916 |  | 1.6534 | 0.00093993 | 0.00093993 | 1.6531 | 0 | 0 | -0.053741 | -68.4199 | -68.4199 | -0.023459 | 0 | 0
Line_3 | 0.0013646 | 0.0013646 | 0.0013646 | 0.0013646 | 0.0013646 | 0.0013646 | 0.015757 | 0.015757 | 0.015757 | 0.015757 | 0.015757 | 0.015757 | 2.7523e-05 | -1.3762e-05 | -1.3762e-05 | 2.7523e-05 | -1.3762e-05 | -1.3762e-05 | -0.026054 | -5.4749e-06 | -5.4749e-06 | -0.026054 | -5.4749e-06 | -5.4749e-06 | 89.8857 | 89.8857 | 89.8857 | 89.8857 | 89.8857 | 89.8857 |  | 1.6534 | 0.00093993 | 0.00093993 | 1.6534 | 0.00093993 | 0.00093993 | -0.053741 | -68.4199 | -68.4199 | -0.053741 | -68.4199 | -68.4199

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010913 | 3.7095 | 3.7088 | 0.008186 | 3.71 | 3.7083 | 0.12601 | 42.8332 | 42.826 | 0.094524 | 42.8399 | 42.8194 | 0.00024493 | 7.1538 | 7.1543 | -0.00016515 | 7.1712e-11 | 5.0689e-11 | -0.20824 | 8.1057 | 8.1285 | 0.15626 | -3.0976e-11 | 3.5001e-11 | 89.9366 | -167.758 | 12.1983 | -90.084 | 12.2831 | -167.8428 |  | 1.6525 | 0.2524 | 0.25285 | 1.6531 | 0 | 0 | 0.0039528 | -119.1886 | 60.8458 | -0.023459 | 0 | 0
Line_1 | 0.0013646 | 0.0013646 | 0.0013646 | 0.004093 | 0.004093 | 0.004093 | 0.015757 | 0.015757 | 0.015757 | 0.047262 | 0.047262 | 0.047262 | -2.7527e-05 | 1.3762e-05 | 1.3762e-05 | 8.2574e-05 | -1.6436e-14 | -4.9617e-14 | 0.026054 | 5.4749e-06 | 5.4749e-06 | -0.078129 | -8.4598e-14 | 4.6485e-14 | -90.1143 | -90.1143 | -90.1143 | 89.916 | 89.916 | 89.916 |  | 1.6534 | 0.00093993 | 0.00093993 | 1.6531 | 0 | 0 | -0.053741 | -68.4199 | -68.4199 | -0.023459 | 0 | 0
Line_2 | 0.0013646 | 0.0013646 | 0.0013646 | 0.004093 | 0.004093 | 0.004093 | 0.015757 | 0.015757 | 0.015757 | 0.047262 | 0.047262 | 0.047262 | -2.7527e-05 | 1.3762e-05 | 1.3762e-05 | 8.2574e-05 | -1.6436e-14 | -4.9617e-14 | 0.026054 | 5.4749e-06 | 5.4749e-06 | -0.078129 | -8.4598e-14 | 4.6485e-14 | -90.1143 | -90.1143 | -90.1143 | 89.916 | 89.916 | 89.916 |  | 1.6534 | 0.00093993 | 0.00093993 | 1.6531 | 0 | 0 | -0.053741 | -68.4199 | -68.4199 | -0.023459 | 0 | 0
Line_3 | 0.0013646 | 0.0013646 | 0.0013646 | 0.0013646 | 0.0013646 | 0.0013646 | 0.015757 | 0.015757 | 0.015757 | 0.015757 | 0.015757 | 0.015757 | 2.7523e-05 | -1.3762e-05 | -1.3762e-05 | 2.7523e-05 | -1.3762e-05 | -1.3762e-05 | -0.026054 | -5.4749e-06 | -5.4749e-06 | -0.026054 | -5.4749e-06 | -5.4749e-06 | 89.8857 | 89.8857 | 89.8857 | 89.8857 | 89.8857 | 89.8857 |  | 1.6534 | 0.00093993 | 0.00093993 | 1.6534 | 0.00093993 | 0.00093993 | -0.053741 | -68.4199 | -68.4199 | -0.053741 | -68.4199 | -68.4199

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.01102 | 1.1351 | 1.1334 | 0.008266 | 1.1367 | 1.1317 | 0.12724 | 13.1069 | 13.0869 | 0.095447 | 13.1256 | 13.0682 | 0.0016257 | 7.0965 | 7.1062 | -0.0012001 | -6.4505 | -6.4146 | -0.21095 | 7.2863 | 7.0965 | 0.15829 | -6.5262 | -6.3389 | 89.3727 | -144.4703 | 35.4108 | -90.6479 | 35.6419 | -144.702 |  | 1.6579 | 0.77601 | 0.7674 | 1.6585 | 0.6991 | 0.69009 | -0.18577 | -98.7144 | 80.3719 | -0.2135 | -99.0237 | 79.9578
Line_1 | 0.0013779 | 0.0013779 | 0.0013779 | 0.004133 | 0.004133 | 0.004133 | 0.015911 | 0.015911 | 0.015911 | 0.047724 | 0.047724 | 0.047724 | -0.00019997 | 0.01102 | -0.01082 | 0.00060007 | -0.033008 | 0.032492 | 0.026393 | -0.0016089 | 0.0017921 | -0.079146 | 0.0048599 | -0.0053757 | -90.6782 | -90.6782 | -90.6782 | 89.3521 | 89.3521 | 89.3521 |  | 1.6588 | 0.69992 | 0.68927 | 1.6585 | 0.6991 | 0.69009 | -0.24405 | -98.9848 | 79.9171 | -0.2135 | -99.0237 | 79.9578
Line_2 | 0.0013779 | 0.0013779 | 0.0013779 | 0.004133 | 0.004133 | 0.004133 | 0.015911 | 0.015911 | 0.015911 | 0.047724 | 0.047724 | 0.047724 | -0.00019997 | 0.01102 | -0.01082 | 0.00060007 | -0.033008 | 0.032492 | 0.026393 | -0.0016089 | 0.0017921 | -0.079146 | 0.0048599 | -0.0053757 | -90.6782 | -90.6782 | -90.6782 | 89.3521 | 89.3521 | 89.3521 |  | 1.6588 | 0.69992 | 0.68927 | 1.6585 | 0.6991 | 0.69009 | -0.24405 | -98.9848 | 79.9171 | -0.2135 | -99.0237 | 79.9578
Line_3 | 0.0013779 | 0.0013779 | 0.0013779 | 0.0013779 | 0.0013779 | 0.0013779 | 0.015911 | 0.015911 | 0.015911 | 0.015911 | 0.015911 | 0.015911 | 0.00019997 | -0.01102 | 0.01082 | 0.00019997 | -0.01102 | 0.01082 | -0.026393 | 0.0016089 | -0.0017921 | -0.026393 | 0.0016089 | -0.0017921 | 89.3219 | 89.3219 | 89.3219 | 89.3219 | 89.3219 | 89.3219 |  | 1.6588 | 0.69992 | 0.68927 | 1.6588 | 0.69992 | 0.68927 | -0.24405 | -98.9848 | 79.9171 | -0.24405 | -98.9848 | 79.9171

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.01102 | 1.1351 | 1.1334 | 0.008266 | 1.1367 | 1.1317 | 0.12724 | 13.1069 | 13.0869 | 0.095447 | 13.1256 | 13.0682 | 0.0016257 | 7.0965 | 7.1062 | -0.0012001 | -6.4505 | -6.4146 | -0.21095 | 7.2863 | 7.0965 | 0.15829 | -6.5262 | -6.3389 | 89.3727 | -144.4703 | 35.4108 | -90.6479 | 35.6419 | -144.702 |  | 1.6579 | 0.77601 | 0.7674 | 1.6585 | 0.6991 | 0.69009 | -0.18577 | -98.7144 | 80.3719 | -0.2135 | -99.0237 | 79.9578
Line_1 | 0.0013779 | 0.0013779 | 0.0013779 | 0.004133 | 0.004133 | 0.004133 | 0.015911 | 0.015911 | 0.015911 | 0.047724 | 0.047724 | 0.047724 | -0.00019997 | 0.01102 | -0.01082 | 0.00060007 | -0.033008 | 0.032492 | 0.026393 | -0.0016089 | 0.0017921 | -0.079146 | 0.0048599 | -0.0053757 | -90.6782 | -90.6782 | -90.6782 | 89.3521 | 89.3521 | 89.3521 |  | 1.6588 | 0.69992 | 0.68927 | 1.6585 | 0.6991 | 0.69009 | -0.24405 | -98.9848 | 79.9171 | -0.2135 | -99.0237 | 79.9578
Line_2 | 0.0013779 | 0.0013779 | 0.0013779 | 0.004133 | 0.004133 | 0.004133 | 0.015911 | 0.015911 | 0.015911 | 0.047724 | 0.047724 | 0.047724 | -0.00019997 | 0.01102 | -0.01082 | 0.00060007 | -0.033008 | 0.032492 | 0.026393 | -0.0016089 | 0.0017921 | -0.079146 | 0.0048599 | -0.0053757 | -90.6782 | -90.6782 | -90.6782 | 89.3521 | 89.3521 | 89.3521 |  | 1.6588 | 0.69992 | 0.68927 | 1.6585 | 0.6991 | 0.69009 | -0.24405 | -98.9848 | 79.9171 | -0.2135 | -99.0237 | 79.9578
Line_3 | 0.0013779 | 0.0013779 | 0.0013779 | 0.0013779 | 0.0013779 | 0.0013779 | 0.015911 | 0.015911 | 0.015911 | 0.015911 | 0.015911 | 0.015911 | 0.00019997 | -0.01102 | 0.01082 | 0.00019997 | -0.01102 | 0.01082 | -0.026393 | 0.0016089 | -0.0017921 | -0.026393 | 0.0016089 | -0.0017921 | 89.3219 | 89.3219 | 89.3219 | 89.3219 | 89.3219 | 89.3219 |  | 1.6588 | 0.69992 | 0.68927 | 1.6588 | 0.69992 | 0.68927 | -0.24405 | -98.9848 | 79.9171 | -0.24405 | -98.9848 | 79.9171

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0099217 | 3.1196 | 3.1186 | 0.0074424 | 3.1204 | 3.1178 | 0.11457 | 36.0215 | 36.0107 | 0.085937 | 36.0315 | 36.0008 | 0.00038869 | 9.7105 | 9.7158 | -0.00026208 | -1.3296e-10 | 4.4529e-11 | -0.17212 | 5.7237 | 5.7562 | 0.12916 | -1.3449e-10 | -1.7874e-10 | 89.8816 | -159.6497 | 20.3051 | -90.1579 | 20.3929 | -159.7376 |  | 1.5024 | 0.31292 | 0.3136 | 1.5029 | 0 | 0 | 0.010978 | -129.1331 | 50.9499 | -0.041651 | 0 | 0
Line_1 | 0.0012407 | 0.0012407 | 0.0012407 | 0.0037212 | 0.0037212 | 0.0037212 | 0.014326 | 0.014326 | 0.014326 | 0.042968 | 0.042968 | 0.042968 | -4.3682e-05 | 2.184e-05 | 2.184e-05 | 0.00013104 | -2.0583e-13 | 1.8138e-13 | 0.021535 | 4.5253e-06 | 4.5253e-06 | -0.064578 | 9.2173e-14 | 1.2424e-13 | -90.216 | -90.216 | -90.216 | 89.8421 | 89.8421 | 89.8421 |  | 1.5032 | 0.0015569 | 0.0015569 | 1.5029 | 0 | 0 | -0.099794 | -78.5097 | -78.5097 | -0.041651 | 0 | 0
Line_2 | 0.0012407 | 0.0012407 | 0.0012407 | 0.0037212 | 0.0037212 | 0.0037212 | 0.014326 | 0.014326 | 0.014326 | 0.042968 | 0.042968 | 0.042968 | -4.3682e-05 | 2.184e-05 | 2.184e-05 | 0.00013104 | -2.0583e-13 | 1.8138e-13 | 0.021535 | 4.5253e-06 | 4.5253e-06 | -0.064578 | 9.2173e-14 | 1.2424e-13 | -90.216 | -90.216 | -90.216 | 89.8421 | 89.8421 | 89.8421 |  | 1.5032 | 0.0015569 | 0.0015569 | 1.5029 | 0 | 0 | -0.099794 | -78.5097 | -78.5097 | -0.041651 | 0 | 0
Line_3 | 0.0012407 | 0.0012407 | 0.0012407 | 0.0012407 | 0.0012407 | 0.0012407 | 0.014326 | 0.014326 | 0.014326 | 0.014326 | 0.014326 | 0.014326 | 4.3679e-05 | -2.184e-05 | -2.184e-05 | 4.3679e-05 | -2.184e-05 | -2.184e-05 | -0.021535 | -4.5253e-06 | -4.5253e-06 | -0.021535 | -4.5253e-06 | -4.5253e-06 | 89.784 | 89.784 | 89.784 | 89.784 | 89.784 | 89.784 |  | 1.5032 | 0.0015569 | 0.0015569 | 1.5032 | 0.0015569 | 0.0015569 | -0.099794 | -78.5097 | -78.5097 | -0.099794 | -78.5097 | -78.5097

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0099217 | 3.1196 | 3.1186 | 0.0074424 | 3.1204 | 3.1178 | 0.11457 | 36.0215 | 36.0107 | 0.085937 | 36.0315 | 36.0008 | 0.00038869 | 9.7105 | 9.7158 | -0.00026208 | -1.3296e-10 | 4.4529e-11 | -0.17212 | 5.7237 | 5.7562 | 0.12916 | -1.3449e-10 | -1.7874e-10 | 89.8816 | -159.6497 | 20.3051 | -90.1579 | 20.3929 | -159.7376 |  | 1.5024 | 0.31292 | 0.3136 | 1.5029 | 0 | 0 | 0.010978 | -129.1331 | 50.9499 | -0.041651 | 0 | 0
Line_1 | 0.0012407 | 0.0012407 | 0.0012407 | 0.0037212 | 0.0037212 | 0.0037212 | 0.014326 | 0.014326 | 0.014326 | 0.042968 | 0.042968 | 0.042968 | -4.3682e-05 | 2.184e-05 | 2.184e-05 | 0.00013104 | -2.0583e-13 | 1.8138e-13 | 0.021535 | 4.5253e-06 | 4.5253e-06 | -0.064578 | 9.2173e-14 | 1.2424e-13 | -90.216 | -90.216 | -90.216 | 89.8421 | 89.8421 | 89.8421 |  | 1.5032 | 0.0015569 | 0.0015569 | 1.5029 | 0 | 0 | -0.099794 | -78.5097 | -78.5097 | -0.041651 | 0 | 0
Line_2 | 0.0012407 | 0.0012407 | 0.0012407 | 0.0037212 | 0.0037212 | 0.0037212 | 0.014326 | 0.014326 | 0.014326 | 0.042968 | 0.042968 | 0.042968 | -4.3682e-05 | 2.184e-05 | 2.184e-05 | 0.00013104 | -2.0583e-13 | 1.8138e-13 | 0.021535 | 4.5253e-06 | 4.5253e-06 | -0.064578 | 9.2173e-14 | 1.2424e-13 | -90.216 | -90.216 | -90.216 | 89.8421 | 89.8421 | 89.8421 |  | 1.5032 | 0.0015569 | 0.0015569 | 1.5029 | 0 | 0 | -0.099794 | -78.5097 | -78.5097 | -0.041651 | 0 | 0
Line_3 | 0.0012407 | 0.0012407 | 0.0012407 | 0.0012407 | 0.0012407 | 0.0012407 | 0.014326 | 0.014326 | 0.014326 | 0.014326 | 0.014326 | 0.014326 | 4.3679e-05 | -2.184e-05 | -2.184e-05 | 4.3679e-05 | -2.184e-05 | -2.184e-05 | -0.021535 | -4.5253e-06 | -4.5253e-06 | -0.021535 | -4.5253e-06 | -4.5253e-06 | 89.784 | 89.784 | 89.784 | 89.784 | 89.784 | 89.784 |  | 1.5032 | 0.0015569 | 0.0015569 | 1.5032 | 0.0015569 | 0.0015569 | -0.099794 | -78.5097 | -78.5097 | -0.099794 | -78.5097 | -78.5097

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010018 | 0.99351 | 0.99185 | 0.0075149 | 0.99505 | 0.99032 | 0.11568 | 11.472 | 11.4529 | 0.086775 | 11.4898 | 11.4352 | 0.0015341 | 5.9088 | 5.9131 | -0.0011201 | -4.9444 | -4.9101 | -0.17436 | 5.5826 | 5.4345 | 0.13083 | -5.0031 | -4.8514 | 89.3169 | -142.5744 | 37.3056 | -90.7226 | 37.5392 | -142.8087 |  | 1.5073 | 0.70859 | 0.70123 | 1.5078 | 0.6122 | 0.60363 | -0.179 | -99.2008 | 79.8906 | -0.23211 | -97.1226 | 81.8466
Line_1 | 0.0012527 | 0.0012527 | 0.0012527 | 0.0037575 | 0.0037575 | 0.0037575 | 0.014465 | 0.014465 | 0.014465 | 0.043387 | 0.043387 | 0.043387 | -0.00018657 | 0.0088239 | -0.0086373 | 0.00056004 | -0.026396 | 0.02597 | 0.021815 | -0.00097361 | 0.0011251 | -0.065417 | 0.0029608 | -0.0033871 | -90.7807 | -90.7807 | -90.7807 | 89.2774 | 89.2774 | 89.2774 |  | 1.5081 | 0.6137 | 0.60214 | 1.5078 | 0.6122 | 0.60363 | -0.2907 | -97.0771 | 81.7977 | -0.23211 | -97.1226 | 81.8466
Line_2 | 0.0012527 | 0.0012527 | 0.0012527 | 0.0037575 | 0.0037575 | 0.0037575 | 0.014465 | 0.014465 | 0.014465 | 0.043387 | 0.043387 | 0.043387 | -0.00018657 | 0.0088239 | -0.0086373 | 0.00056004 | -0.026396 | 0.02597 | 0.021815 | -0.00097361 | 0.0011251 | -0.065417 | 0.0029608 | -0.0033871 | -90.7807 | -90.7807 | -90.7807 | 89.2774 | 89.2774 | 89.2774 |  | 1.5081 | 0.6137 | 0.60214 | 1.5078 | 0.6122 | 0.60363 | -0.2907 | -97.0771 | 81.7977 | -0.23211 | -97.1226 | 81.8466
Line_3 | 0.0012527 | 0.0012527 | 0.0012527 | 0.0012527 | 0.0012527 | 0.0012527 | 0.014465 | 0.014465 | 0.014465 | 0.014465 | 0.014465 | 0.014465 | 0.00018657 | -0.0088239 | 0.0086373 | 0.00018657 | -0.0088239 | 0.0086373 | -0.021815 | 0.00097361 | -0.0011251 | -0.021815 | 0.00097361 | -0.0011251 | 89.2193 | 89.2193 | 89.2193 | 89.2193 | 89.2193 | 89.2193 |  | 1.5081 | 0.6137 | 0.60214 | 1.5081 | 0.6137 | 0.60214 | -0.2907 | -97.0771 | 81.7977 | -0.2907 | -97.0771 | 81.7977

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010018 | 0.99351 | 0.99185 | 0.0075149 | 0.99505 | 0.99032 | 0.11568 | 11.472 | 11.4529 | 0.086775 | 11.4898 | 11.4352 | 0.0015341 | 5.9088 | 5.9131 | -0.0011201 | -4.9444 | -4.9101 | -0.17436 | 5.5826 | 5.4345 | 0.13083 | -5.0031 | -4.8514 | 89.3169 | -142.5744 | 37.3056 | -90.7226 | 37.5392 | -142.8087 |  | 1.5073 | 0.70859 | 0.70123 | 1.5078 | 0.6122 | 0.60363 | -0.179 | -99.2008 | 79.8906 | -0.23211 | -97.1226 | 81.8466
Line_1 | 0.0012527 | 0.0012527 | 0.0012527 | 0.0037575 | 0.0037575 | 0.0037575 | 0.014465 | 0.014465 | 0.014465 | 0.043387 | 0.043387 | 0.043387 | -0.00018657 | 0.0088239 | -0.0086373 | 0.00056004 | -0.026396 | 0.02597 | 0.021815 | -0.00097361 | 0.0011251 | -0.065417 | 0.0029608 | -0.0033871 | -90.7807 | -90.7807 | -90.7807 | 89.2774 | 89.2774 | 89.2774 |  | 1.5081 | 0.6137 | 0.60214 | 1.5078 | 0.6122 | 0.60363 | -0.2907 | -97.0771 | 81.7977 | -0.23211 | -97.1226 | 81.8466
Line_2 | 0.0012527 | 0.0012527 | 0.0012527 | 0.0037575 | 0.0037575 | 0.0037575 | 0.014465 | 0.014465 | 0.014465 | 0.043387 | 0.043387 | 0.043387 | -0.00018657 | 0.0088239 | -0.0086373 | 0.00056004 | -0.026396 | 0.02597 | 0.021815 | -0.00097361 | 0.0011251 | -0.065417 | 0.0029608 | -0.0033871 | -90.7807 | -90.7807 | -90.7807 | 89.2774 | 89.2774 | 89.2774 |  | 1.5081 | 0.6137 | 0.60214 | 1.5078 | 0.6122 | 0.60363 | -0.2907 | -97.0771 | 81.7977 | -0.23211 | -97.1226 | 81.8466
Line_3 | 0.0012527 | 0.0012527 | 0.0012527 | 0.0012527 | 0.0012527 | 0.0012527 | 0.014465 | 0.014465 | 0.014465 | 0.014465 | 0.014465 | 0.014465 | 0.00018657 | -0.0088239 | 0.0086373 | 0.00018657 | -0.0088239 | 0.0086373 | -0.021815 | 0.00097361 | -0.0011251 | -0.021815 | 0.00097361 | -0.0011251 | 89.2193 | 89.2193 | 89.2193 | 89.2193 | 89.2193 | 89.2193 |  | 1.5081 | 0.6137 | 0.60214 | 1.5081 | 0.6137 | 0.60214 | -0.2907 | -97.0771 | 81.7977 | -0.2907 | -97.0771 | 81.7977