## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7811 | 1.7811 | 3.8186 | 0 | 61.6982 | 61.6982 | -1e-07 | 4.9487 | -1e-07 | 5.6148 | 107.8317 | -72.1683 | 0 | 0.12131 | 0 | -23.5598
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12131 | 0.12131 | -23.5598 | -23.5598
Line_2 | 0.87004 | 0.87004 | 0 | 0 | 30.139 | 30.139 | -2.4405 | 3.6214 | -2.7223 | 4.0621 | 108.3161 | -71.6839 | 0.12131 | 0.18056 | -23.5598 | -23.4008

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7811 | 1.7811 | 3.8186 | 0 | 61.6982 | 61.6982 | -1e-07 | 4.9487 | -1e-07 | 5.6148 | 107.8317 | -72.1683 | 0 | 0.12131 | 0 | -23.5598
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12131 | 0.12131 | -23.5598 | -23.5598
Line_2 | 0.87004 | 0.87004 | 0 | 0 | 30.139 | 30.139 | -2.4405 | 3.6214 | -2.7223 | 4.0621 | 108.3161 | -71.6839 | 0.12131 | 0.18056 | -23.5598 | -23.4008

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.65566 | 0.65566 | 1.3155 | 0 | 22.7127 | 22.7127 | -13.3566 | 14.0272 | -14.4314 | 15.1923 | 122.8109 | -57.1891 | 0.86576 | 0.9104 | -9.9741 | -9.9058
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9104 | 0.9104 | -9.9058 | -9.9058
Line_2 | 0.31967 | 0.31967 | 0 | 0 | 11.0736 | 11.0736 | -6.8798 | 7.0392 | -7.3691 | 7.55 | 123.1277 | -56.8723 | 0.9104 | 0.93217 | -9.9058 | -9.8674

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.65566 | 0.65566 | 1.3155 | 0 | 22.7127 | 22.7127 | -13.3566 | 14.0272 | -14.4314 | 15.1923 | 122.8109 | -57.1891 | 0.86576 | 0.9104 | -9.9741 | -9.9058
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9104 | 0.9104 | -9.9058 | -9.9058
Line_2 | 0.31967 | 0.31967 | 0 | 0 | 11.0736 | 11.0736 | -6.8798 | 7.0392 | -7.3691 | 7.55 | 123.1277 | -56.8723 | 0.9104 | 0.93217 | -9.9058 | -9.8674

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.4189 | 1.4189 | 3.1862 | 0 | 49.1527 | 49.1527 | -1e-07 | 6.0303 | -1e-07 | 3.5636 | 113.5583 | -66.4417 | 0 | 0.14251 | 0 | -35.8609
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14251 | 0.14251 | -35.8609 | -35.8609
Line_2 | 0.6883 | 0.6883 | 0 | 0 | 23.8434 | 23.8434 | -2.9712 | 4.3902 | -1.6485 | 2.487 | 115.1169 | -64.8831 | 0.14251 | 0.21162 | -35.8609 | -35.3518

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.4189 | 1.4189 | 3.1862 | 0 | 49.1527 | 49.1527 | -1e-07 | 6.0303 | -1e-07 | 3.5636 | 113.5583 | -66.4417 | 0 | 0.14251 | 0 | -35.8609
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14251 | 0.14251 | -35.8609 | -35.8609
Line_2 | 0.6883 | 0.6883 | 0 | 0 | 23.8434 | 23.8434 | -2.9712 | 4.3902 | -1.6485 | 2.487 | 115.1169 | -64.8831 | 0.14251 | 0.21162 | -35.8609 | -35.3518

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.45094 | 0.45094 | 1.0126 | 0 | 15.621 | 15.621 | -9.2973 | 9.9063 | -6.2542 | 6.6141 | 136.2362 | -43.7638 | 0.71731 | 0.76252 | -9.8354 | -10.0342
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76252 | 0.76252 | -10.0342 | -10.0342
Line_2 | 0.21875 | 0.21875 | 0 | 0 | 7.5776 | 7.5776 | -4.8909 | 5.0342 | -3.0765 | 3.1612 | 137.7948 | -42.2052 | 0.76252 | 0.78449 | -10.0342 | -10.0787

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.45094 | 0.45094 | 1.0126 | 0 | 15.621 | 15.621 | -9.2973 | 9.9063 | -6.2542 | 6.6141 | 136.2362 | -43.7638 | 0.71731 | 0.76252 | -9.8354 | -10.0342
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76252 | 0.76252 | -10.0342 | -10.0342
Line_2 | 0.21875 | 0.21875 | 0 | 0 | 7.5776 | 7.5776 | -4.8909 | 5.0342 | -3.0765 | 3.1612 | 137.7948 | -42.2052 | 0.76252 | 0.78449 | -10.0342 | -10.0787

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28625 | 1.5377 | 1.4216 | 0.28625 | 1.5377 | 1.4216 | 3.3053 | 17.7554 | 16.415 | 3.3053 | 17.7554 | 16.415 | -2.1258 | -10.5987 | 9.5358 | 2.1684 | 11.8282 | -8.4849 | -3.3339 | 0.67093 | -2.3379 | 3.3823 | 0.72406 | 3.5302 | 125.0869 | 6.1858 | -163.6609 | -54.9131 | -173.8142 | 16.3391 | 1.1962 | 0.59812 | 0.59812 | 1.2155 | 0.66742 | 0.55986 | 2.5636 | -177.4364 | -177.4364 | 2.4219 | -170.3112 | 173.749
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.192e-10 | -8.573e-11 | -1.8601e-10 | -5.1922e-10 | 8.5762e-11 | 1.8601e-10 | -2.0718e-10 | 2.0715e-09 | -1.821e-09 | 2.0718e-10 | -2.0715e-09 | 1.821e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2155 | 0.66742 | 0.55986 | 1.2155 | 0.66742 | 0.55986 | 2.4219 | -170.3112 | 173.749 | 2.4219 | -170.3112 | 173.749
Line_2 | 0.13647 | 0.75173 | 0.69792 | 0.13647 | 0.75173 | 0.69792 | 1.5758 | 8.6802 | 8.0589 | 1.5758 | 8.6802 | 8.0589 | -1.0297 | -5.7863 | 4.1522 | 1.0394 | 6.0801 | -3.8989 | -1.615 | -0.28719 | -1.7652 | 1.626 | 0.6206 | 2.0525 | 124.9434 | 6.8474 | -163.2199 | -55.0566 | -173.1526 | 16.7801 | 1.2155 | 0.66742 | 0.55986 | 1.2247 | 0.70409 | 0.54675 | 2.4219 | -170.3112 | 173.749 | 2.3549 | -167.3246 | 169.0159

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28625 | 1.5377 | 1.4216 | 0.28625 | 1.5377 | 1.4216 | 3.3053 | 17.7554 | 16.415 | 3.3053 | 17.7554 | 16.415 | -2.1258 | -10.5987 | 9.5358 | 2.1684 | 11.8282 | -8.4849 | -3.3339 | 0.67093 | -2.3379 | 3.3823 | 0.72406 | 3.5302 | 125.0869 | 6.1858 | -163.6609 | -54.9131 | -173.8142 | 16.3391 | 1.1962 | 0.59812 | 0.59812 | 1.2155 | 0.66742 | 0.55986 | 2.5636 | -177.4364 | -177.4364 | 2.4219 | -170.3112 | 173.749
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.192e-10 | -8.573e-11 | -1.8601e-10 | -5.1922e-10 | 8.5762e-11 | 1.8601e-10 | -2.0718e-10 | 2.0715e-09 | -1.821e-09 | 2.0718e-10 | -2.0715e-09 | 1.821e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2155 | 0.66742 | 0.55986 | 1.2155 | 0.66742 | 0.55986 | 2.4219 | -170.3112 | 173.749 | 2.4219 | -170.3112 | 173.749
Line_2 | 0.13647 | 0.75173 | 0.69792 | 0.13647 | 0.75173 | 0.69792 | 1.5758 | 8.6802 | 8.0589 | 1.5758 | 8.6802 | 8.0589 | -1.0297 | -5.7863 | 4.1522 | 1.0394 | 6.0801 | -3.8989 | -1.615 | -0.28719 | -1.7652 | 1.626 | 0.6206 | 2.0525 | 124.9434 | 6.8474 | -163.2199 | -55.0566 | -173.1526 | 16.7801 | 1.2155 | 0.66742 | 0.55986 | 1.2247 | 0.70409 | 0.54675 | 2.4219 | -170.3112 | 173.749 | 2.3549 | -167.3246 | 169.0159

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21445 | 0.79295 | 0.7982 | 0.21445 | 0.79295 | 0.7982 | 2.4762 | 9.1562 | 9.2168 | 2.4762 | 9.1562 | 9.2168 | -1.1679 | -8.263 | 0.36978 | 1.1918 | 8.59 | -0.038478 | -2.6716 | -2.762 | -6.3287 | 2.6987 | 3.133 | 6.7046 | 114.9206 | 18.5673 | -145.9461 | -65.0794 | -161.4327 | 34.0539 | 1.1775 | 0.95153 | 0.68781 | 1.1914 | 0.99861 | 0.72744 | 1.3084 | -142.9499 | 127.3978 | 1.0939 | -141.3945 | 124.3827
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.001e-10 | -9.3668e-11 | -9.8515e-10 | -4.001e-10 | 9.3673e-11 | 9.8515e-10 | -9.175e-11 | 1.4693e-09 | -2.2421e-10 | 9.175e-11 | -1.4693e-09 | 2.242e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1914 | 0.99861 | 0.72744 | 1.1914 | 0.99861 | 0.72744 | 1.0939 | -141.3945 | 124.3827 | 1.0939 | -141.3945 | 124.3827
Line_2 | 0.10327 | 0.38675 | 0.39143 | 0.10327 | 0.38675 | 0.39143 | 1.1925 | 4.4658 | 4.5199 | 1.1925 | 4.4658 | 4.5199 | -0.55741 | -4.205 | -0.00023491 | 0.56295 | 4.2828 | 0.079909 | -1.3068 | -1.4854 | -3.2879 | 1.3131 | 1.5737 | 3.3783 | 114.1941 | 19.1497 | -145.6132 | -65.8059 | -160.8503 | 34.3868 | 1.1914 | 0.99861 | 0.72744 | 1.1981 | 1.0217 | 0.74765 | 1.0939 | -141.3945 | 124.3827 | 0.98838 | -140.6749 | 123.0318

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21445 | 0.79295 | 0.7982 | 0.21445 | 0.79295 | 0.7982 | 2.4762 | 9.1562 | 9.2168 | 2.4762 | 9.1562 | 9.2168 | -1.1679 | -8.263 | 0.36978 | 1.1918 | 8.59 | -0.038478 | -2.6716 | -2.762 | -6.3287 | 2.6987 | 3.133 | 6.7046 | 114.9206 | 18.5673 | -145.9461 | -65.0794 | -161.4327 | 34.0539 | 1.1775 | 0.95153 | 0.68781 | 1.1914 | 0.99861 | 0.72744 | 1.3084 | -142.9499 | 127.3978 | 1.0939 | -141.3945 | 124.3827
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.001e-10 | -9.3668e-11 | -9.8515e-10 | -4.001e-10 | 9.3673e-11 | 9.8515e-10 | -9.175e-11 | 1.4693e-09 | -2.2421e-10 | 9.175e-11 | -1.4693e-09 | 2.242e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1914 | 0.99861 | 0.72744 | 1.1914 | 0.99861 | 0.72744 | 1.0939 | -141.3945 | 124.3827 | 1.0939 | -141.3945 | 124.3827
Line_2 | 0.10327 | 0.38675 | 0.39143 | 0.10327 | 0.38675 | 0.39143 | 1.1925 | 4.4658 | 4.5199 | 1.1925 | 4.4658 | 4.5199 | -0.55741 | -4.205 | -0.00023491 | 0.56295 | 4.2828 | 0.079909 | -1.3068 | -1.4854 | -3.2879 | 1.3131 | 1.5737 | 3.3783 | 114.1941 | 19.1497 | -145.6132 | -65.8059 | -160.8503 | 34.3868 | 1.1914 | 0.99861 | 0.72744 | 1.1981 | 1.0217 | 0.74765 | 1.0939 | -141.3945 | 124.3827 | 0.98838 | -140.6749 | 123.0318

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1215 | 1.2347 | 1.1211 | 0.1215 | 1.2347 | 1.1211 | 1.403 | 14.2575 | 12.9448 | 1.403 | 14.2575 | 12.9448 | -1.4056 | -7.0484 | 6.3456 | 1.4203 | 8.5706 | -5.0909 | -0.18868 | 1.4989 | -1.5932 | 0.19739 | -0.5994 | 2.3347 | 175.2889 | 14.9398 | -162.9715 | -4.7111 | -165.0602 | 17.0285 | 1.0108 | 0.50542 | 0.50542 | 1.0221 | 0.60259 | 0.43266 | 2.9342 | -177.0658 | -177.0658 | 3.2008 | -169.0609 | 172.3918
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.8643e-11 | -1.1635e-10 | -2.8174e-10 | -8.8643e-11 | 1.1635e-10 | 2.8175e-10 | -2.0924e-10 | 1.6691e-09 | -1.2568e-09 | 2.0925e-10 | -1.6691e-09 | 1.2568e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0221 | 0.60259 | 0.43266 | 1.0221 | 0.60259 | 0.43266 | 3.2008 | -169.0609 | 172.3918 | 3.2008 | -169.0609 | 172.3918
Line_2 | 0.056958 | 0.60181 | 0.54747 | 0.056958 | 0.60181 | 0.54747 | 0.6577 | 6.9492 | 6.3217 | 0.6577 | 6.9492 | 6.3217 | -0.67127 | -4.166 | 2.4571 | 0.67451 | 4.5276 | -2.1578 | -0.035794 | 0.42388 | -1.2016 | 0.037708 | -0.2102 | 1.3784 | -179.8515 | 16.7489 | -161.5479 | 0.14852 | -163.2511 | 18.4521 | 1.0221 | 0.60259 | 0.43266 | 1.0272 | 0.65224 | 0.40504 | 3.2008 | -169.0609 | 172.3918 | 3.3483 | -165.9092 | 165.8814

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1215 | 1.2347 | 1.1211 | 0.1215 | 1.2347 | 1.1211 | 1.403 | 14.2575 | 12.9448 | 1.403 | 14.2575 | 12.9448 | -1.4056 | -7.0484 | 6.3456 | 1.4203 | 8.5706 | -5.0909 | -0.18868 | 1.4989 | -1.5932 | 0.19739 | -0.5994 | 2.3347 | 175.2889 | 14.9398 | -162.9715 | -4.7111 | -165.0602 | 17.0285 | 1.0108 | 0.50542 | 0.50542 | 1.0221 | 0.60259 | 0.43266 | 2.9342 | -177.0658 | -177.0658 | 3.2008 | -169.0609 | 172.3918
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.8643e-11 | -1.1635e-10 | -2.8174e-10 | -8.8643e-11 | 1.1635e-10 | 2.8175e-10 | -2.0924e-10 | 1.6691e-09 | -1.2568e-09 | 2.0925e-10 | -1.6691e-09 | 1.2568e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0221 | 0.60259 | 0.43266 | 1.0221 | 0.60259 | 0.43266 | 3.2008 | -169.0609 | 172.3918 | 3.2008 | -169.0609 | 172.3918
Line_2 | 0.056958 | 0.60181 | 0.54747 | 0.056958 | 0.60181 | 0.54747 | 0.6577 | 6.9492 | 6.3217 | 0.6577 | 6.9492 | 6.3217 | -0.67127 | -4.166 | 2.4571 | 0.67451 | 4.5276 | -2.1578 | -0.035794 | 0.42388 | -1.2016 | 0.037708 | -0.2102 | 1.3784 | -179.8515 | 16.7489 | -161.5479 | 0.14852 | -163.2511 | 18.4521 | 1.0221 | 0.60259 | 0.43266 | 1.0272 | 0.65224 | 0.40504 | 3.2008 | -169.0609 | 172.3918 | 3.3483 | -165.9092 | 165.8814

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.060188 | 0.61164 | 0.55532 | 0.060188 | 0.61164 | 0.55532 | 0.69499 | 7.0626 | 6.4123 | 0.69499 | 7.0626 | 6.4123 | -0.67593 | -5.5912 | 0.19464 | 0.67955 | 5.9647 | 0.11325 | 0.15097 | -0.28232 | -3.675 | -0.14884 | 0.50304 | 3.8569 | -165.9266 | 33.7243 | -144.187 | 14.0734 | -146.2757 | 35.813 | 0.99654 | 0.79267 | 0.57391 | 1.001 | 0.84754 | 0.60174 | 1.4827 | -143.3851 | 128.8448 | 1.7194 | -141.455 | 124.1311
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.1704e-12 | -2.5843e-10 | -8.7297e-10 | -5.174e-12 | 2.5843e-10 | 8.7297e-10 | -1.1012e-10 | 1.1367e-09 | -1.5894e-10 | 1.1012e-10 | -1.1367e-09 | 1.5893e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.001 | 0.84754 | 0.60174 | 1.001 | 0.84754 | 0.60174 | 1.7194 | -141.455 | 124.1311 | 1.7194 | -141.455 | 124.1311
Line_2 | 0.028215 | 0.29811 | 0.2712 | 0.028215 | 0.29811 | 0.2712 | 0.3258 | 3.4423 | 3.1315 | 0.3258 | 3.4423 | 3.1315 | -0.3115 | -2.9135 | -0.10208 | 0.3123 | 3.0022 | 0.17551 | 0.096507 | -0.15328 | -1.8816 | -0.096037 | 0.20572 | 1.925 | -161.067 | 35.5334 | -142.7634 | 18.933 | -144.4666 | 37.2366 | 1.001 | 0.84754 | 0.60174 | 1.0029 | 0.87419 | 0.61726 | 1.7194 | -141.455 | 124.1311 | 1.8393 | -140.5468 | 122.027

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.060188 | 0.61164 | 0.55532 | 0.060188 | 0.61164 | 0.55532 | 0.69499 | 7.0626 | 6.4123 | 0.69499 | 7.0626 | 6.4123 | -0.67593 | -5.5912 | 0.19464 | 0.67955 | 5.9647 | 0.11325 | 0.15097 | -0.28232 | -3.675 | -0.14884 | 0.50304 | 3.8569 | -165.9266 | 33.7243 | -144.187 | 14.0734 | -146.2757 | 35.813 | 0.99654 | 0.79267 | 0.57391 | 1.001 | 0.84754 | 0.60174 | 1.4827 | -143.3851 | 128.8448 | 1.7194 | -141.455 | 124.1311
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.1704e-12 | -2.5843e-10 | -8.7297e-10 | -5.174e-12 | 2.5843e-10 | 8.7297e-10 | -1.1012e-10 | 1.1367e-09 | -1.5894e-10 | 1.1012e-10 | -1.1367e-09 | 1.5893e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.001 | 0.84754 | 0.60174 | 1.001 | 0.84754 | 0.60174 | 1.7194 | -141.455 | 124.1311 | 1.7194 | -141.455 | 124.1311
Line_2 | 0.028215 | 0.29811 | 0.2712 | 0.028215 | 0.29811 | 0.2712 | 0.3258 | 3.4423 | 3.1315 | 0.3258 | 3.4423 | 3.1315 | -0.3115 | -2.9135 | -0.10208 | 0.3123 | 3.0022 | 0.17551 | 0.096507 | -0.15328 | -1.8816 | -0.096037 | 0.20572 | 1.925 | -161.067 | 35.5334 | -142.7634 | 18.933 | -144.4666 | 37.2366 | 1.001 | 0.84754 | 0.60174 | 1.0029 | 0.87419 | 0.61726 | 1.7194 | -141.455 | 124.1311 | 1.8393 | -140.5468 | 122.027

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7712 | 0.048666 | 0.38569 | 1.7727 | 0.04898 | 0.38504 | 20.4519 | 0.56195 | 4.4536 | 20.4691 | 0.56558 | 4.446 | 1.3432e-12 | -0.44085 | -0.054681 | 4.6402 | 0.4155 | 0.30112 | 5.2584e-11 | -0.44473 | -5.5502 | 3.3501 | 0.51739 | 4.9241 | 108.2729 | 15.3577 | -150.1222 | -71.7389 | -162.8813 | 29.6718 | 0 | 1.1143 | 1.2463 | 0.2796 | 1.1733 | 1.1096 | 0 | -119.3916 | 119.3133 | -35.9108 | -111.6485 | 116.1724
Line_1 | 0.001225 | 0.001225 | 0.001225 | 0 | 0 | 0 | 0.014145 | 0.014145 | 0.014145 | 0 | 0 | 0 | 0.0032897 | 0.012329 | -0.015615 | 6.2658e-10 | -3.6485e-10 | -4.984e-11 | 0.0021954 | -0.011109 | -0.0015863 | -6.6081e-10 | 6.865e-10 | -2.9857e-10 | -69.6283 | -69.6283 | -69.6283 | 0 | 0 | 0 | 0.2796 | 1.1733 | 1.1096 | 0.2794 | 1.1732 | 1.1098 | -35.9108 | -111.6485 | 116.1724 | -35.9017 | -111.6577 | 116.1754
Line_2 | 0.83528 | 0.041423 | 0.23501 | 0.83636 | 0.040577 | 0.23489 | 9.645 | 0.47831 | 2.7137 | 9.6575 | 0.46854 | 2.7122 | -2.2756 | 0.54851 | -0.51036 | 3.2395 | -0.55252 | 0.59415 | -1.4472 | -0.11861 | -2.9675 | 2.2639 | 0.076208 | 2.8107 | 111.6343 | -99.4462 | -144.069 | -68.3559 | 79.5923 | 35.6669 | 0.2796 | 1.1733 | 1.1096 | 0.40923 | 1.1904 | 1.0592 | -35.9108 | -111.6485 | 116.1724 | -33.4091 | -108.261 | 113.7311

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7712 | 0.048666 | 0.38569 | 1.7727 | 0.04898 | 0.38504 | 20.4519 | 0.56195 | 4.4536 | 20.4691 | 0.56558 | 4.446 | 1.3432e-12 | -0.44085 | -0.054681 | 4.6402 | 0.4155 | 0.30112 | 5.2584e-11 | -0.44473 | -5.5502 | 3.3501 | 0.51739 | 4.9241 | 108.2729 | 15.3577 | -150.1222 | -71.7389 | -162.8813 | 29.6718 | 0 | 1.1143 | 1.2463 | 0.2796 | 1.1733 | 1.1096 | 0 | -119.3916 | 119.3133 | -35.9108 | -111.6485 | 116.1724
Line_1 | 0.001225 | 0.001225 | 0.001225 | 0 | 0 | 0 | 0.014145 | 0.014145 | 0.014145 | 0 | 0 | 0 | 0.0032897 | 0.012329 | -0.015615 | 6.2658e-10 | -3.6485e-10 | -4.984e-11 | 0.0021954 | -0.011109 | -0.0015863 | -6.6081e-10 | 6.865e-10 | -2.9857e-10 | -69.6283 | -69.6283 | -69.6283 | 0 | 0 | 0 | 0.2796 | 1.1733 | 1.1096 | 0.2794 | 1.1732 | 1.1098 | -35.9108 | -111.6485 | 116.1724 | -35.9017 | -111.6577 | 116.1754
Line_2 | 0.83528 | 0.041423 | 0.23501 | 0.83636 | 0.040577 | 0.23489 | 9.645 | 0.47831 | 2.7137 | 9.6575 | 0.46854 | 2.7122 | -2.2756 | 0.54851 | -0.51036 | 3.2395 | -0.55252 | 0.59415 | -1.4472 | -0.11861 | -2.9675 | 2.2639 | 0.076208 | 2.8107 | 111.6343 | -99.4462 | -144.069 | -68.3559 | 79.5923 | 35.6669 | 0.2796 | 1.1733 | 1.1096 | 0.40923 | 1.1904 | 1.0592 | -35.9108 | -111.6485 | 116.1724 | -33.4091 | -108.261 | 113.7311

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.65289 | 0.15637 | 0.26102 | 0.65336 | 0.15597 | 0.26094 | 7.5389 | 1.8056 | 3.014 | 7.5443 | 1.801 | 3.0131 | -4.4465 | -0.045324 | -0.50561 | 4.9758 | -0.027994 | 0.61248 | -4.7688 | -2.0929 | -3.5793 | 5.2474 | 2.089 | 3.4904 | 123.0464 | -29.0012 | -141.7491 | -56.9565 | 151.0898 | 38.1495 | 0.86487 | 1.1594 | 1.1994 | 0.95853 | 1.16 | 1.1761 | -9.9505 | -120.2419 | 120.2106 | -10.4345 | -118.1424 | 118.1967
Line_1 | 0.00037354 | 0.00037354 | 0.00037354 | 0 | 0 | 0 | 0.0043133 | 0.0043133 | 0.0043133 | 0 | 0 | 0 | 0.0034021 | 0.001456 | -0.0048577 | 4.3347e-10 | -2.5777e-10 | -3.3071e-10 | 0.0023492 | -0.0047869 | 0.0014614 | -7.0008e-10 | 1.514e-10 | -1.4912e-10 | -45.0605 | -45.0605 | -45.0605 | 0 | 0 | 0 | 0.95853 | 1.16 | 1.1761 | 0.95847 | 1.16 | 1.1761 | -10.4345 | -118.1424 | 118.1967 | -10.4336 | -118.1456 | 118.1986
Line_2 | 0.30699 | 0.084201 | 0.13903 | 0.30731 | 0.083869 | 0.1391 | 3.5448 | 0.97226 | 1.6054 | 3.5485 | 0.96843 | 1.6062 | -2.4377 | 0.23527 | -0.47058 | 2.5474 | -0.24997 | 0.49891 | -2.367 | -1.103 | -1.8286 | 2.4812 | 1.0916 | 1.813 | 125.4084 | -40.1826 | -137.3713 | -54.5721 | 139.8018 | 42.4944 | 0.95853 | 1.16 | 1.1761 | 1.0021 | 1.1564 | 1.1707 | -10.4345 | -118.1424 | 118.1967 | -10.3268 | -117.3005 | 117.1087

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.65289 | 0.15637 | 0.26102 | 0.65336 | 0.15597 | 0.26094 | 7.5389 | 1.8056 | 3.014 | 7.5443 | 1.801 | 3.0131 | -4.4465 | -0.045324 | -0.50561 | 4.9758 | -0.027994 | 0.61248 | -4.7688 | -2.0929 | -3.5793 | 5.2474 | 2.089 | 3.4904 | 123.0464 | -29.0012 | -141.7491 | -56.9565 | 151.0898 | 38.1495 | 0.86487 | 1.1594 | 1.1994 | 0.95853 | 1.16 | 1.1761 | -9.9505 | -120.2419 | 120.2106 | -10.4345 | -118.1424 | 118.1967
Line_1 | 0.00037354 | 0.00037354 | 0.00037354 | 0 | 0 | 0 | 0.0043133 | 0.0043133 | 0.0043133 | 0 | 0 | 0 | 0.0034021 | 0.001456 | -0.0048577 | 4.3347e-10 | -2.5777e-10 | -3.3071e-10 | 0.0023492 | -0.0047869 | 0.0014614 | -7.0008e-10 | 1.514e-10 | -1.4912e-10 | -45.0605 | -45.0605 | -45.0605 | 0 | 0 | 0 | 0.95853 | 1.16 | 1.1761 | 0.95847 | 1.16 | 1.1761 | -10.4345 | -118.1424 | 118.1967 | -10.4336 | -118.1456 | 118.1986
Line_2 | 0.30699 | 0.084201 | 0.13903 | 0.30731 | 0.083869 | 0.1391 | 3.5448 | 0.97226 | 1.6054 | 3.5485 | 0.96843 | 1.6062 | -2.4377 | 0.23527 | -0.47058 | 2.5474 | -0.24997 | 0.49891 | -2.367 | -1.103 | -1.8286 | 2.4812 | 1.0916 | 1.813 | 125.4084 | -40.1826 | -137.3713 | -54.5721 | 139.8018 | 42.4944 | 0.95853 | 1.16 | 1.1761 | 1.0021 | 1.1564 | 1.1707 | -10.4345 | -118.1424 | 118.1967 | -10.3268 | -117.3005 | 117.1087

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2407 | 0.15387 | 0.24057 | 1.2418 | 0.15349 | 0.23962 | 14.3259 | 1.7767 | 2.7779 | 14.3395 | 1.7723 | 2.7669 | 2.509e-11 | 1.3994 | -1.129 | 4.3202 | -1.1623 | 1.182 | 3.589e-11 | 0.96165 | -2.8387 | 2.2636 | -1.2807 | 2.2687 | 118.1757 | -157.4127 | -126.6687 | -61.8474 | 22.1301 | 53.1266 | 0 | 0.95569 | 1.0997 | 0.34013 | 0.97583 | 0.92455 | 0 | -122.9167 | 121.6431 | -34.1952 | -110.0954 | 115.6073
Line_1 | 0.00087429 | 0.00087429 | 0.00087429 | 0 | 0 | 0 | 0.010095 | 0.010095 | 0.010095 | 0 | 0 | 0 | 0.0031189 | 0.0061763 | -0.0092912 | 6.0734e-10 | 3.373e-11 | 2.4502e-10 | 0.0014362 | -0.0076749 | 0.0008901 | -7.0017e-10 | 6.145e-10 | -2.5942e-10 | -58.9204 | -58.9204 | -58.9204 | 0 | 0 | 0 | 0.34013 | 0.97583 | 0.92455 | 0.33986 | 0.97571 | 0.92481 | -34.1952 | -110.0954 | 115.6073 | -34.1847 | -110.1097 | 115.6123
Line_2 | 0.55465 | 0.13104 | 0.18148 | 0.55534 | 0.13098 | 0.18126 | 6.4046 | 1.5131 | 2.0955 | 6.4125 | 1.5125 | 2.093 | -2.0303 | 1.3896 | -1.2046 | 2.7814 | -1.3077 | 1.2713 | -0.78951 | 0.49919 | -1.5174 | 1.3625 | -0.62074 | 1.3516 | 124.5553 | -129.8559 | -115.9484 | -55.4307 | 49.8402 | 63.8424 | 0.34013 | 0.97583 | 0.92455 | 0.483 | 0.95708 | 0.88654 | -34.1952 | -110.0954 | 115.6073 | -29.332 | -104.7675 | 110.5957

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2407 | 0.15387 | 0.24057 | 1.2418 | 0.15349 | 0.23962 | 14.3259 | 1.7767 | 2.7779 | 14.3395 | 1.7723 | 2.7669 | 2.509e-11 | 1.3994 | -1.129 | 4.3202 | -1.1623 | 1.182 | 3.589e-11 | 0.96165 | -2.8387 | 2.2636 | -1.2807 | 2.2687 | 118.1757 | -157.4127 | -126.6687 | -61.8474 | 22.1301 | 53.1266 | 0 | 0.95569 | 1.0997 | 0.34013 | 0.97583 | 0.92455 | 0 | -122.9167 | 121.6431 | -34.1952 | -110.0954 | 115.6073
Line_1 | 0.00087429 | 0.00087429 | 0.00087429 | 0 | 0 | 0 | 0.010095 | 0.010095 | 0.010095 | 0 | 0 | 0 | 0.0031189 | 0.0061763 | -0.0092912 | 6.0734e-10 | 3.373e-11 | 2.4502e-10 | 0.0014362 | -0.0076749 | 0.0008901 | -7.0017e-10 | 6.145e-10 | -2.5942e-10 | -58.9204 | -58.9204 | -58.9204 | 0 | 0 | 0 | 0.34013 | 0.97583 | 0.92455 | 0.33986 | 0.97571 | 0.92481 | -34.1952 | -110.0954 | 115.6073 | -34.1847 | -110.1097 | 115.6123
Line_2 | 0.55465 | 0.13104 | 0.18148 | 0.55534 | 0.13098 | 0.18126 | 6.4046 | 1.5131 | 2.0955 | 6.4125 | 1.5125 | 2.093 | -2.0303 | 1.3896 | -1.2046 | 2.7814 | -1.3077 | 1.2713 | -0.78951 | 0.49919 | -1.5174 | 1.3625 | -0.62074 | 1.3516 | 124.5553 | -129.8559 | -115.9484 | -55.4307 | 49.8402 | 63.8424 | 0.34013 | 0.97583 | 0.92455 | 0.483 | 0.95708 | 0.88654 | -34.1952 | -110.0954 | 115.6073 | -29.332 | -104.7675 | 110.5957

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40889 | 0.050711 | 0.079287 | 0.40928 | 0.050586 | 0.078972 | 4.7214 | 0.58556 | 0.91552 | 4.7259 | 0.58411 | 0.91189 | -2.8685 | 0.56203 | -0.64937 | 3.3398 | -0.53491 | 0.65171 | -1.6793 | 0.14707 | -0.67978 | 1.9279 | -0.18489 | 0.61826 | 139.7444 | -135.844 | -105.1 | -40.2788 | 43.6988 | 74.6953 | 0.70401 | 0.99214 | 1.0268 | 0.816 | 0.96893 | 0.98512 | -9.9097 | -121.1795 | 121.2106 | -10.2827 | -117.2341 | 118.1866
Line_1 | 0.00028814 | 0.00028814 | 0.00028814 | 0 | 0 | 0 | 0.0033272 | 0.0033272 | 0.0033272 | 0 | 0 | 0 | 0.0024176 | 0.00056632 | -0.0029835 | 5.0271e-10 | 1.0626e-10 | 5.1701e-11 | 0.0012355 | -0.0031737 | 0.0013572 | -5.3394e-10 | 1.7111e-10 | -1.1411e-10 | -37.3517 | -37.3517 | -37.3517 | 0 | 0 | 0 | 0.816 | 0.96893 | 0.98512 | 0.81591 | 0.96893 | 0.98519 | -10.2827 | -117.2341 | 118.1866 | -10.2811 | -117.2395 | 118.1897
Line_2 | 0.1828 | 0.043186 | 0.05981 | 0.18302 | 0.043169 | 0.059738 | 2.1108 | 0.49867 | 0.69062 | 2.1134 | 0.49847 | 0.6898 | -1.5784 | 0.47729 | -0.57337 | 1.6618 | -0.46896 | 0.57935 | -0.68937 | -0.075142 | -0.36621 | 0.75202 | 0.060158 | 0.34958 | 146.1239 | -108.2872 | -94.3797 | -33.862 | 71.4088 | 85.411 | 0.816 | 0.96893 | 0.98512 | 0.8631 | 0.9485 | 0.98094 | -10.2827 | -117.2341 | 118.1866 | -9.5139 | -115.9011 | 116.5173

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40889 | 0.050711 | 0.079287 | 0.40928 | 0.050586 | 0.078972 | 4.7214 | 0.58556 | 0.91552 | 4.7259 | 0.58411 | 0.91189 | -2.8685 | 0.56203 | -0.64937 | 3.3398 | -0.53491 | 0.65171 | -1.6793 | 0.14707 | -0.67978 | 1.9279 | -0.18489 | 0.61826 | 139.7444 | -135.844 | -105.1 | -40.2788 | 43.6988 | 74.6953 | 0.70401 | 0.99214 | 1.0268 | 0.816 | 0.96893 | 0.98512 | -9.9097 | -121.1795 | 121.2106 | -10.2827 | -117.2341 | 118.1866
Line_1 | 0.00028814 | 0.00028814 | 0.00028814 | 0 | 0 | 0 | 0.0033272 | 0.0033272 | 0.0033272 | 0 | 0 | 0 | 0.0024176 | 0.00056632 | -0.0029835 | 5.0271e-10 | 1.0626e-10 | 5.1701e-11 | 0.0012355 | -0.0031737 | 0.0013572 | -5.3394e-10 | 1.7111e-10 | -1.1411e-10 | -37.3517 | -37.3517 | -37.3517 | 0 | 0 | 0 | 0.816 | 0.96893 | 0.98512 | 0.81591 | 0.96893 | 0.98519 | -10.2827 | -117.2341 | 118.1866 | -10.2811 | -117.2395 | 118.1897
Line_2 | 0.1828 | 0.043186 | 0.05981 | 0.18302 | 0.043169 | 0.059738 | 2.1108 | 0.49867 | 0.69062 | 2.1134 | 0.49847 | 0.6898 | -1.5784 | 0.47729 | -0.57337 | 1.6618 | -0.46896 | 0.57935 | -0.68937 | -0.075142 | -0.36621 | 0.75202 | 0.060158 | 0.34958 | 146.1239 | -108.2872 | -94.3797 | -33.862 | 71.4088 | 85.411 | 0.816 | 0.96893 | 0.98512 | 0.8631 | 0.9485 | 0.98094 | -10.2827 | -117.2341 | 118.1866 | -9.5139 | -115.9011 | 116.5173

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23352 | 2.014 | 1.5167 | 0.23197 | 2.0146 | 1.5177 | 2.6965 | 23.2557 | 17.5128 | 2.6786 | 23.2631 | 17.5248 | -0.11679 | -3.9112e-11 | -2.7705e-11 | -0.15725 | 5.6276 | 1.2739 | -3.2034 | 3.4455e-11 | 2.8458e-11 | 2.8781 | 0.70595 | 4.2971 | 91.7952 | -14.1687 | -128.4187 | -88.259 | 165.7905 | 51.6254 | 1.1888 | 0 | 0 | 1.0761 | 0.24381 | 0.25575 | -0.29285 | 0 | 0 | 4.8684 | 172.9407 | 125.1132
Line_1 | 0.0012523 | 0.0012523 | 0.0012523 | 0 | 0 | 0 | 0.014461 | 0.014461 | 0.014461 | 0 | 0 | 0 | -0.0055577 | 0.0019126 | 0.0036494 | 7.8199e-11 | 1.6583e-10 | 7.8715e-10 | -0.014534 | 0.0029617 | 0.00059885 | 3.6774e-10 | -9.0472e-10 | 9.1667e-11 | 115.7943 | 115.7943 | 115.7943 | 0 | 0 | 0 | 1.0761 | 0.24381 | 0.25575 | 1.0762 | 0.24363 | 0.25554 | 4.8684 | 172.9407 | 125.1132 | 4.86 | 172.9701 | 125.1029
Line_2 | 0.16212 | 0.99844 | 0.68927 | 0.1613 | 0.99923 | 0.68959 | 1.872 | 11.529 | 7.959 | 1.8626 | 11.5381 | 7.9627 | 0.45135 | -2.8055 | -0.5618 | -0.49465 | 4.1617 | 0.70876 | -1.9632 | -0.17258 | -1.9564 | 1.8336 | 0.48754 | 2.835 | 81.9207 | -10.5794 | -128.8649 | -98.3478 | 169.3756 | 51.2239 | 1.0761 | 0.24381 | 0.25575 | 1.0197 | 0.36316 | 0.367 | 4.8684 | 172.9407 | 125.1132 | 6.7491 | 176.0573 | 127.1876

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23352 | 2.014 | 1.5167 | 0.23197 | 2.0146 | 1.5177 | 2.6965 | 23.2557 | 17.5128 | 2.6786 | 23.2631 | 17.5248 | -0.11679 | -3.9112e-11 | -2.7705e-11 | -0.15725 | 5.6276 | 1.2739 | -3.2034 | 3.4455e-11 | 2.8458e-11 | 2.8781 | 0.70595 | 4.2971 | 91.7952 | -14.1687 | -128.4187 | -88.259 | 165.7905 | 51.6254 | 1.1888 | 0 | 0 | 1.0761 | 0.24381 | 0.25575 | -0.29285 | 0 | 0 | 4.8684 | 172.9407 | 125.1132
Line_1 | 0.0012523 | 0.0012523 | 0.0012523 | 0 | 0 | 0 | 0.014461 | 0.014461 | 0.014461 | 0 | 0 | 0 | -0.0055577 | 0.0019126 | 0.0036494 | 7.8199e-11 | 1.6583e-10 | 7.8715e-10 | -0.014534 | 0.0029617 | 0.00059885 | 3.6774e-10 | -9.0472e-10 | 9.1667e-11 | 115.7943 | 115.7943 | 115.7943 | 0 | 0 | 0 | 1.0761 | 0.24381 | 0.25575 | 1.0762 | 0.24363 | 0.25554 | 4.8684 | 172.9407 | 125.1132 | 4.86 | 172.9701 | 125.1029
Line_2 | 0.16212 | 0.99844 | 0.68927 | 0.1613 | 0.99923 | 0.68959 | 1.872 | 11.529 | 7.959 | 1.8626 | 11.5381 | 7.9627 | 0.45135 | -2.8055 | -0.5618 | -0.49465 | 4.1617 | 0.70876 | -1.9632 | -0.17258 | -1.9564 | 1.8336 | 0.48754 | 2.835 | 81.9207 | -10.5794 | -128.8649 | -98.3478 | 169.3756 | 51.2239 | 1.0761 | 0.24381 | 0.25575 | 1.0197 | 0.36316 | 0.367 | 4.8684 | 172.9407 | 125.1132 | 6.7491 | 176.0573 | 127.1876

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21157 | 0.71308 | 0.5935 | 0.21115 | 0.7133 | 0.59376 | 2.443 | 8.2339 | 6.8532 | 2.4382 | 8.2365 | 6.8561 | -0.28132 | -4.837 | -4.0526 | 0.25086 | 5.4819 | 4.1984 | -2.8706 | -5.3922 | -4.1885 | 2.7812 | 5.5491 | 4.7339 | 95.5888 | 2.1458 | -116.1451 | -84.4646 | -177.887 | 63.8924 | 1.1806 | 0.87975 | 0.85042 | 1.1453 | 0.94703 | 0.92289 | -0.0083155 | -129.7476 | 109.8 | 0.38134 | -132.5381 | 112.3232
Line_1 | 0.00037124 | 0.00037124 | 0.00037124 | 0 | 0 | 0 | 0.0042867 | 0.0042867 | 0.0042867 | 0 | 0 | 0 | -0.0035454 | -6.0137e-05 | 0.0036059 | -1.9062e-10 | 4.4019e-10 | 5.6606e-10 | -0.0033962 | 0.0040592 | -0.0016274 | 3.0646e-11 | -8.2895e-10 | -4.9741e-10 | 136.6132 | 136.6131 | 136.6132 | 0 | 0 | 0 | 1.1453 | 0.94703 | 0.92289 | 1.1454 | 0.94701 | 0.92285 | 0.38134 | -132.5381 | 112.3232 | 0.38014 | -132.5345 | 112.3203
Line_2 | 0.11883 | 0.35061 | 0.27477 | 0.11863 | 0.35087 | 0.27482 | 1.3722 | 4.0485 | 3.1728 | 1.3698 | 4.0514 | 3.1733 | -0.083315 | -2.8349 | -1.9086 | 0.080921 | 2.9885 | 1.9277 | -1.5693 | -2.5814 | -2.2207 | 1.5448 | 2.6366 | 2.3312 | 93.4203 | 5.1415 | -116.9994 | -86.7055 | -174.893 | 63.0689 | 1.1453 | 0.94703 | 0.92289 | 1.1293 | 0.98369 | 0.95326 | 0.38134 | -132.5381 | 112.3232 | 0.29591 | -133.4723 | 113.4813

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21157 | 0.71308 | 0.5935 | 0.21115 | 0.7133 | 0.59376 | 2.443 | 8.2339 | 6.8532 | 2.4382 | 8.2365 | 6.8561 | -0.28132 | -4.837 | -4.0526 | 0.25086 | 5.4819 | 4.1984 | -2.8706 | -5.3922 | -4.1885 | 2.7812 | 5.5491 | 4.7339 | 95.5888 | 2.1458 | -116.1451 | -84.4646 | -177.887 | 63.8924 | 1.1806 | 0.87975 | 0.85042 | 1.1453 | 0.94703 | 0.92289 | -0.0083155 | -129.7476 | 109.8 | 0.38134 | -132.5381 | 112.3232
Line_1 | 0.00037124 | 0.00037124 | 0.00037124 | 0 | 0 | 0 | 0.0042867 | 0.0042867 | 0.0042867 | 0 | 0 | 0 | -0.0035454 | -6.0137e-05 | 0.0036059 | -1.9062e-10 | 4.4019e-10 | 5.6606e-10 | -0.0033962 | 0.0040592 | -0.0016274 | 3.0646e-11 | -8.2895e-10 | -4.9741e-10 | 136.6132 | 136.6131 | 136.6132 | 0 | 0 | 0 | 1.1453 | 0.94703 | 0.92289 | 1.1454 | 0.94701 | 0.92285 | 0.38134 | -132.5381 | 112.3232 | 0.38014 | -132.5345 | 112.3203
Line_2 | 0.11883 | 0.35061 | 0.27477 | 0.11863 | 0.35087 | 0.27482 | 1.3722 | 4.0485 | 3.1728 | 1.3698 | 4.0514 | 3.1733 | -0.083315 | -2.8349 | -1.9086 | 0.080921 | 2.9885 | 1.9277 | -1.5693 | -2.5814 | -2.2207 | 1.5448 | 2.6366 | 2.3312 | 93.4203 | 5.1415 | -116.9994 | -86.7055 | -174.893 | 63.0689 | 1.1453 | 0.94703 | 0.92289 | 1.1293 | 0.98369 | 0.95326 | 0.38134 | -132.5381 | 112.3232 | 0.29591 | -133.4723 | 113.4813

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14423 | 1.5869 | 1.0378 | 0.14302 | 1.5872 | 1.0385 | 1.6654 | 18.3238 | 11.983 | 1.6515 | 18.3272 | 11.9919 | 0.0046322 | -7.0515e-12 | -2.736e-12 | -0.15169 | 5.8912 | 0.63317 | -1.7688 | -2.784e-11 | -1.8821e-11 | 1.4656 | -0.26006 | 3.0835 | 89.4846 | -1.8914 | -129.6152 | -90.6206 | 178.0652 | 50.438 | 1.0621 | 0 | 0 | 0.89217 | 0.32176 | 0.2625 | -0.36538 | 0 | 0 | 5.2887 | 175.5376 | 128.8341
Line_1 | 0.00084077 | 0.00084077 | 0.00084077 | 0 | 0 | 0 | 0.0097084 | 0.0097084 | 0.0097084 | 0 | 0 | 0 | -0.0046402 | 0.002096 | 0.0025479 | 3.3834e-10 | 1.2969e-10 | 6.9801e-10 | -0.0073137 | 0.0023161 | 5.1264e-05 | 3.0089e-10 | -1.0636e-09 | 1.4749e-10 | 127.6815 | 127.6815 | 127.6815 | 0 | 0 | 0 | 0.89217 | 0.32176 | 0.2625 | 0.89235 | 0.32154 | 0.26224 | 5.2887 | 175.5376 | 128.8341 | 5.2765 | 175.5654 | 128.8236
Line_2 | 0.13411 | 0.78053 | 0.45015 | 0.13373 | 0.78103 | 0.45008 | 1.5486 | 9.0128 | 5.1978 | 1.5442 | 9.0185 | 5.1971 | 0.19392 | -2.8628 | -0.19609 | -0.19124 | 4.2529 | 0.13353 | -1.368 | 0.46277 | -1.3503 | 1.2378 | -0.26647 | 1.8426 | 87.2201 | 4.7202 | -132.9028 | -93.0157 | -175.3129 | 47.1821 | 0.89217 | 0.32176 | 0.2625 | 0.81111 | 0.4725 | 0.35548 | 5.2887 | 175.5376 | 128.8341 | 5.7668 | -178.8981 | 133.0373

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14423 | 1.5869 | 1.0378 | 0.14302 | 1.5872 | 1.0385 | 1.6654 | 18.3238 | 11.983 | 1.6515 | 18.3272 | 11.9919 | 0.0046322 | -7.0515e-12 | -2.736e-12 | -0.15169 | 5.8912 | 0.63317 | -1.7688 | -2.784e-11 | -1.8821e-11 | 1.4656 | -0.26006 | 3.0835 | 89.4846 | -1.8914 | -129.6152 | -90.6206 | 178.0652 | 50.438 | 1.0621 | 0 | 0 | 0.89217 | 0.32176 | 0.2625 | -0.36538 | 0 | 0 | 5.2887 | 175.5376 | 128.8341
Line_1 | 0.00084077 | 0.00084077 | 0.00084077 | 0 | 0 | 0 | 0.0097084 | 0.0097084 | 0.0097084 | 0 | 0 | 0 | -0.0046402 | 0.002096 | 0.0025479 | 3.3834e-10 | 1.2969e-10 | 6.9801e-10 | -0.0073137 | 0.0023161 | 5.1264e-05 | 3.0089e-10 | -1.0636e-09 | 1.4749e-10 | 127.6815 | 127.6815 | 127.6815 | 0 | 0 | 0 | 0.89217 | 0.32176 | 0.2625 | 0.89235 | 0.32154 | 0.26224 | 5.2887 | 175.5376 | 128.8341 | 5.2765 | 175.5654 | 128.8236
Line_2 | 0.13411 | 0.78053 | 0.45015 | 0.13373 | 0.78103 | 0.45008 | 1.5486 | 9.0128 | 5.1978 | 1.5442 | 9.0185 | 5.1971 | 0.19392 | -2.8628 | -0.19609 | -0.19124 | 4.2529 | 0.13353 | -1.368 | 0.46277 | -1.3503 | 1.2378 | -0.26647 | 1.8426 | 87.2201 | 4.7202 | -132.9028 | -93.0157 | -175.3129 | 47.1821 | 0.89217 | 0.32176 | 0.2625 | 0.81111 | 0.4725 | 0.35548 | 5.2887 | 175.5376 | 128.8341 | 5.7668 | -178.8981 | 133.0373

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.04304 | 0.49811 | 0.36005 | 0.042641 | 0.49817 | 0.36034 | 0.49698 | 5.7517 | 4.1574 | 0.49237 | 5.7524 | 4.1609 | -0.12261 | -3.5466 | -2.4055 | 0.10687 | 4.1295 | 2.5253 | -0.49107 | -2.1721 | -1.6278 | 0.45741 | 2.1091 | 1.9915 | 104.173 | 19.774 | -105.2161 | -75.9638 | -160.2728 | 74.8291 | 1.0184 | 0.72307 | 0.69864 | 0.95402 | 0.80609 | 0.77293 | 0.1543 | -128.7402 | 108.8697 | 0.88501 | -133.2173 | 113.0884
Line_1 | 0.00028051 | 0.00028051 | 0.00028051 | 0 | 0 | 0 | 0.003239 | 0.003239 | 0.003239 | 0 | 0 | 0 | -0.0024849 | 0.00034667 | 0.0021386 | 1.6017e-10 | 4.9498e-10 | 6.2304e-10 | -0.0018368 | 0.0025878 | -0.0013015 | 5.3899e-11 | -6.7547e-10 | -3.4124e-10 | 144.4127 | 144.4127 | 144.4127 | 0 | 0 | 0 | 0.95402 | 0.80609 | 0.77293 | 0.9541 | 0.80606 | 0.77287 | 0.88501 | -133.2173 | 113.0884 | 0.88279 | -133.2114 | 113.084
Line_2 | 0.042471 | 0.24704 | 0.15525 | 0.042348 | 0.24719 | 0.15526 | 0.49041 | 2.8526 | 1.7927 | 0.48899 | 2.8544 | 1.7928 | -0.094899 | -2.1582 | -1.0546 | 0.093679 | 2.3004 | 1.0563 | -0.45813 | -0.7934 | -0.89876 | 0.44389 | 0.80666 | 0.95871 | 102.5879 | 26.5984 | -107.3508 | -77.6646 | -153.4398 | 72.7316 | 0.95402 | 0.80609 | 0.77293 | 0.92777 | 0.85404 | 0.79566 | 0.88501 | -133.2173 | 113.0884 | 0.41859 | -134.116 | 114.9596

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.04304 | 0.49811 | 0.36005 | 0.042641 | 0.49817 | 0.36034 | 0.49698 | 5.7517 | 4.1574 | 0.49237 | 5.7524 | 4.1609 | -0.12261 | -3.5466 | -2.4055 | 0.10687 | 4.1295 | 2.5253 | -0.49107 | -2.1721 | -1.6278 | 0.45741 | 2.1091 | 1.9915 | 104.173 | 19.774 | -105.2161 | -75.9638 | -160.2728 | 74.8291 | 1.0184 | 0.72307 | 0.69864 | 0.95402 | 0.80609 | 0.77293 | 0.1543 | -128.7402 | 108.8697 | 0.88501 | -133.2173 | 113.0884
Line_1 | 0.00028051 | 0.00028051 | 0.00028051 | 0 | 0 | 0 | 0.003239 | 0.003239 | 0.003239 | 0 | 0 | 0 | -0.0024849 | 0.00034667 | 0.0021386 | 1.6017e-10 | 4.9498e-10 | 6.2304e-10 | -0.0018368 | 0.0025878 | -0.0013015 | 5.3899e-11 | -6.7547e-10 | -3.4124e-10 | 144.4127 | 144.4127 | 144.4127 | 0 | 0 | 0 | 0.95402 | 0.80609 | 0.77293 | 0.9541 | 0.80606 | 0.77287 | 0.88501 | -133.2173 | 113.0884 | 0.88279 | -133.2114 | 113.084
Line_2 | 0.042471 | 0.24704 | 0.15525 | 0.042348 | 0.24719 | 0.15526 | 0.49041 | 2.8526 | 1.7927 | 0.48899 | 2.8544 | 1.7928 | -0.094899 | -2.1582 | -1.0546 | 0.093679 | 2.3004 | 1.0563 | -0.45813 | -0.7934 | -0.89876 | 0.44389 | 0.80666 | 0.95871 | 102.5879 | 26.5984 | -107.3508 | -77.6646 | -153.4398 | 72.7316 | 0.95402 | 0.80609 | 0.77293 | 0.92777 | 0.85404 | 0.79566 | 0.88501 | -133.2173 | 113.0884 | 0.41859 | -134.116 | 114.9596