## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -1e-07 | 0.1872 | -1e-07 | 0.2124 | 92.672 | -87.328 | 0 | 0.023593 | 0 | -38.7195
Line_1 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.1404 | -0.0936 | 0.1593 | -0.1062 | -87.328 | 92.672 | 0.03539 | 0.023593 | -38.7195 | -38.7195
Line_2 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.1404 | -0.0936 | 0.1593 | -0.1062 | -87.328 | 92.672 | 0.03539 | 0.023593 | -38.7195 | -38.7195
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03539 | 0.03539 | -38.7195 | -38.7195

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -1e-07 | 0.1872 | -1e-07 | 0.2124 | 92.672 | -87.328 | 0 | 0.023593 | 0 | -38.7195
Line_1 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.1404 | -0.0936 | 0.1593 | -0.1062 | -87.328 | 92.672 | 0.03539 | 0.023593 | -38.7195 | -38.7195
Line_2 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.1404 | -0.0936 | 0.1593 | -0.1062 | -87.328 | 92.672 | 0.03539 | 0.023593 | -38.7195 | -38.7195
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03539 | 0.03539 | -38.7195 | -38.7195

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -2.4508 | 2.638 | -10.8547 | 11.0671 | 92.672 | -87.328 | 0.92733 | 0.94809 | -10.051 | -10.7351
Line_1 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3658 | -1.319 | 5.5866 | -5.5335 | -87.328 | 92.672 | 0.95853 | 0.94809 | -11.0659 | -10.7351
Line_2 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3658 | -1.319 | 5.5866 | -5.5335 | -87.328 | 92.672 | 0.95853 | 0.94809 | -11.0659 | -10.7351
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95853 | 0.95853 | -11.0659 | -11.0659

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -2.4508 | 2.638 | -10.8547 | 11.0671 | 92.672 | -87.328 | 0.92733 | 0.94809 | -10.051 | -10.7351
Line_1 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3658 | -1.319 | 5.5866 | -5.5335 | -87.328 | 92.672 | 0.95853 | 0.94809 | -11.0659 | -10.7351
Line_2 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3658 | -1.319 | 5.5866 | -5.5335 | -87.328 | 92.672 | 0.95853 | 0.94809 | -11.0659 | -10.7351
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95853 | 0.95853 | -11.0659 | -11.0659

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2813e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2813e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.21804 | -2.0776 | 1.9686 | 0.28044 | 2.14 | -1.9062 | -4.6722 | -1.0736 | -1.2625 | 4.743 | 1.1444 | 1.3333 | 92.6718 | -27.3278 | -147.3281 | -87.3282 | 152.6722 | 32.6719 | 1.1693 | 0.58466 | 0.58466 | 1.1878 | 0.60671 | 0.58156 | -7.8808e-06 | 180 | 180 | -0.71188 | -179.1913 | 177.7018
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 1.0856 | -0.93751 | -0.14022 | -1.07 | 0.95311 | 2.3892 | 0.58992 | 0.68434 | -2.3715 | -0.57222 | -0.66664 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1971 | 0.61777 | 0.58035 | 1.1878 | 0.60671 | 0.58156 | -1.0595 | -178.8087 | 176.5444 | -0.71188 | -179.1913 | 177.7018
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 1.0856 | -0.93751 | -0.14022 | -1.07 | 0.95311 | 2.3892 | 0.58992 | 0.68434 | -2.3715 | -0.57222 | -0.66664 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1971 | 0.61777 | 0.58035 | 1.1878 | 0.60671 | 0.58156 | -1.0595 | -178.8087 | 176.5444 | -0.71188 | -179.1913 | 177.7018
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.701e-14 | 1.1825e-14 | -9.9822e-15 | -2.0972e-16 | -4.8674e-16 | 4.8254e-15 | 3.1459e-16 | -5.6081e-15 | 1.7127e-14 | -1.134e-14 | 2.3406e-14 | -1.1308e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1971 | 0.61777 | 0.58035 | 1.1971 | 0.61777 | 0.58035 | -1.0595 | -178.8087 | 176.5444 | -1.0595 | -178.8087 | 176.5444

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.21804 | -2.0776 | 1.9686 | 0.28044 | 2.14 | -1.9062 | -4.6722 | -1.0736 | -1.2625 | 4.743 | 1.1444 | 1.3333 | 92.6718 | -27.3278 | -147.3281 | -87.3282 | 152.6722 | 32.6719 | 1.1693 | 0.58466 | 0.58466 | 1.1878 | 0.60671 | 0.58156 | -7.8808e-06 | 180 | 180 | -0.71188 | -179.1913 | 177.7018
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 1.0856 | -0.93751 | -0.14022 | -1.07 | 0.95311 | 2.3892 | 0.58992 | 0.68434 | -2.3715 | -0.57222 | -0.66664 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1971 | 0.61777 | 0.58035 | 1.1878 | 0.60671 | 0.58156 | -1.0595 | -178.8087 | 176.5444 | -0.71188 | -179.1913 | 177.7018
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 1.0856 | -0.93751 | -0.14022 | -1.07 | 0.95311 | 2.3892 | 0.58992 | 0.68434 | -2.3715 | -0.57222 | -0.66664 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1971 | 0.61777 | 0.58035 | 1.1878 | 0.60671 | 0.58156 | -1.0595 | -178.8087 | 176.5444 | -0.71188 | -179.1913 | 177.7018
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.701e-14 | 1.1825e-14 | -9.9822e-15 | -2.0972e-16 | -4.8674e-16 | 4.8254e-15 | 3.1459e-16 | -5.6081e-15 | 1.7127e-14 | -1.134e-14 | 2.3406e-14 | -1.1308e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1971 | 0.61777 | 0.58035 | 1.1971 | 0.61777 | 0.58035 | -1.0595 | -178.8087 | 176.5444 | -1.0595 | -178.8087 | 176.5444

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.21804 | -1.5871 | -0.013289 | 0.28044 | 1.6495 | 0.07569 | -4.6722 | -3.6454 | -2.9732 | 4.743 | 3.7162 | 3.044 | 92.6719 | -27.328 | -147.328 | -87.3281 | 152.672 | 32.672 | 1.1693 | 0.99397 | 0.74331 | 1.1878 | 1.0165 | 0.76124 | -4.5886e-06 | -140.8543 | 122.4159 | -0.71188 | -141.2623 | 121.2476
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 0.84033 | 0.053445 | -0.14022 | -0.82473 | -0.037845 | 2.3892 | 1.8758 | 1.5397 | -2.3715 | -1.8581 | -1.522 | -87.3281 | 152.672 | 32.672 | 92.6719 | -27.328 | -147.328 | 1.1971 | 1.0277 | 0.77032 | 1.1878 | 1.0165 | 0.76124 | -1.0595 | -141.4596 | 120.684 | -0.71188 | -141.2623 | 121.2476
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 0.84033 | 0.053445 | -0.14022 | -0.82473 | -0.037845 | 2.3892 | 1.8758 | 1.5397 | -2.3715 | -1.8581 | -1.522 | -87.3281 | 152.672 | 32.672 | 92.6719 | -27.328 | -147.328 | 1.1971 | 1.0277 | 0.77032 | 1.1878 | 1.0165 | 0.76124 | -1.0595 | -141.4596 | 120.684 | -0.71188 | -141.2623 | 121.2476
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.5126e-15 | -7.7455e-16 | 1.8621e-15 | -4.4097e-15 | 1.1036e-14 | 3.4497e-16 | 8.6096e-15 | -6.841e-15 | -3.1381e-15 | -8.4261e-15 | 5.6792e-15 | 6.5692e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1971 | 1.0277 | 0.77032 | 1.1971 | 1.0277 | 0.77032 | -1.0595 | -141.4596 | 120.684 | -1.0595 | -141.4596 | 120.684

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.21804 | -1.5871 | -0.013289 | 0.28044 | 1.6495 | 0.07569 | -4.6722 | -3.6454 | -2.9732 | 4.743 | 3.7162 | 3.044 | 92.6719 | -27.328 | -147.328 | -87.3281 | 152.672 | 32.672 | 1.1693 | 0.99397 | 0.74331 | 1.1878 | 1.0165 | 0.76124 | -4.5886e-06 | -140.8543 | 122.4159 | -0.71188 | -141.2623 | 121.2476
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 0.84033 | 0.053445 | -0.14022 | -0.82473 | -0.037845 | 2.3892 | 1.8758 | 1.5397 | -2.3715 | -1.8581 | -1.522 | -87.3281 | 152.672 | 32.672 | 92.6719 | -27.328 | -147.328 | 1.1971 | 1.0277 | 0.77032 | 1.1878 | 1.0165 | 0.76124 | -1.0595 | -141.4596 | 120.684 | -0.71188 | -141.2623 | 121.2476
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 0.84033 | 0.053445 | -0.14022 | -0.82473 | -0.037845 | 2.3892 | 1.8758 | 1.5397 | -2.3715 | -1.8581 | -1.522 | -87.3281 | 152.672 | 32.672 | 92.6719 | -27.328 | -147.328 | 1.1971 | 1.0277 | 0.77032 | 1.1878 | 1.0165 | 0.76124 | -1.0595 | -141.4596 | 120.684 | -0.71188 | -141.2623 | 121.2476
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.5126e-15 | -7.7455e-16 | 1.8621e-15 | -4.4097e-15 | 1.1036e-14 | 3.4497e-16 | 8.6096e-15 | -6.841e-15 | -3.1381e-15 | -8.4261e-15 | 5.6792e-15 | 6.5692e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1971 | 1.0277 | 0.77032 | 1.1971 | 1.0277 | 0.77032 | -1.0595 | -141.4596 | 120.684 | -1.0595 | -141.4596 | 120.684

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-14 | 3.908e-14 | 7.1054e-15 | 3.3159e-14 | -3.9079e-14 | -4.7363e-15 | -9.4739e-15 | 4.7631e-09 | -4.7631e-09 | 1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.6266e-12 | -180 | 180 | 1.6234e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | -1.3026e-14 | -2.3682e-15 | 7.1054e-15 | 1.3026e-14 | 4.7367e-15 | 2.3685e-14 | -1.5877e-09 | 1.5877e-09 | -2.3685e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.5893e-12 | -180 | 180 | 1.6234e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -1.3026e-14 | -2.3682e-15 | 2.3685e-15 | 1.3026e-14 | 9.4737e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.598e-12 | -180 | 180 | 1.6234e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 9.0842e-25 | -4.737e-15 | 2.3685e-15 | 2.3685e-15 | 4.737e-15 | 4.737e-15 | -4.737e-15 | 1.8948e-14 | -4.737e-15 | 7.1054e-15 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.5893e-12 | -180 | 180 | 1.598e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-14 | 3.908e-14 | 7.1054e-15 | 3.3159e-14 | -3.9079e-14 | -4.7363e-15 | -9.4739e-15 | 4.7631e-09 | -4.7631e-09 | 1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.6266e-12 | -180 | 180 | 1.6234e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | -1.3026e-14 | -2.3682e-15 | 7.1054e-15 | 1.3026e-14 | 4.7367e-15 | 2.3685e-14 | -1.5877e-09 | 1.5877e-09 | -2.3685e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.5893e-12 | -180 | 180 | 1.6234e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -1.3026e-14 | -2.3682e-15 | 2.3685e-15 | 1.3026e-14 | 9.4737e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.598e-12 | -180 | 180 | 1.6234e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 9.0842e-25 | -4.737e-15 | 2.3685e-15 | 2.3685e-15 | 4.737e-15 | 4.737e-15 | -4.737e-15 | 1.8948e-14 | -4.737e-15 | 7.1054e-15 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.5893e-12 | -180 | 180 | 1.598e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7171e-14 | -8.0024e-10 | -2.5674e-09 | 1.4211e-14 | 8.0024e-10 | 2.5674e-09 | -2.1663e-28 | 3.4015e-09 | -3.4065e-10 | 7.1054e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 7.2283e-13 | -141.4824 | 122.8363 | 7.2152e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6645e-15 | 2.6675e-10 | 8.558e-10 | 1.1842e-15 | -2.6675e-10 | -8.558e-10 | 1.1842e-14 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 7.0337e-13 | -141.4824 | 122.8363 | 7.2152e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8488e-15 | 2.6675e-10 | 8.5579e-10 | 2.3685e-15 | -2.6675e-10 | -8.558e-10 | 9.4739e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 7.0772e-13 | -141.4824 | 122.8363 | 7.2152e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 1.5647e-15 | 6.0281e-16 | -5.9212e-16 | -1.5647e-15 | -2.2899e-15 | 2.3685e-15 | 1.2454e-15 | -9.3407e-16 | 2.3685e-15 | -1.2454e-15 | -1.9188e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 7.0337e-13 | -141.4824 | 122.8363 | 7.0772e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7171e-14 | -8.0024e-10 | -2.5674e-09 | 1.4211e-14 | 8.0024e-10 | 2.5674e-09 | -2.1663e-28 | 3.4015e-09 | -3.4065e-10 | 7.1054e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 7.2283e-13 | -141.4824 | 122.8363 | 7.2152e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6645e-15 | 2.6675e-10 | 8.558e-10 | 1.1842e-15 | -2.6675e-10 | -8.558e-10 | 1.1842e-14 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 7.0337e-13 | -141.4824 | 122.8363 | 7.2152e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8488e-15 | 2.6675e-10 | 8.5579e-10 | 2.3685e-15 | -2.6675e-10 | -8.558e-10 | 9.4739e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 7.0772e-13 | -141.4824 | 122.8363 | 7.2152e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 1.5647e-15 | 6.0281e-16 | -5.9212e-16 | -1.5647e-15 | -2.2899e-15 | 2.3685e-15 | 1.2454e-15 | -9.3407e-16 | 2.3685e-15 | -1.2454e-15 | -1.9188e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 7.0337e-13 | -141.4824 | 122.8363 | 7.0772e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3251 | 0.35668 | 0.35841 | 0.33042 | 0.35401 | 0.35535 | 3.7539 | 4.1185 | 4.1386 | 3.8154 | 4.0877 | 4.1032 | 1.4133e-12 | -3.6099 | 3.0104 | 0.036438 | 3.7538 | -2.9997 | -5.9708e-13 | -6.979 | -7.2708 | 0.059509 | 6.9381 | 7.2674 | 92.8547 | -30.378 | -144.4588 | -87.1905 | 150.3657 | 34.8416 | 0 | 1.9078 | 1.9015 | 0.018289 | 1.9298 | 1.9161 | 0 | -147.7283 | 148.033 | -28.6699 | -148.0495 | 147.2703
Line_1 | 0.17054 | 0.17444 | 0.17467 | 0.16521 | 0.177 | 0.17767 | 1.9692 | 2.0142 | 2.0169 | 1.9077 | 2.0439 | 2.0516 | 0.030703 | 1.9584 | -1.5467 | -0.018219 | -1.8769 | 1.4998 | 0.046995 | 3.384 | 3.5555 | -0.029755 | -3.469 | -3.6337 | -87.2831 | 151.8917 | 33.4074 | 92.8095 | -29.6343 | -145.1584 | 0.028506 | 1.9411 | 1.9224 | 0.018289 | 1.9298 | 1.9161 | -30.4408 | -148.1673 | 146.9172 | -28.6699 | -148.0495 | 147.2703
Line_2 | 0.17054 | 0.17444 | 0.17467 | 0.16521 | 0.177 | 0.17767 | 1.9692 | 2.0142 | 2.0169 | 1.9077 | 2.0439 | 2.0516 | 0.030703 | 1.9584 | -1.5467 | -0.018219 | -1.8769 | 1.4998 | 0.046995 | 3.384 | 3.5555 | -0.029755 | -3.469 | -3.6337 | -87.2831 | 151.8917 | 33.4074 | 92.8095 | -29.6343 | -145.1584 | 0.028506 | 1.9411 | 1.9224 | 0.018289 | 1.9298 | 1.9161 | -30.4408 | -148.1673 | 146.9172 | -28.6699 | -148.0495 | 147.2703
Line_3 | 0.0026691 | 0.0026691 | 0.0026691 | 0.0026691 | 0.0026691 | 0.0026691 | 0.03082 | 0.03082 | 0.03082 | 0.03082 | 0.03082 | 0.03082 | 0.00044252 | 0.031728 | -0.03217 | 0.00044252 | 0.031728 | -0.03217 | 0.00075898 | -0.050717 | -0.049755 | 0.00075898 | -0.050717 | -0.049755 | -90.197 | -90.197 | -90.197 | -90.197 | -90.197 | -90.197 | 0.028506 | 1.9411 | 1.9224 | 0.028506 | 1.9411 | 1.9224 | -30.4408 | -148.1673 | 146.9172 | -30.4408 | -148.1673 | 146.9172

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3251 | 0.35668 | 0.35841 | 0.33042 | 0.35401 | 0.35535 | 3.7539 | 4.1185 | 4.1386 | 3.8154 | 4.0877 | 4.1032 | 1.4133e-12 | -3.6099 | 3.0104 | 0.036438 | 3.7538 | -2.9997 | -5.9708e-13 | -6.979 | -7.2708 | 0.059509 | 6.9381 | 7.2674 | 92.8547 | -30.378 | -144.4588 | -87.1905 | 150.3657 | 34.8416 | 0 | 1.9078 | 1.9015 | 0.018289 | 1.9298 | 1.9161 | 0 | -147.7283 | 148.033 | -28.6699 | -148.0495 | 147.2703
Line_1 | 0.17054 | 0.17444 | 0.17467 | 0.16521 | 0.177 | 0.17767 | 1.9692 | 2.0142 | 2.0169 | 1.9077 | 2.0439 | 2.0516 | 0.030703 | 1.9584 | -1.5467 | -0.018219 | -1.8769 | 1.4998 | 0.046995 | 3.384 | 3.5555 | -0.029755 | -3.469 | -3.6337 | -87.2831 | 151.8917 | 33.4074 | 92.8095 | -29.6343 | -145.1584 | 0.028506 | 1.9411 | 1.9224 | 0.018289 | 1.9298 | 1.9161 | -30.4408 | -148.1673 | 146.9172 | -28.6699 | -148.0495 | 147.2703
Line_2 | 0.17054 | 0.17444 | 0.17467 | 0.16521 | 0.177 | 0.17767 | 1.9692 | 2.0142 | 2.0169 | 1.9077 | 2.0439 | 2.0516 | 0.030703 | 1.9584 | -1.5467 | -0.018219 | -1.8769 | 1.4998 | 0.046995 | 3.384 | 3.5555 | -0.029755 | -3.469 | -3.6337 | -87.2831 | 151.8917 | 33.4074 | 92.8095 | -29.6343 | -145.1584 | 0.028506 | 1.9411 | 1.9224 | 0.018289 | 1.9298 | 1.9161 | -30.4408 | -148.1673 | 146.9172 | -28.6699 | -148.0495 | 147.2703
Line_3 | 0.0026691 | 0.0026691 | 0.0026691 | 0.0026691 | 0.0026691 | 0.0026691 | 0.03082 | 0.03082 | 0.03082 | 0.03082 | 0.03082 | 0.03082 | 0.00044252 | 0.031728 | -0.03217 | 0.00044252 | 0.031728 | -0.03217 | 0.00075898 | -0.050717 | -0.049755 | 0.00075898 | -0.050717 | -0.049755 | -90.197 | -90.197 | -90.197 | -90.197 | -90.197 | -90.197 | 0.028506 | 1.9411 | 1.9224 | 0.028506 | 1.9411 | 1.9224 | -30.4408 | -148.1673 | 146.9172 | -30.4408 | -148.1673 | 146.9172

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33005 | 0.35703 | 0.35272 | 0.33414 | 0.35433 | 0.3511 | 3.8111 | 4.1227 | 4.0729 | 3.8583 | 4.0914 | 4.0541 | -0.73848 | -2.5203 | 2.5576 | 0.79301 | 2.6421 | -2.5443 | -1.0409 | -6.9951 | -6.0246 | 1.111 | 6.9844 | 6.0588 | 92.2297 | -29.3984 | -144.8181 | -87.6538 | 151.1057 | 34.5629 | 0.33487 | 1.8035 | 1.607 | 0.35378 | 1.8251 | 1.6209 | -33.125 | -139.2124 | 148.1842 | -33.1725 | -139.6151 | 147.3424
Line_1 | 0.17116 | 0.17451 | 0.17397 | 0.16707 | 0.17716 | 0.17555 | 1.9764 | 2.0151 | 2.0088 | 1.9291 | 2.0457 | 2.0271 | 0.42135 | 1.3813 | -1.3103 | -0.39651 | -1.321 | 1.2722 | 0.58362 | 3.4324 | 2.9942 | -0.5555 | -3.4922 | -3.0294 | -87.4337 | 152.1417 | 33.3079 | 92.3462 | -28.8943 | -145.4371 | 0.36422 | 1.8361 | 1.627 | 0.35378 | 1.8251 | 1.6209 | -33.2617 | -139.7797 | 146.9421 | -33.1725 | -139.6151 | 147.3424
Line_2 | 0.17116 | 0.17451 | 0.17397 | 0.16707 | 0.17716 | 0.17555 | 1.9764 | 2.0151 | 2.0088 | 1.9291 | 2.0457 | 2.0271 | 0.42135 | 1.3813 | -1.3103 | -0.39651 | -1.321 | 1.2722 | 0.58362 | 3.4324 | 2.9942 | -0.5555 | -3.4922 | -3.0294 | -87.4337 | 152.1417 | 33.3079 | 92.3462 | -28.8943 | -145.4371 | 0.36422 | 1.8361 | 1.627 | 0.35378 | 1.8251 | 1.6209 | -33.2617 | -139.7797 | 146.9421 | -33.1725 | -139.6151 | 147.3424
Line_3 | 0.0020715 | 0.0020715 | 0.0020715 | 0.0020715 | 0.0020715 | 0.0020715 | 0.023919 | 0.023919 | 0.023919 | 0.023919 | 0.023919 | 0.023919 | 0.0061276 | 0.021147 | -0.027275 | 0.0061276 | 0.021147 | -0.027275 | 0.0061926 | -0.038492 | -0.027761 | 0.0061926 | -0.038492 | -0.027761 | -78.5639 | -78.5639 | -78.5639 | -78.5639 | -78.5639 | -78.5639 | 0.36422 | 1.8361 | 1.627 | 0.36422 | 1.8361 | 1.627 | -33.2617 | -139.7797 | 146.9421 | -33.2617 | -139.7797 | 146.9421

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33005 | 0.35703 | 0.35272 | 0.33414 | 0.35433 | 0.3511 | 3.8111 | 4.1227 | 4.0729 | 3.8583 | 4.0914 | 4.0541 | -0.73848 | -2.5203 | 2.5576 | 0.79301 | 2.6421 | -2.5443 | -1.0409 | -6.9951 | -6.0246 | 1.111 | 6.9844 | 6.0588 | 92.2297 | -29.3984 | -144.8181 | -87.6538 | 151.1057 | 34.5629 | 0.33487 | 1.8035 | 1.607 | 0.35378 | 1.8251 | 1.6209 | -33.125 | -139.2124 | 148.1842 | -33.1725 | -139.6151 | 147.3424
Line_1 | 0.17116 | 0.17451 | 0.17397 | 0.16707 | 0.17716 | 0.17555 | 1.9764 | 2.0151 | 2.0088 | 1.9291 | 2.0457 | 2.0271 | 0.42135 | 1.3813 | -1.3103 | -0.39651 | -1.321 | 1.2722 | 0.58362 | 3.4324 | 2.9942 | -0.5555 | -3.4922 | -3.0294 | -87.4337 | 152.1417 | 33.3079 | 92.3462 | -28.8943 | -145.4371 | 0.36422 | 1.8361 | 1.627 | 0.35378 | 1.8251 | 1.6209 | -33.2617 | -139.7797 | 146.9421 | -33.1725 | -139.6151 | 147.3424
Line_2 | 0.17116 | 0.17451 | 0.17397 | 0.16707 | 0.17716 | 0.17555 | 1.9764 | 2.0151 | 2.0088 | 1.9291 | 2.0457 | 2.0271 | 0.42135 | 1.3813 | -1.3103 | -0.39651 | -1.321 | 1.2722 | 0.58362 | 3.4324 | 2.9942 | -0.5555 | -3.4922 | -3.0294 | -87.4337 | 152.1417 | 33.3079 | 92.3462 | -28.8943 | -145.4371 | 0.36422 | 1.8361 | 1.627 | 0.35378 | 1.8251 | 1.6209 | -33.2617 | -139.7797 | 146.9421 | -33.1725 | -139.6151 | 147.3424
Line_3 | 0.0020715 | 0.0020715 | 0.0020715 | 0.0020715 | 0.0020715 | 0.0020715 | 0.023919 | 0.023919 | 0.023919 | 0.023919 | 0.023919 | 0.023919 | 0.0061276 | 0.021147 | -0.027275 | 0.0061276 | 0.021147 | -0.027275 | 0.0061926 | -0.038492 | -0.027761 | 0.0061926 | -0.038492 | -0.027761 | -78.5639 | -78.5639 | -78.5639 | -78.5639 | -78.5639 | -78.5639 | 0.36422 | 1.8361 | 1.627 | 0.36422 | 1.8361 | 1.627 | -33.2617 | -139.7797 | 146.9421 | -33.2617 | -139.7797 | 146.9421

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.018181 | 0.018181 | 0.018181 | 0.013641 | 0.013641 | 0.013641 | 0.20993 | 0.20993 | 0.20993 | 0.15751 | 0.15751 | 0.15751 | 1.6255e-13 | 0.18494 | -0.17867 | 0.0015399 | -0.13761 | 0.13519 | 1.3266e-13 | -0.28725 | -0.28978 | 0.00031954 | 0.21558 | 0.21798 | -90.3983 | -90.3983 | -90.3983 | 89.4964 | 89.4964 | 89.4964 | 0 | 1.6273 | 1.6216 | 0.0099847 | 1.6238 | 1.6285 | 0 | -147.6238 | 147.9449 | 101.2194 | -147.9524 | 147.6891
Line_1 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0068204 | 0.0068204 | 0.0068204 | 0.026257 | 0.026257 | 0.026257 | 0.078755 | 0.078755 | 0.078755 | 0.00033002 | -0.022903 | 0.022573 | -0.00076994 | 0.068806 | -0.067596 | 6.873e-05 | 0.03593 | 0.036376 | -0.00015977 | -0.10779 | -0.10899 | 89.4383 | 89.4383 | 89.4383 | -90.5036 | -90.5036 | -90.5036 | 0.012838 | 1.6228 | 1.6304 | 0.0099847 | 1.6238 | 1.6285 | 101.2028 | -148.0465 | 147.6163 | 101.2194 | -147.9524 | 147.6891
Line_2 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0068204 | 0.0068204 | 0.0068204 | 0.026257 | 0.026257 | 0.026257 | 0.078755 | 0.078755 | 0.078755 | 0.00033002 | -0.022903 | 0.022573 | -0.00076994 | 0.068806 | -0.067596 | 6.873e-05 | 0.03593 | 0.036376 | -0.00015977 | -0.10779 | -0.10899 | 89.4383 | 89.4383 | 89.4383 | -90.5036 | -90.5036 | -90.5036 | 0.012838 | 1.6228 | 1.6304 | 0.0099847 | 1.6238 | 1.6285 | 101.2028 | -148.0465 | 147.6163 | 101.2194 | -147.9524 | 147.6891
Line_3 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0022739 | 0.026257 | 0.026257 | 0.026257 | 0.026257 | 0.026257 | 0.026257 | -0.00033002 | 0.022903 | -0.022573 | -0.00033002 | 0.022903 | -0.022573 | -6.873e-05 | -0.03593 | -0.036376 | -6.873e-05 | -0.03593 | -0.036376 | -90.5617 | -90.5617 | -90.5617 | -90.5617 | -90.5617 | -90.5617 | 0.012838 | 1.6228 | 1.6304 | 0.012838 | 1.6228 | 1.6304 | 101.2028 | -148.0465 | 147.6163 | 101.2028 | -148.0465 | 147.6163

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.018181 | 0.018181 | 0.018181 | 0.013641 | 0.013641 | 0.013641 | 0.20993 | 0.20993 | 0.20993 | 0.15751 | 0.15751 | 0.15751 | 1.6255e-13 | 0.18494 | -0.17867 | 0.0015399 | -0.13761 | 0.13519 | 1.3266e-13 | -0.28725 | -0.28978 | 0.00031954 | 0.21558 | 0.21798 | -90.3983 | -90.3983 | -90.3983 | 89.4964 | 89.4964 | 89.4964 | 0 | 1.6273 | 1.6216 | 0.0099847 | 1.6238 | 1.6285 | 0 | -147.6238 | 147.9449 | 101.2194 | -147.9524 | 147.6891
Line_1 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0068204 | 0.0068204 | 0.0068204 | 0.026257 | 0.026257 | 0.026257 | 0.078755 | 0.078755 | 0.078755 | 0.00033002 | -0.022903 | 0.022573 | -0.00076994 | 0.068806 | -0.067596 | 6.873e-05 | 0.03593 | 0.036376 | -0.00015977 | -0.10779 | -0.10899 | 89.4383 | 89.4383 | 89.4383 | -90.5036 | -90.5036 | -90.5036 | 0.012838 | 1.6228 | 1.6304 | 0.0099847 | 1.6238 | 1.6285 | 101.2028 | -148.0465 | 147.6163 | 101.2194 | -147.9524 | 147.6891
Line_2 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0068204 | 0.0068204 | 0.0068204 | 0.026257 | 0.026257 | 0.026257 | 0.078755 | 0.078755 | 0.078755 | 0.00033002 | -0.022903 | 0.022573 | -0.00076994 | 0.068806 | -0.067596 | 6.873e-05 | 0.03593 | 0.036376 | -0.00015977 | -0.10779 | -0.10899 | 89.4383 | 89.4383 | 89.4383 | -90.5036 | -90.5036 | -90.5036 | 0.012838 | 1.6228 | 1.6304 | 0.0099847 | 1.6238 | 1.6285 | 101.2028 | -148.0465 | 147.6163 | 101.2194 | -147.9524 | 147.6891
Line_3 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0022739 | 0.026257 | 0.026257 | 0.026257 | 0.026257 | 0.026257 | 0.026257 | -0.00033002 | 0.022903 | -0.022573 | -0.00033002 | 0.022903 | -0.022573 | -6.873e-05 | -0.03593 | -0.036376 | -6.873e-05 | -0.03593 | -0.036376 | -90.5617 | -90.5617 | -90.5617 | -90.5617 | -90.5617 | -90.5617 | 0.012838 | 1.6228 | 1.6304 | 0.012838 | 1.6228 | 1.6304 | 101.2028 | -148.0465 | 147.6163 | 101.2028 | -148.0465 | 147.6163

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014122 | 0.014122 | 0.014122 | 0.010596 | 0.010596 | 0.010596 | 0.16307 | 0.16307 | 0.16307 | 0.12235 | 0.12235 | 0.12235 | 0.032526 | 0.12417 | -0.15291 | -0.023428 | -0.092532 | 0.11543 | 0.033306 | -0.21814 | -0.16333 | -0.024841 | 0.16369 | 0.12294 | -78.8102 | -78.8102 | -78.8102 | 101.0844 | 101.0844 | 101.0844 | 0.28548 | 1.5392 | 1.372 | 0.27909 | 1.5368 | 1.3784 | -33.1311 | -139.1612 | 148.0765 | -32.2393 | -139.4361 | 147.8904
Line_1 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0052978 | 0.0052978 | 0.0052978 | 0.020396 | 0.020396 | 0.020396 | 0.061174 | 0.061174 | 0.061174 | -0.0038571 | -0.015409 | 0.019266 | 0.011714 | 0.046266 | -0.057714 | -0.0041358 | 0.02728 | 0.020524 | 0.01242 | -0.081843 | -0.061472 | 101.0263 | 101.0263 | 101.0263 | -78.9156 | -78.9156 | -78.9156 | 0.27728 | 1.5362 | 1.3802 | 0.27909 | 1.5368 | 1.3784 | -31.9764 | -139.5148 | 147.8374 | -32.2393 | -139.4361 | 147.8904
Line_2 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0052978 | 0.0052978 | 0.0052978 | 0.020396 | 0.020396 | 0.020396 | 0.061174 | 0.061174 | 0.061174 | -0.0038571 | -0.015409 | 0.019266 | 0.011714 | 0.046266 | -0.057714 | -0.0041358 | 0.02728 | 0.020524 | 0.01242 | -0.081843 | -0.061472 | 101.0263 | 101.0263 | 101.0263 | -78.9156 | -78.9156 | -78.9156 | 0.27728 | 1.5362 | 1.3802 | 0.27909 | 1.5368 | 1.3784 | -31.9764 | -139.5148 | 147.8374 | -32.2393 | -139.4361 | 147.8904
Line_3 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0017663 | 0.020396 | 0.020396 | 0.020396 | 0.020396 | 0.020396 | 0.020396 | 0.0038571 | 0.015409 | -0.019266 | 0.0038571 | 0.015409 | -0.019266 | 0.0041358 | -0.02728 | -0.020524 | 0.0041358 | -0.02728 | -0.020524 | -78.9736 | -78.9736 | -78.9736 | -78.9736 | -78.9736 | -78.9736 | 0.27728 | 1.5362 | 1.3802 | 0.27728 | 1.5362 | 1.3802 | -31.9764 | -139.5148 | 147.8374 | -31.9764 | -139.5148 | 147.8374

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014122 | 0.014122 | 0.014122 | 0.010596 | 0.010596 | 0.010596 | 0.16307 | 0.16307 | 0.16307 | 0.12235 | 0.12235 | 0.12235 | 0.032526 | 0.12417 | -0.15291 | -0.023428 | -0.092532 | 0.11543 | 0.033306 | -0.21814 | -0.16333 | -0.024841 | 0.16369 | 0.12294 | -78.8102 | -78.8102 | -78.8102 | 101.0844 | 101.0844 | 101.0844 | 0.28548 | 1.5392 | 1.372 | 0.27909 | 1.5368 | 1.3784 | -33.1311 | -139.1612 | 148.0765 | -32.2393 | -139.4361 | 147.8904
Line_1 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0052978 | 0.0052978 | 0.0052978 | 0.020396 | 0.020396 | 0.020396 | 0.061174 | 0.061174 | 0.061174 | -0.0038571 | -0.015409 | 0.019266 | 0.011714 | 0.046266 | -0.057714 | -0.0041358 | 0.02728 | 0.020524 | 0.01242 | -0.081843 | -0.061472 | 101.0263 | 101.0263 | 101.0263 | -78.9156 | -78.9156 | -78.9156 | 0.27728 | 1.5362 | 1.3802 | 0.27909 | 1.5368 | 1.3784 | -31.9764 | -139.5148 | 147.8374 | -32.2393 | -139.4361 | 147.8904
Line_2 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0052978 | 0.0052978 | 0.0052978 | 0.020396 | 0.020396 | 0.020396 | 0.061174 | 0.061174 | 0.061174 | -0.0038571 | -0.015409 | 0.019266 | 0.011714 | 0.046266 | -0.057714 | -0.0041358 | 0.02728 | 0.020524 | 0.01242 | -0.081843 | -0.061472 | 101.0263 | 101.0263 | 101.0263 | -78.9156 | -78.9156 | -78.9156 | 0.27728 | 1.5362 | 1.3802 | 0.27909 | 1.5368 | 1.3784 | -31.9764 | -139.5148 | 147.8374 | -32.2393 | -139.4361 | 147.8904
Line_3 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0017663 | 0.020396 | 0.020396 | 0.020396 | 0.020396 | 0.020396 | 0.020396 | 0.0038571 | 0.015409 | -0.019266 | 0.0038571 | 0.015409 | -0.019266 | 0.0041358 | -0.02728 | -0.020524 | 0.0041358 | -0.02728 | -0.020524 | -78.9736 | -78.9736 | -78.9736 | -78.9736 | -78.9736 | -78.9736 | 0.27728 | 1.5362 | 1.3802 | 0.27728 | 1.5362 | 1.3802 | -31.9764 | -139.5148 | 147.8374 | -31.9764 | -139.5148 | 147.8374

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35775 | 0.34139 | 0.34037 | 0.35492 | 0.34263 | 0.34185 | 4.1309 | 3.9421 | 3.9303 | 4.0982 | 3.9563 | 3.9473 | -0.31203 | -1.4076e-12 | -1.6122e-12 | 0.38931 | 0.053281 | 0.057737 | -7.0839 | 1.8523e-12 | 1.5627e-12 | 7.1049 | 0.077801 | 0.057839 | 92.5786 | -25.6307 | -148.9323 | -87.4 | 153.9415 | 31.4743 | 1.7165 | 0 | 0 | 1.7362 | 0.023834 | 0.020704 | 0.056489 | 0 | 0 | -0.53634 | -150.4634 | 76.5249
Line_1 | 0.17462 | 0.17257 | 0.17244 | 0.17746 | 0.17131 | 0.17092 | 2.0164 | 1.9926 | 1.9911 | 2.0491 | 1.9782 | 1.9737 | 0.21201 | 0.040469 | 0.044569 | -0.19465 | -0.02664 | -0.028868 | 3.514 | 0.058396 | 0.044581 | -3.5524 | -0.0389 | -0.028919 | -87.3527 | 153.0924 | 32.2763 | 92.6 | -26.0585 | -148.5257 | 1.7459 | 0.035656 | 0.03166 | 1.7362 | 0.023834 | 0.020704 | -0.80544 | -151.6298 | 77.2842 | -0.53634 | -150.4634 | 76.5249
Line_2 | 0.17462 | 0.17257 | 0.17244 | 0.17746 | 0.17131 | 0.17092 | 2.0164 | 1.9926 | 1.9911 | 2.0491 | 1.9782 | 1.9737 | 0.21201 | 0.040469 | 0.044569 | -0.19465 | -0.02664 | -0.028868 | 3.514 | 0.058396 | 0.044581 | -3.5524 | -0.0389 | -0.028919 | -87.3527 | 153.0924 | 32.2763 | 92.6 | -26.0585 | -148.5257 | 1.7459 | 0.035656 | 0.03166 | 1.7362 | 0.023834 | 0.020704 | -0.80544 | -151.6298 | 77.2842 | -0.53634 | -150.4634 | 76.5249
Line_3 | 0.0014201 | 0.0014201 | 0.0014201 | 0.0014201 | 0.0014201 | 0.0014201 | 0.016398 | 0.016398 | 0.016398 | 0.016398 | 0.016398 | 0.016398 | -0.00022613 | -0.00028098 | 0.00050711 | -0.00022613 | -0.00028098 | 0.00050711 | -0.028628 | 0.00051273 | -0.00011115 | -0.028628 | 0.00051273 | -0.00011115 | 89.6471 | 89.6471 | 89.6471 | 89.6471 | 89.6471 | 89.6471 | 1.7459 | 0.035656 | 0.03166 | 1.7459 | 0.035656 | 0.03166 | -0.80544 | -151.6298 | 77.2842 | -0.80544 | -151.6298 | 77.2842

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35775 | 0.34139 | 0.34037 | 0.35492 | 0.34263 | 0.34185 | 4.1309 | 3.9421 | 3.9303 | 4.0982 | 3.9563 | 3.9473 | -0.31203 | -1.4076e-12 | -1.6122e-12 | 0.38931 | 0.053281 | 0.057737 | -7.0839 | 1.8523e-12 | 1.5627e-12 | 7.1049 | 0.077801 | 0.057839 | 92.5786 | -25.6307 | -148.9323 | -87.4 | 153.9415 | 31.4743 | 1.7165 | 0 | 0 | 1.7362 | 0.023834 | 0.020704 | 0.056489 | 0 | 0 | -0.53634 | -150.4634 | 76.5249
Line_1 | 0.17462 | 0.17257 | 0.17244 | 0.17746 | 0.17131 | 0.17092 | 2.0164 | 1.9926 | 1.9911 | 2.0491 | 1.9782 | 1.9737 | 0.21201 | 0.040469 | 0.044569 | -0.19465 | -0.02664 | -0.028868 | 3.514 | 0.058396 | 0.044581 | -3.5524 | -0.0389 | -0.028919 | -87.3527 | 153.0924 | 32.2763 | 92.6 | -26.0585 | -148.5257 | 1.7459 | 0.035656 | 0.03166 | 1.7362 | 0.023834 | 0.020704 | -0.80544 | -151.6298 | 77.2842 | -0.53634 | -150.4634 | 76.5249
Line_2 | 0.17462 | 0.17257 | 0.17244 | 0.17746 | 0.17131 | 0.17092 | 2.0164 | 1.9926 | 1.9911 | 2.0491 | 1.9782 | 1.9737 | 0.21201 | 0.040469 | 0.044569 | -0.19465 | -0.02664 | -0.028868 | 3.514 | 0.058396 | 0.044581 | -3.5524 | -0.0389 | -0.028919 | -87.3527 | 153.0924 | 32.2763 | 92.6 | -26.0585 | -148.5257 | 1.7459 | 0.035656 | 0.03166 | 1.7362 | 0.023834 | 0.020704 | -0.80544 | -151.6298 | 77.2842 | -0.53634 | -150.4634 | 76.5249
Line_3 | 0.0014201 | 0.0014201 | 0.0014201 | 0.0014201 | 0.0014201 | 0.0014201 | 0.016398 | 0.016398 | 0.016398 | 0.016398 | 0.016398 | 0.016398 | -0.00022613 | -0.00028098 | 0.00050711 | -0.00022613 | -0.00028098 | 0.00050711 | -0.028628 | 0.00051273 | -0.00011115 | -0.028628 | 0.00051273 | -0.00011115 | 89.6471 | 89.6471 | 89.6471 | 89.6471 | 89.6471 | 89.6471 | 1.7459 | 0.035656 | 0.03166 | 1.7459 | 0.035656 | 0.03166 | -0.80544 | -151.6298 | 77.2842 | -0.80544 | -151.6298 | 77.2842

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35628 | 0.34098 | 0.34219 | 0.35382 | 0.34232 | 0.34321 | 4.114 | 3.9372 | 3.9512 | 4.0855 | 3.9528 | 3.9631 | -0.085344 | 0.48094 | -1.9509 | 0.15627 | -0.44755 | 2.0346 | -6.7612 | -2.9589 | -2.7557 | 6.792 | 3.0433 | 2.8106 | 92.7829 | -25.9494 | -148.8173 | -87.2454 | 153.7029 | 31.5585 | 1.6436 | 0.76139 | 0.85452 | 1.6629 | 0.77819 | 0.87552 | 2.0597 | -106.7174 | 85.886 | 1.4366 | -107.931 | 85.6574
Line_1 | 0.17444 | 0.17252 | 0.17266 | 0.17691 | 0.17116 | 0.17161 | 2.0143 | 1.9921 | 1.9938 | 2.0428 | 1.9764 | 1.9815 | 0.091102 | -0.22975 | 1.0572 | -0.078135 | 0.22378 | -1.0173 | 3.3672 | 1.5494 | 1.4166 | -3.396 | -1.5216 | -1.4053 | -87.3003 | 153.0131 | 32.3031 | 92.7546 | -26.2971 | -148.4415 | 1.6723 | 0.78629 | 0.88657 | 1.6629 | 0.77819 | 0.87552 | 1.1499 | -108.5522 | 85.5695 | 1.4366 | -107.931 | 85.6574
Line_2 | 0.17444 | 0.17252 | 0.17266 | 0.17691 | 0.17116 | 0.17161 | 2.0143 | 1.9921 | 1.9938 | 2.0428 | 1.9764 | 1.9815 | 0.091102 | -0.22975 | 1.0572 | -0.078135 | 0.22378 | -1.0173 | 3.3672 | 1.5494 | 1.4166 | -3.396 | -1.5216 | -1.4053 | -87.3003 | 153.0131 | 32.3031 | 92.7546 | -26.2971 | -148.4415 | 1.6723 | 0.78629 | 0.88657 | 1.6629 | 0.77819 | 0.87552 | 1.1499 | -108.5522 | 85.5695 | 1.4366 | -107.931 | 85.6574
Line_3 | 0.0012376 | 0.0012376 | 0.0012376 | 0.0012376 | 0.0012376 | 0.0012376 | 0.014291 | 0.014291 | 0.014291 | 0.014291 | 0.014291 | 0.014291 | -0.0022639 | -0.010172 | 0.012436 | -0.0022639 | -0.010172 | 0.012436 | -0.023791 | 0.0047733 | -0.002421 | -0.023791 | 0.0047733 | -0.002421 | 96.5856 | 96.5856 | 96.5856 | 96.5856 | 96.5856 | 96.5856 | 1.6723 | 0.78629 | 0.88657 | 1.6723 | 0.78629 | 0.88657 | 1.1499 | -108.5522 | 85.5695 | 1.1499 | -108.5522 | 85.5695

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35628 | 0.34098 | 0.34219 | 0.35382 | 0.34232 | 0.34321 | 4.114 | 3.9372 | 3.9512 | 4.0855 | 3.9528 | 3.9631 | -0.085344 | 0.48094 | -1.9509 | 0.15627 | -0.44755 | 2.0346 | -6.7612 | -2.9589 | -2.7557 | 6.792 | 3.0433 | 2.8106 | 92.7829 | -25.9494 | -148.8173 | -87.2454 | 153.7029 | 31.5585 | 1.6436 | 0.76139 | 0.85452 | 1.6629 | 0.77819 | 0.87552 | 2.0597 | -106.7174 | 85.886 | 1.4366 | -107.931 | 85.6574
Line_1 | 0.17444 | 0.17252 | 0.17266 | 0.17691 | 0.17116 | 0.17161 | 2.0143 | 1.9921 | 1.9938 | 2.0428 | 1.9764 | 1.9815 | 0.091102 | -0.22975 | 1.0572 | -0.078135 | 0.22378 | -1.0173 | 3.3672 | 1.5494 | 1.4166 | -3.396 | -1.5216 | -1.4053 | -87.3003 | 153.0131 | 32.3031 | 92.7546 | -26.2971 | -148.4415 | 1.6723 | 0.78629 | 0.88657 | 1.6629 | 0.77819 | 0.87552 | 1.1499 | -108.5522 | 85.5695 | 1.4366 | -107.931 | 85.6574
Line_2 | 0.17444 | 0.17252 | 0.17266 | 0.17691 | 0.17116 | 0.17161 | 2.0143 | 1.9921 | 1.9938 | 2.0428 | 1.9764 | 1.9815 | 0.091102 | -0.22975 | 1.0572 | -0.078135 | 0.22378 | -1.0173 | 3.3672 | 1.5494 | 1.4166 | -3.396 | -1.5216 | -1.4053 | -87.3003 | 153.0131 | 32.3031 | 92.7546 | -26.2971 | -148.4415 | 1.6723 | 0.78629 | 0.88657 | 1.6629 | 0.77819 | 0.87552 | 1.1499 | -108.5522 | 85.5695 | 1.4366 | -107.931 | 85.6574
Line_3 | 0.0012376 | 0.0012376 | 0.0012376 | 0.0012376 | 0.0012376 | 0.0012376 | 0.014291 | 0.014291 | 0.014291 | 0.014291 | 0.014291 | 0.014291 | -0.0022639 | -0.010172 | 0.012436 | -0.0022639 | -0.010172 | 0.012436 | -0.023791 | 0.0047733 | -0.002421 | -0.023791 | 0.0047733 | -0.002421 | 96.5856 | 96.5856 | 96.5856 | 96.5856 | 96.5856 | 96.5856 | 1.6723 | 0.78629 | 0.88657 | 1.6723 | 0.78629 | 0.88657 | 1.1499 | -108.5522 | 85.5695 | 1.1499 | -108.5522 | 85.5695

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0096996 | 0.0096996 | 0.0096996 | 0.0072775 | 0.0072775 | 0.0072775 | 0.112 | 0.112 | 0.112 | 0.084033 | 0.084033 | 0.084033 | 0.0017846 | -1.0482e-13 | 1.1403e-13 | -0.0011272 | 0.0004383 | 0.0004383 | -0.16424 | 6.4591e-14 | 5.5586e-14 | 0.12331 | 9.0951e-05 | 9.0951e-05 | 89.4373 | 89.4373 | 89.4373 | -90.668 | -90.668 | -90.668 | 1.4665 | 0 | 0 | 1.4675 | 0.0053269 | 0.0053269 | 0.059826 | 0 | 0 | -0.14433 | -78.9451 | -78.9451
Line_1 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0036387 | 0.0036387 | 0.0036387 | 0.014008 | 0.014008 | 0.014008 | 0.042016 | 0.042016 | 0.042016 | -0.00018787 | 9.3933e-05 | 9.3933e-05 | 0.0005636 | -0.00021915 | -0.00021915 | 0.020561 | 1.9563e-05 | 1.9563e-05 | -0.061657 | -4.5475e-05 | -4.5475e-05 | -90.7261 | -90.7261 | -90.7261 | 89.332 | 89.332 | 89.332 | 1.4678 | 0.0068493 | 0.0068493 | 1.4675 | 0.0053269 | 0.0053269 | -0.20264 | -78.9617 | -78.9617 | -0.14433 | -78.9451 | -78.9451
Line_2 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0036387 | 0.0036387 | 0.0036387 | 0.014008 | 0.014008 | 0.014008 | 0.042016 | 0.042016 | 0.042016 | -0.00018787 | 9.3933e-05 | 9.3933e-05 | 0.0005636 | -0.00021915 | -0.00021915 | 0.020561 | 1.9563e-05 | 1.9563e-05 | -0.061657 | -4.5475e-05 | -4.5475e-05 | -90.7261 | -90.7261 | -90.7261 | 89.332 | 89.332 | 89.332 | 1.4678 | 0.0068493 | 0.0068493 | 1.4675 | 0.0053269 | 0.0053269 | -0.20264 | -78.9617 | -78.9617 | -0.14433 | -78.9451 | -78.9451
Line_3 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0012132 | 0.014008 | 0.014008 | 0.014008 | 0.014008 | 0.014008 | 0.014008 | 0.00018787 | -9.3933e-05 | -9.3933e-05 | 0.00018787 | -9.3933e-05 | -9.3933e-05 | -0.020561 | -1.9563e-05 | -1.9563e-05 | -0.020561 | -1.9563e-05 | -1.9563e-05 | 89.2739 | 89.2739 | 89.2739 | 89.2739 | 89.2739 | 89.2739 | 1.4678 | 0.0068493 | 0.0068493 | 1.4678 | 0.0068493 | 0.0068493 | -0.20264 | -78.9617 | -78.9617 | -0.20264 | -78.9617 | -78.9617

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0096996 | 0.0096996 | 0.0096996 | 0.0072775 | 0.0072775 | 0.0072775 | 0.112 | 0.112 | 0.112 | 0.084033 | 0.084033 | 0.084033 | 0.0017846 | -1.0482e-13 | 1.1403e-13 | -0.0011272 | 0.0004383 | 0.0004383 | -0.16424 | 6.4591e-14 | 5.5586e-14 | 0.12331 | 9.0951e-05 | 9.0951e-05 | 89.4373 | 89.4373 | 89.4373 | -90.668 | -90.668 | -90.668 | 1.4665 | 0 | 0 | 1.4675 | 0.0053269 | 0.0053269 | 0.059826 | 0 | 0 | -0.14433 | -78.9451 | -78.9451
Line_1 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0036387 | 0.0036387 | 0.0036387 | 0.014008 | 0.014008 | 0.014008 | 0.042016 | 0.042016 | 0.042016 | -0.00018787 | 9.3933e-05 | 9.3933e-05 | 0.0005636 | -0.00021915 | -0.00021915 | 0.020561 | 1.9563e-05 | 1.9563e-05 | -0.061657 | -4.5475e-05 | -4.5475e-05 | -90.7261 | -90.7261 | -90.7261 | 89.332 | 89.332 | 89.332 | 1.4678 | 0.0068493 | 0.0068493 | 1.4675 | 0.0053269 | 0.0053269 | -0.20264 | -78.9617 | -78.9617 | -0.14433 | -78.9451 | -78.9451
Line_2 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0036387 | 0.0036387 | 0.0036387 | 0.014008 | 0.014008 | 0.014008 | 0.042016 | 0.042016 | 0.042016 | -0.00018787 | 9.3933e-05 | 9.3933e-05 | 0.0005636 | -0.00021915 | -0.00021915 | 0.020561 | 1.9563e-05 | 1.9563e-05 | -0.061657 | -4.5475e-05 | -4.5475e-05 | -90.7261 | -90.7261 | -90.7261 | 89.332 | 89.332 | 89.332 | 1.4678 | 0.0068493 | 0.0068493 | 1.4675 | 0.0053269 | 0.0053269 | -0.20264 | -78.9617 | -78.9617 | -0.14433 | -78.9451 | -78.9451
Line_3 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0012132 | 0.014008 | 0.014008 | 0.014008 | 0.014008 | 0.014008 | 0.014008 | 0.00018787 | -9.3933e-05 | -9.3933e-05 | 0.00018787 | -9.3933e-05 | -9.3933e-05 | -0.020561 | -1.9563e-05 | -1.9563e-05 | -0.020561 | -1.9563e-05 | -1.9563e-05 | 89.2739 | 89.2739 | 89.2739 | 89.2739 | 89.2739 | 89.2739 | 1.4678 | 0.0068493 | 0.0068493 | 1.4678 | 0.0068493 | 0.0068493 | -0.20264 | -78.9617 | -78.9617 | -0.20264 | -78.9617 | -78.9617

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0084543 | 0.0084543 | 0.0084543 | 0.0063431 | 0.0063431 | 0.0063431 | 0.097622 | 0.097622 | 0.097622 | 0.073244 | 0.073244 | 0.073244 | -0.010301 | -0.057704 | 0.06936 | 0.0078729 | 0.043662 | -0.051725 | -0.13671 | 0.025112 | -0.013175 | 0.10265 | -0.018692 | 0.0098587 | 96.3641 | 96.3641 | 96.3641 | -83.7413 | -83.7413 | -83.7413 | 1.4044 | 0.64464 | 0.72321 | 1.4057 | 0.64845 | 0.71892 | 2.0551 | -107.1538 | 85.6085 | 1.8731 | -106.9177 | 85.4677
Line_1 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0031716 | 0.0031716 | 0.0031716 | 0.01221 | 0.01221 | 0.01221 | 0.036622 | 0.036622 | 0.036622 | 0.0013109 | 0.0072975 | -0.0086084 | -0.0039365 | -0.021831 | 0.025863 | 0.017117 | -0.0031053 | 0.001638 | -0.051327 | 0.0093461 | -0.0049294 | -83.7994 | -83.7993 | -83.7994 | 96.2587 | 96.2587 | 96.2587 | 1.406 | 0.64954 | 0.71769 | 1.4057 | 0.64845 | 0.71892 | 1.8211 | -106.8508 | 85.4272 | 1.8731 | -106.9177 | 85.4677
Line_2 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0031716 | 0.0031716 | 0.0031716 | 0.01221 | 0.01221 | 0.01221 | 0.036622 | 0.036622 | 0.036622 | 0.0013109 | 0.0072975 | -0.0086084 | -0.0039365 | -0.021831 | 0.025863 | 0.017117 | -0.0031053 | 0.001638 | -0.051327 | 0.0093461 | -0.0049294 | -83.7994 | -83.7993 | -83.7994 | 96.2587 | 96.2587 | 96.2587 | 1.406 | 0.64954 | 0.71769 | 1.4057 | 0.64845 | 0.71892 | 1.8211 | -106.8508 | 85.4272 | 1.8731 | -106.9177 | 85.4677
Line_3 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0010574 | 0.01221 | 0.01221 | 0.01221 | 0.01221 | 0.01221 | 0.01221 | -0.0013109 | -0.0072975 | 0.0086084 | -0.0013109 | -0.0072975 | 0.0086084 | -0.017117 | 0.0031053 | -0.001638 | -0.017117 | 0.0031053 | -0.001638 | 96.2007 | 96.2007 | 96.2007 | 96.2007 | 96.2007 | 96.2007 | 1.406 | 0.64954 | 0.71769 | 1.406 | 0.64954 | 0.71769 | 1.8211 | -106.8508 | 85.4272 | 1.8211 | -106.8508 | 85.4272

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0084543 | 0.0084543 | 0.0084543 | 0.0063431 | 0.0063431 | 0.0063431 | 0.097622 | 0.097622 | 0.097622 | 0.073244 | 0.073244 | 0.073244 | -0.010301 | -0.057704 | 0.06936 | 0.0078729 | 0.043662 | -0.051725 | -0.13671 | 0.025112 | -0.013175 | 0.10265 | -0.018692 | 0.0098587 | 96.3641 | 96.3641 | 96.3641 | -83.7413 | -83.7413 | -83.7413 | 1.4044 | 0.64464 | 0.72321 | 1.4057 | 0.64845 | 0.71892 | 2.0551 | -107.1538 | 85.6085 | 1.8731 | -106.9177 | 85.4677
Line_1 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0031716 | 0.0031716 | 0.0031716 | 0.01221 | 0.01221 | 0.01221 | 0.036622 | 0.036622 | 0.036622 | 0.0013109 | 0.0072975 | -0.0086084 | -0.0039365 | -0.021831 | 0.025863 | 0.017117 | -0.0031053 | 0.001638 | -0.051327 | 0.0093461 | -0.0049294 | -83.7994 | -83.7993 | -83.7994 | 96.2587 | 96.2587 | 96.2587 | 1.406 | 0.64954 | 0.71769 | 1.4057 | 0.64845 | 0.71892 | 1.8211 | -106.8508 | 85.4272 | 1.8731 | -106.9177 | 85.4677
Line_2 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0031716 | 0.0031716 | 0.0031716 | 0.01221 | 0.01221 | 0.01221 | 0.036622 | 0.036622 | 0.036622 | 0.0013109 | 0.0072975 | -0.0086084 | -0.0039365 | -0.021831 | 0.025863 | 0.017117 | -0.0031053 | 0.001638 | -0.051327 | 0.0093461 | -0.0049294 | -83.7994 | -83.7993 | -83.7994 | 96.2587 | 96.2587 | 96.2587 | 1.406 | 0.64954 | 0.71769 | 1.4057 | 0.64845 | 0.71892 | 1.8211 | -106.8508 | 85.4272 | 1.8731 | -106.9177 | 85.4677
Line_3 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0010574 | 0.01221 | 0.01221 | 0.01221 | 0.01221 | 0.01221 | 0.01221 | -0.0013109 | -0.0072975 | 0.0086084 | -0.0013109 | -0.0072975 | 0.0086084 | -0.017117 | 0.0031053 | -0.001638 | -0.017117 | 0.0031053 | -0.001638 | 96.2007 | 96.2007 | 96.2007 | 96.2007 | 96.2007 | 96.2007 | 1.406 | 0.64954 | 0.71769 | 1.406 | 0.64954 | 0.71769 | 1.8211 | -106.8508 | 85.4272 | 1.8211 | -106.8508 | 85.4272