## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.5104 | 2.5104 | 0 | 5.5724 | 86.9625 | 86.9625 | 9.8312 | -1e-07 | 11.1547 | -1e-07 | -79.0878 | 100.9122 | 0.17098 | 0 | -30.4793 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -5.4633e-20 | 0 | -3.9589e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -5.4632e-20 | 0 | -3.9588e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.5104 | 2.5104 | 0 | 5.5724 | 86.9625 | 86.9625 | 9.8312 | -1e-07 | 11.1547 | -1e-07 | -79.0878 | 100.9122 | 0.17098 | 0 | -30.4793 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -5.4633e-20 | 0 | -3.9589e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -5.4632e-20 | 0 | -3.9588e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0222 | 1.0222 | 0 | 2.2689 | 35.4086 | 35.4086 | 20.198 | -18.5681 | 18.7082 | -16.8589 | -56.3718 | 123.6282 | 0.77752 | 0.7083 | -13.5647 | -14.1339
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7924e-09 | 0 | 2.0928e-09 | 0 | 0 | 0 | 0.7083 | 0.7083 | -14.1339 | -14.1339
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7924e-09 | 0 | 2.0928e-09 | 0 | 0 | 0 | 0.7083 | 0.7083 | -14.1339 | -14.1339

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0222 | 1.0222 | 0 | 2.2689 | 35.4086 | 35.4086 | 20.198 | -18.5681 | 18.7082 | -16.8589 | -56.3718 | 123.6282 | 0.77752 | 0.7083 | -13.5647 | -14.1339
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7924e-09 | 0 | 2.0928e-09 | 0 | 0 | 0 | 0.7083 | 0.7083 | -14.1339 | -14.1339
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7924e-09 | 0 | 2.0928e-09 | 0 | 0 | 0 | 0.7083 | 0.7083 | -14.1339 | -14.1339

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0037 | 2.0037 | 0 | 4.1302 | 69.4115 | 69.4115 | 12.0256 | -1e-07 | 7.1065 | -1e-07 | -74.9546 | 105.0454 | 0.20124 | 0 | -44.3738 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4613e-20 | 0 | -3.7585e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4613e-20 | 0 | -3.7585e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0037 | 2.0037 | 0 | 4.1302 | 69.4115 | 69.4115 | 12.0256 | -1e-07 | 7.1065 | -1e-07 | -74.9546 | 105.0454 | 0.20124 | 0 | -44.3738 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4613e-20 | 0 | -3.7585e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4613e-20 | 0 | -3.7585e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.93103 | 0.93103 | 0 | 1.9191 | 32.2518 | 32.2518 | 15.5985 | -13.0022 | 14.5365 | -13.0022 | -58.4151 | 121.5849 | 0.66111 | 0.57014 | -15.4334 | -13.4151
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5248e-09 | 0 | 1.455e-09 | 0 | 0 | 0 | 0.57014 | 0.57014 | -13.4151 | -13.4151
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5248e-09 | 0 | 1.455e-09 | 0 | 0 | 0 | 0.57014 | 0.57014 | -13.4151 | -13.4151

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.93103 | 0.93103 | 0 | 1.9191 | 32.2518 | 32.2518 | 15.5985 | -13.0022 | 14.5365 | -13.0022 | -58.4151 | 121.5849 | 0.66111 | 0.57014 | -15.4334 | -13.4151
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5248e-09 | 0 | 1.455e-09 | 0 | 0 | 0 | 0.57014 | 0.57014 | -13.4151 | -13.4151
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5248e-09 | 0 | 1.455e-09 | 0 | 0 | 0 | 0.57014 | 0.57014 | -13.4151 | -13.4151

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14434 | 2.1753 | 2.1753 | 0.14434 | 2.1753 | 2.1753 | 1.6667 | 25.1178 | 25.1177 | 1.6667 | 25.1178 | 25.1177 | -0.35617 | 16.7058 | -11.9682 | 0.36701 | -14.2452 | 14.4288 | -1.8914 | -0.44823 | 5.0799 | 1.9037 | 3.24 | -2.2881 | 100.9121 | -167.1865 | 9.011 | -79.0879 | 12.8135 | -170.989 | 1.1548 | 0.66534 | 0.51763 | 1.1632 | 0.58162 | 0.58162 | 0.2474 | -168.7234 | 166.0124 | -7.1806e-06 | 180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6973e-10 | 6.7454e-11 | 6.7423e-11 | -2.6975e-10 | -6.7437e-11 | -6.7412e-11 | 5.4764e-15 | 2.0316e-09 | -2.0316e-09 | 3.3806e-17 | -2.0316e-09 | 2.0316e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1632 | 0.58162 | 0.58162 | 1.1632 | 0.58162 | 0.58162 | -7.1806e-06 | 180 | 180 | -7.1806e-06 | 180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6975e-10 | 6.7448e-11 | 6.7434e-11 | -2.6976e-10 | -6.7432e-11 | -6.7434e-11 | -5.544e-15 | 2.0316e-09 | -2.0316e-09 | 1.6565e-14 | -2.0316e-09 | 2.0316e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1632 | 0.58162 | 0.58162 | 1.1632 | 0.58162 | 0.58162 | -7.1806e-06 | 180 | 180 | -7.1806e-06 | 180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14434 | 2.1753 | 2.1753 | 0.14434 | 2.1753 | 2.1753 | 1.6667 | 25.1178 | 25.1177 | 1.6667 | 25.1178 | 25.1177 | -0.35617 | 16.7058 | -11.9682 | 0.36701 | -14.2452 | 14.4288 | -1.8914 | -0.44823 | 5.0799 | 1.9037 | 3.24 | -2.2881 | 100.9121 | -167.1865 | 9.011 | -79.0879 | 12.8135 | -170.989 | 1.1548 | 0.66534 | 0.51763 | 1.1632 | 0.58162 | 0.58162 | 0.2474 | -168.7234 | 166.0124 | -7.1806e-06 | 180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6973e-10 | 6.7454e-11 | 6.7423e-11 | -2.6975e-10 | -6.7437e-11 | -6.7412e-11 | 5.4764e-15 | 2.0316e-09 | -2.0316e-09 | 3.3806e-17 | -2.0316e-09 | 2.0316e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1632 | 0.58162 | 0.58162 | 1.1632 | 0.58162 | 0.58162 | -7.1806e-06 | 180 | 180 | -7.1806e-06 | 180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6975e-10 | 6.7448e-11 | 6.7434e-11 | -2.6976e-10 | -6.7432e-11 | -6.7434e-11 | -5.544e-15 | 2.0316e-09 | -2.0316e-09 | 1.6565e-14 | -2.0316e-09 | 2.0316e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1632 | 0.58162 | 0.58162 | 1.1632 | 0.58162 | 0.58162 | -7.1806e-06 | 180 | 180 | -7.1806e-06 | 180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14434 | 1.3133 | 1.2754 | 0.14434 | 1.3133 | 1.2754 | 1.6667 | 15.165 | 14.7268 | 1.6667 | 15.165 | 14.7268 | -0.35618 | 13.5762 | -2.6725 | 0.36701 | -12.6793 | 3.5183 | -1.8914 | 0.98565 | 8.959 | 1.9037 | 0.031999 | -7.9993 | 100.9121 | -150.7824 | 23.0495 | -79.0879 | 29.2176 | -156.9505 | 1.1548 | 0.89759 | 0.63483 | 1.1632 | 0.83609 | 0.59339 | 0.2474 | -146.6299 | 129.6594 | -5.8553e-06 | -150.927 | 136.7907
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6975e-10 | -3.2959e-10 | -1.0002e-09 | -2.6976e-10 | 3.2961e-10 | 1.0002e-09 | 2.7276e-15 | 1.7331e-09 | -6.914e-10 | -5.4827e-15 | -1.7331e-09 | 6.914e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1632 | 0.83609 | 0.59339 | 1.1632 | 0.83609 | 0.59339 | -5.8553e-06 | -150.927 | 136.7907 | -5.8554e-06 | -150.927 | 136.7907
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6976e-10 | -3.296e-10 | -1.0002e-09 | -2.6977e-10 | 3.2962e-10 | 1.0002e-09 | -2.7827e-15 | 1.7332e-09 | -6.914e-10 | 2.757e-17 | -1.7331e-09 | 6.914e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1632 | 0.83609 | 0.59339 | 1.1632 | 0.83609 | 0.59339 | -5.8553e-06 | -150.927 | 136.7907 | -5.8554e-06 | -150.927 | 136.7907

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14434 | 1.3133 | 1.2754 | 0.14434 | 1.3133 | 1.2754 | 1.6667 | 15.165 | 14.7268 | 1.6667 | 15.165 | 14.7268 | -0.35618 | 13.5762 | -2.6725 | 0.36701 | -12.6793 | 3.5183 | -1.8914 | 0.98565 | 8.959 | 1.9037 | 0.031999 | -7.9993 | 100.9121 | -150.7824 | 23.0495 | -79.0879 | 29.2176 | -156.9505 | 1.1548 | 0.89759 | 0.63483 | 1.1632 | 0.83609 | 0.59339 | 0.2474 | -146.6299 | 129.6594 | -5.8553e-06 | -150.927 | 136.7907
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6975e-10 | -3.2959e-10 | -1.0002e-09 | -2.6976e-10 | 3.2961e-10 | 1.0002e-09 | 2.7276e-15 | 1.7331e-09 | -6.914e-10 | -5.4827e-15 | -1.7331e-09 | 6.914e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1632 | 0.83609 | 0.59339 | 1.1632 | 0.83609 | 0.59339 | -5.8553e-06 | -150.927 | 136.7907 | -5.8554e-06 | -150.927 | 136.7907
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6976e-10 | -3.296e-10 | -1.0002e-09 | -2.6977e-10 | 3.2962e-10 | 1.0002e-09 | -2.7827e-15 | 1.7332e-09 | -6.914e-10 | 2.757e-17 | -1.7331e-09 | 6.914e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1632 | 0.83609 | 0.59339 | 1.1632 | 0.83609 | 0.59339 | -5.8553e-06 | -150.927 | 136.7907 | -5.8554e-06 | -150.927 | 136.7907

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7353 | 1.7353 | 0 | 1.7353 | 1.7353 | 0 | 20.0374 | 20.0374 | 0 | 20.0374 | 20.0374 | -1.8948e-14 | 12.6817 | -6.6688 | 1.8948e-14 | -9.6753 | 9.6753 | -9.4739e-15 | -0.82408 | 4.3773 | 1.4211e-14 | 2.6007 | -2.6007 | 0 | -164.9546 | 15.0454 | 0 | 15.0454 | -164.9546 | 1 | 0.63423 | 0.39811 | 1 | 0.5 | 0.5 | 6.3194e-13 | -168.6725 | 161.7652 | 6.0599e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 2.3685e-15 | 7.1054e-15 | 2.3685e-15 | 9.474e-15 | -2.3684e-15 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.0599e-13 | -180 | 180 | 6.07e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 5.9212e-15 | -7.1054e-15 | 0 | 5.9213e-15 | 7.1055e-15 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.0599e-13 | -180 | 180 | 6.0005e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7353 | 1.7353 | 0 | 1.7353 | 1.7353 | 0 | 20.0374 | 20.0374 | 0 | 20.0374 | 20.0374 | -1.8948e-14 | 12.6817 | -6.6688 | 1.8948e-14 | -9.6753 | 9.6753 | -9.4739e-15 | -0.82408 | 4.3773 | 1.4211e-14 | 2.6007 | -2.6007 | 0 | -164.9546 | 15.0454 | 0 | 15.0454 | -164.9546 | 1 | 0.63423 | 0.39811 | 1 | 0.5 | 0.5 | 6.3194e-13 | -168.6725 | 161.7652 | 6.0599e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 2.3685e-15 | 7.1054e-15 | 2.3685e-15 | 9.474e-15 | -2.3684e-15 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.0599e-13 | -180 | 180 | 6.07e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 5.9212e-15 | -7.1054e-15 | 0 | 5.9213e-15 | 7.1055e-15 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.0599e-13 | -180 | 180 | 6.0005e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.111 | 1.111 | 0 | 1.111 | 1.111 | 0 | 12.8289 | 12.8289 | 0 | 12.8289 | 12.8289 | -1.4211e-14 | 10.0659 | -1.4294 | 1.0658e-14 | -8.8335 | 2.6618 | -7.1054e-15 | 0.96644 | 6.6618 | 9.4739e-15 | -0.23817 | -5.9336 | 0 | -153.6438 | 26.3562 | 0 | 26.3562 | -153.6438 | 1 | 0.78824 | 0.5311 | 1 | 0.68882 | 0.50692 | 3.8609e-13 | -148.1595 | 128.4665 | 3.6077e-13 | -152.0993 | 140.5172
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -3.9984e-10 | -7.9859e-10 | 1.1842e-15 | 3.9984e-10 | 7.9859e-10 | -2.3685e-15 | 1.3421e-09 | -6.5146e-10 | 2.3685e-15 | -1.3421e-09 | 6.5146e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.68882 | 0.50692 | 1 | 0.68882 | 0.50692 | 3.6077e-13 | -152.0993 | 140.5172 | 3.5999e-13 | -152.0993 | 140.5172
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.9984e-10 | -7.9859e-10 | 1.1842e-15 | 3.9984e-10 | 7.9859e-10 | 2.3685e-15 | 1.3421e-09 | -6.5145e-10 | -2.3685e-15 | -1.3421e-09 | 6.5145e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.68882 | 0.50692 | 1 | 0.68882 | 0.50692 | 3.6077e-13 | -152.0993 | 140.5172 | 3.5531e-13 | -152.0993 | 140.5172

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.111 | 1.111 | 0 | 1.111 | 1.111 | 0 | 12.8289 | 12.8289 | 0 | 12.8289 | 12.8289 | -1.4211e-14 | 10.0659 | -1.4294 | 1.0658e-14 | -8.8335 | 2.6618 | -7.1054e-15 | 0.96644 | 6.6618 | 9.4739e-15 | -0.23817 | -5.9336 | 0 | -153.6438 | 26.3562 | 0 | 26.3562 | -153.6438 | 1 | 0.78824 | 0.5311 | 1 | 0.68882 | 0.50692 | 3.8609e-13 | -148.1595 | 128.4665 | 3.6077e-13 | -152.0993 | 140.5172
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -3.9984e-10 | -7.9859e-10 | 1.1842e-15 | 3.9984e-10 | 7.9859e-10 | -2.3685e-15 | 1.3421e-09 | -6.5146e-10 | 2.3685e-15 | -1.3421e-09 | 6.5146e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.68882 | 0.50692 | 1 | 0.68882 | 0.50692 | 3.6077e-13 | -152.0993 | 140.5172 | 3.5999e-13 | -152.0993 | 140.5172
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.9984e-10 | -7.9859e-10 | 1.1842e-15 | 3.9984e-10 | 7.9859e-10 | 2.3685e-15 | 1.3421e-09 | -6.5145e-10 | -2.3685e-15 | -1.3421e-09 | 6.5145e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.68882 | 0.50692 | 1 | 0.68882 | 0.50692 | 3.6077e-13 | -152.0993 | 140.5172 | 3.5531e-13 | -152.0993 | 140.5172

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.242 | 0.14542 | 0.14976 | 2.2403 | 0.14482 | 0.14839 | 25.8888 | 1.6791 | 1.7293 | 25.8687 | 1.6722 | 1.7135 | 8.3134 | -0.27462 | -0.42172 | -2.1597e-12 | 0.62903 | 0.45023 | 4.4578 | -1.9205 | -1.9553 | 7.6132e-11 | 1.716 | 2.3424 | -68.3331 | -21.7399 | -137.4943 | 111.6875 | 158.9791 | 41.9891 | 0.36437 | 1.1554 | 1.1567 | 0 | 1.0929 | 1.392 | -40.132 | -119.8778 | 120.3345 | 0 | -131.1519 | 121.109
Line_1 | 0.0024506 | 0.0024506 | 0.0024506 | 0 | 0 | 0 | 0.028297 | 0.028297 | 0.028297 | 0 | 0 | 0 | 5.0968e-14 | 0.027618 | -0.027601 | -2.1593e-13 | -5.4083e-11 | -1.494e-09 | -6.5901e-14 | -0.013918 | -0.028102 | 1.6886e-12 | -8.5364e-10 | 1.0802e-10 | -104.4062 | -104.4062 | -104.4062 | 0 | 0 | 0 | 0 | 1.0929 | 1.392 | 0.00042204 | 1.0927 | 1.3924 | 0 | -131.1519 | 121.109 | 97.2655 | -131.1685 | 121.102
Line_2 | 0.0024506 | 0.0024506 | 0.0024506 | 0 | 0 | 0 | 0.028297 | 0.028297 | 0.028297 | 0 | 0 | 0 | 5.0968e-14 | 0.027618 | -0.027601 | -2.1592e-13 | -5.4092e-11 | -1.494e-09 | -6.5901e-14 | -0.013918 | -0.028102 | 1.6886e-12 | -8.5363e-10 | 1.0802e-10 | -104.4062 | -104.4062 | -104.4062 | 0 | 0 | 0 | 0 | 1.0929 | 1.392 | 0.00042204 | 1.0927 | 1.3924 | 0 | -131.1519 | 121.109 | 97.2655 | -131.1685 | 121.102

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.242 | 0.14542 | 0.14976 | 2.2403 | 0.14482 | 0.14839 | 25.8888 | 1.6791 | 1.7293 | 25.8687 | 1.6722 | 1.7135 | 8.3134 | -0.27462 | -0.42172 | -2.1597e-12 | 0.62903 | 0.45023 | 4.4578 | -1.9205 | -1.9553 | 7.6132e-11 | 1.716 | 2.3424 | -68.3331 | -21.7399 | -137.4943 | 111.6875 | 158.9791 | 41.9891 | 0.36437 | 1.1554 | 1.1567 | 0 | 1.0929 | 1.392 | -40.132 | -119.8778 | 120.3345 | 0 | -131.1519 | 121.109
Line_1 | 0.0024506 | 0.0024506 | 0.0024506 | 0 | 0 | 0 | 0.028297 | 0.028297 | 0.028297 | 0 | 0 | 0 | 5.0968e-14 | 0.027618 | -0.027601 | -2.1593e-13 | -5.4083e-11 | -1.494e-09 | -6.5901e-14 | -0.013918 | -0.028102 | 1.6886e-12 | -8.5364e-10 | 1.0802e-10 | -104.4062 | -104.4062 | -104.4062 | 0 | 0 | 0 | 0 | 1.0929 | 1.392 | 0.00042204 | 1.0927 | 1.3924 | 0 | -131.1519 | 121.109 | 97.2655 | -131.1685 | 121.102
Line_2 | 0.0024506 | 0.0024506 | 0.0024506 | 0 | 0 | 0 | 0.028297 | 0.028297 | 0.028297 | 0 | 0 | 0 | 5.0968e-14 | 0.027618 | -0.027601 | -2.1592e-13 | -5.4092e-11 | -1.494e-09 | -6.5901e-14 | -0.013918 | -0.028102 | 1.6886e-12 | -8.5363e-10 | 1.0802e-10 | -104.4062 | -104.4062 | -104.4062 | 0 | 0 | 0 | 0 | 1.0929 | 1.392 | 0.00042204 | 1.0927 | 1.3924 | 0 | -131.1519 | 121.109 | 97.2655 | -131.1685 | 121.102

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.95102 | 0.14548 | 0.14629 | 0.95025 | 0.14504 | 0.14584 | 10.9814 | 1.6798 | 1.6892 | 10.9725 | 1.6748 | 1.684 | 7.0042 | -0.32314 | -0.391 | -5.4218 | 0.50514 | 0.36671 | 5.5876 | -1.9136 | -1.9122 | -4.8147 | 1.8582 | 2.093 | -52.2206 | -20.2201 | -138.1481 | 127.8037 | 160.0765 | 41.5614 | 0.81592 | 1.1553 | 1.1554 | 0.66084 | 1.1498 | 1.2619 | -13.6396 | -119.8049 | 120.2957 | -10.5903 | -125.1316 | 121.6239
Line_1 | 0.001112 | 0.001112 | 0.001112 | 0 | 0 | 0 | 0.01284 | 0.01284 | 0.01284 | 0 | 0 | 0 | 0.0013985 | 0.012235 | -0.01363 | 1.0189e-09 | -2.2799e-10 | -7.519e-10 | 0.0083689 | -0.0082612 | -0.0087594 | -4.8913e-10 | -4.1539e-10 | 1.4409e-10 | -91.1035 | -91.1035 | -91.1035 | 0 | 0 | 0 | 0.66084 | 1.1498 | 1.2619 | 0.66074 | 1.1497 | 1.262 | -10.5903 | -125.1316 | 121.6239 | -10.5761 | -125.1395 | 121.6222
Line_2 | 0.001112 | 0.001112 | 0.001112 | 0 | 0 | 0 | 0.01284 | 0.01284 | 0.01284 | 0 | 0 | 0 | 0.0013985 | 0.012235 | -0.01363 | 1.0189e-09 | -2.2799e-10 | -7.5189e-10 | 0.0083689 | -0.0082612 | -0.0087594 | -4.8913e-10 | -4.1538e-10 | 1.4409e-10 | -91.1035 | -91.1035 | -91.1035 | 0 | 0 | 0 | 0.66084 | 1.1498 | 1.2619 | 0.66074 | 1.1497 | 1.262 | -10.5903 | -125.1316 | 121.6239 | -10.5761 | -125.1395 | 121.6222

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.95102 | 0.14548 | 0.14629 | 0.95025 | 0.14504 | 0.14584 | 10.9814 | 1.6798 | 1.6892 | 10.9725 | 1.6748 | 1.684 | 7.0042 | -0.32314 | -0.391 | -5.4218 | 0.50514 | 0.36671 | 5.5876 | -1.9136 | -1.9122 | -4.8147 | 1.8582 | 2.093 | -52.2206 | -20.2201 | -138.1481 | 127.8037 | 160.0765 | 41.5614 | 0.81592 | 1.1553 | 1.1554 | 0.66084 | 1.1498 | 1.2619 | -13.6396 | -119.8049 | 120.2957 | -10.5903 | -125.1316 | 121.6239
Line_1 | 0.001112 | 0.001112 | 0.001112 | 0 | 0 | 0 | 0.01284 | 0.01284 | 0.01284 | 0 | 0 | 0 | 0.0013985 | 0.012235 | -0.01363 | 1.0189e-09 | -2.2799e-10 | -7.519e-10 | 0.0083689 | -0.0082612 | -0.0087594 | -4.8913e-10 | -4.1539e-10 | 1.4409e-10 | -91.1035 | -91.1035 | -91.1035 | 0 | 0 | 0 | 0.66084 | 1.1498 | 1.2619 | 0.66074 | 1.1497 | 1.262 | -10.5903 | -125.1316 | 121.6239 | -10.5761 | -125.1395 | 121.6222
Line_2 | 0.001112 | 0.001112 | 0.001112 | 0 | 0 | 0 | 0.01284 | 0.01284 | 0.01284 | 0 | 0 | 0 | 0.0013985 | 0.012235 | -0.01363 | 1.0189e-09 | -2.2799e-10 | -7.5189e-10 | 0.0083689 | -0.0082612 | -0.0087594 | -4.8913e-10 | -4.1538e-10 | 1.4409e-10 | -91.1035 | -91.1035 | -91.1035 | 0 | 0 | 0 | 0.66084 | 1.1498 | 1.2619 | 0.66074 | 1.1497 | 1.262 | -10.5903 | -125.1316 | 121.6239 | -10.5761 | -125.1395 | 121.6222

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6893 | 0.006489 | 0.006489 | 1.6879 | 0.0048311 | 0.0048311 | 19.5066 | 0.074929 | 0.074929 | 19.4907 | 0.055785 | 0.055785 | 8.6763 | 0.07239 | -0.052906 | 3.8218e-11 | -0.045755 | 0.045693 | 2.4924 | -0.01947 | -0.053289 | 3.2969e-11 | 0.025231 | 0.056426 | -58.8305 | -105.1052 | -105.1052 | 121.2031 | 71.1644 | 71.1644 | 0.46277 | 1.0005 | 1.0022 | 0 | 0.93665 | 1.3015 | -42.803 | -120.1589 | 120.1015 | 0 | -137.7096 | 122.1644
Line_1 | 0.0024156 | 0.0024156 | 0.0024156 | 0 | 0 | 0 | 0.027892 | 0.027892 | 0.027892 | 0 | 0 | 0 | 1.0356e-15 | 0.022878 | -0.022846 | 3.4489e-13 | 5.6218e-11 | -1.4459e-09 | -7.2224e-14 | -0.012616 | -0.028213 | 2.7573e-12 | -1.0458e-09 | 1.7856e-10 | -108.8356 | -108.8356 | -108.8356 | 0 | 0 | 0 | 0 | 0.93665 | 1.3015 | 0.00075793 | 0.93607 | 1.3021 | 0 | -137.7096 | 122.1644 | 82.8272 | -137.7398 | 122.1432
Line_2 | 0.0024156 | 0.0024156 | 0.0024156 | 0 | 0 | 0 | 0.027892 | 0.027892 | 0.027892 | 0 | 0 | 0 | 1.0356e-15 | 0.022878 | -0.022846 | 3.4489e-13 | 5.6223e-11 | -1.4459e-09 | -7.2224e-14 | -0.012616 | -0.028213 | 2.7573e-12 | -1.0458e-09 | 1.7856e-10 | -108.8356 | -108.8356 | -108.8356 | 0 | 0 | 0 | 0 | 0.93665 | 1.3015 | 0.00075793 | 0.93607 | 1.3021 | 0 | -137.7096 | 122.1644 | 82.8272 | -137.7398 | 122.1432

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6893 | 0.006489 | 0.006489 | 1.6879 | 0.0048311 | 0.0048311 | 19.5066 | 0.074929 | 0.074929 | 19.4907 | 0.055785 | 0.055785 | 8.6763 | 0.07239 | -0.052906 | 3.8218e-11 | -0.045755 | 0.045693 | 2.4924 | -0.01947 | -0.053289 | 3.2969e-11 | 0.025231 | 0.056426 | -58.8305 | -105.1052 | -105.1052 | 121.2031 | 71.1644 | 71.1644 | 0.46277 | 1.0005 | 1.0022 | 0 | 0.93665 | 1.3015 | -42.803 | -120.1589 | 120.1015 | 0 | -137.7096 | 122.1644
Line_1 | 0.0024156 | 0.0024156 | 0.0024156 | 0 | 0 | 0 | 0.027892 | 0.027892 | 0.027892 | 0 | 0 | 0 | 1.0356e-15 | 0.022878 | -0.022846 | 3.4489e-13 | 5.6218e-11 | -1.4459e-09 | -7.2224e-14 | -0.012616 | -0.028213 | 2.7573e-12 | -1.0458e-09 | 1.7856e-10 | -108.8356 | -108.8356 | -108.8356 | 0 | 0 | 0 | 0 | 0.93665 | 1.3015 | 0.00075793 | 0.93607 | 1.3021 | 0 | -137.7096 | 122.1644 | 82.8272 | -137.7398 | 122.1432
Line_2 | 0.0024156 | 0.0024156 | 0.0024156 | 0 | 0 | 0 | 0.027892 | 0.027892 | 0.027892 | 0 | 0 | 0 | 1.0356e-15 | 0.022878 | -0.022846 | 3.4489e-13 | 5.6223e-11 | -1.4459e-09 | -7.2224e-14 | -0.012616 | -0.028213 | 2.7573e-12 | -1.0458e-09 | 1.7856e-10 | -108.8356 | -108.8356 | -108.8356 | 0 | 0 | 0 | 0 | 0.93665 | 1.3015 | 0.00075793 | 0.93607 | 1.3021 | 0 | -137.7096 | 122.1644 | 82.8272 | -137.7398 | 122.1432

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.83741 | 0.0032167 | 0.0032167 | 0.83673 | 0.0023948 | 0.0023948 | 9.6696 | 0.037143 | 0.037143 | 9.6617 | 0.027653 | 0.027653 | 5.6192 | 0.034472 | -0.029209 | -3.4865 | -0.024078 | 0.02279 | 4.1192 | -0.013868 | -0.023002 | -3.5018 | 0.01214 | 0.022011 | -51.8876 | -98.1623 | -98.1623 | 128.1459 | 78.1073 | 78.1073 | 0.72054 | 1.0004 | 1.001 | 0.51145 | 0.97515 | 1.1458 | -15.6445 | -120.0766 | 120.0575 | -6.7282 | -128.6499 | 122.1108
Line_1 | 0.0011974 | 0.0011974 | 0.0011974 | 0 | 0 | 0 | 0.013827 | 0.013827 | 0.013827 | 0 | 0 | 0 | -0.00063656 | 0.012039 | -0.011395 | 9.0343e-10 | 4.9103e-11 | -6.1667e-10 | 0.0070428 | -0.0060701 | -0.011005 | -2.1833e-10 | -5.3843e-10 | 1.5404e-10 | -101.8927 | -101.8927 | -101.8927 | 0 | 0 | 0 | 0.51145 | 0.97515 | 1.1458 | 0.51141 | 0.97485 | 1.1461 | -6.7282 | -128.6499 | 122.1108 | -6.6863 | -128.6636 | 122.1008
Line_2 | 0.0011974 | 0.0011974 | 0.0011974 | 0 | 0 | 0 | 0.013827 | 0.013827 | 0.013827 | 0 | 0 | 0 | -0.00063656 | 0.012039 | -0.011395 | 9.0343e-10 | 4.9103e-11 | -6.1667e-10 | 0.0070428 | -0.0060701 | -0.011005 | -2.1833e-10 | -5.3842e-10 | 1.5404e-10 | -101.8927 | -101.8927 | -101.8927 | 0 | 0 | 0 | 0.51145 | 0.97515 | 1.1458 | 0.51141 | 0.97485 | 1.1461 | -6.7282 | -128.6499 | 122.1108 | -6.6863 | -128.6636 | 122.1008

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.83741 | 0.0032167 | 0.0032167 | 0.83673 | 0.0023948 | 0.0023948 | 9.6696 | 0.037143 | 0.037143 | 9.6617 | 0.027653 | 0.027653 | 5.6192 | 0.034472 | -0.029209 | -3.4865 | -0.024078 | 0.02279 | 4.1192 | -0.013868 | -0.023002 | -3.5018 | 0.01214 | 0.022011 | -51.8876 | -98.1623 | -98.1623 | 128.1459 | 78.1073 | 78.1073 | 0.72054 | 1.0004 | 1.001 | 0.51145 | 0.97515 | 1.1458 | -15.6445 | -120.0766 | 120.0575 | -6.7282 | -128.6499 | 122.1108
Line_1 | 0.0011974 | 0.0011974 | 0.0011974 | 0 | 0 | 0 | 0.013827 | 0.013827 | 0.013827 | 0 | 0 | 0 | -0.00063656 | 0.012039 | -0.011395 | 9.0343e-10 | 4.9103e-11 | -6.1667e-10 | 0.0070428 | -0.0060701 | -0.011005 | -2.1833e-10 | -5.3843e-10 | 1.5404e-10 | -101.8927 | -101.8927 | -101.8927 | 0 | 0 | 0 | 0.51145 | 0.97515 | 1.1458 | 0.51141 | 0.97485 | 1.1461 | -6.7282 | -128.6499 | 122.1108 | -6.6863 | -128.6636 | 122.1008
Line_2 | 0.0011974 | 0.0011974 | 0.0011974 | 0 | 0 | 0 | 0.013827 | 0.013827 | 0.013827 | 0 | 0 | 0 | -0.00063656 | 0.012039 | -0.011395 | 9.0343e-10 | 4.9103e-11 | -6.1667e-10 | 0.0070428 | -0.0060701 | -0.011005 | -2.1833e-10 | -5.3842e-10 | 1.5404e-10 | -101.8927 | -101.8927 | -101.8927 | 0 | 0 | 0 | 0.51145 | 0.97515 | 1.1458 | 0.51141 | 0.97485 | 1.1461 | -6.7282 | -128.6499 | 122.1108 | -6.6863 | -128.6636 | 122.1008

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15018 | 2.671 | 2.0682 | 0.14849 | 2.6706 | 2.0673 | 1.7341 | 30.8417 | 23.8814 | 1.7146 | 30.8369 | 23.8708 | -0.35267 | 8.7339 | 1.6657 | 0.64888 | -4.1131e-11 | -4.0235e-11 | -1.9752 | 0.55211 | 7.3029 | 2.1589 | 4.6534e-11 | 2.7548e-11 | 100.3529 | 170.4572 | 37.7411 | -79.5843 | -9.5076 | -142.2984 | 1.157 | 0.28375 | 0.31365 | 1.3148 | 0 | 0 | 0.22934 | 174.0742 | 114.8925 | -6.3135 | 0 | 0
Line_1 | 0.0021696 | 0.0021696 | 0.0021696 | 0 | 0 | 0 | 0.025053 | 0.025053 | 0.025053 | 0 | 0 | 0 | 1.305e-05 | 3.9597e-14 | 8.5689e-15 | -1.0684e-09 | 1.0589e-12 | -1.4585e-12 | -0.032939 | 3.1274e-14 | -5.0455e-14 | -5.846e-10 | 1.0719e-12 | 3.8153e-13 | 83.6638 | 83.6638 | 83.6638 | 0 | 0 | 0 | 1.3148 | 0 | 0 | 1.3149 | 0.00037366 | 0.00037366 | -6.3135 | 0 | 0 | -6.3286 | -74.6645 | -74.6645
Line_2 | 0.0021696 | 0.0021696 | 0.0021696 | 0 | 0 | 0 | 0.025053 | 0.025053 | 0.025053 | 0 | 0 | 0 | 1.305e-05 | 3.9597e-14 | 8.5689e-15 | -1.0684e-09 | 1.0589e-12 | -1.4585e-12 | -0.032939 | 3.1274e-14 | -5.0455e-14 | -5.8459e-10 | 1.0719e-12 | 3.8152e-13 | 83.6638 | 83.6638 | 83.6638 | 0 | 0 | 0 | 1.3148 | 0 | 0 | 1.3149 | 0.00037366 | 0.00037366 | -6.3135 | 0 | 0 | -6.3286 | -74.6645 | -74.6645

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15018 | 2.671 | 2.0682 | 0.14849 | 2.6706 | 2.0673 | 1.7341 | 30.8417 | 23.8814 | 1.7146 | 30.8369 | 23.8708 | -0.35267 | 8.7339 | 1.6657 | 0.64888 | -4.1131e-11 | -4.0235e-11 | -1.9752 | 0.55211 | 7.3029 | 2.1589 | 4.6534e-11 | 2.7548e-11 | 100.3529 | 170.4572 | 37.7411 | -79.5843 | -9.5076 | -142.2984 | 1.157 | 0.28375 | 0.31365 | 1.3148 | 0 | 0 | 0.22934 | 174.0742 | 114.8925 | -6.3135 | 0 | 0
Line_1 | 0.0021696 | 0.0021696 | 0.0021696 | 0 | 0 | 0 | 0.025053 | 0.025053 | 0.025053 | 0 | 0 | 0 | 1.305e-05 | 3.9597e-14 | 8.5689e-15 | -1.0684e-09 | 1.0589e-12 | -1.4585e-12 | -0.032939 | 3.1274e-14 | -5.0455e-14 | -5.846e-10 | 1.0719e-12 | 3.8153e-13 | 83.6638 | 83.6638 | 83.6638 | 0 | 0 | 0 | 1.3148 | 0 | 0 | 1.3149 | 0.00037366 | 0.00037366 | -6.3135 | 0 | 0 | -6.3286 | -74.6645 | -74.6645
Line_2 | 0.0021696 | 0.0021696 | 0.0021696 | 0 | 0 | 0 | 0.025053 | 0.025053 | 0.025053 | 0 | 0 | 0 | 1.305e-05 | 3.9597e-14 | 8.5689e-15 | -1.0684e-09 | 1.0589e-12 | -1.4585e-12 | -0.032939 | 3.1274e-14 | -5.0455e-14 | -5.8459e-10 | 1.0719e-12 | 3.8152e-13 | 83.6638 | 83.6638 | 83.6638 | 0 | 0 | 0 | 1.3148 | 0 | 0 | 1.3149 | 0.00037366 | 0.00037366 | -6.3135 | 0 | 0 | -6.3286 | -74.6645 | -74.6645

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1472 | 1.0426 | 0.93422 | 0.14639 | 1.0426 | 0.93362 | 1.6997 | 12.0392 | 10.7875 | 1.6904 | 12.0384 | 10.7805 | -0.35981 | 7.81 | 5.8446 | 0.48989 | -6.442 | -5.2232 | -1.9315 | 5.5714 | 6.2801 | 2.0426 | -5.7602 | -4.737 | 100.7991 | -171.2681 | 61.651 | -79.214 | 8.7765 | -118.3821 | 1.1559 | 0.79686 | 0.79527 | 1.2427 | 0.71784 | 0.65408 | 0.24661 | -135.7653 | 108.708 | -2.7007 | -129.4216 | 103.8229
Line_1 | 0.0010389 | 0.0010389 | 0.0010389 | 0 | 0 | 0 | 0.011996 | 0.011996 | 0.011996 | 0 | 0 | 0 | -0.0012177 | -0.0064587 | 0.0076794 | -6.5599e-10 | 9.6681e-10 | 9.6511e-10 | -0.014857 | 0.0056954 | 0.0016096 | -2.3685e-10 | -4.7338e-10 | -7.3492e-10 | 91.9849 | 91.9849 | 91.9849 | 0 | 0 | 0 | 1.2427 | 0.71784 | 0.65408 | 1.2427 | 0.71792 | 0.6539 | -2.7007 | -129.4216 | 103.8229 | -2.7081 | -129.4089 | 103.8203
Line_2 | 0.0010389 | 0.0010389 | 0.0010389 | 0 | 0 | 0 | 0.011996 | 0.011996 | 0.011996 | 0 | 0 | 0 | -0.0012177 | -0.0064587 | 0.0076794 | -6.56e-10 | 9.6682e-10 | 9.6513e-10 | -0.014857 | 0.0056954 | 0.0016096 | -2.3683e-10 | -4.7338e-10 | -7.3492e-10 | 91.9849 | 91.9849 | 91.9849 | 0 | 0 | 0 | 1.2427 | 0.71784 | 0.65408 | 1.2427 | 0.71792 | 0.6539 | -2.7007 | -129.4216 | 103.8229 | -2.7081 | -129.4089 | 103.8203

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1472 | 1.0426 | 0.93422 | 0.14639 | 1.0426 | 0.93362 | 1.6997 | 12.0392 | 10.7875 | 1.6904 | 12.0384 | 10.7805 | -0.35981 | 7.81 | 5.8446 | 0.48989 | -6.442 | -5.2232 | -1.9315 | 5.5714 | 6.2801 | 2.0426 | -5.7602 | -4.737 | 100.7991 | -171.2681 | 61.651 | -79.214 | 8.7765 | -118.3821 | 1.1559 | 0.79686 | 0.79527 | 1.2427 | 0.71784 | 0.65408 | 0.24661 | -135.7653 | 108.708 | -2.7007 | -129.4216 | 103.8229
Line_1 | 0.0010389 | 0.0010389 | 0.0010389 | 0 | 0 | 0 | 0.011996 | 0.011996 | 0.011996 | 0 | 0 | 0 | -0.0012177 | -0.0064587 | 0.0076794 | -6.5599e-10 | 9.6681e-10 | 9.6511e-10 | -0.014857 | 0.0056954 | 0.0016096 | -2.3685e-10 | -4.7338e-10 | -7.3492e-10 | 91.9849 | 91.9849 | 91.9849 | 0 | 0 | 0 | 1.2427 | 0.71784 | 0.65408 | 1.2427 | 0.71792 | 0.6539 | -2.7007 | -129.4216 | 103.8229 | -2.7081 | -129.4089 | 103.8203
Line_2 | 0.0010389 | 0.0010389 | 0.0010389 | 0 | 0 | 0 | 0.011996 | 0.011996 | 0.011996 | 0 | 0 | 0 | -0.0012177 | -0.0064587 | 0.0076794 | -6.56e-10 | 9.6682e-10 | 9.6513e-10 | -0.014857 | 0.0056954 | 0.0016096 | -2.3683e-10 | -4.7338e-10 | -7.3492e-10 | 91.9849 | 91.9849 | 91.9849 | 0 | 0 | 0 | 1.2427 | 0.71784 | 0.65408 | 1.2427 | 0.71792 | 0.6539 | -2.7007 | -129.4216 | 103.8229 | -2.7081 | -129.4089 | 103.8203

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0053366 | 2.1446 | 1.5471 | 0.0039731 | 2.1444 | 1.5463 | 0.061621 | 24.7634 | 17.8641 | 0.045877 | 24.7611 | 17.8556 | 0.0042038 | 9.4319 | 1.4996 | -4.2012e-05 | -2.5475e-11 | -1.0126e-11 | -0.061618 | -1.0675 | 5.7525 | 0.055228 | -3.29e-11 | -2.8746e-11 | 86.075 | 178.2475 | 38.6618 | -97.6554 | -1.7156 | -141.3821 | 1.0023 | 0.38331 | 0.33278 | 1.2038 | 0 | 0 | -0.022111 | 171.7901 | 114.0509 | -7.6118 | 0 | 0
Line_1 | 0.0019866 | 0.0019866 | 0.0019866 | 0 | 0 | 0 | 0.022939 | 0.022939 | 0.022939 | 0 | 0 | 0 | 2.1005e-05 | -3.2757e-14 | 3.4927e-14 | -9.3946e-10 | 1.8932e-12 | -2.0558e-12 | -0.027614 | 2.0319e-14 | 1.7696e-14 | -5.8696e-10 | 1.2783e-12 | 1.0016e-12 | 82.3446 | 82.3446 | 82.3446 | 0 | 0 | 0 | 1.2038 | 0 | 0 | 1.2039 | 0.00062332 | 0.00062332 | -7.6118 | 0 | 0 | -7.6409 | -85.9926 | -85.9926
Line_2 | 0.0019866 | 0.0019866 | 0.0019866 | 0 | 0 | 0 | 0.022939 | 0.022939 | 0.022939 | 0 | 0 | 0 | 2.1005e-05 | -3.2757e-14 | 3.4927e-14 | -9.3948e-10 | 1.8932e-12 | -2.0557e-12 | -0.027614 | 2.0319e-14 | 1.7696e-14 | -5.8695e-10 | 1.2783e-12 | 1.0017e-12 | 82.3446 | 82.3446 | 82.3446 | 0 | 0 | 0 | 1.2038 | 0 | 0 | 1.2039 | 0.00062332 | 0.00062332 | -7.6118 | 0 | 0 | -7.6409 | -85.9926 | -85.9926

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0053366 | 2.1446 | 1.5471 | 0.0039731 | 2.1444 | 1.5463 | 0.061621 | 24.7634 | 17.8641 | 0.045877 | 24.7611 | 17.8556 | 0.0042038 | 9.4319 | 1.4996 | -4.2012e-05 | -2.5475e-11 | -1.0126e-11 | -0.061618 | -1.0675 | 5.7525 | 0.055228 | -3.29e-11 | -2.8746e-11 | 86.075 | 178.2475 | 38.6618 | -97.6554 | -1.7156 | -141.3821 | 1.0023 | 0.38331 | 0.33278 | 1.2038 | 0 | 0 | -0.022111 | 171.7901 | 114.0509 | -7.6118 | 0 | 0
Line_1 | 0.0019866 | 0.0019866 | 0.0019866 | 0 | 0 | 0 | 0.022939 | 0.022939 | 0.022939 | 0 | 0 | 0 | 2.1005e-05 | -3.2757e-14 | 3.4927e-14 | -9.3946e-10 | 1.8932e-12 | -2.0558e-12 | -0.027614 | 2.0319e-14 | 1.7696e-14 | -5.8696e-10 | 1.2783e-12 | 1.0016e-12 | 82.3446 | 82.3446 | 82.3446 | 0 | 0 | 0 | 1.2038 | 0 | 0 | 1.2039 | 0.00062332 | 0.00062332 | -7.6118 | 0 | 0 | -7.6409 | -85.9926 | -85.9926
Line_2 | 0.0019866 | 0.0019866 | 0.0019866 | 0 | 0 | 0 | 0.022939 | 0.022939 | 0.022939 | 0 | 0 | 0 | 2.1005e-05 | -3.2757e-14 | 3.4927e-14 | -9.3948e-10 | 1.8932e-12 | -2.0557e-12 | -0.027614 | 2.0319e-14 | 1.7696e-14 | -5.8695e-10 | 1.2783e-12 | 1.0017e-12 | 82.3446 | 82.3446 | 82.3446 | 0 | 0 | 0 | 1.2038 | 0 | 0 | 1.2039 | 0.00062332 | 0.00062332 | -7.6118 | 0 | 0 | -7.6409 | -85.9926 | -85.9926

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0028876 | 0.95703 | 0.81755 | 0.0021499 | 0.95704 | 0.81697 | 0.033343 | 11.0508 | 9.4403 | 0.024824 | 11.051 | 9.4335 | 0.001614 | 6.4849 | 4.1594 | -0.0010383 | -4.5725 | -3.333 | -0.033346 | 4.0426 | 4.9777 | 0.027522 | -4.5923 | -3.3255 | 87.2184 | -171.0928 | 58.4135 | -96.5121 | 8.9524 | -121.6201 | 1.0012 | 0.69151 | 0.68714 | 1.1094 | 0.58642 | 0.4991 | -0.010567 | -139.1542 | 108.5308 | -4.3516 | -125.9236 | 103.3157
Line_1 | 0.0010749 | 0.0010749 | 0.0010749 | 0 | 0 | 0 | 0.012412 | 0.012412 | 0.012412 | 0 | 0 | 0 | 0.00051914 | -0.0063406 | 0.0058276 | -4.5728e-10 | 8.7772e-10 | 8.3971e-10 | -0.013761 | 0.0035744 | 0.0021013 | -3.099e-10 | -2.2119e-10 | -5.2488e-10 | 83.4879 | 83.4879 | 83.4879 | 0 | 0 | 0 | 1.1094 | 0.58642 | 0.4991 | 1.1095 | 0.58667 | 0.49876 | -4.3516 | -125.9236 | 103.3157 | -4.3687 | -125.9019 | 103.3212
Line_2 | 0.0010749 | 0.0010749 | 0.0010749 | 0 | 0 | 0 | 0.012412 | 0.012412 | 0.012412 | 0 | 0 | 0 | 0.00051914 | -0.0063406 | 0.0058276 | -4.5728e-10 | 8.7772e-10 | 8.3972e-10 | -0.013761 | 0.0035744 | 0.0021013 | -3.099e-10 | -2.2119e-10 | -5.2488e-10 | 83.4879 | 83.4879 | 83.4879 | 0 | 0 | 0 | 1.1094 | 0.58642 | 0.4991 | 1.1095 | 0.58667 | 0.49876 | -4.3516 | -125.9236 | 103.3157 | -4.3687 | -125.9019 | 103.3212

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0028876 | 0.95703 | 0.81755 | 0.0021499 | 0.95704 | 0.81697 | 0.033343 | 11.0508 | 9.4403 | 0.024824 | 11.051 | 9.4335 | 0.001614 | 6.4849 | 4.1594 | -0.0010383 | -4.5725 | -3.333 | -0.033346 | 4.0426 | 4.9777 | 0.027522 | -4.5923 | -3.3255 | 87.2184 | -171.0928 | 58.4135 | -96.5121 | 8.9524 | -121.6201 | 1.0012 | 0.69151 | 0.68714 | 1.1094 | 0.58642 | 0.4991 | -0.010567 | -139.1542 | 108.5308 | -4.3516 | -125.9236 | 103.3157
Line_1 | 0.0010749 | 0.0010749 | 0.0010749 | 0 | 0 | 0 | 0.012412 | 0.012412 | 0.012412 | 0 | 0 | 0 | 0.00051914 | -0.0063406 | 0.0058276 | -4.5728e-10 | 8.7772e-10 | 8.3971e-10 | -0.013761 | 0.0035744 | 0.0021013 | -3.099e-10 | -2.2119e-10 | -5.2488e-10 | 83.4879 | 83.4879 | 83.4879 | 0 | 0 | 0 | 1.1094 | 0.58642 | 0.4991 | 1.1095 | 0.58667 | 0.49876 | -4.3516 | -125.9236 | 103.3157 | -4.3687 | -125.9019 | 103.3212
Line_2 | 0.0010749 | 0.0010749 | 0.0010749 | 0 | 0 | 0 | 0.012412 | 0.012412 | 0.012412 | 0 | 0 | 0 | 0.00051914 | -0.0063406 | 0.0058276 | -4.5728e-10 | 8.7772e-10 | 8.3972e-10 | -0.013761 | 0.0035744 | 0.0021013 | -3.099e-10 | -2.2119e-10 | -5.2488e-10 | 83.4879 | 83.4879 | 83.4879 | 0 | 0 | 0 | 1.1094 | 0.58642 | 0.4991 | 1.1095 | 0.58667 | 0.49876 | -4.3516 | -125.9236 | 103.3157 | -4.3687 | -125.9019 | 103.3212