## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.5104 | 2.5104 | 0 | 5.5724 | 86.9625 | 86.9625 | 9.8312 | -1e-07 | 11.1547 | -1e-07 | -79.0878 | 100.9122 | 0.17098 | 0 | -30.4793 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -5.4635e-20 | 0 | -3.9566e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0.14434 | 0.14434 | 0.20412 | 0 | 5 | 5 | -1e-07 | 0.0325 | -1e-07 | 0.036875 | 100.9122 | -79.0878 | 0 | 0.0098306 | 0 | -30.4793

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.5104 | 2.5104 | 0 | 5.5724 | 86.9625 | 86.9625 | 9.8312 | -1e-07 | 11.1547 | -1e-07 | -79.0878 | 100.9122 | 0.17098 | 0 | -30.4793 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -5.4635e-20 | 0 | -3.9566e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0.14434 | 0.14434 | 0.20412 | 0 | 5 | 5 | -1e-07 | 0.0325 | -1e-07 | 0.036875 | 100.9122 | -79.0878 | 0 | 0.0098306 | 0 | -30.4793

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.95329 | 0.95329 | 0 | 2.1161 | 33.0229 | 33.0229 | 20.5649 | -19.1472 | 17.1515 | -15.543 | -53.2023 | 126.7977 | 0.81091 | 0.74681 | -13.3736 | -14.1339
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6279e-09 | 0 | 2.2065e-09 | 0 | 0 | 0 | 0.74681 | 0.74681 | -14.1339 | -14.1339
Line_2 | 0.14434 | 0.14434 | 0.20412 | 0 | 5 | 5 | -1.5808 | 1.6133 | -3.3829 | 3.4198 | 100.9122 | -79.0878 | 0.74681 | 0.75624 | -14.1339 | -14.3435

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.95329 | 0.95329 | 0 | 2.1161 | 33.0229 | 33.0229 | 20.5649 | -19.1472 | 17.1515 | -15.543 | -53.2023 | 126.7977 | 0.81091 | 0.74681 | -13.3736 | -14.1339
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6279e-09 | 0 | 2.2065e-09 | 0 | 0 | 0 | 0.74681 | 0.74681 | -14.1339 | -14.1339
Line_2 | 0.14434 | 0.14434 | 0.20412 | 0 | 5 | 5 | -1.5808 | 1.6133 | -3.3829 | 3.4198 | 100.9122 | -79.0878 | 0.74681 | 0.75624 | -14.1339 | -14.3435

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0037 | 2.0037 | 0 | 4.1302 | 69.4115 | 69.4115 | 12.0256 | -1e-07 | 7.1065 | -1e-07 | -74.9546 | 105.0454 | 0.20124 | 0 | -44.3738 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4613e-20 | 0 | -3.7585e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 4.4908e-10 | 0 | 0 | 0 | 2.4613e-20 | 0 | -3.7585e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0037 | 2.0037 | 0 | 4.1302 | 69.4115 | 69.4115 | 12.0256 | -1e-07 | 7.1065 | -1e-07 | -74.9546 | 105.0454 | 0.20124 | 0 | -44.3738 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4613e-20 | 0 | -3.7585e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 4.4908e-10 | 0 | 0 | 0 | 2.4613e-20 | 0 | -3.7585e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.93103 | 0.93103 | 0 | 1.9191 | 32.2518 | 32.2518 | 15.5985 | -13.0022 | 14.5365 | -13.0022 | -58.4151 | 121.5849 | 0.66111 | 0.57014 | -15.4334 | -13.4151
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5248e-09 | 0 | 1.455e-09 | 0 | 0 | 0 | 0.57014 | 0.57014 | -13.4151 | -13.4151
Line_2 | 0 | 0 | 2.0866e-10 | 0 | 0 | 0 | -2.5248e-09 | 0 | 1.455e-09 | 0 | 0 | 0 | 0.57014 | 0.57014 | -13.4151 | -13.4151

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.93103 | 0.93103 | 0 | 1.9191 | 32.2518 | 32.2518 | 15.5985 | -13.0022 | 14.5365 | -13.0022 | -58.4151 | 121.5849 | 0.66111 | 0.57014 | -15.4334 | -13.4151
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5248e-09 | 0 | 1.455e-09 | 0 | 0 | 0 | 0.57014 | 0.57014 | -13.4151 | -13.4151
Line_2 | 0 | 0 | 2.0866e-10 | 0 | 0 | 0 | -2.5248e-09 | 0 | 1.455e-09 | 0 | 0 | 0 | 0.57014 | 0.57014 | -13.4151 | -13.4151

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 2.1788 | 2.1788 | 0.28867 | 2.1788 | 2.1788 | 3.3333 | 25.1592 | 25.1592 | 3.3333 | 25.1592 | 25.1592 | -0.73059 | 17.3917 | -12.8413 | 0.77392 | -14.923 | 15.31 | -3.9652 | -1.117 | 4.7117 | 4.0144 | 3.9179 | -1.9107 | 100.9121 | -165.2895 | 7.1139 | -79.0879 | 14.7105 | -172.8861 | 1.2096 | 0.69269 | 0.54368 | 1.2265 | 0.61325 | 0.61325 | 0.47238 | -168.9642 | 166.965 | -1.4361e-05 | 180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6882e-10 | 1.4221e-10 | 1.422e-10 | -5.6883e-10 | -1.422e-10 | -1.422e-10 | -1.4257e-16 | 2.1421e-09 | -2.142e-09 | 1.4258e-16 | -2.1421e-09 | 2.142e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2265 | 0.61325 | 0.61325 | 1.2265 | 0.61325 | 0.61325 | -1.4361e-05 | 180 | 180 | -1.4361e-05 | 180 | 180
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | -0.38696 | -0.96588 | 0.7724 | 0.3978 | 0.97672 | -0.76157 | -2.0072 | -0.33423 | -0.66936 | 2.0195 | 0.34652 | 0.68165 | 100.9121 | -19.0875 | -139.0879 | -79.0879 | 160.9125 | 40.9121 | 1.2265 | 0.61325 | 0.61325 | 1.235 | 0.62182 | 0.61324 | -1.4361e-05 | 180 | 180 | -0.23135 | -179.5537 | 179.0815

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 2.1788 | 2.1788 | 0.28867 | 2.1788 | 2.1788 | 3.3333 | 25.1592 | 25.1592 | 3.3333 | 25.1592 | 25.1592 | -0.73059 | 17.3917 | -12.8413 | 0.77392 | -14.923 | 15.31 | -3.9652 | -1.117 | 4.7117 | 4.0144 | 3.9179 | -1.9107 | 100.9121 | -165.2895 | 7.1139 | -79.0879 | 14.7105 | -172.8861 | 1.2096 | 0.69269 | 0.54368 | 1.2265 | 0.61325 | 0.61325 | 0.47238 | -168.9642 | 166.965 | -1.4361e-05 | 180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6882e-10 | 1.4221e-10 | 1.422e-10 | -5.6883e-10 | -1.422e-10 | -1.422e-10 | -1.4257e-16 | 2.1421e-09 | -2.142e-09 | 1.4258e-16 | -2.1421e-09 | 2.142e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2265 | 0.61325 | 0.61325 | 1.2265 | 0.61325 | 0.61325 | -1.4361e-05 | 180 | 180 | -1.4361e-05 | 180 | 180
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | -0.38696 | -0.96588 | 0.7724 | 0.3978 | 0.97672 | -0.76157 | -2.0072 | -0.33423 | -0.66936 | 2.0195 | 0.34652 | 0.68165 | 100.9121 | -19.0875 | -139.0879 | -79.0879 | 160.9125 | 40.9121 | 1.2265 | 0.61325 | 0.61325 | 1.235 | 0.62182 | 0.61324 | -1.4361e-05 | 180 | 180 | -0.23135 | -179.5537 | 179.0815

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 1.298 | 1.2155 | 0.28867 | 1.298 | 1.2155 | 3.3333 | 14.9875 | 14.0357 | 3.3333 | 14.9875 | 14.0357 | -0.73059 | 14.0448 | -3.042 | 0.77393 | -13.1688 | 3.8103 | -3.9652 | -0.076711 | 8.7836 | 4.0144 | 1.0707 | -7.9119 | 100.9121 | -146.2788 | 21.0757 | -79.0879 | 33.7212 | -158.9243 | 1.2096 | 0.93712 | 0.66227 | 1.2265 | 0.88155 | 0.62566 | 0.47238 | -146.5918 | 130.1779 | -1.1711e-05 | -150.927 | 136.7907
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6884e-10 | -2.0059e-10 | -9.806e-10 | -5.6885e-10 | 2.006e-10 | 9.8059e-10 | -5.9261e-15 | 1.8274e-09 | -7.2899e-10 | -2.7886e-15 | -1.8274e-09 | 7.2899e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2265 | 0.88155 | 0.62566 | 1.2265 | 0.88155 | 0.62566 | -1.1711e-05 | -150.927 | 136.7907 | -1.1711e-05 | -150.927 | 136.7907
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | -0.38696 | -0.98005 | 0.1068 | 0.3978 | 0.99089 | -0.095966 | -2.0072 | -1.0946 | -1.0373 | 2.0195 | 1.1069 | 1.0496 | 100.9121 | -19.0876 | -139.0878 | -79.0879 | 160.9124 | 40.9122 | 1.2265 | 0.88155 | 0.62566 | 1.235 | 0.89138 | 0.63237 | -1.1711e-05 | -150.927 | 136.7907 | -0.23135 | -150.9221 | 136.1364

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 1.298 | 1.2155 | 0.28867 | 1.298 | 1.2155 | 3.3333 | 14.9875 | 14.0357 | 3.3333 | 14.9875 | 14.0357 | -0.73059 | 14.0448 | -3.042 | 0.77393 | -13.1688 | 3.8103 | -3.9652 | -0.076711 | 8.7836 | 4.0144 | 1.0707 | -7.9119 | 100.9121 | -146.2788 | 21.0757 | -79.0879 | 33.7212 | -158.9243 | 1.2096 | 0.93712 | 0.66227 | 1.2265 | 0.88155 | 0.62566 | 0.47238 | -146.5918 | 130.1779 | -1.1711e-05 | -150.927 | 136.7907
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6884e-10 | -2.0059e-10 | -9.806e-10 | -5.6885e-10 | 2.006e-10 | 9.8059e-10 | -5.9261e-15 | 1.8274e-09 | -7.2899e-10 | -2.7886e-15 | -1.8274e-09 | 7.2899e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2265 | 0.88155 | 0.62566 | 1.2265 | 0.88155 | 0.62566 | -1.1711e-05 | -150.927 | 136.7907 | -1.1711e-05 | -150.927 | 136.7907
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | -0.38696 | -0.98005 | 0.1068 | 0.3978 | 0.99089 | -0.095966 | -2.0072 | -1.0946 | -1.0373 | 2.0195 | 1.1069 | 1.0496 | 100.9121 | -19.0876 | -139.0878 | -79.0879 | 160.9124 | 40.9122 | 1.2265 | 0.88155 | 0.62566 | 1.235 | 0.89138 | 0.63237 | -1.1711e-05 | -150.927 | 136.7907 | -0.23135 | -150.9221 | 136.1364

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7353 | 1.7353 | 0 | 1.7353 | 1.7353 | 0 | 20.0374 | 20.0374 | 0 | 20.0374 | 20.0374 | -1.8948e-14 | 12.6817 | -6.6688 | 1.8948e-14 | -9.6753 | 9.6753 | -9.4739e-15 | -0.82408 | 4.3773 | 1.4211e-14 | 2.6007 | -2.6007 | 0 | -164.9546 | 15.0454 | 0 | 15.0454 | -164.9546 | 1 | 0.63423 | 0.39811 | 1 | 0.5 | 0.5 | 6.3194e-13 | -168.6725 | 161.7652 | 6.0599e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 2.3685e-15 | 7.1054e-15 | 2.3685e-15 | 9.474e-15 | -2.3684e-15 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.0599e-13 | -180 | 180 | 6.07e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 5.9212e-15 | -7.1054e-15 | 0 | 5.9213e-15 | 7.1055e-15 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.0599e-13 | -180 | 180 | 6.0005e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7353 | 1.7353 | 0 | 1.7353 | 1.7353 | 0 | 20.0374 | 20.0374 | 0 | 20.0374 | 20.0374 | -1.8948e-14 | 12.6817 | -6.6688 | 1.8948e-14 | -9.6753 | 9.6753 | -9.4739e-15 | -0.82408 | 4.3773 | 1.4211e-14 | 2.6007 | -2.6007 | 0 | -164.9546 | 15.0454 | 0 | 15.0454 | -164.9546 | 1 | 0.63423 | 0.39811 | 1 | 0.5 | 0.5 | 6.3194e-13 | -168.6725 | 161.7652 | 6.0599e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 2.3685e-15 | 7.1054e-15 | 2.3685e-15 | 9.474e-15 | -2.3684e-15 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.0599e-13 | -180 | 180 | 6.07e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 5.9212e-15 | -7.1054e-15 | 0 | 5.9213e-15 | 7.1055e-15 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.0599e-13 | -180 | 180 | 6.0005e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.111 | 1.111 | 0 | 1.111 | 1.111 | 0 | 12.8289 | 12.8289 | 0 | 12.8289 | 12.8289 | -1.4211e-14 | 10.0659 | -1.4294 | 1.0658e-14 | -8.8335 | 2.6618 | -7.1054e-15 | 0.96644 | 6.6618 | 9.4739e-15 | -0.23817 | -5.9336 | 0 | -153.6438 | 26.3562 | 0 | 26.3562 | -153.6438 | 1 | 0.78824 | 0.5311 | 1 | 0.68882 | 0.50692 | 3.8609e-13 | -148.1595 | 128.4665 | 3.6077e-13 | -152.0993 | 140.5172
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -3.9984e-10 | -7.9859e-10 | 1.1842e-15 | 3.9984e-10 | 7.9859e-10 | -2.3685e-15 | 1.3421e-09 | -6.5146e-10 | 2.3685e-15 | -1.3421e-09 | 6.5146e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.68882 | 0.50692 | 1 | 0.68882 | 0.50692 | 3.6077e-13 | -152.0993 | 140.5172 | 3.5999e-13 | -152.0993 | 140.5172
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.9984e-10 | -7.9859e-10 | 1.1842e-15 | 3.9984e-10 | 7.9859e-10 | 2.3685e-15 | 1.3421e-09 | -6.5145e-10 | -2.3685e-15 | -1.3421e-09 | 6.5145e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.68882 | 0.50692 | 1 | 0.68882 | 0.50692 | 3.6077e-13 | -152.0993 | 140.5172 | 3.5531e-13 | -152.0993 | 140.5172

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.111 | 1.111 | 0 | 1.111 | 1.111 | 0 | 12.8289 | 12.8289 | 0 | 12.8289 | 12.8289 | -1.4211e-14 | 10.0659 | -1.4294 | 1.0658e-14 | -8.8335 | 2.6618 | -7.1054e-15 | 0.96644 | 6.6618 | 9.4739e-15 | -0.23817 | -5.9336 | 0 | -153.6438 | 26.3562 | 0 | 26.3562 | -153.6438 | 1 | 0.78824 | 0.5311 | 1 | 0.68882 | 0.50692 | 3.8609e-13 | -148.1595 | 128.4665 | 3.6077e-13 | -152.0993 | 140.5172
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -3.9984e-10 | -7.9859e-10 | 1.1842e-15 | 3.9984e-10 | 7.9859e-10 | -2.3685e-15 | 1.3421e-09 | -6.5146e-10 | 2.3685e-15 | -1.3421e-09 | 6.5146e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.68882 | 0.50692 | 1 | 0.68882 | 0.50692 | 3.6077e-13 | -152.0993 | 140.5172 | 3.5999e-13 | -152.0993 | 140.5172
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.9984e-10 | -7.9859e-10 | 1.1842e-15 | 3.9984e-10 | 7.9859e-10 | 2.3685e-15 | 1.3421e-09 | -6.5145e-10 | -2.3685e-15 | -1.3421e-09 | 6.5145e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.68882 | 0.50692 | 1 | 0.68882 | 0.50692 | 3.6077e-13 | -152.0993 | 140.5172 | 3.5531e-13 | -152.0993 | 140.5172

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.23 | 0.28974 | 0.29436 | 2.2282 | 0.28914 | 0.29294 | 25.7496 | 3.3456 | 3.399 | 25.7286 | 3.3387 | 3.3826 | 8.5805 | -0.64473 | -0.80042 | 1.7621e-12 | 1.3815 | 0.89437 | 4.4303 | -3.9971 | -4.0397 | 7.1141e-11 | 3.5909 | 4.8835 | -67.6787 | -20.491 | -138.2331 | 112.3437 | 159.8914 | 41.4874 | 0.37502 | 1.2102 | 1.2116 | 0 | 1.1524 | 1.4677 | -40.3702 | -119.6537 | 120.5597 | 0 | -131.1519 | 121.1091
Line_1 | 0.0025838 | 0.0025838 | 0.0025838 | 0 | 0 | 0 | 0.029835 | 0.029835 | 0.029835 | 0 | 0 | 0 | 4.7722e-14 | 0.030703 | -0.030684 | -2.277e-13 | -3.0798e-10 | -1.9829e-09 | -6.7323e-14 | -0.015473 | -0.031241 | 1.7804e-12 | -9.0008e-10 | 1.1388e-10 | -104.4062 | -104.4062 | -104.4062 | 0 | 0 | 0 | 0 | 1.1524 | 1.4677 | 0.00044499 | 1.1521 | 1.4681 | 0 | -131.1519 | 121.1091 | 97.2655 | -131.1685 | 121.102
Line_2 | 0.14201 | 0.14457 | 0.14647 | 0.14434 | 0.14434 | 0.14434 | 1.6398 | 1.6694 | 1.6913 | 1.6667 | 1.6667 | 1.6667 | -7.5376e-13 | -0.69076 | -0.44719 | 0.010093 | 0.73263 | 0.42775 | 4.4723e-12 | -1.7954 | -2.4417 | 0.012339 | 1.7916 | 2.4234 | 101.3581 | -20.1086 | -138.5126 | -79.0877 | 160.9121 | 40.9123 | 0 | 1.1524 | 1.4677 | 0.0095647 | 1.1614 | 1.4765 | 0 | -131.1519 | 121.1091 | -28.3709 | -131.3289 | 120.9023

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.23 | 0.28974 | 0.29436 | 2.2282 | 0.28914 | 0.29294 | 25.7496 | 3.3456 | 3.399 | 25.7286 | 3.3387 | 3.3826 | 8.5805 | -0.64473 | -0.80042 | 1.7621e-12 | 1.3815 | 0.89437 | 4.4303 | -3.9971 | -4.0397 | 7.1141e-11 | 3.5909 | 4.8835 | -67.6787 | -20.491 | -138.2331 | 112.3437 | 159.8914 | 41.4874 | 0.37502 | 1.2102 | 1.2116 | 0 | 1.1524 | 1.4677 | -40.3702 | -119.6537 | 120.5597 | 0 | -131.1519 | 121.1091
Line_1 | 0.0025838 | 0.0025838 | 0.0025838 | 0 | 0 | 0 | 0.029835 | 0.029835 | 0.029835 | 0 | 0 | 0 | 4.7722e-14 | 0.030703 | -0.030684 | -2.277e-13 | -3.0798e-10 | -1.9829e-09 | -6.7323e-14 | -0.015473 | -0.031241 | 1.7804e-12 | -9.0008e-10 | 1.1388e-10 | -104.4062 | -104.4062 | -104.4062 | 0 | 0 | 0 | 0 | 1.1524 | 1.4677 | 0.00044499 | 1.1521 | 1.4681 | 0 | -131.1519 | 121.1091 | 97.2655 | -131.1685 | 121.102
Line_2 | 0.14201 | 0.14457 | 0.14647 | 0.14434 | 0.14434 | 0.14434 | 1.6398 | 1.6694 | 1.6913 | 1.6667 | 1.6667 | 1.6667 | -7.5376e-13 | -0.69076 | -0.44719 | 0.010093 | 0.73263 | 0.42775 | 4.4723e-12 | -1.7954 | -2.4417 | 0.012339 | 1.7916 | 2.4234 | 101.3581 | -20.1086 | -138.5126 | -79.0877 | 160.9121 | 40.9123 | 0 | 1.1524 | 1.4677 | 0.0095647 | 1.1614 | 1.4765 | 0 | -131.1519 | 121.1091 | -28.3709 | -131.3289 | 120.9023

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.88313 | 0.28986 | 0.29073 | 0.88235 | 0.28941 | 0.29025 | 10.1975 | 3.347 | 3.357 | 10.1885 | 3.3418 | 3.3515 | 7.1329 | -0.69591 | -0.76757 | -5.6249 | 1.0896 | 0.74611 | 4.9496 | -3.9901 | -3.9898 | -4.3308 | 3.9019 | 4.3962 | -48.2155 | -19.687 | -138.5893 | 131.8158 | 160.4706 | 41.2561 | 0.85139 | 1.2101 | 1.2103 | 0.69677 | 1.2123 | 1.3305 | -13.4583 | -119.5804 | 120.5209 | -10.5903 | -125.1316 | 121.6239
Line_1 | 0.0011724 | 0.0011724 | 0.0011724 | 0 | 0 | 0 | 0.013538 | 0.013538 | 0.013538 | 0 | 0 | 0 | 0.0015547 | 0.013601 | -0.015152 | 9.8256e-10 | -5.1821e-10 | -1.1276e-09 | 0.0093037 | -0.009184 | -0.0097378 | -5.1573e-10 | -4.3796e-10 | 1.5193e-10 | -91.1035 | -91.1035 | -91.1035 | 0 | 0 | 0 | 0.69677 | 1.2123 | 1.3305 | 0.69666 | 1.2122 | 1.3307 | -10.5903 | -125.1316 | 121.6239 | -10.5761 | -125.1395 | 121.6222
Line_2 | 0.14319 | 0.1447 | 0.14512 | 0.14434 | 0.14434 | 0.14434 | 1.6534 | 1.6709 | 1.6758 | 1.6667 | 1.6667 | 1.6667 | -0.4241 | -0.5448 | -0.37305 | 0.43616 | 0.56945 | 0.36885 | -1.0712 | -1.951 | -2.1981 | 1.0927 | 1.9538 | 2.201 | 101.0099 | -19.5294 | -138.7439 | -79.0877 | 160.9122 | 40.9122 | 0.69677 | 1.2123 | 1.3305 | 0.70591 | 1.2211 | 1.339 | -10.5903 | -125.1316 | 121.6239 | -10.8477 | -125.3369 | 121.3987

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.88313 | 0.28986 | 0.29073 | 0.88235 | 0.28941 | 0.29025 | 10.1975 | 3.347 | 3.357 | 10.1885 | 3.3418 | 3.3515 | 7.1329 | -0.69591 | -0.76757 | -5.6249 | 1.0896 | 0.74611 | 4.9496 | -3.9901 | -3.9898 | -4.3308 | 3.9019 | 4.3962 | -48.2155 | -19.687 | -138.5893 | 131.8158 | 160.4706 | 41.2561 | 0.85139 | 1.2101 | 1.2103 | 0.69677 | 1.2123 | 1.3305 | -13.4583 | -119.5804 | 120.5209 | -10.5903 | -125.1316 | 121.6239
Line_1 | 0.0011724 | 0.0011724 | 0.0011724 | 0 | 0 | 0 | 0.013538 | 0.013538 | 0.013538 | 0 | 0 | 0 | 0.0015547 | 0.013601 | -0.015152 | 9.8256e-10 | -5.1821e-10 | -1.1276e-09 | 0.0093037 | -0.009184 | -0.0097378 | -5.1573e-10 | -4.3796e-10 | 1.5193e-10 | -91.1035 | -91.1035 | -91.1035 | 0 | 0 | 0 | 0.69677 | 1.2123 | 1.3305 | 0.69666 | 1.2122 | 1.3307 | -10.5903 | -125.1316 | 121.6239 | -10.5761 | -125.1395 | 121.6222
Line_2 | 0.14319 | 0.1447 | 0.14512 | 0.14434 | 0.14434 | 0.14434 | 1.6534 | 1.6709 | 1.6758 | 1.6667 | 1.6667 | 1.6667 | -0.4241 | -0.5448 | -0.37305 | 0.43616 | 0.56945 | 0.36885 | -1.0712 | -1.951 | -2.1981 | 1.0927 | 1.9538 | 2.201 | 101.0099 | -19.5294 | -138.7439 | -79.0877 | 160.9122 | 40.9122 | 0.69677 | 1.2123 | 1.3305 | 0.70591 | 1.2211 | 1.339 | -10.5903 | -125.1316 | 121.6239 | -10.8477 | -125.3369 | 121.3987

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6893 | 0.006489 | 0.006489 | 1.6879 | 0.0048311 | 0.0048311 | 19.5066 | 0.074929 | 0.074929 | 19.4907 | 0.055785 | 0.055785 | 8.6763 | 0.07239 | -0.052906 | 3.8218e-11 | -0.045755 | 0.045693 | 2.4924 | -0.01947 | -0.053289 | 3.2969e-11 | 0.025231 | 0.056426 | -58.8305 | -105.1052 | -105.1052 | 121.2031 | 71.1644 | 71.1644 | 0.46277 | 1.0005 | 1.0022 | 0 | 0.93665 | 1.3015 | -42.803 | -120.1589 | 120.1015 | 0 | -137.7096 | 122.1644
Line_1 | 0.0024156 | 0.0024156 | 0.0024156 | 0 | 0 | 0 | 0.027892 | 0.027892 | 0.027892 | 0 | 0 | 0 | 1.0356e-15 | 0.022878 | -0.022846 | 3.4489e-13 | 5.6218e-11 | -1.4459e-09 | -7.2224e-14 | -0.012616 | -0.028213 | 2.7573e-12 | -1.0458e-09 | 1.7856e-10 | -108.8356 | -108.8356 | -108.8356 | 0 | 0 | 0 | 0 | 0.93665 | 1.3015 | 0.00075793 | 0.93607 | 1.3021 | 0 | -137.7096 | 122.1644 | 82.8272 | -137.7398 | 122.1432
Line_2 | 0.0024156 | 0.0024156 | 0.0024156 | 0 | 0 | 0 | 0.027892 | 0.027892 | 0.027892 | 0 | 0 | 0 | 1.0356e-15 | 0.022878 | -0.022846 | 3.4489e-13 | 5.6223e-11 | -1.4459e-09 | -7.2224e-14 | -0.012616 | -0.028213 | 2.7573e-12 | -1.0458e-09 | 1.7856e-10 | -108.8356 | -108.8356 | -108.8356 | 0 | 0 | 0 | 0 | 0.93665 | 1.3015 | 0.00075793 | 0.93607 | 1.3021 | 0 | -137.7096 | 122.1644 | 82.8272 | -137.7398 | 122.1432

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6893 | 0.006489 | 0.006489 | 1.6879 | 0.0048311 | 0.0048311 | 19.5066 | 0.074929 | 0.074929 | 19.4907 | 0.055785 | 0.055785 | 8.6763 | 0.07239 | -0.052906 | 3.8218e-11 | -0.045755 | 0.045693 | 2.4924 | -0.01947 | -0.053289 | 3.2969e-11 | 0.025231 | 0.056426 | -58.8305 | -105.1052 | -105.1052 | 121.2031 | 71.1644 | 71.1644 | 0.46277 | 1.0005 | 1.0022 | 0 | 0.93665 | 1.3015 | -42.803 | -120.1589 | 120.1015 | 0 | -137.7096 | 122.1644
Line_1 | 0.0024156 | 0.0024156 | 0.0024156 | 0 | 0 | 0 | 0.027892 | 0.027892 | 0.027892 | 0 | 0 | 0 | 1.0356e-15 | 0.022878 | -0.022846 | 3.4489e-13 | 5.6218e-11 | -1.4459e-09 | -7.2224e-14 | -0.012616 | -0.028213 | 2.7573e-12 | -1.0458e-09 | 1.7856e-10 | -108.8356 | -108.8356 | -108.8356 | 0 | 0 | 0 | 0 | 0.93665 | 1.3015 | 0.00075793 | 0.93607 | 1.3021 | 0 | -137.7096 | 122.1644 | 82.8272 | -137.7398 | 122.1432
Line_2 | 0.0024156 | 0.0024156 | 0.0024156 | 0 | 0 | 0 | 0.027892 | 0.027892 | 0.027892 | 0 | 0 | 0 | 1.0356e-15 | 0.022878 | -0.022846 | 3.4489e-13 | 5.6223e-11 | -1.4459e-09 | -7.2224e-14 | -0.012616 | -0.028213 | 2.7573e-12 | -1.0458e-09 | 1.7856e-10 | -108.8356 | -108.8356 | -108.8356 | 0 | 0 | 0 | 0 | 0.93665 | 1.3015 | 0.00075793 | 0.93607 | 1.3021 | 0 | -137.7096 | 122.1644 | 82.8272 | -137.7398 | 122.1432

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.83741 | 0.0032167 | 0.0032167 | 0.83673 | 0.0023948 | 0.0023948 | 9.6696 | 0.037143 | 0.037143 | 9.6617 | 0.027653 | 0.027653 | 5.6192 | 0.034472 | -0.029209 | -3.4865 | -0.024078 | 0.02279 | 4.1192 | -0.013868 | -0.023002 | -3.5018 | 0.01214 | 0.022011 | -51.8876 | -98.1623 | -98.1623 | 128.1459 | 78.1073 | 78.1073 | 0.72054 | 1.0004 | 1.001 | 0.51145 | 0.97515 | 1.1458 | -15.6445 | -120.0766 | 120.0575 | -6.7282 | -128.6499 | 122.1108
Line_1 | 0.0011974 | 0.0011974 | 0.0011974 | 0 | 0 | 0 | 0.013827 | 0.013827 | 0.013827 | 0 | 0 | 0 | -0.00063656 | 0.012039 | -0.011395 | 9.0343e-10 | 4.9103e-11 | -6.1667e-10 | 0.0070428 | -0.0060701 | -0.011005 | -2.1833e-10 | -5.3843e-10 | 1.5404e-10 | -101.8927 | -101.8927 | -101.8927 | 0 | 0 | 0 | 0.51145 | 0.97515 | 1.1458 | 0.51141 | 0.97485 | 1.1461 | -6.7282 | -128.6499 | 122.1108 | -6.6863 | -128.6636 | 122.1008
Line_2 | 0.0011974 | 0.0011974 | 0.0011974 | 0 | 0 | 0 | 0.013827 | 0.013827 | 0.013827 | 0 | 0 | 0 | -0.00063656 | 0.012039 | -0.011395 | 9.0343e-10 | 4.9103e-11 | -6.1667e-10 | 0.0070428 | -0.0060701 | -0.011005 | -2.1833e-10 | -5.3842e-10 | 1.5404e-10 | -101.8927 | -101.8927 | -101.8927 | 0 | 0 | 0 | 0.51145 | 0.97515 | 1.1458 | 0.51141 | 0.97485 | 1.1461 | -6.7282 | -128.6499 | 122.1108 | -6.6863 | -128.6636 | 122.1008

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.83741 | 0.0032167 | 0.0032167 | 0.83673 | 0.0023948 | 0.0023948 | 9.6696 | 0.037143 | 0.037143 | 9.6617 | 0.027653 | 0.027653 | 5.6192 | 0.034472 | -0.029209 | -3.4865 | -0.024078 | 0.02279 | 4.1192 | -0.013868 | -0.023002 | -3.5018 | 0.01214 | 0.022011 | -51.8876 | -98.1623 | -98.1623 | 128.1459 | 78.1073 | 78.1073 | 0.72054 | 1.0004 | 1.001 | 0.51145 | 0.97515 | 1.1458 | -15.6445 | -120.0766 | 120.0575 | -6.7282 | -128.6499 | 122.1108
Line_1 | 0.0011974 | 0.0011974 | 0.0011974 | 0 | 0 | 0 | 0.013827 | 0.013827 | 0.013827 | 0 | 0 | 0 | -0.00063656 | 0.012039 | -0.011395 | 9.0343e-10 | 4.9103e-11 | -6.1667e-10 | 0.0070428 | -0.0060701 | -0.011005 | -2.1833e-10 | -5.3843e-10 | 1.5404e-10 | -101.8927 | -101.8927 | -101.8927 | 0 | 0 | 0 | 0.51145 | 0.97515 | 1.1458 | 0.51141 | 0.97485 | 1.1461 | -6.7282 | -128.6499 | 122.1108 | -6.6863 | -128.6636 | 122.1008
Line_2 | 0.0011974 | 0.0011974 | 0.0011974 | 0 | 0 | 0 | 0.013827 | 0.013827 | 0.013827 | 0 | 0 | 0 | -0.00063656 | 0.012039 | -0.011395 | 9.0343e-10 | 4.9103e-11 | -6.1667e-10 | 0.0070428 | -0.0060701 | -0.011005 | -2.1833e-10 | -5.3842e-10 | 1.5404e-10 | -101.8927 | -101.8927 | -101.8927 | 0 | 0 | 0 | 0.51145 | 0.97515 | 1.1458 | 0.51141 | 0.97485 | 1.1461 | -6.7282 | -128.6499 | 122.1108 | -6.6863 | -128.6636 | 122.1008

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29483 | 2.6817 | 2.0444 | 0.29305 | 2.6813 | 2.0434 | 3.4044 | 30.9655 | 23.6064 | 3.3838 | 30.9605 | 23.5952 | -0.72767 | 9.0253 | 1.5728 | 1.3684 | -3.9138e-11 | -3.7187e-11 | -4.0613 | 0.3269 | 7.4448 | 4.4868 | 3.9333e-11 | 2.1651e-11 | 100.6118 | 170.9407 | 37.5295 | -79.3531 | -9.0222 | -142.5127 | 1.212 | 0.29165 | 0.32233 | 1.3862 | 0 | 0 | 0.45377 | 173.0151 | 115.6005 | -6.3135 | 0 | 0
Line_1 | 0.0022876 | 0.0022876 | 0.0022876 | 0 | 0 | 0 | 0.026415 | 0.026415 | 0.026415 | 0 | 0 | 0 | 1.4508e-05 | 3.5086e-14 | 1.1339e-14 | -1.4899e-09 | 1.1165e-12 | -1.5379e-12 | -0.036618 | 3.1783e-14 | -4.6819e-14 | -6.1636e-10 | 1.1302e-12 | 4.0226e-13 | 83.6638 | 83.6638 | 83.6638 | 0 | 0 | 0 | 1.3862 | 0 | 0 | 1.3864 | 0.00039398 | 0.00039398 | -6.3135 | 0 | 0 | -6.3286 | -74.6645 | -74.6645
Line_2 | 0.14652 | 0.14385 | 0.14267 | 0.14434 | 0.14434 | 0.14434 | 1.6919 | 1.661 | 1.6474 | 1.6667 | 1.6667 | 1.6667 | -0.68418 | -2.4094e-12 | -2.5193e-12 | 0.69568 | 0.010462 | 0.01055 | -2.2434 | 1.7483e-12 | 1.6367e-12 | 2.2191 | 0.012833 | 0.011699 | 100.6469 | -18.1989 | -139.7115 | -79.0879 | 160.9124 | 40.9121 | 1.3862 | 0 | 0 | 1.3954 | 0.0099345 | 0.0094522 | -6.3135 | 0 | 0 | -6.4937 | -148.2757 | 88.8697

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29483 | 2.6817 | 2.0444 | 0.29305 | 2.6813 | 2.0434 | 3.4044 | 30.9655 | 23.6064 | 3.3838 | 30.9605 | 23.5952 | -0.72767 | 9.0253 | 1.5728 | 1.3684 | -3.9138e-11 | -3.7187e-11 | -4.0613 | 0.3269 | 7.4448 | 4.4868 | 3.9333e-11 | 2.1651e-11 | 100.6118 | 170.9407 | 37.5295 | -79.3531 | -9.0222 | -142.5127 | 1.212 | 0.29165 | 0.32233 | 1.3862 | 0 | 0 | 0.45377 | 173.0151 | 115.6005 | -6.3135 | 0 | 0
Line_1 | 0.0022876 | 0.0022876 | 0.0022876 | 0 | 0 | 0 | 0.026415 | 0.026415 | 0.026415 | 0 | 0 | 0 | 1.4508e-05 | 3.5086e-14 | 1.1339e-14 | -1.4899e-09 | 1.1165e-12 | -1.5379e-12 | -0.036618 | 3.1783e-14 | -4.6819e-14 | -6.1636e-10 | 1.1302e-12 | 4.0226e-13 | 83.6638 | 83.6638 | 83.6638 | 0 | 0 | 0 | 1.3862 | 0 | 0 | 1.3864 | 0.00039398 | 0.00039398 | -6.3135 | 0 | 0 | -6.3286 | -74.6645 | -74.6645
Line_2 | 0.14652 | 0.14385 | 0.14267 | 0.14434 | 0.14434 | 0.14434 | 1.6919 | 1.661 | 1.6474 | 1.6667 | 1.6667 | 1.6667 | -0.68418 | -2.4094e-12 | -2.5193e-12 | 0.69568 | 0.010462 | 0.01055 | -2.2434 | 1.7483e-12 | 1.6367e-12 | 2.2191 | 0.012833 | 0.011699 | 100.6469 | -18.1989 | -139.7115 | -79.0879 | 160.9124 | 40.9121 | 1.3862 | 0 | 0 | 1.3954 | 0.0099345 | 0.0094522 | -6.3135 | 0 | 0 | -6.4937 | -148.2757 | 88.8697

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2917 | 0.98067 | 0.85873 | 0.29084 | 0.98066 | 0.85806 | 3.3682 | 11.3238 | 9.9158 | 3.3583 | 11.3236 | 9.908 | -0.73481 | 7.9872 | 5.9142 | 1.0306 | -6.747 | -5.3117 | -4.0113 | 4.9796 | 5.7196 | 4.2777 | -5.2851 | -4.2984 | 100.852 | -167.5438 | 64.8775 | -79.1548 | 12.5062 | -115.158 | 1.2107 | 0.8312 | 0.82974 | 1.3102 | 0.75687 | 0.68964 | 0.47137 | -135.6026 | 108.919 | -2.7007 | -129.4216 | 103.8229
Line_1 | 0.0010954 | 0.0010954 | 0.0010954 | 0 | 0 | 0 | 0.012648 | 0.012648 | 0.012648 | 0 | 0 | 0 | -0.0013537 | -0.0071801 | 0.0085371 | -1.0163e-09 | 9.1105e-10 | 9.2773e-10 | -0.016516 | 0.0063316 | 0.0017894 | -2.497e-10 | -4.9911e-10 | -7.7488e-10 | 91.9849 | 91.9849 | 91.9849 | 0 | 0 | 0 | 1.3102 | 0.75687 | 0.68964 | 1.3103 | 0.75696 | 0.68946 | -2.7007 | -129.4216 | 103.8229 | -2.7081 | -129.4089 | 103.8203
Line_2 | 0.14542 | 0.14395 | 0.14365 | 0.14434 | 0.14434 | 0.14434 | 1.6792 | 1.6622 | 1.6588 | 1.6667 | 1.6667 | 1.6667 | -0.51531 | -0.44552 | -0.51488 | 0.5251 | 0.44896 | 0.53415 | -2.1389 | -1.1765 | -1.0215 | 2.1347 | 1.1954 | 1.0353 | 100.8452 | -18.6809 | -139.4277 | -79.0878 | 160.9123 | 40.9122 | 1.3102 | 0.75687 | 0.68964 | 1.319 | 0.76614 | 0.69899 | -2.7007 | -129.4216 | 103.8229 | -2.9071 | -129.6732 | 103.6212

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2917 | 0.98067 | 0.85873 | 0.29084 | 0.98066 | 0.85806 | 3.3682 | 11.3238 | 9.9158 | 3.3583 | 11.3236 | 9.908 | -0.73481 | 7.9872 | 5.9142 | 1.0306 | -6.747 | -5.3117 | -4.0113 | 4.9796 | 5.7196 | 4.2777 | -5.2851 | -4.2984 | 100.852 | -167.5438 | 64.8775 | -79.1548 | 12.5062 | -115.158 | 1.2107 | 0.8312 | 0.82974 | 1.3102 | 0.75687 | 0.68964 | 0.47137 | -135.6026 | 108.919 | -2.7007 | -129.4216 | 103.8229
Line_1 | 0.0010954 | 0.0010954 | 0.0010954 | 0 | 0 | 0 | 0.012648 | 0.012648 | 0.012648 | 0 | 0 | 0 | -0.0013537 | -0.0071801 | 0.0085371 | -1.0163e-09 | 9.1105e-10 | 9.2773e-10 | -0.016516 | 0.0063316 | 0.0017894 | -2.497e-10 | -4.9911e-10 | -7.7488e-10 | 91.9849 | 91.9849 | 91.9849 | 0 | 0 | 0 | 1.3102 | 0.75687 | 0.68964 | 1.3103 | 0.75696 | 0.68946 | -2.7007 | -129.4216 | 103.8229 | -2.7081 | -129.4089 | 103.8203
Line_2 | 0.14542 | 0.14395 | 0.14365 | 0.14434 | 0.14434 | 0.14434 | 1.6792 | 1.6622 | 1.6588 | 1.6667 | 1.6667 | 1.6667 | -0.51531 | -0.44552 | -0.51488 | 0.5251 | 0.44896 | 0.53415 | -2.1389 | -1.1765 | -1.0215 | 2.1347 | 1.1954 | 1.0353 | 100.8452 | -18.6809 | -139.4277 | -79.0878 | 160.9123 | 40.9122 | 1.3102 | 0.75687 | 0.68964 | 1.319 | 0.76614 | 0.69899 | -2.7007 | -129.4216 | 103.8229 | -2.9071 | -129.6732 | 103.6212

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0053366 | 2.1446 | 1.5471 | 0.0039731 | 2.1444 | 1.5463 | 0.061621 | 24.7634 | 17.8641 | 0.045877 | 24.7611 | 17.8556 | 0.0042038 | 9.4319 | 1.4996 | -4.2012e-05 | -2.5475e-11 | -1.0126e-11 | -0.061618 | -1.0675 | 5.7525 | 0.055228 | -3.29e-11 | -2.8746e-11 | 86.075 | 178.2475 | 38.6618 | -97.6554 | -1.7156 | -141.3821 | 1.0023 | 0.38331 | 0.33278 | 1.2038 | 0 | 0 | -0.022111 | 171.7901 | 114.0509 | -7.6118 | 0 | 0
Line_1 | 0.0019866 | 0.0019866 | 0.0019866 | 0 | 0 | 0 | 0.022939 | 0.022939 | 0.022939 | 0 | 0 | 0 | 2.1005e-05 | -3.2757e-14 | 3.4927e-14 | -9.3946e-10 | 1.8932e-12 | -2.0558e-12 | -0.027614 | 2.0319e-14 | 1.7696e-14 | -5.8696e-10 | 1.2783e-12 | 1.0016e-12 | 82.3446 | 82.3446 | 82.3446 | 0 | 0 | 0 | 1.2038 | 0 | 0 | 1.2039 | 0.00062332 | 0.00062332 | -7.6118 | 0 | 0 | -7.6409 | -85.9926 | -85.9926
Line_2 | 0.0019866 | 0.0019866 | 0.0019866 | 0 | 0 | 0 | 0.022939 | 0.022939 | 0.022939 | 0 | 0 | 0 | 2.1005e-05 | -3.2757e-14 | 3.4927e-14 | -9.3948e-10 | 1.8932e-12 | -2.0557e-12 | -0.027614 | 2.0319e-14 | 1.7696e-14 | -5.8695e-10 | 1.2783e-12 | 1.0017e-12 | 82.3446 | 82.3446 | 82.3446 | 0 | 0 | 0 | 1.2038 | 0 | 0 | 1.2039 | 0.00062332 | 0.00062332 | -7.6118 | 0 | 0 | -7.6409 | -85.9926 | -85.9926

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0053366 | 2.1446 | 1.5471 | 0.0039731 | 2.1444 | 1.5463 | 0.061621 | 24.7634 | 17.8641 | 0.045877 | 24.7611 | 17.8556 | 0.0042038 | 9.4319 | 1.4996 | -4.2012e-05 | -2.5475e-11 | -1.0126e-11 | -0.061618 | -1.0675 | 5.7525 | 0.055228 | -3.29e-11 | -2.8746e-11 | 86.075 | 178.2475 | 38.6618 | -97.6554 | -1.7156 | -141.3821 | 1.0023 | 0.38331 | 0.33278 | 1.2038 | 0 | 0 | -0.022111 | 171.7901 | 114.0509 | -7.6118 | 0 | 0
Line_1 | 0.0019866 | 0.0019866 | 0.0019866 | 0 | 0 | 0 | 0.022939 | 0.022939 | 0.022939 | 0 | 0 | 0 | 2.1005e-05 | -3.2757e-14 | 3.4927e-14 | -9.3946e-10 | 1.8932e-12 | -2.0558e-12 | -0.027614 | 2.0319e-14 | 1.7696e-14 | -5.8696e-10 | 1.2783e-12 | 1.0016e-12 | 82.3446 | 82.3446 | 82.3446 | 0 | 0 | 0 | 1.2038 | 0 | 0 | 1.2039 | 0.00062332 | 0.00062332 | -7.6118 | 0 | 0 | -7.6409 | -85.9926 | -85.9926
Line_2 | 0.0019866 | 0.0019866 | 0.0019866 | 0 | 0 | 0 | 0.022939 | 0.022939 | 0.022939 | 0 | 0 | 0 | 2.1005e-05 | -3.2757e-14 | 3.4927e-14 | -9.3948e-10 | 1.8932e-12 | -2.0557e-12 | -0.027614 | 2.0319e-14 | 1.7696e-14 | -5.8695e-10 | 1.2783e-12 | 1.0017e-12 | 82.3446 | 82.3446 | 82.3446 | 0 | 0 | 0 | 1.2038 | 0 | 0 | 1.2039 | 0.00062332 | 0.00062332 | -7.6118 | 0 | 0 | -7.6409 | -85.9926 | -85.9926

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0028876 | 0.95703 | 0.81755 | 0.0021499 | 0.95704 | 0.81697 | 0.033343 | 11.0508 | 9.4403 | 0.024824 | 11.051 | 9.4335 | 0.001614 | 6.4849 | 4.1594 | -0.0010383 | -4.5725 | -3.333 | -0.033346 | 4.0426 | 4.9777 | 0.027522 | -4.5923 | -3.3255 | 87.2184 | -171.0928 | 58.4135 | -96.5121 | 8.9524 | -121.6201 | 1.0012 | 0.69151 | 0.68714 | 1.1094 | 0.58642 | 0.4991 | -0.010567 | -139.1542 | 108.5308 | -4.3516 | -125.9236 | 103.3157
Line_1 | 0.0010749 | 0.0010749 | 0.0010749 | 0 | 0 | 0 | 0.012412 | 0.012412 | 0.012412 | 0 | 0 | 0 | 0.00051914 | -0.0063406 | 0.0058276 | -4.5728e-10 | 8.7772e-10 | 8.3971e-10 | -0.013761 | 0.0035744 | 0.0021013 | -3.099e-10 | -2.2119e-10 | -5.2488e-10 | 83.4879 | 83.4879 | 83.4879 | 0 | 0 | 0 | 1.1094 | 0.58642 | 0.4991 | 1.1095 | 0.58667 | 0.49876 | -4.3516 | -125.9236 | 103.3157 | -4.3687 | -125.9019 | 103.3212
Line_2 | 0.0010749 | 0.0010749 | 0.0010749 | 0 | 0 | 0 | 0.012412 | 0.012412 | 0.012412 | 0 | 0 | 0 | 0.00051914 | -0.0063406 | 0.0058276 | -4.5728e-10 | 8.7772e-10 | 8.3972e-10 | -0.013761 | 0.0035744 | 0.0021013 | -3.099e-10 | -2.2119e-10 | -5.2488e-10 | 83.4879 | 83.4879 | 83.4879 | 0 | 0 | 0 | 1.1094 | 0.58642 | 0.4991 | 1.1095 | 0.58667 | 0.49876 | -4.3516 | -125.9236 | 103.3157 | -4.3687 | -125.9019 | 103.3212

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0028876 | 0.95703 | 0.81755 | 0.0021499 | 0.95704 | 0.81697 | 0.033343 | 11.0508 | 9.4403 | 0.024824 | 11.051 | 9.4335 | 0.001614 | 6.4849 | 4.1594 | -0.0010383 | -4.5725 | -3.333 | -0.033346 | 4.0426 | 4.9777 | 0.027522 | -4.5923 | -3.3255 | 87.2184 | -171.0928 | 58.4135 | -96.5121 | 8.9524 | -121.6201 | 1.0012 | 0.69151 | 0.68714 | 1.1094 | 0.58642 | 0.4991 | -0.010567 | -139.1542 | 108.5308 | -4.3516 | -125.9236 | 103.3157
Line_1 | 0.0010749 | 0.0010749 | 0.0010749 | 0 | 0 | 0 | 0.012412 | 0.012412 | 0.012412 | 0 | 0 | 0 | 0.00051914 | -0.0063406 | 0.0058276 | -4.5728e-10 | 8.7772e-10 | 8.3971e-10 | -0.013761 | 0.0035744 | 0.0021013 | -3.099e-10 | -2.2119e-10 | -5.2488e-10 | 83.4879 | 83.4879 | 83.4879 | 0 | 0 | 0 | 1.1094 | 0.58642 | 0.4991 | 1.1095 | 0.58667 | 0.49876 | -4.3516 | -125.9236 | 103.3157 | -4.3687 | -125.9019 | 103.3212
Line_2 | 0.0010749 | 0.0010749 | 0.0010749 | 0 | 0 | 0 | 0.012412 | 0.012412 | 0.012412 | 0 | 0 | 0 | 0.00051914 | -0.0063406 | 0.0058276 | -4.5728e-10 | 8.7772e-10 | 8.3972e-10 | -0.013761 | 0.0035744 | 0.0021013 | -3.099e-10 | -2.2119e-10 | -5.2488e-10 | 83.4879 | 83.4879 | 83.4879 | 0 | 0 | 0 | 1.1094 | 0.58642 | 0.4991 | 1.1095 | 0.58667 | 0.49876 | -4.3516 | -125.9236 | 103.3157 | -4.3687 | -125.9019 | 103.3212