## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 0.0325 | -1e-07 | 0.036875 | -1e-07 | -77.7798 | 102.2202 | 0.0098306 | 0 | -29.1714 | 0
Line_2 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 0.0325 | -1e-07 | 0.036875 | -1e-07 | -77.7798 | 102.2202 | 0.0098306 | 0 | -29.1714 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 0.0325 | -1e-07 | 0.036875 | -1e-07 | -77.7798 | 102.2202 | 0.0098306 | 0 | -29.1714 | 0
Line_2 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 0.0325 | -1e-07 | 0.036875 | -1e-07 | -77.7798 | 102.2202 | 0.0098306 | 0 | -29.1714 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1384 | 1.1384 | 0 | 2.4661 | 39.4369 | 39.4369 | 28.164 | -26.1422 | 23.6571 | -21.3631 | -48.785 | 131.215 | 0.93266 | 0.85607 | -8.7555 | -9.5297
Line_1 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 1.6186 | -1.5861 | 4.0125 | -3.9756 | -77.7798 | 102.2202 | 0.86534 | 0.85607 | -9.7485 | -9.5297
Line_2 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 1.6186 | -1.5861 | 4.0125 | -3.9756 | -77.7798 | 102.2202 | 0.86534 | 0.85607 | -9.7485 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1384 | 1.1384 | 0 | 2.4661 | 39.4369 | 39.4369 | 28.164 | -26.1422 | 23.6571 | -21.3631 | -48.785 | 131.215 | 0.93266 | 0.85607 | -8.7555 | -9.5297
Line_1 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 1.6186 | -1.5861 | 4.0125 | -3.9756 | -77.7798 | 102.2202 | 0.86534 | 0.85607 | -9.7485 | -9.5297
Line_2 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 1.6186 | -1.5861 | 4.0125 | -3.9756 | -77.7798 | 102.2202 | 0.86534 | 0.85607 | -9.7485 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 4.4908e-10 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 4.4908e-10 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 4.4908e-10 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 4.4908e-10 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 1.4292e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 1.4292e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 1.4292e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 1.4292e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 3.712 | 3.712 | 0.28867 | 3.712 | 3.712 | 3.3333 | 42.862 | 42.862 | 3.3333 | 42.862 | 42.862 | -0.78508 | 31.5321 | -17.6165 | 0.82842 | -24.3672 | 24.7814 | -3.7759 | 1.8509 | 12.4953 | 3.8251 | 6.2785 | -4.3659 | 102.22 | -165.5514 | 9.9917 | -77.78 | 14.4486 | -170.0083 | 1.157 | 0.73693 | 0.5039 | 1.1741 | 0.58707 | 0.58707 | 0.47457 | -162.192 | 154.6437 | -8.1315e-06 | 180 | 180
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.94255 | -0.71378 | -0.41421 | -0.93172 | 0.72461 | 1.9248 | 0.31107 | 0.66979 | -1.9126 | -0.29878 | -0.6575 | -77.78 | 162.2204 | 42.22 | 102.22 | -17.7796 | -137.78 | 1.1827 | 0.59553 | 0.58729 | 1.1741 | 0.58707 | 0.58707 | -0.23213 | -179.5153 | 179.041 | -8.1315e-06 | 180 | 180
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.94255 | -0.71378 | -0.41421 | -0.93172 | 0.72461 | 1.9248 | 0.31107 | 0.66979 | -1.9126 | -0.29878 | -0.6575 | -77.78 | 162.2204 | 42.22 | 102.22 | -17.7796 | -137.78 | 1.1827 | 0.59553 | 0.58729 | 1.1741 | 0.58707 | 0.58707 | -0.23213 | -179.5153 | 179.041 | -8.1315e-06 | 180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 3.712 | 3.712 | 0.28867 | 3.712 | 3.712 | 3.3333 | 42.862 | 42.862 | 3.3333 | 42.862 | 42.862 | -0.78508 | 31.5321 | -17.6165 | 0.82842 | -24.3672 | 24.7814 | -3.7759 | 1.8509 | 12.4953 | 3.8251 | 6.2785 | -4.3659 | 102.22 | -165.5514 | 9.9917 | -77.78 | 14.4486 | -170.0083 | 1.157 | 0.73693 | 0.5039 | 1.1741 | 0.58707 | 0.58707 | 0.47457 | -162.192 | 154.6437 | -8.1315e-06 | 180 | 180
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.94255 | -0.71378 | -0.41421 | -0.93172 | 0.72461 | 1.9248 | 0.31107 | 0.66979 | -1.9126 | -0.29878 | -0.6575 | -77.78 | 162.2204 | 42.22 | 102.22 | -17.7796 | -137.78 | 1.1827 | 0.59553 | 0.58729 | 1.1741 | 0.58707 | 0.58707 | -0.23213 | -179.5153 | 179.041 | -8.1315e-06 | 180 | 180
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.94255 | -0.71378 | -0.41421 | -0.93172 | 0.72461 | 1.9248 | 0.31107 | 0.66979 | -1.9126 | -0.29878 | -0.6575 | -77.78 | 162.2204 | 42.22 | 102.22 | -17.7796 | -137.78 | 1.1827 | 0.59553 | 0.58729 | 1.1741 | 0.58707 | 0.58707 | -0.23213 | -179.5153 | 179.041 | -8.1315e-06 | 180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 1.7018 | 1.6008 | 0.28867 | 1.7018 | 1.6008 | 3.3333 | 19.6505 | 18.4849 | 3.3333 | 19.6505 | 18.4849 | -0.78509 | 19.6311 | -1.0159 | 0.82842 | -18.1252 | 2.3485 | -3.776 | 1.6514 | 14.4041 | 3.8251 | 0.057272 | -12.8922 | 102.2201 | -142.6862 | 27.9149 | -77.7799 | 37.3138 | -152.0851 | 1.157 | 1.0025 | 0.78117 | 1.1741 | 0.92238 | 0.70892 | 0.47457 | -137.8777 | 121.9492 | -5.5203e-06 | -142.8673 | 128.239
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.89452 | 0.092865 | -0.41421 | -0.88369 | -0.082032 | 1.9249 | 1.2702 | 1.191 | -1.9126 | -1.2579 | -1.1787 | -77.7799 | 162.2203 | 42.2201 | 102.2201 | -17.7797 | -137.7799 | 1.1827 | 0.93216 | 0.71675 | 1.1741 | 0.92238 | 0.70892 | -0.23213 | -142.9336 | 127.7616 | -5.5203e-06 | -142.8673 | 128.239
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.89452 | 0.092865 | -0.41421 | -0.88369 | -0.082032 | 1.9249 | 1.2702 | 1.191 | -1.9126 | -1.2579 | -1.1787 | -77.7799 | 162.2203 | 42.2201 | 102.2201 | -17.7797 | -137.7799 | 1.1827 | 0.93216 | 0.71675 | 1.1741 | 0.92238 | 0.70892 | -0.23213 | -142.9336 | 127.7616 | -5.5203e-06 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 1.7018 | 1.6008 | 0.28867 | 1.7018 | 1.6008 | 3.3333 | 19.6505 | 18.4849 | 3.3333 | 19.6505 | 18.4849 | -0.78509 | 19.6311 | -1.0159 | 0.82842 | -18.1252 | 2.3485 | -3.776 | 1.6514 | 14.4041 | 3.8251 | 0.057272 | -12.8922 | 102.2201 | -142.6862 | 27.9149 | -77.7799 | 37.3138 | -152.0851 | 1.157 | 1.0025 | 0.78117 | 1.1741 | 0.92238 | 0.70892 | 0.47457 | -137.8777 | 121.9492 | -5.5203e-06 | -142.8673 | 128.239
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.89452 | 0.092865 | -0.41421 | -0.88369 | -0.082032 | 1.9249 | 1.2702 | 1.191 | -1.9126 | -1.2579 | -1.1787 | -77.7799 | 162.2203 | 42.2201 | 102.2201 | -17.7797 | -137.7799 | 1.1827 | 0.93216 | 0.71675 | 1.1741 | 0.92238 | 0.70892 | -0.23213 | -142.9336 | 127.7616 | -5.5203e-06 | -142.8673 | 128.239
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.89452 | 0.092865 | -0.41421 | -0.88369 | -0.082032 | 1.9249 | 1.2702 | 1.191 | -1.9126 | -1.2579 | -1.1787 | -77.7799 | 162.2203 | 42.2201 | 102.2201 | -17.7797 | -137.7799 | 1.1827 | 0.93216 | 0.71675 | 1.1741 | 0.92238 | 0.70892 | -0.23213 | -142.9336 | 127.7616 | -5.5203e-06 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -3.079e-14 | 26.5997 | -7.1734 | 2.6053e-14 | -16.8865 | 16.8865 | 9.4739e-15 | -0.51586 | 11.9957 | -9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.6564e-13 | -160.7833 | 141.207 | 6.0979e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5195e-28 | 8.9795e-20 | 7.1055e-15 | -4.737e-15 | 1.1842e-15 | -4.737e-15 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.1265e-13 | -180 | 180 | 6.0979e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 8.9796e-20 | 7.1055e-15 | 2.3685e-15 | 1.1842e-15 | -4.737e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.9043e-13 | -180 | 180 | 6.0979e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -3.079e-14 | 26.5997 | -7.1734 | 2.6053e-14 | -16.8865 | 16.8865 | 9.4739e-15 | -0.51586 | 11.9957 | -9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.6564e-13 | -160.7833 | 141.207 | 6.0979e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5195e-28 | 8.9795e-20 | 7.1055e-15 | -4.737e-15 | 1.1842e-15 | -4.737e-15 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.1265e-13 | -180 | 180 | 6.0979e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 8.9796e-20 | 7.1055e-15 | 2.3685e-15 | 1.1842e-15 | -4.737e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.9043e-13 | -180 | 180 | 6.0979e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -1.2434e-14 | 15.3932 | 0.73601 | 1.125e-14 | -13.0917 | 1.5655 | 7.1054e-15 | 2.3135 | 11.9328 | -4.737e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.4861e-13 | -138.1765 | 119.7467 | 2.6805e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1448e-15 | 4.798e-10 | 8.2616e-10 | -5.3291e-15 | -4.798e-10 | -8.2615e-10 | -4.737e-15 | -1.0532e-09 | 4.5325e-10 | 7.1054e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.6753e-13 | -142.5584 | 131.6989 | 2.6805e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 4.798e-10 | 8.2616e-10 | 1.1842e-15 | -4.798e-10 | -8.2616e-10 | 7.1054e-15 | -1.0532e-09 | 4.5325e-10 | 5.5403e-30 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.585e-13 | -142.5584 | 131.6989 | 2.6805e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -1.2434e-14 | 15.3932 | 0.73601 | 1.125e-14 | -13.0917 | 1.5655 | 7.1054e-15 | 2.3135 | 11.9328 | -4.737e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.4861e-13 | -138.1765 | 119.7467 | 2.6805e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1448e-15 | 4.798e-10 | 8.2616e-10 | -5.3291e-15 | -4.798e-10 | -8.2615e-10 | -4.737e-15 | -1.0532e-09 | 4.5325e-10 | 7.1054e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.6753e-13 | -142.5584 | 131.6989 | 2.6805e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 4.798e-10 | 8.2616e-10 | 1.1842e-15 | -4.798e-10 | -8.2616e-10 | 7.1054e-15 | -1.0532e-09 | 4.5325e-10 | 5.5403e-30 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.585e-13 | -142.5584 | 131.6989 | 2.6805e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.9842 | 0.28795 | 0.29502 | 3.9832 | 0.28792 | 0.2937 | 46.0056 | 3.3249 | 3.4066 | 45.9946 | 3.3246 | 3.3913 | 26.353 | -0.30826 | -1.4136 | 3.2273e-10 | 1.5975 | 1.3409 | 13.8664 | -3.3527 | -3.7115 | -2.3432e-10 | 2.8446 | 5.1206 | -57.1123 | -19.1418 | -137.2514 | 122.9046 | 161.1603 | 42.6035 | 0.64728 | 1.0126 | 1.1659 | 0 | 0.98132 | 1.5608 | -29.3599 | -114.3949 | 111.8989 | 0 | -138.158 | 117.9293
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14224 | 0.14396 | 0.14685 | 1.6667 | 1.6667 | 1.6667 | 1.6425 | 1.6623 | 1.6956 | 0.010094 | 0.8381 | 0.65354 | 1.3692e-11 | -0.79876 | -0.67046 | 0.012517 | 1.4225 | 2.5337 | -3.9194e-12 | -1.4223 | -2.5603 | -77.7797 | 162.22 | 42.2202 | 102.897 | -18.8397 | -137.3965 | 0.0096478 | 0.99064 | 1.57 | 0 | 0.98132 | 1.5608 | -26.6636 | -138.2851 | 117.7567 | 0 | -138.158 | 117.9293
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14224 | 0.14396 | 0.14685 | 1.6667 | 1.6667 | 1.6667 | 1.6425 | 1.6623 | 1.6956 | 0.010094 | 0.8381 | 0.65354 | 1.3692e-11 | -0.79876 | -0.67046 | 0.012517 | 1.4225 | 2.5337 | -3.9194e-12 | -1.4223 | -2.5603 | -77.7797 | 162.22 | 42.2202 | 102.897 | -18.8397 | -137.3965 | 0.0096478 | 0.99064 | 1.57 | 0 | 0.98132 | 1.5608 | -26.6636 | -138.2851 | 117.7567 | 0 | -138.158 | 117.9293

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.9842 | 0.28795 | 0.29502 | 3.9832 | 0.28792 | 0.2937 | 46.0056 | 3.3249 | 3.4066 | 45.9946 | 3.3246 | 3.3913 | 26.353 | -0.30826 | -1.4136 | 3.2273e-10 | 1.5975 | 1.3409 | 13.8664 | -3.3527 | -3.7115 | -2.3432e-10 | 2.8446 | 5.1206 | -57.1123 | -19.1418 | -137.2514 | 122.9046 | 161.1603 | 42.6035 | 0.64728 | 1.0126 | 1.1659 | 0 | 0.98132 | 1.5608 | -29.3599 | -114.3949 | 111.8989 | 0 | -138.158 | 117.9293
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14224 | 0.14396 | 0.14685 | 1.6667 | 1.6667 | 1.6667 | 1.6425 | 1.6623 | 1.6956 | 0.010094 | 0.8381 | 0.65354 | 1.3692e-11 | -0.79876 | -0.67046 | 0.012517 | 1.4225 | 2.5337 | -3.9194e-12 | -1.4223 | -2.5603 | -77.7797 | 162.22 | 42.2202 | 102.897 | -18.8397 | -137.3965 | 0.0096478 | 0.99064 | 1.57 | 0 | 0.98132 | 1.5608 | -26.6636 | -138.2851 | 117.7567 | 0 | -138.158 | 117.9293
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14224 | 0.14396 | 0.14685 | 1.6667 | 1.6667 | 1.6667 | 1.6425 | 1.6623 | 1.6956 | 0.010094 | 0.8381 | 0.65354 | 1.3692e-11 | -0.79876 | -0.67046 | 0.012517 | 1.4225 | 2.5337 | -3.9194e-12 | -1.4223 | -2.5603 | -77.7797 | 162.22 | 42.2202 | 102.897 | -18.8397 | -137.3965 | 0.0096478 | 0.99064 | 1.57 | 0 | 0.98132 | 1.5608 | -26.6636 | -138.2851 | 117.7567 | 0 | -138.158 | 117.9293

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0856 | 0.28878 | 0.29049 | 1.0854 | 0.2887 | 0.29012 | 12.5359 | 3.3345 | 3.3543 | 12.5329 | 3.3336 | 3.3501 | 10.2512 | -0.65727 | -0.98708 | -8.0656 | 1.113 | 0.92506 | 7.1684 | -3.6318 | -3.7835 | -6.2464 | 3.5639 | 4.242 | -41.9341 | -18.2069 | -137.5515 | 138.0869 | 161.886 | 42.3897 | 0.99785 | 1.1068 | 1.1657 | 0.81398 | 1.12 | 1.296 | -6.9703 | -118.4652 | 117.8266 | -4.1571 | -125.457 | 120.0875
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.1436 | 0.14435 | 0.14506 | 1.6667 | 1.6667 | 1.6667 | 1.6582 | 1.6668 | 1.675 | 0.39311 | 0.57775 | 0.46496 | -0.38429 | -0.55649 | -0.46253 | 1.3139 | 1.7906 | 2.1242 | -1.2939 | -1.782 | -2.121 | -77.7798 | 162.2201 | 42.2202 | 102.3848 | -18.114 | -137.6103 | 0.82288 | 1.1289 | 1.3047 | 0.81398 | 1.12 | 1.296 | -4.4365 | -125.6624 | 119.8738 | -4.1571 | -125.457 | 120.0875
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.1436 | 0.14435 | 0.14506 | 1.6667 | 1.6667 | 1.6667 | 1.6582 | 1.6668 | 1.675 | 0.39311 | 0.57775 | 0.46496 | -0.38429 | -0.55649 | -0.46253 | 1.3139 | 1.7906 | 2.1242 | -1.2939 | -1.782 | -2.121 | -77.7798 | 162.2201 | 42.2202 | 102.3848 | -18.114 | -137.6103 | 0.82288 | 1.1289 | 1.3047 | 0.81398 | 1.12 | 1.296 | -4.4365 | -125.6624 | 119.8738 | -4.1571 | -125.457 | 120.0875

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0856 | 0.28878 | 0.29049 | 1.0854 | 0.2887 | 0.29012 | 12.5359 | 3.3345 | 3.3543 | 12.5329 | 3.3336 | 3.3501 | 10.2512 | -0.65727 | -0.98708 | -8.0656 | 1.113 | 0.92506 | 7.1684 | -3.6318 | -3.7835 | -6.2464 | 3.5639 | 4.242 | -41.9341 | -18.2069 | -137.5515 | 138.0869 | 161.886 | 42.3897 | 0.99785 | 1.1068 | 1.1657 | 0.81398 | 1.12 | 1.296 | -6.9703 | -118.4652 | 117.8266 | -4.1571 | -125.457 | 120.0875
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.1436 | 0.14435 | 0.14506 | 1.6667 | 1.6667 | 1.6667 | 1.6582 | 1.6668 | 1.675 | 0.39311 | 0.57775 | 0.46496 | -0.38429 | -0.55649 | -0.46253 | 1.3139 | 1.7906 | 2.1242 | -1.2939 | -1.782 | -2.121 | -77.7798 | 162.2201 | 42.2202 | 102.3848 | -18.114 | -137.6103 | 0.82288 | 1.1289 | 1.3047 | 0.81398 | 1.12 | 1.296 | -4.4365 | -125.6624 | 119.8738 | -4.1571 | -125.457 | 120.0875
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.1436 | 0.14435 | 0.14506 | 1.6667 | 1.6667 | 1.6667 | 1.6582 | 1.6668 | 1.675 | 0.39311 | 0.57775 | 0.46496 | -0.38429 | -0.55649 | -0.46253 | 1.3139 | 1.7906 | 2.1242 | -1.2939 | -1.782 | -2.121 | -77.7798 | 162.2201 | 42.2202 | 102.3848 | -18.114 | -137.6103 | 0.82288 | 1.1289 | 1.3047 | 0.81398 | 1.12 | 1.296 | -4.4365 | -125.6624 | 119.8738 | -4.1571 | -125.457 | 120.0875

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7502 | 0.0074969 | 0.0074969 | 2.7495 | 0.0059403 | 0.0059403 | 31.7565 | 0.086566 | 0.086566 | 31.7489 | 0.068592 | 0.068592 | 22.9567 | 0.076477 | -0.06246 | -7.0708e-11 | -0.054549 | 0.054455 | 6.6059 | -0.0081748 | -0.064546 | -1.73e-11 | 0.038101 | 0.085355 | -41.8914 | -112.0841 | -112.0841 | 138.1382 | 66.5627 | 66.5627 | 0.75223 | 0.88848 | 1.0376 | 0 | 0.97004 | 1.4761 | -25.838 | -118.1855 | 113.8571 | 0 | -148.3706 | 124.0257
Line_1 | 0 | 0 | 0 | 0.0029701 | 0.0029701 | 0.0029701 | 0 | 0 | 0 | 0.034296 | 0.034296 | 0.034296 | 6.9411e-13 | -3.1934e-10 | -2.5944e-09 | 6.4106e-15 | 0.027274 | -0.027227 | 3.3452e-12 | -1.6912e-09 | 3.777e-10 | 7.8372e-14 | -0.01905 | -0.042678 | 0 | 0 | 0 | -113.4373 | -113.4373 | -113.4373 | 0.00093194 | 0.9694 | 1.4767 | 0 | 0.97004 | 1.4761 | 78.2255 | -148.4106 | 123.9998 | 0 | -148.3706 | 124.0257
Line_2 | 0 | 0 | 0 | 0.0029701 | 0.0029701 | 0.0029701 | 0 | 0 | 0 | 0.034296 | 0.034296 | 0.034296 | 6.941e-13 | -3.1932e-10 | -2.5943e-09 | 6.4106e-15 | 0.027274 | -0.027227 | 3.3452e-12 | -1.6912e-09 | 3.7767e-10 | 7.8372e-14 | -0.01905 | -0.042678 | 0 | 0 | 0 | -113.4373 | -113.4373 | -113.4373 | 0.00093194 | 0.9694 | 1.4767 | 0 | 0.97004 | 1.4761 | 78.2255 | -148.4106 | 123.9998 | 0 | -148.3706 | 124.0257

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7502 | 0.0074969 | 0.0074969 | 2.7495 | 0.0059403 | 0.0059403 | 31.7565 | 0.086566 | 0.086566 | 31.7489 | 0.068592 | 0.068592 | 22.9567 | 0.076477 | -0.06246 | -7.0708e-11 | -0.054549 | 0.054455 | 6.6059 | -0.0081748 | -0.064546 | -1.73e-11 | 0.038101 | 0.085355 | -41.8914 | -112.0841 | -112.0841 | 138.1382 | 66.5627 | 66.5627 | 0.75223 | 0.88848 | 1.0376 | 0 | 0.97004 | 1.4761 | -25.838 | -118.1855 | 113.8571 | 0 | -148.3706 | 124.0257
Line_1 | 0 | 0 | 0 | 0.0029701 | 0.0029701 | 0.0029701 | 0 | 0 | 0 | 0.034296 | 0.034296 | 0.034296 | 6.9411e-13 | -3.1934e-10 | -2.5944e-09 | 6.4106e-15 | 0.027274 | -0.027227 | 3.3452e-12 | -1.6912e-09 | 3.777e-10 | 7.8372e-14 | -0.01905 | -0.042678 | 0 | 0 | 0 | -113.4373 | -113.4373 | -113.4373 | 0.00093194 | 0.9694 | 1.4767 | 0 | 0.97004 | 1.4761 | 78.2255 | -148.4106 | 123.9998 | 0 | -148.3706 | 124.0257
Line_2 | 0 | 0 | 0 | 0.0029701 | 0.0029701 | 0.0029701 | 0 | 0 | 0 | 0.034296 | 0.034296 | 0.034296 | 6.941e-13 | -3.1932e-10 | -2.5943e-09 | 6.4106e-15 | 0.027274 | -0.027227 | 3.3452e-12 | -1.6912e-09 | 3.7767e-10 | 7.8372e-14 | -0.01905 | -0.042678 | 0 | 0 | 0 | -113.4373 | -113.4373 | -113.4373 | 0.00093194 | 0.9694 | 1.4767 | 0 | 0.97004 | 1.4761 | 78.2255 | -148.4106 | 123.9998 | 0 | -148.3706 | 124.0257

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0256 | 0.0027957 | 0.0027957 | 1.0253 | 0.0022152 | 0.0022152 | 11.8425 | 0.032282 | 0.032282 | 11.8396 | 0.025579 | 0.025579 | 8.4333 | 0.030824 | -0.020205 | -5.2423 | -0.023609 | 0.016386 | 6.1864 | -0.0027825 | -0.025637 | -5.2638 | 0.0062244 | 0.025283 | -43.9335 | -114.1263 | -114.1263 | 136.096 | 64.5205 | 64.5205 | 0.88318 | 0.95872 | 1.0112 | 0.62746 | 0.95452 | 1.1779 | -7.6708 | -119.2845 | 117.6309 | 1.2135 | -130.249 | 121.5734
Line_1 | 0 | 0 | 0 | 0.0011076 | 0.0011076 | 0.0011076 | 0 | 0 | 0 | 0.01279 | 0.01279 | 0.01279 | 8.5646e-10 | 1.0428e-10 | -7.7106e-10 | -0.0036049 | 0.011805 | -0.0081931 | 4.9961e-11 | -6.2308e-10 | 1.177e-10 | 0.0071697 | -0.0031122 | -0.012642 | 0 | 0 | 0 | -115.4795 | -115.4795 | -115.4795 | 0.62755 | 0.95421 | 1.1781 | 0.62746 | 0.95452 | 1.1779 | 1.2442 | -130.2583 | 121.5613 | 1.2135 | -130.249 | 121.5734
Line_2 | 0 | 0 | 0 | 0.0011076 | 0.0011076 | 0.0011076 | 0 | 0 | 0 | 0.01279 | 0.01279 | 0.01279 | 8.5646e-10 | 1.0428e-10 | -7.7106e-10 | -0.0036049 | 0.011805 | -0.0081931 | 4.9964e-11 | -6.2308e-10 | 1.177e-10 | 0.0071697 | -0.0031122 | -0.012642 | 0 | 0 | 0 | -115.4795 | -115.4795 | -115.4795 | 0.62755 | 0.95421 | 1.1781 | 0.62746 | 0.95452 | 1.1779 | 1.2442 | -130.2583 | 121.5613 | 1.2135 | -130.249 | 121.5734

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0256 | 0.0027957 | 0.0027957 | 1.0253 | 0.0022152 | 0.0022152 | 11.8425 | 0.032282 | 0.032282 | 11.8396 | 0.025579 | 0.025579 | 8.4333 | 0.030824 | -0.020205 | -5.2423 | -0.023609 | 0.016386 | 6.1864 | -0.0027825 | -0.025637 | -5.2638 | 0.0062244 | 0.025283 | -43.9335 | -114.1263 | -114.1263 | 136.096 | 64.5205 | 64.5205 | 0.88318 | 0.95872 | 1.0112 | 0.62746 | 0.95452 | 1.1779 | -7.6708 | -119.2845 | 117.6309 | 1.2135 | -130.249 | 121.5734
Line_1 | 0 | 0 | 0 | 0.0011076 | 0.0011076 | 0.0011076 | 0 | 0 | 0 | 0.01279 | 0.01279 | 0.01279 | 8.5646e-10 | 1.0428e-10 | -7.7106e-10 | -0.0036049 | 0.011805 | -0.0081931 | 4.9961e-11 | -6.2308e-10 | 1.177e-10 | 0.0071697 | -0.0031122 | -0.012642 | 0 | 0 | 0 | -115.4795 | -115.4795 | -115.4795 | 0.62755 | 0.95421 | 1.1781 | 0.62746 | 0.95452 | 1.1779 | 1.2442 | -130.2583 | 121.5613 | 1.2135 | -130.249 | 121.5734
Line_2 | 0 | 0 | 0 | 0.0011076 | 0.0011076 | 0.0011076 | 0 | 0 | 0 | 0.01279 | 0.01279 | 0.01279 | 8.5646e-10 | 1.0428e-10 | -7.7106e-10 | -0.0036049 | 0.011805 | -0.0081931 | 4.9964e-11 | -6.2308e-10 | 1.177e-10 | 0.0071697 | -0.0031122 | -0.012642 | 0 | 0 | 0 | -115.4795 | -115.4795 | -115.4795 | 0.62755 | 0.95421 | 1.1781 | 0.62746 | 0.95452 | 1.1779 | 1.2442 | -130.2583 | 121.5613 | 1.2135 | -130.249 | 121.5734

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29419 | 4.9389 | 2.9979 | 0.29293 | 4.9388 | 2.9971 | 3.3971 | 57.029 | 34.6172 | 3.3825 | 57.0287 | 34.6071 | -1.0457 | 30.8244 | -0.033075 | 1.8413 | 1.4923e-10 | 1.1961e-10 | -3.4267 | 6.3155 | 16.3991 | 4.3685 | -1.93e-10 | -8.5707e-11 | 101.7999 | 176.2163 | 39.2334 | -78.1368 | -3.7686 | -140.7852 | 1.0547 | 0.55173 | 0.47373 | 1.4016 | 0 | 0 | -5.1698 | -172.2048 | 129.349 | -10.9913 | 0 | 0
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14647 | 0.14408 | 0.14249 | 1.6667 | 1.6667 | 1.6667 | 1.6912 | 1.6637 | 1.6454 | 0.93214 | 0.010517 | 0.010486 | -0.92063 | 5.5162e-12 | 5.5075e-12 | 2.1591 | 0.012875 | 0.011726 | -2.1843 | -4.4975e-12 | -4.3141e-12 | -77.7799 | 162.2203 | 42.22 | 101.8632 | -16.8663 | -138.3366 | 1.411 | 0.009975 | 0.0094384 | 1.4016 | 0 | 0 | -11.1309 | -147.0231 | 90.4157 | -10.9913 | 0 | 0
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14647 | 0.14408 | 0.14249 | 1.6667 | 1.6667 | 1.6667 | 1.6912 | 1.6637 | 1.6454 | 0.93214 | 0.010517 | 0.010486 | -0.92063 | 5.5162e-12 | 5.5075e-12 | 2.1591 | 0.012875 | 0.011726 | -2.1843 | -4.4975e-12 | -4.3141e-12 | -77.7799 | 162.2203 | 42.22 | 101.8632 | -16.8663 | -138.3366 | 1.411 | 0.009975 | 0.0094384 | 1.4016 | 0 | 0 | -11.1309 | -147.0231 | 90.4157 | -10.9913 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29419 | 4.9389 | 2.9979 | 0.29293 | 4.9388 | 2.9971 | 3.3971 | 57.029 | 34.6172 | 3.3825 | 57.0287 | 34.6071 | -1.0457 | 30.8244 | -0.033075 | 1.8413 | 1.4923e-10 | 1.1961e-10 | -3.4267 | 6.3155 | 16.3991 | 4.3685 | -1.93e-10 | -8.5707e-11 | 101.7999 | 176.2163 | 39.2334 | -78.1368 | -3.7686 | -140.7852 | 1.0547 | 0.55173 | 0.47373 | 1.4016 | 0 | 0 | -5.1698 | -172.2048 | 129.349 | -10.9913 | 0 | 0
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14647 | 0.14408 | 0.14249 | 1.6667 | 1.6667 | 1.6667 | 1.6912 | 1.6637 | 1.6454 | 0.93214 | 0.010517 | 0.010486 | -0.92063 | 5.5162e-12 | 5.5075e-12 | 2.1591 | 0.012875 | 0.011726 | -2.1843 | -4.4975e-12 | -4.3141e-12 | -77.7799 | 162.2203 | 42.22 | 101.8632 | -16.8663 | -138.3366 | 1.411 | 0.009975 | 0.0094384 | 1.4016 | 0 | 0 | -11.1309 | -147.0231 | 90.4157 | -10.9913 | 0 | 0
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14647 | 0.14408 | 0.14249 | 1.6667 | 1.6667 | 1.6667 | 1.6912 | 1.6637 | 1.6454 | 0.93214 | 0.010517 | 0.010486 | -0.92063 | 5.5162e-12 | 5.5075e-12 | 2.1591 | 0.012875 | 0.011726 | -2.1843 | -4.4975e-12 | -4.3141e-12 | -77.7799 | 162.2203 | 42.22 | 101.8632 | -16.8663 | -138.3366 | 1.411 | 0.009975 | 0.0094384 | 1.4016 | 0 | 0 | -11.1309 | -147.0231 | 90.4157 | -10.9913 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29056 | 1.2119 | 1.0032 | 0.29012 | 1.2121 | 1.0028 | 3.3551 | 13.9943 | 11.584 | 3.3501 | 13.9962 | 11.579 | -0.86909 | 11.7045 | 7.7636 | 1.1775 | -9.7754 | -6.9884 | -3.655 | 7.4734 | 7.5449 | 4.0013 | -7.8077 | -5.583 | 102.0653 | -163.2455 | 71.2295 | -77.9104 | 16.7744 | -108.7771 | 1.1198 | 0.99232 | 0.93455 | 1.245 | 0.89387 | 0.77249 | -1.3104 | -130.6869 | 115.4111 | -4.3089 | -124.611 | 109.8444
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14506 | 0.14426 | 0.14369 | 1.6667 | 1.6667 | 1.6667 | 1.675 | 1.6658 | 1.6592 | 0.60142 | 0.4421 | 0.50083 | -0.58876 | -0.43898 | -0.4841 | 2.0016 | 1.4385 | 1.2026 | -2.0006 | -1.4228 | -1.1868 | -77.7799 | 162.2202 | 42.2201 | 102.0896 | -17.465 | -137.9642 | 1.254 | 0.90292 | 0.78166 | 1.245 | 0.89387 | 0.77249 | -4.5038 | -124.8643 | 109.6115 | -4.3089 | -124.611 | 109.8444
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14506 | 0.14426 | 0.14369 | 1.6667 | 1.6667 | 1.6667 | 1.675 | 1.6658 | 1.6592 | 0.60142 | 0.4421 | 0.50083 | -0.58876 | -0.43898 | -0.4841 | 2.0016 | 1.4385 | 1.2026 | -2.0006 | -1.4228 | -1.1868 | -77.7799 | 162.2202 | 42.2201 | 102.0896 | -17.465 | -137.9642 | 1.254 | 0.90292 | 0.78166 | 1.245 | 0.89387 | 0.77249 | -4.5038 | -124.8643 | 109.6115 | -4.3089 | -124.611 | 109.8444

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29056 | 1.2119 | 1.0032 | 0.29012 | 1.2121 | 1.0028 | 3.3551 | 13.9943 | 11.584 | 3.3501 | 13.9962 | 11.579 | -0.86909 | 11.7045 | 7.7636 | 1.1775 | -9.7754 | -6.9884 | -3.655 | 7.4734 | 7.5449 | 4.0013 | -7.8077 | -5.583 | 102.0653 | -163.2455 | 71.2295 | -77.9104 | 16.7744 | -108.7771 | 1.1198 | 0.99232 | 0.93455 | 1.245 | 0.89387 | 0.77249 | -1.3104 | -130.6869 | 115.4111 | -4.3089 | -124.611 | 109.8444
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14506 | 0.14426 | 0.14369 | 1.6667 | 1.6667 | 1.6667 | 1.675 | 1.6658 | 1.6592 | 0.60142 | 0.4421 | 0.50083 | -0.58876 | -0.43898 | -0.4841 | 2.0016 | 1.4385 | 1.2026 | -2.0006 | -1.4228 | -1.1868 | -77.7799 | 162.2202 | 42.2201 | 102.0896 | -17.465 | -137.9642 | 1.254 | 0.90292 | 0.78166 | 1.245 | 0.89387 | 0.77249 | -4.5038 | -124.8643 | 109.6115 | -4.3089 | -124.611 | 109.8444
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14506 | 0.14426 | 0.14369 | 1.6667 | 1.6667 | 1.6667 | 1.675 | 1.6658 | 1.6592 | 0.60142 | 0.4421 | 0.50083 | -0.58876 | -0.43898 | -0.4841 | 2.0016 | 1.4385 | 1.2026 | -2.0006 | -1.4228 | -1.1868 | -77.7799 | 162.2202 | 42.2201 | 102.0896 | -17.465 | -137.9642 | 1.254 | 0.90292 | 0.78166 | 1.245 | 0.89387 | 0.77249 | -4.5038 | -124.8643 | 109.6115 | -4.3089 | -124.611 | 109.8444

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054592 | 3.8697 | 2.5479 | 0.0043257 | 3.8699 | 2.5472 | 0.063037 | 44.6835 | 29.4208 | 0.049949 | 44.6861 | 29.4126 | 0.0027723 | 28.9895 | 0.61625 | -4.9801e-05 | -1.8824e-10 | -4.3991e-11 | -0.06058 | 1.2928 | 12.531 | 0.065466 | -1.7626e-10 | -1.6431e-10 | 82.9975 | -170.6425 | 37.127 | -98.3557 | 9.374 | -142.893 | 0.96203 | 0.64942 | 0.42644 | 1.3107 | 0 | 0 | -4.3823 | -168.0891 | 124.3116 | -8.3121 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0021629 | 0.0021629 | 0.0021629 | 0 | 0 | 0 | 0.024974 | 0.024974 | 0.024974 | -1.5446e-09 | 2.0779e-12 | -2.2248e-12 | 2.49e-05 | -1.2587e-13 | 1.2448e-13 | -6.9724e-10 | 1.3664e-12 | 1.1178e-12 | -0.032733 | 7.0213e-14 | 7.3249e-14 | 0 | 0 | 0 | 81.6443 | 81.6443 | 81.6443 | 1.3108 | 0.00067864 | 0.00067864 | 1.3107 | 0 | 0 | -8.3411 | -86.6929 | -86.6929 | -8.3121 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0021629 | 0.0021629 | 0.0021629 | 0 | 0 | 0 | 0.024974 | 0.024974 | 0.024974 | -1.5446e-09 | 2.0779e-12 | -2.2248e-12 | 2.49e-05 | -1.2587e-13 | 1.2448e-13 | -6.9722e-10 | 1.3664e-12 | 1.1178e-12 | -0.032733 | 7.0213e-14 | 7.3249e-14 | 0 | 0 | 0 | 81.6443 | 81.6443 | 81.6443 | 1.3108 | 0.00067864 | 0.00067864 | 1.3107 | 0 | 0 | -8.3411 | -86.6929 | -86.6929 | -8.3121 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054592 | 3.8697 | 2.5479 | 0.0043257 | 3.8699 | 2.5472 | 0.063037 | 44.6835 | 29.4208 | 0.049949 | 44.6861 | 29.4126 | 0.0027723 | 28.9895 | 0.61625 | -4.9801e-05 | -1.8824e-10 | -4.3991e-11 | -0.06058 | 1.2928 | 12.531 | 0.065466 | -1.7626e-10 | -1.6431e-10 | 82.9975 | -170.6425 | 37.127 | -98.3557 | 9.374 | -142.893 | 0.96203 | 0.64942 | 0.42644 | 1.3107 | 0 | 0 | -4.3823 | -168.0891 | 124.3116 | -8.3121 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0021629 | 0.0021629 | 0.0021629 | 0 | 0 | 0 | 0.024974 | 0.024974 | 0.024974 | -1.5446e-09 | 2.0779e-12 | -2.2248e-12 | 2.49e-05 | -1.2587e-13 | 1.2448e-13 | -6.9724e-10 | 1.3664e-12 | 1.1178e-12 | -0.032733 | 7.0213e-14 | 7.3249e-14 | 0 | 0 | 0 | 81.6443 | 81.6443 | 81.6443 | 1.3108 | 0.00067864 | 0.00067864 | 1.3107 | 0 | 0 | -8.3411 | -86.6929 | -86.6929 | -8.3121 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0021629 | 0.0021629 | 0.0021629 | 0 | 0 | 0 | 0.024974 | 0.024974 | 0.024974 | -1.5446e-09 | 2.0779e-12 | -2.2248e-12 | 2.49e-05 | -1.2587e-13 | 1.2448e-13 | -6.9722e-10 | 1.3664e-12 | 1.1178e-12 | -0.032733 | 7.0213e-14 | 7.3249e-14 | 0 | 0 | 0 | 81.6443 | 81.6443 | 81.6443 | 1.3108 | 0.00067864 | 0.00067864 | 1.3107 | 0 | 0 | -8.3411 | -86.6929 | -86.6929 | -8.3121 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024847 | 1.1986 | 0.97487 | 0.0019688 | 1.1988 | 0.97436 | 0.028691 | 13.8403 | 11.2568 | 0.022734 | 13.8431 | 11.251 | 0.0074221 | 10.2059 | 5.791 | -0.0057053 | -7.1831 | -4.7386 | -0.02701 | 6.4669 | 7.1233 | 0.024888 | -7.2026 | -4.7362 | 72.8928 | -164.1415 | 64.1579 | -108.4604 | 15.8805 | -115.8494 | 0.97631 | 0.87298 | 0.81553 | 1.1232 | 0.73482 | 0.59548 | -1.7422 | -131.7813 | 115.0478 | -5.549 | -119.0419 | 109.1357
Line_1 | 0 | 0 | 0 | 0.0009844 | 0.0009844 | 0.0009844 | 0 | 0 | 0 | 0.011367 | 0.011367 | 0.011367 | -5.2658e-10 | 7.136e-10 | 8.444e-10 | 0.0028527 | -0.0082106 | 0.0053631 | -3.9935e-10 | 4.5501e-11 | -4.1086e-10 | -0.012444 | 0.0015338 | 0.0041295 | 0 | 0 | 0 | 71.5396 | 71.5396 | 71.5396 | 1.1232 | 0.73511 | 0.5952 | 1.1232 | 0.73482 | 0.59548 | -5.5648 | -119.0328 | 109.1487 | -5.549 | -119.0419 | 109.1357
Line_2 | 0 | 0 | 0 | 0.0009844 | 0.0009844 | 0.0009844 | 0 | 0 | 0 | 0.011367 | 0.011367 | 0.011367 | -5.2658e-10 | 7.136e-10 | 8.4441e-10 | 0.0028527 | -0.0082106 | 0.0053631 | -3.9935e-10 | 4.5498e-11 | -4.1086e-10 | -0.012444 | 0.0015338 | 0.0041295 | 0 | 0 | 0 | 71.5396 | 71.5396 | 71.5396 | 1.1232 | 0.73511 | 0.5952 | 1.1232 | 0.73482 | 0.59548 | -5.5648 | -119.0328 | 109.1487 | -5.549 | -119.0419 | 109.1357

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024847 | 1.1986 | 0.97487 | 0.0019688 | 1.1988 | 0.97436 | 0.028691 | 13.8403 | 11.2568 | 0.022734 | 13.8431 | 11.251 | 0.0074221 | 10.2059 | 5.791 | -0.0057053 | -7.1831 | -4.7386 | -0.02701 | 6.4669 | 7.1233 | 0.024888 | -7.2026 | -4.7362 | 72.8928 | -164.1415 | 64.1579 | -108.4604 | 15.8805 | -115.8494 | 0.97631 | 0.87298 | 0.81553 | 1.1232 | 0.73482 | 0.59548 | -1.7422 | -131.7813 | 115.0478 | -5.549 | -119.0419 | 109.1357
Line_1 | 0 | 0 | 0 | 0.0009844 | 0.0009844 | 0.0009844 | 0 | 0 | 0 | 0.011367 | 0.011367 | 0.011367 | -5.2658e-10 | 7.136e-10 | 8.444e-10 | 0.0028527 | -0.0082106 | 0.0053631 | -3.9935e-10 | 4.5501e-11 | -4.1086e-10 | -0.012444 | 0.0015338 | 0.0041295 | 0 | 0 | 0 | 71.5396 | 71.5396 | 71.5396 | 1.1232 | 0.73511 | 0.5952 | 1.1232 | 0.73482 | 0.59548 | -5.5648 | -119.0328 | 109.1487 | -5.549 | -119.0419 | 109.1357
Line_2 | 0 | 0 | 0 | 0.0009844 | 0.0009844 | 0.0009844 | 0 | 0 | 0 | 0.011367 | 0.011367 | 0.011367 | -5.2658e-10 | 7.136e-10 | 8.4441e-10 | 0.0028527 | -0.0082106 | 0.0053631 | -3.9935e-10 | 4.5498e-11 | -4.1086e-10 | -0.012444 | 0.0015338 | 0.0041295 | 0 | 0 | 0 | 71.5396 | 71.5396 | 71.5396 | 1.1232 | 0.73511 | 0.5952 | 1.1232 | 0.73482 | 0.59548 | -5.5648 | -119.0328 | 109.1487 | -5.549 | -119.0419 | 109.1357