## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -1e-07 | 0.1872 | -1e-07 | 0.2124 | 92.672 | -87.328 | 0 | 0.023593 | 0 | -38.7195
Line_1 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.1404 | -0.0936 | 0.1593 | -0.1062 | -87.328 | 92.672 | 0.03539 | 0.023593 | -38.7195 | -38.7195
Line_2 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.1404 | -0.0936 | 0.1593 | -0.1062 | -87.328 | 92.672 | 0.03539 | 0.023593 | -38.7195 | -38.7195

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -1e-07 | 0.1872 | -1e-07 | 0.2124 | 92.672 | -87.328 | 0 | 0.023593 | 0 | -38.7195
Line_1 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.1404 | -0.0936 | 0.1593 | -0.1062 | -87.328 | 92.672 | 0.03539 | 0.023593 | -38.7195 | -38.7195
Line_2 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.1404 | -0.0936 | 0.1593 | -0.1062 | -87.328 | 92.672 | 0.03539 | 0.023593 | -38.7195 | -38.7195

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -2.4508 | 2.638 | -10.8547 | 11.0671 | 92.672 | -87.328 | 0.92733 | 0.94809 | -10.051 | -10.7351
Line_1 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3658 | -1.319 | 5.5866 | -5.5335 | -87.328 | 92.672 | 0.95853 | 0.94809 | -11.0659 | -10.7351
Line_2 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3658 | -1.319 | 5.5866 | -5.5335 | -87.328 | 92.672 | 0.95853 | 0.94809 | -11.0659 | -10.7351

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -2.4508 | 2.638 | -10.8547 | 11.0671 | 92.672 | -87.328 | 0.92733 | 0.94809 | -10.051 | -10.7351
Line_1 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3658 | -1.319 | 5.5866 | -5.5335 | -87.328 | 92.672 | 0.95853 | 0.94809 | -11.0659 | -10.7351
Line_2 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3658 | -1.319 | 5.5866 | -5.5335 | -87.328 | 92.672 | 0.95853 | 0.94809 | -11.0659 | -10.7351

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2812e-20 | 0 | 2.6701e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2812e-20 | 0 | 2.6701e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.21804 | -2.0776 | 1.9686 | 0.28044 | 2.14 | -1.9062 | -4.6722 | -1.0736 | -1.2625 | 4.743 | 1.1444 | 1.3333 | 92.6718 | -27.3278 | -147.3281 | -87.3282 | 152.6722 | 32.6719 | 1.1693 | 0.58466 | 0.58466 | 1.1878 | 0.60671 | 0.58156 | -7.8808e-06 | 180 | 180 | -0.71188 | -179.1913 | 177.7018
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 1.0856 | -0.93751 | -0.14022 | -1.07 | 0.95311 | 2.3892 | 0.58992 | 0.68434 | -2.3715 | -0.57222 | -0.66664 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1971 | 0.61777 | 0.58035 | 1.1878 | 0.60671 | 0.58156 | -1.0595 | -178.8087 | 176.5444 | -0.71188 | -179.1913 | 177.7018
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 1.0856 | -0.93751 | -0.14022 | -1.07 | 0.95311 | 2.3892 | 0.58992 | 0.68434 | -2.3715 | -0.57222 | -0.66664 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1971 | 0.61777 | 0.58035 | 1.1878 | 0.60671 | 0.58156 | -1.0595 | -178.8087 | 176.5444 | -0.71188 | -179.1913 | 177.7018

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.21804 | -2.0776 | 1.9686 | 0.28044 | 2.14 | -1.9062 | -4.6722 | -1.0736 | -1.2625 | 4.743 | 1.1444 | 1.3333 | 92.6718 | -27.3278 | -147.3281 | -87.3282 | 152.6722 | 32.6719 | 1.1693 | 0.58466 | 0.58466 | 1.1878 | 0.60671 | 0.58156 | -7.8808e-06 | 180 | 180 | -0.71188 | -179.1913 | 177.7018
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 1.0856 | -0.93751 | -0.14022 | -1.07 | 0.95311 | 2.3892 | 0.58992 | 0.68434 | -2.3715 | -0.57222 | -0.66664 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1971 | 0.61777 | 0.58035 | 1.1878 | 0.60671 | 0.58156 | -1.0595 | -178.8087 | 176.5444 | -0.71188 | -179.1913 | 177.7018
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 1.0856 | -0.93751 | -0.14022 | -1.07 | 0.95311 | 2.3892 | 0.58992 | 0.68434 | -2.3715 | -0.57222 | -0.66664 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1971 | 0.61777 | 0.58035 | 1.1878 | 0.60671 | 0.58156 | -1.0595 | -178.8087 | 176.5444 | -0.71188 | -179.1913 | 177.7018

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.21804 | -1.5871 | -0.013289 | 0.28044 | 1.6495 | 0.07569 | -4.6722 | -3.6454 | -2.9732 | 4.743 | 3.7162 | 3.044 | 92.6719 | -27.328 | -147.328 | -87.3281 | 152.672 | 32.672 | 1.1693 | 0.99397 | 0.74331 | 1.1878 | 1.0165 | 0.76124 | -4.5886e-06 | -140.8543 | 122.4159 | -0.71188 | -141.2623 | 121.2476
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 0.84033 | 0.053445 | -0.14022 | -0.82473 | -0.037845 | 2.3892 | 1.8758 | 1.5397 | -2.3715 | -1.8581 | -1.522 | -87.3281 | 152.672 | 32.672 | 92.6719 | -27.328 | -147.328 | 1.1971 | 1.0277 | 0.77032 | 1.1878 | 1.0165 | 0.76124 | -1.0595 | -141.4596 | 120.684 | -0.71188 | -141.2623 | 121.2476
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 0.84033 | 0.053445 | -0.14022 | -0.82473 | -0.037845 | 2.3892 | 1.8758 | 1.5397 | -2.3715 | -1.8581 | -1.522 | -87.3281 | 152.672 | 32.672 | 92.6719 | -27.328 | -147.328 | 1.1971 | 1.0277 | 0.77032 | 1.1878 | 1.0165 | 0.76124 | -1.0595 | -141.4596 | 120.684 | -0.71188 | -141.2623 | 121.2476

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.21804 | -1.5871 | -0.013289 | 0.28044 | 1.6495 | 0.07569 | -4.6722 | -3.6454 | -2.9732 | 4.743 | 3.7162 | 3.044 | 92.6719 | -27.328 | -147.328 | -87.3281 | 152.672 | 32.672 | 1.1693 | 0.99397 | 0.74331 | 1.1878 | 1.0165 | 0.76124 | -4.5886e-06 | -140.8543 | 122.4159 | -0.71188 | -141.2623 | 121.2476
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 0.84033 | 0.053445 | -0.14022 | -0.82473 | -0.037845 | 2.3892 | 1.8758 | 1.5397 | -2.3715 | -1.8581 | -1.522 | -87.3281 | 152.672 | 32.672 | 92.6719 | -27.328 | -147.328 | 1.1971 | 1.0277 | 0.77032 | 1.1878 | 1.0165 | 0.76124 | -1.0595 | -141.4596 | 120.684 | -0.71188 | -141.2623 | 121.2476
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 0.84033 | 0.053445 | -0.14022 | -0.82473 | -0.037845 | 2.3892 | 1.8758 | 1.5397 | -2.3715 | -1.8581 | -1.522 | -87.3281 | 152.672 | 32.672 | 92.6719 | -27.328 | -147.328 | 1.1971 | 1.0277 | 0.77032 | 1.1878 | 1.0165 | 0.76124 | -1.0595 | -141.4596 | 120.684 | -0.71188 | -141.2623 | 121.2476

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -5.9212e-15 | -4.737e-15 | 2.1316e-14 | 7.1061e-15 | 7.1061e-15 | 2.3685e-14 | 4.7631e-09 | -4.7631e-09 | -1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.5886e-13 | -180 | 180 | 7.9867e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1839e-15 | -4.7366e-15 | 2.3685e-15 | 7.1052e-15 | 7.1052e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.0191e-13 | -180 | 180 | 7.9867e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 3.553e-15 | 4.7373e-15 | -9.4739e-15 | -2.3687e-15 | -2.3687e-15 | 9.6666e-29 | -1.5877e-09 | 1.5877e-09 | -1.3206e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.7949e-13 | -180 | 180 | 7.9867e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -5.9212e-15 | -4.737e-15 | 2.1316e-14 | 7.1061e-15 | 7.1061e-15 | 2.3685e-14 | 4.7631e-09 | -4.7631e-09 | -1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.5886e-13 | -180 | 180 | 7.9867e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1839e-15 | -4.7366e-15 | 2.3685e-15 | 7.1052e-15 | 7.1052e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.0191e-13 | -180 | 180 | 7.9867e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 3.553e-15 | 4.7373e-15 | -9.4739e-15 | -2.3687e-15 | -2.3687e-15 | 9.6666e-29 | -1.5877e-09 | 1.5877e-09 | -1.3206e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.7949e-13 | -180 | 180 | 7.9867e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.033e-15 | -8.0023e-10 | -2.5674e-09 | 5.6251e-15 | 8.0024e-10 | 2.5674e-09 | -2.6435e-29 | 3.4014e-09 | -3.4065e-10 | -2.3685e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.0094e-13 | -141.4824 | 122.8363 | 3.2135e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3253e-29 | 2.6675e-10 | 8.558e-10 | -1.7764e-15 | -2.6675e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.2059e-13 | -141.4824 | 122.8363 | 3.2135e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0724e-15 | 2.6675e-10 | 8.558e-10 | 1.7764e-15 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 9.9628e-30 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.132e-13 | -141.4824 | 122.8363 | 3.2135e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.033e-15 | -8.0023e-10 | -2.5674e-09 | 5.6251e-15 | 8.0024e-10 | 2.5674e-09 | -2.6435e-29 | 3.4014e-09 | -3.4065e-10 | -2.3685e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.0094e-13 | -141.4824 | 122.8363 | 3.2135e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3253e-29 | 2.6675e-10 | 8.558e-10 | -1.7764e-15 | -2.6675e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.2059e-13 | -141.4824 | 122.8363 | 3.2135e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0724e-15 | 2.6675e-10 | 8.558e-10 | 1.7764e-15 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 9.9628e-30 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.132e-13 | -141.4824 | 122.8363 | 3.2135e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3436 | 0.3477 | 0.34795 | 0.34454 | 0.34727 | 0.34743 | 3.9675 | 4.0149 | 4.0177 | 3.9784 | 4.0099 | 4.0118 | 7.3996e-11 | 0.8832 | -1.2639 | 0.059038 | -0.80758 | 1.3165 | -8.3209e-12 | -4.1284 | -4.0329 | 0.069368 | 4.1945 | 4.1037 | 92.696 | -27.7412 | -146.9389 | -87.3118 | 152.396 | 32.9318 | 0 | 1.0515 | 1.0519 | 0.022896 | 1.0652 | 1.0742 | 0 | -105.6656 | 105.6598 | -37.7123 | -106.7061 | 105.1447
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17227 | 0.17363 | 0.17372 | 2 | 2 | 2 | 1.9892 | 2.005 | 2.0059 | 0.044963 | -0.37687 | 0.6627 | -0.029519 | 0.40379 | -0.65826 | 0.052477 | 2.1115 | 2.0668 | -0.034684 | -2.0972 | -2.0518 | -87.3279 | 152.6718 | 32.672 | 92.6882 | -27.604 | -147.0682 | 0.034553 | 1.0724 | 1.0852 | 0.022896 | 1.0652 | 1.0742 | -37.9184 | -107.2082 | 104.8936 | -37.7123 | -106.7061 | 105.1447
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.17227 | 0.17363 | 0.17372 | 2 | 2 | 2 | 1.9892 | 2.005 | 2.0059 | 0.044963 | -0.37687 | 0.6627 | -0.029519 | 0.40379 | -0.65826 | 0.052477 | 2.1115 | 2.0668 | -0.034684 | -2.0972 | -2.0518 | -87.3279 | 152.6718 | 32.672 | 92.6882 | -27.604 | -147.0682 | 0.034553 | 1.0724 | 1.0852 | 0.022896 | 1.0652 | 1.0742 | -37.9184 | -107.2082 | 104.8936 | -37.7123 | -106.7061 | 105.1447

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3436 | 0.3477 | 0.34795 | 0.34454 | 0.34727 | 0.34743 | 3.9675 | 4.0149 | 4.0177 | 3.9784 | 4.0099 | 4.0118 | 7.3996e-11 | 0.8832 | -1.2639 | 0.059038 | -0.80758 | 1.3165 | -8.3209e-12 | -4.1284 | -4.0329 | 0.069368 | 4.1945 | 4.1037 | 92.696 | -27.7412 | -146.9389 | -87.3118 | 152.396 | 32.9318 | 0 | 1.0515 | 1.0519 | 0.022896 | 1.0652 | 1.0742 | 0 | -105.6656 | 105.6598 | -37.7123 | -106.7061 | 105.1447
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17227 | 0.17363 | 0.17372 | 2 | 2 | 2 | 1.9892 | 2.005 | 2.0059 | 0.044963 | -0.37687 | 0.6627 | -0.029519 | 0.40379 | -0.65826 | 0.052477 | 2.1115 | 2.0668 | -0.034684 | -2.0972 | -2.0518 | -87.3279 | 152.6718 | 32.672 | 92.6882 | -27.604 | -147.0682 | 0.034553 | 1.0724 | 1.0852 | 0.022896 | 1.0652 | 1.0742 | -37.9184 | -107.2082 | 104.8936 | -37.7123 | -106.7061 | 105.1447
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.17227 | 0.17363 | 0.17372 | 2 | 2 | 2 | 1.9892 | 2.005 | 2.0059 | 0.044963 | -0.37687 | 0.6627 | -0.029519 | 0.40379 | -0.65826 | 0.052477 | 2.1115 | 2.0668 | -0.034684 | -2.0972 | -2.0518 | -87.3279 | 152.6718 | 32.672 | 92.6882 | -27.604 | -147.0682 | 0.034553 | 1.0724 | 1.0852 | 0.022896 | 1.0652 | 1.0742 | -37.9184 | -107.2082 | 104.8936 | -37.7123 | -106.7061 | 105.1447

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34589 | 0.34694 | 0.3464 | 0.34606 | 0.34676 | 0.3464 | 3.994 | 4.0061 | 3.9999 | 3.996 | 4.0041 | 3.9999 | -0.73767 | -0.08993 | -0.48567 | 0.80106 | 0.15425 | 0.54516 | -3.8049 | -4.4514 | -4.6773 | 3.8768 | 4.5199 | 4.749 | 92.6201 | -27.3766 | -147.2276 | -87.3625 | 152.6395 | 32.7389 | 0.9704 | 1.1114 | 1.1756 | 0.99067 | 1.1295 | 1.1951 | -8.3518 | -118.5339 | 116.8443 | -9.0372 | -119.315 | 116.1904
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17303 | 0.17338 | 0.1732 | 2 | 2 | 2 | 1.998 | 2.002 | 2 | 0.41766 | 0.093994 | 0.28538 | -0.40053 | -0.077125 | -0.27258 | 1.9578 | 2.2753 | 2.3926 | -1.9384 | -2.26 | -2.3745 | -87.328 | 152.672 | 32.672 | 92.6375 | -27.3605 | -147.2611 | 1.0009 | 1.1386 | 1.2048 | 0.99067 | 1.1295 | 1.1951 | -9.3707 | -119.6936 | 115.8701 | -9.0372 | -119.315 | 116.1904
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.17303 | 0.17338 | 0.1732 | 2 | 2 | 2 | 1.998 | 2.002 | 2 | 0.41766 | 0.093994 | 0.28538 | -0.40053 | -0.077125 | -0.27258 | 1.9578 | 2.2753 | 2.3926 | -1.9384 | -2.26 | -2.3745 | -87.328 | 152.672 | 32.672 | 92.6375 | -27.3605 | -147.2611 | 1.0009 | 1.1386 | 1.2048 | 0.99067 | 1.1295 | 1.1951 | -9.3707 | -119.6936 | 115.8701 | -9.0372 | -119.315 | 116.1904

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34589 | 0.34694 | 0.3464 | 0.34606 | 0.34676 | 0.3464 | 3.994 | 4.0061 | 3.9999 | 3.996 | 4.0041 | 3.9999 | -0.73767 | -0.08993 | -0.48567 | 0.80106 | 0.15425 | 0.54516 | -3.8049 | -4.4514 | -4.6773 | 3.8768 | 4.5199 | 4.749 | 92.6201 | -27.3766 | -147.2276 | -87.3625 | 152.6395 | 32.7389 | 0.9704 | 1.1114 | 1.1756 | 0.99067 | 1.1295 | 1.1951 | -8.3518 | -118.5339 | 116.8443 | -9.0372 | -119.315 | 116.1904
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17303 | 0.17338 | 0.1732 | 2 | 2 | 2 | 1.998 | 2.002 | 2 | 0.41766 | 0.093994 | 0.28538 | -0.40053 | -0.077125 | -0.27258 | 1.9578 | 2.2753 | 2.3926 | -1.9384 | -2.26 | -2.3745 | -87.328 | 152.672 | 32.672 | 92.6375 | -27.3605 | -147.2611 | 1.0009 | 1.1386 | 1.2048 | 0.99067 | 1.1295 | 1.1951 | -9.3707 | -119.6936 | 115.8701 | -9.0372 | -119.315 | 116.1904
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.17303 | 0.17338 | 0.1732 | 2 | 2 | 2 | 1.998 | 2.002 | 2 | 0.41766 | 0.093994 | 0.28538 | -0.40053 | -0.077125 | -0.27258 | 1.9578 | 2.2753 | 2.3926 | -1.9384 | -2.26 | -2.3745 | -87.328 | 152.672 | 32.672 | 92.6375 | -27.3605 | -147.2611 | 1.0009 | 1.1386 | 1.2048 | 0.99067 | 1.1295 | 1.1951 | -9.3707 | -119.6936 | 115.8701 | -9.0372 | -119.315 | 116.1904

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024669 | 0.0024669 | 0.0024669 | 0.0016451 | 0.0016451 | 0.0016451 | 0.028485 | 0.028485 | 0.028485 | 0.018996 | 0.018996 | 0.018996 | 9.622e-14 | 0.024717 | -0.024619 | 2.3999e-05 | -0.016466 | 0.016435 | 1.9019e-13 | -0.0068736 | -0.0073027 | 4.9765e-06 | 0.0045638 | 0.0049 | -90.4983 | -90.4983 | -90.4983 | 89.4145 | 89.4145 | 89.4145 | 0 | 0.90063 | 0.90151 | 0.0012902 | 0.89948 | 0.90279 | 0 | -106.0395 | 106.0234 | 101.1296 | -106.077 | 106.0164
Line_1 | 0 | 0 | 0 | 0.00082256 | 0.00082256 | 0.00082256 | 0 | 0 | 0 | 0.0094981 | 0.0094981 | 0.0094981 | -1.1038e-12 | 2.3543e-10 | 2.2287e-10 | -1.1999e-05 | 0.0082329 | -0.0082173 | 5.5705e-12 | 7.9296e-10 | -8.002e-10 | -2.4883e-06 | -0.0022819 | -0.00245 | 0 | 0 | 0 | -90.5855 | -90.5855 | -90.5855 | 0.0015483 | 0.89925 | 0.90305 | 0.0012902 | 0.89948 | 0.90279 | 101.1209 | -106.0845 | 106.015 | 101.1296 | -106.077 | 106.0164
Line_2 | 0 | 0 | 0 | 0.00082256 | 0.00082256 | 0.00082256 | 0 | 0 | 0 | 0.0094981 | 0.0094981 | 0.0094981 | -1.1038e-12 | 2.3543e-10 | 2.2286e-10 | -1.1999e-05 | 0.0082329 | -0.0082173 | 5.5705e-12 | 7.9297e-10 | -8.0019e-10 | -2.4883e-06 | -0.0022819 | -0.00245 | 0 | 0 | 0 | -90.5855 | -90.5855 | -90.5855 | 0.0015483 | 0.89925 | 0.90305 | 0.0012902 | 0.89948 | 0.90279 | 101.1209 | -106.0845 | 106.015 | 101.1296 | -106.077 | 106.0164

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024669 | 0.0024669 | 0.0024669 | 0.0016451 | 0.0016451 | 0.0016451 | 0.028485 | 0.028485 | 0.028485 | 0.018996 | 0.018996 | 0.018996 | 9.622e-14 | 0.024717 | -0.024619 | 2.3999e-05 | -0.016466 | 0.016435 | 1.9019e-13 | -0.0068736 | -0.0073027 | 4.9765e-06 | 0.0045638 | 0.0049 | -90.4983 | -90.4983 | -90.4983 | 89.4145 | 89.4145 | 89.4145 | 0 | 0.90063 | 0.90151 | 0.0012902 | 0.89948 | 0.90279 | 0 | -106.0395 | 106.0234 | 101.1296 | -106.077 | 106.0164
Line_1 | 0 | 0 | 0 | 0.00082256 | 0.00082256 | 0.00082256 | 0 | 0 | 0 | 0.0094981 | 0.0094981 | 0.0094981 | -1.1038e-12 | 2.3543e-10 | 2.2287e-10 | -1.1999e-05 | 0.0082329 | -0.0082173 | 5.5705e-12 | 7.9296e-10 | -8.002e-10 | -2.4883e-06 | -0.0022819 | -0.00245 | 0 | 0 | 0 | -90.5855 | -90.5855 | -90.5855 | 0.0015483 | 0.89925 | 0.90305 | 0.0012902 | 0.89948 | 0.90279 | 101.1209 | -106.0845 | 106.015 | 101.1296 | -106.077 | 106.0164
Line_2 | 0 | 0 | 0 | 0.00082256 | 0.00082256 | 0.00082256 | 0 | 0 | 0 | 0.0094981 | 0.0094981 | 0.0094981 | -1.1038e-12 | 2.3543e-10 | 2.2286e-10 | -1.1999e-05 | 0.0082329 | -0.0082173 | 5.5705e-12 | 7.9297e-10 | -8.0019e-10 | -2.4883e-06 | -0.0022819 | -0.00245 | 0 | 0 | 0 | -90.5855 | -90.5855 | -90.5855 | 0.0015483 | 0.89925 | 0.90305 | 0.0012902 | 0.89948 | 0.90279 | 101.1209 | -106.0845 | 106.015 | 101.1296 | -106.077 | 106.0164

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00055455 | 0.00055455 | 0.00055455 | 0.00036982 | 0.00036982 | 0.00036982 | 0.0064034 | 0.0064034 | 0.0064034 | 0.0042703 | 0.0042703 | 0.0042703 | 0.0035052 | 0.0028978 | -0.0063981 | -0.0023323 | -0.0019367 | 0.0042687 | 0.0039276 | -0.0053468 | 0.00070278 | -0.0026225 | 0.0035629 | -0.00046192 | -56.9451 | -56.945 | -56.945 | 122.9678 | 122.9678 | 122.9678 | 0.8221 | 0.94973 | 1.0052 | 0.82187 | 0.94965 | 1.0055 | -8.6927 | -118.4884 | 116.7866 | -8.6806 | -118.5052 | 116.7917
Line_1 | 0 | 0 | 0 | 0.00018491 | 0.00018491 | 0.00018491 | 0 | 0 | 0 | 0.0021351 | 0.0021351 | 0.0021351 | 5.024e-10 | 1.742e-10 | -2.6102e-11 | 0.0011662 | 0.00096835 | -0.0021343 | -4.5467e-10 | 9.0629e-11 | -2.0627e-10 | 0.0013113 | -0.0017815 | 0.00023096 | 0 | 0 | 0 | -57.0322 | -57.0322 | -57.0322 | 0.82182 | 0.94963 | 1.0055 | 0.82187 | 0.94965 | 1.0055 | -8.6782 | -118.5085 | 116.7927 | -8.6806 | -118.5052 | 116.7917
Line_2 | 0 | 0 | 0 | 0.00018491 | 0.00018491 | 0.00018491 | 0 | 0 | 0 | 0.0021351 | 0.0021351 | 0.0021351 | 5.0241e-10 | 1.742e-10 | -2.6104e-11 | 0.0011662 | 0.00096835 | -0.0021343 | -4.5467e-10 | 9.0631e-11 | -2.0627e-10 | 0.0013113 | -0.0017815 | 0.00023096 | 0 | 0 | 0 | -57.0322 | -57.0322 | -57.0322 | 0.82182 | 0.94963 | 1.0055 | 0.82187 | 0.94965 | 1.0055 | -8.6782 | -118.5085 | 116.7927 | -8.6806 | -118.5052 | 116.7917

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00055455 | 0.00055455 | 0.00055455 | 0.00036982 | 0.00036982 | 0.00036982 | 0.0064034 | 0.0064034 | 0.0064034 | 0.0042703 | 0.0042703 | 0.0042703 | 0.0035052 | 0.0028978 | -0.0063981 | -0.0023323 | -0.0019367 | 0.0042687 | 0.0039276 | -0.0053468 | 0.00070278 | -0.0026225 | 0.0035629 | -0.00046192 | -56.9451 | -56.945 | -56.945 | 122.9678 | 122.9678 | 122.9678 | 0.8221 | 0.94973 | 1.0052 | 0.82187 | 0.94965 | 1.0055 | -8.6927 | -118.4884 | 116.7866 | -8.6806 | -118.5052 | 116.7917
Line_1 | 0 | 0 | 0 | 0.00018491 | 0.00018491 | 0.00018491 | 0 | 0 | 0 | 0.0021351 | 0.0021351 | 0.0021351 | 5.024e-10 | 1.742e-10 | -2.6102e-11 | 0.0011662 | 0.00096835 | -0.0021343 | -4.5467e-10 | 9.0629e-11 | -2.0627e-10 | 0.0013113 | -0.0017815 | 0.00023096 | 0 | 0 | 0 | -57.0322 | -57.0322 | -57.0322 | 0.82182 | 0.94963 | 1.0055 | 0.82187 | 0.94965 | 1.0055 | -8.6782 | -118.5085 | 116.7927 | -8.6806 | -118.5052 | 116.7917
Line_2 | 0 | 0 | 0 | 0.00018491 | 0.00018491 | 0.00018491 | 0 | 0 | 0 | 0.0021351 | 0.0021351 | 0.0021351 | 5.0241e-10 | 1.742e-10 | -2.6104e-11 | 0.0011662 | 0.00096835 | -0.0021343 | -4.5467e-10 | 9.0631e-11 | -2.0627e-10 | 0.0013113 | -0.0017815 | 0.00023096 | 0 | 0 | 0 | -57.0322 | -57.0322 | -57.0322 | 0.82182 | 0.94963 | 1.0055 | 0.82187 | 0.94965 | 1.0055 | -8.6782 | -118.5085 | 116.7927 | -8.6806 | -118.5052 | 116.7917

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35019 | 0.3447 | 0.34437 | 0.34893 | 0.34527 | 0.34504 | 4.0437 | 3.9803 | 3.9764 | 4.0291 | 3.9868 | 3.9842 | -0.14386 | 4.8115e-11 | 4.869e-11 | 0.21086 | 0.059411 | 0.0609 | -3.088 | -4.2286e-11 | -4.1481e-11 | 3.1496 | 0.07304 | 0.066645 | 92.6405 | -26.7672 | -147.8574 | -87.3494 | 153.0456 | 32.3198 | 0.76448 | 0 | 0 | 0.78346 | 0.023616 | 0.022659 | -0.026836 | 0 | 0 | -1.1796 | -156.0793 | 79.8991
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.17447 | 0.17263 | 0.17252 | 2 | 2 | 2 | 2.0146 | 1.9934 | 1.9921 | 0.12126 | 0.044837 | 0.046291 | -0.10543 | -0.029705 | -0.03045 | 1.5812 | 0.054822 | 0.050539 | -1.5748 | -0.03652 | -0.033323 | -87.3281 | 152.6721 | 32.672 | 92.6506 | -26.9544 | -147.6802 | 0.79293 | 0.035411 | 0.034267 | 0.78346 | 0.023616 | 0.022659 | -1.7135 | -156.6067 | 80.1845 | -1.1796 | -156.0793 | 79.8991
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17447 | 0.17263 | 0.17252 | 2 | 2 | 2 | 2.0146 | 1.9934 | 1.9921 | 0.12126 | 0.044837 | 0.046291 | -0.10543 | -0.029705 | -0.03045 | 1.5812 | 0.054822 | 0.050539 | -1.5748 | -0.03652 | -0.033323 | -87.3281 | 152.6721 | 32.672 | 92.6506 | -26.9544 | -147.6802 | 0.79293 | 0.035411 | 0.034267 | 0.78346 | 0.023616 | 0.022659 | -1.7135 | -156.6067 | 80.1845 | -1.1796 | -156.0793 | 79.8991

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35019 | 0.3447 | 0.34437 | 0.34893 | 0.34527 | 0.34504 | 4.0437 | 3.9803 | 3.9764 | 4.0291 | 3.9868 | 3.9842 | -0.14386 | 4.8115e-11 | 4.869e-11 | 0.21086 | 0.059411 | 0.0609 | -3.088 | -4.2286e-11 | -4.1481e-11 | 3.1496 | 0.07304 | 0.066645 | 92.6405 | -26.7672 | -147.8574 | -87.3494 | 153.0456 | 32.3198 | 0.76448 | 0 | 0 | 0.78346 | 0.023616 | 0.022659 | -0.026836 | 0 | 0 | -1.1796 | -156.0793 | 79.8991
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.17447 | 0.17263 | 0.17252 | 2 | 2 | 2 | 2.0146 | 1.9934 | 1.9921 | 0.12126 | 0.044837 | 0.046291 | -0.10543 | -0.029705 | -0.03045 | 1.5812 | 0.054822 | 0.050539 | -1.5748 | -0.03652 | -0.033323 | -87.3281 | 152.6721 | 32.672 | 92.6506 | -26.9544 | -147.6802 | 0.79293 | 0.035411 | 0.034267 | 0.78346 | 0.023616 | 0.022659 | -1.7135 | -156.6067 | 80.1845 | -1.1796 | -156.0793 | 79.8991
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17447 | 0.17263 | 0.17252 | 2 | 2 | 2 | 2.0146 | 1.9934 | 1.9921 | 0.12126 | 0.044837 | 0.046291 | -0.10543 | -0.029705 | -0.03045 | 1.5812 | 0.054822 | 0.050539 | -1.5748 | -0.03652 | -0.033323 | -87.3281 | 152.6721 | 32.672 | 92.6506 | -26.9544 | -147.6802 | 0.79293 | 0.035411 | 0.034267 | 0.78346 | 0.023616 | 0.022659 | -1.7135 | -156.6067 | 80.1845 | -1.1796 | -156.0793 | 79.8991

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34694 | 0.34584 | 0.34644 | 0.34677 | 0.34603 | 0.34643 | 4.0062 | 3.9935 | 4.0004 | 4.0041 | 3.9956 | 4.0002 | -0.37191 | -0.94787 | -0.59623 | 0.43317 | 1.009 | 0.66106 | -4.4512 | -3.7838 | -3.6454 | 4.5205 | 3.8568 | 3.7151 | 92.729 | -27.28 | -147.4331 | -87.29 | 152.704 | 32.6019 | 1.115 | 0.97677 | 0.92337 | 1.1341 | 0.99775 | 0.94331 | -2.047 | -131.3438 | 113.278 | -2.7636 | -131.9564 | 112.5125
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.17338 | 0.17302 | 0.17322 | 2 | 2 | 2 | 2.0021 | 1.9978 | 2.0001 | 0.23051 | 0.51949 | 0.34841 | -0.21659 | -0.50449 | -0.33053 | 2.2758 | 1.9485 | 1.8747 | -2.2602 | -1.9284 | -1.8576 | -87.328 | 152.672 | 32.672 | 92.71 | -27.296 | -147.3981 | 1.1437 | 1.0083 | 0.95339 | 1.1341 | 0.99775 | 0.94331 | -3.1115 | -132.2562 | 112.1436 | -2.7636 | -131.9564 | 112.5125
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17338 | 0.17302 | 0.17322 | 2 | 2 | 2 | 2.0021 | 1.9978 | 2.0001 | 0.23051 | 0.51949 | 0.34841 | -0.21659 | -0.50449 | -0.33053 | 2.2758 | 1.9485 | 1.8747 | -2.2602 | -1.9284 | -1.8576 | -87.328 | 152.672 | 32.672 | 92.71 | -27.296 | -147.3981 | 1.1437 | 1.0083 | 0.95339 | 1.1341 | 0.99775 | 0.94331 | -3.1115 | -132.2562 | 112.1436 | -2.7636 | -131.9564 | 112.5125

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34694 | 0.34584 | 0.34644 | 0.34677 | 0.34603 | 0.34643 | 4.0062 | 3.9935 | 4.0004 | 4.0041 | 3.9956 | 4.0002 | -0.37191 | -0.94787 | -0.59623 | 0.43317 | 1.009 | 0.66106 | -4.4512 | -3.7838 | -3.6454 | 4.5205 | 3.8568 | 3.7151 | 92.729 | -27.28 | -147.4331 | -87.29 | 152.704 | 32.6019 | 1.115 | 0.97677 | 0.92337 | 1.1341 | 0.99775 | 0.94331 | -2.047 | -131.3438 | 113.278 | -2.7636 | -131.9564 | 112.5125
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.17338 | 0.17302 | 0.17322 | 2 | 2 | 2 | 2.0021 | 1.9978 | 2.0001 | 0.23051 | 0.51949 | 0.34841 | -0.21659 | -0.50449 | -0.33053 | 2.2758 | 1.9485 | 1.8747 | -2.2602 | -1.9284 | -1.8576 | -87.328 | 152.672 | 32.672 | 92.71 | -27.296 | -147.3981 | 1.1437 | 1.0083 | 0.95339 | 1.1341 | 0.99775 | 0.94331 | -3.1115 | -132.2562 | 112.1436 | -2.7636 | -131.9564 | 112.5125
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17338 | 0.17302 | 0.17322 | 2 | 2 | 2 | 2.0021 | 1.9978 | 2.0001 | 0.23051 | 0.51949 | 0.34841 | -0.21659 | -0.50449 | -0.33053 | 2.2758 | 1.9485 | 1.8747 | -2.2602 | -1.9284 | -1.8576 | -87.328 | 152.672 | 32.672 | 92.71 | -27.296 | -147.3981 | 1.1437 | 1.0083 | 0.95339 | 1.1341 | 0.99775 | 0.94331 | -3.1115 | -132.2562 | 112.1436 | -2.7636 | -131.9564 | 112.5125

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0032943 | 0.0032943 | 0.0032943 | 0.0021969 | 0.0021969 | 0.0021969 | 0.038039 | 0.038039 | 0.038039 | 0.025367 | 0.025367 | 0.025367 | 0.00017333 | 2.4733e-15 | 3.6595e-13 | -9.8434e-05 | 4.2797e-05 | 4.2796e-05 | -0.02528 | 4.217e-13 | -2.1352e-13 | 0.016868 | 8.8745e-06 | 8.8745e-06 | 89.5367 | 89.5367 | 89.5367 | -90.5504 | -90.5504 | -90.5504 | 0.66461 | 0 | 0 | 0.66495 | 0.001723 | 0.001723 | -0.070431 | 0 | 0 | -0.21605 | -78.8353 | -78.8354
Line_1 | 0 | 0 | 0 | 0.0010984 | 0.0010984 | 0.0010984 | 0 | 0 | 0 | 0.012684 | 0.012684 | 0.012684 | 8.168e-10 | 5.6924e-12 | -7.1906e-12 | 4.9218e-05 | -2.1398e-05 | -2.1398e-05 | -1.0432e-11 | 4.9893e-12 | 2.4487e-12 | -0.0084338 | -4.4372e-06 | -4.4372e-06 | 0 | 0 | 0 | 89.4496 | 89.4496 | 89.4496 | 0.66501 | 0.0020676 | 0.0020676 | 0.66495 | 0.001723 | 0.001723 | -0.24516 | -78.8441 | -78.8441 | -0.21605 | -78.8353 | -78.8354
Line_2 | 0 | 0 | 0 | 0.0010984 | 0.0010984 | 0.0010984 | 0 | 0 | 0 | 0.012684 | 0.012684 | 0.012684 | 8.168e-10 | 5.6924e-12 | -7.1906e-12 | 4.9218e-05 | -2.1398e-05 | -2.1398e-05 | -1.0438e-11 | 4.9893e-12 | 2.4487e-12 | -0.0084338 | -4.4372e-06 | -4.4372e-06 | 0 | 0 | 0 | 89.4496 | 89.4496 | 89.4496 | 0.66501 | 0.0020676 | 0.0020676 | 0.66495 | 0.001723 | 0.001723 | -0.24516 | -78.8441 | -78.8441 | -0.21605 | -78.8353 | -78.8354

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0032943 | 0.0032943 | 0.0032943 | 0.0021969 | 0.0021969 | 0.0021969 | 0.038039 | 0.038039 | 0.038039 | 0.025367 | 0.025367 | 0.025367 | 0.00017333 | 2.4733e-15 | 3.6595e-13 | -9.8434e-05 | 4.2797e-05 | 4.2796e-05 | -0.02528 | 4.217e-13 | -2.1352e-13 | 0.016868 | 8.8745e-06 | 8.8745e-06 | 89.5367 | 89.5367 | 89.5367 | -90.5504 | -90.5504 | -90.5504 | 0.66461 | 0 | 0 | 0.66495 | 0.001723 | 0.001723 | -0.070431 | 0 | 0 | -0.21605 | -78.8353 | -78.8354
Line_1 | 0 | 0 | 0 | 0.0010984 | 0.0010984 | 0.0010984 | 0 | 0 | 0 | 0.012684 | 0.012684 | 0.012684 | 8.168e-10 | 5.6924e-12 | -7.1906e-12 | 4.9218e-05 | -2.1398e-05 | -2.1398e-05 | -1.0432e-11 | 4.9893e-12 | 2.4487e-12 | -0.0084338 | -4.4372e-06 | -4.4372e-06 | 0 | 0 | 0 | 89.4496 | 89.4496 | 89.4496 | 0.66501 | 0.0020676 | 0.0020676 | 0.66495 | 0.001723 | 0.001723 | -0.24516 | -78.8441 | -78.8441 | -0.21605 | -78.8353 | -78.8354
Line_2 | 0 | 0 | 0 | 0.0010984 | 0.0010984 | 0.0010984 | 0 | 0 | 0 | 0.012684 | 0.012684 | 0.012684 | 8.168e-10 | 5.6924e-12 | -7.1906e-12 | 4.9218e-05 | -2.1398e-05 | -2.1398e-05 | -1.0438e-11 | 4.9893e-12 | 2.4487e-12 | -0.0084338 | -4.4372e-06 | -4.4372e-06 | 0 | 0 | 0 | 89.4496 | 89.4496 | 89.4496 | 0.66501 | 0.0020676 | 0.0020676 | 0.66495 | 0.001723 | 0.001723 | -0.24516 | -78.8441 | -78.8441 | -0.21605 | -78.8353 | -78.8354

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00058159 | 0.00058159 | 0.00058159 | 0.00038785 | 0.00038785 | 0.00038785 | 0.0067156 | 0.0067156 | 0.0067156 | 0.0044785 | 0.0044785 | 0.0044784 | -0.0038499 | -0.0012808 | 0.0051361 | 0.0025635 | 0.00086094 | -0.0034249 | -0.0051078 | 0.0054067 | -0.0010868 | 0.0034104 | -0.003604 | 0.00071985 | 124.9356 | 124.9356 | 124.9356 | -55.1516 | -55.1516 | -55.1516 | 0.95244 | 0.82738 | 0.78174 | 0.95267 | 0.82739 | 0.78146 | -2.0709 | -131.7373 | 112.9876 | -2.0829 | -131.7163 | 112.9787
Line_1 | 0 | 0 | 0 | 0.00019392 | 0.00019392 | 0.00019392 | 0 | 0 | 0 | 0.0022392 | 0.0022392 | 0.0022392 | 1.6287e-10 | 4.605e-10 | 6.0481e-10 | -0.0012818 | -0.00043047 | 0.0017124 | -1.2712e-10 | -6.1583e-10 | -3.5032e-10 | -0.0017052 | 0.001802 | -0.00035992 | 0 | 0 | 0 | 124.8484 | 124.8484 | 124.8484 | 0.95271 | 0.82739 | 0.7814 | 0.95267 | 0.82739 | 0.78146 | -2.0854 | -131.7121 | 112.9769 | -2.0829 | -131.7163 | 112.9787
Line_2 | 0 | 0 | 0 | 0.00019392 | 0.00019392 | 0.00019392 | 0 | 0 | 0 | 0.0022392 | 0.0022392 | 0.0022392 | 1.6287e-10 | 4.605e-10 | 6.0481e-10 | -0.0012818 | -0.00043047 | 0.0017124 | -1.2712e-10 | -6.1583e-10 | -3.5032e-10 | -0.0017052 | 0.001802 | -0.00035992 | 0 | 0 | 0 | 124.8484 | 124.8484 | 124.8484 | 0.95271 | 0.82739 | 0.7814 | 0.95267 | 0.82739 | 0.78146 | -2.0854 | -131.7121 | 112.9769 | -2.0829 | -131.7163 | 112.9787

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00058159 | 0.00058159 | 0.00058159 | 0.00038785 | 0.00038785 | 0.00038785 | 0.0067156 | 0.0067156 | 0.0067156 | 0.0044785 | 0.0044785 | 0.0044784 | -0.0038499 | -0.0012808 | 0.0051361 | 0.0025635 | 0.00086094 | -0.0034249 | -0.0051078 | 0.0054067 | -0.0010868 | 0.0034104 | -0.003604 | 0.00071985 | 124.9356 | 124.9356 | 124.9356 | -55.1516 | -55.1516 | -55.1516 | 0.95244 | 0.82738 | 0.78174 | 0.95267 | 0.82739 | 0.78146 | -2.0709 | -131.7373 | 112.9876 | -2.0829 | -131.7163 | 112.9787
Line_1 | 0 | 0 | 0 | 0.00019392 | 0.00019392 | 0.00019392 | 0 | 0 | 0 | 0.0022392 | 0.0022392 | 0.0022392 | 1.6287e-10 | 4.605e-10 | 6.0481e-10 | -0.0012818 | -0.00043047 | 0.0017124 | -1.2712e-10 | -6.1583e-10 | -3.5032e-10 | -0.0017052 | 0.001802 | -0.00035992 | 0 | 0 | 0 | 124.8484 | 124.8484 | 124.8484 | 0.95271 | 0.82739 | 0.7814 | 0.95267 | 0.82739 | 0.78146 | -2.0854 | -131.7121 | 112.9769 | -2.0829 | -131.7163 | 112.9787
Line_2 | 0 | 0 | 0 | 0.00019392 | 0.00019392 | 0.00019392 | 0 | 0 | 0 | 0.0022392 | 0.0022392 | 0.0022392 | 1.6287e-10 | 4.605e-10 | 6.0481e-10 | -0.0012818 | -0.00043047 | 0.0017124 | -1.2712e-10 | -6.1583e-10 | -3.5032e-10 | -0.0017052 | 0.001802 | -0.00035992 | 0 | 0 | 0 | 124.8484 | 124.8484 | 124.8484 | 0.95271 | 0.82739 | 0.7814 | 0.95267 | 0.82739 | 0.78146 | -2.0854 | -131.7121 | 112.9769 | -2.0829 | -131.7163 | 112.9787