## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4264 | 3.4264 | 0 | 0 | 118.6925 | 118.6925 | 37.6639 | -19.3497 | 42.5019 | -21.7223 | -71.4859 | 108.5141 | 0.47845 | 0.24509 | -23.0323 | -23.1798
Line_1 | 3.5986 | 3.5986 | 6.9734 | 0 | 124.6581 | 124.6581 | -1e-07 | 20.2015 | -1e-07 | 22.921 | 108.2117 | -71.7883 | 0 | 0.24509 | 0 | -23.1798
Line_2 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.89866 | -0.85186 | 1.2518 | -1.1987 | -77.7798 | 102.2202 | 0.25683 | 0.24509 | -23.4545 | -23.1798

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4264 | 3.4264 | 0 | 0 | 118.6925 | 118.6925 | 37.6639 | -19.3497 | 42.5019 | -21.7223 | -71.4859 | 108.5141 | 0.47845 | 0.24509 | -23.0323 | -23.1798
Line_1 | 3.5986 | 3.5986 | 6.9734 | 0 | 124.6581 | 124.6581 | -1e-07 | 20.2015 | -1e-07 | 22.921 | 108.2117 | -71.7883 | 0 | 0.24509 | 0 | -23.1798
Line_2 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.89866 | -0.85186 | 1.2518 | -1.1987 | -77.7798 | 102.2202 | 0.25683 | 0.24509 | -23.4545 | -23.1798

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0054 | 1.0054 | 0 | 0 | 34.8298 | 34.8298 | 25.7529 | -24.1758 | 21.0654 | -19.276 | -47.1014 | 132.8986 | 0.95525 | 0.88774 | -7.8189 | -8.5351
Line_1 | 1.1578 | 1.1578 | 2.2969 | 0 | 40.107 | 40.107 | -23.9723 | 26.0634 | -21.8842 | 24.2568 | 128.521 | -51.479 | 0.80931 | 0.88774 | -9.0862 | -8.5351
Line_2 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.9344 | -1.8876 | 5.0339 | -4.9808 | -77.7798 | 102.2202 | 0.89879 | 0.88774 | -8.8001 | -8.5351

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0054 | 1.0054 | 0 | 0 | 34.8298 | 34.8298 | 25.7529 | -24.1758 | 21.0654 | -19.276 | -47.1014 | 132.8986 | 0.95525 | 0.88774 | -7.8189 | -8.5351
Line_1 | 1.1578 | 1.1578 | 2.2969 | 0 | 40.107 | 40.107 | -23.9723 | 26.0634 | -21.8842 | 24.2568 | 128.521 | -51.479 | 0.80931 | 0.88774 | -9.0862 | -8.5351
Line_2 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.9344 | -1.8876 | 5.0339 | -4.9808 | -77.7798 | 102.2202 | 0.89879 | 0.88774 | -8.8001 | -8.5351

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34594 | 2.9823 | 2.9624 | 0.34594 | 2.9823 | 2.9624 | 3.9945 | 34.4363 | 34.2068 | 3.9945 | 34.4363 | 34.2068 | -1.1661 | 28.8237 | -10.5748 | 1.2283 | -24.1989 | 15.1382 | -4.5162 | 2.8768 | 16.1161 | 4.5868 | 2.3706 | -10.9384 | 105.2158 | -158.1665 | 15.1723 | -74.7842 | 21.8335 | -164.8277 | 1.1677 | 0.84117 | 0.56351 | 1.1887 | 0.70608 | 0.54599 | 0.73784 | -152.4669 | 138.4437 | 0.2238 | -163.7616 | 159.3217
Line_1 | 0.1732 | 3.1177 | 3.1177 | 0.1732 | 3.1177 | 3.1177 | 2 | 35.9996 | 35.9996 | 2 | 35.9996 | 35.9996 | 0.7498 | -20.3151 | 20.69 | -0.7342 | 25.3693 | -15.6357 | 2.279 | 7.3153 | -6.1758 | -2.2613 | -1.5806 | 11.9105 | -71.7884 | 19.8035 | -163.38 | 108.2116 | -160.1965 | 16.62 | 1.1996 | 0.59979 | 0.59979 | 1.1887 | 0.70608 | 0.54599 | -7.9887e-06 | 180 | 180 | 0.2238 | -163.7616 | 159.3217
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.50975 | 1.1861 | -0.48187 | -0.49415 | -1.1705 | 0.49747 | 2.3432 | 0.80774 | 0.98978 | -2.3255 | -0.79004 | -0.97208 | -77.7799 | 162.2203 | 42.2201 | 102.2201 | -17.7797 | -137.7799 | 1.199 | 0.7175 | 0.55042 | 1.1887 | 0.70608 | 0.54599 | -0.052887 | -163.5243 | 158.1791 | 0.2238 | -163.7616 | 159.3217

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34594 | 2.9823 | 2.9624 | 0.34594 | 2.9823 | 2.9624 | 3.9945 | 34.4363 | 34.2068 | 3.9945 | 34.4363 | 34.2068 | -1.1661 | 28.8237 | -10.5748 | 1.2283 | -24.1989 | 15.1382 | -4.5162 | 2.8768 | 16.1161 | 4.5868 | 2.3706 | -10.9384 | 105.2158 | -158.1665 | 15.1723 | -74.7842 | 21.8335 | -164.8277 | 1.1677 | 0.84117 | 0.56351 | 1.1887 | 0.70608 | 0.54599 | 0.73784 | -152.4669 | 138.4437 | 0.2238 | -163.7616 | 159.3217
Line_1 | 0.1732 | 3.1177 | 3.1177 | 0.1732 | 3.1177 | 3.1177 | 2 | 35.9996 | 35.9996 | 2 | 35.9996 | 35.9996 | 0.7498 | -20.3151 | 20.69 | -0.7342 | 25.3693 | -15.6357 | 2.279 | 7.3153 | -6.1758 | -2.2613 | -1.5806 | 11.9105 | -71.7884 | 19.8035 | -163.38 | 108.2116 | -160.1965 | 16.62 | 1.1996 | 0.59979 | 0.59979 | 1.1887 | 0.70608 | 0.54599 | -7.9887e-06 | 180 | 180 | 0.2238 | -163.7616 | 159.3217
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.50975 | 1.1861 | -0.48187 | -0.49415 | -1.1705 | 0.49747 | 2.3432 | 0.80774 | 0.98978 | -2.3255 | -0.79004 | -0.97208 | -77.7799 | 162.2203 | 42.2201 | 102.2201 | -17.7797 | -137.7799 | 1.199 | 0.7175 | 0.55042 | 1.1887 | 0.70608 | 0.54599 | -0.052887 | -163.5243 | 158.1791 | 0.2238 | -163.7616 | 159.3217

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34594 | 1.492 | 1.3774 | 0.34594 | 1.492 | 1.3774 | 3.9945 | 17.2282 | 15.9048 | 3.9945 | 17.2282 | 15.9048 | -1.1661 | 17.6754 | -0.84689 | 1.2284 | -16.5178 | 1.8335 | -4.5162 | 1.0407 | 13.1039 | 4.5868 | 0.27267 | -11.9845 | 105.2159 | -139.0308 | 27.8954 | -74.7841 | 40.9692 | -152.1046 | 1.1677 | 1.0277 | 0.82561 | 1.1887 | 0.9589 | 0.76228 | 0.73784 | -135.6612 | 121.5932 | 0.2238 | -139.9766 | 126.5934
Line_1 | 0.1732 | 1.5888 | 1.5458 | 0.1732 | 1.5888 | 1.5458 | 2 | 18.3456 | 17.8495 | 2 | 18.3456 | 17.8495 | 0.7498 | -16.2271 | 2.9265 | -0.7342 | 17.5397 | -1.684 | 2.279 | 0.13907 | -12.0919 | -2.2613 | 1.3502 | 13.5017 | -71.7883 | 35.6215 | -150.516 | 108.2117 | -144.3785 | 29.484 | 1.1996 | 0.88455 | 0.69699 | 1.1887 | 0.9589 | 0.76228 | -5.6252e-06 | -144.8696 | 133.0893 | 0.2238 | -139.9766 | 126.5934
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.50975 | 1.0375 | 0.16508 | -0.49415 | -1.0219 | -0.14948 | 2.3432 | 1.6406 | 1.5349 | -2.3255 | -1.6229 | -1.5172 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.199 | 0.97054 | 0.77188 | 1.1887 | 0.9589 | 0.76228 | -0.052885 | -140.0878 | 126.0816 | 0.2238 | -139.9766 | 126.5934

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34594 | 1.492 | 1.3774 | 0.34594 | 1.492 | 1.3774 | 3.9945 | 17.2282 | 15.9048 | 3.9945 | 17.2282 | 15.9048 | -1.1661 | 17.6754 | -0.84689 | 1.2284 | -16.5178 | 1.8335 | -4.5162 | 1.0407 | 13.1039 | 4.5868 | 0.27267 | -11.9845 | 105.2159 | -139.0308 | 27.8954 | -74.7841 | 40.9692 | -152.1046 | 1.1677 | 1.0277 | 0.82561 | 1.1887 | 0.9589 | 0.76228 | 0.73784 | -135.6612 | 121.5932 | 0.2238 | -139.9766 | 126.5934
Line_1 | 0.1732 | 1.5888 | 1.5458 | 0.1732 | 1.5888 | 1.5458 | 2 | 18.3456 | 17.8495 | 2 | 18.3456 | 17.8495 | 0.7498 | -16.2271 | 2.9265 | -0.7342 | 17.5397 | -1.684 | 2.279 | 0.13907 | -12.0919 | -2.2613 | 1.3502 | 13.5017 | -71.7883 | 35.6215 | -150.516 | 108.2117 | -144.3785 | 29.484 | 1.1996 | 0.88455 | 0.69699 | 1.1887 | 0.9589 | 0.76228 | -5.6252e-06 | -144.8696 | 133.0893 | 0.2238 | -139.9766 | 126.5934
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.50975 | 1.0375 | 0.16508 | -0.49415 | -1.0219 | -0.14948 | 2.3432 | 1.6406 | 1.5349 | -2.3255 | -1.6229 | -1.5172 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.199 | 0.97054 | 0.77188 | 1.1887 | 0.9589 | 0.76228 | -0.052885 | -140.0878 | 126.0816 | 0.2238 | -139.9766 | 126.5934

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.3027e-14 | 23.4155 | -0.45749 | 9.4739e-15 | -17.676 | 6.197 | 9.4739e-15 | -0.22679 | 13.7937 | -1.1842e-14 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 3.9984e-13 | -150.1294 | 122.3252 | 4.3803e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.1842e-15 | -11.9365 | 11.9365 | -1.1842e-15 | 17.676 | -6.197 | -9.0774e-30 | 7.0103 | -7.0103 | -2.3685e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 4.3918e-13 | -180 | 180 | 4.3803e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 2.4221e-10 | 6.7019e-10 | 1.1842e-15 | -2.4222e-10 | -6.7019e-10 | 9.4739e-15 | -1.5722e-09 | 8.3093e-10 | -9.4739e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 4.2293e-13 | -161.1438 | 151.2099 | 4.3803e-13 | -161.1438 | 151.2099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.3027e-14 | 23.4155 | -0.45749 | 9.4739e-15 | -17.676 | 6.197 | 9.4739e-15 | -0.22679 | 13.7937 | -1.1842e-14 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 3.9984e-13 | -150.1294 | 122.3252 | 4.3803e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.1842e-15 | -11.9365 | 11.9365 | -1.1842e-15 | 17.676 | -6.197 | -9.0774e-30 | 7.0103 | -7.0103 | -2.3685e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 4.3918e-13 | -180 | 180 | 4.3803e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 2.4221e-10 | 6.7019e-10 | 1.1842e-15 | -2.4222e-10 | -6.7019e-10 | 9.4739e-15 | -1.5722e-09 | 8.3093e-10 | -9.4739e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 4.2293e-13 | -161.1438 | 151.2099 | 4.3803e-13 | -161.1438 | 151.2099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -8.8818e-15 | 13.7181 | 1.6719 | 7.1054e-15 | -12.0096 | 0.036546 | 4.737e-15 | 1.7406 | 10.8539 | -2.3685e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 2.0548e-13 | -135.6599 | 118.3519 | 2.2702e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -3.5527e-15 | -10.3011 | 1.745 | 2.3685e-15 | 12.0096 | -0.036546 | 2.3685e-15 | 0.27863 | -8.8347 | 9.3845e-30 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 2.2878e-13 | -144.4405 | 138.2821 | 2.2702e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.2826e-10 | 8.1276e-10 | 0 | -4.2826e-10 | -8.1276e-10 | 4.737e-15 | -9.7051e-10 | 3.0453e-10 | 0 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 2.1885e-13 | -139.408 | 127.3216 | 2.2702e-13 | -139.408 | 127.3216

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -8.8818e-15 | 13.7181 | 1.6719 | 7.1054e-15 | -12.0096 | 0.036546 | 4.737e-15 | 1.7406 | 10.8539 | -2.3685e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 2.0548e-13 | -135.6599 | 118.3519 | 2.2702e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -3.5527e-15 | -10.3011 | 1.745 | 2.3685e-15 | 12.0096 | -0.036546 | 2.3685e-15 | 0.27863 | -8.8347 | 9.3845e-30 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 2.2878e-13 | -144.4405 | 138.2821 | 2.2702e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.2826e-10 | 8.1276e-10 | 0 | -4.2826e-10 | -8.1276e-10 | 4.737e-15 | -9.7051e-10 | 3.0453e-10 | 0 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 2.1885e-13 | -139.408 | 127.3216 | 2.2702e-13 | -139.408 | 127.3216

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.5554 | 0.34588 | 0.3507 | 2.5548 | 0.34573 | 0.34988 | 29.5071 | 3.9938 | 4.0495 | 29.5 | 3.9922 | 4.0401 | 22.8365 | -0.82952 | -1.6868 | -11.571 | 1.9429 | 1.514 | 11.1107 | -4.1495 | -4.5199 | -5.608 | 3.8948 | 5.6623 | -44.4806 | -15.6831 | -134.3552 | 135.5377 | 164.4843 | 45.5445 | 0.86067 | 1.0595 | 1.1914 | 0.43588 | 1.0903 | 1.4508 | -18.5362 | -116.988 | 115.179 | -18.6047 | -132.0277 | 120.5753
Line_1 | 2.6991 | 0.17321 | 0.1732 | 2.7003 | 0.17289 | 0.17562 | 31.1662 | 2 | 2 | 31.18 | 1.9964 | 2.0279 | 9.4603e-11 | 1.6226 | 0.8069 | 12.0173 | -1.0679 | -0.90742 | -9.319e-11 | 1.7091 | 3.3197 | 6.3475 | -1.8966 | -2.7985 | 133.6016 | 168.2116 | 48.2117 | -46.4477 | -12.6471 | -131.4595 | 0 | 1.1783 | 1.7082 | 0.43588 | 1.0903 | 1.4508 | 0 | -145.3007 | 124.5504 | -18.6047 | -132.0277 | 120.5753
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.17161 | 0.17327 | 0.17474 | 2 | 2 | 2 | 1.9816 | 2.0008 | 2.0178 | 0.46168 | 0.91136 | 0.60163 | -0.44627 | -0.87506 | -0.60654 | 0.76638 | 2.0053 | 2.86 | -0.73951 | -1.9982 | -2.8638 | -77.7798 | 162.2201 | 42.2202 | 102.5051 | -18.378 | -137.4665 | 0.44735 | 1.1013 | 1.4613 | 0.43588 | 1.0903 | 1.4508 | -18.8454 | -132.2206 | 120.3407 | -18.6047 | -132.0277 | 120.5753

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.5554 | 0.34588 | 0.3507 | 2.5548 | 0.34573 | 0.34988 | 29.5071 | 3.9938 | 4.0495 | 29.5 | 3.9922 | 4.0401 | 22.8365 | -0.82952 | -1.6868 | -11.571 | 1.9429 | 1.514 | 11.1107 | -4.1495 | -4.5199 | -5.608 | 3.8948 | 5.6623 | -44.4806 | -15.6831 | -134.3552 | 135.5377 | 164.4843 | 45.5445 | 0.86067 | 1.0595 | 1.1914 | 0.43588 | 1.0903 | 1.4508 | -18.5362 | -116.988 | 115.179 | -18.6047 | -132.0277 | 120.5753
Line_1 | 2.6991 | 0.17321 | 0.1732 | 2.7003 | 0.17289 | 0.17562 | 31.1662 | 2 | 2 | 31.18 | 1.9964 | 2.0279 | 9.4603e-11 | 1.6226 | 0.8069 | 12.0173 | -1.0679 | -0.90742 | -9.319e-11 | 1.7091 | 3.3197 | 6.3475 | -1.8966 | -2.7985 | 133.6016 | 168.2116 | 48.2117 | -46.4477 | -12.6471 | -131.4595 | 0 | 1.1783 | 1.7082 | 0.43588 | 1.0903 | 1.4508 | 0 | -145.3007 | 124.5504 | -18.6047 | -132.0277 | 120.5753
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.17161 | 0.17327 | 0.17474 | 2 | 2 | 2 | 1.9816 | 2.0008 | 2.0178 | 0.46168 | 0.91136 | 0.60163 | -0.44627 | -0.87506 | -0.60654 | 0.76638 | 2.0053 | 2.86 | -0.73951 | -1.9982 | -2.8638 | -77.7798 | 162.2201 | 42.2202 | 102.5051 | -18.378 | -137.4665 | 0.44735 | 1.1013 | 1.4613 | 0.43588 | 1.0903 | 1.4508 | -18.8454 | -132.2206 | 120.3407 | -18.6047 | -132.0277 | 120.5753

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.87531 | 0.34597 | 0.34784 | 0.8751 | 0.3459 | 0.34752 | 10.1072 | 3.9949 | 4.0165 | 10.1048 | 3.9941 | 4.0128 | 9.0953 | -1.0326 | -1.3777 | -7.5799 | 1.5258 | 1.3306 | 5.1394 | -4.3656 | -4.5237 | -4.5966 | 4.3129 | 5.0242 | -35.391 | -15.1498 | -134.5987 | 144.6326 | 164.918 | 45.3584 | 1.0336 | 1.1229 | 1.1774 | 0.87728 | 1.1454 | 1.2952 | -5.9221 | -118.4572 | 118.4637 | -4.1341 | -124.5641 | 120.525
Line_1 | 1.009 | 0.17321 | 0.1732 | 1.0094 | 0.1731 | 0.17417 | 11.6506 | 2 | 2 | 11.6557 | 1.9988 | 2.0112 | -6.283 | 1.1117 | 0.76036 | 8.0752 | -0.87339 | -0.79766 | -5.4127 | 2.0578 | 2.703 | 6.2728 | -2.1163 | -2.4798 | 138.081 | 168.2117 | 48.2117 | -41.9739 | -12.1385 | -131.6438 | 0.71181 | 1.1695 | 1.4039 | 0.87728 | 1.1454 | 1.2952 | -1.1749 | -130.1686 | 122.5002 | -4.1341 | -124.5641 | 120.525
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.17255 | 0.17325 | 0.17382 | 2 | 2 | 2 | 1.9924 | 2.0005 | 2.0071 | 0.50939 | 0.67722 | 0.54084 | -0.49534 | -0.65238 | -0.53292 | 1.7013 | 2.2107 | 2.5546 | -1.6762 | -2.1966 | -2.5444 | -77.7798 | 162.2201 | 42.2202 | 102.329 | -18.0229 | -137.6456 | 0.88795 | 1.156 | 1.3056 | 0.87728 | 1.1454 | 1.2952 | -4.4482 | -124.8117 | 120.2663 | -4.1341 | -124.5641 | 120.525

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.87531 | 0.34597 | 0.34784 | 0.8751 | 0.3459 | 0.34752 | 10.1072 | 3.9949 | 4.0165 | 10.1048 | 3.9941 | 4.0128 | 9.0953 | -1.0326 | -1.3777 | -7.5799 | 1.5258 | 1.3306 | 5.1394 | -4.3656 | -4.5237 | -4.5966 | 4.3129 | 5.0242 | -35.391 | -15.1498 | -134.5987 | 144.6326 | 164.918 | 45.3584 | 1.0336 | 1.1229 | 1.1774 | 0.87728 | 1.1454 | 1.2952 | -5.9221 | -118.4572 | 118.4637 | -4.1341 | -124.5641 | 120.525
Line_1 | 1.009 | 0.17321 | 0.1732 | 1.0094 | 0.1731 | 0.17417 | 11.6506 | 2 | 2 | 11.6557 | 1.9988 | 2.0112 | -6.283 | 1.1117 | 0.76036 | 8.0752 | -0.87339 | -0.79766 | -5.4127 | 2.0578 | 2.703 | 6.2728 | -2.1163 | -2.4798 | 138.081 | 168.2117 | 48.2117 | -41.9739 | -12.1385 | -131.6438 | 0.71181 | 1.1695 | 1.4039 | 0.87728 | 1.1454 | 1.2952 | -1.1749 | -130.1686 | 122.5002 | -4.1341 | -124.5641 | 120.525
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.17255 | 0.17325 | 0.17382 | 2 | 2 | 2 | 1.9924 | 2.0005 | 2.0071 | 0.50939 | 0.67722 | 0.54084 | -0.49534 | -0.65238 | -0.53292 | 1.7013 | 2.2107 | 2.5546 | -1.6762 | -2.1966 | -2.5444 | -77.7798 | 162.2201 | 42.2202 | 102.329 | -18.0229 | -137.6456 | 0.88795 | 1.156 | 1.3056 | 0.87728 | 1.1454 | 1.2952 | -4.4482 | -124.8117 | 120.2663 | -4.1341 | -124.5641 | 120.525

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6097 | 0.0052148 | 0.0052148 | 1.6093 | 0.0043058 | 0.0043058 | 18.5872 | 0.060215 | 0.060215 | 18.5828 | 0.049719 | 0.049719 | 15.7124 | 0.053602 | -0.048245 | -7.8453 | -0.042258 | 0.041371 | 4.5508 | -0.016735 | -0.039202 | -2.2883 | 0.026847 | 0.04739 | -30.9232 | -102.44 | -102.44 | 149.1063 | 76.1991 | 76.1991 | 0.88008 | 0.93255 | 1.0324 | 0.43978 | 1.007 | 1.2653 | -14.7707 | -119.7792 | 116.6563 | -14.6327 | -136.2291 | 125.0782
Line_1 | 1.6081 | 0 | 0 | 1.6088 | 0.0025677 | 0.0025677 | 18.5682 | 0 | 0 | 18.5764 | 0.029649 | 0.029649 | -1.9152e-11 | -1.1832e-09 | -2.9618e-09 | 7.845 | 0.025438 | -0.024243 | -6.4746e-13 | -2.073e-09 | 1.0462e-09 | 2.2795 | -0.015629 | -0.028628 | 149.253 | 0 | 0 | -30.8349 | -104.6633 | -104.6633 | 0 | 1.1514 | 1.5152 | 0.43978 | 1.007 | 1.2653 | 0 | -149.4085 | 130.8538 | -14.6327 | -136.2291 | 125.0782
Line_2 | 0 | 0 | 0 | 0.0017388 | 0.0017388 | 0.0017388 | 0 | 0 | 0 | 0.020078 | 0.020078 | 0.020078 | 8.5151e-10 | -1.7176e-10 | -1.2513e-09 | 0.00032441 | 0.01682 | -0.017128 | -4.0535e-10 | -1.0329e-09 | 4.0962e-10 | 0.0088238 | -0.011218 | -0.018761 | 0 | 0 | 0 | -102.5272 | -102.5272 | -102.5272 | 0.43965 | 1.0066 | 1.2657 | 0.43978 | 1.007 | 1.2653 | -14.5637 | -136.2512 | 125.0637 | -14.6327 | -136.2291 | 125.0782

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6097 | 0.0052148 | 0.0052148 | 1.6093 | 0.0043058 | 0.0043058 | 18.5872 | 0.060215 | 0.060215 | 18.5828 | 0.049719 | 0.049719 | 15.7124 | 0.053602 | -0.048245 | -7.8453 | -0.042258 | 0.041371 | 4.5508 | -0.016735 | -0.039202 | -2.2883 | 0.026847 | 0.04739 | -30.9232 | -102.44 | -102.44 | 149.1063 | 76.1991 | 76.1991 | 0.88008 | 0.93255 | 1.0324 | 0.43978 | 1.007 | 1.2653 | -14.7707 | -119.7792 | 116.6563 | -14.6327 | -136.2291 | 125.0782
Line_1 | 1.6081 | 0 | 0 | 1.6088 | 0.0025677 | 0.0025677 | 18.5682 | 0 | 0 | 18.5764 | 0.029649 | 0.029649 | -1.9152e-11 | -1.1832e-09 | -2.9618e-09 | 7.845 | 0.025438 | -0.024243 | -6.4746e-13 | -2.073e-09 | 1.0462e-09 | 2.2795 | -0.015629 | -0.028628 | 149.253 | 0 | 0 | -30.8349 | -104.6633 | -104.6633 | 0 | 1.1514 | 1.5152 | 0.43978 | 1.007 | 1.2653 | 0 | -149.4085 | 130.8538 | -14.6327 | -136.2291 | 125.0782
Line_2 | 0 | 0 | 0 | 0.0017388 | 0.0017388 | 0.0017388 | 0 | 0 | 0 | 0.020078 | 0.020078 | 0.020078 | 8.5151e-10 | -1.7176e-10 | -1.2513e-09 | 0.00032441 | 0.01682 | -0.017128 | -4.0535e-10 | -1.0329e-09 | 4.0962e-10 | 0.0088238 | -0.011218 | -0.018761 | 0 | 0 | 0 | -102.5272 | -102.5272 | -102.5272 | 0.43965 | 1.0066 | 1.2657 | 0.43978 | 1.007 | 1.2653 | -14.5637 | -136.2512 | 125.0637 | -14.6327 | -136.2291 | 125.0782

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81736 | 0.0026479 | 0.0026479 | 0.81716 | 0.0021863 | 0.0021863 | 9.438 | 0.030575 | 0.030575 | 9.4358 | 0.025246 | 0.025246 | 7.3778 | 0.029083 | -0.020834 | -5.3504 | -0.023511 | 0.017346 | 4.5205 | -0.0051968 | -0.022884 | -3.9347 | 0.0073507 | 0.02293 | -37.9946 | -109.5114 | -109.5114 | 142.035 | 69.1278 | 69.1278 | 0.91678 | 0.96625 | 1.0122 | 0.70385 | 0.97576 | 1.1389 | -6.498 | -119.6426 | 118.1738 | -1.6341 | -128.2337 | 122.021
Line_1 | 0.81652 | 0 | 0 | 0.81688 | 0.0013038 | 0.0013038 | 9.4284 | 0 | 0 | 9.4326 | 0.015055 | 0.015055 | -3.3335 | -1.7823e-10 | -1.2695e-09 | 5.3526 | 0.014085 | -0.010137 | -3.3335 | -1.0453e-09 | 4.1531e-10 | 3.9278 | -0.0041719 | -0.013828 | 142.1816 | 0 | 0 | -37.9063 | -111.7347 | -111.7347 | 0.50002 | 1.0074 | 1.2689 | 0.70385 | 0.97576 | 1.1389 | 7.1816 | -136.4395 | 125.1212 | -1.6341 | -128.2337 | 122.021
Line_2 | 0 | 0 | 0 | 0.00088291 | 0.00088291 | 0.00088291 | 0 | 0 | 0 | 0.010195 | 0.010195 | 0.010195 | 7.6322e-10 | 5.0629e-11 | -5.835e-10 | -0.0022132 | 0.0094263 | -0.0072089 | -7.2586e-11 | -5.1276e-10 | 1.4664e-10 | 0.0068259 | -0.0031787 | -0.0091018 | 0 | 0 | 0 | -109.5985 | -109.5985 | -109.5985 | 0.70388 | 0.97552 | 1.1391 | 0.70385 | 0.97576 | 1.1389 | -1.6117 | -128.2419 | 122.0121 | -1.6341 | -128.2337 | 122.021

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81736 | 0.0026479 | 0.0026479 | 0.81716 | 0.0021863 | 0.0021863 | 9.438 | 0.030575 | 0.030575 | 9.4358 | 0.025246 | 0.025246 | 7.3778 | 0.029083 | -0.020834 | -5.3504 | -0.023511 | 0.017346 | 4.5205 | -0.0051968 | -0.022884 | -3.9347 | 0.0073507 | 0.02293 | -37.9946 | -109.5114 | -109.5114 | 142.035 | 69.1278 | 69.1278 | 0.91678 | 0.96625 | 1.0122 | 0.70385 | 0.97576 | 1.1389 | -6.498 | -119.6426 | 118.1738 | -1.6341 | -128.2337 | 122.021
Line_1 | 0.81652 | 0 | 0 | 0.81688 | 0.0013038 | 0.0013038 | 9.4284 | 0 | 0 | 9.4326 | 0.015055 | 0.015055 | -3.3335 | -1.7823e-10 | -1.2695e-09 | 5.3526 | 0.014085 | -0.010137 | -3.3335 | -1.0453e-09 | 4.1531e-10 | 3.9278 | -0.0041719 | -0.013828 | 142.1816 | 0 | 0 | -37.9063 | -111.7347 | -111.7347 | 0.50002 | 1.0074 | 1.2689 | 0.70385 | 0.97576 | 1.1389 | 7.1816 | -136.4395 | 125.1212 | -1.6341 | -128.2337 | 122.021
Line_2 | 0 | 0 | 0 | 0.00088291 | 0.00088291 | 0.00088291 | 0 | 0 | 0 | 0.010195 | 0.010195 | 0.010195 | 7.6322e-10 | 5.0629e-11 | -5.835e-10 | -0.0022132 | 0.0094263 | -0.0072089 | -7.2586e-11 | -5.1276e-10 | 1.4664e-10 | 0.0068259 | -0.0031787 | -0.0091018 | 0 | 0 | 0 | -109.5985 | -109.5985 | -109.5985 | 0.70388 | 0.97552 | 1.1391 | 0.70385 | 0.97576 | 1.1389 | -1.6117 | -128.2419 | 122.0121 | -1.6341 | -128.2337 | 122.021

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34978 | 3.6768 | 2.42 | 0.34903 | 3.6768 | 2.4197 | 4.039 | 42.4555 | 27.944 | 4.0303 | 42.4558 | 27.9397 | -1.3784 | 29.8202 | -0.33677 | 1.9035 | -15.1377 | 0.081872 | -4.2932 | 8.291 | 16.3724 | 5.0292 | -4.2596 | -8.309 | 105.0128 | -172.1842 | 34.896 | -74.9672 | 7.8277 | -145.1198 | 1.1164 | 0.72903 | 0.58602 | 1.3342 | 0.3704 | 0.2974 | -2.787 | -156.6464 | 126.0743 | -5.698 | -156.4562 | 125.4448
Line_1 | 0.1732 | 3.8344 | 2.5894 | 0.17498 | 3.8339 | 2.5907 | 2 | 44.2753 | 29.9 | 2.0205 | 44.2704 | 29.9148 | 1.3437 | 6.7018e-11 | 6.2375e-11 | -1.0814 | 15.6966 | -0.015338 | 2.7785 | -7.0428e-11 | -1.7011e-11 | -2.4694 | 4.7436 | 8.8968 | -71.7883 | 6.757 | -144.6864 | 107.9515 | -173.2713 | 35.346 | 1.5432 | 0 | 0 | 1.3342 | 0.3704 | 0.2974 | -7.5976 | 0 | 0 | -5.698 | -156.4562 | 125.4448
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17451 | 0.17286 | 0.17226 | 2 | 2 | 2 | 2.015 | 1.996 | 1.989 | 0.83703 | 0.57166 | 0.08559 | -0.82206 | -0.55888 | -0.066534 | 2.5568 | 0.50723 | 0.60793 | -2.5598 | -0.48399 | -0.5878 | -77.7799 | 162.2203 | 42.2201 | 102.1062 | -17.3485 | -138.0973 | 1.3452 | 0.38212 | 0.30696 | 1.3342 | 0.3704 | 0.2974 | -5.9071 | -156.1972 | 124.2061 | -5.698 | -156.4562 | 125.4448

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34978 | 3.6768 | 2.42 | 0.34903 | 3.6768 | 2.4197 | 4.039 | 42.4555 | 27.944 | 4.0303 | 42.4558 | 27.9397 | -1.3784 | 29.8202 | -0.33677 | 1.9035 | -15.1377 | 0.081872 | -4.2932 | 8.291 | 16.3724 | 5.0292 | -4.2596 | -8.309 | 105.0128 | -172.1842 | 34.896 | -74.9672 | 7.8277 | -145.1198 | 1.1164 | 0.72903 | 0.58602 | 1.3342 | 0.3704 | 0.2974 | -2.787 | -156.6464 | 126.0743 | -5.698 | -156.4562 | 125.4448
Line_1 | 0.1732 | 3.8344 | 2.5894 | 0.17498 | 3.8339 | 2.5907 | 2 | 44.2753 | 29.9 | 2.0205 | 44.2704 | 29.9148 | 1.3437 | 6.7018e-11 | 6.2375e-11 | -1.0814 | 15.6966 | -0.015338 | 2.7785 | -7.0428e-11 | -1.7011e-11 | -2.4694 | 4.7436 | 8.8968 | -71.7883 | 6.757 | -144.6864 | 107.9515 | -173.2713 | 35.346 | 1.5432 | 0 | 0 | 1.3342 | 0.3704 | 0.2974 | -7.5976 | 0 | 0 | -5.698 | -156.4562 | 125.4448
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17451 | 0.17286 | 0.17226 | 2 | 2 | 2 | 2.015 | 1.996 | 1.989 | 0.83703 | 0.57166 | 0.08559 | -0.82206 | -0.55888 | -0.066534 | 2.5568 | 0.50723 | 0.60793 | -2.5598 | -0.48399 | -0.5878 | -77.7799 | 162.2203 | 42.2201 | 102.1062 | -17.3485 | -138.0973 | 1.3452 | 0.38212 | 0.30696 | 1.3342 | 0.3704 | 0.2974 | -5.9071 | -156.1972 | 124.2061 | -5.698 | -156.4562 | 125.4448

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34772 | 1.0732 | 0.81141 | 0.34737 | 1.0733 | 0.81107 | 4.0152 | 12.3923 | 9.3693 | 4.0111 | 12.3939 | 9.3654 | -1.2522 | 11.3146 | 6.0396 | 1.5664 | -9.9148 | -5.6338 | -4.4002 | 5.6538 | 6.6445 | 4.7669 | -5.8762 | -5.3419 | 105.0894 | -156.4804 | 68.9307 | -74.8953 | 23.5375 | -111.0788 | 1.1394 | 1.0207 | 0.95836 | 1.2509 | 0.92992 | 0.82898 | -0.79554 | -129.9297 | 116.6614 | -3.0855 | -125.8083 | 112.3975
Line_1 | 0.1732 | 1.2096 | 0.96741 | 0.17402 | 1.2091 | 0.96831 | 2 | 13.9673 | 11.1707 | 2.0094 | 13.962 | 11.1811 | 1.057 | -8.7464 | -5.7164 | -0.90677 | 10.4965 | 6.1907 | 2.4916 | -7.7 | -5.2524 | -2.3444 | 7.6415 | 6.8984 | -71.7883 | 18.1756 | -115.7113 | 108.06 | -161.863 | 64.3025 | 1.3533 | 0.8343 | 0.69495 | 1.2509 | 0.92992 | 0.82898 | -4.7756 | -120.4649 | 106.8663 | -3.0855 | -125.8083 | 112.3975
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17381 | 0.1731 | 0.17271 | 2 | 2 | 2 | 2.007 | 1.9987 | 1.9942 | 0.67624 | 0.59108 | 0.57772 | -0.6596 | -0.58176 | -0.55688 | 2.4309 | 1.7864 | 1.5772 | -2.4225 | -1.7653 | -1.5566 | -77.7799 | 162.2202 | 42.2201 | 102.146 | -17.5682 | -137.9173 | 1.2616 | 0.94083 | 0.83985 | 1.2509 | 0.92992 | 0.82898 | -3.326 | -126.088 | 112.1028 | -3.0855 | -125.8083 | 112.3975

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34772 | 1.0732 | 0.81141 | 0.34737 | 1.0733 | 0.81107 | 4.0152 | 12.3923 | 9.3693 | 4.0111 | 12.3939 | 9.3654 | -1.2522 | 11.3146 | 6.0396 | 1.5664 | -9.9148 | -5.6338 | -4.4002 | 5.6538 | 6.6445 | 4.7669 | -5.8762 | -5.3419 | 105.0894 | -156.4804 | 68.9307 | -74.8953 | 23.5375 | -111.0788 | 1.1394 | 1.0207 | 0.95836 | 1.2509 | 0.92992 | 0.82898 | -0.79554 | -129.9297 | 116.6614 | -3.0855 | -125.8083 | 112.3975
Line_1 | 0.1732 | 1.2096 | 0.96741 | 0.17402 | 1.2091 | 0.96831 | 2 | 13.9673 | 11.1707 | 2.0094 | 13.962 | 11.1811 | 1.057 | -8.7464 | -5.7164 | -0.90677 | 10.4965 | 6.1907 | 2.4916 | -7.7 | -5.2524 | -2.3444 | 7.6415 | 6.8984 | -71.7883 | 18.1756 | -115.7113 | 108.06 | -161.863 | 64.3025 | 1.3533 | 0.8343 | 0.69495 | 1.2509 | 0.92992 | 0.82898 | -4.7756 | -120.4649 | 106.8663 | -3.0855 | -125.8083 | 112.3975
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17381 | 0.1731 | 0.17271 | 2 | 2 | 2 | 2.007 | 1.9987 | 1.9942 | 0.67624 | 0.59108 | 0.57772 | -0.6596 | -0.58176 | -0.55688 | 2.4309 | 1.7864 | 1.5772 | -2.4225 | -1.7653 | -1.5566 | -77.7799 | 162.2202 | 42.2201 | 102.146 | -17.5682 | -137.9173 | 1.2616 | 0.94083 | 0.83985 | 1.2509 | 0.92992 | 0.82898 | -3.326 | -126.088 | 112.1028 | -3.0855 | -125.8083 | 112.3975

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.003437 | 2.7635 | 2.1034 | 0.0028379 | 2.7637 | 2.103 | 0.039688 | 31.9104 | 24.288 | 0.03277 | 31.9125 | 24.2838 | -0.0004052 | 25.2259 | 3.439 | 0.0005749 | -12.6188 | -1.7085 | -0.039046 | 2.2643 | 12.6315 | 0.038357 | -1.152 | -6.3002 | 88.197 | -158.1489 | 41.722 | -93.1638 | 21.8631 | -138.2911 | 0.98389 | 0.7937 | 0.539 | 1.1706 | 0.39706 | 0.26881 | -2.3976 | -153.0196 | 116.4921 | -4.0225 | -152.9205 | 116.5361
Line_1 | 0 | 2.7649 | 2.101 | 0.0016924 | 2.7642 | 2.1022 | 0 | 31.9264 | 24.2607 | 0.019542 | 31.9178 | 24.2747 | -1.8007e-09 | -1.5319e-10 | -3.2107e-11 | 1.5139e-06 | 12.6213 | 1.7054 | -4.461e-10 | -1.1764e-10 | -1.4336e-10 | -0.022876 | 1.1475 | 6.2985 | 0 | 21.9164 | -138.3459 | 85.9737 | -158.1152 | 41.6863 | 1.3577 | 0 | 0 | 1.1706 | 0.39706 | 0.26881 | -5.1411 | 0 | 0 | -4.0225 | -152.9205 | 116.5361
Line_2 | 0 | 0 | 0 | 0.001146 | 0.001146 | 0.001146 | 0 | 0 | 0 | 0.013233 | 0.013233 | 0.013233 | -7.4349e-10 | 6.4474e-10 | 7.1833e-10 | -0.00057641 | -0.002545 | 0.0031284 | -3.024e-10 | -7.904e-10 | -5.9096e-11 | -0.015481 | 0.004597 | 0.0016934 | 0 | 0 | 0 | 88.1099 | 88.1099 | 88.1099 | 1.1707 | 0.39717 | 0.26847 | 1.1706 | 0.39706 | 0.26881 | -4.0396 | -152.871 | 116.5582 | -4.0225 | -152.9205 | 116.5361

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.003437 | 2.7635 | 2.1034 | 0.0028379 | 2.7637 | 2.103 | 0.039688 | 31.9104 | 24.288 | 0.03277 | 31.9125 | 24.2838 | -0.0004052 | 25.2259 | 3.439 | 0.0005749 | -12.6188 | -1.7085 | -0.039046 | 2.2643 | 12.6315 | 0.038357 | -1.152 | -6.3002 | 88.197 | -158.1489 | 41.722 | -93.1638 | 21.8631 | -138.2911 | 0.98389 | 0.7937 | 0.539 | 1.1706 | 0.39706 | 0.26881 | -2.3976 | -153.0196 | 116.4921 | -4.0225 | -152.9205 | 116.5361
Line_1 | 0 | 2.7649 | 2.101 | 0.0016924 | 2.7642 | 2.1022 | 0 | 31.9264 | 24.2607 | 0.019542 | 31.9178 | 24.2747 | -1.8007e-09 | -1.5319e-10 | -3.2107e-11 | 1.5139e-06 | 12.6213 | 1.7054 | -4.461e-10 | -1.1764e-10 | -1.4336e-10 | -0.022876 | 1.1475 | 6.2985 | 0 | 21.9164 | -138.3459 | 85.9737 | -158.1152 | 41.6863 | 1.3577 | 0 | 0 | 1.1706 | 0.39706 | 0.26881 | -5.1411 | 0 | 0 | -4.0225 | -152.9205 | 116.5361
Line_2 | 0 | 0 | 0 | 0.001146 | 0.001146 | 0.001146 | 0 | 0 | 0 | 0.013233 | 0.013233 | 0.013233 | -7.4349e-10 | 6.4474e-10 | 7.1833e-10 | -0.00057641 | -0.002545 | 0.0031284 | -3.024e-10 | -7.904e-10 | -5.9096e-11 | -0.015481 | 0.004597 | 0.0016934 | 0 | 0 | 0 | 88.1099 | 88.1099 | 88.1099 | 1.1707 | 0.39717 | 0.26847 | 1.1706 | 0.39706 | 0.26881 | -4.0396 | -152.871 | 116.5582 | -4.0225 | -152.9205 | 116.5361

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0021321 | 1.0562 | 0.84151 | 0.0017604 | 1.0564 | 0.84117 | 0.024619 | 12.1959 | 9.717 | 0.020328 | 12.1979 | 9.713 | 0.0042966 | 9.8368 | 4.677 | -0.0036278 | -7.7108 | -4.0995 | -0.02388 | 4.9063 | 6.6238 | 0.021982 | -5.2533 | -5.0732 | 78.4412 | -157.4195 | 61.1586 | -102.9197 | 22.5985 | -118.8516 | 0.98557 | 0.90133 | 0.83447 | 1.096 | 0.76491 | 0.67153 | -1.3592 | -130.9108 | 115.9333 | -3.5485 | -123.1351 | 112.2077
Line_1 | 0 | 1.0574 | 0.83948 | 0.0010498 | 1.0568 | 0.84049 | 0 | 12.2097 | 9.6935 | 0.012122 | 12.2025 | 9.7052 | -9.386e-10 | -5.5904 | -3.5236 | 0.0023605 | 7.7166 | 4.095 | -4.0848e-10 | -5.5904 | -3.5236 | -0.013075 | 5.251 | 5.0701 | 0 | 22.6762 | -118.8846 | 76.2179 | -157.3696 | 61.1341 | 1.2077 | 0.64752 | 0.51407 | 1.096 | 0.76491 | 0.67153 | -5.2927 | -112.3238 | 106.1154 | -3.5485 | -123.1351 | 112.2077
Line_2 | 0 | 0 | 0 | 0.00071092 | 0.00071092 | 0.00071092 | 0 | 0 | 0 | 0.0082089 | 0.0082089 | 0.0082089 | -3.9371e-10 | 6.5482e-10 | 7.8635e-10 | 0.0012673 | -0.0058426 | 0.004578 | -2.4955e-10 | -1.5298e-10 | -3.3343e-10 | -0.0089075 | 0.0023002 | 0.0030709 | 0 | 0 | 0 | 78.354 | 78.354 | 78.354 | 1.096 | 0.76509 | 0.67132 | 1.096 | 0.76491 | 0.67153 | -3.5601 | -123.1259 | 112.2149 | -3.5485 | -123.1351 | 112.2077

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0021321 | 1.0562 | 0.84151 | 0.0017604 | 1.0564 | 0.84117 | 0.024619 | 12.1959 | 9.717 | 0.020328 | 12.1979 | 9.713 | 0.0042966 | 9.8368 | 4.677 | -0.0036278 | -7.7108 | -4.0995 | -0.02388 | 4.9063 | 6.6238 | 0.021982 | -5.2533 | -5.0732 | 78.4412 | -157.4195 | 61.1586 | -102.9197 | 22.5985 | -118.8516 | 0.98557 | 0.90133 | 0.83447 | 1.096 | 0.76491 | 0.67153 | -1.3592 | -130.9108 | 115.9333 | -3.5485 | -123.1351 | 112.2077
Line_1 | 0 | 1.0574 | 0.83948 | 0.0010498 | 1.0568 | 0.84049 | 0 | 12.2097 | 9.6935 | 0.012122 | 12.2025 | 9.7052 | -9.386e-10 | -5.5904 | -3.5236 | 0.0023605 | 7.7166 | 4.095 | -4.0848e-10 | -5.5904 | -3.5236 | -0.013075 | 5.251 | 5.0701 | 0 | 22.6762 | -118.8846 | 76.2179 | -157.3696 | 61.1341 | 1.2077 | 0.64752 | 0.51407 | 1.096 | 0.76491 | 0.67153 | -5.2927 | -112.3238 | 106.1154 | -3.5485 | -123.1351 | 112.2077
Line_2 | 0 | 0 | 0 | 0.00071092 | 0.00071092 | 0.00071092 | 0 | 0 | 0 | 0.0082089 | 0.0082089 | 0.0082089 | -3.9371e-10 | 6.5482e-10 | 7.8635e-10 | 0.0012673 | -0.0058426 | 0.004578 | -2.4955e-10 | -1.5298e-10 | -3.3343e-10 | -0.0089075 | 0.0023002 | 0.0030709 | 0 | 0 | 0 | 78.354 | 78.354 | 78.354 | 1.096 | 0.76509 | 0.67132 | 1.096 | 0.76491 | 0.67153 | -3.5601 | -123.1259 | 112.2149 | -3.5485 | -123.1351 | 112.2077