## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 0.0325 | -1e-07 | 0.036875 | -1e-07 | -77.7798 | 102.2202 | 0.0098306 | 0 | -29.1714 | 0
Line_2 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 0.0325 | -1e-07 | 0.036875 | -1e-07 | -77.7798 | 102.2202 | 0.0098306 | 0 | -29.1714 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 0.0325 | -1e-07 | 0.036875 | -1e-07 | -77.7798 | 102.2202 | 0.0098306 | 0 | -29.1714 | 0
Line_2 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 0.0325 | -1e-07 | 0.036875 | -1e-07 | -77.7798 | 102.2202 | 0.0098306 | 0 | -29.1714 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1384 | 1.1384 | 0 | 2.4661 | 39.4369 | 39.4369 | 28.164 | -26.1422 | 23.6571 | -21.3631 | -48.785 | 131.215 | 0.93266 | 0.85607 | -8.7555 | -9.5297
Line_1 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 1.6186 | -1.5861 | 4.0125 | -3.9756 | -77.7798 | 102.2202 | 0.86534 | 0.85607 | -9.7485 | -9.5297
Line_2 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 1.6186 | -1.5861 | 4.0125 | -3.9756 | -77.7798 | 102.2202 | 0.86534 | 0.85607 | -9.7485 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1384 | 1.1384 | 0 | 2.4661 | 39.4369 | 39.4369 | 28.164 | -26.1422 | 23.6571 | -21.3631 | -48.785 | 131.215 | 0.93266 | 0.85607 | -8.7555 | -9.5297
Line_1 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 1.6186 | -1.5861 | 4.0125 | -3.9756 | -77.7798 | 102.2202 | 0.86534 | 0.85607 | -9.7485 | -9.5297
Line_2 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 1.6186 | -1.5861 | 4.0125 | -3.9756 | -77.7798 | 102.2202 | 0.86534 | 0.85607 | -9.7485 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 4.4908e-10 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 4.4908e-10 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 4.4908e-10 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 4.4908e-10 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 1.4292e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 1.4292e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 1.4292e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 1.4292e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 3.712 | 3.712 | 0.28867 | 3.712 | 3.712 | 3.3333 | 42.862 | 42.862 | 3.3333 | 42.862 | 42.862 | -0.78508 | 31.5321 | -17.6165 | 0.82842 | -24.3672 | 24.7814 | -3.7759 | 1.8509 | 12.4953 | 3.8251 | 6.2785 | -4.3659 | 102.22 | -165.5514 | 9.9917 | -77.78 | 14.4486 | -170.0083 | 1.157 | 0.73693 | 0.5039 | 1.1741 | 0.58707 | 0.58707 | 0.47457 | -162.192 | 154.6437 | -8.1315e-06 | 180 | 180
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.94255 | -0.71378 | -0.41421 | -0.93172 | 0.72461 | 1.9248 | 0.31107 | 0.66979 | -1.9126 | -0.29878 | -0.6575 | -77.78 | 162.2204 | 42.22 | 102.22 | -17.7796 | -137.78 | 1.1827 | 0.59553 | 0.58729 | 1.1741 | 0.58707 | 0.58707 | -0.23213 | -179.5153 | 179.041 | -8.1315e-06 | 180 | 180
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.94255 | -0.71378 | -0.41421 | -0.93172 | 0.72461 | 1.9248 | 0.31107 | 0.66979 | -1.9126 | -0.29878 | -0.6575 | -77.78 | 162.2204 | 42.22 | 102.22 | -17.7796 | -137.78 | 1.1827 | 0.59553 | 0.58729 | 1.1741 | 0.58707 | 0.58707 | -0.23213 | -179.5153 | 179.041 | -8.1315e-06 | 180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 3.712 | 3.712 | 0.28867 | 3.712 | 3.712 | 3.3333 | 42.862 | 42.862 | 3.3333 | 42.862 | 42.862 | -0.78508 | 31.5321 | -17.6165 | 0.82842 | -24.3672 | 24.7814 | -3.7759 | 1.8509 | 12.4953 | 3.8251 | 6.2785 | -4.3659 | 102.22 | -165.5514 | 9.9917 | -77.78 | 14.4486 | -170.0083 | 1.157 | 0.73693 | 0.5039 | 1.1741 | 0.58707 | 0.58707 | 0.47457 | -162.192 | 154.6437 | -8.1315e-06 | 180 | 180
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.94255 | -0.71378 | -0.41421 | -0.93172 | 0.72461 | 1.9248 | 0.31107 | 0.66979 | -1.9126 | -0.29878 | -0.6575 | -77.78 | 162.2204 | 42.22 | 102.22 | -17.7796 | -137.78 | 1.1827 | 0.59553 | 0.58729 | 1.1741 | 0.58707 | 0.58707 | -0.23213 | -179.5153 | 179.041 | -8.1315e-06 | 180 | 180
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.94255 | -0.71378 | -0.41421 | -0.93172 | 0.72461 | 1.9248 | 0.31107 | 0.66979 | -1.9126 | -0.29878 | -0.6575 | -77.78 | 162.2204 | 42.22 | 102.22 | -17.7796 | -137.78 | 1.1827 | 0.59553 | 0.58729 | 1.1741 | 0.58707 | 0.58707 | -0.23213 | -179.5153 | 179.041 | -8.1315e-06 | 180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 1.7018 | 1.6008 | 0.28867 | 1.7018 | 1.6008 | 3.3333 | 19.6505 | 18.4849 | 3.3333 | 19.6505 | 18.4849 | -0.78509 | 19.6311 | -1.0159 | 0.82842 | -18.1252 | 2.3485 | -3.776 | 1.6514 | 14.4041 | 3.8251 | 0.057272 | -12.8922 | 102.2201 | -142.6862 | 27.9149 | -77.7799 | 37.3138 | -152.0851 | 1.157 | 1.0025 | 0.78117 | 1.1741 | 0.92238 | 0.70892 | 0.47457 | -137.8777 | 121.9492 | -5.5203e-06 | -142.8673 | 128.239
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.89452 | 0.092865 | -0.41421 | -0.88369 | -0.082032 | 1.9249 | 1.2702 | 1.191 | -1.9126 | -1.2579 | -1.1787 | -77.7799 | 162.2203 | 42.2201 | 102.2201 | -17.7797 | -137.7799 | 1.1827 | 0.93216 | 0.71675 | 1.1741 | 0.92238 | 0.70892 | -0.23213 | -142.9336 | 127.7616 | -5.5203e-06 | -142.8673 | 128.239
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.89452 | 0.092865 | -0.41421 | -0.88369 | -0.082032 | 1.9249 | 1.2702 | 1.191 | -1.9126 | -1.2579 | -1.1787 | -77.7799 | 162.2203 | 42.2201 | 102.2201 | -17.7797 | -137.7799 | 1.1827 | 0.93216 | 0.71675 | 1.1741 | 0.92238 | 0.70892 | -0.23213 | -142.9336 | 127.7616 | -5.5203e-06 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 1.7018 | 1.6008 | 0.28867 | 1.7018 | 1.6008 | 3.3333 | 19.6505 | 18.4849 | 3.3333 | 19.6505 | 18.4849 | -0.78509 | 19.6311 | -1.0159 | 0.82842 | -18.1252 | 2.3485 | -3.776 | 1.6514 | 14.4041 | 3.8251 | 0.057272 | -12.8922 | 102.2201 | -142.6862 | 27.9149 | -77.7799 | 37.3138 | -152.0851 | 1.157 | 1.0025 | 0.78117 | 1.1741 | 0.92238 | 0.70892 | 0.47457 | -137.8777 | 121.9492 | -5.5203e-06 | -142.8673 | 128.239
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.89452 | 0.092865 | -0.41421 | -0.88369 | -0.082032 | 1.9249 | 1.2702 | 1.191 | -1.9126 | -1.2579 | -1.1787 | -77.7799 | 162.2203 | 42.2201 | 102.2201 | -17.7797 | -137.7799 | 1.1827 | 0.93216 | 0.71675 | 1.1741 | 0.92238 | 0.70892 | -0.23213 | -142.9336 | 127.7616 | -5.5203e-06 | -142.8673 | 128.239
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.89452 | 0.092865 | -0.41421 | -0.88369 | -0.082032 | 1.9249 | 1.2702 | 1.191 | -1.9126 | -1.2579 | -1.1787 | -77.7799 | 162.2203 | 42.2201 | 102.2201 | -17.7797 | -137.7799 | 1.1827 | 0.93216 | 0.71675 | 1.1741 | 0.92238 | 0.70892 | -0.23213 | -142.9336 | 127.7616 | -5.5203e-06 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -2.6053e-14 | 26.5997 | -7.1734 | 2.6053e-14 | -16.8865 | 16.8865 | -4.2815e-28 | -0.51586 | 11.9957 | 4.737e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 9.4158e-13 | -160.7833 | 141.207 | 9.7749e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4137e-28 | 3.5528e-15 | -4.7369e-15 | -2.3685e-15 | 1.1842e-15 | 4.7369e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.7315e-13 | -180 | 180 | 9.7749e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1841e-15 | 4.737e-15 | 1.6163e-28 | 1.1842e-15 | -4.737e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.5848e-13 | -180 | 180 | 9.7749e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -2.6053e-14 | 26.5997 | -7.1734 | 2.6053e-14 | -16.8865 | 16.8865 | -4.2815e-28 | -0.51586 | 11.9957 | 4.737e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 9.4158e-13 | -160.7833 | 141.207 | 9.7749e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4137e-28 | 3.5528e-15 | -4.7369e-15 | -2.3685e-15 | 1.1842e-15 | 4.7369e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.7315e-13 | -180 | 180 | 9.7749e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1841e-15 | 4.737e-15 | 1.6163e-28 | 1.1842e-15 | -4.737e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.5848e-13 | -180 | 180 | 9.7749e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -1.5987e-14 | 15.3932 | 0.73601 | 1.5987e-14 | -13.0917 | 1.5655 | -1.3465e-28 | 2.3135 | 11.9328 | -2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 4.8258e-13 | -138.1765 | 119.7467 | 5.0128e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-15 | 4.798e-10 | 8.2616e-10 | -2.3685e-15 | -4.798e-10 | -8.2616e-10 | 1.0297e-29 | -1.0532e-09 | 4.5325e-10 | -4.737e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.9818e-13 | -142.5584 | 131.6989 | 5.0128e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.798e-10 | 8.2615e-10 | 4.1443e-29 | -4.7979e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5324e-10 | -4.737e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.9195e-13 | -142.5584 | 131.6989 | 5.0128e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -1.5987e-14 | 15.3932 | 0.73601 | 1.5987e-14 | -13.0917 | 1.5655 | -1.3465e-28 | 2.3135 | 11.9328 | -2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 4.8258e-13 | -138.1765 | 119.7467 | 5.0128e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-15 | 4.798e-10 | 8.2616e-10 | -2.3685e-15 | -4.798e-10 | -8.2616e-10 | 1.0297e-29 | -1.0532e-09 | 4.5325e-10 | -4.737e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.9818e-13 | -142.5584 | 131.6989 | 5.0128e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.798e-10 | 8.2615e-10 | 4.1443e-29 | -4.7979e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5324e-10 | -4.737e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.9195e-13 | -142.5584 | 131.6989 | 5.0128e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41592 | 0.29419 | 0.29911 | 0.41078 | 0.29217 | 0.29571 | 4.8026 | 3.397 | 3.4538 | 4.7432 | 3.3737 | 3.4146 | 0.3999 | -3.6006 | 1.6438 | 2.5137e-12 | 3.8559 | -1.5641 | 0.21595 | -5.3266 | -6.0228 | -9.5111e-13 | 5.1042 | 6.2011 | -89.7975 | -20.6537 | -135.5135 | 90.1695 | 160.2724 | 43.741 | 0.094632 | 1.8927 | 1.8076 | 0 | 1.8961 | 1.8729 | -61.4278 | -144.7113 | 149.7523 | 0 | -146.7967 | 147.897
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.13921 | 0.14609 | 0.14786 | 1.6667 | 1.6667 | 1.6667 | 1.6075 | 1.6869 | 1.7073 | 0.009354 | 2.0013 | -0.83213 | 7.6211e-13 | -1.928 | 0.78203 | 0.012025 | 2.4665 | 3.0191 | -4.9879e-13 | -2.5521 | -3.1005 | -77.7798 | 162.2201 | 42.2202 | 102.6486 | -19.7276 | -136.259 | 0.009141 | 1.9058 | 1.879 | 0 | 1.8961 | 1.8729 | -25.6576 | -146.8356 | 147.6295 | 0 | -146.7967 | 147.897
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.13921 | 0.14609 | 0.14786 | 1.6667 | 1.6667 | 1.6667 | 1.6075 | 1.6869 | 1.7073 | 0.009354 | 2.0013 | -0.83213 | 7.6211e-13 | -1.928 | 0.78203 | 0.012025 | 2.4665 | 3.0191 | -4.9879e-13 | -2.5521 | -3.1005 | -77.7798 | 162.2201 | 42.2202 | 102.6486 | -19.7276 | -136.259 | 0.009141 | 1.9058 | 1.879 | 0 | 1.8961 | 1.8729 | -25.6576 | -146.8356 | 147.6295 | 0 | -146.7967 | 147.897

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41592 | 0.29419 | 0.29911 | 0.41078 | 0.29217 | 0.29571 | 4.8026 | 3.397 | 3.4538 | 4.7432 | 3.3737 | 3.4146 | 0.3999 | -3.6006 | 1.6438 | 2.5137e-12 | 3.8559 | -1.5641 | 0.21595 | -5.3266 | -6.0228 | -9.5111e-13 | 5.1042 | 6.2011 | -89.7975 | -20.6537 | -135.5135 | 90.1695 | 160.2724 | 43.741 | 0.094632 | 1.8927 | 1.8076 | 0 | 1.8961 | 1.8729 | -61.4278 | -144.7113 | 149.7523 | 0 | -146.7967 | 147.897
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.13921 | 0.14609 | 0.14786 | 1.6667 | 1.6667 | 1.6667 | 1.6075 | 1.6869 | 1.7073 | 0.009354 | 2.0013 | -0.83213 | 7.6211e-13 | -1.928 | 0.78203 | 0.012025 | 2.4665 | 3.0191 | -4.9879e-13 | -2.5521 | -3.1005 | -77.7798 | 162.2201 | 42.2202 | 102.6486 | -19.7276 | -136.259 | 0.009141 | 1.9058 | 1.879 | 0 | 1.8961 | 1.8729 | -25.6576 | -146.8356 | 147.6295 | 0 | -146.7967 | 147.897
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.13921 | 0.14609 | 0.14786 | 1.6667 | 1.6667 | 1.6667 | 1.6075 | 1.6869 | 1.7073 | 0.009354 | 2.0013 | -0.83213 | 7.6211e-13 | -1.928 | 0.78203 | 0.012025 | 2.4665 | 3.0191 | -4.9879e-13 | -2.5521 | -3.1005 | -77.7798 | 162.2201 | 42.2202 | 102.6486 | -19.7276 | -136.259 | 0.009141 | 1.9058 | 1.879 | 0 | 1.8961 | 1.8729 | -25.6576 | -146.8356 | 147.6295 | 0 | -146.7967 | 147.897

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25342 | 0.29478 | 0.295 | 0.24947 | 0.29265 | 0.29296 | 2.9263 | 3.4039 | 3.4064 | 2.8806 | 3.3792 | 3.3828 | 0.89485 | -2.7687 | 1.314 | -0.69926 | 2.9916 | -1.2785 | 0.69885 | -5.3601 | -5.0753 | -0.61837 | 5.2239 | 5.2512 | -71.1988 | -19.823 | -135.763 | 108.8933 | 160.8312 | 43.572 | 0.388 | 1.7724 | 1.5391 | 0.32405 | 1.7814 | 1.5977 | -33.2099 | -137.1415 | 148.7525 | -29.6197 | -138.9672 | 147.2559
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14029 | 0.14632 | 0.14648 | 1.6667 | 1.6667 | 1.6667 | 1.62 | 1.6896 | 1.6914 | 0.37001 | 1.5492 | -0.67976 | -0.35043 | -1.4958 | 0.63927 | 0.41426 | 2.5515 | 2.5851 | -0.39087 | -2.6119 | -2.6256 | -77.7798 | 162.2201 | 42.2202 | 102.2574 | -19.1688 | -136.428 | 0.33326 | 1.791 | 1.6038 | 0.32405 | 1.7814 | 1.5977 | -29.5506 | -139.045 | 146.9529 | -29.6197 | -138.9672 | 147.2559
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14029 | 0.14632 | 0.14648 | 1.6667 | 1.6667 | 1.6667 | 1.62 | 1.6896 | 1.6914 | 0.37001 | 1.5492 | -0.67976 | -0.35043 | -1.4958 | 0.63927 | 0.41426 | 2.5515 | 2.5851 | -0.39087 | -2.6119 | -2.6256 | -77.7798 | 162.2201 | 42.2202 | 102.2574 | -19.1688 | -136.428 | 0.33326 | 1.791 | 1.6038 | 0.32405 | 1.7814 | 1.5977 | -29.5506 | -139.045 | 146.9529 | -29.6197 | -138.9672 | 147.2559

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25342 | 0.29478 | 0.295 | 0.24947 | 0.29265 | 0.29296 | 2.9263 | 3.4039 | 3.4064 | 2.8806 | 3.3792 | 3.3828 | 0.89485 | -2.7687 | 1.314 | -0.69926 | 2.9916 | -1.2785 | 0.69885 | -5.3601 | -5.0753 | -0.61837 | 5.2239 | 5.2512 | -71.1988 | -19.823 | -135.763 | 108.8933 | 160.8312 | 43.572 | 0.388 | 1.7724 | 1.5391 | 0.32405 | 1.7814 | 1.5977 | -33.2099 | -137.1415 | 148.7525 | -29.6197 | -138.9672 | 147.2559
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14029 | 0.14632 | 0.14648 | 1.6667 | 1.6667 | 1.6667 | 1.62 | 1.6896 | 1.6914 | 0.37001 | 1.5492 | -0.67976 | -0.35043 | -1.4958 | 0.63927 | 0.41426 | 2.5515 | 2.5851 | -0.39087 | -2.6119 | -2.6256 | -77.7798 | 162.2201 | 42.2202 | 102.2574 | -19.1688 | -136.428 | 0.33326 | 1.791 | 1.6038 | 0.32405 | 1.7814 | 1.5977 | -29.5506 | -139.045 | 146.9529 | -29.6197 | -138.9672 | 147.2559
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14029 | 0.14632 | 0.14648 | 1.6667 | 1.6667 | 1.6667 | 1.62 | 1.6896 | 1.6914 | 0.37001 | 1.5492 | -0.67976 | -0.35043 | -1.4958 | 0.63927 | 0.41426 | 2.5515 | 2.5851 | -0.39087 | -2.6119 | -2.6256 | -77.7798 | 162.2201 | 42.2202 | 102.2574 | -19.1688 | -136.428 | 0.33326 | 1.791 | 1.6038 | 0.32405 | 1.7814 | 1.5977 | -29.5506 | -139.045 | 146.9529 | -29.6197 | -138.9672 | 147.2559

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.58894 | 0.013195 | 0.013195 | 0.58462 | 0.008866 | 0.008866 | 6.8005 | 0.15237 | 0.15237 | 6.7506 | 0.10238 | 0.10238 | 1.0741 | 0.14341 | -0.12024 | -5.848e-12 | -0.088745 | 0.088536 | 0.30524 | -0.20605 | -0.19448 | -3.1458e-12 | 0.13938 | 0.13563 | -80.4398 | -87.4856 | -87.4856 | 99.5926 | 91.2119 | 91.2119 | 0.1642 | 1.6477 | 1.5006 | 0 | 1.614 | 1.5821 | -64.5756 | -142.6482 | 150.7864 | 0 | -146.3033 | 148.077
Line_1 | 0 | 0 | 0 | 0.004433 | 0.004433 | 0.004433 | 0 | 0 | 0 | 0.051188 | 0.051188 | 0.051188 | -1.1435e-12 | -4.2445e-09 | -4.0662e-09 | 4.0394e-14 | 0.044373 | -0.044268 | 4.9719e-12 | -2.6259e-09 | 2.7289e-09 | 3.0062e-14 | -0.069692 | -0.067817 | 0 | 0 | 0 | -88.7881 | -88.7881 | -88.7881 | 0.001391 | 1.6135 | 1.5831 | 0 | 1.614 | 1.5821 | 102.8747 | -146.3495 | 148.0413 | 0 | -146.3033 | 148.077
Line_2 | 0 | 0 | 0 | 0.004433 | 0.004433 | 0.004433 | 0 | 0 | 0 | 0.051188 | 0.051188 | 0.051188 | -1.1435e-12 | -4.2445e-09 | -4.0662e-09 | 4.0394e-14 | 0.044373 | -0.044268 | 4.9719e-12 | -2.6259e-09 | 2.7288e-09 | 3.0062e-14 | -0.069692 | -0.067817 | 0 | 0 | 0 | -88.7881 | -88.7881 | -88.7881 | 0.001391 | 1.6135 | 1.5831 | 0 | 1.614 | 1.5821 | 102.8747 | -146.3495 | 148.0413 | 0 | -146.3033 | 148.077

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.58894 | 0.013195 | 0.013195 | 0.58462 | 0.008866 | 0.008866 | 6.8005 | 0.15237 | 0.15237 | 6.7506 | 0.10238 | 0.10238 | 1.0741 | 0.14341 | -0.12024 | -5.848e-12 | -0.088745 | 0.088536 | 0.30524 | -0.20605 | -0.19448 | -3.1458e-12 | 0.13938 | 0.13563 | -80.4398 | -87.4856 | -87.4856 | 99.5926 | 91.2119 | 91.2119 | 0.1642 | 1.6477 | 1.5006 | 0 | 1.614 | 1.5821 | -64.5756 | -142.6482 | 150.7864 | 0 | -146.3033 | 148.077
Line_1 | 0 | 0 | 0 | 0.004433 | 0.004433 | 0.004433 | 0 | 0 | 0 | 0.051188 | 0.051188 | 0.051188 | -1.1435e-12 | -4.2445e-09 | -4.0662e-09 | 4.0394e-14 | 0.044373 | -0.044268 | 4.9719e-12 | -2.6259e-09 | 2.7289e-09 | 3.0062e-14 | -0.069692 | -0.067817 | 0 | 0 | 0 | -88.7881 | -88.7881 | -88.7881 | 0.001391 | 1.6135 | 1.5831 | 0 | 1.614 | 1.5821 | 102.8747 | -146.3495 | 148.0413 | 0 | -146.3033 | 148.077
Line_2 | 0 | 0 | 0 | 0.004433 | 0.004433 | 0.004433 | 0 | 0 | 0 | 0.051188 | 0.051188 | 0.051188 | -1.1435e-12 | -4.2445e-09 | -4.0662e-09 | 4.0394e-14 | 0.044373 | -0.044268 | 4.9719e-12 | -2.6259e-09 | 2.7288e-09 | 3.0062e-14 | -0.069692 | -0.067817 | 0 | 0 | 0 | -88.7881 | -88.7881 | -88.7881 | 0.001391 | 1.6135 | 1.5831 | 0 | 1.614 | 1.5821 | 102.8747 | -146.3495 | 148.0413 | 0 | -146.3033 | 148.077

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45169 | 0.01012 | 0.01012 | 0.44837 | 0.0067997 | 0.0067997 | 5.2156 | 0.11686 | 0.11686 | 5.1773 | 0.078517 | 0.078517 | 1.6264 | 0.096299 | -0.10204 | -0.98788 | -0.060671 | 0.073176 | 1.1798 | -0.15046 | -0.11011 | -0.99232 | 0.10146 | 0.077379 | -71.4534 | -78.4992 | -78.4992 | 108.579 | 100.1983 | 100.1983 | 0.38523 | 1.5287 | 1.2846 | 0.27045 | 1.5056 | 1.3564 | -35.4969 | -135.8788 | 148.6785 | -26.2924 | -138.9228 | 146.7976
Line_1 | 0 | 0 | 0 | 0.0033999 | 0.0033999 | 0.0033999 | 0 | 0 | 0 | 0.039258 | 0.039258 | 0.039258 | 6.2099e-10 | -3.088e-09 | -2.3115e-09 | 0.0063141 | 0.030335 | -0.036588 | -4.3562e-10 | -1.7933e-09 | 2.2417e-09 | 0.0085359 | -0.050729 | -0.03869 | 0 | 0 | 0 | -79.8017 | -79.8017 | -79.8017 | 0.26966 | 1.5052 | 1.3573 | 0.27045 | 1.5056 | 1.3564 | -26.1412 | -138.9611 | 146.7718 | -26.2924 | -138.9228 | 146.7976
Line_2 | 0 | 0 | 0 | 0.0033999 | 0.0033999 | 0.0033999 | 0 | 0 | 0 | 0.039258 | 0.039258 | 0.039258 | 6.2098e-10 | -3.088e-09 | -2.3115e-09 | 0.0063141 | 0.030335 | -0.036588 | -4.3562e-10 | -1.7933e-09 | 2.2417e-09 | 0.0085359 | -0.050729 | -0.03869 | 0 | 0 | 0 | -79.8017 | -79.8017 | -79.8017 | 0.26966 | 1.5052 | 1.3573 | 0.27045 | 1.5056 | 1.3564 | -26.1412 | -138.9611 | 146.7718 | -26.2924 | -138.9228 | 146.7976

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45169 | 0.01012 | 0.01012 | 0.44837 | 0.0067997 | 0.0067997 | 5.2156 | 0.11686 | 0.11686 | 5.1773 | 0.078517 | 0.078517 | 1.6264 | 0.096299 | -0.10204 | -0.98788 | -0.060671 | 0.073176 | 1.1798 | -0.15046 | -0.11011 | -0.99232 | 0.10146 | 0.077379 | -71.4534 | -78.4992 | -78.4992 | 108.579 | 100.1983 | 100.1983 | 0.38523 | 1.5287 | 1.2846 | 0.27045 | 1.5056 | 1.3564 | -35.4969 | -135.8788 | 148.6785 | -26.2924 | -138.9228 | 146.7976
Line_1 | 0 | 0 | 0 | 0.0033999 | 0.0033999 | 0.0033999 | 0 | 0 | 0 | 0.039258 | 0.039258 | 0.039258 | 6.2099e-10 | -3.088e-09 | -2.3115e-09 | 0.0063141 | 0.030335 | -0.036588 | -4.3562e-10 | -1.7933e-09 | 2.2417e-09 | 0.0085359 | -0.050729 | -0.03869 | 0 | 0 | 0 | -79.8017 | -79.8017 | -79.8017 | 0.26966 | 1.5052 | 1.3573 | 0.27045 | 1.5056 | 1.3564 | -26.1412 | -138.9611 | 146.7718 | -26.2924 | -138.9228 | 146.7976
Line_2 | 0 | 0 | 0 | 0.0033999 | 0.0033999 | 0.0033999 | 0 | 0 | 0 | 0.039258 | 0.039258 | 0.039258 | 6.2098e-10 | -3.088e-09 | -2.3115e-09 | 0.0063141 | 0.030335 | -0.036588 | -4.3562e-10 | -1.7933e-09 | 2.2417e-09 | 0.0085359 | -0.050729 | -0.03869 | 0 | 0 | 0 | -79.8017 | -79.8017 | -79.8017 | 0.26966 | 1.5052 | 1.3573 | 0.27045 | 1.5056 | 1.3564 | -26.1412 | -138.9611 | 146.7718 | -26.2924 | -138.9228 | 146.7976

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29695 | 3.6834 | 3.7355 | 0.29421 | 3.6838 | 3.735 | 3.4289 | 42.5321 | 43.1342 | 3.3972 | 42.5372 | 43.1282 | -1.0189 | 7.2838 | 7.0647 | 1.1889 | 4.9991e-11 | 3.049e-11 | -5.686 | 6.4418 | 9.8234 | 5.7006 | -7.4421e-12 | 3.6831e-11 | 101.8997 | -168.5171 | 12.9471 | -78.0097 | 11.5256 | -167.0949 | 1.6847 | 0.22862 | 0.28052 | 1.7141 | 0 | 0 | 1.7405 | -127.0275 | 67.2246 | 0.20959 | 0 | 0
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.1471 | 0.14349 | 0.14246 | 1.6667 | 1.6667 | 1.6667 | 1.6986 | 1.6569 | 1.645 | 0.60611 | 0.010315 | 0.010551 | -0.59446 | 1.8527e-12 | 1.692e-12 | 2.8067 | 0.012917 | 0.011531 | -2.8503 | 6.6569e-13 | 6.8055e-13 | -77.78 | 162.2204 | 42.22 | 101.9903 | -16.7052 | -138.625 | 1.7229 | 0.0099182 | 0.0093776 | 1.7141 | 0 | 0 | 0.034135 | -146.3903 | 89.7603 | 0.20959 | 0 | 0
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.1471 | 0.14349 | 0.14246 | 1.6667 | 1.6667 | 1.6667 | 1.6986 | 1.6569 | 1.645 | 0.60611 | 0.010315 | 0.010551 | -0.59446 | 1.8527e-12 | 1.692e-12 | 2.8067 | 0.012917 | 0.011531 | -2.8503 | 6.6569e-13 | 6.8055e-13 | -77.78 | 162.2204 | 42.22 | 101.9903 | -16.7052 | -138.625 | 1.7229 | 0.0099182 | 0.0093776 | 1.7141 | 0 | 0 | 0.034135 | -146.3903 | 89.7603 | 0.20959 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29695 | 3.6834 | 3.7355 | 0.29421 | 3.6838 | 3.735 | 3.4289 | 42.5321 | 43.1342 | 3.3972 | 42.5372 | 43.1282 | -1.0189 | 7.2838 | 7.0647 | 1.1889 | 4.9991e-11 | 3.049e-11 | -5.686 | 6.4418 | 9.8234 | 5.7006 | -7.4421e-12 | 3.6831e-11 | 101.8997 | -168.5171 | 12.9471 | -78.0097 | 11.5256 | -167.0949 | 1.6847 | 0.22862 | 0.28052 | 1.7141 | 0 | 0 | 1.7405 | -127.0275 | 67.2246 | 0.20959 | 0 | 0
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.1471 | 0.14349 | 0.14246 | 1.6667 | 1.6667 | 1.6667 | 1.6986 | 1.6569 | 1.645 | 0.60611 | 0.010315 | 0.010551 | -0.59446 | 1.8527e-12 | 1.692e-12 | 2.8067 | 0.012917 | 0.011531 | -2.8503 | 6.6569e-13 | 6.8055e-13 | -77.78 | 162.2204 | 42.22 | 101.9903 | -16.7052 | -138.625 | 1.7229 | 0.0099182 | 0.0093776 | 1.7141 | 0 | 0 | 0.034135 | -146.3903 | 89.7603 | 0.20959 | 0 | 0
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.1471 | 0.14349 | 0.14246 | 1.6667 | 1.6667 | 1.6667 | 1.6986 | 1.6569 | 1.645 | 0.60611 | 0.010315 | 0.010551 | -0.59446 | 1.8527e-12 | 1.692e-12 | 2.8067 | 0.012917 | 0.011531 | -2.8503 | 6.6569e-13 | 6.8055e-13 | -77.78 | 162.2204 | 42.22 | 101.9903 | -16.7052 | -138.625 | 1.7229 | 0.0099182 | 0.0093776 | 1.7141 | 0 | 0 | 0.034135 | -146.3903 | 89.7603 | 0.20959 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29596 | 0.9709 | 1.0013 | 0.29355 | 0.97217 | 0.99994 | 3.4174 | 11.211 | 11.5618 | 3.3897 | 11.2256 | 11.5463 | -0.83354 | 7.0367 | 7.0931 | 0.98066 | -6.6523 | -6.4463 | -5.438 | 4.5254 | 7.3549 | 5.4708 | -4.3108 | -6.4105 | 102.0936 | -139.8596 | 42.257 | -77.8768 | 40.2613 | -137.8578 | 1.6098 | 0.74626 | 0.88377 | 1.6397 | 0.70615 | 0.78736 | 3.379 | -107.1139 | 88.2951 | 1.9607 | -106.7945 | 86.9824
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14678 | 0.14335 | 0.14292 | 1.6667 | 1.6667 | 1.6667 | 1.6948 | 1.6553 | 1.6503 | 0.49824 | -0.0099087 | 0.94242 | -0.49033 | 0.0018653 | -0.90977 | 2.7016 | 1.1895 | 0.93567 | -2.7354 | -1.1689 | -0.92771 | -77.7799 | 162.2202 | 42.2202 | 102.1232 | -16.886 | -138.5768 | 1.6483 | 0.71374 | 0.79681 | 1.6397 | 0.70615 | 0.78736 | 1.7709 | -107.3025 | 87.0141 | 1.9607 | -106.7945 | 86.9824
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14678 | 0.14335 | 0.14292 | 1.6667 | 1.6667 | 1.6667 | 1.6948 | 1.6553 | 1.6503 | 0.49824 | -0.0099087 | 0.94242 | -0.49033 | 0.0018653 | -0.90977 | 2.7016 | 1.1895 | 0.93567 | -2.7354 | -1.1689 | -0.92771 | -77.7799 | 162.2202 | 42.2202 | 102.1232 | -16.886 | -138.5768 | 1.6483 | 0.71374 | 0.79681 | 1.6397 | 0.70615 | 0.78736 | 1.7709 | -107.3025 | 87.0141 | 1.9607 | -106.7945 | 86.9824

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29596 | 0.9709 | 1.0013 | 0.29355 | 0.97217 | 0.99994 | 3.4174 | 11.211 | 11.5618 | 3.3897 | 11.2256 | 11.5463 | -0.83354 | 7.0367 | 7.0931 | 0.98066 | -6.6523 | -6.4463 | -5.438 | 4.5254 | 7.3549 | 5.4708 | -4.3108 | -6.4105 | 102.0936 | -139.8596 | 42.257 | -77.8768 | 40.2613 | -137.8578 | 1.6098 | 0.74626 | 0.88377 | 1.6397 | 0.70615 | 0.78736 | 3.379 | -107.1139 | 88.2951 | 1.9607 | -106.7945 | 86.9824
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14678 | 0.14335 | 0.14292 | 1.6667 | 1.6667 | 1.6667 | 1.6948 | 1.6553 | 1.6503 | 0.49824 | -0.0099087 | 0.94242 | -0.49033 | 0.0018653 | -0.90977 | 2.7016 | 1.1895 | 0.93567 | -2.7354 | -1.1689 | -0.92771 | -77.7799 | 162.2202 | 42.2202 | 102.1232 | -16.886 | -138.5768 | 1.6483 | 0.71374 | 0.79681 | 1.6397 | 0.70615 | 0.78736 | 1.7709 | -107.3025 | 87.0141 | 1.9607 | -106.7945 | 86.9824
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14678 | 0.14335 | 0.14292 | 1.6667 | 1.6667 | 1.6667 | 1.6948 | 1.6553 | 1.6503 | 0.49824 | -0.0099087 | 0.94242 | -0.49033 | 0.0018653 | -0.90977 | 2.7016 | 1.1895 | 0.93567 | -2.7354 | -1.1689 | -0.92771 | -77.7799 | 162.2202 | 42.2202 | 102.1232 | -16.886 | -138.5768 | 1.6483 | 0.71374 | 0.79681 | 1.6397 | 0.70615 | 0.78736 | 1.7709 | -107.3025 | 87.0141 | 1.9607 | -106.7945 | 86.9824

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071594 | 3.0897 | 3.1566 | 0.0048104 | 3.0903 | 3.1559 | 0.082669 | 35.677 | 36.4497 | 0.055546 | 35.6832 | 36.4409 | 0.0020866 | 9.5002 | 10.1983 | -6.1589e-05 | -1.3498e-10 | 2.9328e-11 | -0.11919 | 3.5413 | 8.0009 | 0.08096 | -1.3519e-10 | -1.9493e-10 | 91.5995 | -162.6379 | 23.2304 | -89.703 | 17.4046 | -156.81 | 1.4419 | 0.28418 | 0.35562 | 1.4575 | 0 | 0 | 2.6024 | -142.1946 | 61.3459 | 0.34056 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0024052 | 0.0024052 | 0.0024052 | 0 | 0 | 0 | 0.027773 | 0.027773 | 0.027773 | -2.4463e-09 | 2.0556e-12 | -2.6333e-12 | 3.0794e-05 | -1.3147e-13 | 1.2816e-13 | 2.9048e-11 | 1.8502e-12 | 8.5696e-13 | -0.04048 | 6.9458e-14 | 7.8384e-14 | 0 | 0 | 0 | 90.297 | 90.297 | 90.297 | 1.4577 | 0.00075469 | 0.00075469 | 1.4575 | 0 | 0 | 0.31151 | -78.0402 | -78.0402 | 0.34056 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0024052 | 0.0024052 | 0.0024052 | 0 | 0 | 0 | 0.027773 | 0.027773 | 0.027773 | -2.4463e-09 | 2.0556e-12 | -2.6333e-12 | 3.0794e-05 | -1.3147e-13 | 1.2816e-13 | 2.9062e-11 | 1.8502e-12 | 8.5696e-13 | -0.04048 | 6.9458e-14 | 7.8384e-14 | 0 | 0 | 0 | 90.297 | 90.297 | 90.297 | 1.4577 | 0.00075469 | 0.00075469 | 1.4575 | 0 | 0 | 0.31151 | -78.0402 | -78.0402 | 0.34056 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071594 | 3.0897 | 3.1566 | 0.0048104 | 3.0903 | 3.1559 | 0.082669 | 35.677 | 36.4497 | 0.055546 | 35.6832 | 36.4409 | 0.0020866 | 9.5002 | 10.1983 | -6.1589e-05 | -1.3498e-10 | 2.9328e-11 | -0.11919 | 3.5413 | 8.0009 | 0.08096 | -1.3519e-10 | -1.9493e-10 | 91.5995 | -162.6379 | 23.2304 | -89.703 | 17.4046 | -156.81 | 1.4419 | 0.28418 | 0.35562 | 1.4575 | 0 | 0 | 2.6024 | -142.1946 | 61.3459 | 0.34056 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0024052 | 0.0024052 | 0.0024052 | 0 | 0 | 0 | 0.027773 | 0.027773 | 0.027773 | -2.4463e-09 | 2.0556e-12 | -2.6333e-12 | 3.0794e-05 | -1.3147e-13 | 1.2816e-13 | 2.9048e-11 | 1.8502e-12 | 8.5696e-13 | -0.04048 | 6.9458e-14 | 7.8384e-14 | 0 | 0 | 0 | 90.297 | 90.297 | 90.297 | 1.4577 | 0.00075469 | 0.00075469 | 1.4575 | 0 | 0 | 0.31151 | -78.0402 | -78.0402 | 0.34056 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0024052 | 0.0024052 | 0.0024052 | 0 | 0 | 0 | 0.027773 | 0.027773 | 0.027773 | -2.4463e-09 | 2.0556e-12 | -2.6333e-12 | 3.0794e-05 | -1.3147e-13 | 1.2816e-13 | 2.9062e-11 | 1.8502e-12 | 8.5696e-13 | -0.04048 | 6.9458e-14 | 7.8384e-14 | 0 | 0 | 0 | 90.297 | 90.297 | 90.297 | 1.4577 | 0.00075469 | 0.00075469 | 1.4575 | 0 | 0 | 0.31151 | -78.0402 | -78.0402 | 0.34056 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0061723 | 0.9459 | 1.0563 | 0.0041472 | 0.94659 | 1.0551 | 0.071271 | 10.9223 | 12.197 | 0.047888 | 10.9302 | 12.1837 | -0.0056534 | 5.2799 | 6.9328 | 0.0046518 | -4.4701 | -5.5701 | -0.097876 | 4.4923 | 6.7617 | 0.066525 | -4.506 | -5.5359 | 97.1893 | -150.4933 | 44.3989 | -84.1132 | 29.6223 | -135.6918 | 1.3756 | 0.6347 | 0.79398 | 1.3926 | 0.58069 | 0.64456 | 3.8835 | -110.1015 | 88.683 | 1.8869 | -105.1483 | 89.1314
Line_1 | 0 | 0 | 0 | 0.0020736 | 0.0020736 | 0.0020736 | 0 | 0 | 0 | 0.023944 | 0.023944 | 0.023944 | -2.0084e-09 | 8.2094e-10 | 5.0584e-10 | -0.0023259 | -0.012977 | 0.015326 | 1.6585e-10 | 5.4751e-10 | -1.2121e-09 | -0.033262 | 0.0049907 | -0.0018155 | 0 | 0 | 0 | 95.8868 | 95.8868 | 95.8868 | 1.3927 | 0.58124 | 0.64395 | 1.3926 | 0.58069 | 0.64456 | 1.8611 | -105.1137 | 89.1131 | 1.8869 | -105.1483 | 89.1314
Line_2 | 0 | 0 | 0 | 0.0020736 | 0.0020736 | 0.0020736 | 0 | 0 | 0 | 0.023944 | 0.023944 | 0.023944 | -2.0084e-09 | 8.2094e-10 | 5.0584e-10 | -0.0023259 | -0.012977 | 0.015326 | 1.6585e-10 | 5.4751e-10 | -1.2121e-09 | -0.033262 | 0.0049907 | -0.0018155 | 0 | 0 | 0 | 95.8868 | 95.8868 | 95.8868 | 1.3927 | 0.58124 | 0.64395 | 1.3926 | 0.58069 | 0.64456 | 1.8611 | -105.1137 | 89.1131 | 1.8869 | -105.1483 | 89.1314

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0061723 | 0.9459 | 1.0563 | 0.0041472 | 0.94659 | 1.0551 | 0.071271 | 10.9223 | 12.197 | 0.047888 | 10.9302 | 12.1837 | -0.0056534 | 5.2799 | 6.9328 | 0.0046518 | -4.4701 | -5.5701 | -0.097876 | 4.4923 | 6.7617 | 0.066525 | -4.506 | -5.5359 | 97.1893 | -150.4933 | 44.3989 | -84.1132 | 29.6223 | -135.6918 | 1.3756 | 0.6347 | 0.79398 | 1.3926 | 0.58069 | 0.64456 | 3.8835 | -110.1015 | 88.683 | 1.8869 | -105.1483 | 89.1314
Line_1 | 0 | 0 | 0 | 0.0020736 | 0.0020736 | 0.0020736 | 0 | 0 | 0 | 0.023944 | 0.023944 | 0.023944 | -2.0084e-09 | 8.2094e-10 | 5.0584e-10 | -0.0023259 | -0.012977 | 0.015326 | 1.6585e-10 | 5.4751e-10 | -1.2121e-09 | -0.033262 | 0.0049907 | -0.0018155 | 0 | 0 | 0 | 95.8868 | 95.8868 | 95.8868 | 1.3927 | 0.58124 | 0.64395 | 1.3926 | 0.58069 | 0.64456 | 1.8611 | -105.1137 | 89.1131 | 1.8869 | -105.1483 | 89.1314
Line_2 | 0 | 0 | 0 | 0.0020736 | 0.0020736 | 0.0020736 | 0 | 0 | 0 | 0.023944 | 0.023944 | 0.023944 | -2.0084e-09 | 8.2094e-10 | 5.0584e-10 | -0.0023259 | -0.012977 | 0.015326 | 1.6585e-10 | 5.4751e-10 | -1.2121e-09 | -0.033262 | 0.0049907 | -0.0018155 | 0 | 0 | 0 | 95.8868 | 95.8868 | 95.8868 | 1.3927 | 0.58124 | 0.64395 | 1.3926 | 0.58069 | 0.64456 | 1.8611 | -105.1137 | 89.1131 | 1.8869 | -105.1483 | 89.1314