## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 0.0325 | -1e-07 | 0.036875 | -1e-07 | -77.7798 | 102.2202 | 0.0098306 | 0 | -29.1714 | 0
Line_2 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 0.0325 | -1e-07 | 0.036875 | -1e-07 | -77.7798 | 102.2202 | 0.0098306 | 0 | -29.1714 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0098306 | 0.0098306 | -29.1714 | -29.1714

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 0.0325 | -1e-07 | 0.036875 | -1e-07 | -77.7798 | 102.2202 | 0.0098306 | 0 | -29.1714 | 0
Line_2 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 0.0325 | -1e-07 | 0.036875 | -1e-07 | -77.7798 | 102.2202 | 0.0098306 | 0 | -29.1714 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0098306 | 0.0098306 | -29.1714 | -29.1714

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1384 | 1.1384 | 0 | 2.5899 | 39.4369 | 39.4369 | 28.164 | -26.1422 | 23.6571 | -21.3631 | -48.785 | 131.215 | 0.93266 | 0.85607 | -8.7555 | -9.5297
Line_1 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 1.6186 | -1.5861 | 4.0125 | -3.9756 | -77.7798 | 102.2202 | 0.86534 | 0.85607 | -9.7485 | -9.5297
Line_2 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 1.6186 | -1.5861 | 4.0125 | -3.9756 | -77.7798 | 102.2202 | 0.86534 | 0.85607 | -9.7485 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86534 | 0.86534 | -9.7485 | -9.7485

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1384 | 1.1384 | 0 | 2.5899 | 39.4369 | 39.4369 | 28.164 | -26.1422 | 23.6571 | -21.3631 | -48.785 | 131.215 | 0.93266 | 0.85607 | -8.7555 | -9.5297
Line_1 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 1.6186 | -1.5861 | 4.0125 | -3.9756 | -77.7798 | 102.2202 | 0.86534 | 0.85607 | -9.7485 | -9.5297
Line_2 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 1.6186 | -1.5861 | 4.0125 | -3.9756 | -77.7798 | 102.2202 | 0.86534 | 0.85607 | -9.7485 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86534 | 0.86534 | -9.7485 | -9.7485

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7288e-20 | 0 | 6.3228e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7288e-20 | 0 | 6.3228e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7288e-20 | 0 | 6.3228e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7288e-20 | 0 | 6.3228e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 3.712 | 3.712 | 0.28867 | 3.712 | 3.712 | 3.3333 | 42.862 | 42.862 | 3.3333 | 42.862 | 42.862 | -0.78508 | 31.5321 | -17.6165 | 0.82842 | -24.3672 | 24.7814 | -3.7759 | 1.8509 | 12.4953 | 3.8251 | 6.2785 | -4.3659 | 102.22 | -165.5514 | 9.9917 | -77.78 | 14.4486 | -170.0083 | 1.157 | 0.73693 | 0.5039 | 1.1741 | 0.58707 | 0.58707 | 0.47457 | -162.192 | 154.6437 | -8.1315e-06 | 180 | 180
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.94255 | -0.71378 | -0.41421 | -0.93172 | 0.72461 | 1.9248 | 0.31107 | 0.66979 | -1.9126 | -0.29878 | -0.6575 | -77.78 | 162.2204 | 42.22 | 102.22 | -17.7796 | -137.78 | 1.1827 | 0.59553 | 0.58729 | 1.1741 | 0.58707 | 0.58707 | -0.23213 | -179.5153 | 179.041 | -8.1315e-06 | 180 | 180
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.94255 | -0.71378 | -0.41421 | -0.93172 | 0.72461 | 1.9248 | 0.31107 | 0.66979 | -1.9126 | -0.29878 | -0.6575 | -77.78 | 162.2204 | 42.22 | 102.22 | -17.7796 | -137.78 | 1.1827 | 0.59553 | 0.58729 | 1.1741 | 0.58707 | 0.58707 | -0.23213 | -179.5153 | 179.041 | -8.1315e-06 | 180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1182e-14 | 5.6895e-15 | -1.1033e-14 | 1.116e-14 | 5.5941e-15 | 1.1033e-14 | 5.6479e-15 | -5.5941e-15 | 5.7494e-15 | -1.125e-14 | 5.6895e-15 | -5.7494e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1827 | 0.59553 | 0.58729 | 1.1827 | 0.59553 | 0.58729 | -0.23213 | -179.5153 | 179.041 | -0.23213 | -179.5153 | 179.041

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 3.712 | 3.712 | 0.28867 | 3.712 | 3.712 | 3.3333 | 42.862 | 42.862 | 3.3333 | 42.862 | 42.862 | -0.78508 | 31.5321 | -17.6165 | 0.82842 | -24.3672 | 24.7814 | -3.7759 | 1.8509 | 12.4953 | 3.8251 | 6.2785 | -4.3659 | 102.22 | -165.5514 | 9.9917 | -77.78 | 14.4486 | -170.0083 | 1.157 | 0.73693 | 0.5039 | 1.1741 | 0.58707 | 0.58707 | 0.47457 | -162.192 | 154.6437 | -8.1315e-06 | 180 | 180
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.94255 | -0.71378 | -0.41421 | -0.93172 | 0.72461 | 1.9248 | 0.31107 | 0.66979 | -1.9126 | -0.29878 | -0.6575 | -77.78 | 162.2204 | 42.22 | 102.22 | -17.7796 | -137.78 | 1.1827 | 0.59553 | 0.58729 | 1.1741 | 0.58707 | 0.58707 | -0.23213 | -179.5153 | 179.041 | -8.1315e-06 | 180 | 180
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.94255 | -0.71378 | -0.41421 | -0.93172 | 0.72461 | 1.9248 | 0.31107 | 0.66979 | -1.9126 | -0.29878 | -0.6575 | -77.78 | 162.2204 | 42.22 | 102.22 | -17.7796 | -137.78 | 1.1827 | 0.59553 | 0.58729 | 1.1741 | 0.58707 | 0.58707 | -0.23213 | -179.5153 | 179.041 | -8.1315e-06 | 180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1182e-14 | 5.6895e-15 | -1.1033e-14 | 1.116e-14 | 5.5941e-15 | 1.1033e-14 | 5.6479e-15 | -5.5941e-15 | 5.7494e-15 | -1.125e-14 | 5.6895e-15 | -5.7494e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1827 | 0.59553 | 0.58729 | 1.1827 | 0.59553 | 0.58729 | -0.23213 | -179.5153 | 179.041 | -0.23213 | -179.5153 | 179.041

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 1.7018 | 1.6008 | 0.28867 | 1.7018 | 1.6008 | 3.3333 | 19.6505 | 18.4849 | 3.3333 | 19.6505 | 18.4849 | -0.78509 | 19.6311 | -1.0159 | 0.82842 | -18.1252 | 2.3485 | -3.776 | 1.6514 | 14.4041 | 3.8251 | 0.057272 | -12.8922 | 102.2201 | -142.6862 | 27.9149 | -77.7799 | 37.3138 | -152.0851 | 1.157 | 1.0025 | 0.78117 | 1.1741 | 0.92238 | 0.70892 | 0.47457 | -137.8777 | 121.9492 | -5.5203e-06 | -142.8673 | 128.239
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.89452 | 0.092865 | -0.41421 | -0.88369 | -0.082032 | 1.9249 | 1.2702 | 1.191 | -1.9126 | -1.2579 | -1.1787 | -77.7799 | 162.2203 | 42.2201 | 102.2201 | -17.7797 | -137.7799 | 1.1827 | 0.93216 | 0.71675 | 1.1741 | 0.92238 | 0.70892 | -0.23213 | -142.9336 | 127.7616 | -5.5203e-06 | -142.8673 | 128.239
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.89452 | 0.092865 | -0.41421 | -0.88369 | -0.082032 | 1.9249 | 1.2702 | 1.191 | -1.9126 | -1.2579 | -1.1787 | -77.7799 | 162.2203 | 42.2201 | 102.2201 | -17.7797 | -137.7799 | 1.1827 | 0.93216 | 0.71675 | 1.1741 | 0.92238 | 0.70892 | -0.23213 | -142.9336 | 127.7616 | -5.5203e-06 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.5685e-15 | -3.9922e-15 | 0 | -2.8467e-15 | 1.7617e-15 | -4.1583e-15 | 8.4265e-15 | 5.285e-15 | 0 | -1.1194e-14 | 1.3307e-15 | 5.3683e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1827 | 0.93216 | 0.71675 | 1.1827 | 0.93216 | 0.71675 | -0.23213 | -142.9336 | 127.7616 | -0.23213 | -142.9336 | 127.7616

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 1.7018 | 1.6008 | 0.28867 | 1.7018 | 1.6008 | 3.3333 | 19.6505 | 18.4849 | 3.3333 | 19.6505 | 18.4849 | -0.78509 | 19.6311 | -1.0159 | 0.82842 | -18.1252 | 2.3485 | -3.776 | 1.6514 | 14.4041 | 3.8251 | 0.057272 | -12.8922 | 102.2201 | -142.6862 | 27.9149 | -77.7799 | 37.3138 | -152.0851 | 1.157 | 1.0025 | 0.78117 | 1.1741 | 0.92238 | 0.70892 | 0.47457 | -137.8777 | 121.9492 | -5.5203e-06 | -142.8673 | 128.239
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.89452 | 0.092865 | -0.41421 | -0.88369 | -0.082032 | 1.9249 | 1.2702 | 1.191 | -1.9126 | -1.2579 | -1.1787 | -77.7799 | 162.2203 | 42.2201 | 102.2201 | -17.7797 | -137.7799 | 1.1827 | 0.93216 | 0.71675 | 1.1741 | 0.92238 | 0.70892 | -0.23213 | -142.9336 | 127.7616 | -5.5203e-06 | -142.8673 | 128.239
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.89452 | 0.092865 | -0.41421 | -0.88369 | -0.082032 | 1.9249 | 1.2702 | 1.191 | -1.9126 | -1.2579 | -1.1787 | -77.7799 | 162.2203 | 42.2201 | 102.2201 | -17.7797 | -137.7799 | 1.1827 | 0.93216 | 0.71675 | 1.1741 | 0.92238 | 0.70892 | -0.23213 | -142.9336 | 127.7616 | -5.5203e-06 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.5685e-15 | -3.9922e-15 | 0 | -2.8467e-15 | 1.7617e-15 | -4.1583e-15 | 8.4265e-15 | 5.285e-15 | 0 | -1.1194e-14 | 1.3307e-15 | 5.3683e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1827 | 0.93216 | 0.71675 | 1.1827 | 0.93216 | 0.71675 | -0.23213 | -142.9336 | 127.7616 | -0.23213 | -142.9336 | 127.7616

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 1.4211e-14 | 26.5997 | -7.1734 | -1.6579e-14 | -16.8865 | 16.8865 | -3.3159e-14 | -0.51586 | 11.9957 | 3.3159e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.2236e-13 | -160.7833 | 141.207 | 4.8148e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.5526e-15 | 2.3686e-15 | 7.9613e-29 | 9.4739e-15 | 2.3685e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.6894e-13 | -180 | 180 | 4.8148e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -8.2896e-15 | -7.1053e-15 | 9.4739e-15 | 1.4211e-14 | 7.1054e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.7051e-13 | -180 | 180 | 4.8148e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4739e-15 | 5.9212e-15 | 0 | -1.1842e-14 | 1.1842e-15 | 4.737e-15 | -9.4739e-15 | 2.3685e-15 | 0 | 4.737e-15 | 6.698e-26 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.6894e-13 | -180 | 180 | 4.7051e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 1.4211e-14 | 26.5997 | -7.1734 | -1.6579e-14 | -16.8865 | 16.8865 | -3.3159e-14 | -0.51586 | 11.9957 | 3.3159e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.2236e-13 | -160.7833 | 141.207 | 4.8148e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.5526e-15 | 2.3686e-15 | 7.9613e-29 | 9.4739e-15 | 2.3685e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.6894e-13 | -180 | 180 | 4.8148e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -8.2896e-15 | -7.1053e-15 | 9.4739e-15 | 1.4211e-14 | 7.1054e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.7051e-13 | -180 | 180 | 4.8148e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4739e-15 | 5.9212e-15 | 0 | -1.1842e-14 | 1.1842e-15 | 4.737e-15 | -9.4739e-15 | 2.3685e-15 | 0 | 4.737e-15 | 6.698e-26 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.6894e-13 | -180 | 180 | 4.7051e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 3.5527e-15 | 15.3932 | 0.73601 | -3.5527e-15 | -13.0917 | 1.5655 | -1.6579e-14 | 2.3135 | 11.9328 | 1.4211e-14 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.3601e-13 | -138.1765 | 119.7467 | 2.1552e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.3291e-15 | 4.798e-10 | 8.2616e-10 | 5.3291e-15 | -4.798e-10 | -8.2616e-10 | 4.737e-15 | -1.0532e-09 | 4.5327e-10 | -7.1054e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.0874e-13 | -142.5584 | 131.6989 | 2.1552e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1448e-15 | 4.798e-10 | 8.2616e-10 | 5.3291e-15 | -4.7979e-10 | -8.2616e-10 | -1.5112e-29 | -1.0532e-09 | 4.5326e-10 | 2.0045e-29 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.089e-13 | -142.5584 | 131.6989 | 2.1552e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 7.4803e-15 | 6.7037e-15 | 1.1842e-15 | -1.056e-15 | 1.2056e-15 | 7.1054e-15 | -3.2062e-15 | 9.8403e-15 | -4.737e-15 | -8.0857e-16 | -5.6943e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.0874e-13 | -142.5584 | 131.6989 | 2.089e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 3.5527e-15 | 15.3932 | 0.73601 | -3.5527e-15 | -13.0917 | 1.5655 | -1.6579e-14 | 2.3135 | 11.9328 | 1.4211e-14 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.3601e-13 | -138.1765 | 119.7467 | 2.1552e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.3291e-15 | 4.798e-10 | 8.2616e-10 | 5.3291e-15 | -4.798e-10 | -8.2616e-10 | 4.737e-15 | -1.0532e-09 | 4.5327e-10 | -7.1054e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.0874e-13 | -142.5584 | 131.6989 | 2.1552e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1448e-15 | 4.798e-10 | 8.2616e-10 | 5.3291e-15 | -4.7979e-10 | -8.2616e-10 | -1.5112e-29 | -1.0532e-09 | 4.5326e-10 | 2.0045e-29 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.089e-13 | -142.5584 | 131.6989 | 2.1552e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 7.4803e-15 | 6.7037e-15 | 1.1842e-15 | -1.056e-15 | 1.2056e-15 | 7.1054e-15 | -3.2062e-15 | 9.8403e-15 | -4.737e-15 | -8.0857e-16 | -5.6943e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.0874e-13 | -142.5584 | 131.6989 | 2.089e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 4.1647 | 0.28699 | 0.29754 | 4.164 | 0.28711 | 0.29625 | 48.0896 | 3.3138 | 3.4357 | 48.0812 | 3.3152 | 3.4208 | 28.743 | -0.14941 | -1.6359 | 2.798e-10 | 1.5001 | 1.5353 | 15.1109 | -3.1867 | -3.6976 | -3.5435e-10 | 2.6948 | 5.1758 | -55.9349 | -19.6092 | -137.2037 | 124.0815 | 160.669 | 42.6917 | 0.67526 | 0.96269 | 1.1769 | 0 | 0.93032 | 1.5782 | -28.2029 | -112.2937 | 108.9304 | 0 | -138.434 | 116.1703
Line_1 | 0.14336 | 0.14406 | 0.1456 | 0.14142 | 0.14355 | 0.14813 | 1.6554 | 1.6635 | 1.6812 | 1.6329 | 1.6576 | 1.7104 | 0.0094233 | 0.78801 | 0.75283 | 1.3154e-11 | -0.75006 | -0.76763 | 0.012679 | 1.3492 | 2.5612 | -7.8802e-12 | -1.3474 | -2.5879 | -77.4242 | 161.7049 | 42.3798 | 103.3007 | -19.331 | -137.3083 | 0.0095429 | 0.93928 | 1.5879 | 0 | 0.93032 | 1.5782 | -24.0457 | -138.5816 | 115.9999 | 0 | -138.434 | 116.1703
Line_2 | 0.14336 | 0.14406 | 0.1456 | 0.14142 | 0.14355 | 0.14813 | 1.6554 | 1.6635 | 1.6812 | 1.6329 | 1.6576 | 1.7104 | 0.0094233 | 0.78801 | 0.75283 | 1.3154e-11 | -0.75006 | -0.76763 | 0.012679 | 1.3492 | 2.5612 | -7.8802e-12 | -1.3474 | -2.5879 | -77.4242 | 161.7049 | 42.3798 | 103.3007 | -19.331 | -137.3083 | 0.0095429 | 0.93928 | 1.5879 | 0 | 0.93032 | 1.5782 | -24.0457 | -138.5816 | 115.9999 | 0 | -138.434 | 116.1703
Line_3 | 0.0013251 | 0.0013251 | 0.0013251 | 0.0013251 | 0.0013251 | 0.0013251 | 0.015301 | 0.015301 | 0.015301 | 0.015301 | 0.015301 | 0.015301 | -1.5019e-05 | 0.013618 | -0.013603 | -1.5019e-05 | 0.013618 | -0.013603 | 0.00014524 | -0.0045915 | -0.02013 | 0.00014524 | -0.0045915 | -0.02013 | -119.9498 | -119.9498 | -119.9498 | -119.9498 | -119.9498 | -119.9498 | 0.0095429 | 0.93928 | 1.5879 | 0.0095429 | 0.93928 | 1.5879 | -24.0457 | -138.5816 | 115.9999 | -24.0457 | -138.5816 | 115.9999

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 4.1647 | 0.28699 | 0.29754 | 4.164 | 0.28711 | 0.29625 | 48.0896 | 3.3138 | 3.4357 | 48.0812 | 3.3152 | 3.4208 | 28.743 | -0.14941 | -1.6359 | 2.798e-10 | 1.5001 | 1.5353 | 15.1109 | -3.1867 | -3.6976 | -3.5435e-10 | 2.6948 | 5.1758 | -55.9349 | -19.6092 | -137.2037 | 124.0815 | 160.669 | 42.6917 | 0.67526 | 0.96269 | 1.1769 | 0 | 0.93032 | 1.5782 | -28.2029 | -112.2937 | 108.9304 | 0 | -138.434 | 116.1703
Line_1 | 0.14336 | 0.14406 | 0.1456 | 0.14142 | 0.14355 | 0.14813 | 1.6554 | 1.6635 | 1.6812 | 1.6329 | 1.6576 | 1.7104 | 0.0094233 | 0.78801 | 0.75283 | 1.3154e-11 | -0.75006 | -0.76763 | 0.012679 | 1.3492 | 2.5612 | -7.8802e-12 | -1.3474 | -2.5879 | -77.4242 | 161.7049 | 42.3798 | 103.3007 | -19.331 | -137.3083 | 0.0095429 | 0.93928 | 1.5879 | 0 | 0.93032 | 1.5782 | -24.0457 | -138.5816 | 115.9999 | 0 | -138.434 | 116.1703
Line_2 | 0.14336 | 0.14406 | 0.1456 | 0.14142 | 0.14355 | 0.14813 | 1.6554 | 1.6635 | 1.6812 | 1.6329 | 1.6576 | 1.7104 | 0.0094233 | 0.78801 | 0.75283 | 1.3154e-11 | -0.75006 | -0.76763 | 0.012679 | 1.3492 | 2.5612 | -7.8802e-12 | -1.3474 | -2.5879 | -77.4242 | 161.7049 | 42.3798 | 103.3007 | -19.331 | -137.3083 | 0.0095429 | 0.93928 | 1.5879 | 0 | 0.93032 | 1.5782 | -24.0457 | -138.5816 | 115.9999 | 0 | -138.434 | 116.1703
Line_3 | 0.0013251 | 0.0013251 | 0.0013251 | 0.0013251 | 0.0013251 | 0.0013251 | 0.015301 | 0.015301 | 0.015301 | 0.015301 | 0.015301 | 0.015301 | -1.5019e-05 | 0.013618 | -0.013603 | -1.5019e-05 | 0.013618 | -0.013603 | 0.00014524 | -0.0045915 | -0.02013 | 0.00014524 | -0.0045915 | -0.02013 | -119.9498 | -119.9498 | -119.9498 | -119.9498 | -119.9498 | -119.9498 | 0.0095429 | 0.93928 | 1.5879 | 0.0095429 | 0.93928 | 1.5879 | -24.0457 | -138.5816 | 115.9999 | -24.0457 | -138.5816 | 115.9999

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1023 | 0.28855 | 0.2912 | 1.1021 | 0.28853 | 0.29084 | 12.7285 | 3.3319 | 3.3625 | 12.7264 | 3.3317 | 3.3583 | 10.528 | -0.61579 | -1.0486 | -8.2804 | 1.0766 | 0.98381 | 7.3694 | -3.5835 | -3.7868 | -6.4217 | 3.519 | 4.2507 | -41.4974 | -18.3424 | -137.5247 | 138.5225 | 161.7419 | 42.4315 | 1.0096 | 1.0913 | 1.1686 | 0.82338 | 1.1045 | 1.2992 | -6.5062 | -118.093 | 116.9973 | -3.6828 | -125.2695 | 119.4002
Line_1 | 0.144 | 0.14431 | 0.1447 | 0.14333 | 0.14427 | 0.14542 | 1.6628 | 1.6664 | 1.6708 | 1.6551 | 1.6658 | 1.6792 | 0.38756 | 0.55921 | 0.49546 | -0.37951 | -0.53831 | -0.4919 | 1.3285 | 1.7689 | 2.1287 | -1.3088 | -1.7595 | -2.1254 | -77.6912 | 162.0607 | 42.2909 | 102.4871 | -18.2581 | -137.5685 | 0.83224 | 1.1133 | 1.3081 | 0.82338 | 1.1045 | 1.2992 | -3.955 | -125.4828 | 119.1884 | -3.6828 | -125.2695 | 119.4002
Line_2 | 0.144 | 0.14431 | 0.1447 | 0.14333 | 0.14427 | 0.14542 | 1.6628 | 1.6664 | 1.6708 | 1.6551 | 1.6658 | 1.6792 | 0.38756 | 0.55921 | 0.49546 | -0.37951 | -0.53831 | -0.4919 | 1.3285 | 1.7689 | 2.1287 | -1.3088 | -1.7595 | -2.1254 | -77.6912 | 162.0607 | 42.2909 | 102.4871 | -18.2581 | -137.5685 | 0.83224 | 1.1133 | 1.3081 | 0.82338 | 1.1045 | 1.2992 | -3.955 | -125.4828 | 119.1884 | -3.6828 | -125.2695 | 119.4002
Line_3 | 0.00040223 | 0.00040223 | 0.00040223 | 0.00040223 | 0.00040223 | 0.00040223 | 0.0046445 | 0.0046445 | 0.0046445 | 0.0046445 | 0.0046445 | 0.0046445 | -0.0011598 | 0.0050157 | -0.0038559 | -0.0011598 | 0.0050157 | -0.0038559 | 0.0036872 | -0.0012568 | -0.004695 | 0.0036872 | -0.0012568 | -0.004695 | -111.4161 | -111.4161 | -111.4161 | -111.4161 | -111.4161 | -111.4161 | 0.83224 | 1.1133 | 1.3081 | 0.83224 | 1.1133 | 1.3081 | -3.955 | -125.4828 | 119.1884 | -3.955 | -125.4828 | 119.1884

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1023 | 0.28855 | 0.2912 | 1.1021 | 0.28853 | 0.29084 | 12.7285 | 3.3319 | 3.3625 | 12.7264 | 3.3317 | 3.3583 | 10.528 | -0.61579 | -1.0486 | -8.2804 | 1.0766 | 0.98381 | 7.3694 | -3.5835 | -3.7868 | -6.4217 | 3.519 | 4.2507 | -41.4974 | -18.3424 | -137.5247 | 138.5225 | 161.7419 | 42.4315 | 1.0096 | 1.0913 | 1.1686 | 0.82338 | 1.1045 | 1.2992 | -6.5062 | -118.093 | 116.9973 | -3.6828 | -125.2695 | 119.4002
Line_1 | 0.144 | 0.14431 | 0.1447 | 0.14333 | 0.14427 | 0.14542 | 1.6628 | 1.6664 | 1.6708 | 1.6551 | 1.6658 | 1.6792 | 0.38756 | 0.55921 | 0.49546 | -0.37951 | -0.53831 | -0.4919 | 1.3285 | 1.7689 | 2.1287 | -1.3088 | -1.7595 | -2.1254 | -77.6912 | 162.0607 | 42.2909 | 102.4871 | -18.2581 | -137.5685 | 0.83224 | 1.1133 | 1.3081 | 0.82338 | 1.1045 | 1.2992 | -3.955 | -125.4828 | 119.1884 | -3.6828 | -125.2695 | 119.4002
Line_2 | 0.144 | 0.14431 | 0.1447 | 0.14333 | 0.14427 | 0.14542 | 1.6628 | 1.6664 | 1.6708 | 1.6551 | 1.6658 | 1.6792 | 0.38756 | 0.55921 | 0.49546 | -0.37951 | -0.53831 | -0.4919 | 1.3285 | 1.7689 | 2.1287 | -1.3088 | -1.7595 | -2.1254 | -77.6912 | 162.0607 | 42.2909 | 102.4871 | -18.2581 | -137.5685 | 0.83224 | 1.1133 | 1.3081 | 0.82338 | 1.1045 | 1.2992 | -3.955 | -125.4828 | 119.1884 | -3.6828 | -125.2695 | 119.4002
Line_3 | 0.00040223 | 0.00040223 | 0.00040223 | 0.00040223 | 0.00040223 | 0.00040223 | 0.0046445 | 0.0046445 | 0.0046445 | 0.0046445 | 0.0046445 | 0.0046445 | -0.0011598 | 0.0050157 | -0.0038559 | -0.0011598 | 0.0050157 | -0.0038559 | 0.0036872 | -0.0012568 | -0.004695 | 0.0036872 | -0.0012568 | -0.004695 | -111.4161 | -111.4161 | -111.4161 | -111.4161 | -111.4161 | -111.4161 | 0.83224 | 1.1133 | 1.3081 | 0.83224 | 1.1133 | 1.3081 | -3.955 | -125.4828 | 119.1884 | -3.955 | -125.4828 | 119.1884

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8317 | 0.010469 | 0.010469 | 2.8312 | 0.0089515 | 0.0089515 | 32.6974 | 0.12088 | 0.12088 | 32.6918 | 0.10336 | 0.10336 | 24.3456 | 0.10226 | -0.08756 | -9.7482e-11 | -0.080992 | 0.080613 | 6.971 | -0.0045749 | -0.092922 | 1.2566e-11 | 0.054903 | 0.13194 | -40.3338 | -114.958 | -114.958 | 139.6954 | 64.5117 | 64.5117 | 0.7745 | 0.84682 | 1.0562 | 0 | 0.94664 | 1.4959 | -24.3556 | -117.5194 | 111.7437 | 0 | -149.6208 | 123.0883
Line_1 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0044758 | 0.0044758 | 0.0044758 | 0.017231 | 0.017231 | 0.017231 | 0.051682 | 0.051682 | 0.051682 | 3.1595e-05 | -0.013479 | 0.013448 | 5.8613e-14 | 0.040496 | -0.040307 | 6.5467e-06 | 0.0091453 | 0.022016 | 1.439e-13 | -0.027452 | -0.065972 | 64.4536 | 64.4536 | 64.4536 | -115.4883 | -115.4883 | -115.4883 | 0.0018726 | 0.94533 | 1.4972 | 0 | 0.94664 | 1.4959 | 76.16 | -149.7021 | 123.0359 | 0 | -149.6208 | 123.0883
Line_2 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0044758 | 0.0044758 | 0.0044758 | 0.017231 | 0.017231 | 0.017231 | 0.051682 | 0.051682 | 0.051682 | 3.1595e-05 | -0.013479 | 0.013448 | 5.8613e-14 | 0.040496 | -0.040307 | 6.5467e-06 | 0.0091453 | 0.022016 | 1.439e-13 | -0.027452 | -0.065972 | 64.4536 | 64.4536 | 64.4536 | -115.4883 | -115.4883 | -115.4883 | 0.0018726 | 0.94533 | 1.4972 | 0 | 0.94664 | 1.4959 | 76.16 | -149.7021 | 123.0359 | 0 | -149.6208 | 123.0883
Line_3 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0014922 | 0.017231 | 0.017231 | 0.017231 | 0.017231 | 0.017231 | 0.017231 | -3.1595e-05 | 0.013479 | -0.013448 | -3.1595e-05 | 0.013479 | -0.013448 | -6.5467e-06 | -0.0091453 | -0.022016 | -6.5467e-06 | -0.0091453 | -0.022016 | -115.5464 | -115.5464 | -115.5464 | -115.5464 | -115.5464 | -115.5464 | 0.0018726 | 0.94533 | 1.4972 | 0.0018726 | 0.94533 | 1.4972 | 76.16 | -149.7021 | 123.0359 | 76.16 | -149.7021 | 123.0359

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8317 | 0.010469 | 0.010469 | 2.8312 | 0.0089515 | 0.0089515 | 32.6974 | 0.12088 | 0.12088 | 32.6918 | 0.10336 | 0.10336 | 24.3456 | 0.10226 | -0.08756 | -9.7482e-11 | -0.080992 | 0.080613 | 6.971 | -0.0045749 | -0.092922 | 1.2566e-11 | 0.054903 | 0.13194 | -40.3338 | -114.958 | -114.958 | 139.6954 | 64.5117 | 64.5117 | 0.7745 | 0.84682 | 1.0562 | 0 | 0.94664 | 1.4959 | -24.3556 | -117.5194 | 111.7437 | 0 | -149.6208 | 123.0883
Line_1 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0044758 | 0.0044758 | 0.0044758 | 0.017231 | 0.017231 | 0.017231 | 0.051682 | 0.051682 | 0.051682 | 3.1595e-05 | -0.013479 | 0.013448 | 5.8613e-14 | 0.040496 | -0.040307 | 6.5467e-06 | 0.0091453 | 0.022016 | 1.439e-13 | -0.027452 | -0.065972 | 64.4536 | 64.4536 | 64.4536 | -115.4883 | -115.4883 | -115.4883 | 0.0018726 | 0.94533 | 1.4972 | 0 | 0.94664 | 1.4959 | 76.16 | -149.7021 | 123.0359 | 0 | -149.6208 | 123.0883
Line_2 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0044758 | 0.0044758 | 0.0044758 | 0.017231 | 0.017231 | 0.017231 | 0.051682 | 0.051682 | 0.051682 | 3.1595e-05 | -0.013479 | 0.013448 | 5.8613e-14 | 0.040496 | -0.040307 | 6.5467e-06 | 0.0091453 | 0.022016 | 1.439e-13 | -0.027452 | -0.065972 | 64.4536 | 64.4536 | 64.4536 | -115.4883 | -115.4883 | -115.4883 | 0.0018726 | 0.94533 | 1.4972 | 0 | 0.94664 | 1.4959 | 76.16 | -149.7021 | 123.0359 | 0 | -149.6208 | 123.0883
Line_3 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0014922 | 0.017231 | 0.017231 | 0.017231 | 0.017231 | 0.017231 | 0.017231 | -3.1595e-05 | 0.013479 | -0.013448 | -3.1595e-05 | 0.013479 | -0.013448 | -6.5467e-06 | -0.0091453 | -0.022016 | -6.5467e-06 | -0.0091453 | -0.022016 | -115.5464 | -115.5464 | -115.5464 | -115.5464 | -115.5464 | -115.5464 | 0.0018726 | 0.94533 | 1.4972 | 0.0018726 | 0.94533 | 1.4972 | 76.16 | -149.7021 | 123.0359 | 76.16 | -149.7021 | 123.0359

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0372 | 0.0038347 | 0.0038347 | 1.037 | 0.0032789 | 0.0032789 | 11.9768 | 0.044279 | 0.044279 | 11.9748 | 0.037861 | 0.037861 | 8.6211 | 0.041818 | -0.025869 | -5.3565 | -0.034891 | 0.022698 | 6.3283 | -0.00069785 | -0.036758 | -5.3894 | 0.0072158 | 0.038584 | -43.4222 | -118.0464 | -118.0464 | 136.607 | 61.4233 | 61.4233 | 0.89293 | 0.94455 | 1.0151 | 0.63455 | 0.94105 | 1.1823 | -7.1418 | -119.0025 | 116.8168 | 1.7822 | -130.2614 | 120.9563
Line_1 | 0.00054659 | 0.00054659 | 0.00054659 | 0.0016394 | 0.0016394 | 0.0016394 | 0.0063115 | 0.0063115 | 0.0063115 | 0.018931 | 0.018931 | 0.018931 | 0.0020319 | -0.0058134 | 0.0037814 | -0.0060712 | 0.017445 | -0.011349 | -0.0034528 | 0.0011979 | 0.0064367 | 0.010365 | -0.0036079 | -0.019292 | 61.3652 | 61.3652 | 61.3652 | -118.5767 | -118.5767 | -118.5767 | 0.63477 | 0.94042 | 1.1828 | 0.63455 | 0.94105 | 1.1823 | 1.8409 | -130.278 | 120.9317 | 1.7822 | -130.2614 | 120.9563
Line_2 | 0.00054659 | 0.00054659 | 0.00054659 | 0.0016394 | 0.0016394 | 0.0016394 | 0.0063115 | 0.0063115 | 0.0063115 | 0.018931 | 0.018931 | 0.018931 | 0.0020319 | -0.0058134 | 0.0037814 | -0.0060712 | 0.017445 | -0.011349 | -0.0034528 | 0.0011979 | 0.0064367 | 0.010365 | -0.0036079 | -0.019292 | 61.3652 | 61.3652 | 61.3652 | -118.5767 | -118.5767 | -118.5767 | 0.63477 | 0.94042 | 1.1828 | 0.63455 | 0.94105 | 1.1823 | 1.8409 | -130.278 | 120.9317 | 1.7822 | -130.2614 | 120.9563
Line_3 | 0.00054659 | 0.00054659 | 0.00054659 | 0.00054659 | 0.00054659 | 0.00054659 | 0.0063115 | 0.0063115 | 0.0063115 | 0.0063115 | 0.0063115 | 0.0063115 | -0.0020319 | 0.0058134 | -0.0037814 | -0.0020319 | 0.0058134 | -0.0037814 | 0.0034528 | -0.0011979 | -0.0064367 | 0.0034528 | -0.0011979 | -0.0064367 | -118.6348 | -118.6348 | -118.6348 | -118.6348 | -118.6348 | -118.6348 | 0.63477 | 0.94042 | 1.1828 | 0.63477 | 0.94042 | 1.1828 | 1.8409 | -130.278 | 120.9317 | 1.8409 | -130.278 | 120.9317

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0372 | 0.0038347 | 0.0038347 | 1.037 | 0.0032789 | 0.0032789 | 11.9768 | 0.044279 | 0.044279 | 11.9748 | 0.037861 | 0.037861 | 8.6211 | 0.041818 | -0.025869 | -5.3565 | -0.034891 | 0.022698 | 6.3283 | -0.00069785 | -0.036758 | -5.3894 | 0.0072158 | 0.038584 | -43.4222 | -118.0464 | -118.0464 | 136.607 | 61.4233 | 61.4233 | 0.89293 | 0.94455 | 1.0151 | 0.63455 | 0.94105 | 1.1823 | -7.1418 | -119.0025 | 116.8168 | 1.7822 | -130.2614 | 120.9563
Line_1 | 0.00054659 | 0.00054659 | 0.00054659 | 0.0016394 | 0.0016394 | 0.0016394 | 0.0063115 | 0.0063115 | 0.0063115 | 0.018931 | 0.018931 | 0.018931 | 0.0020319 | -0.0058134 | 0.0037814 | -0.0060712 | 0.017445 | -0.011349 | -0.0034528 | 0.0011979 | 0.0064367 | 0.010365 | -0.0036079 | -0.019292 | 61.3652 | 61.3652 | 61.3652 | -118.5767 | -118.5767 | -118.5767 | 0.63477 | 0.94042 | 1.1828 | 0.63455 | 0.94105 | 1.1823 | 1.8409 | -130.278 | 120.9317 | 1.7822 | -130.2614 | 120.9563
Line_2 | 0.00054659 | 0.00054659 | 0.00054659 | 0.0016394 | 0.0016394 | 0.0016394 | 0.0063115 | 0.0063115 | 0.0063115 | 0.018931 | 0.018931 | 0.018931 | 0.0020319 | -0.0058134 | 0.0037814 | -0.0060712 | 0.017445 | -0.011349 | -0.0034528 | 0.0011979 | 0.0064367 | 0.010365 | -0.0036079 | -0.019292 | 61.3652 | 61.3652 | 61.3652 | -118.5767 | -118.5767 | -118.5767 | 0.63477 | 0.94042 | 1.1828 | 0.63455 | 0.94105 | 1.1823 | 1.8409 | -130.278 | 120.9317 | 1.7822 | -130.2614 | 120.9563
Line_3 | 0.00054659 | 0.00054659 | 0.00054659 | 0.00054659 | 0.00054659 | 0.00054659 | 0.0063115 | 0.0063115 | 0.0063115 | 0.0063115 | 0.0063115 | 0.0063115 | -0.0020319 | 0.0058134 | -0.0037814 | -0.0020319 | 0.0058134 | -0.0037814 | 0.0034528 | -0.0011979 | -0.0064367 | 0.0034528 | -0.0011979 | -0.0064367 | -118.6348 | -118.6348 | -118.6348 | -118.6348 | -118.6348 | -118.6348 | 0.63477 | 0.94042 | 1.1828 | 0.63477 | 0.94042 | 1.1828 | 1.8409 | -130.278 | 120.9317 | 1.8409 | -130.278 | 120.9317

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29615 | 5.0872 | 2.8826 | 0.29499 | 5.0873 | 2.8817 | 3.4196 | 58.7422 | 33.2854 | 3.4063 | 58.7431 | 33.2749 | -1.1679 | 33.6872 | -0.7128 | 1.9593 | 1.9318e-10 | 1.217e-10 | -3.3077 | 7.4627 | 16.1108 | 4.3567 | -1.1565e-10 | -3.4359e-11 | 101.5771 | 176.354 | 41.0677 | -78.3466 | -3.6322 | -138.9485 | 1.0258 | 0.58738 | 0.48449 | 1.4024 | 0 | 0 | -7.8701 | -171.155 | 133.6011 | -12.5615 | 0 | 0
Line_1 | 0.14539 | 0.14424 | 0.14339 | 0.1475 | 0.14407 | 0.14151 | 1.6788 | 1.6655 | 1.6558 | 1.7031 | 1.6635 | 1.6341 | 0.99191 | 0.010334 | 0.0099882 | -0.97967 | 6.0592e-12 | 5.966e-12 | 2.1532 | 0.013386 | 0.011153 | -2.1784 | -1.9847e-12 | -1.7247e-12 | -77.9718 | 162.6784 | 41.9539 | 101.6534 | -16.4042 | -138.5895 | 1.4121 | 0.010154 | 0.0090421 | 1.4024 | 0 | 0 | -12.7056 | -144.9892 | 90.1066 | -12.5615 | 0 | 0
Line_2 | 0.14539 | 0.14424 | 0.14339 | 0.1475 | 0.14407 | 0.14151 | 1.6788 | 1.6655 | 1.6558 | 1.7031 | 1.6635 | 1.6341 | 0.99191 | 0.010334 | 0.0099882 | -0.97967 | 6.0592e-12 | 5.966e-12 | 2.1532 | 0.013386 | 0.011153 | -2.1784 | -1.9847e-12 | -1.7247e-12 | -77.9718 | 162.6784 | 41.9539 | 101.6534 | -16.4042 | -138.5895 | 1.4121 | 0.010154 | 0.0090421 | 1.4024 | 0 | 0 | -12.7056 | -144.9892 | 90.1066 | -12.5615 | 0 | 0
Line_3 | 0.0011577 | 0.0011577 | 0.0011577 | 0.0011577 | 0.0011577 | 0.0011577 | 0.013368 | 0.013368 | 0.013368 | 0.013368 | 0.013368 | 0.013368 | -1.7557e-05 | -0.00010033 | 0.00011789 | -1.7557e-05 | -0.00010033 | 0.00011789 | -0.018877 | 9.1414e-05 | 2.6695e-05 | -0.018877 | 9.1414e-05 | 2.6695e-05 | 77.3477 | 77.3477 | 77.3477 | 77.3477 | 77.3477 | 77.3477 | 1.4121 | 0.010154 | 0.0090421 | 1.4121 | 0.010154 | 0.0090421 | -12.7056 | -144.9892 | 90.1066 | -12.7056 | -144.9892 | 90.1066

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29615 | 5.0872 | 2.8826 | 0.29499 | 5.0873 | 2.8817 | 3.4196 | 58.7422 | 33.2854 | 3.4063 | 58.7431 | 33.2749 | -1.1679 | 33.6872 | -0.7128 | 1.9593 | 1.9318e-10 | 1.217e-10 | -3.3077 | 7.4627 | 16.1108 | 4.3567 | -1.1565e-10 | -3.4359e-11 | 101.5771 | 176.354 | 41.0677 | -78.3466 | -3.6322 | -138.9485 | 1.0258 | 0.58738 | 0.48449 | 1.4024 | 0 | 0 | -7.8701 | -171.155 | 133.6011 | -12.5615 | 0 | 0
Line_1 | 0.14539 | 0.14424 | 0.14339 | 0.1475 | 0.14407 | 0.14151 | 1.6788 | 1.6655 | 1.6558 | 1.7031 | 1.6635 | 1.6341 | 0.99191 | 0.010334 | 0.0099882 | -0.97967 | 6.0592e-12 | 5.966e-12 | 2.1532 | 0.013386 | 0.011153 | -2.1784 | -1.9847e-12 | -1.7247e-12 | -77.9718 | 162.6784 | 41.9539 | 101.6534 | -16.4042 | -138.5895 | 1.4121 | 0.010154 | 0.0090421 | 1.4024 | 0 | 0 | -12.7056 | -144.9892 | 90.1066 | -12.5615 | 0 | 0
Line_2 | 0.14539 | 0.14424 | 0.14339 | 0.1475 | 0.14407 | 0.14151 | 1.6788 | 1.6655 | 1.6558 | 1.7031 | 1.6635 | 1.6341 | 0.99191 | 0.010334 | 0.0099882 | -0.97967 | 6.0592e-12 | 5.966e-12 | 2.1532 | 0.013386 | 0.011153 | -2.1784 | -1.9847e-12 | -1.7247e-12 | -77.9718 | 162.6784 | 41.9539 | 101.6534 | -16.4042 | -138.5895 | 1.4121 | 0.010154 | 0.0090421 | 1.4024 | 0 | 0 | -12.7056 | -144.9892 | 90.1066 | -12.5615 | 0 | 0
Line_3 | 0.0011577 | 0.0011577 | 0.0011577 | 0.0011577 | 0.0011577 | 0.0011577 | 0.013368 | 0.013368 | 0.013368 | 0.013368 | 0.013368 | 0.013368 | -1.7557e-05 | -0.00010033 | 0.00011789 | -1.7557e-05 | -0.00010033 | 0.00011789 | -0.018877 | 9.1414e-05 | 2.6695e-05 | -0.018877 | 9.1414e-05 | 2.6695e-05 | 77.3477 | 77.3477 | 77.3477 | 77.3477 | 77.3477 | 77.3477 | 1.4121 | 0.010154 | 0.0090421 | 1.4121 | 0.010154 | 0.0090421 | -12.7056 | -144.9892 | 90.1066 | -12.7056 | -144.9892 | 90.1066

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29108 | 1.2275 | 0.99936 | 0.29071 | 1.2277 | 0.99896 | 3.3611 | 14.1745 | 11.5397 | 3.3568 | 14.1766 | 11.535 | -0.89495 | 12.0093 | 7.7228 | 1.2047 | -9.9945 | -6.9476 | -3.6151 | 7.6955 | 7.4883 | 3.9739 | -8.0231 | -5.5075 | 101.9747 | -163.5367 | 72.1646 | -77.9946 | 16.4801 | -107.8383 | 1.108 | 1.0063 | 0.93219 | 1.237 | 0.90405 | 0.7686 | -1.9298 | -130.8852 | 116.2814 | -4.8593 | -124.7638 | 110.5665
Line_1 | 0.14468 | 0.14433 | 0.14401 | 0.14535 | 0.14431 | 0.14336 | 1.6706 | 1.6665 | 1.6629 | 1.6784 | 1.6663 | 1.6554 | 0.61574 | 0.45462 | 0.48048 | -0.60234 | -0.45151 | -0.46448 | 1.9885 | 1.4524 | 1.2005 | -1.9869 | -1.4372 | -1.1845 | -77.8519 | 162.3725 | 42.1398 | 102.0054 | -17.3229 | -138.0221 | 1.2461 | 0.91321 | 0.7776 | 1.237 | 0.90405 | 0.7686 | -5.0573 | -125.008 | 110.3269 | -4.8593 | -124.7638 | 110.5665
Line_2 | 0.14468 | 0.14433 | 0.14401 | 0.14535 | 0.14431 | 0.14336 | 1.6706 | 1.6665 | 1.6629 | 1.6784 | 1.6663 | 1.6554 | 0.61574 | 0.45462 | 0.48048 | -0.60234 | -0.45151 | -0.46448 | 1.9885 | 1.4524 | 1.2005 | -1.9869 | -1.4372 | -1.1845 | -77.8519 | 162.3725 | 42.1398 | 102.0054 | -17.3229 | -138.0221 | 1.2461 | 0.91321 | 0.7776 | 1.237 | 0.90405 | 0.7686 | -5.0573 | -125.008 | 110.3269 | -4.8593 | -124.7638 | 110.5665
Line_3 | 0.00038388 | 0.00038388 | 0.00038388 | 0.00038388 | 0.00038388 | 0.00038388 | 0.0044327 | 0.0044327 | 0.0044327 | 0.0044327 | 0.0044327 | 0.0044327 | 0.0010533 | -0.0038284 | 0.0027752 | 0.0010533 | -0.0038284 | 0.0027752 | -0.005422 | 0.0013151 | 0.0020443 | -0.005422 | 0.0013151 | 0.0020443 | 73.9496 | 73.9496 | 73.9496 | 73.9496 | 73.9496 | 73.9496 | 1.2461 | 0.91321 | 0.7776 | 1.2461 | 0.91321 | 0.7776 | -5.0573 | -125.008 | 110.3269 | -5.0573 | -125.008 | 110.3269

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29108 | 1.2275 | 0.99936 | 0.29071 | 1.2277 | 0.99896 | 3.3611 | 14.1745 | 11.5397 | 3.3568 | 14.1766 | 11.535 | -0.89495 | 12.0093 | 7.7228 | 1.2047 | -9.9945 | -6.9476 | -3.6151 | 7.6955 | 7.4883 | 3.9739 | -8.0231 | -5.5075 | 101.9747 | -163.5367 | 72.1646 | -77.9946 | 16.4801 | -107.8383 | 1.108 | 1.0063 | 0.93219 | 1.237 | 0.90405 | 0.7686 | -1.9298 | -130.8852 | 116.2814 | -4.8593 | -124.7638 | 110.5665
Line_1 | 0.14468 | 0.14433 | 0.14401 | 0.14535 | 0.14431 | 0.14336 | 1.6706 | 1.6665 | 1.6629 | 1.6784 | 1.6663 | 1.6554 | 0.61574 | 0.45462 | 0.48048 | -0.60234 | -0.45151 | -0.46448 | 1.9885 | 1.4524 | 1.2005 | -1.9869 | -1.4372 | -1.1845 | -77.8519 | 162.3725 | 42.1398 | 102.0054 | -17.3229 | -138.0221 | 1.2461 | 0.91321 | 0.7776 | 1.237 | 0.90405 | 0.7686 | -5.0573 | -125.008 | 110.3269 | -4.8593 | -124.7638 | 110.5665
Line_2 | 0.14468 | 0.14433 | 0.14401 | 0.14535 | 0.14431 | 0.14336 | 1.6706 | 1.6665 | 1.6629 | 1.6784 | 1.6663 | 1.6554 | 0.61574 | 0.45462 | 0.48048 | -0.60234 | -0.45151 | -0.46448 | 1.9885 | 1.4524 | 1.2005 | -1.9869 | -1.4372 | -1.1845 | -77.8519 | 162.3725 | 42.1398 | 102.0054 | -17.3229 | -138.0221 | 1.2461 | 0.91321 | 0.7776 | 1.237 | 0.90405 | 0.7686 | -5.0573 | -125.008 | 110.3269 | -4.8593 | -124.7638 | 110.5665
Line_3 | 0.00038388 | 0.00038388 | 0.00038388 | 0.00038388 | 0.00038388 | 0.00038388 | 0.0044327 | 0.0044327 | 0.0044327 | 0.0044327 | 0.0044327 | 0.0044327 | 0.0010533 | -0.0038284 | 0.0027752 | 0.0010533 | -0.0038284 | 0.0027752 | -0.005422 | 0.0013151 | 0.0020443 | -0.005422 | 0.0013151 | 0.0020443 | 73.9496 | 73.9496 | 73.9496 | 73.9496 | 73.9496 | 73.9496 | 1.2461 | 0.91321 | 0.7776 | 1.2461 | 0.91321 | 0.7776 | -5.0573 | -125.008 | 110.3269 | -5.0573 | -125.008 | 110.3269

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076279 | 3.9232 | 2.4897 | 0.0065223 | 3.9235 | 2.4889 | 0.088079 | 45.3014 | 28.7482 | 0.075313 | 45.3048 | 28.7395 | 0.003484 | 30.3522 | -0.11742 | -0.00020129 | -1.6973e-10 | -2.5749e-11 | -0.083885 | 1.8248 | 12.1348 | 0.099197 | -1.9373e-10 | -1.6144e-10 | 81.4331 | -170.2987 | 37.2206 | -99.0972 | 9.7169 | -142.7981 | 0.9532 | 0.67121 | 0.42213 | 1.3171 | 0 | 0 | -6.1886 | -166.8583 | 127.775 | -8.981 | 0 | 0
Line_1 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0032612 | 0.0032612 | 0.0032612 | 0.012555 | 0.012555 | 0.012555 | 0.037657 | 0.037657 | 0.037657 | -3.3549e-05 | 1.6774e-05 | 1.6774e-05 | 0.00010064 | -1.9791e-13 | 1.7054e-13 | 0.01654 | 3.4756e-06 | 3.4756e-06 | -0.049599 | 8.1606e-14 | 1.2962e-13 | -99.1553 | -99.1553 | -99.1554 | 80.9028 | 80.9028 | 80.9028 | 1.3174 | 0.0013644 | 0.0013644 | 1.3171 | 0 | 0 | -9.0391 | -87.449 | -87.449 | -8.981 | 0 | 0
Line_2 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0032612 | 0.0032612 | 0.0032612 | 0.012555 | 0.012555 | 0.012555 | 0.037657 | 0.037657 | 0.037657 | -3.3549e-05 | 1.6774e-05 | 1.6774e-05 | 0.00010064 | -1.9791e-13 | 1.7054e-13 | 0.01654 | 3.4756e-06 | 3.4756e-06 | -0.049599 | 8.1606e-14 | 1.2962e-13 | -99.1553 | -99.1553 | -99.1554 | 80.9028 | 80.9028 | 80.9028 | 1.3174 | 0.0013644 | 0.0013644 | 1.3171 | 0 | 0 | -9.0391 | -87.449 | -87.449 | -8.981 | 0 | 0
Line_3 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0010873 | 0.012555 | 0.012555 | 0.012555 | 0.012555 | 0.012555 | 0.012555 | 3.3548e-05 | -1.6774e-05 | -1.6774e-05 | 3.3548e-05 | -1.6774e-05 | -1.6774e-05 | -0.01654 | -3.4756e-06 | -3.4756e-06 | -0.01654 | -3.4756e-06 | -3.4756e-06 | 80.8447 | 80.8447 | 80.8447 | 80.8447 | 80.8447 | 80.8447 | 1.3174 | 0.0013644 | 0.0013644 | 1.3174 | 0.0013644 | 0.0013644 | -9.0391 | -87.449 | -87.449 | -9.0391 | -87.449 | -87.449

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076279 | 3.9232 | 2.4897 | 0.0065223 | 3.9235 | 2.4889 | 0.088079 | 45.3014 | 28.7482 | 0.075313 | 45.3048 | 28.7395 | 0.003484 | 30.3522 | -0.11742 | -0.00020129 | -1.6973e-10 | -2.5749e-11 | -0.083885 | 1.8248 | 12.1348 | 0.099197 | -1.9373e-10 | -1.6144e-10 | 81.4331 | -170.2987 | 37.2206 | -99.0972 | 9.7169 | -142.7981 | 0.9532 | 0.67121 | 0.42213 | 1.3171 | 0 | 0 | -6.1886 | -166.8583 | 127.775 | -8.981 | 0 | 0
Line_1 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0032612 | 0.0032612 | 0.0032612 | 0.012555 | 0.012555 | 0.012555 | 0.037657 | 0.037657 | 0.037657 | -3.3549e-05 | 1.6774e-05 | 1.6774e-05 | 0.00010064 | -1.9791e-13 | 1.7054e-13 | 0.01654 | 3.4756e-06 | 3.4756e-06 | -0.049599 | 8.1606e-14 | 1.2962e-13 | -99.1553 | -99.1553 | -99.1554 | 80.9028 | 80.9028 | 80.9028 | 1.3174 | 0.0013644 | 0.0013644 | 1.3171 | 0 | 0 | -9.0391 | -87.449 | -87.449 | -8.981 | 0 | 0
Line_2 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0032612 | 0.0032612 | 0.0032612 | 0.012555 | 0.012555 | 0.012555 | 0.037657 | 0.037657 | 0.037657 | -3.3549e-05 | 1.6774e-05 | 1.6774e-05 | 0.00010064 | -1.9791e-13 | 1.7054e-13 | 0.01654 | 3.4756e-06 | 3.4756e-06 | -0.049599 | 8.1606e-14 | 1.2962e-13 | -99.1553 | -99.1553 | -99.1554 | 80.9028 | 80.9028 | 80.9028 | 1.3174 | 0.0013644 | 0.0013644 | 1.3171 | 0 | 0 | -9.0391 | -87.449 | -87.449 | -8.981 | 0 | 0
Line_3 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0010873 | 0.012555 | 0.012555 | 0.012555 | 0.012555 | 0.012555 | 0.012555 | 3.3548e-05 | -1.6774e-05 | -1.6774e-05 | 3.3548e-05 | -1.6774e-05 | -1.6774e-05 | -0.01654 | -3.4756e-06 | -3.4756e-06 | -0.01654 | -3.4756e-06 | -3.4756e-06 | 80.8447 | 80.8447 | 80.8447 | 80.8447 | 80.8447 | 80.8447 | 1.3174 | 0.0013644 | 0.0013644 | 1.3174 | 0.0013644 | 0.0013644 | -9.0391 | -87.449 | -87.449 | -9.0391 | -87.449 | -87.449

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0034299 | 1.2102 | 0.96824 | 0.0029328 | 1.2105 | 0.96775 | 0.039605 | 13.974 | 11.1803 | 0.033865 | 13.9771 | 11.1746 | 0.011886 | 10.447 | 5.6965 | -0.0097551 | -7.3224 | -4.6696 | -0.036461 | 6.6172 | 7.0682 | 0.036642 | -7.3508 | -4.6675 | 69.5557 | -164.2066 | 64.7236 | -110.9746 | 15.8131 | -115.2805 | 0.9683 | 0.88496 | 0.81196 | 1.1197 | 0.74232 | 0.59083 | -2.3895 | -131.8563 | 115.8568 | -6.0664 | -119.0759 | 109.7064
Line_1 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0056453 | 0.0056453 | 0.0056453 | 0.016932 | 0.016932 | 0.016932 | -0.001629 | 0.0041528 | -0.0025238 | 0.0048776 | -0.012444 | 0.0075867 | 0.0061073 | -0.00058565 | -0.0021761 | -0.018321 | 0.0017713 | 0.0065212 | -111.0327 | -111.0327 | -111.0327 | 69.0254 | 69.0254 | 69.0254 | 1.1196 | 0.7429 | 0.59029 | 1.1197 | 0.74232 | 0.59083 | -6.0978 | -119.0599 | 109.7353 | -6.0664 | -119.0759 | 109.7064
Line_2 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0056453 | 0.0056453 | 0.0056453 | 0.016932 | 0.016932 | 0.016932 | -0.001629 | 0.0041528 | -0.0025238 | 0.0048776 | -0.012444 | 0.0075867 | 0.0061073 | -0.00058565 | -0.0021761 | -0.018321 | 0.0017713 | 0.0065212 | -111.0327 | -111.0327 | -111.0327 | 69.0254 | 69.0254 | 69.0254 | 1.1196 | 0.7429 | 0.59029 | 1.1197 | 0.74232 | 0.59083 | -6.0978 | -119.0599 | 109.7353 | -6.0664 | -119.0759 | 109.7064
Line_3 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0056453 | 0.0056453 | 0.0056453 | 0.0056453 | 0.0056453 | 0.0056453 | 0.001629 | -0.0041528 | 0.0025238 | 0.001629 | -0.0041528 | 0.0025238 | -0.0061073 | 0.00058565 | 0.0021761 | -0.0061073 | 0.00058565 | 0.0021761 | 68.9673 | 68.9673 | 68.9673 | 68.9673 | 68.9673 | 68.9673 | 1.1196 | 0.7429 | 0.59029 | 1.1196 | 0.7429 | 0.59029 | -6.0978 | -119.0599 | 109.7353 | -6.0978 | -119.0599 | 109.7353

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0034299 | 1.2102 | 0.96824 | 0.0029328 | 1.2105 | 0.96775 | 0.039605 | 13.974 | 11.1803 | 0.033865 | 13.9771 | 11.1746 | 0.011886 | 10.447 | 5.6965 | -0.0097551 | -7.3224 | -4.6696 | -0.036461 | 6.6172 | 7.0682 | 0.036642 | -7.3508 | -4.6675 | 69.5557 | -164.2066 | 64.7236 | -110.9746 | 15.8131 | -115.2805 | 0.9683 | 0.88496 | 0.81196 | 1.1197 | 0.74232 | 0.59083 | -2.3895 | -131.8563 | 115.8568 | -6.0664 | -119.0759 | 109.7064
Line_1 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0056453 | 0.0056453 | 0.0056453 | 0.016932 | 0.016932 | 0.016932 | -0.001629 | 0.0041528 | -0.0025238 | 0.0048776 | -0.012444 | 0.0075867 | 0.0061073 | -0.00058565 | -0.0021761 | -0.018321 | 0.0017713 | 0.0065212 | -111.0327 | -111.0327 | -111.0327 | 69.0254 | 69.0254 | 69.0254 | 1.1196 | 0.7429 | 0.59029 | 1.1197 | 0.74232 | 0.59083 | -6.0978 | -119.0599 | 109.7353 | -6.0664 | -119.0759 | 109.7064
Line_2 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0056453 | 0.0056453 | 0.0056453 | 0.016932 | 0.016932 | 0.016932 | -0.001629 | 0.0041528 | -0.0025238 | 0.0048776 | -0.012444 | 0.0075867 | 0.0061073 | -0.00058565 | -0.0021761 | -0.018321 | 0.0017713 | 0.0065212 | -111.0327 | -111.0327 | -111.0327 | 69.0254 | 69.0254 | 69.0254 | 1.1196 | 0.7429 | 0.59029 | 1.1197 | 0.74232 | 0.59083 | -6.0978 | -119.0599 | 109.7353 | -6.0664 | -119.0759 | 109.7064
Line_3 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0056453 | 0.0056453 | 0.0056453 | 0.0056453 | 0.0056453 | 0.0056453 | 0.001629 | -0.0041528 | 0.0025238 | 0.001629 | -0.0041528 | 0.0025238 | -0.0061073 | 0.00058565 | 0.0021761 | -0.0061073 | 0.00058565 | 0.0021761 | 68.9673 | 68.9673 | 68.9673 | 68.9673 | 68.9673 | 68.9673 | 1.1196 | 0.7429 | 0.59029 | 1.1196 | 0.7429 | 0.59029 | -6.0978 | -119.0599 | 109.7353 | -6.0978 | -119.0599 | 109.7353