## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 0.0325 | -1e-07 | 0.036875 | -1e-07 | -77.7798 | 102.2202 | 0.0098306 | 0 | -29.1714 | 0
Line_2 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 0.0325 | -1e-07 | 0.036875 | -1e-07 | -77.7798 | 102.2202 | 0.0098306 | 0 | -29.1714 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0098306 | 0.0098306 | -29.1714 | -29.1714

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 0.0325 | -1e-07 | 0.036875 | -1e-07 | -77.7798 | 102.2202 | 0.0098306 | 0 | -29.1714 | 0
Line_2 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 0.0325 | -1e-07 | 0.036875 | -1e-07 | -77.7798 | 102.2202 | 0.0098306 | 0 | -29.1714 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0098306 | 0.0098306 | -29.1714 | -29.1714

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1384 | 1.1384 | 0 | 2.5899 | 39.4369 | 39.4369 | 28.164 | -26.1422 | 23.6571 | -21.3631 | -48.785 | 131.215 | 0.93266 | 0.85607 | -8.7555 | -9.5297
Line_1 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 1.6186 | -1.5861 | 4.0125 | -3.9756 | -77.7798 | 102.2202 | 0.86534 | 0.85607 | -9.7485 | -9.5297
Line_2 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 1.6186 | -1.5861 | 4.0125 | -3.9756 | -77.7798 | 102.2202 | 0.86534 | 0.85607 | -9.7485 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86534 | 0.86534 | -9.7485 | -9.7485

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1384 | 1.1384 | 0 | 2.5899 | 39.4369 | 39.4369 | 28.164 | -26.1422 | 23.6571 | -21.3631 | -48.785 | 131.215 | 0.93266 | 0.85607 | -8.7555 | -9.5297
Line_1 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 1.6186 | -1.5861 | 4.0125 | -3.9756 | -77.7798 | 102.2202 | 0.86534 | 0.85607 | -9.7485 | -9.5297
Line_2 | 0.14434 | 0.14434 | 0 | 0.20412 | 5 | 5 | 1.6186 | -1.5861 | 4.0125 | -3.9756 | -77.7798 | 102.2202 | 0.86534 | 0.85607 | -9.7485 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86534 | 0.86534 | -9.7485 | -9.7485

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7288e-20 | 0 | 6.3228e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7288e-20 | 0 | 6.3228e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7288e-20 | 0 | 6.3228e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7288e-20 | 0 | 6.3228e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 3.712 | 3.712 | 0.28867 | 3.712 | 3.712 | 3.3333 | 42.862 | 42.862 | 3.3333 | 42.862 | 42.862 | -0.78508 | 31.5321 | -17.6165 | 0.82842 | -24.3672 | 24.7814 | -3.7759 | 1.8509 | 12.4953 | 3.8251 | 6.2785 | -4.3659 | 102.22 | -165.5514 | 9.9917 | -77.78 | 14.4486 | -170.0083 | 1.157 | 0.73693 | 0.5039 | 1.1741 | 0.58707 | 0.58707 | 0.47457 | -162.192 | 154.6437 | -8.1315e-06 | 180 | 180
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.94255 | -0.71378 | -0.41421 | -0.93172 | 0.72461 | 1.9248 | 0.31107 | 0.66979 | -1.9126 | -0.29878 | -0.6575 | -77.78 | 162.2204 | 42.22 | 102.22 | -17.7796 | -137.78 | 1.1827 | 0.59553 | 0.58729 | 1.1741 | 0.58707 | 0.58707 | -0.23213 | -179.5153 | 179.041 | -8.1315e-06 | 180 | 180
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.94255 | -0.71378 | -0.41421 | -0.93172 | 0.72461 | 1.9248 | 0.31107 | 0.66979 | -1.9126 | -0.29878 | -0.6575 | -77.78 | 162.2204 | 42.22 | 102.22 | -17.7796 | -137.78 | 1.1827 | 0.59553 | 0.58729 | 1.1741 | 0.58707 | 0.58707 | -0.23213 | -179.5153 | 179.041 | -8.1315e-06 | 180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.5798e-15 | -8.5821e-15 | -1.0847e-14 | 5.5798e-15 | 1.1355e-14 | 1.0847e-14 | 5.6252e-15 | 1.4033e-14 | 1.6876e-14 | -5.6252e-15 | -8.3673e-15 | -1.6876e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1827 | 0.59553 | 0.58729 | 1.1827 | 0.59553 | 0.58729 | -0.23213 | -179.5153 | 179.041 | -0.23213 | -179.5153 | 179.041

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 3.712 | 3.712 | 0.28867 | 3.712 | 3.712 | 3.3333 | 42.862 | 42.862 | 3.3333 | 42.862 | 42.862 | -0.78508 | 31.5321 | -17.6165 | 0.82842 | -24.3672 | 24.7814 | -3.7759 | 1.8509 | 12.4953 | 3.8251 | 6.2785 | -4.3659 | 102.22 | -165.5514 | 9.9917 | -77.78 | 14.4486 | -170.0083 | 1.157 | 0.73693 | 0.5039 | 1.1741 | 0.58707 | 0.58707 | 0.47457 | -162.192 | 154.6437 | -8.1315e-06 | 180 | 180
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.94255 | -0.71378 | -0.41421 | -0.93172 | 0.72461 | 1.9248 | 0.31107 | 0.66979 | -1.9126 | -0.29878 | -0.6575 | -77.78 | 162.2204 | 42.22 | 102.22 | -17.7796 | -137.78 | 1.1827 | 0.59553 | 0.58729 | 1.1741 | 0.58707 | 0.58707 | -0.23213 | -179.5153 | 179.041 | -8.1315e-06 | 180 | 180
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.94255 | -0.71378 | -0.41421 | -0.93172 | 0.72461 | 1.9248 | 0.31107 | 0.66979 | -1.9126 | -0.29878 | -0.6575 | -77.78 | 162.2204 | 42.22 | 102.22 | -17.7796 | -137.78 | 1.1827 | 0.59553 | 0.58729 | 1.1741 | 0.58707 | 0.58707 | -0.23213 | -179.5153 | 179.041 | -8.1315e-06 | 180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.5798e-15 | -8.5821e-15 | -1.0847e-14 | 5.5798e-15 | 1.1355e-14 | 1.0847e-14 | 5.6252e-15 | 1.4033e-14 | 1.6876e-14 | -5.6252e-15 | -8.3673e-15 | -1.6876e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1827 | 0.59553 | 0.58729 | 1.1827 | 0.59553 | 0.58729 | -0.23213 | -179.5153 | 179.041 | -0.23213 | -179.5153 | 179.041

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 1.7018 | 1.6008 | 0.28867 | 1.7018 | 1.6008 | 3.3333 | 19.6505 | 18.4849 | 3.3333 | 19.6505 | 18.4849 | -0.78509 | 19.6311 | -1.0159 | 0.82842 | -18.1252 | 2.3485 | -3.776 | 1.6514 | 14.4041 | 3.8251 | 0.057272 | -12.8922 | 102.2201 | -142.6862 | 27.9149 | -77.7799 | 37.3138 | -152.0851 | 1.157 | 1.0025 | 0.78117 | 1.1741 | 0.92238 | 0.70892 | 0.47457 | -137.8777 | 121.9492 | -5.5203e-06 | -142.8673 | 128.239
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.89452 | 0.092865 | -0.41421 | -0.88369 | -0.082032 | 1.9249 | 1.2702 | 1.191 | -1.9126 | -1.2579 | -1.1787 | -77.7799 | 162.2203 | 42.2201 | 102.2201 | -17.7797 | -137.7799 | 1.1827 | 0.93216 | 0.71675 | 1.1741 | 0.92238 | 0.70892 | -0.23213 | -142.9336 | 127.7616 | -5.5203e-06 | -142.8673 | 128.239
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.89452 | 0.092865 | -0.41421 | -0.88369 | -0.082032 | 1.9249 | 1.2702 | 1.191 | -1.9126 | -1.2579 | -1.1787 | -77.7799 | 162.2203 | 42.2201 | 102.2201 | -17.7797 | -137.7799 | 1.1827 | 0.93216 | 0.71675 | 1.1741 | 0.92238 | 0.70892 | -0.23213 | -142.9336 | 127.7616 | -5.5203e-06 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.5685e-15 | -6.6158e-15 | 2.0792e-15 | -1.1182e-14 | 1.5031e-14 | 1.21e-15 | -8.4265e-15 | -2.2305e-15 | -2.6841e-15 | 5.6479e-15 | -5.2472e-15 | 9.5266e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1827 | 0.93216 | 0.71675 | 1.1827 | 0.93216 | 0.71675 | -0.23213 | -142.9336 | 127.7616 | -0.23213 | -142.9336 | 127.7616

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 1.7018 | 1.6008 | 0.28867 | 1.7018 | 1.6008 | 3.3333 | 19.6505 | 18.4849 | 3.3333 | 19.6505 | 18.4849 | -0.78509 | 19.6311 | -1.0159 | 0.82842 | -18.1252 | 2.3485 | -3.776 | 1.6514 | 14.4041 | 3.8251 | 0.057272 | -12.8922 | 102.2201 | -142.6862 | 27.9149 | -77.7799 | 37.3138 | -152.0851 | 1.157 | 1.0025 | 0.78117 | 1.1741 | 0.92238 | 0.70892 | 0.47457 | -137.8777 | 121.9492 | -5.5203e-06 | -142.8673 | 128.239
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.89452 | 0.092865 | -0.41421 | -0.88369 | -0.082032 | 1.9249 | 1.2702 | 1.191 | -1.9126 | -1.2579 | -1.1787 | -77.7799 | 162.2203 | 42.2201 | 102.2201 | -17.7797 | -137.7799 | 1.1827 | 0.93216 | 0.71675 | 1.1741 | 0.92238 | 0.70892 | -0.23213 | -142.9336 | 127.7616 | -5.5203e-06 | -142.8673 | 128.239
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.42504 | 0.89452 | 0.092865 | -0.41421 | -0.88369 | -0.082032 | 1.9249 | 1.2702 | 1.191 | -1.9126 | -1.2579 | -1.1787 | -77.7799 | 162.2203 | 42.2201 | 102.2201 | -17.7797 | -137.7799 | 1.1827 | 0.93216 | 0.71675 | 1.1741 | 0.92238 | 0.70892 | -0.23213 | -142.9336 | 127.7616 | -5.5203e-06 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.5685e-15 | -6.6158e-15 | 2.0792e-15 | -1.1182e-14 | 1.5031e-14 | 1.21e-15 | -8.4265e-15 | -2.2305e-15 | -2.6841e-15 | 5.6479e-15 | -5.2472e-15 | 9.5266e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1827 | 0.93216 | 0.71675 | 1.1827 | 0.93216 | 0.71675 | -0.23213 | -142.9336 | 127.7616 | -0.23213 | -142.9336 | 127.7616

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 2.1316e-14 | 26.5997 | -7.1734 | -2.1316e-14 | -16.8865 | 16.8865 | -1.4211e-14 | -0.51586 | 11.9957 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.1561e-13 | -160.7833 | 141.207 | 4.8495e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | -4.7369e-15 | 7.1055e-15 | 1.1842e-14 | 1.1842e-14 | -4.737e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.5526e-13 | -180 | 180 | 4.8495e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -4.7369e-15 | 2.3686e-15 | 1.4211e-14 | 7.1054e-15 | -1.4433e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.5279e-13 | -180 | 180 | 4.8495e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -1.1842e-15 | -2.3685e-15 | -4.737e-15 | 8.2897e-15 | 2.3685e-15 | 4.737e-15 | 7.1054e-15 | 4.737e-15 | -3.7435e-29 | 4.6886e-25 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.5526e-13 | -180 | 180 | 4.5279e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 2.1316e-14 | 26.5997 | -7.1734 | -2.1316e-14 | -16.8865 | 16.8865 | -1.4211e-14 | -0.51586 | 11.9957 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.1561e-13 | -160.7833 | 141.207 | 4.8495e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | -4.7369e-15 | 7.1055e-15 | 1.1842e-14 | 1.1842e-14 | -4.737e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.5526e-13 | -180 | 180 | 4.8495e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -4.7369e-15 | 2.3686e-15 | 1.4211e-14 | 7.1054e-15 | -1.4433e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.5279e-13 | -180 | 180 | 4.8495e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -1.1842e-15 | -2.3685e-15 | -4.737e-15 | 8.2897e-15 | 2.3685e-15 | 4.737e-15 | 7.1054e-15 | 4.737e-15 | -3.7435e-29 | 4.6886e-25 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.5526e-13 | -180 | 180 | 4.5279e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 1.5395e-14 | 15.3932 | 0.73601 | -1.4803e-14 | -13.0917 | 1.5655 | -2.3685e-15 | 2.3135 | 11.9328 | 2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.2376e-13 | -138.1765 | 119.7467 | 2.0998e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0658e-14 | 4.798e-10 | 8.2616e-10 | 9.4739e-15 | -4.798e-10 | -8.2616e-10 | 9.4739e-15 | -1.0532e-09 | 4.5325e-10 | -9.4739e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.9159e-13 | -142.5584 | 131.6989 | 2.0998e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.6975e-15 | 4.798e-10 | 8.2615e-10 | 7.1054e-15 | -4.798e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.9056e-13 | -142.5584 | 131.6989 | 2.0998e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | -2.8602e-15 | 4.3124e-15 | 1.1842e-15 | 5.6761e-15 | 2.4509e-16 | 7.1054e-15 | 2.2769e-15 | 3.842e-15 | -7.1054e-15 | -1.207e-16 | -4.6162e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.9159e-13 | -142.5584 | 131.6989 | 1.9056e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 1.5395e-14 | 15.3932 | 0.73601 | -1.4803e-14 | -13.0917 | 1.5655 | -2.3685e-15 | 2.3135 | 11.9328 | 2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.2376e-13 | -138.1765 | 119.7467 | 2.0998e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0658e-14 | 4.798e-10 | 8.2616e-10 | 9.4739e-15 | -4.798e-10 | -8.2616e-10 | 9.4739e-15 | -1.0532e-09 | 4.5325e-10 | -9.4739e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.9159e-13 | -142.5584 | 131.6989 | 2.0998e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.6975e-15 | 4.798e-10 | 8.2615e-10 | 7.1054e-15 | -4.798e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.9056e-13 | -142.5584 | 131.6989 | 2.0998e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | -2.8602e-15 | 4.3124e-15 | 1.1842e-15 | 5.6761e-15 | 2.4509e-16 | 7.1054e-15 | 2.2769e-15 | 3.842e-15 | -7.1054e-15 | -1.207e-16 | -4.6162e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.9159e-13 | -142.5584 | 131.6989 | 1.9056e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.9853 | 0.28761 | 0.29755 | 3.9843 | 0.28757 | 0.29622 | 46.0183 | 3.321 | 3.4358 | 46.0072 | 3.3205 | 3.4205 | 26.3841 | -0.27776 | -1.4375 | 3.2238e-10 | 1.5713 | 1.3702 | 13.8572 | -3.3511 | -3.74 | -2.3406e-10 | 2.8536 | 5.1635 | -57.0921 | -19.6759 | -137.0681 | 122.9249 | 160.6268 | 42.789 | 0.64761 | 1.0125 | 1.1662 | 0 | 0.98104 | 1.5618 | -29.3832 | -114.4141 | 111.9069 | 0 | -138.2118 | 117.9274
Line_1 | 0.14329 | 0.14414 | 0.14559 | 0.1412 | 0.14378 | 0.14811 | 1.6545 | 1.6644 | 1.6812 | 1.6305 | 1.6603 | 1.7102 | 0.0093596 | 0.82506 | 0.66889 | 1.3551e-11 | -0.78564 | -0.68509 | 0.012597 | 1.4263 | 2.5556 | -3.9631e-12 | -1.4268 | -2.5817 | -77.4426 | 161.6903 | 42.4128 | 103.2458 | -19.3732 | -137.211 | 0.0094851 | 0.99002 | 1.5714 | 0 | 0.98104 | 1.5618 | -24.0549 | -138.3569 | 117.7458 | 0 | -138.2118 | 117.9274
Line_2 | 0.14329 | 0.14414 | 0.14559 | 0.1412 | 0.14378 | 0.14811 | 1.6545 | 1.6644 | 1.6812 | 1.6305 | 1.6603 | 1.7102 | 0.0093596 | 0.82506 | 0.66889 | 1.3551e-11 | -0.78564 | -0.68509 | 0.012597 | 1.4263 | 2.5556 | -3.9631e-12 | -1.4268 | -2.5817 | -77.4426 | 161.6903 | 42.4128 | 103.2458 | -19.3732 | -137.211 | 0.0094851 | 0.99002 | 1.5714 | 0 | 0.98104 | 1.5618 | -24.0549 | -138.3569 | 117.7458 | 0 | -138.2118 | 117.9274
Line_3 | 0.0013483 | 0.0013483 | 0.0013483 | 0.0013483 | 0.0013483 | 0.0013483 | 0.015568 | 0.015568 | 0.015568 | 0.015568 | 0.015568 | 0.015568 | -6.2731e-06 | 0.014304 | -0.014298 | -6.2731e-06 | 0.014304 | -0.014298 | 0.00014753 | -0.0057407 | -0.01985 | 0.00014753 | -0.0057407 | -0.01985 | -116.4896 | -116.4896 | -116.4896 | -116.4896 | -116.4896 | -116.4896 | 0.0094851 | 0.99002 | 1.5714 | 0.0094851 | 0.99002 | 1.5714 | -24.0549 | -138.3569 | 117.7458 | -24.0549 | -138.3569 | 117.7458

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.9853 | 0.28761 | 0.29755 | 3.9843 | 0.28757 | 0.29622 | 46.0183 | 3.321 | 3.4358 | 46.0072 | 3.3205 | 3.4205 | 26.3841 | -0.27776 | -1.4375 | 3.2238e-10 | 1.5713 | 1.3702 | 13.8572 | -3.3511 | -3.74 | -2.3406e-10 | 2.8536 | 5.1635 | -57.0921 | -19.6759 | -137.0681 | 122.9249 | 160.6268 | 42.789 | 0.64761 | 1.0125 | 1.1662 | 0 | 0.98104 | 1.5618 | -29.3832 | -114.4141 | 111.9069 | 0 | -138.2118 | 117.9274
Line_1 | 0.14329 | 0.14414 | 0.14559 | 0.1412 | 0.14378 | 0.14811 | 1.6545 | 1.6644 | 1.6812 | 1.6305 | 1.6603 | 1.7102 | 0.0093596 | 0.82506 | 0.66889 | 1.3551e-11 | -0.78564 | -0.68509 | 0.012597 | 1.4263 | 2.5556 | -3.9631e-12 | -1.4268 | -2.5817 | -77.4426 | 161.6903 | 42.4128 | 103.2458 | -19.3732 | -137.211 | 0.0094851 | 0.99002 | 1.5714 | 0 | 0.98104 | 1.5618 | -24.0549 | -138.3569 | 117.7458 | 0 | -138.2118 | 117.9274
Line_2 | 0.14329 | 0.14414 | 0.14559 | 0.1412 | 0.14378 | 0.14811 | 1.6545 | 1.6644 | 1.6812 | 1.6305 | 1.6603 | 1.7102 | 0.0093596 | 0.82506 | 0.66889 | 1.3551e-11 | -0.78564 | -0.68509 | 0.012597 | 1.4263 | 2.5556 | -3.9631e-12 | -1.4268 | -2.5817 | -77.4426 | 161.6903 | 42.4128 | 103.2458 | -19.3732 | -137.211 | 0.0094851 | 0.99002 | 1.5714 | 0 | 0.98104 | 1.5618 | -24.0549 | -138.3569 | 117.7458 | 0 | -138.2118 | 117.9274
Line_3 | 0.0013483 | 0.0013483 | 0.0013483 | 0.0013483 | 0.0013483 | 0.0013483 | 0.015568 | 0.015568 | 0.015568 | 0.015568 | 0.015568 | 0.015568 | -6.2731e-06 | 0.014304 | -0.014298 | -6.2731e-06 | 0.014304 | -0.014298 | 0.00014753 | -0.0057407 | -0.01985 | 0.00014753 | -0.0057407 | -0.01985 | -116.4896 | -116.4896 | -116.4896 | -116.4896 | -116.4896 | -116.4896 | 0.0094851 | 0.99002 | 1.5714 | 0.0094851 | 0.99002 | 1.5714 | -24.0549 | -138.3569 | 117.7458 | -24.0549 | -138.3569 | 117.7458

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0859 | 0.28879 | 0.29123 | 1.0857 | 0.28871 | 0.29086 | 12.5394 | 3.3346 | 3.3628 | 12.5364 | 3.3337 | 3.3585 | 10.2514 | -0.64693 | -0.99497 | -8.0632 | 1.1032 | 0.93399 | 7.1739 | -3.6338 | -3.7919 | -6.2529 | 3.5665 | 4.2522 | -41.9555 | -18.3746 | -137.4682 | 138.0654 | 161.7183 | 42.4732 | 0.99784 | 1.1068 | 1.1658 | 0.81392 | 1.1198 | 1.2963 | -6.9711 | -118.4693 | 117.8291 | -4.1418 | -125.47 | 120.0852
Line_1 | 0.14397 | 0.14434 | 0.1447 | 0.14324 | 0.14435 | 0.14543 | 1.6624 | 1.6667 | 1.6709 | 1.654 | 1.6669 | 1.6793 | 0.39339 | 0.57294 | 0.46962 | -0.38484 | -0.55161 | -0.46699 | 1.3101 | 1.7917 | 2.1295 | -1.29 | -1.7832 | -2.1261 | -77.6972 | 162.0528 | 42.3049 | 102.469 | -18.2817 | -137.5268 | 0.8228 | 1.1286 | 1.3051 | 0.81392 | 1.1198 | 1.2963 | -4.4114 | -125.6801 | 119.8687 | -4.1418 | -125.47 | 120.0852
Line_2 | 0.14397 | 0.14434 | 0.1447 | 0.14324 | 0.14435 | 0.14543 | 1.6624 | 1.6667 | 1.6709 | 1.654 | 1.6669 | 1.6793 | 0.39339 | 0.57294 | 0.46962 | -0.38484 | -0.55161 | -0.46699 | 1.3101 | 1.7917 | 2.1295 | -1.29 | -1.7832 | -2.1261 | -77.6972 | 162.0528 | 42.3049 | 102.469 | -18.2817 | -137.5268 | 0.8228 | 1.1286 | 1.3051 | 0.81392 | 1.1198 | 1.2963 | -4.4114 | -125.6801 | 119.8687 | -4.1418 | -125.47 | 120.0852
Line_3 | 0.00042152 | 0.00042152 | 0.00042152 | 0.00042152 | 0.00042152 | 0.00042152 | 0.0048673 | 0.0048673 | 0.0048673 | 0.0048673 | 0.0048673 | 0.0048673 | -0.00089155 | 0.0052123 | -0.0043207 | -0.00089155 | 0.0052123 | -0.0043207 | 0.0039043 | -0.0017345 | -0.0046567 | 0.0039043 | -0.0017345 | -0.0046567 | -107.2745 | -107.2745 | -107.2745 | -107.2745 | -107.2745 | -107.2745 | 0.8228 | 1.1286 | 1.3051 | 0.8228 | 1.1286 | 1.3051 | -4.4114 | -125.6801 | 119.8687 | -4.4114 | -125.6801 | 119.8687

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0859 | 0.28879 | 0.29123 | 1.0857 | 0.28871 | 0.29086 | 12.5394 | 3.3346 | 3.3628 | 12.5364 | 3.3337 | 3.3585 | 10.2514 | -0.64693 | -0.99497 | -8.0632 | 1.1032 | 0.93399 | 7.1739 | -3.6338 | -3.7919 | -6.2529 | 3.5665 | 4.2522 | -41.9555 | -18.3746 | -137.4682 | 138.0654 | 161.7183 | 42.4732 | 0.99784 | 1.1068 | 1.1658 | 0.81392 | 1.1198 | 1.2963 | -6.9711 | -118.4693 | 117.8291 | -4.1418 | -125.47 | 120.0852
Line_1 | 0.14397 | 0.14434 | 0.1447 | 0.14324 | 0.14435 | 0.14543 | 1.6624 | 1.6667 | 1.6709 | 1.654 | 1.6669 | 1.6793 | 0.39339 | 0.57294 | 0.46962 | -0.38484 | -0.55161 | -0.46699 | 1.3101 | 1.7917 | 2.1295 | -1.29 | -1.7832 | -2.1261 | -77.6972 | 162.0528 | 42.3049 | 102.469 | -18.2817 | -137.5268 | 0.8228 | 1.1286 | 1.3051 | 0.81392 | 1.1198 | 1.2963 | -4.4114 | -125.6801 | 119.8687 | -4.1418 | -125.47 | 120.0852
Line_2 | 0.14397 | 0.14434 | 0.1447 | 0.14324 | 0.14435 | 0.14543 | 1.6624 | 1.6667 | 1.6709 | 1.654 | 1.6669 | 1.6793 | 0.39339 | 0.57294 | 0.46962 | -0.38484 | -0.55161 | -0.46699 | 1.3101 | 1.7917 | 2.1295 | -1.29 | -1.7832 | -2.1261 | -77.6972 | 162.0528 | 42.3049 | 102.469 | -18.2817 | -137.5268 | 0.8228 | 1.1286 | 1.3051 | 0.81392 | 1.1198 | 1.2963 | -4.4114 | -125.6801 | 119.8687 | -4.1418 | -125.47 | 120.0852
Line_3 | 0.00042152 | 0.00042152 | 0.00042152 | 0.00042152 | 0.00042152 | 0.00042152 | 0.0048673 | 0.0048673 | 0.0048673 | 0.0048673 | 0.0048673 | 0.0048673 | -0.00089155 | 0.0052123 | -0.0043207 | -0.00089155 | 0.0052123 | -0.0043207 | 0.0039043 | -0.0017345 | -0.0046567 | 0.0039043 | -0.0017345 | -0.0046567 | -107.2745 | -107.2745 | -107.2745 | -107.2745 | -107.2745 | -107.2745 | 0.8228 | 1.1286 | 1.3051 | 0.8228 | 1.1286 | 1.3051 | -4.4114 | -125.6801 | 119.8687 | -4.4114 | -125.6801 | 119.8687

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7516 | 0.010481 | 0.010481 | 2.751 | 0.0089233 | 0.0089233 | 31.7728 | 0.12102 | 0.12102 | 31.7653 | 0.10304 | 0.10304 | 22.9951 | 0.107 | -0.086527 | -7.0507e-11 | -0.081973 | 0.081597 | 6.5824 | -0.010528 | -0.09107 | -1.7194e-11 | 0.057146 | 0.12853 | -41.8394 | -112.5959 | -112.5959 | 138.1902 | 66.4243 | 66.4243 | 0.7528 | 0.88841 | 1.038 | 0 | 0.96981 | 1.4775 | -25.8655 | -118.215 | 113.8693 | 0 | -148.4574 | 124.0142
Line_1 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0044617 | 0.0044617 | 0.0044617 | 0.017177 | 0.017177 | 0.017177 | 0.051519 | 0.051519 | 0.051519 | 3.1396e-05 | -0.013643 | 0.013612 | 9.2951e-15 | 0.040987 | -0.040798 | 6.5055e-06 | 0.009519 | 0.021446 | 1.1734e-13 | -0.028573 | -0.064263 | 66.3662 | 66.3662 | 66.3662 | -113.5757 | -113.5757 | -113.5757 | 0.0018667 | 0.96853 | 1.4788 | 0 | 0.96981 | 1.4775 | 78.0725 | -148.5375 | 123.9622 | 0 | -148.4574 | 124.0142
Line_2 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0044617 | 0.0044617 | 0.0044617 | 0.017177 | 0.017177 | 0.017177 | 0.051519 | 0.051519 | 0.051519 | 3.1396e-05 | -0.013643 | 0.013612 | 9.2951e-15 | 0.040987 | -0.040798 | 6.5055e-06 | 0.009519 | 0.021446 | 1.1734e-13 | -0.028573 | -0.064263 | 66.3662 | 66.3662 | 66.3662 | -113.5757 | -113.5757 | -113.5757 | 0.0018667 | 0.96853 | 1.4788 | 0 | 0.96981 | 1.4775 | 78.0725 | -148.5375 | 123.9622 | 0 | -148.4574 | 124.0142
Line_3 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0014875 | 0.017177 | 0.017177 | 0.017177 | 0.017177 | 0.017177 | 0.017177 | -3.1396e-05 | 0.013643 | -0.013612 | -3.1396e-05 | 0.013643 | -0.013612 | -6.5055e-06 | -0.009519 | -0.021446 | -6.5055e-06 | -0.009519 | -0.021446 | -113.6338 | -113.6338 | -113.6338 | -113.6338 | -113.6338 | -113.6338 | 0.0018667 | 0.96853 | 1.4788 | 0.0018667 | 0.96853 | 1.4788 | 78.0725 | -148.5375 | 123.9622 | 78.0725 | -148.5375 | 123.9622

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7516 | 0.010481 | 0.010481 | 2.751 | 0.0089233 | 0.0089233 | 31.7728 | 0.12102 | 0.12102 | 31.7653 | 0.10304 | 0.10304 | 22.9951 | 0.107 | -0.086527 | -7.0507e-11 | -0.081973 | 0.081597 | 6.5824 | -0.010528 | -0.09107 | -1.7194e-11 | 0.057146 | 0.12853 | -41.8394 | -112.5959 | -112.5959 | 138.1902 | 66.4243 | 66.4243 | 0.7528 | 0.88841 | 1.038 | 0 | 0.96981 | 1.4775 | -25.8655 | -118.215 | 113.8693 | 0 | -148.4574 | 124.0142
Line_1 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0044617 | 0.0044617 | 0.0044617 | 0.017177 | 0.017177 | 0.017177 | 0.051519 | 0.051519 | 0.051519 | 3.1396e-05 | -0.013643 | 0.013612 | 9.2951e-15 | 0.040987 | -0.040798 | 6.5055e-06 | 0.009519 | 0.021446 | 1.1734e-13 | -0.028573 | -0.064263 | 66.3662 | 66.3662 | 66.3662 | -113.5757 | -113.5757 | -113.5757 | 0.0018667 | 0.96853 | 1.4788 | 0 | 0.96981 | 1.4775 | 78.0725 | -148.5375 | 123.9622 | 0 | -148.4574 | 124.0142
Line_2 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0044617 | 0.0044617 | 0.0044617 | 0.017177 | 0.017177 | 0.017177 | 0.051519 | 0.051519 | 0.051519 | 3.1396e-05 | -0.013643 | 0.013612 | 9.2951e-15 | 0.040987 | -0.040798 | 6.5055e-06 | 0.009519 | 0.021446 | 1.1734e-13 | -0.028573 | -0.064263 | 66.3662 | 66.3662 | 66.3662 | -113.5757 | -113.5757 | -113.5757 | 0.0018667 | 0.96853 | 1.4788 | 0 | 0.96981 | 1.4775 | 78.0725 | -148.5375 | 123.9622 | 0 | -148.4574 | 124.0142
Line_3 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0014875 | 0.017177 | 0.017177 | 0.017177 | 0.017177 | 0.017177 | 0.017177 | -3.1396e-05 | 0.013643 | -0.013612 | -3.1396e-05 | 0.013643 | -0.013612 | -6.5055e-06 | -0.009519 | -0.021446 | -6.5055e-06 | -0.009519 | -0.021446 | -113.6338 | -113.6338 | -113.6338 | -113.6338 | -113.6338 | -113.6338 | 0.0018667 | 0.96853 | 1.4788 | 0.0018667 | 0.96853 | 1.4788 | 78.0725 | -148.5375 | 123.9622 | 78.0725 | -148.5375 | 123.9622

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.026 | 0.0039081 | 0.0039081 | 1.0258 | 0.0033273 | 0.0033273 | 11.8475 | 0.045127 | 0.045127 | 11.8447 | 0.038421 | 0.038421 | 8.4353 | 0.043126 | -0.027881 | -5.2395 | -0.035473 | 0.024497 | 6.1911 | -0.0034575 | -0.036129 | -5.272 | 0.0092316 | 0.038077 | -43.9515 | -114.708 | -114.708 | 136.0781 | 64.3122 | 64.3122 | 0.88318 | 0.95871 | 1.0113 | 0.62752 | 0.95403 | 1.1784 | -7.6745 | -119.2917 | 117.6341 | 1.2548 | -130.2749 | 121.5575
Line_1 | 0.00055467 | 0.00055467 | 0.00055467 | 0.0016637 | 0.0016637 | 0.0016637 | 0.0064048 | 0.0064048 | 0.0064048 | 0.01921 | 0.01921 | 0.01921 | 0.0018291 | -0.0059106 | 0.0040816 | -0.0054621 | 0.017737 | -0.012248 | -0.0035802 | 0.0015338 | 0.0063526 | 0.010747 | -0.0046158 | -0.019039 | 64.2541 | 64.2541 | 64.2541 | -115.6878 | -115.6878 | -115.6878 | 0.62771 | 0.95341 | 1.1789 | 0.62752 | 0.95403 | 1.1784 | 1.3161 | -130.2934 | 121.5333 | 1.2548 | -130.2749 | 121.5575
Line_2 | 0.00055467 | 0.00055467 | 0.00055467 | 0.0016637 | 0.0016637 | 0.0016637 | 0.0064048 | 0.0064048 | 0.0064048 | 0.01921 | 0.01921 | 0.01921 | 0.0018291 | -0.0059106 | 0.0040816 | -0.0054621 | 0.017737 | -0.012248 | -0.0035802 | 0.0015338 | 0.0063526 | 0.010747 | -0.0046158 | -0.019039 | 64.2541 | 64.2541 | 64.2541 | -115.6878 | -115.6878 | -115.6878 | 0.62771 | 0.95341 | 1.1789 | 0.62752 | 0.95403 | 1.1784 | 1.3161 | -130.2934 | 121.5333 | 1.2548 | -130.2749 | 121.5575
Line_3 | 0.00055467 | 0.00055467 | 0.00055467 | 0.00055467 | 0.00055467 | 0.00055467 | 0.0064048 | 0.0064048 | 0.0064048 | 0.0064048 | 0.0064048 | 0.0064048 | -0.0018291 | 0.0059106 | -0.0040816 | -0.0018291 | 0.0059106 | -0.0040816 | 0.0035802 | -0.0015338 | -0.0063526 | 0.0035802 | -0.0015338 | -0.0063526 | -115.7459 | -115.7459 | -115.7459 | -115.7459 | -115.7459 | -115.7459 | 0.62771 | 0.95341 | 1.1789 | 0.62771 | 0.95341 | 1.1789 | 1.3161 | -130.2934 | 121.5333 | 1.3161 | -130.2934 | 121.5333

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.026 | 0.0039081 | 0.0039081 | 1.0258 | 0.0033273 | 0.0033273 | 11.8475 | 0.045127 | 0.045127 | 11.8447 | 0.038421 | 0.038421 | 8.4353 | 0.043126 | -0.027881 | -5.2395 | -0.035473 | 0.024497 | 6.1911 | -0.0034575 | -0.036129 | -5.272 | 0.0092316 | 0.038077 | -43.9515 | -114.708 | -114.708 | 136.0781 | 64.3122 | 64.3122 | 0.88318 | 0.95871 | 1.0113 | 0.62752 | 0.95403 | 1.1784 | -7.6745 | -119.2917 | 117.6341 | 1.2548 | -130.2749 | 121.5575
Line_1 | 0.00055467 | 0.00055467 | 0.00055467 | 0.0016637 | 0.0016637 | 0.0016637 | 0.0064048 | 0.0064048 | 0.0064048 | 0.01921 | 0.01921 | 0.01921 | 0.0018291 | -0.0059106 | 0.0040816 | -0.0054621 | 0.017737 | -0.012248 | -0.0035802 | 0.0015338 | 0.0063526 | 0.010747 | -0.0046158 | -0.019039 | 64.2541 | 64.2541 | 64.2541 | -115.6878 | -115.6878 | -115.6878 | 0.62771 | 0.95341 | 1.1789 | 0.62752 | 0.95403 | 1.1784 | 1.3161 | -130.2934 | 121.5333 | 1.2548 | -130.2749 | 121.5575
Line_2 | 0.00055467 | 0.00055467 | 0.00055467 | 0.0016637 | 0.0016637 | 0.0016637 | 0.0064048 | 0.0064048 | 0.0064048 | 0.01921 | 0.01921 | 0.01921 | 0.0018291 | -0.0059106 | 0.0040816 | -0.0054621 | 0.017737 | -0.012248 | -0.0035802 | 0.0015338 | 0.0063526 | 0.010747 | -0.0046158 | -0.019039 | 64.2541 | 64.2541 | 64.2541 | -115.6878 | -115.6878 | -115.6878 | 0.62771 | 0.95341 | 1.1789 | 0.62752 | 0.95403 | 1.1784 | 1.3161 | -130.2934 | 121.5333 | 1.2548 | -130.2749 | 121.5575
Line_3 | 0.00055467 | 0.00055467 | 0.00055467 | 0.00055467 | 0.00055467 | 0.00055467 | 0.0064048 | 0.0064048 | 0.0064048 | 0.0064048 | 0.0064048 | 0.0064048 | -0.0018291 | 0.0059106 | -0.0040816 | -0.0018291 | 0.0059106 | -0.0040816 | 0.0035802 | -0.0015338 | -0.0063526 | 0.0035802 | -0.0015338 | -0.0063526 | -115.7459 | -115.7459 | -115.7459 | -115.7459 | -115.7459 | -115.7459 | 0.62771 | 0.95341 | 1.1789 | 0.62771 | 0.95341 | 1.1789 | 1.3161 | -130.2934 | 121.5333 | 1.3161 | -130.2934 | 121.5333

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29633 | 4.9394 | 2.9973 | 0.29507 | 4.9394 | 2.9964 | 3.4217 | 57.0356 | 34.6098 | 3.4071 | 57.0353 | 34.5997 | -1.0434 | 30.8357 | -0.033458 | 1.8429 | 1.4908e-10 | 1.1944e-10 | -3.456 | 6.3093 | 16.4008 | 4.4077 | -1.9269e-10 | -8.5518e-11 | 101.625 | 176.2201 | 39.2363 | -78.3129 | -3.7648 | -140.7822 | 1.055 | 0.55184 | 0.47388 | 1.4022 | 0 | 0 | -5.1754 | -172.2162 | 129.3532 | -11.0028 | 0 | 0
Line_1 | 0.1454 | 0.14421 | 0.14341 | 0.14753 | 0.14397 | 0.14157 | 1.6789 | 1.6652 | 1.656 | 1.7036 | 1.6625 | 1.6347 | 0.93368 | 0.010299 | 0.010018 | -0.92144 | 5.4693e-12 | 5.4868e-12 | 2.1788 | 0.013367 | 0.011137 | -2.2039 | -4.5294e-12 | -4.2504e-12 | -77.9604 | 162.6771 | 41.9438 | 101.6871 | -16.4074 | -138.62 | 1.4118 | 0.010134 | 0.0090459 | 1.4022 | 0 | 0 | -11.1573 | -144.9377 | 89.9714 | -11.0028 | 0 | 0
Line_2 | 0.1454 | 0.14421 | 0.14341 | 0.14753 | 0.14397 | 0.14157 | 1.6789 | 1.6652 | 1.656 | 1.7036 | 1.6625 | 1.6347 | 0.93368 | 0.010299 | 0.010018 | -0.92144 | 5.4693e-12 | 5.4868e-12 | 2.1788 | 0.013367 | 0.011137 | -2.2039 | -4.5294e-12 | -4.2504e-12 | -77.9604 | 162.6771 | 41.9438 | 101.6871 | -16.4074 | -138.62 | 1.4118 | 0.010134 | 0.0090459 | 1.4022 | 0 | 0 | -11.1573 | -144.9377 | 89.9714 | -11.0028 | 0 | 0
Line_3 | 0.0011575 | 0.0011575 | 0.0011575 | 0.0011575 | 0.0011575 | 0.0011575 | 0.013366 | 0.013366 | 0.013366 | 0.013366 | 0.013366 | 0.013366 | -2.097e-05 | -9.7689e-05 | 0.00011866 | -2.097e-05 | -9.7689e-05 | 0.00011866 | -0.01887 | 9.3824e-05 | 2.3205e-05 | -0.01887 | 9.3824e-05 | 2.3205e-05 | 78.9064 | 78.9064 | 78.9064 | 78.9064 | 78.9064 | 78.9064 | 1.4118 | 0.010134 | 0.0090459 | 1.4118 | 0.010134 | 0.0090459 | -11.1573 | -144.9377 | 89.9714 | -11.1573 | -144.9377 | 89.9714

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29633 | 4.9394 | 2.9973 | 0.29507 | 4.9394 | 2.9964 | 3.4217 | 57.0356 | 34.6098 | 3.4071 | 57.0353 | 34.5997 | -1.0434 | 30.8357 | -0.033458 | 1.8429 | 1.4908e-10 | 1.1944e-10 | -3.456 | 6.3093 | 16.4008 | 4.4077 | -1.9269e-10 | -8.5518e-11 | 101.625 | 176.2201 | 39.2363 | -78.3129 | -3.7648 | -140.7822 | 1.055 | 0.55184 | 0.47388 | 1.4022 | 0 | 0 | -5.1754 | -172.2162 | 129.3532 | -11.0028 | 0 | 0
Line_1 | 0.1454 | 0.14421 | 0.14341 | 0.14753 | 0.14397 | 0.14157 | 1.6789 | 1.6652 | 1.656 | 1.7036 | 1.6625 | 1.6347 | 0.93368 | 0.010299 | 0.010018 | -0.92144 | 5.4693e-12 | 5.4868e-12 | 2.1788 | 0.013367 | 0.011137 | -2.2039 | -4.5294e-12 | -4.2504e-12 | -77.9604 | 162.6771 | 41.9438 | 101.6871 | -16.4074 | -138.62 | 1.4118 | 0.010134 | 0.0090459 | 1.4022 | 0 | 0 | -11.1573 | -144.9377 | 89.9714 | -11.0028 | 0 | 0
Line_2 | 0.1454 | 0.14421 | 0.14341 | 0.14753 | 0.14397 | 0.14157 | 1.6789 | 1.6652 | 1.656 | 1.7036 | 1.6625 | 1.6347 | 0.93368 | 0.010299 | 0.010018 | -0.92144 | 5.4693e-12 | 5.4868e-12 | 2.1788 | 0.013367 | 0.011137 | -2.2039 | -4.5294e-12 | -4.2504e-12 | -77.9604 | 162.6771 | 41.9438 | 101.6871 | -16.4074 | -138.62 | 1.4118 | 0.010134 | 0.0090459 | 1.4022 | 0 | 0 | -11.1573 | -144.9377 | 89.9714 | -11.0028 | 0 | 0
Line_3 | 0.0011575 | 0.0011575 | 0.0011575 | 0.0011575 | 0.0011575 | 0.0011575 | 0.013366 | 0.013366 | 0.013366 | 0.013366 | 0.013366 | 0.013366 | -2.097e-05 | -9.7689e-05 | 0.00011866 | -2.097e-05 | -9.7689e-05 | 0.00011866 | -0.01887 | 9.3824e-05 | 2.3205e-05 | -0.01887 | 9.3824e-05 | 2.3205e-05 | 78.9064 | 78.9064 | 78.9064 | 78.9064 | 78.9064 | 78.9064 | 1.4118 | 0.010134 | 0.0090459 | 1.4118 | 0.010134 | 0.0090459 | -11.1573 | -144.9377 | 89.9714 | -11.1573 | -144.9377 | 89.9714

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29128 | 1.2118 | 1.0037 | 0.29085 | 1.2119 | 1.0032 | 3.3634 | 13.9923 | 11.5895 | 3.3585 | 13.9941 | 11.5844 | -0.86721 | 11.6997 | 7.7682 | 1.1767 | -9.7709 | -6.9905 | -3.6653 | 7.4768 | 7.5472 | 4.0129 | -7.813 | -5.5834 | 101.9996 | -163.2668 | 71.2364 | -77.9762 | 16.7531 | -108.7702 | 1.1198 | 0.99231 | 0.93454 | 1.2452 | 0.89398 | 0.77229 | -1.3117 | -130.6858 | 115.4096 | -4.3194 | -124.6005 | 109.8443
Line_1 | 0.1447 | 0.1443 | 0.14401 | 0.14543 | 0.14423 | 0.14336 | 1.6709 | 1.6662 | 1.6629 | 1.6792 | 1.6654 | 1.6554 | 0.60129 | 0.44563 | 0.49753 | -0.58837 | -0.44259 | -0.48097 | 2.0074 | 1.4373 | 1.2002 | -2.0065 | -1.4216 | -1.1845 | -77.8457 | 162.3778 | 42.1284 | 102.0238 | -17.3068 | -138.0566 | 1.2542 | 0.90313 | 0.78132 | 1.2452 | 0.89398 | 0.77229 | -4.5203 | -124.8478 | 109.6131 | -4.3194 | -124.6005 | 109.8443
Line_2 | 0.1447 | 0.1443 | 0.14401 | 0.14543 | 0.14423 | 0.14336 | 1.6709 | 1.6662 | 1.6629 | 1.6792 | 1.6654 | 1.6554 | 0.60129 | 0.44563 | 0.49753 | -0.58837 | -0.44259 | -0.48097 | 2.0074 | 1.4373 | 1.2002 | -2.0065 | -1.4216 | -1.1845 | -77.8457 | 162.3778 | 42.1284 | 102.0238 | -17.3068 | -138.0566 | 1.2542 | 0.90313 | 0.78132 | 1.2452 | 0.89398 | 0.77229 | -4.5203 | -124.8478 | 109.6131 | -4.3194 | -124.6005 | 109.8443
Line_3 | 0.00039871 | 0.00039871 | 0.00039871 | 0.00039871 | 0.00039871 | 0.00039871 | 0.0046039 | 0.0046039 | 0.0046039 | 0.0046039 | 0.0046039 | 0.0046039 | 0.00079463 | -0.0038437 | 0.0030491 | 0.00079463 | -0.0038437 | 0.0030491 | -0.0057191 | 0.0015856 | 0.0019085 | -0.0057191 | 0.0015856 | 0.0019085 | 77.5695 | 77.5695 | 77.5695 | 77.5695 | 77.5695 | 77.5695 | 1.2542 | 0.90313 | 0.78132 | 1.2542 | 0.90313 | 0.78132 | -4.5203 | -124.8478 | 109.6131 | -4.5203 | -124.8478 | 109.6131

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29128 | 1.2118 | 1.0037 | 0.29085 | 1.2119 | 1.0032 | 3.3634 | 13.9923 | 11.5895 | 3.3585 | 13.9941 | 11.5844 | -0.86721 | 11.6997 | 7.7682 | 1.1767 | -9.7709 | -6.9905 | -3.6653 | 7.4768 | 7.5472 | 4.0129 | -7.813 | -5.5834 | 101.9996 | -163.2668 | 71.2364 | -77.9762 | 16.7531 | -108.7702 | 1.1198 | 0.99231 | 0.93454 | 1.2452 | 0.89398 | 0.77229 | -1.3117 | -130.6858 | 115.4096 | -4.3194 | -124.6005 | 109.8443
Line_1 | 0.1447 | 0.1443 | 0.14401 | 0.14543 | 0.14423 | 0.14336 | 1.6709 | 1.6662 | 1.6629 | 1.6792 | 1.6654 | 1.6554 | 0.60129 | 0.44563 | 0.49753 | -0.58837 | -0.44259 | -0.48097 | 2.0074 | 1.4373 | 1.2002 | -2.0065 | -1.4216 | -1.1845 | -77.8457 | 162.3778 | 42.1284 | 102.0238 | -17.3068 | -138.0566 | 1.2542 | 0.90313 | 0.78132 | 1.2452 | 0.89398 | 0.77229 | -4.5203 | -124.8478 | 109.6131 | -4.3194 | -124.6005 | 109.8443
Line_2 | 0.1447 | 0.1443 | 0.14401 | 0.14543 | 0.14423 | 0.14336 | 1.6709 | 1.6662 | 1.6629 | 1.6792 | 1.6654 | 1.6554 | 0.60129 | 0.44563 | 0.49753 | -0.58837 | -0.44259 | -0.48097 | 2.0074 | 1.4373 | 1.2002 | -2.0065 | -1.4216 | -1.1845 | -77.8457 | 162.3778 | 42.1284 | 102.0238 | -17.3068 | -138.0566 | 1.2542 | 0.90313 | 0.78132 | 1.2452 | 0.89398 | 0.77229 | -4.5203 | -124.8478 | 109.6131 | -4.3194 | -124.6005 | 109.8443
Line_3 | 0.00039871 | 0.00039871 | 0.00039871 | 0.00039871 | 0.00039871 | 0.00039871 | 0.0046039 | 0.0046039 | 0.0046039 | 0.0046039 | 0.0046039 | 0.0046039 | 0.00079463 | -0.0038437 | 0.0030491 | 0.00079463 | -0.0038437 | 0.0030491 | -0.0057191 | 0.0015856 | 0.0019085 | -0.0057191 | 0.0015856 | 0.0019085 | 77.5695 | 77.5695 | 77.5695 | 77.5695 | 77.5695 | 77.5695 | 1.2542 | 0.90313 | 0.78132 | 1.2542 | 0.90313 | 0.78132 | -4.5203 | -124.8478 | 109.6131 | -4.5203 | -124.8478 | 109.6131

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076272 | 3.8703 | 2.5472 | 0.0064937 | 3.8705 | 2.5465 | 0.088071 | 44.6903 | 29.4122 | 0.074982 | 44.6928 | 29.404 | 0.0045512 | 29.0005 | 0.61309 | -0.00019952 | -1.8811e-10 | -4.3753e-11 | -0.084641 | 1.2845 | 12.5322 | 0.098327 | -1.7644e-10 | -1.6425e-10 | 82.5348 | -170.6354 | 37.1235 | -98.445 | 9.3812 | -142.8964 | 0.96244 | 0.64956 | 0.4266 | 1.3113 | 0 | 0 | -4.3874 | -168.0992 | 124.3227 | -8.3287 | 0 | 0
Line_1 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0032468 | 0.0032468 | 0.0032468 | 0.0125 | 0.0125 | 0.0125 | 0.037491 | 0.037491 | 0.037491 | -3.3255e-05 | 1.6627e-05 | 1.6627e-05 | 9.9761e-05 | -1.8921e-13 | 1.8648e-13 | 0.016395 | 3.4451e-06 | 3.4451e-06 | -0.049164 | 1.0491e-13 | 1.1043e-13 | -98.5031 | -98.5031 | -98.5031 | 81.555 | 81.555 | 81.555 | 1.3116 | 0.0013584 | 0.0013584 | 1.3113 | 0 | 0 | -8.3869 | -86.7967 | -86.7967 | -8.3287 | 0 | 0
Line_2 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0032468 | 0.0032468 | 0.0032468 | 0.0125 | 0.0125 | 0.0125 | 0.037491 | 0.037491 | 0.037491 | -3.3255e-05 | 1.6627e-05 | 1.6627e-05 | 9.9761e-05 | -1.8921e-13 | 1.8648e-13 | 0.016395 | 3.4451e-06 | 3.4451e-06 | -0.049164 | 1.0491e-13 | 1.1043e-13 | -98.5031 | -98.5031 | -98.5031 | 81.555 | 81.555 | 81.555 | 1.3116 | 0.0013584 | 0.0013584 | 1.3113 | 0 | 0 | -8.3869 | -86.7967 | -86.7967 | -8.3287 | 0 | 0
Line_3 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0125 | 0.0125 | 0.0125 | 0.0125 | 0.0125 | 0.0125 | 3.3253e-05 | -1.6627e-05 | -1.6627e-05 | 3.3253e-05 | -1.6627e-05 | -1.6627e-05 | -0.016395 | -3.4451e-06 | -3.4451e-06 | -0.016395 | -3.4451e-06 | -3.4451e-06 | 81.4969 | 81.4969 | 81.4969 | 81.4969 | 81.4969 | 81.4969 | 1.3116 | 0.0013584 | 0.0013584 | 1.3116 | 0.0013584 | 0.0013584 | -8.3869 | -86.7967 | -86.7967 | -8.3869 | -86.7967 | -86.7967

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076272 | 3.8703 | 2.5472 | 0.0064937 | 3.8705 | 2.5465 | 0.088071 | 44.6903 | 29.4122 | 0.074982 | 44.6928 | 29.404 | 0.0045512 | 29.0005 | 0.61309 | -0.00019952 | -1.8811e-10 | -4.3753e-11 | -0.084641 | 1.2845 | 12.5322 | 0.098327 | -1.7644e-10 | -1.6425e-10 | 82.5348 | -170.6354 | 37.1235 | -98.445 | 9.3812 | -142.8964 | 0.96244 | 0.64956 | 0.4266 | 1.3113 | 0 | 0 | -4.3874 | -168.0992 | 124.3227 | -8.3287 | 0 | 0
Line_1 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0032468 | 0.0032468 | 0.0032468 | 0.0125 | 0.0125 | 0.0125 | 0.037491 | 0.037491 | 0.037491 | -3.3255e-05 | 1.6627e-05 | 1.6627e-05 | 9.9761e-05 | -1.8921e-13 | 1.8648e-13 | 0.016395 | 3.4451e-06 | 3.4451e-06 | -0.049164 | 1.0491e-13 | 1.1043e-13 | -98.5031 | -98.5031 | -98.5031 | 81.555 | 81.555 | 81.555 | 1.3116 | 0.0013584 | 0.0013584 | 1.3113 | 0 | 0 | -8.3869 | -86.7967 | -86.7967 | -8.3287 | 0 | 0
Line_2 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0032468 | 0.0032468 | 0.0032468 | 0.0125 | 0.0125 | 0.0125 | 0.037491 | 0.037491 | 0.037491 | -3.3255e-05 | 1.6627e-05 | 1.6627e-05 | 9.9761e-05 | -1.8921e-13 | 1.8648e-13 | 0.016395 | 3.4451e-06 | 3.4451e-06 | -0.049164 | 1.0491e-13 | 1.1043e-13 | -98.5031 | -98.5031 | -98.5031 | 81.555 | 81.555 | 81.555 | 1.3116 | 0.0013584 | 0.0013584 | 1.3113 | 0 | 0 | -8.3869 | -86.7967 | -86.7967 | -8.3287 | 0 | 0
Line_3 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0125 | 0.0125 | 0.0125 | 0.0125 | 0.0125 | 0.0125 | 3.3253e-05 | -1.6627e-05 | -1.6627e-05 | 3.3253e-05 | -1.6627e-05 | -1.6627e-05 | -0.016395 | -3.4451e-06 | -3.4451e-06 | -0.016395 | -3.4451e-06 | -3.4451e-06 | 81.4969 | 81.4969 | 81.4969 | 81.4969 | 81.4969 | 81.4969 | 1.3116 | 0.0013584 | 0.0013584 | 1.3116 | 0.0013584 | 0.0013584 | -8.3869 | -86.7967 | -86.7967 | -8.3869 | -86.7967 | -86.7967

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0034731 | 1.1985 | 0.97527 | 0.002957 | 1.1988 | 0.97477 | 0.040104 | 13.8392 | 11.2615 | 0.034144 | 13.842 | 11.2556 | 0.010735 | 10.2023 | 5.7954 | -0.0086689 | -7.1805 | -4.7384 | -0.037659 | 6.4702 | 7.1247 | 0.037363 | -7.2097 | -4.7348 | 72.3438 | -164.1633 | 64.1716 | -108.636 | 15.8586 | -115.8356 | 0.97642 | 0.87296 | 0.81553 | 1.1233 | 0.73511 | 0.59512 | -1.7456 | -131.781 | 115.0461 | -5.5735 | -119.0251 | 109.1425
Line_1 | 0.00049293 | 0.00049293 | 0.00049293 | 0.0014785 | 0.0014785 | 0.0014785 | 0.0056919 | 0.0056919 | 0.0056919 | 0.017072 | 0.017072 | 0.017072 | -0.001448 | 0.0041198 | -0.0026718 | 0.0043344 | -0.012344 | 0.0080303 | 0.0062277 | -0.00074965 | -0.0020771 | -0.018682 | 0.0022631 | 0.0062241 | -108.6941 | -108.6941 | -108.6941 | 71.364 | 71.364 | 71.364 | 1.1233 | 0.73568 | 0.59457 | 1.1233 | 0.73511 | 0.59512 | -5.605 | -119.007 | 109.1688 | -5.5735 | -119.0251 | 109.1425
Line_2 | 0.00049293 | 0.00049293 | 0.00049293 | 0.0014785 | 0.0014785 | 0.0014785 | 0.0056919 | 0.0056919 | 0.0056919 | 0.017072 | 0.017072 | 0.017072 | -0.001448 | 0.0041198 | -0.0026718 | 0.0043344 | -0.012344 | 0.0080303 | 0.0062277 | -0.00074965 | -0.0020771 | -0.018682 | 0.0022631 | 0.0062241 | -108.6941 | -108.6941 | -108.6941 | 71.364 | 71.364 | 71.364 | 1.1233 | 0.73568 | 0.59457 | 1.1233 | 0.73511 | 0.59512 | -5.605 | -119.007 | 109.1688 | -5.5735 | -119.0251 | 109.1425
Line_3 | 0.00049293 | 0.00049293 | 0.00049293 | 0.00049293 | 0.00049293 | 0.00049293 | 0.0056919 | 0.0056919 | 0.0056919 | 0.0056919 | 0.0056919 | 0.0056919 | 0.001448 | -0.0041198 | 0.0026718 | 0.001448 | -0.0041198 | 0.0026718 | -0.0062277 | 0.00074965 | 0.0020771 | -0.0062277 | 0.00074965 | 0.0020771 | 71.3059 | 71.3059 | 71.3059 | 71.3059 | 71.3059 | 71.3059 | 1.1233 | 0.73568 | 0.59457 | 1.1233 | 0.73568 | 0.59457 | -5.605 | -119.007 | 109.1688 | -5.605 | -119.007 | 109.1688

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0034731 | 1.1985 | 0.97527 | 0.002957 | 1.1988 | 0.97477 | 0.040104 | 13.8392 | 11.2615 | 0.034144 | 13.842 | 11.2556 | 0.010735 | 10.2023 | 5.7954 | -0.0086689 | -7.1805 | -4.7384 | -0.037659 | 6.4702 | 7.1247 | 0.037363 | -7.2097 | -4.7348 | 72.3438 | -164.1633 | 64.1716 | -108.636 | 15.8586 | -115.8356 | 0.97642 | 0.87296 | 0.81553 | 1.1233 | 0.73511 | 0.59512 | -1.7456 | -131.781 | 115.0461 | -5.5735 | -119.0251 | 109.1425
Line_1 | 0.00049293 | 0.00049293 | 0.00049293 | 0.0014785 | 0.0014785 | 0.0014785 | 0.0056919 | 0.0056919 | 0.0056919 | 0.017072 | 0.017072 | 0.017072 | -0.001448 | 0.0041198 | -0.0026718 | 0.0043344 | -0.012344 | 0.0080303 | 0.0062277 | -0.00074965 | -0.0020771 | -0.018682 | 0.0022631 | 0.0062241 | -108.6941 | -108.6941 | -108.6941 | 71.364 | 71.364 | 71.364 | 1.1233 | 0.73568 | 0.59457 | 1.1233 | 0.73511 | 0.59512 | -5.605 | -119.007 | 109.1688 | -5.5735 | -119.0251 | 109.1425
Line_2 | 0.00049293 | 0.00049293 | 0.00049293 | 0.0014785 | 0.0014785 | 0.0014785 | 0.0056919 | 0.0056919 | 0.0056919 | 0.017072 | 0.017072 | 0.017072 | -0.001448 | 0.0041198 | -0.0026718 | 0.0043344 | -0.012344 | 0.0080303 | 0.0062277 | -0.00074965 | -0.0020771 | -0.018682 | 0.0022631 | 0.0062241 | -108.6941 | -108.6941 | -108.6941 | 71.364 | 71.364 | 71.364 | 1.1233 | 0.73568 | 0.59457 | 1.1233 | 0.73511 | 0.59512 | -5.605 | -119.007 | 109.1688 | -5.5735 | -119.0251 | 109.1425
Line_3 | 0.00049293 | 0.00049293 | 0.00049293 | 0.00049293 | 0.00049293 | 0.00049293 | 0.0056919 | 0.0056919 | 0.0056919 | 0.0056919 | 0.0056919 | 0.0056919 | 0.001448 | -0.0041198 | 0.0026718 | 0.001448 | -0.0041198 | 0.0026718 | -0.0062277 | 0.00074965 | 0.0020771 | -0.0062277 | 0.00074965 | 0.0020771 | 71.3059 | 71.3059 | 71.3059 | 71.3059 | 71.3059 | 71.3059 | 1.1233 | 0.73568 | 0.59457 | 1.1233 | 0.73568 | 0.59457 | -5.605 | -119.007 | 109.1688 | -5.605 | -119.007 | 109.1688