## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0 | 0 | 10 | 10 | -0.015988 | 0.14599 | -0.46766 | 0.61516 | 95.7106 | -84.2894 | 0.046793 | 0.063224 | 3.7526 | -7.6398
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.10549 | -0.072994 | 0.34445 | -0.30758 | -84.2894 | 95.7106 | 0.072049 | 0.063224 | -11.3174 | -7.6398
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.10549 | -0.072994 | 0.34445 | -0.30758 | -84.2894 | 95.7106 | 0.072049 | 0.063224 | -11.3174 | -7.6398
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.072049 | 0.072049 | -11.3174 | -11.3174

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0 | 0 | 10 | 10 | -0.015988 | 0.14599 | -0.46766 | 0.61516 | 95.7106 | -84.2894 | 0.046793 | 0.063224 | 3.7526 | -7.6398
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.10549 | -0.072994 | 0.34445 | -0.30758 | -84.2894 | 95.7106 | 0.072049 | 0.063224 | -11.3174 | -7.6398
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.10549 | -0.072994 | 0.34445 | -0.30758 | -84.2894 | 95.7106 | 0.072049 | 0.063224 | -11.3174 | -7.6398
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.072049 | 0.072049 | -11.3174 | -11.3174

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0 | 0 | 10 | 10 | -2.1473 | 2.2773 | -3.9333 | 4.0808 | 95.7106 | -84.2894 | 0.44812 | 0.46732 | -22.9213 | -23.4537
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1712 | -1.1387 | 2.0773 | -2.0404 | -84.2894 | 95.7106 | 0.47693 | 0.46732 | -23.7038 | -23.4537
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1712 | -1.1387 | 2.0773 | -2.0404 | -84.2894 | 95.7106 | 0.47693 | 0.46732 | -23.7038 | -23.4537
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.47693 | 0.47693 | -23.7038 | -23.7038

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0 | 0 | 10 | 10 | -2.1473 | 2.2773 | -3.9333 | 4.0808 | 95.7106 | -84.2894 | 0.44812 | 0.46732 | -22.9213 | -23.4537
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1712 | -1.1387 | 2.0773 | -2.0404 | -84.2894 | 95.7106 | 0.47693 | 0.46732 | -23.7038 | -23.4537
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1712 | -1.1387 | 2.0773 | -2.0404 | -84.2894 | 95.7106 | 0.47693 | 0.46732 | -23.7038 | -23.4537
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.47693 | 0.47693 | -23.7038 | -23.7038

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.37381 | -1.6931 | 1.4982 | 0.41715 | 1.7364 | -1.4549 | -3.8408 | -0.91755 | -1.2367 | 3.89 | 0.96672 | 1.2859 | 95.7105 | -24.2892 | -144.2895 | -84.2895 | 155.7108 | 35.7105 | 1.1577 | 0.57772 | 0.5828 | 1.1737 | 0.59622 | 0.58249 | 0.15156 | -175.8341 | 176.1723 | -0.41033 | -175.1831 | 174.239
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.21941 | 0.87904 | -0.71659 | -0.20857 | -0.86821 | 0.72743 | 1.9573 | 0.49565 | 0.65522 | -1.945 | -0.48336 | -0.64293 | -84.2895 | 155.7108 | 35.7105 | 95.7105 | -24.2892 | -144.2895 | 1.1817 | 0.60549 | 0.58259 | 1.1737 | 0.59622 | 0.58249 | -0.68556 | -174.8726 | 173.2721 | -0.41033 | -175.1831 | 174.239
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.21941 | 0.87904 | -0.71659 | -0.20857 | -0.86821 | 0.72743 | 1.9573 | 0.49565 | 0.65522 | -1.945 | -0.48336 | -0.64293 | -84.2895 | 155.7108 | 35.7105 | 95.7105 | -24.2892 | -144.2895 | 1.1817 | 0.60549 | 0.58259 | 1.1737 | 0.59622 | 0.58249 | -0.68556 | -174.8726 | 173.2721 | -0.41033 | -175.1831 | 174.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1128e-14 | 0 | -6.128e-15 | -5.7314e-15 | 1.5309e-14 | 6.4662e-16 | 5.7314e-15 | 0 | -4.8348e-15 | -1.1128e-14 | -1.0145e-14 | 5.4814e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1817 | 0.60549 | 0.58259 | 1.1817 | 0.60549 | 0.58259 | -0.68556 | -174.8726 | 173.2721 | -0.68556 | -174.8726 | 173.2721

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.37381 | -1.6931 | 1.4982 | 0.41715 | 1.7364 | -1.4549 | -3.8408 | -0.91755 | -1.2367 | 3.89 | 0.96672 | 1.2859 | 95.7105 | -24.2892 | -144.2895 | -84.2895 | 155.7108 | 35.7105 | 1.1577 | 0.57772 | 0.5828 | 1.1737 | 0.59622 | 0.58249 | 0.15156 | -175.8341 | 176.1723 | -0.41033 | -175.1831 | 174.239
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.21941 | 0.87904 | -0.71659 | -0.20857 | -0.86821 | 0.72743 | 1.9573 | 0.49565 | 0.65522 | -1.945 | -0.48336 | -0.64293 | -84.2895 | 155.7108 | 35.7105 | 95.7105 | -24.2892 | -144.2895 | 1.1817 | 0.60549 | 0.58259 | 1.1737 | 0.59622 | 0.58249 | -0.68556 | -174.8726 | 173.2721 | -0.41033 | -175.1831 | 174.239
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.21941 | 0.87904 | -0.71659 | -0.20857 | -0.86821 | 0.72743 | 1.9573 | 0.49565 | 0.65522 | -1.945 | -0.48336 | -0.64293 | -84.2895 | 155.7108 | 35.7105 | 95.7105 | -24.2892 | -144.2895 | 1.1817 | 0.60549 | 0.58259 | 1.1737 | 0.59622 | 0.58249 | -0.68556 | -174.8726 | 173.2721 | -0.41033 | -175.1831 | 174.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1128e-14 | 0 | -6.128e-15 | -5.7314e-15 | 1.5309e-14 | 6.4662e-16 | 5.7314e-15 | 0 | -4.8348e-15 | -1.1128e-14 | -1.0145e-14 | 5.4814e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1817 | 0.60549 | 0.58259 | 1.1817 | 0.60549 | 0.58259 | -0.68556 | -174.8726 | 173.2721 | -0.68556 | -174.8726 | 173.2721

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.37382 | -1.7791 | 0.85368 | 0.41715 | 1.8224 | -0.81035 | -3.8408 | -1.6121 | -1.5095 | 3.89 | 1.6613 | 1.5587 | 95.7105 | -24.2892 | -144.2894 | -84.2895 | 155.7108 | 35.7106 | 1.1577 | 0.72025 | 0.52025 | 1.1737 | 0.73979 | 0.52702 | 0.15156 | -162.1077 | 155.2002 | -0.41033 | -161.9373 | 153.1802
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.21941 | 0.92204 | -0.39434 | -0.20857 | -0.9112 | 0.40517 | 1.9573 | 0.84293 | 0.79163 | -1.945 | -0.83064 | -0.77934 | -84.2895 | 155.7108 | 35.7106 | 95.7105 | -24.2892 | -144.2894 | 1.1817 | 0.74957 | 0.53064 | 1.1737 | 0.73979 | 0.52702 | -0.68556 | -161.8554 | 152.1901 | -0.41033 | -161.9373 | 153.1802
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.21941 | 0.92204 | -0.39434 | -0.20857 | -0.9112 | 0.40517 | 1.9573 | 0.84293 | 0.79163 | -1.945 | -0.83064 | -0.77934 | -84.2895 | 155.7108 | 35.7106 | 95.7105 | -24.2892 | -144.2894 | 1.1817 | 0.74957 | 0.53064 | 1.1737 | 0.73979 | 0.52702 | -0.68556 | -161.8554 | 152.1901 | -0.41033 | -161.9373 | 153.1802
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0994e-14 | 1.1057e-15 | -6.5478e-15 | -2.0093e-16 | 5.6425e-15 | 6.5478e-15 | 1.6926e-14 | -3.3741e-15 | 9.1375e-15 | -1.6792e-14 | 5.5856e-15 | -9.1375e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1817 | 0.74957 | 0.53064 | 1.1817 | 0.74957 | 0.53064 | -0.68556 | -161.8554 | 152.1901 | -0.68556 | -161.8554 | 152.1901

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.37382 | -1.7791 | 0.85368 | 0.41715 | 1.8224 | -0.81035 | -3.8408 | -1.6121 | -1.5095 | 3.89 | 1.6613 | 1.5587 | 95.7105 | -24.2892 | -144.2894 | -84.2895 | 155.7108 | 35.7106 | 1.1577 | 0.72025 | 0.52025 | 1.1737 | 0.73979 | 0.52702 | 0.15156 | -162.1077 | 155.2002 | -0.41033 | -161.9373 | 153.1802
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.21941 | 0.92204 | -0.39434 | -0.20857 | -0.9112 | 0.40517 | 1.9573 | 0.84293 | 0.79163 | -1.945 | -0.83064 | -0.77934 | -84.2895 | 155.7108 | 35.7106 | 95.7105 | -24.2892 | -144.2894 | 1.1817 | 0.74957 | 0.53064 | 1.1737 | 0.73979 | 0.52702 | -0.68556 | -161.8554 | 152.1901 | -0.41033 | -161.9373 | 153.1802
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.21941 | 0.92204 | -0.39434 | -0.20857 | -0.9112 | 0.40517 | 1.9573 | 0.84293 | 0.79163 | -1.945 | -0.83064 | -0.77934 | -84.2895 | 155.7108 | 35.7106 | 95.7105 | -24.2892 | -144.2894 | 1.1817 | 0.74957 | 0.53064 | 1.1737 | 0.73979 | 0.52702 | -0.68556 | -161.8554 | 152.1901 | -0.41033 | -161.9373 | 153.1802
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0994e-14 | 1.1057e-15 | -6.5478e-15 | -2.0093e-16 | 5.6425e-15 | 6.5478e-15 | 1.6926e-14 | -3.3741e-15 | 9.1375e-15 | -1.6792e-14 | 5.5856e-15 | -9.1375e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1817 | 0.74957 | 0.53064 | 1.1817 | 0.74957 | 0.53064 | -0.68556 | -161.8554 | 152.1901 | -0.68556 | -161.8554 | 152.1901

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8422e-14 | 4.2632e-14 | 1.8948e-14 | 2.3685e-14 | -3.7895e-14 | -1.8947e-14 | -1.8948e-14 | 4.7631e-09 | -4.7631e-09 | 1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.5841e-12 | -180 | 180 | 1.5824e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -9.4736e-15 | 9.4742e-15 | 2.3685e-15 | 1.4211e-14 | -4.7372e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.5492e-12 | -180 | 180 | 1.5824e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -9.4736e-15 | 4.7373e-15 | -2.3685e-15 | 9.4736e-15 | -2.6086e-19 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.5573e-12 | -180 | 180 | 1.5824e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 1.1842e-15 | 2.3685e-15 | 2.3685e-15 | 5.9212e-15 | 4.737e-15 | 4.737e-15 | 2.3685e-15 | 9.4739e-15 | -4.737e-15 | 2.3685e-15 | -1.0035e-24 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.5492e-12 | -180 | 180 | 1.5573e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8422e-14 | 4.2632e-14 | 1.8948e-14 | 2.3685e-14 | -3.7895e-14 | -1.8947e-14 | -1.8948e-14 | 4.7631e-09 | -4.7631e-09 | 1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.5841e-12 | -180 | 180 | 1.5824e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -9.4736e-15 | 9.4742e-15 | 2.3685e-15 | 1.4211e-14 | -4.7372e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.5492e-12 | -180 | 180 | 1.5824e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -9.4736e-15 | 4.7373e-15 | -2.3685e-15 | 9.4736e-15 | -2.6086e-19 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.5573e-12 | -180 | 180 | 1.5824e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 1.1842e-15 | 2.3685e-15 | 2.3685e-15 | 5.9212e-15 | 4.737e-15 | 4.737e-15 | 2.3685e-15 | 9.4739e-15 | -4.737e-15 | 2.3685e-15 | -1.0035e-24 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.5492e-12 | -180 | 180 | 1.5573e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -5.5592e-10 | -1.5515e-09 | 1.8948e-14 | 5.5592e-10 | 1.5515e-09 | -1.1842e-14 | 4.8332e-09 | -3.1089e-09 | 1.1842e-14 | -4.8332e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 1.3244e-12 | -166.2936 | 160.6236 | 1.3242e-12 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 1.8532e-10 | 5.1716e-10 | 2.3685e-15 | -1.8531e-10 | -5.1715e-10 | 1.1842e-14 | -1.6111e-09 | 1.0363e-09 | -7.1054e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 1.2928e-12 | -166.2936 | 160.6236 | 1.3242e-12 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 1.8531e-10 | 5.1715e-10 | 2.3685e-15 | -1.8531e-10 | -5.1715e-10 | 1.8948e-14 | -1.611e-09 | 1.0363e-09 | -1.4211e-14 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 1.3005e-12 | -166.2936 | 160.6236 | 1.3242e-12 | -166.2936 | 160.6236
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 4.5027e-15 | 3.3042e-15 | -2.3685e-15 | -4.1616e-15 | 1.3644e-15 | -4.737e-15 | -6.3107e-15 | 3.1974e-15 | 9.4739e-15 | 4.9121e-15 | 3.8796e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 1.2928e-12 | -166.2936 | 160.6236 | 1.3005e-12 | -166.2936 | 160.6236

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -5.5592e-10 | -1.5515e-09 | 1.8948e-14 | 5.5592e-10 | 1.5515e-09 | -1.1842e-14 | 4.8332e-09 | -3.1089e-09 | 1.1842e-14 | -4.8332e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 1.3244e-12 | -166.2936 | 160.6236 | 1.3242e-12 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 1.8532e-10 | 5.1716e-10 | 2.3685e-15 | -1.8531e-10 | -5.1715e-10 | 1.1842e-14 | -1.6111e-09 | 1.0363e-09 | -7.1054e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 1.2928e-12 | -166.2936 | 160.6236 | 1.3242e-12 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 1.8531e-10 | 5.1715e-10 | 2.3685e-15 | -1.8531e-10 | -5.1715e-10 | 1.8948e-14 | -1.611e-09 | 1.0363e-09 | -1.4211e-14 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 1.3005e-12 | -166.2936 | 160.6236 | 1.3242e-12 | -166.2936 | 160.6236
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 4.5027e-15 | 3.3042e-15 | -2.3685e-15 | -4.1616e-15 | 1.3644e-15 | -4.737e-15 | -6.3107e-15 | 3.1974e-15 | 9.4739e-15 | 4.9121e-15 | 3.8796e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 1.2928e-12 | -166.2936 | 160.6236 | 1.3005e-12 | -166.2936 | 160.6236

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28868 | 0.28868 | 0.28867 | 0.28868 | 0.28868 | 0.28867 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.12816 | 0.75135 | -1.3762 | 0.1715 | -0.70802 | 1.4195 | -1.3842 | -3.3331 | -3.1203 | 1.4334 | 3.3822 | 3.1695 | 95.7107 | -24.2896 | -144.2894 | -84.2893 | 155.7104 | 35.7106 | 0.41704 | 1.025 | 1.0231 | 0.43308 | 1.0367 | 1.0418 | 0.42077 | -101.586 | 101.9114 | -1.1121 | -102.4662 | 101.5846
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.096582 | -0.34318 | 0.72058 | -0.085748 | 0.35401 | -0.70975 | 0.72898 | 1.7034 | 1.597 | -0.71669 | -1.6911 | -1.5847 | -84.2893 | 155.7104 | 35.7106 | 95.7107 | -24.2896 | -144.2894 | 0.44121 | 1.0426 | 1.0512 | 0.43308 | 1.0367 | 1.0418 | -1.8364 | -102.8989 | 101.4256 | -1.1121 | -102.4662 | 101.5846
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.096582 | -0.34318 | 0.72058 | -0.085748 | 0.35401 | -0.70975 | 0.72898 | 1.7034 | 1.597 | -0.71669 | -1.6911 | -1.5847 | -84.2893 | 155.7104 | 35.7106 | 95.7107 | -24.2896 | -144.2894 | 0.44121 | 1.0426 | 1.0512 | 0.43308 | 1.0367 | 1.0418 | -1.8364 | -102.8989 | 101.4256 | -1.1121 | -102.4662 | 101.5846
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1778e-15 | 7.5332e-16 | 8.7755e-15 | -2.9659e-15 | -3.1603e-15 | -3.8945e-15 | 1.3395e-16 | -7.7722e-15 | 6.8539e-15 | 5.3227e-15 | 8.3235e-15 | -5.8674e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.44121 | 1.0426 | 1.0512 | 0.44121 | 1.0426 | 1.0512 | -1.8364 | -102.8989 | 101.4256 | -1.8364 | -102.8989 | 101.4256

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28868 | 0.28868 | 0.28867 | 0.28868 | 0.28868 | 0.28867 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.12816 | 0.75135 | -1.3762 | 0.1715 | -0.70802 | 1.4195 | -1.3842 | -3.3331 | -3.1203 | 1.4334 | 3.3822 | 3.1695 | 95.7107 | -24.2896 | -144.2894 | -84.2893 | 155.7104 | 35.7106 | 0.41704 | 1.025 | 1.0231 | 0.43308 | 1.0367 | 1.0418 | 0.42077 | -101.586 | 101.9114 | -1.1121 | -102.4662 | 101.5846
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.096582 | -0.34318 | 0.72058 | -0.085748 | 0.35401 | -0.70975 | 0.72898 | 1.7034 | 1.597 | -0.71669 | -1.6911 | -1.5847 | -84.2893 | 155.7104 | 35.7106 | 95.7107 | -24.2896 | -144.2894 | 0.44121 | 1.0426 | 1.0512 | 0.43308 | 1.0367 | 1.0418 | -1.8364 | -102.8989 | 101.4256 | -1.1121 | -102.4662 | 101.5846
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.096582 | -0.34318 | 0.72058 | -0.085748 | 0.35401 | -0.70975 | 0.72898 | 1.7034 | 1.597 | -0.71669 | -1.6911 | -1.5847 | -84.2893 | 155.7104 | 35.7106 | 95.7107 | -24.2896 | -144.2894 | 0.44121 | 1.0426 | 1.0512 | 0.43308 | 1.0367 | 1.0418 | -1.8364 | -102.8989 | 101.4256 | -1.1121 | -102.4662 | 101.5846
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1778e-15 | 7.5332e-16 | 8.7755e-15 | -2.9659e-15 | -3.1603e-15 | -3.8945e-15 | 1.3395e-16 | -7.7722e-15 | 6.8539e-15 | 5.3227e-15 | 8.3235e-15 | -5.8674e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.44121 | 1.0426 | 1.0512 | 0.44121 | 1.0426 | 1.0512 | -1.8364 | -102.8989 | 101.4256 | -1.8364 | -102.8989 | 101.4256

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28868 | 0.28868 | 0.28867 | 0.28868 | 0.28868 | 0.28867 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.60179 | 0.29947 | -1.1611 | 0.64513 | -0.25613 | 1.2044 | -2.1543 | -3.3205 | -3.5179 | 2.2035 | 3.3697 | 3.5671 | 95.7107 | -24.2895 | -144.2894 | -84.2893 | 155.7105 | 35.7106 | 0.67104 | 1.0002 | 1.1114 | 0.6888 | 1.0138 | 1.1295 | -9.8965 | -109.1361 | 107.4451 | -10.6079 | -109.9427 | 107.0534
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.3334 | -0.11723 | 0.61305 | -0.32256 | 0.12807 | -0.60221 | 1.114 | 1.6971 | 1.7958 | -1.1018 | -1.6848 | -1.7835 | -84.2893 | 155.7105 | 35.7106 | 95.7107 | -24.2895 | -144.2894 | 0.69772 | 1.0207 | 1.1386 | 0.6888 | 1.0138 | 1.1295 | -10.95 | -110.3379 | 106.8622 | -10.6079 | -109.9427 | 107.0534
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.3334 | -0.11723 | 0.61305 | -0.32256 | 0.12807 | -0.60221 | 1.114 | 1.6971 | 1.7958 | -1.1018 | -1.6848 | -1.7835 | -84.2893 | 155.7105 | 35.7106 | 95.7107 | -24.2895 | -144.2894 | 0.69772 | 1.0207 | 1.1386 | 0.6888 | 1.0138 | 1.1295 | -10.95 | -110.3379 | 106.8622 | -10.6079 | -109.9427 | 107.0534
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7346e-15 | 5.9405e-15 | -4.4192e-15 | 4.6574e-15 | -5.667e-16 | 9.8547e-15 | 1.8834e-15 | 3.763e-16 | 9.9317e-15 | 6.6732e-15 | 2.1006e-16 | -1.392e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0.69772 | 1.0207 | 1.1386 | 0.69772 | 1.0207 | 1.1386 | -10.95 | -110.3379 | 106.8622 | -10.95 | -110.3379 | 106.8622

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28868 | 0.28868 | 0.28867 | 0.28868 | 0.28868 | 0.28867 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.60179 | 0.29947 | -1.1611 | 0.64513 | -0.25613 | 1.2044 | -2.1543 | -3.3205 | -3.5179 | 2.2035 | 3.3697 | 3.5671 | 95.7107 | -24.2895 | -144.2894 | -84.2893 | 155.7105 | 35.7106 | 0.67104 | 1.0002 | 1.1114 | 0.6888 | 1.0138 | 1.1295 | -9.8965 | -109.1361 | 107.4451 | -10.6079 | -109.9427 | 107.0534
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.3334 | -0.11723 | 0.61305 | -0.32256 | 0.12807 | -0.60221 | 1.114 | 1.6971 | 1.7958 | -1.1018 | -1.6848 | -1.7835 | -84.2893 | 155.7105 | 35.7106 | 95.7107 | -24.2895 | -144.2894 | 0.69772 | 1.0207 | 1.1386 | 0.6888 | 1.0138 | 1.1295 | -10.95 | -110.3379 | 106.8622 | -10.6079 | -109.9427 | 107.0534
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.3334 | -0.11723 | 0.61305 | -0.32256 | 0.12807 | -0.60221 | 1.114 | 1.6971 | 1.7958 | -1.1018 | -1.6848 | -1.7835 | -84.2893 | 155.7105 | 35.7106 | 95.7107 | -24.2895 | -144.2894 | 0.69772 | 1.0207 | 1.1386 | 0.6888 | 1.0138 | 1.1295 | -10.95 | -110.3379 | 106.8622 | -10.6079 | -109.9427 | 107.0534
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7346e-15 | 5.9405e-15 | -4.4192e-15 | 4.6574e-15 | -5.667e-16 | 9.8547e-15 | 1.8834e-15 | 3.763e-16 | 9.9317e-15 | 6.6732e-15 | 2.1006e-16 | -1.392e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0.69772 | 1.0207 | 1.1386 | 0.69772 | 1.0207 | 1.1386 | -10.95 | -110.3379 | 106.8622 | -10.95 | -110.3379 | 106.8622

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4445e-09 | -6.1111e-10 | -6.1113e-10 | 2.4445e-09 | 6.1112e-10 | 6.1112e-10 | 8.2893e-15 | -3.1754e-09 | 3.1754e-09 | -9.8681e-15 | 3.1754e-09 | -3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 8.303e-09 | -100.8934 | 100.8934 | 1.3881e-08 | -100.8934 | 100.8934
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1482e-10 | 2.0371e-10 | 2.037e-10 | -8.1482e-10 | -2.0371e-10 | -2.0371e-10 | -4.342e-15 | 1.0585e-09 | -1.0585e-09 | 2.763e-15 | -1.0585e-09 | 1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 1.574e-08 | -100.8934 | 100.8934 | 1.3881e-08 | -100.8934 | 100.8934
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1482e-10 | 2.037e-10 | 2.037e-10 | -8.1482e-10 | -2.037e-10 | -2.037e-10 | -1.184e-15 | 1.0585e-09 | -1.0585e-09 | -3.9494e-16 | -1.0585e-09 | 1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 1.574e-08 | -100.8934 | 100.8934 | 1.3881e-08 | -100.8934 | 100.8934
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7632e-15 | 1.1615e-16 | 8.522e-15 | 2.7632e-15 | 2.786e-16 | -1.2624e-14 | -7.5911e-25 | -1.5976e-14 | -1.1123e-14 | 7.5911e-25 | 1.8027e-14 | 1.0333e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 1.574e-08 | -100.8934 | 100.8934 | 1.574e-08 | -100.8934 | 100.8934

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4445e-09 | -6.1111e-10 | -6.1113e-10 | 2.4445e-09 | 6.1112e-10 | 6.1112e-10 | 8.2893e-15 | -3.1754e-09 | 3.1754e-09 | -9.8681e-15 | 3.1754e-09 | -3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 8.303e-09 | -100.8934 | 100.8934 | 1.3881e-08 | -100.8934 | 100.8934
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1482e-10 | 2.0371e-10 | 2.037e-10 | -8.1482e-10 | -2.0371e-10 | -2.0371e-10 | -4.342e-15 | 1.0585e-09 | -1.0585e-09 | 2.763e-15 | -1.0585e-09 | 1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 1.574e-08 | -100.8934 | 100.8934 | 1.3881e-08 | -100.8934 | 100.8934
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1482e-10 | 2.037e-10 | 2.037e-10 | -8.1482e-10 | -2.037e-10 | -2.037e-10 | -1.184e-15 | 1.0585e-09 | -1.0585e-09 | -3.9494e-16 | -1.0585e-09 | 1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 1.574e-08 | -100.8934 | 100.8934 | 1.3881e-08 | -100.8934 | 100.8934
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7632e-15 | 1.1615e-16 | 8.522e-15 | 2.7632e-15 | 2.786e-16 | -1.2624e-14 | -7.5911e-25 | -1.5976e-14 | -1.1123e-14 | 7.5911e-25 | 1.8027e-14 | 1.0333e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 1.574e-08 | -100.8934 | 100.8934 | 1.574e-08 | -100.8934 | 100.8934

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6248e-09 | -1.1402e-09 | -1.7219e-10 | 2.6248e-09 | 1.1402e-09 | 1.7219e-10 | 1.1178e-09 | -1.9471e-09 | 2.506e-09 | -1.1178e-09 | 1.9471e-09 | -2.506e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7492e-10 | 3.8007e-10 | 5.7393e-11 | -8.7492e-10 | -3.8007e-10 | -5.7393e-11 | -3.726e-10 | 6.4901e-10 | -8.3531e-10 | 3.726e-10 | -6.4901e-10 | 8.3532e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7493e-10 | 3.8007e-10 | 5.7398e-11 | -8.7492e-10 | -3.8007e-10 | -5.7398e-11 | -3.7259e-10 | 6.4902e-10 | -8.3532e-10 | 3.726e-10 | -6.4901e-10 | 8.3532e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2034e-16 | 1.5961e-15 | -1.0857e-15 | 5.9457e-15 | 4.1576e-15 | 1.0857e-15 | -6.3067e-16 | 1.6155e-15 | -3.1533e-16 | -3.0954e-15 | 2.9156e-15 | 3.1533e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6248e-09 | -1.1402e-09 | -1.7219e-10 | 2.6248e-09 | 1.1402e-09 | 1.7219e-10 | 1.1178e-09 | -1.9471e-09 | 2.506e-09 | -1.1178e-09 | 1.9471e-09 | -2.506e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7492e-10 | 3.8007e-10 | 5.7393e-11 | -8.7492e-10 | -3.8007e-10 | -5.7393e-11 | -3.726e-10 | 6.4901e-10 | -8.3531e-10 | 3.726e-10 | -6.4901e-10 | 8.3532e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7493e-10 | 3.8007e-10 | 5.7398e-11 | -8.7492e-10 | -3.8007e-10 | -5.7398e-11 | -3.7259e-10 | 6.4902e-10 | -8.3532e-10 | 3.726e-10 | -6.4901e-10 | 8.3532e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2034e-16 | 1.5961e-15 | -1.0857e-15 | 5.9457e-15 | 4.1576e-15 | 1.0857e-15 | -6.3067e-16 | 1.6155e-15 | -3.1533e-16 | -3.0954e-15 | 2.9156e-15 | 3.1533e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.25099 | -1.1305 | 0.99701 | 0.29432 | 1.1738 | -0.95368 | -2.6125 | -0.66367 | -0.87642 | 2.6617 | 0.71283 | 0.92559 | 95.7105 | -24.2893 | -144.2895 | -84.2895 | 155.7107 | 35.7105 | 0.78737 | 0.39327 | 0.39824 | 0.80337 | 0.412 | 0.3987 | 0.22285 | -173.874 | 174.3935 | -0.59947 | -173.0203 | 171.5669
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.15799 | 0.59775 | -0.46601 | -0.14716 | -0.58692 | 0.47684 | 1.3431 | 0.36871 | 0.47509 | -1.3308 | -0.35642 | -0.46279 | -84.2895 | 155.7107 | 35.7105 | 95.7105 | -24.2893 | -144.2895 | 0.81144 | 0.42139 | 0.39929 | 0.80337 | 0.412 | 0.3987 | -0.99843 | -172.6219 | 170.1578 | -0.59947 | -173.0203 | 171.5669
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.15799 | 0.59775 | -0.46601 | -0.14716 | -0.58692 | 0.47684 | 1.3431 | 0.36871 | 0.47509 | -1.3308 | -0.35642 | -0.46279 | -84.2895 | 155.7107 | 35.7105 | 95.7105 | -24.2893 | -144.2895 | 0.81144 | 0.42139 | 0.39929 | 0.80337 | 0.412 | 0.3987 | -0.99843 | -172.6219 | 170.1578 | -0.59947 | -173.0203 | 171.5669
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6977e-17 | -6.9792e-16 | -3.7272e-15 | -7.6193e-15 | 1.3088e-14 | -2.4339e-15 | 3.8432e-15 | -1.0154e-14 | 6.4662e-16 | 3.9771e-15 | 7.7331e-15 | 8.1009e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.81144 | 0.42139 | 0.39929 | 0.81144 | 0.42139 | 0.39929 | -0.99843 | -172.6219 | 170.1578 | -0.99843 | -172.6219 | 170.1578

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.25099 | -1.1305 | 0.99701 | 0.29432 | 1.1738 | -0.95368 | -2.6125 | -0.66367 | -0.87642 | 2.6617 | 0.71283 | 0.92559 | 95.7105 | -24.2893 | -144.2895 | -84.2895 | 155.7107 | 35.7105 | 0.78737 | 0.39327 | 0.39824 | 0.80337 | 0.412 | 0.3987 | 0.22285 | -173.874 | 174.3935 | -0.59947 | -173.0203 | 171.5669
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.15799 | 0.59775 | -0.46601 | -0.14716 | -0.58692 | 0.47684 | 1.3431 | 0.36871 | 0.47509 | -1.3308 | -0.35642 | -0.46279 | -84.2895 | 155.7107 | 35.7105 | 95.7105 | -24.2893 | -144.2895 | 0.81144 | 0.42139 | 0.39929 | 0.80337 | 0.412 | 0.3987 | -0.99843 | -172.6219 | 170.1578 | -0.59947 | -173.0203 | 171.5669
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.15799 | 0.59775 | -0.46601 | -0.14716 | -0.58692 | 0.47684 | 1.3431 | 0.36871 | 0.47509 | -1.3308 | -0.35642 | -0.46279 | -84.2895 | 155.7107 | 35.7105 | 95.7105 | -24.2893 | -144.2895 | 0.81144 | 0.42139 | 0.39929 | 0.80337 | 0.412 | 0.3987 | -0.99843 | -172.6219 | 170.1578 | -0.59947 | -173.0203 | 171.5669
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6977e-17 | -6.9792e-16 | -3.7272e-15 | -7.6193e-15 | 1.3088e-14 | -2.4339e-15 | 3.8432e-15 | -1.0154e-14 | 6.4662e-16 | 3.9771e-15 | 7.7331e-15 | 8.1009e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.81144 | 0.42139 | 0.39929 | 0.81144 | 0.42139 | 0.39929 | -0.99843 | -172.6219 | 170.1578 | -0.99843 | -172.6219 | 170.1578

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.4878 | -1.3891 | 0.071495 | 0.53114 | 1.4324 | -0.028162 | -2.9976 | -1.8314 | -1.634 | 3.0468 | 1.8806 | 1.6832 | 95.7105 | -24.2893 | -144.2894 | -84.2895 | 155.7107 | 35.7106 | 0.91111 | 0.68958 | 0.49067 | 0.92781 | 0.70919 | 0.50502 | -3.5323 | -151.4682 | 128.2159 | -4.1784 | -151.5849 | 126.6691
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.2764 | 0.72703 | -0.0032476 | -0.26557 | -0.7162 | 0.014081 | 1.5357 | 0.95258 | 0.85388 | -1.5234 | -0.94029 | -0.84158 | -84.2895 | 155.7107 | 35.7106 | 95.7105 | -24.2893 | -144.2894 | 0.93621 | 0.719 | 0.51233 | 0.92781 | 0.70919 | 0.50502 | -4.4928 | -151.6408 | 125.9285 | -4.1784 | -151.5849 | 126.6691
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.2764 | 0.72703 | -0.0032476 | -0.26557 | -0.7162 | 0.014081 | 1.5357 | 0.95258 | 0.85388 | -1.5234 | -0.94029 | -0.84158 | -84.2895 | 155.7107 | 35.7106 | 95.7105 | -24.2893 | -144.2894 | 0.93621 | 0.719 | 0.51233 | 0.92781 | 0.70919 | 0.50502 | -4.4928 | -151.6408 | 125.9285 | -4.1784 | -151.5849 | 126.6691
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.6633e-15 | 1.8562e-15 | 6.7784e-15 | -6.9478e-16 | -4.9725e-15 | 5.0126e-15 | 1.8553e-14 | -1.0609e-14 | -1.0823e-15 | -8.8423e-15 | 1.2797e-14 | 9.6264e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93621 | 0.719 | 0.51233 | 0.93621 | 0.719 | 0.51233 | -4.4928 | -151.6408 | 125.9285 | -4.4928 | -151.6408 | 125.9285

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.4878 | -1.3891 | 0.071495 | 0.53114 | 1.4324 | -0.028162 | -2.9976 | -1.8314 | -1.634 | 3.0468 | 1.8806 | 1.6832 | 95.7105 | -24.2893 | -144.2894 | -84.2895 | 155.7107 | 35.7106 | 0.91111 | 0.68958 | 0.49067 | 0.92781 | 0.70919 | 0.50502 | -3.5323 | -151.4682 | 128.2159 | -4.1784 | -151.5849 | 126.6691
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.2764 | 0.72703 | -0.0032476 | -0.26557 | -0.7162 | 0.014081 | 1.5357 | 0.95258 | 0.85388 | -1.5234 | -0.94029 | -0.84158 | -84.2895 | 155.7107 | 35.7106 | 95.7105 | -24.2893 | -144.2894 | 0.93621 | 0.719 | 0.51233 | 0.92781 | 0.70919 | 0.50502 | -4.4928 | -151.6408 | 125.9285 | -4.1784 | -151.5849 | 126.6691
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.2764 | 0.72703 | -0.0032476 | -0.26557 | -0.7162 | 0.014081 | 1.5357 | 0.95258 | 0.85388 | -1.5234 | -0.94029 | -0.84158 | -84.2895 | 155.7107 | 35.7106 | 95.7105 | -24.2893 | -144.2894 | 0.93621 | 0.719 | 0.51233 | 0.92781 | 0.70919 | 0.50502 | -4.4928 | -151.6408 | 125.9285 | -4.1784 | -151.5849 | 126.6691
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.6633e-15 | 1.8562e-15 | 6.7784e-15 | -6.9478e-16 | -4.9725e-15 | 5.0126e-15 | 1.8553e-14 | -1.0609e-14 | -1.0823e-15 | -8.8423e-15 | 1.2797e-14 | 9.6264e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93621 | 0.719 | 0.51233 | 0.93621 | 0.719 | 0.51233 | -4.4928 | -151.6408 | 125.9285 | -4.4928 | -151.6408 | 125.9285

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4445e-09 | -6.1108e-10 | -6.111e-10 | 2.4445e-09 | 6.1108e-10 | 6.1111e-10 | -3.158e-15 | 3.1754e-09 | -3.1754e-09 | 5.8007e-20 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | -3.4861e-11 | -180 | 180 | 1.3596e-09 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1481e-10 | 2.037e-10 | 2.037e-10 | -8.1482e-10 | -2.037e-10 | -2.037e-10 | 3.158e-15 | -1.0585e-09 | 1.0585e-09 | -9.4739e-15 | 1.0585e-09 | -1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | 1.8244e-09 | -180 | 180 | 1.3596e-09 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1482e-10 | 2.037e-10 | 2.037e-10 | -8.1482e-10 | -2.037e-10 | -2.037e-10 | 3.158e-15 | -1.0585e-09 | 1.0585e-09 | -6.316e-15 | 1.0585e-09 | -1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | 1.8244e-09 | -180 | 180 | 1.3596e-09 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.158e-15 | 6.3159e-15 | -3.158e-15 | 1.579e-15 | -1.579e-15 | 3.158e-15 | 3.158e-15 | -6.3159e-15 | 1.2632e-14 | -6.3159e-15 | 3.158e-15 | -6.3159e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | 1.8244e-09 | -180 | 180 | 1.8244e-09 | -180 | 180

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4445e-09 | -6.1108e-10 | -6.111e-10 | 2.4445e-09 | 6.1108e-10 | 6.1111e-10 | -3.158e-15 | 3.1754e-09 | -3.1754e-09 | 5.8007e-20 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | -3.4861e-11 | -180 | 180 | 1.3596e-09 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1481e-10 | 2.037e-10 | 2.037e-10 | -8.1482e-10 | -2.037e-10 | -2.037e-10 | 3.158e-15 | -1.0585e-09 | 1.0585e-09 | -9.4739e-15 | 1.0585e-09 | -1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | 1.8244e-09 | -180 | 180 | 1.3596e-09 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1482e-10 | 2.037e-10 | 2.037e-10 | -8.1482e-10 | -2.037e-10 | -2.037e-10 | 3.158e-15 | -1.0585e-09 | 1.0585e-09 | -6.316e-15 | 1.0585e-09 | -1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | 1.8244e-09 | -180 | 180 | 1.3596e-09 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.158e-15 | 6.3159e-15 | -3.158e-15 | 1.579e-15 | -1.579e-15 | 3.158e-15 | 3.158e-15 | -6.3159e-15 | 1.2632e-14 | -6.3159e-15 | 3.158e-15 | -6.3159e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | 1.8244e-09 | -180 | 180 | 1.8244e-09 | -180 | 180

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9417e-09 | -1.5383e-09 | -2.5064e-09 | 1.9417e-09 | 1.5383e-09 | 2.5064e-09 | 5.5889e-10 | 3.6238e-09 | -8.2929e-10 | -5.5889e-10 | -3.6238e-09 | 8.2929e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76796 | 0.56555 | 0.37926 | 0.76796 | 0.56555 | 0.37926 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4722e-10 | 5.1278e-10 | 8.3547e-10 | -6.4722e-10 | -5.1278e-10 | -8.3546e-10 | -1.8629e-10 | -1.2079e-09 | 2.7643e-10 | 1.8628e-10 | 1.2079e-09 | -2.7643e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76796 | 0.56555 | 0.37926 | 0.76796 | 0.56555 | 0.37926 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4723e-10 | 5.1278e-10 | 8.3546e-10 | -6.4723e-10 | -5.1278e-10 | -8.3546e-10 | -1.8629e-10 | -1.2079e-09 | 2.7643e-10 | 1.8629e-10 | 1.2079e-09 | -2.7643e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76796 | 0.56555 | 0.37926 | 0.76796 | 0.56555 | 0.37926 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.8617e-15 | 1.8874e-15 | 5.9797e-15 | 3.9356e-15 | 2.993e-15 | -2.6925e-15 | 2.4768e-15 | 2.3257e-15 | 4.0853e-15 | -9.3754e-15 | -1.1454e-16 | -2.3792e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76796 | 0.56555 | 0.37926 | 0.76796 | 0.56555 | 0.37926 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9417e-09 | -1.5383e-09 | -2.5064e-09 | 1.9417e-09 | 1.5383e-09 | 2.5064e-09 | 5.5889e-10 | 3.6238e-09 | -8.2929e-10 | -5.5889e-10 | -3.6238e-09 | 8.2929e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76796 | 0.56555 | 0.37926 | 0.76796 | 0.56555 | 0.37926 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4722e-10 | 5.1278e-10 | 8.3547e-10 | -6.4722e-10 | -5.1278e-10 | -8.3546e-10 | -1.8629e-10 | -1.2079e-09 | 2.7643e-10 | 1.8628e-10 | 1.2079e-09 | -2.7643e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76796 | 0.56555 | 0.37926 | 0.76796 | 0.56555 | 0.37926 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4723e-10 | 5.1278e-10 | 8.3546e-10 | -6.4723e-10 | -5.1278e-10 | -8.3546e-10 | -1.8629e-10 | -1.2079e-09 | 2.7643e-10 | 1.8629e-10 | 1.2079e-09 | -2.7643e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76796 | 0.56555 | 0.37926 | 0.76796 | 0.56555 | 0.37926 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.8617e-15 | 1.8874e-15 | 5.9797e-15 | 3.9356e-15 | 2.993e-15 | -2.6925e-15 | 2.4768e-15 | 2.3257e-15 | 4.0853e-15 | -9.3754e-15 | -1.1454e-16 | -2.3792e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76796 | 0.56555 | 0.37926 | 0.76796 | 0.56555 | 0.37926 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657