## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6901 | 3.6901 | 0 | 0 | 127.8288 | 127.8288 | 35.6918 | -14.4496 | 40.4738 | -16.372 | -73.4333 | 106.5667 | 0.42215 | 0.17083 | -24.8408 | -24.8643
Line_1 | 2.5081 | 2.5081 | 5.0234 | 0 | 86.8848 | 86.8848 | -1e-07 | 9.8137 | -1e-07 | 11.1347 | 106.5272 | -73.4728 | 0 | 0.17083 | 0 | -24.8643
Line_2 | 1.182 | 1.182 | 0 | 0 | 40.9441 | 40.9441 | -2.4566 | 4.6359 | -2.7645 | 5.2372 | 106.6503 | -73.3497 | 0.090325 | 0.17083 | -24.974 | -24.8643
Line_3 | 1.3262 | 1.3262 | 2.6137 | 0 | 45.941 | 45.941 | -1e-07 | 2.7437 | -1e-07 | 3.1131 | 106.4175 | -73.5825 | 0 | 0.090325 | 0 | -24.974

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6901 | 3.6901 | 0 | 0 | 127.8288 | 127.8288 | 35.6918 | -14.4496 | 40.4738 | -16.372 | -73.4333 | 106.5667 | 0.42215 | 0.17083 | -24.8408 | -24.8643
Line_1 | 2.5081 | 2.5081 | 5.0234 | 0 | 86.8848 | 86.8848 | -1e-07 | 9.8137 | -1e-07 | 11.1347 | 106.5272 | -73.4728 | 0 | 0.17083 | 0 | -24.8643
Line_2 | 1.182 | 1.182 | 0 | 0 | 40.9441 | 40.9441 | -2.4566 | 4.6359 | -2.7645 | 5.2372 | 106.6503 | -73.3497 | 0.090325 | 0.17083 | -24.974 | -24.8643
Line_3 | 1.3262 | 1.3262 | 2.6137 | 0 | 45.941 | 45.941 | -1e-07 | 2.7437 | -1e-07 | 3.1131 | 106.4175 | -73.5825 | 0 | 0.090325 | 0 | -24.974

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0704 | 1.0704 | 0 | 0 | 37.0799 | 37.0799 | 26.4613 | -24.6739 | 22.7852 | -20.7572 | -48.8653 | 131.1347 | 0.94173 | 0.86958 | -8.1343 | -8.7926
Line_1 | 0.75692 | 0.75692 | 1.5653 | 0 | 26.2205 | 26.2205 | -16.1288 | 17.0226 | -14.1551 | 15.1692 | 129.5024 | -50.4976 | 0.81842 | 0.86958 | -9.2264 | -8.7926
Line_2 | 0.31453 | 0.31453 | 0 | 0 | 10.8957 | 10.8957 | -7.497 | 7.6513 | -5.4129 | 5.588 | 135.0654 | -44.9346 | 0.84867 | 0.86958 | -9.1048 | -8.7926
Line_3 | 0.44492 | 0.44492 | 0.87717 | 0 | 15.4124 | 15.4124 | -8.888 | 9.1968 | -8.9505 | 9.3009 | 125.5729 | -54.4271 | 0.81842 | 0.84867 | -9.2264 | -9.1048

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0704 | 1.0704 | 0 | 0 | 37.0799 | 37.0799 | 26.4613 | -24.6739 | 22.7852 | -20.7572 | -48.8653 | 131.1347 | 0.94173 | 0.86958 | -8.1343 | -8.7926
Line_1 | 0.75692 | 0.75692 | 1.5653 | 0 | 26.2205 | 26.2205 | -16.1288 | 17.0226 | -14.1551 | 15.1692 | 129.5024 | -50.4976 | 0.81842 | 0.86958 | -9.2264 | -8.7926
Line_2 | 0.31453 | 0.31453 | 0 | 0 | 10.8957 | 10.8957 | -7.497 | 7.6513 | -5.4129 | 5.588 | 135.0654 | -44.9346 | 0.84867 | 0.86958 | -9.1048 | -8.7926
Line_3 | 0.44492 | 0.44492 | 0.87717 | 0 | 15.4124 | 15.4124 | -8.888 | 9.1968 | -8.9505 | 9.3009 | 125.5729 | -54.4271 | 0.81842 | 0.84867 | -9.2264 | -9.1048

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28863 | 3.2017 | 3.1963 | 0.28863 | 3.2017 | 3.1963 | 3.3328 | 36.9696 | 36.9076 | 3.3328 | 36.9696 | 36.9076 | -0.98869 | 29.6567 | -12.3052 | 1.032 | -24.3264 | 17.6176 | -3.7251 | 2.9364 | 15.4379 | 3.7742 | 3.1115 | -9.4103 | 105.4999 | -160.8503 | 13.9793 | -74.5001 | 19.1497 | -166.0207 | 1.1564 | 0.80612 | 0.5349 | 1.174 | 0.66337 | 0.54117 | 0.63546 | -155.1957 | 142.5367 | 0.20698 | -168.1391 | 165.8707
Line_1 | 0.14432 | 2.1742 | 2.1724 | 0.14432 | 2.1742 | 2.1724 | 1.6664 | 25.1055 | 25.0852 | 1.6664 | 25.1055 | 25.0852 | 0.5377 | -14.0868 | 14.3557 | -0.52687 | 16.5449 | -11.9015 | 1.8964 | 4.694 | -3.7458 | -1.8841 | -1.905 | 6.5303 | -74.1703 | 18.429 | -165.3761 | 105.8297 | -161.571 | 14.6239 | 1.1829 | 0.59144 | 0.59144 | 1.174 | 0.66337 | 0.54117 | -8.1967e-06 | 180 | 180 | 0.20698 | -168.1391 | 165.8707
Line_2 | 0.14432 | 1.028 | 1.0243 | 0.14432 | 1.028 | 1.0243 | 1.6664 | 11.8703 | 11.8274 | 1.6664 | 11.8703 | 11.8274 | 0.51597 | -7.2319 | 6.2616 | -0.50514 | 7.7815 | -5.7161 | 1.9024 | 1.83 | -2.261 | -1.8901 | -1.2065 | 2.88 | -74.8299 | 20.6741 | -167.3881 | 105.1701 | -159.3259 | 12.6119 | 1.1828 | 0.62845 | 0.56288 | 1.174 | 0.66337 | 0.54117 | -0.0049392 | -173.526 | 172.7575 | 0.20698 | -168.1391 | 165.8707
Line_3 | 0.0016614 | 1.1477 | 1.1494 | 0.0016614 | 1.1477 | 1.1494 | 0.019184 | 13.2524 | 13.2716 | 0.019184 | 13.2524 | 13.2716 | 0.021867 | -7.5184 | 7.5293 | -0.021866 | 8.2033 | -6.8424 | -0.0060645 | 2.2154 | -2.2184 | 0.0060661 | -1.4382 | 2.9978 | 15.5005 | 16.4182 | -163.5831 | -164.4995 | -163.5818 | 16.4169 | 1.1829 | 0.59144 | 0.59144 | 1.1828 | 0.62845 | 0.56288 | -8.1967e-06 | 180 | 180 | -0.0049392 | -173.526 | 172.7575

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28863 | 3.2017 | 3.1963 | 0.28863 | 3.2017 | 3.1963 | 3.3328 | 36.9696 | 36.9076 | 3.3328 | 36.9696 | 36.9076 | -0.98869 | 29.6567 | -12.3052 | 1.032 | -24.3264 | 17.6176 | -3.7251 | 2.9364 | 15.4379 | 3.7742 | 3.1115 | -9.4103 | 105.4999 | -160.8503 | 13.9793 | -74.5001 | 19.1497 | -166.0207 | 1.1564 | 0.80612 | 0.5349 | 1.174 | 0.66337 | 0.54117 | 0.63546 | -155.1957 | 142.5367 | 0.20698 | -168.1391 | 165.8707
Line_1 | 0.14432 | 2.1742 | 2.1724 | 0.14432 | 2.1742 | 2.1724 | 1.6664 | 25.1055 | 25.0852 | 1.6664 | 25.1055 | 25.0852 | 0.5377 | -14.0868 | 14.3557 | -0.52687 | 16.5449 | -11.9015 | 1.8964 | 4.694 | -3.7458 | -1.8841 | -1.905 | 6.5303 | -74.1703 | 18.429 | -165.3761 | 105.8297 | -161.571 | 14.6239 | 1.1829 | 0.59144 | 0.59144 | 1.174 | 0.66337 | 0.54117 | -8.1967e-06 | 180 | 180 | 0.20698 | -168.1391 | 165.8707
Line_2 | 0.14432 | 1.028 | 1.0243 | 0.14432 | 1.028 | 1.0243 | 1.6664 | 11.8703 | 11.8274 | 1.6664 | 11.8703 | 11.8274 | 0.51597 | -7.2319 | 6.2616 | -0.50514 | 7.7815 | -5.7161 | 1.9024 | 1.83 | -2.261 | -1.8901 | -1.2065 | 2.88 | -74.8299 | 20.6741 | -167.3881 | 105.1701 | -159.3259 | 12.6119 | 1.1828 | 0.62845 | 0.56288 | 1.174 | 0.66337 | 0.54117 | -0.0049392 | -173.526 | 172.7575 | 0.20698 | -168.1391 | 165.8707
Line_3 | 0.0016614 | 1.1477 | 1.1494 | 0.0016614 | 1.1477 | 1.1494 | 0.019184 | 13.2524 | 13.2716 | 0.019184 | 13.2524 | 13.2716 | 0.021867 | -7.5184 | 7.5293 | -0.021866 | 8.2033 | -6.8424 | -0.0060645 | 2.2154 | -2.2184 | 0.0060661 | -1.4382 | 2.9978 | 15.5005 | 16.4182 | -163.5831 | -164.4995 | -163.5818 | 16.4169 | 1.1829 | 0.59144 | 0.59144 | 1.1828 | 0.62845 | 0.56288 | -8.1967e-06 | 180 | 180 | -0.0049392 | -173.526 | 172.7575

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28863 | 1.5625 | 1.4738 | 0.28863 | 1.5625 | 1.4738 | 3.3328 | 18.0425 | 17.0177 | 3.3328 | 18.0425 | 17.0177 | -0.9887 | 18.2059 | -0.84143 | 1.032 | -16.9363 | 1.9709 | -3.7251 | 1.63 | 13.6956 | 3.7742 | -0.18948 | -12.4142 | 105.4999 | -141.4756 | 28.1405 | -74.5001 | 38.5244 | -151.8595 | 1.1564 | 1.0131 | 0.80631 | 1.174 | 0.93875 | 0.73862 | 0.63546 | -136.3596 | 121.6562 | 0.20698 | -140.8346 | 127.1615
Line_1 | 0.14432 | 1.0707 | 1.0288 | 0.14432 | 1.0707 | 1.0288 | 1.6664 | 12.363 | 11.8792 | 1.6664 | 12.363 | 11.8792 | 0.5377 | -10.9965 | 1.8118 | -0.52687 | 11.5926 | -1.2614 | 1.8964 | 0.12462 | -8.0586 | -1.8842 | 0.55171 | 8.6831 | -74.1703 | 36.4406 | -151.1043 | 105.8297 | -143.5594 | 28.8957 | 1.1829 | 0.88953 | 0.69532 | 1.174 | 0.93875 | 0.73862 | -5.8121e-06 | -144.2086 | 131.5665 | 0.20698 | -140.8346 | 127.1615
Line_2 | 0.14432 | 0.49411 | 0.4453 | 0.14432 | 0.49411 | 0.4453 | 1.6664 | 5.7055 | 5.1419 | 1.6664 | 5.7055 | 5.1419 | 0.51598 | -5.2168 | 0.81256 | -0.50515 | 5.3437 | -0.70945 | 1.9024 | 0.50628 | -3.6141 | -1.8901 | -0.36224 | 3.7311 | -74.8299 | 43.0434 | -153.6046 | 105.1701 | -136.9566 | 26.3954 | 1.1828 | 0.91864 | 0.72041 | 1.174 | 0.93875 | 0.73862 | -0.0049368 | -142.4997 | 129.0667 | 0.20698 | -140.8346 | 127.1615
Line_3 | 0.0016614 | 0.58261 | 0.58421 | 0.0016614 | 0.58261 | 0.58421 | 0.019184 | 6.7274 | 6.7459 | 0.019184 | 6.7274 | 6.7459 | 0.021867 | -5.9619 | 0.87613 | -0.021866 | 6.1384 | -0.69865 | -0.0060644 | -0.51605 | -4.608 | 0.006066 | 0.71631 | 4.8094 | 15.5003 | 30.8443 | -149.1988 | -164.4997 | -149.1557 | 30.8012 | 1.1829 | 0.88953 | 0.69532 | 1.1828 | 0.91864 | 0.72041 | -5.8121e-06 | -144.2086 | 131.5665 | -0.0049368 | -142.4997 | 129.0667

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28863 | 1.5625 | 1.4738 | 0.28863 | 1.5625 | 1.4738 | 3.3328 | 18.0425 | 17.0177 | 3.3328 | 18.0425 | 17.0177 | -0.9887 | 18.2059 | -0.84143 | 1.032 | -16.9363 | 1.9709 | -3.7251 | 1.63 | 13.6956 | 3.7742 | -0.18948 | -12.4142 | 105.4999 | -141.4756 | 28.1405 | -74.5001 | 38.5244 | -151.8595 | 1.1564 | 1.0131 | 0.80631 | 1.174 | 0.93875 | 0.73862 | 0.63546 | -136.3596 | 121.6562 | 0.20698 | -140.8346 | 127.1615
Line_1 | 0.14432 | 1.0707 | 1.0288 | 0.14432 | 1.0707 | 1.0288 | 1.6664 | 12.363 | 11.8792 | 1.6664 | 12.363 | 11.8792 | 0.5377 | -10.9965 | 1.8118 | -0.52687 | 11.5926 | -1.2614 | 1.8964 | 0.12462 | -8.0586 | -1.8842 | 0.55171 | 8.6831 | -74.1703 | 36.4406 | -151.1043 | 105.8297 | -143.5594 | 28.8957 | 1.1829 | 0.88953 | 0.69532 | 1.174 | 0.93875 | 0.73862 | -5.8121e-06 | -144.2086 | 131.5665 | 0.20698 | -140.8346 | 127.1615
Line_2 | 0.14432 | 0.49411 | 0.4453 | 0.14432 | 0.49411 | 0.4453 | 1.6664 | 5.7055 | 5.1419 | 1.6664 | 5.7055 | 5.1419 | 0.51598 | -5.2168 | 0.81256 | -0.50515 | 5.3437 | -0.70945 | 1.9024 | 0.50628 | -3.6141 | -1.8901 | -0.36224 | 3.7311 | -74.8299 | 43.0434 | -153.6046 | 105.1701 | -136.9566 | 26.3954 | 1.1828 | 0.91864 | 0.72041 | 1.174 | 0.93875 | 0.73862 | -0.0049368 | -142.4997 | 129.0667 | 0.20698 | -140.8346 | 127.1615
Line_3 | 0.0016614 | 0.58261 | 0.58421 | 0.0016614 | 0.58261 | 0.58421 | 0.019184 | 6.7274 | 6.7459 | 0.019184 | 6.7274 | 6.7459 | 0.021867 | -5.9619 | 0.87613 | -0.021866 | 6.1384 | -0.69865 | -0.0060644 | -0.51605 | -4.608 | 0.006066 | 0.71631 | 4.8094 | 15.5003 | 30.8443 | -149.1988 | -164.4997 | -149.1557 | 30.8012 | 1.1829 | 0.88953 | 0.69532 | 1.1828 | 0.91864 | 0.72041 | -5.8121e-06 | -144.2086 | 131.5665 | -0.0049368 | -142.4997 | 129.0667

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | -2.7237e-14 | 24.6317 | -2.0295 | 2.3685e-14 | -17.851 | 8.8102 | -1.4211e-14 | -0.29866 | 13.6553 | 9.4739e-15 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 1.2603e-12 | -153.068 | 126.0805 | 1.2546e-12 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -4.737e-15 | -8.8871 | 8.8871 | -1.1842e-15 | 11.9007 | -5.8735 | 1.1842e-14 | 4.6513 | -4.6513 | -1.6579e-14 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 1.2229e-12 | -180 | 180 | 1.2546e-12 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -9.4739e-15 | -5.1969 | 3.6901 | 3.5527e-15 | 5.9503 | -2.9367 | 1.6579e-14 | 1.8804 | -2.7709 | -1.6579e-14 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 1.2301e-12 | -172.2653 | 170.7242 | 1.2546e-12 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 2.3685e-15 | -4.4435 | 4.4435 | -7.1054e-15 | 5.1969 | -3.6901 | 5.0552e-29 | 2.3257 | -2.3257 | 4.737e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 1.2229e-12 | -180 | 180 | 1.2301e-12 | -172.2653 | 170.7242

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | -2.7237e-14 | 24.6317 | -2.0295 | 2.3685e-14 | -17.851 | 8.8102 | -1.4211e-14 | -0.29866 | 13.6553 | 9.4739e-15 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 1.2603e-12 | -153.068 | 126.0805 | 1.2546e-12 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -4.737e-15 | -8.8871 | 8.8871 | -1.1842e-15 | 11.9007 | -5.8735 | 1.1842e-14 | 4.6513 | -4.6513 | -1.6579e-14 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 1.2229e-12 | -180 | 180 | 1.2546e-12 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -9.4739e-15 | -5.1969 | 3.6901 | 3.5527e-15 | 5.9503 | -2.9367 | 1.6579e-14 | 1.8804 | -2.7709 | -1.6579e-14 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 1.2301e-12 | -172.2653 | 170.7242 | 1.2546e-12 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 2.3685e-15 | -4.4435 | 4.4435 | -7.1054e-15 | 5.1969 | -3.6901 | 5.0552e-29 | 2.3257 | -2.3257 | 4.737e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 1.2229e-12 | -180 | 180 | 1.2301e-12 | -172.2653 | 170.7242

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | -1.6579e-14 | 14.2512 | 1.4266 | 1.4803e-14 | -12.3717 | 0.45296 | -7.1054e-15 | 1.9064 | 11.2087 | 9.4739e-15 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 6.1285e-13 | -136.4258 | 118.7019 | 6.0698e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -1.7764e-15 | -7.4125 | 1.1373 | 5.9212e-16 | 8.2478 | -0.30197 | 9.4739e-15 | -0.036791 | -6.2383 | -7.1054e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 5.8745e-13 | -143.7605 | 136.2873 | 6.0698e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -1.1842e-15 | -3.9151 | 0.35982 | 5.0182e-29 | 4.1239 | -0.15099 | 7.1054e-15 | -0.14181 | -3.2426 | -4.737e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 5.9209e-13 | -141.9705 | 132.2872 | 6.0698e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -5.9212e-16 | -3.7062 | 0.56866 | 5.9212e-16 | 3.9151 | -0.35982 | 2.3685e-15 | -0.018396 | -3.1192 | 6.1189e-30 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 5.8745e-13 | -143.7605 | 136.2873 | 5.9209e-13 | -141.9705 | 132.2872

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | -1.6579e-14 | 14.2512 | 1.4266 | 1.4803e-14 | -12.3717 | 0.45296 | -7.1054e-15 | 1.9064 | 11.2087 | 9.4739e-15 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 6.1285e-13 | -136.4258 | 118.7019 | 6.0698e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -1.7764e-15 | -7.4125 | 1.1373 | 5.9212e-16 | 8.2478 | -0.30197 | 9.4739e-15 | -0.036791 | -6.2383 | -7.1054e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 5.8745e-13 | -143.7605 | 136.2873 | 6.0698e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -1.1842e-15 | -3.9151 | 0.35982 | 5.0182e-29 | 4.1239 | -0.15099 | 7.1054e-15 | -0.14181 | -3.2426 | -4.737e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 5.9209e-13 | -141.9705 | 132.2872 | 6.0698e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -5.9212e-16 | -3.7062 | 0.56866 | 5.9212e-16 | 3.9151 | -0.35982 | 2.3685e-15 | -0.018396 | -3.1192 | 6.1189e-30 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 5.8745e-13 | -143.7605 | 136.2873 | 5.9209e-13 | -141.9705 | 132.2872

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38851 | 0.29547 | 0.30284 | 0.3835 | 0.29347 | 0.29946 | 4.4861 | 3.4118 | 3.4969 | 4.4283 | 3.3887 | 3.4578 | 0.59718 | -3.6834 | 1.307 | -0.23418 | 3.934 | -1.2229 | 0.33426 | -5.3067 | -6.0224 | -0.13735 | 5.0908 | 6.2037 | -87.5437 | -18.2932 | -131.6357 | 92.4152 | 162.603 | 47.659 | 0.15255 | 1.8934 | 1.7623 | 0.061309 | 1.8986 | 1.8286 | -58.3066 | -143.0576 | 150.6092 | -57.1925 | -145.0927 | 148.8107
Line_1 | 0.29515 | 0.14505 | 0.14613 | 0.30031 | 0.14668 | 0.14978 | 3.4081 | 1.6749 | 1.6874 | 3.4676 | 1.6937 | 1.7295 | 1.2959e-12 | 2.0974 | -0.61521 | 0.18689 | -1.9804 | 0.59461 | -8.0114e-13 | 2.3944 | 3.0947 | 0.10135 | -2.5335 | -3.1063 | 94.3732 | 164.8456 | 46.5606 | -85.663 | -17.0788 | -132.0258 | 0 | 1.9004 | 1.8699 | 0.061309 | 1.8986 | 1.8286 | 0 | -146.3714 | 147.804 | -57.1925 | -145.0927 | 148.8107
Line_2 | 0.078877 | 0.14507 | 0.14613 | 0.083966 | 0.14679 | 0.14968 | 0.91079 | 1.6751 | 1.6874 | 0.96956 | 1.695 | 1.7284 | -0.023036 | 2.0479 | -0.66356 | 0.047297 | -1.9536 | 0.62833 | -0.020858 | 2.4453 | 3.055 | 0.036006 | -2.5573 | -3.0974 | 85.0496 | 164.1837 | 45.907 | -94.4734 | -17.7149 | -132.6563 | 0.03412 | 1.9041 | 1.8528 | 0.061309 | 1.8986 | 1.8286 | -52.7915 | -145.7616 | 148.1614 | -57.1925 | -145.0927 | 148.8107
Line_3 | 0.21512 | 0.0042121 | 0.0018027 | 0.22028 | 0.0011022 | 0.0039669 | 2.484 | 0.048637 | 0.020815 | 2.5436 | 0.012727 | 0.045806 | 9.079e-13 | 0.057129 | 0.0037483 | 0.075499 | 0.0035456 | -0.065196 | -6.394e-13 | -0.072662 | -0.038742 | 0.042801 | -0.023974 | -0.054332 | 97.8048 | -94.5469 | -127.7222 | -82.3409 | -64.1743 | -71.6452 | 0 | 1.9004 | 1.8699 | 0.03412 | 1.9041 | 1.8528 | 0 | -146.3714 | 147.804 | -52.7915 | -145.7616 | 148.1614

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38851 | 0.29547 | 0.30284 | 0.3835 | 0.29347 | 0.29946 | 4.4861 | 3.4118 | 3.4969 | 4.4283 | 3.3887 | 3.4578 | 0.59718 | -3.6834 | 1.307 | -0.23418 | 3.934 | -1.2229 | 0.33426 | -5.3067 | -6.0224 | -0.13735 | 5.0908 | 6.2037 | -87.5437 | -18.2932 | -131.6357 | 92.4152 | 162.603 | 47.659 | 0.15255 | 1.8934 | 1.7623 | 0.061309 | 1.8986 | 1.8286 | -58.3066 | -143.0576 | 150.6092 | -57.1925 | -145.0927 | 148.8107
Line_1 | 0.29515 | 0.14505 | 0.14613 | 0.30031 | 0.14668 | 0.14978 | 3.4081 | 1.6749 | 1.6874 | 3.4676 | 1.6937 | 1.7295 | 1.2959e-12 | 2.0974 | -0.61521 | 0.18689 | -1.9804 | 0.59461 | -8.0114e-13 | 2.3944 | 3.0947 | 0.10135 | -2.5335 | -3.1063 | 94.3732 | 164.8456 | 46.5606 | -85.663 | -17.0788 | -132.0258 | 0 | 1.9004 | 1.8699 | 0.061309 | 1.8986 | 1.8286 | 0 | -146.3714 | 147.804 | -57.1925 | -145.0927 | 148.8107
Line_2 | 0.078877 | 0.14507 | 0.14613 | 0.083966 | 0.14679 | 0.14968 | 0.91079 | 1.6751 | 1.6874 | 0.96956 | 1.695 | 1.7284 | -0.023036 | 2.0479 | -0.66356 | 0.047297 | -1.9536 | 0.62833 | -0.020858 | 2.4453 | 3.055 | 0.036006 | -2.5573 | -3.0974 | 85.0496 | 164.1837 | 45.907 | -94.4734 | -17.7149 | -132.6563 | 0.03412 | 1.9041 | 1.8528 | 0.061309 | 1.8986 | 1.8286 | -52.7915 | -145.7616 | 148.1614 | -57.1925 | -145.0927 | 148.8107
Line_3 | 0.21512 | 0.0042121 | 0.0018027 | 0.22028 | 0.0011022 | 0.0039669 | 2.484 | 0.048637 | 0.020815 | 2.5436 | 0.012727 | 0.045806 | 9.079e-13 | 0.057129 | 0.0037483 | 0.075499 | 0.0035456 | -0.065196 | -6.394e-13 | -0.072662 | -0.038742 | 0.042801 | -0.023974 | -0.054332 | 97.8048 | -94.5469 | -127.7222 | -82.3409 | -64.1743 | -71.6452 | 0 | 1.9004 | 1.8699 | 0.03412 | 1.9041 | 1.8528 | 0 | -146.3714 | 147.804 | -52.7915 | -145.7616 | 148.1614

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23467 | 0.29612 | 0.2977 | 0.23078 | 0.29407 | 0.29557 | 2.7098 | 3.4193 | 3.4375 | 2.6648 | 3.3957 | 3.4129 | 0.8917 | -2.9304 | 0.99317 | -0.71434 | 3.1482 | -0.95006 | 0.6892 | -5.291 | -5.1139 | -0.6132 | 5.1557 | 5.2901 | -71.0024 | -17.258 | -131.9374 | 109.071 | 163.3875 | 47.431 | 0.4159 | 1.7689 | 1.5155 | 0.35328 | 1.779 | 1.5748 | -33.3017 | -136.2376 | 149.0531 | -30.2859 | -138.0217 | 147.6122
Line_1 | 0.19588 | 0.14518 | 0.14548 | 0.19986 | 0.147 | 0.14783 | 2.2618 | 1.6764 | 1.6799 | 2.3078 | 1.6974 | 1.707 | -0.505 | 1.6823 | -0.48629 | 0.60906 | -1.588 | 0.46035 | -0.48833 | 2.4721 | 2.6628 | 0.54201 | -2.5684 | -2.6485 | 108.1852 | 165.1094 | 46.4801 | -71.9523 | -16.2941 | -132.2482 | 0.31059 | 1.7837 | 1.6113 | 0.35328 | 1.779 | 1.5748 | -27.7764 | -139.1269 | 146.8297 | -30.2859 | -138.0217 | 147.6122
Line_2 | 0.027294 | 0.14519 | 0.14548 | 0.031155 | 0.14708 | 0.14774 | 0.31516 | 1.6766 | 1.6798 | 0.35974 | 1.6983 | 1.706 | -0.088508 | 1.6338 | -0.52269 | 0.10528 | -1.5602 | 0.4897 | -0.058226 | 2.5093 | 2.6305 | 0.071187 | -2.5873 | -2.6416 | 117.6367 | 164.4487 | 45.825 | -64.3506 | -16.9308 | -132.8901 | 0.33615 | 1.786 | 1.5966 | 0.35328 | 1.779 | 1.5748 | -29.0241 | -138.6197 | 147.0634 | -30.2859 | -138.0217 | 147.6122
Line_3 | 0.16702 | 0.0035872 | 0.0011449 | 0.17103 | 0.00087082 | 0.0035146 | 1.9285 | 0.041421 | 0.01322 | 1.9749 | 0.010055 | 0.040583 | -0.41988 | 0.048906 | 0.0042504 | 0.47441 | -0.0069415 | -0.055626 | -0.42717 | -0.055378 | -0.020873 | 0.46439 | -0.016563 | -0.033224 | 106.7304 | -90.5752 | -134.6802 | -73.4124 | -25.8818 | -63.7857 | 0.31059 | 1.7837 | 1.6113 | 0.33615 | 1.786 | 1.5966 | -27.7764 | -139.1269 | 146.8297 | -29.0241 | -138.6197 | 147.0634

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23467 | 0.29612 | 0.2977 | 0.23078 | 0.29407 | 0.29557 | 2.7098 | 3.4193 | 3.4375 | 2.6648 | 3.3957 | 3.4129 | 0.8917 | -2.9304 | 0.99317 | -0.71434 | 3.1482 | -0.95006 | 0.6892 | -5.291 | -5.1139 | -0.6132 | 5.1557 | 5.2901 | -71.0024 | -17.258 | -131.9374 | 109.071 | 163.3875 | 47.431 | 0.4159 | 1.7689 | 1.5155 | 0.35328 | 1.779 | 1.5748 | -33.3017 | -136.2376 | 149.0531 | -30.2859 | -138.0217 | 147.6122
Line_1 | 0.19588 | 0.14518 | 0.14548 | 0.19986 | 0.147 | 0.14783 | 2.2618 | 1.6764 | 1.6799 | 2.3078 | 1.6974 | 1.707 | -0.505 | 1.6823 | -0.48629 | 0.60906 | -1.588 | 0.46035 | -0.48833 | 2.4721 | 2.6628 | 0.54201 | -2.5684 | -2.6485 | 108.1852 | 165.1094 | 46.4801 | -71.9523 | -16.2941 | -132.2482 | 0.31059 | 1.7837 | 1.6113 | 0.35328 | 1.779 | 1.5748 | -27.7764 | -139.1269 | 146.8297 | -30.2859 | -138.0217 | 147.6122
Line_2 | 0.027294 | 0.14519 | 0.14548 | 0.031155 | 0.14708 | 0.14774 | 0.31516 | 1.6766 | 1.6798 | 0.35974 | 1.6983 | 1.706 | -0.088508 | 1.6338 | -0.52269 | 0.10528 | -1.5602 | 0.4897 | -0.058226 | 2.5093 | 2.6305 | 0.071187 | -2.5873 | -2.6416 | 117.6367 | 164.4487 | 45.825 | -64.3506 | -16.9308 | -132.8901 | 0.33615 | 1.786 | 1.5966 | 0.35328 | 1.779 | 1.5748 | -29.0241 | -138.6197 | 147.0634 | -30.2859 | -138.0217 | 147.6122
Line_3 | 0.16702 | 0.0035872 | 0.0011449 | 0.17103 | 0.00087082 | 0.0035146 | 1.9285 | 0.041421 | 0.01322 | 1.9749 | 0.010055 | 0.040583 | -0.41988 | 0.048906 | 0.0042504 | 0.47441 | -0.0069415 | -0.055626 | -0.42717 | -0.055378 | -0.020873 | 0.46439 | -0.016563 | -0.033224 | 106.7304 | -90.5752 | -134.6802 | -73.4124 | -25.8818 | -63.7857 | 0.31059 | 1.7837 | 1.6113 | 0.33615 | 1.786 | 1.5966 | -27.7764 | -139.1269 | 146.8297 | -29.0241 | -138.6197 | 147.0634

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55348 | 0.01702 | 0.01702 | 0.54936 | 0.012901 | 0.012901 | 6.3911 | 0.19653 | 0.19653 | 6.3434 | 0.14897 | 0.14897 | 1.5757 | 0.18408 | -0.15476 | -0.61217 | -0.13014 | 0.12727 | 0.446 | -0.26632 | -0.23376 | -0.1761 | 0.20307 | 0.18532 | -75.076 | -84.512 | -84.512 | 104.9588 | 93.9464 | 93.9464 | 0.25623 | 1.6473 | 1.4265 | 0.10042 | 1.6191 | 1.5091 | -59.2717 | -139.8591 | 151.982 | -58.9924 | -143.3999 | 149.4663
Line_1 | 0.35991 | 0.0021629 | 0.0021629 | 0.36413 | 0.0064626 | 0.0064626 | 4.1559 | 0.024975 | 0.024975 | 4.2047 | 0.074623 | 0.074623 | -3.3219e-12 | -0.020741 | 0.022452 | 0.40589 | 0.065638 | -0.063345 | -1.4137e-12 | 0.034297 | 0.031931 | 0.1163 | -0.10144 | -0.093111 | 105.1498 | 93.1353 | 93.1353 | -74.9813 | -86.3057 | -86.3057 | 0 | 1.6049 | 1.563 | 0.10042 | 1.6191 | 1.5091 | 0 | -145.702 | 148.0232 | -58.9924 | -143.3999 | 149.4663
Line_2 | 0.18102 | 0.0021755 | 0.0021755 | 0.18522 | 0.0064385 | 0.0064385 | 2.0903 | 0.02512 | 0.02512 | 2.1388 | 0.074346 | 0.074346 | -0.098094 | -0.022054 | 0.021417 | 0.20628 | 0.064501 | -0.063924 | -0.028794 | 0.033937 | 0.032122 | 0.059799 | -0.10163 | -0.092204 | 105.069 | 92.3909 | 92.3909 | -75.1589 | -85.8005 | -85.8005 | 0.048909 | 1.6112 | 1.5369 | 0.10042 | 1.6191 | 1.5091 | -58.5722 | -144.591 | 148.6977 | -58.9924 | -143.3999 | 149.4663
Line_3 | 0.17679 | 0.0021629 | 0.0021629 | 0.18102 | 0.0021755 | 0.0021755 | 2.0413 | 0.024975 | 0.024975 | 2.0903 | 0.02512 | 0.02512 | -1.6343e-12 | 0.020741 | -0.022452 | 0.098094 | 0.022054 | -0.021417 | -6.8815e-13 | -0.034297 | -0.031931 | 0.028794 | -0.033937 | -0.032122 | 105.3687 | -86.8647 | -86.8647 | -74.931 | -87.6091 | -87.6091 | 0 | 1.6049 | 1.563 | 0.048909 | 1.6112 | 1.5369 | 0 | -145.702 | 148.0232 | -58.5722 | -144.591 | 148.6977

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55348 | 0.01702 | 0.01702 | 0.54936 | 0.012901 | 0.012901 | 6.3911 | 0.19653 | 0.19653 | 6.3434 | 0.14897 | 0.14897 | 1.5757 | 0.18408 | -0.15476 | -0.61217 | -0.13014 | 0.12727 | 0.446 | -0.26632 | -0.23376 | -0.1761 | 0.20307 | 0.18532 | -75.076 | -84.512 | -84.512 | 104.9588 | 93.9464 | 93.9464 | 0.25623 | 1.6473 | 1.4265 | 0.10042 | 1.6191 | 1.5091 | -59.2717 | -139.8591 | 151.982 | -58.9924 | -143.3999 | 149.4663
Line_1 | 0.35991 | 0.0021629 | 0.0021629 | 0.36413 | 0.0064626 | 0.0064626 | 4.1559 | 0.024975 | 0.024975 | 4.2047 | 0.074623 | 0.074623 | -3.3219e-12 | -0.020741 | 0.022452 | 0.40589 | 0.065638 | -0.063345 | -1.4137e-12 | 0.034297 | 0.031931 | 0.1163 | -0.10144 | -0.093111 | 105.1498 | 93.1353 | 93.1353 | -74.9813 | -86.3057 | -86.3057 | 0 | 1.6049 | 1.563 | 0.10042 | 1.6191 | 1.5091 | 0 | -145.702 | 148.0232 | -58.9924 | -143.3999 | 149.4663
Line_2 | 0.18102 | 0.0021755 | 0.0021755 | 0.18522 | 0.0064385 | 0.0064385 | 2.0903 | 0.02512 | 0.02512 | 2.1388 | 0.074346 | 0.074346 | -0.098094 | -0.022054 | 0.021417 | 0.20628 | 0.064501 | -0.063924 | -0.028794 | 0.033937 | 0.032122 | 0.059799 | -0.10163 | -0.092204 | 105.069 | 92.3909 | 92.3909 | -75.1589 | -85.8005 | -85.8005 | 0.048909 | 1.6112 | 1.5369 | 0.10042 | 1.6191 | 1.5091 | -58.5722 | -144.591 | 148.6977 | -58.9924 | -143.3999 | 149.4663
Line_3 | 0.17679 | 0.0021629 | 0.0021629 | 0.18102 | 0.0021755 | 0.0021755 | 2.0413 | 0.024975 | 0.024975 | 2.0903 | 0.02512 | 0.02512 | -1.6343e-12 | 0.020741 | -0.022452 | 0.098094 | 0.022054 | -0.021417 | -6.8815e-13 | -0.034297 | -0.031931 | 0.028794 | -0.033937 | -0.032122 | 105.3687 | -86.8647 | -86.8647 | -74.931 | -87.6091 | -87.6091 | 0 | 1.6049 | 1.563 | 0.048909 | 1.6112 | 1.5369 | 0 | -145.702 | 148.0232 | -58.5722 | -144.591 | 148.6977

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42721 | 0.013137 | 0.013137 | 0.42402 | 0.0099576 | 0.0099576 | 4.9329 | 0.15169 | 0.15169 | 4.8962 | 0.11498 | 0.11498 | 1.819 | 0.12577 | -0.13052 | -1.2389 | -0.090443 | 0.10493 | 1.1551 | -0.19361 | -0.13573 | -0.9872 | 0.14714 | 0.10851 | -67.8383 | -77.2742 | -77.2742 | 112.1965 | 101.1841 | 101.1841 | 0.43681 | 1.522 | 1.2413 | 0.32354 | 1.5021 | 1.3128 | -35.4202 | -134.2666 | 148.8481 | -29.2549 | -137.2371 | 147.1452
Line_1 | 0.2778 | 0.0016694 | 0.0016694 | 0.28106 | 0.0049882 | 0.0049882 | 3.2078 | 0.019277 | 0.019277 | 3.2454 | 0.057598 | 0.057598 | -0.57467 | -0.014583 | 0.018259 | 0.82189 | 0.04563 | -0.052322 | -0.57612 | 0.024786 | 0.018775 | 0.65349 | -0.073506 | -0.054586 | 112.3875 | 100.3731 | 100.3731 | -67.7436 | -79.068 | -79.068 | 0.25368 | 1.4919 | 1.3586 | 0.32354 | 1.5021 | 1.3128 | -22.5404 | -139.1568 | 146.1701 | -29.2549 | -137.2371 | 147.1452
Line_2 | 0.13972 | 0.0016791 | 0.0016791 | 0.14297 | 0.0049696 | 0.0049696 | 1.6134 | 0.019389 | 0.019389 | 1.6508 | 0.057384 | 0.057384 | -0.34707 | -0.015435 | 0.017674 | 0.41704 | 0.044813 | -0.052605 | -0.30733 | 0.024568 | 0.018951 | 0.33371 | -0.07363 | -0.053921 | 112.3067 | 99.6287 | 99.6287 | -67.9212 | -78.5628 | -78.5628 | 0.28734 | 1.4964 | 1.3365 | 0.32354 | 1.5021 | 1.3128 | -26.1686 | -138.2314 | 146.6244 | -29.2549 | -137.2371 | 147.1452
Line_3 | 0.13645 | 0.0016694 | 0.0016694 | 0.13972 | 0.0016791 | 0.0016791 | 1.5756 | 0.019277 | 0.019277 | 1.6134 | 0.019389 | 0.019389 | -0.28335 | 0.014583 | -0.018259 | 0.34707 | 0.015435 | -0.017674 | -0.2819 | -0.024786 | -0.018775 | 0.30733 | -0.024568 | -0.018951 | 112.6064 | -79.6269 | -79.6269 | -67.6933 | -80.3713 | -80.3713 | 0.25368 | 1.4919 | 1.3586 | 0.28734 | 1.4964 | 1.3365 | -22.5404 | -139.1568 | 146.1701 | -26.1686 | -138.2314 | 146.6244

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42721 | 0.013137 | 0.013137 | 0.42402 | 0.0099576 | 0.0099576 | 4.9329 | 0.15169 | 0.15169 | 4.8962 | 0.11498 | 0.11498 | 1.819 | 0.12577 | -0.13052 | -1.2389 | -0.090443 | 0.10493 | 1.1551 | -0.19361 | -0.13573 | -0.9872 | 0.14714 | 0.10851 | -67.8383 | -77.2742 | -77.2742 | 112.1965 | 101.1841 | 101.1841 | 0.43681 | 1.522 | 1.2413 | 0.32354 | 1.5021 | 1.3128 | -35.4202 | -134.2666 | 148.8481 | -29.2549 | -137.2371 | 147.1452
Line_1 | 0.2778 | 0.0016694 | 0.0016694 | 0.28106 | 0.0049882 | 0.0049882 | 3.2078 | 0.019277 | 0.019277 | 3.2454 | 0.057598 | 0.057598 | -0.57467 | -0.014583 | 0.018259 | 0.82189 | 0.04563 | -0.052322 | -0.57612 | 0.024786 | 0.018775 | 0.65349 | -0.073506 | -0.054586 | 112.3875 | 100.3731 | 100.3731 | -67.7436 | -79.068 | -79.068 | 0.25368 | 1.4919 | 1.3586 | 0.32354 | 1.5021 | 1.3128 | -22.5404 | -139.1568 | 146.1701 | -29.2549 | -137.2371 | 147.1452
Line_2 | 0.13972 | 0.0016791 | 0.0016791 | 0.14297 | 0.0049696 | 0.0049696 | 1.6134 | 0.019389 | 0.019389 | 1.6508 | 0.057384 | 0.057384 | -0.34707 | -0.015435 | 0.017674 | 0.41704 | 0.044813 | -0.052605 | -0.30733 | 0.024568 | 0.018951 | 0.33371 | -0.07363 | -0.053921 | 112.3067 | 99.6287 | 99.6287 | -67.9212 | -78.5628 | -78.5628 | 0.28734 | 1.4964 | 1.3365 | 0.32354 | 1.5021 | 1.3128 | -26.1686 | -138.2314 | 146.6244 | -29.2549 | -137.2371 | 147.1452
Line_3 | 0.13645 | 0.0016694 | 0.0016694 | 0.13972 | 0.0016791 | 0.0016791 | 1.5756 | 0.019277 | 0.019277 | 1.6134 | 0.019389 | 0.019389 | -0.28335 | 0.014583 | -0.018259 | 0.34707 | 0.015435 | -0.017674 | -0.2819 | -0.024786 | -0.018775 | 0.30733 | -0.024568 | -0.018951 | 112.6064 | -79.6269 | -79.6269 | -67.6933 | -80.3713 | -80.3713 | 0.25368 | 1.4919 | 1.3586 | 0.28734 | 1.4964 | 1.3365 | -22.5404 | -139.1568 | 146.1701 | -26.1686 | -138.2314 | 146.6244

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2995 | 3.1677 | 3.2242 | 0.29682 | 3.1683 | 3.2237 | 3.4584 | 36.578 | 37.2303 | 3.4273 | 36.584 | 37.2235 | -1.2408 | 9.0595 | 8.8443 | 1.4091 | -3.6917 | -3.5542 | -5.6541 | 7.7404 | 12.5478 | 5.6695 | -3.1427 | -5.0637 | 105.0136 | -164.1887 | 17.3088 | -74.8934 | 15.8598 | -162.7386 | 1.6738 | 0.32577 | 0.41234 | 1.7045 | 0.13252 | 0.1662 | 2.6357 | -123.6781 | 72.1306 | 1.1492 | -123.7322 | 72.1963
Line_1 | 0.14568 | 2.1544 | 2.1908 | 0.14841 | 2.1537 | 2.1916 | 1.6822 | 24.8769 | 25.2974 | 1.7137 | 24.8692 | 25.3064 | 0.76993 | 3.3996e-11 | 2.5407e-11 | -0.72019 | 2.4859 | 2.4487 | 2.7929 | -9.0242e-12 | 2.2645e-11 | -2.8308 | 2.1638 | 3.4196 | -74.3116 | 15.3026 | -162.2684 | 105.4231 | -164.77 | 17.8021 | 1.7222 | 0 | 0 | 1.7045 | 0.13252 | 0.1662 | 0.2765 | 0 | 0 | 1.1492 | -123.7322 | 72.1963
Line_2 | 0.14569 | 1.0157 | 1.0317 | 0.14841 | 1.0149 | 1.0324 | 1.6823 | 11.7279 | 11.9129 | 1.7137 | 11.7195 | 11.9206 | 0.71923 | -0.65951 | -0.56398 | -0.6889 | 1.2058 | 1.1055 | 2.799 | -0.50951 | -0.87434 | -2.8387 | 0.9789 | 1.6441 | -74.9693 | 17.3484 | -164.0369 | 104.7901 | -162.8038 | 16.1136 | 1.7179 | 0.071061 | 0.087338 | 1.7045 | 0.13252 | 0.1662 | 0.61974 | -124.9634 | 73.1397 | 1.1492 | -123.7322 | 72.1963
Line_3 | 0.0024323 | 1.1403 | 1.1596 | 0.0018868 | 1.1396 | 1.1605 | 0.028086 | 13.1665 | 13.3903 | 0.021787 | 13.1594 | 13.4006 | 0.031489 | 1.8131e-11 | 1.3759e-11 | -0.031877 | 0.699 | 0.69174 | -0.036716 | -4.2234e-12 | 1.1629e-11 | -0.019613 | 0.62117 | 0.94408 | 49.6584 | 13.5489 | -160.7618 | 149.0165 | -166.5897 | 19.3706 | 1.7222 | 0 | 0 | 1.7179 | 0.071061 | 0.087338 | 0.2765 | 0 | 0 | 0.61974 | -124.9634 | 73.1397

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2995 | 3.1677 | 3.2242 | 0.29682 | 3.1683 | 3.2237 | 3.4584 | 36.578 | 37.2303 | 3.4273 | 36.584 | 37.2235 | -1.2408 | 9.0595 | 8.8443 | 1.4091 | -3.6917 | -3.5542 | -5.6541 | 7.7404 | 12.5478 | 5.6695 | -3.1427 | -5.0637 | 105.0136 | -164.1887 | 17.3088 | -74.8934 | 15.8598 | -162.7386 | 1.6738 | 0.32577 | 0.41234 | 1.7045 | 0.13252 | 0.1662 | 2.6357 | -123.6781 | 72.1306 | 1.1492 | -123.7322 | 72.1963
Line_1 | 0.14568 | 2.1544 | 2.1908 | 0.14841 | 2.1537 | 2.1916 | 1.6822 | 24.8769 | 25.2974 | 1.7137 | 24.8692 | 25.3064 | 0.76993 | 3.3996e-11 | 2.5407e-11 | -0.72019 | 2.4859 | 2.4487 | 2.7929 | -9.0242e-12 | 2.2645e-11 | -2.8308 | 2.1638 | 3.4196 | -74.3116 | 15.3026 | -162.2684 | 105.4231 | -164.77 | 17.8021 | 1.7222 | 0 | 0 | 1.7045 | 0.13252 | 0.1662 | 0.2765 | 0 | 0 | 1.1492 | -123.7322 | 72.1963
Line_2 | 0.14569 | 1.0157 | 1.0317 | 0.14841 | 1.0149 | 1.0324 | 1.6823 | 11.7279 | 11.9129 | 1.7137 | 11.7195 | 11.9206 | 0.71923 | -0.65951 | -0.56398 | -0.6889 | 1.2058 | 1.1055 | 2.799 | -0.50951 | -0.87434 | -2.8387 | 0.9789 | 1.6441 | -74.9693 | 17.3484 | -164.0369 | 104.7901 | -162.8038 | 16.1136 | 1.7179 | 0.071061 | 0.087338 | 1.7045 | 0.13252 | 0.1662 | 0.61974 | -124.9634 | 73.1397 | 1.1492 | -123.7322 | 72.1963
Line_3 | 0.0024323 | 1.1403 | 1.1596 | 0.0018868 | 1.1396 | 1.1605 | 0.028086 | 13.1665 | 13.3903 | 0.021787 | 13.1594 | 13.4006 | 0.031489 | 1.8131e-11 | 1.3759e-11 | -0.031877 | 0.699 | 0.69174 | -0.036716 | -4.2234e-12 | 1.1629e-11 | -0.019613 | 0.62117 | 0.94408 | 49.6584 | 13.5489 | -160.7618 | 149.0165 | -166.5897 | 19.3706 | 1.7222 | 0 | 0 | 1.7179 | 0.071061 | 0.087338 | 0.2765 | 0 | 0 | 0.61974 | -124.9634 | 73.1397

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29824 | 0.91156 | 0.94265 | 0.29588 | 0.91274 | 0.94141 | 3.4438 | 10.5257 | 10.8848 | 3.4165 | 10.5394 | 10.8705 | -1.075 | 6.6129 | 6.6586 | 1.2216 | -6.2689 | -6.0913 | -5.4066 | 4.1815 | 7.2683 | 5.4388 | -4.0082 | -6.414 | 105.2542 | -139.7445 | 41.9849 | -74.7073 | 40.3848 | -138.1382 | 1.6007 | 0.74332 | 0.90559 | 1.6316 | 0.70599 | 0.81372 | 4.0085 | -107.4382 | 89.4915 | 2.6335 | -107.0207 | 88.34
Line_1 | 0.14553 | 0.63854 | 0.67359 | 0.14794 | 0.63733 | 0.67498 | 1.6804 | 7.3733 | 7.778 | 1.7083 | 7.3592 | 7.794 | 0.66667 | -4.0276 | -4.0804 | -0.62591 | 4.1987 | 4.3757 | 2.6901 | -2.9596 | -4.1729 | -2.716 | 3.0601 | 4.5909 | -74.2471 | 37.0839 | -138.205 | 105.6109 | -143.1061 | 41.9653 | 1.6493 | 0.67786 | 0.75037 | 1.6316 | 0.70599 | 0.81372 | 1.8344 | -106.6064 | 87.437 | 2.6335 | -107.0207 | 88.34
Line_2 | 0.14553 | 0.28089 | 0.26509 | 0.14794 | 0.2793 | 0.26643 | 1.6805 | 3.2434 | 3.061 | 1.7083 | 3.2251 | 3.0765 | 0.61992 | -2.059 | -1.6494 | -0.59571 | 2.0701 | 1.7156 | 2.6938 | -0.92533 | -1.7539 | -2.7228 | 0.94812 | 1.8231 | -74.9048 | 48.747 | -138.836 | 104.9746 | -131.6286 | 41.5994 | 1.6449 | 0.69598 | 0.78656 | 1.6316 | 0.70599 | 0.81372 | 2.1354 | -107.0535 | 87.9236 | 2.6335 | -107.0207 | 88.34
Line_3 | 0.0022105 | 0.3683 | 0.40783 | 0.0019016 | 0.36739 | 0.40927 | 0.025525 | 4.2528 | 4.7092 | 0.021958 | 4.2423 | 4.7258 | 0.028782 | -2.038 | -2.4824 | -0.032381 | 2.0907 | 2.6016 | -0.030722 | -2.0389 | -2.5149 | -0.016 | 2.0849 | 2.6549 | 48.7021 | 28.3812 | -137.9357 | 155.8409 | -151.9739 | 42.3437 | 1.6493 | 0.67786 | 0.75037 | 1.6449 | 0.69598 | 0.78656 | 1.8344 | -106.6064 | 87.437 | 2.1354 | -107.0535 | 87.9236

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29824 | 0.91156 | 0.94265 | 0.29588 | 0.91274 | 0.94141 | 3.4438 | 10.5257 | 10.8848 | 3.4165 | 10.5394 | 10.8705 | -1.075 | 6.6129 | 6.6586 | 1.2216 | -6.2689 | -6.0913 | -5.4066 | 4.1815 | 7.2683 | 5.4388 | -4.0082 | -6.414 | 105.2542 | -139.7445 | 41.9849 | -74.7073 | 40.3848 | -138.1382 | 1.6007 | 0.74332 | 0.90559 | 1.6316 | 0.70599 | 0.81372 | 4.0085 | -107.4382 | 89.4915 | 2.6335 | -107.0207 | 88.34
Line_1 | 0.14553 | 0.63854 | 0.67359 | 0.14794 | 0.63733 | 0.67498 | 1.6804 | 7.3733 | 7.778 | 1.7083 | 7.3592 | 7.794 | 0.66667 | -4.0276 | -4.0804 | -0.62591 | 4.1987 | 4.3757 | 2.6901 | -2.9596 | -4.1729 | -2.716 | 3.0601 | 4.5909 | -74.2471 | 37.0839 | -138.205 | 105.6109 | -143.1061 | 41.9653 | 1.6493 | 0.67786 | 0.75037 | 1.6316 | 0.70599 | 0.81372 | 1.8344 | -106.6064 | 87.437 | 2.6335 | -107.0207 | 88.34
Line_2 | 0.14553 | 0.28089 | 0.26509 | 0.14794 | 0.2793 | 0.26643 | 1.6805 | 3.2434 | 3.061 | 1.7083 | 3.2251 | 3.0765 | 0.61992 | -2.059 | -1.6494 | -0.59571 | 2.0701 | 1.7156 | 2.6938 | -0.92533 | -1.7539 | -2.7228 | 0.94812 | 1.8231 | -74.9048 | 48.747 | -138.836 | 104.9746 | -131.6286 | 41.5994 | 1.6449 | 0.69598 | 0.78656 | 1.6316 | 0.70599 | 0.81372 | 2.1354 | -107.0535 | 87.9236 | 2.6335 | -107.0207 | 88.34
Line_3 | 0.0022105 | 0.3683 | 0.40783 | 0.0019016 | 0.36739 | 0.40927 | 0.025525 | 4.2528 | 4.7092 | 0.021958 | 4.2423 | 4.7258 | 0.028782 | -2.038 | -2.4824 | -0.032381 | 2.0907 | 2.6016 | -0.030722 | -2.0389 | -2.5149 | -0.016 | 2.0849 | 2.6549 | 48.7021 | 28.3812 | -137.9357 | 155.8409 | -151.9739 | 42.3437 | 1.6493 | 0.67786 | 0.75037 | 1.6449 | 0.69598 | 0.78656 | 1.8344 | -106.6064 | 87.437 | 2.1354 | -107.0535 | 87.9236

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0093199 | 2.5722 | 2.6486 | 0.0070643 | 2.5728 | 2.6478 | 0.10762 | 29.7018 | 30.5839 | 0.081572 | 29.7086 | 30.5742 | -0.00082833 | 10.8762 | 12.1362 | 0.0019381 | -4.3576 | -4.8408 | -0.15296 | 3.772 | 9.6789 | 0.11743 | -1.5398 | -3.8397 | 94.2859 | -155.7471 | 30.903 | -87.2557 | 24.3016 | -149.1425 | 1.4214 | 0.38758 | 0.50756 | 1.4397 | 0.15557 | 0.20209 | 3.9756 | -136.62 | 69.4764 | 1.7987 | -136.2374 | 69.2783
Line_1 | 0.0011843 | 1.7165 | 1.7636 | 0.0035388 | 1.7156 | 1.7647 | 0.013676 | 19.8206 | 20.3638 | 0.040862 | 19.8106 | 20.3766 | 0.00051309 | -9.2451e-11 | 2.6563e-12 | -0.00071204 | 2.9064 | 3.2247 | 0.019858 | -7.3318e-11 | -1.218e-10 | -0.058827 | 1.0249 | 2.5609 | -88.0668 | 24.4112 | -149.2438 | 92.4922 | -155.6619 | 30.8237 | 1.4526 | 0 | 0 | 1.4397 | 0.15557 | 0.20209 | 0.45314 | 0 | 0 | 1.7987 | -136.2374 | 69.2783
Line_2 | 0.0011912 | 0.85801 | 0.88208 | 0.0035256 | 0.8572 | 0.88314 | 0.013755 | 9.9075 | 10.1854 | 0.04071 | 9.8981 | 10.1976 | 3.2768e-05 | -0.7282 | -0.80345 | -0.0012261 | 1.4512 | 1.6161 | 0.019893 | -0.26303 | -0.6333 | -0.058599 | 0.51487 | 1.2788 | -88.8112 | 24.3747 | -149.2102 | 92.9973 | -155.7716 | 30.925 | 1.4462 | 0.078148 | 0.10044 | 1.4397 | 0.15557 | 0.20209 | 1.0944 | -135.7653 | 69.0358 | 1.7987 | -136.2374 | 69.2783
Line_3 | 0.0011843 | 0.85894 | 0.88092 | 0.0011912 | 0.85801 | 0.88208 | 0.013676 | 9.9181 | 10.172 | 0.013755 | 9.9075 | 10.1854 | -0.00051309 | -4.6332e-11 | 1.4343e-12 | -3.277e-05 | 0.7282 | 0.80345 | -0.019858 | -3.6599e-11 | -6.0836e-11 | -0.019893 | 0.26303 | 0.6333 | 91.9332 | 24.5207 | -149.345 | 91.1888 | -155.6253 | 30.7898 | 1.4526 | 0 | 0 | 1.4462 | 0.078148 | 0.10044 | 0.45314 | 0 | 0 | 1.0944 | -135.7653 | 69.0358

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0093199 | 2.5722 | 2.6486 | 0.0070643 | 2.5728 | 2.6478 | 0.10762 | 29.7018 | 30.5839 | 0.081572 | 29.7086 | 30.5742 | -0.00082833 | 10.8762 | 12.1362 | 0.0019381 | -4.3576 | -4.8408 | -0.15296 | 3.772 | 9.6789 | 0.11743 | -1.5398 | -3.8397 | 94.2859 | -155.7471 | 30.903 | -87.2557 | 24.3016 | -149.1425 | 1.4214 | 0.38758 | 0.50756 | 1.4397 | 0.15557 | 0.20209 | 3.9756 | -136.62 | 69.4764 | 1.7987 | -136.2374 | 69.2783
Line_1 | 0.0011843 | 1.7165 | 1.7636 | 0.0035388 | 1.7156 | 1.7647 | 0.013676 | 19.8206 | 20.3638 | 0.040862 | 19.8106 | 20.3766 | 0.00051309 | -9.2451e-11 | 2.6563e-12 | -0.00071204 | 2.9064 | 3.2247 | 0.019858 | -7.3318e-11 | -1.218e-10 | -0.058827 | 1.0249 | 2.5609 | -88.0668 | 24.4112 | -149.2438 | 92.4922 | -155.6619 | 30.8237 | 1.4526 | 0 | 0 | 1.4397 | 0.15557 | 0.20209 | 0.45314 | 0 | 0 | 1.7987 | -136.2374 | 69.2783
Line_2 | 0.0011912 | 0.85801 | 0.88208 | 0.0035256 | 0.8572 | 0.88314 | 0.013755 | 9.9075 | 10.1854 | 0.04071 | 9.8981 | 10.1976 | 3.2768e-05 | -0.7282 | -0.80345 | -0.0012261 | 1.4512 | 1.6161 | 0.019893 | -0.26303 | -0.6333 | -0.058599 | 0.51487 | 1.2788 | -88.8112 | 24.3747 | -149.2102 | 92.9973 | -155.7716 | 30.925 | 1.4462 | 0.078148 | 0.10044 | 1.4397 | 0.15557 | 0.20209 | 1.0944 | -135.7653 | 69.0358 | 1.7987 | -136.2374 | 69.2783
Line_3 | 0.0011843 | 0.85894 | 0.88092 | 0.0011912 | 0.85801 | 0.88208 | 0.013676 | 9.9181 | 10.172 | 0.013755 | 9.9075 | 10.1854 | -0.00051309 | -4.6332e-11 | 1.4343e-12 | -3.277e-05 | 0.7282 | 0.80345 | -0.019858 | -3.6599e-11 | -6.0836e-11 | -0.019893 | 0.26303 | 0.6333 | 91.9332 | 24.5207 | -149.345 | 91.1888 | -155.6253 | 30.7898 | 1.4526 | 0 | 0 | 1.4462 | 0.078148 | 0.10044 | 0.45314 | 0 | 0 | 1.0944 | -135.7653 | 69.0358

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0080483 | 0.88736 | 0.98258 | 0.0061004 | 0.88794 | 0.98153 | 0.092933 | 10.2464 | 11.3459 | 0.070442 | 10.253 | 11.3337 | -0.0089567 | 5.1606 | 6.7535 | 0.0075233 | -4.4276 | -5.5821 | -0.12586 | 3.945 | 6.5686 | 0.096673 | -3.9715 | -5.4838 | 98.8743 | -149.2553 | 46.2731 | -82.6673 | 30.8654 | -133.8231 | 1.3577 | 0.63396 | 0.83035 | 1.3765 | 0.58011 | 0.69042 | 4.8037 | -111.8594 | 90.4779 | 2.8827 | -107.2426 | 90.6676
Line_1 | 0.0010227 | 0.59317 | 0.65246 | 0.0030559 | 0.59235 | 0.65373 | 0.01181 | 6.8493 | 7.5339 | 0.035287 | 6.8399 | 7.5486 | 0.0013799 | -2.6366 | -3.1934 | -0.0035556 | 2.9579 | 3.7134 | 0.01635 | -2.6449 | -3.1857 | -0.048443 | 2.6448 | 3.6569 | -83.4784 | 31.1356 | -134.0322 | 97.0806 | -149.0444 | 46.1071 | 1.3894 | 0.54525 | 0.59872 | 1.3765 | 0.58011 | 0.69042 | 1.6973 | -103.7746 | 90.8984 | 2.8827 | -107.2426 | 90.6676
Line_2 | 0.0010287 | 0.29636 | 0.32657 | 0.0030446 | 0.29559 | 0.3278 | 0.011878 | 3.422 | 3.7709 | 0.035156 | 3.4132 | 3.7851 | 0.0010073 | -1.399 | -1.7254 | -0.0039677 | 1.4697 | 1.8687 | 0.016398 | -1.3243 | -1.7087 | -0.04823 | 1.3267 | 1.8269 | -84.2228 | 31.0458 | -133.9636 | 97.5857 | -149.3153 | 46.316 | 1.3831 | 0.56295 | 0.64397 | 1.3765 | 0.58011 | 0.69042 | 2.2619 | -105.5255 | 90.7571 | 2.8827 | -107.2426 | 90.6676
Line_3 | 0.0010227 | 0.29723 | 0.32526 | 0.0010287 | 0.29636 | 0.32657 | 0.01181 | 3.4321 | 3.7557 | 0.011878 | 3.422 | 3.7709 | -0.0013799 | -1.3274 | -1.5862 | -0.0010073 | 1.399 | 1.7254 | -0.01635 | -1.3191 | -1.5939 | -0.016398 | 1.3243 | 1.7087 | 96.5216 | 31.4045 | -134.2408 | 95.7772 | -148.9542 | 46.0364 | 1.3894 | 0.54525 | 0.59872 | 1.3831 | 0.56295 | 0.64397 | 1.6973 | -103.7746 | 90.8984 | 2.2619 | -105.5255 | 90.7571

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0080483 | 0.88736 | 0.98258 | 0.0061004 | 0.88794 | 0.98153 | 0.092933 | 10.2464 | 11.3459 | 0.070442 | 10.253 | 11.3337 | -0.0089567 | 5.1606 | 6.7535 | 0.0075233 | -4.4276 | -5.5821 | -0.12586 | 3.945 | 6.5686 | 0.096673 | -3.9715 | -5.4838 | 98.8743 | -149.2553 | 46.2731 | -82.6673 | 30.8654 | -133.8231 | 1.3577 | 0.63396 | 0.83035 | 1.3765 | 0.58011 | 0.69042 | 4.8037 | -111.8594 | 90.4779 | 2.8827 | -107.2426 | 90.6676
Line_1 | 0.0010227 | 0.59317 | 0.65246 | 0.0030559 | 0.59235 | 0.65373 | 0.01181 | 6.8493 | 7.5339 | 0.035287 | 6.8399 | 7.5486 | 0.0013799 | -2.6366 | -3.1934 | -0.0035556 | 2.9579 | 3.7134 | 0.01635 | -2.6449 | -3.1857 | -0.048443 | 2.6448 | 3.6569 | -83.4784 | 31.1356 | -134.0322 | 97.0806 | -149.0444 | 46.1071 | 1.3894 | 0.54525 | 0.59872 | 1.3765 | 0.58011 | 0.69042 | 1.6973 | -103.7746 | 90.8984 | 2.8827 | -107.2426 | 90.6676
Line_2 | 0.0010287 | 0.29636 | 0.32657 | 0.0030446 | 0.29559 | 0.3278 | 0.011878 | 3.422 | 3.7709 | 0.035156 | 3.4132 | 3.7851 | 0.0010073 | -1.399 | -1.7254 | -0.0039677 | 1.4697 | 1.8687 | 0.016398 | -1.3243 | -1.7087 | -0.04823 | 1.3267 | 1.8269 | -84.2228 | 31.0458 | -133.9636 | 97.5857 | -149.3153 | 46.316 | 1.3831 | 0.56295 | 0.64397 | 1.3765 | 0.58011 | 0.69042 | 2.2619 | -105.5255 | 90.7571 | 2.8827 | -107.2426 | 90.6676
Line_3 | 0.0010227 | 0.29723 | 0.32526 | 0.0010287 | 0.29636 | 0.32657 | 0.01181 | 3.4321 | 3.7557 | 0.011878 | 3.422 | 3.7709 | -0.0013799 | -1.3274 | -1.5862 | -0.0010073 | 1.399 | 1.7254 | -0.01635 | -1.3191 | -1.5939 | -0.016398 | 1.3243 | 1.7087 | 96.5216 | 31.4045 | -134.2408 | 95.7772 | -148.9542 | 46.0364 | 1.3894 | 0.54525 | 0.59872 | 1.3831 | 0.56295 | 0.64397 | 1.6973 | -103.7746 | 90.8984 | 2.2619 | -105.5255 | 90.7571