## LLL_max
name | pf_ikss_ka | pf_skss_mw | pf_rk_ohm | pf_xk_ohm | pf_vm_pu | pf_va_degree
Bus_0 | 5.2486 | 1000.0001 | 1.3244 | 13.2439 | 0 | 84.2894
Bus_1 | 5.4963 | 190.3978 | 0.10773 | 2.3084 | 0 | 87.328
Bus_2 | 4.283 | 148.3662 | 0.62773 | 2.8984 | 0 | 77.7798
Bus_3 | 3.4587 | 119.8128 | 1.1477 | 3.4884 | 0 | 71.7883
Bus_4 | 3.4587 | 119.8128 | 1.1477 | 3.4884 | 0 | 71.7883

## LLL_max_branch
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_vm_pu
Line_0 | 0 | 4.283 | 0 | 9.2778 | 0 | 148.3662 | 6.297e-19 | -1e-07 | -4.9284e-19 | -1e-07
Line_1 | 3.4587 | 0 | 6.7756 | 0 | 119.8128 | 0 | -1e-07 | 1.6014e-19 | -1e-07 | -1.2512e-19
Line_2 | 3.4587 | 0 | 6.7756 | 0 | 119.8128 | 0 | -1e-07 | 1.6014e-19 | -1e-07 | -1.2512e-19

## LLL_max_fault
name | pf_ikss_ka | pf_skss_mw | pf_rk_ohm | pf_xk_ohm | pf_vm_pu | pf_va_degree
Bus_0 | 3.618 | 689.314 | 1.3244 | 13.2439 | 0.40283 | 45
Bus_1 | 1.4245 | 49.3473 | 0.10773 | 2.3084 | 0.87234 | 45
Bus_2 | 1.3097 | 45.3689 | 0.62773 | 2.8984 | 0.80202 | 45
Bus_3 | 1.2119 | 41.9813 | 1.1477 | 3.4884 | 0.74213 | 45
Bus_4 | 1.2119 | 41.9813 | 1.1477 | 3.4884 | 0.74213 | 45

## LLL_max_fault_branch
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_vm_pu
Line_0 | 0 | 1.3097 | 0 | 2.8371 | 0 | 45.3689 | -6.0676e-09 | -25.7292 | 5.5265e-09 | -25.7292
Line_1 | 1.2119 | 0 | 2.3741 | 0 | 41.9813 | 0 | -22.0304 | -2.495e-09 | -22.0304 | 1.6066e-09
Line_2 | 1.2119 | 0 | 2.3741 | 0 | 41.9813 | 0 | -22.0304 | -2.495e-09 | -22.0304 | 1.6066e-09

## LLL_min
name | pf_ikss_ka | pf_skss_mw | pf_rk_ohm | pf_xk_ohm | pf_vm_pu | pf_va_degree
Bus_0 | 4.1989 | 800 | 1.505 | 15.0499 | 0 | 84.2894
Bus_1 | 4.7732 | 165.3474 | 0.11535 | 2.4164 | 0 | 87.2669
Bus_2 | 3.6016 | 124.7634 | 1.1138 | 3.0064 | 0 | 69.6723
Bus_3 | 2.7686 | 95.9057 | 2.1122 | 3.5964 | 0 | 59.5744
Bus_4 | 2.7686 | 95.9057 | 2.1122 | 3.5964 | 0 | 59.5744

## LLL_min_branch
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_vm_pu
Line_0 | 0 | 3.6016 | 0 | 6.8381 | 0 | 124.7634 | 7.2789e-20 | -1e-07 | 2.6702e-19 | -1e-07
Line_1 | 2.7686 | 0 | 4.6525 | 0 | 95.9057 | 0 | -1e-07 | 1.7283e-20 | -1e-07 | 6.3218e-20
Line_2 | 2.7686 | 0 | 4.6525 | 0 | 95.9057 | 0 | -1e-07 | 1.7283e-20 | -1e-07 | 6.3218e-20

## LLL_min_fault
name | pf_ikss_ka | pf_skss_mw | pf_rk_ohm | pf_xk_ohm | pf_vm_pu | pf_va_degree
Bus_0 | 3.0129 | 574.037 | 1.505 | 15.0499 | 0.33546 | 45
Bus_1 | 1.2817 | 44.3979 | 0.11535 | 2.4164 | 0.78485 | 45
Bus_2 | 1.1462 | 39.7072 | 1.1138 | 3.0064 | 0.70193 | 45
Bus_3 | 1.0349 | 35.8516 | 2.1122 | 3.5964 | 0.63377 | 45
Bus_4 | 1.0349 | 35.8516 | 2.1122 | 3.5964 | 0.63377 | 45

## LLL_min_fault_branch
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_vm_pu
Line_0 | 0 | 1.1462 | 0 | 2.1763 | 0 | 39.7072 | -5.1465e-09 | -19.7082 | 4.6774e-09 | -19.7082
Line_1 | 1.0349 | 0 | 1.7392 | 0 | 35.8516 | 0 | -16.0667 | -2.233e-09 | -16.0667 | 1.0258e-09
Line_2 | 1.0349 | 0 | 1.7392 | 0 | 35.8516 | 0 | -16.0667 | -2.233e-09 | -16.0667 | 1.0258e-09

## LL_max
name | pf_ikss_a_ka | pf_ikss_b_ka | pf_ikss_c_ka | pf_skss_a_mw | pf_skss_b_mw | pf_skss_c_mw | pf_rk0_ohm | pf_xk0_ohm | pf_rk1_ohm | pf_xk1_ohm | pf_rk2_ohm | pf_xk2_ohm | pf_vm_a_pu | pf_vm_b_pu | pf_vm_c_pu | pf_va_a_degree | pf_va_b_degree | pf_va_c_degree
Bus_0 | 0 | 4.5455 | 4.5455 | 0 | 288.6752 | 288.6752 | 1.3244 | 13.2439 | 1.3244 | 13.2439 | 1.3244 | 13.2439 | 0.95263 | 0 | 0.95263 | -8.6946e-11 | 0 | -180
Bus_1 | 0 | 4.7599 | 4.7599 | 0 | 54.9631 | 54.9631 | 1.0082e-06 | 0.46821 | 0.10773 | 2.3084 | 0.10773 | 2.3084 | 0.95263 | 0 | 0.95263 | -4.0695e-12 | 0 | -180
Bus_2 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 3.7103 | 1.9273 | 0.62773 | 2.8984 | 0.62773 | 2.8984 | 0.95263 | 0 | 0.95263 | -1.2525e-11 | 0 | -180
Bus_3 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 7.4131 | 3.3901 | 1.1477 | 3.4884 | 1.1477 | 3.4884 | 0.95263 | 0 | 0.95263 | -1.4713e-11 | 0 | -180
Bus_4 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 7.4131 | 3.3901 | 1.1477 | 3.4884 | 1.1477 | 3.4884 | 0.95263 | 0 | 0.95263 | -1.4703e-11 | 0 | -180

## LL_max_branch
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw
Line_0 | 0 | 0 | 0 | 0 | 3.7092 | 3.7092 | 0 | 0 | 0 | 0 | 42.8296 | 42.8296 | -5.2106e-14 | -7.816e-15 | 5.2106e-15 | 3.6475e-14 | -23.0225 | 23.0225 | -3.1264e-14 | 5.7634e-09 | -5.7634e-09 | 2.6053e-14 | 4.9861 | -4.9861
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 0 | 0 | 0 | 34.587 | 34.587 | 0 | 0 | 0 | 1.0421e-14 | -18.0699 | 18.0699 | -1.5632e-14 | 2.8659e-14 | 1.1188e-21 | 5.2106e-15 | 5.9452 | -5.9452 | -1.5632e-14 | 1.9211e-09 | -1.9211e-09
Line_2 | 0 | 2.9953 | 2.9953 | 0 | 0 | 0 | 0 | 34.587 | 34.587 | 0 | 0 | 0 | -5.2106e-15 | -18.0699 | 18.0699 | -5.2106e-15 | 1.8237e-14 | 1.1188e-21 | -4.1493e-29 | 5.9452 | -5.9452 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09

## LL_max_fault
name | pf_ikss_a_ka | pf_ikss_b_ka | pf_ikss_c_ka | pf_skss_a_mw | pf_skss_b_mw | pf_skss_c_mw | pf_rk0_ohm | pf_xk0_ohm | pf_rk1_ohm | pf_xk1_ohm | pf_rk2_ohm | pf_xk2_ohm | pf_vm_a_pu | pf_vm_b_pu | pf_vm_c_pu | pf_va_a_degree | pf_va_b_degree | pf_va_c_degree
Bus_0 | 0 | 3.7342 | 3.7342 | 0 | 237.1508 | 237.1508 | 1.3244 | 13.2439 | 1.3244 | 13.2439 | 1.3244 | 13.2439 | 1.0202 | 0.24004 | 0.89607 | 5.7662 | -121.3466 | 173.4316
Bus_1 | 0 | 2.011 | 2.011 | 0 | 23.2205 | 23.2205 | 1.0082e-06 | 0.46821 | 0.10773 | 2.3084 | 0.10773 | 2.3084 | 1.1075 | 0.71098 | 0.91717 | 17.922 | -106.528 | 158.1868
Bus_2 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 3.7103 | 1.9273 | 0.62773 | 2.8984 | 0.62773 | 2.8984 | 1.0759 | 0.62335 | 0.92294 | 16.2567 | -104.913 | 160.9544
Bus_3 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 7.4131 | 3.3901 | 1.1477 | 3.4884 | 1.1477 | 3.4884 | 1.0531 | 0.55464 | 0.92719 | 14.8259 | -103.6532 | 163.1035
Bus_4 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 7.4131 | 3.3901 | 1.1477 | 3.4884 | 1.1477 | 3.4884 | 1.0531 | 0.55464 | 0.92719 | 14.8259 | -103.6532 | 163.1035

## LL_max_fault_branch
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw
Line_0 | 0 | 0 | 0 | 0 | 1.7631 | 1.7631 | 0 | 0 | 0 | 0 | 20.3584 | 20.3584 | -1.4329e-14 | -9.5548e-10 | -3.075e-09 | 1.8237e-14 | -17.4596 | 1.9173 | -1.3027e-14 | 4.0277e-09 | -3.5664e-10 | 1.3027e-14 | -2.1579 | -13.3845
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 0 | 0 | 0 | 18.1144 | 18.1144 | 0 | 0 | 0 | -2.6053e-15 | -14.6611 | 2.3562 | -1.0421e-14 | -4.7339e-10 | -1.0337e-09 | -9.7588e-30 | -0.96958 | -11.3353 | -5.2106e-15 | 1.3544e-09 | -3.8387e-10
Line_2 | 0 | 1.5688 | 1.5688 | 0 | 0 | 0 | 0 | 18.1144 | 18.1144 | 0 | 0 | 0 | -5.2106e-15 | -14.6611 | 2.3562 | -2.6053e-15 | -4.7337e-10 | -1.0337e-09 | -1.9377e-29 | -0.96958 | -11.3353 | 2.6053e-15 | 1.3544e-09 | -3.8385e-10

## LL_min
name | pf_ikss_a_ka | pf_ikss_b_ka | pf_ikss_c_ka | pf_skss_a_mw | pf_skss_b_mw | pf_skss_c_mw | pf_rk0_ohm | pf_xk0_ohm | pf_rk1_ohm | pf_xk1_ohm | pf_rk2_ohm | pf_xk2_ohm | pf_vm_a_pu | pf_vm_b_pu | pf_vm_c_pu | pf_va_a_degree | pf_va_b_degree | pf_va_c_degree
Bus_0 | 0 | 3.6364 | 3.6364 | 0 | 230.9401 | 230.9401 | 1.505 | 15.0499 | 1.505 | 15.0499 | 1.505 | 15.0499 | 0.86603 | 0 | 0.86603 | 1.7199e-10 | 0 | 180
Bus_1 | 0 | 4.1337 | 4.1337 | 0 | 47.7317 | 47.7317 | 2.0368e-06 | 0.4803 | 0.11535 | 2.4164 | 0.11535 | 2.4164 | 0.86603 | 0 | 0.86603 | 3.0758e-11 | 0 | 180
Bus_2 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 7.1237 | 1.8998 | 1.1138 | 3.0064 | 1.1138 | 3.0064 | 0.86603 | 0 | 0.86603 | 1.723e-10 | 0 | 180
Bus_3 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 14.2328 | 3.339 | 2.1122 | 3.5964 | 2.1122 | 3.5964 | 0.86603 | 0 | 0.86603 | 1.9334e-10 | 0 | 180
Bus_4 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 14.2328 | 3.339 | 2.1122 | 3.5964 | 2.1122 | 3.5964 | 0.86603 | 0 | 0.86603 | 1.9334e-10 | 0 | 180

## LL_min_branch
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw
Line_0 | 0 | 0 | 0 | 0 | 3.1191 | 3.1191 | 0 | 0 | 0 | 0 | 36.0161 | 36.0161 | 9.4739e-15 | 1.6579e-14 | 2.3685e-15 | 2.3685e-15 | -16.8865 | 16.8865 | -4.737e-15 | 4.7631e-09 | -4.7631e-09 | 2.0867e-29 | 6.2558 | -6.2558
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 0 | 0 | 0 | 27.6856 | 27.6856 | 0 | 0 | 0 | -5.9212e-15 | -11.9365 | 11.9365 | -2.3685e-15 | 2.3685e-15 | -1.4429e-20 | 4.737e-15 | 7.0103 | -7.0103 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09
Line_2 | 0 | 2.3976 | 2.3976 | 0 | 0 | 0 | 0 | 27.6856 | 27.6856 | 0 | 0 | 0 | -7.1054e-15 | -11.9365 | 11.9365 | -2.3685e-15 | 2.3685e-15 | -1.4429e-20 | 7.1054e-15 | 7.0103 | -7.0103 | -4.737e-15 | 1.5877e-09 | -1.5877e-09

## LL_min_fault
name | pf_ikss_a_ka | pf_ikss_b_ka | pf_ikss_c_ka | pf_skss_a_mw | pf_skss_b_mw | pf_skss_c_mw | pf_rk0_ohm | pf_xk0_ohm | pf_rk1_ohm | pf_xk1_ohm | pf_rk2_ohm | pf_xk2_ohm | pf_vm_a_pu | pf_vm_b_pu | pf_vm_c_pu | pf_va_a_degree | pf_va_b_degree | pf_va_c_degree
Bus_0 | 0 | 3.0554 | 3.0554 | 0 | 194.0418 | 194.0418 | 1.505 | 15.0499 | 1.505 | 15.0499 | 1.505 | 15.0499 | 0.92203 | 0.19641 | 0.81801 | 5.174 | -122.1449 | 174.1659
Bus_1 | 0 | 1.7957 | 1.7957 | 0 | 20.7353 | 20.7353 | 2.0368e-06 | 0.4803 | 0.11535 | 2.4164 | 0.11535 | 2.4164 | 1.0057 | 0.63489 | 0.83074 | 17.5701 | -106.9886 | 158.5648
Bus_2 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 7.1237 | 1.8998 | 1.1138 | 3.0064 | 1.1138 | 3.0064 | 0.95734 | 0.5368 | 0.85298 | 15.9329 | -101.7238 | 162.0554
Bus_3 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 14.2328 | 3.339 | 2.1122 | 3.5964 | 2.1122 | 3.5964 | 0.92653 | 0.4625 | 0.86515 | 14.3131 | -97.8911 | 164.6473
Bus_4 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 14.2328 | 3.339 | 2.1122 | 3.5964 | 2.1122 | 3.5964 | 0.92653 | 0.4625 | 0.86515 | 14.3131 | -97.8911 | 164.6473

## LL_min_fault_branch
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw
Line_0 | 0 | 0 | 0 | 0 | 1.5183 | 1.5183 | 0 | 0 | 0 | 0 | 17.5318 | 17.5318 | 4.737e-15 | -8.0024e-10 | -2.5674e-09 | -2.3685e-15 | -13.0917 | 1.5655 | -9.4739e-15 | 3.4014e-09 | -3.4064e-10 | 4.737e-15 | -0.95344 | -10.5727
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 0 | 0 | 0 | 15.105 | 15.105 | 0 | 0 | 0 | -5.9212e-16 | -10.3011 | 1.745 | -2.3685e-15 | -4.798e-10 | -8.2616e-10 | 4.737e-15 | 0.27863 | -8.8347 | 4.737e-15 | 1.0532e-09 | -4.5326e-10
Line_2 | 0 | 1.3081 | 1.3081 | 0 | 0 | 0 | 0 | 15.105 | 15.105 | 0 | 0 | 0 | 5.9212e-16 | -10.3011 | 1.745 | 2.3685e-15 | -4.7979e-10 | -8.2616e-10 | -4.737e-15 | 0.27863 | -8.8347 | -2.3685e-15 | 1.0532e-09 | -4.5326e-10

## LLG_max
name | pf_ikss_a_ka | pf_ikss_b_ka | pf_ikss_c_ka | pf_skss_a_mw | pf_skss_b_mw | pf_skss_c_mw | pf_rk0_ohm | pf_xk0_ohm | pf_rk1_ohm | pf_xk1_ohm | pf_rk2_ohm | pf_xk2_ohm | pf_vm_a_pu | pf_vm_b_pu | pf_vm_c_pu | pf_va_a_degree | pf_va_b_degree | pf_va_c_degree
Bus_0 | 0 | 5.2486 | 5.2486 | 0 | 333.3334 | 333.3334 | 1.3244 | 13.2439 | 1.3244 | 13.2439 | 1.3244 | 13.2439 | 0.63509 | 0 | 0.63509 | -4.8774e-09 | 0 | 180
Bus_1 | 0 | 7.5063 | 7.6057 | 0 | 86.6747 | 87.8226 | 1.0082e-06 | 0.46821 | 0.10773 | 2.3084 | 0.10773 | 2.3084 | 0.27476 | 0 | 0.27476 | 1.9015 | 0 | -178.0985
Bus_2 | 0 | 5.0288 | 2.9672 | 0 | 58.0671 | 34.2628 | 3.7103 | 1.9273 | 0.62773 | 2.8984 | 0.62773 | 2.8984 | 0.75821 | 0 | 0.75821 | -12.5493 | 0 | 167.4507
Bus_3 | 0 | 3.7102 | 2.4883 | 0 | 42.8415 | 28.7326 | 7.4131 | 3.3901 | 1.1477 | 3.4884 | 1.1477 | 3.4884 | 0.81784 | 0 | 0.81784 | -8.1592 | 0 | 171.8408
Bus_4 | 0 | 3.7102 | 2.4883 | 0 | 42.8415 | 28.7326 | 7.4131 | 3.3901 | 1.1477 | 3.4884 | 1.1477 | 3.4884 | 0.81784 | 0 | 0.81784 | -8.1592 | 0 | 171.8408

## LLG_max_branch
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw
Line_0 | 0.002359 | 0.002359 | 0.002359 | 0.0043343 | 5.0281 | 2.9707 | 0.027239 | 0.027239 | 0.027239 | 0.050049 | 58.0599 | 34.3032 | 4.6289e-05 | -3.5321e-13 | -9.4499e-14 | -2.6043e-05 | 2.3501e-10 | 1.5555e-10 | -0.012963 | -3.1477e-13 | 4.6273e-13 | 0.065727 | -1.5157e-10 | -5.2147e-11
Line_1 | 0 | 3.7102 | 2.4883 | 0.0021672 | 0.0021672 | 0.0021672 | 0 | 42.8415 | 28.7326 | 0.025024 | 0.025024 | 0.025024 | -1.702e-09 | 1.1649e-10 | 9.4807e-11 | 1.3021e-05 | -5.0245e-14 | -6.8976e-14 | -8.1086e-10 | -8.4293e-11 | -1.0539e-11 | -0.032863 | -1.0956e-13 | 9.7809e-14
Line_2 | 0 | 3.7102 | 2.4883 | 0.0021672 | 0.0021672 | 0.0021672 | 0 | 42.8415 | 28.7326 | 0.025024 | 0.025024 | 0.025024 | -1.702e-09 | 1.1649e-10 | 9.4808e-11 | 1.3021e-05 | -5.0245e-14 | -6.8976e-14 | -8.1085e-10 | -8.4274e-11 | -1.0548e-11 | -0.032863 | -1.0956e-13 | 9.7809e-14

## LLG_max_fault
name | pf_ikss_a_ka | pf_ikss_b_ka | pf_ikss_c_ka | pf_skss_a_mw | pf_skss_b_mw | pf_skss_c_mw | pf_rk0_ohm | pf_xk0_ohm | pf_rk1_ohm | pf_xk1_ohm | pf_rk2_ohm | pf_xk2_ohm | pf_vm_a_pu | pf_vm_b_pu | pf_vm_c_pu | pf_va_a_degree | pf_va_b_degree | pf_va_c_degree
Bus_0 | 0 | 3.618 | 3.618 | 0 | 229.7713 | 229.7713 | 1.3244 | 13.2439 | 1.3244 | 13.2439 | 1.3244 | 13.2439 | 0.83784 | 0.40283 | 0.69184 | 8.9575 | -115.8808 | 160.4095
Bus_1 | 0 | 1.5267 | 1.4167 | 0 | 17.6285 | 16.3587 | 1.0082e-06 | 0.46821 | 0.10773 | 2.3084 | 0.10773 | 2.3084 | 1.025 | 0.87234 | 0.93763 | 21.3765 | -100.051 | 148.8263
Bus_2 | 0 | 1.3829 | 1.1761 | 0 | 15.9683 | 13.5809 | 3.7103 | 1.9273 | 0.62773 | 2.8984 | 0.62773 | 2.8984 | 1.0065 | 0.80202 | 0.927 | 20.0499 | -99.5297 | 151.2494
Bus_3 | 0 | 1.2592 | 1.0353 | 0 | 14.54 | 11.9544 | 7.4131 | 3.3901 | 1.1477 | 3.4884 | 1.1477 | 3.4884 | 0.99036 | 0.74213 | 0.91863 | 18.8076 | -99.0862 | 153.2455
Bus_4 | 0 | 1.2592 | 1.0353 | 0 | 14.54 | 11.9544 | 7.4131 | 3.3901 | 1.1477 | 3.4884 | 1.1477 | 3.4884 | 0.99036 | 0.74213 | 0.91863 | 18.8076 | -99.0862 | 153.2455

## LLG_max_fault_branch
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw
Line_0 | 0.00032332 | 0.00032332 | 0.00032332 | 0.0014368 | 1.3823 | 1.1776 | 0.0037334 | 0.0037334 | 0.0037334 | 0.016591 | 15.961 | 13.5973 | -0.0025903 | -0.00053716 | 0.0031284 | -0.0036912 | -9.5488 | -6.9262 | -0.0028533 | 0.0034487 | -0.00083894 | 0.018869 | -9.5666 | -6.9237
Line_1 | 0 | 1.2592 | 1.0353 | 0.00071842 | 0.00071842 | 0.00071842 | 0 | 14.54 | 11.9544 | 0.0082956 | 0.0082956 | 0.0082956 | -6.4096e-10 | -7.9279 | -5.359 | 0.0018456 | -0.0066482 | 0.004804 | -4.4804e-10 | -7.9279 | -5.359 | -0.0094343 | 0.0022703 | 0.0035525
Line_2 | 0 | 1.2592 | 1.0353 | 0.00071842 | 0.00071842 | 0.00071842 | 0 | 14.54 | 11.9544 | 0.0082956 | 0.0082956 | 0.0082956 | -6.4096e-10 | -7.9279 | -5.359 | 0.0018456 | -0.0066482 | 0.004804 | -4.4803e-10 | -7.9279 | -5.359 | -0.0094343 | 0.0022703 | 0.0035525

## LLG_min
name | pf_ikss_a_ka | pf_ikss_b_ka | pf_ikss_c_ka | pf_skss_a_mw | pf_skss_b_mw | pf_skss_c_mw | pf_rk0_ohm | pf_xk0_ohm | pf_rk1_ohm | pf_xk1_ohm | pf_rk2_ohm | pf_xk2_ohm | pf_vm_a_pu | pf_vm_b_pu | pf_vm_c_pu | pf_va_a_degree | pf_va_b_degree | pf_va_c_degree
Bus_0 | 0 | 4.1989 | 4.1989 | 0 | 266.6667 | 266.6667 | 1.505 | 15.0499 | 1.505 | 15.0499 | 1.505 | 15.0499 | 0.57735 | 0 | 0.57735 | -5.8129e-09 | 0 | 180
Bus_1 | 0 | 6.5413 | 6.6285 | 0 | 75.5325 | 76.5397 | 2.0368e-06 | 0.4803 | 0.11535 | 2.4164 | 0.11535 | 2.4164 | 0.2462 | 0 | 0.2462 | 1.9562 | 0 | -178.0438
Bus_2 | 0 | 3.9243 | 2.4866 | 0 | 45.3136 | 28.7123 | 7.1237 | 1.8998 | 1.1138 | 3.0064 | 1.1138 | 3.0064 | 0.76005 | 0 | 0.76005 | -8.9639 | 0 | 171.0361
Bus_3 | 0 | 2.7796 | 2.0851 | 0 | 32.0962 | 24.0769 | 14.2328 | 3.339 | 2.1122 | 3.5964 | 2.1122 | 3.5964 | 0.78497 | 0 | 0.78497 | -5.37 | 0 | 174.63
Bus_4 | 0 | 2.7796 | 2.0851 | 0 | 32.0962 | 24.0769 | 14.2328 | 3.339 | 2.1122 | 3.5964 | 2.1122 | 3.5964 | 0.78497 | 0 | 0.78497 | -5.37 | 0 | 174.63

## LLG_min_branch
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw
Line_0 | 0.0021137 | 0.0021137 | 0.0021137 | 0.0043448 | 3.9229 | 2.4897 | 0.024407 | 0.024407 | 0.024407 | 0.05017 | 45.2975 | 28.7485 | 7.1355e-05 | -6.2226e-14 | 2.1527e-13 | -5.0242e-05 | -1.6984e-10 | -2.5876e-11 | -0.010408 | 2.112e-13 | -5.2101e-14 | 0.066045 | -1.9371e-10 | -1.6157e-10
Line_1 | 0 | 2.7796 | 2.0851 | 0.0021724 | 0.0021724 | 0.0021724 | 0 | 32.0962 | 24.0769 | 0.025085 | 0.025085 | 0.025085 | -1.8146e-09 | -1.4918e-10 | -2.5953e-11 | 2.512e-05 | -1.3178e-13 | 1.1385e-13 | -4.6655e-10 | -1.2382e-10 | -1.4312e-10 | -0.033023 | 5.4657e-14 | 8.6147e-14
Line_2 | 0 | 2.7796 | 2.0851 | 0.0021724 | 0.0021724 | 0.0021724 | 0 | 32.0962 | 24.0769 | 0.025085 | 0.025085 | 0.025085 | -1.8145e-09 | -1.4918e-10 | -2.5957e-11 | 2.512e-05 | -1.3178e-13 | 1.1385e-13 | -4.6656e-10 | -1.238e-10 | -1.4313e-10 | -0.033023 | 5.4657e-14 | 8.6147e-14

## LLG_min_fault
name | pf_ikss_a_ka | pf_ikss_b_ka | pf_ikss_c_ka | pf_skss_a_mw | pf_skss_b_mw | pf_skss_c_mw | pf_rk0_ohm | pf_xk0_ohm | pf_rk1_ohm | pf_xk1_ohm | pf_rk2_ohm | pf_xk2_ohm | pf_vm_a_pu | pf_vm_b_pu | pf_vm_c_pu | pf_va_a_degree | pf_va_b_degree | pf_va_c_degree
Bus_0 | 0 | 3.0129 | 3.0129 | 0 | 191.3457 | 191.3457 | 1.505 | 15.0499 | 1.505 | 15.0499 | 1.505 | 15.0499 | 0.7473 | 0.33546 | 0.61843 | 8.1092 | -117.0249 | 161.7746
Bus_1 | 0 | 1.3778 | 1.2749 | 0 | 15.9091 | 14.7216 | 2.0368e-06 | 0.4803 | 0.11535 | 2.4164 | 0.11535 | 2.4164 | 0.92823 | 0.78485 | 0.84697 | 21.0464 | -100.4046 | 148.8124
Bus_2 | 0 | 1.2117 | 0.96538 | 0 | 13.9917 | 11.1472 | 7.1237 | 1.8998 | 1.1138 | 3.0064 | 1.1138 | 3.0064 | 0.90451 | 0.70193 | 0.85199 | 19.796 | -97.6343 | 152.8052
Bus_3 | 0 | 1.0635 | 0.83458 | 0 | 12.2803 | 9.6369 | 14.2328 | 3.339 | 2.1122 | 3.5964 | 2.1122 | 3.5964 | 0.88187 | 0.63377 | 0.85207 | 18.5286 | -95.3977 | 155.6937
Bus_4 | 0 | 1.0635 | 0.83458 | 0 | 12.2803 | 9.6369 | 14.2328 | 3.339 | 2.1122 | 3.5964 | 2.1122 | 3.5964 | 0.88187 | 0.63377 | 0.85207 | 18.5286 | -95.3977 | 155.6937

## LLG_min_fault_branch
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw
Line_0 | 0.00030015 | 0.00030016 | 0.00030015 | 0.0019529 | 1.2106 | 0.96733 | 0.0034659 | 0.0034659 | 0.0034659 | 0.02255 | 13.9783 | 11.1697 | -0.0021684 | -0.00044662 | 0.0026164 | -0.00643 | -7.3248 | -4.6699 | -0.0024097 | 0.0028899 | -0.00069008 | 0.024413 | -7.3438 | -4.6684
Line_1 | 0 | 1.0635 | 0.83458 | 0.00097643 | 0.00097643 | 0.00097643 | 0 | 12.2803 | 9.6369 | 0.011275 | 0.011275 | 0.011275 | -9.3538e-10 | -5.6552 | -3.4827 | 0.003215 | -0.0082787 | 0.0050688 | -4.2939e-10 | -5.6552 | -3.4827 | -0.012206 | 0.0012067 | 0.0043283
Line_2 | 0 | 1.0635 | 0.83458 | 0.00097643 | 0.00097643 | 0.00097643 | 0 | 12.2803 | 9.6369 | 0.011275 | 0.011275 | 0.011275 | -9.354e-10 | -5.6552 | -3.4827 | 0.003215 | -0.0082787 | 0.0050688 | -4.2939e-10 | -5.6552 | -3.4827 | -0.012206 | 0.0012067 | 0.0043283

## LG_max
name | pf_ikss_a_ka | pf_ikss_b_ka | pf_ikss_c_ka | pf_skss_a_mw | pf_skss_b_mw | pf_skss_c_mw | pf_rk0_ohm | pf_xk0_ohm | pf_rk1_ohm | pf_xk1_ohm | pf_rk2_ohm | pf_xk2_ohm | pf_vm_a_pu | pf_vm_b_pu | pf_vm_c_pu | pf_va_a_degree | pf_va_b_degree | pf_va_c_degree
Bus_0 | 5.2486 | 0 | 0 | 333.3334 | 0 | 0 | 1.3244 | 13.2439 | 1.3244 | 13.2439 | 1.3244 | 13.2439 | 0.63509 | 1.1 | 0.63509 | 60 | -90 | 120
Bus_1 | 7.4868 | 0 | 0 | 86.4499 | 0 | 0 | 1.0082e-06 | 0.46821 | 0.10773 | 2.3084 | 0.10773 | 2.3084 | 0.56059 | 1.1 | 0.55326 | 81.0144 | -90 | 99.1056
Bus_2 | 4.1497 | 0 | 0 | 47.9162 | 0 | 0 | 3.7103 | 1.9273 | 0.62773 | 2.8984 | 0.62773 | 2.8984 | 0.5034 | 1.1 | 0.85315 | 41.6185 | -90 | 116.1751
Bus_3 | 2.6829 | 0 | 0 | 30.979 | 0 | 0 | 7.4131 | 3.3901 | 1.1477 | 3.4884 | 1.1477 | 3.4884 | 0.61088 | 1.1 | 0.91085 | 34.1031 | -90 | 123.7339
Bus_4 | 2.6829 | 0 | 0 | 30.979 | 0 | 0 | 7.4131 | 3.3901 | 1.1477 | 3.4884 | 1.1477 | 3.4884 | 0.61088 | 1.1 | 0.91085 | 34.1031 | -90 | 123.7339

## LG_max_branch
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw
Line_0 | 0.0015048 | 0.0015048 | 0.0015048 | 4.152 | 0.004959 | 0.004959 | 0.017376 | 0.017376 | 0.017376 | 47.9427 | 0.057262 | 0.057262 | -3.5299e-13 | 0.01655 | -0.016531 | 3.0947e-10 | -0.047336 | 0.047301 | 1.251e-13 | -0.003279 | -0.0019958 | -3.6799e-10 | 0.015879 | 0.07016
Line_1 | 2.6829 | 0 | 0 | 0.0024795 | 0.0024795 | 0.0024795 | 30.979 | 0 | 0 | 0.028631 | 0.028631 | 0.028631 | 8.5979e-11 | -2.6591e-10 | -2.7765e-09 | -2.8025e-13 | 0.023668 | -0.023651 | -1.5103e-10 | -1.8639e-09 | 4.1439e-10 | -6.2522e-14 | -0.0079395 | -0.03508
Line_2 | 2.6829 | 0 | 0 | 0.0024795 | 0.0024795 | 0.0024795 | 30.979 | 0 | 0 | 0.028631 | 0.028631 | 0.028631 | 8.6006e-11 | -2.6592e-10 | -2.7765e-09 | -2.8025e-13 | 0.023668 | -0.023651 | -1.5102e-10 | -1.8639e-09 | 4.144e-10 | -6.2522e-14 | -0.0079395 | -0.03508

## LG_max_fault
name | pf_ikss_a_ka | pf_ikss_b_ka | pf_ikss_c_ka | pf_skss_a_mw | pf_skss_b_mw | pf_skss_c_mw | pf_rk0_ohm | pf_xk0_ohm | pf_rk1_ohm | pf_xk1_ohm | pf_rk2_ohm | pf_xk2_ohm | pf_vm_a_pu | pf_vm_b_pu | pf_vm_c_pu | pf_va_a_degree | pf_va_b_degree | pf_va_c_degree
Bus_0 | 3.618 | 0 | 0 | 229.7713 | 0 | 0 | 1.3244 | 13.2439 | 1.3244 | 13.2439 | 1.3244 | 13.2439 | 0.69184 | 1.1 | 0.83784 | 40.4095 | -90 | 128.9575
Bus_1 | 1.5122 | 0 | 0 | 17.462 | 0 | 0 | 1.0082e-06 | 0.46821 | 0.10773 | 2.3084 | 0.10773 | 2.3084 | 0.9259 | 1.1 | 1.0368 | 29.1565 | -90 | 141.252
Bus_2 | 1.2597 | 0 | 0 | 14.5458 | 0 | 0 | 3.7103 | 1.9273 | 0.62773 | 2.8984 | 0.62773 | 2.8984 | 0.91324 | 1.1 | 1.0167 | 30.1876 | -90 | 140.9317
Bus_3 | 1.0761 | 0 | 0 | 12.4252 | 0 | 0 | 7.4131 | 3.3901 | 1.1477 | 3.4884 | 1.1477 | 3.4884 | 0.90299 | 1.1 | 1.0031 | 30.867 | -90 | 140.5975
Bus_4 | 1.0761 | 0 | 0 | 12.4252 | 0 | 0 | 7.4131 | 3.3901 | 1.1477 | 3.4884 | 1.1477 | 3.4884 | 0.90299 | 1.1 | 1.0031 | 30.867 | -90 | 140.5975

## LG_max_fault_branch
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw
Line_0 | 0.00030395 | 0.00030395 | 0.00030395 | 1.2604 | 0.0015054 | 0.0015054 | 0.0035097 | 0.0035097 | 0.0035097 | 14.5538 | 0.017383 | 0.017383 | 0.00229 | 0.0015276 | -0.0038169 | -7.9302 | -0.017457 | 0.013405 | 0.0023064 | -0.0032702 | 0.00074856 | -7.947 | 0.0043487 | 0.016363
Line_1 | 1.0761 | 0 | 0 | 0.0007527 | 0.0007527 | 0.0007527 | 12.4252 | 0 | 0 | 0.0086914 | 0.0086914 | 0.0086914 | -5.7895 | 8.6048e-11 | -9.0278e-10 | -0.0020243 | 0.0087286 | -0.0067027 | -5.7895 | -7.5214e-10 | 1.8124e-10 | 0.0063917 | -0.0021744 | -0.0081817
Line_2 | 1.0761 | 0 | 0 | 0.0007527 | 0.0007527 | 0.0007527 | 12.4252 | 0 | 0 | 0.0086914 | 0.0086914 | 0.0086914 | -5.7895 | 8.6046e-11 | -9.0276e-10 | -0.0020243 | 0.0087286 | -0.0067027 | -5.7895 | -7.5213e-10 | 1.8124e-10 | 0.0063917 | -0.0021744 | -0.0081817

## LG_min
name | pf_ikss_a_ka | pf_ikss_b_ka | pf_ikss_c_ka | pf_skss_a_mw | pf_skss_b_mw | pf_skss_c_mw | pf_rk0_ohm | pf_xk0_ohm | pf_rk1_ohm | pf_xk1_ohm | pf_rk2_ohm | pf_xk2_ohm | pf_vm_a_pu | pf_vm_b_pu | pf_vm_c_pu | pf_va_a_degree | pf_va_b_degree | pf_va_c_degree
Bus_0 | 4.1989 | 0 | 0 | 266.6667 | 0 | 0 | 1.505 | 15.0499 | 1.505 | 15.0499 | 1.505 | 15.0499 | 0.57735 | 1 | 0.57735 | 60 | -90 | 120
Bus_1 | 6.5138 | 0 | 0 | 75.2149 | 0 | 0 | 2.0368e-06 | 0.4803 | 0.11535 | 2.4164 | 0.11535 | 2.4164 | 0.50942 | 1 | 0.50272 | 81.1765 | -90 | 98.9421
Bus_2 | 2.8279 | 0 | 0 | 32.6539 | 0 | 0 | 7.1237 | 1.8998 | 1.1138 | 3.0064 | 1.1138 | 3.0064 | 0.54672 | 1 | 0.86283 | 30.4679 | -90 | 123.1025
Bus_3 | 1.6301 | 0 | 0 | 18.8231 | 0 | 0 | 14.2328 | 3.339 | 2.1122 | 3.5964 | 2.1122 | 3.5964 | 0.66006 | 1 | 0.8799 | 30.0696 | -90 | 130.4806
Bus_4 | 1.6301 | 0 | 0 | 18.8231 | 0 | 0 | 14.2328 | 3.339 | 2.1122 | 3.5964 | 2.1122 | 3.5964 | 0.66006 | 1 | 0.8799 | 30.0696 | -90 | 130.4806

## LG_min_branch
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw
Line_0 | 0.001343 | 0.001343 | 0.001343 | 2.8294 | 0.0059593 | 0.0059593 | 0.015507 | 0.015507 | 0.015507 | 32.6716 | 0.068812 | 0.068812 | 1.2557e-13 | 0.013435 | -0.013406 | -9.756e-11 | -0.053903 | 0.053808 | 1.0793e-13 | -0.0025913 | -0.0016102 | 1.249e-11 | 0.036611 | 0.087635
Line_1 | 1.6301 | 0 | 0 | 0.0029796 | 0.0029796 | 0.0029796 | 18.8231 | 0 | 0 | 0.034406 | 0.034406 | 0.034406 | -2.3889e-11 | -1.1596e-09 | -3.0216e-09 | 3.9305e-14 | 0.026951 | -0.026904 | 7.9338e-12 | -2.0915e-09 | 1.0165e-09 | 9.5829e-14 | -0.018306 | -0.043818
Line_2 | 1.6301 | 0 | 0 | 0.0029796 | 0.0029796 | 0.0029796 | 18.8231 | 0 | 0 | 0.034406 | 0.034406 | 0.034406 | -2.3891e-11 | -1.1596e-09 | -3.0216e-09 | 3.9305e-14 | 0.026951 | -0.026904 | 7.9382e-12 | -2.0916e-09 | 1.0165e-09 | 9.5829e-14 | -0.018306 | -0.043818

## LG_min_fault
name | pf_ikss_a_ka | pf_ikss_b_ka | pf_ikss_c_ka | pf_skss_a_mw | pf_skss_b_mw | pf_skss_c_mw | pf_rk0_ohm | pf_xk0_ohm | pf_rk1_ohm | pf_xk1_ohm | pf_rk2_ohm | pf_xk2_ohm | pf_vm_a_pu | pf_vm_b_pu | pf_vm_c_pu | pf_va_a_degree | pf_va_b_degree | pf_va_c_degree
Bus_0 | 3.0129 | 0 | 0 | 191.3457 | 0 | 0 | 1.505 | 15.0499 | 1.505 | 15.0499 | 1.505 | 15.0499 | 0.61843 | 1 | 0.7473 | 41.7746 | -90 | 128.1092
Bus_1 | 1.3644 | 0 | 0 | 15.7549 | 0 | 0 | 2.0368e-06 | 0.4803 | 0.11535 | 2.4164 | 0.11535 | 2.4164 | 0.83548 | 1 | 0.93979 | 29.185 | -90 | 140.9086
Bus_2 | 1.036 | 0 | 0 | 11.9631 | 0 | 0 | 7.1237 | 1.8998 | 1.1138 | 3.0064 | 1.1138 | 3.0064 | 0.83431 | 1 | 0.91861 | 30.7131 | -90 | 141.3374
Bus_3 | 0.8231 | 0 | 0 | 9.5043 | 0 | 0 | 14.2328 | 3.339 | 2.1122 | 3.5964 | 2.1122 | 3.5964 | 0.83026 | 1 | 0.90509 | 31.6024 | -90 | 141.3786
Bus_4 | 0.8231 | 0 | 0 | 9.5043 | 0 | 0 | 14.2328 | 3.339 | 2.1122 | 3.5964 | 2.1122 | 3.5964 | 0.83026 | 1 | 0.90509 | 31.6024 | -90 | 141.3786

## LG_min_fault_branch
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mw | pf_q_b_from_mw | pf_q_c_from_mw | pf_q_a_to_mw | pf_q_b_to_mw | pf_q_c_to_mw
Line_0 | 0.00028131 | 0.00028131 | 0.00028131 | 1.0366 | 0.0021832 | 0.0021832 | 0.0032483 | 0.0032483 | 0.0032483 | 11.9696 | 0.02521 | 0.02521 | 0.0019059 | 0.0013099 | -0.0032145 | -5.3588 | -0.023229 | 0.015192 | 0.0019322 | -0.0027304 | 0.00061379 | -5.3807 | 0.004883 | 0.025629
Line_1 | 0.8231 | 0 | 0 | 0.0010916 | 0.0010916 | 0.0010916 | 9.5043 | 0 | 0 | 0.012605 | 0.012605 | 0.012605 | -3.3874 | -1.4696e-10 | -1.2874e-09 | -0.0040119 | 0.011615 | -0.0075962 | -3.3874 | -1.0444e-09 | 3.86e-10 | 0.0069179 | -0.0024415 | -0.012815
Line_2 | 0.8231 | 0 | 0 | 0.0010916 | 0.0010916 | 0.0010916 | 9.5043 | 0 | 0 | 0.012605 | 0.012605 | 0.012605 | -3.3874 | -1.4696e-10 | -1.2874e-09 | -0.0040119 | 0.011615 | -0.0075962 | -3.3874 | -1.0444e-09 | 3.86e-10 | 0.0069179 | -0.0024415 | -0.012815