## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.17321 | 0.17321 | 0 | 0.24495 | 6 | 6 | 0.0468 | -1e-07 | 0.0531 | -1e-07 | -77.7798 | 102.2202 | 0.011797 | 0 | -29.1714 | 0
Line_2 | 0.17321 | 0.17321 | 0 | 0.24495 | 6 | 6 | 0.0468 | -1e-07 | 0.0531 | -1e-07 | -77.7798 | 102.2202 | 0.011797 | 0 | -29.1714 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.17321 | 0.17321 | 0 | 0.24495 | 6 | 6 | 0.0468 | -1e-07 | 0.0531 | -1e-07 | -77.7798 | 102.2202 | 0.011797 | 0 | -29.1714 | 0
Line_2 | 0.17321 | 0.17321 | 0 | 0.24495 | 6 | 6 | 0.0468 | -1e-07 | 0.0531 | -1e-07 | -77.7798 | 102.2202 | 0.011797 | 0 | -29.1714 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1058 | 1.1058 | 0 | 2.3955 | 38.3069 | 38.3069 | 28.1124 | -26.2047 | 22.5619 | -20.3974 | -47.4264 | 132.5736 | 0.94099 | 0.86688 | -8.6773 | -9.5297
Line_1 | 0.1732 | 0.1732 | 0 | 0.24495 | 6 | 6 | 1.9742 | -1.9274 | 4.8841 | -4.831 | -77.7798 | 102.2202 | 0.878 | 0.86688 | -9.7884 | -9.5297
Line_2 | 0.1732 | 0.1732 | 0 | 0.24495 | 6 | 6 | 1.9742 | -1.9274 | 4.8841 | -4.831 | -77.7798 | 102.2202 | 0.878 | 0.86688 | -9.7884 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1058 | 1.1058 | 0 | 2.3955 | 38.3069 | 38.3069 | 28.1124 | -26.2047 | 22.5619 | -20.3974 | -47.4264 | 132.5736 | 0.94099 | 0.86688 | -8.6773 | -9.5297
Line_1 | 0.1732 | 0.1732 | 0 | 0.24495 | 6 | 6 | 1.9742 | -1.9274 | 4.8841 | -4.831 | -77.7798 | 102.2202 | 0.878 | 0.86688 | -9.7884 | -9.5297
Line_2 | 0.1732 | 0.1732 | 0 | 0.24495 | 6 | 6 | 1.9742 | -1.9274 | 4.8841 | -4.831 | -77.7798 | 102.2202 | 0.878 | 0.86688 | -9.7884 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 4.4908e-10 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 4.4908e-10 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 4.4908e-10 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 4.4908e-10 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 1.4292e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 1.4292e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 1.4292e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 1.4292e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 3.7132 | 3.7132 | 0.34641 | 3.7132 | 3.7132 | 4 | 42.8763 | 42.8763 | 4 | 42.8763 | 42.8763 | -0.94426 | 31.8026 | -17.9666 | 1.0067 | -24.633 | 25.1363 | -4.5773 | 1.5834 | 12.3622 | 4.6481 | 6.5514 | -4.2274 | 102.22 | -165.1063 | 9.5466 | -77.78 | 14.8937 | -170.4534 | 1.1684 | 0.74265 | 0.50864 | 1.189 | 0.59448 | 0.59448 | 0.56392 | -162.256 | 155.0161 | -8.1315e-06 | 180 | 180
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.1478 | -0.86492 | -0.50333 | -1.1322 | 0.88052 | 2.3417 | 0.38076 | 0.81667 | -2.3241 | -0.36306 | -0.79897 | -77.78 | 162.2204 | 42.2201 | 102.22 | -17.7796 | -137.7799 | 1.1993 | 0.60464 | 0.59477 | 1.189 | 0.59448 | 0.59448 | -0.27472 | -179.4271 | 178.8636 | -8.1315e-06 | 180 | 180
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.1478 | -0.86492 | -0.50333 | -1.1322 | 0.88052 | 2.3417 | 0.38076 | 0.81667 | -2.3241 | -0.36306 | -0.79897 | -77.78 | 162.2204 | 42.2201 | 102.22 | -17.7796 | -137.7799 | 1.1993 | 0.60464 | 0.59477 | 1.189 | 0.59448 | 0.59448 | -0.27472 | -179.4271 | 178.8636 | -8.1315e-06 | 180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 3.7132 | 3.7132 | 0.34641 | 3.7132 | 3.7132 | 4 | 42.8763 | 42.8763 | 4 | 42.8763 | 42.8763 | -0.94426 | 31.8026 | -17.9666 | 1.0067 | -24.633 | 25.1363 | -4.5773 | 1.5834 | 12.3622 | 4.6481 | 6.5514 | -4.2274 | 102.22 | -165.1063 | 9.5466 | -77.78 | 14.8937 | -170.4534 | 1.1684 | 0.74265 | 0.50864 | 1.189 | 0.59448 | 0.59448 | 0.56392 | -162.256 | 155.0161 | -8.1315e-06 | 180 | 180
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.1478 | -0.86492 | -0.50333 | -1.1322 | 0.88052 | 2.3417 | 0.38076 | 0.81667 | -2.3241 | -0.36306 | -0.79897 | -77.78 | 162.2204 | 42.2201 | 102.22 | -17.7796 | -137.7799 | 1.1993 | 0.60464 | 0.59477 | 1.189 | 0.59448 | 0.59448 | -0.27472 | -179.4271 | 178.8636 | -8.1315e-06 | 180 | 180
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.1478 | -0.86492 | -0.50333 | -1.1322 | 0.88052 | 2.3417 | 0.38076 | 0.81667 | -2.3241 | -0.36306 | -0.79897 | -77.78 | 162.2204 | 42.2201 | 102.22 | -17.7796 | -137.7799 | 1.1993 | 0.60464 | 0.59477 | 1.189 | 0.59448 | 0.59448 | -0.27472 | -179.4271 | 178.8636 | -8.1315e-06 | 180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 1.6929 | 1.5687 | 0.34641 | 1.6929 | 1.5687 | 4 | 19.5479 | 18.1138 | 4 | 19.5479 | 18.1138 | -0.94426 | 19.7408 | -1.1597 | 1.0067 | -18.2505 | 2.4393 | -4.5773 | 1.1548 | 14.2245 | 4.6481 | 0.53608 | -12.7726 | 102.2201 | -141.1848 | 27.4267 | -77.7799 | 38.8152 | -152.5733 | 1.1684 | 1.0116 | 0.78789 | 1.189 | 0.93403 | 0.71787 | 0.56393 | -137.8369 | 122.0876 | -5.5203e-06 | -142.8673 | 128.239
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.0894 | 0.11528 | -0.50333 | -1.0738 | -0.099682 | 2.3418 | 1.5463 | 1.45 | -2.3241 | -1.5286 | -1.4323 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1993 | 0.94576 | 0.72728 | 1.189 | 0.93403 | 0.71787 | -0.27471 | -142.9457 | 127.6744 | -5.5203e-06 | -142.8673 | 128.239
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.0894 | 0.11528 | -0.50333 | -1.0738 | -0.099682 | 2.3418 | 1.5463 | 1.45 | -2.3241 | -1.5286 | -1.4323 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1993 | 0.94576 | 0.72728 | 1.189 | 0.93403 | 0.71787 | -0.27471 | -142.9457 | 127.6744 | -5.5203e-06 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 1.6929 | 1.5687 | 0.34641 | 1.6929 | 1.5687 | 4 | 19.5479 | 18.1138 | 4 | 19.5479 | 18.1138 | -0.94426 | 19.7408 | -1.1597 | 1.0067 | -18.2505 | 2.4393 | -4.5773 | 1.1548 | 14.2245 | 4.6481 | 0.53608 | -12.7726 | 102.2201 | -141.1848 | 27.4267 | -77.7799 | 38.8152 | -152.5733 | 1.1684 | 1.0116 | 0.78789 | 1.189 | 0.93403 | 0.71787 | 0.56393 | -137.8369 | 122.0876 | -5.5203e-06 | -142.8673 | 128.239
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.0894 | 0.11528 | -0.50333 | -1.0738 | -0.099682 | 2.3418 | 1.5463 | 1.45 | -2.3241 | -1.5286 | -1.4323 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1993 | 0.94576 | 0.72728 | 1.189 | 0.93403 | 0.71787 | -0.27471 | -142.9457 | 127.6744 | -5.5203e-06 | -142.8673 | 128.239
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.0894 | 0.11528 | -0.50333 | -1.0738 | -0.099682 | 2.3418 | 1.5463 | 1.45 | -2.3241 | -1.5286 | -1.4323 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1993 | 0.94576 | 0.72728 | 1.189 | 0.93403 | 0.71787 | -0.27471 | -142.9457 | 127.6744 | -5.5203e-06 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -1.4211e-14 | 26.5997 | -7.1734 | 1.4211e-14 | -16.8865 | 16.8865 | -9.4739e-15 | -0.51586 | 11.9957 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.5618e-13 | -160.7833 | 141.207 | 5.9478e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -2.3684e-15 | 2.3686e-15 | -4.737e-15 | 4.7369e-15 | 4.7369e-15 | 2.5293e-29 | -1.5877e-09 | 1.5877e-09 | -4.9174e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.1187e-13 | -180 | 180 | 5.9478e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -2.3684e-15 | 2.3686e-15 | 4.737e-15 | 4.7369e-15 | -1.4433e-20 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.7542e-13 | -180 | 180 | 5.9478e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -1.4211e-14 | 26.5997 | -7.1734 | 1.4211e-14 | -16.8865 | 16.8865 | -9.4739e-15 | -0.51586 | 11.9957 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.5618e-13 | -160.7833 | 141.207 | 5.9478e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -2.3684e-15 | 2.3686e-15 | -4.737e-15 | 4.7369e-15 | 4.7369e-15 | 2.5293e-29 | -1.5877e-09 | 1.5877e-09 | -4.9174e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.1187e-13 | -180 | 180 | 5.9478e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -2.3684e-15 | 2.3686e-15 | 4.737e-15 | 4.7369e-15 | -1.4433e-20 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.7542e-13 | -180 | 180 | 5.9478e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -7.1054e-15 | 15.3932 | 0.73601 | 6.5133e-15 | -13.0917 | 1.5655 | -2.3685e-15 | 2.3135 | 11.9328 | 2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.4839e-13 | -138.1765 | 119.7467 | 2.7696e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 4.7979e-10 | 8.2616e-10 | -5.9212e-16 | -4.7979e-10 | -8.2615e-10 | -2.3685e-15 | -1.0531e-09 | 4.5326e-10 | 2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.8624e-13 | -142.5584 | 131.6989 | 2.7696e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 4.798e-10 | 8.2616e-10 | 2.3685e-15 | -4.798e-10 | -8.2616e-10 | 4.737e-15 | -1.0532e-09 | 4.5325e-10 | -4.737e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.6742e-13 | -142.5584 | 131.6989 | 2.7696e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -7.1054e-15 | 15.3932 | 0.73601 | 6.5133e-15 | -13.0917 | 1.5655 | -2.3685e-15 | 2.3135 | 11.9328 | 2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.4839e-13 | -138.1765 | 119.7467 | 2.7696e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 4.7979e-10 | 8.2616e-10 | -5.9212e-16 | -4.7979e-10 | -8.2615e-10 | -2.3685e-15 | -1.0531e-09 | 4.5326e-10 | 2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.8624e-13 | -142.5584 | 131.6989 | 2.7696e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 4.798e-10 | 8.2616e-10 | 2.3685e-15 | -4.798e-10 | -8.2616e-10 | 4.737e-15 | -1.0532e-09 | 4.5325e-10 | -4.737e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.6742e-13 | -142.5584 | 131.6989 | 2.7696e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 4.1657 | 0.34519 | 0.35282 | 4.165 | 0.34533 | 0.35151 | 48.1013 | 3.9859 | 4.074 | 48.0928 | 3.9875 | 4.0589 | 29.0026 | -0.22066 | -1.9374 | 2.7428e-10 | 1.8638 | 1.8211 | 15.0994 | -3.8682 | -4.4349 | -3.5137e-10 | 3.2633 | 6.2219 | -55.6751 | -18.8835 | -137.4205 | 124.3416 | 161.3503 | 42.4893 | 0.67977 | 0.97204 | 1.1879 | 0 | 0.94244 | 1.5972 | -28.1725 | -112.1483 | 108.9809 | 0 | -138.3815 | 116.1751
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17122 | 0.17267 | 0.17576 | 2 | 2 | 2 | 1.9771 | 1.9938 | 2.0295 | 0.014735 | 0.97528 | 0.89922 | 1.5789e-11 | -0.93188 | -0.91054 | 0.018022 | 1.6392 | 3.0883 | -9.3018e-12 | -1.6317 | -3.111 | -77.7797 | 162.22 | 42.2202 | 102.821 | -18.6497 | -137.5107 | 0.011639 | 0.95368 | 1.6083 | 0 | 0.94244 | 1.5972 | -27.0497 | -138.5321 | 115.9859 | 0 | -138.3815 | 116.1751
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.17122 | 0.17267 | 0.17576 | 2 | 2 | 2 | 1.9771 | 1.9938 | 2.0295 | 0.014735 | 0.97528 | 0.89922 | 1.5789e-11 | -0.93188 | -0.91054 | 0.018022 | 1.6392 | 3.0883 | -9.3018e-12 | -1.6317 | -3.111 | -77.7797 | 162.22 | 42.2202 | 102.821 | -18.6497 | -137.5107 | 0.011639 | 0.95368 | 1.6083 | 0 | 0.94244 | 1.5972 | -27.0497 | -138.5321 | 115.9859 | 0 | -138.3815 | 116.1751

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 4.1657 | 0.34519 | 0.35282 | 4.165 | 0.34533 | 0.35151 | 48.1013 | 3.9859 | 4.074 | 48.0928 | 3.9875 | 4.0589 | 29.0026 | -0.22066 | -1.9374 | 2.7428e-10 | 1.8638 | 1.8211 | 15.0994 | -3.8682 | -4.4349 | -3.5137e-10 | 3.2633 | 6.2219 | -55.6751 | -18.8835 | -137.4205 | 124.3416 | 161.3503 | 42.4893 | 0.67977 | 0.97204 | 1.1879 | 0 | 0.94244 | 1.5972 | -28.1725 | -112.1483 | 108.9809 | 0 | -138.3815 | 116.1751
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17122 | 0.17267 | 0.17576 | 2 | 2 | 2 | 1.9771 | 1.9938 | 2.0295 | 0.014735 | 0.97528 | 0.89922 | 1.5789e-11 | -0.93188 | -0.91054 | 0.018022 | 1.6392 | 3.0883 | -9.3018e-12 | -1.6317 | -3.111 | -77.7797 | 162.22 | 42.2202 | 102.821 | -18.6497 | -137.5107 | 0.011639 | 0.95368 | 1.6083 | 0 | 0.94244 | 1.5972 | -27.0497 | -138.5321 | 115.9859 | 0 | -138.3815 | 116.1751
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.17122 | 0.17267 | 0.17576 | 2 | 2 | 2 | 1.9771 | 1.9938 | 2.0295 | 0.014735 | 0.97528 | 0.89922 | 1.5789e-11 | -0.93188 | -0.91054 | 0.018022 | 1.6392 | 3.0883 | -9.3018e-12 | -1.6317 | -3.111 | -77.7797 | 162.22 | 42.2202 | 102.821 | -18.6497 | -137.5107 | 0.011639 | 0.95368 | 1.6083 | 0 | 0.94244 | 1.5972 | -27.0497 | -138.5321 | 115.9859 | 0 | -138.3815 | 116.1751

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0728 | 0.34633 | 0.34823 | 1.0727 | 0.34631 | 0.34787 | 12.3882 | 3.9991 | 4.021 | 12.3862 | 3.9989 | 4.0168 | 10.5456 | -0.75548 | -1.2522 | -8.3502 | 1.3236 | 1.1828 | 6.9376 | -4.3413 | -4.5766 | -6.0772 | 4.2732 | 5.1494 | -39.7648 | -18.1196 | -137.623 | 140.2562 | 161.9514 | 42.3398 | 1.019 | 1.1019 | 1.18 | 0.8338 | 1.1187 | 1.3153 | -6.4251 | -117.9915 | 117.0749 | -3.697 | -125.2589 | 119.4039
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17253 | 0.17316 | 0.17393 | 2 | 2 | 2 | 1.9922 | 1.9994 | 2.0084 | 0.47266 | 0.68769 | 0.59933 | -0.4597 | -0.66181 | -0.59138 | 1.6214 | 2.1515 | 2.583 | -1.5962 | -2.1366 | -2.5747 | -77.7798 | 162.2201 | 42.2202 | 102.3693 | -18.0486 | -137.6602 | 0.84445 | 1.1294 | 1.3258 | 0.8338 | 1.1187 | 1.3153 | -4.0317 | -125.5056 | 119.1571 | -3.697 | -125.2589 | 119.4039
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.17253 | 0.17316 | 0.17393 | 2 | 2 | 2 | 1.9922 | 1.9994 | 2.0084 | 0.47266 | 0.68769 | 0.59933 | -0.4597 | -0.66181 | -0.59138 | 1.6214 | 2.1515 | 2.583 | -1.5962 | -2.1366 | -2.5747 | -77.7798 | 162.2201 | 42.2202 | 102.3693 | -18.0486 | -137.6602 | 0.84445 | 1.1294 | 1.3258 | 0.8338 | 1.1187 | 1.3153 | -4.0317 | -125.5056 | 119.1571 | -3.697 | -125.2589 | 119.4039

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0728 | 0.34633 | 0.34823 | 1.0727 | 0.34631 | 0.34787 | 12.3882 | 3.9991 | 4.021 | 12.3862 | 3.9989 | 4.0168 | 10.5456 | -0.75548 | -1.2522 | -8.3502 | 1.3236 | 1.1828 | 6.9376 | -4.3413 | -4.5766 | -6.0772 | 4.2732 | 5.1494 | -39.7648 | -18.1196 | -137.623 | 140.2562 | 161.9514 | 42.3398 | 1.019 | 1.1019 | 1.18 | 0.8338 | 1.1187 | 1.3153 | -6.4251 | -117.9915 | 117.0749 | -3.697 | -125.2589 | 119.4039
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17253 | 0.17316 | 0.17393 | 2 | 2 | 2 | 1.9922 | 1.9994 | 2.0084 | 0.47266 | 0.68769 | 0.59933 | -0.4597 | -0.66181 | -0.59138 | 1.6214 | 2.1515 | 2.583 | -1.5962 | -2.1366 | -2.5747 | -77.7798 | 162.2201 | 42.2202 | 102.3693 | -18.0486 | -137.6602 | 0.84445 | 1.1294 | 1.3258 | 0.8338 | 1.1187 | 1.3153 | -4.0317 | -125.5056 | 119.1571 | -3.697 | -125.2589 | 119.4039
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.17253 | 0.17316 | 0.17393 | 2 | 2 | 2 | 1.9922 | 1.9994 | 2.0084 | 0.47266 | 0.68769 | 0.59933 | -0.4597 | -0.66181 | -0.59138 | 1.6214 | 2.1515 | 2.583 | -1.5962 | -2.1366 | -2.5747 | -77.7798 | 162.2201 | 42.2202 | 102.3693 | -18.0486 | -137.6602 | 0.84445 | 1.1294 | 1.3258 | 0.8338 | 1.1187 | 1.3153 | -4.0317 | -125.5056 | 119.1571 | -3.697 | -125.2589 | 119.4039

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8299 | 0.0074751 | 0.0074751 | 2.8294 | 0.0059593 | 0.0059593 | 32.6772 | 0.086315 | 0.086315 | 32.6716 | 0.068812 | 0.068812 | 24.3023 | 0.073013 | -0.062898 | -9.7634e-11 | -0.053903 | 0.053808 | 6.9944 | -0.0036636 | -0.065947 | 1.2544e-11 | 0.036611 | 0.087635 | -40.3824 | -114.6203 | -114.6203 | 139.6468 | 64.6526 | 64.6526 | 0.7739 | 0.84695 | 1.0558 | 0 | 0.94694 | 1.4945 | -24.3261 | -117.4928 | 111.7352 | 0 | -149.5321 | 123.1025
Line_1 | 0 | 0 | 0 | 0.0029796 | 0.0029796 | 0.0029796 | 0 | 0 | 0 | 0.034406 | 0.034406 | 0.034406 | 8.0779e-13 | -2.6566e-10 | -2.722e-09 | 3.938e-14 | 0.026951 | -0.026904 | 3.3307e-12 | -1.7124e-09 | 2.9423e-10 | 9.589e-14 | -0.018306 | -0.043818 | 0 | 0 | 0 | -115.3474 | -115.3474 | -115.3474 | 0.00093492 | 0.94629 | 1.4951 | 0 | 0.94694 | 1.4945 | 76.3154 | -149.5727 | 123.0764 | 0 | -149.5321 | 123.1025
Line_2 | 0 | 0 | 0 | 0.0029796 | 0.0029796 | 0.0029796 | 0 | 0 | 0 | 0.034406 | 0.034406 | 0.034406 | 8.0778e-13 | -2.6564e-10 | -2.722e-09 | 3.938e-14 | 0.026951 | -0.026904 | 3.3307e-12 | -1.7124e-09 | 2.942e-10 | 9.589e-14 | -0.018306 | -0.043818 | 0 | 0 | 0 | -115.3474 | -115.3474 | -115.3474 | 0.00093492 | 0.94629 | 1.4951 | 0 | 0.94694 | 1.4945 | 76.3154 | -149.5727 | 123.0764 | 0 | -149.5321 | 123.1025

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8299 | 0.0074751 | 0.0074751 | 2.8294 | 0.0059593 | 0.0059593 | 32.6772 | 0.086315 | 0.086315 | 32.6716 | 0.068812 | 0.068812 | 24.3023 | 0.073013 | -0.062898 | -9.7634e-11 | -0.053903 | 0.053808 | 6.9944 | -0.0036636 | -0.065947 | 1.2544e-11 | 0.036611 | 0.087635 | -40.3824 | -114.6203 | -114.6203 | 139.6468 | 64.6526 | 64.6526 | 0.7739 | 0.84695 | 1.0558 | 0 | 0.94694 | 1.4945 | -24.3261 | -117.4928 | 111.7352 | 0 | -149.5321 | 123.1025
Line_1 | 0 | 0 | 0 | 0.0029796 | 0.0029796 | 0.0029796 | 0 | 0 | 0 | 0.034406 | 0.034406 | 0.034406 | 8.0779e-13 | -2.6566e-10 | -2.722e-09 | 3.938e-14 | 0.026951 | -0.026904 | 3.3307e-12 | -1.7124e-09 | 2.9423e-10 | 9.589e-14 | -0.018306 | -0.043818 | 0 | 0 | 0 | -115.3474 | -115.3474 | -115.3474 | 0.00093492 | 0.94629 | 1.4951 | 0 | 0.94694 | 1.4945 | 76.3154 | -149.5727 | 123.0764 | 0 | -149.5321 | 123.1025
Line_2 | 0 | 0 | 0 | 0.0029796 | 0.0029796 | 0.0029796 | 0 | 0 | 0 | 0.034406 | 0.034406 | 0.034406 | 8.0778e-13 | -2.6564e-10 | -2.722e-09 | 3.938e-14 | 0.026951 | -0.026904 | 3.3307e-12 | -1.7124e-09 | 2.942e-10 | 9.589e-14 | -0.018306 | -0.043818 | 0 | 0 | 0 | -115.3474 | -115.3474 | -115.3474 | 0.00093492 | 0.94629 | 1.4951 | 0 | 0.94694 | 1.4945 | 76.3154 | -149.5727 | 123.0764 | 0 | -149.5321 | 123.1025

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0368 | 0.0027386 | 0.0027386 | 1.0366 | 0.0021832 | 0.0021832 | 11.9717 | 0.031623 | 0.031623 | 11.9696 | 0.02521 | 0.02521 | 8.6189 | 0.029861 | -0.01866 | -5.3588 | -0.023229 | 0.015192 | 6.3231 | -0.00070754 | -0.026117 | -5.3807 | 0.004883 | 0.025629 | -43.4024 | -117.6403 | -117.6403 | 136.6268 | 61.6326 | 61.6326 | 0.89291 | 0.94457 | 1.015 | 0.63444 | 0.94156 | 1.1818 | -7.1372 | -118.9976 | 116.8153 | 1.7434 | -130.2389 | 120.974
Line_1 | 0 | 0 | 0 | 0.0010916 | 0.0010916 | 0.0010916 | 0 | 0 | 0 | 0.012605 | 0.012605 | 0.012605 | 8.4917e-10 | 1.4771e-10 | -7.897e-10 | -0.0040119 | 0.011615 | -0.0075962 | 7.1978e-11 | -6.1396e-10 | 7.2749e-11 | 0.0069179 | -0.0024415 | -0.012815 | 0 | 0 | 0 | -118.3674 | -118.3674 | -118.3674 | 0.63455 | 0.94125 | 1.1821 | 0.63444 | 0.94156 | 1.1818 | 1.7727 | -130.2472 | 120.9617 | 1.7434 | -130.2389 | 120.974
Line_2 | 0 | 0 | 0 | 0.0010916 | 0.0010916 | 0.0010916 | 0 | 0 | 0 | 0.012605 | 0.012605 | 0.012605 | 8.4917e-10 | 1.4771e-10 | -7.897e-10 | -0.0040119 | 0.011615 | -0.0075962 | 7.1981e-11 | -6.1396e-10 | 7.2755e-11 | 0.0069179 | -0.0024415 | -0.012815 | 0 | 0 | 0 | -118.3674 | -118.3674 | -118.3674 | 0.63455 | 0.94125 | 1.1821 | 0.63444 | 0.94156 | 1.1818 | 1.7727 | -130.2472 | 120.9617 | 1.7434 | -130.2389 | 120.974

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0368 | 0.0027386 | 0.0027386 | 1.0366 | 0.0021832 | 0.0021832 | 11.9717 | 0.031623 | 0.031623 | 11.9696 | 0.02521 | 0.02521 | 8.6189 | 0.029861 | -0.01866 | -5.3588 | -0.023229 | 0.015192 | 6.3231 | -0.00070754 | -0.026117 | -5.3807 | 0.004883 | 0.025629 | -43.4024 | -117.6403 | -117.6403 | 136.6268 | 61.6326 | 61.6326 | 0.89291 | 0.94457 | 1.015 | 0.63444 | 0.94156 | 1.1818 | -7.1372 | -118.9976 | 116.8153 | 1.7434 | -130.2389 | 120.974
Line_1 | 0 | 0 | 0 | 0.0010916 | 0.0010916 | 0.0010916 | 0 | 0 | 0 | 0.012605 | 0.012605 | 0.012605 | 8.4917e-10 | 1.4771e-10 | -7.897e-10 | -0.0040119 | 0.011615 | -0.0075962 | 7.1978e-11 | -6.1396e-10 | 7.2749e-11 | 0.0069179 | -0.0024415 | -0.012815 | 0 | 0 | 0 | -118.3674 | -118.3674 | -118.3674 | 0.63455 | 0.94125 | 1.1821 | 0.63444 | 0.94156 | 1.1818 | 1.7727 | -130.2472 | 120.9617 | 1.7434 | -130.2389 | 120.974
Line_2 | 0 | 0 | 0 | 0.0010916 | 0.0010916 | 0.0010916 | 0 | 0 | 0 | 0.012605 | 0.012605 | 0.012605 | 8.4917e-10 | 1.4771e-10 | -7.897e-10 | -0.0040119 | 0.011615 | -0.0075962 | 7.1981e-11 | -6.1396e-10 | 7.2755e-11 | 0.0069179 | -0.0024415 | -0.012815 | 0 | 0 | 0 | -118.3674 | -118.3674 | -118.3674 | 0.63455 | 0.94125 | 1.1821 | 0.63444 | 0.94156 | 1.1818 | 1.7727 | -130.2472 | 120.9617 | 1.7434 | -130.2389 | 120.974

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35184 | 5.0984 | 2.8656 | 0.35067 | 5.0985 | 2.8647 | 4.0627 | 58.871 | 33.0891 | 4.0492 | 58.8719 | 33.0784 | -1.412 | 34.0187 | -0.80252 | 2.3788 | 1.8518e-10 | 1.1541e-10 | -3.9604 | 7.3698 | 16.1191 | 5.2323 | -1.0854e-10 | -3.1085e-11 | 101.8333 | 176.4993 | 41.0407 | -78.1009 | -3.4869 | -138.9758 | 1.0349 | 0.59126 | 0.48774 | 1.4195 | 0 | 0 | -7.7897 | -171.2771 | 133.891 | -12.5493 | 0 | 0
Line_1 | 0.1732 | 0.17321 | 0.17321 | 0.17533 | 0.17301 | 0.1713 | 2 | 2 | 2 | 2.0246 | 1.9977 | 1.978 | 1.2058 | 0.015235 | 0.015159 | -1.1894 | 6.9706e-12 | 6.8765e-12 | 2.5954 | 0.01842 | 0.017024 | -2.6162 | -2.1119e-12 | -1.9482e-12 | -77.7799 | 162.2203 | 42.2201 | 101.8991 | -17.0071 | -138.2317 | 1.4309 | 0.011952 | 0.011398 | 1.4195 | 0 | 0 | -12.6994 | -147.3744 | 90.5368 | -12.5493 | 0 | 0
Line_2 | 0.1732 | 0.17321 | 0.17321 | 0.17533 | 0.17301 | 0.1713 | 2 | 2 | 2 | 2.0246 | 1.9977 | 1.978 | 1.2058 | 0.015235 | 0.015159 | -1.1894 | 6.9706e-12 | 6.8765e-12 | 2.5954 | 0.01842 | 0.017024 | -2.6162 | -2.1119e-12 | -1.9482e-12 | -77.7799 | 162.2203 | 42.2201 | 101.8991 | -17.0071 | -138.2317 | 1.4309 | 0.011952 | 0.011398 | 1.4195 | 0 | 0 | -12.6994 | -147.3744 | 90.5368 | -12.5493 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35184 | 5.0984 | 2.8656 | 0.35067 | 5.0985 | 2.8647 | 4.0627 | 58.871 | 33.0891 | 4.0492 | 58.8719 | 33.0784 | -1.412 | 34.0187 | -0.80252 | 2.3788 | 1.8518e-10 | 1.1541e-10 | -3.9604 | 7.3698 | 16.1191 | 5.2323 | -1.0854e-10 | -3.1085e-11 | 101.8333 | 176.4993 | 41.0407 | -78.1009 | -3.4869 | -138.9758 | 1.0349 | 0.59126 | 0.48774 | 1.4195 | 0 | 0 | -7.7897 | -171.2771 | 133.891 | -12.5493 | 0 | 0
Line_1 | 0.1732 | 0.17321 | 0.17321 | 0.17533 | 0.17301 | 0.1713 | 2 | 2 | 2 | 2.0246 | 1.9977 | 1.978 | 1.2058 | 0.015235 | 0.015159 | -1.1894 | 6.9706e-12 | 6.8765e-12 | 2.5954 | 0.01842 | 0.017024 | -2.6162 | -2.1119e-12 | -1.9482e-12 | -77.7799 | 162.2203 | 42.2201 | 101.8991 | -17.0071 | -138.2317 | 1.4309 | 0.011952 | 0.011398 | 1.4195 | 0 | 0 | -12.6994 | -147.3744 | 90.5368 | -12.5493 | 0 | 0
Line_2 | 0.1732 | 0.17321 | 0.17321 | 0.17533 | 0.17301 | 0.1713 | 2 | 2 | 2 | 2.0246 | 1.9977 | 1.978 | 1.2058 | 0.015235 | 0.015159 | -1.1894 | 6.9706e-12 | 6.8765e-12 | 2.5954 | 0.01842 | 0.017024 | -2.6162 | -2.1119e-12 | -1.9482e-12 | -77.7799 | 162.2203 | 42.2201 | 101.8991 | -17.0071 | -138.2317 | 1.4309 | 0.011952 | 0.011398 | 1.4195 | 0 | 0 | -12.6994 | -147.3744 | 90.5368 | -12.5493 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34816 | 1.1989 | 0.96501 | 0.34778 | 1.1991 | 0.9646 | 4.0202 | 13.844 | 11.143 | 4.0158 | 13.8462 | 11.1383 | -1.0816 | 12.02 | 7.7134 | 1.4663 | -10.0858 | -6.9427 | -4.3654 | 7.2912 | 7.0968 | 4.8115 | -7.6752 | -5.1948 | 102.0735 | -162.0605 | 73.7621 | -77.9005 | 17.9568 | -106.2403 | 1.1187 | 1.0155 | 0.94063 | 1.2525 | 0.91534 | 0.77849 | -1.8421 | -130.82 | 116.3784 | -4.8488 | -124.7726 | 110.5646
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.17389 | 0.17318 | 0.17255 | 2 | 2 | 2 | 2.0079 | 1.9997 | 1.9924 | 0.75116 | 0.55051 | 0.59001 | -0.73314 | -0.54279 | -0.56895 | 2.4124 | 1.7687 | 1.4646 | -2.4058 | -1.7481 | -1.4429 | -77.7799 | 162.2202 | 42.2201 | 102.0995 | -17.523 | -137.916 | 1.2633 | 0.9262 | 0.78947 | 1.2525 | 0.91534 | 0.77849 | -5.0751 | -125.0687 | 110.278 | -4.8488 | -124.7726 | 110.5646
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17389 | 0.17318 | 0.17255 | 2 | 2 | 2 | 2.0079 | 1.9997 | 1.9924 | 0.75116 | 0.55051 | 0.59001 | -0.73314 | -0.54279 | -0.56895 | 2.4124 | 1.7687 | 1.4646 | -2.4058 | -1.7481 | -1.4429 | -77.7799 | 162.2202 | 42.2201 | 102.0995 | -17.523 | -137.916 | 1.2633 | 0.9262 | 0.78947 | 1.2525 | 0.91534 | 0.77849 | -5.0751 | -125.0687 | 110.278 | -4.8488 | -124.7726 | 110.5646

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34816 | 1.1989 | 0.96501 | 0.34778 | 1.1991 | 0.9646 | 4.0202 | 13.844 | 11.143 | 4.0158 | 13.8462 | 11.1383 | -1.0816 | 12.02 | 7.7134 | 1.4663 | -10.0858 | -6.9427 | -4.3654 | 7.2912 | 7.0968 | 4.8115 | -7.6752 | -5.1948 | 102.0735 | -162.0605 | 73.7621 | -77.9005 | 17.9568 | -106.2403 | 1.1187 | 1.0155 | 0.94063 | 1.2525 | 0.91534 | 0.77849 | -1.8421 | -130.82 | 116.3784 | -4.8488 | -124.7726 | 110.5646
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.17389 | 0.17318 | 0.17255 | 2 | 2 | 2 | 2.0079 | 1.9997 | 1.9924 | 0.75116 | 0.55051 | 0.59001 | -0.73314 | -0.54279 | -0.56895 | 2.4124 | 1.7687 | 1.4646 | -2.4058 | -1.7481 | -1.4429 | -77.7799 | 162.2202 | 42.2201 | 102.0995 | -17.523 | -137.916 | 1.2633 | 0.9262 | 0.78947 | 1.2525 | 0.91534 | 0.77849 | -5.0751 | -125.0687 | 110.278 | -4.8488 | -124.7726 | 110.5646
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17389 | 0.17318 | 0.17255 | 2 | 2 | 2 | 2.0079 | 1.9997 | 1.9924 | 0.75116 | 0.55051 | 0.59001 | -0.73314 | -0.54279 | -0.56895 | 2.4124 | 1.7687 | 1.4646 | -2.4058 | -1.7481 | -1.4429 | -77.7799 | 162.2202 | 42.2201 | 102.0995 | -17.523 | -137.916 | 1.2633 | 0.9262 | 0.78947 | 1.2525 | 0.91534 | 0.77849 | -5.0751 | -125.0687 | 110.278 | -4.8488 | -124.7726 | 110.5646

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00545 | 3.9226 | 2.4904 | 0.0043448 | 3.9229 | 2.4897 | 0.062931 | 45.2941 | 28.7571 | 0.05017 | 45.2975 | 28.7485 | 0.0021943 | 30.34 | -0.11431 | -5.0242e-05 | -1.6983e-10 | -2.5907e-11 | -0.059921 | 1.8331 | 12.1337 | 0.066045 | -1.9365e-10 | -1.6159e-10 | 81.7197 | -170.3056 | 37.2235 | -99.0075 | 9.71 | -142.7952 | 0.9528 | 0.67106 | 0.42195 | 1.3164 | 0 | 0 | -6.1832 | -166.8481 | 127.7633 | -8.9639 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0021724 | 0.0021724 | 0.0021724 | 0 | 0 | 0 | 0.025085 | 0.025085 | 0.025085 | -1.5876e-09 | 2.1026e-12 | -2.2218e-12 | 2.512e-05 | -1.3175e-13 | 1.1388e-13 | -7.5462e-10 | 1.3486e-12 | 1.148e-12 | -0.033023 | 5.4662e-14 | 8.6141e-14 | 0 | 0 | 0 | 80.9925 | 80.9925 | 80.9925 | 1.3166 | 0.00068164 | 0.00068164 | 1.3164 | 0 | 0 | -8.993 | -87.3447 | -87.3447 | -8.9639 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0021724 | 0.0021724 | 0.0021724 | 0 | 0 | 0 | 0.025085 | 0.025085 | 0.025085 | -1.5876e-09 | 2.1026e-12 | -2.2218e-12 | 2.512e-05 | -1.3175e-13 | 1.1388e-13 | -7.546e-10 | 1.3486e-12 | 1.148e-12 | -0.033023 | 5.4662e-14 | 8.6141e-14 | 0 | 0 | 0 | 80.9925 | 80.9925 | 80.9925 | 1.3166 | 0.00068164 | 0.00068164 | 1.3164 | 0 | 0 | -8.993 | -87.3447 | -87.3447 | -8.9639 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00545 | 3.9226 | 2.4904 | 0.0043448 | 3.9229 | 2.4897 | 0.062931 | 45.2941 | 28.7571 | 0.05017 | 45.2975 | 28.7485 | 0.0021943 | 30.34 | -0.11431 | -5.0242e-05 | -1.6983e-10 | -2.5907e-11 | -0.059921 | 1.8331 | 12.1337 | 0.066045 | -1.9365e-10 | -1.6159e-10 | 81.7197 | -170.3056 | 37.2235 | -99.0075 | 9.71 | -142.7952 | 0.9528 | 0.67106 | 0.42195 | 1.3164 | 0 | 0 | -6.1832 | -166.8481 | 127.7633 | -8.9639 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0021724 | 0.0021724 | 0.0021724 | 0 | 0 | 0 | 0.025085 | 0.025085 | 0.025085 | -1.5876e-09 | 2.1026e-12 | -2.2218e-12 | 2.512e-05 | -1.3175e-13 | 1.1388e-13 | -7.5462e-10 | 1.3486e-12 | 1.148e-12 | -0.033023 | 5.4662e-14 | 8.6141e-14 | 0 | 0 | 0 | 80.9925 | 80.9925 | 80.9925 | 1.3166 | 0.00068164 | 0.00068164 | 1.3164 | 0 | 0 | -8.993 | -87.3447 | -87.3447 | -8.9639 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0021724 | 0.0021724 | 0.0021724 | 0 | 0 | 0 | 0.025085 | 0.025085 | 0.025085 | -1.5876e-09 | 2.1026e-12 | -2.2218e-12 | 2.512e-05 | -1.3175e-13 | 1.1388e-13 | -7.546e-10 | 1.3486e-12 | 1.148e-12 | -0.033023 | 5.4662e-14 | 8.6141e-14 | 0 | 0 | 0 | 80.9925 | 80.9925 | 80.9925 | 1.3166 | 0.00068164 | 0.00068164 | 1.3164 | 0 | 0 | -8.993 | -87.3447 | -87.3447 | -8.9639 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024496 | 1.2103 | 0.96782 | 0.0019529 | 1.2106 | 0.96733 | 0.028286 | 13.9751 | 11.1754 | 0.02255 | 13.9783 | 11.1697 | 0.0083193 | 10.4505 | 5.6921 | -0.00643 | -7.3248 | -4.6699 | -0.026092 | 6.614 | 7.0663 | 0.024413 | -7.3438 | -4.6684 | 69.9296 | -164.1843 | 64.7098 | -110.7976 | 15.8354 | -115.2943 | 0.96821 | 0.88497 | 0.81194 | 1.1195 | 0.74202 | 0.59117 | -2.3861 | -131.8552 | 115.8573 | -6.0417 | -119.0905 | 109.6966
Line_1 | 0 | 0 | 0 | 0.00097643 | 0.00097643 | 0.00097643 | 0 | 0 | 0 | 0.011275 | 0.011275 | 0.011275 | -5.1354e-10 | 7.0103e-10 | 8.5152e-10 | 0.003215 | -0.0082787 | 0.0050688 | -4.3317e-10 | 4.3589e-11 | -3.8699e-10 | -0.012206 | 0.0012067 | 0.0043283 | 0 | 0 | 0 | 69.2024 | 69.2024 | 69.2024 | 1.1195 | 0.74231 | 0.5909 | 1.1195 | 0.74202 | 0.59117 | -6.0574 | -119.0824 | 109.7109 | -6.0417 | -119.0905 | 109.6966
Line_2 | 0 | 0 | 0 | 0.00097643 | 0.00097643 | 0.00097643 | 0 | 0 | 0 | 0.011275 | 0.011275 | 0.011275 | -5.1353e-10 | 7.0103e-10 | 8.5153e-10 | 0.003215 | -0.0082787 | 0.0050688 | -4.3317e-10 | 4.3589e-11 | -3.8699e-10 | -0.012206 | 0.0012067 | 0.0043283 | 0 | 0 | 0 | 69.2024 | 69.2024 | 69.2024 | 1.1195 | 0.74231 | 0.5909 | 1.1195 | 0.74202 | 0.59117 | -6.0574 | -119.0824 | 109.7109 | -6.0417 | -119.0905 | 109.6966

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024496 | 1.2103 | 0.96782 | 0.0019529 | 1.2106 | 0.96733 | 0.028286 | 13.9751 | 11.1754 | 0.02255 | 13.9783 | 11.1697 | 0.0083193 | 10.4505 | 5.6921 | -0.00643 | -7.3248 | -4.6699 | -0.026092 | 6.614 | 7.0663 | 0.024413 | -7.3438 | -4.6684 | 69.9296 | -164.1843 | 64.7098 | -110.7976 | 15.8354 | -115.2943 | 0.96821 | 0.88497 | 0.81194 | 1.1195 | 0.74202 | 0.59117 | -2.3861 | -131.8552 | 115.8573 | -6.0417 | -119.0905 | 109.6966
Line_1 | 0 | 0 | 0 | 0.00097643 | 0.00097643 | 0.00097643 | 0 | 0 | 0 | 0.011275 | 0.011275 | 0.011275 | -5.1354e-10 | 7.0103e-10 | 8.5152e-10 | 0.003215 | -0.0082787 | 0.0050688 | -4.3317e-10 | 4.3589e-11 | -3.8699e-10 | -0.012206 | 0.0012067 | 0.0043283 | 0 | 0 | 0 | 69.2024 | 69.2024 | 69.2024 | 1.1195 | 0.74231 | 0.5909 | 1.1195 | 0.74202 | 0.59117 | -6.0574 | -119.0824 | 109.7109 | -6.0417 | -119.0905 | 109.6966
Line_2 | 0 | 0 | 0 | 0.00097643 | 0.00097643 | 0.00097643 | 0 | 0 | 0 | 0.011275 | 0.011275 | 0.011275 | -5.1353e-10 | 7.0103e-10 | 8.5153e-10 | 0.003215 | -0.0082787 | 0.0050688 | -4.3317e-10 | 4.3589e-11 | -3.8699e-10 | -0.012206 | 0.0012067 | 0.0043283 | 0 | 0 | 0 | 69.2024 | 69.2024 | 69.2024 | 1.1195 | 0.74231 | 0.5909 | 1.1195 | 0.74202 | 0.59117 | -6.0574 | -119.0824 | 109.7109 | -6.0417 | -119.0905 | 109.6966