## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.17321 | 0.17321 | 0 | 0.24495 | 6 | 6 | 0.0468 | -1e-07 | 0.0531 | -1e-07 | -77.7798 | 102.2202 | 0.011797 | 0 | -29.1714 | 0
Line_2 | 0.17321 | 0.17321 | 0 | 0.24495 | 6 | 6 | 0.0468 | -1e-07 | 0.0531 | -1e-07 | -77.7798 | 102.2202 | 0.011797 | 0 | -29.1714 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011797 | 0.011797 | -29.1714 | -29.1714

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.17321 | 0.17321 | 0 | 0.24495 | 6 | 6 | 0.0468 | -1e-07 | 0.0531 | -1e-07 | -77.7798 | 102.2202 | 0.011797 | 0 | -29.1714 | 0
Line_2 | 0.17321 | 0.17321 | 0 | 0.24495 | 6 | 6 | 0.0468 | -1e-07 | 0.0531 | -1e-07 | -77.7798 | 102.2202 | 0.011797 | 0 | -29.1714 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011797 | 0.011797 | -29.1714 | -29.1714

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1058 | 1.1058 | 0 | 2.5412 | 38.3069 | 38.3069 | 28.1124 | -26.2047 | 22.5619 | -20.3974 | -47.4264 | 132.5736 | 0.94099 | 0.86688 | -8.6773 | -9.5297
Line_1 | 0.1732 | 0.1732 | 0 | 0.24495 | 6 | 6 | 1.9742 | -1.9274 | 4.8841 | -4.831 | -77.7798 | 102.2202 | 0.878 | 0.86688 | -9.7884 | -9.5297
Line_2 | 0.1732 | 0.1732 | 0 | 0.24495 | 6 | 6 | 1.9742 | -1.9274 | 4.8841 | -4.831 | -77.7798 | 102.2202 | 0.878 | 0.86688 | -9.7884 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.878 | 0.878 | -9.7884 | -9.7884

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1058 | 1.1058 | 0 | 2.5412 | 38.3069 | 38.3069 | 28.1124 | -26.2047 | 22.5619 | -20.3974 | -47.4264 | 132.5736 | 0.94099 | 0.86688 | -8.6773 | -9.5297
Line_1 | 0.1732 | 0.1732 | 0 | 0.24495 | 6 | 6 | 1.9742 | -1.9274 | 4.8841 | -4.831 | -77.7798 | 102.2202 | 0.878 | 0.86688 | -9.7884 | -9.5297
Line_2 | 0.1732 | 0.1732 | 0 | 0.24495 | 6 | 6 | 1.9742 | -1.9274 | 4.8841 | -4.831 | -77.7798 | 102.2202 | 0.878 | 0.86688 | -9.7884 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.878 | 0.878 | -9.7884 | -9.7884

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7288e-20 | 0 | 6.3228e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7288e-20 | 0 | 6.3228e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7288e-20 | 0 | 6.3228e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7288e-20 | 0 | 6.3228e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 3.7132 | 3.7132 | 0.34641 | 3.7132 | 3.7132 | 4 | 42.8763 | 42.8763 | 4 | 42.8763 | 42.8763 | -0.94426 | 31.8026 | -17.9666 | 1.0067 | -24.633 | 25.1363 | -4.5773 | 1.5834 | 12.3622 | 4.6481 | 6.5514 | -4.2274 | 102.22 | -165.1063 | 9.5466 | -77.78 | 14.8937 | -170.4534 | 1.1684 | 0.74265 | 0.50864 | 1.189 | 0.59448 | 0.59448 | 0.56392 | -162.256 | 155.0161 | -8.1315e-06 | 180 | 180
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.1478 | -0.86492 | -0.50333 | -1.1322 | 0.88052 | 2.3417 | 0.38076 | 0.81667 | -2.3241 | -0.36306 | -0.79897 | -77.78 | 162.2204 | 42.2201 | 102.22 | -17.7796 | -137.7799 | 1.1993 | 0.60464 | 0.59477 | 1.189 | 0.59448 | 0.59448 | -0.27472 | -179.4271 | 178.8636 | -8.1315e-06 | 180 | 180
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.1478 | -0.86492 | -0.50333 | -1.1322 | 0.88052 | 2.3417 | 0.38076 | 0.81667 | -2.3241 | -0.36306 | -0.79897 | -77.78 | 162.2204 | 42.2201 | 102.22 | -17.7796 | -137.7799 | 1.1993 | 0.60464 | 0.59477 | 1.189 | 0.59448 | 0.59448 | -0.27472 | -179.4271 | 178.8636 | -8.1315e-06 | 180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.6536e-15 | 0 | -1.0932e-14 | 5.6264e-15 | 2.8927e-15 | -2.235e-16 | 5.7081e-15 | 0 | 1.7125e-14 | -1.1389e-14 | -2.8354e-15 | -1.1267e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1993 | 0.60464 | 0.59477 | 1.1993 | 0.60464 | 0.59477 | -0.27472 | -179.4271 | 178.8636 | -0.27472 | -179.4271 | 178.8636

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 3.7132 | 3.7132 | 0.34641 | 3.7132 | 3.7132 | 4 | 42.8763 | 42.8763 | 4 | 42.8763 | 42.8763 | -0.94426 | 31.8026 | -17.9666 | 1.0067 | -24.633 | 25.1363 | -4.5773 | 1.5834 | 12.3622 | 4.6481 | 6.5514 | -4.2274 | 102.22 | -165.1063 | 9.5466 | -77.78 | 14.8937 | -170.4534 | 1.1684 | 0.74265 | 0.50864 | 1.189 | 0.59448 | 0.59448 | 0.56392 | -162.256 | 155.0161 | -8.1315e-06 | 180 | 180
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.1478 | -0.86492 | -0.50333 | -1.1322 | 0.88052 | 2.3417 | 0.38076 | 0.81667 | -2.3241 | -0.36306 | -0.79897 | -77.78 | 162.2204 | 42.2201 | 102.22 | -17.7796 | -137.7799 | 1.1993 | 0.60464 | 0.59477 | 1.189 | 0.59448 | 0.59448 | -0.27472 | -179.4271 | 178.8636 | -8.1315e-06 | 180 | 180
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.1478 | -0.86492 | -0.50333 | -1.1322 | 0.88052 | 2.3417 | 0.38076 | 0.81667 | -2.3241 | -0.36306 | -0.79897 | -77.78 | 162.2204 | 42.2201 | 102.22 | -17.7796 | -137.7799 | 1.1993 | 0.60464 | 0.59477 | 1.189 | 0.59448 | 0.59448 | -0.27472 | -179.4271 | 178.8636 | -8.1315e-06 | 180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.6536e-15 | 0 | -1.0932e-14 | 5.6264e-15 | 2.8927e-15 | -2.235e-16 | 5.7081e-15 | 0 | 1.7125e-14 | -1.1389e-14 | -2.8354e-15 | -1.1267e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1993 | 0.60464 | 0.59477 | 1.1993 | 0.60464 | 0.59477 | -0.27472 | -179.4271 | 178.8636 | -0.27472 | -179.4271 | 178.8636

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 1.6929 | 1.5687 | 0.34641 | 1.6929 | 1.5687 | 4 | 19.5479 | 18.1138 | 4 | 19.5479 | 18.1138 | -0.94426 | 19.7408 | -1.1597 | 1.0067 | -18.2505 | 2.4393 | -4.5773 | 1.1548 | 14.2245 | 4.6481 | 0.53608 | -12.7726 | 102.2201 | -141.1848 | 27.4267 | -77.7799 | 38.8152 | -152.5733 | 1.1684 | 1.0116 | 0.78789 | 1.189 | 0.93403 | 0.71787 | 0.56393 | -137.8369 | 122.0876 | -5.5203e-06 | -142.8673 | 128.239
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.0894 | 0.11528 | -0.50333 | -1.0738 | -0.099682 | 2.3418 | 1.5463 | 1.45 | -2.3241 | -1.5286 | -1.4323 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1993 | 0.94576 | 0.72728 | 1.189 | 0.93403 | 0.71787 | -0.27471 | -142.9457 | 127.6744 | -5.5203e-06 | -142.8673 | 128.239
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.0894 | 0.11528 | -0.50333 | -1.0738 | -0.099682 | 2.3418 | 1.5463 | 1.45 | -2.3241 | -1.5286 | -1.4323 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1993 | 0.94576 | 0.72728 | 1.189 | 0.93403 | 0.71787 | -0.27471 | -142.9457 | 127.6744 | -5.5203e-06 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8541e-15 | -1.255e-14 | -4.8323e-15 | -5.6809e-15 | 1.0726e-14 | 3.348e-15 | -2.8268e-15 | 1.7516e-15 | 6.2123e-16 | 2.7238e-17 | 8.0986e-15 | 6.9378e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1993 | 0.94576 | 0.72728 | 1.1993 | 0.94576 | 0.72728 | -0.27471 | -142.9457 | 127.6744 | -0.27471 | -142.9457 | 127.6744

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 1.6929 | 1.5687 | 0.34641 | 1.6929 | 1.5687 | 4 | 19.5479 | 18.1138 | 4 | 19.5479 | 18.1138 | -0.94426 | 19.7408 | -1.1597 | 1.0067 | -18.2505 | 2.4393 | -4.5773 | 1.1548 | 14.2245 | 4.6481 | 0.53608 | -12.7726 | 102.2201 | -141.1848 | 27.4267 | -77.7799 | 38.8152 | -152.5733 | 1.1684 | 1.0116 | 0.78789 | 1.189 | 0.93403 | 0.71787 | 0.56393 | -137.8369 | 122.0876 | -5.5203e-06 | -142.8673 | 128.239
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.0894 | 0.11528 | -0.50333 | -1.0738 | -0.099682 | 2.3418 | 1.5463 | 1.45 | -2.3241 | -1.5286 | -1.4323 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1993 | 0.94576 | 0.72728 | 1.189 | 0.93403 | 0.71787 | -0.27471 | -142.9457 | 127.6744 | -5.5203e-06 | -142.8673 | 128.239
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.0894 | 0.11528 | -0.50333 | -1.0738 | -0.099682 | 2.3418 | 1.5463 | 1.45 | -2.3241 | -1.5286 | -1.4323 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1993 | 0.94576 | 0.72728 | 1.189 | 0.93403 | 0.71787 | -0.27471 | -142.9457 | 127.6744 | -5.5203e-06 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8541e-15 | -1.255e-14 | -4.8323e-15 | -5.6809e-15 | 1.0726e-14 | 3.348e-15 | -2.8268e-15 | 1.7516e-15 | 6.2123e-16 | 2.7238e-17 | 8.0986e-15 | 6.9378e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1993 | 0.94576 | 0.72728 | 1.1993 | 0.94576 | 0.72728 | -0.27471 | -142.9457 | 127.6744 | -0.27471 | -142.9457 | 127.6744

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 2.1316e-14 | 26.5997 | -7.1734 | -2.1316e-14 | -16.8865 | 16.8865 | -1.4211e-14 | -0.51586 | 11.9957 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.1561e-13 | -160.7833 | 141.207 | 4.8495e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | -4.7369e-15 | 7.1055e-15 | 1.1842e-14 | 1.1842e-14 | -4.737e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.5526e-13 | -180 | 180 | 4.8495e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -4.7369e-15 | 2.3686e-15 | 1.4211e-14 | 7.1054e-15 | -1.4433e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.5279e-13 | -180 | 180 | 4.8495e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -1.1842e-15 | -2.3685e-15 | -4.737e-15 | 8.2897e-15 | 2.3685e-15 | 4.737e-15 | 7.1054e-15 | 4.737e-15 | -3.7435e-29 | 4.6886e-25 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.5526e-13 | -180 | 180 | 4.5279e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 2.1316e-14 | 26.5997 | -7.1734 | -2.1316e-14 | -16.8865 | 16.8865 | -1.4211e-14 | -0.51586 | 11.9957 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.1561e-13 | -160.7833 | 141.207 | 4.8495e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | -4.7369e-15 | 7.1055e-15 | 1.1842e-14 | 1.1842e-14 | -4.737e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.5526e-13 | -180 | 180 | 4.8495e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -4.7369e-15 | 2.3686e-15 | 1.4211e-14 | 7.1054e-15 | -1.4433e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.5279e-13 | -180 | 180 | 4.8495e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -1.1842e-15 | -2.3685e-15 | -4.737e-15 | 8.2897e-15 | 2.3685e-15 | 4.737e-15 | 7.1054e-15 | 4.737e-15 | -3.7435e-29 | 4.6886e-25 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.5526e-13 | -180 | 180 | 4.5279e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 1.5395e-14 | 15.3932 | 0.73601 | -1.4803e-14 | -13.0917 | 1.5655 | -2.3685e-15 | 2.3135 | 11.9328 | 2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.2376e-13 | -138.1765 | 119.7467 | 2.0998e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0658e-14 | 4.798e-10 | 8.2616e-10 | 9.4739e-15 | -4.798e-10 | -8.2616e-10 | 9.4739e-15 | -1.0532e-09 | 4.5325e-10 | -9.4739e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.9159e-13 | -142.5584 | 131.6989 | 2.0998e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.6975e-15 | 4.798e-10 | 8.2615e-10 | 7.1054e-15 | -4.798e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.9056e-13 | -142.5584 | 131.6989 | 2.0998e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | -2.8602e-15 | 4.3124e-15 | 1.1842e-15 | 5.6761e-15 | 2.4509e-16 | 7.1054e-15 | 2.2769e-15 | 3.842e-15 | -7.1054e-15 | -1.207e-16 | -4.6162e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.9159e-13 | -142.5584 | 131.6989 | 1.9056e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 1.5395e-14 | 15.3932 | 0.73601 | -1.4803e-14 | -13.0917 | 1.5655 | -2.3685e-15 | 2.3135 | 11.9328 | 2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.2376e-13 | -138.1765 | 119.7467 | 2.0998e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0658e-14 | 4.798e-10 | 8.2616e-10 | 9.4739e-15 | -4.798e-10 | -8.2616e-10 | 9.4739e-15 | -1.0532e-09 | 4.5325e-10 | -9.4739e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.9159e-13 | -142.5584 | 131.6989 | 2.0998e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.6975e-15 | 4.798e-10 | 8.2615e-10 | 7.1054e-15 | -4.798e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.9056e-13 | -142.5584 | 131.6989 | 2.0998e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | -2.8602e-15 | 4.3124e-15 | 1.1842e-15 | 5.6761e-15 | 2.4509e-16 | 7.1054e-15 | 2.2769e-15 | 3.842e-15 | -7.1054e-15 | -1.207e-16 | -4.6162e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.9159e-13 | -142.5584 | 131.6989 | 1.9056e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.9851 | 0.3453 | 0.35539 | 3.9841 | 0.34527 | 0.35405 | 46.0157 | 3.9872 | 4.1037 | 46.0045 | 3.9868 | 4.0882 | 26.6326 | -0.3494 | -1.72 | 3.1773e-10 | 1.9255 | 1.6489 | 13.8245 | -4.061 | -4.5155 | -2.3016e-10 | 3.4611 | 6.2519 | -56.8173 | -19.3789 | -137.1764 | 123.1999 | 160.8764 | 42.7021 | 0.6521 | 1.0223 | 1.1775 | 0 | 0.99343 | 1.5815 | -29.3844 | -114.2964 | 111.9714 | 0 | -138.2118 | 117.9274
Line_1 | 0.17214 | 0.173 | 0.17448 | 0.17003 | 0.17263 | 0.17703 | 1.9877 | 1.9977 | 2.0147 | 1.9633 | 1.9934 | 2.0441 | 0.013807 | 1.0077 | 0.81255 | 1.611e-11 | -0.96274 | -0.82443 | 0.01807 | 1.7349 | 3.1045 | -4.5594e-12 | -1.7305 | -3.126 | -77.4956 | 161.7731 | 42.383 | 103.0827 | -19.1236 | -137.2979 | 0.011441 | 1.0043 | 1.5928 | 0 | 0.99343 | 1.5815 | -24.8776 | -138.3766 | 117.7158 | 0 | -138.2118 | 117.9274
Line_2 | 0.17214 | 0.173 | 0.17448 | 0.17003 | 0.17263 | 0.17703 | 1.9877 | 1.9977 | 2.0147 | 1.9633 | 1.9934 | 2.0441 | 0.013807 | 1.0077 | 0.81255 | 1.611e-11 | -0.96274 | -0.82443 | 0.01807 | 1.7349 | 3.1045 | -4.5594e-12 | -1.7305 | -3.126 | -77.4956 | 161.7731 | 42.383 | 103.0827 | -19.1236 | -137.2979 | 0.011441 | 1.0043 | 1.5928 | 0 | 0.99343 | 1.5815 | -24.8776 | -138.3766 | 117.7158 | 0 | -138.2118 | 117.9274
Line_3 | 0.0013653 | 0.0013653 | 0.0013653 | 0.0013653 | 0.0013653 | 0.0013653 | 0.015765 | 0.015765 | 0.015765 | 0.015765 | 0.015765 | 0.015765 | -5.0739e-06 | 0.014692 | -0.014687 | -5.0739e-06 | 0.014692 | -0.014687 | 0.00018029 | -0.0059023 | -0.020368 | 0.00018029 | -0.0059023 | -0.020368 | -116.4896 | -116.4896 | -116.4896 | -116.4896 | -116.4896 | -116.4896 | 0.011441 | 1.0043 | 1.5928 | 0.011441 | 1.0043 | 1.5928 | -24.8776 | -138.3766 | 117.7158 | -24.8776 | -138.3766 | 117.7158

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.9851 | 0.3453 | 0.35539 | 3.9841 | 0.34527 | 0.35405 | 46.0157 | 3.9872 | 4.1037 | 46.0045 | 3.9868 | 4.0882 | 26.6326 | -0.3494 | -1.72 | 3.1773e-10 | 1.9255 | 1.6489 | 13.8245 | -4.061 | -4.5155 | -2.3016e-10 | 3.4611 | 6.2519 | -56.8173 | -19.3789 | -137.1764 | 123.1999 | 160.8764 | 42.7021 | 0.6521 | 1.0223 | 1.1775 | 0 | 0.99343 | 1.5815 | -29.3844 | -114.2964 | 111.9714 | 0 | -138.2118 | 117.9274
Line_1 | 0.17214 | 0.173 | 0.17448 | 0.17003 | 0.17263 | 0.17703 | 1.9877 | 1.9977 | 2.0147 | 1.9633 | 1.9934 | 2.0441 | 0.013807 | 1.0077 | 0.81255 | 1.611e-11 | -0.96274 | -0.82443 | 0.01807 | 1.7349 | 3.1045 | -4.5594e-12 | -1.7305 | -3.126 | -77.4956 | 161.7731 | 42.383 | 103.0827 | -19.1236 | -137.2979 | 0.011441 | 1.0043 | 1.5928 | 0 | 0.99343 | 1.5815 | -24.8776 | -138.3766 | 117.7158 | 0 | -138.2118 | 117.9274
Line_2 | 0.17214 | 0.173 | 0.17448 | 0.17003 | 0.17263 | 0.17703 | 1.9877 | 1.9977 | 2.0147 | 1.9633 | 1.9934 | 2.0441 | 0.013807 | 1.0077 | 0.81255 | 1.611e-11 | -0.96274 | -0.82443 | 0.01807 | 1.7349 | 3.1045 | -4.5594e-12 | -1.7305 | -3.126 | -77.4956 | 161.7731 | 42.383 | 103.0827 | -19.1236 | -137.2979 | 0.011441 | 1.0043 | 1.5928 | 0 | 0.99343 | 1.5815 | -24.8776 | -138.3766 | 117.7158 | 0 | -138.2118 | 117.9274
Line_3 | 0.0013653 | 0.0013653 | 0.0013653 | 0.0013653 | 0.0013653 | 0.0013653 | 0.015765 | 0.015765 | 0.015765 | 0.015765 | 0.015765 | 0.015765 | -5.0739e-06 | 0.014692 | -0.014687 | -5.0739e-06 | 0.014692 | -0.014687 | 0.00018029 | -0.0059023 | -0.020368 | 0.00018029 | -0.0059023 | -0.020368 | -116.4896 | -116.4896 | -116.4896 | -116.4896 | -116.4896 | -116.4896 | 0.011441 | 1.0043 | 1.5928 | 0.011441 | 1.0043 | 1.5928 | -24.8776 | -138.3766 | 117.7158 | -24.8776 | -138.3766 | 117.7158

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0563 | 0.34652 | 0.34899 | 1.056 | 0.34644 | 0.34862 | 12.1968 | 4.0013 | 4.0298 | 12.1939 | 4.0004 | 4.0255 | 10.2604 | -0.78357 | -1.1936 | -8.1232 | 1.3465 | 1.1301 | 6.7517 | -4.4029 | -4.5913 | -5.9179 | 4.3319 | 5.1619 | -40.238 | -18.2818 | -137.5165 | 139.7842 | 161.7967 | 42.434 | 1.007 | 1.1177 | 1.1772 | 0.8242 | 1.134 | 1.3127 | -6.8919 | -118.3729 | 117.9105 | -4.1418 | -125.47 | 120.0852
Line_1 | 0.17283 | 0.17321 | 0.17357 | 0.17209 | 0.17322 | 0.17431 | 1.9957 | 2 | 2.0042 | 1.9871 | 2.0002 | 2.0127 | 0.48029 | 0.69963 | 0.57228 | -0.46712 | -0.67324 | -0.56504 | 1.5954 | 2.1797 | 2.5896 | -1.5698 | -2.166 | -2.5809 | -77.7101 | 162.0789 | 42.2917 | 102.4299 | -18.2033 | -137.566 | 0.83486 | 1.1446 | 1.3232 | 0.8242 | 1.134 | 1.3127 | -4.4644 | -125.7168 | 119.83 | -4.1418 | -125.47 | 120.0852
Line_2 | 0.17283 | 0.17321 | 0.17357 | 0.17209 | 0.17322 | 0.17431 | 1.9957 | 2 | 2.0042 | 1.9871 | 2.0002 | 2.0127 | 0.48029 | 0.69963 | 0.57228 | -0.46712 | -0.67324 | -0.56504 | 1.5954 | 2.1797 | 2.5896 | -1.5698 | -2.166 | -2.5809 | -77.7101 | 162.0789 | 42.2917 | 102.4299 | -18.2033 | -137.566 | 0.83486 | 1.1446 | 1.3232 | 0.8242 | 1.134 | 1.3127 | -4.4644 | -125.7168 | 119.83 | -4.1418 | -125.47 | 120.0852
Line_3 | 0.00042684 | 0.00042684 | 0.00042684 | 0.00042684 | 0.00042684 | 0.00042684 | 0.0049287 | 0.0049287 | 0.0049287 | 0.0049287 | 0.0049287 | 0.0049287 | -0.00091234 | 0.0053515 | -0.0044392 | -0.00091234 | 0.0053515 | -0.0044392 | 0.0040124 | -0.0017846 | -0.0047779 | 0.0040124 | -0.0017846 | -0.0047779 | -107.2745 | -107.2745 | -107.2745 | -107.2745 | -107.2745 | -107.2745 | 0.83486 | 1.1446 | 1.3232 | 0.83486 | 1.1446 | 1.3232 | -4.4644 | -125.7168 | 119.83 | -4.4644 | -125.7168 | 119.83

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0563 | 0.34652 | 0.34899 | 1.056 | 0.34644 | 0.34862 | 12.1968 | 4.0013 | 4.0298 | 12.1939 | 4.0004 | 4.0255 | 10.2604 | -0.78357 | -1.1936 | -8.1232 | 1.3465 | 1.1301 | 6.7517 | -4.4029 | -4.5913 | -5.9179 | 4.3319 | 5.1619 | -40.238 | -18.2818 | -137.5165 | 139.7842 | 161.7967 | 42.434 | 1.007 | 1.1177 | 1.1772 | 0.8242 | 1.134 | 1.3127 | -6.8919 | -118.3729 | 117.9105 | -4.1418 | -125.47 | 120.0852
Line_1 | 0.17283 | 0.17321 | 0.17357 | 0.17209 | 0.17322 | 0.17431 | 1.9957 | 2 | 2.0042 | 1.9871 | 2.0002 | 2.0127 | 0.48029 | 0.69963 | 0.57228 | -0.46712 | -0.67324 | -0.56504 | 1.5954 | 2.1797 | 2.5896 | -1.5698 | -2.166 | -2.5809 | -77.7101 | 162.0789 | 42.2917 | 102.4299 | -18.2033 | -137.566 | 0.83486 | 1.1446 | 1.3232 | 0.8242 | 1.134 | 1.3127 | -4.4644 | -125.7168 | 119.83 | -4.1418 | -125.47 | 120.0852
Line_2 | 0.17283 | 0.17321 | 0.17357 | 0.17209 | 0.17322 | 0.17431 | 1.9957 | 2 | 2.0042 | 1.9871 | 2.0002 | 2.0127 | 0.48029 | 0.69963 | 0.57228 | -0.46712 | -0.67324 | -0.56504 | 1.5954 | 2.1797 | 2.5896 | -1.5698 | -2.166 | -2.5809 | -77.7101 | 162.0789 | 42.2917 | 102.4299 | -18.2033 | -137.566 | 0.83486 | 1.1446 | 1.3232 | 0.8242 | 1.134 | 1.3127 | -4.4644 | -125.7168 | 119.83 | -4.1418 | -125.47 | 120.0852
Line_3 | 0.00042684 | 0.00042684 | 0.00042684 | 0.00042684 | 0.00042684 | 0.00042684 | 0.0049287 | 0.0049287 | 0.0049287 | 0.0049287 | 0.0049287 | 0.0049287 | -0.00091234 | 0.0053515 | -0.0044392 | -0.00091234 | 0.0053515 | -0.0044392 | 0.0040124 | -0.0017846 | -0.0047779 | 0.0040124 | -0.0017846 | -0.0047779 | -107.2745 | -107.2745 | -107.2745 | -107.2745 | -107.2745 | -107.2745 | 0.83486 | 1.1446 | 1.3232 | 0.83486 | 1.1446 | 1.3232 | -4.4644 | -125.7168 | 119.83 | -4.4644 | -125.7168 | 119.83

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7516 | 0.010481 | 0.010481 | 2.751 | 0.0089233 | 0.0089233 | 31.7728 | 0.12102 | 0.12102 | 31.7653 | 0.10304 | 0.10304 | 22.9951 | 0.107 | -0.086527 | -7.0507e-11 | -0.081973 | 0.081597 | 6.5824 | -0.010528 | -0.09107 | -1.7194e-11 | 0.057146 | 0.12853 | -41.8394 | -112.5959 | -112.5959 | 138.1902 | 66.4243 | 66.4243 | 0.7528 | 0.88841 | 1.038 | 0 | 0.96981 | 1.4775 | -25.8655 | -118.215 | 113.8693 | 0 | -148.4574 | 124.0142
Line_1 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0044617 | 0.0044617 | 0.0044617 | 0.017177 | 0.017177 | 0.017177 | 0.051519 | 0.051519 | 0.051519 | 3.1396e-05 | -0.013643 | 0.013612 | 9.2951e-15 | 0.040987 | -0.040798 | 6.5055e-06 | 0.009519 | 0.021446 | 1.1734e-13 | -0.028573 | -0.064263 | 66.3662 | 66.3662 | 66.3662 | -113.5757 | -113.5757 | -113.5757 | 0.0018667 | 0.96853 | 1.4788 | 0 | 0.96981 | 1.4775 | 78.0725 | -148.5375 | 123.9622 | 0 | -148.4574 | 124.0142
Line_2 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0044617 | 0.0044617 | 0.0044617 | 0.017177 | 0.017177 | 0.017177 | 0.051519 | 0.051519 | 0.051519 | 3.1396e-05 | -0.013643 | 0.013612 | 9.2951e-15 | 0.040987 | -0.040798 | 6.5055e-06 | 0.009519 | 0.021446 | 1.1734e-13 | -0.028573 | -0.064263 | 66.3662 | 66.3662 | 66.3662 | -113.5757 | -113.5757 | -113.5757 | 0.0018667 | 0.96853 | 1.4788 | 0 | 0.96981 | 1.4775 | 78.0725 | -148.5375 | 123.9622 | 0 | -148.4574 | 124.0142
Line_3 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0014875 | 0.017177 | 0.017177 | 0.017177 | 0.017177 | 0.017177 | 0.017177 | -3.1396e-05 | 0.013643 | -0.013612 | -3.1396e-05 | 0.013643 | -0.013612 | -6.5055e-06 | -0.009519 | -0.021446 | -6.5055e-06 | -0.009519 | -0.021446 | -113.6338 | -113.6338 | -113.6338 | -113.6338 | -113.6338 | -113.6338 | 0.0018667 | 0.96853 | 1.4788 | 0.0018667 | 0.96853 | 1.4788 | 78.0725 | -148.5375 | 123.9622 | 78.0725 | -148.5375 | 123.9622

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7516 | 0.010481 | 0.010481 | 2.751 | 0.0089233 | 0.0089233 | 31.7728 | 0.12102 | 0.12102 | 31.7653 | 0.10304 | 0.10304 | 22.9951 | 0.107 | -0.086527 | -7.0507e-11 | -0.081973 | 0.081597 | 6.5824 | -0.010528 | -0.09107 | -1.7194e-11 | 0.057146 | 0.12853 | -41.8394 | -112.5959 | -112.5959 | 138.1902 | 66.4243 | 66.4243 | 0.7528 | 0.88841 | 1.038 | 0 | 0.96981 | 1.4775 | -25.8655 | -118.215 | 113.8693 | 0 | -148.4574 | 124.0142
Line_1 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0044617 | 0.0044617 | 0.0044617 | 0.017177 | 0.017177 | 0.017177 | 0.051519 | 0.051519 | 0.051519 | 3.1396e-05 | -0.013643 | 0.013612 | 9.2951e-15 | 0.040987 | -0.040798 | 6.5055e-06 | 0.009519 | 0.021446 | 1.1734e-13 | -0.028573 | -0.064263 | 66.3662 | 66.3662 | 66.3662 | -113.5757 | -113.5757 | -113.5757 | 0.0018667 | 0.96853 | 1.4788 | 0 | 0.96981 | 1.4775 | 78.0725 | -148.5375 | 123.9622 | 0 | -148.4574 | 124.0142
Line_2 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0044617 | 0.0044617 | 0.0044617 | 0.017177 | 0.017177 | 0.017177 | 0.051519 | 0.051519 | 0.051519 | 3.1396e-05 | -0.013643 | 0.013612 | 9.2951e-15 | 0.040987 | -0.040798 | 6.5055e-06 | 0.009519 | 0.021446 | 1.1734e-13 | -0.028573 | -0.064263 | 66.3662 | 66.3662 | 66.3662 | -113.5757 | -113.5757 | -113.5757 | 0.0018667 | 0.96853 | 1.4788 | 0 | 0.96981 | 1.4775 | 78.0725 | -148.5375 | 123.9622 | 0 | -148.4574 | 124.0142
Line_3 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0014875 | 0.017177 | 0.017177 | 0.017177 | 0.017177 | 0.017177 | 0.017177 | -3.1396e-05 | 0.013643 | -0.013612 | -3.1396e-05 | 0.013643 | -0.013612 | -6.5055e-06 | -0.009519 | -0.021446 | -6.5055e-06 | -0.009519 | -0.021446 | -113.6338 | -113.6338 | -113.6338 | -113.6338 | -113.6338 | -113.6338 | 0.0018667 | 0.96853 | 1.4788 | 0.0018667 | 0.96853 | 1.4788 | 78.0725 | -148.5375 | 123.9622 | 78.0725 | -148.5375 | 123.9622

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.026 | 0.0039081 | 0.0039081 | 1.0258 | 0.0033273 | 0.0033273 | 11.8475 | 0.045127 | 0.045127 | 11.8447 | 0.038421 | 0.038421 | 8.4353 | 0.043126 | -0.027881 | -5.2395 | -0.035473 | 0.024497 | 6.1911 | -0.0034575 | -0.036129 | -5.272 | 0.0092316 | 0.038077 | -43.9515 | -114.708 | -114.708 | 136.0781 | 64.3122 | 64.3122 | 0.88318 | 0.95871 | 1.0113 | 0.62752 | 0.95403 | 1.1784 | -7.6745 | -119.2917 | 117.6341 | 1.2548 | -130.2749 | 121.5575
Line_1 | 0.00055467 | 0.00055467 | 0.00055467 | 0.0016637 | 0.0016637 | 0.0016637 | 0.0064048 | 0.0064048 | 0.0064048 | 0.01921 | 0.01921 | 0.01921 | 0.0018291 | -0.0059106 | 0.0040816 | -0.0054621 | 0.017737 | -0.012248 | -0.0035802 | 0.0015338 | 0.0063526 | 0.010747 | -0.0046158 | -0.019039 | 64.2541 | 64.2541 | 64.2541 | -115.6878 | -115.6878 | -115.6878 | 0.62771 | 0.95341 | 1.1789 | 0.62752 | 0.95403 | 1.1784 | 1.3161 | -130.2934 | 121.5333 | 1.2548 | -130.2749 | 121.5575
Line_2 | 0.00055467 | 0.00055467 | 0.00055467 | 0.0016637 | 0.0016637 | 0.0016637 | 0.0064048 | 0.0064048 | 0.0064048 | 0.01921 | 0.01921 | 0.01921 | 0.0018291 | -0.0059106 | 0.0040816 | -0.0054621 | 0.017737 | -0.012248 | -0.0035802 | 0.0015338 | 0.0063526 | 0.010747 | -0.0046158 | -0.019039 | 64.2541 | 64.2541 | 64.2541 | -115.6878 | -115.6878 | -115.6878 | 0.62771 | 0.95341 | 1.1789 | 0.62752 | 0.95403 | 1.1784 | 1.3161 | -130.2934 | 121.5333 | 1.2548 | -130.2749 | 121.5575
Line_3 | 0.00055467 | 0.00055467 | 0.00055467 | 0.00055467 | 0.00055467 | 0.00055467 | 0.0064048 | 0.0064048 | 0.0064048 | 0.0064048 | 0.0064048 | 0.0064048 | -0.0018291 | 0.0059106 | -0.0040816 | -0.0018291 | 0.0059106 | -0.0040816 | 0.0035802 | -0.0015338 | -0.0063526 | 0.0035802 | -0.0015338 | -0.0063526 | -115.7459 | -115.7459 | -115.7459 | -115.7459 | -115.7459 | -115.7459 | 0.62771 | 0.95341 | 1.1789 | 0.62771 | 0.95341 | 1.1789 | 1.3161 | -130.2934 | 121.5333 | 1.3161 | -130.2934 | 121.5333

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.026 | 0.0039081 | 0.0039081 | 1.0258 | 0.0033273 | 0.0033273 | 11.8475 | 0.045127 | 0.045127 | 11.8447 | 0.038421 | 0.038421 | 8.4353 | 0.043126 | -0.027881 | -5.2395 | -0.035473 | 0.024497 | 6.1911 | -0.0034575 | -0.036129 | -5.272 | 0.0092316 | 0.038077 | -43.9515 | -114.708 | -114.708 | 136.0781 | 64.3122 | 64.3122 | 0.88318 | 0.95871 | 1.0113 | 0.62752 | 0.95403 | 1.1784 | -7.6745 | -119.2917 | 117.6341 | 1.2548 | -130.2749 | 121.5575
Line_1 | 0.00055467 | 0.00055467 | 0.00055467 | 0.0016637 | 0.0016637 | 0.0016637 | 0.0064048 | 0.0064048 | 0.0064048 | 0.01921 | 0.01921 | 0.01921 | 0.0018291 | -0.0059106 | 0.0040816 | -0.0054621 | 0.017737 | -0.012248 | -0.0035802 | 0.0015338 | 0.0063526 | 0.010747 | -0.0046158 | -0.019039 | 64.2541 | 64.2541 | 64.2541 | -115.6878 | -115.6878 | -115.6878 | 0.62771 | 0.95341 | 1.1789 | 0.62752 | 0.95403 | 1.1784 | 1.3161 | -130.2934 | 121.5333 | 1.2548 | -130.2749 | 121.5575
Line_2 | 0.00055467 | 0.00055467 | 0.00055467 | 0.0016637 | 0.0016637 | 0.0016637 | 0.0064048 | 0.0064048 | 0.0064048 | 0.01921 | 0.01921 | 0.01921 | 0.0018291 | -0.0059106 | 0.0040816 | -0.0054621 | 0.017737 | -0.012248 | -0.0035802 | 0.0015338 | 0.0063526 | 0.010747 | -0.0046158 | -0.019039 | 64.2541 | 64.2541 | 64.2541 | -115.6878 | -115.6878 | -115.6878 | 0.62771 | 0.95341 | 1.1789 | 0.62752 | 0.95403 | 1.1784 | 1.3161 | -130.2934 | 121.5333 | 1.2548 | -130.2749 | 121.5575
Line_3 | 0.00055467 | 0.00055467 | 0.00055467 | 0.00055467 | 0.00055467 | 0.00055467 | 0.0064048 | 0.0064048 | 0.0064048 | 0.0064048 | 0.0064048 | 0.0064048 | -0.0018291 | 0.0059106 | -0.0040816 | -0.0018291 | 0.0059106 | -0.0040816 | 0.0035802 | -0.0015338 | -0.0063526 | 0.0035802 | -0.0015338 | -0.0063526 | -115.7459 | -115.7459 | -115.7459 | -115.7459 | -115.7459 | -115.7459 | 0.62771 | 0.95341 | 1.1789 | 0.62771 | 0.95341 | 1.1789 | 1.3161 | -130.2934 | 121.5333 | 1.3161 | -130.2934 | 121.5333

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35416 | 4.9493 | 2.9811 | 0.35288 | 4.9493 | 2.9803 | 4.0895 | 57.1501 | 34.4232 | 4.0747 | 57.1498 | 34.413 | -1.2596 | 31.131 | -0.12799 | 2.2394 | 1.4016e-10 | 1.1265e-10 | -4.1692 | 6.2 | 16.4189 | 5.3347 | -1.8662e-10 | -8.2539e-11 | 101.7159 | 176.3716 | 39.1822 | -78.2312 | -3.6131 | -140.8367 | 1.065 | 0.55542 | 0.47699 | 1.4199 | 0 | 0 | -5.0948 | -172.3649 | 129.6289 | -11.0028 | 0 | 0
Line_1 | 0.17428 | 0.17307 | 0.17227 | 0.17644 | 0.17283 | 0.1704 | 2.0124 | 1.9985 | 1.9892 | 2.0373 | 1.9957 | 1.9676 | 1.137 | 0.014949 | 0.014607 | -1.1197 | 6.2355e-12 | 6.2419e-12 | 2.6468 | 0.019006 | 0.016296 | -2.6674 | -5.2477e-12 | -4.9794e-12 | -77.9324 | 162.6057 | 41.9871 | 101.7688 | -16.6221 | -138.4867 | 1.4314 | 0.0121 | 0.011002 | 1.4199 | 0 | 0 | -11.1801 | -145.5816 | 90.1149 | -11.0028 | 0 | 0
Line_2 | 0.17428 | 0.17307 | 0.17227 | 0.17644 | 0.17283 | 0.1704 | 2.0124 | 1.9985 | 1.9892 | 2.0373 | 1.9957 | 1.9676 | 1.137 | 0.014949 | 0.014607 | -1.1197 | 6.2355e-12 | 6.2419e-12 | 2.6468 | 0.019006 | 0.016296 | -2.6674 | -5.2477e-12 | -4.9794e-12 | -77.9324 | 162.6057 | 41.9871 | 101.7688 | -16.6221 | -138.4867 | 1.4314 | 0.0121 | 0.011002 | 1.4199 | 0 | 0 | -11.1801 | -145.5816 | 90.1149 | -11.0028 | 0 | 0
Line_3 | 0.0011721 | 0.0011721 | 0.0011721 | 0.0011721 | 0.0011721 | 0.0011721 | 0.013535 | 0.013535 | 0.013535 | 0.013535 | 0.013535 | 0.013535 | -2.9239e-05 | -0.00011683 | 0.00014607 | -2.9239e-05 | -0.00011683 | 0.00014607 | -0.019374 | 0.00011476 | 2.8945e-05 | -0.019374 | 0.00011476 | 2.8945e-05 | 78.9064 | 78.9064 | 78.9064 | 78.9064 | 78.9064 | 78.9064 | 1.4314 | 0.0121 | 0.011002 | 1.4314 | 0.0121 | 0.011002 | -11.1801 | -145.5816 | 90.1149 | -11.1801 | -145.5816 | 90.1149

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35416 | 4.9493 | 2.9811 | 0.35288 | 4.9493 | 2.9803 | 4.0895 | 57.1501 | 34.4232 | 4.0747 | 57.1498 | 34.413 | -1.2596 | 31.131 | -0.12799 | 2.2394 | 1.4016e-10 | 1.1265e-10 | -4.1692 | 6.2 | 16.4189 | 5.3347 | -1.8662e-10 | -8.2539e-11 | 101.7159 | 176.3716 | 39.1822 | -78.2312 | -3.6131 | -140.8367 | 1.065 | 0.55542 | 0.47699 | 1.4199 | 0 | 0 | -5.0948 | -172.3649 | 129.6289 | -11.0028 | 0 | 0
Line_1 | 0.17428 | 0.17307 | 0.17227 | 0.17644 | 0.17283 | 0.1704 | 2.0124 | 1.9985 | 1.9892 | 2.0373 | 1.9957 | 1.9676 | 1.137 | 0.014949 | 0.014607 | -1.1197 | 6.2355e-12 | 6.2419e-12 | 2.6468 | 0.019006 | 0.016296 | -2.6674 | -5.2477e-12 | -4.9794e-12 | -77.9324 | 162.6057 | 41.9871 | 101.7688 | -16.6221 | -138.4867 | 1.4314 | 0.0121 | 0.011002 | 1.4199 | 0 | 0 | -11.1801 | -145.5816 | 90.1149 | -11.0028 | 0 | 0
Line_2 | 0.17428 | 0.17307 | 0.17227 | 0.17644 | 0.17283 | 0.1704 | 2.0124 | 1.9985 | 1.9892 | 2.0373 | 1.9957 | 1.9676 | 1.137 | 0.014949 | 0.014607 | -1.1197 | 6.2355e-12 | 6.2419e-12 | 2.6468 | 0.019006 | 0.016296 | -2.6674 | -5.2477e-12 | -4.9794e-12 | -77.9324 | 162.6057 | 41.9871 | 101.7688 | -16.6221 | -138.4867 | 1.4314 | 0.0121 | 0.011002 | 1.4199 | 0 | 0 | -11.1801 | -145.5816 | 90.1149 | -11.0028 | 0 | 0
Line_3 | 0.0011721 | 0.0011721 | 0.0011721 | 0.0011721 | 0.0011721 | 0.0011721 | 0.013535 | 0.013535 | 0.013535 | 0.013535 | 0.013535 | 0.013535 | -2.9239e-05 | -0.00011683 | 0.00014607 | -2.9239e-05 | -0.00011683 | 0.00014607 | -0.019374 | 0.00011476 | 2.8945e-05 | -0.019374 | 0.00011476 | 2.8945e-05 | 78.9064 | 78.9064 | 78.9064 | 78.9064 | 78.9064 | 78.9064 | 1.4314 | 0.0121 | 0.011002 | 1.4314 | 0.0121 | 0.011002 | -11.1801 | -145.5816 | 90.1149 | -11.1801 | -145.5816 | 90.1149

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34905 | 1.1829 | 0.96941 | 0.34861 | 1.1831 | 0.96896 | 4.0305 | 13.659 | 11.1937 | 4.0254 | 13.6609 | 11.1886 | -1.0452 | 11.7037 | 7.7555 | 1.4308 | -9.8557 | -6.9822 | -4.4359 | 7.0777 | 7.1605 | 4.8699 | -7.4704 | -5.2736 | 102.0337 | -161.7822 | 72.7872 | -77.9457 | 18.2382 | -107.219 | 1.1307 | 1.0013 | 0.94299 | 1.2609 | 0.90527 | 0.78204 | -1.2245 | -130.619 | 115.5027 | -4.3194 | -124.6005 | 109.8443
Line_1 | 0.17357 | 0.17317 | 0.17288 | 0.17431 | 0.1731 | 0.17222 | 2.0042 | 1.9996 | 1.9962 | 2.0127 | 1.9987 | 1.9886 | 0.73325 | 0.54323 | 0.60758 | -0.71542 | -0.53565 | -0.58617 | 2.441 | 1.7496 | 1.4616 | -2.4349 | -1.7283 | -1.4405 | -77.8355 | 162.3532 | 42.1427 | 102.0543 | -17.3807 | -138.0131 | 1.2717 | 0.91622 | 0.79293 | 1.2609 | 0.90527 | 0.78204 | -4.555 | -124.8952 | 109.5703 | -4.3194 | -124.6005 | 109.8443
Line_2 | 0.17357 | 0.17317 | 0.17288 | 0.17431 | 0.1731 | 0.17222 | 2.0042 | 1.9996 | 1.9962 | 2.0127 | 1.9987 | 1.9886 | 0.73325 | 0.54323 | 0.60758 | -0.71542 | -0.53565 | -0.58617 | 2.441 | 1.7496 | 1.4616 | -2.4349 | -1.7283 | -1.4405 | -77.8355 | 162.3532 | 42.1427 | 102.0543 | -17.3807 | -138.0131 | 1.2717 | 0.91622 | 0.79293 | 1.2609 | 0.90527 | 0.78204 | -4.555 | -124.8952 | 109.5703 | -4.3194 | -124.6005 | 109.8443
Line_3 | 0.00040374 | 0.00040374 | 0.00040374 | 0.00040374 | 0.00040374 | 0.00040374 | 0.004662 | 0.004662 | 0.004662 | 0.004662 | 0.004662 | 0.004662 | 0.00081235 | -0.0039473 | 0.0031349 | 0.00081235 | -0.0039473 | 0.0031349 | -0.0058727 | 0.0016322 | 0.001959 | -0.0058727 | 0.0016322 | 0.001959 | 77.5695 | 77.5695 | 77.5695 | 77.5695 | 77.5695 | 77.5695 | 1.2717 | 0.91622 | 0.79293 | 1.2717 | 0.91622 | 0.79293 | -4.555 | -124.8952 | 109.5703 | -4.555 | -124.8952 | 109.5703

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34905 | 1.1829 | 0.96941 | 0.34861 | 1.1831 | 0.96896 | 4.0305 | 13.659 | 11.1937 | 4.0254 | 13.6609 | 11.1886 | -1.0452 | 11.7037 | 7.7555 | 1.4308 | -9.8557 | -6.9822 | -4.4359 | 7.0777 | 7.1605 | 4.8699 | -7.4704 | -5.2736 | 102.0337 | -161.7822 | 72.7872 | -77.9457 | 18.2382 | -107.219 | 1.1307 | 1.0013 | 0.94299 | 1.2609 | 0.90527 | 0.78204 | -1.2245 | -130.619 | 115.5027 | -4.3194 | -124.6005 | 109.8443
Line_1 | 0.17357 | 0.17317 | 0.17288 | 0.17431 | 0.1731 | 0.17222 | 2.0042 | 1.9996 | 1.9962 | 2.0127 | 1.9987 | 1.9886 | 0.73325 | 0.54323 | 0.60758 | -0.71542 | -0.53565 | -0.58617 | 2.441 | 1.7496 | 1.4616 | -2.4349 | -1.7283 | -1.4405 | -77.8355 | 162.3532 | 42.1427 | 102.0543 | -17.3807 | -138.0131 | 1.2717 | 0.91622 | 0.79293 | 1.2609 | 0.90527 | 0.78204 | -4.555 | -124.8952 | 109.5703 | -4.3194 | -124.6005 | 109.8443
Line_2 | 0.17357 | 0.17317 | 0.17288 | 0.17431 | 0.1731 | 0.17222 | 2.0042 | 1.9996 | 1.9962 | 2.0127 | 1.9987 | 1.9886 | 0.73325 | 0.54323 | 0.60758 | -0.71542 | -0.53565 | -0.58617 | 2.441 | 1.7496 | 1.4616 | -2.4349 | -1.7283 | -1.4405 | -77.8355 | 162.3532 | 42.1427 | 102.0543 | -17.3807 | -138.0131 | 1.2717 | 0.91622 | 0.79293 | 1.2609 | 0.90527 | 0.78204 | -4.555 | -124.8952 | 109.5703 | -4.3194 | -124.6005 | 109.8443
Line_3 | 0.00040374 | 0.00040374 | 0.00040374 | 0.00040374 | 0.00040374 | 0.00040374 | 0.004662 | 0.004662 | 0.004662 | 0.004662 | 0.004662 | 0.004662 | 0.00081235 | -0.0039473 | 0.0031349 | 0.00081235 | -0.0039473 | 0.0031349 | -0.0058727 | 0.0016322 | 0.001959 | -0.0058727 | 0.0016322 | 0.001959 | 77.5695 | 77.5695 | 77.5695 | 77.5695 | 77.5695 | 77.5695 | 1.2717 | 0.91622 | 0.79293 | 1.2717 | 0.91622 | 0.79293 | -4.555 | -124.8952 | 109.5703 | -4.555 | -124.8952 | 109.5703

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076272 | 3.8703 | 2.5472 | 0.0064937 | 3.8705 | 2.5465 | 0.088071 | 44.6903 | 29.4122 | 0.074982 | 44.6928 | 29.404 | 0.0045512 | 29.0005 | 0.61309 | -0.00019952 | -1.8811e-10 | -4.3753e-11 | -0.084641 | 1.2845 | 12.5322 | 0.098327 | -1.7644e-10 | -1.6425e-10 | 82.5348 | -170.6354 | 37.1235 | -98.445 | 9.3812 | -142.8964 | 0.96244 | 0.64956 | 0.4266 | 1.3113 | 0 | 0 | -4.3874 | -168.0992 | 124.3227 | -8.3287 | 0 | 0
Line_1 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0032468 | 0.0032468 | 0.0032468 | 0.0125 | 0.0125 | 0.0125 | 0.037491 | 0.037491 | 0.037491 | -3.3255e-05 | 1.6627e-05 | 1.6627e-05 | 9.9761e-05 | -1.8921e-13 | 1.8648e-13 | 0.016395 | 3.4451e-06 | 3.4451e-06 | -0.049164 | 1.0491e-13 | 1.1043e-13 | -98.5031 | -98.5031 | -98.5031 | 81.555 | 81.555 | 81.555 | 1.3116 | 0.0013584 | 0.0013584 | 1.3113 | 0 | 0 | -8.3869 | -86.7967 | -86.7967 | -8.3287 | 0 | 0
Line_2 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0032468 | 0.0032468 | 0.0032468 | 0.0125 | 0.0125 | 0.0125 | 0.037491 | 0.037491 | 0.037491 | -3.3255e-05 | 1.6627e-05 | 1.6627e-05 | 9.9761e-05 | -1.8921e-13 | 1.8648e-13 | 0.016395 | 3.4451e-06 | 3.4451e-06 | -0.049164 | 1.0491e-13 | 1.1043e-13 | -98.5031 | -98.5031 | -98.5031 | 81.555 | 81.555 | 81.555 | 1.3116 | 0.0013584 | 0.0013584 | 1.3113 | 0 | 0 | -8.3869 | -86.7967 | -86.7967 | -8.3287 | 0 | 0
Line_3 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0125 | 0.0125 | 0.0125 | 0.0125 | 0.0125 | 0.0125 | 3.3253e-05 | -1.6627e-05 | -1.6627e-05 | 3.3253e-05 | -1.6627e-05 | -1.6627e-05 | -0.016395 | -3.4451e-06 | -3.4451e-06 | -0.016395 | -3.4451e-06 | -3.4451e-06 | 81.4969 | 81.4969 | 81.4969 | 81.4969 | 81.4969 | 81.4969 | 1.3116 | 0.0013584 | 0.0013584 | 1.3116 | 0.0013584 | 0.0013584 | -8.3869 | -86.7967 | -86.7967 | -8.3869 | -86.7967 | -86.7967

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076272 | 3.8703 | 2.5472 | 0.0064937 | 3.8705 | 2.5465 | 0.088071 | 44.6903 | 29.4122 | 0.074982 | 44.6928 | 29.404 | 0.0045512 | 29.0005 | 0.61309 | -0.00019952 | -1.8811e-10 | -4.3753e-11 | -0.084641 | 1.2845 | 12.5322 | 0.098327 | -1.7644e-10 | -1.6425e-10 | 82.5348 | -170.6354 | 37.1235 | -98.445 | 9.3812 | -142.8964 | 0.96244 | 0.64956 | 0.4266 | 1.3113 | 0 | 0 | -4.3874 | -168.0992 | 124.3227 | -8.3287 | 0 | 0
Line_1 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0032468 | 0.0032468 | 0.0032468 | 0.0125 | 0.0125 | 0.0125 | 0.037491 | 0.037491 | 0.037491 | -3.3255e-05 | 1.6627e-05 | 1.6627e-05 | 9.9761e-05 | -1.8921e-13 | 1.8648e-13 | 0.016395 | 3.4451e-06 | 3.4451e-06 | -0.049164 | 1.0491e-13 | 1.1043e-13 | -98.5031 | -98.5031 | -98.5031 | 81.555 | 81.555 | 81.555 | 1.3116 | 0.0013584 | 0.0013584 | 1.3113 | 0 | 0 | -8.3869 | -86.7967 | -86.7967 | -8.3287 | 0 | 0
Line_2 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0032468 | 0.0032468 | 0.0032468 | 0.0125 | 0.0125 | 0.0125 | 0.037491 | 0.037491 | 0.037491 | -3.3255e-05 | 1.6627e-05 | 1.6627e-05 | 9.9761e-05 | -1.8921e-13 | 1.8648e-13 | 0.016395 | 3.4451e-06 | 3.4451e-06 | -0.049164 | 1.0491e-13 | 1.1043e-13 | -98.5031 | -98.5031 | -98.5031 | 81.555 | 81.555 | 81.555 | 1.3116 | 0.0013584 | 0.0013584 | 1.3113 | 0 | 0 | -8.3869 | -86.7967 | -86.7967 | -8.3287 | 0 | 0
Line_3 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0125 | 0.0125 | 0.0125 | 0.0125 | 0.0125 | 0.0125 | 3.3253e-05 | -1.6627e-05 | -1.6627e-05 | 3.3253e-05 | -1.6627e-05 | -1.6627e-05 | -0.016395 | -3.4451e-06 | -3.4451e-06 | -0.016395 | -3.4451e-06 | -3.4451e-06 | 81.4969 | 81.4969 | 81.4969 | 81.4969 | 81.4969 | 81.4969 | 1.3116 | 0.0013584 | 0.0013584 | 1.3116 | 0.0013584 | 0.0013584 | -8.3869 | -86.7967 | -86.7967 | -8.3869 | -86.7967 | -86.7967

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0034731 | 1.1985 | 0.97527 | 0.002957 | 1.1988 | 0.97477 | 0.040104 | 13.8392 | 11.2615 | 0.034144 | 13.842 | 11.2556 | 0.010735 | 10.2023 | 5.7954 | -0.0086689 | -7.1805 | -4.7384 | -0.037659 | 6.4702 | 7.1247 | 0.037363 | -7.2097 | -4.7348 | 72.3438 | -164.1633 | 64.1716 | -108.636 | 15.8586 | -115.8356 | 0.97642 | 0.87296 | 0.81553 | 1.1233 | 0.73511 | 0.59512 | -1.7456 | -131.781 | 115.0461 | -5.5735 | -119.0251 | 109.1425
Line_1 | 0.00049293 | 0.00049293 | 0.00049293 | 0.0014785 | 0.0014785 | 0.0014785 | 0.0056919 | 0.0056919 | 0.0056919 | 0.017072 | 0.017072 | 0.017072 | -0.001448 | 0.0041198 | -0.0026718 | 0.0043344 | -0.012344 | 0.0080303 | 0.0062277 | -0.00074965 | -0.0020771 | -0.018682 | 0.0022631 | 0.0062241 | -108.6941 | -108.6941 | -108.6941 | 71.364 | 71.364 | 71.364 | 1.1233 | 0.73568 | 0.59457 | 1.1233 | 0.73511 | 0.59512 | -5.605 | -119.007 | 109.1688 | -5.5735 | -119.0251 | 109.1425
Line_2 | 0.00049293 | 0.00049293 | 0.00049293 | 0.0014785 | 0.0014785 | 0.0014785 | 0.0056919 | 0.0056919 | 0.0056919 | 0.017072 | 0.017072 | 0.017072 | -0.001448 | 0.0041198 | -0.0026718 | 0.0043344 | -0.012344 | 0.0080303 | 0.0062277 | -0.00074965 | -0.0020771 | -0.018682 | 0.0022631 | 0.0062241 | -108.6941 | -108.6941 | -108.6941 | 71.364 | 71.364 | 71.364 | 1.1233 | 0.73568 | 0.59457 | 1.1233 | 0.73511 | 0.59512 | -5.605 | -119.007 | 109.1688 | -5.5735 | -119.0251 | 109.1425
Line_3 | 0.00049293 | 0.00049293 | 0.00049293 | 0.00049293 | 0.00049293 | 0.00049293 | 0.0056919 | 0.0056919 | 0.0056919 | 0.0056919 | 0.0056919 | 0.0056919 | 0.001448 | -0.0041198 | 0.0026718 | 0.001448 | -0.0041198 | 0.0026718 | -0.0062277 | 0.00074965 | 0.0020771 | -0.0062277 | 0.00074965 | 0.0020771 | 71.3059 | 71.3059 | 71.3059 | 71.3059 | 71.3059 | 71.3059 | 1.1233 | 0.73568 | 0.59457 | 1.1233 | 0.73568 | 0.59457 | -5.605 | -119.007 | 109.1688 | -5.605 | -119.007 | 109.1688

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0034731 | 1.1985 | 0.97527 | 0.002957 | 1.1988 | 0.97477 | 0.040104 | 13.8392 | 11.2615 | 0.034144 | 13.842 | 11.2556 | 0.010735 | 10.2023 | 5.7954 | -0.0086689 | -7.1805 | -4.7384 | -0.037659 | 6.4702 | 7.1247 | 0.037363 | -7.2097 | -4.7348 | 72.3438 | -164.1633 | 64.1716 | -108.636 | 15.8586 | -115.8356 | 0.97642 | 0.87296 | 0.81553 | 1.1233 | 0.73511 | 0.59512 | -1.7456 | -131.781 | 115.0461 | -5.5735 | -119.0251 | 109.1425
Line_1 | 0.00049293 | 0.00049293 | 0.00049293 | 0.0014785 | 0.0014785 | 0.0014785 | 0.0056919 | 0.0056919 | 0.0056919 | 0.017072 | 0.017072 | 0.017072 | -0.001448 | 0.0041198 | -0.0026718 | 0.0043344 | -0.012344 | 0.0080303 | 0.0062277 | -0.00074965 | -0.0020771 | -0.018682 | 0.0022631 | 0.0062241 | -108.6941 | -108.6941 | -108.6941 | 71.364 | 71.364 | 71.364 | 1.1233 | 0.73568 | 0.59457 | 1.1233 | 0.73511 | 0.59512 | -5.605 | -119.007 | 109.1688 | -5.5735 | -119.0251 | 109.1425
Line_2 | 0.00049293 | 0.00049293 | 0.00049293 | 0.0014785 | 0.0014785 | 0.0014785 | 0.0056919 | 0.0056919 | 0.0056919 | 0.017072 | 0.017072 | 0.017072 | -0.001448 | 0.0041198 | -0.0026718 | 0.0043344 | -0.012344 | 0.0080303 | 0.0062277 | -0.00074965 | -0.0020771 | -0.018682 | 0.0022631 | 0.0062241 | -108.6941 | -108.6941 | -108.6941 | 71.364 | 71.364 | 71.364 | 1.1233 | 0.73568 | 0.59457 | 1.1233 | 0.73511 | 0.59512 | -5.605 | -119.007 | 109.1688 | -5.5735 | -119.0251 | 109.1425
Line_3 | 0.00049293 | 0.00049293 | 0.00049293 | 0.00049293 | 0.00049293 | 0.00049293 | 0.0056919 | 0.0056919 | 0.0056919 | 0.0056919 | 0.0056919 | 0.0056919 | 0.001448 | -0.0041198 | 0.0026718 | 0.001448 | -0.0041198 | 0.0026718 | -0.0062277 | 0.00074965 | 0.0020771 | -0.0062277 | 0.00074965 | 0.0020771 | 71.3059 | 71.3059 | 71.3059 | 71.3059 | 71.3059 | 71.3059 | 1.1233 | 0.73568 | 0.59457 | 1.1233 | 0.73568 | 0.59457 | -5.605 | -119.007 | 109.1688 | -5.605 | -119.007 | 109.1688