## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6881 | 3.6881 | 0 | 0 | 127.7608 | 127.7608 | 35.7117 | -14.492 | 40.4916 | -16.4154 | -73.4178 | 106.5822 | 0.42258 | 0.17139 | -24.8286 | -24.8568
Line_1 | 2.5165 | 2.5165 | 5.0352 | 0 | 87.1726 | 87.1726 | -1e-07 | 9.8788 | -1e-07 | 11.2086 | 106.5347 | -73.4653 | 0 | 0.17139 | 0 | -24.8568
Line_2 | 1.1717 | 1.1717 | 0 | 0 | 40.5883 | 40.5883 | -2.4716 | 4.6132 | -2.7769 | 5.2068 | 106.6843 | -73.3157 | 0.091591 | 0.17139 | -24.9872 | -24.8568
Line_3 | 1.3448 | 1.3448 | 2.64 | 0 | 46.5845 | 46.5845 | -1e-07 | 2.8212 | -1e-07 | 3.2009 | 106.4044 | -73.5956 | 0 | 0.091591 | 0 | -24.9872

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6881 | 3.6881 | 0 | 0 | 127.7608 | 127.7608 | 35.7117 | -14.492 | 40.4916 | -16.4154 | -73.4178 | 106.5822 | 0.42258 | 0.17139 | -24.8286 | -24.8568
Line_1 | 2.5165 | 2.5165 | 5.0352 | 0 | 87.1726 | 87.1726 | -1e-07 | 9.8788 | -1e-07 | 11.2086 | 106.5347 | -73.4653 | 0 | 0.17139 | 0 | -24.8568
Line_2 | 1.1717 | 1.1717 | 0 | 0 | 40.5883 | 40.5883 | -2.4716 | 4.6132 | -2.7769 | 5.2068 | 106.6843 | -73.3157 | 0.091591 | 0.17139 | -24.9872 | -24.8568
Line_3 | 1.3448 | 1.3448 | 2.64 | 0 | 46.5845 | 46.5845 | -1e-07 | 2.8212 | -1e-07 | 3.2009 | 106.4044 | -73.5956 | 0 | 0.091591 | 0 | -24.9872

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0373 | 1.0373 | 0 | 0 | 35.932 | 35.932 | 26.3132 | -24.6348 | 21.7282 | -19.8239 | -47.5823 | 132.4177 | 0.94971 | 0.88001 | -8.034 | -8.7583
Line_1 | 0.74302 | 0.74302 | 1.5452 | 0 | 25.7391 | 25.7391 | -16.2572 | 17.1185 | -13.8556 | 14.8328 | 130.3335 | -49.6665 | 0.82989 | 0.88001 | -9.2264 | -8.7583
Line_2 | 0.29597 | 0.29597 | 0 | 0 | 10.2527 | 10.2527 | -7.3796 | 7.5163 | -4.836 | 4.9911 | 137.6561 | -42.3439 | 0.86056 | 0.88001 | -9.1062 | -8.7583
Line_3 | 0.45105 | 0.45105 | 0.88584 | 0 | 15.6247 | 15.6247 | -9.1308 | 9.4482 | -9.2068 | 9.5669 | 125.536 | -54.464 | 0.82989 | 0.86056 | -9.2264 | -9.1062

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0373 | 1.0373 | 0 | 0 | 35.932 | 35.932 | 26.3132 | -24.6348 | 21.7282 | -19.8239 | -47.5823 | 132.4177 | 0.94971 | 0.88001 | -8.034 | -8.7583
Line_1 | 0.74302 | 0.74302 | 1.5452 | 0 | 25.7391 | 25.7391 | -16.2572 | 17.1185 | -13.8556 | 14.8328 | 130.3335 | -49.6665 | 0.82989 | 0.88001 | -9.2264 | -8.7583
Line_2 | 0.29597 | 0.29597 | 0 | 0 | 10.2527 | 10.2527 | -7.3796 | 7.5163 | -4.836 | 4.9911 | 137.6561 | -42.3439 | 0.86056 | 0.88001 | -9.1062 | -8.7583
Line_3 | 0.45105 | 0.45105 | 0.88584 | 0 | 15.6247 | 15.6247 | -9.1308 | 9.4482 | -9.2068 | 9.5669 | 125.536 | -54.464 | 0.82989 | 0.86056 | -9.2264 | -9.1062

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34636 | 3.202 | 3.1954 | 0.34636 | 3.202 | 3.1954 | 3.9994 | 36.9732 | 36.8978 | 3.9994 | 36.9732 | 36.8978 | -1.1886 | 29.9053 | -12.6438 | 1.251 | -24.574 | 17.9534 | -4.5163 | 2.6474 | 15.3402 | 4.587 | 3.4016 | -9.3158 | 105.4999 | -160.318 | 13.4761 | -74.5001 | 19.682 | -166.5239 | 1.1677 | 0.812 | 0.53877 | 1.1888 | 0.67098 | 0.54818 | 0.75518 | -155.259 | 142.9723 | 0.24528 | -168.199 | 166.0518
Line_1 | 0.17318 | 2.1821 | 2.18 | 0.17318 | 2.1821 | 2.18 | 1.9997 | 25.1967 | 25.1721 | 1.9997 | 25.1967 | 25.1721 | 0.65428 | -14.3042 | 14.6313 | -0.63869 | 16.7802 | -12.1601 | 2.3076 | 4.872 | -3.7182 | -2.2899 | -2.0627 | 6.522 | -74.1703 | 18.8087 | -165.7416 | 105.8297 | -161.1913 | 14.2584 | 1.1995 | 0.59973 | 0.59973 | 1.1888 | 0.67098 | 0.54818 | -8.1967e-06 | 180 | 180 | 0.24528 | -168.199 | 166.0518
Line_2 | 0.17318 | 1.0207 | 1.0161 | 0.17318 | 1.0207 | 1.0161 | 1.9997 | 11.7857 | 11.7331 | 1.9997 | 11.7857 | 11.7331 | 0.62788 | -7.2521 | 6.3302 | -0.61228 | 7.7938 | -5.7933 | 2.3148 | 1.9536 | -2.1846 | -2.2971 | -1.339 | 2.7938 | -74.8299 | 21.5492 | -168.2026 | 105.1701 | -158.4508 | 11.7974 | 1.1994 | 0.63726 | 0.57074 | 1.1888 | 0.67098 | 0.54818 | -0.0058437 | -173.5277 | 172.7571 | 0.24528 | -168.199 | 166.0518
Line_3 | 0.0019937 | 1.1636 | 1.1656 | 0.0019937 | 1.1636 | 1.1656 | 0.023021 | 13.4363 | 13.4593 | 0.023021 | 13.4363 | 13.4593 | 0.026608 | -7.73 | 7.7433 | -0.026606 | 8.4341 | -7.0368 | -0.0073793 | 2.2758 | -2.2795 | 0.0073817 | -1.477 | 3.0811 | 15.5004 | 16.4052 | -163.5964 | -164.4996 | -163.5948 | 16.4036 | 1.1995 | 0.59973 | 0.59973 | 1.1994 | 0.63726 | 0.57074 | -8.1967e-06 | 180 | 180 | -0.0058437 | -173.5277 | 172.7571

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34636 | 3.202 | 3.1954 | 0.34636 | 3.202 | 3.1954 | 3.9994 | 36.9732 | 36.8978 | 3.9994 | 36.9732 | 36.8978 | -1.1886 | 29.9053 | -12.6438 | 1.251 | -24.574 | 17.9534 | -4.5163 | 2.6474 | 15.3402 | 4.587 | 3.4016 | -9.3158 | 105.4999 | -160.318 | 13.4761 | -74.5001 | 19.682 | -166.5239 | 1.1677 | 0.812 | 0.53877 | 1.1888 | 0.67098 | 0.54818 | 0.75518 | -155.259 | 142.9723 | 0.24528 | -168.199 | 166.0518
Line_1 | 0.17318 | 2.1821 | 2.18 | 0.17318 | 2.1821 | 2.18 | 1.9997 | 25.1967 | 25.1721 | 1.9997 | 25.1967 | 25.1721 | 0.65428 | -14.3042 | 14.6313 | -0.63869 | 16.7802 | -12.1601 | 2.3076 | 4.872 | -3.7182 | -2.2899 | -2.0627 | 6.522 | -74.1703 | 18.8087 | -165.7416 | 105.8297 | -161.1913 | 14.2584 | 1.1995 | 0.59973 | 0.59973 | 1.1888 | 0.67098 | 0.54818 | -8.1967e-06 | 180 | 180 | 0.24528 | -168.199 | 166.0518
Line_2 | 0.17318 | 1.0207 | 1.0161 | 0.17318 | 1.0207 | 1.0161 | 1.9997 | 11.7857 | 11.7331 | 1.9997 | 11.7857 | 11.7331 | 0.62788 | -7.2521 | 6.3302 | -0.61228 | 7.7938 | -5.7933 | 2.3148 | 1.9536 | -2.1846 | -2.2971 | -1.339 | 2.7938 | -74.8299 | 21.5492 | -168.2026 | 105.1701 | -158.4508 | 11.7974 | 1.1994 | 0.63726 | 0.57074 | 1.1888 | 0.67098 | 0.54818 | -0.0058437 | -173.5277 | 172.7571 | 0.24528 | -168.199 | 166.0518
Line_3 | 0.0019937 | 1.1636 | 1.1656 | 0.0019937 | 1.1636 | 1.1656 | 0.023021 | 13.4363 | 13.4593 | 0.023021 | 13.4363 | 13.4593 | 0.026608 | -7.73 | 7.7433 | -0.026606 | 8.4341 | -7.0368 | -0.0073793 | 2.2758 | -2.2795 | 0.0073817 | -1.477 | 3.0811 | 15.5004 | 16.4052 | -163.5964 | -164.4996 | -163.5948 | 16.4036 | 1.1995 | 0.59973 | 0.59973 | 1.1994 | 0.63726 | 0.57074 | -8.1967e-06 | 180 | 180 | -0.0058437 | -173.5277 | 172.7571

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34636 | 1.5527 | 1.4433 | 0.34636 | 1.5527 | 1.4433 | 3.9994 | 17.9294 | 16.6655 | 3.9994 | 17.9294 | 16.6655 | -1.1886 | 18.2857 | -1.0226 | 1.251 | -17.032 | 2.1058 | -4.5163 | 1.1452 | 13.5061 | 4.587 | 0.27727 | -12.2771 | 105.4999 | -139.8929 | 27.5046 | -74.5001 | 40.1071 | -152.4954 | 1.1677 | 1.0219 | 0.81274 | 1.1888 | 0.95008 | 0.74743 | 0.75519 | -136.3092 | 121.8343 | 0.24528 | -140.8255 | 127.2372
Line_1 | 0.17318 | 1.0688 | 1.0175 | 0.17318 | 1.0688 | 1.0175 | 1.9997 | 12.3418 | 11.7495 | 1.9997 | 12.3418 | 11.7495 | 0.65428 | -11.127 | 1.8792 | -0.63869 | 11.721 | -1.3408 | 2.3076 | 0.34217 | -8.0681 | -2.2899 | 0.33185 | 8.679 | -74.1703 | 37.5527 | -151.5445 | 105.8297 | -142.4473 | 28.4555 | 1.1995 | 0.90199 | 0.70506 | 1.1888 | 0.95008 | 0.74743 | -5.8121e-06 | -144.2086 | 131.5665 | 0.24528 | -140.8255 | 127.2372
Line_2 | 0.17318 | 0.48729 | 0.42622 | 0.17318 | 0.48729 | 0.42622 | 1.9997 | 5.6267 | 4.9215 | 1.9997 | 5.6267 | 4.9215 | 0.62788 | -5.1875 | 0.85947 | -0.61228 | 5.311 | -0.76501 | 2.3148 | 0.74921 | -3.4909 | -2.2971 | -0.60912 | 3.5981 | -74.8299 | 45.7171 | -154.7659 | 105.1701 | -134.2829 | 25.2341 | 1.1994 | 0.93151 | 0.7305 | 1.1888 | 0.95008 | 0.74743 | -0.0058413 | -142.501 | 129.0653 | 0.24528 | -140.8255 | 127.2372
Line_3 | 0.0019937 | 0.59055 | 0.59248 | 0.0019937 | 0.59055 | 0.59248 | 0.023021 | 6.8191 | 6.8413 | 0.023021 | 6.8191 | 6.8413 | 0.026608 | -6.1277 | 0.90336 | -0.026606 | 6.309 | -0.72083 | -0.0073792 | -0.53266 | -4.7382 | 0.0073815 | 0.73843 | 4.9453 | 15.5002 | 30.8233 | -149.2277 | -164.4998 | -149.1767 | 30.7723 | 1.1995 | 0.90199 | 0.70506 | 1.1994 | 0.93151 | 0.7305 | -5.8121e-06 | -144.2086 | 131.5665 | -0.0058413 | -142.501 | 129.0653

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34636 | 1.5527 | 1.4433 | 0.34636 | 1.5527 | 1.4433 | 3.9994 | 17.9294 | 16.6655 | 3.9994 | 17.9294 | 16.6655 | -1.1886 | 18.2857 | -1.0226 | 1.251 | -17.032 | 2.1058 | -4.5163 | 1.1452 | 13.5061 | 4.587 | 0.27727 | -12.2771 | 105.4999 | -139.8929 | 27.5046 | -74.5001 | 40.1071 | -152.4954 | 1.1677 | 1.0219 | 0.81274 | 1.1888 | 0.95008 | 0.74743 | 0.75519 | -136.3092 | 121.8343 | 0.24528 | -140.8255 | 127.2372
Line_1 | 0.17318 | 1.0688 | 1.0175 | 0.17318 | 1.0688 | 1.0175 | 1.9997 | 12.3418 | 11.7495 | 1.9997 | 12.3418 | 11.7495 | 0.65428 | -11.127 | 1.8792 | -0.63869 | 11.721 | -1.3408 | 2.3076 | 0.34217 | -8.0681 | -2.2899 | 0.33185 | 8.679 | -74.1703 | 37.5527 | -151.5445 | 105.8297 | -142.4473 | 28.4555 | 1.1995 | 0.90199 | 0.70506 | 1.1888 | 0.95008 | 0.74743 | -5.8121e-06 | -144.2086 | 131.5665 | 0.24528 | -140.8255 | 127.2372
Line_2 | 0.17318 | 0.48729 | 0.42622 | 0.17318 | 0.48729 | 0.42622 | 1.9997 | 5.6267 | 4.9215 | 1.9997 | 5.6267 | 4.9215 | 0.62788 | -5.1875 | 0.85947 | -0.61228 | 5.311 | -0.76501 | 2.3148 | 0.74921 | -3.4909 | -2.2971 | -0.60912 | 3.5981 | -74.8299 | 45.7171 | -154.7659 | 105.1701 | -134.2829 | 25.2341 | 1.1994 | 0.93151 | 0.7305 | 1.1888 | 0.95008 | 0.74743 | -0.0058413 | -142.501 | 129.0653 | 0.24528 | -140.8255 | 127.2372
Line_3 | 0.0019937 | 0.59055 | 0.59248 | 0.0019937 | 0.59055 | 0.59248 | 0.023021 | 6.8191 | 6.8413 | 0.023021 | 6.8191 | 6.8413 | 0.026608 | -6.1277 | 0.90336 | -0.026606 | 6.309 | -0.72083 | -0.0073792 | -0.53266 | -4.7382 | 0.0073815 | 0.73843 | 4.9453 | 15.5002 | 30.8233 | -149.2277 | -164.4998 | -149.1767 | 30.7723 | 1.1995 | 0.90199 | 0.70506 | 1.1994 | 0.93151 | 0.7305 | -5.8121e-06 | -144.2086 | 131.5665 | -0.0058413 | -142.501 | 129.0653

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | -2.7237e-14 | 24.6317 | -2.0295 | 2.3685e-14 | -17.851 | 8.8102 | -1.4211e-14 | -0.29866 | 13.6553 | 9.4739e-15 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 1.2603e-12 | -153.068 | 126.0805 | 1.2546e-12 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -4.737e-15 | -8.8871 | 8.8871 | -1.1842e-15 | 11.9007 | -5.8735 | 1.1842e-14 | 4.6513 | -4.6513 | -1.6579e-14 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 1.2229e-12 | -180 | 180 | 1.2546e-12 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -9.4739e-15 | -5.1969 | 3.6901 | 3.5527e-15 | 5.9503 | -2.9367 | 1.6579e-14 | 1.8804 | -2.7709 | -1.6579e-14 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 1.2301e-12 | -172.2653 | 170.7242 | 1.2546e-12 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 2.3685e-15 | -4.4435 | 4.4435 | -7.1054e-15 | 5.1969 | -3.6901 | 5.0552e-29 | 2.3257 | -2.3257 | 4.737e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 1.2229e-12 | -180 | 180 | 1.2301e-12 | -172.2653 | 170.7242

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | -2.7237e-14 | 24.6317 | -2.0295 | 2.3685e-14 | -17.851 | 8.8102 | -1.4211e-14 | -0.29866 | 13.6553 | 9.4739e-15 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 1.2603e-12 | -153.068 | 126.0805 | 1.2546e-12 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -4.737e-15 | -8.8871 | 8.8871 | -1.1842e-15 | 11.9007 | -5.8735 | 1.1842e-14 | 4.6513 | -4.6513 | -1.6579e-14 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 1.2229e-12 | -180 | 180 | 1.2546e-12 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -9.4739e-15 | -5.1969 | 3.6901 | 3.5527e-15 | 5.9503 | -2.9367 | 1.6579e-14 | 1.8804 | -2.7709 | -1.6579e-14 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 1.2301e-12 | -172.2653 | 170.7242 | 1.2546e-12 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 2.3685e-15 | -4.4435 | 4.4435 | -7.1054e-15 | 5.1969 | -3.6901 | 5.0552e-29 | 2.3257 | -2.3257 | 4.737e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 1.2229e-12 | -180 | 180 | 1.2301e-12 | -172.2653 | 170.7242

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | -1.6579e-14 | 14.2512 | 1.4266 | 1.4803e-14 | -12.3717 | 0.45296 | -7.1054e-15 | 1.9064 | 11.2087 | 9.4739e-15 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 6.1285e-13 | -136.4258 | 118.7019 | 6.0698e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -1.7764e-15 | -7.4125 | 1.1373 | 5.9212e-16 | 8.2478 | -0.30197 | 9.4739e-15 | -0.036791 | -6.2383 | -7.1054e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 5.8745e-13 | -143.7605 | 136.2873 | 6.0698e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -1.1842e-15 | -3.9151 | 0.35982 | 5.0182e-29 | 4.1239 | -0.15099 | 7.1054e-15 | -0.14181 | -3.2426 | -4.737e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 5.9209e-13 | -141.9705 | 132.2872 | 6.0698e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -5.9212e-16 | -3.7062 | 0.56866 | 5.9212e-16 | 3.9151 | -0.35982 | 2.3685e-15 | -0.018396 | -3.1192 | 6.1189e-30 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 5.8745e-13 | -143.7605 | 136.2873 | 5.9209e-13 | -141.9705 | 132.2872

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | -1.6579e-14 | 14.2512 | 1.4266 | 1.4803e-14 | -12.3717 | 0.45296 | -7.1054e-15 | 1.9064 | 11.2087 | 9.4739e-15 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 6.1285e-13 | -136.4258 | 118.7019 | 6.0698e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -1.7764e-15 | -7.4125 | 1.1373 | 5.9212e-16 | 8.2478 | -0.30197 | 9.4739e-15 | -0.036791 | -6.2383 | -7.1054e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 5.8745e-13 | -143.7605 | 136.2873 | 6.0698e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -1.1842e-15 | -3.9151 | 0.35982 | 5.0182e-29 | 4.1239 | -0.15099 | 7.1054e-15 | -0.14181 | -3.2426 | -4.737e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 5.9209e-13 | -141.9705 | 132.2872 | 6.0698e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -5.9212e-16 | -3.7062 | 0.56866 | 5.9212e-16 | 3.9151 | -0.35982 | 2.3685e-15 | -0.018396 | -3.1192 | 6.1189e-30 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 5.8745e-13 | -143.7605 | 136.2873 | 5.9209e-13 | -141.9705 | 132.2872

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34187 | 0.35319 | 0.36071 | 0.3368 | 0.35121 | 0.3573 | 3.9476 | 4.0783 | 4.1651 | 3.8891 | 4.0554 | 4.1258 | 0.51239 | -4.5153 | 1.6484 | -0.20089 | 4.8169 | -1.5272 | 0.29753 | -6.3695 | -7.2453 | -0.12337 | 6.1348 | 7.4918 | -89.5746 | -17.7171 | -132.0618 | 90.3473 | 163.0456 | 47.3347 | 0.15009 | 1.9144 | 1.784 | 0.060619 | 1.9233 | 1.8532 | -59.4323 | -143.0498 | 150.7558 | -58.0988 | -145.0923 | 148.8567
Line_1 | 0.27303 | 0.17392 | 0.17502 | 0.27826 | 0.17555 | 0.17871 | 3.1527 | 2.0083 | 2.0209 | 3.2131 | 2.0271 | 2.0635 | 4.9103e-13 | 2.5578 | -0.7545 | 0.1709 | -2.4248 | 0.74307 | -4.963e-13 | 2.9044 | 3.7569 | 0.093433 | -3.053 | -3.7512 | 93.2544 | 164.9975 | 46.4485 | -86.7643 | -16.6343 | -132.3478 | 0 | 1.9271 | 1.8961 | 0.060619 | 1.9233 | 1.8532 | 0 | -146.3714 | 147.804 | -58.0988 | -145.0923 | 148.8567
Line_2 | 0.055552 | 0.17394 | 0.17502 | 0.06054 | 0.17566 | 0.1786 | 0.64146 | 2.0085 | 2.0209 | 0.69905 | 2.0284 | 2.0623 | -0.01376 | 2.4978 | -0.81315 | 0.029992 | -2.3921 | 0.78414 | -0.01742 | 2.9664 | 3.7086 | 0.029936 | -3.0819 | -3.7406 | 75.482 | 164.3359 | 45.794 | -103.045 | -17.2742 | -132.9829 | 0.034607 | 1.9308 | 1.8787 | 0.060619 | 1.9233 | 1.8532 | -52.8226 | -145.7623 | 148.1611 | -58.0988 | -145.0923 | 148.8567
Line_3 | 0.21817 | 0.0045758 | 0.0018175 | 0.22341 | 0.00090448 | 0.0042998 | 2.5193 | 0.052837 | 0.020987 | 2.5797 | 0.010444 | 0.04965 | 3.6028e-13 | 0.063862 | 0.010464 | 0.077629 | -0.0015332 | -0.073576 | -4.2596e-13 | -0.079302 | -0.038394 | 0.044094 | -0.020107 | -0.057333 | 97.7244 | -95.2157 | -137.4414 | -82.4194 | -51.4019 | -69.7663 | 0 | 1.9271 | 1.8961 | 0.034607 | 1.9308 | 1.8787 | 0 | -146.3714 | 147.804 | -52.8226 | -145.7623 | 148.1611

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34187 | 0.35319 | 0.36071 | 0.3368 | 0.35121 | 0.3573 | 3.9476 | 4.0783 | 4.1651 | 3.8891 | 4.0554 | 4.1258 | 0.51239 | -4.5153 | 1.6484 | -0.20089 | 4.8169 | -1.5272 | 0.29753 | -6.3695 | -7.2453 | -0.12337 | 6.1348 | 7.4918 | -89.5746 | -17.7171 | -132.0618 | 90.3473 | 163.0456 | 47.3347 | 0.15009 | 1.9144 | 1.784 | 0.060619 | 1.9233 | 1.8532 | -59.4323 | -143.0498 | 150.7558 | -58.0988 | -145.0923 | 148.8567
Line_1 | 0.27303 | 0.17392 | 0.17502 | 0.27826 | 0.17555 | 0.17871 | 3.1527 | 2.0083 | 2.0209 | 3.2131 | 2.0271 | 2.0635 | 4.9103e-13 | 2.5578 | -0.7545 | 0.1709 | -2.4248 | 0.74307 | -4.963e-13 | 2.9044 | 3.7569 | 0.093433 | -3.053 | -3.7512 | 93.2544 | 164.9975 | 46.4485 | -86.7643 | -16.6343 | -132.3478 | 0 | 1.9271 | 1.8961 | 0.060619 | 1.9233 | 1.8532 | 0 | -146.3714 | 147.804 | -58.0988 | -145.0923 | 148.8567
Line_2 | 0.055552 | 0.17394 | 0.17502 | 0.06054 | 0.17566 | 0.1786 | 0.64146 | 2.0085 | 2.0209 | 0.69905 | 2.0284 | 2.0623 | -0.01376 | 2.4978 | -0.81315 | 0.029992 | -2.3921 | 0.78414 | -0.01742 | 2.9664 | 3.7086 | 0.029936 | -3.0819 | -3.7406 | 75.482 | 164.3359 | 45.794 | -103.045 | -17.2742 | -132.9829 | 0.034607 | 1.9308 | 1.8787 | 0.060619 | 1.9233 | 1.8532 | -52.8226 | -145.7623 | 148.1611 | -58.0988 | -145.0923 | 148.8567
Line_3 | 0.21817 | 0.0045758 | 0.0018175 | 0.22341 | 0.00090448 | 0.0042998 | 2.5193 | 0.052837 | 0.020987 | 2.5797 | 0.010444 | 0.04965 | 3.6028e-13 | 0.063862 | 0.010464 | 0.077629 | -0.0015332 | -0.073576 | -4.2596e-13 | -0.079302 | -0.038394 | 0.044094 | -0.020107 | -0.057333 | 97.7244 | -95.2157 | -137.4414 | -82.4194 | -51.4019 | -69.7663 | 0 | 1.9271 | 1.8961 | 0.034607 | 1.9308 | 1.8787 | 0 | -146.3714 | 147.804 | -52.8226 | -145.7623 | 148.1611

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18441 | 0.3539 | 0.35551 | 0.18047 | 0.35184 | 0.35336 | 2.1294 | 4.0864 | 4.105 | 2.0839 | 4.0628 | 4.0803 | 0.71179 | -3.5839 | 1.2599 | -0.57262 | 3.8499 | -1.1896 | 0.52832 | -6.3685 | -6.1679 | -0.47299 | 6.2277 | 6.4018 | -69.9848 | -16.8398 | -132.3242 | 110.1325 | 163.7097 | 47.1377 | 0.4163 | 1.7883 | 1.5336 | 0.35641 | 1.8021 | 1.5958 | -33.4004 | -136.2084 | 149.2206 | -30.3101 | -138.0141 | 147.6647
Line_1 | 0.17181 | 0.17406 | 0.17436 | 0.17585 | 0.17588 | 0.17673 | 1.9839 | 2.0098 | 2.0133 | 2.0305 | 2.0309 | 2.0407 | -0.45193 | 2.051 | -0.59664 | 0.54364 | -1.9419 | 0.57695 | -0.43143 | 3.0013 | 3.235 | 0.47767 | -3.1024 | -3.205 | 108.5531 | 165.2205 | 46.38 | -71.6138 | -15.9701 | -132.54 | 0.31494 | 1.8087 | 1.6339 | 0.35641 | 1.8021 | 1.5958 | -27.7764 | -139.1269 | 146.8297 | -30.3101 | -138.0141 | 147.6647
Line_2 | 0.0059772 | 0.17407 | 0.17436 | 0.0071307 | 0.17597 | 0.17664 | 0.069019 | 2.01 | 2.0133 | 0.082339 | 2.0319 | 2.0397 | -0.017359 | 1.9922 | -0.64082 | 0.028972 | -1.908 | 0.61267 | 0.015879 | 3.0466 | 3.1957 | -0.0046743 | -3.1253 | -3.1967 | -166.5781 | 164.5599 | 45.7242 | -21.1449 | -16.6104 | -133.1848 | 0.34087 | 1.811 | 1.6189 | 0.35641 | 1.8021 | 1.5958 | -29.0276 | -138.6204 | 147.0629 | -30.3101 | -138.0141 | 147.6647
Line_3 | 0.16935 | 0.0039381 | 0.0012023 | 0.17342 | 0.00087608 | 0.0038568 | 1.9555 | 0.045473 | 0.013883 | 2.0025 | 0.010116 | 0.044535 | -0.43091 | 0.055596 | 0.010086 | 0.48696 | -0.012487 | -0.062854 | -0.44 | -0.060608 | -0.020317 | 0.47832 | -0.013406 | -0.035319 | 106.6258 | -91.6572 | -149.5728 | -73.5145 | -5.6532 | -62.2694 | 0.31494 | 1.8087 | 1.6339 | 0.34087 | 1.811 | 1.6189 | -27.7764 | -139.1269 | 146.8297 | -29.0276 | -138.6204 | 147.0629

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18441 | 0.3539 | 0.35551 | 0.18047 | 0.35184 | 0.35336 | 2.1294 | 4.0864 | 4.105 | 2.0839 | 4.0628 | 4.0803 | 0.71179 | -3.5839 | 1.2599 | -0.57262 | 3.8499 | -1.1896 | 0.52832 | -6.3685 | -6.1679 | -0.47299 | 6.2277 | 6.4018 | -69.9848 | -16.8398 | -132.3242 | 110.1325 | 163.7097 | 47.1377 | 0.4163 | 1.7883 | 1.5336 | 0.35641 | 1.8021 | 1.5958 | -33.4004 | -136.2084 | 149.2206 | -30.3101 | -138.0141 | 147.6647
Line_1 | 0.17181 | 0.17406 | 0.17436 | 0.17585 | 0.17588 | 0.17673 | 1.9839 | 2.0098 | 2.0133 | 2.0305 | 2.0309 | 2.0407 | -0.45193 | 2.051 | -0.59664 | 0.54364 | -1.9419 | 0.57695 | -0.43143 | 3.0013 | 3.235 | 0.47767 | -3.1024 | -3.205 | 108.5531 | 165.2205 | 46.38 | -71.6138 | -15.9701 | -132.54 | 0.31494 | 1.8087 | 1.6339 | 0.35641 | 1.8021 | 1.5958 | -27.7764 | -139.1269 | 146.8297 | -30.3101 | -138.0141 | 147.6647
Line_2 | 0.0059772 | 0.17407 | 0.17436 | 0.0071307 | 0.17597 | 0.17664 | 0.069019 | 2.01 | 2.0133 | 0.082339 | 2.0319 | 2.0397 | -0.017359 | 1.9922 | -0.64082 | 0.028972 | -1.908 | 0.61267 | 0.015879 | 3.0466 | 3.1957 | -0.0046743 | -3.1253 | -3.1967 | -166.5781 | 164.5599 | 45.7242 | -21.1449 | -16.6104 | -133.1848 | 0.34087 | 1.811 | 1.6189 | 0.35641 | 1.8021 | 1.5958 | -29.0276 | -138.6204 | 147.0629 | -30.3101 | -138.0141 | 147.6647
Line_3 | 0.16935 | 0.0039381 | 0.0012023 | 0.17342 | 0.00087608 | 0.0038568 | 1.9555 | 0.045473 | 0.013883 | 2.0025 | 0.010116 | 0.044535 | -0.43091 | 0.055596 | 0.010086 | 0.48696 | -0.012487 | -0.062854 | -0.44 | -0.060608 | -0.020317 | 0.47832 | -0.013406 | -0.035319 | 106.6258 | -91.6572 | -149.5728 | -73.5145 | -5.6532 | -62.2694 | 0.31494 | 1.8087 | 1.6339 | 0.34087 | 1.811 | 1.6189 | -27.7764 | -139.1269 | 146.8297 | -29.0276 | -138.6204 | 147.0629

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55348 | 0.01702 | 0.01702 | 0.54936 | 0.012901 | 0.012901 | 6.3911 | 0.19653 | 0.19653 | 6.3434 | 0.14897 | 0.14897 | 1.5757 | 0.18408 | -0.15476 | -0.61217 | -0.13014 | 0.12727 | 0.446 | -0.26632 | -0.23376 | -0.1761 | 0.20307 | 0.18532 | -75.076 | -84.512 | -84.512 | 104.9588 | 93.9464 | 93.9464 | 0.25623 | 1.6473 | 1.4265 | 0.10042 | 1.6191 | 1.5091 | -59.2717 | -139.8591 | 151.982 | -58.9924 | -143.3999 | 149.4663
Line_1 | 0.35991 | 0.0021629 | 0.0021629 | 0.36413 | 0.0064626 | 0.0064626 | 4.1559 | 0.024975 | 0.024975 | 4.2047 | 0.074623 | 0.074623 | -3.3219e-12 | -0.020741 | 0.022452 | 0.40589 | 0.065638 | -0.063345 | -1.4137e-12 | 0.034297 | 0.031931 | 0.1163 | -0.10144 | -0.093111 | 105.1498 | 93.1353 | 93.1353 | -74.9813 | -86.3057 | -86.3057 | 0 | 1.6049 | 1.563 | 0.10042 | 1.6191 | 1.5091 | 0 | -145.702 | 148.0232 | -58.9924 | -143.3999 | 149.4663
Line_2 | 0.18102 | 0.0021755 | 0.0021755 | 0.18522 | 0.0064385 | 0.0064385 | 2.0903 | 0.02512 | 0.02512 | 2.1388 | 0.074346 | 0.074346 | -0.098094 | -0.022054 | 0.021417 | 0.20628 | 0.064501 | -0.063924 | -0.028794 | 0.033937 | 0.032122 | 0.059799 | -0.10163 | -0.092204 | 105.069 | 92.3909 | 92.3909 | -75.1589 | -85.8005 | -85.8005 | 0.048909 | 1.6112 | 1.5369 | 0.10042 | 1.6191 | 1.5091 | -58.5722 | -144.591 | 148.6977 | -58.9924 | -143.3999 | 149.4663
Line_3 | 0.17679 | 0.0021629 | 0.0021629 | 0.18102 | 0.0021755 | 0.0021755 | 2.0413 | 0.024975 | 0.024975 | 2.0903 | 0.02512 | 0.02512 | -1.6343e-12 | 0.020741 | -0.022452 | 0.098094 | 0.022054 | -0.021417 | -6.8815e-13 | -0.034297 | -0.031931 | 0.028794 | -0.033937 | -0.032122 | 105.3687 | -86.8647 | -86.8647 | -74.931 | -87.6091 | -87.6091 | 0 | 1.6049 | 1.563 | 0.048909 | 1.6112 | 1.5369 | 0 | -145.702 | 148.0232 | -58.5722 | -144.591 | 148.6977

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55348 | 0.01702 | 0.01702 | 0.54936 | 0.012901 | 0.012901 | 6.3911 | 0.19653 | 0.19653 | 6.3434 | 0.14897 | 0.14897 | 1.5757 | 0.18408 | -0.15476 | -0.61217 | -0.13014 | 0.12727 | 0.446 | -0.26632 | -0.23376 | -0.1761 | 0.20307 | 0.18532 | -75.076 | -84.512 | -84.512 | 104.9588 | 93.9464 | 93.9464 | 0.25623 | 1.6473 | 1.4265 | 0.10042 | 1.6191 | 1.5091 | -59.2717 | -139.8591 | 151.982 | -58.9924 | -143.3999 | 149.4663
Line_1 | 0.35991 | 0.0021629 | 0.0021629 | 0.36413 | 0.0064626 | 0.0064626 | 4.1559 | 0.024975 | 0.024975 | 4.2047 | 0.074623 | 0.074623 | -3.3219e-12 | -0.020741 | 0.022452 | 0.40589 | 0.065638 | -0.063345 | -1.4137e-12 | 0.034297 | 0.031931 | 0.1163 | -0.10144 | -0.093111 | 105.1498 | 93.1353 | 93.1353 | -74.9813 | -86.3057 | -86.3057 | 0 | 1.6049 | 1.563 | 0.10042 | 1.6191 | 1.5091 | 0 | -145.702 | 148.0232 | -58.9924 | -143.3999 | 149.4663
Line_2 | 0.18102 | 0.0021755 | 0.0021755 | 0.18522 | 0.0064385 | 0.0064385 | 2.0903 | 0.02512 | 0.02512 | 2.1388 | 0.074346 | 0.074346 | -0.098094 | -0.022054 | 0.021417 | 0.20628 | 0.064501 | -0.063924 | -0.028794 | 0.033937 | 0.032122 | 0.059799 | -0.10163 | -0.092204 | 105.069 | 92.3909 | 92.3909 | -75.1589 | -85.8005 | -85.8005 | 0.048909 | 1.6112 | 1.5369 | 0.10042 | 1.6191 | 1.5091 | -58.5722 | -144.591 | 148.6977 | -58.9924 | -143.3999 | 149.4663
Line_3 | 0.17679 | 0.0021629 | 0.0021629 | 0.18102 | 0.0021755 | 0.0021755 | 2.0413 | 0.024975 | 0.024975 | 2.0903 | 0.02512 | 0.02512 | -1.6343e-12 | 0.020741 | -0.022452 | 0.098094 | 0.022054 | -0.021417 | -6.8815e-13 | -0.034297 | -0.031931 | 0.028794 | -0.033937 | -0.032122 | 105.3687 | -86.8647 | -86.8647 | -74.931 | -87.6091 | -87.6091 | 0 | 1.6049 | 1.563 | 0.048909 | 1.6112 | 1.5369 | 0 | -145.702 | 148.0232 | -58.5722 | -144.591 | 148.6977

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42721 | 0.013137 | 0.013137 | 0.42402 | 0.0099576 | 0.0099576 | 4.9329 | 0.15169 | 0.15169 | 4.8962 | 0.11498 | 0.11498 | 1.819 | 0.12577 | -0.13052 | -1.2389 | -0.090443 | 0.10493 | 1.1551 | -0.19361 | -0.13573 | -0.9872 | 0.14714 | 0.10851 | -67.8383 | -77.2742 | -77.2742 | 112.1965 | 101.1841 | 101.1841 | 0.43681 | 1.522 | 1.2413 | 0.32354 | 1.5021 | 1.3128 | -35.4202 | -134.2666 | 148.8481 | -29.2549 | -137.2371 | 147.1452
Line_1 | 0.2778 | 0.0016694 | 0.0016694 | 0.28106 | 0.0049882 | 0.0049882 | 3.2078 | 0.019277 | 0.019277 | 3.2454 | 0.057598 | 0.057598 | -0.57467 | -0.014583 | 0.018259 | 0.82189 | 0.04563 | -0.052322 | -0.57612 | 0.024786 | 0.018775 | 0.65349 | -0.073506 | -0.054586 | 112.3875 | 100.3731 | 100.3731 | -67.7436 | -79.068 | -79.068 | 0.25368 | 1.4919 | 1.3586 | 0.32354 | 1.5021 | 1.3128 | -22.5404 | -139.1568 | 146.1701 | -29.2549 | -137.2371 | 147.1452
Line_2 | 0.13972 | 0.0016791 | 0.0016791 | 0.14297 | 0.0049696 | 0.0049696 | 1.6134 | 0.019389 | 0.019389 | 1.6508 | 0.057384 | 0.057384 | -0.34707 | -0.015435 | 0.017674 | 0.41704 | 0.044813 | -0.052605 | -0.30733 | 0.024568 | 0.018951 | 0.33371 | -0.07363 | -0.053921 | 112.3067 | 99.6287 | 99.6287 | -67.9212 | -78.5628 | -78.5628 | 0.28734 | 1.4964 | 1.3365 | 0.32354 | 1.5021 | 1.3128 | -26.1686 | -138.2314 | 146.6244 | -29.2549 | -137.2371 | 147.1452
Line_3 | 0.13645 | 0.0016694 | 0.0016694 | 0.13972 | 0.0016791 | 0.0016791 | 1.5756 | 0.019277 | 0.019277 | 1.6134 | 0.019389 | 0.019389 | -0.28335 | 0.014583 | -0.018259 | 0.34707 | 0.015435 | -0.017674 | -0.2819 | -0.024786 | -0.018775 | 0.30733 | -0.024568 | -0.018951 | 112.6064 | -79.6269 | -79.6269 | -67.6933 | -80.3713 | -80.3713 | 0.25368 | 1.4919 | 1.3586 | 0.28734 | 1.4964 | 1.3365 | -22.5404 | -139.1568 | 146.1701 | -26.1686 | -138.2314 | 146.6244

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42721 | 0.013137 | 0.013137 | 0.42402 | 0.0099576 | 0.0099576 | 4.9329 | 0.15169 | 0.15169 | 4.8962 | 0.11498 | 0.11498 | 1.819 | 0.12577 | -0.13052 | -1.2389 | -0.090443 | 0.10493 | 1.1551 | -0.19361 | -0.13573 | -0.9872 | 0.14714 | 0.10851 | -67.8383 | -77.2742 | -77.2742 | 112.1965 | 101.1841 | 101.1841 | 0.43681 | 1.522 | 1.2413 | 0.32354 | 1.5021 | 1.3128 | -35.4202 | -134.2666 | 148.8481 | -29.2549 | -137.2371 | 147.1452
Line_1 | 0.2778 | 0.0016694 | 0.0016694 | 0.28106 | 0.0049882 | 0.0049882 | 3.2078 | 0.019277 | 0.019277 | 3.2454 | 0.057598 | 0.057598 | -0.57467 | -0.014583 | 0.018259 | 0.82189 | 0.04563 | -0.052322 | -0.57612 | 0.024786 | 0.018775 | 0.65349 | -0.073506 | -0.054586 | 112.3875 | 100.3731 | 100.3731 | -67.7436 | -79.068 | -79.068 | 0.25368 | 1.4919 | 1.3586 | 0.32354 | 1.5021 | 1.3128 | -22.5404 | -139.1568 | 146.1701 | -29.2549 | -137.2371 | 147.1452
Line_2 | 0.13972 | 0.0016791 | 0.0016791 | 0.14297 | 0.0049696 | 0.0049696 | 1.6134 | 0.019389 | 0.019389 | 1.6508 | 0.057384 | 0.057384 | -0.34707 | -0.015435 | 0.017674 | 0.41704 | 0.044813 | -0.052605 | -0.30733 | 0.024568 | 0.018951 | 0.33371 | -0.07363 | -0.053921 | 112.3067 | 99.6287 | 99.6287 | -67.9212 | -78.5628 | -78.5628 | 0.28734 | 1.4964 | 1.3365 | 0.32354 | 1.5021 | 1.3128 | -26.1686 | -138.2314 | 146.6244 | -29.2549 | -137.2371 | 147.1452
Line_3 | 0.13645 | 0.0016694 | 0.0016694 | 0.13972 | 0.0016791 | 0.0016791 | 1.5756 | 0.019277 | 0.019277 | 1.6134 | 0.019389 | 0.019389 | -0.28335 | 0.014583 | -0.018259 | 0.34707 | 0.015435 | -0.017674 | -0.2819 | -0.024786 | -0.018775 | 0.30733 | -0.024568 | -0.018951 | 112.6064 | -79.6269 | -79.6269 | -67.6933 | -80.3713 | -80.3713 | 0.25368 | 1.4919 | 1.3586 | 0.28734 | 1.4964 | 1.3365 | -22.5404 | -139.1568 | 146.1701 | -26.1686 | -138.2314 | 146.6244

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35738 | 3.1659 | 3.2222 | 0.35466 | 3.1665 | 3.2216 | 4.1267 | 36.5568 | 37.2068 | 4.0952 | 36.5631 | 37.2002 | -1.4953 | 9.0571 | 8.8176 | 1.7095 | -3.7049 | -3.5466 | -6.8222 | 7.7038 | 12.5866 | 6.8618 | -3.132 | -5.0933 | 105.0867 | -163.6984 | 16.8579 | -74.8339 | 16.3507 | -163.1903 | 1.6924 | 0.32526 | 0.41304 | 1.7268 | 0.13268 | 0.16684 | 2.7241 | -123.3146 | 71.8446 | 1.1764 | -123.4386 | 71.9587
Line_1 | 0.17456 | 2.1613 | 2.1979 | 0.17733 | 2.1606 | 2.1987 | 2.0157 | 24.9561 | 25.3789 | 2.0476 | 24.9481 | 25.3879 | 0.93679 | 3.1456e-11 | 1.9483e-11 | -0.87382 | 2.4989 | 2.4606 | 3.3932 | -4.0459e-12 | 2.3356e-11 | -3.4261 | 2.1709 | 3.4477 | -74.2898 | 15.6527 | -162.598 | 105.4846 | -164.4206 | 17.4734 | 1.7464 | 0 | 0 | 1.7268 | 0.13268 | 0.16684 | 0.2765 | 0 | 0 | 1.1764 | -123.4386 | 71.9587
Line_2 | 0.17457 | 1.0073 | 1.0228 | 0.17733 | 1.0065 | 1.0234 | 2.0158 | 11.6311 | 11.8102 | 2.0477 | 11.6221 | 11.8177 | 0.8752 | -0.67051 | -0.55589 | -0.83571 | 1.2059 | 1.0861 | 3.4005 | -0.50269 | -0.88609 | -3.4357 | 0.96112 | 1.6456 | -74.9478 | 18.1615 | -164.7706 | 104.8476 | -161.9934 | 15.3838 | 1.7419 | 0.07205 | 0.08857 | 1.7268 | 0.13268 | 0.16684 | 0.61912 | -124.979 | 73.127 | 1.1764 | -123.4386 | 71.9587
Line_3 | 0.0027276 | 1.1561 | 1.176 | 0.0021378 | 1.1555 | 1.1769 | 0.031495 | 13.3493 | 13.5795 | 0.024685 | 13.3421 | 13.5899 | 0.03839 | 1.6894e-11 | 1.0817e-11 | -0.038784 | 0.71858 | 0.7114 | -0.039388 | -1.5411e-12 | 1.2159e-11 | -0.01857 | 0.63853 | 0.97093 | 46.0115 | 13.5354 | -160.7753 | 155.0331 | -166.6032 | 19.3571 | 1.7464 | 0 | 0 | 1.7419 | 0.07205 | 0.08857 | 0.2765 | 0 | 0 | 0.61912 | -124.979 | 73.127

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35738 | 3.1659 | 3.2222 | 0.35466 | 3.1665 | 3.2216 | 4.1267 | 36.5568 | 37.2068 | 4.0952 | 36.5631 | 37.2002 | -1.4953 | 9.0571 | 8.8176 | 1.7095 | -3.7049 | -3.5466 | -6.8222 | 7.7038 | 12.5866 | 6.8618 | -3.132 | -5.0933 | 105.0867 | -163.6984 | 16.8579 | -74.8339 | 16.3507 | -163.1903 | 1.6924 | 0.32526 | 0.41304 | 1.7268 | 0.13268 | 0.16684 | 2.7241 | -123.3146 | 71.8446 | 1.1764 | -123.4386 | 71.9587
Line_1 | 0.17456 | 2.1613 | 2.1979 | 0.17733 | 2.1606 | 2.1987 | 2.0157 | 24.9561 | 25.3789 | 2.0476 | 24.9481 | 25.3879 | 0.93679 | 3.1456e-11 | 1.9483e-11 | -0.87382 | 2.4989 | 2.4606 | 3.3932 | -4.0459e-12 | 2.3356e-11 | -3.4261 | 2.1709 | 3.4477 | -74.2898 | 15.6527 | -162.598 | 105.4846 | -164.4206 | 17.4734 | 1.7464 | 0 | 0 | 1.7268 | 0.13268 | 0.16684 | 0.2765 | 0 | 0 | 1.1764 | -123.4386 | 71.9587
Line_2 | 0.17457 | 1.0073 | 1.0228 | 0.17733 | 1.0065 | 1.0234 | 2.0158 | 11.6311 | 11.8102 | 2.0477 | 11.6221 | 11.8177 | 0.8752 | -0.67051 | -0.55589 | -0.83571 | 1.2059 | 1.0861 | 3.4005 | -0.50269 | -0.88609 | -3.4357 | 0.96112 | 1.6456 | -74.9478 | 18.1615 | -164.7706 | 104.8476 | -161.9934 | 15.3838 | 1.7419 | 0.07205 | 0.08857 | 1.7268 | 0.13268 | 0.16684 | 0.61912 | -124.979 | 73.127 | 1.1764 | -123.4386 | 71.9587
Line_3 | 0.0027276 | 1.1561 | 1.176 | 0.0021378 | 1.1555 | 1.1769 | 0.031495 | 13.3493 | 13.5795 | 0.024685 | 13.3421 | 13.5899 | 0.03839 | 1.6894e-11 | 1.0817e-11 | -0.038784 | 0.71858 | 0.7114 | -0.039388 | -1.5411e-12 | 1.2159e-11 | -0.01857 | 0.63853 | 0.97093 | 46.0115 | 13.5354 | -160.7753 | 155.0331 | -166.6032 | 19.3571 | 1.7464 | 0 | 0 | 1.7419 | 0.07205 | 0.08857 | 0.2765 | 0 | 0 | 0.61912 | -124.979 | 73.127

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3561 | 0.89443 | 0.90229 | 0.3537 | 0.89573 | 0.90104 | 4.1119 | 10.328 | 10.4187 | 4.0842 | 10.343 | 10.4043 | -1.291 | 6.7196 | 6.4022 | 1.4796 | -6.4076 | -5.8767 | -6.5281 | 3.8416 | 7.0327 | 6.5865 | -3.6809 | -6.2321 | 105.2913 | -136.9349 | 41.7759 | -74.6758 | 43.1948 | -138.3548 | 1.6184 | 0.74945 | 0.91282 | 1.6528 | 0.71446 | 0.82331 | 4.105 | -107.178 | 89.4631 | 2.6635 | -106.9294 | 88.3265
Line_1 | 0.17441 | 0.63104 | 0.65626 | 0.17685 | 0.62974 | 0.65766 | 2.0139 | 7.2866 | 7.5778 | 2.0421 | 7.2716 | 7.5941 | 0.81084 | -4.1322 | -4.0193 | -0.75818 | 4.2929 | 4.3023 | 3.269 | -2.8303 | -4.1341 | -3.2891 | 2.9259 | 4.5366 | -74.2353 | 38.985 | -138.3699 | 105.6441 | -141.2061 | 41.8077 | 1.6724 | 0.68736 | 0.76089 | 1.6528 | 0.71446 | 0.82331 | 1.8344 | -106.6064 | 87.437 | 2.6635 | -106.9294 | 88.3265
Line_2 | 0.17441 | 0.27394 | 0.24203 | 0.17685 | 0.27217 | 0.24338 | 2.014 | 3.1632 | 2.7948 | 2.0421 | 3.1428 | 2.8103 | 0.75404 | -2.1086 | -1.5144 | -0.7214 | 2.1146 | 1.5744 | 3.2734 | -0.73282 | -1.6356 | -3.2974 | 0.75503 | 1.6955 | -74.8933 | 53.781 | -139.28 | 105.0042 | -126.5785 | 41.2059 | 1.6679 | 0.70572 | 0.79758 | 1.6528 | 0.71446 | 0.82331 | 2.1348 | -107.0548 | 87.9221 | 2.6635 | -106.9294 | 88.3265
Line_3 | 0.0025057 | 0.37325 | 0.41356 | 0.0021751 | 0.37233 | 0.41502 | 0.028934 | 4.31 | 4.7754 | 0.025116 | 4.2993 | 4.7922 | 0.035392 | -2.0931 | -2.5506 | -0.039085 | 2.1472 | 2.6732 | -0.032999 | -2.0965 | -2.5879 | -0.015075 | 2.1437 | 2.7318 | 44.8302 | 28.3465 | -137.9784 | 161.0428 | -152.0089 | 42.3011 | 1.6724 | 0.68736 | 0.76089 | 1.6679 | 0.70572 | 0.79758 | 1.8344 | -106.6064 | 87.437 | 2.1348 | -107.0548 | 87.9221

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3561 | 0.89443 | 0.90229 | 0.3537 | 0.89573 | 0.90104 | 4.1119 | 10.328 | 10.4187 | 4.0842 | 10.343 | 10.4043 | -1.291 | 6.7196 | 6.4022 | 1.4796 | -6.4076 | -5.8767 | -6.5281 | 3.8416 | 7.0327 | 6.5865 | -3.6809 | -6.2321 | 105.2913 | -136.9349 | 41.7759 | -74.6758 | 43.1948 | -138.3548 | 1.6184 | 0.74945 | 0.91282 | 1.6528 | 0.71446 | 0.82331 | 4.105 | -107.178 | 89.4631 | 2.6635 | -106.9294 | 88.3265
Line_1 | 0.17441 | 0.63104 | 0.65626 | 0.17685 | 0.62974 | 0.65766 | 2.0139 | 7.2866 | 7.5778 | 2.0421 | 7.2716 | 7.5941 | 0.81084 | -4.1322 | -4.0193 | -0.75818 | 4.2929 | 4.3023 | 3.269 | -2.8303 | -4.1341 | -3.2891 | 2.9259 | 4.5366 | -74.2353 | 38.985 | -138.3699 | 105.6441 | -141.2061 | 41.8077 | 1.6724 | 0.68736 | 0.76089 | 1.6528 | 0.71446 | 0.82331 | 1.8344 | -106.6064 | 87.437 | 2.6635 | -106.9294 | 88.3265
Line_2 | 0.17441 | 0.27394 | 0.24203 | 0.17685 | 0.27217 | 0.24338 | 2.014 | 3.1632 | 2.7948 | 2.0421 | 3.1428 | 2.8103 | 0.75404 | -2.1086 | -1.5144 | -0.7214 | 2.1146 | 1.5744 | 3.2734 | -0.73282 | -1.6356 | -3.2974 | 0.75503 | 1.6955 | -74.8933 | 53.781 | -139.28 | 105.0042 | -126.5785 | 41.2059 | 1.6679 | 0.70572 | 0.79758 | 1.6528 | 0.71446 | 0.82331 | 2.1348 | -107.0548 | 87.9221 | 2.6635 | -106.9294 | 88.3265
Line_3 | 0.0025057 | 0.37325 | 0.41356 | 0.0021751 | 0.37233 | 0.41502 | 0.028934 | 4.31 | 4.7754 | 0.025116 | 4.2993 | 4.7922 | 0.035392 | -2.0931 | -2.5506 | -0.039085 | 2.1472 | 2.6732 | -0.032999 | -2.0965 | -2.5879 | -0.015075 | 2.1437 | 2.7318 | 44.8302 | 28.3465 | -137.9784 | 161.0428 | -152.0089 | 42.3011 | 1.6724 | 0.68736 | 0.76089 | 1.6679 | 0.70572 | 0.79758 | 1.8344 | -106.6064 | 87.437 | 2.1348 | -107.0548 | 87.9221

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0093199 | 2.5722 | 2.6486 | 0.0070643 | 2.5728 | 2.6478 | 0.10762 | 29.7018 | 30.5839 | 0.081572 | 29.7086 | 30.5742 | -0.00082833 | 10.8762 | 12.1362 | 0.0019381 | -4.3576 | -4.8408 | -0.15296 | 3.772 | 9.6789 | 0.11743 | -1.5398 | -3.8397 | 94.2859 | -155.7471 | 30.903 | -87.2557 | 24.3016 | -149.1425 | 1.4214 | 0.38758 | 0.50756 | 1.4397 | 0.15557 | 0.20209 | 3.9756 | -136.62 | 69.4764 | 1.7987 | -136.2374 | 69.2783
Line_1 | 0.0011843 | 1.7165 | 1.7636 | 0.0035388 | 1.7156 | 1.7647 | 0.013676 | 19.8206 | 20.3638 | 0.040862 | 19.8106 | 20.3766 | 0.00051309 | -9.2451e-11 | 2.6563e-12 | -0.00071204 | 2.9064 | 3.2247 | 0.019858 | -7.3318e-11 | -1.218e-10 | -0.058827 | 1.0249 | 2.5609 | -88.0668 | 24.4112 | -149.2438 | 92.4922 | -155.6619 | 30.8237 | 1.4526 | 0 | 0 | 1.4397 | 0.15557 | 0.20209 | 0.45314 | 0 | 0 | 1.7987 | -136.2374 | 69.2783
Line_2 | 0.0011912 | 0.85801 | 0.88208 | 0.0035256 | 0.8572 | 0.88314 | 0.013755 | 9.9075 | 10.1854 | 0.04071 | 9.8981 | 10.1976 | 3.2768e-05 | -0.7282 | -0.80345 | -0.0012261 | 1.4512 | 1.6161 | 0.019893 | -0.26303 | -0.6333 | -0.058599 | 0.51487 | 1.2788 | -88.8112 | 24.3747 | -149.2102 | 92.9973 | -155.7716 | 30.925 | 1.4462 | 0.078148 | 0.10044 | 1.4397 | 0.15557 | 0.20209 | 1.0944 | -135.7653 | 69.0358 | 1.7987 | -136.2374 | 69.2783
Line_3 | 0.0011843 | 0.85894 | 0.88092 | 0.0011912 | 0.85801 | 0.88208 | 0.013676 | 9.9181 | 10.172 | 0.013755 | 9.9075 | 10.1854 | -0.00051309 | -4.6332e-11 | 1.4343e-12 | -3.277e-05 | 0.7282 | 0.80345 | -0.019858 | -3.6599e-11 | -6.0836e-11 | -0.019893 | 0.26303 | 0.6333 | 91.9332 | 24.5207 | -149.345 | 91.1888 | -155.6253 | 30.7898 | 1.4526 | 0 | 0 | 1.4462 | 0.078148 | 0.10044 | 0.45314 | 0 | 0 | 1.0944 | -135.7653 | 69.0358

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0093199 | 2.5722 | 2.6486 | 0.0070643 | 2.5728 | 2.6478 | 0.10762 | 29.7018 | 30.5839 | 0.081572 | 29.7086 | 30.5742 | -0.00082833 | 10.8762 | 12.1362 | 0.0019381 | -4.3576 | -4.8408 | -0.15296 | 3.772 | 9.6789 | 0.11743 | -1.5398 | -3.8397 | 94.2859 | -155.7471 | 30.903 | -87.2557 | 24.3016 | -149.1425 | 1.4214 | 0.38758 | 0.50756 | 1.4397 | 0.15557 | 0.20209 | 3.9756 | -136.62 | 69.4764 | 1.7987 | -136.2374 | 69.2783
Line_1 | 0.0011843 | 1.7165 | 1.7636 | 0.0035388 | 1.7156 | 1.7647 | 0.013676 | 19.8206 | 20.3638 | 0.040862 | 19.8106 | 20.3766 | 0.00051309 | -9.2451e-11 | 2.6563e-12 | -0.00071204 | 2.9064 | 3.2247 | 0.019858 | -7.3318e-11 | -1.218e-10 | -0.058827 | 1.0249 | 2.5609 | -88.0668 | 24.4112 | -149.2438 | 92.4922 | -155.6619 | 30.8237 | 1.4526 | 0 | 0 | 1.4397 | 0.15557 | 0.20209 | 0.45314 | 0 | 0 | 1.7987 | -136.2374 | 69.2783
Line_2 | 0.0011912 | 0.85801 | 0.88208 | 0.0035256 | 0.8572 | 0.88314 | 0.013755 | 9.9075 | 10.1854 | 0.04071 | 9.8981 | 10.1976 | 3.2768e-05 | -0.7282 | -0.80345 | -0.0012261 | 1.4512 | 1.6161 | 0.019893 | -0.26303 | -0.6333 | -0.058599 | 0.51487 | 1.2788 | -88.8112 | 24.3747 | -149.2102 | 92.9973 | -155.7716 | 30.925 | 1.4462 | 0.078148 | 0.10044 | 1.4397 | 0.15557 | 0.20209 | 1.0944 | -135.7653 | 69.0358 | 1.7987 | -136.2374 | 69.2783
Line_3 | 0.0011843 | 0.85894 | 0.88092 | 0.0011912 | 0.85801 | 0.88208 | 0.013676 | 9.9181 | 10.172 | 0.013755 | 9.9075 | 10.1854 | -0.00051309 | -4.6332e-11 | 1.4343e-12 | -3.277e-05 | 0.7282 | 0.80345 | -0.019858 | -3.6599e-11 | -6.0836e-11 | -0.019893 | 0.26303 | 0.6333 | 91.9332 | 24.5207 | -149.345 | 91.1888 | -155.6253 | 30.7898 | 1.4526 | 0 | 0 | 1.4462 | 0.078148 | 0.10044 | 0.45314 | 0 | 0 | 1.0944 | -135.7653 | 69.0358

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0080483 | 0.88736 | 0.98258 | 0.0061004 | 0.88794 | 0.98153 | 0.092933 | 10.2464 | 11.3459 | 0.070442 | 10.253 | 11.3337 | -0.0089567 | 5.1606 | 6.7535 | 0.0075233 | -4.4276 | -5.5821 | -0.12586 | 3.945 | 6.5686 | 0.096673 | -3.9715 | -5.4838 | 98.8743 | -149.2553 | 46.2731 | -82.6673 | 30.8654 | -133.8231 | 1.3577 | 0.63396 | 0.83035 | 1.3765 | 0.58011 | 0.69042 | 4.8037 | -111.8594 | 90.4779 | 2.8827 | -107.2426 | 90.6676
Line_1 | 0.0010227 | 0.59317 | 0.65246 | 0.0030559 | 0.59235 | 0.65373 | 0.01181 | 6.8493 | 7.5339 | 0.035287 | 6.8399 | 7.5486 | 0.0013799 | -2.6366 | -3.1934 | -0.0035556 | 2.9579 | 3.7134 | 0.01635 | -2.6449 | -3.1857 | -0.048443 | 2.6448 | 3.6569 | -83.4784 | 31.1356 | -134.0322 | 97.0806 | -149.0444 | 46.1071 | 1.3894 | 0.54525 | 0.59872 | 1.3765 | 0.58011 | 0.69042 | 1.6973 | -103.7746 | 90.8984 | 2.8827 | -107.2426 | 90.6676
Line_2 | 0.0010287 | 0.29636 | 0.32657 | 0.0030446 | 0.29559 | 0.3278 | 0.011878 | 3.422 | 3.7709 | 0.035156 | 3.4132 | 3.7851 | 0.0010073 | -1.399 | -1.7254 | -0.0039677 | 1.4697 | 1.8687 | 0.016398 | -1.3243 | -1.7087 | -0.04823 | 1.3267 | 1.8269 | -84.2228 | 31.0458 | -133.9636 | 97.5857 | -149.3153 | 46.316 | 1.3831 | 0.56295 | 0.64397 | 1.3765 | 0.58011 | 0.69042 | 2.2619 | -105.5255 | 90.7571 | 2.8827 | -107.2426 | 90.6676
Line_3 | 0.0010227 | 0.29723 | 0.32526 | 0.0010287 | 0.29636 | 0.32657 | 0.01181 | 3.4321 | 3.7557 | 0.011878 | 3.422 | 3.7709 | -0.0013799 | -1.3274 | -1.5862 | -0.0010073 | 1.399 | 1.7254 | -0.01635 | -1.3191 | -1.5939 | -0.016398 | 1.3243 | 1.7087 | 96.5216 | 31.4045 | -134.2408 | 95.7772 | -148.9542 | 46.0364 | 1.3894 | 0.54525 | 0.59872 | 1.3831 | 0.56295 | 0.64397 | 1.6973 | -103.7746 | 90.8984 | 2.2619 | -105.5255 | 90.7571

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0080483 | 0.88736 | 0.98258 | 0.0061004 | 0.88794 | 0.98153 | 0.092933 | 10.2464 | 11.3459 | 0.070442 | 10.253 | 11.3337 | -0.0089567 | 5.1606 | 6.7535 | 0.0075233 | -4.4276 | -5.5821 | -0.12586 | 3.945 | 6.5686 | 0.096673 | -3.9715 | -5.4838 | 98.8743 | -149.2553 | 46.2731 | -82.6673 | 30.8654 | -133.8231 | 1.3577 | 0.63396 | 0.83035 | 1.3765 | 0.58011 | 0.69042 | 4.8037 | -111.8594 | 90.4779 | 2.8827 | -107.2426 | 90.6676
Line_1 | 0.0010227 | 0.59317 | 0.65246 | 0.0030559 | 0.59235 | 0.65373 | 0.01181 | 6.8493 | 7.5339 | 0.035287 | 6.8399 | 7.5486 | 0.0013799 | -2.6366 | -3.1934 | -0.0035556 | 2.9579 | 3.7134 | 0.01635 | -2.6449 | -3.1857 | -0.048443 | 2.6448 | 3.6569 | -83.4784 | 31.1356 | -134.0322 | 97.0806 | -149.0444 | 46.1071 | 1.3894 | 0.54525 | 0.59872 | 1.3765 | 0.58011 | 0.69042 | 1.6973 | -103.7746 | 90.8984 | 2.8827 | -107.2426 | 90.6676
Line_2 | 0.0010287 | 0.29636 | 0.32657 | 0.0030446 | 0.29559 | 0.3278 | 0.011878 | 3.422 | 3.7709 | 0.035156 | 3.4132 | 3.7851 | 0.0010073 | -1.399 | -1.7254 | -0.0039677 | 1.4697 | 1.8687 | 0.016398 | -1.3243 | -1.7087 | -0.04823 | 1.3267 | 1.8269 | -84.2228 | 31.0458 | -133.9636 | 97.5857 | -149.3153 | 46.316 | 1.3831 | 0.56295 | 0.64397 | 1.3765 | 0.58011 | 0.69042 | 2.2619 | -105.5255 | 90.7571 | 2.8827 | -107.2426 | 90.6676
Line_3 | 0.0010227 | 0.29723 | 0.32526 | 0.0010287 | 0.29636 | 0.32657 | 0.01181 | 3.4321 | 3.7557 | 0.011878 | 3.422 | 3.7709 | -0.0013799 | -1.3274 | -1.5862 | -0.0010073 | 1.399 | 1.7254 | -0.01635 | -1.3191 | -1.5939 | -0.016398 | 1.3243 | 1.7087 | 96.5216 | 31.4045 | -134.2408 | 95.7772 | -148.9542 | 46.0364 | 1.3894 | 0.54525 | 0.59872 | 1.3831 | 0.56295 | 0.64397 | 1.6973 | -103.7746 | 90.8984 | 2.2619 | -105.5255 | 90.7571