## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.5104 | 2.5104 | 0 | 5.3538 | 86.9625 | 86.9625 | 9.8312 | -1e-07 | 11.1547 | -1e-07 | -79.0878 | 100.9122 | 0.17098 | 0 | -30.4793 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -3.9608e-20 | 0 | -7.1066e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0.95144 | 0.95144 | 1.9104 | 0 | 32.9587 | 32.9587 | -1e-07 | 1.4122 | -1e-07 | 1.6023 | 107.0878 | -72.9122 | 0 | 0.064801 | 0 | -24.3037

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.5104 | 2.5104 | 0 | 5.3538 | 86.9625 | 86.9625 | 9.8312 | -1e-07 | 11.1547 | -1e-07 | -79.0878 | 100.9122 | 0.17098 | 0 | -30.4793 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -3.9608e-20 | 0 | -7.1066e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0.95144 | 0.95144 | 1.9104 | 0 | 32.9587 | 32.9587 | -1e-07 | 1.4122 | -1e-07 | 1.6023 | 107.0878 | -72.9122 | 0 | 0.064801 | 0 | -24.3037

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.66616 | 0.66616 | 0 | 1.5044 | 23.0765 | 23.0765 | 15.6527 | -14.9604 | 13.6844 | -12.8989 | -50.2384 | 129.7616 | 0.90096 | 0.856 | -9.0767 | -9.4703
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1563e-09 | 0 | 1.7042e-09 | 0 | 0 | 0 | 0.856 | 0.856 | -9.4703 | -9.4703
Line_2 | 0.35868 | 0.35868 | 0.6829 | 0 | 12.425 | 12.425 | -7.0477 | 7.2484 | -7.9656 | 8.1933 | 122.0311 | -57.9689 | 0.856 | 0.88043 | -9.4703 | -9.4673

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.66616 | 0.66616 | 0 | 1.5044 | 23.0765 | 23.0765 | 15.6527 | -14.9604 | 13.6844 | -12.8989 | -50.2384 | 129.7616 | 0.90096 | 0.856 | -9.0767 | -9.4703
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1563e-09 | 0 | 1.7042e-09 | 0 | 0 | 0 | 0.856 | 0.856 | -9.4703 | -9.4703
Line_2 | 0.35868 | 0.35868 | 0.6829 | 0 | 12.425 | 12.425 | -7.0477 | 7.2484 | -7.9656 | 8.1933 | 122.0311 | -57.9689 | 0.856 | 0.88043 | -9.4703 | -9.4673

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0037 | 2.0037 | 0 | 4.0446 | 69.4115 | 69.4115 | 12.0256 | -1e-07 | 7.1065 | -1e-07 | -74.9546 | 105.0454 | 0.20124 | 0 | -44.3738 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9923e-20 | 0 | -1.9244e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0.77473 | 0.77473 | 1.5638 | 0 | 26.8374 | 26.8374 | -1e-07 | 1.7977 | -1e-07 | 1.0624 | 109.7251 | -70.2749 | 0 | 0.077808 | 0 | -39.6941

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0037 | 2.0037 | 0 | 4.0446 | 69.4115 | 69.4115 | 12.0256 | -1e-07 | 7.1065 | -1e-07 | -74.9546 | 105.0454 | 0.20124 | 0 | -44.3738 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9923e-20 | 0 | -1.9244e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0.77473 | 0.77473 | 1.5638 | 0 | 26.8374 | 26.8374 | -1e-07 | 1.7977 | -1e-07 | 1.0624 | 109.7251 | -70.2749 | 0 | 0.077808 | 0 | -39.6941

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.64236 | 0.64236 | 0 | 1.2966 | 22.2519 | 22.2519 | 12.0826 | -10.8467 | 12.1142 | -11.3839 | -55.2032 | 124.7968 | 0.76891 | 0.70663 | -10.1283 | -8.819
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1884e-09 | 0 | 1.1917e-09 | 0 | 0 | 0 | 0.70663 | 0.70663 | -8.819 | -8.819
Line_2 | 0.24836 | 0.24836 | 0.50133 | 0 | 8.6035 | 8.6035 | -4.5389 | 4.7237 | -4.0447 | 4.1539 | 129.4764 | -50.5236 | 0.70663 | 0.73113 | -8.819 | -9.1961

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.64236 | 0.64236 | 0 | 1.2966 | 22.2519 | 22.2519 | 12.0826 | -10.8467 | 12.1142 | -11.3839 | -55.2032 | 124.7968 | 0.76891 | 0.70663 | -10.1283 | -8.819
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1884e-09 | 0 | 1.1917e-09 | 0 | 0 | 0 | 0.70663 | 0.70663 | -8.819 | -8.819
Line_2 | 0.24836 | 0.24836 | 0.50133 | 0 | 8.6035 | 8.6035 | -4.5389 | 4.7237 | -4.0447 | 4.1539 | 129.4764 | -50.5236 | 0.70663 | 0.73113 | -8.819 | -9.1961

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.31001 | 2.1058 | 2.2509 | 0.31001 | 2.1058 | 2.2509 | 3.5797 | 24.3159 | 25.9915 | 3.5797 | 24.3159 | 25.9915 | -2.5138 | 16.8526 | -13.1938 | 2.5638 | -14.5466 | 15.8285 | -3.486 | -0.38298 | 4.2173 | 3.5428 | 2.9993 | -1.2279 | 128.8812 | -165.3603 | 7.4253 | -51.1188 | 14.6397 | -172.5747 | 1.2006 | 0.69325 | 0.53292 | 1.2216 | 0.61082 | 0.61082 | 3.0859 | -166.6621 | 169.6994 | 2.9893 | -177.0107 | -177.0107
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.5157e-10 | 2.6667e-11 | 2.4913e-10 | -5.5158e-10 | -2.6652e-11 | -2.4915e-10 | -2.5697e-10 | 2.0664e-09 | -2.1949e-09 | 2.5696e-10 | -2.0664e-09 | 2.1949e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2216 | 0.61082 | 0.61082 | 1.2216 | 0.61082 | 0.61082 | 2.9893 | -177.0107 | -177.0107 | 2.9893 | -177.0107 | -177.0107
Line_2 | 0.14786 | 0.81885 | 0.74746 | 0.14786 | 0.81885 | 0.74746 | 1.7074 | 9.4552 | 8.631 | 1.7074 | 9.4552 | 8.631 | -1.2235 | -5.7703 | 5.1586 | 1.2349 | 6.119 | -4.8681 | -1.6892 | 0.24278 | -1.0874 | 1.7021 | 0.15282 | 1.417 | 128.9044 | 5.3986 | -165.1073 | -51.0956 | -174.6014 | 14.8927 | 1.2216 | 0.61082 | 0.61082 | 1.2317 | 0.64736 | 0.58743 | 2.9893 | -177.0107 | -177.0107 | 2.9446 | -173.1708 | 178.663

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.31001 | 2.1058 | 2.2509 | 0.31001 | 2.1058 | 2.2509 | 3.5797 | 24.3159 | 25.9915 | 3.5797 | 24.3159 | 25.9915 | -2.5138 | 16.8526 | -13.1938 | 2.5638 | -14.5466 | 15.8285 | -3.486 | -0.38298 | 4.2173 | 3.5428 | 2.9993 | -1.2279 | 128.8812 | -165.3603 | 7.4253 | -51.1188 | 14.6397 | -172.5747 | 1.2006 | 0.69325 | 0.53292 | 1.2216 | 0.61082 | 0.61082 | 3.0859 | -166.6621 | 169.6994 | 2.9893 | -177.0107 | -177.0107
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.5157e-10 | 2.6667e-11 | 2.4913e-10 | -5.5158e-10 | -2.6652e-11 | -2.4915e-10 | -2.5697e-10 | 2.0664e-09 | -2.1949e-09 | 2.5696e-10 | -2.0664e-09 | 2.1949e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2216 | 0.61082 | 0.61082 | 1.2216 | 0.61082 | 0.61082 | 2.9893 | -177.0107 | -177.0107 | 2.9893 | -177.0107 | -177.0107
Line_2 | 0.14786 | 0.81885 | 0.74746 | 0.14786 | 0.81885 | 0.74746 | 1.7074 | 9.4552 | 8.631 | 1.7074 | 9.4552 | 8.631 | -1.2235 | -5.7703 | 5.1586 | 1.2349 | 6.119 | -4.8681 | -1.6892 | 0.24278 | -1.0874 | 1.7021 | 0.15282 | 1.417 | 128.9044 | 5.3986 | -165.1073 | -51.0956 | -174.6014 | 14.8927 | 1.2216 | 0.61082 | 0.61082 | 1.2317 | 0.64736 | 0.58743 | 2.9893 | -177.0107 | -177.0107 | 2.9446 | -173.1708 | 178.663

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22945 | 1.0051 | 0.99887 | 0.22945 | 1.0051 | 0.99887 | 2.6494 | 11.6059 | 11.534 | 2.6494 | 11.6059 | 11.534 | -1.5228 | 11.4833 | -1.3342 | 1.5502 | -10.958 | 1.853 | -2.7294 | 0.1337 | 8.2873 | 2.7604 | 0.46234 | -7.6986 | 120.9708 | -140.9113 | 25.9443 | -59.0292 | 39.0887 | -154.0557 | 1.1797 | 0.9895 | 0.72776 | 1.1949 | 0.94501 | 0.68654 | 1.8124 | -140.2443 | 125.0898 | 1.6536 | -143.3273 | 129.4774
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1797e-10 | -2.2544e-10 | -1.003e-09 | -4.1797e-10 | 2.2545e-10 | 1.003e-09 | -1.3907e-10 | 1.5093e-09 | -4.5594e-10 | 1.3908e-10 | -1.5093e-09 | 4.5595e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1949 | 0.94501 | 0.68654 | 1.1949 | 0.94501 | 0.68654 | 1.6536 | -143.3273 | 129.4774 | 1.6536 | -143.3273 | 129.4774
Line_2 | 0.11032 | 0.43591 | 0.42495 | 0.11032 | 0.43591 | 0.42495 | 1.2738 | 5.0335 | 4.9069 | 1.2738 | 5.0335 | 4.9069 | -0.73217 | -4.4907 | 0.43405 | 0.7385 | 4.5895 | -0.34015 | -1.3345 | -1.5683 | -3.3407 | 1.3417 | 1.6804 | 3.4472 | 120.4052 | 17.4214 | -147.9255 | -59.5948 | -162.5786 | 32.0745 | 1.1949 | 0.94501 | 0.68654 | 1.2023 | 0.971 | 0.70594 | 1.6536 | -143.3273 | 129.4774 | 1.5753 | -142.4684 | 127.7098

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22945 | 1.0051 | 0.99887 | 0.22945 | 1.0051 | 0.99887 | 2.6494 | 11.6059 | 11.534 | 2.6494 | 11.6059 | 11.534 | -1.5228 | 11.4833 | -1.3342 | 1.5502 | -10.958 | 1.853 | -2.7294 | 0.1337 | 8.2873 | 2.7604 | 0.46234 | -7.6986 | 120.9708 | -140.9113 | 25.9443 | -59.0292 | 39.0887 | -154.0557 | 1.1797 | 0.9895 | 0.72776 | 1.1949 | 0.94501 | 0.68654 | 1.8124 | -140.2443 | 125.0898 | 1.6536 | -143.3273 | 129.4774
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1797e-10 | -2.2544e-10 | -1.003e-09 | -4.1797e-10 | 2.2545e-10 | 1.003e-09 | -1.3907e-10 | 1.5093e-09 | -4.5594e-10 | 1.3908e-10 | -1.5093e-09 | 4.5595e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1949 | 0.94501 | 0.68654 | 1.1949 | 0.94501 | 0.68654 | 1.6536 | -143.3273 | 129.4774 | 1.6536 | -143.3273 | 129.4774
Line_2 | 0.11032 | 0.43591 | 0.42495 | 0.11032 | 0.43591 | 0.42495 | 1.2738 | 5.0335 | 4.9069 | 1.2738 | 5.0335 | 4.9069 | -0.73217 | -4.4907 | 0.43405 | 0.7385 | 4.5895 | -0.34015 | -1.3345 | -1.5683 | -3.3407 | 1.3417 | 1.6804 | 3.4472 | 120.4052 | 17.4214 | -147.9255 | -59.5948 | -162.5786 | 32.0745 | 1.1949 | 0.94501 | 0.68654 | 1.2023 | 0.971 | 0.70594 | 1.6536 | -143.3273 | 129.4774 | 1.5753 | -142.4684 | 127.7098

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13414 | 1.6751 | 1.796 | 0.13414 | 1.6751 | 1.796 | 1.5489 | 19.3425 | 20.7379 | 1.5489 | 19.3425 | 20.7379 | -1.5311 | 12.5274 | -7.2801 | 1.5491 | -9.7259 | 10.5004 | -0.37623 | -0.53384 | 3.899 | 0.38684 | 2.1894 | -1.996 | 169.3329 | -163.9592 | 14.1171 | -10.6671 | 16.0408 | -165.8829 | 1.0179 | 0.64825 | 0.39823 | 1.0308 | 0.51541 | 0.51541 | 3.1383 | -166.3993 | 165.9451 | 3.3545 | -176.6455 | -176.6455
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2293e-10 | -6.5019e-11 | 1.265e-10 | -1.2293e-10 | 6.5023e-11 | -1.2649e-10 | -2.2115e-10 | 1.5785e-09 | -1.6891e-09 | 2.2116e-10 | -1.5785e-09 | 1.6891e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0308 | 0.51541 | 0.51541 | 1.0308 | 0.51541 | 0.51541 | 3.3545 | -176.6455 | -176.6455 | 3.3545 | -176.6455 | -176.6455
Line_2 | 0.062882 | 0.6644 | 0.60441 | 0.062882 | 0.6644 | 0.60441 | 0.7261 | 7.6719 | 6.9791 | 0.7261 | 7.6719 | 6.9791 | -0.73892 | -3.9209 | 3.5514 | 0.74287 | 4.3616 | -3.1867 | -0.11917 | 0.51191 | -0.57149 | 0.12151 | -0.25146 | 0.78703 | 174.1926 | 10.7929 | -167.5038 | -5.8074 | -169.2071 | 12.4962 | 1.0308 | 0.51541 | 0.51541 | 1.0367 | 0.56946 | 0.47032 | 3.3545 | -176.6455 | -176.6455 | 3.4819 | -172.5067 | 178.6232

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13414 | 1.6751 | 1.796 | 0.13414 | 1.6751 | 1.796 | 1.5489 | 19.3425 | 20.7379 | 1.5489 | 19.3425 | 20.7379 | -1.5311 | 12.5274 | -7.2801 | 1.5491 | -9.7259 | 10.5004 | -0.37623 | -0.53384 | 3.899 | 0.38684 | 2.1894 | -1.996 | 169.3329 | -163.9592 | 14.1171 | -10.6671 | 16.0408 | -165.8829 | 1.0179 | 0.64825 | 0.39823 | 1.0308 | 0.51541 | 0.51541 | 3.1383 | -166.3993 | 165.9451 | 3.3545 | -176.6455 | -176.6455
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2293e-10 | -6.5019e-11 | 1.265e-10 | -1.2293e-10 | 6.5023e-11 | -1.2649e-10 | -2.2115e-10 | 1.5785e-09 | -1.6891e-09 | 2.2116e-10 | -1.5785e-09 | 1.6891e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0308 | 0.51541 | 0.51541 | 1.0308 | 0.51541 | 0.51541 | 3.3545 | -176.6455 | -176.6455 | 3.3545 | -176.6455 | -176.6455
Line_2 | 0.062882 | 0.6644 | 0.60441 | 0.062882 | 0.6644 | 0.60441 | 0.7261 | 7.6719 | 6.9791 | 0.7261 | 7.6719 | 6.9791 | -0.73892 | -3.9209 | 3.5514 | 0.74287 | 4.3616 | -3.1867 | -0.11917 | 0.51191 | -0.57149 | 0.12151 | -0.25146 | 0.78703 | 174.1926 | 10.7929 | -167.5038 | -5.8074 | -169.2071 | 12.4962 | 1.0308 | 0.51541 | 0.51541 | 1.0367 | 0.56946 | 0.47032 | 3.3545 | -176.6455 | -176.6455 | 3.4819 | -172.5067 | 178.6232

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.06736 | 0.84118 | 0.90186 | 0.06736 | 0.84118 | 0.90186 | 0.77781 | 9.7131 | 10.4138 | 0.77781 | 9.7131 | 10.4138 | -0.77585 | 8.2775 | -0.2676 | 0.78038 | -7.571 | 1.0797 | 0.058323 | 0.93788 | 6.3663 | -0.055646 | -0.52041 | -5.8864 | -174.0301 | -147.3222 | 30.7541 | 5.9699 | 32.6778 | -149.2459 | 1.0003 | 0.85765 | 0.61187 | 1.0059 | 0.7813 | 0.57468 | 1.6709 | -140.8578 | 123.1611 | 1.8913 | -143.3901 | 131.1475
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3585e-11 | -3.911e-10 | -8.5645e-10 | -2.3584e-11 | 3.9109e-10 | 8.5646e-10 | -1.2171e-10 | 1.1373e-09 | -4.0738e-10 | 1.2172e-10 | -1.1373e-09 | 4.0738e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.7813 | 0.57468 | 1.0059 | 0.7813 | 0.57468 | 1.8913 | -143.3901 | 131.1475 | 1.8913 | -143.3901 | 131.1475
Line_2 | 0.031577 | 0.33364 | 0.30351 | 0.031577 | 0.33364 | 0.30351 | 0.36462 | 3.8526 | 3.5047 | 0.36462 | 3.8526 | 3.5047 | -0.3623 | -2.9715 | 0.41924 | 0.3633 | 3.0826 | -0.32727 | 0.056983 | -0.48021 | -1.97 | -0.056395 | 0.54588 | 2.0243 | -169.1704 | 27.43 | -150.8668 | 10.8296 | -152.57 | 29.1332 | 1.0059 | 0.7813 | 0.57468 | 1.0083 | 0.81259 | 0.5851 | 1.8913 | -143.3901 | 131.1475 | 2.006 | -142.5279 | 128.3167

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.06736 | 0.84118 | 0.90186 | 0.06736 | 0.84118 | 0.90186 | 0.77781 | 9.7131 | 10.4138 | 0.77781 | 9.7131 | 10.4138 | -0.77585 | 8.2775 | -0.2676 | 0.78038 | -7.571 | 1.0797 | 0.058323 | 0.93788 | 6.3663 | -0.055646 | -0.52041 | -5.8864 | -174.0301 | -147.3222 | 30.7541 | 5.9699 | 32.6778 | -149.2459 | 1.0003 | 0.85765 | 0.61187 | 1.0059 | 0.7813 | 0.57468 | 1.6709 | -140.8578 | 123.1611 | 1.8913 | -143.3901 | 131.1475
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3585e-11 | -3.911e-10 | -8.5645e-10 | -2.3584e-11 | 3.9109e-10 | 8.5646e-10 | -1.2171e-10 | 1.1373e-09 | -4.0738e-10 | 1.2172e-10 | -1.1373e-09 | 4.0738e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.7813 | 0.57468 | 1.0059 | 0.7813 | 0.57468 | 1.8913 | -143.3901 | 131.1475 | 1.8913 | -143.3901 | 131.1475
Line_2 | 0.031577 | 0.33364 | 0.30351 | 0.031577 | 0.33364 | 0.30351 | 0.36462 | 3.8526 | 3.5047 | 0.36462 | 3.8526 | 3.5047 | -0.3623 | -2.9715 | 0.41924 | 0.3633 | 3.0826 | -0.32727 | 0.056983 | -0.48021 | -1.97 | -0.056395 | 0.54588 | 2.0243 | -169.1704 | 27.43 | -150.8668 | 10.8296 | -152.57 | 29.1332 | 1.0059 | 0.7813 | 0.57468 | 1.0083 | 0.81259 | 0.5851 | 1.8913 | -143.3901 | 131.1475 | 2.006 | -142.5279 | 128.3167

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2464 | 0.47615 | 0.15668 | 2.2449 | 0.47725 | 0.15793 | 25.9388 | 5.4981 | 1.8092 | 25.922 | 5.5108 | 1.8237 | 6.7497 | -6.0927 | 1.9613 | -6.3243e-12 | 6.0925 | -2.2867 | 4.9968 | -1.8024 | -0.37496 | 4.4332e-11 | 0.96119 | 0.34339 | -71.7002 | 52.3052 | 127.7242 | 108.3087 | -127.5738 | -52.5697 | 0.32376 | 1.1556 | 1.1037 | 0 | 1.1192 | 1.268 | -35.1876 | -111.215 | 116.9011 | 0 | -118.6083 | 118.8901
Line_1 | 0.0019069 | 0.0019069 | 0.0019069 | 0 | 0 | 0 | 0.022019 | 0.022019 | 0.022019 | 0 | 0 | 0 | 2.06e-14 | 0.02281 | -0.0228 | -3.5016e-13 | -7.9213e-11 | -7.8352e-10 | -3.1978e-14 | -0.0093305 | -0.016114 | 1.2776e-12 | 1.087e-10 | -9.9394e-11 | -96.3612 | -96.3612 | -96.3612 | 0 | 0 | 0 | 0 | 1.1192 | 1.268 | 0.00032841 | 1.119 | 1.2683 | 0 | -118.6083 | 118.8901 | 105.3105 | -118.62 | 118.8866
Line_2 | 1.0506 | 0.15608 | 0.11945 | 1.0523 | 0.15757 | 0.11982 | 12.1314 | 1.8022 | 1.3793 | 12.1507 | 1.8195 | 1.3836 | -4.9117e-12 | -2.0149 | 1.0895 | 1.9311 | 2.1691 | -1.0025 | 2.0373e-11 | 0.095025 | -1.3681 | 1.043 | 0.08025 | 1.2413 | 102.8733 | 64.0919 | 170.3575 | -77.1433 | -115.6148 | -10.4359 | 0 | 1.1192 | 1.268 | 0.18063 | 1.193 | 1.1532 | 0 | -118.6083 | 118.8901 | -48.7704 | -113.496 | 118.4892

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2464 | 0.47615 | 0.15668 | 2.2449 | 0.47725 | 0.15793 | 25.9388 | 5.4981 | 1.8092 | 25.922 | 5.5108 | 1.8237 | 6.7497 | -6.0927 | 1.9613 | -6.3243e-12 | 6.0925 | -2.2867 | 4.9968 | -1.8024 | -0.37496 | 4.4332e-11 | 0.96119 | 0.34339 | -71.7002 | 52.3052 | 127.7242 | 108.3087 | -127.5738 | -52.5697 | 0.32376 | 1.1556 | 1.1037 | 0 | 1.1192 | 1.268 | -35.1876 | -111.215 | 116.9011 | 0 | -118.6083 | 118.8901
Line_1 | 0.0019069 | 0.0019069 | 0.0019069 | 0 | 0 | 0 | 0.022019 | 0.022019 | 0.022019 | 0 | 0 | 0 | 2.06e-14 | 0.02281 | -0.0228 | -3.5016e-13 | -7.9213e-11 | -7.8352e-10 | -3.1978e-14 | -0.0093305 | -0.016114 | 1.2776e-12 | 1.087e-10 | -9.9394e-11 | -96.3612 | -96.3612 | -96.3612 | 0 | 0 | 0 | 0 | 1.1192 | 1.268 | 0.00032841 | 1.119 | 1.2683 | 0 | -118.6083 | 118.8901 | 105.3105 | -118.62 | 118.8866
Line_2 | 1.0506 | 0.15608 | 0.11945 | 1.0523 | 0.15757 | 0.11982 | 12.1314 | 1.8022 | 1.3793 | 12.1507 | 1.8195 | 1.3836 | -4.9117e-12 | -2.0149 | 1.0895 | 1.9311 | 2.1691 | -1.0025 | 2.0373e-11 | 0.095025 | -1.3681 | 1.043 | 0.08025 | 1.2413 | 102.8733 | 64.0919 | 170.3575 | -77.1433 | -115.6148 | -10.4359 | 0 | 1.1192 | 1.268 | 0.18063 | 1.193 | 1.1532 | 0 | -118.6083 | 118.8901 | -48.7704 | -113.496 | 118.4892

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.59994 | 0.18556 | 0.17743 | 0.59951 | 0.18553 | 0.17751 | 6.9275 | 2.1426 | 2.0488 | 6.9225 | 2.1423 | 2.0497 | 5.6348 | -1.9051 | 0.48448 | -5.0755 | 2.0084 | -0.56142 | 3.3756 | -1.5588 | -2.3357 | -3.0458 | 1.4868 | 2.4284 | -40.5241 | 23.3141 | -162.7732 | 139.4931 | -156.5411 | 17.0773 | 0.94818 | 1.1489 | 1.1643 | 0.85507 | 1.1664 | 1.216 | -9.6001 | -117.395 | 118.9452 | -9.5385 | -120.0295 | 120.095
Line_1 | 0.00060081 | 0.00060081 | 0.00060081 | 0 | 0 | 0 | 0.0069376 | 0.0069376 | 0.0069376 | 0 | 0 | 0 | 0.0025418 | 0.0056353 | -0.0081761 | 7.2045e-10 | -2.8393e-10 | -5.1774e-10 | 0.00536 | -0.0058075 | -0.0020784 | -5.7117e-10 | -2.8091e-12 | 8.187e-12 | -74.1675 | -74.1675 | -74.1675 | 0 | 0 | 0 | 0.85507 | 1.1664 | 1.216 | 0.855 | 1.1664 | 1.2161 | -9.5385 | -120.0295 | 120.095 | -9.5338 | -120.0342 | 120.0956
Line_2 | 0.39326 | 0.068105 | 0.10895 | 0.39379 | 0.067987 | 0.10895 | 4.541 | 0.7864 | 1.2581 | 4.5471 | 0.78505 | 1.2581 | -2.4261 | -0.61116 | 0.1433 | 2.6639 | 0.5997 | -0.12396 | -3.0316 | -0.68403 | -1.5231 | 3.1897 | 0.70322 | 1.4883 | 119.1307 | 11.7506 | -155.2796 | -60.8754 | -167.8102 | 24.4392 | 0.85507 | 1.1664 | 1.216 | 0.91393 | 1.1773 | 1.1871 | -9.5385 | -120.0295 | 120.095 | -10.743 | -118.2676 | 119.2004

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.59994 | 0.18556 | 0.17743 | 0.59951 | 0.18553 | 0.17751 | 6.9275 | 2.1426 | 2.0488 | 6.9225 | 2.1423 | 2.0497 | 5.6348 | -1.9051 | 0.48448 | -5.0755 | 2.0084 | -0.56142 | 3.3756 | -1.5588 | -2.3357 | -3.0458 | 1.4868 | 2.4284 | -40.5241 | 23.3141 | -162.7732 | 139.4931 | -156.5411 | 17.0773 | 0.94818 | 1.1489 | 1.1643 | 0.85507 | 1.1664 | 1.216 | -9.6001 | -117.395 | 118.9452 | -9.5385 | -120.0295 | 120.095
Line_1 | 0.00060081 | 0.00060081 | 0.00060081 | 0 | 0 | 0 | 0.0069376 | 0.0069376 | 0.0069376 | 0 | 0 | 0 | 0.0025418 | 0.0056353 | -0.0081761 | 7.2045e-10 | -2.8393e-10 | -5.1774e-10 | 0.00536 | -0.0058075 | -0.0020784 | -5.7117e-10 | -2.8091e-12 | 8.187e-12 | -74.1675 | -74.1675 | -74.1675 | 0 | 0 | 0 | 0.85507 | 1.1664 | 1.216 | 0.855 | 1.1664 | 1.2161 | -9.5385 | -120.0295 | 120.095 | -9.5338 | -120.0342 | 120.0956
Line_2 | 0.39326 | 0.068105 | 0.10895 | 0.39379 | 0.067987 | 0.10895 | 4.541 | 0.7864 | 1.2581 | 4.5471 | 0.78505 | 1.2581 | -2.4261 | -0.61116 | 0.1433 | 2.6639 | 0.5997 | -0.12396 | -3.0316 | -0.68403 | -1.5231 | 3.1897 | 0.70322 | 1.4883 | 119.1307 | 11.7506 | -155.2796 | -60.8754 | -167.8102 | 24.4392 | 0.85507 | 1.1664 | 1.216 | 0.91393 | 1.1773 | 1.1871 | -9.5385 | -120.0295 | 120.095 | -10.743 | -118.2676 | 119.2004

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7016 | 0.39415 | 0.24133 | 1.7004 | 0.39533 | 0.24251 | 19.6482 | 4.5512 | 2.7867 | 19.6349 | 4.5648 | 2.8003 | 6.7412 | -4.2759 | 2.1636 | 2.8123e-11 | 3.8987 | -2.4448 | 3.4586 | 0.98342 | 1.4302 | 2.7023e-11 | -1.7151 | -1.9063 | -65.3917 | 82.6998 | 81.8875 | 114.6216 | -97.2612 | -98.0449 | 0.38562 | 0.96405 | 0.9307 | 0 | 0.93307 | 1.1071 | -38.2316 | -110.2524 | 115.3535 | 0 | -121.0071 | 119.8994
Line_1 | 0.0017242 | 0.0017242 | 0.0017242 | 0 | 0 | 0 | 0.01991 | 0.01991 | 0.01991 | 0 | 0 | 0 | -8.6737e-15 | 0.017205 | -0.01719 | -9.8335e-14 | 2.2987e-10 | -4.3686e-10 | -3.8584e-14 | -0.0070056 | -0.013797 | 1.9813e-12 | -6.1203e-11 | -8.0185e-12 | -98.8522 | -98.8522 | -98.8522 | 0 | 0 | 0 | 0 | 0.93307 | 1.1071 | 0.00054101 | 0.93262 | 1.1076 | 0 | -121.0071 | 119.8994 | 92.8105 | -121.0256 | 119.8867
Line_2 | 0.8166 | 0.138 | 0.098075 | 0.81792 | 0.13912 | 0.09866 | 9.4292 | 1.5935 | 1.1325 | 9.4445 | 1.6065 | 1.1392 | 1.269e-11 | -0.44861 | 0.94376 | 2.319 | 0.76958 | -0.77938 | 1.3775e-11 | 1.4176 | -0.82534 | 0.83994 | -1.4399 | 0.70815 | 111.1313 | 131.4323 | 161.0701 | -68.894 | -48.8964 | -19.6541 | 0 | 0.93307 | 1.1071 | 0.26115 | 1.0163 | 0.92435 | 0 | -121.0071 | 119.8994 | -48.9839 | -110.7738 | 118.0872

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7016 | 0.39415 | 0.24133 | 1.7004 | 0.39533 | 0.24251 | 19.6482 | 4.5512 | 2.7867 | 19.6349 | 4.5648 | 2.8003 | 6.7412 | -4.2759 | 2.1636 | 2.8123e-11 | 3.8987 | -2.4448 | 3.4586 | 0.98342 | 1.4302 | 2.7023e-11 | -1.7151 | -1.9063 | -65.3917 | 82.6998 | 81.8875 | 114.6216 | -97.2612 | -98.0449 | 0.38562 | 0.96405 | 0.9307 | 0 | 0.93307 | 1.1071 | -38.2316 | -110.2524 | 115.3535 | 0 | -121.0071 | 119.8994
Line_1 | 0.0017242 | 0.0017242 | 0.0017242 | 0 | 0 | 0 | 0.01991 | 0.01991 | 0.01991 | 0 | 0 | 0 | -8.6737e-15 | 0.017205 | -0.01719 | -9.8335e-14 | 2.2987e-10 | -4.3686e-10 | -3.8584e-14 | -0.0070056 | -0.013797 | 1.9813e-12 | -6.1203e-11 | -8.0185e-12 | -98.8522 | -98.8522 | -98.8522 | 0 | 0 | 0 | 0 | 0.93307 | 1.1071 | 0.00054101 | 0.93262 | 1.1076 | 0 | -121.0071 | 119.8994 | 92.8105 | -121.0256 | 119.8867
Line_2 | 0.8166 | 0.138 | 0.098075 | 0.81792 | 0.13912 | 0.09866 | 9.4292 | 1.5935 | 1.1325 | 9.4445 | 1.6065 | 1.1392 | 1.269e-11 | -0.44861 | 0.94376 | 2.319 | 0.76958 | -0.77938 | 1.3775e-11 | 1.4176 | -0.82534 | 0.83994 | -1.4399 | 0.70815 | 111.1313 | 131.4323 | 161.0701 | -68.894 | -48.8964 | -19.6541 | 0 | 0.93307 | 1.1071 | 0.26115 | 1.0163 | 0.92435 | 0 | -121.0071 | 119.8994 | -48.9839 | -110.7738 | 118.0872

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55994 | 0.1297 | 0.079415 | 0.55956 | 0.13009 | 0.079803 | 6.4656 | 1.4977 | 0.91701 | 6.4613 | 1.5021 | 0.92148 | 4.2825 | -1.131 | 0.86197 | -3.5507 | 1.0916 | -0.89562 | 3.1416 | 0.90756 | 0.27276 | -2.7644 | -0.98966 | -0.32414 | -46.6487 | 101.4429 | 100.6305 | 133.3646 | -78.5181 | -79.3018 | 0.82146 | 0.96828 | 0.98592 | 0.69646 | 0.98091 | 1.0336 | -10.3846 | -117.3013 | 118.1897 | -8.7326 | -120.7128 | 120.5941
Line_1 | 0.00056739 | 0.00056739 | 0.00056739 | 0 | 0 | 0 | 0.0065516 | 0.0065516 | 0.0065516 | 0 | 0 | 0 | 0.0014572 | 0.0048792 | -0.0063347 | 7.4577e-10 | 6.8767e-11 | -1.2835e-10 | 0.004324 | -0.0041825 | -0.0023941 | -3.871e-10 | -4.5257e-11 | 3.9205e-11 | -80.1092 | -80.1092 | -80.1092 | 0 | 0 | 0 | 0.69646 | 0.98091 | 1.0336 | 0.69637 | 0.9808 | 1.0338 | -8.7326 | -120.7128 | 120.5941 | -8.72 | -120.721 | 120.5926
Line_2 | 0.26872 | 0.045413 | 0.032273 | 0.26915 | 0.045782 | 0.032466 | 3.1029 | 0.52438 | 0.37266 | 3.1079 | 0.52864 | 0.37488 | -1.6212 | 0.0079733 | 0.19713 | 1.8743 | 0.028412 | -0.18296 | -1.4289 | 0.51431 | -0.33093 | 1.5229 | -0.51998 | 0.31846 | 129.8744 | 150.1754 | 179.8131 | -50.1509 | -30.1534 | -0.91103 | 0.69646 | 0.98091 | 1.0336 | 0.77705 | 0.98508 | 0.97969 | -8.7326 | -120.7128 | 120.5941 | -11.0565 | -117.0258 | 118.9667

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55994 | 0.1297 | 0.079415 | 0.55956 | 0.13009 | 0.079803 | 6.4656 | 1.4977 | 0.91701 | 6.4613 | 1.5021 | 0.92148 | 4.2825 | -1.131 | 0.86197 | -3.5507 | 1.0916 | -0.89562 | 3.1416 | 0.90756 | 0.27276 | -2.7644 | -0.98966 | -0.32414 | -46.6487 | 101.4429 | 100.6305 | 133.3646 | -78.5181 | -79.3018 | 0.82146 | 0.96828 | 0.98592 | 0.69646 | 0.98091 | 1.0336 | -10.3846 | -117.3013 | 118.1897 | -8.7326 | -120.7128 | 120.5941
Line_1 | 0.00056739 | 0.00056739 | 0.00056739 | 0 | 0 | 0 | 0.0065516 | 0.0065516 | 0.0065516 | 0 | 0 | 0 | 0.0014572 | 0.0048792 | -0.0063347 | 7.4577e-10 | 6.8767e-11 | -1.2835e-10 | 0.004324 | -0.0041825 | -0.0023941 | -3.871e-10 | -4.5257e-11 | 3.9205e-11 | -80.1092 | -80.1092 | -80.1092 | 0 | 0 | 0 | 0.69646 | 0.98091 | 1.0336 | 0.69637 | 0.9808 | 1.0338 | -8.7326 | -120.7128 | 120.5941 | -8.72 | -120.721 | 120.5926
Line_2 | 0.26872 | 0.045413 | 0.032273 | 0.26915 | 0.045782 | 0.032466 | 3.1029 | 0.52438 | 0.37266 | 3.1079 | 0.52864 | 0.37488 | -1.6212 | 0.0079733 | 0.19713 | 1.8743 | 0.028412 | -0.18296 | -1.4289 | 0.51431 | -0.33093 | 1.5229 | -0.51998 | 0.31846 | 129.8744 | 150.1754 | 179.8131 | -50.1509 | -30.1534 | -0.91103 | 0.69646 | 0.98091 | 1.0336 | 0.77705 | 0.98508 | 0.97969 | -8.7326 | -120.7128 | 120.5941 | -11.0565 | -117.0258 | 118.9667

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.27336 | 2.6128 | 2.1212 | 0.27386 | 2.6123 | 2.1205 | 3.1565 | 30.1706 | 24.4931 | 3.1623 | 30.1642 | 24.4852 | -3.0531 | 8.395 | 1.2751 | 3.2964 | -2.2665e-11 | -2.7369e-11 | 1.3855 | 1.2845 | 7.0475 | -1.9064 | 4.35e-11 | 2.9554e-11 | -150.446 | 170.0608 | 36.9175 | 29.8622 | -9.9074 | -143.1203 | 1.0622 | 0.28149 | 0.2924 | 1.2042 | 0 | 0 | 5.1463 | 178.7601 | 116.6622 | -0.18009 | 0 | 0
Line_1 | 0.0019872 | 0.0019872 | 0.0019872 | 0 | 0 | 0 | 0.022946 | 0.022946 | 0.022946 | 0 | 0 | 0 | 1.0947e-05 | 3.5523e-14 | -6.6296e-15 | -4.607e-10 | 8.5945e-13 | -1.3655e-12 | -0.027632 | 1.1416e-14 | -3.7161e-14 | -1.6549e-11 | 1.0798e-12 | 2.0477e-13 | 89.7972 | 89.7972 | 89.7972 | 0 | 0 | 0 | 1.2042 | 0 | 0 | 1.2043 | 0.00034224 | 0.00034224 | -0.18009 | 0 | 0 | -0.19522 | -68.5311 | -68.5311
Line_2 | 0.047043 | 1.0894 | 0.93138 | 0.047463 | 1.0903 | 0.93266 | 0.54321 | 12.5792 | 10.7547 | 0.54806 | 12.5898 | 10.7694 | -0.60857 | -1.3181e-11 | -7.4315e-12 | 0.5926 | 1.9044 | 0.89492 | 0.23986 | 1.5642e-11 | 1.6056e-11 | -0.19791 | -0.11358 | 1.7383 | -158.6685 | -22.5075 | -125.1552 | 23.4145 | 157.4129 | 54.9199 | 1.2042 | 0 | 0 | 1.14 | 0.15154 | 0.18154 | -0.18009 | 0 | 0 | 4.9467 | 153.9999 | 117.679

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.27336 | 2.6128 | 2.1212 | 0.27386 | 2.6123 | 2.1205 | 3.1565 | 30.1706 | 24.4931 | 3.1623 | 30.1642 | 24.4852 | -3.0531 | 8.395 | 1.2751 | 3.2964 | -2.2665e-11 | -2.7369e-11 | 1.3855 | 1.2845 | 7.0475 | -1.9064 | 4.35e-11 | 2.9554e-11 | -150.446 | 170.0608 | 36.9175 | 29.8622 | -9.9074 | -143.1203 | 1.0622 | 0.28149 | 0.2924 | 1.2042 | 0 | 0 | 5.1463 | 178.7601 | 116.6622 | -0.18009 | 0 | 0
Line_1 | 0.0019872 | 0.0019872 | 0.0019872 | 0 | 0 | 0 | 0.022946 | 0.022946 | 0.022946 | 0 | 0 | 0 | 1.0947e-05 | 3.5523e-14 | -6.6296e-15 | -4.607e-10 | 8.5945e-13 | -1.3655e-12 | -0.027632 | 1.1416e-14 | -3.7161e-14 | -1.6549e-11 | 1.0798e-12 | 2.0477e-13 | 89.7972 | 89.7972 | 89.7972 | 0 | 0 | 0 | 1.2042 | 0 | 0 | 1.2043 | 0.00034224 | 0.00034224 | -0.18009 | 0 | 0 | -0.19522 | -68.5311 | -68.5311
Line_2 | 0.047043 | 1.0894 | 0.93138 | 0.047463 | 1.0903 | 0.93266 | 0.54321 | 12.5792 | 10.7547 | 0.54806 | 12.5898 | 10.7694 | -0.60857 | -1.3181e-11 | -7.4315e-12 | 0.5926 | 1.9044 | 0.89492 | 0.23986 | 1.5642e-11 | 1.6056e-11 | -0.19791 | -0.11358 | 1.7383 | -158.6685 | -22.5075 | -125.1552 | 23.4145 | 157.4129 | 54.9199 | 1.2042 | 0 | 0 | 1.14 | 0.15154 | 0.18154 | -0.18009 | 0 | 0 | 4.9467 | 153.9999 | 117.679

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1059 | 0.69396 | 0.57805 | 0.10544 | 0.6939 | 0.57777 | 1.2229 | 8.0132 | 6.6747 | 1.2175 | 8.0125 | 6.6715 | -0.85001 | 6.7 | 4.0916 | 0.91187 | -6.1244 | -3.9355 | -1.0956 | 3.3629 | 4.5328 | 1.1304 | -3.3787 | -3.965 | 128.9216 | -158.3692 | 65.2531 | -51.035 | 21.6692 | -114.7845 | 1.134 | 0.93553 | 0.91484 | 1.1929 | 0.87296 | 0.83737 | 1.1169 | -131.7156 | 113.182 | 0.073245 | -129.4461 | 110.4294
Line_1 | 0.00060014 | 0.00060014 | 0.00060014 | 0 | 0 | 0 | 0.0069298 | 0.0069298 | 0.0069298 | 0 | 0 | 0 | -0.0025351 | -0.0032612 | 0.0057973 | -4.0659e-10 | 6.7899e-10 | 7.5954e-10 | -0.0078681 | 0.0050951 | 0.00025285 | 5.828e-12 | -5.7746e-10 | -5.6161e-10 | 107.932 | 107.932 | 107.932 | 0 | 0 | 0 | 1.1929 | 0.87296 | 0.83737 | 1.193 | 0.87298 | 0.83727 | 0.073245 | -129.4461 | 110.4294 | 0.069417 | -129.4394 | 110.4271
Line_2 | 0.063171 | 0.39458 | 0.36019 | 0.062649 | 0.39486 | 0.36053 | 0.72943 | 4.5562 | 4.1591 | 0.72341 | 4.5595 | 4.1631 | -0.21567 | -2.2569 | -2.5152 | 0.19384 | 2.4773 | 2.6235 | -0.84298 | -3.2751 | -2.409 | 0.82214 | 3.284 | 2.633 | 104.4244 | -4.8743 | -113.3357 | -75.68 | 175.0597 | 66.7294 | 1.1929 | 0.87296 | 0.83737 | 1.1676 | 0.90222 | 0.89282 | 0.073245 | -129.4461 | 110.4294 | 1.0535 | -131.9689 | 111.8328

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1059 | 0.69396 | 0.57805 | 0.10544 | 0.6939 | 0.57777 | 1.2229 | 8.0132 | 6.6747 | 1.2175 | 8.0125 | 6.6715 | -0.85001 | 6.7 | 4.0916 | 0.91187 | -6.1244 | -3.9355 | -1.0956 | 3.3629 | 4.5328 | 1.1304 | -3.3787 | -3.965 | 128.9216 | -158.3692 | 65.2531 | -51.035 | 21.6692 | -114.7845 | 1.134 | 0.93553 | 0.91484 | 1.1929 | 0.87296 | 0.83737 | 1.1169 | -131.7156 | 113.182 | 0.073245 | -129.4461 | 110.4294
Line_1 | 0.00060014 | 0.00060014 | 0.00060014 | 0 | 0 | 0 | 0.0069298 | 0.0069298 | 0.0069298 | 0 | 0 | 0 | -0.0025351 | -0.0032612 | 0.0057973 | -4.0659e-10 | 6.7899e-10 | 7.5954e-10 | -0.0078681 | 0.0050951 | 0.00025285 | 5.828e-12 | -5.7746e-10 | -5.6161e-10 | 107.932 | 107.932 | 107.932 | 0 | 0 | 0 | 1.1929 | 0.87296 | 0.83737 | 1.193 | 0.87298 | 0.83727 | 0.073245 | -129.4461 | 110.4294 | 0.069417 | -129.4394 | 110.4271
Line_2 | 0.063171 | 0.39458 | 0.36019 | 0.062649 | 0.39486 | 0.36053 | 0.72943 | 4.5562 | 4.1591 | 0.72341 | 4.5595 | 4.1631 | -0.21567 | -2.2569 | -2.5152 | 0.19384 | 2.4773 | 2.6235 | -0.84298 | -3.2751 | -2.409 | 0.82214 | 3.284 | 2.633 | 104.4244 | -4.8743 | -113.3357 | -75.68 | 175.0597 | 66.7294 | 1.1929 | 0.87296 | 0.83737 | 1.1676 | 0.90222 | 0.89282 | 0.073245 | -129.4461 | 110.4294 | 1.0535 | -131.9689 | 111.8328

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32642 | 2.073 | 1.6274 | 0.3274 | 2.0726 | 1.6269 | 3.7692 | 23.9367 | 18.7921 | 3.7805 | 23.9328 | 18.7862 | -1.5695 | 8.789 | 1.3213 | 1.5396 | -9.925e-12 | -7.3805e-12 | 2.9206 | -0.082499 | 5.4288 | -3.6809 | -3.9156e-12 | -5.7826e-12 | -113.7243 | 177.1611 | 38.0727 | 66.4052 | -2.8064 | -141.9665 | 0.87965 | 0.36719 | 0.29732 | 1.0554 | 0 | 0 | 4.5291 | 176.6233 | 114.3939 | -0.89738 | 0 | 0
Line_1 | 0.0017416 | 0.0017416 | 0.0017416 | 0 | 0 | 0 | 0.020111 | 0.020111 | 0.020111 | 0 | 0 | 0 | 1.6145e-05 | -3.0171e-15 | 9.7819e-15 | -2.1538e-10 | 1.5175e-12 | -1.8925e-12 | -0.021225 | 8.4427e-15 | -2.2488e-15 | -6.259e-11 | 1.3072e-12 | 6.6156e-13 | 89.059 | 89.059 | 89.059 | 0 | 0 | 0 | 1.0554 | 0 | 0 | 1.0555 | 0.00054648 | 0.00054648 | -0.89738 | 0 | 0 | -0.92644 | -79.2782 | -79.2782
Line_2 | 0.062966 | 0.93116 | 0.64529 | 0.064238 | 0.93182 | 0.64626 | 0.72707 | 10.7521 | 7.4511 | 0.74175 | 10.7597 | 7.4624 | 0.47843 | -4.0166e-12 | -3.5445e-12 | -0.34394 | 2.5455 | 0.75825 | 0.59995 | -2.6161e-12 | -1.1252e-12 | -0.59749 | -0.51484 | 1.5679 | -52.3268 | -14.3541 | -121.4994 | 127.1728 | 165.5707 | 58.5881 | 1.0554 | 0 | 0 | 0.92943 | 0.24137 | 0.23339 | -0.89738 | 0 | 0 | 7.2465 | 154.1366 | 122.7796

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32642 | 2.073 | 1.6274 | 0.3274 | 2.0726 | 1.6269 | 3.7692 | 23.9367 | 18.7921 | 3.7805 | 23.9328 | 18.7862 | -1.5695 | 8.789 | 1.3213 | 1.5396 | -9.925e-12 | -7.3805e-12 | 2.9206 | -0.082499 | 5.4288 | -3.6809 | -3.9156e-12 | -5.7826e-12 | -113.7243 | 177.1611 | 38.0727 | 66.4052 | -2.8064 | -141.9665 | 0.87965 | 0.36719 | 0.29732 | 1.0554 | 0 | 0 | 4.5291 | 176.6233 | 114.3939 | -0.89738 | 0 | 0
Line_1 | 0.0017416 | 0.0017416 | 0.0017416 | 0 | 0 | 0 | 0.020111 | 0.020111 | 0.020111 | 0 | 0 | 0 | 1.6145e-05 | -3.0171e-15 | 9.7819e-15 | -2.1538e-10 | 1.5175e-12 | -1.8925e-12 | -0.021225 | 8.4427e-15 | -2.2488e-15 | -6.259e-11 | 1.3072e-12 | 6.6156e-13 | 89.059 | 89.059 | 89.059 | 0 | 0 | 0 | 1.0554 | 0 | 0 | 1.0555 | 0.00054648 | 0.00054648 | -0.89738 | 0 | 0 | -0.92644 | -79.2782 | -79.2782
Line_2 | 0.062966 | 0.93116 | 0.64529 | 0.064238 | 0.93182 | 0.64626 | 0.72707 | 10.7521 | 7.4511 | 0.74175 | 10.7597 | 7.4624 | 0.47843 | -4.0166e-12 | -3.5445e-12 | -0.34394 | 2.5455 | 0.75825 | 0.59995 | -2.6161e-12 | -1.1252e-12 | -0.59749 | -0.51484 | 1.5679 | -52.3268 | -14.3541 | -121.4994 | 127.1728 | 165.5707 | 58.5881 | 1.0554 | 0 | 0 | 0.92943 | 0.24137 | 0.23339 | -0.89738 | 0 | 0 | 7.2465 | 154.1366 | 122.7796

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11096 | 0.64936 | 0.56371 | 0.11128 | 0.6493 | 0.56351 | 1.2813 | 7.4982 | 6.5092 | 1.2849 | 7.4974 | 6.5068 | -0.22263 | 5.2669 | 2.983 | 0.21741 | -4.4258 | -2.7536 | 1.2016 | 3.0235 | 4.1202 | -1.2868 | -3.0843 | -3.4867 | -99.7282 | -163.0799 | 58.8533 | 80.3927 | 16.9543 | -121.1807 | 0.95377 | 0.80993 | 0.78146 | 1.0156 | 0.71951 | 0.68281 | 0.7684 | -133.2217 | 112.9484 | -0.017341 | -128.1737 | 110.5193
Line_1 | 0.0005605 | 0.0005605 | 0.0005605 | 0 | 0 | 0 | 0.0064722 | 0.0064722 | 0.0064721 | 0 | 0 | 0 | -0.0014203 | -0.0029536 | 0.0043756 | -5.848e-11 | 7.1313e-10 | 7.6017e-10 | -0.006418 | 0.0036003 | 0.00061947 | -1.7148e-12 | -3.7456e-10 | -4.1233e-10 | 102.4614 | 102.4614 | 102.4614 | 0 | 0 | 0 | 1.0156 | 0.71951 | 0.68281 | 1.0157 | 0.71959 | 0.68263 | -0.017341 | -128.1737 | 110.5193 | -0.026394 | -128.1613 | 110.5184
Line_2 | 0.022331 | 0.28928 | 0.22854 | 0.022754 | 0.28945 | 0.22888 | 0.25785 | 3.3403 | 2.639 | 0.26274 | 3.3423 | 2.6429 | 0.18814 | -1.6286 | -1.4927 | -0.17489 | 1.868 | 1.5991 | 0.18217 | -1.7675 | -1.0094 | -0.18331 | 1.7022 | 1.187 | -44.0934 | 4.4841 | -103.5492 | 135.5464 | -175.5975 | 76.5238 | 1.0156 | 0.71951 | 0.68281 | 0.96429 | 0.75614 | 0.75354 | -0.017341 | -128.1737 | 110.5193 | 1.8932 | -133.2569 | 113.109

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11096 | 0.64936 | 0.56371 | 0.11128 | 0.6493 | 0.56351 | 1.2813 | 7.4982 | 6.5092 | 1.2849 | 7.4974 | 6.5068 | -0.22263 | 5.2669 | 2.983 | 0.21741 | -4.4258 | -2.7536 | 1.2016 | 3.0235 | 4.1202 | -1.2868 | -3.0843 | -3.4867 | -99.7282 | -163.0799 | 58.8533 | 80.3927 | 16.9543 | -121.1807 | 0.95377 | 0.80993 | 0.78146 | 1.0156 | 0.71951 | 0.68281 | 0.7684 | -133.2217 | 112.9484 | -0.017341 | -128.1737 | 110.5193
Line_1 | 0.0005605 | 0.0005605 | 0.0005605 | 0 | 0 | 0 | 0.0064722 | 0.0064722 | 0.0064721 | 0 | 0 | 0 | -0.0014203 | -0.0029536 | 0.0043756 | -5.848e-11 | 7.1313e-10 | 7.6017e-10 | -0.006418 | 0.0036003 | 0.00061947 | -1.7148e-12 | -3.7456e-10 | -4.1233e-10 | 102.4614 | 102.4614 | 102.4614 | 0 | 0 | 0 | 1.0156 | 0.71951 | 0.68281 | 1.0157 | 0.71959 | 0.68263 | -0.017341 | -128.1737 | 110.5193 | -0.026394 | -128.1613 | 110.5184
Line_2 | 0.022331 | 0.28928 | 0.22854 | 0.022754 | 0.28945 | 0.22888 | 0.25785 | 3.3403 | 2.639 | 0.26274 | 3.3423 | 2.6429 | 0.18814 | -1.6286 | -1.4927 | -0.17489 | 1.868 | 1.5991 | 0.18217 | -1.7675 | -1.0094 | -0.18331 | 1.7022 | 1.187 | -44.0934 | 4.4841 | -103.5492 | 135.5464 | -175.5975 | 76.5238 | 1.0156 | 0.71951 | 0.68281 | 0.96429 | 0.75614 | 0.75354 | -0.017341 | -128.1737 | 110.5193 | 1.8932 | -133.2569 | 113.109