## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0021 | 2.0021 | 0 | 0 | 69.3554 | 69.3554 | 17.1192 | -10.8659 | 20.284 | -13.189 | -72.9381 | 107.0619 | 0.3827 | 0.24639 | -23.1016 | -22.4221
Line_1 | 3.6176 | 3.6176 | 0 | 6.8914 | 125.3182 | 125.3182 | 20.416 | -1e-07 | 23.1644 | -1e-07 | -71.0305 | 108.9695 | 0.24639 | 0 | -22.4221 | 0
Line_2 | 0.7904 | 0.7904 | 0 | 0 | 27.3802 | 27.3802 | -4.7053 | 5.6799 | -4.8344 | 5.9402 | 111.8027 | -68.1973 | 0.24639 | 0.30017 | -22.4221 | -21.9141

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0021 | 2.0021 | 0 | 0 | 69.3554 | 69.3554 | 17.1192 | -10.8659 | 20.284 | -13.189 | -72.9381 | 107.0619 | 0.3827 | 0.24639 | -23.1016 | -22.4221
Line_1 | 3.6176 | 3.6176 | 0 | 6.8914 | 125.3182 | 125.3182 | 20.416 | -1e-07 | 23.1644 | -1e-07 | -71.0305 | 108.9695 | 0.24639 | 0 | -22.4221 | 0
Line_2 | 0.7904 | 0.7904 | 0 | 0 | 27.3802 | 27.3802 | -4.7053 | 5.6799 | -4.8344 | 5.9402 | 111.8027 | -68.1973 | 0.24639 | 0.30017 | -22.4221 | -21.9141

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.60453 | 0.60453 | 0 | 0 | 20.9417 | 20.9417 | 14.6393 | -14.0692 | 12.5796 | -11.9327 | -48.9786 | 131.0214 | 0.92169 | 0.88093 | -8.3062 | -8.6759
Line_1 | 1.2948 | 1.2948 | 0 | 2.4665 | 44.8531 | 44.8531 | 27.7629 | -25.1476 | 28.115 | -25.1476 | -54.0369 | 125.9631 | 0.88093 | 0.7929 | -8.6759 | -9.0369
Line_2 | 0.33891 | 0.33891 | 0 | 0 | 11.7401 | 11.7401 | -6.7248 | 6.904 | -7.8574 | 8.0607 | 121.8828 | -58.1172 | 0.88093 | 0.90401 | -8.6759 | -8.6972

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.60453 | 0.60453 | 0 | 0 | 20.9417 | 20.9417 | 14.6393 | -14.0692 | 12.5796 | -11.9327 | -48.9786 | 131.0214 | 0.92169 | 0.88093 | -8.3062 | -8.6759
Line_1 | 1.2948 | 1.2948 | 0 | 2.4665 | 44.8531 | 44.8531 | 27.7629 | -25.1476 | 28.115 | -25.1476 | -54.0369 | 125.9631 | 0.88093 | 0.7929 | -8.6759 | -9.0369
Line_2 | 0.33891 | 0.33891 | 0 | 0 | 11.7401 | 11.7401 | -6.7248 | 6.904 | -7.8574 | 8.0607 | 121.8828 | -58.1172 | 0.88093 | 0.90401 | -8.6759 | -8.6972

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.5554 | 1.5554 | 0 | 0 | 53.8809 | 53.8809 | 20.0738 | -12.8276 | 12.2868 | -8.0047 | -63.9232 | 116.0768 | 0.43681 | 0.28062 | -32.4531 | -31.9581
Line_1 | 2.7941 | 2.7941 | 0 | 4.8512 | 96.7916 | 96.7916 | 23.384 | -1e-07 | 13.8187 | -1e-07 | -62.5389 | 117.4611 | 0.28062 | 0 | -31.9581 | 0
Line_2 | 0.60139 | 0.60139 | 0 | 0 | 20.8326 | 20.8326 | -5.1956 | 6.2789 | -2.68 | 3.3201 | 120.7565 | -59.2435 | 0.28062 | 0.34094 | -31.9581 | -31.3747

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.5554 | 1.5554 | 0 | 0 | 53.8809 | 53.8809 | 20.0738 | -12.8276 | 12.2868 | -8.0047 | -63.9232 | 116.0768 | 0.43681 | 0.28062 | -32.4531 | -31.9581
Line_1 | 2.7941 | 2.7941 | 0 | 4.8512 | 96.7916 | 96.7916 | 23.384 | -1e-07 | 13.8187 | -1e-07 | -62.5389 | 117.4611 | 0.28062 | 0 | -31.9581 | 0
Line_2 | 0.60139 | 0.60139 | 0 | 0 | 20.8326 | 20.8326 | -5.1956 | 6.2789 | -2.68 | 3.3201 | 120.7565 | -59.2435 | 0.28062 | 0.34094 | -31.9581 | -31.3747

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.58004 | 0.58004 | 0 | 0 | 20.0932 | 20.0932 | 11.6359 | -10.6282 | 10.991 | -10.3955 | -52.8368 | 127.1632 | 0.79659 | 0.73989 | -9.4694 | -8.4709
Line_1 | 1.042 | 1.042 | 0 | 1.8091 | 36.0954 | 36.0954 | 19.538 | -16.286 | 18.2077 | -16.286 | -51.4525 | 128.5475 | 0.73989 | 0.63808 | -8.4709 | -6.4525
Line_2 | 0.22427 | 0.22427 | 0 | 0 | 7.7689 | 7.7689 | -4.4235 | 4.5742 | -3.6707 | 3.7597 | 131.8428 | -48.1572 | 0.73989 | 0.76214 | -8.4709 | -8.7389

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.58004 | 0.58004 | 0 | 0 | 20.0932 | 20.0932 | 11.6359 | -10.6282 | 10.991 | -10.3955 | -52.8368 | 127.1632 | 0.79659 | 0.73989 | -9.4694 | -8.4709
Line_1 | 1.042 | 1.042 | 0 | 1.8091 | 36.0954 | 36.0954 | 19.538 | -16.286 | 18.2077 | -16.286 | -51.4525 | 128.5475 | 0.73989 | 0.63808 | -8.4709 | -6.4525
Line_2 | 0.22427 | 0.22427 | 0 | 0 | 7.7689 | 7.7689 | -4.4235 | 4.5742 | -3.6707 | 3.7597 | 131.8428 | -48.1572 | 0.73989 | 0.76214 | -8.4709 | -8.7389

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.27817 | 1.709 | 1.8033 | 0.27817 | 1.709 | 1.8033 | 3.212 | 19.7335 | 20.8226 | 3.212 | 19.7335 | 20.8226 | -2.1829 | 15.8203 | -7.958 | 2.2232 | -14.3016 | 9.6489 | -3.1433 | 0.58521 | 7.7159 | 3.189 | 1.1379 | -5.7973 | 127.4622 | -158.0265 | 13.4245 | -52.5378 | 21.9735 | -166.5755 | 1.1914 | 0.80225 | 0.53233 | 1.2103 | 0.72703 | 0.54059 | 2.6834 | -155.908 | 149.3093 | 2.5801 | -162.5757 | 162.4261
Line_1 | 0 | 3.0877 | 3.0877 | 0 | 3.0877 | 3.0877 | 0 | 35.6538 | 35.6538 | 0 | 35.6538 | 35.6538 | 4.9425e-10 | 25.9165 | -16.0012 | -4.9426e-10 | -20.9589 | 20.9589 | -2.1976e-10 | 0.50493 | 10.7451 | 2.1975e-10 | 5.1201 | -5.1201 | 0 | -163.6918 | 16.3082 | 0 | 16.3082 | -163.6918 | 1.2103 | 0.72703 | 0.54059 | 1.2103 | 0.60513 | 0.60513 | 2.5801 | -162.5757 | 162.4261 | 2.5801 | -177.4199 | -177.4199
Line_2 | 0.13288 | 0.68307 | 0.63333 | 0.13288 | 0.68307 | 0.63333 | 1.5343 | 7.8874 | 7.3131 | 1.5343 | 7.8874 | 7.3131 | -1.057 | -5.6866 | 3.1007 | 1.0662 | 5.9292 | -2.8922 | -1.5268 | -0.73912 | -2.4525 | 1.5372 | 1.0144 | 2.6892 | 127.275 | 10.0188 | -159.2319 | -52.725 | -169.9812 | 20.7681 | 1.2103 | 0.72703 | 0.54059 | 1.2193 | 0.76265 | 0.54002 | 2.5801 | -162.5757 | 162.4261 | 2.5305 | -160.2727 | 157.8511

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.27817 | 1.709 | 1.8033 | 0.27817 | 1.709 | 1.8033 | 3.212 | 19.7335 | 20.8226 | 3.212 | 19.7335 | 20.8226 | -2.1829 | 15.8203 | -7.958 | 2.2232 | -14.3016 | 9.6489 | -3.1433 | 0.58521 | 7.7159 | 3.189 | 1.1379 | -5.7973 | 127.4622 | -158.0265 | 13.4245 | -52.5378 | 21.9735 | -166.5755 | 1.1914 | 0.80225 | 0.53233 | 1.2103 | 0.72703 | 0.54059 | 2.6834 | -155.908 | 149.3093 | 2.5801 | -162.5757 | 162.4261
Line_1 | 0 | 3.0877 | 3.0877 | 0 | 3.0877 | 3.0877 | 0 | 35.6538 | 35.6538 | 0 | 35.6538 | 35.6538 | 4.9425e-10 | 25.9165 | -16.0012 | -4.9426e-10 | -20.9589 | 20.9589 | -2.1976e-10 | 0.50493 | 10.7451 | 2.1975e-10 | 5.1201 | -5.1201 | 0 | -163.6918 | 16.3082 | 0 | 16.3082 | -163.6918 | 1.2103 | 0.72703 | 0.54059 | 1.2103 | 0.60513 | 0.60513 | 2.5801 | -162.5757 | 162.4261 | 2.5801 | -177.4199 | -177.4199
Line_2 | 0.13288 | 0.68307 | 0.63333 | 0.13288 | 0.68307 | 0.63333 | 1.5343 | 7.8874 | 7.3131 | 1.5343 | 7.8874 | 7.3131 | -1.057 | -5.6866 | 3.1007 | 1.0662 | 5.9292 | -2.8922 | -1.5268 | -0.73912 | -2.4525 | 1.5372 | 1.0144 | 2.6892 | 127.275 | 10.0188 | -159.2319 | -52.725 | -169.9812 | 20.7681 | 1.2103 | 0.72703 | 0.54059 | 1.2193 | 0.76265 | 0.54002 | 2.5801 | -162.5757 | 162.4261 | 2.5305 | -160.2727 | 157.8511

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22422 | 0.89 | 0.86891 | 0.22422 | 0.89 | 0.86891 | 2.5891 | 10.2768 | 10.0333 | 2.5891 | 10.2768 | 10.0333 | -1.4121 | 10.3959 | -0.85491 | 1.4382 | -9.984 | 1.2475 | -2.7058 | 0.051564 | 7.7186 | 2.7355 | 0.41578 | -7.2732 | 119.2153 | -138.1398 | 27.2768 | -60.7847 | 41.8602 | -152.7232 | 1.1788 | 1.0116 | 0.77401 | 1.1937 | 0.97235 | 0.73549 | 1.6564 | -137.8556 | 123.5971 | 1.4811 | -140.5245 | 127.0096
Line_1 | 0 | 1.6625 | 1.6625 | 0 | 1.6625 | 1.6625 | 0 | 19.1969 | 19.1969 | 0 | 19.1969 | 19.1969 | 4.1161e-10 | 18.4124 | -1.7184 | -4.1162e-10 | -16.9752 | 3.1556 | -1.2445e-10 | 3.0668 | 14.0142 | 1.2444e-10 | -1.4361 | -12.3835 | 0 | -149.9809 | 30.0191 | 0 | 30.0191 | -149.9809 | 1.1937 | 0.97235 | 0.73549 | 1.1937 | 0.88742 | 0.66569 | 1.4811 | -140.5245 | 127.0096 | 1.4811 | -145.1452 | 134.3152
Line_2 | 0.10798 | 0.39637 | 0.39038 | 0.10798 | 0.39637 | 0.39038 | 1.2469 | 4.5769 | 4.5077 | 1.2469 | 4.5769 | 4.5077 | -0.67886 | -4.1296 | 0.21206 | 0.68492 | 4.2113 | -0.13281 | -1.3245 | -1.659 | -3.3086 | 1.3314 | 1.7517 | 3.3985 | 118.6173 | 17.5886 | -146.6577 | -61.3827 | -162.4114 | 33.3423 | 1.1937 | 0.97235 | 0.73549 | 1.2008 | 0.99653 | 0.75451 | 1.4811 | -140.5245 | 127.0096 | 1.3947 | -139.8265 | 125.5803

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22422 | 0.89 | 0.86891 | 0.22422 | 0.89 | 0.86891 | 2.5891 | 10.2768 | 10.0333 | 2.5891 | 10.2768 | 10.0333 | -1.4121 | 10.3959 | -0.85491 | 1.4382 | -9.984 | 1.2475 | -2.7058 | 0.051564 | 7.7186 | 2.7355 | 0.41578 | -7.2732 | 119.2153 | -138.1398 | 27.2768 | -60.7847 | 41.8602 | -152.7232 | 1.1788 | 1.0116 | 0.77401 | 1.1937 | 0.97235 | 0.73549 | 1.6564 | -137.8556 | 123.5971 | 1.4811 | -140.5245 | 127.0096
Line_1 | 0 | 1.6625 | 1.6625 | 0 | 1.6625 | 1.6625 | 0 | 19.1969 | 19.1969 | 0 | 19.1969 | 19.1969 | 4.1161e-10 | 18.4124 | -1.7184 | -4.1162e-10 | -16.9752 | 3.1556 | -1.2445e-10 | 3.0668 | 14.0142 | 1.2444e-10 | -1.4361 | -12.3835 | 0 | -149.9809 | 30.0191 | 0 | 30.0191 | -149.9809 | 1.1937 | 0.97235 | 0.73549 | 1.1937 | 0.88742 | 0.66569 | 1.4811 | -140.5245 | 127.0096 | 1.4811 | -145.1452 | 134.3152
Line_2 | 0.10798 | 0.39637 | 0.39038 | 0.10798 | 0.39637 | 0.39038 | 1.2469 | 4.5769 | 4.5077 | 1.2469 | 4.5769 | 4.5077 | -0.67886 | -4.1296 | 0.21206 | 0.68492 | 4.2113 | -0.13281 | -1.3245 | -1.659 | -3.3086 | 1.3314 | 1.7517 | 3.3985 | 118.6173 | 17.5886 | -146.6577 | -61.3827 | -162.4114 | 33.3423 | 1.1937 | 0.97235 | 0.73549 | 1.2008 | 0.99653 | 0.75451 | 1.4811 | -140.5245 | 127.0096 | 1.3947 | -139.8265 | 125.5803

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1058 | 1.3212 | 1.4165 | 0.1058 | 1.3212 | 1.4165 | 1.2217 | 15.2561 | 16.3566 | 1.2217 | 15.2561 | 16.3566 | -1.2271 | 12.0208 | -2.2152 | 1.2383 | -10.278 | 4.2185 | -0.035453 | -0.52296 | 6.3284 | 0.042057 | 1.5529 | -5.1445 | -179.0508 | -152.3429 | 25.7334 | 0.94918 | 27.6571 | -154.2666 | 1.0048 | 0.78868 | 0.40992 | 1.0142 | 0.68134 | 0.40674 | 2.6041 | -154.834 | 135.0256 | 2.8945 | -160.9346 | 155.0855
Line_1 | 0 | 2.3919 | 2.3919 | 0 | 2.3919 | 2.3919 | 0 | 27.6191 | 27.6191 | 0 | 27.6191 | 27.6191 | 5.7374e-11 | 18.7338 | -7.3099 | -5.7376e-11 | -13.0218 | 13.0218 | -1.8777e-10 | -1.7794 | 8.5303 | 1.8777e-10 | 5.1549 | -5.1549 | 0 | -155.5087 | 24.4913 | 0 | 24.4913 | -155.5087 | 1.0142 | 0.68134 | 0.40674 | 1.0142 | 0.50708 | 0.50708 | 2.8945 | -160.9346 | 155.0855 | 2.8945 | -177.1055 | -177.1055
Line_2 | 0.049597 | 0.52404 | 0.47672 | 0.049597 | 0.52404 | 0.47672 | 0.5727 | 6.0511 | 5.5047 | 0.5727 | 6.0511 | 5.5047 | -0.58005 | -4.1158 | 1.4681 | 0.58251 | 4.39 | -1.2412 | 0.02953 | 0.24047 | -1.6905 | -0.028079 | -0.078451 | 1.8246 | -174.1911 | 22.4092 | -155.8875 | 5.8089 | -157.5908 | 24.1125 | 1.0142 | 0.68134 | 0.40674 | 1.0183 | 0.72561 | 0.40088 | 2.8945 | -160.9346 | 155.0855 | 3.0492 | -158.6146 | 148.3392

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1058 | 1.3212 | 1.4165 | 0.1058 | 1.3212 | 1.4165 | 1.2217 | 15.2561 | 16.3566 | 1.2217 | 15.2561 | 16.3566 | -1.2271 | 12.0208 | -2.2152 | 1.2383 | -10.278 | 4.2185 | -0.035453 | -0.52296 | 6.3284 | 0.042057 | 1.5529 | -5.1445 | -179.0508 | -152.3429 | 25.7334 | 0.94918 | 27.6571 | -154.2666 | 1.0048 | 0.78868 | 0.40992 | 1.0142 | 0.68134 | 0.40674 | 2.6041 | -154.834 | 135.0256 | 2.8945 | -160.9346 | 155.0855
Line_1 | 0 | 2.3919 | 2.3919 | 0 | 2.3919 | 2.3919 | 0 | 27.6191 | 27.6191 | 0 | 27.6191 | 27.6191 | 5.7374e-11 | 18.7338 | -7.3099 | -5.7376e-11 | -13.0218 | 13.0218 | -1.8777e-10 | -1.7794 | 8.5303 | 1.8777e-10 | 5.1549 | -5.1549 | 0 | -155.5087 | 24.4913 | 0 | 24.4913 | -155.5087 | 1.0142 | 0.68134 | 0.40674 | 1.0142 | 0.50708 | 0.50708 | 2.8945 | -160.9346 | 155.0855 | 2.8945 | -177.1055 | -177.1055
Line_2 | 0.049597 | 0.52404 | 0.47672 | 0.049597 | 0.52404 | 0.47672 | 0.5727 | 6.0511 | 5.5047 | 0.5727 | 6.0511 | 5.5047 | -0.58005 | -4.1158 | 1.4681 | 0.58251 | 4.39 | -1.2412 | 0.02953 | 0.24047 | -1.6905 | -0.028079 | -0.078451 | 1.8246 | -174.1911 | 22.4092 | -155.8875 | 5.8089 | -157.5908 | 24.1125 | 1.0142 | 0.68134 | 0.40674 | 1.0183 | 0.72561 | 0.40088 | 2.8945 | -160.9346 | 155.0855 | 3.0492 | -158.6146 | 148.3392

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.058248 | 0.72739 | 0.77986 | 0.058248 | 0.72739 | 0.77986 | 0.67259 | 8.3991 | 9.0051 | 0.67259 | 8.3991 | 9.0051 | -0.66336 | 7.4708 | 0.5012 | 0.66675 | -6.9425 | 0.10601 | 0.10381 | 0.64344 | 5.9433 | -0.1018 | -0.33128 | -5.5845 | -169.6632 | -142.9553 | 35.121 | 10.3368 | 37.0447 | -144.879 | 0.99828 | 0.89276 | 0.66234 | 1.0028 | 0.82752 | 0.62026 | 1.443 | -138.0327 | 120.3006 | 1.6555 | -140.2234 | 126.2085
Line_1 | 0 | 1.3168 | 1.3168 | 0 | 1.3168 | 1.3168 | 0 | 15.2055 | 15.2055 | 0 | 15.2055 | 15.2055 | 1.1846e-11 | 12.5162 | -0.38336 | -1.1848e-11 | -10.7849 | 2.1146 | -1.0623e-10 | 1.2929 | 9.4236 | 1.0623e-10 | -0.26982 | -8.4005 | 0 | -146.1211 | 33.8789 | 0 | 33.8789 | -146.1211 | 1.0028 | 0.82752 | 0.62026 | 1.0028 | 0.7095 | 0.5697 | 1.6555 | -140.2234 | 126.2085 | 1.6555 | -144.6879 | 138.0084
Line_2 | 0.027305 | 0.28851 | 0.26245 | 0.027305 | 0.28851 | 0.26245 | 0.31529 | 3.3314 | 3.0306 | 0.31529 | 3.3314 | 3.0306 | -0.30739 | -2.7301 | 0.088824 | 0.30813 | 2.8132 | -0.020051 | 0.07403 | -0.38271 | -1.8776 | -0.07359 | 0.43181 | 1.9183 | -164.8035 | 31.7968 | -146.4999 | 15.1965 | -148.2032 | 33.5001 | 1.0028 | 0.82752 | 0.62026 | 1.0048 | 0.85434 | 0.63301 | 1.6555 | -140.2234 | 126.2085 | 1.7644 | -139.4766 | 124.099

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.058248 | 0.72739 | 0.77986 | 0.058248 | 0.72739 | 0.77986 | 0.67259 | 8.3991 | 9.0051 | 0.67259 | 8.3991 | 9.0051 | -0.66336 | 7.4708 | 0.5012 | 0.66675 | -6.9425 | 0.10601 | 0.10381 | 0.64344 | 5.9433 | -0.1018 | -0.33128 | -5.5845 | -169.6632 | -142.9553 | 35.121 | 10.3368 | 37.0447 | -144.879 | 0.99828 | 0.89276 | 0.66234 | 1.0028 | 0.82752 | 0.62026 | 1.443 | -138.0327 | 120.3006 | 1.6555 | -140.2234 | 126.2085
Line_1 | 0 | 1.3168 | 1.3168 | 0 | 1.3168 | 1.3168 | 0 | 15.2055 | 15.2055 | 0 | 15.2055 | 15.2055 | 1.1846e-11 | 12.5162 | -0.38336 | -1.1848e-11 | -10.7849 | 2.1146 | -1.0623e-10 | 1.2929 | 9.4236 | 1.0623e-10 | -0.26982 | -8.4005 | 0 | -146.1211 | 33.8789 | 0 | 33.8789 | -146.1211 | 1.0028 | 0.82752 | 0.62026 | 1.0028 | 0.7095 | 0.5697 | 1.6555 | -140.2234 | 126.2085 | 1.6555 | -144.6879 | 138.0084
Line_2 | 0.027305 | 0.28851 | 0.26245 | 0.027305 | 0.28851 | 0.26245 | 0.31529 | 3.3314 | 3.0306 | 0.31529 | 3.3314 | 3.0306 | -0.30739 | -2.7301 | 0.088824 | 0.30813 | 2.8132 | -0.020051 | 0.07403 | -0.38271 | -1.8776 | -0.07359 | 0.43181 | 1.9183 | -164.8035 | 31.7968 | -146.4999 | 15.1965 | -148.2032 | 33.5001 | 1.0028 | 0.82752 | 0.62026 | 1.0048 | 0.85434 | 0.63301 | 1.6555 | -140.2234 | 126.2085 | 1.7644 | -139.4766 | 124.099

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.494 | 0.29499 | 0.17552 | 1.493 | 0.29556 | 0.17615 | 17.2509 | 3.4063 | 2.0268 | 17.2396 | 3.4128 | 2.034 | 10.7203 | -3.7723 | 1.5712 | -7.6336 | 3.8707 | -1.8094 | 5.1699 | -0.68937 | -1.7031 | -3.016 | 0.319 | 1.7754 | -51.9436 | 55.279 | 164.6996 | 128.0673 | -124.5554 | -15.5652 | 0.68992 | 1.1258 | 1.1433 | 0.4761 | 1.138 | 1.2463 | -26.1978 | -114.3647 | 117.3937 | -30.374 | -119.8441 | 119.9787
Line_1 | 3.0393 | 0.0019864 | 0.0019864 | 3.0378 | 0 | 0 | 35.095 | 0.022937 | 0.022937 | 35.0771 | 0 | 0 | 14.5841 | 0.024277 | -0.022444 | 2.5702e-12 | -1.5462e-10 | -2.3959e-09 | 8.1542 | -0.0095911 | -0.017703 | 3.3306e-11 | -1.119e-09 | 3.1716e-10 | -59.5844 | -98.2862 | -98.2862 | 120.439 | 0 | 0 | 0.4761 | 1.138 | 1.2463 | 0 | 1.1029 | 1.5266 | -30.374 | -119.8441 | 119.9787 | 0 | -134.5694 | 122.9525
Line_2 | 0.74692 | 0.086204 | 0.12212 | 0.74808 | 0.08697 | 0.12235 | 8.6247 | 0.9954 | 1.4101 | 8.638 | 1.0042 | 1.4128 | -3.4834 | -1.1328 | 0.6487 | 4.4316 | 1.1674 | -0.5878 | -2.1743 | 0.0065086 | -1.6333 | 2.7253 | 0.063517 | 1.5508 | 117.6543 | 60.4851 | -171.683 | -62.3582 | -118.9353 | 7.7826 | 0.4761 | 1.138 | 1.2463 | 0.60229 | 1.1642 | 1.1739 | -30.374 | -119.8441 | 119.9787 | -30.7678 | -115.821 | 118.5407

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.494 | 0.29499 | 0.17552 | 1.493 | 0.29556 | 0.17615 | 17.2509 | 3.4063 | 2.0268 | 17.2396 | 3.4128 | 2.034 | 10.7203 | -3.7723 | 1.5712 | -7.6336 | 3.8707 | -1.8094 | 5.1699 | -0.68937 | -1.7031 | -3.016 | 0.319 | 1.7754 | -51.9436 | 55.279 | 164.6996 | 128.0673 | -124.5554 | -15.5652 | 0.68992 | 1.1258 | 1.1433 | 0.4761 | 1.138 | 1.2463 | -26.1978 | -114.3647 | 117.3937 | -30.374 | -119.8441 | 119.9787
Line_1 | 3.0393 | 0.0019864 | 0.0019864 | 3.0378 | 0 | 0 | 35.095 | 0.022937 | 0.022937 | 35.0771 | 0 | 0 | 14.5841 | 0.024277 | -0.022444 | 2.5702e-12 | -1.5462e-10 | -2.3959e-09 | 8.1542 | -0.0095911 | -0.017703 | 3.3306e-11 | -1.119e-09 | 3.1716e-10 | -59.5844 | -98.2862 | -98.2862 | 120.439 | 0 | 0 | 0.4761 | 1.138 | 1.2463 | 0 | 1.1029 | 1.5266 | -30.374 | -119.8441 | 119.9787 | 0 | -134.5694 | 122.9525
Line_2 | 0.74692 | 0.086204 | 0.12212 | 0.74808 | 0.08697 | 0.12235 | 8.6247 | 0.9954 | 1.4101 | 8.638 | 1.0042 | 1.4128 | -3.4834 | -1.1328 | 0.6487 | 4.4316 | 1.1674 | -0.5878 | -2.1743 | 0.0065086 | -1.6333 | 2.7253 | 0.063517 | 1.5508 | 117.6543 | 60.4851 | -171.683 | -62.3582 | -118.9353 | 7.7826 | 0.4761 | 1.138 | 1.2463 | 0.60229 | 1.1642 | 1.1739 | -30.374 | -119.8441 | 119.9787 | -30.7678 | -115.821 | 118.5407

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49989 | 0.17362 | 0.18439 | 0.49953 | 0.17352 | 0.18446 | 5.7723 | 2.0047 | 2.1292 | 5.7681 | 2.0037 | 2.13 | 5.1961 | -1.6301 | 0.35829 | -4.7956 | 1.7251 | -0.42362 | 2.3942 | -1.6315 | -2.461 | -2.1782 | 1.5872 | 2.5471 | -33.3247 | 17.1571 | -159.1682 | 146.6954 | -162.7138 | 20.7087 | 0.99114 | 1.1504 | 1.168 | 0.91314 | 1.17 | 1.2123 | -8.5854 | -117.8185 | 119.115 | -8.8772 | -120.0974 | 120.1515
Line_1 | 1.1953 | 0.00078117 | 0.00078117 | 1.1946 | 0 | 0 | 13.8016 | 0.0090202 | 0.0090202 | 13.7946 | 0 | 0 | 9.3922 | 0.0090745 | -0.0095123 | -7.1359 | -3.0201e-10 | -1.0493e-09 | 8.4036 | -0.0053876 | -0.005393 | -7.1359 | -4.6495e-10 | 2.0506e-10 | -50.6976 | -89.3994 | -89.3994 | 129.3259 | 0 | 0 | 0.91314 | 1.17 | 1.2123 | 0.73157 | 1.1653 | 1.3165 | -8.8772 | -120.0974 | 120.1515 | -5.6741 | -125.6773 | 122.2132
Line_2 | 0.34813 | 0.068379 | 0.10885 | 0.34858 | 0.068194 | 0.10886 | 4.0198 | 0.78958 | 1.2569 | 4.0251 | 0.78744 | 1.2571 | -2.3615 | -0.52424 | 0.079276 | 2.5429 | 0.51098 | -0.061057 | -2.8102 | -0.76062 | -1.5217 | 2.9364 | 0.7739 | 1.4937 | 121.1642 | 4.4784 | -152.8309 | -58.8393 | -175.1704 | 26.9284 | 0.91314 | 1.17 | 1.2123 | 0.96506 | 1.1777 | 1.1893 | -8.8772 | -120.0974 | 120.1515 | -9.7312 | -118.6059 | 119.2691

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49989 | 0.17362 | 0.18439 | 0.49953 | 0.17352 | 0.18446 | 5.7723 | 2.0047 | 2.1292 | 5.7681 | 2.0037 | 2.13 | 5.1961 | -1.6301 | 0.35829 | -4.7956 | 1.7251 | -0.42362 | 2.3942 | -1.6315 | -2.461 | -2.1782 | 1.5872 | 2.5471 | -33.3247 | 17.1571 | -159.1682 | 146.6954 | -162.7138 | 20.7087 | 0.99114 | 1.1504 | 1.168 | 0.91314 | 1.17 | 1.2123 | -8.5854 | -117.8185 | 119.115 | -8.8772 | -120.0974 | 120.1515
Line_1 | 1.1953 | 0.00078117 | 0.00078117 | 1.1946 | 0 | 0 | 13.8016 | 0.0090202 | 0.0090202 | 13.7946 | 0 | 0 | 9.3922 | 0.0090745 | -0.0095123 | -7.1359 | -3.0201e-10 | -1.0493e-09 | 8.4036 | -0.0053876 | -0.005393 | -7.1359 | -4.6495e-10 | 2.0506e-10 | -50.6976 | -89.3994 | -89.3994 | 129.3259 | 0 | 0 | 0.91314 | 1.17 | 1.2123 | 0.73157 | 1.1653 | 1.3165 | -8.8772 | -120.0974 | 120.1515 | -5.6741 | -125.6773 | 122.2132
Line_2 | 0.34813 | 0.068379 | 0.10885 | 0.34858 | 0.068194 | 0.10886 | 4.0198 | 0.78958 | 1.2569 | 4.0251 | 0.78744 | 1.2571 | -2.3615 | -0.52424 | 0.079276 | 2.5429 | 0.51098 | -0.061057 | -2.8102 | -0.76062 | -1.5217 | 2.9364 | 0.7739 | 1.4937 | 121.1642 | 4.4784 | -152.8309 | -58.8393 | -175.1704 | 26.9284 | 0.91314 | 1.17 | 1.2123 | 0.96506 | 1.1777 | 1.1893 | -8.8772 | -120.0974 | 120.1515 | -9.7312 | -118.6059 | 119.2691

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.99196 | 0.22942 | 0.14035 | 0.9913 | 0.23011 | 0.14103 | 11.4542 | 2.6491 | 1.6206 | 11.4465 | 2.657 | 1.6285 | 8.524 | -1.727 | 1.5824 | -6.2282 | 1.5981 | -1.6822 | 2.1723 | 1.7691 | 0.20372 | -0.99624 | -2.0215 | -0.3625 | -38.1011 | 110.0552 | 109.2702 | 141.9123 | -69.9061 | -70.6628 | 0.76797 | 0.93327 | 0.98453 | 0.55103 | 0.96986 | 1.0567 | -23.804 | -115.6343 | 116.6059 | -28.9998 | -121.5778 | 121.4984
Line_1 | 2.0156 | 0.0018418 | 0.0018418 | 2.0145 | 0 | 0 | 23.2738 | 0.021267 | 0.021267 | 23.261 | 0 | 0 | 12.3148 | 0.018919 | -0.017315 | 1.8104e-11 | -2.8343e-10 | -2.0682e-09 | 3.5797 | -0.0082164 | -0.014325 | 8.4825e-12 | -1.4029e-09 | 6.1359e-10 | -45.2081 | -98.1028 | -98.1028 | 134.8337 | 0 | 0 | 0.55103 | 0.96986 | 1.0567 | 0 | 1.0013 | 1.3967 | -28.9998 | -121.5778 | 121.4984 | 0 | -142.4643 | 126.8815
Line_2 | 0.47606 | 0.080429 | 0.057005 | 0.47684 | 0.081083 | 0.057349 | 5.4971 | 0.92871 | 0.65824 | 5.506 | 0.93627 | 0.66221 | -2.9562 | 0.15797 | 0.27603 | 3.7491 | -0.049076 | -0.22454 | -0.66048 | 0.88676 | -0.63841 | 0.94785 | -0.89922 | 0.60157 | 138.4057 | 158.5232 | -171.8839 | -41.6197 | -21.8046 | 7.3908 | 0.55103 | 0.96986 | 1.0567 | 0.70232 | 0.96186 | 0.96965 | -28.9998 | -121.5778 | 121.4984 | -27.4313 | -114.9285 | 117.8594

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.99196 | 0.22942 | 0.14035 | 0.9913 | 0.23011 | 0.14103 | 11.4542 | 2.6491 | 1.6206 | 11.4465 | 2.657 | 1.6285 | 8.524 | -1.727 | 1.5824 | -6.2282 | 1.5981 | -1.6822 | 2.1723 | 1.7691 | 0.20372 | -0.99624 | -2.0215 | -0.3625 | -38.1011 | 110.0552 | 109.2702 | 141.9123 | -69.9061 | -70.6628 | 0.76797 | 0.93327 | 0.98453 | 0.55103 | 0.96986 | 1.0567 | -23.804 | -115.6343 | 116.6059 | -28.9998 | -121.5778 | 121.4984
Line_1 | 2.0156 | 0.0018418 | 0.0018418 | 2.0145 | 0 | 0 | 23.2738 | 0.021267 | 0.021267 | 23.261 | 0 | 0 | 12.3148 | 0.018919 | -0.017315 | 1.8104e-11 | -2.8343e-10 | -2.0682e-09 | 3.5797 | -0.0082164 | -0.014325 | 8.4825e-12 | -1.4029e-09 | 6.1359e-10 | -45.2081 | -98.1028 | -98.1028 | 134.8337 | 0 | 0 | 0.55103 | 0.96986 | 1.0567 | 0 | 1.0013 | 1.3967 | -28.9998 | -121.5778 | 121.4984 | 0 | -142.4643 | 126.8815
Line_2 | 0.47606 | 0.080429 | 0.057005 | 0.47684 | 0.081083 | 0.057349 | 5.4971 | 0.92871 | 0.65824 | 5.506 | 0.93627 | 0.66221 | -2.9562 | 0.15797 | 0.27603 | 3.7491 | -0.049076 | -0.22454 | -0.66048 | 0.88676 | -0.63841 | 0.94785 | -0.89922 | 0.60157 | 138.4057 | 158.5232 | -171.8839 | -41.6197 | -21.8046 | 7.3908 | 0.55103 | 0.96986 | 1.0567 | 0.70232 | 0.96186 | 0.96965 | -28.9998 | -121.5778 | 121.4984 | -27.4313 | -114.9285 | 117.8594

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44411 | 0.10271 | 0.062834 | 0.44381 | 0.10302 | 0.063142 | 5.1281 | 1.186 | 0.72554 | 5.1247 | 1.1896 | 0.7291 | 3.9424 | -0.76527 | 0.71111 | -3.4811 | 0.74035 | -0.73311 | 2.1766 | 0.85801 | 0.11429 | -1.9392 | -0.9104 | -0.14602 | -38.0092 | 110.147 | 109.3621 | 142.0042 | -69.8143 | -70.5709 | 0.87816 | 0.96938 | 0.99268 | 0.77756 | 0.98643 | 1.0253 | -9.1064 | -118.1227 | 118.4929 | -8.8759 | -120.6957 | 120.6936
Line_1 | 0.90239 | 0.00082458 | 0.00082458 | 0.90189 | 0 | 0 | 10.4199 | 0.0095215 | 0.0095215 | 10.4141 | 0 | 0 | 6.5347 | 0.0086657 | -0.007618 | -4.067 | 9.8799e-12 | -7.6462e-10 | 4.7898 | -0.0036222 | -0.0061042 | -4.067 | -6.2828e-10 | 2.7573e-10 | -45.1162 | -98.0109 | -98.0109 | 134.9255 | 0 | 0 | 0.77756 | 0.98643 | 1.0253 | 0.55229 | 0.98191 | 1.1754 | -8.8759 | -120.6957 | 120.6936 | -0.074457 | -130.05 | 123.6682
Line_2 | 0.21314 | 0.036009 | 0.025522 | 0.21348 | 0.036302 | 0.025675 | 2.4611 | 0.41579 | 0.2947 | 2.4651 | 0.41918 | 0.29647 | -1.6117 | 0.066358 | 0.11555 | 1.7719 | -0.043503 | -0.10752 | -1.0318 | 0.40475 | -0.27917 | 1.0913 | -0.40929 | 0.27192 | 138.4975 | 158.615 | -171.792 | -41.5278 | -21.7128 | 7.4827 | 0.77756 | 0.98643 | 1.0253 | 0.84417 | 0.98191 | 0.98627 | -8.8759 | -120.6957 | 120.6936 | -9.8992 | -117.7799 | 119.0567

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44411 | 0.10271 | 0.062834 | 0.44381 | 0.10302 | 0.063142 | 5.1281 | 1.186 | 0.72554 | 5.1247 | 1.1896 | 0.7291 | 3.9424 | -0.76527 | 0.71111 | -3.4811 | 0.74035 | -0.73311 | 2.1766 | 0.85801 | 0.11429 | -1.9392 | -0.9104 | -0.14602 | -38.0092 | 110.147 | 109.3621 | 142.0042 | -69.8143 | -70.5709 | 0.87816 | 0.96938 | 0.99268 | 0.77756 | 0.98643 | 1.0253 | -9.1064 | -118.1227 | 118.4929 | -8.8759 | -120.6957 | 120.6936
Line_1 | 0.90239 | 0.00082458 | 0.00082458 | 0.90189 | 0 | 0 | 10.4199 | 0.0095215 | 0.0095215 | 10.4141 | 0 | 0 | 6.5347 | 0.0086657 | -0.007618 | -4.067 | 9.8799e-12 | -7.6462e-10 | 4.7898 | -0.0036222 | -0.0061042 | -4.067 | -6.2828e-10 | 2.7573e-10 | -45.1162 | -98.0109 | -98.0109 | 134.9255 | 0 | 0 | 0.77756 | 0.98643 | 1.0253 | 0.55229 | 0.98191 | 1.1754 | -8.8759 | -120.6957 | 120.6936 | -0.074457 | -130.05 | 123.6682
Line_2 | 0.21314 | 0.036009 | 0.025522 | 0.21348 | 0.036302 | 0.025675 | 2.4611 | 0.41579 | 0.2947 | 2.4651 | 0.41918 | 0.29647 | -1.6117 | 0.066358 | 0.11555 | 1.7719 | -0.043503 | -0.10752 | -1.0318 | 0.40475 | -0.27917 | 1.0913 | -0.40929 | 0.27192 | 138.4975 | 158.615 | -171.792 | -41.5278 | -21.7128 | 7.4827 | 0.77756 | 0.98643 | 1.0253 | 0.84417 | 0.98191 | 0.98627 | -8.8759 | -120.6957 | 120.6936 | -9.8992 | -117.7799 | 119.0567

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10814 | 2.0956 | 1.4886 | 0.10753 | 2.0952 | 1.4886 | 1.2487 | 24.1981 | 17.1889 | 1.2417 | 24.1934 | 17.1893 | -1.3583 | 14.0351 | -0.1797 | 1.4861 | -9.4395 | 0.15135 | -0.28679 | 2.0768 | 9.1895 | 0.27006 | -0.44822 | -6.555 | 170.1239 | -173.1647 | 32.396 | -9.5447 | 6.8564 | -147.6375 | 1.1118 | 0.58633 | 0.53472 | 1.2165 | 0.39061 | 0.38145 | 2.0459 | -164.7476 | 123.5163 | 0.75484 | -170.4251 | 123.6852
Line_1 | 0.001693 | 3.8331 | 2.7701 | 0 | 3.833 | 2.7691 | 0.019549 | 44.2612 | 31.9868 | 0 | 44.2595 | 31.9749 | -0.0014914 | 17.011 | 1.7272 | -1.755e-09 | -5.7037e-12 | -1.0895e-11 | -0.023734 | 3.0861 | 12.0784 | -4.5487e-10 | 2.5024e-11 | 1.5782e-11 | 94.3506 | 179.2922 | 41.8233 | 0 | -0.68259 | -138.2045 | 1.2165 | 0.39061 | 0.38145 | 1.4311 | 0 | 0 | 0.75484 | -170.4251 | 123.6852 | -4.5201 | 0 | 0
Line_2 | 0.055147 | 0.88658 | 0.60019 | 0.054159 | 0.8872 | 0.60053 | 0.63679 | 10.2374 | 6.9304 | 0.62537 | 10.2445 | 6.9343 | -0.35005 | -3.8506 | -0.83607 | 0.30799 | 4.8902 | 0.97514 | -0.69103 | -1.0785 | -2.5079 | 0.65896 | 1.251 | 3.1881 | 117.6196 | -6.0723 | -127.8777 | -62.4648 | 173.8774 | 52.2113 | 1.2165 | 0.39061 | 0.38145 | 1.1631 | 0.49273 | 0.48079 | 0.75484 | -170.4251 | 123.6852 | 2.4845 | -171.773 | 125.2042

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10814 | 2.0956 | 1.4886 | 0.10753 | 2.0952 | 1.4886 | 1.2487 | 24.1981 | 17.1889 | 1.2417 | 24.1934 | 17.1893 | -1.3583 | 14.0351 | -0.1797 | 1.4861 | -9.4395 | 0.15135 | -0.28679 | 2.0768 | 9.1895 | 0.27006 | -0.44822 | -6.555 | 170.1239 | -173.1647 | 32.396 | -9.5447 | 6.8564 | -147.6375 | 1.1118 | 0.58633 | 0.53472 | 1.2165 | 0.39061 | 0.38145 | 2.0459 | -164.7476 | 123.5163 | 0.75484 | -170.4251 | 123.6852
Line_1 | 0.001693 | 3.8331 | 2.7701 | 0 | 3.833 | 2.7691 | 0.019549 | 44.2612 | 31.9868 | 0 | 44.2595 | 31.9749 | -0.0014914 | 17.011 | 1.7272 | -1.755e-09 | -5.7037e-12 | -1.0895e-11 | -0.023734 | 3.0861 | 12.0784 | -4.5487e-10 | 2.5024e-11 | 1.5782e-11 | 94.3506 | 179.2922 | 41.8233 | 0 | -0.68259 | -138.2045 | 1.2165 | 0.39061 | 0.38145 | 1.4311 | 0 | 0 | 0.75484 | -170.4251 | 123.6852 | -4.5201 | 0 | 0
Line_2 | 0.055147 | 0.88658 | 0.60019 | 0.054159 | 0.8872 | 0.60053 | 0.63679 | 10.2374 | 6.9304 | 0.62537 | 10.2445 | 6.9343 | -0.35005 | -3.8506 | -0.83607 | 0.30799 | 4.8902 | 0.97514 | -0.69103 | -1.0785 | -2.5079 | 0.65896 | 1.251 | 3.1881 | 117.6196 | -6.0723 | -127.8777 | -62.4648 | 173.8774 | 52.2113 | 1.2165 | 0.39061 | 0.38145 | 1.1631 | 0.49273 | 0.48079 | 0.75484 | -170.4251 | 123.6852 | 2.4845 | -171.773 | 125.2042

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12305 | 0.64255 | 0.48362 | 0.12268 | 0.6425 | 0.48345 | 1.4209 | 7.4195 | 5.5844 | 1.4166 | 7.419 | 5.5824 | -0.73974 | 6.7474 | 3.191 | 0.78728 | -6.2941 | -3.1198 | -1.4467 | 2.5064 | 4.1614 | 1.4974 | -2.4821 | -3.7838 | 117.9727 | -151.9096 | 62.4207 | -62.0502 | 28.1232 | -117.6186 | 1.1435 | 0.97012 | 0.93904 | 1.1942 | 0.91197 | 0.8785 | 0.89007 | -131.5316 | 114.9394 | 0.21543 | -130.3547 | 112.8754
Line_1 | 0.00072174 | 1.3227 | 1.1714 | 0 | 1.3228 | 1.1708 | 0.0083339 | 15.2737 | 13.5267 | 0 | 15.2746 | 13.5197 | -0.00088673 | 10.8579 | 7.6614 | -8.7898e-10 | -8.7492 | -6.8543 | -0.0099128 | 8.7251 | 9.0837 | -1.9717e-10 | -8.7492 | -6.8543 | 95.3271 | -169.1391 | 63.0205 | 0 | 10.892 | -116.9984 | 1.1942 | 0.91197 | 0.8785 | 1.2857 | 0.81006 | 0.71699 | 0.21543 | -130.3547 | 112.8754 | -2.1791 | -124.108 | 108.0016
Line_2 | 0.072675 | 0.3674 | 0.3154 | 0.072277 | 0.36763 | 0.31562 | 0.83917 | 4.2423 | 3.642 | 0.83459 | 4.2451 | 3.6444 | -0.22673 | -2.4633 | -2.0974 | 0.20965 | 2.6392 | 2.1613 | -0.97615 | -2.9833 | -2.4161 | 0.95685 | 3.0069 | 2.5791 | 103.2917 | -0.80784 | -116.1628 | -76.8225 | 179.1375 | 63.9032 | 1.1942 | 0.91197 | 0.8785 | 1.1737 | 0.94246 | 0.92332 | 0.21543 | -130.3547 | 112.8754 | 0.81912 | -132.1367 | 113.9409

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12305 | 0.64255 | 0.48362 | 0.12268 | 0.6425 | 0.48345 | 1.4209 | 7.4195 | 5.5844 | 1.4166 | 7.419 | 5.5824 | -0.73974 | 6.7474 | 3.191 | 0.78728 | -6.2941 | -3.1198 | -1.4467 | 2.5064 | 4.1614 | 1.4974 | -2.4821 | -3.7838 | 117.9727 | -151.9096 | 62.4207 | -62.0502 | 28.1232 | -117.6186 | 1.1435 | 0.97012 | 0.93904 | 1.1942 | 0.91197 | 0.8785 | 0.89007 | -131.5316 | 114.9394 | 0.21543 | -130.3547 | 112.8754
Line_1 | 0.00072174 | 1.3227 | 1.1714 | 0 | 1.3228 | 1.1708 | 0.0083339 | 15.2737 | 13.5267 | 0 | 15.2746 | 13.5197 | -0.00088673 | 10.8579 | 7.6614 | -8.7898e-10 | -8.7492 | -6.8543 | -0.0099128 | 8.7251 | 9.0837 | -1.9717e-10 | -8.7492 | -6.8543 | 95.3271 | -169.1391 | 63.0205 | 0 | 10.892 | -116.9984 | 1.1942 | 0.91197 | 0.8785 | 1.2857 | 0.81006 | 0.71699 | 0.21543 | -130.3547 | 112.8754 | -2.1791 | -124.108 | 108.0016
Line_2 | 0.072675 | 0.3674 | 0.3154 | 0.072277 | 0.36763 | 0.31562 | 0.83917 | 4.2423 | 3.642 | 0.83459 | 4.2451 | 3.6444 | -0.22673 | -2.4633 | -2.0974 | 0.20965 | 2.6392 | 2.1613 | -0.97615 | -2.9833 | -2.4161 | 0.95685 | 3.0069 | 2.5791 | 103.2917 | -0.80784 | -116.1628 | -76.8225 | 179.1375 | 63.9032 | 1.1942 | 0.91197 | 0.8785 | 1.1737 | 0.94246 | 0.92332 | 0.21543 | -130.3547 | 112.8754 | 0.81912 | -132.1367 | 113.9409

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1225 | 1.5601 | 1.2024 | 0.12277 | 1.5598 | 1.2025 | 1.4146 | 18.0142 | 13.8846 | 1.4177 | 18.0114 | 13.8857 | -0.33236 | 12.4174 | 0.73461 | 0.3738 | -8.3698 | -0.35599 | 1.3021 | -0.32824 | 6.6148 | -1.4284 | 1.2074 | -4.9888 | -103.278 | -160.8408 | 36.0109 | 76.9376 | 19.1766 | -144.0142 | 0.95 | 0.68955 | 0.47934 | 1.0415 | 0.46951 | 0.36019 | 1.041 | -162.355 | 119.6738 | 1.6026 | -169.0323 | 121.9043
Line_1 | 0.0013929 | 2.8764 | 2.0631 | 0 | 2.8766 | 2.0623 | 0.016084 | 33.2137 | 23.8231 | 0 | 33.2156 | 23.8134 | -0.0011954 | 15.5902 | 1.6456 | -1.3955e-09 | -1.253e-11 | -9.4181e-12 | -0.016709 | -0.34848 | 8.4216 | -2.8616e-10 | 1.2734e-12 | -3.5917e-12 | 95.6947 | -167.7518 | 42.9608 | 0 | 12.2757 | -137.07 | 1.0415 | 0.46951 | 0.36019 | 1.2926 | 0 | 0 | 1.6026 | -169.0323 | 121.9043 | -3.4615 | 0 | 0
Line_2 | 0.0017833 | 0.67249 | 0.37505 | 0.0023783 | 0.67285 | 0.37508 | 0.020591 | 7.7653 | 4.3306 | 0.027462 | 7.7694 | 4.331 | 0.011599 | -3.6459 | -0.47704 | -0.015089 | 4.6679 | 0.46074 | 0.018039 | -0.0017795 | -1.4851 | -0.021758 | 0.022402 | 1.8744 | -55.6567 | 10.9397 | -130.2879 | 127.5283 | -169.102 | 49.8045 | 1.0415 | 0.46951 | 0.36019 | 0.96416 | 0.60081 | 0.44568 | 1.6026 | -169.0323 | 121.9043 | 2.7871 | -168.8271 | 125.995

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1225 | 1.5601 | 1.2024 | 0.12277 | 1.5598 | 1.2025 | 1.4146 | 18.0142 | 13.8846 | 1.4177 | 18.0114 | 13.8857 | -0.33236 | 12.4174 | 0.73461 | 0.3738 | -8.3698 | -0.35599 | 1.3021 | -0.32824 | 6.6148 | -1.4284 | 1.2074 | -4.9888 | -103.278 | -160.8408 | 36.0109 | 76.9376 | 19.1766 | -144.0142 | 0.95 | 0.68955 | 0.47934 | 1.0415 | 0.46951 | 0.36019 | 1.041 | -162.355 | 119.6738 | 1.6026 | -169.0323 | 121.9043
Line_1 | 0.0013929 | 2.8764 | 2.0631 | 0 | 2.8766 | 2.0623 | 0.016084 | 33.2137 | 23.8231 | 0 | 33.2156 | 23.8134 | -0.0011954 | 15.5902 | 1.6456 | -1.3955e-09 | -1.253e-11 | -9.4181e-12 | -0.016709 | -0.34848 | 8.4216 | -2.8616e-10 | 1.2734e-12 | -3.5917e-12 | 95.6947 | -167.7518 | 42.9608 | 0 | 12.2757 | -137.07 | 1.0415 | 0.46951 | 0.36019 | 1.2926 | 0 | 0 | 1.6026 | -169.0323 | 121.9043 | -3.4615 | 0 | 0
Line_2 | 0.0017833 | 0.67249 | 0.37505 | 0.0023783 | 0.67285 | 0.37508 | 0.020591 | 7.7653 | 4.3306 | 0.027462 | 7.7694 | 4.331 | 0.011599 | -3.6459 | -0.47704 | -0.015089 | 4.6679 | 0.46074 | 0.018039 | -0.0017795 | -1.4851 | -0.021758 | 0.022402 | 1.8744 | -55.6567 | 10.9397 | -130.2879 | 127.5283 | -169.102 | 49.8045 | 1.0415 | 0.46951 | 0.36019 | 0.96416 | 0.60081 | 0.44568 | 1.6026 | -169.0323 | 121.9043 | 2.7871 | -168.8271 | 125.995

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.074514 | 0.58602 | 0.47899 | 0.074711 | 0.58595 | 0.47892 | 0.86042 | 6.7667 | 5.531 | 0.86269 | 6.7659 | 5.5301 | -0.075185 | 5.3883 | 2.2853 | 0.077214 | -4.7648 | -2.179 | 0.82974 | 2.1495 | 3.8419 | -0.8711 | -2.1205 | -3.4667 | -94.8284 | -154.7611 | 55.7108 | 85.3199 | 25.265 | -124.3209 | 0.9683 | 0.85731 | 0.80822 | 1.0137 | 0.77083 | 0.74043 | 0.34921 | -133.0126 | 114.9645 | 0.38533 | -130.7439 | 113.5275
Line_1 | 0.00071907 | 1.0669 | 0.89213 | 0 | 1.0671 | 0.89149 | 0.0083031 | 12.3196 | 10.3015 | 0 | 12.3222 | 10.294 | 0.00023358 | 8.0044 | 4.8532 | -5.7537e-10 | -5.6938 | -3.9737 | -0.0084137 | 5.1097 | 5.8843 | -2.3306e-10 | -5.6938 | -3.9737 | 88.7951 | -163.2966 | 63.0421 | 0 | 16.7402 | -116.978 | 1.0137 | 0.77083 | 0.74043 | 1.1365 | 0.65348 | 0.54592 | 0.38533 | -130.7439 | 113.5275 | -3.2061 | -118.2598 | 108.022
Line_2 | 0.010939 | 0.25605 | 0.17346 | 0.011248 | 0.25619 | 0.17363 | 0.12631 | 2.9566 | 2.0029 | 0.12988 | 2.9582 | 2.0049 | 0.096299 | -1.8767 | -1.1241 | -0.093525 | 2.0425 | 1.1605 | 0.08439 | -1.2931 | -0.96739 | -0.08518 | 1.2658 | 1.067 | -40.8441 | 14.689 | -107.1882 | 138.9034 | -165.3743 | 72.8986 | 1.0137 | 0.77083 | 0.74043 | 0.97399 | 0.8123 | 0.78628 | 0.38533 | -130.7439 | 113.5275 | 1.2299 | -133.5863 | 115.4952

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.074514 | 0.58602 | 0.47899 | 0.074711 | 0.58595 | 0.47892 | 0.86042 | 6.7667 | 5.531 | 0.86269 | 6.7659 | 5.5301 | -0.075185 | 5.3883 | 2.2853 | 0.077214 | -4.7648 | -2.179 | 0.82974 | 2.1495 | 3.8419 | -0.8711 | -2.1205 | -3.4667 | -94.8284 | -154.7611 | 55.7108 | 85.3199 | 25.265 | -124.3209 | 0.9683 | 0.85731 | 0.80822 | 1.0137 | 0.77083 | 0.74043 | 0.34921 | -133.0126 | 114.9645 | 0.38533 | -130.7439 | 113.5275
Line_1 | 0.00071907 | 1.0669 | 0.89213 | 0 | 1.0671 | 0.89149 | 0.0083031 | 12.3196 | 10.3015 | 0 | 12.3222 | 10.294 | 0.00023358 | 8.0044 | 4.8532 | -5.7537e-10 | -5.6938 | -3.9737 | -0.0084137 | 5.1097 | 5.8843 | -2.3306e-10 | -5.6938 | -3.9737 | 88.7951 | -163.2966 | 63.0421 | 0 | 16.7402 | -116.978 | 1.0137 | 0.77083 | 0.74043 | 1.1365 | 0.65348 | 0.54592 | 0.38533 | -130.7439 | 113.5275 | -3.2061 | -118.2598 | 108.022
Line_2 | 0.010939 | 0.25605 | 0.17346 | 0.011248 | 0.25619 | 0.17363 | 0.12631 | 2.9566 | 2.0029 | 0.12988 | 2.9582 | 2.0049 | 0.096299 | -1.8767 | -1.1241 | -0.093525 | 2.0425 | 1.1605 | 0.08439 | -1.2931 | -0.96739 | -0.08518 | 1.2658 | 1.067 | -40.8441 | 14.689 | -107.1882 | 138.9034 | -165.3743 | 72.8986 | 1.0137 | 0.77083 | 0.74043 | 0.97399 | 0.8123 | 0.78628 | 0.38533 | -130.7439 | 113.5275 | 1.2299 | -133.5863 | 115.4952