## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7813 | 0.61888 | 0.67952 | 1.7839 | 0.62181 | 0.68144 | 20.5691 | 7.1463 | 7.8464 | 20.5985 | 7.18 | 7.8686 | 8.695e-11 | -4.1273 | 13.141 | 7.3425 | 6.0578 | -10.6833 | -8.8629e-11 | 8.3898 | -0.69123 | 3.4838 | -7.0339 | 0.83003 | 116.1649 | 97.5869 | 134.4266 | -63.8861 | -82.4771 | -45.7673 |  | 0 | 1.3084 | 1.6771 | 0.39455 | 1.2929 | 1.3618 | 0 | -146.2186 | 131.4156 | -38.5032 | -131.7408 | 129.79
Line_1 | 0.89401 | 0.31299 | 0.34257 | 0.89194 | 0.3109 | 0.34072 | 10.3231 | 3.6141 | 3.9556 | 10.2992 | 3.59 | 3.9343 | 5.5248 | 3.527 | -4.7419 | -3.6712 | -3.0289 | 5.3416 | 2.6216 | -3.1929 | 0.44815 | -1.7419 | 3.5169 | -0.41502 | -63.9113 | -82.4244 | -45.9371 | 116.1139 | 97.5229 | 134.2327 |  | 0.59238 | 1.3164 | 1.2041 | 0.39455 | 1.2929 | 1.3618 | -38.5265 | -124.5788 | 128.6639 | -38.5032 | -131.7408 | 129.79
Line_2 | 0.89401 | 0.31299 | 0.34257 | 0.89194 | 0.3109 | 0.34072 | 10.3231 | 3.6141 | 3.9556 | 10.2992 | 3.59 | 3.9343 | 5.5248 | 3.527 | -4.7419 | -3.6712 | -3.0289 | 5.3416 | 2.6216 | -3.1929 | 0.44815 | -1.7419 | 3.5169 | -0.41502 | -63.9113 | -82.4244 | -45.9371 | 116.1139 | 97.5229 | 134.2327 |  | 0.59238 | 1.3164 | 1.2041 | 0.39455 | 1.2929 | 1.3618 | -38.5265 | -124.5788 | 128.6639 | -38.5032 | -131.7408 | 129.79

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7813 | 0.61888 | 0.67952 | 1.7839 | 0.62181 | 0.68144 | 20.5691 | 7.1463 | 7.8464 | 20.5985 | 7.18 | 7.8686 | 8.695e-11 | -4.1273 | 13.141 | 7.3425 | 6.0578 | -10.6833 | -8.8629e-11 | 8.3898 | -0.69123 | 3.4838 | -7.0339 | 0.83003 | 116.1649 | 97.5869 | 134.4266 | -63.8861 | -82.4771 | -45.7673 |  | 0 | 1.3084 | 1.6771 | 0.39455 | 1.2929 | 1.3618 | 0 | -146.2186 | 131.4156 | -38.5032 | -131.7408 | 129.79
Line_1 | 0.89401 | 0.31299 | 0.34257 | 0.89194 | 0.3109 | 0.34072 | 10.3231 | 3.6141 | 3.9556 | 10.2992 | 3.59 | 3.9343 | 5.5248 | 3.527 | -4.7419 | -3.6712 | -3.0289 | 5.3416 | 2.6216 | -3.1929 | 0.44815 | -1.7419 | 3.5169 | -0.41502 | -63.9113 | -82.4244 | -45.9371 | 116.1139 | 97.5229 | 134.2327 |  | 0.59238 | 1.3164 | 1.2041 | 0.39455 | 1.2929 | 1.3618 | -38.5265 | -124.5788 | 128.6639 | -38.5032 | -131.7408 | 129.79
Line_2 | 0.89401 | 0.31299 | 0.34257 | 0.89194 | 0.3109 | 0.34072 | 10.3231 | 3.6141 | 3.9556 | 10.2992 | 3.59 | 3.9343 | 5.5248 | 3.527 | -4.7419 | -3.6712 | -3.0289 | 5.3416 | 2.6216 | -3.1929 | 0.44815 | -1.7419 | 3.5169 | -0.41502 | -63.9113 | -82.4244 | -45.9371 | 116.1139 | 97.5229 | 134.2327 |  | 0.59238 | 1.3164 | 1.2041 | 0.39455 | 1.2929 | 1.3618 | -38.5265 | -124.5788 | 128.6639 | -38.5032 | -131.7408 | 129.79

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.69041 | 0.11889 | 0.32874 | 0.69127 | 0.11952 | 0.32895 | 7.9722 | 1.3728 | 3.796 | 7.9821 | 1.3801 | 3.7984 | -3.6069 | -1.654 | 3.3066 | 4.5019 | 1.6607 | -2.9667 | -5.2896 | -0.080161 | -3.5828 | 5.8805 | 0.20206 | 3.4749 | 118.9706 | 48.934 | 173.2366 | -61.0592 | -130.7373 | -6.9216 |  | 0.80309 | 1.2063 | 1.2844 | 0.92782 | 1.2122 | 1.2029 | -5.3188 | -128.2913 | 125.9412 | -8.4954 | -123.7999 | 123.5678
Line_1 | 0.34629 | 0.060007 | 0.16485 | 0.34564 | 0.059761 | 0.16448 | 3.9986 | 0.69291 | 1.9035 | 3.9911 | 0.69006 | 1.8992 | 2.4795 | 0.83445 | -1.4039 | -2.2509 | -0.83034 | 1.4834 | 3.092 | 0.12604 | 1.7112 | -2.9403 | -0.10103 | -1.7374 | -61.0621 | -130.158 | -7.1092 | 118.9408 | 49.2627 | 173.0784 |  | 0.9912 | 1.2179 | 1.1628 | 0.92782 | 1.2122 | 1.2029 | -9.7889 | -121.5689 | 122.2562 | -8.4954 | -123.7999 | 123.5678
Line_2 | 0.34629 | 0.060007 | 0.16485 | 0.34564 | 0.059761 | 0.16448 | 3.9986 | 0.69291 | 1.9035 | 3.9911 | 0.69006 | 1.8992 | 2.4795 | 0.83445 | -1.4039 | -2.2509 | -0.83034 | 1.4834 | 3.092 | 0.12604 | 1.7112 | -2.9403 | -0.10103 | -1.7374 | -61.0621 | -130.158 | -7.1092 | 118.9408 | 49.2627 | 173.0784 |  | 0.9912 | 1.2179 | 1.1628 | 0.92782 | 1.2122 | 1.2029 | -9.7889 | -121.5689 | 122.2562 | -8.4954 | -123.7999 | 123.5678

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.69041 | 0.11889 | 0.32874 | 0.69127 | 0.11952 | 0.32895 | 7.9722 | 1.3728 | 3.796 | 7.9821 | 1.3801 | 3.7984 | -3.6069 | -1.654 | 3.3066 | 4.5019 | 1.6607 | -2.9667 | -5.2896 | -0.080161 | -3.5828 | 5.8805 | 0.20206 | 3.4749 | 118.9706 | 48.934 | 173.2366 | -61.0592 | -130.7373 | -6.9216 |  | 0.80309 | 1.2063 | 1.2844 | 0.92782 | 1.2122 | 1.2029 | -5.3188 | -128.2913 | 125.9412 | -8.4954 | -123.7999 | 123.5678
Line_1 | 0.34629 | 0.060007 | 0.16485 | 0.34564 | 0.059761 | 0.16448 | 3.9986 | 0.69291 | 1.9035 | 3.9911 | 0.69006 | 1.8992 | 2.4795 | 0.83445 | -1.4039 | -2.2509 | -0.83034 | 1.4834 | 3.092 | 0.12604 | 1.7112 | -2.9403 | -0.10103 | -1.7374 | -61.0621 | -130.158 | -7.1092 | 118.9408 | 49.2627 | 173.0784 |  | 0.9912 | 1.2179 | 1.1628 | 0.92782 | 1.2122 | 1.2029 | -9.7889 | -121.5689 | 122.2562 | -8.4954 | -123.7999 | 123.5678
Line_2 | 0.34629 | 0.060007 | 0.16485 | 0.34564 | 0.059761 | 0.16448 | 3.9986 | 0.69291 | 1.9035 | 3.9911 | 0.69006 | 1.8992 | 2.4795 | 0.83445 | -1.4039 | -2.2509 | -0.83034 | 1.4834 | 3.092 | 0.12604 | 1.7112 | -2.9403 | -0.10103 | -1.7374 | -61.0621 | -130.158 | -7.1092 | 118.9408 | 49.2627 | 173.0784 |  | 0.9912 | 1.2179 | 1.1628 | 0.92782 | 1.2122 | 1.2029 | -9.7889 | -121.5689 | 122.2562 | -8.4954 | -123.7999 | 123.5678

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1466 | 0.49541 | 0.40913 | 1.1481 | 0.49715 | 0.41081 | 13.2393 | 5.7205 | 4.7243 | 13.2568 | 5.7406 | 4.7436 | -3.1883e-11 | 1.4471 | 7.4053 | 6.1251 | 0.86806 | -5.5648 | 6.652e-12 | 6.6922 | 0.0087925 | 1.2719 | -6.1355 | 0.36217 | 137.0135 | 130.8659 | 132.7927 | -43.094 | -49.3621 | -47.4912 |  | 0 | 1.1969 | 1.5675 | 0.47189 | 1.0794 | 1.1756 | 0 | -151.3353 | 132.8608 | -31.3631 | -131.3092 | 128.7851
Line_1 | 0.5753 | 0.24989 | 0.20671 | 0.57404 | 0.24857 | 0.2054 | 6.643 | 2.8855 | 2.3869 | 6.6284 | 2.8703 | 2.3718 | 4.6078 | 1.0201 | -2.3282 | -3.0626 | -0.43403 | 2.7824 | 0.95813 | -2.9358 | 0.27868 | -0.63595 | 3.0677 | -0.18108 | -43.1514 | -49.4619 | -47.6237 | 136.906 | 130.6379 | 132.5088 |  | 0.70848 | 1.0771 | 0.98241 | 0.47189 | 1.0794 | 1.1756 | -31.405 | -120.3021 | 125.5506 | -31.3631 | -131.3092 | 128.7851
Line_2 | 0.5753 | 0.24989 | 0.20671 | 0.57404 | 0.24857 | 0.2054 | 6.643 | 2.8855 | 2.3869 | 6.6284 | 2.8703 | 2.3718 | 4.6078 | 1.0201 | -2.3282 | -3.0626 | -0.43403 | 2.7824 | 0.95813 | -2.9358 | 0.27868 | -0.63595 | 3.0677 | -0.18108 | -43.1514 | -49.4619 | -47.6237 | 136.906 | 130.6379 | 132.5088 |  | 0.70848 | 1.0771 | 0.98241 | 0.47189 | 1.0794 | 1.1756 | -31.405 | -120.3021 | 125.5506 | -31.3631 | -131.3092 | 128.7851

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1466 | 0.49541 | 0.40913 | 1.1481 | 0.49715 | 0.41081 | 13.2393 | 5.7205 | 4.7243 | 13.2568 | 5.7406 | 4.7436 | -3.1883e-11 | 1.4471 | 7.4053 | 6.1251 | 0.86806 | -5.5648 | 6.652e-12 | 6.6922 | 0.0087925 | 1.2719 | -6.1355 | 0.36217 | 137.0135 | 130.8659 | 132.7927 | -43.094 | -49.3621 | -47.4912 |  | 0 | 1.1969 | 1.5675 | 0.47189 | 1.0794 | 1.1756 | 0 | -151.3353 | 132.8608 | -31.3631 | -131.3092 | 128.7851
Line_1 | 0.5753 | 0.24989 | 0.20671 | 0.57404 | 0.24857 | 0.2054 | 6.643 | 2.8855 | 2.3869 | 6.6284 | 2.8703 | 2.3718 | 4.6078 | 1.0201 | -2.3282 | -3.0626 | -0.43403 | 2.7824 | 0.95813 | -2.9358 | 0.27868 | -0.63595 | 3.0677 | -0.18108 | -43.1514 | -49.4619 | -47.6237 | 136.906 | 130.6379 | 132.5088 |  | 0.70848 | 1.0771 | 0.98241 | 0.47189 | 1.0794 | 1.1756 | -31.405 | -120.3021 | 125.5506 | -31.3631 | -131.3092 | 128.7851
Line_2 | 0.5753 | 0.24989 | 0.20671 | 0.57404 | 0.24857 | 0.2054 | 6.643 | 2.8855 | 2.3869 | 6.6284 | 2.8703 | 2.3718 | 4.6078 | 1.0201 | -2.3282 | -3.0626 | -0.43403 | 2.7824 | 0.95813 | -2.9358 | 0.27868 | -0.63595 | 3.0677 | -0.18108 | -43.1514 | -49.4619 | -47.6237 | 136.906 | 130.6379 | 132.5088 |  | 0.70848 | 1.0771 | 0.98241 | 0.47189 | 1.0794 | 1.1756 | -31.405 | -120.3021 | 125.5506 | -31.3631 | -131.3092 | 128.7851

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38826 | 0.16776 | 0.13854 | 0.38877 | 0.16835 | 0.13911 | 4.4832 | 1.9371 | 1.5998 | 4.4891 | 1.9439 | 1.6063 | -2.3746 | -0.12458 | 1.8524 | 3.0767 | 0.39606 | -1.6471 | -1.785 | 2.0177 | -0.34141 | 1.9377 | -1.9571 | 0.38035 | 141.0202 | 134.8726 | 136.7994 | -39.0873 | -45.3554 | -43.4845 |  | 0.66262 | 1.0436 | 1.1774 | 0.80996 | 1.0272 | 1.0524 | -2.0464 | -131.5943 | 126.3565 | -6.8847 | -123.9146 | 123.5127
Line_1 | 0.19481 | 0.084621 | 0.069997 | 0.19439 | 0.084175 | 0.069556 | 2.2495 | 0.97712 | 0.80826 | 2.2446 | 0.97197 | 0.80316 | 1.7173 | 0.26712 | -0.77508 | -1.5384 | -0.19803 | 0.82356 | 1.009 | -0.96646 | 0.20127 | -0.96885 | 0.97853 | -0.19018 | -39.1447 | -45.4552 | -43.617 | 140.9127 | 134.6446 | 136.5155 |  | 0.88541 | 1.0262 | 0.99076 | 0.80996 | 1.0272 | 1.0524 | -8.7088 | -120.0053 | 121.8262 | -6.8847 | -123.9146 | 123.5127
Line_2 | 0.19481 | 0.084621 | 0.069997 | 0.19439 | 0.084175 | 0.069556 | 2.2495 | 0.97712 | 0.80826 | 2.2446 | 0.97197 | 0.80316 | 1.7173 | 0.26712 | -0.77508 | -1.5384 | -0.19803 | 0.82356 | 1.009 | -0.96646 | 0.20127 | -0.96885 | 0.97853 | -0.19018 | -39.1447 | -45.4552 | -43.617 | 140.9127 | 134.6446 | 136.5155 |  | 0.88541 | 1.0262 | 0.99076 | 0.80996 | 1.0272 | 1.0524 | -8.7088 | -120.0053 | 121.8262 | -6.8847 | -123.9146 | 123.5127

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38826 | 0.16776 | 0.13854 | 0.38877 | 0.16835 | 0.13911 | 4.4832 | 1.9371 | 1.5998 | 4.4891 | 1.9439 | 1.6063 | -2.3746 | -0.12458 | 1.8524 | 3.0767 | 0.39606 | -1.6471 | -1.785 | 2.0177 | -0.34141 | 1.9377 | -1.9571 | 0.38035 | 141.0202 | 134.8726 | 136.7994 | -39.0873 | -45.3554 | -43.4845 |  | 0.66262 | 1.0436 | 1.1774 | 0.80996 | 1.0272 | 1.0524 | -2.0464 | -131.5943 | 126.3565 | -6.8847 | -123.9146 | 123.5127
Line_1 | 0.19481 | 0.084621 | 0.069997 | 0.19439 | 0.084175 | 0.069556 | 2.2495 | 0.97712 | 0.80826 | 2.2446 | 0.97197 | 0.80316 | 1.7173 | 0.26712 | -0.77508 | -1.5384 | -0.19803 | 0.82356 | 1.009 | -0.96646 | 0.20127 | -0.96885 | 0.97853 | -0.19018 | -39.1447 | -45.4552 | -43.617 | 140.9127 | 134.6446 | 136.5155 |  | 0.88541 | 1.0262 | 0.99076 | 0.80996 | 1.0272 | 1.0524 | -8.7088 | -120.0053 | 121.8262 | -6.8847 | -123.9146 | 123.5127
Line_2 | 0.19481 | 0.084621 | 0.069997 | 0.19439 | 0.084175 | 0.069556 | 2.2495 | 0.97712 | 0.80826 | 2.2446 | 0.97197 | 0.80316 | 1.7173 | 0.26712 | -0.77508 | -1.5384 | -0.19803 | 0.82356 | 1.009 | -0.96646 | 0.20127 | -0.96885 | 0.97853 | -0.19018 | -39.1447 | -45.4552 | -43.617 | 140.9127 | 134.6446 | 136.5155 |  | 0.88541 | 1.0262 | 0.99076 | 0.80996 | 1.0272 | 1.0524 | -8.7088 | -120.0053 | 121.8262 | -6.8847 | -123.9146 | 123.5127

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17726 | 2.0254 | 1.3414 | 0.17903 | 2.026 | 1.3429 | 2.0469 | 23.3873 | 15.4896 | 2.0673 | 23.3945 | 15.5068 | 1.9575 | 4.1538e-11 | 2.6219e-11 | -1.5596 | 6.2984 | 0.88046 | 2.4773 | -1.6487e-11 | -1.3312e-11 | -2.373 | 0.51088 | 4.1003 | -54.6639 | -12.82 | -128.6688 | 125.003 | 167.1248 | 51.3914 |  | 1.5425 | 0 | 0 | 1.3736 | 0.27011 | 0.27045 | -2.9796 | 0 | 0 | 1.6882 | 171.7621 | 129.2721
Line_1 | 0.090935 | 1.0139 | 0.67208 | 0.089516 | 1.013 | 0.67146 | 1.05 | 11.7076 | 7.7605 | 1.0336 | 11.6972 | 7.7534 | -0.68653 | 4.7314 | 0.6676 | 0.77982 | -3.1492 | -0.44023 | -1.1713 | 0.3857 | 3.0799 | 1.1865 | -0.25544 | -2.0501 | 124.8609 | 167.0616 | 51.502 | -54.997 | -12.8752 | -128.6086 |  | 1.293 | 0.40547 | 0.40608 | 1.3736 | 0.27011 | 0.27045 | 4.4852 | 171.722 | 129.2717 | 1.6882 | 171.7621 | 129.2721
Line_2 | 0.090935 | 1.0139 | 0.67208 | 0.089516 | 1.013 | 0.67146 | 1.05 | 11.7076 | 7.7605 | 1.0336 | 11.6972 | 7.7534 | -0.68653 | 4.7314 | 0.6676 | 0.77982 | -3.1492 | -0.44023 | -1.1713 | 0.3857 | 3.0799 | 1.1865 | -0.25544 | -2.0501 | 124.8609 | 167.0616 | 51.502 | -54.997 | -12.8752 | -128.6086 |  | 1.293 | 0.40547 | 0.40608 | 1.3736 | 0.27011 | 0.27045 | 4.4852 | 171.722 | 129.2717 | 1.6882 | 171.7621 | 129.2721

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17726 | 2.0254 | 1.3414 | 0.17903 | 2.026 | 1.3429 | 2.0469 | 23.3873 | 15.4896 | 2.0673 | 23.3945 | 15.5068 | 1.9575 | 4.1538e-11 | 2.6219e-11 | -1.5596 | 6.2984 | 0.88046 | 2.4773 | -1.6487e-11 | -1.3312e-11 | -2.373 | 0.51088 | 4.1003 | -54.6639 | -12.82 | -128.6688 | 125.003 | 167.1248 | 51.3914 |  | 1.5425 | 0 | 0 | 1.3736 | 0.27011 | 0.27045 | -2.9796 | 0 | 0 | 1.6882 | 171.7621 | 129.2721
Line_1 | 0.090935 | 1.0139 | 0.67208 | 0.089516 | 1.013 | 0.67146 | 1.05 | 11.7076 | 7.7605 | 1.0336 | 11.6972 | 7.7534 | -0.68653 | 4.7314 | 0.6676 | 0.77982 | -3.1492 | -0.44023 | -1.1713 | 0.3857 | 3.0799 | 1.1865 | -0.25544 | -2.0501 | 124.8609 | 167.0616 | 51.502 | -54.997 | -12.8752 | -128.6086 |  | 1.293 | 0.40547 | 0.40608 | 1.3736 | 0.27011 | 0.27045 | 4.4852 | 171.722 | 129.2717 | 1.6882 | 171.7621 | 129.2721
Line_2 | 0.090935 | 1.0139 | 0.67208 | 0.089516 | 1.013 | 0.67146 | 1.05 | 11.7076 | 7.7605 | 1.0336 | 11.6972 | 7.7534 | -0.68653 | 4.7314 | 0.6676 | 0.77982 | -3.1492 | -0.44023 | -1.1713 | 0.3857 | 3.0799 | 1.1865 | -0.25544 | -2.0501 | 124.8609 | 167.0616 | 51.502 | -54.997 | -12.8752 | -128.6086 |  | 1.293 | 0.40547 | 0.40608 | 1.3736 | 0.27011 | 0.27045 | 4.4852 | 171.722 | 129.2717 | 1.6882 | 171.7621 | 129.2721

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10455 | 0.63791 | 0.5731 | 0.10408 | 0.6382 | 0.57383 | 1.2072 | 7.366 | 6.6176 | 1.2018 | 7.3693 | 6.626 | 1.0985 | -2.0536 | -4.7996 | -1.0753 | 2.7879 | 5.1253 | -1.1215 | -6.444 | -3.0867 | 1.0255 | 6.4841 | 3.771 | 44.3902 | -12.4314 | -107.0855 | -135.9698 | 167.5011 | 72.9494 |  | 1.3004 | 0.91818 | 0.86233 | 1.2364 | 0.95775 | 0.96033 | -1.2033 | -120.1074 | 105.6601 | 0.38862 | -125.765 | 109.2936
Line_1 | 0.051902 | 0.31948 | 0.2873 | 0.052038 | 0.3191 | 0.28691 | 0.59931 | 3.6891 | 3.3174 | 0.60089 | 3.6847 | 3.313 | -0.53508 | 1.5773 | 2.6489 | 0.53765 | -1.394 | -2.5626 | 0.48471 | 3.2563 | 2.0558 | -0.51274 | -3.242 | -1.8855 | -136.5744 | 167.4261 | 73.0316 | 44.0302 | -12.4989 | -107.0506 |  | 1.2047 | 0.9808 | 1.0107 | 1.2364 | 0.95775 | 0.96033 | 1.2535 | -128.4193 | 110.8464 | 0.38862 | -125.765 | 109.2936
Line_2 | 0.051902 | 0.31948 | 0.2873 | 0.052038 | 0.3191 | 0.28691 | 0.59931 | 3.6891 | 3.3174 | 0.60089 | 3.6847 | 3.313 | -0.53508 | 1.5773 | 2.6489 | 0.53765 | -1.394 | -2.5626 | 0.48471 | 3.2563 | 2.0558 | -0.51274 | -3.242 | -1.8855 | -136.5744 | 167.4261 | 73.0316 | 44.0302 | -12.4989 | -107.0506 |  | 1.2047 | 0.9808 | 1.0107 | 1.2364 | 0.95775 | 0.96033 | 1.2535 | -128.4193 | 110.8464 | 0.38862 | -125.765 | 109.2936

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10455 | 0.63791 | 0.5731 | 0.10408 | 0.6382 | 0.57383 | 1.2072 | 7.366 | 6.6176 | 1.2018 | 7.3693 | 6.626 | 1.0985 | -2.0536 | -4.7996 | -1.0753 | 2.7879 | 5.1253 | -1.1215 | -6.444 | -3.0867 | 1.0255 | 6.4841 | 3.771 | 44.3902 | -12.4314 | -107.0855 | -135.9698 | 167.5011 | 72.9494 |  | 1.3004 | 0.91818 | 0.86233 | 1.2364 | 0.95775 | 0.96033 | -1.2033 | -120.1074 | 105.6601 | 0.38862 | -125.765 | 109.2936
Line_1 | 0.051902 | 0.31948 | 0.2873 | 0.052038 | 0.3191 | 0.28691 | 0.59931 | 3.6891 | 3.3174 | 0.60089 | 3.6847 | 3.313 | -0.53508 | 1.5773 | 2.6489 | 0.53765 | -1.394 | -2.5626 | 0.48471 | 3.2563 | 2.0558 | -0.51274 | -3.242 | -1.8855 | -136.5744 | 167.4261 | 73.0316 | 44.0302 | -12.4989 | -107.0506 |  | 1.2047 | 0.9808 | 1.0107 | 1.2364 | 0.95775 | 0.96033 | 1.2535 | -128.4193 | 110.8464 | 0.38862 | -125.765 | 109.2936
Line_2 | 0.051902 | 0.31948 | 0.2873 | 0.052038 | 0.3191 | 0.28691 | 0.59931 | 3.6891 | 3.3174 | 0.60089 | 3.6847 | 3.313 | -0.53508 | 1.5773 | 2.6489 | 0.53765 | -1.394 | -2.5626 | 0.48471 | 3.2563 | 2.0558 | -0.51274 | -3.242 | -1.8855 | -136.5744 | 167.4261 | 73.0316 | 44.0302 | -12.4989 | -107.0506 |  | 1.2047 | 0.9808 | 1.0107 | 1.2364 | 0.95775 | 0.96033 | 1.2535 | -128.4193 | 110.8464 | 0.38862 | -125.765 | 109.2936

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18756 | 1.5819 | 0.85461 | 0.18909 | 1.5819 | 0.85574 | 2.1657 | 18.2662 | 9.8682 | 2.1834 | 18.2666 | 9.8813 | 1.5416 | -2.6016e-11 | -9.836e-12 | -1.1087 | 6.2195 | 0.034803 | 2.5793 | -2.5995e-11 | -1.754e-11 | -2.2794 | -0.50227 | 2.6029 | -62.1617 | 3.0048 | -132.925 | 117.637 | -177.0555 | 47.1569 |  | 1.3875 | 0 | 0 | 1.1609 | 0.34159 | 0.26344 | -3.0284 | 0 | 0 | 1.699 | 178.3274 | 136.3909
Line_1 | 0.095415 | 0.79143 | 0.42806 | 0.094543 | 0.79097 | 0.42787 | 1.1018 | 9.1386 | 4.9429 | 1.0917 | 9.1333 | 4.9406 | -0.44996 | 4.67 | 0.03072 | 0.55434 | -3.1098 | -0.017402 | -1.0673 | -0.37667 | 1.9555 | 1.1397 | 0.25114 | -1.3014 | 117.7002 | -177.1097 | 47.2716 | -62.363 | 2.9445 | -132.8431 |  | 1.0513 | 0.51267 | 0.39566 | 1.1609 | 0.34159 | 0.26344 | 4.8411 | 178.2789 | 136.3716 | 1.699 | 178.3274 | 136.3909
Line_2 | 0.095415 | 0.79143 | 0.42806 | 0.094543 | 0.79097 | 0.42787 | 1.1018 | 9.1386 | 4.9429 | 1.0917 | 9.1333 | 4.9406 | -0.44996 | 4.67 | 0.03072 | 0.55434 | -3.1098 | -0.017402 | -1.0673 | -0.37667 | 1.9555 | 1.1397 | 0.25114 | -1.3014 | 117.7002 | -177.1097 | 47.2716 | -62.363 | 2.9445 | -132.8431 |  | 1.0513 | 0.51267 | 0.39566 | 1.1609 | 0.34159 | 0.26344 | 4.8411 | 178.2789 | 136.3716 | 1.699 | 178.3274 | 136.3909

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18756 | 1.5819 | 0.85461 | 0.18909 | 1.5819 | 0.85574 | 2.1657 | 18.2662 | 9.8682 | 2.1834 | 18.2666 | 9.8813 | 1.5416 | -2.6016e-11 | -9.836e-12 | -1.1087 | 6.2195 | 0.034803 | 2.5793 | -2.5995e-11 | -1.754e-11 | -2.2794 | -0.50227 | 2.6029 | -62.1617 | 3.0048 | -132.925 | 117.637 | -177.0555 | 47.1569 |  | 1.3875 | 0 | 0 | 1.1609 | 0.34159 | 0.26344 | -3.0284 | 0 | 0 | 1.699 | 178.3274 | 136.3909
Line_1 | 0.095415 | 0.79143 | 0.42806 | 0.094543 | 0.79097 | 0.42787 | 1.1018 | 9.1386 | 4.9429 | 1.0917 | 9.1333 | 4.9406 | -0.44996 | 4.67 | 0.03072 | 0.55434 | -3.1098 | -0.017402 | -1.0673 | -0.37667 | 1.9555 | 1.1397 | 0.25114 | -1.3014 | 117.7002 | -177.1097 | 47.2716 | -62.363 | 2.9445 | -132.8431 |  | 1.0513 | 0.51267 | 0.39566 | 1.1609 | 0.34159 | 0.26344 | 4.8411 | 178.2789 | 136.3716 | 1.699 | 178.3274 | 136.3909
Line_2 | 0.095415 | 0.79143 | 0.42806 | 0.094543 | 0.79097 | 0.42787 | 1.1018 | 9.1386 | 4.9429 | 1.0917 | 9.1333 | 4.9406 | -0.44996 | 4.67 | 0.03072 | 0.55434 | -3.1098 | -0.017402 | -1.0673 | -0.37667 | 1.9555 | 1.1397 | 0.25114 | -1.3014 | 117.7002 | -177.1097 | 47.2716 | -62.363 | 2.9445 | -132.8431 |  | 1.0513 | 0.51267 | 0.39566 | 1.1609 | 0.34159 | 0.26344 | 4.8411 | 178.2789 | 136.3716 | 1.699 | 178.3274 | 136.3909

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12022 | 0.36539 | 0.32042 | 0.12083 | 0.36526 | 0.32116 | 1.3882 | 4.2192 | 3.6999 | 1.3952 | 4.2176 | 3.7084 | 1.0023 | -2.117 | -2.6092 | -0.85897 | 2.5775 | 2.9346 | 1.2701 | -2.6548 | -0.39638 | -1.2095 | 2.46 | 0.77219 | -54.2453 | 10.9416 | -84.217 | 125.5518 | -169.1728 | 95.7709 |  | 1.1655 | 0.80478 | 0.71329 | 1.0633 | 0.84479 | 0.81828 | -2.5248 | -117.628 | 104.4212 | 0.17081 | -125.5097 | 110.5129
Line_1 | 0.060805 | 0.18276 | 0.16093 | 0.060416 | 0.18263 | 0.16058 | 0.70212 | 2.1103 | 1.8583 | 0.69762 | 2.1088 | 1.8542 | -0.39557 | 1.4042 | 1.5515 | 0.42948 | -1.2888 | -1.4673 | -0.59116 | 1.1837 | 0.47931 | 0.60477 | -1.23 | -0.38609 | 125.5207 | -169.2881 | 95.8296 | -54.4482 | 10.8272 | -84.2291 |  | 1.0131 | 0.87026 | 0.87384 | 1.0633 | 0.84479 | 0.81828 | 1.7326 | -129.1585 | 112.9972 | 0.17081 | -125.5097 | 110.5129
Line_2 | 0.060805 | 0.18276 | 0.16093 | 0.060416 | 0.18263 | 0.16058 | 0.70212 | 2.1103 | 1.8583 | 0.69762 | 2.1088 | 1.8542 | -0.39557 | 1.4042 | 1.5515 | 0.42948 | -1.2888 | -1.4673 | -0.59116 | 1.1837 | 0.47931 | 0.60477 | -1.23 | -0.38609 | 125.5207 | -169.2881 | 95.8296 | -54.4482 | 10.8272 | -84.2291 |  | 1.0131 | 0.87026 | 0.87384 | 1.0633 | 0.84479 | 0.81828 | 1.7326 | -129.1585 | 112.9972 | 0.17081 | -125.5097 | 110.5129

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12022 | 0.36539 | 0.32042 | 0.12083 | 0.36526 | 0.32116 | 1.3882 | 4.2192 | 3.6999 | 1.3952 | 4.2176 | 3.7084 | 1.0023 | -2.117 | -2.6092 | -0.85897 | 2.5775 | 2.9346 | 1.2701 | -2.6548 | -0.39638 | -1.2095 | 2.46 | 0.77219 | -54.2453 | 10.9416 | -84.217 | 125.5518 | -169.1728 | 95.7709 |  | 1.1655 | 0.80478 | 0.71329 | 1.0633 | 0.84479 | 0.81828 | -2.5248 | -117.628 | 104.4212 | 0.17081 | -125.5097 | 110.5129
Line_1 | 0.060805 | 0.18276 | 0.16093 | 0.060416 | 0.18263 | 0.16058 | 0.70212 | 2.1103 | 1.8583 | 0.69762 | 2.1088 | 1.8542 | -0.39557 | 1.4042 | 1.5515 | 0.42948 | -1.2888 | -1.4673 | -0.59116 | 1.1837 | 0.47931 | 0.60477 | -1.23 | -0.38609 | 125.5207 | -169.2881 | 95.8296 | -54.4482 | 10.8272 | -84.2291 |  | 1.0131 | 0.87026 | 0.87384 | 1.0633 | 0.84479 | 0.81828 | 1.7326 | -129.1585 | 112.9972 | 0.17081 | -125.5097 | 110.5129
Line_2 | 0.060805 | 0.18276 | 0.16093 | 0.060416 | 0.18263 | 0.16058 | 0.70212 | 2.1103 | 1.8583 | 0.69762 | 2.1088 | 1.8542 | -0.39557 | 1.4042 | 1.5515 | 0.42948 | -1.2888 | -1.4673 | -0.59116 | 1.1837 | 0.47931 | 0.60477 | -1.23 | -0.38609 | 125.5207 | -169.2881 | 95.8296 | -54.4482 | 10.8272 | -84.2291 |  | 1.0131 | 0.87026 | 0.87384 | 1.0633 | 0.84479 | 0.81828 | 1.7326 | -129.1585 | 112.9972 | 0.17081 | -125.5097 | 110.5129