## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7747 | 0.75548 | 0.86869 | 1.7775 | 0.75864 | 0.87096 | 20.4921 | 8.7235 | 10.0307 | 20.5252 | 8.76 | 10.057 | 6.235e-11 | -3.4055 | 17.4721 | 7.9006 | 6.1841 | -13.9157 | -6.767e-11 | 12.1438 | 0.33652 | 3.7827 | -10.5041 | 0.10239 | 118.0392 | 106.3055 | 134.451 | -62.0157 | -73.7763 | -45.7098 |  | 0 | 1.4458 | 1.7422 | 0.42677 | 1.3915 | 1.3837 | 0 | -148.0293 | 135.5544 | -36.4311 | -133.2895 | 133.8687
Line_1 | 0.89107 | 0.38165 | 0.43759 | 0.88877 | 0.37932 | 0.43548 | 10.2892 | 4.407 | 5.0528 | 10.2626 | 4.38 | 5.0285 | 5.9466 | 3.8038 | -6.0839 | -3.9503 | -3.0921 | 6.9579 | 2.8474 | -4.8606 | 0.15937 | -1.8914 | 5.2521 | -0.051195 | -62.0404 | -73.7622 | -45.8429 | 117.9843 | 106.2237 | 134.2902 |  | 0.64078 | 1.4005 | 1.2045 | 0.42677 | 1.3915 | 1.3837 | -36.454 | -125.7162 | 132.6566 | -36.4311 | -133.2895 | 133.8687
Line_2 | 0.89107 | 0.38165 | 0.43759 | 0.88877 | 0.37932 | 0.43548 | 10.2892 | 4.407 | 5.0528 | 10.2626 | 4.38 | 5.0285 | 5.9466 | 3.8038 | -6.0839 | -3.9503 | -3.0921 | 6.9579 | 2.8474 | -4.8606 | 0.15937 | -1.8914 | 5.2521 | -0.051195 | -62.0404 | -73.7622 | -45.8429 | 117.9843 | 106.2237 | 134.2902 |  | 0.64078 | 1.4005 | 1.2045 | 0.42677 | 1.3915 | 1.3837 | -36.454 | -125.7162 | 132.6566 | -36.4311 | -133.2895 | 133.8687

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7747 | 0.75548 | 0.86869 | 1.7775 | 0.75864 | 0.87096 | 20.4921 | 8.7235 | 10.0307 | 20.5252 | 8.76 | 10.057 | 6.235e-11 | -3.4055 | 17.4721 | 7.9006 | 6.1841 | -13.9157 | -6.767e-11 | 12.1438 | 0.33652 | 3.7827 | -10.5041 | 0.10239 | 118.0392 | 106.3055 | 134.451 | -62.0157 | -73.7763 | -45.7098 |  | 0 | 1.4458 | 1.7422 | 0.42677 | 1.3915 | 1.3837 | 0 | -148.0293 | 135.5544 | -36.4311 | -133.2895 | 133.8687
Line_1 | 0.89107 | 0.38165 | 0.43759 | 0.88877 | 0.37932 | 0.43548 | 10.2892 | 4.407 | 5.0528 | 10.2626 | 4.38 | 5.0285 | 5.9466 | 3.8038 | -6.0839 | -3.9503 | -3.0921 | 6.9579 | 2.8474 | -4.8606 | 0.15937 | -1.8914 | 5.2521 | -0.051195 | -62.0404 | -73.7622 | -45.8429 | 117.9843 | 106.2237 | 134.2902 |  | 0.64078 | 1.4005 | 1.2045 | 0.42677 | 1.3915 | 1.3837 | -36.454 | -125.7162 | 132.6566 | -36.4311 | -133.2895 | 133.8687
Line_2 | 0.89107 | 0.38165 | 0.43759 | 0.88877 | 0.37932 | 0.43548 | 10.2892 | 4.407 | 5.0528 | 10.2626 | 4.38 | 5.0285 | 5.9466 | 3.8038 | -6.0839 | -3.9503 | -3.0921 | 6.9579 | 2.8474 | -4.8606 | 0.15937 | -1.8914 | 5.2521 | -0.051195 | -62.0404 | -73.7622 | -45.8429 | 117.9843 | 106.2237 | 134.2902 |  | 0.64078 | 1.4005 | 1.2045 | 0.42677 | 1.3915 | 1.3837 | -36.454 | -125.7162 | 132.6566 | -36.4311 | -133.2895 | 133.8687

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.7679 | 0.16084 | 0.41037 | 0.76901 | 0.16202 | 0.41084 | 8.8669 | 1.8572 | 4.7385 | 8.8798 | 1.8709 | 4.744 | -3.8482 | -1.8703 | 5.1052 | 5.0894 | 2.0078 | -4.5158 | -5.3404 | 1.4009 | -3.643 | 6.1273 | -1.2139 | 3.5537 | 120.2634 | 86.0991 | 164.1806 | -59.7718 | -93.8184 | -15.9744 |  | 0.74235 | 1.2582 | 1.3236 | 0.89702 | 1.2541 | 1.2113 | -5.5127 | -130.7346 | 128.6693 | -9.4849 | -124.9741 | 125.8252
Line_1 | 0.38535 | 0.081729 | 0.20601 | 0.38451 | 0.081011 | 0.20542 | 4.4497 | 0.94372 | 2.3788 | 4.4399 | 0.93544 | 2.372 | 2.8615 | 1.0416 | -2.1174 | -2.5447 | -1.0039 | 2.2579 | 3.2655 | -0.56745 | 1.7554 | -3.0637 | 0.60693 | -1.7768 | -59.7758 | -93.5019 | -16.1427 | 120.2282 | 86.1816 | 164.0256 |  | 0.97577 | 1.2569 | 1.1562 | 0.89702 | 1.2541 | 1.2113 | -11.004 | -122.0835 | 124.1966 | -9.4849 | -124.9741 | 125.8252
Line_2 | 0.38535 | 0.081729 | 0.20601 | 0.38451 | 0.081011 | 0.20542 | 4.4497 | 0.94372 | 2.3788 | 4.4399 | 0.93544 | 2.372 | 2.8615 | 1.0416 | -2.1174 | -2.5447 | -1.0039 | 2.2579 | 3.2655 | -0.56745 | 1.7554 | -3.0637 | 0.60693 | -1.7768 | -59.7758 | -93.5019 | -16.1427 | 120.2282 | 86.1816 | 164.0256 |  | 0.97577 | 1.2569 | 1.1562 | 0.89702 | 1.2541 | 1.2113 | -11.004 | -122.0835 | 124.1966 | -9.4849 | -124.9741 | 125.8252

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.7679 | 0.16084 | 0.41037 | 0.76901 | 0.16202 | 0.41084 | 8.8669 | 1.8572 | 4.7385 | 8.8798 | 1.8709 | 4.744 | -3.8482 | -1.8703 | 5.1052 | 5.0894 | 2.0078 | -4.5158 | -5.3404 | 1.4009 | -3.643 | 6.1273 | -1.2139 | 3.5537 | 120.2634 | 86.0991 | 164.1806 | -59.7718 | -93.8184 | -15.9744 |  | 0.74235 | 1.2582 | 1.3236 | 0.89702 | 1.2541 | 1.2113 | -5.5127 | -130.7346 | 128.6693 | -9.4849 | -124.9741 | 125.8252
Line_1 | 0.38535 | 0.081729 | 0.20601 | 0.38451 | 0.081011 | 0.20542 | 4.4497 | 0.94372 | 2.3788 | 4.4399 | 0.93544 | 2.372 | 2.8615 | 1.0416 | -2.1174 | -2.5447 | -1.0039 | 2.2579 | 3.2655 | -0.56745 | 1.7554 | -3.0637 | 0.60693 | -1.7768 | -59.7758 | -93.5019 | -16.1427 | 120.2282 | 86.1816 | 164.0256 |  | 0.97577 | 1.2569 | 1.1562 | 0.89702 | 1.2541 | 1.2113 | -11.004 | -122.0835 | 124.1966 | -9.4849 | -124.9741 | 125.8252
Line_2 | 0.38535 | 0.081729 | 0.20601 | 0.38451 | 0.081011 | 0.20542 | 4.4497 | 0.94372 | 2.3788 | 4.4399 | 0.93544 | 2.372 | 2.8615 | 1.0416 | -2.1174 | -2.5447 | -1.0039 | 2.2579 | 3.2655 | -0.56745 | 1.7554 | -3.0637 | 0.60693 | -1.7768 | -59.7758 | -93.5019 | -16.1427 | 120.2282 | 86.1816 | 164.0256 |  | 0.97577 | 1.2569 | 1.1562 | 0.89702 | 1.2541 | 1.2113 | -11.004 | -122.0835 | 124.1966 | -9.4849 | -124.9741 | 125.8252

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.107 | 0.64098 | 0.5775 | 1.1086 | 0.64294 | 0.57944 | 12.7821 | 7.4014 | 6.6683 | 12.8014 | 7.424 | 6.6907 | -1.9053e-11 | 3.1017 | 11.0313 | 6.4989 | 0.33967 | -8.0196 | 5.5272e-12 | 9.525 | 0.47963 | 1.1614 | -8.7016 | 0.21323 | 141.4502 | 134.6061 | 135.0197 | -38.6776 | -45.5951 | -45.2049 |  | 0 | 1.3534 | 1.6558 | 0.51571 | 1.173 | 1.199 | 0 | -153.4313 | 137.5093 | -28.5452 | -133.3597 | 133.272
Line_1 | 0.55573 | 0.32296 | 0.2912 | 0.55432 | 0.32147 | 0.28972 | 6.4171 | 3.7292 | 3.3625 | 6.4007 | 3.712 | 3.3454 | 4.8908 | 1.0386 | -3.2624 | -3.2494 | -0.16984 | 4.0098 | 0.87643 | -4.1538 | 0.28561 | -0.58071 | 4.3508 | -0.10661 | -38.7479 | -45.6849 | -45.3065 | 141.3224 | 134.4049 | 134.7951 |  | 0.7743 | 1.1482 | 0.97393 | 0.51571 | 1.173 | 1.199 | -28.5883 | -121.6464 | 129.6902 | -28.5452 | -133.3597 | 133.272
Line_2 | 0.55573 | 0.32296 | 0.2912 | 0.55432 | 0.32147 | 0.28972 | 6.4171 | 3.7292 | 3.3625 | 6.4007 | 3.712 | 3.3454 | 4.8908 | 1.0386 | -3.2624 | -3.2494 | -0.16984 | 4.0098 | 0.87643 | -4.1538 | 0.28561 | -0.58071 | 4.3508 | -0.10661 | -38.7479 | -45.6849 | -45.3065 | 141.3224 | 134.4049 | 134.7951 |  | 0.7743 | 1.1482 | 0.97393 | 0.51571 | 1.173 | 1.199 | -28.5883 | -121.6464 | 129.6902 | -28.5452 | -133.3597 | 133.272

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.107 | 0.64098 | 0.5775 | 1.1086 | 0.64294 | 0.57944 | 12.7821 | 7.4014 | 6.6683 | 12.8014 | 7.424 | 6.6907 | -1.9053e-11 | 3.1017 | 11.0313 | 6.4989 | 0.33967 | -8.0196 | 5.5272e-12 | 9.525 | 0.47963 | 1.1614 | -8.7016 | 0.21323 | 141.4502 | 134.6061 | 135.0197 | -38.6776 | -45.5951 | -45.2049 |  | 0 | 1.3534 | 1.6558 | 0.51571 | 1.173 | 1.199 | 0 | -153.4313 | 137.5093 | -28.5452 | -133.3597 | 133.272
Line_1 | 0.55573 | 0.32296 | 0.2912 | 0.55432 | 0.32147 | 0.28972 | 6.4171 | 3.7292 | 3.3625 | 6.4007 | 3.712 | 3.3454 | 4.8908 | 1.0386 | -3.2624 | -3.2494 | -0.16984 | 4.0098 | 0.87643 | -4.1538 | 0.28561 | -0.58071 | 4.3508 | -0.10661 | -38.7479 | -45.6849 | -45.3065 | 141.3224 | 134.4049 | 134.7951 |  | 0.7743 | 1.1482 | 0.97393 | 0.51571 | 1.173 | 1.199 | -28.5883 | -121.6464 | 129.6902 | -28.5452 | -133.3597 | 133.272
Line_2 | 0.55573 | 0.32296 | 0.2912 | 0.55432 | 0.32147 | 0.28972 | 6.4171 | 3.7292 | 3.3625 | 6.4007 | 3.712 | 3.3454 | 4.8908 | 1.0386 | -3.2624 | -3.2494 | -0.16984 | 4.0098 | 0.87643 | -4.1538 | 0.28561 | -0.58071 | 4.3508 | -0.10661 | -38.7479 | -45.6849 | -45.3065 | 141.3224 | 134.4049 | 134.7951 |  | 0.7743 | 1.1482 | 0.97393 | 0.51571 | 1.173 | 1.199 | -28.5883 | -121.6464 | 129.6902 | -28.5452 | -133.3597 | 133.272

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45726 | 0.26478 | 0.23855 | 0.45795 | 0.26558 | 0.23935 | 5.28 | 3.0574 | 2.7545 | 5.288 | 3.0667 | 2.7638 | -2.3217 | -0.036295 | 3.4642 | 3.4295 | 0.63123 | -2.957 | -2.0552 | 3.3293 | -0.25594 | 2.2617 | -3.192 | 0.36908 | 139.7086 | 132.8644 | 133.2781 | -40.4192 | -47.3367 | -46.9465 |  | 0.58725 | 1.089 | 1.2611 | 0.77688 | 1.061 | 1.0782 | 1.225 | -136.511 | 129.0527 | -7.0152 | -126.1506 | 125.9388
Line_1 | 0.22956 | 0.13341 | 0.12029 | 0.22898 | 0.13279 | 0.11968 | 2.6507 | 1.5405 | 1.389 | 2.644 | 1.5333 | 1.3819 | 1.9965 | 0.46653 | -1.3553 | -1.7148 | -0.31562 | 1.4785 | 1.1854 | -1.5659 | 0.21452 | -1.1308 | 1.596 | -0.18454 | -40.4895 | -47.4265 | -47.0481 | 139.5808 | 132.6633 | 133.0535 |  | 0.87594 | 1.0607 | 0.98791 | 0.77688 | 1.061 | 1.0782 | -9.7912 | -120.8359 | 123.9578 | -7.0152 | -126.1506 | 125.9388
Line_2 | 0.22956 | 0.13341 | 0.12029 | 0.22898 | 0.13279 | 0.11968 | 2.6507 | 1.5405 | 1.389 | 2.644 | 1.5333 | 1.3819 | 1.9965 | 0.46653 | -1.3553 | -1.7148 | -0.31562 | 1.4785 | 1.1854 | -1.5659 | 0.21452 | -1.1308 | 1.596 | -0.18454 | -40.4895 | -47.4265 | -47.0481 | 139.5808 | 132.6633 | 133.0535 |  | 0.87594 | 1.0607 | 0.98791 | 0.77688 | 1.061 | 1.0782 | -9.7912 | -120.8359 | 123.9578 | -7.0152 | -126.1506 | 125.9388

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45726 | 0.26478 | 0.23855 | 0.45795 | 0.26558 | 0.23935 | 5.28 | 3.0574 | 2.7545 | 5.288 | 3.0667 | 2.7638 | -2.3217 | -0.036295 | 3.4642 | 3.4295 | 0.63123 | -2.957 | -2.0552 | 3.3293 | -0.25594 | 2.2617 | -3.192 | 0.36908 | 139.7086 | 132.8644 | 133.2781 | -40.4192 | -47.3367 | -46.9465 |  | 0.58725 | 1.089 | 1.2611 | 0.77688 | 1.061 | 1.0782 | 1.225 | -136.511 | 129.0527 | -7.0152 | -126.1506 | 125.9388
Line_1 | 0.22956 | 0.13341 | 0.12029 | 0.22898 | 0.13279 | 0.11968 | 2.6507 | 1.5405 | 1.389 | 2.644 | 1.5333 | 1.3819 | 1.9965 | 0.46653 | -1.3553 | -1.7148 | -0.31562 | 1.4785 | 1.1854 | -1.5659 | 0.21452 | -1.1308 | 1.596 | -0.18454 | -40.4895 | -47.4265 | -47.0481 | 139.5808 | 132.6633 | 133.0535 |  | 0.87594 | 1.0607 | 0.98791 | 0.77688 | 1.061 | 1.0782 | -9.7912 | -120.8359 | 123.9578 | -7.0152 | -126.1506 | 125.9388
Line_2 | 0.22956 | 0.13341 | 0.12029 | 0.22898 | 0.13279 | 0.11968 | 2.6507 | 1.5405 | 1.389 | 2.644 | 1.5333 | 1.3819 | 1.9965 | 0.46653 | -1.3553 | -1.7148 | -0.31562 | 1.4785 | 1.1854 | -1.5659 | 0.21452 | -1.1308 | 1.596 | -0.18454 | -40.4895 | -47.4265 | -47.0481 | 139.5808 | 132.6633 | 133.0535 |  | 0.87594 | 1.0607 | 0.98791 | 0.77688 | 1.061 | 1.0782 | -9.7912 | -120.8359 | 123.9578 | -7.0152 | -126.1506 | 125.9388

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24954 | 2.0348 | 1.3262 | 0.25127 | 2.0355 | 1.3277 | 2.8814 | 23.4958 | 15.3135 | 2.9014 | 23.5036 | 15.3308 | 3.127 | 3.1073e-11 | 1.9439e-11 | -2.5274 | 6.5103 | 0.77531 | 3.3569 | -8.7526e-12 | -7.3954e-12 | -3.2286 | 0.54761 | 4.1357 | -48.7131 | -12.6417 | -128.9082 | 131.009 | 167.3019 | 51.1564 |  | 1.5922 | 0 | 0 | 1.4132 | 0.27797 | 0.27446 | -1.6826 | 0 | 0 | 2.9542 | 172.11 | 130.5385
Line_1 | 0.12708 | 1.0187 | 0.66444 | 0.12563 | 1.0177 | 0.66384 | 1.4673 | 11.7628 | 7.6723 | 1.4507 | 11.7518 | 7.6654 | -1.1202 | 4.8909 | 0.58898 | 1.2637 | -3.2551 | -0.38765 | -1.5937 | 0.41349 | 3.1066 | 1.6143 | -0.27381 | -2.0679 | 130.8502 | 167.238 | 51.2733 | -48.991 | -12.6981 | -128.8436 |  | 1.3276 | 0.41727 | 0.41213 | 1.4132 | 0.27797 | 0.27446 | 5.7474 | 172.0705 | 130.5381 | 2.9542 | 172.11 | 130.5385
Line_2 | 0.12708 | 1.0187 | 0.66444 | 0.12563 | 1.0177 | 0.66384 | 1.4673 | 11.7628 | 7.6723 | 1.4507 | 11.7518 | 7.6654 | -1.1202 | 4.8909 | 0.58898 | 1.2637 | -3.2551 | -0.38765 | -1.5937 | 0.41349 | 3.1066 | 1.6143 | -0.27381 | -2.0679 | 130.8502 | 167.238 | 51.2733 | -48.991 | -12.6981 | -128.8436 |  | 1.3276 | 0.41727 | 0.41213 | 1.4132 | 0.27797 | 0.27446 | 5.7474 | 172.0705 | 130.5381 | 2.9542 | 172.11 | 130.5385

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24954 | 2.0348 | 1.3262 | 0.25127 | 2.0355 | 1.3277 | 2.8814 | 23.4958 | 15.3135 | 2.9014 | 23.5036 | 15.3308 | 3.127 | 3.1073e-11 | 1.9439e-11 | -2.5274 | 6.5103 | 0.77531 | 3.3569 | -8.7526e-12 | -7.3954e-12 | -3.2286 | 0.54761 | 4.1357 | -48.7131 | -12.6417 | -128.9082 | 131.009 | 167.3019 | 51.1564 |  | 1.5922 | 0 | 0 | 1.4132 | 0.27797 | 0.27446 | -1.6826 | 0 | 0 | 2.9542 | 172.11 | 130.5385
Line_1 | 0.12708 | 1.0187 | 0.66444 | 0.12563 | 1.0177 | 0.66384 | 1.4673 | 11.7628 | 7.6723 | 1.4507 | 11.7518 | 7.6654 | -1.1202 | 4.8909 | 0.58898 | 1.2637 | -3.2551 | -0.38765 | -1.5937 | 0.41349 | 3.1066 | 1.6143 | -0.27381 | -2.0679 | 130.8502 | 167.238 | 51.2733 | -48.991 | -12.6981 | -128.8436 |  | 1.3276 | 0.41727 | 0.41213 | 1.4132 | 0.27797 | 0.27446 | 5.7474 | 172.0705 | 130.5381 | 2.9542 | 172.11 | 130.5385
Line_2 | 0.12708 | 1.0187 | 0.66444 | 0.12563 | 1.0177 | 0.66384 | 1.4673 | 11.7628 | 7.6723 | 1.4507 | 11.7518 | 7.6654 | -1.1202 | 4.8909 | 0.58898 | 1.2637 | -3.2551 | -0.38765 | -1.5937 | 0.41349 | 3.1066 | 1.6143 | -0.27381 | -2.0679 | 130.8502 | 167.238 | 51.2733 | -48.991 | -12.6981 | -128.8436 |  | 1.3276 | 0.41727 | 0.41213 | 1.4132 | 0.27797 | 0.27446 | 5.7474 | 172.0705 | 130.5381 | 2.9542 | 172.11 | 130.5385

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12724 | 0.68636 | 0.60254 | 0.12722 | 0.68677 | 0.60346 | 1.4692 | 7.9254 | 6.9575 | 1.469 | 7.9301 | 6.9681 | 1.9467 | -1.5495 | -5.3624 | -1.8399 | 2.5003 | 5.7944 | -0.39417 | -6.936 | -2.5343 | 0.2932 | 6.9901 | 3.3662 | 10.6393 | -15.16 | -102.4529 | -169.8062 | 164.7648 | 77.5817 |  | 1.3519 | 0.89674 | 0.85247 | 1.2683 | 0.93616 | 0.9617 | -0.8071 | -117.7534 | 102.8427 | 1.1395 | -124.9172 | 107.7356
Line_1 | 0.063852 | 0.34388 | 0.30224 | 0.063609 | 0.34338 | 0.30173 | 0.7373 | 3.9708 | 3.4899 | 0.73449 | 3.9651 | 3.4841 | -0.89715 | 1.4878 | 3.0112 | 0.91996 | -1.2502 | -2.8972 | 0.11637 | 3.5138 | 1.89 | -0.1466 | -3.495 | -1.6831 | -170.3905 | 164.684 | 77.6711 | 10.1938 | -15.2352 | -102.4183 |  | 1.227 | 0.96097 | 1.0187 | 1.2683 | 0.93616 | 0.9617 | 2.2187 | -128.2647 | 109.7857 | 1.1395 | -124.9172 | 107.7356
Line_2 | 0.063852 | 0.34388 | 0.30224 | 0.063609 | 0.34338 | 0.30173 | 0.7373 | 3.9708 | 3.4899 | 0.73449 | 3.9651 | 3.4841 | -0.89715 | 1.4878 | 3.0112 | 0.91996 | -1.2502 | -2.8972 | 0.11637 | 3.5138 | 1.89 | -0.1466 | -3.495 | -1.6831 | -170.3905 | 164.684 | 77.6711 | 10.1938 | -15.2352 | -102.4183 |  | 1.227 | 0.96097 | 1.0187 | 1.2683 | 0.93616 | 0.9617 | 2.2187 | -128.2647 | 109.7857 | 1.1395 | -124.9172 | 107.7356

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12724 | 0.68636 | 0.60254 | 0.12722 | 0.68677 | 0.60346 | 1.4692 | 7.9254 | 6.9575 | 1.469 | 7.9301 | 6.9681 | 1.9467 | -1.5495 | -5.3624 | -1.8399 | 2.5003 | 5.7944 | -0.39417 | -6.936 | -2.5343 | 0.2932 | 6.9901 | 3.3662 | 10.6393 | -15.16 | -102.4529 | -169.8062 | 164.7648 | 77.5817 |  | 1.3519 | 0.89674 | 0.85247 | 1.2683 | 0.93616 | 0.9617 | -0.8071 | -117.7534 | 102.8427 | 1.1395 | -124.9172 | 107.7356
Line_1 | 0.063852 | 0.34388 | 0.30224 | 0.063609 | 0.34338 | 0.30173 | 0.7373 | 3.9708 | 3.4899 | 0.73449 | 3.9651 | 3.4841 | -0.89715 | 1.4878 | 3.0112 | 0.91996 | -1.2502 | -2.8972 | 0.11637 | 3.5138 | 1.89 | -0.1466 | -3.495 | -1.6831 | -170.3905 | 164.684 | 77.6711 | 10.1938 | -15.2352 | -102.4183 |  | 1.227 | 0.96097 | 1.0187 | 1.2683 | 0.93616 | 0.9617 | 2.2187 | -128.2647 | 109.7857 | 1.1395 | -124.9172 | 107.7356
Line_2 | 0.063852 | 0.34388 | 0.30224 | 0.063609 | 0.34338 | 0.30173 | 0.7373 | 3.9708 | 3.4899 | 0.73449 | 3.9651 | 3.4841 | -0.89715 | 1.4878 | 3.0112 | 0.91996 | -1.2502 | -2.8972 | 0.11637 | 3.5138 | 1.89 | -0.1466 | -3.495 | -1.6831 | -170.3905 | 164.684 | 77.6711 | 10.1938 | -15.2352 | -102.4183 |  | 1.227 | 0.96097 | 1.0187 | 1.2683 | 0.93616 | 0.9617 | 2.2187 | -128.2647 | 109.7857 | 1.1395 | -124.9172 | 107.7356

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24608 | 1.5848 | 0.84155 | 0.24757 | 1.5848 | 0.84266 | 2.8415 | 18.2992 | 9.7174 | 2.8587 | 18.2999 | 9.7302 | 2.4976 | -2.1243e-11 | -6.777e-12 | -1.8515 | 6.3975 | -0.1004 | 3.2267 | -2.5377e-11 | -1.6398e-11 | -2.8732 | -0.509 | 2.5968 | -53.9535 | 3.4411 | -134.2008 | 125.8447 | -176.6212 | 45.8889 |  | 1.436 | 0 | 0 | 1.1957 | 0.35069 | 0.26708 | -1.6949 | 0 | 0 | 3.0466 | 178.8297 | 138.1028
Line_1 | 0.12469 | 0.7929 | 0.42149 | 0.12378 | 0.79241 | 0.42133 | 1.4398 | 9.1556 | 4.867 | 1.4293 | 9.15 | 4.8651 | -0.76814 | 4.8039 | -0.070593 | 0.92575 | -3.1987 | 0.050198 | -1.351 | -0.38162 | 1.9511 | 1.4366 | 0.2545 | -1.2984 | 125.8448 | -176.6766 | 46.0105 | -54.1553 | 3.3788 | -134.1111 |  | 1.0794 | 0.52634 | 0.40114 | 1.1957 | 0.35069 | 0.26708 | 6.2233 | 178.7813 | 138.0827 | 3.0466 | 178.8297 | 138.1028
Line_2 | 0.12469 | 0.7929 | 0.42149 | 0.12378 | 0.79241 | 0.42133 | 1.4398 | 9.1556 | 4.867 | 1.4293 | 9.15 | 4.8651 | -0.76814 | 4.8039 | -0.070593 | 0.92575 | -3.1987 | 0.050198 | -1.351 | -0.38162 | 1.9511 | 1.4366 | 0.2545 | -1.2984 | 125.8448 | -176.6766 | 46.0105 | -54.1553 | 3.3788 | -134.1111 |  | 1.0794 | 0.52634 | 0.40114 | 1.1957 | 0.35069 | 0.26708 | 6.2233 | 178.7813 | 138.0827 | 3.0466 | 178.8297 | 138.1028

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24608 | 1.5848 | 0.84155 | 0.24757 | 1.5848 | 0.84266 | 2.8415 | 18.2992 | 9.7174 | 2.8587 | 18.2999 | 9.7302 | 2.4976 | -2.1243e-11 | -6.777e-12 | -1.8515 | 6.3975 | -0.1004 | 3.2267 | -2.5377e-11 | -1.6398e-11 | -2.8732 | -0.509 | 2.5968 | -53.9535 | 3.4411 | -134.2008 | 125.8447 | -176.6212 | 45.8889 |  | 1.436 | 0 | 0 | 1.1957 | 0.35069 | 0.26708 | -1.6949 | 0 | 0 | 3.0466 | 178.8297 | 138.1028
Line_1 | 0.12469 | 0.7929 | 0.42149 | 0.12378 | 0.79241 | 0.42133 | 1.4398 | 9.1556 | 4.867 | 1.4293 | 9.15 | 4.8651 | -0.76814 | 4.8039 | -0.070593 | 0.92575 | -3.1987 | 0.050198 | -1.351 | -0.38162 | 1.9511 | 1.4366 | 0.2545 | -1.2984 | 125.8448 | -176.6766 | 46.0105 | -54.1553 | 3.3788 | -134.1111 |  | 1.0794 | 0.52634 | 0.40114 | 1.1957 | 0.35069 | 0.26708 | 6.2233 | 178.7813 | 138.0827 | 3.0466 | 178.8297 | 138.1028
Line_2 | 0.12469 | 0.7929 | 0.42149 | 0.12378 | 0.79241 | 0.42133 | 1.4398 | 9.1556 | 4.867 | 1.4293 | 9.15 | 4.8651 | -0.76814 | 4.8039 | -0.070593 | 0.92575 | -3.1987 | 0.050198 | -1.351 | -0.38162 | 1.9511 | 1.4366 | 0.2545 | -1.2984 | 125.8448 | -176.6766 | 46.0105 | -54.1553 | 3.3788 | -134.1111 |  | 1.0794 | 0.52634 | 0.40114 | 1.1957 | 0.35069 | 0.26708 | 6.2233 | 178.7813 | 138.0827 | 3.0466 | 178.8297 | 138.1028

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18575 | 0.3957 | 0.35583 | 0.18647 | 0.3956 | 0.35676 | 2.1448 | 4.5691 | 4.1088 | 2.1532 | 4.568 | 4.1195 | 1.7657 | -1.7707 | -2.8248 | -1.4673 | 2.4074 | 3.3139 | 1.9614 | -3.1776 | 0.010241 | -1.8542 | 2.9263 | 0.47405 | -50.8375 | 5.2647 | -79.2203 | 128.9753 | -174.8717 | 100.7489 |  | 1.2304 | 0.79613 | 0.68751 | 1.0981 | 0.82953 | 0.81262 | -2.8314 | -113.8644 | 100.5719 | 0.61964 | -124.3154 | 108.8899
Line_1 | 0.09373 | 0.198 | 0.17885 | 0.093237 | 0.1978 | 0.17838 | 1.0823 | 2.2864 | 2.0652 | 1.0766 | 2.284 | 2.0597 | -0.66131 | 1.3633 | 1.783 | 0.73365 | -1.2037 | -1.6569 | -0.90235 | 1.4034 | 0.35725 | 0.92711 | -1.4631 | -0.23702 | 128.924 | -175.0035 | 100.7999 | -51.0247 | 5.1283 | -79.2511 |  | 1.0337 | 0.85576 | 0.8805 | 1.0981 | 0.82953 | 0.81262 | 2.6875 | -129.1728 | 112.1301 | 0.61964 | -124.3154 | 108.8899
Line_2 | 0.09373 | 0.198 | 0.17885 | 0.093237 | 0.1978 | 0.17838 | 1.0823 | 2.2864 | 2.0652 | 1.0766 | 2.284 | 2.0597 | -0.66131 | 1.3633 | 1.783 | 0.73365 | -1.2037 | -1.6569 | -0.90235 | 1.4034 | 0.35725 | 0.92711 | -1.4631 | -0.23702 | 128.924 | -175.0035 | 100.7999 | -51.0247 | 5.1283 | -79.2511 |  | 1.0337 | 0.85576 | 0.8805 | 1.0981 | 0.82953 | 0.81262 | 2.6875 | -129.1728 | 112.1301 | 0.61964 | -124.3154 | 108.8899

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18575 | 0.3957 | 0.35583 | 0.18647 | 0.3956 | 0.35676 | 2.1448 | 4.5691 | 4.1088 | 2.1532 | 4.568 | 4.1195 | 1.7657 | -1.7707 | -2.8248 | -1.4673 | 2.4074 | 3.3139 | 1.9614 | -3.1776 | 0.010241 | -1.8542 | 2.9263 | 0.47405 | -50.8375 | 5.2647 | -79.2203 | 128.9753 | -174.8717 | 100.7489 |  | 1.2304 | 0.79613 | 0.68751 | 1.0981 | 0.82953 | 0.81262 | -2.8314 | -113.8644 | 100.5719 | 0.61964 | -124.3154 | 108.8899
Line_1 | 0.09373 | 0.198 | 0.17885 | 0.093237 | 0.1978 | 0.17838 | 1.0823 | 2.2864 | 2.0652 | 1.0766 | 2.284 | 2.0597 | -0.66131 | 1.3633 | 1.783 | 0.73365 | -1.2037 | -1.6569 | -0.90235 | 1.4034 | 0.35725 | 0.92711 | -1.4631 | -0.23702 | 128.924 | -175.0035 | 100.7999 | -51.0247 | 5.1283 | -79.2511 |  | 1.0337 | 0.85576 | 0.8805 | 1.0981 | 0.82953 | 0.81262 | 2.6875 | -129.1728 | 112.1301 | 0.61964 | -124.3154 | 108.8899
Line_2 | 0.09373 | 0.198 | 0.17885 | 0.093237 | 0.1978 | 0.17838 | 1.0823 | 2.2864 | 2.0652 | 1.0766 | 2.284 | 2.0597 | -0.66131 | 1.3633 | 1.783 | 0.73365 | -1.2037 | -1.6569 | -0.90235 | 1.4034 | 0.35725 | 0.92711 | -1.4631 | -0.23702 | 128.924 | -175.0035 | 100.7999 | -51.0247 | 5.1283 | -79.2511 |  | 1.0337 | 0.85576 | 0.8805 | 1.0981 | 0.82953 | 0.81262 | 2.6875 | -129.1728 | 112.1301 | 0.61964 | -124.3154 | 108.8899