## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 1.8237e-14 | 1.5632e-14 | -1.5632e-14 | 4.2687e-19 | -1.5632e-14 | -2.6053e-14 | 5.7634e-09 | -5.7634e-09 | 2.0843e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.1118e-13 | 180 | -180 | 7.0145e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0843e-14 | -2.3448e-14 | 1.5632e-14 | -3.6475e-14 | 3.1264e-14 | -1.5632e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0901e-13 | -180 | 180 | 7.0145e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.3898e-29 | -2.6051e-15 | 5.2108e-15 | -1.5632e-14 | 2.0842e-14 | -1.5632e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.9137e-28 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0261e-13 | -180 | 180 | 7.0145e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 1.8237e-14 | 1.5632e-14 | -1.5632e-14 | 4.2687e-19 | -1.5632e-14 | -2.6053e-14 | 5.7634e-09 | -5.7634e-09 | 2.0843e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.1118e-13 | 180 | -180 | 7.0145e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0843e-14 | -2.3448e-14 | 1.5632e-14 | -3.6475e-14 | 3.1264e-14 | -1.5632e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0901e-13 | -180 | 180 | 7.0145e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.3898e-29 | -2.6051e-15 | 5.2108e-15 | -1.5632e-14 | 2.0842e-14 | -1.5632e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.9137e-28 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0261e-13 | -180 | 180 | 7.0145e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-15 | -9.5545e-10 | -3.0749e-09 | -6.5133e-15 | 9.5547e-10 | 3.0749e-09 | -1.5632e-14 | 4.0277e-09 | -3.5665e-10 | 1.5632e-14 | -4.0277e-09 | 3.5665e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.8451e-13 | -140.8543 | 122.4159 | 2.8232e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-15 | 3.185e-10 | 1.025e-09 | -6.5133e-15 | -3.1848e-10 | -1.025e-09 | -6.4893e-30 | -1.3426e-09 | 1.1887e-10 | -2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.8542e-13 | -140.8543 | 122.4159 | 2.8232e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | 3.185e-10 | 1.025e-09 | 3.908e-15 | -3.1849e-10 | -1.025e-09 | -3.2234e-29 | -1.3426e-09 | 1.1888e-10 | 1.9256e-29 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.8356e-13 | -140.8543 | 122.4159 | 2.8232e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-15 | -9.5545e-10 | -3.0749e-09 | -6.5133e-15 | 9.5547e-10 | 3.0749e-09 | -1.5632e-14 | 4.0277e-09 | -3.5665e-10 | 1.5632e-14 | -4.0277e-09 | 3.5665e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.8451e-13 | -140.8543 | 122.4159 | 2.8232e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-15 | 3.185e-10 | 1.025e-09 | -6.5133e-15 | -3.1848e-10 | -1.025e-09 | -6.4893e-30 | -1.3426e-09 | 1.1887e-10 | -2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.8542e-13 | -140.8543 | 122.4159 | 2.8232e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | 3.185e-10 | 1.025e-09 | 3.908e-15 | -3.1849e-10 | -1.025e-09 | -3.2234e-29 | -1.3426e-09 | 1.1888e-10 | 1.9256e-29 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.8356e-13 | -140.8543 | 122.4159 | 2.8232e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -1.3027e-14 | 4.7369e-15 | 1.6579e-14 | 1.658e-14 | 2.3692e-15 | 4.737e-15 | 4.7631e-09 | -4.7631e-09 | 2.7264e-28 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.7043e-13 | -180 | 180 | 9.4221e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.8028e-29 | 5.9215e-15 | 3.0473e-19 | -2.3685e-15 | 2.3682e-15 | 7.1052e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.4378e-13 | -180 | 180 | 9.4221e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 1.1845e-15 | 4.7373e-15 | 2.3685e-15 | 7.1052e-15 | -2.3687e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.2304e-13 | -180 | 180 | 9.4221e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -1.3027e-14 | 4.7369e-15 | 1.6579e-14 | 1.658e-14 | 2.3692e-15 | 4.737e-15 | 4.7631e-09 | -4.7631e-09 | 2.7264e-28 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.7043e-13 | -180 | 180 | 9.4221e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.8028e-29 | 5.9215e-15 | 3.0473e-19 | -2.3685e-15 | 2.3682e-15 | 7.1052e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.4378e-13 | -180 | 180 | 9.4221e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 1.1845e-15 | 4.7373e-15 | 2.3685e-15 | 7.1052e-15 | -2.3687e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.2304e-13 | -180 | 180 | 9.4221e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.6975e-15 | -8.0024e-10 | -2.5674e-09 | 7.6975e-15 | 8.0024e-10 | 2.5674e-09 | -4.737e-15 | 3.4014e-09 | -3.4064e-10 | 4.7953e-29 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.3395e-13 | -141.4824 | 122.8363 | 3.5693e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9606e-16 | 2.6674e-10 | 8.558e-10 | -2.9606e-16 | -2.6675e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -1.8443e-30 | 1.1338e-09 | -1.1354e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.5584e-13 | -141.4824 | 122.8363 | 3.5693e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.8818e-16 | 2.6675e-10 | 8.558e-10 | 2.0724e-15 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.4878e-13 | -141.4824 | 122.8363 | 3.5693e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.6975e-15 | -8.0024e-10 | -2.5674e-09 | 7.6975e-15 | 8.0024e-10 | 2.5674e-09 | -4.737e-15 | 3.4014e-09 | -3.4064e-10 | 4.7953e-29 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.3395e-13 | -141.4824 | 122.8363 | 3.5693e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9606e-16 | 2.6674e-10 | 8.558e-10 | -2.9606e-16 | -2.6675e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -1.8443e-30 | 1.1338e-09 | -1.1354e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.5584e-13 | -141.4824 | 122.8363 | 3.5693e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.8818e-16 | 2.6675e-10 | 8.558e-10 | 2.0724e-15 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.4878e-13 | -141.4824 | 122.8363 | 3.5693e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015383 | 0.015383 | 0.015383 | 0.010258 | 0.010258 | 0.010258 | 0.17762 | 0.17762 | 0.17762 | 0.11845 | 0.11845 | 0.11845 | -3.6617e-13 | 0.1628 | -0.16083 | 0.00048601 | -0.1082 | 0.10757 | 6.0174e-15 | -0.22612 | -0.32509 | 0.0001934 | 0.1509 | 0.21707 | -107.0042 | -107.0042 | -107.0042 | 72.9504 | 72.9504 | 72.9504 | 0 | 1.5687 | 2.042 | 0.0044159 | 1.5676 | 2.0452 | 0 | -161.2526 | 136.6736 | 94.6493 | -161.4091 | 136.5908
Line_1 | 0 | 0 | 0 | 0.0051292 | 0.0051292 | 0.0051292 | 0 | 0 | 0 | 0.059226 | 0.059226 | 0.059226 | -1.8338e-12 | -4.2688e-09 | -7.4385e-09 | -0.00024301 | 0.054099 | -0.053783 | 2.1304e-11 | -4.184e-09 | 2.3539e-09 | -9.6699e-05 | -0.075452 | -0.10854 | 0 | 0 | 0 | -107.0496 | -107.0496 | -107.0496 | 0.0052993 | 1.5674 | 2.0459 | 0.0044159 | 1.5676 | 2.0452 | 94.6448 | -161.4405 | 136.5742 | 94.6493 | -161.4091 | 136.5908
Line_2 | 0 | 0 | 0 | 0.0051292 | 0.0051292 | 0.0051292 | 0 | 0 | 0 | 0.059226 | 0.059226 | 0.059226 | -1.8339e-12 | -4.2688e-09 | -7.4385e-09 | -0.00024301 | 0.054099 | -0.053783 | 2.1304e-11 | -4.1839e-09 | 2.3538e-09 | -9.6699e-05 | -0.075452 | -0.10854 | 0 | 0 | 0 | -107.0496 | -107.0496 | -107.0496 | 0.0052993 | 1.5674 | 2.0459 | 0.0044159 | 1.5676 | 2.0452 | 94.6448 | -161.4405 | 136.5742 | 94.6493 | -161.4091 | 136.5908

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015383 | 0.015383 | 0.015383 | 0.010258 | 0.010258 | 0.010258 | 0.17762 | 0.17762 | 0.17762 | 0.11845 | 0.11845 | 0.11845 | -3.6617e-13 | 0.1628 | -0.16083 | 0.00048601 | -0.1082 | 0.10757 | 6.0174e-15 | -0.22612 | -0.32509 | 0.0001934 | 0.1509 | 0.21707 | -107.0042 | -107.0042 | -107.0042 | 72.9504 | 72.9504 | 72.9504 | 0 | 1.5687 | 2.042 | 0.0044159 | 1.5676 | 2.0452 | 0 | -161.2526 | 136.6736 | 94.6493 | -161.4091 | 136.5908
Line_1 | 0 | 0 | 0 | 0.0051292 | 0.0051292 | 0.0051292 | 0 | 0 | 0 | 0.059226 | 0.059226 | 0.059226 | -1.8338e-12 | -4.2688e-09 | -7.4385e-09 | -0.00024301 | 0.054099 | -0.053783 | 2.1304e-11 | -4.184e-09 | 2.3539e-09 | -9.6699e-05 | -0.075452 | -0.10854 | 0 | 0 | 0 | -107.0496 | -107.0496 | -107.0496 | 0.0052993 | 1.5674 | 2.0459 | 0.0044159 | 1.5676 | 2.0452 | 94.6448 | -161.4405 | 136.5742 | 94.6493 | -161.4091 | 136.5908
Line_2 | 0 | 0 | 0 | 0.0051292 | 0.0051292 | 0.0051292 | 0 | 0 | 0 | 0.059226 | 0.059226 | 0.059226 | -1.8339e-12 | -4.2688e-09 | -7.4385e-09 | -0.00024301 | 0.054099 | -0.053783 | 2.1304e-11 | -4.1839e-09 | 2.3538e-09 | -9.6699e-05 | -0.075452 | -0.10854 | 0 | 0 | 0 | -107.0496 | -107.0496 | -107.0496 | 0.0052993 | 1.5674 | 2.0459 | 0.0044159 | 1.5676 | 2.0452 | 94.6448 | -161.4405 | 136.5742 | 94.6493 | -161.4091 | 136.5908

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0067965 | 0.0067965 | 0.0067965 | 0.0045324 | 0.0045324 | 0.0045324 | 0.078479 | 0.078479 | 0.078479 | 0.052336 | 0.052336 | 0.052336 | -0.03554 | 0.080843 | -0.044918 | 0.023815 | -0.053834 | 0.029991 | 0.036134 | -0.031431 | -0.11231 | -0.02404 | 0.020955 | 0.074957 | -122.745 | -122.745 | -122.745 | 57.2096 | 57.2096 | 57.2096 | 0.64582 | 1.1052 | 1.5413 | 0.64658 | 1.1038 | 1.5426 | 11.7802 | -143.9904 | 125.4556 | 11.9395 | -144.0594 | 125.403
Line_1 | 0 | 0 | 0 | 0.0022662 | 0.0022662 | 0.0022662 | 0 | 0 | 0 | 0.026168 | 0.026168 | 0.026168 | 1.0181e-09 | -4.0138e-10 | -2.533e-09 | -0.011907 | 0.026917 | -0.014995 | 5.4107e-10 | -1.8155e-09 | 5.8482e-10 | 0.01202 | -0.010478 | -0.037478 | 0 | 0 | 0 | -122.7904 | -122.7904 | -122.7904 | 0.64673 | 1.1035 | 1.5429 | 0.64658 | 1.1038 | 1.5426 | 11.9713 | -144.0732 | 125.3924 | 11.9395 | -144.0594 | 125.403
Line_2 | 0 | 0 | 0 | 0.0022662 | 0.0022662 | 0.0022662 | 0 | 0 | 0 | 0.026168 | 0.026168 | 0.026168 | 1.0181e-09 | -4.0137e-10 | -2.533e-09 | -0.011907 | 0.026917 | -0.014995 | 5.4107e-10 | -1.8155e-09 | 5.8483e-10 | 0.01202 | -0.010478 | -0.037478 | 0 | 0 | 0 | -122.7904 | -122.7904 | -122.7904 | 0.64673 | 1.1035 | 1.5429 | 0.64658 | 1.1038 | 1.5426 | 11.9713 | -144.0732 | 125.3924 | 11.9395 | -144.0594 | 125.403

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0067965 | 0.0067965 | 0.0067965 | 0.0045324 | 0.0045324 | 0.0045324 | 0.078479 | 0.078479 | 0.078479 | 0.052336 | 0.052336 | 0.052336 | -0.03554 | 0.080843 | -0.044918 | 0.023815 | -0.053834 | 0.029991 | 0.036134 | -0.031431 | -0.11231 | -0.02404 | 0.020955 | 0.074957 | -122.745 | -122.745 | -122.745 | 57.2096 | 57.2096 | 57.2096 | 0.64582 | 1.1052 | 1.5413 | 0.64658 | 1.1038 | 1.5426 | 11.7802 | -143.9904 | 125.4556 | 11.9395 | -144.0594 | 125.403
Line_1 | 0 | 0 | 0 | 0.0022662 | 0.0022662 | 0.0022662 | 0 | 0 | 0 | 0.026168 | 0.026168 | 0.026168 | 1.0181e-09 | -4.0138e-10 | -2.533e-09 | -0.011907 | 0.026917 | -0.014995 | 5.4107e-10 | -1.8155e-09 | 5.8482e-10 | 0.01202 | -0.010478 | -0.037478 | 0 | 0 | 0 | -122.7904 | -122.7904 | -122.7904 | 0.64673 | 1.1035 | 1.5429 | 0.64658 | 1.1038 | 1.5426 | 11.9713 | -144.0732 | 125.3924 | 11.9395 | -144.0594 | 125.403
Line_2 | 0 | 0 | 0 | 0.0022662 | 0.0022662 | 0.0022662 | 0 | 0 | 0 | 0.026168 | 0.026168 | 0.026168 | 1.0181e-09 | -4.0137e-10 | -2.533e-09 | -0.011907 | 0.026917 | -0.014995 | 5.4107e-10 | -1.8155e-09 | 5.8483e-10 | 0.01202 | -0.010478 | -0.037478 | 0 | 0 | 0 | -122.7904 | -122.7904 | -122.7904 | 0.64673 | 1.1035 | 1.5429 | 0.64658 | 1.1038 | 1.5426 | 11.9713 | -144.0732 | 125.3924 | 11.9395 | -144.0594 | 125.403

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.01391 | 0.01391 | 0.01391 | 0.0092765 | 0.0092765 | 0.0092765 | 0.16062 | 0.16062 | 0.16062 | 0.10712 | 0.10712 | 0.10712 | 8.7892e-14 | 0.13391 | -0.13082 | 0.00076307 | -0.088724 | 0.087732 | 1.5897e-13 | -0.18261 | -0.26815 | 0.00015823 | 0.1218 | 0.17911 | -107.9069 | -107.9069 | -107.9069 | 72.0059 | 72.0059 | 72.0059 | 0 | 1.4098 | 1.8575 | 0.0072754 | 1.4068 | 1.862 | 0 | -161.6535 | 136.087 | 83.721 | -161.9229 | 135.9097
Line_1 | 0 | 0 | 0 | 0.0046382 | 0.0046382 | 0.0046382 | 0 | 0 | 0 | 0.053558 | 0.053558 | 0.053558 | 3.2266e-12 | -3.4172e-09 | -6.1541e-09 | -0.00038154 | 0.044362 | -0.043866 | 3.182e-11 | -3.4485e-09 | 1.8683e-09 | -7.9117e-05 | -0.0609 | -0.089556 | 0 | 0 | 0 | -107.9941 | -107.9941 | -107.9941 | 0.0087307 | 1.4062 | 1.8628 | 0.0072754 | 1.4068 | 1.862 | 83.7123 | -161.9769 | 135.8743 | 83.721 | -161.9229 | 135.9097
Line_2 | 0 | 0 | 0 | 0.0046382 | 0.0046382 | 0.0046382 | 0 | 0 | 0 | 0.053558 | 0.053558 | 0.053558 | 3.2264e-12 | -3.4172e-09 | -6.1541e-09 | -0.00038154 | 0.044362 | -0.043866 | 3.182e-11 | -3.4485e-09 | 1.8683e-09 | -7.9117e-05 | -0.0609 | -0.089556 | 0 | 0 | 0 | -107.9941 | -107.9941 | -107.9941 | 0.0087307 | 1.4062 | 1.8628 | 0.0072754 | 1.4068 | 1.862 | 83.7123 | -161.9769 | 135.8743 | 83.721 | -161.9229 | 135.9097

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.01391 | 0.01391 | 0.01391 | 0.0092765 | 0.0092765 | 0.0092765 | 0.16062 | 0.16062 | 0.16062 | 0.10712 | 0.10712 | 0.10712 | 8.7892e-14 | 0.13391 | -0.13082 | 0.00076307 | -0.088724 | 0.087732 | 1.5897e-13 | -0.18261 | -0.26815 | 0.00015823 | 0.1218 | 0.17911 | -107.9069 | -107.9069 | -107.9069 | 72.0059 | 72.0059 | 72.0059 | 0 | 1.4098 | 1.8575 | 0.0072754 | 1.4068 | 1.862 | 0 | -161.6535 | 136.087 | 83.721 | -161.9229 | 135.9097
Line_1 | 0 | 0 | 0 | 0.0046382 | 0.0046382 | 0.0046382 | 0 | 0 | 0 | 0.053558 | 0.053558 | 0.053558 | 3.2266e-12 | -3.4172e-09 | -6.1541e-09 | -0.00038154 | 0.044362 | -0.043866 | 3.182e-11 | -3.4485e-09 | 1.8683e-09 | -7.9117e-05 | -0.0609 | -0.089556 | 0 | 0 | 0 | -107.9941 | -107.9941 | -107.9941 | 0.0087307 | 1.4062 | 1.8628 | 0.0072754 | 1.4068 | 1.862 | 83.7123 | -161.9769 | 135.8743 | 83.721 | -161.9229 | 135.9097
Line_2 | 0 | 0 | 0 | 0.0046382 | 0.0046382 | 0.0046382 | 0 | 0 | 0 | 0.053558 | 0.053558 | 0.053558 | 3.2264e-12 | -3.4172e-09 | -6.1541e-09 | -0.00038154 | 0.044362 | -0.043866 | 3.182e-11 | -3.4485e-09 | 1.8683e-09 | -7.9117e-05 | -0.0609 | -0.089556 | 0 | 0 | 0 | -107.9941 | -107.9941 | -107.9941 | 0.0087307 | 1.4062 | 1.8628 | 0.0072754 | 1.4068 | 1.862 | 83.7123 | -161.9769 | 135.8743 | 83.721 | -161.9229 | 135.9097

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0061549 | 0.0061549 | 0.0061549 | 0.0041045 | 0.0041045 | 0.0041045 | 0.07107 | 0.07107 | 0.07107 | 0.047395 | 0.047395 | 0.047395 | -0.029221 | 0.066429 | -0.036603 | 0.019666 | -0.044176 | 0.024465 | 0.029563 | -0.025225 | -0.092585 | -0.019654 | 0.016786 | 0.061811 | -123.1757 | -123.1757 | -123.1757 | 56.7371 | 56.7371 | 56.7371 | 0.58488 | 0.99982 | 1.4008 | 0.58664 | 0.9971 | 1.4026 | 11.4916 | -143.9689 | 125.2533 | 11.7552 | -144.0681 | 125.1433
Line_1 | 0 | 0 | 0 | 0.0020523 | 0.0020523 | 0.0020523 | 0 | 0 | 0 | 0.023698 | 0.023698 | 0.023698 | 8.4337e-10 | -3.0563e-10 | -2.0934e-09 | -0.0098332 | 0.022088 | -0.012232 | 4.4042e-10 | -1.4914e-09 | 4.5919e-10 | 0.009827 | -0.0083928 | -0.030905 | 0 | 0 | 0 | -123.2629 | -123.2629 | -123.2629 | 0.58699 | 0.99656 | 1.403 | 0.58664 | 0.9971 | 1.4026 | 11.8077 | -144.088 | 125.1213 | 11.7552 | -144.0681 | 125.1433
Line_2 | 0 | 0 | 0 | 0.0020523 | 0.0020523 | 0.0020523 | 0 | 0 | 0 | 0.023698 | 0.023698 | 0.023698 | 8.4337e-10 | -3.0561e-10 | -2.0934e-09 | -0.0098332 | 0.022088 | -0.012232 | 4.4042e-10 | -1.4914e-09 | 4.5919e-10 | 0.009827 | -0.0083928 | -0.030905 | 0 | 0 | 0 | -123.2629 | -123.2629 | -123.2629 | 0.58699 | 0.99656 | 1.403 | 0.58664 | 0.9971 | 1.4026 | 11.8077 | -144.088 | 125.1213 | 11.7552 | -144.0681 | 125.1433

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0061549 | 0.0061549 | 0.0061549 | 0.0041045 | 0.0041045 | 0.0041045 | 0.07107 | 0.07107 | 0.07107 | 0.047395 | 0.047395 | 0.047395 | -0.029221 | 0.066429 | -0.036603 | 0.019666 | -0.044176 | 0.024465 | 0.029563 | -0.025225 | -0.092585 | -0.019654 | 0.016786 | 0.061811 | -123.1757 | -123.1757 | -123.1757 | 56.7371 | 56.7371 | 56.7371 | 0.58488 | 0.99982 | 1.4008 | 0.58664 | 0.9971 | 1.4026 | 11.4916 | -143.9689 | 125.2533 | 11.7552 | -144.0681 | 125.1433
Line_1 | 0 | 0 | 0 | 0.0020523 | 0.0020523 | 0.0020523 | 0 | 0 | 0 | 0.023698 | 0.023698 | 0.023698 | 8.4337e-10 | -3.0563e-10 | -2.0934e-09 | -0.0098332 | 0.022088 | -0.012232 | 4.4042e-10 | -1.4914e-09 | 4.5919e-10 | 0.009827 | -0.0083928 | -0.030905 | 0 | 0 | 0 | -123.2629 | -123.2629 | -123.2629 | 0.58699 | 0.99656 | 1.403 | 0.58664 | 0.9971 | 1.4026 | 11.8077 | -144.088 | 125.1213 | 11.7552 | -144.0681 | 125.1433
Line_2 | 0 | 0 | 0 | 0.0020523 | 0.0020523 | 0.0020523 | 0 | 0 | 0 | 0.023698 | 0.023698 | 0.023698 | 8.4337e-10 | -3.0561e-10 | -2.0934e-09 | -0.0098332 | 0.022088 | -0.012232 | 4.4042e-10 | -1.4914e-09 | 4.5919e-10 | 0.009827 | -0.0083928 | -0.030905 | 0 | 0 | 0 | -123.2629 | -123.2629 | -123.2629 | 0.58699 | 0.99656 | 1.403 | 0.58664 | 0.9971 | 1.4026 | 11.8077 | -144.088 | 125.1213 | 11.7552 | -144.0681 | 125.1433

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0081184 | 0.0081184 | 0.0081184 | 0.005414 | 0.005414 | 0.005414 | 0.093744 | 0.093744 | 0.093744 | 0.062515 | 0.062515 | 0.062515 | 0.00054829 | -1.7474e-14 | -3.6816e-14 | -0.00031138 | 0.00013537 | 0.00013537 | -0.15353 | -5.2988e-14 | 4.1603e-14 | 0.10244 | 5.3869e-05 | 5.3869e-05 | 85.4213 | 85.4213 | 85.4213 | -94.6241 | -94.6241 | -94.6241 | 1.6378 | 0 | 0 | 1.6387 | 0.0023306 | 0.0023306 | -4.3741 | 0 | 0 | -4.45 | -72.9252 | -72.9252
Line_1 | 0 | 0 | 0 | 0.002707 | 0.002707 | 0.002707 | 0 | 0 | 0 | 0.031258 | 0.031258 | 0.031258 | -3.258e-09 | 7.6544e-12 | -1.1023e-11 | 0.00015569 | -6.7687e-05 | -6.7687e-05 | -5.1459e-10 | 8.2593e-12 | 2.5241e-12 | -0.051221 | -2.6934e-05 | -2.6934e-05 | 0 | 0 | 0 | 85.3759 | 85.3759 | 85.3759 | 1.6388 | 0.0027968 | 0.0027968 | 1.6387 | 0.0023306 | 0.0023306 | -4.4651 | -72.9297 | -72.9297 | -4.45 | -72.9252 | -72.9252
Line_2 | 0 | 0 | 0 | 0.002707 | 0.002707 | 0.002707 | 0 | 0 | 0 | 0.031258 | 0.031258 | 0.031258 | -3.2581e-09 | 7.6545e-12 | -1.1023e-11 | 0.00015569 | -6.7687e-05 | -6.7687e-05 | -5.1462e-10 | 8.2594e-12 | 2.524e-12 | -0.051221 | -2.6934e-05 | -2.6934e-05 | 0 | 0 | 0 | 85.3759 | 85.3759 | 85.3759 | 1.6388 | 0.0027968 | 0.0027968 | 1.6387 | 0.0023306 | 0.0023306 | -4.4651 | -72.9297 | -72.9297 | -4.45 | -72.9252 | -72.9252

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0081184 | 0.0081184 | 0.0081184 | 0.005414 | 0.005414 | 0.005414 | 0.093744 | 0.093744 | 0.093744 | 0.062515 | 0.062515 | 0.062515 | 0.00054829 | -1.7474e-14 | -3.6816e-14 | -0.00031138 | 0.00013537 | 0.00013537 | -0.15353 | -5.2988e-14 | 4.1603e-14 | 0.10244 | 5.3869e-05 | 5.3869e-05 | 85.4213 | 85.4213 | 85.4213 | -94.6241 | -94.6241 | -94.6241 | 1.6378 | 0 | 0 | 1.6387 | 0.0023306 | 0.0023306 | -4.3741 | 0 | 0 | -4.45 | -72.9252 | -72.9252
Line_1 | 0 | 0 | 0 | 0.002707 | 0.002707 | 0.002707 | 0 | 0 | 0 | 0.031258 | 0.031258 | 0.031258 | -3.258e-09 | 7.6544e-12 | -1.1023e-11 | 0.00015569 | -6.7687e-05 | -6.7687e-05 | -5.1459e-10 | 8.2593e-12 | 2.5241e-12 | -0.051221 | -2.6934e-05 | -2.6934e-05 | 0 | 0 | 0 | 85.3759 | 85.3759 | 85.3759 | 1.6388 | 0.0027968 | 0.0027968 | 1.6387 | 0.0023306 | 0.0023306 | -4.4651 | -72.9297 | -72.9297 | -4.45 | -72.9252 | -72.9252
Line_2 | 0 | 0 | 0 | 0.002707 | 0.002707 | 0.002707 | 0 | 0 | 0 | 0.031258 | 0.031258 | 0.031258 | -3.2581e-09 | 7.6545e-12 | -1.1023e-11 | 0.00015569 | -6.7687e-05 | -6.7687e-05 | -5.1462e-10 | 8.2594e-12 | 2.524e-12 | -0.051221 | -2.6934e-05 | -2.6934e-05 | 0 | 0 | 0 | 85.3759 | 85.3759 | 85.3759 | 1.6388 | 0.0027968 | 0.0027968 | 1.6387 | 0.0023306 | 0.0023306 | -4.4651 | -72.9297 | -72.9297 | -4.45 | -72.9252 | -72.9252

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.005067 | 0.005067 | 0.005067 | 0.003379 | 0.003379 | 0.003379 | 0.058508 | 0.058508 | 0.058508 | 0.039018 | 0.039018 | 0.039018 | 0.019967 | -0.053288 | 0.033534 | -0.013305 | 0.03559 | -0.022301 | -0.079892 | 0.0017216 | 0.018362 | 0.053288 | -0.0010989 | -0.012242 | 69.0991 | 69.0991 | 69.0991 | -110.9463 | -110.9463 | -110.9463 | 1.4075 | 0.91125 | 0.65346 | 1.4077 | 0.91259 | 0.65201 | -6.8685 | -112.7513 | 97.8026 | -6.9272 | -112.7149 | 97.8183
Line_1 | 0 | 0 | 0 | 0.0016895 | 0.0016895 | 0.0016895 | 0 | 0 | 0 | 0.019509 | 0.019509 | 0.019509 | -1.6299e-09 | 5.9661e-10 | 8.7674e-10 | 0.0066526 | -0.017795 | 0.01115 | -6.8595e-10 | 4.6735e-10 | -9.9228e-10 | -0.026644 | 0.00054947 | 0.0061211 | 0 | 0 | 0 | 69.0537 | 69.0537 | 69.0537 | 1.4077 | 0.91286 | 0.65172 | 1.4077 | 0.91259 | 0.65201 | -6.9389 | -112.7077 | 97.8215 | -6.9272 | -112.7149 | 97.8183
Line_2 | 0 | 0 | 0 | 0.0016895 | 0.0016895 | 0.0016895 | 0 | 0 | 0 | 0.019509 | 0.019509 | 0.019509 | -1.6299e-09 | 5.9662e-10 | 8.7674e-10 | 0.0066526 | -0.017795 | 0.01115 | -6.8593e-10 | 4.6733e-10 | -9.9229e-10 | -0.026644 | 0.00054947 | 0.0061211 | 0 | 0 | 0 | 69.0537 | 69.0537 | 69.0537 | 1.4077 | 0.91286 | 0.65172 | 1.4077 | 0.91259 | 0.65201 | -6.9389 | -112.7077 | 97.8215 | -6.9272 | -112.7149 | 97.8183

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.005067 | 0.005067 | 0.005067 | 0.003379 | 0.003379 | 0.003379 | 0.058508 | 0.058508 | 0.058508 | 0.039018 | 0.039018 | 0.039018 | 0.019967 | -0.053288 | 0.033534 | -0.013305 | 0.03559 | -0.022301 | -0.079892 | 0.0017216 | 0.018362 | 0.053288 | -0.0010989 | -0.012242 | 69.0991 | 69.0991 | 69.0991 | -110.9463 | -110.9463 | -110.9463 | 1.4075 | 0.91125 | 0.65346 | 1.4077 | 0.91259 | 0.65201 | -6.8685 | -112.7513 | 97.8026 | -6.9272 | -112.7149 | 97.8183
Line_1 | 0 | 0 | 0 | 0.0016895 | 0.0016895 | 0.0016895 | 0 | 0 | 0 | 0.019509 | 0.019509 | 0.019509 | -1.6299e-09 | 5.9661e-10 | 8.7674e-10 | 0.0066526 | -0.017795 | 0.01115 | -6.8595e-10 | 4.6735e-10 | -9.9228e-10 | -0.026644 | 0.00054947 | 0.0061211 | 0 | 0 | 0 | 69.0537 | 69.0537 | 69.0537 | 1.4077 | 0.91286 | 0.65172 | 1.4077 | 0.91259 | 0.65201 | -6.9389 | -112.7077 | 97.8215 | -6.9272 | -112.7149 | 97.8183
Line_2 | 0 | 0 | 0 | 0.0016895 | 0.0016895 | 0.0016895 | 0 | 0 | 0 | 0.019509 | 0.019509 | 0.019509 | -1.6299e-09 | 5.9662e-10 | 8.7674e-10 | 0.0066526 | -0.017795 | 0.01115 | -6.8593e-10 | 4.6733e-10 | -9.9229e-10 | -0.026644 | 0.00054947 | 0.0061211 | 0 | 0 | 0 | 69.0537 | 69.0537 | 69.0537 | 1.4077 | 0.91286 | 0.65172 | 1.4077 | 0.91259 | 0.65201 | -6.9389 | -112.7077 | 97.8215 | -6.9272 | -112.7149 | 97.8183

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073755 | 0.0073755 | 0.0073755 | 0.0049186 | 0.0049186 | 0.0049186 | 0.085165 | 0.085165 | 0.085165 | 0.056795 | 0.056795 | 0.056795 | 0.00086885 | -7.7127e-14 | 7.0318e-14 | -0.00049344 | 0.00021452 | 0.00021452 | -0.12672 | 3.6284e-14 | 4.8576e-14 | 0.084551 | 4.4485e-05 | 4.4485e-05 | 85.0311 | 85.0311 | 85.0311 | -95.056 | -95.056 | -95.056 | 1.488 | 0 | 0 | 1.4887 | 0.0038575 | 0.0038575 | -4.576 | 0 | 0 | -4.7217 | -83.341 | -83.341
Line_1 | 0 | 0 | 0 | 0.0024593 | 0.0024593 | 0.0024593 | 0 | 0 | 0 | 0.028397 | 0.028397 | 0.028397 | -2.6878e-09 | 1.3539e-11 | -1.5662e-11 | 0.00024672 | -0.00010726 | -0.00010726 | -4.5217e-10 | 1.0132e-11 | 6.7274e-12 | -0.042276 | -2.2242e-05 | -2.2242e-05 | 0 | 0 | 0 | 84.944 | 84.944 | 84.944 | 1.4889 | 0.0046292 | 0.0046292 | 1.4887 | 0.0038575 | 0.0038575 | -4.7508 | -83.3497 | -83.3497 | -4.7217 | -83.341 | -83.341
Line_2 | 0 | 0 | 0 | 0.0024593 | 0.0024593 | 0.0024593 | 0 | 0 | 0 | 0.028397 | 0.028397 | 0.028397 | -2.6878e-09 | 1.3539e-11 | -1.5662e-11 | 0.00024672 | -0.00010726 | -0.00010726 | -4.5217e-10 | 1.0132e-11 | 6.7274e-12 | -0.042276 | -2.2242e-05 | -2.2242e-05 | 0 | 0 | 0 | 84.944 | 84.944 | 84.944 | 1.4889 | 0.0046292 | 0.0046292 | 1.4887 | 0.0038575 | 0.0038575 | -4.7508 | -83.3497 | -83.3497 | -4.7217 | -83.341 | -83.341

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073755 | 0.0073755 | 0.0073755 | 0.0049186 | 0.0049186 | 0.0049186 | 0.085165 | 0.085165 | 0.085165 | 0.056795 | 0.056795 | 0.056795 | 0.00086885 | -7.7127e-14 | 7.0318e-14 | -0.00049344 | 0.00021452 | 0.00021452 | -0.12672 | 3.6284e-14 | 4.8576e-14 | 0.084551 | 4.4485e-05 | 4.4485e-05 | 85.0311 | 85.0311 | 85.0311 | -95.056 | -95.056 | -95.056 | 1.488 | 0 | 0 | 1.4887 | 0.0038575 | 0.0038575 | -4.576 | 0 | 0 | -4.7217 | -83.341 | -83.341
Line_1 | 0 | 0 | 0 | 0.0024593 | 0.0024593 | 0.0024593 | 0 | 0 | 0 | 0.028397 | 0.028397 | 0.028397 | -2.6878e-09 | 1.3539e-11 | -1.5662e-11 | 0.00024672 | -0.00010726 | -0.00010726 | -4.5217e-10 | 1.0132e-11 | 6.7274e-12 | -0.042276 | -2.2242e-05 | -2.2242e-05 | 0 | 0 | 0 | 84.944 | 84.944 | 84.944 | 1.4889 | 0.0046292 | 0.0046292 | 1.4887 | 0.0038575 | 0.0038575 | -4.7508 | -83.3497 | -83.3497 | -4.7217 | -83.341 | -83.341
Line_2 | 0 | 0 | 0 | 0.0024593 | 0.0024593 | 0.0024593 | 0 | 0 | 0 | 0.028397 | 0.028397 | 0.028397 | -2.6878e-09 | 1.3539e-11 | -1.5662e-11 | 0.00024672 | -0.00010726 | -0.00010726 | -4.5217e-10 | 1.0132e-11 | 6.7274e-12 | -0.042276 | -2.2242e-05 | -2.2242e-05 | 0 | 0 | 0 | 84.944 | 84.944 | 84.944 | 1.4889 | 0.0046292 | 0.0046292 | 1.4887 | 0.0038575 | 0.0038575 | -4.7508 | -83.3497 | -83.3497 | -4.7217 | -83.341 | -83.341

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.004601 | 0.004601 | 0.004601 | 0.0030683 | 0.0030683 | 0.0030683 | 0.053127 | 0.053127 | 0.053127 | 0.035429 | 0.035429 | 0.035429 | 0.016667 | -0.043638 | 0.027309 | -0.011098 | 0.029186 | -0.018113 | -0.065833 | 0.0015052 | 0.015015 | 0.043903 | -0.00094222 | -0.010023 | 68.8145 | 68.8145 | 68.8145 | -111.2727 | -111.2727 | -111.2727 | 1.2782 | 0.82187 | 0.5866 | 1.2781 | 0.82421 | 0.5843 | -6.9782 | -113.1611 | 97.6167 | -7.0859 | -113.1217 | 97.6864
Line_1 | 0 | 0 | 0 | 0.0015341 | 0.0015341 | 0.0015341 | 0 | 0 | 0 | 0.017715 | 0.017715 | 0.017715 | -1.3394e-09 | 5.0832e-10 | 7.3079e-10 | 0.0055491 | -0.014593 | 0.0090564 | -5.7987e-10 | 3.6254e-10 | -8.123e-10 | -0.021951 | 0.00047111 | 0.0050116 | 0 | 0 | 0 | 68.7273 | 68.7273 | 68.7273 | 1.2781 | 0.82468 | 0.58384 | 1.2781 | 0.82421 | 0.5843 | -7.1075 | -113.1139 | 97.7005 | -7.0859 | -113.1217 | 97.6864
Line_2 | 0 | 0 | 0 | 0.0015341 | 0.0015341 | 0.0015341 | 0 | 0 | 0 | 0.017715 | 0.017715 | 0.017715 | -1.3394e-09 | 5.0832e-10 | 7.3079e-10 | 0.0055491 | -0.014593 | 0.0090564 | -5.7987e-10 | 3.6254e-10 | -8.123e-10 | -0.021951 | 0.00047111 | 0.0050116 | 0 | 0 | 0 | 68.7273 | 68.7273 | 68.7273 | 1.2781 | 0.82468 | 0.58384 | 1.2781 | 0.82421 | 0.5843 | -7.1075 | -113.1139 | 97.7005 | -7.0859 | -113.1217 | 97.6864

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.004601 | 0.004601 | 0.004601 | 0.0030683 | 0.0030683 | 0.0030683 | 0.053127 | 0.053127 | 0.053127 | 0.035429 | 0.035429 | 0.035429 | 0.016667 | -0.043638 | 0.027309 | -0.011098 | 0.029186 | -0.018113 | -0.065833 | 0.0015052 | 0.015015 | 0.043903 | -0.00094222 | -0.010023 | 68.8145 | 68.8145 | 68.8145 | -111.2727 | -111.2727 | -111.2727 | 1.2782 | 0.82187 | 0.5866 | 1.2781 | 0.82421 | 0.5843 | -6.9782 | -113.1611 | 97.6167 | -7.0859 | -113.1217 | 97.6864
Line_1 | 0 | 0 | 0 | 0.0015341 | 0.0015341 | 0.0015341 | 0 | 0 | 0 | 0.017715 | 0.017715 | 0.017715 | -1.3394e-09 | 5.0832e-10 | 7.3079e-10 | 0.0055491 | -0.014593 | 0.0090564 | -5.7987e-10 | 3.6254e-10 | -8.123e-10 | -0.021951 | 0.00047111 | 0.0050116 | 0 | 0 | 0 | 68.7273 | 68.7273 | 68.7273 | 1.2781 | 0.82468 | 0.58384 | 1.2781 | 0.82421 | 0.5843 | -7.1075 | -113.1139 | 97.7005 | -7.0859 | -113.1217 | 97.6864
Line_2 | 0 | 0 | 0 | 0.0015341 | 0.0015341 | 0.0015341 | 0 | 0 | 0 | 0.017715 | 0.017715 | 0.017715 | -1.3394e-09 | 5.0832e-10 | 7.3079e-10 | 0.0055491 | -0.014593 | 0.0090564 | -5.7987e-10 | 3.6254e-10 | -8.123e-10 | -0.021951 | 0.00047111 | 0.0050116 | 0 | 0 | 0 | 68.7273 | 68.7273 | 68.7273 | 1.2781 | 0.82468 | 0.58384 | 1.2781 | 0.82421 | 0.5843 | -7.1075 | -113.1139 | 97.7005 | -7.0859 | -113.1217 | 97.6864