## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2465 | 0.92914 | 0.72322 | 2.2446 | 0.93186 | 0.7255 | 25.9408 | 10.7288 | 8.351 | 25.9182 | 10.7602 | 8.3774 | 4.1175 | -9.9186 | 11.8633 | 8.9779e-11 | 10.5818 | -11.9492 | 5.3284 | 7.2149 | 3.1693 | -1.1889e-10 | -7.8644 | -3.7313 | -58.0998 | 80.3674 | 110.9287 | 121.9486 | -99.6399 | -69.1887 |  | 0.25959 | 1.1432 | 1.4704 | 0 | 1.2253 | 1.4943 | -5.7944 | -135.6651 | 125.886 | 0 | -136.2596 | 128.1528
Line_1 | 1.147 | 0.4686 | 0.36525 | 1.1444 | 0.46593 | 0.36275 | 13.2443 | 5.411 | 4.2175 | 13.2142 | 5.3801 | 4.1887 | 3.081 | 6.2548 | -5.1648 | 6.2501e-11 | -5.2909 | 5.9746 | 1.2577 | -3.2631 | -1.7582 | -4.316e-11 | 3.9322 | 1.8656 | -76.4013 | -99.593 | -69.3493 | 103.6338 | 80.3601 | 110.8113 |  | 0.25127 | 1.3038 | 1.2936 | 0 | 1.2253 | 1.4943 | -54.1952 | -127.1435 | 129.45 | 0 | -136.2596 | 128.1528
Line_2 | 1.147 | 0.4686 | 0.36525 | 1.1444 | 0.46593 | 0.36275 | 13.2443 | 5.411 | 4.2175 | 13.2142 | 5.3801 | 4.1887 | 3.081 | 6.2548 | -5.1648 | 6.2501e-11 | -5.2909 | 5.9746 | 1.2577 | -3.2631 | -1.7582 | -4.316e-11 | 3.9322 | 1.8656 | -76.4013 | -99.593 | -69.3493 | 103.6338 | 80.3601 | 110.8113 |  | 0.25127 | 1.3038 | 1.2936 | 0 | 1.2253 | 1.4943 | -54.1952 | -127.1435 | 129.45 | 0 | -136.2596 | 128.1528

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2465 | 0.92914 | 0.72322 | 2.2446 | 0.93186 | 0.7255 | 25.9408 | 10.7288 | 8.351 | 25.9182 | 10.7602 | 8.3774 | 4.1175 | -9.9186 | 11.8633 | 8.9779e-11 | 10.5818 | -11.9492 | 5.3284 | 7.2149 | 3.1693 | -1.1889e-10 | -7.8644 | -3.7313 | -58.0998 | 80.3674 | 110.9287 | 121.9486 | -99.6399 | -69.1887 |  | 0.25959 | 1.1432 | 1.4704 | 0 | 1.2253 | 1.4943 | -5.7944 | -135.6651 | 125.886 | 0 | -136.2596 | 128.1528
Line_1 | 1.147 | 0.4686 | 0.36525 | 1.1444 | 0.46593 | 0.36275 | 13.2443 | 5.411 | 4.2175 | 13.2142 | 5.3801 | 4.1887 | 3.081 | 6.2548 | -5.1648 | 6.2501e-11 | -5.2909 | 5.9746 | 1.2577 | -3.2631 | -1.7582 | -4.316e-11 | 3.9322 | 1.8656 | -76.4013 | -99.593 | -69.3493 | 103.6338 | 80.3601 | 110.8113 |  | 0.25127 | 1.3038 | 1.2936 | 0 | 1.2253 | 1.4943 | -54.1952 | -127.1435 | 129.45 | 0 | -136.2596 | 128.1528
Line_2 | 1.147 | 0.4686 | 0.36525 | 1.1444 | 0.46593 | 0.36275 | 13.2443 | 5.411 | 4.2175 | 13.2142 | 5.3801 | 4.1887 | 3.081 | 6.2548 | -5.1648 | 6.2501e-11 | -5.2909 | 5.9746 | 1.2577 | -3.2631 | -1.7582 | -4.316e-11 | 3.9322 | 1.8656 | -76.4013 | -99.593 | -69.3493 | 103.6338 | 80.3601 | 110.8113 |  | 0.25127 | 1.3038 | 1.2936 | 0 | 1.2253 | 1.4943 | -54.1952 | -127.1435 | 129.45 | 0 | -136.2596 | 128.1528

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.56317 | 0.24426 | 0.28125 | 0.5627 | 0.24493 | 0.28152 | 6.5029 | 2.8204 | 3.2476 | 6.4976 | 2.8282 | 3.2508 | 5.2403 | -3.2773 | 3.0129 | -4.9266 | 3.384 | -3.0727 | 2.5274 | 0.16067 | -2.6235 | -2.1812 | -0.19535 | 2.6105 | -30.543 | 58.4657 | 164.5625 | 149.5265 | -121.4234 | -15.5961 |  | 0.89467 | 1.1634 | 1.2301 | 0.82921 | 1.1985 | 1.2403 | -4.7953 | -124.341 | 123.5144 | -6.5921 | -124.7272 | 124.0538
Line_1 | 0.42761 | 0.12304 | 0.14117 | 0.42681 | 0.12247 | 0.14076 | 4.9376 | 1.4207 | 1.6301 | 4.9284 | 1.4141 | 1.6254 | 2.4836 | 1.732 | -1.461 | -2.1207 | -1.692 | 1.5364 | 3.6846 | -0.021885 | 1.2629 | -3.4933 | 0.097674 | -1.3052 | -65.3515 | -121.1514 | -15.8836 | 114.6683 | 58.5766 | 164.4039 |  | 0.89993 | 1.2192 | 1.1847 | 0.82921 | 1.1985 | 1.2403 | -9.3333 | -121.8753 | 123.2779 | -6.5921 | -124.7272 | 124.0538
Line_2 | 0.42761 | 0.12304 | 0.14117 | 0.42681 | 0.12247 | 0.14076 | 4.9376 | 1.4207 | 1.6301 | 4.9284 | 1.4141 | 1.6254 | 2.4836 | 1.732 | -1.461 | -2.1207 | -1.692 | 1.5364 | 3.6846 | -0.021885 | 1.2629 | -3.4933 | 0.097674 | -1.3052 | -65.3515 | -121.1514 | -15.8836 | 114.6683 | 58.5766 | 164.4039 |  | 0.89993 | 1.2192 | 1.1847 | 0.82921 | 1.1985 | 1.2403 | -9.3333 | -121.8753 | 123.2779 | -6.5921 | -124.7272 | 124.0538

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.56317 | 0.24426 | 0.28125 | 0.5627 | 0.24493 | 0.28152 | 6.5029 | 2.8204 | 3.2476 | 6.4976 | 2.8282 | 3.2508 | 5.2403 | -3.2773 | 3.0129 | -4.9266 | 3.384 | -3.0727 | 2.5274 | 0.16067 | -2.6235 | -2.1812 | -0.19535 | 2.6105 | -30.543 | 58.4657 | 164.5625 | 149.5265 | -121.4234 | -15.5961 |  | 0.89467 | 1.1634 | 1.2301 | 0.82921 | 1.1985 | 1.2403 | -4.7953 | -124.341 | 123.5144 | -6.5921 | -124.7272 | 124.0538
Line_1 | 0.42761 | 0.12304 | 0.14117 | 0.42681 | 0.12247 | 0.14076 | 4.9376 | 1.4207 | 1.6301 | 4.9284 | 1.4141 | 1.6254 | 2.4836 | 1.732 | -1.461 | -2.1207 | -1.692 | 1.5364 | 3.6846 | -0.021885 | 1.2629 | -3.4933 | 0.097674 | -1.3052 | -65.3515 | -121.1514 | -15.8836 | 114.6683 | 58.5766 | 164.4039 |  | 0.89993 | 1.2192 | 1.1847 | 0.82921 | 1.1985 | 1.2403 | -9.3333 | -121.8753 | 123.2779 | -6.5921 | -124.7272 | 124.0538
Line_2 | 0.42761 | 0.12304 | 0.14117 | 0.42681 | 0.12247 | 0.14076 | 4.9376 | 1.4207 | 1.6301 | 4.9284 | 1.4141 | 1.6254 | 2.4836 | 1.732 | -1.461 | -2.1207 | -1.692 | 1.5364 | 3.6846 | -0.021885 | 1.2629 | -3.4933 | 0.097674 | -1.3052 | -65.3515 | -121.1514 | -15.8836 | 114.6683 | 58.5766 | 164.4039 |  | 0.89993 | 1.2192 | 1.1847 | 0.82921 | 1.1985 | 1.2403 | -9.3333 | -121.8753 | 123.2779 | -6.5921 | -124.7272 | 124.0538

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.0148 | 0.75028 | 0.61783 | 2.0135 | 0.75211 | 0.61959 | 23.2645 | 8.6635 | 7.1341 | 23.2497 | 8.6846 | 7.1545 | 6.7262 | -3.3258 | 8.9965 | -5.7673e-11 | 3.2515 | -9.2202 | 4.6101 | 7.4676 | 1.6647 | 1.1158e-11 | -8.2627 | -2.3568 | -50.0506 | 110.2026 | 112.8522 | 130.0013 | -69.8954 | -67.2744 |  | 0.35051 | 0.94358 | 1.2825 | 0 | 1.0224 | 1.3302 | -15.6239 | -135.791 | 123.3354 | 0 | -138.415 | 127.0637
Line_1 | 0.88589 | 0.37806 | 0.31177 | 0.88395 | 0.37605 | 0.3098 | 10.2294 | 4.3654 | 3.6 | 10.2069 | 4.3423 | 3.5772 | 3.6225 | 2.9811 | -3.545 | -2.5711e-11 | -1.6258 | 4.6101 | 0.79796 | -3.8276 | -0.98818 | -2.0018e-12 | 4.1314 | 1.1784 | -65.4552 | -70.0006 | -67.4187 | 114.5998 | 110.1046 | 112.7256 |  | 0.36261 | 1.1114 | 1.0223 | 0 | 1.0224 | 1.3302 | -53.0324 | -122.0872 | 128.1574 | 0 | -138.415 | 127.0637
Line_2 | 0.88589 | 0.37806 | 0.31177 | 0.88395 | 0.37605 | 0.3098 | 10.2294 | 4.3654 | 3.6 | 10.2069 | 4.3423 | 3.5772 | 3.6225 | 2.9811 | -3.545 | -2.5711e-11 | -1.6258 | 4.6101 | 0.79796 | -3.8276 | -0.98818 | -2.0018e-12 | 4.1314 | 1.1784 | -65.4552 | -70.0006 | -67.4187 | 114.5998 | 110.1046 | 112.7256 |  | 0.36261 | 1.1114 | 1.0223 | 0 | 1.0224 | 1.3302 | -53.0324 | -122.0872 | 128.1574 | 0 | -138.415 | 127.0637

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.0148 | 0.75028 | 0.61783 | 2.0135 | 0.75211 | 0.61959 | 23.2645 | 8.6635 | 7.1341 | 23.2497 | 8.6846 | 7.1545 | 6.7262 | -3.3258 | 8.9965 | -5.7673e-11 | 3.2515 | -9.2202 | 4.6101 | 7.4676 | 1.6647 | 1.1158e-11 | -8.2627 | -2.3568 | -50.0506 | 110.2026 | 112.8522 | 130.0013 | -69.8954 | -67.2744 |  | 0.35051 | 0.94358 | 1.2825 | 0 | 1.0224 | 1.3302 | -15.6239 | -135.791 | 123.3354 | 0 | -138.415 | 127.0637
Line_1 | 0.88589 | 0.37806 | 0.31177 | 0.88395 | 0.37605 | 0.3098 | 10.2294 | 4.3654 | 3.6 | 10.2069 | 4.3423 | 3.5772 | 3.6225 | 2.9811 | -3.545 | -2.5711e-11 | -1.6258 | 4.6101 | 0.79796 | -3.8276 | -0.98818 | -2.0018e-12 | 4.1314 | 1.1784 | -65.4552 | -70.0006 | -67.4187 | 114.5998 | 110.1046 | 112.7256 |  | 0.36261 | 1.1114 | 1.0223 | 0 | 1.0224 | 1.3302 | -53.0324 | -122.0872 | 128.1574 | 0 | -138.415 | 127.0637
Line_2 | 0.88589 | 0.37806 | 0.31177 | 0.88395 | 0.37605 | 0.3098 | 10.2294 | 4.3654 | 3.6 | 10.2069 | 4.3423 | 3.5772 | 3.6225 | 2.9811 | -3.545 | -2.5711e-11 | -1.6258 | 4.6101 | 0.79796 | -3.8276 | -0.98818 | -2.0018e-12 | 4.1314 | 1.1784 | -65.4552 | -70.0006 | -67.4187 | 114.5998 | 110.1046 | 112.7256 |  | 0.36261 | 1.1114 | 1.0223 | 0 | 1.0224 | 1.3302 | -53.0324 | -122.0872 | 128.1574 | 0 | -138.415 | 127.0637

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61443 | 0.22881 | 0.18842 | 0.61404 | 0.22937 | 0.18895 | 7.0949 | 2.6421 | 2.1757 | 7.0904 | 2.6485 | 2.1819 | 4.546 | -1.166 | 2.3534 | -3.9207 | 1.164 | -2.3788 | 3.4757 | 2.3331 | 0.020831 | -3.0415 | -2.4096 | -0.08818 | -41.5483 | 118.7049 | 121.3545 | 138.5037 | -61.3931 | -58.7721 |  | 0.80657 | 0.9872 | 1.0817 | 0.69984 | 1.0104 | 1.091 | -4.148 | -124.7412 | 121.8617 | -3.694 | -125.6097 | 123.3507
Line_1 | 0.27017 | 0.11529 | 0.095078 | 0.26957 | 0.11468 | 0.094477 | 3.1196 | 1.3313 | 1.0979 | 3.1128 | 1.3242 | 1.0909 | 1.6429 | 0.71185 | -1.0954 | -1.3048 | -0.58199 | 1.1894 | 1.8237 | -1.1801 | -0.027912 | -1.7444 | 1.2048 | 0.04409 | -56.9529 | -61.4983 | -58.9164 | 123.1021 | 118.6069 | 121.2279 |  | 0.78684 | 1.0352 | 0.99804 | 0.69984 | 1.0104 | 1.091 | -8.9669 | -120.3996 | 122.5432 | -3.694 | -125.6097 | 123.3507
Line_2 | 0.27017 | 0.11529 | 0.095078 | 0.26957 | 0.11468 | 0.094477 | 3.1196 | 1.3313 | 1.0979 | 3.1128 | 1.3242 | 1.0909 | 1.6429 | 0.71185 | -1.0954 | -1.3048 | -0.58199 | 1.1894 | 1.8237 | -1.1801 | -0.027912 | -1.7444 | 1.2048 | 0.04409 | -56.9529 | -61.4983 | -58.9164 | 123.1021 | 118.6069 | 121.2279 |  | 0.78684 | 1.0352 | 0.99804 | 0.69984 | 1.0104 | 1.091 | -8.9669 | -120.3996 | 122.5432 | -3.694 | -125.6097 | 123.3507

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61443 | 0.22881 | 0.18842 | 0.61404 | 0.22937 | 0.18895 | 7.0949 | 2.6421 | 2.1757 | 7.0904 | 2.6485 | 2.1819 | 4.546 | -1.166 | 2.3534 | -3.9207 | 1.164 | -2.3788 | 3.4757 | 2.3331 | 0.020831 | -3.0415 | -2.4096 | -0.08818 | -41.5483 | 118.7049 | 121.3545 | 138.5037 | -61.3931 | -58.7721 |  | 0.80657 | 0.9872 | 1.0817 | 0.69984 | 1.0104 | 1.091 | -4.148 | -124.7412 | 121.8617 | -3.694 | -125.6097 | 123.3507
Line_1 | 0.27017 | 0.11529 | 0.095078 | 0.26957 | 0.11468 | 0.094477 | 3.1196 | 1.3313 | 1.0979 | 3.1128 | 1.3242 | 1.0909 | 1.6429 | 0.71185 | -1.0954 | -1.3048 | -0.58199 | 1.1894 | 1.8237 | -1.1801 | -0.027912 | -1.7444 | 1.2048 | 0.04409 | -56.9529 | -61.4983 | -58.9164 | 123.1021 | 118.6069 | 121.2279 |  | 0.78684 | 1.0352 | 0.99804 | 0.69984 | 1.0104 | 1.091 | -8.9669 | -120.3996 | 122.5432 | -3.694 | -125.6097 | 123.3507
Line_2 | 0.27017 | 0.11529 | 0.095078 | 0.26957 | 0.11468 | 0.094477 | 3.1196 | 1.3313 | 1.0979 | 3.1128 | 1.3242 | 1.0909 | 1.6429 | 0.71185 | -1.0954 | -1.3048 | -0.58199 | 1.1894 | 1.8237 | -1.1801 | -0.027912 | -1.7444 | 1.2048 | 0.04409 | -56.9529 | -61.4983 | -58.9164 | 123.1021 | 118.6069 | 121.2279 |  | 0.78684 | 1.0352 | 0.99804 | 0.69984 | 1.0104 | 1.091 | -8.9669 | -120.3996 | 122.5432 | -3.694 | -125.6097 | 123.3507

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43692 | 4.0687 | 3.3845 | 0.43907 | 4.0691 | 3.3837 | 5.0451 | 46.9808 | 39.0813 | 5.0699 | 46.9855 | 39.0719 | -0.56167 | 12.5965 | 2.6941 | 0.77906 | 9.8461e-11 | 1.0696e-10 | 6.9921 | 9.8117 | 7.3628 | -7.3277 | -8.6626e-11 | 1.2837e-11 | -98.0377 | -172.8361 | 18.302 | 81.9831 | 7.1937 | -161.7318 |  | 1.3904 | 0.33986 | 0.20061 | 1.4535 | 0 | 0 | -3.445 | -134.9203 | 88.204 | -1.9481 | 0 | 0
Line_1 | 0.2216 | 1.1163 | 0.93606 | 0.21953 | 1.1152 | 0.93443 | 2.5588 | 12.8904 | 10.8087 | 2.535 | 12.8776 | 10.7899 | 0.6908 | 2.2406 | 1.0811 | -0.38953 | 3.5427e-11 | 2.538e-11 | -3.4244 | -0.26722 | 1.9656 | 3.6638 | -6.0676e-12 | -1.5518e-11 | 82.1248 | 155.4774 | 56.6401 | -98.0169 | -24.429 | -123.4444 |  | 1.3652 | 0.17505 | 0.20755 | 1.4535 | 0 | 0 | 3.53 | 148.6763 | 117.8294 | -1.9481 | 0 | 0
Line_2 | 0.2216 | 1.1163 | 0.93606 | 0.21953 | 1.1152 | 0.93443 | 2.5588 | 12.8904 | 10.8087 | 2.535 | 12.8776 | 10.7899 | 0.6908 | 2.2406 | 1.0811 | -0.38953 | 3.5427e-11 | 2.538e-11 | -3.4244 | -0.26722 | 1.9656 | 3.6638 | -6.0676e-12 | -1.5518e-11 | 82.1248 | 155.4774 | 56.6401 | -98.0169 | -24.429 | -123.4444 |  | 1.3652 | 0.17505 | 0.20755 | 1.4535 | 0 | 0 | 3.53 | 148.6763 | 117.8294 | -1.9481 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43692 | 4.0687 | 3.3845 | 0.43907 | 4.0691 | 3.3837 | 5.0451 | 46.9808 | 39.0813 | 5.0699 | 46.9855 | 39.0719 | -0.56167 | 12.5965 | 2.6941 | 0.77906 | 9.8461e-11 | 1.0696e-10 | 6.9921 | 9.8117 | 7.3628 | -7.3277 | -8.6626e-11 | 1.2837e-11 | -98.0377 | -172.8361 | 18.302 | 81.9831 | 7.1937 | -161.7318 |  | 1.3904 | 0.33986 | 0.20061 | 1.4535 | 0 | 0 | -3.445 | -134.9203 | 88.204 | -1.9481 | 0 | 0
Line_1 | 0.2216 | 1.1163 | 0.93606 | 0.21953 | 1.1152 | 0.93443 | 2.5588 | 12.8904 | 10.8087 | 2.535 | 12.8776 | 10.7899 | 0.6908 | 2.2406 | 1.0811 | -0.38953 | 3.5427e-11 | 2.538e-11 | -3.4244 | -0.26722 | 1.9656 | 3.6638 | -6.0676e-12 | -1.5518e-11 | 82.1248 | 155.4774 | 56.6401 | -98.0169 | -24.429 | -123.4444 |  | 1.3652 | 0.17505 | 0.20755 | 1.4535 | 0 | 0 | 3.53 | 148.6763 | 117.8294 | -1.9481 | 0 | 0
Line_2 | 0.2216 | 1.1163 | 0.93606 | 0.21953 | 1.1152 | 0.93443 | 2.5588 | 12.8904 | 10.8087 | 2.535 | 12.8776 | 10.7899 | 0.6908 | 2.2406 | 1.0811 | -0.38953 | 3.5427e-11 | 2.538e-11 | -3.4244 | -0.26722 | 1.9656 | 3.6638 | -6.0676e-12 | -1.5518e-11 | 82.1248 | 155.4774 | 56.6401 | -98.0169 | -24.429 | -123.4444 |  | 1.3652 | 0.17505 | 0.20755 | 1.4535 | 0 | 0 | 3.53 | 148.6763 | 117.8294 | -1.9481 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0088117 | 0.89082 | 0.66965 | 0.0095643 | 0.89122 | 0.66909 | 0.10175 | 10.2863 | 7.7325 | 0.11044 | 10.2909 | 7.7259 | 0.021596 | 9.3046 | 3.8761 | -0.022187 | -8.6112 | -3.8196 | 0.12358 | 3.5533 | 5.861 | -0.13747 | -3.186 | -5.4569 | -80.7611 | -143.0792 | 53.5181 | 98.9121 | 36.962 | -126.5248 |  | 1.233 | 0.96828 | 0.90873 | 1.2609 | 0.89221 | 0.86215 | -0.67344 | -122.1779 | 110.0395 | -0.25591 | -122.7342 | 108.4848
Line_1 | 0.0055248 | 0.37378 | 0.3796 | 0.0047822 | 0.37337 | 0.37898 | 0.063795 | 4.3161 | 4.3832 | 0.05522 | 4.3113 | 4.376 | -0.011324 | 1.2598 | 3.2405 | 0.011094 | -1.0014 | -3.0455 | -0.077432 | 3.6916 | 2.5058 | 0.068737 | -3.714 | -2.2268 | 99.8355 | 162.2597 | 72.3729 | -81.0879 | -17.6447 | -107.6893 |  | 1.2267 | 0.90376 | 0.93455 | 1.2609 | 0.89221 | 0.86215 | 1.5152 | -126.583 | 110.0871 | -0.25591 | -122.7342 | 108.4848
Line_2 | 0.0055248 | 0.37378 | 0.3796 | 0.0047822 | 0.37337 | 0.37898 | 0.063795 | 4.3161 | 4.3832 | 0.05522 | 4.3113 | 4.376 | -0.011324 | 1.2598 | 3.2405 | 0.011094 | -1.0014 | -3.0455 | -0.077432 | 3.6916 | 2.5058 | 0.068737 | -3.714 | -2.2268 | 99.8355 | 162.2597 | 72.3729 | -81.0879 | -17.6447 | -107.6893 |  | 1.2267 | 0.90376 | 0.93455 | 1.2609 | 0.89221 | 0.86215 | 1.5152 | -126.583 | 110.0871 | -0.25591 | -122.7342 | 108.4848

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0088117 | 0.89082 | 0.66965 | 0.0095643 | 0.89122 | 0.66909 | 0.10175 | 10.2863 | 7.7325 | 0.11044 | 10.2909 | 7.7259 | 0.021596 | 9.3046 | 3.8761 | -0.022187 | -8.6112 | -3.8196 | 0.12358 | 3.5533 | 5.861 | -0.13747 | -3.186 | -5.4569 | -80.7611 | -143.0792 | 53.5181 | 98.9121 | 36.962 | -126.5248 |  | 1.233 | 0.96828 | 0.90873 | 1.2609 | 0.89221 | 0.86215 | -0.67344 | -122.1779 | 110.0395 | -0.25591 | -122.7342 | 108.4848
Line_1 | 0.0055248 | 0.37378 | 0.3796 | 0.0047822 | 0.37337 | 0.37898 | 0.063795 | 4.3161 | 4.3832 | 0.05522 | 4.3113 | 4.376 | -0.011324 | 1.2598 | 3.2405 | 0.011094 | -1.0014 | -3.0455 | -0.077432 | 3.6916 | 2.5058 | 0.068737 | -3.714 | -2.2268 | 99.8355 | 162.2597 | 72.3729 | -81.0879 | -17.6447 | -107.6893 |  | 1.2267 | 0.90376 | 0.93455 | 1.2609 | 0.89221 | 0.86215 | 1.5152 | -126.583 | 110.0871 | -0.25591 | -122.7342 | 108.4848
Line_2 | 0.0055248 | 0.37378 | 0.3796 | 0.0047822 | 0.37337 | 0.37898 | 0.063795 | 4.3161 | 4.3832 | 0.05522 | 4.3113 | 4.376 | -0.011324 | 1.2598 | 3.2405 | 0.011094 | -1.0014 | -3.0455 | -0.077432 | 3.6916 | 2.5058 | 0.068737 | -3.714 | -2.2268 | 99.8355 | 162.2597 | 72.3729 | -81.0879 | -17.6447 | -107.6893 |  | 1.2267 | 0.90376 | 0.93455 | 1.2609 | 0.89221 | 0.86215 | 1.5152 | -126.583 | 110.0871 | -0.25591 | -122.7342 | 108.4848

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45638 | 3.415 | 2.8709 | 0.45802 | 3.4156 | 2.8699 | 5.2698 | 39.4333 | 33.1498 | 5.2888 | 39.4396 | 33.139 | 2.2476 | 16.1438 | 4.7845 | -2.2093 | -1.1644e-10 | -1.5348e-11 | 5.8369 | 5.7953 | 6.6742 | -6.3345 | -8.9631e-11 | -1.2347e-10 | -73.7298 | -166.1457 | 28.035 | 106.1929 | 13.8822 | -151.9946 |  | 1.1869 | 0.43497 | 0.24772 | 1.2685 | 0 | 0 | -4.7896 | -146.3987 | 82.3997 | -3.0348 | 0 | 0
Line_1 | 0.23067 | 0.96147 | 0.62833 | 0.22901 | 0.96071 | 0.62706 | 2.6636 | 11.1021 | 7.2553 | 2.6444 | 11.0933 | 7.2407 | -0.53065 | 2.9812 | 0.92113 | 1.1047 | -1.6209e-11 | -1.7563e-11 | -2.9045 | -0.76593 | 1.7382 | 3.1672 | -3.8019e-11 | -2.0749e-11 | 106.1604 | 164.4731 | 61.2647 | -73.8071 | -15.4384 | -118.8341 |  | 1.1085 | 0.27725 | 0.27114 | 1.2685 | 0 | 0 | 5.8068 | 150.0642 | 123.3447 | -3.0348 | 0 | 0
Line_2 | 0.23067 | 0.96147 | 0.62833 | 0.22901 | 0.96071 | 0.62706 | 2.6636 | 11.1021 | 7.2553 | 2.6444 | 11.0933 | 7.2407 | -0.53065 | 2.9812 | 0.92113 | 1.1047 | -1.6209e-11 | -1.7563e-11 | -2.9045 | -0.76593 | 1.7382 | 3.1672 | -3.8019e-11 | -2.0749e-11 | 106.1604 | 164.4731 | 61.2647 | -73.8071 | -15.4384 | -118.8341 |  | 1.1085 | 0.27725 | 0.27114 | 1.2685 | 0 | 0 | 5.8068 | 150.0642 | 123.3447 | -3.0348 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45638 | 3.415 | 2.8709 | 0.45802 | 3.4156 | 2.8699 | 5.2698 | 39.4333 | 33.1498 | 5.2888 | 39.4396 | 33.139 | 2.2476 | 16.1438 | 4.7845 | -2.2093 | -1.1644e-10 | -1.5348e-11 | 5.8369 | 5.7953 | 6.6742 | -6.3345 | -8.9631e-11 | -1.2347e-10 | -73.7298 | -166.1457 | 28.035 | 106.1929 | 13.8822 | -151.9946 |  | 1.1869 | 0.43497 | 0.24772 | 1.2685 | 0 | 0 | -4.7896 | -146.3987 | 82.3997 | -3.0348 | 0 | 0
Line_1 | 0.23067 | 0.96147 | 0.62833 | 0.22901 | 0.96071 | 0.62706 | 2.6636 | 11.1021 | 7.2553 | 2.6444 | 11.0933 | 7.2407 | -0.53065 | 2.9812 | 0.92113 | 1.1047 | -1.6209e-11 | -1.7563e-11 | -2.9045 | -0.76593 | 1.7382 | 3.1672 | -3.8019e-11 | -2.0749e-11 | 106.1604 | 164.4731 | 61.2647 | -73.8071 | -15.4384 | -118.8341 |  | 1.1085 | 0.27725 | 0.27114 | 1.2685 | 0 | 0 | 5.8068 | 150.0642 | 123.3447 | -3.0348 | 0 | 0
Line_2 | 0.23067 | 0.96147 | 0.62833 | 0.22901 | 0.96071 | 0.62706 | 2.6636 | 11.1021 | 7.2553 | 2.6444 | 11.0933 | 7.2407 | -0.53065 | 2.9812 | 0.92113 | 1.1047 | -1.6209e-11 | -1.7563e-11 | -2.9045 | -0.76593 | 1.7382 | 3.1672 | -3.8019e-11 | -2.0749e-11 | 106.1604 | 164.4731 | 61.2647 | -73.8071 | -15.4384 | -118.8341 |  | 1.1085 | 0.27725 | 0.27114 | 1.2685 | 0 | 0 | 5.8068 | 150.0642 | 123.3447 | -3.0348 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18175 | 0.84077 | 0.74648 | 0.18231 | 0.8411 | 0.74596 | 2.0986 | 9.7084 | 8.6196 | 2.1052 | 9.7122 | 8.6136 | 0.87181 | 7.4918 | 3.7357 | -0.86826 | -6.4327 | -3.3918 | 2.0526 | 4.0227 | 5.725 | -2.123 | -3.79 | -5.1087 | -69.0245 | -151.3723 | 53.8159 | 110.8944 | 28.6635 | -126.2099 |  | 1.0626 | 0.87589 | 0.79307 | 1.0896 | 0.76874 | 0.71191 | -2.0375 | -123.1387 | 110.6909 | -1.3489 | -120.8309 | 110.2087
Line_1 | 0.091742 | 0.24458 | 0.22853 | 0.091157 | 0.24434 | 0.22797 | 1.0593 | 2.8242 | 2.6388 | 1.0526 | 2.8214 | 2.6324 | -0.35092 | 0.95787 | 1.8759 | 0.43413 | -0.72339 | -1.6829 | -1.033 | 1.955 | 1.0102 | 1.0615 | -2.0447 | -0.82447 | 110.8403 | 168.5252 | 84.1547 | -69.1056 | -11.348 | -95.892 |  | 1.0298 | 0.77086 | 0.80739 | 1.0896 | 0.76874 | 0.71191 | 2.0767 | -127.5778 | 112.4582 | -1.3489 | -120.8309 | 110.2087
Line_2 | 0.091742 | 0.24458 | 0.22853 | 0.091157 | 0.24434 | 0.22797 | 1.0593 | 2.8242 | 2.6388 | 1.0526 | 2.8214 | 2.6324 | -0.35092 | 0.95787 | 1.8759 | 0.43413 | -0.72339 | -1.6829 | -1.033 | 1.955 | 1.0102 | 1.0615 | -2.0447 | -0.82447 | 110.8403 | 168.5252 | 84.1547 | -69.1056 | -11.348 | -95.892 |  | 1.0298 | 0.77086 | 0.80739 | 1.0896 | 0.76874 | 0.71191 | 2.0767 | -127.5778 | 112.4582 | -1.3489 | -120.8309 | 110.2087

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18175 | 0.84077 | 0.74648 | 0.18231 | 0.8411 | 0.74596 | 2.0986 | 9.7084 | 8.6196 | 2.1052 | 9.7122 | 8.6136 | 0.87181 | 7.4918 | 3.7357 | -0.86826 | -6.4327 | -3.3918 | 2.0526 | 4.0227 | 5.725 | -2.123 | -3.79 | -5.1087 | -69.0245 | -151.3723 | 53.8159 | 110.8944 | 28.6635 | -126.2099 |  | 1.0626 | 0.87589 | 0.79307 | 1.0896 | 0.76874 | 0.71191 | -2.0375 | -123.1387 | 110.6909 | -1.3489 | -120.8309 | 110.2087
Line_1 | 0.091742 | 0.24458 | 0.22853 | 0.091157 | 0.24434 | 0.22797 | 1.0593 | 2.8242 | 2.6388 | 1.0526 | 2.8214 | 2.6324 | -0.35092 | 0.95787 | 1.8759 | 0.43413 | -0.72339 | -1.6829 | -1.033 | 1.955 | 1.0102 | 1.0615 | -2.0447 | -0.82447 | 110.8403 | 168.5252 | 84.1547 | -69.1056 | -11.348 | -95.892 |  | 1.0298 | 0.77086 | 0.80739 | 1.0896 | 0.76874 | 0.71191 | 2.0767 | -127.5778 | 112.4582 | -1.3489 | -120.8309 | 110.2087
Line_2 | 0.091742 | 0.24458 | 0.22853 | 0.091157 | 0.24434 | 0.22797 | 1.0593 | 2.8242 | 2.6388 | 1.0526 | 2.8214 | 2.6324 | -0.35092 | 0.95787 | 1.8759 | 0.43413 | -0.72339 | -1.6829 | -1.033 | 1.955 | 1.0102 | 1.0615 | -2.0447 | -0.82447 | 110.8403 | 168.5252 | 84.1547 | -69.1056 | -11.348 | -95.892 |  | 1.0298 | 0.77086 | 0.80739 | 1.0896 | 0.76874 | 0.71191 | 2.0767 | -127.5778 | 112.4582 | -1.3489 | -120.8309 | 110.2087