## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.9301 | 0.64775 | 0.18742 | 3.9293 | 0.64878 | 0.18857 | 45.3808 | 7.4796 | 2.1642 | 45.3714 | 7.4915 | 2.1774 | 22.1017 | -6.6446 | 2.1906 | 2.2875e-10 | 7.303 | -2.5112 | 16.288 | -2.9674 | 1.0671 | -2.8165e-10 | 0.64239 | -1.7384 | -59.9155 | 47.6373 | 82.6822 | 120.0965 | -132.3164 | -97.3666 |  | 0.605 | 0.97292 | 1.1259 | 0 | 0.97861 | 1.4027 | -23.5268 | -108.2978 | 108.6544 | 0 | -127.2895 | 117.3267
Line_1 | 1.0823 | 0.32607 | 0.096219 | 1.0805 | 0.32439 | 0.094283 | 12.4978 | 3.7651 | 1.111 | 12.4771 | 3.7457 | 1.0887 | 2.2659 | 4.0014 | -1.1383 | 8.4671e-11 | -3.6515 | 1.2556 | 0.79087 | 0.7923 | -0.82839 | -5.2792e-11 | -0.3212 | 0.8692 | -78.9184 | -132.1437 | -97.4579 | 101.1218 | 47.6836 | 82.6334 |  | 0.19203 | 1.0834 | 1.2671 | 0 | 0.97861 | 1.4027 | -59.6781 | -120.9436 | 118.5865 | 0 | -127.2895 | 117.3267
Line_2 | 1.0823 | 0.32607 | 0.096219 | 1.0805 | 0.32439 | 0.094283 | 12.4978 | 3.7651 | 1.111 | 12.4771 | 3.7457 | 1.0887 | 2.2659 | 4.0014 | -1.1383 | 8.4671e-11 | -3.6515 | 1.2556 | 0.79087 | 0.7923 | -0.82839 | -5.2792e-11 | -0.3212 | 0.8692 | -78.9184 | -132.1437 | -97.4579 | 101.1218 | 47.6836 | 82.6334 |  | 0.19203 | 1.0834 | 1.2671 | 0 | 0.97861 | 1.4027 | -59.6781 | -120.9436 | 118.5865 | 0 | -127.2895 | 117.3267

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.9301 | 0.64775 | 0.18742 | 3.9293 | 0.64878 | 0.18857 | 45.3808 | 7.4796 | 2.1642 | 45.3714 | 7.4915 | 2.1774 | 22.1017 | -6.6446 | 2.1906 | 2.2875e-10 | 7.303 | -2.5112 | 16.288 | -2.9674 | 1.0671 | -2.8165e-10 | 0.64239 | -1.7384 | -59.9155 | 47.6373 | 82.6822 | 120.0965 | -132.3164 | -97.3666 |  | 0.605 | 0.97292 | 1.1259 | 0 | 0.97861 | 1.4027 | -23.5268 | -108.2978 | 108.6544 | 0 | -127.2895 | 117.3267
Line_1 | 1.0823 | 0.32607 | 0.096219 | 1.0805 | 0.32439 | 0.094283 | 12.4978 | 3.7651 | 1.111 | 12.4771 | 3.7457 | 1.0887 | 2.2659 | 4.0014 | -1.1383 | 8.4671e-11 | -3.6515 | 1.2556 | 0.79087 | 0.7923 | -0.82839 | -5.2792e-11 | -0.3212 | 0.8692 | -78.9184 | -132.1437 | -97.4579 | 101.1218 | 47.6836 | 82.6334 |  | 0.19203 | 1.0834 | 1.2671 | 0 | 0.97861 | 1.4027 | -59.6781 | -120.9436 | 118.5865 | 0 | -127.2895 | 117.3267
Line_2 | 1.0823 | 0.32607 | 0.096219 | 1.0805 | 0.32439 | 0.094283 | 12.4978 | 3.7651 | 1.111 | 12.4771 | 3.7457 | 1.0887 | 2.2659 | 4.0014 | -1.1383 | 8.4671e-11 | -3.6515 | 1.2556 | 0.79087 | 0.7923 | -0.82839 | -5.2792e-11 | -0.3212 | 0.8692 | -78.9184 | -132.1437 | -97.4579 | 101.1218 | 47.6836 | 82.6334 |  | 0.19203 | 1.0834 | 1.2671 | 0 | 0.97861 | 1.4027 | -59.6781 | -120.9436 | 118.5865 | 0 | -127.2895 | 117.3267

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81965 | 0.2503 | 0.17012 | 0.81949 | 0.25037 | 0.17001 | 9.4645 | 2.8902 | 1.9643 | 9.4626 | 2.891 | 1.9631 | 8.4449 | -2.1867 | 0.16579 | -7.337 | 2.4287 | -0.28181 | 4.8857 | -2.2678 | -2.2616 | -4.2298 | 2.1717 | 2.3832 | -35.1148 | 15.9917 | -156.5991 | 144.901 | -163.9464 | 23.3135 |  | 1.0308 | 1.09 | 1.1544 | 0.89499 | 1.127 | 1.2224 | -5.064 | -117.965 | 117.5935 | -5.1355 | -122.1429 | 120.0574
Line_1 | 0.35195 | 0.12528 | 0.084855 | 0.3515 | 0.12518 | 0.085005 | 4.064 | 1.4466 | 0.97982 | 4.0588 | 1.4455 | 0.98156 | 1.8664 | 1.2155 | -0.13878 | -1.6716 | -1.2143 | 0.1409 | 3.3231 | 1.1366 | 1.1617 | -3.2252 | -1.0859 | -1.1916 | -67.7617 | -163.7349 | 23.0118 | 112.2616 | 16.0536 | -156.6865 |  | 0.93783 | 1.1504 | 1.194 | 0.89499 | 1.127 | 1.2224 | -7.083 | -120.6567 | 119.8243 | -5.1355 | -122.1429 | 120.0574
Line_2 | 0.35195 | 0.12528 | 0.084855 | 0.3515 | 0.12518 | 0.085005 | 4.064 | 1.4466 | 0.97982 | 4.0588 | 1.4455 | 0.98156 | 1.8664 | 1.2155 | -0.13878 | -1.6716 | -1.2143 | 0.1409 | 3.3231 | 1.1366 | 1.1617 | -3.2252 | -1.0859 | -1.1916 | -67.7617 | -163.7349 | 23.0118 | 112.2616 | 16.0536 | -156.6865 |  | 0.93783 | 1.1504 | 1.194 | 0.89499 | 1.127 | 1.2224 | -7.083 | -120.6567 | 119.8243 | -5.1355 | -122.1429 | 120.0574

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81965 | 0.2503 | 0.17012 | 0.81949 | 0.25037 | 0.17001 | 9.4645 | 2.8902 | 1.9643 | 9.4626 | 2.891 | 1.9631 | 8.4449 | -2.1867 | 0.16579 | -7.337 | 2.4287 | -0.28181 | 4.8857 | -2.2678 | -2.2616 | -4.2298 | 2.1717 | 2.3832 | -35.1148 | 15.9917 | -156.5991 | 144.901 | -163.9464 | 23.3135 |  | 1.0308 | 1.09 | 1.1544 | 0.89499 | 1.127 | 1.2224 | -5.064 | -117.965 | 117.5935 | -5.1355 | -122.1429 | 120.0574
Line_1 | 0.35195 | 0.12528 | 0.084855 | 0.3515 | 0.12518 | 0.085005 | 4.064 | 1.4466 | 0.97982 | 4.0588 | 1.4455 | 0.98156 | 1.8664 | 1.2155 | -0.13878 | -1.6716 | -1.2143 | 0.1409 | 3.3231 | 1.1366 | 1.1617 | -3.2252 | -1.0859 | -1.1916 | -67.7617 | -163.7349 | 23.0118 | 112.2616 | 16.0536 | -156.6865 |  | 0.93783 | 1.1504 | 1.194 | 0.89499 | 1.127 | 1.2224 | -7.083 | -120.6567 | 119.8243 | -5.1355 | -122.1429 | 120.0574
Line_2 | 0.35195 | 0.12528 | 0.084855 | 0.3515 | 0.12518 | 0.085005 | 4.064 | 1.4466 | 0.97982 | 4.0588 | 1.4455 | 0.98156 | 1.8664 | 1.2155 | -0.13878 | -1.6716 | -1.2143 | 0.1409 | 3.3231 | 1.1366 | 1.1617 | -3.2252 | -1.0859 | -1.1916 | -67.7617 | -163.7349 | 23.0118 | 112.2616 | 16.0536 | -156.6865 |  | 0.93783 | 1.1504 | 1.194 | 0.89499 | 1.127 | 1.2224 | -7.083 | -120.6567 | 119.8243 | -5.1355 | -122.1429 | 120.0574

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8333 | 0.54139 | 0.37721 | 2.8326 | 0.54244 | 0.37827 | 32.7156 | 6.2514 | 4.3557 | 32.7084 | 6.2635 | 4.3679 | 19.5101 | -4.5275 | 4.3262 | -9.6835e-11 | 3.4944 | -5.1073 | 9.4075 | 2.4898 | 1.0673 | 1.9259e-11 | -4.281 | -2.3736 | -49.7282 | 96.6842 | 95.8817 | 130.2912 | -83.3642 | -84.1854 |  | 0.66206 | 0.82653 | 1.023 | 0 | 0.88228 | 1.2894 | -23.9854 | -112.1238 | 109.7399 | 0 | -134.1408 | 120.741
Line_1 | 0.87471 | 0.27296 | 0.19089 | 0.87312 | 0.27122 | 0.18913 | 10.1003 | 3.1519 | 2.2042 | 10.0819 | 3.1318 | 2.1839 | 3.1401 | 2.542 | -2.0473 | -3.0186e-11 | -1.7472 | 2.5537 | 0.56985 | -1.8785 | -1.0135 | -3.8636e-12 | 2.1405 | 1.1868 | -68.305 | -83.4445 | -84.2928 | 111.7491 | 96.6358 | 95.8146 |  | 0.31597 | 1.0028 | 1.0364 | 0 | 0.88228 | 1.2894 | -58.0192 | -119.9087 | 122.0434 | 0 | -134.1408 | 120.741
Line_2 | 0.87471 | 0.27296 | 0.19089 | 0.87312 | 0.27122 | 0.18913 | 10.1003 | 3.1519 | 2.2042 | 10.0819 | 3.1318 | 2.1839 | 3.1401 | 2.542 | -2.0473 | -3.0186e-11 | -1.7472 | 2.5537 | 0.56985 | -1.8785 | -1.0135 | -3.8636e-12 | 2.1405 | 1.1868 | -68.305 | -83.4445 | -84.2928 | 111.7491 | 96.6358 | 95.8146 |  | 0.31597 | 1.0028 | 1.0364 | 0 | 0.88228 | 1.2894 | -58.0192 | -119.9087 | 122.0434 | 0 | -134.1408 | 120.741

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8333 | 0.54139 | 0.37721 | 2.8326 | 0.54244 | 0.37827 | 32.7156 | 6.2514 | 4.3557 | 32.7084 | 6.2635 | 4.3679 | 19.5101 | -4.5275 | 4.3262 | -9.6835e-11 | 3.4944 | -5.1073 | 9.4075 | 2.4898 | 1.0673 | 1.9259e-11 | -4.281 | -2.3736 | -49.7282 | 96.6842 | 95.8817 | 130.2912 | -83.3642 | -84.1854 |  | 0.66206 | 0.82653 | 1.023 | 0 | 0.88228 | 1.2894 | -23.9854 | -112.1238 | 109.7399 | 0 | -134.1408 | 120.741
Line_1 | 0.87471 | 0.27296 | 0.19089 | 0.87312 | 0.27122 | 0.18913 | 10.1003 | 3.1519 | 2.2042 | 10.0819 | 3.1318 | 2.1839 | 3.1401 | 2.542 | -2.0473 | -3.0186e-11 | -1.7472 | 2.5537 | 0.56985 | -1.8785 | -1.0135 | -3.8636e-12 | 2.1405 | 1.1868 | -68.305 | -83.4445 | -84.2928 | 111.7491 | 96.6358 | 95.8146 |  | 0.31597 | 1.0028 | 1.0364 | 0 | 0.88228 | 1.2894 | -58.0192 | -119.9087 | 122.0434 | 0 | -134.1408 | 120.741
Line_2 | 0.87471 | 0.27296 | 0.19089 | 0.87312 | 0.27122 | 0.18913 | 10.1003 | 3.1519 | 2.2042 | 10.0819 | 3.1318 | 2.1839 | 3.1401 | 2.542 | -2.0473 | -3.0186e-11 | -1.7472 | 2.5537 | 0.56985 | -1.8785 | -1.0135 | -3.8636e-12 | 2.1405 | 1.1868 | -68.305 | -83.4445 | -84.2928 | 111.7491 | 96.6358 | 95.8146 |  | 0.31597 | 1.0028 | 1.0364 | 0 | 0.88228 | 1.2894 | -58.0192 | -119.9087 | 122.0434 | 0 | -134.1408 | 120.741

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75474 | 0.14422 | 0.10048 | 0.75457 | 0.1445 | 0.10076 | 8.7149 | 1.6653 | 1.1603 | 8.713 | 1.6685 | 1.1635 | 6.4531 | -1.1362 | 1.1431 | -5.0689 | 1.0652 | -1.2007 | 4.6229 | 1.096 | 0.25891 | -3.9527 | -1.2242 | -0.3531 | -41.0791 | 105.3333 | 104.5308 | 138.9403 | -74.715 | -75.5362 |  | 0.91086 | 0.94799 | 1.0102 | 0.73773 | 0.9726 | 1.0756 | -5.4623 | -118.636 | 117.2923 | -3.1128 | -123.6875 | 120.8513
Line_1 | 0.23301 | 0.072714 | 0.050849 | 0.23259 | 0.072248 | 0.050382 | 2.6906 | 0.83962 | 0.58715 | 2.6857 | 0.83425 | 0.58177 | 1.3171 | 0.5923 | -0.56812 | -1.0939 | -0.53262 | 0.60035 | 1.6964 | -0.59591 | -0.1659 | -1.652 | 0.61211 | 0.17655 | -59.6558 | -74.7954 | -75.6436 | 120.3982 | 105.285 | 104.4638 |  | 0.79825 | 1.0007 | 1.008 | 0.73773 | 0.9726 | 1.0756 | -7.4816 | -119.9694 | 120.6346 | -3.1128 | -123.6875 | 120.8513
Line_2 | 0.23301 | 0.072714 | 0.050849 | 0.23259 | 0.072248 | 0.050382 | 2.6906 | 0.83962 | 0.58715 | 2.6857 | 0.83425 | 0.58177 | 1.3171 | 0.5923 | -0.56812 | -1.0939 | -0.53262 | 0.60035 | 1.6964 | -0.59591 | -0.1659 | -1.652 | 0.61211 | 0.17655 | -59.6558 | -74.7954 | -75.6436 | 120.3982 | 105.285 | 104.4638 |  | 0.79825 | 1.0007 | 1.008 | 0.73773 | 0.9726 | 1.0756 | -7.4816 | -119.9694 | 120.6346 | -3.1128 | -123.6875 | 120.8513

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75474 | 0.14422 | 0.10048 | 0.75457 | 0.1445 | 0.10076 | 8.7149 | 1.6653 | 1.1603 | 8.713 | 1.6685 | 1.1635 | 6.4531 | -1.1362 | 1.1431 | -5.0689 | 1.0652 | -1.2007 | 4.6229 | 1.096 | 0.25891 | -3.9527 | -1.2242 | -0.3531 | -41.0791 | 105.3333 | 104.5308 | 138.9403 | -74.715 | -75.5362 |  | 0.91086 | 0.94799 | 1.0102 | 0.73773 | 0.9726 | 1.0756 | -5.4623 | -118.636 | 117.2923 | -3.1128 | -123.6875 | 120.8513
Line_1 | 0.23301 | 0.072714 | 0.050849 | 0.23259 | 0.072248 | 0.050382 | 2.6906 | 0.83962 | 0.58715 | 2.6857 | 0.83425 | 0.58177 | 1.3171 | 0.5923 | -0.56812 | -1.0939 | -0.53262 | 0.60035 | 1.6964 | -0.59591 | -0.1659 | -1.652 | 0.61211 | 0.17655 | -59.6558 | -74.7954 | -75.6436 | 120.3982 | 105.285 | 104.4638 |  | 0.79825 | 1.0007 | 1.008 | 0.73773 | 0.9726 | 1.0756 | -7.4816 | -119.9694 | 120.6346 | -3.1128 | -123.6875 | 120.8513
Line_2 | 0.23301 | 0.072714 | 0.050849 | 0.23259 | 0.072248 | 0.050382 | 2.6906 | 0.83962 | 0.58715 | 2.6857 | 0.83425 | 0.58177 | 1.3171 | 0.5923 | -0.56812 | -1.0939 | -0.53262 | 0.60035 | 1.6964 | -0.59591 | -0.1659 | -1.652 | 0.61211 | 0.17655 | -59.6558 | -74.7954 | -75.6436 | 120.3982 | 105.285 | 104.4638 |  | 0.79825 | 1.0007 | 1.008 | 0.73773 | 0.9726 | 1.0756 | -7.4816 | -119.9694 | 120.6346 | -3.1128 | -123.6875 | 120.8513

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37562 | 4.9199 | 3.0195 | 0.37624 | 4.9199 | 3.0187 | 4.3373 | 56.8099 | 34.8659 | 4.3445 | 56.8096 | 34.8574 | -3.3159 | 30.9697 | -1.3057 | 4.3 | 1.8805e-10 | 1.3326e-10 | 2.4429 | 9.0384 | 15.4329 | -3.5152 | -1.3658e-10 | -4.6816e-11 | -148.5222 | 176.0856 | 39.1434 | 31.619 | -3.9015 | -140.8725 |  | 0.94958 | 0.56789 | 0.44422 | 1.2784 | 0 | 0 | -4.9025 | -167.6447 | 133.9795 | -7.6467 | 0 | 0
Line_1 | 0.18908 | 1.0765 | 0.95026 | 0.18812 | 1.0757 | 0.94874 | 2.1833 | 12.4308 | 10.9727 | 2.1722 | 12.4215 | 10.9551 | 2.1864 | 1.8551 | 1.1285 | -2.15 | 4.8879e-11 | 3.6079e-11 | -1.4844 | -0.30568 | 1.7781 | 1.7576 | -1.3906e-11 | -2.5863e-11 | 32.1094 | 155.898 | 55.4719 | -148.381 | -24.0116 | -124.5942 |  | 1.2104 | 0.15125 | 0.19193 | 1.2784 | 0 | 0 | -2.0642 | 146.541 | 113.0713 | -7.6467 | 0 | 0
Line_2 | 0.18908 | 1.0765 | 0.95026 | 0.18812 | 1.0757 | 0.94874 | 2.1833 | 12.4308 | 10.9727 | 2.1722 | 12.4215 | 10.9551 | 2.1864 | 1.8551 | 1.1285 | -2.15 | 4.8879e-11 | 3.6079e-11 | -1.4844 | -0.30568 | 1.7781 | 1.7576 | -1.3906e-11 | -2.5863e-11 | 32.1094 | 155.898 | 55.4719 | -148.381 | -24.0116 | -124.5942 |  | 1.2104 | 0.15125 | 0.19193 | 1.2784 | 0 | 0 | -2.0642 | 146.541 | 113.0713 | -7.6467 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37562 | 4.9199 | 3.0195 | 0.37624 | 4.9199 | 3.0187 | 4.3373 | 56.8099 | 34.8659 | 4.3445 | 56.8096 | 34.8574 | -3.3159 | 30.9697 | -1.3057 | 4.3 | 1.8805e-10 | 1.3326e-10 | 2.4429 | 9.0384 | 15.4329 | -3.5152 | -1.3658e-10 | -4.6816e-11 | -148.5222 | 176.0856 | 39.1434 | 31.619 | -3.9015 | -140.8725 |  | 0.94958 | 0.56789 | 0.44422 | 1.2784 | 0 | 0 | -4.9025 | -167.6447 | 133.9795 | -7.6467 | 0 | 0
Line_1 | 0.18908 | 1.0765 | 0.95026 | 0.18812 | 1.0757 | 0.94874 | 2.1833 | 12.4308 | 10.9727 | 2.1722 | 12.4215 | 10.9551 | 2.1864 | 1.8551 | 1.1285 | -2.15 | 4.8879e-11 | 3.6079e-11 | -1.4844 | -0.30568 | 1.7781 | 1.7576 | -1.3906e-11 | -2.5863e-11 | 32.1094 | 155.898 | 55.4719 | -148.381 | -24.0116 | -124.5942 |  | 1.2104 | 0.15125 | 0.19193 | 1.2784 | 0 | 0 | -2.0642 | 146.541 | 113.0713 | -7.6467 | 0 | 0
Line_2 | 0.18908 | 1.0765 | 0.95026 | 0.18812 | 1.0757 | 0.94874 | 2.1833 | 12.4308 | 10.9727 | 2.1722 | 12.4215 | 10.9551 | 2.1864 | 1.8551 | 1.1285 | -2.15 | 4.8879e-11 | 3.6079e-11 | -1.4844 | -0.30568 | 1.7781 | 1.7576 | -1.3906e-11 | -2.5863e-11 | 32.1094 | 155.898 | 55.4719 | -148.381 | -24.0116 | -124.5942 |  | 1.2104 | 0.15125 | 0.19193 | 1.2784 | 0 | 0 | -2.0642 | 146.541 | 113.0713 | -7.6467 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15095 | 0.96317 | 0.727 | 0.15074 | 0.96326 | 0.72675 | 1.743 | 11.1217 | 8.3947 | 1.7406 | 11.1228 | 8.3917 | -1.3419 | 10.1292 | 5.723 | 1.4741 | -8.9108 | -5.5039 | -1.3655 | 5.4668 | 5.756 | 1.454 | -5.4664 | -4.7514 | 133.488 | -156.7302 | 71.8176 | -46.4461 | 23.2852 | -108.1906 |  | 1.0984 | 1.0349 | 0.96691 | 1.1896 | 0.93987 | 0.86646 | -1.0134 | -128.3743 | 116.9824 | -1.8385 | -125.1874 | 112.6124
Line_1 | 0.074996 | 0.31953 | 0.34647 | 0.075369 | 0.31938 | 0.34608 | 0.86598 | 3.6896 | 4.0006 | 0.87029 | 3.6879 | 3.9962 | 0.71197 | 1.5652 | 2.3815 | -0.73703 | -1.4336 | -2.253 | 0.72868 | 3.1369 | 2.8116 | -0.72701 | -3.1558 | -2.6293 | -46.2392 | 169.165 | 63.2485 | 133.5539 | -10.7565 | -116.7947 |  | 1.1764 | 0.95017 | 0.92101 | 1.1896 | 0.93987 | 0.86646 | -0.57483 | -127.3524 | 112.9828 | -1.8385 | -125.1874 | 112.6124
Line_2 | 0.074996 | 0.31953 | 0.34647 | 0.075369 | 0.31938 | 0.34608 | 0.86598 | 3.6896 | 4.0006 | 0.87029 | 3.6879 | 3.9962 | 0.71197 | 1.5652 | 2.3815 | -0.73703 | -1.4336 | -2.253 | 0.72868 | 3.1369 | 2.8116 | -0.72701 | -3.1558 | -2.6293 | -46.2392 | 169.165 | 63.2485 | 133.5539 | -10.7565 | -116.7947 |  | 1.1764 | 0.95017 | 0.92101 | 1.1896 | 0.93987 | 0.86646 | -0.57483 | -127.3524 | 112.9828 | -1.8385 | -125.1874 | 112.6124

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15095 | 0.96317 | 0.727 | 0.15074 | 0.96326 | 0.72675 | 1.743 | 11.1217 | 8.3947 | 1.7406 | 11.1228 | 8.3917 | -1.3419 | 10.1292 | 5.723 | 1.4741 | -8.9108 | -5.5039 | -1.3655 | 5.4668 | 5.756 | 1.454 | -5.4664 | -4.7514 | 133.488 | -156.7302 | 71.8176 | -46.4461 | 23.2852 | -108.1906 |  | 1.0984 | 1.0349 | 0.96691 | 1.1896 | 0.93987 | 0.86646 | -1.0134 | -128.3743 | 116.9824 | -1.8385 | -125.1874 | 112.6124
Line_1 | 0.074996 | 0.31953 | 0.34647 | 0.075369 | 0.31938 | 0.34608 | 0.86598 | 3.6896 | 4.0006 | 0.87029 | 3.6879 | 3.9962 | 0.71197 | 1.5652 | 2.3815 | -0.73703 | -1.4336 | -2.253 | 0.72868 | 3.1369 | 2.8116 | -0.72701 | -3.1558 | -2.6293 | -46.2392 | 169.165 | 63.2485 | 133.5539 | -10.7565 | -116.7947 |  | 1.1764 | 0.95017 | 0.92101 | 1.1896 | 0.93987 | 0.86646 | -0.57483 | -127.3524 | 112.9828 | -1.8385 | -125.1874 | 112.6124
Line_2 | 0.074996 | 0.31953 | 0.34647 | 0.075369 | 0.31938 | 0.34608 | 0.86598 | 3.6896 | 4.0006 | 0.87029 | 3.6879 | 3.9962 | 0.71197 | 1.5652 | 2.3815 | -0.73703 | -1.4336 | -2.253 | 0.72868 | 3.1369 | 2.8116 | -0.72701 | -3.1558 | -2.6293 | -46.2392 | 169.165 | 63.2485 | 133.5539 | -10.7565 | -116.7947 |  | 1.1764 | 0.95017 | 0.92101 | 1.1896 | 0.93987 | 0.86646 | -0.57483 | -127.3524 | 112.9828 | -1.8385 | -125.1874 | 112.6124

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36161 | 3.8268 | 2.6185 | 0.36261 | 3.827 | 2.6179 | 4.1755 | 44.1881 | 30.2364 | 4.1871 | 44.1904 | 30.2288 | 0.18878 | 28.2825 | 0.58636 | -0.3206 | -1.315e-10 | -4.0043e-11 | 3.6873 | 3.1403 | 11.9429 | -4.9907 | -1.1275e-10 | -1.1218e-10 | -92.7624 | -171.6652 | 38.0058 | 87.2372 | 8.3496 | -142.0109 |  | 0.88423 | 0.64398 | 0.39546 | 1.1944 | 0 | 0 | -5.6934 | -165.3293 | 125.195 | -6.4384 | 0 | 0
Line_1 | 0.18285 | 0.94612 | 0.64485 | 0.18131 | 0.94547 | 0.6436 | 2.1114 | 10.9248 | 7.4461 | 2.0935 | 10.9174 | 7.4316 | 0.19621 | 2.7342 | 1.0054 | 0.1603 | -1.8231e-11 | -1.9843e-11 | -2.2085 | -0.78564 | 1.669 | 2.4954 | -3.8718e-11 | -2.1536e-11 | 87.3315 | 164.0879 | 61.087 | -92.7628 | -15.8253 | -118.9976 |  | 1.0501 | 0.2604 | 0.26168 | 1.1944 | 0 | 0 | 2.4084 | 148.0563 | 120.0217 | -6.4384 | 0 | 0
Line_2 | 0.18285 | 0.94612 | 0.64485 | 0.18131 | 0.94547 | 0.6436 | 2.1114 | 10.9248 | 7.4461 | 2.0935 | 10.9174 | 7.4316 | 0.19621 | 2.7342 | 1.0054 | 0.1603 | -1.8231e-11 | -1.9843e-11 | -2.2085 | -0.78564 | 1.669 | 2.4954 | -3.8718e-11 | -2.1536e-11 | 87.3315 | 164.0879 | 61.087 | -92.7628 | -15.8253 | -118.9976 |  | 1.0501 | 0.2604 | 0.26168 | 1.1944 | 0 | 0 | 2.4084 | 148.0563 | 120.0217 | -6.4384 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36161 | 3.8268 | 2.6185 | 0.36261 | 3.827 | 2.6179 | 4.1755 | 44.1881 | 30.2364 | 4.1871 | 44.1904 | 30.2288 | 0.18878 | 28.2825 | 0.58636 | -0.3206 | -1.315e-10 | -4.0043e-11 | 3.6873 | 3.1403 | 11.9429 | -4.9907 | -1.1275e-10 | -1.1218e-10 | -92.7624 | -171.6652 | 38.0058 | 87.2372 | 8.3496 | -142.0109 |  | 0.88423 | 0.64398 | 0.39546 | 1.1944 | 0 | 0 | -5.6934 | -165.3293 | 125.195 | -6.4384 | 0 | 0
Line_1 | 0.18285 | 0.94612 | 0.64485 | 0.18131 | 0.94547 | 0.6436 | 2.1114 | 10.9248 | 7.4461 | 2.0935 | 10.9174 | 7.4316 | 0.19621 | 2.7342 | 1.0054 | 0.1603 | -1.8231e-11 | -1.9843e-11 | -2.2085 | -0.78564 | 1.669 | 2.4954 | -3.8718e-11 | -2.1536e-11 | 87.3315 | 164.0879 | 61.087 | -92.7628 | -15.8253 | -118.9976 |  | 1.0501 | 0.2604 | 0.26168 | 1.1944 | 0 | 0 | 2.4084 | 148.0563 | 120.0217 | -6.4384 | 0 | 0
Line_2 | 0.18285 | 0.94612 | 0.64485 | 0.18131 | 0.94547 | 0.6436 | 2.1114 | 10.9248 | 7.4461 | 2.0935 | 10.9174 | 7.4316 | 0.19621 | 2.7342 | 1.0054 | 0.1603 | -1.8231e-11 | -1.9843e-11 | -2.2085 | -0.78564 | 1.669 | 2.4954 | -3.8718e-11 | -2.1536e-11 | 87.3315 | 164.0879 | 61.087 | -92.7628 | -15.8253 | -118.9976 |  | 1.0501 | 0.2604 | 0.26168 | 1.1944 | 0 | 0 | 2.4084 | 148.0563 | 120.0217 | -6.4384 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12034 | 0.90259 | 0.75186 | 0.12063 | 0.90272 | 0.75159 | 1.3896 | 10.4222 | 8.6817 | 1.3929 | 10.4237 | 8.6786 | 0.026329 | 8.3232 | 4.4048 | -0.046038 | -6.7071 | -4.009 | 1.3357 | 4.7004 | 5.9108 | -1.4605 | -4.8234 | -4.7549 | -90.4069 | -158.2967 | 63.0458 | 89.5831 | 21.7198 | -116.9627 |  | 0.96143 | 0.91715 | 0.84909 | 1.049 | 0.79256 | 0.71664 | -1.5362 | -128.8416 | 116.3519 | -2.2223 | -122.5587 | 112.9025
Line_1 | 0.060767 | 0.21451 | 0.21352 | 0.060315 | 0.2144 | 0.21309 | 0.70168 | 2.4769 | 2.4655 | 0.69646 | 2.4756 | 2.4605 | 0.013301 | 0.9809 | 1.5627 | 0.023019 | -0.83408 | -1.4193 | -0.70799 | 1.6997 | 1.1883 | 0.73024 | -1.776 | -1.0463 | 89.6361 | 172.4805 | 76.5468 | -90.4169 | -7.4015 | -103.4954 |  | 1.0092 | 0.79229 | 0.79628 | 1.049 | 0.79256 | 0.71664 | 0.71243 | -127.5092 | 113.7951 | -2.2223 | -122.5587 | 112.9025
Line_2 | 0.060767 | 0.21451 | 0.21352 | 0.060315 | 0.2144 | 0.21309 | 0.70168 | 2.4769 | 2.4655 | 0.69646 | 2.4756 | 2.4605 | 0.013301 | 0.9809 | 1.5627 | 0.023019 | -0.83408 | -1.4193 | -0.70799 | 1.6997 | 1.1883 | 0.73024 | -1.776 | -1.0463 | 89.6361 | 172.4805 | 76.5468 | -90.4169 | -7.4015 | -103.4954 |  | 1.0092 | 0.79229 | 0.79628 | 1.049 | 0.79256 | 0.71664 | 0.71243 | -127.5092 | 113.7951 | -2.2223 | -122.5587 | 112.9025

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12034 | 0.90259 | 0.75186 | 0.12063 | 0.90272 | 0.75159 | 1.3896 | 10.4222 | 8.6817 | 1.3929 | 10.4237 | 8.6786 | 0.026329 | 8.3232 | 4.4048 | -0.046038 | -6.7071 | -4.009 | 1.3357 | 4.7004 | 5.9108 | -1.4605 | -4.8234 | -4.7549 | -90.4069 | -158.2967 | 63.0458 | 89.5831 | 21.7198 | -116.9627 |  | 0.96143 | 0.91715 | 0.84909 | 1.049 | 0.79256 | 0.71664 | -1.5362 | -128.8416 | 116.3519 | -2.2223 | -122.5587 | 112.9025
Line_1 | 0.060767 | 0.21451 | 0.21352 | 0.060315 | 0.2144 | 0.21309 | 0.70168 | 2.4769 | 2.4655 | 0.69646 | 2.4756 | 2.4605 | 0.013301 | 0.9809 | 1.5627 | 0.023019 | -0.83408 | -1.4193 | -0.70799 | 1.6997 | 1.1883 | 0.73024 | -1.776 | -1.0463 | 89.6361 | 172.4805 | 76.5468 | -90.4169 | -7.4015 | -103.4954 |  | 1.0092 | 0.79229 | 0.79628 | 1.049 | 0.79256 | 0.71664 | 0.71243 | -127.5092 | 113.7951 | -2.2223 | -122.5587 | 112.9025
Line_2 | 0.060767 | 0.21451 | 0.21352 | 0.060315 | 0.2144 | 0.21309 | 0.70168 | 2.4769 | 2.4655 | 0.69646 | 2.4756 | 2.4605 | 0.013301 | 0.9809 | 1.5627 | 0.023019 | -0.83408 | -1.4193 | -0.70799 | 1.6997 | 1.1883 | 0.73024 | -1.776 | -1.0463 | 89.6361 | 172.4805 | 76.5468 | -90.4169 | -7.4015 | -103.4954 |  | 1.0092 | 0.79229 | 0.79628 | 1.049 | 0.79256 | 0.71664 | 0.71243 | -127.5092 | 113.7951 | -2.2223 | -122.5587 | 112.9025