## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -2.6053e-14 | 30.1766 | -15.8685 | 5.2106e-15 | -23.0225 | 23.0225 | 1.5632e-14 | 3.131 | 13.1032 | -1.5632e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 3.4989e-13 | -161.8563 | 152.6723 | 3.5117e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -7.8159e-15 | 5.2107e-15 | -2.0843e-14 | 1.3027e-14 | -1.0421e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 3.5562e-13 | -180 | 180 | 3.5117e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2034e-29 | -1.8237e-14 | 5.2107e-15 | -1.5632e-14 | 2.3448e-14 | -1.0421e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -9.581e-29 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 3.5224e-13 | -180 | 180 | 3.5117e-13 | 180 | -180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -2.6053e-14 | 30.1766 | -15.8685 | 5.2106e-15 | -23.0225 | 23.0225 | 1.5632e-14 | 3.131 | 13.1032 | -1.5632e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 3.4989e-13 | -161.8563 | 152.6723 | 3.5117e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -7.8159e-15 | 5.2107e-15 | -2.0843e-14 | 1.3027e-14 | -1.0421e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 3.5562e-13 | -180 | 180 | 3.5117e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2034e-29 | -1.8237e-14 | 5.2107e-15 | -1.5632e-14 | 2.3448e-14 | -1.0421e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -9.581e-29 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 3.5224e-13 | -180 | 180 | 3.5117e-13 | 180 | -180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -5.2106e-15 | 19.0761 | -0.30087 | 2.6053e-15 | -17.4596 | 1.9173 | 7.816e-15 | 3.9919 | 15.2185 | -1.0421e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 1.3733e-13 | -138.0936 | 121.2196 | 1.3639e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2523e-29 | 4.734e-10 | 1.0337e-09 | -5.2106e-15 | -4.734e-10 | -1.0337e-09 | -5.2106e-15 | -1.3544e-09 | 3.8386e-10 | 5.2106e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 1.377e-13 | -142.8673 | 128.239 | 1.3639e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 4.7339e-10 | 1.0337e-09 | -1.0421e-14 | -4.7338e-10 | -1.0337e-09 | -5.2106e-15 | -1.3544e-09 | 3.8386e-10 | 2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 1.3747e-13 | -142.8673 | 128.239 | 1.3639e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -5.2106e-15 | 19.0761 | -0.30087 | 2.6053e-15 | -17.4596 | 1.9173 | 7.816e-15 | 3.9919 | 15.2185 | -1.0421e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 1.3733e-13 | -138.0936 | 121.2196 | 1.3639e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2523e-29 | 4.734e-10 | 1.0337e-09 | -5.2106e-15 | -4.734e-10 | -1.0337e-09 | -5.2106e-15 | -1.3544e-09 | 3.8386e-10 | 5.2106e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 1.377e-13 | -142.8673 | 128.239 | 1.3639e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 4.7339e-10 | 1.0337e-09 | -1.0421e-14 | -4.7338e-10 | -1.0337e-09 | -5.2106e-15 | -1.3544e-09 | 3.8386e-10 | 2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 1.3747e-13 | -142.8673 | 128.239 | 1.3639e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -1.8948e-14 | 26.5997 | -7.1734 | 1.4211e-14 | -16.8865 | 16.8865 | 1.4211e-14 | -0.51586 | 11.9957 | -1.4211e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 9.2061e-13 | -160.7833 | 141.207 | 9.8949e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 8.9777e-20 | 2.3686e-15 | -4.737e-15 | -1.4273e-20 | -2.3685e-15 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.9235e-13 | -180 | 180 | 9.8949e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -4.7369e-15 | 1.1842e-14 | 2.3685e-15 | 4.7369e-15 | -7.1054e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.0903e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.7044e-13 | -180 | 180 | 9.8949e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -1.8948e-14 | 26.5997 | -7.1734 | 1.4211e-14 | -16.8865 | 16.8865 | 1.4211e-14 | -0.51586 | 11.9957 | -1.4211e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 9.2061e-13 | -160.7833 | 141.207 | 9.8949e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 8.9777e-20 | 2.3686e-15 | -4.737e-15 | -1.4273e-20 | -2.3685e-15 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.9235e-13 | -180 | 180 | 9.8949e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -4.7369e-15 | 1.1842e-14 | 2.3685e-15 | 4.7369e-15 | -7.1054e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.0903e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.7044e-13 | -180 | 180 | 9.8949e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -9.4739e-15 | 15.3932 | 0.73601 | 9.4739e-15 | -13.0917 | 1.5655 | 4.737e-15 | 2.3135 | 11.9328 | -7.1054e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 4.2048e-13 | -138.1765 | 119.7467 | 4.5422e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.798e-10 | 8.2616e-10 | -5.6329e-29 | -4.798e-10 | -8.2615e-10 | -9.4739e-15 | -1.0532e-09 | 4.5325e-10 | 7.1054e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.5514e-13 | -142.5584 | 131.6989 | 4.5422e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.798e-10 | 8.2616e-10 | 1.1842e-15 | -4.798e-10 | -8.2616e-10 | -9.1939e-30 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.4482e-13 | -142.5584 | 131.6989 | 4.5422e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -9.4739e-15 | 15.3932 | 0.73601 | 9.4739e-15 | -13.0917 | 1.5655 | 4.737e-15 | 2.3135 | 11.9328 | -7.1054e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 4.2048e-13 | -138.1765 | 119.7467 | 4.5422e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.798e-10 | 8.2616e-10 | -5.6329e-29 | -4.798e-10 | -8.2615e-10 | -9.4739e-15 | -1.0532e-09 | 4.5325e-10 | 7.1054e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.5514e-13 | -142.5584 | 131.6989 | 4.5422e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.798e-10 | 8.2616e-10 | 1.1842e-15 | -4.798e-10 | -8.2616e-10 | -9.1939e-30 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.4482e-13 | -142.5584 | 131.6989 | 4.5422e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2495 | 0.013368 | 0.013368 | 1.2466 | 0.0091365 | 0.0091365 | 14.4282 | 0.15436 | 0.15436 | 14.3949 | 0.1055 | 0.1055 | 2.4862 | 0.15278 | -0.13962 | 1.8683e-11 | -0.099876 | 0.09976 | 1.3632 | -0.1813 | -0.21278 | -3.2337e-11 | 0.13433 | 0.15772 | -47.9765 | -96.1432 | -96.1432 | 132.1658 | 83.315 | 83.315 | 0.19652 | 1.536 | 1.6487 | 0 | 1.5866 | 1.769 | -19.2409 | -146.0225 | 140.5842 | 0 | -150.0529 | 141.0018
Line_1 | 0 | 0 | 0 | 0.0045682 | 0.0045682 | 0.0045682 | 0 | 0 | 0 | 0.052749 | 0.052749 | 0.052749 | -8.2285e-13 | -3.6912e-09 | -4.8184e-09 | -1.3428e-13 | 0.049938 | -0.04988 | 3.0653e-12 | -3.207e-09 | 2.5563e-09 | 2.6421e-14 | -0.067163 | -0.078862 | 0 | 0 | 0 | -96.685 | -96.685 | -96.685 | 0.00078675 | 1.5864 | 1.7696 | 0 | 1.5866 | 1.769 | 104.9867 | -150.0803 | 140.9868 | 0 | -150.0529 | 141.0018
Line_2 | 0 | 0 | 0 | 0.0045682 | 0.0045682 | 0.0045682 | 0 | 0 | 0 | 0.052749 | 0.052749 | 0.052749 | -8.2286e-13 | -3.6912e-09 | -4.8183e-09 | -1.3428e-13 | 0.049938 | -0.04988 | 3.0653e-12 | -3.207e-09 | 2.5563e-09 | 2.6421e-14 | -0.067163 | -0.078862 | 0 | 0 | 0 | -96.685 | -96.685 | -96.685 | 0.00078675 | 1.5864 | 1.7696 | 0 | 1.5866 | 1.769 | 104.9867 | -150.0803 | 140.9868 | 0 | -150.0529 | 141.0018

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2495 | 0.013368 | 0.013368 | 1.2466 | 0.0091365 | 0.0091365 | 14.4282 | 0.15436 | 0.15436 | 14.3949 | 0.1055 | 0.1055 | 2.4862 | 0.15278 | -0.13962 | 1.8683e-11 | -0.099876 | 0.09976 | 1.3632 | -0.1813 | -0.21278 | -3.2337e-11 | 0.13433 | 0.15772 | -47.9765 | -96.1432 | -96.1432 | 132.1658 | 83.315 | 83.315 | 0.19652 | 1.536 | 1.6487 | 0 | 1.5866 | 1.769 | -19.2409 | -146.0225 | 140.5842 | 0 | -150.0529 | 141.0018
Line_1 | 0 | 0 | 0 | 0.0045682 | 0.0045682 | 0.0045682 | 0 | 0 | 0 | 0.052749 | 0.052749 | 0.052749 | -8.2285e-13 | -3.6912e-09 | -4.8184e-09 | -1.3428e-13 | 0.049938 | -0.04988 | 3.0653e-12 | -3.207e-09 | 2.5563e-09 | 2.6421e-14 | -0.067163 | -0.078862 | 0 | 0 | 0 | -96.685 | -96.685 | -96.685 | 0.00078675 | 1.5864 | 1.7696 | 0 | 1.5866 | 1.769 | 104.9867 | -150.0803 | 140.9868 | 0 | -150.0529 | 141.0018
Line_2 | 0 | 0 | 0 | 0.0045682 | 0.0045682 | 0.0045682 | 0 | 0 | 0 | 0.052749 | 0.052749 | 0.052749 | -8.2286e-13 | -3.6912e-09 | -4.8183e-09 | -1.3428e-13 | 0.049938 | -0.04988 | 3.0653e-12 | -3.207e-09 | 2.5563e-09 | 2.6421e-14 | -0.067163 | -0.078862 | 0 | 0 | 0 | -96.685 | -96.685 | -96.685 | 0.00078675 | 1.5864 | 1.7696 | 0 | 1.5866 | 1.769 | 104.9867 | -150.0803 | 140.9868 | 0 | -150.0529 | 141.0018

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.73924 | 0.0079088 | 0.0079088 | 0.73753 | 0.0054053 | 0.0054053 | 8.536 | 0.091323 | 0.091323 | 8.5163 | 0.062415 | 0.062415 | 3.5613 | 0.090252 | -0.083048 | -2.6917 | -0.060209 | 0.058129 | 3.2118 | -0.081693 | -0.097206 | -2.7217 | 0.05924 | 0.070962 | -46.9485 | -95.1152 | -95.1152 | 133.1938 | 84.343 | 84.343 | 0.56182 | 1.333 | 1.4 | 0.44947 | 1.3533 | 1.4697 | -4.9026 | -137.2656 | 134.3757 | -1.4885 | -140.1922 | 135.02
Line_1 | 0 | 0 | 0 | 0.0027027 | 0.0027027 | 0.0027027 | 0 | 0 | 0 | 0.031208 | 0.031208 | 0.031208 | 1.0714e-09 | -1.5917e-09 | -2.1972e-09 | -0.0010196 | 0.030104 | -0.029065 | -4.528e-11 | -1.8854e-09 | 1.5358e-09 | 0.01399 | -0.02962 | -0.035481 | 0 | 0 | 0 | -95.657 | -95.657 | -95.657 | 0.44933 | 1.3531 | 1.4701 | 0.44947 | 1.3533 | 1.4697 | -1.4319 | -140.2102 | 135.0112 | -1.4885 | -140.1922 | 135.02
Line_2 | 0 | 0 | 0 | 0.0027027 | 0.0027027 | 0.0027027 | 0 | 0 | 0 | 0.031208 | 0.031208 | 0.031208 | 1.0714e-09 | -1.5917e-09 | -2.1972e-09 | -0.0010196 | 0.030104 | -0.029065 | -4.5281e-11 | -1.8854e-09 | 1.5358e-09 | 0.01399 | -0.02962 | -0.035481 | 0 | 0 | 0 | -95.657 | -95.657 | -95.657 | 0.44933 | 1.3531 | 1.4701 | 0.44947 | 1.3533 | 1.4697 | -1.4319 | -140.2102 | 135.0112 | -1.4885 | -140.1922 | 135.02

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.73924 | 0.0079088 | 0.0079088 | 0.73753 | 0.0054053 | 0.0054053 | 8.536 | 0.091323 | 0.091323 | 8.5163 | 0.062415 | 0.062415 | 3.5613 | 0.090252 | -0.083048 | -2.6917 | -0.060209 | 0.058129 | 3.2118 | -0.081693 | -0.097206 | -2.7217 | 0.05924 | 0.070962 | -46.9485 | -95.1152 | -95.1152 | 133.1938 | 84.343 | 84.343 | 0.56182 | 1.333 | 1.4 | 0.44947 | 1.3533 | 1.4697 | -4.9026 | -137.2656 | 134.3757 | -1.4885 | -140.1922 | 135.02
Line_1 | 0 | 0 | 0 | 0.0027027 | 0.0027027 | 0.0027027 | 0 | 0 | 0 | 0.031208 | 0.031208 | 0.031208 | 1.0714e-09 | -1.5917e-09 | -2.1972e-09 | -0.0010196 | 0.030104 | -0.029065 | -4.528e-11 | -1.8854e-09 | 1.5358e-09 | 0.01399 | -0.02962 | -0.035481 | 0 | 0 | 0 | -95.657 | -95.657 | -95.657 | 0.44933 | 1.3531 | 1.4701 | 0.44947 | 1.3533 | 1.4697 | -1.4319 | -140.2102 | 135.0112 | -1.4885 | -140.1922 | 135.02
Line_2 | 0 | 0 | 0 | 0.0027027 | 0.0027027 | 0.0027027 | 0 | 0 | 0 | 0.031208 | 0.031208 | 0.031208 | 1.0714e-09 | -1.5917e-09 | -2.1972e-09 | -0.0010196 | 0.030104 | -0.029065 | -4.5281e-11 | -1.8854e-09 | 1.5358e-09 | 0.01399 | -0.02962 | -0.035481 | 0 | 0 | 0 | -95.657 | -95.657 | -95.657 | 0.44933 | 1.3531 | 1.4701 | 0.44947 | 1.3533 | 1.4697 | -1.4319 | -140.2102 | 135.0112 | -1.4885 | -140.1922 | 135.02

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0274 | 0.011954 | 0.011954 | 1.025 | 0.0082912 | 0.0082912 | 11.8628 | 0.13803 | 0.13803 | 11.8356 | 0.095738 | 0.095738 | 3.2246 | 0.12877 | -0.10942 | -1.3647e-11 | -0.082541 | 0.082358 | 0.90375 | -0.14099 | -0.16152 | 1.4362e-12 | 0.11151 | 0.129 | -42.529 | -94.9256 | -94.9256 | 137.6277 | 83.9447 | 83.9447 | 0.2823 | 1.3834 | 1.4134 | 0 | 1.4491 | 1.5986 | -26.8727 | -142.5183 | 140.9594 | 0 | -149.5457 | 141.3894
Line_1 | 0 | 0 | 0 | 0.0041456 | 0.0041456 | 0.0041456 | 0 | 0 | 0 | 0.047869 | 0.047869 | 0.047869 | -4.7224e-13 | -3.0752e-09 | -3.9189e-09 | 3.7369e-14 | 0.04127 | -0.041179 | 4.7466e-12 | -2.6229e-09 | 2.1358e-09 | 4.1033e-14 | -0.055754 | -0.0645 | 0 | 0 | 0 | -96.0553 | -96.0553 | -96.0553 | 0.0013008 | 1.4485 | 1.5995 | 0 | 1.4491 | 1.5986 | 95.6075 | -149.5924 | 141.356 | 0 | -149.5457 | 141.3894
Line_2 | 0 | 0 | 0 | 0.0041456 | 0.0041456 | 0.0041456 | 0 | 0 | 0 | 0.047869 | 0.047869 | 0.047869 | -4.7227e-13 | -3.0752e-09 | -3.9189e-09 | 3.7369e-14 | 0.04127 | -0.041179 | 4.7466e-12 | -2.6229e-09 | 2.1358e-09 | 4.1033e-14 | -0.055754 | -0.0645 | 0 | 0 | 0 | -96.0553 | -96.0553 | -96.0553 | 0.0013008 | 1.4485 | 1.5995 | 0 | 1.4491 | 1.5986 | 95.6075 | -149.5924 | 141.356 | 0 | -149.5457 | 141.3894

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0274 | 0.011954 | 0.011954 | 1.025 | 0.0082912 | 0.0082912 | 11.8628 | 0.13803 | 0.13803 | 11.8356 | 0.095738 | 0.095738 | 3.2246 | 0.12877 | -0.10942 | -1.3647e-11 | -0.082541 | 0.082358 | 0.90375 | -0.14099 | -0.16152 | 1.4362e-12 | 0.11151 | 0.129 | -42.529 | -94.9256 | -94.9256 | 137.6277 | 83.9447 | 83.9447 | 0.2823 | 1.3834 | 1.4134 | 0 | 1.4491 | 1.5986 | -26.8727 | -142.5183 | 140.9594 | 0 | -149.5457 | 141.3894
Line_1 | 0 | 0 | 0 | 0.0041456 | 0.0041456 | 0.0041456 | 0 | 0 | 0 | 0.047869 | 0.047869 | 0.047869 | -4.7224e-13 | -3.0752e-09 | -3.9189e-09 | 3.7369e-14 | 0.04127 | -0.041179 | 4.7466e-12 | -2.6229e-09 | 2.1358e-09 | 4.1033e-14 | -0.055754 | -0.0645 | 0 | 0 | 0 | -96.0553 | -96.0553 | -96.0553 | 0.0013008 | 1.4485 | 1.5995 | 0 | 1.4491 | 1.5986 | 95.6075 | -149.5924 | 141.356 | 0 | -149.5457 | 141.3894
Line_2 | 0 | 0 | 0 | 0.0041456 | 0.0041456 | 0.0041456 | 0 | 0 | 0 | 0.047869 | 0.047869 | 0.047869 | -4.7227e-13 | -3.0752e-09 | -3.9189e-09 | 3.7369e-14 | 0.04127 | -0.041179 | 4.7466e-12 | -2.6229e-09 | 2.1358e-09 | 4.1033e-14 | -0.055754 | -0.0645 | 0 | 0 | 0 | -96.0553 | -96.0553 | -96.0553 | 0.0013008 | 1.4485 | 1.5995 | 0 | 1.4491 | 1.5986 | 95.6075 | -149.5924 | 141.356 | 0 | -149.5457 | 141.3894

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.63255 | 0.0073599 | 0.0073599 | 0.63109 | 0.0051049 | 0.0051049 | 7.304 | 0.084985 | 0.084985 | 7.2872 | 0.058947 | 0.058947 | 3.1904 | 0.079109 | -0.067262 | -1.9689 | -0.052465 | 0.048826 | 2.3474 | -0.065731 | -0.081322 | -1.9948 | 0.050375 | 0.063189 | -43.6836 | -96.0802 | -96.0802 | 136.4731 | 82.7902 | 82.7902 | 0.54229 | 1.2102 | 1.2418 | 0.38462 | 1.2339 | 1.3547 | -7.3385 | -135.8029 | 134.3254 | 1.8484 | -141.0458 | 135.097
Line_1 | 0 | 0 | 0 | 0.0025525 | 0.0025525 | 0.0025525 | 0 | 0 | 0 | 0.029473 | 0.029473 | 0.029473 | 8.6699e-10 | -1.3584e-09 | -1.9367e-09 | -0.0017847 | 0.026232 | -0.024413 | 4.8417e-11 | -1.6264e-09 | 1.2925e-09 | 0.011195 | -0.025188 | -0.031595 | 0 | 0 | 0 | -97.2098 | -97.2098 | -97.2098 | 0.38458 | 1.2334 | 1.3553 | 0.38462 | 1.2339 | 1.3547 | 1.9676 | -141.0765 | 135.0749 | 1.8484 | -141.0458 | 135.097
Line_2 | 0 | 0 | 0 | 0.0025525 | 0.0025525 | 0.0025525 | 0 | 0 | 0 | 0.029473 | 0.029473 | 0.029473 | 8.6699e-10 | -1.3584e-09 | -1.9367e-09 | -0.0017847 | 0.026232 | -0.024413 | 4.8419e-11 | -1.6264e-09 | 1.2925e-09 | 0.011195 | -0.025188 | -0.031595 | 0 | 0 | 0 | -97.2098 | -97.2098 | -97.2098 | 0.38458 | 1.2334 | 1.3553 | 0.38462 | 1.2339 | 1.3547 | 1.9676 | -141.0765 | 135.0749 | 1.8484 | -141.0458 | 135.097

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.63255 | 0.0073599 | 0.0073599 | 0.63109 | 0.0051049 | 0.0051049 | 7.304 | 0.084985 | 0.084985 | 7.2872 | 0.058947 | 0.058947 | 3.1904 | 0.079109 | -0.067262 | -1.9689 | -0.052465 | 0.048826 | 2.3474 | -0.065731 | -0.081322 | -1.9948 | 0.050375 | 0.063189 | -43.6836 | -96.0802 | -96.0802 | 136.4731 | 82.7902 | 82.7902 | 0.54229 | 1.2102 | 1.2418 | 0.38462 | 1.2339 | 1.3547 | -7.3385 | -135.8029 | 134.3254 | 1.8484 | -141.0458 | 135.097
Line_1 | 0 | 0 | 0 | 0.0025525 | 0.0025525 | 0.0025525 | 0 | 0 | 0 | 0.029473 | 0.029473 | 0.029473 | 8.6699e-10 | -1.3584e-09 | -1.9367e-09 | -0.0017847 | 0.026232 | -0.024413 | 4.8417e-11 | -1.6264e-09 | 1.2925e-09 | 0.011195 | -0.025188 | -0.031595 | 0 | 0 | 0 | -97.2098 | -97.2098 | -97.2098 | 0.38458 | 1.2334 | 1.3553 | 0.38462 | 1.2339 | 1.3547 | 1.9676 | -141.0765 | 135.0749 | 1.8484 | -141.0458 | 135.097
Line_2 | 0 | 0 | 0 | 0.0025525 | 0.0025525 | 0.0025525 | 0 | 0 | 0 | 0.029473 | 0.029473 | 0.029473 | 8.6699e-10 | -1.3584e-09 | -1.9367e-09 | -0.0017847 | 0.026232 | -0.024413 | 4.8419e-11 | -1.6264e-09 | 1.2925e-09 | 0.011195 | -0.025188 | -0.031595 | 0 | 0 | 0 | -97.2098 | -97.2098 | -97.2098 | 0.38458 | 1.2334 | 1.3553 | 0.38462 | 1.2339 | 1.3547 | 1.9676 | -141.0765 | 135.0749 | 1.8484 | -141.0458 | 135.097

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076132 | 3.9214 | 3.5207 | 0.0052033 | 3.9217 | 3.52 | 0.08791 | 45.2804 | 40.6532 | 0.060083 | 45.2844 | 40.6449 | 0.0015068 | 10.4907 | 4.4968 | -3.7535e-05 | 8.6933e-11 | 8.5895e-11 | -0.1332 | 7.2403 | 9.2942 | 0.094725 | -5.368e-11 | 2.8827e-11 | 88.6259 | -172.1187 | 17.054 | -91.9159 | 7.9161 | -162.9835 | 1.5153 | 0.2815 | 0.25398 | 1.5766 | 0 | 0 | -0.72604 | -137.5067 | 81.2348 | -1.8932 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0026017 | 0.0026017 | 0.0026017 | 0 | 0 | 0 | 0.030041 | 0.030041 | 0.030041 | -2.7597e-09 | 1.1668e-12 | -1.7791e-12 | 1.8766e-05 | -2.524e-14 | -4.0752e-14 | -2.1181e-10 | 1.3794e-12 | 3.214e-13 | -0.047362 | -6.2905e-14 | 5.3139e-14 | 0 | 0 | 0 | 88.0841 | 88.0841 | 88.0841 | 1.5767 | 0.00044806 | 0.00044806 | 1.5766 | 0 | 0 | -1.9083 | -70.2442 | -70.2442 | -1.8932 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0026017 | 0.0026017 | 0.0026017 | 0 | 0 | 0 | 0.030041 | 0.030041 | 0.030041 | -2.7597e-09 | 1.1668e-12 | -1.7791e-12 | 1.8766e-05 | -2.524e-14 | -4.0752e-14 | -2.1184e-10 | 1.3794e-12 | 3.2141e-13 | -0.047362 | -6.2905e-14 | 5.3139e-14 | 0 | 0 | 0 | 88.0841 | 88.0841 | 88.0841 | 1.5767 | 0.00044806 | 0.00044806 | 1.5766 | 0 | 0 | -1.9083 | -70.2442 | -70.2442 | -1.8932 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076132 | 3.9214 | 3.5207 | 0.0052033 | 3.9217 | 3.52 | 0.08791 | 45.2804 | 40.6532 | 0.060083 | 45.2844 | 40.6449 | 0.0015068 | 10.4907 | 4.4968 | -3.7535e-05 | 8.6933e-11 | 8.5895e-11 | -0.1332 | 7.2403 | 9.2942 | 0.094725 | -5.368e-11 | 2.8827e-11 | 88.6259 | -172.1187 | 17.054 | -91.9159 | 7.9161 | -162.9835 | 1.5153 | 0.2815 | 0.25398 | 1.5766 | 0 | 0 | -0.72604 | -137.5067 | 81.2348 | -1.8932 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0026017 | 0.0026017 | 0.0026017 | 0 | 0 | 0 | 0.030041 | 0.030041 | 0.030041 | -2.7597e-09 | 1.1668e-12 | -1.7791e-12 | 1.8766e-05 | -2.524e-14 | -4.0752e-14 | -2.1181e-10 | 1.3794e-12 | 3.214e-13 | -0.047362 | -6.2905e-14 | 5.3139e-14 | 0 | 0 | 0 | 88.0841 | 88.0841 | 88.0841 | 1.5767 | 0.00044806 | 0.00044806 | 1.5766 | 0 | 0 | -1.9083 | -70.2442 | -70.2442 | -1.8932 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0026017 | 0.0026017 | 0.0026017 | 0 | 0 | 0 | 0.030041 | 0.030041 | 0.030041 | -2.7597e-09 | 1.1668e-12 | -1.7791e-12 | 1.8766e-05 | -2.524e-14 | -4.0752e-14 | -2.1184e-10 | 1.3794e-12 | 3.2141e-13 | -0.047362 | -6.2905e-14 | 5.3139e-14 | 0 | 0 | 0 | 88.0841 | 88.0841 | 88.0841 | 1.5767 | 0.00044806 | 0.00044806 | 1.5766 | 0 | 0 | -1.9083 | -70.2442 | -70.2442 | -1.8932 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054649 | 1.2068 | 1.1176 | 0.003735 | 1.2075 | 1.1163 | 0.063103 | 13.9346 | 12.9046 | 0.043128 | 13.9428 | 12.8894 | 0.0020161 | 8.4401 | 6.7543 | -0.00099301 | -7.2796 | -6.227 | -0.088193 | 7.6428 | 7.5572 | 0.062166 | -7.3202 | -6.2008 | 87.99 | -156.6384 | 48.562 | -92.5518 | 23.4365 | -131.4958 | 1.398 | 0.81712 | 0.78543 | 1.4416 | 0.74043 | 0.68179 | -0.70044 | -114.4765 | 96.7729 | -1.6366 | -111.4044 | 93.3834
Line_1 | 0 | 0 | 0 | 0.0018675 | 0.0018675 | 0.0018675 | 0 | 0 | 0 | 0.021564 | 0.021564 | 0.021564 | -1.8089e-09 | 9.4218e-10 | 7.5434e-10 | 0.0004965 | -0.01511 | 0.014623 | -1.6731e-10 | 4.4732e-10 | -1.2317e-09 | -0.031083 | 0.0051594 | 0.0015203 | 0 | 0 | 0 | 87.4482 | 87.4482 | 87.4482 | 1.4417 | 0.74068 | 0.68148 | 1.4416 | 0.74043 | 0.68179 | -1.6486 | -111.3883 | 93.3761 | -1.6366 | -111.4044 | 93.3834
Line_2 | 0 | 0 | 0 | 0.0018675 | 0.0018675 | 0.0018675 | 0 | 0 | 0 | 0.021564 | 0.021564 | 0.021564 | -1.8089e-09 | 9.4217e-10 | 7.5434e-10 | 0.0004965 | -0.01511 | 0.014623 | -1.6729e-10 | 4.4731e-10 | -1.2318e-09 | -0.031083 | 0.0051594 | 0.0015203 | 0 | 0 | 0 | 87.4482 | 87.4482 | 87.4482 | 1.4417 | 0.74068 | 0.68148 | 1.4416 | 0.74043 | 0.68179 | -1.6486 | -111.3883 | 93.3761 | -1.6366 | -111.4044 | 93.3834

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054649 | 1.2068 | 1.1176 | 0.003735 | 1.2075 | 1.1163 | 0.063103 | 13.9346 | 12.9046 | 0.043128 | 13.9428 | 12.8894 | 0.0020161 | 8.4401 | 6.7543 | -0.00099301 | -7.2796 | -6.227 | -0.088193 | 7.6428 | 7.5572 | 0.062166 | -7.3202 | -6.2008 | 87.99 | -156.6384 | 48.562 | -92.5518 | 23.4365 | -131.4958 | 1.398 | 0.81712 | 0.78543 | 1.4416 | 0.74043 | 0.68179 | -0.70044 | -114.4765 | 96.7729 | -1.6366 | -111.4044 | 93.3834
Line_1 | 0 | 0 | 0 | 0.0018675 | 0.0018675 | 0.0018675 | 0 | 0 | 0 | 0.021564 | 0.021564 | 0.021564 | -1.8089e-09 | 9.4218e-10 | 7.5434e-10 | 0.0004965 | -0.01511 | 0.014623 | -1.6731e-10 | 4.4732e-10 | -1.2317e-09 | -0.031083 | 0.0051594 | 0.0015203 | 0 | 0 | 0 | 87.4482 | 87.4482 | 87.4482 | 1.4417 | 0.74068 | 0.68148 | 1.4416 | 0.74043 | 0.68179 | -1.6486 | -111.3883 | 93.3761 | -1.6366 | -111.4044 | 93.3834
Line_2 | 0 | 0 | 0 | 0.0018675 | 0.0018675 | 0.0018675 | 0 | 0 | 0 | 0.021564 | 0.021564 | 0.021564 | -1.8089e-09 | 9.4217e-10 | 7.5434e-10 | 0.0004965 | -0.01511 | 0.014623 | -1.6729e-10 | 4.4731e-10 | -1.2318e-09 | -0.031083 | 0.0051594 | 0.0015203 | 0 | 0 | 0 | 87.4482 | 87.4482 | 87.4482 | 1.4417 | 0.74068 | 0.68148 | 1.4416 | 0.74043 | 0.68179 | -1.6486 | -111.3883 | 93.3761 | -1.6366 | -111.4044 | 93.3834

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0068147 | 3.2804 | 2.9783 | 0.0047267 | 3.2809 | 2.9775 | 0.078689 | 37.8789 | 34.3905 | 0.054579 | 37.8847 | 34.381 | 0.0020776 | 13.4738 | 6.8359 | -5.9464e-05 | -1.4238e-10 | 1.9519e-11 | -0.10549 | 3.4464 | 8.2346 | 0.078166 | -1.4572e-10 | -1.8475e-10 | 89.3753 | -164.096 | 25.2011 | -91.7543 | 15.9395 | -154.8359 | 1.3409 | 0.36716 | 0.3112 | 1.4322 | 0 | 0 | 0.50356 | -149.7481 | 75.5036 | -1.7107 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0023634 | 0.0023634 | 0.0023634 | 0 | 0 | 0 | 0.02729 | 0.02729 | 0.02729 | -2.2728e-09 | 2.0837e-12 | -2.5556e-12 | 2.9731e-05 | -1.3117e-13 | 1.2374e-13 | -1.5946e-10 | 1.7444e-12 | 9.3404e-13 | -0.039083 | 6.5804e-14 | 8.0203e-14 | 0 | 0 | 0 | 88.2457 | 88.2457 | 88.2457 | 1.4323 | 0.00074155 | 0.00074155 | 1.4322 | 0 | 0 | -1.7398 | -80.0915 | -80.0915 | -1.7107 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0023634 | 0.0023634 | 0.0023634 | 0 | 0 | 0 | 0.02729 | 0.02729 | 0.02729 | -2.2728e-09 | 2.0837e-12 | -2.5556e-12 | 2.9731e-05 | -1.3117e-13 | 1.2374e-13 | -1.5945e-10 | 1.7444e-12 | 9.3405e-13 | -0.039083 | 6.5804e-14 | 8.0203e-14 | 0 | 0 | 0 | 88.2457 | 88.2457 | 88.2457 | 1.4323 | 0.00074155 | 0.00074155 | 1.4322 | 0 | 0 | -1.7398 | -80.0915 | -80.0915 | -1.7107 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0068147 | 3.2804 | 2.9783 | 0.0047267 | 3.2809 | 2.9775 | 0.078689 | 37.8789 | 34.3905 | 0.054579 | 37.8847 | 34.381 | 0.0020776 | 13.4738 | 6.8359 | -5.9464e-05 | -1.4238e-10 | 1.9519e-11 | -0.10549 | 3.4464 | 8.2346 | 0.078166 | -1.4572e-10 | -1.8475e-10 | 89.3753 | -164.096 | 25.2011 | -91.7543 | 15.9395 | -154.8359 | 1.3409 | 0.36716 | 0.3112 | 1.4322 | 0 | 0 | 0.50356 | -149.7481 | 75.5036 | -1.7107 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0023634 | 0.0023634 | 0.0023634 | 0 | 0 | 0 | 0.02729 | 0.02729 | 0.02729 | -2.2728e-09 | 2.0837e-12 | -2.5556e-12 | 2.9731e-05 | -1.3117e-13 | 1.2374e-13 | -1.5946e-10 | 1.7444e-12 | 9.3404e-13 | -0.039083 | 6.5804e-14 | 8.0203e-14 | 0 | 0 | 0 | 88.2457 | 88.2457 | 88.2457 | 1.4323 | 0.00074155 | 0.00074155 | 1.4322 | 0 | 0 | -1.7398 | -80.0915 | -80.0915 | -1.7107 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0023634 | 0.0023634 | 0.0023634 | 0 | 0 | 0 | 0.02729 | 0.02729 | 0.02729 | -2.2728e-09 | 2.0837e-12 | -2.5556e-12 | 2.9731e-05 | -1.3117e-13 | 1.2374e-13 | -1.5945e-10 | 1.7444e-12 | 9.3405e-13 | -0.039083 | 6.5804e-14 | 8.0203e-14 | 0 | 0 | 0 | 88.2457 | 88.2457 | 88.2457 | 1.4323 | 0.00074155 | 0.00074155 | 1.4322 | 0 | 0 | -1.7398 | -80.0915 | -80.0915 | -1.7107 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.005033 | 1.0595 | 0.97118 | 0.0034909 | 1.0602 | 0.97 | 0.058116 | 12.2339 | 11.2143 | 0.04031 | 12.2417 | 11.2006 | 0.0032417 | 7.2187 | 5.5441 | -0.0017016 | -5.6127 | -4.7009 | -0.072683 | 5.5003 | 6.1026 | 0.053107 | -5.6449 | -4.6808 | 87.4591 | -154.2372 | 50.0403 | -93.6705 | 25.838 | -130.0183 | 1.2519 | 0.74182 | 0.73522 | 1.3181 | 0.65027 | 0.59228 | 0.012858 | -116.9314 | 97.7861 | -1.8353 | -108.9981 | 94.8591
Line_1 | 0 | 0 | 0 | 0.0017455 | 0.0017455 | 0.0017455 | 0 | 0 | 0 | 0.020155 | 0.020155 | 0.020155 | -1.5407e-09 | 7.893e-10 | 6.8022e-10 | 0.00085081 | -0.01264 | 0.011805 | -1.5678e-10 | 4.5627e-10 | -9.2189e-10 | -0.026553 | 0.0034645 | 0.0017706 | 0 | 0 | 0 | 86.3295 | 86.3295 | 86.3295 | 1.3182 | 0.65076 | 0.59174 | 1.3181 | 0.65027 | 0.59228 | -1.8588 | -108.9762 | 94.8562 | -1.8353 | -108.9981 | 94.8591
Line_2 | 0 | 0 | 0 | 0.0017455 | 0.0017455 | 0.0017455 | 0 | 0 | 0 | 0.020155 | 0.020155 | 0.020155 | -1.5407e-09 | 7.893e-10 | 6.8022e-10 | 0.00085081 | -0.01264 | 0.011805 | -1.5678e-10 | 4.5626e-10 | -9.2188e-10 | -0.026553 | 0.0034645 | 0.0017706 | 0 | 0 | 0 | 86.3295 | 86.3295 | 86.3295 | 1.3182 | 0.65076 | 0.59174 | 1.3181 | 0.65027 | 0.59228 | -1.8588 | -108.9762 | 94.8562 | -1.8353 | -108.9981 | 94.8591

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.005033 | 1.0595 | 0.97118 | 0.0034909 | 1.0602 | 0.97 | 0.058116 | 12.2339 | 11.2143 | 0.04031 | 12.2417 | 11.2006 | 0.0032417 | 7.2187 | 5.5441 | -0.0017016 | -5.6127 | -4.7009 | -0.072683 | 5.5003 | 6.1026 | 0.053107 | -5.6449 | -4.6808 | 87.4591 | -154.2372 | 50.0403 | -93.6705 | 25.838 | -130.0183 | 1.2519 | 0.74182 | 0.73522 | 1.3181 | 0.65027 | 0.59228 | 0.012858 | -116.9314 | 97.7861 | -1.8353 | -108.9981 | 94.8591
Line_1 | 0 | 0 | 0 | 0.0017455 | 0.0017455 | 0.0017455 | 0 | 0 | 0 | 0.020155 | 0.020155 | 0.020155 | -1.5407e-09 | 7.893e-10 | 6.8022e-10 | 0.00085081 | -0.01264 | 0.011805 | -1.5678e-10 | 4.5627e-10 | -9.2189e-10 | -0.026553 | 0.0034645 | 0.0017706 | 0 | 0 | 0 | 86.3295 | 86.3295 | 86.3295 | 1.3182 | 0.65076 | 0.59174 | 1.3181 | 0.65027 | 0.59228 | -1.8588 | -108.9762 | 94.8562 | -1.8353 | -108.9981 | 94.8591
Line_2 | 0 | 0 | 0 | 0.0017455 | 0.0017455 | 0.0017455 | 0 | 0 | 0 | 0.020155 | 0.020155 | 0.020155 | -1.5407e-09 | 7.893e-10 | 6.8022e-10 | 0.00085081 | -0.01264 | 0.011805 | -1.5678e-10 | 4.5626e-10 | -9.2188e-10 | -0.026553 | 0.0034645 | 0.0017706 | 0 | 0 | 0 | 86.3295 | 86.3295 | 86.3295 | 1.3182 | 0.65076 | 0.59174 | 1.3181 | 0.65027 | 0.59228 | -1.8588 | -108.9762 | 94.8562 | -1.8353 | -108.9981 | 94.8591