## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -5.2106e-15 | 30.1766 | -15.8685 | -5.2106e-15 | -23.0225 | 23.0225 | -2.0843e-14 | 3.131 | 13.1032 | 2.0843e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 5.275e-13 | -161.8563 | 152.6723 | 5.1609e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -1.5632e-14 | 5.2107e-15 | -1.0421e-14 | 2.0843e-14 | -1.5632e-14 | 1.5632e-14 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.2129e-13 | -180 | 180 | 5.1609e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -5.2106e-15 | 5.2107e-15 | 9.3869e-29 | 1.0421e-14 | -1.5632e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.1717e-13 | -180 | 180 | 5.1609e-13 | 180 | -180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -5.2106e-15 | 30.1766 | -15.8685 | -5.2106e-15 | -23.0225 | 23.0225 | -2.0843e-14 | 3.131 | 13.1032 | 2.0843e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 5.275e-13 | -161.8563 | 152.6723 | 5.1609e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -1.5632e-14 | 5.2107e-15 | -1.0421e-14 | 2.0843e-14 | -1.5632e-14 | 1.5632e-14 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.2129e-13 | -180 | 180 | 5.1609e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -5.2106e-15 | 5.2107e-15 | 9.3869e-29 | 1.0421e-14 | -1.5632e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.1717e-13 | -180 | 180 | 5.1609e-13 | 180 | -180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -5.2106e-15 | 19.0761 | -0.30087 | -4.9744e-29 | -17.4596 | 1.9173 | -1.3027e-14 | 3.9919 | 15.2185 | 1.3027e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 2.2466e-13 | -138.0936 | 121.2196 | 2.1879e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0136e-29 | 4.7339e-10 | 1.0337e-09 | -5.2106e-15 | -4.7338e-10 | -1.0337e-09 | -5.2106e-15 | -1.3544e-09 | 3.8387e-10 | 2.6053e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.2142e-13 | -142.8673 | 128.239 | 2.1879e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9999e-29 | 4.7339e-10 | 1.0337e-09 | -5.2106e-15 | -4.7339e-10 | -1.0337e-09 | -5.2106e-15 | -1.3544e-09 | 3.8386e-10 | 5.2106e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.1991e-13 | -142.8673 | 128.239 | 2.1879e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -5.2106e-15 | 19.0761 | -0.30087 | -4.9744e-29 | -17.4596 | 1.9173 | -1.3027e-14 | 3.9919 | 15.2185 | 1.3027e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 2.2466e-13 | -138.0936 | 121.2196 | 2.1879e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0136e-29 | 4.7339e-10 | 1.0337e-09 | -5.2106e-15 | -4.7338e-10 | -1.0337e-09 | -5.2106e-15 | -1.3544e-09 | 3.8387e-10 | 2.6053e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.2142e-13 | -142.8673 | 128.239 | 2.1879e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9999e-29 | 4.7339e-10 | 1.0337e-09 | -5.2106e-15 | -4.7339e-10 | -1.0337e-09 | -5.2106e-15 | -1.3544e-09 | 3.8386e-10 | 5.2106e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.1991e-13 | -142.8673 | 128.239 | 2.1879e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -1.6579e-14 | 26.5997 | -7.1734 | 1.4211e-14 | -16.8865 | 16.8865 | -4.737e-15 | -0.51586 | 11.9957 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 6.7192e-13 | -160.7833 | 141.207 | 7.357e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 1.1843e-15 | 8.9945e-20 | -4.737e-15 | -1.1843e-15 | 2.3685e-15 | 6.0911e-29 | -1.5877e-09 | 1.5877e-09 | -6.0824e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3675e-13 | -180 | 180 | 7.357e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1843e-15 | 4.737e-15 | 0 | -1.1843e-15 | 2.3685e-15 | 0 | -1.5877e-09 | 1.5877e-09 | 0 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1639e-13 | -180 | 180 | 7.357e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -1.6579e-14 | 26.5997 | -7.1734 | 1.4211e-14 | -16.8865 | 16.8865 | -4.737e-15 | -0.51586 | 11.9957 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 6.7192e-13 | -160.7833 | 141.207 | 7.357e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 1.1843e-15 | 8.9945e-20 | -4.737e-15 | -1.1843e-15 | 2.3685e-15 | 6.0911e-29 | -1.5877e-09 | 1.5877e-09 | -6.0824e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3675e-13 | -180 | 180 | 7.357e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1843e-15 | 4.737e-15 | 0 | -1.1843e-15 | 2.3685e-15 | 0 | -1.5877e-09 | 1.5877e-09 | 0 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1639e-13 | -180 | 180 | 7.357e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -1.0658e-14 | 15.3932 | 0.73601 | 1.0066e-14 | -13.0917 | 1.5655 | -2.3685e-15 | 2.3135 | 11.9328 | 2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 3.0072e-13 | -138.1765 | 119.7467 | 3.298e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-15 | 4.798e-10 | 8.2615e-10 | -2.3685e-15 | -4.798e-10 | -8.2616e-10 | -2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -1.3633e-29 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.2863e-13 | -142.5584 | 131.6989 | 3.298e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.798e-10 | 8.2616e-10 | 1.3633e-29 | -4.798e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.2026e-13 | -142.5584 | 131.6989 | 3.298e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -1.0658e-14 | 15.3932 | 0.73601 | 1.0066e-14 | -13.0917 | 1.5655 | -2.3685e-15 | 2.3135 | 11.9328 | 2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 3.0072e-13 | -138.1765 | 119.7467 | 3.298e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-15 | 4.798e-10 | 8.2615e-10 | -2.3685e-15 | -4.798e-10 | -8.2616e-10 | -2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -1.3633e-29 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.2863e-13 | -142.5584 | 131.6989 | 3.298e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.798e-10 | 8.2616e-10 | 1.3633e-29 | -4.798e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.2026e-13 | -142.5584 | 131.6989 | 3.298e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7887 | 0.013941 | 0.013941 | 1.7885 | 0.00962 | 0.00962 | 20.6541 | 0.16097 | 0.16097 | 20.6514 | 0.11108 | 0.11108 | 5.0633 | 0.14497 | -0.14979 | 1.5481e-12 | -0.10205 | 0.10192 | 2.7873 | -0.16515 | -0.24987 | -3.6294e-11 | 0.13367 | 0.19011 | -20.5119 | -106.0352 | -106.0352 | 159.6263 | 74.5315 | 74.5315 | 0.27984 | 1.3652 | 1.8098 | 0 | 1.5139 | 1.9419 | 8.3208 | -154.7582 | 133.0236 | 0 | -158.1078 | 136.335
Line_1 | 0 | 0 | 0 | 0.00481 | 0.00481 | 0.00481 | 0 | 0 | 0 | 0.055541 | 0.055541 | 0.055541 | -3.6355e-13 | -3.5995e-09 | -6.3168e-09 | -9.7609e-14 | 0.051026 | -0.050961 | 3.3216e-12 | -3.7704e-09 | 2.2015e-09 | 4.1982e-15 | -0.066834 | -0.095057 | 0 | 0 | 0 | -105.4685 | -105.4685 | -105.4685 | 0.00082839 | 1.5137 | 1.9425 | 0 | 1.5139 | 1.9419 | 96.2032 | -158.138 | 136.3193 | 0 | -158.1078 | 136.335
Line_2 | 0 | 0 | 0 | 0.00481 | 0.00481 | 0.00481 | 0 | 0 | 0 | 0.055541 | 0.055541 | 0.055541 | -3.6355e-13 | -3.5995e-09 | -6.3168e-09 | -9.7609e-14 | 0.051026 | -0.050961 | 3.3216e-12 | -3.7703e-09 | 2.2015e-09 | 4.1982e-15 | -0.066834 | -0.095057 | 0 | 0 | 0 | -105.4685 | -105.4685 | -105.4685 | 0.00082839 | 1.5137 | 1.9425 | 0 | 1.5139 | 1.9419 | 96.2032 | -158.138 | 136.3193 | 0 | -158.1078 | 136.335

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7887 | 0.013941 | 0.013941 | 1.7885 | 0.00962 | 0.00962 | 20.6541 | 0.16097 | 0.16097 | 20.6514 | 0.11108 | 0.11108 | 5.0633 | 0.14497 | -0.14979 | 1.5481e-12 | -0.10205 | 0.10192 | 2.7873 | -0.16515 | -0.24987 | -3.6294e-11 | 0.13367 | 0.19011 | -20.5119 | -106.0352 | -106.0352 | 159.6263 | 74.5315 | 74.5315 | 0.27984 | 1.3652 | 1.8098 | 0 | 1.5139 | 1.9419 | 8.3208 | -154.7582 | 133.0236 | 0 | -158.1078 | 136.335
Line_1 | 0 | 0 | 0 | 0.00481 | 0.00481 | 0.00481 | 0 | 0 | 0 | 0.055541 | 0.055541 | 0.055541 | -3.6355e-13 | -3.5995e-09 | -6.3168e-09 | -9.7609e-14 | 0.051026 | -0.050961 | 3.3216e-12 | -3.7704e-09 | 2.2015e-09 | 4.1982e-15 | -0.066834 | -0.095057 | 0 | 0 | 0 | -105.4685 | -105.4685 | -105.4685 | 0.00082839 | 1.5137 | 1.9425 | 0 | 1.5139 | 1.9419 | 96.2032 | -158.138 | 136.3193 | 0 | -158.1078 | 136.335
Line_2 | 0 | 0 | 0 | 0.00481 | 0.00481 | 0.00481 | 0 | 0 | 0 | 0.055541 | 0.055541 | 0.055541 | -3.6355e-13 | -3.5995e-09 | -6.3168e-09 | -9.7609e-14 | 0.051026 | -0.050961 | 3.3216e-12 | -3.7703e-09 | 2.2015e-09 | 4.1982e-15 | -0.066834 | -0.095057 | 0 | 0 | 0 | -105.4685 | -105.4685 | -105.4685 | 0.00082839 | 1.5137 | 1.9425 | 0 | 1.5139 | 1.9419 | 96.2032 | -158.138 | 136.3193 | 0 | -158.1078 | 136.335

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.91815 | 0.0071559 | 0.0071559 | 0.91803 | 0.004938 | 0.004938 | 10.6019 | 0.082629 | 0.082629 | 10.6005 | 0.057019 | 0.057019 | 5.5138 | 0.083781 | -0.054607 | -4.1894 | -0.058403 | 0.037602 | 4.9796 | -0.034681 | -0.10973 | -4.2345 | 0.029434 | 0.080276 | -32.9482 | -118.4715 | -118.4715 | 147.1901 | 62.0952 | 62.0952 | 0.70078 | 1.0974 | 1.4833 | 0.56193 | 1.147 | 1.5547 | 9.1377 | -140.9582 | 125.0712 | 12.4973 | -144.6521 | 126.9965
Line_1 | 0 | 0 | 0 | 0.002469 | 0.002469 | 0.002469 | 0 | 0 | 0 | 0.02851 | 0.02851 | 0.02851 | 1.0546e-09 | -6.1849e-10 | -2.6407e-09 | -0.010384 | 0.029201 | -0.018801 | 4.9215e-10 | -1.9303e-09 | 7.6279e-10 | 0.0122 | -0.014717 | -0.040138 | 0 | 0 | 0 | -117.9048 | -117.9048 | -117.9048 | 0.56206 | 1.1467 | 1.555 | 0.56193 | 1.147 | 1.5547 | 12.5383 | -144.668 | 126.9857 | 12.4973 | -144.6521 | 126.9965
Line_2 | 0 | 0 | 0 | 0.002469 | 0.002469 | 0.002469 | 0 | 0 | 0 | 0.02851 | 0.02851 | 0.02851 | 1.0546e-09 | -6.1848e-10 | -2.6407e-09 | -0.010384 | 0.029201 | -0.018801 | 4.9215e-10 | -1.9303e-09 | 7.6278e-10 | 0.0122 | -0.014717 | -0.040138 | 0 | 0 | 0 | -117.9048 | -117.9048 | -117.9048 | 0.56206 | 1.1467 | 1.555 | 0.56193 | 1.147 | 1.5547 | 12.5383 | -144.668 | 126.9857 | 12.4973 | -144.6521 | 126.9965

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.91815 | 0.0071559 | 0.0071559 | 0.91803 | 0.004938 | 0.004938 | 10.6019 | 0.082629 | 0.082629 | 10.6005 | 0.057019 | 0.057019 | 5.5138 | 0.083781 | -0.054607 | -4.1894 | -0.058403 | 0.037602 | 4.9796 | -0.034681 | -0.10973 | -4.2345 | 0.029434 | 0.080276 | -32.9482 | -118.4715 | -118.4715 | 147.1901 | 62.0952 | 62.0952 | 0.70078 | 1.0974 | 1.4833 | 0.56193 | 1.147 | 1.5547 | 9.1377 | -140.9582 | 125.0712 | 12.4973 | -144.6521 | 126.9965
Line_1 | 0 | 0 | 0 | 0.002469 | 0.002469 | 0.002469 | 0 | 0 | 0 | 0.02851 | 0.02851 | 0.02851 | 1.0546e-09 | -6.1849e-10 | -2.6407e-09 | -0.010384 | 0.029201 | -0.018801 | 4.9215e-10 | -1.9303e-09 | 7.6279e-10 | 0.0122 | -0.014717 | -0.040138 | 0 | 0 | 0 | -117.9048 | -117.9048 | -117.9048 | 0.56206 | 1.1467 | 1.555 | 0.56193 | 1.147 | 1.5547 | 12.5383 | -144.668 | 126.9857 | 12.4973 | -144.6521 | 126.9965
Line_2 | 0 | 0 | 0 | 0.002469 | 0.002469 | 0.002469 | 0 | 0 | 0 | 0.02851 | 0.02851 | 0.02851 | 1.0546e-09 | -6.1848e-10 | -2.6407e-09 | -0.010384 | 0.029201 | -0.018801 | 4.9215e-10 | -1.9303e-09 | 7.6278e-10 | 0.0122 | -0.014717 | -0.040138 | 0 | 0 | 0 | -117.9048 | -117.9048 | -117.9048 | 0.56206 | 1.1467 | 1.555 | 0.56193 | 1.147 | 1.5547 | 12.5383 | -144.668 | 126.9857 | 12.4973 | -144.6521 | 126.9965

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3593 | 0.012242 | 0.012242 | 1.3592 | 0.0086277 | 0.0086277 | 15.6962 | 0.14135 | 0.14135 | 15.6943 | 0.099624 | 0.099624 | 5.6105 | 0.1182 | -0.11966 | -9.0057e-12 | -0.084049 | 0.083851 | 1.5794 | -0.12152 | -0.17956 | 5.2156e-12 | 0.11031 | 0.15012 | -17.3683 | -103.714 | -103.714 | 162.7839 | 76.6628 | 76.6628 | 0.37133 | 1.1993 | 1.5265 | 0 | 1.3921 | 1.726 | -1.6461 | -149.508 | 132.6075 | 0 | -156.0325 | 137.4763
Line_1 | 0 | 0 | 0 | 0.0043138 | 0.0043138 | 0.0043138 | 0 | 0 | 0 | 0.049812 | 0.049812 | 0.049812 | 1.383e-13 | -2.9761e-09 | -4.8934e-09 | 1.8449e-14 | 0.042024 | -0.041925 | 4.9609e-12 | -3.0049e-09 | 1.8979e-09 | 2.7398e-14 | -0.055156 | -0.075058 | 0 | 0 | 0 | -103.3372 | -103.3372 | -103.3372 | 0.0013536 | 1.3915 | 1.7269 | 0 | 1.3921 | 1.726 | 88.3256 | -156.0828 | 137.4424 | 0 | -156.0325 | 137.4763
Line_2 | 0 | 0 | 0 | 0.0043138 | 0.0043138 | 0.0043138 | 0 | 0 | 0 | 0.049812 | 0.049812 | 0.049812 | 1.3827e-13 | -2.9761e-09 | -4.8934e-09 | 1.8449e-14 | 0.042024 | -0.041925 | 4.9609e-12 | -3.0049e-09 | 1.8979e-09 | 2.7398e-14 | -0.055156 | -0.075058 | 0 | 0 | 0 | -103.3372 | -103.3372 | -103.3372 | 0.0013536 | 1.3915 | 1.7269 | 0 | 1.3921 | 1.726 | 88.3256 | -156.0828 | 137.4424 | 0 | -156.0325 | 137.4763

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3593 | 0.012242 | 0.012242 | 1.3592 | 0.0086277 | 0.0086277 | 15.6962 | 0.14135 | 0.14135 | 15.6943 | 0.099624 | 0.099624 | 5.6105 | 0.1182 | -0.11966 | -9.0057e-12 | -0.084049 | 0.083851 | 1.5794 | -0.12152 | -0.17956 | 5.2156e-12 | 0.11031 | 0.15012 | -17.3683 | -103.714 | -103.714 | 162.7839 | 76.6628 | 76.6628 | 0.37133 | 1.1993 | 1.5265 | 0 | 1.3921 | 1.726 | -1.6461 | -149.508 | 132.6075 | 0 | -156.0325 | 137.4763
Line_1 | 0 | 0 | 0 | 0.0043138 | 0.0043138 | 0.0043138 | 0 | 0 | 0 | 0.049812 | 0.049812 | 0.049812 | 1.383e-13 | -2.9761e-09 | -4.8934e-09 | 1.8449e-14 | 0.042024 | -0.041925 | 4.9609e-12 | -3.0049e-09 | 1.8979e-09 | 2.7398e-14 | -0.055156 | -0.075058 | 0 | 0 | 0 | -103.3372 | -103.3372 | -103.3372 | 0.0013536 | 1.3915 | 1.7269 | 0 | 1.3921 | 1.726 | 88.3256 | -156.0828 | 137.4424 | 0 | -156.0325 | 137.4763
Line_2 | 0 | 0 | 0 | 0.0043138 | 0.0043138 | 0.0043138 | 0 | 0 | 0 | 0.049812 | 0.049812 | 0.049812 | 1.3827e-13 | -2.9761e-09 | -4.8934e-09 | 1.8449e-14 | 0.042024 | -0.041925 | 4.9609e-12 | -3.0049e-09 | 1.8979e-09 | 2.7398e-14 | -0.055156 | -0.075058 | 0 | 0 | 0 | -103.3372 | -103.3372 | -103.3372 | 0.0013536 | 1.3915 | 1.7269 | 0 | 1.3921 | 1.726 | 88.3256 | -156.0828 | 137.4424 | 0 | -156.0325 | 137.4763

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76476 | 0.0068872 | 0.0068872 | 0.76467 | 0.0048539 | 0.0048539 | 8.8307 | 0.079526 | 0.079526 | 8.8296 | 0.056049 | 0.056049 | 4.6722 | 0.073841 | -0.049462 | -2.9038 | -0.052313 | 0.034872 | 3.4488 | -0.030812 | -0.092209 | -2.9408 | 0.029693 | 0.072392 | -30.1246 | -116.4703 | -116.4703 | 150.0276 | 63.9065 | 63.9065 | 0.65761 | 1.0061 | 1.3158 | 0.46807 | 1.0732 | 1.4336 | 6.3087 | -139.1202 | 125.32 | 15.3907 | -145.6727 | 128.1859
Line_1 | 0 | 0 | 0 | 0.002427 | 0.002427 | 0.002427 | 0 | 0 | 0 | 0.028024 | 0.028024 | 0.028024 | 8.5077e-10 | -6.7475e-10 | -2.3359e-09 | -0.0086891 | 0.026156 | -0.017436 | 4.582e-10 | -1.7056e-09 | 7.4652e-10 | 0.0098267 | -0.014846 | -0.036196 | 0 | 0 | 0 | -116.0935 | -116.0935 | -116.0935 | 0.46845 | 1.0726 | 1.4341 | 0.46807 | 1.0732 | 1.4336 | 15.4715 | -145.6995 | 128.1617 | 15.3907 | -145.6727 | 128.1859
Line_2 | 0 | 0 | 0 | 0.002427 | 0.002427 | 0.002427 | 0 | 0 | 0 | 0.028024 | 0.028024 | 0.028024 | 8.5077e-10 | -6.7474e-10 | -2.3359e-09 | -0.0086891 | 0.026156 | -0.017436 | 4.582e-10 | -1.7055e-09 | 7.4652e-10 | 0.0098267 | -0.014846 | -0.036196 | 0 | 0 | 0 | -116.0935 | -116.0935 | -116.0935 | 0.46845 | 1.0726 | 1.4341 | 0.46807 | 1.0732 | 1.4336 | 15.4715 | -145.6995 | 128.1617 | 15.3907 | -145.6727 | 128.1859

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76476 | 0.0068872 | 0.0068872 | 0.76467 | 0.0048539 | 0.0048539 | 8.8307 | 0.079526 | 0.079526 | 8.8296 | 0.056049 | 0.056049 | 4.6722 | 0.073841 | -0.049462 | -2.9038 | -0.052313 | 0.034872 | 3.4488 | -0.030812 | -0.092209 | -2.9408 | 0.029693 | 0.072392 | -30.1246 | -116.4703 | -116.4703 | 150.0276 | 63.9065 | 63.9065 | 0.65761 | 1.0061 | 1.3158 | 0.46807 | 1.0732 | 1.4336 | 6.3087 | -139.1202 | 125.32 | 15.3907 | -145.6727 | 128.1859
Line_1 | 0 | 0 | 0 | 0.002427 | 0.002427 | 0.002427 | 0 | 0 | 0 | 0.028024 | 0.028024 | 0.028024 | 8.5077e-10 | -6.7475e-10 | -2.3359e-09 | -0.0086891 | 0.026156 | -0.017436 | 4.582e-10 | -1.7056e-09 | 7.4652e-10 | 0.0098267 | -0.014846 | -0.036196 | 0 | 0 | 0 | -116.0935 | -116.0935 | -116.0935 | 0.46845 | 1.0726 | 1.4341 | 0.46807 | 1.0732 | 1.4336 | 15.4715 | -145.6995 | 128.1617 | 15.3907 | -145.6727 | 128.1859
Line_2 | 0 | 0 | 0 | 0.002427 | 0.002427 | 0.002427 | 0 | 0 | 0 | 0.028024 | 0.028024 | 0.028024 | 8.5077e-10 | -6.7474e-10 | -2.3359e-09 | -0.0086891 | 0.026156 | -0.017436 | 4.582e-10 | -1.7055e-09 | 7.4652e-10 | 0.0098267 | -0.014846 | -0.036196 | 0 | 0 | 0 | -116.0935 | -116.0935 | -116.0935 | 0.46845 | 1.0726 | 1.4341 | 0.46807 | 1.0732 | 1.4336 | 15.4715 | -145.6995 | 128.1617 | 15.3907 | -145.6727 | 128.1859

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076946 | 4.1714 | 3.2562 | 0.0053098 | 4.1721 | 3.2554 | 0.08885 | 48.1672 | 37.5997 | 0.061312 | 48.1747 | 37.5896 | 1.7117e-06 | 13.563 | 2.033 | -3.9088e-05 | 7.5999e-11 | 6.0272e-11 | -0.13469 | 9.9394 | 6.865 | 0.098641 | -4.1337e-11 | 2.912e-11 | 85.1955 | -170.3164 | 15.4702 | -94.2378 | 9.7152 | -164.5688 | 1.5159 | 0.3491 | 0.19042 | 1.6088 | 0 | 0 | -4.8037 | -134.0813 | 88.9739 | -4.215 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0026549 | 0.0026549 | 0.0026549 | 0 | 0 | 0 | 0.030656 | 0.030656 | 0.030656 | -3.0206e-09 | 1.2467e-12 | -1.8008e-12 | 1.9542e-05 | -1.3867e-14 | -3.8908e-14 | -4.7872e-10 | 1.3582e-12 | 4.0124e-13 | -0.049321 | -5.3278e-14 | 3.8293e-14 | 0 | 0 | 0 | 85.7623 | 85.7623 | 85.7623 | 1.609 | 0.00045723 | 0.00045723 | 1.6088 | 0 | 0 | -4.2302 | -72.5661 | -72.5661 | -4.215 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0026549 | 0.0026549 | 0.0026549 | 0 | 0 | 0 | 0.030656 | 0.030656 | 0.030656 | -3.0206e-09 | 1.2467e-12 | -1.8008e-12 | 1.9542e-05 | -1.3867e-14 | -3.8908e-14 | -4.7872e-10 | 1.3582e-12 | 4.0123e-13 | -0.049321 | -5.3278e-14 | 3.8293e-14 | 0 | 0 | 0 | 85.7623 | 85.7623 | 85.7623 | 1.609 | 0.00045723 | 0.00045723 | 1.6088 | 0 | 0 | -4.2302 | -72.5661 | -72.5661 | -4.215 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076946 | 4.1714 | 3.2562 | 0.0053098 | 4.1721 | 3.2554 | 0.08885 | 48.1672 | 37.5997 | 0.061312 | 48.1747 | 37.5896 | 1.7117e-06 | 13.563 | 2.033 | -3.9088e-05 | 7.5999e-11 | 6.0272e-11 | -0.13469 | 9.9394 | 6.865 | 0.098641 | -4.1337e-11 | 2.912e-11 | 85.1955 | -170.3164 | 15.4702 | -94.2378 | 9.7152 | -164.5688 | 1.5159 | 0.3491 | 0.19042 | 1.6088 | 0 | 0 | -4.8037 | -134.0813 | 88.9739 | -4.215 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0026549 | 0.0026549 | 0.0026549 | 0 | 0 | 0 | 0.030656 | 0.030656 | 0.030656 | -3.0206e-09 | 1.2467e-12 | -1.8008e-12 | 1.9542e-05 | -1.3867e-14 | -3.8908e-14 | -4.7872e-10 | 1.3582e-12 | 4.0124e-13 | -0.049321 | -5.3278e-14 | 3.8293e-14 | 0 | 0 | 0 | 85.7623 | 85.7623 | 85.7623 | 1.609 | 0.00045723 | 0.00045723 | 1.6088 | 0 | 0 | -4.2302 | -72.5661 | -72.5661 | -4.215 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0026549 | 0.0026549 | 0.0026549 | 0 | 0 | 0 | 0.030656 | 0.030656 | 0.030656 | -3.0206e-09 | 1.2467e-12 | -1.8008e-12 | 1.9542e-05 | -1.3867e-14 | -3.8908e-14 | -4.7872e-10 | 1.3582e-12 | 4.0123e-13 | -0.049321 | -5.3278e-14 | 3.8293e-14 | 0 | 0 | 0 | 85.7623 | 85.7623 | 85.7623 | 1.609 | 0.00045723 | 0.00045723 | 1.6088 | 0 | 0 | -4.2302 | -72.5661 | -72.5661 | -4.215 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0052011 | 1.342 | 0.99746 | 0.0035891 | 1.3431 | 0.99594 | 0.060057 | 15.496 | 11.5177 | 0.041444 | 15.5085 | 11.5001 | 0.016083 | 10.7864 | 5.1006 | -0.010989 | -9.0164 | -4.9493 | -0.08006 | 9.618 | 6.1557 | 0.057959 | -9.0532 | -4.9363 | 72.5391 | -156.6903 | 51.9345 | -106.8942 | 23.3608 | -128.0962 | 1.3597 | 0.93261 | 0.69409 | 1.4234 | 0.82388 | 0.60784 | -6.1019 | -114.9674 | 102.2895 | -6.1584 | -111.5226 | 96.8288
Line_1 | 0 | 0 | 0 | 0.0017946 | 0.0017946 | 0.0017946 | 0 | 0 | 0 | 0.020722 | 0.020722 | 0.020722 | -1.7216e-09 | 7.9716e-10 | 8.9939e-10 | 0.0054944 | -0.017017 | 0.011531 | -6.1714e-10 | 4.9059e-10 | -9.6413e-10 | -0.028979 | 0.0013776 | 0.0050674 | 0 | 0 | 0 | 73.1058 | 73.1058 | 73.1058 | 1.4235 | 0.82416 | 0.60753 | 1.4234 | 0.82388 | 0.60784 | -6.1706 | -111.5131 | 96.8299 | -6.1584 | -111.5226 | 96.8288
Line_2 | 0 | 0 | 0 | 0.0017946 | 0.0017946 | 0.0017946 | 0 | 0 | 0 | 0.020722 | 0.020722 | 0.020722 | -1.7216e-09 | 7.9716e-10 | 8.9938e-10 | 0.0054944 | -0.017017 | 0.011531 | -6.1714e-10 | 4.9059e-10 | -9.6413e-10 | -0.028979 | 0.0013776 | 0.0050674 | 0 | 0 | 0 | 73.1058 | 73.1058 | 73.1058 | 1.4235 | 0.82416 | 0.60753 | 1.4234 | 0.82388 | 0.60784 | -6.1706 | -111.5131 | 96.8299 | -6.1584 | -111.5226 | 96.8288

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0052011 | 1.342 | 0.99746 | 0.0035891 | 1.3431 | 0.99594 | 0.060057 | 15.496 | 11.5177 | 0.041444 | 15.5085 | 11.5001 | 0.016083 | 10.7864 | 5.1006 | -0.010989 | -9.0164 | -4.9493 | -0.08006 | 9.618 | 6.1557 | 0.057959 | -9.0532 | -4.9363 | 72.5391 | -156.6903 | 51.9345 | -106.8942 | 23.3608 | -128.0962 | 1.3597 | 0.93261 | 0.69409 | 1.4234 | 0.82388 | 0.60784 | -6.1019 | -114.9674 | 102.2895 | -6.1584 | -111.5226 | 96.8288
Line_1 | 0 | 0 | 0 | 0.0017946 | 0.0017946 | 0.0017946 | 0 | 0 | 0 | 0.020722 | 0.020722 | 0.020722 | -1.7216e-09 | 7.9716e-10 | 8.9939e-10 | 0.0054944 | -0.017017 | 0.011531 | -6.1714e-10 | 4.9059e-10 | -9.6413e-10 | -0.028979 | 0.0013776 | 0.0050674 | 0 | 0 | 0 | 73.1058 | 73.1058 | 73.1058 | 1.4235 | 0.82416 | 0.60753 | 1.4234 | 0.82388 | 0.60784 | -6.1706 | -111.5131 | 96.8299 | -6.1584 | -111.5226 | 96.8288
Line_2 | 0 | 0 | 0 | 0.0017946 | 0.0017946 | 0.0017946 | 0 | 0 | 0 | 0.020722 | 0.020722 | 0.020722 | -1.7216e-09 | 7.9716e-10 | 8.9938e-10 | 0.0054944 | -0.017017 | 0.011531 | -6.1714e-10 | 4.9059e-10 | -9.6413e-10 | -0.028979 | 0.0013776 | 0.0050674 | 0 | 0 | 0 | 73.1058 | 73.1058 | 73.1058 | 1.4235 | 0.82416 | 0.60753 | 1.4234 | 0.82388 | 0.60784 | -6.1706 | -111.5131 | 96.8299 | -6.1584 | -111.5226 | 96.8288

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006811 | 3.4561 | 2.7927 | 0.0048002 | 3.4569 | 2.7917 | 0.078646 | 39.9075 | 32.2473 | 0.055428 | 39.9164 | 32.236 | 0.00019375 | 17.0437 | 3.8334 | -6.1329e-05 | -1.4671e-10 | 2.5915e-11 | -0.10379 | 5.4172 | 6.3936 | 0.080617 | -1.5063e-10 | -1.6789e-10 | 85.9121 | -162.675 | 24.0445 | -93.7111 | 17.3558 | -155.9915 | 1.3197 | 0.44813 | 0.23117 | 1.4544 | 0 | 0 | -3.981 | -145.0425 | 83.0989 | -3.6675 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0024001 | 0.0024001 | 0.0024001 | 0 | 0 | 0 | 0.027714 | 0.027714 | 0.027714 | -2.4356e-09 | 2.1753e-12 | -2.5615e-12 | 3.0663e-05 | -1.3421e-13 | 1.1741e-13 | -3.4386e-10 | 1.6982e-12 | 1.0366e-12 | -0.040309 | 5.7462e-14 | 8.6863e-14 | 0 | 0 | 0 | 86.2889 | 86.2889 | 86.2889 | 1.4546 | 0.00075309 | 0.00075309 | 1.4544 | 0 | 0 | -3.6966 | -82.0483 | -82.0483 | -3.6675 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0024001 | 0.0024001 | 0.0024001 | 0 | 0 | 0 | 0.027714 | 0.027714 | 0.027714 | -2.4356e-09 | 2.1753e-12 | -2.5615e-12 | 3.0663e-05 | -1.3421e-13 | 1.1741e-13 | -3.4389e-10 | 1.6982e-12 | 1.0366e-12 | -0.040309 | 5.7462e-14 | 8.6863e-14 | 0 | 0 | 0 | 86.2889 | 86.2889 | 86.2889 | 1.4546 | 0.00075309 | 0.00075309 | 1.4544 | 0 | 0 | -3.6966 | -82.0483 | -82.0483 | -3.6675 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006811 | 3.4561 | 2.7927 | 0.0048002 | 3.4569 | 2.7917 | 0.078646 | 39.9075 | 32.2473 | 0.055428 | 39.9164 | 32.236 | 0.00019375 | 17.0437 | 3.8334 | -6.1329e-05 | -1.4671e-10 | 2.5915e-11 | -0.10379 | 5.4172 | 6.3936 | 0.080617 | -1.5063e-10 | -1.6789e-10 | 85.9121 | -162.675 | 24.0445 | -93.7111 | 17.3558 | -155.9915 | 1.3197 | 0.44813 | 0.23117 | 1.4544 | 0 | 0 | -3.981 | -145.0425 | 83.0989 | -3.6675 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0024001 | 0.0024001 | 0.0024001 | 0 | 0 | 0 | 0.027714 | 0.027714 | 0.027714 | -2.4356e-09 | 2.1753e-12 | -2.5615e-12 | 3.0663e-05 | -1.3421e-13 | 1.1741e-13 | -3.4386e-10 | 1.6982e-12 | 1.0366e-12 | -0.040309 | 5.7462e-14 | 8.6863e-14 | 0 | 0 | 0 | 86.2889 | 86.2889 | 86.2889 | 1.4546 | 0.00075309 | 0.00075309 | 1.4544 | 0 | 0 | -3.6966 | -82.0483 | -82.0483 | -3.6675 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0024001 | 0.0024001 | 0.0024001 | 0 | 0 | 0 | 0.027714 | 0.027714 | 0.027714 | -2.4356e-09 | 2.1753e-12 | -2.5615e-12 | 3.0663e-05 | -1.3421e-13 | 1.1741e-13 | -3.4389e-10 | 1.6982e-12 | 1.0366e-12 | -0.040309 | 5.7462e-14 | 8.6863e-14 | 0 | 0 | 0 | 86.2889 | 86.2889 | 86.2889 | 1.4546 | 0.00075309 | 0.00075309 | 1.4544 | 0 | 0 | -3.6966 | -82.0483 | -82.0483 | -3.6675 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0048824 | 1.1617 | 0.87661 | 0.003441 | 1.1627 | 0.87527 | 0.056377 | 13.414 | 10.1223 | 0.039733 | 13.4253 | 10.1067 | 0.012583 | 9.1113 | 4.1776 | -0.008765 | -6.7572 | -3.8222 | -0.067267 | 6.7853 | 5.1496 | 0.051303 | -6.7872 | -3.8108 | 74.1849 | -153.9721 | 52.4668 | -105.4383 | 26.0801 | -127.5667 | 1.2139 | 0.8469 | 0.6551 | 1.3099 | 0.71338 | 0.53404 | -5.2196 | -117.2966 | 103.4165 | -5.743 | -108.7932 | 97.3481
Line_1 | 0 | 0 | 0 | 0.0017205 | 0.0017205 | 0.0017205 | 0 | 0 | 0 | 0.019867 | 0.019867 | 0.019867 | -1.5128e-09 | 6.9888e-10 | 7.618e-10 | 0.0043825 | -0.014148 | 0.0097816 | -4.826e-10 | 5.0925e-10 | -7.5304e-10 | -0.025651 | 0.0008294 | 0.0041091 | 0 | 0 | 0 | 74.5617 | 74.5617 | 74.5617 | 1.3099 | 0.7139 | 0.53351 | 1.3099 | 0.71338 | 0.53404 | -5.7666 | -108.782 | 97.3593 | -5.743 | -108.7932 | 97.3481
Line_2 | 0 | 0 | 0 | 0.0017205 | 0.0017205 | 0.0017205 | 0 | 0 | 0 | 0.019867 | 0.019867 | 0.019867 | -1.5128e-09 | 6.9888e-10 | 7.618e-10 | 0.0043825 | -0.014148 | 0.0097816 | -4.8259e-10 | 5.0924e-10 | -7.5304e-10 | -0.025651 | 0.0008294 | 0.0041091 | 0 | 0 | 0 | 74.5617 | 74.5617 | 74.5617 | 1.3099 | 0.7139 | 0.53351 | 1.3099 | 0.71338 | 0.53404 | -5.7666 | -108.782 | 97.3593 | -5.743 | -108.7932 | 97.3481

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0048824 | 1.1617 | 0.87661 | 0.003441 | 1.1627 | 0.87527 | 0.056377 | 13.414 | 10.1223 | 0.039733 | 13.4253 | 10.1067 | 0.012583 | 9.1113 | 4.1776 | -0.008765 | -6.7572 | -3.8222 | -0.067267 | 6.7853 | 5.1496 | 0.051303 | -6.7872 | -3.8108 | 74.1849 | -153.9721 | 52.4668 | -105.4383 | 26.0801 | -127.5667 | 1.2139 | 0.8469 | 0.6551 | 1.3099 | 0.71338 | 0.53404 | -5.2196 | -117.2966 | 103.4165 | -5.743 | -108.7932 | 97.3481
Line_1 | 0 | 0 | 0 | 0.0017205 | 0.0017205 | 0.0017205 | 0 | 0 | 0 | 0.019867 | 0.019867 | 0.019867 | -1.5128e-09 | 6.9888e-10 | 7.618e-10 | 0.0043825 | -0.014148 | 0.0097816 | -4.826e-10 | 5.0925e-10 | -7.5304e-10 | -0.025651 | 0.0008294 | 0.0041091 | 0 | 0 | 0 | 74.5617 | 74.5617 | 74.5617 | 1.3099 | 0.7139 | 0.53351 | 1.3099 | 0.71338 | 0.53404 | -5.7666 | -108.782 | 97.3593 | -5.743 | -108.7932 | 97.3481
Line_2 | 0 | 0 | 0 | 0.0017205 | 0.0017205 | 0.0017205 | 0 | 0 | 0 | 0.019867 | 0.019867 | 0.019867 | -1.5128e-09 | 6.9888e-10 | 7.618e-10 | 0.0043825 | -0.014148 | 0.0097816 | -4.8259e-10 | 5.0924e-10 | -7.5304e-10 | -0.025651 | 0.0008294 | 0.0041091 | 0 | 0 | 0 | 74.5617 | 74.5617 | 74.5617 | 1.3099 | 0.7139 | 0.53351 | 1.3099 | 0.71338 | 0.53404 | -5.7666 | -108.782 | 97.3593 | -5.743 | -108.7932 | 97.3481