## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 5.2797e-10 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 5.2796e-10 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 5.2797e-10 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 5.2796e-10 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 1.6145e-10 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 1.6145e-10 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 1.6145e-10 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 1.6145e-10 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 4.7997e-10 | 0 | 0 | 0 | 1.7303e-20 | 0 | 6.3209e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 4.7997e-10 | 0 | 0 | 0 | 1.7303e-20 | 0 | 6.3209e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 4.7997e-10 | 0 | 0 | 0 | 1.7303e-20 | 0 | 6.3209e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 4.7997e-10 | 0 | 0 | 0 | 1.7303e-20 | 0 | 6.3209e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 1.5275e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 1.5275e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 1.5275e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 1.5275e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | 5.2106e-15 | 30.1766 | -15.8685 | -2.0843e-14 | -23.0225 | 23.0225 | 2.6053e-14 | 3.131 | 13.1032 | -2.6053e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 8.5874e-13 | -161.8563 | 152.6723 | 8.6444e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 2.6054e-15 | 2.0843e-14 | 1.0421e-14 | 1.8237e-14 | -2.0843e-14 | -1.5632e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.6065e-13 | -180 | 180 | 8.6444e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 2.6054e-15 | 2.0843e-14 | 1.0421e-14 | 1.8237e-14 | -2.0843e-14 | -1.5632e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.6065e-13 | -180 | 180 | 8.6444e-13 | 180 | -180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | 5.2106e-15 | 30.1766 | -15.8685 | -2.0843e-14 | -23.0225 | 23.0225 | 2.6053e-14 | 3.131 | 13.1032 | -2.6053e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 8.5874e-13 | -161.8563 | 152.6723 | 8.6444e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 2.6054e-15 | 2.0843e-14 | 1.0421e-14 | 1.8237e-14 | -2.0843e-14 | -1.5632e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.6065e-13 | -180 | 180 | 8.6444e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 2.6054e-15 | 2.0843e-14 | 1.0421e-14 | 1.8237e-14 | -2.0843e-14 | -1.5632e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.6065e-13 | -180 | 180 | 8.6444e-13 | 180 | -180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -7.816e-15 | 19.0761 | -0.30087 | 2.6053e-15 | -17.4596 | 1.9173 | 1.3027e-14 | 3.9919 | 15.2185 | -1.5632e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 3.9471e-13 | -138.0936 | 121.2196 | 3.9951e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.7339e-10 | 1.0337e-09 | -2.6053e-15 | -4.7339e-10 | -1.0338e-09 | -1.3027e-14 | -1.3544e-09 | 3.8386e-10 | 1.3027e-14 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.0158e-13 | -142.8673 | 128.239 | 3.9951e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.7339e-10 | 1.0337e-09 | -2.6053e-15 | -4.7339e-10 | -1.0338e-09 | -1.3027e-14 | -1.3544e-09 | 3.8386e-10 | 1.3027e-14 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.0158e-13 | -142.8673 | 128.239 | 3.9951e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -7.816e-15 | 19.0761 | -0.30087 | 2.6053e-15 | -17.4596 | 1.9173 | 1.3027e-14 | 3.9919 | 15.2185 | -1.5632e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 3.9471e-13 | -138.0936 | 121.2196 | 3.9951e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.7339e-10 | 1.0337e-09 | -2.6053e-15 | -4.7339e-10 | -1.0338e-09 | -1.3027e-14 | -1.3544e-09 | 3.8386e-10 | 1.3027e-14 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.0158e-13 | -142.8673 | 128.239 | 3.9951e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.7339e-10 | 1.0337e-09 | -2.6053e-15 | -4.7339e-10 | -1.0338e-09 | -1.3027e-14 | -1.3544e-09 | 3.8386e-10 | 1.3027e-14 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.0158e-13 | -142.8673 | 128.239 | 3.9951e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 4.737e-15 | 26.5997 | -7.1734 | -4.737e-15 | -16.8865 | 16.8865 | 2.3685e-14 | -0.51586 | 11.9957 | -1.8948e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 9.291e-13 | -160.7833 | 141.207 | 9.5001e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 5.9213e-15 | 7.1055e-15 | 9.4739e-15 | -4.737e-15 | -1.4454e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 1.5709e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.3176e-13 | -180 | 180 | 9.5001e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 5.9213e-15 | 7.1055e-15 | 9.4739e-15 | -4.737e-15 | -1.4454e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 1.5709e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.3176e-13 | -180 | 180 | 9.5001e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 4.737e-15 | 26.5997 | -7.1734 | -4.737e-15 | -16.8865 | 16.8865 | 2.3685e-14 | -0.51586 | 11.9957 | -1.8948e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 9.291e-13 | -160.7833 | 141.207 | 9.5001e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 5.9213e-15 | 7.1055e-15 | 9.4739e-15 | -4.737e-15 | -1.4454e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 1.5709e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.3176e-13 | -180 | 180 | 9.5001e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 5.9213e-15 | 7.1055e-15 | 9.4739e-15 | -4.737e-15 | -1.4454e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 1.5709e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.3176e-13 | -180 | 180 | 9.5001e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -7.5887e-29 | 15.3932 | 0.73601 | 5.8372e-29 | -13.0917 | 1.5655 | 9.4739e-15 | 2.3135 | 11.9328 | -7.1054e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 4.5895e-13 | -138.1765 | 119.7467 | 4.7069e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.3291e-15 | 4.7981e-10 | 8.2616e-10 | 4.737e-15 | -4.7981e-10 | -8.2616e-10 | -4.2829e-29 | -1.0532e-09 | 4.5326e-10 | 3.8915e-29 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.6047e-13 | -142.5584 | 131.6989 | 4.7069e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.3291e-15 | 4.7981e-10 | 8.2616e-10 | 4.737e-15 | -4.7981e-10 | -8.2616e-10 | -4.2829e-29 | -1.0532e-09 | 4.5326e-10 | 3.8915e-29 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.6047e-13 | -142.5584 | 131.6989 | 4.7069e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -7.5887e-29 | 15.3932 | 0.73601 | 5.8372e-29 | -13.0917 | 1.5655 | 9.4739e-15 | 2.3135 | 11.9328 | -7.1054e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 4.5895e-13 | -138.1765 | 119.7467 | 4.7069e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.3291e-15 | 4.7981e-10 | 8.2616e-10 | 4.737e-15 | -4.7981e-10 | -8.2616e-10 | -4.2829e-29 | -1.0532e-09 | 4.5326e-10 | 3.8915e-29 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.6047e-13 | -142.5584 | 131.6989 | 4.7069e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.3291e-15 | 4.7981e-10 | 8.2616e-10 | 4.737e-15 | -4.7981e-10 | -8.2616e-10 | -4.2829e-29 | -1.0532e-09 | 4.5326e-10 | 3.8915e-29 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.6047e-13 | -142.5584 | 131.6989 | 4.7069e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.9555 | 1.4778 | 1.4778 | 2.9551 | 1.4782 | 1.4782 | 34.1274 | 17.0637 | 17.0637 | 34.1221 | 17.0689 | 17.0689 | 4.5338 | 3.0802 | 27.7166 | 1.7357e-10 | -1.9168 | -26.6003 | 5.1678 | 14.2351 | -6.978 | -2.8038e-10 | -12.9613 | 8.2123 | -49.27 | 130.73 | 130.73 | 130.7835 | -49.3769 | -49.3769 |  | 0.20144 | 0.85354 | 1.675 | 0 | 0.76761 | 1.631 | -0.53104 | -151.4795 | 116.5987 | 0 | -147.7893 | 113.4661
Line_1 | 0.73934 | 0.73934 | 0.73934 | 0.73911 | 0.73911 | 0.73911 | 8.5371 | 8.5371 | 8.5371 | 8.5345 | 8.5345 | 8.5345 | 2.0189 | 1.0792 | -11.2974 | 4.3609e-11 | 0.95841 | 13.3002 | 0.8057 | -5.6797 | 4.8741 | -7.0005e-11 | 6.4806 | -4.1062 | -49.5451 | -49.5451 | -49.5451 | 130.6231 | 130.6231 | 130.6231 |  | 0.25462 | 0.6772 | 1.4412 | 0 | 0.76761 | 1.631 | -27.7893 | -128.7865 | 107.118 | 0 | -147.7893 | 113.4661
Line_2 | 0.73934 | 0.73934 | 0.73934 | 0.73911 | 0.73911 | 0.73911 | 8.5371 | 8.5371 | 8.5371 | 8.5345 | 8.5345 | 8.5345 | 2.0189 | 1.0792 | -11.2974 | 4.3609e-11 | 0.95841 | 13.3002 | 0.8057 | -5.6797 | 4.8741 | -7.0005e-11 | 6.4806 | -4.1062 | -49.5451 | -49.5451 | -49.5451 | 130.6231 | 130.6231 | 130.6231 |  | 0.25462 | 0.6772 | 1.4412 | 0 | 0.76761 | 1.631 | -27.7893 | -128.7865 | 107.118 | 0 | -147.7893 | 113.4661

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.9555 | 1.4778 | 1.4778 | 2.9551 | 1.4782 | 1.4782 | 34.1274 | 17.0637 | 17.0637 | 34.1221 | 17.0689 | 17.0689 | 4.5338 | 3.0802 | 27.7166 | 1.7357e-10 | -1.9168 | -26.6003 | 5.1678 | 14.2351 | -6.978 | -2.8038e-10 | -12.9613 | 8.2123 | -49.27 | 130.73 | 130.73 | 130.7835 | -49.3769 | -49.3769 |  | 0.20144 | 0.85354 | 1.675 | 0 | 0.76761 | 1.631 | -0.53104 | -151.4795 | 116.5987 | 0 | -147.7893 | 113.4661
Line_1 | 0.73934 | 0.73934 | 0.73934 | 0.73911 | 0.73911 | 0.73911 | 8.5371 | 8.5371 | 8.5371 | 8.5345 | 8.5345 | 8.5345 | 2.0189 | 1.0792 | -11.2974 | 4.3609e-11 | 0.95841 | 13.3002 | 0.8057 | -5.6797 | 4.8741 | -7.0005e-11 | 6.4806 | -4.1062 | -49.5451 | -49.5451 | -49.5451 | 130.6231 | 130.6231 | 130.6231 |  | 0.25462 | 0.6772 | 1.4412 | 0 | 0.76761 | 1.631 | -27.7893 | -128.7865 | 107.118 | 0 | -147.7893 | 113.4661
Line_2 | 0.73934 | 0.73934 | 0.73934 | 0.73911 | 0.73911 | 0.73911 | 8.5371 | 8.5371 | 8.5371 | 8.5345 | 8.5345 | 8.5345 | 2.0189 | 1.0792 | -11.2974 | 4.3609e-11 | 0.95841 | 13.3002 | 0.8057 | -5.6797 | 4.8741 | -7.0005e-11 | 6.4806 | -4.1062 | -49.5451 | -49.5451 | -49.5451 | 130.6231 | 130.6231 | 130.6231 |  | 0.25462 | 0.6772 | 1.4412 | 0 | 0.76761 | 1.631 | -27.7893 | -128.7865 | 107.118 | 0 | -147.7893 | 113.4661

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.85271 | 0.42635 | 0.42635 | 0.85258 | 0.42649 | 0.42649 | 9.8462 | 4.9231 | 4.9231 | 9.8447 | 4.9246 | 4.9246 | 5.8307 | -0.74163 | 6.0318 | -5.4576 | 0.84573 | -5.9419 | 5.8835 | 4.9096 | -1.5789 | -5.4474 | -4.8029 | 1.675 | -46.2309 | 133.7691 | 133.7691 | 133.8226 | -46.3378 | -46.3378 |  | 0.84127 | 1.0086 | 1.2665 | 0.78326 | 0.99028 | 1.2536 | -0.97279 | -127.6409 | 119.1006 | -1.2309 | -126.3511 | 117.9195
Line_1 | 0.21331 | 0.21331 | 0.21331 | 0.21324 | 0.21324 | 0.21324 | 2.4631 | 2.4631 | 2.4631 | 2.4623 | 2.4623 | 2.4623 | 1.5257 | 0.5981 | -2.8063 | -1.3612 | -0.42286 | 2.971 | 1.4378 | -2.3339 | 0.89609 | -1.3663 | 2.4014 | -0.83749 | -46.506 | -46.506 | -46.506 | 133.6622 | 133.6622 | 133.6622 |  | 0.85113 | 0.97816 | 1.196 | 0.78326 | 0.99028 | 1.2536 | -3.2047 | -122.1322 | 115.7849 | -1.2309 | -126.3511 | 117.9195
Line_2 | 0.21331 | 0.21331 | 0.21331 | 0.21324 | 0.21324 | 0.21324 | 2.4631 | 2.4631 | 2.4631 | 2.4623 | 2.4623 | 2.4623 | 1.5257 | 0.5981 | -2.8063 | -1.3612 | -0.42286 | 2.971 | 1.4378 | -2.3339 | 0.89609 | -1.3663 | 2.4014 | -0.83749 | -46.506 | -46.506 | -46.506 | 133.6622 | 133.6622 | 133.6622 |  | 0.85113 | 0.97816 | 1.196 | 0.78326 | 0.99028 | 1.2536 | -3.2047 | -122.1322 | 115.7849 | -1.2309 | -126.3511 | 117.9195

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.85271 | 0.42635 | 0.42635 | 0.85258 | 0.42649 | 0.42649 | 9.8462 | 4.9231 | 4.9231 | 9.8447 | 4.9246 | 4.9246 | 5.8307 | -0.74163 | 6.0318 | -5.4576 | 0.84573 | -5.9419 | 5.8835 | 4.9096 | -1.5789 | -5.4474 | -4.8029 | 1.675 | -46.2309 | 133.7691 | 133.7691 | 133.8226 | -46.3378 | -46.3378 |  | 0.84127 | 1.0086 | 1.2665 | 0.78326 | 0.99028 | 1.2536 | -0.97279 | -127.6409 | 119.1006 | -1.2309 | -126.3511 | 117.9195
Line_1 | 0.21331 | 0.21331 | 0.21331 | 0.21324 | 0.21324 | 0.21324 | 2.4631 | 2.4631 | 2.4631 | 2.4623 | 2.4623 | 2.4623 | 1.5257 | 0.5981 | -2.8063 | -1.3612 | -0.42286 | 2.971 | 1.4378 | -2.3339 | 0.89609 | -1.3663 | 2.4014 | -0.83749 | -46.506 | -46.506 | -46.506 | 133.6622 | 133.6622 | 133.6622 |  | 0.85113 | 0.97816 | 1.196 | 0.78326 | 0.99028 | 1.2536 | -3.2047 | -122.1322 | 115.7849 | -1.2309 | -126.3511 | 117.9195
Line_2 | 0.21331 | 0.21331 | 0.21331 | 0.21324 | 0.21324 | 0.21324 | 2.4631 | 2.4631 | 2.4631 | 2.4623 | 2.4623 | 2.4623 | 1.5257 | 0.5981 | -2.8063 | -1.3612 | -0.42286 | 2.971 | 1.4378 | -2.3339 | 0.89609 | -1.3663 | 2.4014 | -0.83749 | -46.506 | -46.506 | -46.506 | 133.6622 | 133.6622 | 133.6622 |  | 0.85113 | 0.97816 | 1.196 | 0.78326 | 0.99028 | 1.2536 | -3.2047 | -122.1322 | 115.7849 | -1.2309 | -126.3511 | 117.9195

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.1661 | 1.083 | 1.083 | 2.1657 | 1.0834 | 1.0834 | 25.0115 | 12.5057 | 12.5057 | 25.0077 | 12.5095 | 12.5095 | 4.6773 | 5.0069 | 18.6475 | -8.3746e-11 | -3.8085 | -17.4968 | 2.7893 | 10.3285 | -6.4975 | 1.2085e-11 | -9.6598 | 7.1358 | -39.031 | 140.969 | 140.969 | 141.0434 | -39.1797 | -39.1797 |  | 0.21773 | 0.91783 | 1.579 | 0 | 0.83005 | 1.5105 | -8.222 | -154.8936 | 121.7586 | 0 | -150.697 | 118.6329
Line_1 | 0.54185 | 0.54185 | 0.54185 | 0.54168 | 0.54168 | 0.54168 | 6.2567 | 6.2567 | 6.2567 | 6.2548 | 6.2548 | 6.2548 | 2.0824 | 0.19532 | -6.6817 | -2.0958e-11 | 1.9042 | 8.7484 | 0.43382 | -4.4045 | 3.9707 | 2.9411e-12 | 4.8299 | -3.5679 | -39.3897 | -39.3897 | -39.3897 | 140.8203 | 140.8203 | 140.8203 |  | 0.33998 | 0.70467 | 1.2423 | 0 | 0.83005 | 1.5105 | -27.6219 | -126.8506 | 109.8886 | 0 | -150.697 | 118.6329
Line_2 | 0.54185 | 0.54185 | 0.54185 | 0.54168 | 0.54168 | 0.54168 | 6.2567 | 6.2567 | 6.2567 | 6.2548 | 6.2548 | 6.2548 | 2.0824 | 0.19532 | -6.6817 | -2.0958e-11 | 1.9042 | 8.7484 | 0.43382 | -4.4045 | 3.9707 | 2.9411e-12 | 4.8299 | -3.5679 | -39.3897 | -39.3897 | -39.3897 | 140.8203 | 140.8203 | 140.8203 |  | 0.33998 | 0.70467 | 1.2423 | 0 | 0.83005 | 1.5105 | -27.6219 | -126.8506 | 109.8886 | 0 | -150.697 | 118.6329

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.1661 | 1.083 | 1.083 | 2.1657 | 1.0834 | 1.0834 | 25.0115 | 12.5057 | 12.5057 | 25.0077 | 12.5095 | 12.5095 | 4.6773 | 5.0069 | 18.6475 | -8.3746e-11 | -3.8085 | -17.4968 | 2.7893 | 10.3285 | -6.4975 | 1.2085e-11 | -9.6598 | 7.1358 | -39.031 | 140.969 | 140.969 | 141.0434 | -39.1797 | -39.1797 |  | 0.21773 | 0.91783 | 1.579 | 0 | 0.83005 | 1.5105 | -8.222 | -154.8936 | 121.7586 | 0 | -150.697 | 118.6329
Line_1 | 0.54185 | 0.54185 | 0.54185 | 0.54168 | 0.54168 | 0.54168 | 6.2567 | 6.2567 | 6.2567 | 6.2548 | 6.2548 | 6.2548 | 2.0824 | 0.19532 | -6.6817 | -2.0958e-11 | 1.9042 | 8.7484 | 0.43382 | -4.4045 | 3.9707 | 2.9411e-12 | 4.8299 | -3.5679 | -39.3897 | -39.3897 | -39.3897 | 140.8203 | 140.8203 | 140.8203 |  | 0.33998 | 0.70467 | 1.2423 | 0 | 0.83005 | 1.5105 | -27.6219 | -126.8506 | 109.8886 | 0 | -150.697 | 118.6329
Line_2 | 0.54185 | 0.54185 | 0.54185 | 0.54168 | 0.54168 | 0.54168 | 6.2567 | 6.2567 | 6.2567 | 6.2548 | 6.2548 | 6.2548 | 2.0824 | 0.19532 | -6.6817 | -2.0958e-11 | 1.9042 | 8.7484 | 0.43382 | -4.4045 | 3.9707 | 2.9411e-12 | 4.8299 | -3.5679 | -39.3897 | -39.3897 | -39.3897 | 140.8203 | 140.8203 | 140.8203 |  | 0.33998 | 0.70467 | 1.2423 | 0 | 0.83005 | 1.5105 | -27.6219 | -126.8506 | 109.8886 | 0 | -150.697 | 118.6329

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.72539 | 0.3627 | 0.3627 | 0.72529 | 0.36281 | 0.36281 | 8.3761 | 4.1881 | 4.1881 | 8.3749 | 4.1893 | 4.1893 | 4.4711 | -0.16072 | 4.7869 | -3.951 | 0.30234 | -4.6605 | 4.2593 | 3.8539 | -1.451 | -3.9408 | -3.7778 | 1.5158 | -43.0042 | 136.9958 | 136.9958 | 137.0701 | -43.1529 | -43.1529 |  | 0.73723 | 0.921 | 1.1943 | 0.66632 | 0.90465 | 1.1698 | 0.60632 | -130.6162 | 120.1329 | 1.9958 | -128.5773 | 118.8305
Line_1 | 0.18146 | 0.18146 | 0.18146 | 0.1814 | 0.1814 | 0.1814 | 2.0953 | 2.0953 | 2.0953 | 2.0947 | 2.0947 | 2.0947 | 1.2146 | 0.39169 | -2.1002 | -0.98435 | -0.15117 | 2.3302 | 1.042 | -1.8403 | 0.79823 | -0.98948 | 1.8889 | -0.75789 | -43.3629 | -43.3629 | -43.3629 | 136.8471 | 136.8471 | 136.8471 |  | 0.76376 | 0.89795 | 1.0723 | 0.66632 | 0.90465 | 1.1698 | -2.7351 | -121.3472 | 115.8265 | 1.9958 | -128.5773 | 118.8305
Line_2 | 0.18146 | 0.18146 | 0.18146 | 0.1814 | 0.1814 | 0.1814 | 2.0953 | 2.0953 | 2.0953 | 2.0947 | 2.0947 | 2.0947 | 1.2146 | 0.39169 | -2.1002 | -0.98435 | -0.15117 | 2.3302 | 1.042 | -1.8403 | 0.79823 | -0.98948 | 1.8889 | -0.75789 | -43.3629 | -43.3629 | -43.3629 | 136.8471 | 136.8471 | 136.8471 |  | 0.76376 | 0.89795 | 1.0723 | 0.66632 | 0.90465 | 1.1698 | -2.7351 | -121.3472 | 115.8265 | 1.9958 | -128.5773 | 118.8305

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.72539 | 0.3627 | 0.3627 | 0.72529 | 0.36281 | 0.36281 | 8.3761 | 4.1881 | 4.1881 | 8.3749 | 4.1893 | 4.1893 | 4.4711 | -0.16072 | 4.7869 | -3.951 | 0.30234 | -4.6605 | 4.2593 | 3.8539 | -1.451 | -3.9408 | -3.7778 | 1.5158 | -43.0042 | 136.9958 | 136.9958 | 137.0701 | -43.1529 | -43.1529 |  | 0.73723 | 0.921 | 1.1943 | 0.66632 | 0.90465 | 1.1698 | 0.60632 | -130.6162 | 120.1329 | 1.9958 | -128.5773 | 118.8305
Line_1 | 0.18146 | 0.18146 | 0.18146 | 0.1814 | 0.1814 | 0.1814 | 2.0953 | 2.0953 | 2.0953 | 2.0947 | 2.0947 | 2.0947 | 1.2146 | 0.39169 | -2.1002 | -0.98435 | -0.15117 | 2.3302 | 1.042 | -1.8403 | 0.79823 | -0.98948 | 1.8889 | -0.75789 | -43.3629 | -43.3629 | -43.3629 | 136.8471 | 136.8471 | 136.8471 |  | 0.76376 | 0.89795 | 1.0723 | 0.66632 | 0.90465 | 1.1698 | -2.7351 | -121.3472 | 115.8265 | 1.9958 | -128.5773 | 118.8305
Line_2 | 0.18146 | 0.18146 | 0.18146 | 0.1814 | 0.1814 | 0.1814 | 2.0953 | 2.0953 | 2.0953 | 2.0947 | 2.0947 | 2.0947 | 1.2146 | 0.39169 | -2.1002 | -0.98435 | -0.15117 | 2.3302 | 1.042 | -1.8403 | 0.79823 | -0.98948 | 1.8889 | -0.75789 | -43.3629 | -43.3629 | -43.3629 | 136.8471 | 136.8471 | 136.8471 |  | 0.76376 | 0.89795 | 1.0723 | 0.66632 | 0.90465 | 1.1698 | -2.7351 | -121.3472 | 115.8265 | 1.9958 | -128.5773 | 118.8305

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2344 | 4.2178 | 3.2385 | 1.2348 | 4.2187 | 3.2371 | 14.2538 | 48.703 | 37.3946 | 14.2582 | 48.7134 | 37.3794 | 20.6939 | 9.2511 | 5.4503 | -19.8986 | 1.3668e-10 | 1.3707e-10 | 4.1697 | 10.5156 | 6.1731 | -3.3137 | -1.1814e-10 | 1.7483e-11 | -24.8952 | -172.8457 | 18.824 | 154.9979 | 7.1835 | -161.2101 |  | 1.481 | 0.28757 | 0.22021 | 1.4148 | 0 | 0 | -13.503 | -124.1854 | 67.3823 | -15.5474 | 0 | 0
Line_1 | 0.61759 | 0.61759 | 0.61759 | 0.6174 | 0.6174 | 0.6174 | 7.1313 | 7.1313 | 7.1313 | 7.1291 | 7.1291 | 7.1291 | -8.5388 | 1.4087 | 1.4087 | 9.9493 | 2.6139e-11 | -1.6563e-11 | -1.1244 | 0.5622 | 0.5622 | 1.6569 | -3.978e-12 | -2.0499e-11 | 154.8297 | 154.8297 | 154.8297 | -25.0021 | -25.0021 | -25.0021 |  | 1.2077 | 0.21269 | 0.21269 | 1.4148 | 0 | 0 | -17.6687 | 176.5855 | 176.5855 | -15.5474 | 0 | 0
Line_2 | 0.61759 | 0.61759 | 0.61759 | 0.6174 | 0.6174 | 0.6174 | 7.1313 | 7.1313 | 7.1313 | 7.1291 | 7.1291 | 7.1291 | -8.5388 | 1.4087 | 1.4087 | 9.9493 | 2.6139e-11 | -1.6563e-11 | -1.1244 | 0.5622 | 0.5622 | 1.6569 | -3.978e-12 | -2.0499e-11 | 154.8297 | 154.8297 | 154.8297 | -25.0021 | -25.0021 | -25.0021 |  | 1.2077 | 0.21269 | 0.21269 | 1.4148 | 0 | 0 | -17.6687 | 176.5855 | 176.5855 | -15.5474 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2344 | 4.2178 | 3.2385 | 1.2348 | 4.2187 | 3.2371 | 14.2538 | 48.703 | 37.3946 | 14.2582 | 48.7134 | 37.3794 | 20.6939 | 9.2511 | 5.4503 | -19.8986 | 1.3668e-10 | 1.3707e-10 | 4.1697 | 10.5156 | 6.1731 | -3.3137 | -1.1814e-10 | 1.7483e-11 | -24.8952 | -172.8457 | 18.824 | 154.9979 | 7.1835 | -161.2101 |  | 1.481 | 0.28757 | 0.22021 | 1.4148 | 0 | 0 | -13.503 | -124.1854 | 67.3823 | -15.5474 | 0 | 0
Line_1 | 0.61759 | 0.61759 | 0.61759 | 0.6174 | 0.6174 | 0.6174 | 7.1313 | 7.1313 | 7.1313 | 7.1291 | 7.1291 | 7.1291 | -8.5388 | 1.4087 | 1.4087 | 9.9493 | 2.6139e-11 | -1.6563e-11 | -1.1244 | 0.5622 | 0.5622 | 1.6569 | -3.978e-12 | -2.0499e-11 | 154.8297 | 154.8297 | 154.8297 | -25.0021 | -25.0021 | -25.0021 |  | 1.2077 | 0.21269 | 0.21269 | 1.4148 | 0 | 0 | -17.6687 | 176.5855 | 176.5855 | -15.5474 | 0 | 0
Line_2 | 0.61759 | 0.61759 | 0.61759 | 0.6174 | 0.6174 | 0.6174 | 7.1313 | 7.1313 | 7.1313 | 7.1291 | 7.1291 | 7.1291 | -8.5388 | 1.4087 | 1.4087 | 9.9493 | 2.6139e-11 | -1.6563e-11 | -1.1244 | 0.5622 | 0.5622 | 1.6569 | -3.978e-12 | -2.0499e-11 | 154.8297 | 154.8297 | 154.8297 | -25.0021 | -25.0021 | -25.0021 |  | 1.2077 | 0.21269 | 0.21269 | 1.4148 | 0 | 0 | -17.6687 | 176.5855 | 176.5855 | -15.5474 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40871 | 1.2069 | 1.0954 | 0.40883 | 1.2075 | 1.0947 | 4.7193 | 13.9356 | 12.6488 | 4.7208 | 13.9429 | 12.6402 | 4.7741 | 11.3272 | 4.1712 | -4.6831 | -10.5766 | -3.5447 | 2.9627 | 6.975 | 8.7102 | -2.8743 | -6.1135 | -7.9984 | -38.465 | -153.8942 | 45.7975 | 141.4281 | 26.1267 | -134.2131 |  | 1.1906 | 0.95457 | 0.76351 | 1.164 | 0.87617 | 0.69213 | -6.6424 | -122.2703 | 110.2081 | -7.0315 | -123.8443 | 111.8851
Line_1 | 0.20448 | 0.20448 | 0.20448 | 0.20442 | 0.20442 | 0.20442 | 2.3611 | 2.3611 | 2.3611 | 2.3604 | 2.3604 | 2.3604 | -2.1836 | -0.022127 | 1.5785 | 2.3415 | 0.17045 | -1.4213 | -1.3829 | 2.1228 | -0.73999 | 1.4372 | -2.0611 | 0.80554 | 141.2599 | 141.2599 | 141.2599 | -38.5719 | -38.5719 | -38.5719 |  | 1.0947 | 0.89912 | 0.73837 | 1.164 | 0.87617 | 0.69213 | -6.3944 | -128.143 | 116.1436 | -7.0315 | -123.8443 | 111.8851
Line_2 | 0.20448 | 0.20448 | 0.20448 | 0.20442 | 0.20442 | 0.20442 | 2.3611 | 2.3611 | 2.3611 | 2.3604 | 2.3604 | 2.3604 | -2.1836 | -0.022127 | 1.5785 | 2.3415 | 0.17045 | -1.4213 | -1.3829 | 2.1228 | -0.73999 | 1.4372 | -2.0611 | 0.80554 | 141.2599 | 141.2599 | 141.2599 | -38.5719 | -38.5719 | -38.5719 |  | 1.0947 | 0.89912 | 0.73837 | 1.164 | 0.87617 | 0.69213 | -6.3944 | -128.143 | 116.1436 | -7.0315 | -123.8443 | 111.8851

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40871 | 1.2069 | 1.0954 | 0.40883 | 1.2075 | 1.0947 | 4.7193 | 13.9356 | 12.6488 | 4.7208 | 13.9429 | 12.6402 | 4.7741 | 11.3272 | 4.1712 | -4.6831 | -10.5766 | -3.5447 | 2.9627 | 6.975 | 8.7102 | -2.8743 | -6.1135 | -7.9984 | -38.465 | -153.8942 | 45.7975 | 141.4281 | 26.1267 | -134.2131 |  | 1.1906 | 0.95457 | 0.76351 | 1.164 | 0.87617 | 0.69213 | -6.6424 | -122.2703 | 110.2081 | -7.0315 | -123.8443 | 111.8851
Line_1 | 0.20448 | 0.20448 | 0.20448 | 0.20442 | 0.20442 | 0.20442 | 2.3611 | 2.3611 | 2.3611 | 2.3604 | 2.3604 | 2.3604 | -2.1836 | -0.022127 | 1.5785 | 2.3415 | 0.17045 | -1.4213 | -1.3829 | 2.1228 | -0.73999 | 1.4372 | -2.0611 | 0.80554 | 141.2599 | 141.2599 | 141.2599 | -38.5719 | -38.5719 | -38.5719 |  | 1.0947 | 0.89912 | 0.73837 | 1.164 | 0.87617 | 0.69213 | -6.3944 | -128.143 | 116.1436 | -7.0315 | -123.8443 | 111.8851
Line_2 | 0.20448 | 0.20448 | 0.20448 | 0.20442 | 0.20442 | 0.20442 | 2.3611 | 2.3611 | 2.3611 | 2.3604 | 2.3604 | 2.3604 | -2.1836 | -0.022127 | 1.5785 | 2.3415 | 0.17045 | -1.4213 | -1.3829 | 2.1228 | -0.73999 | 1.4372 | -2.0611 | 0.80554 | 141.2599 | 141.2599 | 141.2599 | -38.5719 | -38.5719 | -38.5719 |  | 1.0947 | 0.89912 | 0.73837 | 1.164 | 0.87617 | 0.69213 | -6.3944 | -128.143 | 116.1436 | -7.0315 | -123.8443 | 111.8851

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.82841 | 3.4518 | 2.8081 | 0.82866 | 3.4528 | 2.8068 | 9.5657 | 39.8579 | 32.4256 | 9.5686 | 39.8696 | 32.4104 | 13.1524 | 11.9034 | 7.8634 | -12.4652 | -1.653e-10 | 9.0081e-12 | 1.8427 | 7.0558 | 4.6327 | -1.4768 | -1.521e-10 | -1.8282e-10 | -18.4407 | -163.9815 | 25.6272 | 161.4106 | 16.0502 | -154.4079 |  | 1.3884 | 0.34717 | 0.28146 | 1.3118 | 0 | 0 | -10.4653 | -133.324 | 56.1315 | -11.833 | 0 | 0
Line_1 | 0.41446 | 0.41446 | 0.41446 | 0.41433 | 0.41433 | 0.41433 | 4.7858 | 4.7858 | 4.7858 | 4.7843 | 4.7843 | 4.7843 | -5.0134 | 1.2184 | 1.2184 | 6.2326 | -5.9458e-12 | -1.9762e-11 | -0.50764 | 0.25382 | 0.25382 | 0.73838 | -2.6291e-11 | 1.8426e-11 | 161.2007 | 161.2007 | 161.2007 | -18.5894 | -18.5894 | -18.5894 |  | 1.0529 | 0.26005 | 0.26005 | 1.3118 | 0 | 0 | -13.0175 | 172.9684 | 172.9684 | -11.833 | 0 | 0
Line_2 | 0.41446 | 0.41446 | 0.41446 | 0.41433 | 0.41433 | 0.41433 | 4.7858 | 4.7858 | 4.7858 | 4.7843 | 4.7843 | 4.7843 | -5.0134 | 1.2184 | 1.2184 | 6.2326 | -5.9458e-12 | -1.9762e-11 | -0.50764 | 0.25382 | 0.25382 | 0.73838 | -2.6291e-11 | 1.8426e-11 | 161.2007 | 161.2007 | 161.2007 | -18.5894 | -18.5894 | -18.5894 |  | 1.0529 | 0.26005 | 0.26005 | 1.3118 | 0 | 0 | -13.0175 | 172.9684 | 172.9684 | -11.833 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.82841 | 3.4518 | 2.8081 | 0.82866 | 3.4528 | 2.8068 | 9.5657 | 39.8579 | 32.4256 | 9.5686 | 39.8696 | 32.4104 | 13.1524 | 11.9034 | 7.8634 | -12.4652 | -1.653e-10 | 9.0081e-12 | 1.8427 | 7.0558 | 4.6327 | -1.4768 | -1.521e-10 | -1.8282e-10 | -18.4407 | -163.9815 | 25.6272 | 161.4106 | 16.0502 | -154.4079 |  | 1.3884 | 0.34717 | 0.28146 | 1.3118 | 0 | 0 | -10.4653 | -133.324 | 56.1315 | -11.833 | 0 | 0
Line_1 | 0.41446 | 0.41446 | 0.41446 | 0.41433 | 0.41433 | 0.41433 | 4.7858 | 4.7858 | 4.7858 | 4.7843 | 4.7843 | 4.7843 | -5.0134 | 1.2184 | 1.2184 | 6.2326 | -5.9458e-12 | -1.9762e-11 | -0.50764 | 0.25382 | 0.25382 | 0.73838 | -2.6291e-11 | 1.8426e-11 | 161.2007 | 161.2007 | 161.2007 | -18.5894 | -18.5894 | -18.5894 |  | 1.0529 | 0.26005 | 0.26005 | 1.3118 | 0 | 0 | -13.0175 | 172.9684 | 172.9684 | -11.833 | 0 | 0
Line_2 | 0.41446 | 0.41446 | 0.41446 | 0.41433 | 0.41433 | 0.41433 | 4.7858 | 4.7858 | 4.7858 | 4.7843 | 4.7843 | 4.7843 | -5.0134 | 1.2184 | 1.2184 | 6.2326 | -5.9458e-12 | -1.9762e-11 | -0.50764 | 0.25382 | 0.25382 | 0.73838 | -2.6291e-11 | 1.8426e-11 | 161.2007 | 161.2007 | 161.2007 | -18.5894 | -18.5894 | -18.5894 |  | 1.0529 | 0.26005 | 0.26005 | 1.3118 | 0 | 0 | -13.0175 | 172.9684 | 172.9684 | -11.833 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33711 | 1.0573 | 0.95381 | 0.33721 | 1.058 | 0.95296 | 3.8926 | 12.2087 | 11.0137 | 3.8938 | 12.2172 | 11.0039 | 3.8827 | 9.1026 | 3.6279 | -3.765 | -7.9919 | -2.7185 | 2.0098 | 5.4656 | 6.4382 | -1.9541 | -4.8033 | -5.8982 | -34.5165 | -151.3492 | 47.0347 | 145.3348 | 28.6771 | -132.9791 |  | 1.1232 | 0.86966 | 0.67099 | 1.0894 | 0.76321 | 0.59021 | -7.1489 | -120.367 | 107.6337 | -7.2344 | -120.3161 | 112.2761
Line_1 | 0.16866 | 0.16866 | 0.16866 | 0.16861 | 0.16861 | 0.16861 | 1.9475 | 1.9475 | 1.9475 | 1.9469 | 1.9469 | 1.9469 | -1.6777 | 0.083616 | 1.1674 | 1.8825 | 0.11268 | -0.96305 | -0.94224 | 1.5237 | -0.58145 | 0.97707 | -1.4816 | 0.62682 | 145.1248 | 145.1248 | 145.1248 | -34.6652 | -34.6652 | -34.6652 |  | 0.98803 | 0.78355 | 0.66967 | 1.0894 | 0.76321 | 0.59021 | -5.5557 | -128.0163 | 118.6484 | -7.2344 | -120.3161 | 112.2761
Line_2 | 0.16866 | 0.16866 | 0.16866 | 0.16861 | 0.16861 | 0.16861 | 1.9475 | 1.9475 | 1.9475 | 1.9469 | 1.9469 | 1.9469 | -1.6777 | 0.083616 | 1.1674 | 1.8825 | 0.11268 | -0.96305 | -0.94224 | 1.5237 | -0.58145 | 0.97707 | -1.4816 | 0.62682 | 145.1248 | 145.1248 | 145.1248 | -34.6652 | -34.6652 | -34.6652 |  | 0.98803 | 0.78355 | 0.66967 | 1.0894 | 0.76321 | 0.59021 | -5.5557 | -128.0163 | 118.6484 | -7.2344 | -120.3161 | 112.2761

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33711 | 1.0573 | 0.95381 | 0.33721 | 1.058 | 0.95296 | 3.8926 | 12.2087 | 11.0137 | 3.8938 | 12.2172 | 11.0039 | 3.8827 | 9.1026 | 3.6279 | -3.765 | -7.9919 | -2.7185 | 2.0098 | 5.4656 | 6.4382 | -1.9541 | -4.8033 | -5.8982 | -34.5165 | -151.3492 | 47.0347 | 145.3348 | 28.6771 | -132.9791 |  | 1.1232 | 0.86966 | 0.67099 | 1.0894 | 0.76321 | 0.59021 | -7.1489 | -120.367 | 107.6337 | -7.2344 | -120.3161 | 112.2761
Line_1 | 0.16866 | 0.16866 | 0.16866 | 0.16861 | 0.16861 | 0.16861 | 1.9475 | 1.9475 | 1.9475 | 1.9469 | 1.9469 | 1.9469 | -1.6777 | 0.083616 | 1.1674 | 1.8825 | 0.11268 | -0.96305 | -0.94224 | 1.5237 | -0.58145 | 0.97707 | -1.4816 | 0.62682 | 145.1248 | 145.1248 | 145.1248 | -34.6652 | -34.6652 | -34.6652 |  | 0.98803 | 0.78355 | 0.66967 | 1.0894 | 0.76321 | 0.59021 | -5.5557 | -128.0163 | 118.6484 | -7.2344 | -120.3161 | 112.2761
Line_2 | 0.16866 | 0.16866 | 0.16866 | 0.16861 | 0.16861 | 0.16861 | 1.9475 | 1.9475 | 1.9475 | 1.9469 | 1.9469 | 1.9469 | -1.6777 | 0.083616 | 1.1674 | 1.8825 | 0.11268 | -0.96305 | -0.94224 | 1.5237 | -0.58145 | 0.97707 | -1.4816 | 0.62682 | 145.1248 | 145.1248 | 145.1248 | -34.6652 | -34.6652 | -34.6652 |  | 0.98803 | 0.78355 | 0.66967 | 1.0894 | 0.76321 | 0.59021 | -5.5557 | -128.0163 | 118.6484 | -7.2344 | -120.3161 | 112.2761