## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3036 | 3.3036 | 0 | 0 | 114.4404 | 114.4404 | 37.7713 | -20.7457 | 43.3355 | -24.018 | -70.8485 | 109.1515 | 0.50232 | 0.27733 | -21.9239 | -21.6675
Line_1 | 4.0718 | 4.0718 | 7.8074 | 0 | 141.0522 | 141.0522 | -1e-07 | 25.8644 | -1e-07 | 29.3462 | 109.7241 | -70.2759 | 0 | 0.27733 | 0 | -21.6675
Line_2 | 0.76909 | 0.76909 | 0 | 0 | 26.6421 | 26.6421 | 6.0414 | -5.1187 | 6.3751 | -5.3281 | -67.816 | 112.184 | 0.32967 | 0.27733 | -21.2767 | -21.6675

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3036 | 3.3036 | 0 | 0 | 114.4404 | 114.4404 | 37.7713 | -20.7457 | 43.3355 | -24.018 | -70.8485 | 109.1515 | 0.50232 | 0.27733 | -21.9239 | -21.6675
Line_1 | 4.0718 | 4.0718 | 7.8074 | 0 | 141.0522 | 141.0522 | -1e-07 | 25.8644 | -1e-07 | 29.3462 | 109.7241 | -70.2759 | 0 | 0.27733 | 0 | -21.6675
Line_2 | 0.76909 | 0.76909 | 0 | 0 | 26.6421 | 26.6421 | 6.0414 | -5.1187 | 6.3751 | -5.3281 | -67.816 | 112.184 | 0.32967 | 0.27733 | -21.2767 | -21.6675

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77289 | 0.77289 | 0 | 0 | 26.7736 | 26.7736 | 20.4887 | -19.5569 | 16.8303 | -15.773 | -45.3926 | 134.6074 | 0.99034 | 0.93842 | -5.9915 | -6.5057
Line_1 | 1.057 | 1.057 | 2.0668 | 0 | 36.615 | 36.615 | -23.4304 | 25.1732 | -21.4091 | 23.3865 | 130.6015 | -49.3985 | 0.86682 | 0.93842 | -6.9796 | -6.5057
Line_2 | 0.29104 | 0.29104 | 0 | 0 | 10.0818 | 10.0818 | 5.7485 | -5.6164 | 7.7635 | -7.6135 | -60.0901 | 119.9099 | 0.95817 | 0.93842 | -6.6085 | -6.5057

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77289 | 0.77289 | 0 | 0 | 26.7736 | 26.7736 | 20.4887 | -19.5569 | 16.8303 | -15.773 | -45.3926 | 134.6074 | 0.99034 | 0.93842 | -5.9915 | -6.5057
Line_1 | 1.057 | 1.057 | 2.0668 | 0 | 36.615 | 36.615 | -23.4304 | 25.1732 | -21.4091 | 23.3865 | 130.6015 | -49.3985 | 0.86682 | 0.93842 | -6.9796 | -6.5057
Line_2 | 0.29104 | 0.29104 | 0 | 0 | 10.0818 | 10.0818 | 5.7485 | -5.6164 | 7.7635 | -7.6135 | -60.0901 | 119.9099 | 0.95817 | 0.93842 | -6.6085 | -6.5057

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34465 | 2.8163 | 2.9394 | 0.34465 | 2.8163 | 2.9394 | 3.9797 | 32.5201 | 33.9408 | 3.9797 | 32.5201 | 33.9408 | -2.8467 | 27.5894 | -9.8021 | 2.9085 | -23.4649 | 14.2948 | -3.6108 | 3.3833 | 16.3211 | 3.6809 | 1.2964 | -11.2236 | 130.3426 | -157.3314 | 16.2542 | -49.6574 | 22.6686 | -163.7458 | 1.1554 | 0.85474 | 0.56093 | 1.1788 | 0.72265 | 0.53548 | 2.0909 | -150.3401 | 137.2424 | 2.0284 | -160.4937 | 158.117
Line_1 | 0.19448 | 3.4668 | 3.5514 | 0.19448 | 3.4668 | 3.5514 | 2.2456 | 40.0309 | 41.0075 | 2.2456 | 40.0309 | 41.0075 | 1.8069 | -22.6769 | 23.5803 | -1.7872 | 28.9265 | -17.0221 | 1.975 | 7.4181 | -6.4306 | -1.9527 | -0.32717 | 13.8717 | -45.5053 | 20.1544 | -162.7055 | 134.4947 | -159.8456 | 17.2945 | 1.192 | 0.59602 | 0.59602 | 1.1788 | 0.72265 | 0.53548 | 2.0403 | -177.9597 | -177.9597 | 2.0284 | -160.4937 | 158.117
Line_2 | 0.15134 | 0.66475 | 0.6148 | 0.15134 | 0.66475 | 0.6148 | 1.7476 | 7.6758 | 7.0991 | 1.7476 | 7.6758 | 7.0991 | 1.1332 | 5.6914 | -2.5307 | -1.1212 | -5.4616 | 2.7272 | 1.7417 | 1.2299 | 2.8712 | -1.7282 | -0.96922 | -2.6482 | -54.9959 | -170.5566 | 22.2743 | 125.0041 | 9.4434 | -157.7257 | 1.189 | 0.75859 | 0.53912 | 1.1788 | 0.72265 | 0.53548 | 1.9557 | -158.3623 | 153.6676 | 2.0284 | -160.4937 | 158.117

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34465 | 2.8163 | 2.9394 | 0.34465 | 2.8163 | 2.9394 | 3.9797 | 32.5201 | 33.9408 | 3.9797 | 32.5201 | 33.9408 | -2.8467 | 27.5894 | -9.8021 | 2.9085 | -23.4649 | 14.2948 | -3.6108 | 3.3833 | 16.3211 | 3.6809 | 1.2964 | -11.2236 | 130.3426 | -157.3314 | 16.2542 | -49.6574 | 22.6686 | -163.7458 | 1.1554 | 0.85474 | 0.56093 | 1.1788 | 0.72265 | 0.53548 | 2.0909 | -150.3401 | 137.2424 | 2.0284 | -160.4937 | 158.117
Line_1 | 0.19448 | 3.4668 | 3.5514 | 0.19448 | 3.4668 | 3.5514 | 2.2456 | 40.0309 | 41.0075 | 2.2456 | 40.0309 | 41.0075 | 1.8069 | -22.6769 | 23.5803 | -1.7872 | 28.9265 | -17.0221 | 1.975 | 7.4181 | -6.4306 | -1.9527 | -0.32717 | 13.8717 | -45.5053 | 20.1544 | -162.7055 | 134.4947 | -159.8456 | 17.2945 | 1.192 | 0.59602 | 0.59602 | 1.1788 | 0.72265 | 0.53548 | 2.0403 | -177.9597 | -177.9597 | 2.0284 | -160.4937 | 158.117
Line_2 | 0.15134 | 0.66475 | 0.6148 | 0.15134 | 0.66475 | 0.6148 | 1.7476 | 7.6758 | 7.0991 | 1.7476 | 7.6758 | 7.0991 | 1.1332 | 5.6914 | -2.5307 | -1.1212 | -5.4616 | 2.7272 | 1.7417 | 1.2299 | 2.8712 | -1.7282 | -0.96922 | -2.6482 | -54.9959 | -170.5566 | 22.2743 | 125.0041 | 9.4434 | -157.7257 | 1.189 | 0.75859 | 0.53912 | 1.1788 | 0.72265 | 0.53548 | 1.9557 | -158.3623 | 153.6676 | 2.0284 | -160.4937 | 158.117

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26375 | 1.2082 | 1.1737 | 0.26375 | 1.2082 | 1.1737 | 3.0455 | 13.9508 | 13.5526 | 3.0455 | 13.9508 | 13.5526 | -1.7236 | 14.6366 | 0.36638 | 1.7598 | -13.8776 | 0.34995 | -3.0377 | 0.70931 | 11.719 | 3.0787 | 0.15191 | -10.9062 | 120.8148 | -135.4144 | 31.9789 | -59.1852 | 44.5856 | -148.0211 | 1.1468 | 1.0504 | 0.86513 | 1.1644 | 0.99481 | 0.80515 | 1.244 | -132.6399 | 120.1882 | 1.0629 | -136.0415 | 123.8167
Line_1 | 0.14172 | 1.5139 | 1.518 | 0.14172 | 1.5139 | 1.518 | 1.6364 | 17.4815 | 17.5279 | 1.6364 | 17.4815 | 17.5279 | 1.1337 | -16.1122 | 1.4292 | -1.1232 | 17.3041 | -0.23098 | 1.5511 | -0.38203 | -12.7512 | -1.5392 | 1.7343 | 14.1107 | -52.8182 | 38.235 | -147.1211 | 127.1818 | -141.765 | 32.8789 | 1.174 | 0.92193 | 0.73203 | 1.1644 | 0.99481 | 0.80515 | 1.0196 | -140.4067 | 129.274 | 1.0629 | -136.0415 | 123.8167
Line_2 | 0.1239 | 0.3405 | 0.34491 | 0.1239 | 0.3405 | 0.34491 | 1.4307 | 3.9318 | 3.9827 | 1.4307 | 3.9318 | 3.9827 | 0.64456 | 3.4868 | 0.18083 | -0.63657 | -3.4265 | -0.11897 | 1.5486 | 1.9546 | 3.2746 | -1.5395 | -1.8862 | -3.2044 | -66.4724 | -164.8737 | 35.9428 | 113.5276 | 15.1263 | -144.0572 | 1.1724 | 1.0167 | 0.82347 | 1.1644 | 0.99481 | 0.80515 | 0.92914 | -135.5993 | 122.7821 | 1.0629 | -136.0415 | 123.8167

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26375 | 1.2082 | 1.1737 | 0.26375 | 1.2082 | 1.1737 | 3.0455 | 13.9508 | 13.5526 | 3.0455 | 13.9508 | 13.5526 | -1.7236 | 14.6366 | 0.36638 | 1.7598 | -13.8776 | 0.34995 | -3.0377 | 0.70931 | 11.719 | 3.0787 | 0.15191 | -10.9062 | 120.8148 | -135.4144 | 31.9789 | -59.1852 | 44.5856 | -148.0211 | 1.1468 | 1.0504 | 0.86513 | 1.1644 | 0.99481 | 0.80515 | 1.244 | -132.6399 | 120.1882 | 1.0629 | -136.0415 | 123.8167
Line_1 | 0.14172 | 1.5139 | 1.518 | 0.14172 | 1.5139 | 1.518 | 1.6364 | 17.4815 | 17.5279 | 1.6364 | 17.4815 | 17.5279 | 1.1337 | -16.1122 | 1.4292 | -1.1232 | 17.3041 | -0.23098 | 1.5511 | -0.38203 | -12.7512 | -1.5392 | 1.7343 | 14.1107 | -52.8182 | 38.235 | -147.1211 | 127.1818 | -141.765 | 32.8789 | 1.174 | 0.92193 | 0.73203 | 1.1644 | 0.99481 | 0.80515 | 1.0196 | -140.4067 | 129.274 | 1.0629 | -136.0415 | 123.8167
Line_2 | 0.1239 | 0.3405 | 0.34491 | 0.1239 | 0.3405 | 0.34491 | 1.4307 | 3.9318 | 3.9827 | 1.4307 | 3.9318 | 3.9827 | 0.64456 | 3.4868 | 0.18083 | -0.63657 | -3.4265 | -0.11897 | 1.5486 | 1.9546 | 3.2746 | -1.5395 | -1.8862 | -3.2044 | -66.4724 | -164.8737 | 35.9428 | 113.5276 | 15.1263 | -144.0572 | 1.1724 | 1.0167 | 0.82347 | 1.1644 | 0.99481 | 0.80515 | 0.92914 | -135.5993 | 122.7821 | 1.0629 | -136.0415 | 123.8167

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8874 | 0.68369 | 0.55585 | 1.8856 | 0.68523 | 0.55756 | 21.794 | 7.8946 | 6.4184 | 21.7735 | 7.9123 | 6.4382 | 9.3867 | -9.3927 | 7.1984 | -6.1001 | 9.303 | -7.5237 | 7.9079 | 4.2532 | -0.11223 | -5.1248 | -4.4545 | 0.23763 | -68.8992 | 83.8638 | 130.1494 | 111.0976 | -96.0602 | -49.9001 |  | 0.56317 | 1.3061 | 1.1217 | 0.36591 | 1.3036 | 1.1692 | -28.7864 | -120.4983 | 129.2561 | -28.8681 | -121.6466 | 128.2909
Line_1 | 2.7114 | 0.55855 | 0.38051 | 2.7136 | 0.55647 | 0.37823 | 31.3081 | 6.4496 | 4.3938 | 31.3336 | 6.4256 | 4.3674 | 1.0675e-10 | 7.8343 | -5.0083 | 8.9704 | -8.0988 | 4.4491 | -1.0448e-10 | -3.0931 | -2.9885 | 7.1402 | 2.1382 | 2.5059 | 112.6254 | -106.7597 | -81.1059 | -67.387 | 73.1427 | 98.9011 |  | 0 | 1.306 | 1.3274 | 0.36591 | 1.3036 | 1.1692 | 0 | -128.3045 | 129.7192 | -28.8681 | -121.6466 | 128.2909
Line_2 | 0.83177 | 0.17512 | 0.30625 | 0.83009 | 0.17343 | 0.30522 | 9.6045 | 2.0221 | 3.5363 | 9.585 | 2.0026 | 3.5244 | 4.2155 | 1.4477 | -2.6809 | -2.8703 | -1.2041 | 3.0746 | 2.9461 | -2.2285 | 2.6169 | -2.0154 | 2.3163 | -2.7435 | -63.9399 | -59.1465 | -10.2161 | 116.0571 | 120.8858 | 170.0343 |  | 0.53547 | 1.3142 | 1.0594 | 0.36591 | 1.3036 | 1.1692 | -28.9911 | -116.1373 | 125.4765 | -28.8681 | -121.6466 | 128.2909

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8874 | 0.68369 | 0.55585 | 1.8856 | 0.68523 | 0.55756 | 21.794 | 7.8946 | 6.4184 | 21.7735 | 7.9123 | 6.4382 | 9.3867 | -9.3927 | 7.1984 | -6.1001 | 9.303 | -7.5237 | 7.9079 | 4.2532 | -0.11223 | -5.1248 | -4.4545 | 0.23763 | -68.8992 | 83.8638 | 130.1494 | 111.0976 | -96.0602 | -49.9001 |  | 0.56317 | 1.3061 | 1.1217 | 0.36591 | 1.3036 | 1.1692 | -28.7864 | -120.4983 | 129.2561 | -28.8681 | -121.6466 | 128.2909
Line_1 | 2.7114 | 0.55855 | 0.38051 | 2.7136 | 0.55647 | 0.37823 | 31.3081 | 6.4496 | 4.3938 | 31.3336 | 6.4256 | 4.3674 | 1.0675e-10 | 7.8343 | -5.0083 | 8.9704 | -8.0988 | 4.4491 | -1.0448e-10 | -3.0931 | -2.9885 | 7.1402 | 2.1382 | 2.5059 | 112.6254 | -106.7597 | -81.1059 | -67.387 | 73.1427 | 98.9011 |  | 0 | 1.306 | 1.3274 | 0.36591 | 1.3036 | 1.1692 | 0 | -128.3045 | 129.7192 | -28.8681 | -121.6466 | 128.2909
Line_2 | 0.83177 | 0.17512 | 0.30625 | 0.83009 | 0.17343 | 0.30522 | 9.6045 | 2.0221 | 3.5363 | 9.585 | 2.0026 | 3.5244 | 4.2155 | 1.4477 | -2.6809 | -2.8703 | -1.2041 | 3.0746 | 2.9461 | -2.2285 | 2.6169 | -2.0154 | 2.3163 | -2.7435 | -63.9399 | -59.1465 | -10.2161 | 116.0571 | 120.8858 | 170.0343 |  | 0.53547 | 1.3142 | 1.0594 | 0.36591 | 1.3036 | 1.1692 | -28.9911 | -116.1373 | 125.4765 | -28.8681 | -121.6466 | 128.2909

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50341 | 0.18564 | 0.29539 | 0.50282 | 0.18578 | 0.2958 | 5.8129 | 2.1436 | 3.4109 | 5.806 | 2.1452 | 3.4156 | 4.9243 | -2.5656 | 2.055 | -4.6506 | 2.5938 | -2.0925 | 2.8891 | -0.18943 | -3.2107 | -2.7 | 0.15022 | 3.2987 | -39.1959 | 56.7666 | -179.5504 | 140.8128 | -123.0539 | 0.36491 |  | 0.98217 | 1.2002 | 1.1176 | 0.92621 | 1.2112 | 1.1437 | -8.7957 | -119.0108 | 123.0709 | -9.0491 | -119.7393 | 122.7537
Line_1 | 0.83801 | 0.17571 | 0.13545 | 0.83874 | 0.17523 | 0.13485 | 9.6765 | 2.0289 | 1.5641 | 9.685 | 2.0233 | 1.5571 | -6.2948 | 2.4717 | -1.6039 | 7.2116 | -2.4401 | 1.5058 | -4.6513 | -0.34436 | 0.95169 | 5.3347 | 0.22682 | -0.95096 | 134.4754 | -114.2339 | -25.1731 | -45.5406 | 65.5715 | 155.0281 |  | 0.80884 | 1.23 | 1.1924 | 0.92621 | 1.2112 | 1.1437 | -9.0637 | -122.1654 | 124.144 | -9.0491 | -119.7393 | 122.7537
Line_2 | 0.3441 | 0.028659 | 0.18351 | 0.34355 | 0.029115 | 0.18324 | 3.9734 | 0.33092 | 2.119 | 3.967 | 0.33619 | 2.1159 | 2.7491 | 0.14345 | -0.50989 | -2.561 | -0.15374 | 0.58676 | 2.8021 | 0.37211 | 2.3216 | -2.6347 | -0.37704 | -2.3478 | -54.8429 | 173.1077 | 18.5652 | 125.1386 | -7.5564 | -161.2785 |  | 0.98794 | 1.2051 | 1.1217 | 0.92621 | 1.2112 | 1.1437 | -9.2961 | -117.9736 | 120.9522 | -9.0491 | -119.7393 | 122.7537

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50341 | 0.18564 | 0.29539 | 0.50282 | 0.18578 | 0.2958 | 5.8129 | 2.1436 | 3.4109 | 5.806 | 2.1452 | 3.4156 | 4.9243 | -2.5656 | 2.055 | -4.6506 | 2.5938 | -2.0925 | 2.8891 | -0.18943 | -3.2107 | -2.7 | 0.15022 | 3.2987 | -39.1959 | 56.7666 | -179.5504 | 140.8128 | -123.0539 | 0.36491 |  | 0.98217 | 1.2002 | 1.1176 | 0.92621 | 1.2112 | 1.1437 | -8.7957 | -119.0108 | 123.0709 | -9.0491 | -119.7393 | 122.7537
Line_1 | 0.83801 | 0.17571 | 0.13545 | 0.83874 | 0.17523 | 0.13485 | 9.6765 | 2.0289 | 1.5641 | 9.685 | 2.0233 | 1.5571 | -6.2948 | 2.4717 | -1.6039 | 7.2116 | -2.4401 | 1.5058 | -4.6513 | -0.34436 | 0.95169 | 5.3347 | 0.22682 | -0.95096 | 134.4754 | -114.2339 | -25.1731 | -45.5406 | 65.5715 | 155.0281 |  | 0.80884 | 1.23 | 1.1924 | 0.92621 | 1.2112 | 1.1437 | -9.0637 | -122.1654 | 124.144 | -9.0491 | -119.7393 | 122.7537
Line_2 | 0.3441 | 0.028659 | 0.18351 | 0.34355 | 0.029115 | 0.18324 | 3.9734 | 0.33092 | 2.119 | 3.967 | 0.33619 | 2.1159 | 2.7491 | 0.14345 | -0.50989 | -2.561 | -0.15374 | 0.58676 | 2.8021 | 0.37211 | 2.3216 | -2.6347 | -0.37704 | -2.3478 | -54.8429 | 173.1077 | 18.5652 | 125.1386 | -7.5564 | -161.2785 |  | 0.98794 | 1.2051 | 1.1217 | 0.92621 | 1.2112 | 1.1437 | -9.2961 | -117.9736 | 120.9522 | -9.0491 | -119.7393 | 122.7537

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5224 | 0.58367 | 0.47503 | 1.5212 | 0.5848 | 0.4762 | 17.5792 | 6.7396 | 5.4851 | 17.5655 | 6.7527 | 5.4986 | 9.9289 | -5.0313 | 5.0395 | -6.2086 | 4.9043 | -5.2455 | 6.2641 | 5.4262 | 0.73179 | -4.2024 | -5.6062 | -0.84918 | -58.685 | 109.7771 | 116.6202 | 121.3105 | -70.1882 | -63.3539 |  | 0.66782 | 1.098 | 0.92839 | 0.42681 | 1.1031 | 0.96639 | -26.4375 | -117.385 | 124.8824 | -24.5969 | -119.0086 | 125.8417
Line_1 | 2.0119 | 0.54247 | 0.46756 | 2.0136 | 0.54067 | 0.46575 | 23.2315 | 6.2639 | 5.3989 | 23.251 | 6.2431 | 5.378 | -4.6003e-11 | 5.6673 | -4.7847 | 8.4487 | -5.9493 | 4.4189 | 8.2876e-12 | -4.5868 | -3.6892 | 5.2058 | 3.4683 | 2.7358 | 123.7826 | -88.7328 | -85.8916 | -56.237 | 91.2325 | 94.0791 |  | 0 | 1.164 | 1.1191 | 0.42681 | 1.1031 | 0.96639 | 0 | -127.7181 | 131.7416 | -24.5969 | -119.0086 | 125.8417
Line_2 | 0.4991 | 0.18756 | 0.1851 | 0.49805 | 0.18683 | 0.18459 | 5.7631 | 2.1658 | 2.1374 | 5.7509 | 2.1573 | 2.1315 | 3.1804 | -0.71622 | -0.54856 | -2.2401 | 1.045 | 0.82667 | 1.5566 | -2.2076 | 1.7595 | -1.0035 | 2.1379 | -1.8866 | -48.7267 | -3.1879 | 11.8967 | 131.2729 | 177.0411 | -167.8199 |  | 0.61442 | 1.0716 | 0.86228 | 0.42681 | 1.1031 | 0.96639 | -22.6488 | -111.1627 | 119.2125 | -24.5969 | -119.0086 | 125.8417

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5224 | 0.58367 | 0.47503 | 1.5212 | 0.5848 | 0.4762 | 17.5792 | 6.7396 | 5.4851 | 17.5655 | 6.7527 | 5.4986 | 9.9289 | -5.0313 | 5.0395 | -6.2086 | 4.9043 | -5.2455 | 6.2641 | 5.4262 | 0.73179 | -4.2024 | -5.6062 | -0.84918 | -58.685 | 109.7771 | 116.6202 | 121.3105 | -70.1882 | -63.3539 |  | 0.66782 | 1.098 | 0.92839 | 0.42681 | 1.1031 | 0.96639 | -26.4375 | -117.385 | 124.8824 | -24.5969 | -119.0086 | 125.8417
Line_1 | 2.0119 | 0.54247 | 0.46756 | 2.0136 | 0.54067 | 0.46575 | 23.2315 | 6.2639 | 5.3989 | 23.251 | 6.2431 | 5.378 | -4.6003e-11 | 5.6673 | -4.7847 | 8.4487 | -5.9493 | 4.4189 | 8.2876e-12 | -4.5868 | -3.6892 | 5.2058 | 3.4683 | 2.7358 | 123.7826 | -88.7328 | -85.8916 | -56.237 | 91.2325 | 94.0791 |  | 0 | 1.164 | 1.1191 | 0.42681 | 1.1031 | 0.96639 | 0 | -127.7181 | 131.7416 | -24.5969 | -119.0086 | 125.8417
Line_2 | 0.4991 | 0.18756 | 0.1851 | 0.49805 | 0.18683 | 0.18459 | 5.7631 | 2.1658 | 2.1374 | 5.7509 | 2.1573 | 2.1315 | 3.1804 | -0.71622 | -0.54856 | -2.2401 | 1.045 | 0.82667 | 1.5566 | -2.2076 | 1.7595 | -1.0035 | 2.1379 | -1.8866 | -48.7267 | -3.1879 | 11.8967 | 131.2729 | 177.0411 | -167.8199 |  | 0.61442 | 1.0716 | 0.86228 | 0.42681 | 1.1031 | 0.96639 | -22.6488 | -111.1627 | 119.2125 | -24.5969 | -119.0086 | 125.8417

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.5437 | 0.20845 | 0.16965 | 0.54328 | 0.20885 | 0.17007 | 6.2781 | 2.4069 | 1.9589 | 6.2733 | 2.4116 | 1.9638 | 4.5685 | -1.1483 | 1.8694 | -4.0912 | 1.1322 | -1.8986 | 3.2944 | 2.1959 | -0.31059 | -3.0298 | -2.2221 | 0.29717 | -44.6358 | 123.8264 | 130.6694 | 135.3597 | -56.139 | -49.3046 |  | 0.89715 | 1.0295 | 0.9674 | 0.81153 | 1.0341 | 0.97857 | -8.8396 | -118.5668 | 121.2365 | -8.1181 | -119.1394 | 121.7994
Line_1 | 0.71852 | 0.19373 | 0.16698 | 0.71913 | 0.19309 | 0.16633 | 8.2968 | 2.2371 | 1.9281 | 8.3038 | 2.2296 | 1.9207 | -4.5018 | 1.613 | -1.8779 | 5.5821 | -1.6468 | 1.8263 | -3.1069 | -1.7609 | -0.56554 | 3.7751 | 1.6138 | 0.44422 | 137.8319 | -74.6836 | -71.8424 | -42.1878 | 105.2817 | 108.1284 |  | 0.65927 | 1.0675 | 1.0171 | 0.81153 | 1.0341 | 0.97857 | -7.5565 | -122.1935 | 124.9176 | -8.1181 | -119.1394 | 121.7994
Line_2 | 0.17824 | 0.066986 | 0.066107 | 0.17787 | 0.066723 | 0.065923 | 2.0582 | 0.77348 | 0.76334 | 2.0539 | 0.77045 | 0.76122 | 1.6134 | -0.47279 | -0.039222 | -1.4909 | 0.51457 | 0.072303 | 0.81711 | -0.62001 | 0.72673 | -0.74527 | 0.60827 | -0.74139 | -34.6774 | 10.8613 | 25.946 | 145.3222 | -168.9097 | -153.7707 |  | 0.87868 | 1.008 | 0.95342 | 0.81153 | 1.0341 | 0.97857 | -7.8169 | -116.4657 | 119.0353 | -8.1181 | -119.1394 | 121.7994

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.5437 | 0.20845 | 0.16965 | 0.54328 | 0.20885 | 0.17007 | 6.2781 | 2.4069 | 1.9589 | 6.2733 | 2.4116 | 1.9638 | 4.5685 | -1.1483 | 1.8694 | -4.0912 | 1.1322 | -1.8986 | 3.2944 | 2.1959 | -0.31059 | -3.0298 | -2.2221 | 0.29717 | -44.6358 | 123.8264 | 130.6694 | 135.3597 | -56.139 | -49.3046 |  | 0.89715 | 1.0295 | 0.9674 | 0.81153 | 1.0341 | 0.97857 | -8.8396 | -118.5668 | 121.2365 | -8.1181 | -119.1394 | 121.7994
Line_1 | 0.71852 | 0.19373 | 0.16698 | 0.71913 | 0.19309 | 0.16633 | 8.2968 | 2.2371 | 1.9281 | 8.3038 | 2.2296 | 1.9207 | -4.5018 | 1.613 | -1.8779 | 5.5821 | -1.6468 | 1.8263 | -3.1069 | -1.7609 | -0.56554 | 3.7751 | 1.6138 | 0.44422 | 137.8319 | -74.6836 | -71.8424 | -42.1878 | 105.2817 | 108.1284 |  | 0.65927 | 1.0675 | 1.0171 | 0.81153 | 1.0341 | 0.97857 | -7.5565 | -122.1935 | 124.9176 | -8.1181 | -119.1394 | 121.7994
Line_2 | 0.17824 | 0.066986 | 0.066107 | 0.17787 | 0.066723 | 0.065923 | 2.0582 | 0.77348 | 0.76334 | 2.0539 | 0.77045 | 0.76122 | 1.6134 | -0.47279 | -0.039222 | -1.4909 | 0.51457 | 0.072303 | 0.81711 | -0.62001 | 0.72673 | -0.74527 | 0.60827 | -0.74139 | -34.6774 | 10.8613 | 25.946 | 145.3222 | -168.9097 | -153.7707 |  | 0.87868 | 1.008 | 0.95342 | 0.81153 | 1.0341 | 0.97857 | -7.8169 | -116.4657 | 119.0353 | -8.1181 | -119.1394 | 121.7994

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3028 | 2.9043 | 2.9053 | 0.304 | 2.9039 | 2.9053 | 3.4965 | 33.5356 | 33.5477 | 3.5102 | 33.5308 | 33.5472 | -1.3471 | 15.4962 | 6.0789 | 1.2783 | -9.8504 | -2.3954 | 4.1748 | 5.3627 | 18.1583 | -4.3257 | -1.9989 | -11.2558 | -101.042 | -169.4571 | 28.1348 | 79.1306 | 10.5715 | -151.8948 |  | 1.2546 | 0.48897 | 0.57079 | 1.285 | 0.29976 | 0.34303 | 6.8421 | -150.368 | 99.6257 | 5.5939 | -157.9578 | 106.0909
Line_1 | 0.32916 | 3.7692 | 3.481 | 0.32761 | 3.7694 | 3.4818 | 3.8008 | 43.523 | 40.1952 | 3.7829 | 43.5247 | 40.2043 | 2.5506 | 9.6095e-11 | 1.1047e-10 | -2.6032 | 12.482 | 4.2198 | -4.6591 | -7.7826e-11 | -1.6202e-11 | 4.1051 | 3.7979 | 13.1301 | 63.4133 | 5.1479 | -146.1215 | -116.7862 | -174.8813 | 33.9074 |  | 1.3975 | 0 | 0 | 1.285 | 0.29976 | 0.34303 | 2.1117 | 0 | 0 | 5.5939 | -157.9578 | 106.0909
Line_2 | 0.09131 | 0.9219 | 0.66106 | 0.09052 | 0.92095 | 0.66033 | 1.0544 | 10.6452 | 7.6332 | 1.0452 | 10.6342 | 7.6248 | -1.2398 | 4.0364 | 2.1152 | 1.3249 | -2.6315 | -1.8244 | -0.28537 | 1.9228 | 2.871 | 0.22055 | -1.7991 | -1.8743 | 175.3972 | 167.6178 | 60.4235 | -3.8574 | -12.3163 | -119.6824 |  | 1.2066 | 0.42 | 0.46717 | 1.285 | 0.29976 | 0.34303 | 8.3593 | -166.9101 | 114.0436 | 5.5939 | -157.9578 | 106.0909

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3028 | 2.9043 | 2.9053 | 0.304 | 2.9039 | 2.9053 | 3.4965 | 33.5356 | 33.5477 | 3.5102 | 33.5308 | 33.5472 | -1.3471 | 15.4962 | 6.0789 | 1.2783 | -9.8504 | -2.3954 | 4.1748 | 5.3627 | 18.1583 | -4.3257 | -1.9989 | -11.2558 | -101.042 | -169.4571 | 28.1348 | 79.1306 | 10.5715 | -151.8948 |  | 1.2546 | 0.48897 | 0.57079 | 1.285 | 0.29976 | 0.34303 | 6.8421 | -150.368 | 99.6257 | 5.5939 | -157.9578 | 106.0909
Line_1 | 0.32916 | 3.7692 | 3.481 | 0.32761 | 3.7694 | 3.4818 | 3.8008 | 43.523 | 40.1952 | 3.7829 | 43.5247 | 40.2043 | 2.5506 | 9.6095e-11 | 1.1047e-10 | -2.6032 | 12.482 | 4.2198 | -4.6591 | -7.7826e-11 | -1.6202e-11 | 4.1051 | 3.7979 | 13.1301 | 63.4133 | 5.1479 | -146.1215 | -116.7862 | -174.8813 | 33.9074 |  | 1.3975 | 0 | 0 | 1.285 | 0.29976 | 0.34303 | 2.1117 | 0 | 0 | 5.5939 | -157.9578 | 106.0909
Line_2 | 0.09131 | 0.9219 | 0.66106 | 0.09052 | 0.92095 | 0.66033 | 1.0544 | 10.6452 | 7.6332 | 1.0452 | 10.6342 | 7.6248 | -1.2398 | 4.0364 | 2.1152 | 1.3249 | -2.6315 | -1.8244 | -0.28537 | 1.9228 | 2.871 | 0.22055 | -1.7991 | -1.8743 | 175.3972 | 167.6178 | 60.4235 | -3.8574 | -12.3163 | -119.6824 |  | 1.2066 | 0.42 | 0.46717 | 1.285 | 0.29976 | 0.34303 | 8.3593 | -166.9101 | 114.0436 | 5.5939 | -157.9578 | 106.0909

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.043847 | 0.71801 | 0.66683 | 0.043539 | 0.71795 | 0.66671 | 0.5063 | 8.2908 | 7.6999 | 0.50275 | 8.2902 | 7.6985 | 0.17163 | 7.615 | 4.2935 | -0.17329 | -7.2603 | -4.0852 | -0.56668 | 2.1686 | 6.5524 | 0.57324 | -2.0265 | -6.1188 | 76.4601 | -142.7292 | 55.4494 | -104.1556 | 37.3154 | -124.5978 |  | 1.1695 | 0.955 | 1.0174 | 1.1912 | 0.90925 | 0.95567 | 3.3104 | -126.8334 | 112.2142 | 2.6643 | -127.0892 | 111.6735
Line_1 | 0.053024 | 1.0167 | 0.93158 | 0.052643 | 1.0167 | 0.93199 | 0.61227 | 11.7399 | 10.757 | 0.60787 | 11.7403 | 10.7617 | 0.4192 | -8.2428 | -6.0692 | -0.41472 | 9.276 | 6.4271 | -0.63635 | -5.1443 | -6.8925 | 0.59355 | 5.2828 | 8.029 | 58.3846 | 23.2891 | -119.6863 | -122.2778 | -156.7514 | 60.3503 |  | 1.2446 | 0.82763 | 0.85375 | 1.1912 | 0.90925 | 0.95567 | 1.76 | -124.7426 | 108.9479 | 2.6643 | -127.0892 | 111.6735
Line_2 | 0.094812 | 0.36518 | 0.27411 | 0.094993 | 0.36476 | 0.27387 | 1.0948 | 4.2167 | 3.1652 | 1.0969 | 4.2119 | 3.1624 | -0.58369 | 2.234 | 2.3869 | 0.58801 | -2.0156 | -2.342 | 1.1273 | 3.3079 | 2.0672 | -1.1668 | -3.2563 | -1.9102 | -114.3832 | 174.6157 | 72.5703 | 65.9185 | -5.3321 | -107.529 |  | 1.1595 | 0.94662 | 0.99761 | 1.1912 | 0.90925 | 0.95567 | 2.9917 | -129.4177 | 113.4648 | 2.6643 | -127.0892 | 111.6735

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.043847 | 0.71801 | 0.66683 | 0.043539 | 0.71795 | 0.66671 | 0.5063 | 8.2908 | 7.6999 | 0.50275 | 8.2902 | 7.6985 | 0.17163 | 7.615 | 4.2935 | -0.17329 | -7.2603 | -4.0852 | -0.56668 | 2.1686 | 6.5524 | 0.57324 | -2.0265 | -6.1188 | 76.4601 | -142.7292 | 55.4494 | -104.1556 | 37.3154 | -124.5978 |  | 1.1695 | 0.955 | 1.0174 | 1.1912 | 0.90925 | 0.95567 | 3.3104 | -126.8334 | 112.2142 | 2.6643 | -127.0892 | 111.6735
Line_1 | 0.053024 | 1.0167 | 0.93158 | 0.052643 | 1.0167 | 0.93199 | 0.61227 | 11.7399 | 10.757 | 0.60787 | 11.7403 | 10.7617 | 0.4192 | -8.2428 | -6.0692 | -0.41472 | 9.276 | 6.4271 | -0.63635 | -5.1443 | -6.8925 | 0.59355 | 5.2828 | 8.029 | 58.3846 | 23.2891 | -119.6863 | -122.2778 | -156.7514 | 60.3503 |  | 1.2446 | 0.82763 | 0.85375 | 1.1912 | 0.90925 | 0.95567 | 1.76 | -124.7426 | 108.9479 | 2.6643 | -127.0892 | 111.6735
Line_2 | 0.094812 | 0.36518 | 0.27411 | 0.094993 | 0.36476 | 0.27387 | 1.0948 | 4.2167 | 3.1652 | 1.0969 | 4.2119 | 3.1624 | -0.58369 | 2.234 | 2.3869 | 0.58801 | -2.0156 | -2.342 | 1.1273 | 3.3079 | 2.0672 | -1.1668 | -3.2563 | -1.9102 | -114.3832 | 174.6157 | 72.5703 | 65.9185 | -5.3321 | -107.529 |  | 1.1595 | 0.94662 | 0.99761 | 1.1912 | 0.90925 | 0.95567 | 2.9917 | -129.4177 | 113.4648 | 2.6643 | -127.0892 | 111.6735

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39835 | 2.2908 | 2.3514 | 0.39919 | 2.2905 | 2.3513 | 4.5998 | 26.4518 | 27.1516 | 4.6094 | 26.4489 | 27.1508 | -0.17834 | 16.7582 | 8.9959 | 0.12665 | -10.3952 | -4.0362 | 4.7103 | 1.3947 | 13.8895 | -4.9004 | 0.098725 | -8.6973 | -85.5303 | -157.1812 | 41.4654 | 94.5468 | 22.8428 | -138.5587 |  | 1.0248 | 0.63573 | 0.60947 | 1.0635 | 0.39305 | 0.35315 | 6.638 | -152.4238 | 98.5353 | 6.0273 | -157.7013 | 106.5467
Line_1 | 0.40723 | 2.9348 | 2.721 | 0.40581 | 2.9346 | 2.7218 | 4.7022 | 33.8877 | 31.4193 | 4.6858 | 33.8856 | 31.4288 | 1.2852 | -1.034e-10 | -4.5533e-11 | -1.3355 | 13.2939 | 5.1707 | -5.5768 | -6.8095e-11 | -1.0647e-10 | 4.801 | 0.81069 | 9.821 | 80.5598 | 18.8385 | -135.7135 | -99.518 | -161.191 | 44.3136 |  | 1.2171 | 0 | 0 | 1.0635 | 0.39305 | 0.35315 | 3.5373 | 0 | 0 | 6.0273 | -157.7013 | 106.5467
Line_2 | 0.099342 | 0.66991 | 0.39189 | 0.098774 | 0.66939 | 0.39159 | 1.1471 | 7.7355 | 4.5252 | 1.1405 | 7.7294 | 4.5217 | -1.0802 | 4.1697 | 1.2009 | 1.2089 | -2.8987 | -1.1346 | -0.14544 | 0.83069 | 1.7266 | 0.099383 | -0.90942 | -1.1236 | -179.0574 | -175.1795 | 61.9447 | 1.3275 | 4.8805 | -118.1754 |  | 0.9502 | 0.54962 | 0.46477 | 1.0635 | 0.39305 | 0.35315 | 8.6104 | -163.9125 | 117.1261 | 6.0273 | -157.7013 | 106.5467

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39835 | 2.2908 | 2.3514 | 0.39919 | 2.2905 | 2.3513 | 4.5998 | 26.4518 | 27.1516 | 4.6094 | 26.4489 | 27.1508 | -0.17834 | 16.7582 | 8.9959 | 0.12665 | -10.3952 | -4.0362 | 4.7103 | 1.3947 | 13.8895 | -4.9004 | 0.098725 | -8.6973 | -85.5303 | -157.1812 | 41.4654 | 94.5468 | 22.8428 | -138.5587 |  | 1.0248 | 0.63573 | 0.60947 | 1.0635 | 0.39305 | 0.35315 | 6.638 | -152.4238 | 98.5353 | 6.0273 | -157.7013 | 106.5467
Line_1 | 0.40723 | 2.9348 | 2.721 | 0.40581 | 2.9346 | 2.7218 | 4.7022 | 33.8877 | 31.4193 | 4.6858 | 33.8856 | 31.4288 | 1.2852 | -1.034e-10 | -4.5533e-11 | -1.3355 | 13.2939 | 5.1707 | -5.5768 | -6.8095e-11 | -1.0647e-10 | 4.801 | 0.81069 | 9.821 | 80.5598 | 18.8385 | -135.7135 | -99.518 | -161.191 | 44.3136 |  | 1.2171 | 0 | 0 | 1.0635 | 0.39305 | 0.35315 | 3.5373 | 0 | 0 | 6.0273 | -157.7013 | 106.5467
Line_2 | 0.099342 | 0.66991 | 0.39189 | 0.098774 | 0.66939 | 0.39159 | 1.1471 | 7.7355 | 4.5252 | 1.1405 | 7.7294 | 4.5217 | -1.0802 | 4.1697 | 1.2009 | 1.2089 | -2.8987 | -1.1346 | -0.14544 | 0.83069 | 1.7266 | 0.099383 | -0.90942 | -1.1236 | -179.0574 | -175.1795 | 61.9447 | 1.3275 | 4.8805 | -118.1754 |  | 0.9502 | 0.54962 | 0.46477 | 1.0635 | 0.39305 | 0.35315 | 8.6104 | -163.9125 | 117.1261 | 6.0273 | -157.7013 | 106.5467

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16193 | 0.6902 | 0.70172 | 0.16228 | 0.69008 | 0.70167 | 1.8698 | 7.9698 | 8.1028 | 1.8738 | 7.9683 | 8.1022 | 0.63114 | 6.5449 | 4.2046 | -0.64533 | -5.9221 | -3.7633 | 1.7558 | 2.3426 | 6.0384 | -1.7848 | -2.2425 | -5.5156 | -67.6583 | -148.0853 | 57.5858 | 112.4068 | 31.9461 | -122.4463 |  | 0.99787 | 0.87223 | 0.90809 | 1.0128 | 0.7947 | 0.82412 | 2.5703 | -128.3914 | 112.7363 | 2.5279 | -127.314 | 113.2478
Line_1 | 0.16353 | 0.90142 | 0.81067 | 0.16295 | 0.90139 | 0.81104 | 1.8883 | 10.4087 | 9.3608 | 1.8816 | 10.4083 | 9.3651 | -0.14877 | -6.0642 | -4.3675 | 0.13081 | 7.4854 | 4.8195 | -2.0272 | -3.5183 | -4.9711 | 1.9012 | 3.5194 | 6.0282 | 96.53 | 27.5432 | -118.1444 | -83.5362 | -152.4955 | 61.8898 |  | 1.0765 | 0.67357 | 0.7069 | 1.0128 | 0.7947 | 0.82412 | 2.3328 | -122.3357 | 110.5533 | 2.5279 | -127.314 | 113.2478
Line_2 | 0.04533 | 0.2202 | 0.12356 | 0.045108 | 0.21997 | 0.12337 | 0.52342 | 2.5426 | 1.4267 | 0.52086 | 2.54 | 1.4245 | -0.49305 | 1.7229 | 1.0775 | 0.51452 | -1.5633 | -1.0562 | 0.10679 | 1.2711 | 0.58556 | -0.11646 | -1.2769 | -0.51257 | -165.0612 | -166.6249 | 87.4958 | 15.2819 | 13.4439 | -92.6403 |  | 0.96381 | 0.84205 | 0.85954 | 1.0128 | 0.7947 | 0.82412 | 2.718 | -130.2046 | 116.0176 | 2.5279 | -127.314 | 113.2478

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16193 | 0.6902 | 0.70172 | 0.16228 | 0.69008 | 0.70167 | 1.8698 | 7.9698 | 8.1028 | 1.8738 | 7.9683 | 8.1022 | 0.63114 | 6.5449 | 4.2046 | -0.64533 | -5.9221 | -3.7633 | 1.7558 | 2.3426 | 6.0384 | -1.7848 | -2.2425 | -5.5156 | -67.6583 | -148.0853 | 57.5858 | 112.4068 | 31.9461 | -122.4463 |  | 0.99787 | 0.87223 | 0.90809 | 1.0128 | 0.7947 | 0.82412 | 2.5703 | -128.3914 | 112.7363 | 2.5279 | -127.314 | 113.2478
Line_1 | 0.16353 | 0.90142 | 0.81067 | 0.16295 | 0.90139 | 0.81104 | 1.8883 | 10.4087 | 9.3608 | 1.8816 | 10.4083 | 9.3651 | -0.14877 | -6.0642 | -4.3675 | 0.13081 | 7.4854 | 4.8195 | -2.0272 | -3.5183 | -4.9711 | 1.9012 | 3.5194 | 6.0282 | 96.53 | 27.5432 | -118.1444 | -83.5362 | -152.4955 | 61.8898 |  | 1.0765 | 0.67357 | 0.7069 | 1.0128 | 0.7947 | 0.82412 | 2.3328 | -122.3357 | 110.5533 | 2.5279 | -127.314 | 113.2478
Line_2 | 0.04533 | 0.2202 | 0.12356 | 0.045108 | 0.21997 | 0.12337 | 0.52342 | 2.5426 | 1.4267 | 0.52086 | 2.54 | 1.4245 | -0.49305 | 1.7229 | 1.0775 | 0.51452 | -1.5633 | -1.0562 | 0.10679 | 1.2711 | 0.58556 | -0.11646 | -1.2769 | -0.51257 | -165.0612 | -166.6249 | 87.4958 | 15.2819 | 13.4439 | -92.6403 |  | 0.96381 | 0.84205 | 0.85954 | 1.0128 | 0.7947 | 0.82412 | 2.718 | -130.2046 | 116.0176 | 2.5279 | -127.314 | 113.2478