## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3036 | 3.3036 | 0 | 0 | 114.4404 | 114.4404 | 37.7713 | -20.7457 | 43.3355 | -24.018 | -70.8485 | 109.1515 | 0.50232 | 0.27733 | -21.9239 | -21.6675
Line_1 | 4.0718 | 4.0718 | 7.8074 | 0 | 141.0522 | 141.0522 | -1e-07 | 25.8644 | -1e-07 | 29.3462 | 109.7241 | -70.2759 | 0 | 0.27733 | 0 | -21.6675
Line_2 | 0.76909 | 0.76909 | 0 | 0 | 26.6421 | 26.6421 | 6.0414 | -5.1187 | 6.3751 | -5.3281 | -67.816 | 112.184 | 0.32967 | 0.27733 | -21.2767 | -21.6675

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3036 | 3.3036 | 0 | 0 | 114.4404 | 114.4404 | 37.7713 | -20.7457 | 43.3355 | -24.018 | -70.8485 | 109.1515 | 0.50232 | 0.27733 | -21.9239 | -21.6675
Line_1 | 4.0718 | 4.0718 | 7.8074 | 0 | 141.0522 | 141.0522 | -1e-07 | 25.8644 | -1e-07 | 29.3462 | 109.7241 | -70.2759 | 0 | 0.27733 | 0 | -21.6675
Line_2 | 0.76909 | 0.76909 | 0 | 0 | 26.6421 | 26.6421 | 6.0414 | -5.1187 | 6.3751 | -5.3281 | -67.816 | 112.184 | 0.32967 | 0.27733 | -21.2767 | -21.6675

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77289 | 0.77289 | 0 | 0 | 26.7736 | 26.7736 | 20.4887 | -19.5569 | 16.8303 | -15.773 | -45.3926 | 134.6074 | 0.99034 | 0.93842 | -5.9915 | -6.5057
Line_1 | 1.057 | 1.057 | 2.0668 | 0 | 36.615 | 36.615 | -23.4304 | 25.1732 | -21.4091 | 23.3865 | 130.6015 | -49.3985 | 0.86682 | 0.93842 | -6.9796 | -6.5057
Line_2 | 0.29104 | 0.29104 | 0 | 0 | 10.0818 | 10.0818 | 5.7485 | -5.6164 | 7.7635 | -7.6135 | -60.0901 | 119.9099 | 0.95817 | 0.93842 | -6.6085 | -6.5057

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77289 | 0.77289 | 0 | 0 | 26.7736 | 26.7736 | 20.4887 | -19.5569 | 16.8303 | -15.773 | -45.3926 | 134.6074 | 0.99034 | 0.93842 | -5.9915 | -6.5057
Line_1 | 1.057 | 1.057 | 2.0668 | 0 | 36.615 | 36.615 | -23.4304 | 25.1732 | -21.4091 | 23.3865 | 130.6015 | -49.3985 | 0.86682 | 0.93842 | -6.9796 | -6.5057
Line_2 | 0.29104 | 0.29104 | 0 | 0 | 10.0818 | 10.0818 | 5.7485 | -5.6164 | 7.7635 | -7.6135 | -60.0901 | 119.9099 | 0.95817 | 0.93842 | -6.6085 | -6.5057

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34465 | 2.8163 | 2.9394 | 0.34465 | 2.8163 | 2.9394 | 3.9797 | 32.5201 | 33.9408 | 3.9797 | 32.5201 | 33.9408 | -2.8467 | 27.5894 | -9.8021 | 2.9085 | -23.4649 | 14.2948 | -3.6108 | 3.3833 | 16.3211 | 3.6809 | 1.2964 | -11.2236 | 130.3426 | -157.3314 | 16.2542 | -49.6574 | 22.6686 | -163.7458 | 1.1554 | 0.85474 | 0.56093 | 1.1788 | 0.72265 | 0.53548 | 2.0909 | -150.3401 | 137.2424 | 2.0284 | -160.4937 | 158.117
Line_1 | 0.19448 | 3.4668 | 3.5514 | 0.19448 | 3.4668 | 3.5514 | 2.2456 | 40.0309 | 41.0075 | 2.2456 | 40.0309 | 41.0075 | 1.8069 | -22.6769 | 23.5803 | -1.7872 | 28.9265 | -17.0221 | 1.975 | 7.4181 | -6.4306 | -1.9527 | -0.32717 | 13.8717 | -45.5053 | 20.1544 | -162.7055 | 134.4947 | -159.8456 | 17.2945 | 1.192 | 0.59602 | 0.59602 | 1.1788 | 0.72265 | 0.53548 | 2.0403 | -177.9597 | -177.9597 | 2.0284 | -160.4937 | 158.117
Line_2 | 0.15134 | 0.66475 | 0.6148 | 0.15134 | 0.66475 | 0.6148 | 1.7476 | 7.6758 | 7.0991 | 1.7476 | 7.6758 | 7.0991 | 1.1332 | 5.6914 | -2.5307 | -1.1212 | -5.4616 | 2.7272 | 1.7417 | 1.2299 | 2.8712 | -1.7282 | -0.96922 | -2.6482 | -54.9959 | -170.5566 | 22.2743 | 125.0041 | 9.4434 | -157.7257 | 1.189 | 0.75859 | 0.53912 | 1.1788 | 0.72265 | 0.53548 | 1.9557 | -158.3623 | 153.6676 | 2.0284 | -160.4937 | 158.117

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34465 | 2.8163 | 2.9394 | 0.34465 | 2.8163 | 2.9394 | 3.9797 | 32.5201 | 33.9408 | 3.9797 | 32.5201 | 33.9408 | -2.8467 | 27.5894 | -9.8021 | 2.9085 | -23.4649 | 14.2948 | -3.6108 | 3.3833 | 16.3211 | 3.6809 | 1.2964 | -11.2236 | 130.3426 | -157.3314 | 16.2542 | -49.6574 | 22.6686 | -163.7458 | 1.1554 | 0.85474 | 0.56093 | 1.1788 | 0.72265 | 0.53548 | 2.0909 | -150.3401 | 137.2424 | 2.0284 | -160.4937 | 158.117
Line_1 | 0.19448 | 3.4668 | 3.5514 | 0.19448 | 3.4668 | 3.5514 | 2.2456 | 40.0309 | 41.0075 | 2.2456 | 40.0309 | 41.0075 | 1.8069 | -22.6769 | 23.5803 | -1.7872 | 28.9265 | -17.0221 | 1.975 | 7.4181 | -6.4306 | -1.9527 | -0.32717 | 13.8717 | -45.5053 | 20.1544 | -162.7055 | 134.4947 | -159.8456 | 17.2945 | 1.192 | 0.59602 | 0.59602 | 1.1788 | 0.72265 | 0.53548 | 2.0403 | -177.9597 | -177.9597 | 2.0284 | -160.4937 | 158.117
Line_2 | 0.15134 | 0.66475 | 0.6148 | 0.15134 | 0.66475 | 0.6148 | 1.7476 | 7.6758 | 7.0991 | 1.7476 | 7.6758 | 7.0991 | 1.1332 | 5.6914 | -2.5307 | -1.1212 | -5.4616 | 2.7272 | 1.7417 | 1.2299 | 2.8712 | -1.7282 | -0.96922 | -2.6482 | -54.9959 | -170.5566 | 22.2743 | 125.0041 | 9.4434 | -157.7257 | 1.189 | 0.75859 | 0.53912 | 1.1788 | 0.72265 | 0.53548 | 1.9557 | -158.3623 | 153.6676 | 2.0284 | -160.4937 | 158.117

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26375 | 1.2082 | 1.1737 | 0.26375 | 1.2082 | 1.1737 | 3.0455 | 13.9508 | 13.5526 | 3.0455 | 13.9508 | 13.5526 | -1.7236 | 14.6366 | 0.36638 | 1.7598 | -13.8776 | 0.34995 | -3.0377 | 0.70931 | 11.719 | 3.0787 | 0.15191 | -10.9062 | 120.8148 | -135.4144 | 31.9789 | -59.1852 | 44.5856 | -148.0211 | 1.1468 | 1.0504 | 0.86513 | 1.1644 | 0.99481 | 0.80515 | 1.244 | -132.6399 | 120.1882 | 1.0629 | -136.0415 | 123.8167
Line_1 | 0.14172 | 1.5139 | 1.518 | 0.14172 | 1.5139 | 1.518 | 1.6364 | 17.4815 | 17.5279 | 1.6364 | 17.4815 | 17.5279 | 1.1337 | -16.1122 | 1.4292 | -1.1232 | 17.3041 | -0.23098 | 1.5511 | -0.38203 | -12.7512 | -1.5392 | 1.7343 | 14.1107 | -52.8182 | 38.235 | -147.1211 | 127.1818 | -141.765 | 32.8789 | 1.174 | 0.92193 | 0.73203 | 1.1644 | 0.99481 | 0.80515 | 1.0196 | -140.4067 | 129.274 | 1.0629 | -136.0415 | 123.8167
Line_2 | 0.1239 | 0.3405 | 0.34491 | 0.1239 | 0.3405 | 0.34491 | 1.4307 | 3.9318 | 3.9827 | 1.4307 | 3.9318 | 3.9827 | 0.64456 | 3.4868 | 0.18083 | -0.63657 | -3.4265 | -0.11897 | 1.5486 | 1.9546 | 3.2746 | -1.5395 | -1.8862 | -3.2044 | -66.4724 | -164.8737 | 35.9428 | 113.5276 | 15.1263 | -144.0572 | 1.1724 | 1.0167 | 0.82347 | 1.1644 | 0.99481 | 0.80515 | 0.92914 | -135.5993 | 122.7821 | 1.0629 | -136.0415 | 123.8167

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26375 | 1.2082 | 1.1737 | 0.26375 | 1.2082 | 1.1737 | 3.0455 | 13.9508 | 13.5526 | 3.0455 | 13.9508 | 13.5526 | -1.7236 | 14.6366 | 0.36638 | 1.7598 | -13.8776 | 0.34995 | -3.0377 | 0.70931 | 11.719 | 3.0787 | 0.15191 | -10.9062 | 120.8148 | -135.4144 | 31.9789 | -59.1852 | 44.5856 | -148.0211 | 1.1468 | 1.0504 | 0.86513 | 1.1644 | 0.99481 | 0.80515 | 1.244 | -132.6399 | 120.1882 | 1.0629 | -136.0415 | 123.8167
Line_1 | 0.14172 | 1.5139 | 1.518 | 0.14172 | 1.5139 | 1.518 | 1.6364 | 17.4815 | 17.5279 | 1.6364 | 17.4815 | 17.5279 | 1.1337 | -16.1122 | 1.4292 | -1.1232 | 17.3041 | -0.23098 | 1.5511 | -0.38203 | -12.7512 | -1.5392 | 1.7343 | 14.1107 | -52.8182 | 38.235 | -147.1211 | 127.1818 | -141.765 | 32.8789 | 1.174 | 0.92193 | 0.73203 | 1.1644 | 0.99481 | 0.80515 | 1.0196 | -140.4067 | 129.274 | 1.0629 | -136.0415 | 123.8167
Line_2 | 0.1239 | 0.3405 | 0.34491 | 0.1239 | 0.3405 | 0.34491 | 1.4307 | 3.9318 | 3.9827 | 1.4307 | 3.9318 | 3.9827 | 0.64456 | 3.4868 | 0.18083 | -0.63657 | -3.4265 | -0.11897 | 1.5486 | 1.9546 | 3.2746 | -1.5395 | -1.8862 | -3.2044 | -66.4724 | -164.8737 | 35.9428 | 113.5276 | 15.1263 | -144.0572 | 1.1724 | 1.0167 | 0.82347 | 1.1644 | 0.99481 | 0.80515 | 0.92914 | -135.5993 | 122.7821 | 1.0629 | -136.0415 | 123.8167

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.3084 | 0.70226 | 0.31843 | 2.3079 | 0.70274 | 0.31906 | 26.6552 | 8.109 | 3.6769 | 26.649 | 8.1146 | 3.6842 | 16.3684 | -8.0817 | 3.9278 | -9.7033 | 8.9356 | -4.0657 | 13.5103 | -1.7233 | 1.3682 | -7.052 | 0.57138 | -1.993 | -52.1459 | 55.8989 | 93.2267 | 127.8624 | -124.0679 | -86.7682 |  | 0.79624 | 1.019 | 1.1312 | 0.45012 | 1.1034 | 1.229 | -12.6101 | -112.0641 | 112.4319 | -16.1293 | -120.4092 | 119.3458
Line_1 | 2.9934 | 0.5905 | 0.35533 | 2.9948 | 0.58874 | 0.35343 | 34.5644 | 6.8185 | 4.103 | 34.5814 | 6.7982 | 4.081 | 9.2408e-11 | 7.9291 | -3.6808 | 11.9077 | -7.5012 | 3.5808 | -1.3486e-10 | -1.4587 | -4.4704 | 10.0248 | -0.037791 | 3.5119 | 123.8013 | -120.6202 | -105.0495 | -56.2224 | 59.3022 | 74.9023 |  | 0 | 1.1824 | 1.4113 | 0.45012 | 1.1034 | 1.229 | 0 | -131.0444 | 125.4834 | -16.1293 | -120.4092 | 119.3458
Line_2 | 0.71312 | 0.12065 | 0.11231 | 0.71207 | 0.12011 | 0.11235 | 8.2344 | 1.3932 | 1.2969 | 8.2223 | 1.387 | 1.2974 | 3.0525 | 1.4595 | -0.45312 | -2.2045 | -1.4344 | 0.48486 | 3.4363 | 0.63516 | 1.4349 | -2.9728 | -0.53358 | -1.5189 | -69.5876 | -140.3741 | 11.0967 | 110.429 | 39.1857 | -168.358 |  | 0.55819 | 1.1425 | 1.1602 | 0.45012 | 1.1034 | 1.229 | -21.2029 | -116.8556 | 118.6225 | -16.1293 | -120.4092 | 119.3458

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.3084 | 0.70226 | 0.31843 | 2.3079 | 0.70274 | 0.31906 | 26.6552 | 8.109 | 3.6769 | 26.649 | 8.1146 | 3.6842 | 16.3684 | -8.0817 | 3.9278 | -9.7033 | 8.9356 | -4.0657 | 13.5103 | -1.7233 | 1.3682 | -7.052 | 0.57138 | -1.993 | -52.1459 | 55.8989 | 93.2267 | 127.8624 | -124.0679 | -86.7682 |  | 0.79624 | 1.019 | 1.1312 | 0.45012 | 1.1034 | 1.229 | -12.6101 | -112.0641 | 112.4319 | -16.1293 | -120.4092 | 119.3458
Line_1 | 2.9934 | 0.5905 | 0.35533 | 2.9948 | 0.58874 | 0.35343 | 34.5644 | 6.8185 | 4.103 | 34.5814 | 6.7982 | 4.081 | 9.2408e-11 | 7.9291 | -3.6808 | 11.9077 | -7.5012 | 3.5808 | -1.3486e-10 | -1.4587 | -4.4704 | 10.0248 | -0.037791 | 3.5119 | 123.8013 | -120.6202 | -105.0495 | -56.2224 | 59.3022 | 74.9023 |  | 0 | 1.1824 | 1.4113 | 0.45012 | 1.1034 | 1.229 | 0 | -131.0444 | 125.4834 | -16.1293 | -120.4092 | 119.3458
Line_2 | 0.71312 | 0.12065 | 0.11231 | 0.71207 | 0.12011 | 0.11235 | 8.2344 | 1.3932 | 1.2969 | 8.2223 | 1.387 | 1.2974 | 3.0525 | 1.4595 | -0.45312 | -2.2045 | -1.4344 | 0.48486 | 3.4363 | 0.63516 | 1.4349 | -2.9728 | -0.53358 | -1.5189 | -69.5876 | -140.3741 | 11.0967 | 110.429 | 39.1857 | -168.358 |  | 0.55819 | 1.1425 | 1.1602 | 0.45012 | 1.1034 | 1.229 | -21.2029 | -116.8556 | 118.6225 | -16.1293 | -120.4092 | 119.3458

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.63111 | 0.27837 | 0.161 | 0.63096 | 0.27841 | 0.16106 | 7.2875 | 3.2143 | 1.8591 | 7.2857 | 3.2149 | 1.8598 | 6.9959 | -3.0691 | 0.92806 | -6.3982 | 3.2816 | -1.032 | 3.0732 | -1.7221 | -1.9305 | -2.6118 | 1.6645 | 1.9457 | -27.8576 | 32.8173 | -177.7372 | 152.1549 | -147.1417 | 2.1935 |  | 1.0485 | 1.0949 | 1.1522 | 0.94854 | 1.1446 | 1.1842 | -4.1422 | -117.885 | 117.9379 | -5.6395 | -120.2471 | 120.1359
Line_1 | 0.89466 | 0.20857 | 0.080736 | 0.89512 | 0.20815 | 0.08025 | 10.3307 | 2.4083 | 0.93226 | 10.3359 | 2.4035 | 0.92665 | -7.0137 | 2.836 | -1.1207 | 8.1511 | -2.7063 | 1.0547 | -4.551 | 0.34859 | 0.26077 | 5.4477 | -0.49383 | -0.30311 | 140.631 | -130.4611 | -44.1037 | -39.3961 | 49.4117 | 136.1705 |  | 0.80932 | 1.1864 | 1.2343 | 0.94854 | 1.1446 | 1.1842 | -6.3904 | -123.4537 | 122.7976 | -5.6395 | -120.2471 | 120.1359
Line_2 | 0.30473 | 0.098537 | 0.12008 | 0.30439 | 0.098694 | 0.12013 | 3.5188 | 1.1378 | 1.3866 | 3.5148 | 1.1396 | 1.3871 | 1.879 | 0.56156 | 0.035976 | -1.7529 | -0.5753 | -0.02266 | 2.927 | 1.1887 | 1.6196 | -2.8359 | -1.1706 | -1.6425 | -63.9232 | 176.1023 | 30.7636 | 116.0802 | -4.0757 | -149.0737 |  | 0.98846 | 1.1554 | 1.1683 | 0.94854 | 1.1446 | 1.1842 | -6.6215 | -119.1846 | 119.491 | -5.6395 | -120.2471 | 120.1359

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.63111 | 0.27837 | 0.161 | 0.63096 | 0.27841 | 0.16106 | 7.2875 | 3.2143 | 1.8591 | 7.2857 | 3.2149 | 1.8598 | 6.9959 | -3.0691 | 0.92806 | -6.3982 | 3.2816 | -1.032 | 3.0732 | -1.7221 | -1.9305 | -2.6118 | 1.6645 | 1.9457 | -27.8576 | 32.8173 | -177.7372 | 152.1549 | -147.1417 | 2.1935 |  | 1.0485 | 1.0949 | 1.1522 | 0.94854 | 1.1446 | 1.1842 | -4.1422 | -117.885 | 117.9379 | -5.6395 | -120.2471 | 120.1359
Line_1 | 0.89466 | 0.20857 | 0.080736 | 0.89512 | 0.20815 | 0.08025 | 10.3307 | 2.4083 | 0.93226 | 10.3359 | 2.4035 | 0.92665 | -7.0137 | 2.836 | -1.1207 | 8.1511 | -2.7063 | 1.0547 | -4.551 | 0.34859 | 0.26077 | 5.4477 | -0.49383 | -0.30311 | 140.631 | -130.4611 | -44.1037 | -39.3961 | 49.4117 | 136.1705 |  | 0.80932 | 1.1864 | 1.2343 | 0.94854 | 1.1446 | 1.1842 | -6.3904 | -123.4537 | 122.7976 | -5.6395 | -120.2471 | 120.1359
Line_2 | 0.30473 | 0.098537 | 0.12008 | 0.30439 | 0.098694 | 0.12013 | 3.5188 | 1.1378 | 1.3866 | 3.5148 | 1.1396 | 1.3871 | 1.879 | 0.56156 | 0.035976 | -1.7529 | -0.5753 | -0.02266 | 2.927 | 1.1887 | 1.6196 | -2.8359 | -1.1706 | -1.6425 | -63.9232 | 176.1023 | 30.7636 | 116.0802 | -4.0757 | -149.0737 |  | 0.98846 | 1.1554 | 1.1683 | 0.94854 | 1.1446 | 1.1842 | -6.6215 | -119.1846 | 119.491 | -5.6395 | -120.2471 | 120.1359

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5473 | 0.59529 | 0.47396 | 1.5468 | 0.59579 | 0.47446 | 17.8663 | 6.8738 | 5.4728 | 17.8611 | 6.8796 | 5.4785 | 11.0915 | -5.3577 | 5.2687 | -6.8197 | 5.6882 | -5.1039 | 8.2106 | 2.9486 | 1.5712 | -4.4726 | -3.8931 | -2.3545 | -47.9558 | 94.4285 | 96.4271 | 132.0531 | -85.5637 | -83.5652 |  | 0.7724 | 0.88967 | 1.0046 | 0.45661 | 1.0019 | 1.026 | -11.4445 | -114.3974 | 113.0328 | -14.6886 | -119.952 | 121.1988
Line_1 | 1.9978 | 0.56514 | 0.48868 | 1.9992 | 0.56343 | 0.48697 | 23.0686 | 6.5256 | 5.6428 | 23.0843 | 6.506 | 5.623 | -4.2089e-11 | 6.037 | -4.72 | 8.6183 | -5.8923 | 4.7458 | 1.2462e-11 | -4.2769 | -4.5866 | 6.0685 | 2.7879 | 3.2802 | 130.1905 | -94.6095 | -93.4317 | -49.8395 | 85.3688 | 86.5473 |  | 0 | 1.1337 | 1.1663 | 0.45661 | 1.0019 | 1.026 | 0 | -129.925 | 130.7472 | -14.6886 | -119.952 | 121.1988
Line_2 | 0.45683 | 0.097697 | 0.083992 | 0.45605 | 0.097144 | 0.083786 | 5.275 | 1.1281 | 0.96986 | 5.266 | 1.1217 | 0.96748 | 2.5195 | -0.076104 | -0.28828 | -1.7986 | 0.20411 | 0.35815 | 1.9231 | -1.1373 | 0.8585 | -1.5959 | 1.1052 | -0.92575 | -56.2863 | -19.8186 | 9.5289 | 123.7288 | 160.5116 | -169.9513 |  | 0.60086 | 1.0104 | 0.93376 | 0.45661 | 1.0019 | 1.026 | -18.9318 | -113.6469 | 118.0907 | -14.6886 | -119.952 | 121.1988

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5473 | 0.59529 | 0.47396 | 1.5468 | 0.59579 | 0.47446 | 17.8663 | 6.8738 | 5.4728 | 17.8611 | 6.8796 | 5.4785 | 11.0915 | -5.3577 | 5.2687 | -6.8197 | 5.6882 | -5.1039 | 8.2106 | 2.9486 | 1.5712 | -4.4726 | -3.8931 | -2.3545 | -47.9558 | 94.4285 | 96.4271 | 132.0531 | -85.5637 | -83.5652 |  | 0.7724 | 0.88967 | 1.0046 | 0.45661 | 1.0019 | 1.026 | -11.4445 | -114.3974 | 113.0328 | -14.6886 | -119.952 | 121.1988
Line_1 | 1.9978 | 0.56514 | 0.48868 | 1.9992 | 0.56343 | 0.48697 | 23.0686 | 6.5256 | 5.6428 | 23.0843 | 6.506 | 5.623 | -4.2089e-11 | 6.037 | -4.72 | 8.6183 | -5.8923 | 4.7458 | 1.2462e-11 | -4.2769 | -4.5866 | 6.0685 | 2.7879 | 3.2802 | 130.1905 | -94.6095 | -93.4317 | -49.8395 | 85.3688 | 86.5473 |  | 0 | 1.1337 | 1.1663 | 0.45661 | 1.0019 | 1.026 | 0 | -129.925 | 130.7472 | -14.6886 | -119.952 | 121.1988
Line_2 | 0.45683 | 0.097697 | 0.083992 | 0.45605 | 0.097144 | 0.083786 | 5.275 | 1.1281 | 0.96986 | 5.266 | 1.1217 | 0.96748 | 2.5195 | -0.076104 | -0.28828 | -1.7986 | 0.20411 | 0.35815 | 1.9231 | -1.1373 | 0.8585 | -1.5959 | 1.1052 | -0.92575 | -56.2863 | -19.8186 | 9.5289 | 123.7288 | 160.5116 | -169.9513 |  | 0.60086 | 1.0104 | 0.93376 | 0.45661 | 1.0019 | 1.026 | -18.9318 | -113.6469 | 118.0907 | -14.6886 | -119.952 | 121.1988

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55778 | 0.2146 | 0.17086 | 0.55762 | 0.21478 | 0.17104 | 6.4406 | 2.478 | 1.9729 | 6.4388 | 2.48 | 1.975 | 5.0689 | -1.682 | 1.9623 | -4.513 | 1.7256 | -1.9423 | 3.167 | 1.6594 | 0.33136 | -2.6801 | -1.7834 | -0.4331 | -36.4246 | 105.9597 | 107.9583 | 143.5843 | -74.0324 | -72.034 |  | 0.928 | 0.95353 | 1.0087 | 0.81518 | 1.0006 | 1.0076 | -4.4277 | -118.6525 | 117.5429 | -5.7117 | -119.975 | 120.5366
Line_1 | 0.72019 | 0.20373 | 0.17616 | 0.72068 | 0.20311 | 0.17555 | 8.316 | 2.3524 | 2.0342 | 8.3217 | 2.3454 | 2.0271 | -4.5936 | 1.8991 | -1.8888 | 5.7152 | -1.8773 | 1.8876 | -2.8616 | -1.6053 | -0.95078 | 3.6545 | 1.4083 | 0.78023 | 141.7217 | -83.0783 | -81.9005 | -38.3083 | 96.9 | 98.0785 |  | 0.65079 | 1.0571 | 1.0395 | 0.81518 | 1.0006 | 1.0076 | -6.3575 | -123.2868 | 124.8194 | -5.7117 | -119.975 | 120.5366
Line_2 | 0.16468 | 0.035219 | 0.030279 | 0.1644 | 0.035019 | 0.030204 | 1.9016 | 0.40667 | 0.34963 | 1.8984 | 0.40437 | 0.34877 | 1.2973 | -0.13443 | -0.047715 | -1.2022 | 0.15169 | 0.054712 | 1.0186 | -0.38132 | 0.33887 | -0.97448 | 0.37511 | -0.34713 | -44.7551 | -8.2874 | 21.0601 | 135.26 | 172.0428 | -158.4201 |  | 0.86736 | 0.99422 | 0.97879 | 0.81518 | 1.0006 | 1.0076 | -6.618 | -117.7062 | 119.0751 | -5.7117 | -119.975 | 120.5366

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55778 | 0.2146 | 0.17086 | 0.55762 | 0.21478 | 0.17104 | 6.4406 | 2.478 | 1.9729 | 6.4388 | 2.48 | 1.975 | 5.0689 | -1.682 | 1.9623 | -4.513 | 1.7256 | -1.9423 | 3.167 | 1.6594 | 0.33136 | -2.6801 | -1.7834 | -0.4331 | -36.4246 | 105.9597 | 107.9583 | 143.5843 | -74.0324 | -72.034 |  | 0.928 | 0.95353 | 1.0087 | 0.81518 | 1.0006 | 1.0076 | -4.4277 | -118.6525 | 117.5429 | -5.7117 | -119.975 | 120.5366
Line_1 | 0.72019 | 0.20373 | 0.17616 | 0.72068 | 0.20311 | 0.17555 | 8.316 | 2.3524 | 2.0342 | 8.3217 | 2.3454 | 2.0271 | -4.5936 | 1.8991 | -1.8888 | 5.7152 | -1.8773 | 1.8876 | -2.8616 | -1.6053 | -0.95078 | 3.6545 | 1.4083 | 0.78023 | 141.7217 | -83.0783 | -81.9005 | -38.3083 | 96.9 | 98.0785 |  | 0.65079 | 1.0571 | 1.0395 | 0.81518 | 1.0006 | 1.0076 | -6.3575 | -123.2868 | 124.8194 | -5.7117 | -119.975 | 120.5366
Line_2 | 0.16468 | 0.035219 | 0.030279 | 0.1644 | 0.035019 | 0.030204 | 1.9016 | 0.40667 | 0.34963 | 1.8984 | 0.40437 | 0.34877 | 1.2973 | -0.13443 | -0.047715 | -1.2022 | 0.15169 | 0.054712 | 1.0186 | -0.38132 | 0.33887 | -0.97448 | 0.37511 | -0.34713 | -44.7551 | -8.2874 | 21.0601 | 135.26 | 172.0428 | -158.4201 |  | 0.86736 | 0.99422 | 0.97879 | 0.81518 | 1.0006 | 1.0076 | -6.618 | -117.7062 | 119.0751 | -5.7117 | -119.975 | 120.5366

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37888 | 3.418 | 2.4563 | 0.37911 | 3.418 | 2.4561 | 4.3749 | 39.4682 | 28.363 | 4.3776 | 39.4677 | 28.3608 | -3.4019 | 28.0259 | -0.81733 | 3.9984 | -15.6347 | 0.28432 | 2.8817 | 9.8253 | 15.7813 | -3.2982 | -4.4376 | -9.3409 | -141.054 | -170.962 | 33.7154 | 39.0201 | 9.0471 | -146.2965 |  | 1.0191 | 0.75246 | 0.55715 | 1.184 | 0.41179 | 0.32951 | -1.3207 | -151.6425 | 126.6801 | -0.4983 | -155.1073 | 125.4469
Line_1 | 0.37357 | 4.1882 | 3.0964 | 0.3723 | 4.1881 | 3.0974 | 4.3136 | 48.3615 | 35.7539 | 4.2989 | 48.36 | 35.7652 | 3.5829 | 1.0161e-10 | 9.2981e-11 | -3.1507 | 18.7963 | 0.34868 | -4.7918 | -8.1738e-11 | -1.741e-11 | 3.9977 | 6.5776 | 11.78 | 51.422 | 5.6282 | -142.8825 | -128.7409 | -174.3943 | 37.1423 |  | 1.387 | 0 | 0 | 1.184 | 0.41179 | 0.32951 | -1.7922 | 0 | 0 | -0.4983 | -155.1073 | 125.4469
Line_2 | 0.079623 | 0.80332 | 0.66276 | 0.080388 | 0.80292 | 0.66226 | 0.91941 | 9.2759 | 7.6529 | 0.92824 | 9.2713 | 7.6471 | 0.79007 | 3.9573 | 0.92352 | -0.84772 | -3.1616 | -0.633 | 0.69858 | 2.1688 | 3.1762 | -0.6995 | -2.14 | -2.439 | -39.6629 | 170.7412 | 50.0623 | 139.9738 | -9.1998 | -130.004 |  | 1.1471 | 0.4865 | 0.43222 | 1.184 | 0.41179 | 0.32951 | 1.8205 | -160.5338 | 123.8498 | -0.4983 | -155.1073 | 125.4469

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37888 | 3.418 | 2.4563 | 0.37911 | 3.418 | 2.4561 | 4.3749 | 39.4682 | 28.363 | 4.3776 | 39.4677 | 28.3608 | -3.4019 | 28.0259 | -0.81733 | 3.9984 | -15.6347 | 0.28432 | 2.8817 | 9.8253 | 15.7813 | -3.2982 | -4.4376 | -9.3409 | -141.054 | -170.962 | 33.7154 | 39.0201 | 9.0471 | -146.2965 |  | 1.0191 | 0.75246 | 0.55715 | 1.184 | 0.41179 | 0.32951 | -1.3207 | -151.6425 | 126.6801 | -0.4983 | -155.1073 | 125.4469
Line_1 | 0.37357 | 4.1882 | 3.0964 | 0.3723 | 4.1881 | 3.0974 | 4.3136 | 48.3615 | 35.7539 | 4.2989 | 48.36 | 35.7652 | 3.5829 | 1.0161e-10 | 9.2981e-11 | -3.1507 | 18.7963 | 0.34868 | -4.7918 | -8.1738e-11 | -1.741e-11 | 3.9977 | 6.5776 | 11.78 | 51.422 | 5.6282 | -142.8825 | -128.7409 | -174.3943 | 37.1423 |  | 1.387 | 0 | 0 | 1.184 | 0.41179 | 0.32951 | -1.7922 | 0 | 0 | -0.4983 | -155.1073 | 125.4469
Line_2 | 0.079623 | 0.80332 | 0.66276 | 0.080388 | 0.80292 | 0.66226 | 0.91941 | 9.2759 | 7.6529 | 0.92824 | 9.2713 | 7.6471 | 0.79007 | 3.9573 | 0.92352 | -0.84772 | -3.1616 | -0.633 | 0.69858 | 2.1688 | 3.1762 | -0.6995 | -2.14 | -2.439 | -39.6629 | 170.7412 | 50.0623 | 139.9738 | -9.1998 | -130.004 |  | 1.1471 | 0.4865 | 0.43222 | 1.184 | 0.41179 | 0.32951 | 1.8205 | -160.5338 | 123.8498 | -0.4983 | -155.1073 | 125.4469

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11772 | 0.85159 | 0.57791 | 0.11759 | 0.85163 | 0.57777 | 1.3594 | 9.8333 | 6.6731 | 1.3578 | 9.8337 | 6.6716 | -1.3757 | 9.7279 | 4.1115 | 1.4517 | -8.8505 | -4.1137 | -0.59359 | 3.5805 | 5.101 | 0.63601 | -3.422 | -4.5603 | 156.1265 | -147.7594 | 66.4545 | -23.8076 | 32.2533 | -113.5589 |  | 1.1022 | 1.0542 | 0.9818 | 1.1673 | 0.96494 | 0.92056 | -0.53355 | -127.5527 | 117.5852 | -0.14863 | -126.6082 | 114.3884
Line_1 | 0.092546 | 1.1098 | 0.8662 | 0.092359 | 1.1096 | 0.86668 | 1.0686 | 12.8144 | 10.002 | 1.0665 | 12.8129 | 10.0076 | 1.167 | -9.1593 | -5.7798 | -1.0982 | 10.6334 | 5.9421 | -0.6362 | -6.0649 | -5.8757 | 0.58622 | 6.308 | 7.0401 | 28.2878 | 22.7438 | -115.4679 | -152.0545 | -157.2855 | 64.5541 |  | 1.2438 | 0.85726 | 0.82403 | 1.1673 | 0.96494 | 0.92056 | -0.31032 | -123.7454 | 110.0032 | -0.14863 | -126.6082 | 114.3884
Line_2 | 0.094078 | 0.30462 | 0.29003 | 0.094398 | 0.30446 | 0.28984 | 1.0863 | 3.5174 | 3.349 | 1.09 | 3.5156 | 3.3468 | 0.33667 | 1.8941 | 1.8879 | -0.35352 | -1.7829 | -1.8284 | 1.2096 | 2.9007 | 2.6024 | -1.2222 | -2.886 | -2.4798 | -74.047 | 175.046 | 60.8424 | 105.9833 | -4.9012 | -119.2093 |  | 1.1558 | 0.9849 | 0.96001 | 1.1673 | 0.96494 | 0.92056 | 0.39977 | -128.0986 | 114.8837 | -0.14863 | -126.6082 | 114.3884

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11772 | 0.85159 | 0.57791 | 0.11759 | 0.85163 | 0.57777 | 1.3594 | 9.8333 | 6.6731 | 1.3578 | 9.8337 | 6.6716 | -1.3757 | 9.7279 | 4.1115 | 1.4517 | -8.8505 | -4.1137 | -0.59359 | 3.5805 | 5.101 | 0.63601 | -3.422 | -4.5603 | 156.1265 | -147.7594 | 66.4545 | -23.8076 | 32.2533 | -113.5589 |  | 1.1022 | 1.0542 | 0.9818 | 1.1673 | 0.96494 | 0.92056 | -0.53355 | -127.5527 | 117.5852 | -0.14863 | -126.6082 | 114.3884
Line_1 | 0.092546 | 1.1098 | 0.8662 | 0.092359 | 1.1096 | 0.86668 | 1.0686 | 12.8144 | 10.002 | 1.0665 | 12.8129 | 10.0076 | 1.167 | -9.1593 | -5.7798 | -1.0982 | 10.6334 | 5.9421 | -0.6362 | -6.0649 | -5.8757 | 0.58622 | 6.308 | 7.0401 | 28.2878 | 22.7438 | -115.4679 | -152.0545 | -157.2855 | 64.5541 |  | 1.2438 | 0.85726 | 0.82403 | 1.1673 | 0.96494 | 0.92056 | -0.31032 | -123.7454 | 110.0032 | -0.14863 | -126.6082 | 114.3884
Line_2 | 0.094078 | 0.30462 | 0.29003 | 0.094398 | 0.30446 | 0.28984 | 1.0863 | 3.5174 | 3.349 | 1.09 | 3.5156 | 3.3468 | 0.33667 | 1.8941 | 1.8879 | -0.35352 | -1.7829 | -1.8284 | 1.2096 | 2.9007 | 2.6024 | -1.2222 | -2.886 | -2.4798 | -74.047 | 175.046 | 60.8424 | 105.9833 | -4.9012 | -119.2093 |  | 1.1558 | 0.9849 | 0.96001 | 1.1673 | 0.96494 | 0.92056 | 0.39977 | -128.0986 | 114.8837 | -0.14863 | -126.6082 | 114.3884

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4355 | 2.4893 | 2.1555 | 0.43587 | 2.4894 | 2.1554 | 5.0288 | 28.7441 | 24.89 | 5.033 | 28.7447 | 24.8879 | -0.743 | 22.9921 | 4.0165 | 1.1257 | -13.037 | -2.119 | 4.4999 | 3.2284 | 12.3626 | -5.0578 | -0.78761 | -7.5625 | -100.7576 | -156.5469 | 42.4398 | 79.2671 | 23.4626 | -137.5701 |  | 0.90695 | 0.80774 | 0.52225 | 1.0295 | 0.45437 | 0.31556 | -1.3818 | -148.554 | 114.4413 | 1.8149 | -153.0802 | 116.777
Line_1 | 0.42667 | 3.0654 | 2.5762 | 0.42533 | 3.065 | 2.5771 | 4.9268 | 35.396 | 29.7475 | 4.9113 | 35.3919 | 29.7578 | 1.5984 | -1.0744e-10 | -4.1505e-11 | -1.3314 | 15.9605 | 2.8428 | -5.8268 | -6.9463e-11 | -9.9886e-11 | 4.8778 | 1.9658 | 8.9499 | 76.6082 | 19.9237 | -135.6255 | -103.452 | -160.1018 | 44.3988 |  | 1.2264 | 0 | 0 | 1.0295 | 0.45437 | 0.31556 | 1.9479 | 0 | 0 | 1.8149 | -153.0802 | 116.777
Line_2 | 0.023591 | 0.601 | 0.42975 | 0.022992 | 0.60075 | 0.42945 | 0.2724 | 6.9398 | 4.9623 | 0.26549 | 6.9369 | 4.9589 | -0.18535 | 3.7571 | 0.88606 | 0.20566 | -2.9234 | -0.72381 | -0.18353 | 1.0357 | 1.9202 | 0.18003 | -1.1782 | -1.3874 | 139.9969 | -175.0878 | 54.4054 | -39.3822 | 4.9694 | -125.6718 |  | 0.95755 | 0.56158 | 0.42618 | 1.0295 | 0.45437 | 0.31556 | 4.7145 | -159.6762 | 119.6354 | 1.8149 | -153.0802 | 116.777

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4355 | 2.4893 | 2.1555 | 0.43587 | 2.4894 | 2.1554 | 5.0288 | 28.7441 | 24.89 | 5.033 | 28.7447 | 24.8879 | -0.743 | 22.9921 | 4.0165 | 1.1257 | -13.037 | -2.119 | 4.4999 | 3.2284 | 12.3626 | -5.0578 | -0.78761 | -7.5625 | -100.7576 | -156.5469 | 42.4398 | 79.2671 | 23.4626 | -137.5701 |  | 0.90695 | 0.80774 | 0.52225 | 1.0295 | 0.45437 | 0.31556 | -1.3818 | -148.554 | 114.4413 | 1.8149 | -153.0802 | 116.777
Line_1 | 0.42667 | 3.0654 | 2.5762 | 0.42533 | 3.065 | 2.5771 | 4.9268 | 35.396 | 29.7475 | 4.9113 | 35.3919 | 29.7578 | 1.5984 | -1.0744e-10 | -4.1505e-11 | -1.3314 | 15.9605 | 2.8428 | -5.8268 | -6.9463e-11 | -9.9886e-11 | 4.8778 | 1.9658 | 8.9499 | 76.6082 | 19.9237 | -135.6255 | -103.452 | -160.1018 | 44.3988 |  | 1.2264 | 0 | 0 | 1.0295 | 0.45437 | 0.31556 | 1.9479 | 0 | 0 | 1.8149 | -153.0802 | 116.777
Line_2 | 0.023591 | 0.601 | 0.42975 | 0.022992 | 0.60075 | 0.42945 | 0.2724 | 6.9398 | 4.9623 | 0.26549 | 6.9369 | 4.9589 | -0.18535 | 3.7571 | 0.88606 | 0.20566 | -2.9234 | -0.72381 | -0.18353 | 1.0357 | 1.9202 | 0.18003 | -1.1782 | -1.3874 | 139.9969 | -175.0878 | 54.4054 | -39.3822 | 4.9694 | -125.6718 |  | 0.95755 | 0.56158 | 0.42618 | 1.0295 | 0.45437 | 0.31556 | 4.7145 | -159.6762 | 119.6354 | 1.8149 | -153.0802 | 116.777

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17763 | 0.76042 | 0.63681 | 0.17779 | 0.76045 | 0.63672 | 2.0511 | 8.7806 | 7.3533 | 2.0529 | 8.7809 | 7.3522 | 0.1474 | 7.7901 | 3.4972 | -0.094296 | -6.7478 | -3.3793 | 1.9714 | 2.8059 | 5.3318 | -2.0667 | -2.6135 | -4.8014 | -86.7849 | -147.6069 | 59.7796 | 93.2354 | 32.4057 | -120.2328 |  | 0.96384 | 0.94299 | 0.86715 | 1.0078 | 0.82409 | 0.79859 | -1.0609 | -127.7987 | 116.5178 | 0.62298 | -126.4226 | 114.6288
Line_1 | 0.17439 | 0.94016 | 0.77166 | 0.17384 | 0.94002 | 0.77209 | 2.0137 | 10.8561 | 8.9104 | 2.0074 | 10.8544 | 8.9153 | 0.10154 | -6.389 | -4.143 | -0.067979 | 8.0889 | 4.3883 | -2.1827 | -3.7299 | -4.5783 | 2.0218 | 3.8187 | 5.6065 | 88.7469 | 28.3394 | -117.3484 | -91.3027 | -151.6944 | 62.6797 |  | 1.0851 | 0.68147 | 0.69297 | 1.0078 | 0.82409 | 0.79859 | 1.4102 | -121.3847 | 110.5091 | 0.62298 | -126.4226 | 114.6288
Line_2 | 0.014675 | 0.1896 | 0.14015 | 0.014469 | 0.18949 | 0.13998 | 0.16945 | 2.1893 | 1.6183 | 0.16707 | 2.188 | 1.6164 | -0.15804 | 1.4385 | 1.0402 | 0.16228 | -1.3411 | -1.009 | -0.04804 | 1.1855 | 0.87144 | 0.044888 | -1.2053 | -0.80508 | 164.5186 | -168.4408 | 76.1252 | -14.8394 | 11.6313 | -103.9575 |  | 0.9748 | 0.85143 | 0.8385 | 1.0078 | 0.82409 | 0.79859 | 1.4268 | -128.9461 | 116.0808 | 0.62298 | -126.4226 | 114.6288

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17763 | 0.76042 | 0.63681 | 0.17779 | 0.76045 | 0.63672 | 2.0511 | 8.7806 | 7.3533 | 2.0529 | 8.7809 | 7.3522 | 0.1474 | 7.7901 | 3.4972 | -0.094296 | -6.7478 | -3.3793 | 1.9714 | 2.8059 | 5.3318 | -2.0667 | -2.6135 | -4.8014 | -86.7849 | -147.6069 | 59.7796 | 93.2354 | 32.4057 | -120.2328 |  | 0.96384 | 0.94299 | 0.86715 | 1.0078 | 0.82409 | 0.79859 | -1.0609 | -127.7987 | 116.5178 | 0.62298 | -126.4226 | 114.6288
Line_1 | 0.17439 | 0.94016 | 0.77166 | 0.17384 | 0.94002 | 0.77209 | 2.0137 | 10.8561 | 8.9104 | 2.0074 | 10.8544 | 8.9153 | 0.10154 | -6.389 | -4.143 | -0.067979 | 8.0889 | 4.3883 | -2.1827 | -3.7299 | -4.5783 | 2.0218 | 3.8187 | 5.6065 | 88.7469 | 28.3394 | -117.3484 | -91.3027 | -151.6944 | 62.6797 |  | 1.0851 | 0.68147 | 0.69297 | 1.0078 | 0.82409 | 0.79859 | 1.4102 | -121.3847 | 110.5091 | 0.62298 | -126.4226 | 114.6288
Line_2 | 0.014675 | 0.1896 | 0.14015 | 0.014469 | 0.18949 | 0.13998 | 0.16945 | 2.1893 | 1.6183 | 0.16707 | 2.188 | 1.6164 | -0.15804 | 1.4385 | 1.0402 | 0.16228 | -1.3411 | -1.009 | -0.04804 | 1.1855 | 0.87144 | 0.044888 | -1.2053 | -0.80508 | 164.5186 | -168.4408 | 76.1252 | -14.8394 | 11.6313 | -103.9575 |  | 0.9748 | 0.85143 | 0.8385 | 1.0078 | 0.82409 | 0.79859 | 1.4268 | -128.9461 | 116.0808 | 0.62298 | -126.4226 | 114.6288