## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -5.0584e-29 | 27.4008 | -8.7391 | -5.2106e-15 | -22.7354 | 13.4045 | 1.0421e-14 | 4.6417 | 16.5321 | -1.0421e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 2.7811e-13 | -152.1736 | 136.0734 | 2.7895e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | 5.2106e-15 | -18.0699 | 18.0699 | -1.5632e-14 | 22.7354 | -13.4045 | -5.2106e-15 | 5.9452 | -5.9452 | -7.6107e-29 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 2.8426e-13 | 180 | -180 | 2.7895e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0958e-29 | 3.4051e-10 | 6.644e-10 | -1.0421e-14 | -3.405e-10 | -6.644e-10 | -1.0421e-14 | -1.8234e-09 | 1.2624e-09 | 5.2106e-15 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 2.8016e-13 | -163.4303 | 158.2346 | 2.7895e-13 | -163.4303 | 158.2346

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -5.0584e-29 | 27.4008 | -8.7391 | -5.2106e-15 | -22.7354 | 13.4045 | 1.0421e-14 | 4.6417 | 16.5321 | -1.0421e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 2.7811e-13 | -152.1736 | 136.0734 | 2.7895e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | 5.2106e-15 | -18.0699 | 18.0699 | -1.5632e-14 | 22.7354 | -13.4045 | -5.2106e-15 | 5.9452 | -5.9452 | -7.6107e-29 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 2.8426e-13 | 180 | -180 | 2.7895e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0958e-29 | 3.4051e-10 | 6.644e-10 | -1.0421e-14 | -3.405e-10 | -6.644e-10 | -1.0421e-14 | -1.8234e-09 | 1.2624e-09 | 5.2106e-15 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 2.8016e-13 | -163.4303 | 158.2346 | 2.7895e-13 | -163.4303 | 158.2346

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -2.6053e-15 | 17.2205 | 0.20321 | -2.6053e-15 | -15.9408 | 1.0765 | 2.6053e-15 | 3.8735 | 14.2393 | -2.6053e-15 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 1.2005e-13 | -135.9762 | 120.5292 | 1.1984e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | 2.6053e-15 | -14.6611 | 2.3562 | -7.816e-15 | 15.9408 | -1.0765 | 5.5341e-30 | -0.96958 | -11.3353 | 2.6053e-15 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 1.217e-13 | -144.8696 | 133.0893 | 1.1984e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.6819e-10 | 1.0007e-09 | -1.0898e-29 | -4.6818e-10 | -1.0007e-09 | -2.6053e-15 | -1.2288e-09 | 3.0654e-10 | 5.2106e-15 | 1.2288e-09 | -3.0653e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 1.2085e-13 | -140.0155 | 126.1589 | 1.1984e-13 | -140.0155 | 126.1589

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -2.6053e-15 | 17.2205 | 0.20321 | -2.6053e-15 | -15.9408 | 1.0765 | 2.6053e-15 | 3.8735 | 14.2393 | -2.6053e-15 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 1.2005e-13 | -135.9762 | 120.5292 | 1.1984e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | 2.6053e-15 | -14.6611 | 2.3562 | -7.816e-15 | 15.9408 | -1.0765 | 5.5341e-30 | -0.96958 | -11.3353 | 2.6053e-15 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 1.217e-13 | -144.8696 | 133.0893 | 1.1984e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.6819e-10 | 1.0007e-09 | -1.0898e-29 | -4.6818e-10 | -1.0007e-09 | -2.6053e-15 | -1.2288e-09 | 3.0654e-10 | 5.2106e-15 | 1.2288e-09 | -3.0653e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 1.2085e-13 | -140.0155 | 126.1589 | 1.1984e-13 | -140.0155 | 126.1589

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.5395e-14 | 23.4155 | -0.45749 | 1.7764e-14 | -17.676 | 6.197 | 1.6579e-14 | -0.22679 | 13.7937 | -1.4211e-14 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 6.9225e-13 | -150.1294 | 122.3252 | 7.4735e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -3.5527e-15 | -11.9365 | 11.9365 | 5.9212e-15 | 17.676 | -6.197 | 7.1054e-15 | 7.0103 | -7.0103 | 7.7234e-29 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 7.4827e-13 | -180 | 180 | 7.4735e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 2.4222e-10 | 6.7019e-10 | 3.5527e-15 | -2.4221e-10 | -6.7019e-10 | 7.1054e-15 | -1.5722e-09 | 8.3093e-10 | -7.1054e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 7.3245e-13 | -161.1438 | 151.2099 | 7.4735e-13 | -161.1438 | 151.2099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.5395e-14 | 23.4155 | -0.45749 | 1.7764e-14 | -17.676 | 6.197 | 1.6579e-14 | -0.22679 | 13.7937 | -1.4211e-14 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 6.9225e-13 | -150.1294 | 122.3252 | 7.4735e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -3.5527e-15 | -11.9365 | 11.9365 | 5.9212e-15 | 17.676 | -6.197 | 7.1054e-15 | 7.0103 | -7.0103 | 7.7234e-29 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 7.4827e-13 | -180 | 180 | 7.4735e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 2.4222e-10 | 6.7019e-10 | 3.5527e-15 | -2.4221e-10 | -6.7019e-10 | 7.1054e-15 | -1.5722e-09 | 8.3093e-10 | -7.1054e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 7.3245e-13 | -161.1438 | 151.2099 | 7.4735e-13 | -161.1438 | 151.2099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -1.0658e-14 | 13.7181 | 1.6719 | 8.8818e-15 | -12.0096 | 0.036546 | 7.1054e-15 | 1.7406 | 10.8539 | -7.1054e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 3.5819e-13 | -135.6599 | 118.3519 | 3.8965e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -5.9212e-16 | -10.3011 | 1.745 | -1.7764e-15 | 12.0096 | -0.036546 | -4.737e-15 | 0.27863 | -8.8347 | 4.737e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 3.9115e-13 | -144.4405 | 138.2821 | 3.8965e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 4.2826e-10 | 8.1276e-10 | -1.7764e-15 | -4.2826e-10 | -8.1276e-10 | 2.3685e-15 | -9.7051e-10 | 3.0453e-10 | -2.3685e-15 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 3.816e-13 | -139.408 | 127.3216 | 3.8965e-13 | -139.408 | 127.3216

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -1.0658e-14 | 13.7181 | 1.6719 | 8.8818e-15 | -12.0096 | 0.036546 | 7.1054e-15 | 1.7406 | 10.8539 | -7.1054e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 3.5819e-13 | -135.6599 | 118.3519 | 3.8965e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -5.9212e-16 | -10.3011 | 1.745 | -1.7764e-15 | 12.0096 | -0.036546 | -4.737e-15 | 0.27863 | -8.8347 | 4.737e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 3.9115e-13 | -144.4405 | 138.2821 | 3.8965e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 4.2826e-10 | 8.1276e-10 | -1.7764e-15 | -4.2826e-10 | -8.1276e-10 | 2.3685e-15 | -9.7051e-10 | 3.0453e-10 | -2.3685e-15 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 3.816e-13 | -139.408 | 127.3216 | 3.8965e-13 | -139.408 | 127.3216

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0685 | 0.011718 | 0.011718 | 1.0661 | 0.0081002 | 0.0081002 | 12.3384 | 0.13531 | 0.13531 | 12.3099 | 0.093533 | 0.093533 | 3.6076 | 0.13251 | -0.1247 | -1.7874 | -0.088708 | 0.088912 | 2.0077 | -0.14996 | -0.16748 | -1.0046 | 0.11116 | 0.12558 | -45.2026 | -93.8957 | -93.8957 | 134.9398 | 85.3598 | 85.3598 | 0.33462 | 1.4789 | 1.5431 | 0.16656 | 1.5205 | 1.6451 | -16.1057 | -142.4307 | 139.4343 | -15.7214 | -146.05 | 140.0604
Line_1 | 1.0608 | 0 | 0 | 1.0635 | 0.0041934 | 0.0041934 | 12.2495 | 0 | 0 | 12.2803 | 0.048421 | 0.048421 | 1.1714e-11 | -3.5067e-09 | -4.579e-09 | 1.7859 | 0.046575 | -0.045287 | -2.3047e-11 | -3.1024e-09 | 2.4833e-09 | 0.99727 | -0.057021 | -0.06553 | 135.2728 | 0 | 0 | -44.9017 | -95.2917 | -95.2917 | 0 | 1.5684 | 1.7449 | 0.16656 | 1.5205 | 1.6451 | 0 | -149.3681 | 140.6613 | -15.7214 | -146.05 | 140.0604
Line_2 | 0 | 0 | 0 | 0.0039074 | 0.0039074 | 0.0039074 | 0 | 0 | 0 | 0.045119 | 0.045119 | 0.045119 | 5.4457e-10 | -2.9672e-09 | -3.6945e-09 | 0.0015343 | 0.042134 | -0.043626 | -1.7945e-10 | -2.6952e-09 | 2.2754e-09 | 0.0073568 | -0.054141 | -0.060049 | 0 | 0 | 0 | -93.9411 | -93.9411 | -93.9411 | 0.16619 | 1.5203 | 1.6456 | 0.16656 | 1.5205 | 1.6451 | -15.5278 | -146.0744 | 140.0479 | -15.7214 | -146.05 | 140.0604

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0685 | 0.011718 | 0.011718 | 1.0661 | 0.0081002 | 0.0081002 | 12.3384 | 0.13531 | 0.13531 | 12.3099 | 0.093533 | 0.093533 | 3.6076 | 0.13251 | -0.1247 | -1.7874 | -0.088708 | 0.088912 | 2.0077 | -0.14996 | -0.16748 | -1.0046 | 0.11116 | 0.12558 | -45.2026 | -93.8957 | -93.8957 | 134.9398 | 85.3598 | 85.3598 | 0.33462 | 1.4789 | 1.5431 | 0.16656 | 1.5205 | 1.6451 | -16.1057 | -142.4307 | 139.4343 | -15.7214 | -146.05 | 140.0604
Line_1 | 1.0608 | 0 | 0 | 1.0635 | 0.0041934 | 0.0041934 | 12.2495 | 0 | 0 | 12.2803 | 0.048421 | 0.048421 | 1.1714e-11 | -3.5067e-09 | -4.579e-09 | 1.7859 | 0.046575 | -0.045287 | -2.3047e-11 | -3.1024e-09 | 2.4833e-09 | 0.99727 | -0.057021 | -0.06553 | 135.2728 | 0 | 0 | -44.9017 | -95.2917 | -95.2917 | 0 | 1.5684 | 1.7449 | 0.16656 | 1.5205 | 1.6451 | 0 | -149.3681 | 140.6613 | -15.7214 | -146.05 | 140.0604
Line_2 | 0 | 0 | 0 | 0.0039074 | 0.0039074 | 0.0039074 | 0 | 0 | 0 | 0.045119 | 0.045119 | 0.045119 | 5.4457e-10 | -2.9672e-09 | -3.6945e-09 | 0.0015343 | 0.042134 | -0.043626 | -1.7945e-10 | -2.6952e-09 | 2.2754e-09 | 0.0073568 | -0.054141 | -0.060049 | 0 | 0 | 0 | -93.9411 | -93.9411 | -93.9411 | 0.16619 | 1.5203 | 1.6456 | 0.16656 | 1.5205 | 1.6451 | -15.5278 | -146.0744 | 140.0479 | -15.7214 | -146.05 | 140.0604

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.67179 | 0.0073675 | 0.0073675 | 0.67025 | 0.0050927 | 0.0050927 | 7.7572 | 0.085073 | 0.085073 | 7.7393 | 0.058805 | 0.058805 | 3.6476 | 0.083653 | -0.078038 | -2.9286 | -0.056816 | 0.05484 | 3.0524 | -0.074416 | -0.085714 | -2.6452 | 0.054123 | 0.063384 | -45.3039 | -93.997 | -93.997 | 134.8385 | 85.2585 | 85.2585 | 0.61314 | 1.3161 | 1.3626 | 0.50991 | 1.3344 | 1.4253 | -5.3806 | -135.6527 | 133.6868 | -3.0724 | -138.3508 | 134.3922
Line_1 | 0.66695 | 0 | 0 | 0.66863 | 0.0026364 | 0.0026364 | 7.7013 | 0 | 0 | 7.7207 | 0.030443 | 0.030443 | -2.2241 | -1.6339e-09 | -2.3143e-09 | 2.9288 | 0.02973 | -0.028015 | -2.2241 | -1.9516e-09 | 1.5589e-09 | 2.6307 | -0.027682 | -0.033134 | 135.1715 | 0 | 0 | -45.003 | -95.393 | -95.393 | 0.40842 | 1.3562 | 1.4867 | 0.50991 | 1.3344 | 1.4253 | 0.17153 | -140.9038 | 135.068 | -3.0724 | -138.3508 | 134.3922
Line_2 | 0 | 0 | 0 | 0.0024566 | 0.0024566 | 0.0024566 | 0 | 0 | 0 | 0.028366 | 0.028366 | 0.028366 | 1.1004e-09 | -1.4199e-09 | -1.8827e-09 | -0.00024485 | 0.027086 | -0.026825 | -1.086e-10 | -1.6957e-09 | 1.4285e-09 | 0.014462 | -0.02644 | -0.03025 | 0 | 0 | 0 | -94.0424 | -94.0424 | -94.0424 | 0.50976 | 1.3342 | 1.4257 | 0.50991 | 1.3344 | 1.4253 | -3.0279 | -138.3674 | 134.3845 | -3.0724 | -138.3508 | 134.3922

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.67179 | 0.0073675 | 0.0073675 | 0.67025 | 0.0050927 | 0.0050927 | 7.7572 | 0.085073 | 0.085073 | 7.7393 | 0.058805 | 0.058805 | 3.6476 | 0.083653 | -0.078038 | -2.9286 | -0.056816 | 0.05484 | 3.0524 | -0.074416 | -0.085714 | -2.6452 | 0.054123 | 0.063384 | -45.3039 | -93.997 | -93.997 | 134.8385 | 85.2585 | 85.2585 | 0.61314 | 1.3161 | 1.3626 | 0.50991 | 1.3344 | 1.4253 | -5.3806 | -135.6527 | 133.6868 | -3.0724 | -138.3508 | 134.3922
Line_1 | 0.66695 | 0 | 0 | 0.66863 | 0.0026364 | 0.0026364 | 7.7013 | 0 | 0 | 7.7207 | 0.030443 | 0.030443 | -2.2241 | -1.6339e-09 | -2.3143e-09 | 2.9288 | 0.02973 | -0.028015 | -2.2241 | -1.9516e-09 | 1.5589e-09 | 2.6307 | -0.027682 | -0.033134 | 135.1715 | 0 | 0 | -45.003 | -95.393 | -95.393 | 0.40842 | 1.3562 | 1.4867 | 0.50991 | 1.3344 | 1.4253 | 0.17153 | -140.9038 | 135.068 | -3.0724 | -138.3508 | 134.3922
Line_2 | 0 | 0 | 0 | 0.0024566 | 0.0024566 | 0.0024566 | 0 | 0 | 0 | 0.028366 | 0.028366 | 0.028366 | 1.1004e-09 | -1.4199e-09 | -1.8827e-09 | -0.00024485 | 0.027086 | -0.026825 | -1.086e-10 | -1.6957e-09 | 1.4285e-09 | 0.014462 | -0.02644 | -0.03025 | 0 | 0 | 0 | -94.0424 | -94.0424 | -94.0424 | 0.50976 | 1.3342 | 1.4257 | 0.50991 | 1.3344 | 1.4253 | -3.0279 | -138.3674 | 134.3845 | -3.0724 | -138.3508 | 134.3922

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81709 | 0.0098904 | 0.0098904 | 0.81521 | 0.0069809 | 0.0069809 | 9.4349 | 0.1142 | 0.1142 | 9.4133 | 0.080608 | 0.080608 | 4.0514 | 0.10275 | -0.095056 | -2.0082 | -0.06898 | 0.070561 | 1.1667 | -0.11067 | -0.11203 | -0.58952 | 0.086707 | 0.091328 | -36.8978 | -90.3944 | -90.3944 | 143.2591 | 88.1031 | 88.1031 | 0.44686 | 1.3223 | 1.2865 | 0.22234 | 1.3745 | 1.4318 | -20.8325 | -137.5208 | 139.2925 | -20.3807 | -143.3928 | 140.4133
Line_1 | 0.81124 | 0 | 0 | 0.81327 | 0.0036849 | 0.0036849 | 9.3674 | 0 | 0 | 9.3908 | 0.04255 | 0.04255 | -7.502e-12 | -2.9796e-09 | -3.7138e-09 | 2.0053 | 0.037415 | -0.036171 | 1.6619e-12 | -2.5324e-09 | 2.1085e-09 | 0.58156 | -0.044953 | -0.04902 | 143.6637 | 0 | 0 | -36.5536 | -93.1636 | -93.1636 | 0 | 1.4415 | 1.5743 | 0.22234 | 1.3745 | 1.4318 | 0 | -148.6285 | 141.4244 | -20.3807 | -143.3928 | 140.4133
Line_2 | 0 | 0 | 0 | 0.0032978 | 0.0032978 | 0.0032978 | 0 | 0 | 0 | 0.03808 | 0.03808 | 0.03808 | 5.8308e-10 | -2.3003e-09 | -2.6011e-09 | 0.0028817 | 0.031565 | -0.034389 | -2.8018e-10 | -2.0035e-09 | 1.8298e-09 | 0.0079611 | -0.041754 | -0.042308 | 0 | 0 | 0 | -90.4816 | -90.4816 | -90.4816 | 0.2218 | 1.3741 | 1.4326 | 0.22234 | 1.3745 | 1.4318 | -20.1529 | -143.4317 | 140.3872 | -20.3807 | -143.3928 | 140.4133

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81709 | 0.0098904 | 0.0098904 | 0.81521 | 0.0069809 | 0.0069809 | 9.4349 | 0.1142 | 0.1142 | 9.4133 | 0.080608 | 0.080608 | 4.0514 | 0.10275 | -0.095056 | -2.0082 | -0.06898 | 0.070561 | 1.1667 | -0.11067 | -0.11203 | -0.58952 | 0.086707 | 0.091328 | -36.8978 | -90.3944 | -90.3944 | 143.2591 | 88.1031 | 88.1031 | 0.44686 | 1.3223 | 1.2865 | 0.22234 | 1.3745 | 1.4318 | -20.8325 | -137.5208 | 139.2925 | -20.3807 | -143.3928 | 140.4133
Line_1 | 0.81124 | 0 | 0 | 0.81327 | 0.0036849 | 0.0036849 | 9.3674 | 0 | 0 | 9.3908 | 0.04255 | 0.04255 | -7.502e-12 | -2.9796e-09 | -3.7138e-09 | 2.0053 | 0.037415 | -0.036171 | 1.6619e-12 | -2.5324e-09 | 2.1085e-09 | 0.58156 | -0.044953 | -0.04902 | 143.6637 | 0 | 0 | -36.5536 | -93.1636 | -93.1636 | 0 | 1.4415 | 1.5743 | 0.22234 | 1.3745 | 1.4318 | 0 | -148.6285 | 141.4244 | -20.3807 | -143.3928 | 140.4133
Line_2 | 0 | 0 | 0 | 0.0032978 | 0.0032978 | 0.0032978 | 0 | 0 | 0 | 0.03808 | 0.03808 | 0.03808 | 5.8308e-10 | -2.3003e-09 | -2.6011e-09 | 0.0028817 | 0.031565 | -0.034389 | -2.8018e-10 | -2.0035e-09 | 1.8298e-09 | 0.0079611 | -0.041754 | -0.042308 | 0 | 0 | 0 | -90.4816 | -90.4816 | -90.4816 | 0.2218 | 1.3741 | 1.4326 | 0.22234 | 1.3745 | 1.4318 | -20.1529 | -143.4317 | 140.3872 | -20.3807 | -143.3928 | 140.4133

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.54728 | 0.0066246 | 0.0066246 | 0.54603 | 0.0046758 | 0.0046758 | 6.3195 | 0.076494 | 0.076494 | 6.305 | 0.053991 | 0.053991 | 3.2898 | 0.069867 | -0.062409 | -2.3739 | -0.047887 | 0.045304 | 2.0248 | -0.058748 | -0.0663 | -1.7584 | 0.044878 | 0.052654 | -39.7708 | -93.2675 | -93.2675 | 140.3861 | 85.23 | 85.23 | 0.61128 | 1.1933 | 1.1903 | 0.46855 | 1.2156 | 1.2865 | -8.1594 | -133.3264 | 133.464 | -3.0857 | -137.9119 | 134.5213
Line_1 | 0.54337 | 0 | 0 | 0.54472 | 0.0024681 | 0.0024681 | 6.2743 | 0 | 0 | 6.2899 | 0.0285 | 0.0285 | -1.4762 | -1.466e-09 | -2.113e-09 | 2.3739 | 0.025795 | -0.023294 | -1.4762 | -1.7267e-09 | 1.3532e-09 | 1.7464 | -0.023125 | -0.028316 | 140.7907 | 0 | 0 | -39.4266 | -96.0366 | -96.0366 | 0.33274 | 1.2466 | 1.3809 | 0.46855 | 1.2156 | 1.2865 | 5.7907 | -142.1949 | 135.5005 | -3.0857 | -137.9119 | 134.5213
Line_2 | 0 | 0 | 0 | 0.0022089 | 0.0022089 | 0.0022089 | 0 | 0 | 0 | 0.025506 | 0.025506 | 0.025506 | 9.1064e-10 | -1.1754e-09 | -1.5053e-09 | -5.6084e-05 | 0.022092 | -0.02201 | -8.9965e-11 | -1.3724e-09 | 1.1819e-09 | 0.011951 | -0.021753 | -0.024338 | 0 | 0 | 0 | -93.3546 | -93.3546 | -93.3546 | 0.46841 | 1.2152 | 1.2871 | 0.46855 | 1.2156 | 1.2865 | -3.0026 | -137.9391 | 134.5031 | -3.0857 | -137.9119 | 134.5213

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.54728 | 0.0066246 | 0.0066246 | 0.54603 | 0.0046758 | 0.0046758 | 6.3195 | 0.076494 | 0.076494 | 6.305 | 0.053991 | 0.053991 | 3.2898 | 0.069867 | -0.062409 | -2.3739 | -0.047887 | 0.045304 | 2.0248 | -0.058748 | -0.0663 | -1.7584 | 0.044878 | 0.052654 | -39.7708 | -93.2675 | -93.2675 | 140.3861 | 85.23 | 85.23 | 0.61128 | 1.1933 | 1.1903 | 0.46855 | 1.2156 | 1.2865 | -8.1594 | -133.3264 | 133.464 | -3.0857 | -137.9119 | 134.5213
Line_1 | 0.54337 | 0 | 0 | 0.54472 | 0.0024681 | 0.0024681 | 6.2743 | 0 | 0 | 6.2899 | 0.0285 | 0.0285 | -1.4762 | -1.466e-09 | -2.113e-09 | 2.3739 | 0.025795 | -0.023294 | -1.4762 | -1.7267e-09 | 1.3532e-09 | 1.7464 | -0.023125 | -0.028316 | 140.7907 | 0 | 0 | -39.4266 | -96.0366 | -96.0366 | 0.33274 | 1.2466 | 1.3809 | 0.46855 | 1.2156 | 1.2865 | 5.7907 | -142.1949 | 135.5005 | -3.0857 | -137.9119 | 134.5213
Line_2 | 0 | 0 | 0 | 0.0022089 | 0.0022089 | 0.0022089 | 0 | 0 | 0 | 0.025506 | 0.025506 | 0.025506 | 9.1064e-10 | -1.1754e-09 | -1.5053e-09 | -5.6084e-05 | 0.022092 | -0.02201 | -8.9965e-11 | -1.3724e-09 | 1.1819e-09 | 0.011951 | -0.021753 | -0.024338 | 0 | 0 | 0 | -93.3546 | -93.3546 | -93.3546 | 0.46841 | 1.2152 | 1.2871 | 0.46855 | 1.2156 | 1.2865 | -3.0026 | -137.9391 | 134.5031 | -3.0857 | -137.9119 | 134.5213

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0067639 | 3.1654 | 2.8491 | 0.0046755 | 3.1658 | 2.8483 | 0.078103 | 36.5504 | 32.8986 | 0.053988 | 36.555 | 32.8898 | -0.0014684 | 13.7683 | 5.9044 | 0.0013993 | -6.8835 | -2.9466 | -0.11405 | 9.1415 | 12.4883 | 0.08174 | -4.5949 | -6.219 | 90.724 | -166.6267 | 23.5888 | -90.0205 | 13.4104 | -156.4504 | 1.4604 | 0.45216 | 0.41989 | 1.5143 | 0.2264 | 0.20924 | -0.013633 | -133.0445 | 88.2842 | -1.0012 | -132.8657 | 88.1974
Line_1 | 0 | 3.1668 | 2.8465 | 0.0024204 | 3.1663 | 2.8475 | 0 | 36.5676 | 32.8683 | 0.027949 | 36.5608 | 32.8797 | -2.6938e-09 | 7.3007e-11 | 7.6853e-11 | -0.00024321 | 6.8878 | 2.9412 | -2.0625e-10 | -5.1653e-11 | 1.9633e-11 | -0.042321 | 4.5908 | 6.2192 | 0 | 13.4927 | -156.5367 | 89.328 | -166.5498 | 23.5078 | 1.568 | 0 | 0 | 1.5143 | 0.2264 | 0.20924 | -1.869 | 0 | 0 | -1.0012 | -132.8657 | 88.1974
Line_2 | 0 | 0 | 0 | 0.0022554 | 0.0022554 | 0.0022554 | 0 | 0 | 0 | 0.026043 | 0.026043 | 0.026043 | -2.3023e-09 | 7.0297e-10 | 5.5569e-10 | -0.001156 | -0.0042738 | 0.0054439 | -1.0817e-10 | -2.021e-10 | -4.4453e-10 | -0.039419 | 0.004062 | -0.0002359 | 0 | 0 | 0 | 90.6786 | 90.6786 | 90.6786 | 1.5144 | 0.22657 | 0.20888 | 1.5143 | 0.2264 | 0.20924 | -1.0147 | -132.7765 | 88.1538 | -1.0012 | -132.8657 | 88.1974

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0067639 | 3.1654 | 2.8491 | 0.0046755 | 3.1658 | 2.8483 | 0.078103 | 36.5504 | 32.8986 | 0.053988 | 36.555 | 32.8898 | -0.0014684 | 13.7683 | 5.9044 | 0.0013993 | -6.8835 | -2.9466 | -0.11405 | 9.1415 | 12.4883 | 0.08174 | -4.5949 | -6.219 | 90.724 | -166.6267 | 23.5888 | -90.0205 | 13.4104 | -156.4504 | 1.4604 | 0.45216 | 0.41989 | 1.5143 | 0.2264 | 0.20924 | -0.013633 | -133.0445 | 88.2842 | -1.0012 | -132.8657 | 88.1974
Line_1 | 0 | 3.1668 | 2.8465 | 0.0024204 | 3.1663 | 2.8475 | 0 | 36.5676 | 32.8683 | 0.027949 | 36.5608 | 32.8797 | -2.6938e-09 | 7.3007e-11 | 7.6853e-11 | -0.00024321 | 6.8878 | 2.9412 | -2.0625e-10 | -5.1653e-11 | 1.9633e-11 | -0.042321 | 4.5908 | 6.2192 | 0 | 13.4927 | -156.5367 | 89.328 | -166.5498 | 23.5078 | 1.568 | 0 | 0 | 1.5143 | 0.2264 | 0.20924 | -1.869 | 0 | 0 | -1.0012 | -132.8657 | 88.1974
Line_2 | 0 | 0 | 0 | 0.0022554 | 0.0022554 | 0.0022554 | 0 | 0 | 0 | 0.026043 | 0.026043 | 0.026043 | -2.3023e-09 | 7.0297e-10 | 5.5569e-10 | -0.001156 | -0.0042738 | 0.0054439 | -1.0817e-10 | -2.021e-10 | -4.4453e-10 | -0.039419 | 0.004062 | -0.0002359 | 0 | 0 | 0 | 90.6786 | 90.6786 | 90.6786 | 1.5144 | 0.22657 | 0.20888 | 1.5143 | 0.2264 | 0.20924 | -1.0147 | -132.7765 | 88.1538 | -1.0012 | -132.8657 | 88.1974

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0050479 | 1.1201 | 1.0275 | 0.0034893 | 1.1207 | 1.0264 | 0.058288 | 12.9342 | 11.8649 | 0.040291 | 12.9412 | 11.8516 | 0.00036785 | 8.2807 | 6.1097 | -0.00018629 | -7.283 | -5.677 | -0.079788 | 6.9138 | 7.4933 | 0.056759 | -6.6142 | -6.3605 | 89.4808 | -155.7745 | 48.6725 | -91.2638 | 24.2989 | -131.3863 | 1.3689 | 0.83403 | 0.81487 | 1.4087 | 0.76022 | 0.71935 | -0.25508 | -115.9149 | 99.4803 | -1.0757 | -113.4565 | 96.8637
Line_1 | 0 | 1.1223 | 1.0237 | 0.0018064 | 1.1215 | 1.0251 | 0 | 12.9587 | 11.8209 | 0.020858 | 12.9494 | 11.8369 | -1.8534e-09 | -6.2973 | -5.24 | 0.00043052 | 7.2966 | 5.6631 | -1.8439e-10 | -6.2973 | -5.24 | -0.029381 | 6.6084 | 6.3587 | 0 | 24.4596 | -131.5121 | 88.0848 | -155.6231 | 48.5522 | 1.4484 | 0.68724 | 0.6269 | 1.4087 | 0.76022 | 0.71935 | -1.8088 | -110.5404 | 93.4879 | -1.0757 | -113.4565 | 96.8637
Line_2 | 0 | 0 | 0 | 0.0016832 | 0.0016832 | 0.0016832 | 0 | 0 | 0 | 0.019436 | 0.019436 | 0.019436 | -1.5965e-09 | 9.2674e-10 | 7.7099e-10 | -0.00024423 | -0.013612 | 0.013864 | -1.0777e-10 | 3.5034e-10 | -1.1398e-09 | -0.027379 | 0.0057475 | 0.0018075 | 0 | 0 | 0 | 89.4354 | 89.4354 | 89.4354 | 1.4089 | 0.76043 | 0.71907 | 1.4087 | 0.76022 | 0.71935 | -1.0866 | -113.4411 | 96.858 | -1.0757 | -113.4565 | 96.8637

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0050479 | 1.1201 | 1.0275 | 0.0034893 | 1.1207 | 1.0264 | 0.058288 | 12.9342 | 11.8649 | 0.040291 | 12.9412 | 11.8516 | 0.00036785 | 8.2807 | 6.1097 | -0.00018629 | -7.283 | -5.677 | -0.079788 | 6.9138 | 7.4933 | 0.056759 | -6.6142 | -6.3605 | 89.4808 | -155.7745 | 48.6725 | -91.2638 | 24.2989 | -131.3863 | 1.3689 | 0.83403 | 0.81487 | 1.4087 | 0.76022 | 0.71935 | -0.25508 | -115.9149 | 99.4803 | -1.0757 | -113.4565 | 96.8637
Line_1 | 0 | 1.1223 | 1.0237 | 0.0018064 | 1.1215 | 1.0251 | 0 | 12.9587 | 11.8209 | 0.020858 | 12.9494 | 11.8369 | -1.8534e-09 | -6.2973 | -5.24 | 0.00043052 | 7.2966 | 5.6631 | -1.8439e-10 | -6.2973 | -5.24 | -0.029381 | 6.6084 | 6.3587 | 0 | 24.4596 | -131.5121 | 88.0848 | -155.6231 | 48.5522 | 1.4484 | 0.68724 | 0.6269 | 1.4087 | 0.76022 | 0.71935 | -1.8088 | -110.5404 | 93.4879 | -1.0757 | -113.4565 | 96.8637
Line_2 | 0 | 0 | 0 | 0.0016832 | 0.0016832 | 0.0016832 | 0 | 0 | 0 | 0.019436 | 0.019436 | 0.019436 | -1.5965e-09 | 9.2674e-10 | 7.7099e-10 | -0.00024423 | -0.013612 | 0.013864 | -1.0777e-10 | 3.5034e-10 | -1.1398e-09 | -0.027379 | 0.0057475 | 0.0018075 | 0 | 0 | 0 | 89.4354 | 89.4354 | 89.4354 | 1.4089 | 0.76043 | 0.71907 | 1.4087 | 0.76022 | 0.71935 | -1.0866 | -113.4411 | 96.858 | -1.0757 | -113.4565 | 96.8637

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0057018 | 2.5105 | 2.3038 | 0.0040245 | 2.511 | 2.3029 | 0.065839 | 28.9889 | 26.6014 | 0.04647 | 28.9951 | 26.5921 | -0.0027882 | 15.6649 | 8.4266 | 0.0022668 | -7.8416 | -4.1974 | -0.083752 | 3.6756 | 10.1597 | 0.062642 | -1.8672 | -5.0511 | 93.4272 | -154.4488 | 35.7387 | -88.0753 | 25.5876 | -144.298 | 1.2728 | 0.55505 | 0.4962 | 1.3489 | 0.27801 | 0.24697 | 1.5204 | -141.2437 | 86.066 | -0.14774 | -141.0186 | 85.9759
Line_1 | 0 | 2.5127 | 2.3007 | 0.0021243 | 2.5118 | 2.3019 | 0 | 29.0138 | 26.5663 | 0.02453 | 29.0034 | 26.5804 | -2.2246e-09 | -1.3858e-10 | -1.017e-11 | -0.00046532 | 7.8451 | 4.192 | -1.4091e-10 | -1.0343e-10 | -1.5858e-10 | -0.033084 | 1.8623 | 5.0518 | 0 | 25.6716 | -144.3813 | 90.6581 | -154.3723 | 35.662 | 1.4253 | 0 | 0 | 1.3489 | 0.27801 | 0.24697 | -1.5448 | 0 | 0 | -0.14774 | -141.0186 | 85.9759
Line_2 | 0 | 0 | 0 | 0.0019012 | 0.0019012 | 0.0019012 | 0 | 0 | 0 | 0.021953 | 0.021953 | 0.021953 | -1.7264e-09 | 6.692e-10 | 5.2578e-10 | -0.0018015 | -0.0035564 | 0.0053771 | -1.487e-11 | -3.6407e-10 | -5.0613e-10 | -0.029557 | 0.0049599 | -0.00069494 | 0 | 0 | 0 | 93.34 | 93.34 | 93.34 | 1.349 | 0.27825 | 0.24641 | 1.3489 | 0.27801 | 0.24697 | -0.1722 | -140.9064 | 85.9307 | -0.14774 | -141.0186 | 85.9759

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0057018 | 2.5105 | 2.3038 | 0.0040245 | 2.511 | 2.3029 | 0.065839 | 28.9889 | 26.6014 | 0.04647 | 28.9951 | 26.5921 | -0.0027882 | 15.6649 | 8.4266 | 0.0022668 | -7.8416 | -4.1974 | -0.083752 | 3.6756 | 10.1597 | 0.062642 | -1.8672 | -5.0511 | 93.4272 | -154.4488 | 35.7387 | -88.0753 | 25.5876 | -144.298 | 1.2728 | 0.55505 | 0.4962 | 1.3489 | 0.27801 | 0.24697 | 1.5204 | -141.2437 | 86.066 | -0.14774 | -141.0186 | 85.9759
Line_1 | 0 | 2.5127 | 2.3007 | 0.0021243 | 2.5118 | 2.3019 | 0 | 29.0138 | 26.5663 | 0.02453 | 29.0034 | 26.5804 | -2.2246e-09 | -1.3858e-10 | -1.017e-11 | -0.00046532 | 7.8451 | 4.192 | -1.4091e-10 | -1.0343e-10 | -1.5858e-10 | -0.033084 | 1.8623 | 5.0518 | 0 | 25.6716 | -144.3813 | 90.6581 | -154.3723 | 35.662 | 1.4253 | 0 | 0 | 1.3489 | 0.27801 | 0.24697 | -1.5448 | 0 | 0 | -0.14774 | -141.0186 | 85.9759
Line_2 | 0 | 0 | 0 | 0.0019012 | 0.0019012 | 0.0019012 | 0 | 0 | 0 | 0.021953 | 0.021953 | 0.021953 | -1.7264e-09 | 6.692e-10 | 5.2578e-10 | -0.0018015 | -0.0035564 | 0.0053771 | -1.487e-11 | -3.6407e-10 | -5.0613e-10 | -0.029557 | 0.0049599 | -0.00069494 | 0 | 0 | 0 | 93.34 | 93.34 | 93.34 | 1.349 | 0.27825 | 0.24641 | 1.3489 | 0.27801 | 0.24697 | -0.1722 | -140.9064 | 85.9307 | -0.14774 | -141.0186 | 85.9759

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0044507 | 0.95808 | 0.87025 | 0.0031414 | 0.95863 | 0.86929 | 0.051392 | 11.063 | 10.0488 | 0.036273 | 11.0693 | 10.0376 | 0.0001099 | 7.2087 | 5.0548 | -0.00010505 | -5.9068 | -4.4036 | -0.062374 | 4.4912 | 5.9462 | 0.046138 | -4.5599 | -4.8447 | 90.657 | -151.2068 | 51.5177 | -90.8455 | 28.8646 | -128.5411 | 1.2137 | 0.76773 | 0.77665 | 1.272 | 0.67413 | 0.65224 | 0.758 | -119.2832 | 101.15 | -0.715 | -113.4678 | 99.1898
Line_1 | 0 | 0.96019 | 0.8668 | 0.0016582 | 0.95933 | 0.86813 | 0 | 11.0873 | 10.009 | 0.019147 | 11.0774 | 10.0244 | -1.6154e-09 | -4.6098 | -3.7567 | 0.0005938 | 5.9173 | 4.3925 | -1.6861e-10 | -4.6098 | -3.7567 | -0.024347 | 4.5552 | 4.843 | 0 | 29.0274 | -128.668 | 87.8879 | -151.0574 | 51.3972 | 1.3305 | 0.58799 | 0.53081 | 1.272 | 0.67413 | 0.65224 | -1.9805 | -105.9726 | 96.332 | -0.715 | -113.4678 | 99.1898
Line_2 | 0 | 0 | 0 | 0.001484 | 0.001484 | 0.001484 | 0 | 0 | 0 | 0.017136 | 0.017136 | 0.017136 | -1.2694e-09 | 7.8884e-10 | 6.7626e-10 | -0.00048876 | -0.01055 | 0.01105 | -5.9877e-11 | 2.8234e-10 | -8.4913e-10 | -0.021791 | 0.0047055 | 0.0016751 | 0 | 0 | 0 | 90.5699 | 90.5699 | 90.5699 | 1.2721 | 0.67451 | 0.65177 | 1.272 | 0.67413 | 0.65224 | -0.73544 | -113.4447 | 99.1876 | -0.715 | -113.4678 | 99.1898

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0044507 | 0.95808 | 0.87025 | 0.0031414 | 0.95863 | 0.86929 | 0.051392 | 11.063 | 10.0488 | 0.036273 | 11.0693 | 10.0376 | 0.0001099 | 7.2087 | 5.0548 | -0.00010505 | -5.9068 | -4.4036 | -0.062374 | 4.4912 | 5.9462 | 0.046138 | -4.5599 | -4.8447 | 90.657 | -151.2068 | 51.5177 | -90.8455 | 28.8646 | -128.5411 | 1.2137 | 0.76773 | 0.77665 | 1.272 | 0.67413 | 0.65224 | 0.758 | -119.2832 | 101.15 | -0.715 | -113.4678 | 99.1898
Line_1 | 0 | 0.96019 | 0.8668 | 0.0016582 | 0.95933 | 0.86813 | 0 | 11.0873 | 10.009 | 0.019147 | 11.0774 | 10.0244 | -1.6154e-09 | -4.6098 | -3.7567 | 0.0005938 | 5.9173 | 4.3925 | -1.6861e-10 | -4.6098 | -3.7567 | -0.024347 | 4.5552 | 4.843 | 0 | 29.0274 | -128.668 | 87.8879 | -151.0574 | 51.3972 | 1.3305 | 0.58799 | 0.53081 | 1.272 | 0.67413 | 0.65224 | -1.9805 | -105.9726 | 96.332 | -0.715 | -113.4678 | 99.1898
Line_2 | 0 | 0 | 0 | 0.001484 | 0.001484 | 0.001484 | 0 | 0 | 0 | 0.017136 | 0.017136 | 0.017136 | -1.2694e-09 | 7.8884e-10 | 6.7626e-10 | -0.00048876 | -0.01055 | 0.01105 | -5.9877e-11 | 2.8234e-10 | -8.4913e-10 | -0.021791 | 0.0047055 | 0.0016751 | 0 | 0 | 0 | 90.5699 | 90.5699 | 90.5699 | 1.2721 | 0.67451 | 0.65177 | 1.272 | 0.67413 | 0.65224 | -0.73544 | -113.4447 | 99.1876 | -0.715 | -113.4678 | 99.1898