## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -4.1685e-14 | 27.4008 | -8.7391 | 3.1264e-14 | -22.7354 | 13.4045 | 5.2106e-15 | 4.6417 | 16.5321 | -1.0421e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 6.0354e-13 | -152.1736 | 136.0734 | 6.1906e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -5.7102e-29 | -18.0699 | 18.0699 | -1.5632e-14 | 22.7354 | -13.4045 | 5.2106e-15 | 5.9452 | -5.9452 | -1.689e-28 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 6.2789e-13 | 180 | -180 | 6.1906e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 3.4051e-10 | 6.644e-10 | 5.63e-29 | -3.4051e-10 | -6.6441e-10 | 5.2106e-15 | -1.8234e-09 | 1.2624e-09 | -5.2106e-15 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 6.2034e-13 | -163.4303 | 158.2346 | 6.1906e-13 | -163.4303 | 158.2346

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -4.1685e-14 | 27.4008 | -8.7391 | 3.1264e-14 | -22.7354 | 13.4045 | 5.2106e-15 | 4.6417 | 16.5321 | -1.0421e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 6.0354e-13 | -152.1736 | 136.0734 | 6.1906e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -5.7102e-29 | -18.0699 | 18.0699 | -1.5632e-14 | 22.7354 | -13.4045 | 5.2106e-15 | 5.9452 | -5.9452 | -1.689e-28 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 6.2789e-13 | 180 | -180 | 6.1906e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 3.4051e-10 | 6.644e-10 | 5.63e-29 | -3.4051e-10 | -6.6441e-10 | 5.2106e-15 | -1.8234e-09 | 1.2624e-09 | -5.2106e-15 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 6.2034e-13 | -163.4303 | 158.2346 | 6.1906e-13 | -163.4303 | 158.2346

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -1.5632e-14 | 17.2205 | 0.20321 | 1.3027e-14 | -15.9408 | 1.0765 | -8.1677e-29 | 3.8735 | 14.2393 | 2.6053e-15 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 2.9937e-13 | -135.9762 | 120.5292 | 3.0764e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | 5.2106e-15 | -14.6611 | 2.3562 | -7.816e-15 | 15.9408 | -1.0765 | 2.8233e-29 | -0.96958 | -11.3353 | 2.6053e-15 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 3.1044e-13 | -144.8696 | 133.0893 | 3.0764e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.6819e-10 | 1.0007e-09 | -2.6053e-15 | -4.6819e-10 | -1.0007e-09 | 5.2106e-15 | -1.2288e-09 | 3.0655e-10 | -2.6053e-15 | 1.2288e-09 | -3.0654e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 3.0869e-13 | -140.0155 | 126.1589 | 3.0764e-13 | -140.0155 | 126.1589

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -1.5632e-14 | 17.2205 | 0.20321 | 1.3027e-14 | -15.9408 | 1.0765 | -8.1677e-29 | 3.8735 | 14.2393 | 2.6053e-15 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 2.9937e-13 | -135.9762 | 120.5292 | 3.0764e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | 5.2106e-15 | -14.6611 | 2.3562 | -7.816e-15 | 15.9408 | -1.0765 | 2.8233e-29 | -0.96958 | -11.3353 | 2.6053e-15 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 3.1044e-13 | -144.8696 | 133.0893 | 3.0764e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.6819e-10 | 1.0007e-09 | -2.6053e-15 | -4.6819e-10 | -1.0007e-09 | 5.2106e-15 | -1.2288e-09 | 3.0655e-10 | -2.6053e-15 | 1.2288e-09 | -3.0654e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 3.0869e-13 | -140.0155 | 126.1589 | 3.0764e-13 | -140.0155 | 126.1589

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -9.4739e-15 | 23.4155 | -0.45749 | 9.4739e-15 | -17.676 | 6.197 | -6.427e-29 | -0.22679 | 13.7937 | 6.7925e-29 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 3.8869e-13 | -150.1294 | 122.3252 | 4.1079e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.1842e-15 | -11.9365 | 11.9365 | -1.1842e-15 | 17.676 | -6.197 | 7.1054e-15 | 7.0103 | -7.0103 | -7.1054e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 4.0825e-13 | -180 | 180 | 4.1079e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 2.4222e-10 | 6.7019e-10 | 1.1842e-15 | -2.4222e-10 | -6.7019e-10 | 2.3685e-15 | -1.5722e-09 | 8.3094e-10 | -2.3685e-15 | 1.5722e-09 | -8.3094e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 3.9578e-13 | -161.1438 | 151.2099 | 4.1079e-13 | -161.1438 | 151.2099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -9.4739e-15 | 23.4155 | -0.45749 | 9.4739e-15 | -17.676 | 6.197 | -6.427e-29 | -0.22679 | 13.7937 | 6.7925e-29 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 3.8869e-13 | -150.1294 | 122.3252 | 4.1079e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.1842e-15 | -11.9365 | 11.9365 | -1.1842e-15 | 17.676 | -6.197 | 7.1054e-15 | 7.0103 | -7.0103 | -7.1054e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 4.0825e-13 | -180 | 180 | 4.1079e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 2.4222e-10 | 6.7019e-10 | 1.1842e-15 | -2.4222e-10 | -6.7019e-10 | 2.3685e-15 | -1.5722e-09 | 8.3094e-10 | -2.3685e-15 | 1.5722e-09 | -8.3094e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 3.9578e-13 | -161.1438 | 151.2099 | 4.1079e-13 | -161.1438 | 151.2099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -4.1448e-15 | 13.7181 | 1.6719 | 4.737e-15 | -12.0096 | 0.036546 | -1.5658e-29 | 1.7406 | 10.8539 | 2.3685e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 2.1645e-13 | -135.6599 | 118.3519 | 2.2994e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | 1.1842e-15 | -10.3011 | 1.745 | -1.7764e-15 | 12.0096 | -0.036546 | 2.3685e-15 | 0.27863 | -8.8347 | -2.3685e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 2.3045e-13 | -144.4405 | 138.2821 | 2.2994e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.2826e-10 | 8.1277e-10 | 5.9212e-16 | -4.2827e-10 | -8.1276e-10 | 4.737e-15 | -9.7051e-10 | 3.0453e-10 | -2.3685e-15 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 2.2182e-13 | -139.408 | 127.3216 | 2.2994e-13 | -139.408 | 127.3216

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -4.1448e-15 | 13.7181 | 1.6719 | 4.737e-15 | -12.0096 | 0.036546 | -1.5658e-29 | 1.7406 | 10.8539 | 2.3685e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 2.1645e-13 | -135.6599 | 118.3519 | 2.2994e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | 1.1842e-15 | -10.3011 | 1.745 | -1.7764e-15 | 12.0096 | -0.036546 | 2.3685e-15 | 0.27863 | -8.8347 | -2.3685e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 2.3045e-13 | -144.4405 | 138.2821 | 2.2994e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.2826e-10 | 8.1277e-10 | 5.9212e-16 | -4.2827e-10 | -8.1276e-10 | 4.737e-15 | -9.7051e-10 | 3.0453e-10 | -2.3685e-15 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 2.2182e-13 | -139.408 | 127.3216 | 2.2994e-13 | -139.408 | 127.3216

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3928 | 0.010497 | 0.010497 | 1.3896 | 0.0072286 | 0.0072286 | 16.0831 | 0.12121 | 0.12121 | 16.0453 | 0.083469 | 0.083469 | 6.1337 | 0.11876 | -0.10968 | -3.041 | -0.076633 | 0.08158 | 3.4182 | -0.14661 | -0.11276 | -1.7011 | 0.1028 | 0.086713 | -69.1402 | -81.5708 | -81.5708 | 110.8756 | 95.8076 | 95.8076 | 0.4366 | 1.5566 | 1.2978 | 0.21717 | 1.5362 | 1.4264 | -40.0101 | -132.5613 | 144.2222 | -39.9018 | -137.4907 | 142.5543
Line_1 | 1.3826 | 0 | 0 | 1.3861 | 0.0037353 | 0.0037353 | 15.9647 | 0 | 0 | 16.0059 | 0.043132 | 0.043132 | 4.5959e-11 | -2.8618e-09 | -3.0087e-09 | 3.0345 | 0.041802 | -0.040231 | -3.5979e-11 | -2.3506e-09 | 2.2657e-09 | 1.6953 | -0.051408 | -0.046544 | 110.9535 | 0 | 0 | -69.0931 | -86.6064 | -86.6064 | 0 | 1.5277 | 1.5537 | 0.21717 | 1.5362 | 1.4264 | 0 | -142.4249 | 141.1953 | -39.9018 | -137.4907 | 142.5543
Line_2 | 0 | 0 | 0 | 0.0035002 | 0.0035002 | 0.0035002 | 0 | 0 | 0 | 0.040417 | 0.040417 | 0.040417 | 4.987e-10 | -2.7431e-09 | -2.1502e-09 | 0.0065518 | 0.034832 | -0.041349 | -5.5976e-10 | -1.8643e-09 | 2.2066e-09 | 0.0058404 | -0.051397 | -0.040169 | 0 | 0 | 0 | -81.6162 | -81.6162 | -81.6162 | 0.2166 | 1.5361 | 1.4269 | 0.21717 | 1.5362 | 1.4264 | -39.8472 | -137.5126 | 142.5451 | -39.9018 | -137.4907 | 142.5543

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3928 | 0.010497 | 0.010497 | 1.3896 | 0.0072286 | 0.0072286 | 16.0831 | 0.12121 | 0.12121 | 16.0453 | 0.083469 | 0.083469 | 6.1337 | 0.11876 | -0.10968 | -3.041 | -0.076633 | 0.08158 | 3.4182 | -0.14661 | -0.11276 | -1.7011 | 0.1028 | 0.086713 | -69.1402 | -81.5708 | -81.5708 | 110.8756 | 95.8076 | 95.8076 | 0.4366 | 1.5566 | 1.2978 | 0.21717 | 1.5362 | 1.4264 | -40.0101 | -132.5613 | 144.2222 | -39.9018 | -137.4907 | 142.5543
Line_1 | 1.3826 | 0 | 0 | 1.3861 | 0.0037353 | 0.0037353 | 15.9647 | 0 | 0 | 16.0059 | 0.043132 | 0.043132 | 4.5959e-11 | -2.8618e-09 | -3.0087e-09 | 3.0345 | 0.041802 | -0.040231 | -3.5979e-11 | -2.3506e-09 | 2.2657e-09 | 1.6953 | -0.051408 | -0.046544 | 110.9535 | 0 | 0 | -69.0931 | -86.6064 | -86.6064 | 0 | 1.5277 | 1.5537 | 0.21717 | 1.5362 | 1.4264 | 0 | -142.4249 | 141.1953 | -39.9018 | -137.4907 | 142.5543
Line_2 | 0 | 0 | 0 | 0.0035002 | 0.0035002 | 0.0035002 | 0 | 0 | 0 | 0.040417 | 0.040417 | 0.040417 | 4.987e-10 | -2.7431e-09 | -2.1502e-09 | 0.0065518 | 0.034832 | -0.041349 | -5.5976e-10 | -1.8643e-09 | 2.2066e-09 | 0.0058404 | -0.051397 | -0.040169 | 0 | 0 | 0 | -81.6162 | -81.6162 | -81.6162 | 0.2166 | 1.5361 | 1.4269 | 0.21717 | 1.5362 | 1.4264 | -39.8472 | -137.5126 | 142.5451 | -39.9018 | -137.4907 | 142.5543

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.8044 | 0.0060624 | 0.0060624 | 0.80251 | 0.0041747 | 0.0041747 | 9.2884 | 0.070002 | 0.070002 | 9.2665 | 0.048205 | 0.048205 | 5.252 | 0.05543 | -0.070779 | -4.2138 | -0.037397 | 0.05078 | 4.3568 | -0.079254 | -0.03613 | -3.7756 | 0.054671 | 0.028982 | -58.7046 | -71.1352 | -71.1352 | 121.3111 | 106.2431 | 106.2431 | 0.73467 | 1.3816 | 1.1352 | 0.61057 | 1.3741 | 1.2129 | -19.0273 | -126.1667 | 135.9076 | -16.8281 | -129.3835 | 135.9576
Line_1 | 0.79848 | 0 | 0 | 0.80053 | 0.0021572 | 0.0021572 | 9.22 | 0 | 0 | 9.2438 | 0.024909 | 0.024909 | -3.1878 | -1.4956e-09 | -1.0961e-09 | 4.2055 | 0.020497 | -0.025586 | -3.1878 | -1.2033e-09 | 1.4339e-09 | 3.7641 | -0.027412 | -0.016068 | 121.389 | 0 | 0 | -58.6576 | -76.1708 | -76.1708 | 0.48896 | 1.3711 | 1.2892 | 0.61057 | 1.3741 | 1.2129 | -13.611 | -132.5675 | 136.0074 | -16.8281 | -129.3835 | 135.9576
Line_2 | 0 | 0 | 0 | 0.0020214 | 0.0020214 | 0.0020214 | 0 | 0 | 0 | 0.023342 | 0.023342 | 0.023342 | 9.9067e-10 | -1.4549e-09 | -6.9234e-10 | 0.0083058 | 0.0169 | -0.025194 | -7.1187e-10 | -9.0492e-10 | 1.3452e-09 | 0.011581 | -0.02726 | -0.012914 | 0 | 0 | 0 | -71.1806 | -71.1806 | -71.1806 | 0.61028 | 1.374 | 1.2133 | 0.61057 | 1.3741 | 1.2129 | -16.8104 | -129.3978 | 135.956 | -16.8281 | -129.3835 | 135.9576

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.8044 | 0.0060624 | 0.0060624 | 0.80251 | 0.0041747 | 0.0041747 | 9.2884 | 0.070002 | 0.070002 | 9.2665 | 0.048205 | 0.048205 | 5.252 | 0.05543 | -0.070779 | -4.2138 | -0.037397 | 0.05078 | 4.3568 | -0.079254 | -0.03613 | -3.7756 | 0.054671 | 0.028982 | -58.7046 | -71.1352 | -71.1352 | 121.3111 | 106.2431 | 106.2431 | 0.73467 | 1.3816 | 1.1352 | 0.61057 | 1.3741 | 1.2129 | -19.0273 | -126.1667 | 135.9076 | -16.8281 | -129.3835 | 135.9576
Line_1 | 0.79848 | 0 | 0 | 0.80053 | 0.0021572 | 0.0021572 | 9.22 | 0 | 0 | 9.2438 | 0.024909 | 0.024909 | -3.1878 | -1.4956e-09 | -1.0961e-09 | 4.2055 | 0.020497 | -0.025586 | -3.1878 | -1.2033e-09 | 1.4339e-09 | 3.7641 | -0.027412 | -0.016068 | 121.389 | 0 | 0 | -58.6576 | -76.1708 | -76.1708 | 0.48896 | 1.3711 | 1.2892 | 0.61057 | 1.3741 | 1.2129 | -13.611 | -132.5675 | 136.0074 | -16.8281 | -129.3835 | 135.9576
Line_2 | 0 | 0 | 0 | 0.0020214 | 0.0020214 | 0.0020214 | 0 | 0 | 0 | 0.023342 | 0.023342 | 0.023342 | 9.9067e-10 | -1.4549e-09 | -6.9234e-10 | 0.0083058 | 0.0169 | -0.025194 | -7.1187e-10 | -9.0492e-10 | 1.3452e-09 | 0.011581 | -0.02726 | -0.012914 | 0 | 0 | 0 | -71.1806 | -71.1806 | -71.1806 | 0.61028 | 1.374 | 1.2133 | 0.61057 | 1.3741 | 1.2129 | -16.8104 | -129.3978 | 135.956 | -16.8281 | -129.3835 | 135.9576

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0916 | 0.0087169 | 0.0087169 | 1.089 | 0.0061509 | 0.0061509 | 12.6046 | 0.10065 | 0.10065 | 12.575 | 0.071025 | 0.071025 | 7.2333 | 0.090409 | -0.079631 | -3.5862 | -0.057947 | 0.063761 | 2.0904 | -0.10718 | -0.068705 | -1.0454 | 0.0786 | 0.060695 | -54.2926 | -77.2506 | -77.2506 | 125.7377 | 98.369 | 98.369 | 0.59735 | 1.3931 | 1.0449 | 0.29706 | 1.3749 | 1.2394 | -38.1734 | -127.1017 | 143.5367 | -38.0113 | -135.2317 | 141.9576
Line_1 | 1.0836 | 0 | 0 | 1.0864 | 0.0032598 | 0.0032598 | 12.512 | 0 | 0 | 12.5441 | 0.037641 | 0.037641 | -1.8315e-11 | -2.372e-09 | -2.6086e-09 | 3.5785 | 0.033422 | -0.031569 | -1.5489e-12 | -2.0066e-09 | 1.87e-09 | 1.039 | -0.039513 | -0.03435 | 125.8872 | 0 | 0 | -54.2022 | -85.4582 | -85.4582 | 0 | 1.3856 | 1.4314 | 0.29706 | 1.3749 | 1.2394 | 0 | -143.2631 | 140.8725 | -38.0113 | -135.2317 | 141.9576
Line_2 | 0 | 0 | 0 | 0.0029066 | 0.0029066 | 0.0029066 | 0 | 0 | 0 | 0.033562 | 0.033562 | 0.033562 | 5.35e-10 | -2.0658e-09 | -1.4218e-09 | 0.0077122 | 0.024525 | -0.032192 | -6.677e-10 | -1.3272e-09 | 1.699e-09 | 0.0063183 | -0.039087 | -0.026345 | 0 | 0 | 0 | -77.3377 | -77.3377 | -77.3377 | 0.29625 | 1.3746 | 1.2402 | 0.29706 | 1.3749 | 1.2394 | -37.9294 | -135.2673 | 141.938 | -38.0113 | -135.2317 | 141.9576

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0916 | 0.0087169 | 0.0087169 | 1.089 | 0.0061509 | 0.0061509 | 12.6046 | 0.10065 | 0.10065 | 12.575 | 0.071025 | 0.071025 | 7.2333 | 0.090409 | -0.079631 | -3.5862 | -0.057947 | 0.063761 | 2.0904 | -0.10718 | -0.068705 | -1.0454 | 0.0786 | 0.060695 | -54.2926 | -77.2506 | -77.2506 | 125.7377 | 98.369 | 98.369 | 0.59735 | 1.3931 | 1.0449 | 0.29706 | 1.3749 | 1.2394 | -38.1734 | -127.1017 | 143.5367 | -38.0113 | -135.2317 | 141.9576
Line_1 | 1.0836 | 0 | 0 | 1.0864 | 0.0032598 | 0.0032598 | 12.512 | 0 | 0 | 12.5441 | 0.037641 | 0.037641 | -1.8315e-11 | -2.372e-09 | -2.6086e-09 | 3.5785 | 0.033422 | -0.031569 | -1.5489e-12 | -2.0066e-09 | 1.87e-09 | 1.039 | -0.039513 | -0.03435 | 125.8872 | 0 | 0 | -54.2022 | -85.4582 | -85.4582 | 0 | 1.3856 | 1.4314 | 0.29706 | 1.3749 | 1.2394 | 0 | -143.2631 | 140.8725 | -38.0113 | -135.2317 | 141.9576
Line_2 | 0 | 0 | 0 | 0.0029066 | 0.0029066 | 0.0029066 | 0 | 0 | 0 | 0.033562 | 0.033562 | 0.033562 | 5.35e-10 | -2.0658e-09 | -1.4218e-09 | 0.0077122 | 0.024525 | -0.032192 | -6.677e-10 | -1.3272e-09 | 1.699e-09 | 0.0063183 | -0.039087 | -0.026345 | 0 | 0 | 0 | -77.3377 | -77.3377 | -77.3377 | 0.29625 | 1.3746 | 1.2402 | 0.29706 | 1.3749 | 1.2394 | -37.9294 | -135.2673 | 141.938 | -38.0113 | -135.2317 | 141.9576

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.65818 | 0.0052559 | 0.0052559 | 0.65663 | 0.0037087 | 0.0037087 | 7.6 | 0.06069 | 0.06069 | 7.5821 | 0.042825 | 0.042825 | 4.773 | 0.047864 | -0.052987 | -3.4432 | -0.032646 | 0.039907 | 2.9168 | -0.058063 | -0.028415 | -2.5307 | 0.041204 | 0.025779 | -50.6596 | -73.6176 | -73.6176 | 129.3707 | 102.002 | 102.002 | 0.73601 | 1.2399 | 0.99069 | 0.56358 | 1.2275 | 1.1094 | -19.2305 | -124.1175 | 134.5854 | -14.3145 | -129.6078 | 134.8641
Line_1 | 0.65334 | 0 | 0 | 0.65502 | 0.0019655 | 0.0019655 | 7.5441 | 0 | 0 | 7.5635 | 0.022696 | 0.022696 | -2.1343 | -1.1774e-09 | -1.1716e-09 | 3.4374 | 0.01872 | -0.02019 | -2.1343 | -1.1692e-09 | 1.1725e-09 | 2.5208 | -0.020633 | -0.015044 | 129.5202 | 0 | 0 | -50.5692 | -81.8253 | -81.8253 | 0.40009 | 1.2273 | 1.226 | 0.56358 | 1.2275 | 1.1094 | -5.4798 | -135.0592 | 135.119 | -14.3145 | -129.6078 | 134.8641
Line_2 | 0 | 0 | 0 | 0.0017525 | 0.0017525 | 0.0017525 | 0 | 0 | 0 | 0.020236 | 0.020236 | 0.020236 | 8.3826e-10 | -1.0865e-09 | -5.8336e-10 | 0.0058072 | 0.013926 | -0.019717 | -5.0914e-10 | -7.5294e-10 | 1.0434e-09 | 0.0098156 | -0.020571 | -0.010736 | 0 | 0 | 0 | -73.7047 | -73.7047 | -73.7047 | 0.56321 | 1.2273 | 1.1099 | 0.56358 | 1.2275 | 1.1094 | -14.2731 | -129.6315 | 134.8558 | -14.3145 | -129.6078 | 134.8641

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.65818 | 0.0052559 | 0.0052559 | 0.65663 | 0.0037087 | 0.0037087 | 7.6 | 0.06069 | 0.06069 | 7.5821 | 0.042825 | 0.042825 | 4.773 | 0.047864 | -0.052987 | -3.4432 | -0.032646 | 0.039907 | 2.9168 | -0.058063 | -0.028415 | -2.5307 | 0.041204 | 0.025779 | -50.6596 | -73.6176 | -73.6176 | 129.3707 | 102.002 | 102.002 | 0.73601 | 1.2399 | 0.99069 | 0.56358 | 1.2275 | 1.1094 | -19.2305 | -124.1175 | 134.5854 | -14.3145 | -129.6078 | 134.8641
Line_1 | 0.65334 | 0 | 0 | 0.65502 | 0.0019655 | 0.0019655 | 7.5441 | 0 | 0 | 7.5635 | 0.022696 | 0.022696 | -2.1343 | -1.1774e-09 | -1.1716e-09 | 3.4374 | 0.01872 | -0.02019 | -2.1343 | -1.1692e-09 | 1.1725e-09 | 2.5208 | -0.020633 | -0.015044 | 129.5202 | 0 | 0 | -50.5692 | -81.8253 | -81.8253 | 0.40009 | 1.2273 | 1.226 | 0.56358 | 1.2275 | 1.1094 | -5.4798 | -135.0592 | 135.119 | -14.3145 | -129.6078 | 134.8641
Line_2 | 0 | 0 | 0 | 0.0017525 | 0.0017525 | 0.0017525 | 0 | 0 | 0 | 0.020236 | 0.020236 | 0.020236 | 8.3826e-10 | -1.0865e-09 | -5.8336e-10 | 0.0058072 | 0.013926 | -0.019717 | -5.0914e-10 | -7.5294e-10 | 1.0434e-09 | 0.0098156 | -0.020571 | -0.010736 | 0 | 0 | 0 | -73.7047 | -73.7047 | -73.7047 | 0.56321 | 1.2273 | 1.1099 | 0.56358 | 1.2275 | 1.1094 | -14.2731 | -129.6315 | 134.8558 | -14.3145 | -129.6078 | 134.8641

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0065574 | 3.0516 | 3.0026 | 0.0045156 | 3.0514 | 3.0022 | 0.075718 | 35.2371 | 34.671 | 0.052141 | 35.235 | 34.6662 | -0.0076067 | 12.3291 | 8.3493 | 0.0056374 | -6.1567 | -4.1705 | -0.10711 | 5.7799 | 16.2936 | 0.076142 | -2.9104 | -8.1224 | 99.1136 | -170.0317 | 26.5907 | -83.508 | 10.0068 | -153.4478 | 1.4182 | 0.38643 | 0.52806 | 1.4643 | 0.19327 | 0.26338 | 5.0514 | -144.9145 | 89.4586 | 2.2576 | -144.6919 | 89.3735
Line_1 | 0 | 3.0517 | 3.0006 | 0.0023334 | 3.0515 | 3.0015 | 0 | 35.2383 | 34.6484 | 0.026943 | 35.2355 | 34.6586 | -2.2908e-09 | 8.5187e-11 | 1.0231e-10 | -0.0012532 | 6.1589 | 4.164 | -3.3124e-11 | -6.4447e-11 | 1.0756e-11 | -0.039433 | 2.9061 | 8.1235 | 0 | 10.0914 | -153.5287 | 94.078 | -169.9521 | 26.5124 | 1.5129 | 0 | 0 | 1.4643 | 0.19327 | 0.26338 | -0.31083 | 0 | 0 | 2.2576 | -144.6919 | 89.3735
Line_2 | 0 | 0 | 0 | 0.0021865 | 0.0021865 | 0.0021865 | 0 | 0 | 0 | 0.025247 | 0.025247 | 0.025247 | -1.9617e-09 | 5.7199e-10 | 6.5886e-10 | -0.0043841 | -0.0021574 | 0.0065548 | 2.3133e-10 | -3.2432e-10 | -5.4121e-10 | -0.036709 | 0.0043768 | -0.0011198 | 0 | 0 | 0 | 99.0682 | 99.0682 | 99.0682 | 1.4645 | 0.1933 | 0.26306 | 1.4643 | 0.19327 | 0.26338 | 2.2447 | -144.5806 | 89.3308 | 2.2576 | -144.6919 | 89.3735

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0065574 | 3.0516 | 3.0026 | 0.0045156 | 3.0514 | 3.0022 | 0.075718 | 35.2371 | 34.671 | 0.052141 | 35.235 | 34.6662 | -0.0076067 | 12.3291 | 8.3493 | 0.0056374 | -6.1567 | -4.1705 | -0.10711 | 5.7799 | 16.2936 | 0.076142 | -2.9104 | -8.1224 | 99.1136 | -170.0317 | 26.5907 | -83.508 | 10.0068 | -153.4478 | 1.4182 | 0.38643 | 0.52806 | 1.4643 | 0.19327 | 0.26338 | 5.0514 | -144.9145 | 89.4586 | 2.2576 | -144.6919 | 89.3735
Line_1 | 0 | 3.0517 | 3.0006 | 0.0023334 | 3.0515 | 3.0015 | 0 | 35.2383 | 34.6484 | 0.026943 | 35.2355 | 34.6586 | -2.2908e-09 | 8.5187e-11 | 1.0231e-10 | -0.0012532 | 6.1589 | 4.164 | -3.3124e-11 | -6.4447e-11 | 1.0756e-11 | -0.039433 | 2.9061 | 8.1235 | 0 | 10.0914 | -153.5287 | 94.078 | -169.9521 | 26.5124 | 1.5129 | 0 | 0 | 1.4643 | 0.19327 | 0.26338 | -0.31083 | 0 | 0 | 2.2576 | -144.6919 | 89.3735
Line_2 | 0 | 0 | 0 | 0.0021865 | 0.0021865 | 0.0021865 | 0 | 0 | 0 | 0.025247 | 0.025247 | 0.025247 | -1.9617e-09 | 5.7199e-10 | 6.5886e-10 | -0.0043841 | -0.0021574 | 0.0065548 | 2.3133e-10 | -3.2432e-10 | -5.4121e-10 | -0.036709 | 0.0043768 | -0.0011198 | 0 | 0 | 0 | 99.0682 | 99.0682 | 99.0682 | 1.4645 | 0.1933 | 0.26306 | 1.4643 | 0.19327 | 0.26338 | 2.2447 | -144.5806 | 89.3308 | 2.2576 | -144.6919 | 89.3735

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0045101 | 1.0564 | 1.1264 | 0.0031057 | 1.0564 | 1.1257 | 0.052078 | 12.1987 | 13.006 | 0.035862 | 12.1979 | 12.9981 | -0.01377 | 7.3053 | 7.8474 | 0.0091605 | -6.4366 | -7.0842 | -0.06665 | 5.6612 | 9.2772 | 0.047333 | -5.6303 | -7.7891 | 106.6486 | -160.5391 | 51.3193 | -75.973 | 19.5375 | -128.7437 | 1.3068 | 0.75763 | 0.93427 | 1.3444 | 0.70107 | 0.81003 | 4.9754 | -122.7651 | 101.0921 | 3.0737 | -119.2852 | 98.9697
Line_1 | 0 | 1.0567 | 1.1238 | 0.0016048 | 1.0564 | 1.1248 | 0 | 12.2014 | 12.9765 | 0.018531 | 12.1988 | 12.9883 | -1.4343e-09 | -5.5828 | -6.3146 | -0.0036992 | 6.445 | 7.0703 | 1.2763e-10 | -5.5828 | -6.3146 | -0.024636 | 5.6215 | 7.791 | 0 | 19.7052 | -128.8698 | 101.613 | -160.381 | 51.1932 | 1.3826 | 0.64708 | 0.68818 | 1.3444 | 0.70107 | 0.81003 | 1.3114 | -115.2948 | 96.1302 | 3.0737 | -119.2852 | 98.9697
Line_2 | 0 | 0 | 0 | 0.0015038 | 0.0015038 | 0.0015038 | 0 | 0 | 0 | 0.017365 | 0.017365 | 0.017365 | -1.2131e-09 | 1.0251e-09 | 6.4392e-10 | -0.0054613 | -0.0084737 | 0.013941 | 2.8992e-10 | 3.6247e-11 | -1.1726e-09 | -0.022696 | 0.0087406 | -0.0018685 | 0 | 0 | 0 | 106.6033 | 106.6033 | 106.6033 | 1.3445 | 0.70117 | 0.8098 | 1.3444 | 0.70107 | 0.81003 | 3.0647 | -119.2656 | 98.9608 | 3.0737 | -119.2852 | 98.9697

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0045101 | 1.0564 | 1.1264 | 0.0031057 | 1.0564 | 1.1257 | 0.052078 | 12.1987 | 13.006 | 0.035862 | 12.1979 | 12.9981 | -0.01377 | 7.3053 | 7.8474 | 0.0091605 | -6.4366 | -7.0842 | -0.06665 | 5.6612 | 9.2772 | 0.047333 | -5.6303 | -7.7891 | 106.6486 | -160.5391 | 51.3193 | -75.973 | 19.5375 | -128.7437 | 1.3068 | 0.75763 | 0.93427 | 1.3444 | 0.70107 | 0.81003 | 4.9754 | -122.7651 | 101.0921 | 3.0737 | -119.2852 | 98.9697
Line_1 | 0 | 1.0567 | 1.1238 | 0.0016048 | 1.0564 | 1.1248 | 0 | 12.2014 | 12.9765 | 0.018531 | 12.1988 | 12.9883 | -1.4343e-09 | -5.5828 | -6.3146 | -0.0036992 | 6.445 | 7.0703 | 1.2763e-10 | -5.5828 | -6.3146 | -0.024636 | 5.6215 | 7.791 | 0 | 19.7052 | -128.8698 | 101.613 | -160.381 | 51.1932 | 1.3826 | 0.64708 | 0.68818 | 1.3444 | 0.70107 | 0.81003 | 1.3114 | -115.2948 | 96.1302 | 3.0737 | -119.2852 | 98.9697
Line_2 | 0 | 0 | 0 | 0.0015038 | 0.0015038 | 0.0015038 | 0 | 0 | 0 | 0.017365 | 0.017365 | 0.017365 | -1.2131e-09 | 1.0251e-09 | 6.4392e-10 | -0.0054613 | -0.0084737 | 0.013941 | 2.8992e-10 | 3.6247e-11 | -1.1726e-09 | -0.022696 | 0.0087406 | -0.0018685 | 0 | 0 | 0 | 106.6033 | 106.6033 | 106.6033 | 1.3445 | 0.70117 | 0.8098 | 1.3444 | 0.70107 | 0.81003 | 3.0647 | -119.2656 | 98.9608 | 3.0737 | -119.2852 | 98.9697

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054115 | 2.4594 | 2.3837 | 0.0038185 | 2.4593 | 2.3833 | 0.062486 | 28.3983 | 27.5243 | 0.044092 | 28.3977 | 27.5197 | -0.0088383 | 14.708 | 10.5989 | 0.006553 | -7.3523 | -5.2872 | -0.075585 | 0.80551 | 13.3079 | 0.056764 | -0.42997 | -6.626 | 104.0746 | -157.5014 | 38.606 | -80.3058 | 22.5365 | -141.432 | 1.2179 | 0.51869 | 0.6181 | 1.2959 | 0.25935 | 0.30803 | 7.4051 | -154.3667 | 90.0708 | 3.1089 | -154.1166 | 89.9797
Line_1 | 0 | 2.4602 | 2.3814 | 0.0020237 | 2.4596 | 2.3825 | 0 | 28.4075 | 27.4984 | 0.023368 | 28.4008 | 27.511 | -1.9195e-09 | -1.3656e-10 | -2.3719e-11 | -0.0014571 | 7.3534 | 5.281 | -5.2642e-11 | -1.0805e-10 | -1.6763e-10 | -0.030248 | 0.42468 | 6.6275 | 0 | 22.6232 | -141.5124 | 95.8669 | -157.4219 | 38.5285 | 1.3794 | 0 | 0 | 1.2959 | 0.25935 | 0.30803 | -0.59632 | 0 | 0 | 3.1089 | -154.1166 | 89.9797
Line_2 | 0 | 0 | 0 | 0.0018044 | 0.0018044 | 0.0018044 | 0 | 0 | 0 | 0.020835 | 0.020835 | 0.020835 | -1.4144e-09 | 5.4182e-10 | 6.2911e-10 | -0.0050959 | -0.0011139 | 0.0062271 | 2.5584e-10 | -5.3165e-10 | -5.6491e-10 | -0.026516 | 0.0052875 | -0.0015535 | 0 | 0 | 0 | 103.9874 | 103.9874 | 103.9874 | 1.2962 | 0.25935 | 0.30752 | 1.2959 | 0.25935 | 0.30803 | 3.0858 | -153.9915 | 89.934 | 3.1089 | -154.1166 | 89.9797

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054115 | 2.4594 | 2.3837 | 0.0038185 | 2.4593 | 2.3833 | 0.062486 | 28.3983 | 27.5243 | 0.044092 | 28.3977 | 27.5197 | -0.0088383 | 14.708 | 10.5989 | 0.006553 | -7.3523 | -5.2872 | -0.075585 | 0.80551 | 13.3079 | 0.056764 | -0.42997 | -6.626 | 104.0746 | -157.5014 | 38.606 | -80.3058 | 22.5365 | -141.432 | 1.2179 | 0.51869 | 0.6181 | 1.2959 | 0.25935 | 0.30803 | 7.4051 | -154.3667 | 90.0708 | 3.1089 | -154.1166 | 89.9797
Line_1 | 0 | 2.4602 | 2.3814 | 0.0020237 | 2.4596 | 2.3825 | 0 | 28.4075 | 27.4984 | 0.023368 | 28.4008 | 27.511 | -1.9195e-09 | -1.3656e-10 | -2.3719e-11 | -0.0014571 | 7.3534 | 5.281 | -5.2642e-11 | -1.0805e-10 | -1.6763e-10 | -0.030248 | 0.42468 | 6.6275 | 0 | 22.6232 | -141.5124 | 95.8669 | -157.4219 | 38.5285 | 1.3794 | 0 | 0 | 1.2959 | 0.25935 | 0.30803 | -0.59632 | 0 | 0 | 3.1089 | -154.1166 | 89.9797
Line_2 | 0 | 0 | 0 | 0.0018044 | 0.0018044 | 0.0018044 | 0 | 0 | 0 | 0.020835 | 0.020835 | 0.020835 | -1.4144e-09 | 5.4182e-10 | 6.2911e-10 | -0.0050959 | -0.0011139 | 0.0062271 | 2.5584e-10 | -5.3165e-10 | -5.6491e-10 | -0.026516 | 0.0052875 | -0.0015535 | 0 | 0 | 0 | 103.9874 | 103.9874 | 103.9874 | 1.2962 | 0.25935 | 0.30752 | 1.2959 | 0.25935 | 0.30803 | 3.0858 | -153.9915 | 89.934 | 3.1089 | -154.1166 | 89.9797

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00384 | 0.92649 | 0.93038 | 0.0027096 | 0.92645 | 0.92984 | 0.044341 | 10.6982 | 10.7431 | 0.031288 | 10.6977 | 10.7369 | -0.0092768 | 6.7034 | 6.2953 | 0.0060471 | -5.4943 | -5.2999 | -0.050089 | 3.6363 | 7.1498 | 0.037306 | -3.9757 | -5.7211 | 106.3445 | -155.5515 | 54.6913 | -78.0359 | 24.52 | -125.3717 | 1.1489 | 0.71285 | 0.88673 | 1.2079 | 0.63396 | 0.72635 | 5.8518 | -127.0738 | 103.3275 | 2.7569 | -119.5903 | 101.8172
Line_1 | 0 | 0.92704 | 0.92801 | 0.001436 | 0.92663 | 0.92905 | 0 | 10.7045 | 10.7157 | 0.016582 | 10.6998 | 10.7277 | -1.2539e-09 | -4.297 | -4.306 | -0.0018779 | 5.5008 | 5.2892 | 1.7687e-12 | -4.297 | -4.306 | -0.019941 | 3.969 | 5.722 | 0 | 24.6835 | -125.4947 | 98.1369 | -155.4016 | 54.5664 | 1.2694 | 0.56769 | 0.56829 | 1.2079 | 0.63396 | 0.72635 | 0.021805 | -110.3165 | 99.5053 | 2.7569 | -119.5903 | 101.8172
Line_2 | 0 | 0 | 0 | 0.0012804 | 0.0012804 | 0.0012804 | 0 | 0 | 0 | 0.014785 | 0.014785 | 0.014785 | -9.2675e-10 | 8.5059e-10 | 5.9639e-10 | -0.0041692 | -0.0065289 | 0.010707 | 2.1173e-10 | 1.7872e-11 | -8.3103e-10 | -0.017365 | 0.006725 | -0.0008314 | 0 | 0 | 0 | 106.2574 | 106.2574 | 106.2574 | 1.2081 | 0.63417 | 0.72597 | 1.2079 | 0.63396 | 0.72635 | 2.7397 | -119.5597 | 101.8084 | 2.7569 | -119.5903 | 101.8172

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00384 | 0.92649 | 0.93038 | 0.0027096 | 0.92645 | 0.92984 | 0.044341 | 10.6982 | 10.7431 | 0.031288 | 10.6977 | 10.7369 | -0.0092768 | 6.7034 | 6.2953 | 0.0060471 | -5.4943 | -5.2999 | -0.050089 | 3.6363 | 7.1498 | 0.037306 | -3.9757 | -5.7211 | 106.3445 | -155.5515 | 54.6913 | -78.0359 | 24.52 | -125.3717 | 1.1489 | 0.71285 | 0.88673 | 1.2079 | 0.63396 | 0.72635 | 5.8518 | -127.0738 | 103.3275 | 2.7569 | -119.5903 | 101.8172
Line_1 | 0 | 0.92704 | 0.92801 | 0.001436 | 0.92663 | 0.92905 | 0 | 10.7045 | 10.7157 | 0.016582 | 10.6998 | 10.7277 | -1.2539e-09 | -4.297 | -4.306 | -0.0018779 | 5.5008 | 5.2892 | 1.7687e-12 | -4.297 | -4.306 | -0.019941 | 3.969 | 5.722 | 0 | 24.6835 | -125.4947 | 98.1369 | -155.4016 | 54.5664 | 1.2694 | 0.56769 | 0.56829 | 1.2079 | 0.63396 | 0.72635 | 0.021805 | -110.3165 | 99.5053 | 2.7569 | -119.5903 | 101.8172
Line_2 | 0 | 0 | 0 | 0.0012804 | 0.0012804 | 0.0012804 | 0 | 0 | 0 | 0.014785 | 0.014785 | 0.014785 | -9.2675e-10 | 8.5059e-10 | 5.9639e-10 | -0.0041692 | -0.0065289 | 0.010707 | 2.1173e-10 | 1.7872e-11 | -8.3103e-10 | -0.017365 | 0.006725 | -0.0008314 | 0 | 0 | 0 | 106.2574 | 106.2574 | 106.2574 | 1.2081 | 0.63417 | 0.72597 | 1.2079 | 0.63396 | 0.72635 | 2.7397 | -119.5597 | 101.8084 | 2.7569 | -119.5903 | 101.8172