## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -1.0421e-14 | 27.4008 | -8.7391 | -7.2827e-29 | -22.7354 | 13.4045 | -1.5632e-14 | 4.6417 | 16.5321 | 1.0421e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 4.0948e-13 | -152.1736 | 136.0734 | 4.004e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | 5.2106e-15 | -18.0699 | 18.0699 | -1.5632e-14 | 22.7354 | -13.4045 | 5.2106e-15 | 5.9452 | -5.9452 | -1.0421e-14 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 4.0655e-13 | 180 | -180 | 4.004e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4051e-10 | 6.6441e-10 | -1.5632e-14 | -3.405e-10 | -6.6441e-10 | 0 | -1.8234e-09 | 1.2624e-09 | 5.2106e-15 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 4.0161e-13 | -163.4303 | 158.2346 | 4.004e-13 | -163.4303 | 158.2346

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -1.0421e-14 | 27.4008 | -8.7391 | -7.2827e-29 | -22.7354 | 13.4045 | -1.5632e-14 | 4.6417 | 16.5321 | 1.0421e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 4.0948e-13 | -152.1736 | 136.0734 | 4.004e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | 5.2106e-15 | -18.0699 | 18.0699 | -1.5632e-14 | 22.7354 | -13.4045 | 5.2106e-15 | 5.9452 | -5.9452 | -1.0421e-14 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 4.0655e-13 | 180 | -180 | 4.004e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4051e-10 | 6.6441e-10 | -1.5632e-14 | -3.405e-10 | -6.6441e-10 | 0 | -1.8234e-09 | 1.2624e-09 | 5.2106e-15 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 4.0161e-13 | -163.4303 | 158.2346 | 4.004e-13 | -163.4303 | 158.2346

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | 1.0421e-14 | 17.2205 | 0.20321 | -1.5632e-14 | -15.9408 | 1.0765 | -1.3027e-14 | 3.8735 | 14.2393 | 1.0421e-14 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 1.9823e-13 | -135.9762 | 120.5292 | 1.9394e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | 5.2106e-15 | -14.6611 | 2.3562 | -1.3027e-14 | 15.9408 | -1.0765 | -5.2106e-15 | -0.96958 | -11.3353 | -2.6053e-15 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 1.9814e-13 | -144.8696 | 133.0893 | 1.9394e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.6819e-10 | 1.0007e-09 | -1.0421e-14 | -4.6818e-10 | -1.0007e-09 | -7.816e-15 | -1.2288e-09 | 3.0654e-10 | -3.5275e-29 | 1.2288e-09 | -3.0654e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 1.9496e-13 | -140.0155 | 126.1589 | 1.9394e-13 | -140.0155 | 126.1589

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | 1.0421e-14 | 17.2205 | 0.20321 | -1.5632e-14 | -15.9408 | 1.0765 | -1.3027e-14 | 3.8735 | 14.2393 | 1.0421e-14 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 1.9823e-13 | -135.9762 | 120.5292 | 1.9394e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | 5.2106e-15 | -14.6611 | 2.3562 | -1.3027e-14 | 15.9408 | -1.0765 | -5.2106e-15 | -0.96958 | -11.3353 | -2.6053e-15 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 1.9814e-13 | -144.8696 | 133.0893 | 1.9394e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.6819e-10 | 1.0007e-09 | -1.0421e-14 | -4.6818e-10 | -1.0007e-09 | -7.816e-15 | -1.2288e-09 | 3.0654e-10 | -3.5275e-29 | 1.2288e-09 | -3.0654e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 1.9496e-13 | -140.0155 | 126.1589 | 1.9394e-13 | -140.0155 | 126.1589

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.3027e-14 | 23.4155 | -0.45749 | 1.3027e-14 | -17.676 | 6.197 | -1.1252e-28 | -0.22679 | 13.7937 | 1.2375e-28 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 4.949e-13 | -150.1294 | 122.3252 | 5.443e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | 7.1054e-15 | -11.9365 | 11.9365 | -7.1054e-15 | 17.676 | -6.197 | -4.737e-15 | 7.0103 | -7.0103 | 4.737e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 5.3995e-13 | -180 | 180 | 5.443e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5527e-15 | 2.4222e-10 | 6.7019e-10 | -5.9212e-15 | -2.4221e-10 | -6.7019e-10 | -2.3685e-15 | -1.5722e-09 | 8.3092e-10 | 2.3685e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 5.2925e-13 | -161.1438 | 151.2099 | 5.443e-13 | -161.1438 | 151.2099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.3027e-14 | 23.4155 | -0.45749 | 1.3027e-14 | -17.676 | 6.197 | -1.1252e-28 | -0.22679 | 13.7937 | 1.2375e-28 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 4.949e-13 | -150.1294 | 122.3252 | 5.443e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | 7.1054e-15 | -11.9365 | 11.9365 | -7.1054e-15 | 17.676 | -6.197 | -4.737e-15 | 7.0103 | -7.0103 | 4.737e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 5.3995e-13 | -180 | 180 | 5.443e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5527e-15 | 2.4222e-10 | 6.7019e-10 | -5.9212e-15 | -2.4221e-10 | -6.7019e-10 | -2.3685e-15 | -1.5722e-09 | 8.3092e-10 | 2.3685e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 5.2925e-13 | -161.1438 | 151.2099 | 5.443e-13 | -161.1438 | 151.2099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -6.5133e-15 | 13.7181 | 1.6719 | 7.1054e-15 | -12.0096 | 0.036546 | -2.3685e-15 | 1.7406 | 10.8539 | 2.3685e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 2.5444e-13 | -135.6599 | 118.3519 | 2.7976e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -5.9212e-16 | -10.3011 | 1.745 | 5.9212e-16 | 12.0096 | -0.036546 | 4.737e-15 | 0.27863 | -8.8347 | -2.3685e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 2.7764e-13 | -144.4405 | 138.2821 | 2.7976e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 4.2827e-10 | 8.1277e-10 | -5.9212e-16 | -4.2827e-10 | -8.1277e-10 | 4.737e-15 | -9.7051e-10 | 3.0454e-10 | -2.3685e-15 | 9.7051e-10 | -3.0454e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 2.7162e-13 | -139.408 | 127.3216 | 2.7976e-13 | -139.408 | 127.3216

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -6.5133e-15 | 13.7181 | 1.6719 | 7.1054e-15 | -12.0096 | 0.036546 | -2.3685e-15 | 1.7406 | 10.8539 | 2.3685e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 2.5444e-13 | -135.6599 | 118.3519 | 2.7976e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -5.9212e-16 | -10.3011 | 1.745 | 5.9212e-16 | 12.0096 | -0.036546 | 4.737e-15 | 0.27863 | -8.8347 | -2.3685e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 2.7764e-13 | -144.4405 | 138.2821 | 2.7976e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 4.2827e-10 | 8.1277e-10 | -5.9212e-16 | -4.2827e-10 | -8.1277e-10 | 4.737e-15 | -9.7051e-10 | 3.0454e-10 | -2.3685e-15 | 9.7051e-10 | -3.0454e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 2.7162e-13 | -139.408 | 127.3216 | 2.7976e-13 | -139.408 | 127.3216

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4287 | 0.011524 | 0.011524 | 1.4285 | 0.008074 | 0.008074 | 16.4967 | 0.13307 | 0.13307 | 16.4946 | 0.09323 | 0.09323 | 6.442 | 0.12417 | -0.11796 | -3.2152 | -0.087797 | 0.082561 | 3.5933 | -0.11297 | -0.18815 | -1.8081 | 0.092939 | 0.14323 | -22.3081 | -107.2494 | -107.2494 | 157.8302 | 73.5517 | 73.5517 | 0.44714 | 1.2615 | 1.6688 | 0.22363 | 1.3713 | 1.7733 | 6.8439 | -149.5464 | 130.6646 | 7.1827 | -153.0777 | 133.5922
Line_1 | 1.4277 | 0 | 0 | 1.4282 | 0.0042321 | 0.0042321 | 16.4855 | 0 | 0 | 16.4909 | 0.048869 | 0.048869 | 1.7233e-12 | -3.2505e-09 | -5.6783e-09 | 3.2193 | 0.045363 | -0.044279 | -2.4984e-11 | -3.5223e-09 | 2.1207e-09 | 1.7991 | -0.049329 | -0.074492 | 158.1526 | 0 | 0 | -22.0162 | -105.6797 | -105.6797 | 0 | 1.4865 | 1.8799 | 0.22363 | 1.3713 | 1.7733 | 0 | -155.9797 | 136.2419 | 7.1827 | -153.0777 | 133.5922
Line_2 | 0 | 0 | 0 | 0.0038426 | 0.0038426 | 0.0038426 | 0 | 0 | 0 | 0.044371 | 0.044371 | 0.044371 | 7.1127e-10 | -2.2605e-09 | -4.5823e-09 | -0.0041114 | 0.042434 | -0.038282 | 1.1544e-10 | -3.0202e-09 | 1.6797e-09 | 0.009031 | -0.04361 | -0.068742 | 0 | 0 | 0 | -107.2948 | -107.2948 | -107.2948 | 0.22367 | 1.3711 | 1.7738 | 0.22363 | 1.3713 | 1.7733 | 7.352 | -153.1033 | 133.5787 | 7.1827 | -153.0777 | 133.5922

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4287 | 0.011524 | 0.011524 | 1.4285 | 0.008074 | 0.008074 | 16.4967 | 0.13307 | 0.13307 | 16.4946 | 0.09323 | 0.09323 | 6.442 | 0.12417 | -0.11796 | -3.2152 | -0.087797 | 0.082561 | 3.5933 | -0.11297 | -0.18815 | -1.8081 | 0.092939 | 0.14323 | -22.3081 | -107.2494 | -107.2494 | 157.8302 | 73.5517 | 73.5517 | 0.44714 | 1.2615 | 1.6688 | 0.22363 | 1.3713 | 1.7733 | 6.8439 | -149.5464 | 130.6646 | 7.1827 | -153.0777 | 133.5922
Line_1 | 1.4277 | 0 | 0 | 1.4282 | 0.0042321 | 0.0042321 | 16.4855 | 0 | 0 | 16.4909 | 0.048869 | 0.048869 | 1.7233e-12 | -3.2505e-09 | -5.6783e-09 | 3.2193 | 0.045363 | -0.044279 | -2.4984e-11 | -3.5223e-09 | 2.1207e-09 | 1.7991 | -0.049329 | -0.074492 | 158.1526 | 0 | 0 | -22.0162 | -105.6797 | -105.6797 | 0 | 1.4865 | 1.8799 | 0.22363 | 1.3713 | 1.7733 | 0 | -155.9797 | 136.2419 | 7.1827 | -153.0777 | 133.5922
Line_2 | 0 | 0 | 0 | 0.0038426 | 0.0038426 | 0.0038426 | 0 | 0 | 0 | 0.044371 | 0.044371 | 0.044371 | 7.1127e-10 | -2.2605e-09 | -4.5823e-09 | -0.0041114 | 0.042434 | -0.038282 | 1.1544e-10 | -3.0202e-09 | 1.6797e-09 | 0.009031 | -0.04361 | -0.068742 | 0 | 0 | 0 | -107.2948 | -107.2948 | -107.2948 | 0.22367 | 1.3711 | 1.7738 | 0.22363 | 1.3713 | 1.7733 | 7.352 | -153.1033 | 133.5787 | 7.1827 | -153.0777 | 133.5922

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81231 | 0.0065525 | 0.0065525 | 0.8122 | 0.0045907 | 0.0045907 | 9.3797 | 0.075661 | 0.075661 | 9.3785 | 0.053009 | 0.053009 | 5.3529 | 0.077134 | -0.050751 | -4.3173 | -0.054365 | 0.035875 | 4.485 | -0.029731 | -0.096259 | -3.8996 | 0.025651 | 0.071003 | -32.5428 | -117.4841 | -117.4841 | 147.5955 | 63.317 | 63.317 | 0.74453 | 1.0926 | 1.4382 | 0.62033 | 1.134 | 1.5007 | 7.4154 | -138.563 | 124.7161 | 9.685 | -141.942 | 126.5112
Line_1 | 0.81175 | 0 | 0 | 0.81202 | 0.0024063 | 0.0024063 | 9.3733 | 0 | 0 | 9.3764 | 0.027786 | 0.027786 | -3.2947 | -7.9304e-10 | -2.7216e-09 | 4.3268 | 0.028313 | -0.019302 | -3.2947 | -2.0128e-09 | 8.9939e-10 | 3.8871 | -0.013826 | -0.036962 | 147.9179 | 0 | 0 | -32.2509 | -115.9144 | -115.9144 | 0.4971 | 1.1801 | 1.5635 | 0.62033 | 1.134 | 1.5007 | 12.9179 | -145.0175 | 128.1996 | 9.685 | -141.942 | 126.5112
Line_2 | 0 | 0 | 0 | 0.0021848 | 0.0021848 | 0.0021848 | 0 | 0 | 0 | 0.025228 | 0.025228 | 0.025228 | 1.0551e-09 | -4.7192e-10 | -2.2459e-09 | -0.0094651 | 0.026051 | -0.016573 | 4.2242e-10 | -1.7097e-09 | 6.8548e-10 | 0.012463 | -0.011824 | -0.034041 | 0 | 0 | 0 | -117.5295 | -117.5295 | -117.5295 | 0.62043 | 1.1337 | 1.501 | 0.62033 | 1.134 | 1.5007 | 9.7184 | -141.9557 | 126.5015 | 9.685 | -141.942 | 126.5112

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81231 | 0.0065525 | 0.0065525 | 0.8122 | 0.0045907 | 0.0045907 | 9.3797 | 0.075661 | 0.075661 | 9.3785 | 0.053009 | 0.053009 | 5.3529 | 0.077134 | -0.050751 | -4.3173 | -0.054365 | 0.035875 | 4.485 | -0.029731 | -0.096259 | -3.8996 | 0.025651 | 0.071003 | -32.5428 | -117.4841 | -117.4841 | 147.5955 | 63.317 | 63.317 | 0.74453 | 1.0926 | 1.4382 | 0.62033 | 1.134 | 1.5007 | 7.4154 | -138.563 | 124.7161 | 9.685 | -141.942 | 126.5112
Line_1 | 0.81175 | 0 | 0 | 0.81202 | 0.0024063 | 0.0024063 | 9.3733 | 0 | 0 | 9.3764 | 0.027786 | 0.027786 | -3.2947 | -7.9304e-10 | -2.7216e-09 | 4.3268 | 0.028313 | -0.019302 | -3.2947 | -2.0128e-09 | 8.9939e-10 | 3.8871 | -0.013826 | -0.036962 | 147.9179 | 0 | 0 | -32.2509 | -115.9144 | -115.9144 | 0.4971 | 1.1801 | 1.5635 | 0.62033 | 1.134 | 1.5007 | 12.9179 | -145.0175 | 128.1996 | 9.685 | -141.942 | 126.5112
Line_2 | 0 | 0 | 0 | 0.0021848 | 0.0021848 | 0.0021848 | 0 | 0 | 0 | 0.025228 | 0.025228 | 0.025228 | 1.0551e-09 | -4.7192e-10 | -2.2459e-09 | -0.0094651 | 0.026051 | -0.016573 | 4.2242e-10 | -1.7097e-09 | 6.8548e-10 | 0.012463 | -0.011824 | -0.034041 | 0 | 0 | 0 | -117.5295 | -117.5295 | -117.5295 | 0.62043 | 1.1337 | 1.501 | 0.62033 | 1.134 | 1.5007 | 9.7184 | -141.9557 | 126.5015 | 9.685 | -141.942 | 126.5112

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.99132 | 0.009437 | 0.009437 | 0.9912 | 0.0068014 | 0.0068014 | 11.4468 | 0.10897 | 0.10897 | 11.4454 | 0.078536 | 0.078536 | 5.9569 | 0.094028 | -0.089843 | -2.9743 | -0.06785 | 0.064948 | 1.7195 | -0.077754 | -0.12035 | -0.87351 | 0.070542 | 0.10002 | -17.103 | -103.0427 | -103.0427 | 163.0492 | 77.4858 | 77.4858 | 0.54164 | 1.1197 | 1.3782 | 0.27084 | 1.2463 | 1.5185 | -1.0017 | -142.631 | 130.2149 | -0.58407 | -148.6287 | 134.4875
Line_1 | 0.9907 | 0 | 0 | 0.991 | 0.0036551 | 0.0036551 | 11.4396 | 0 | 0 | 11.4431 | 0.042206 | 0.042206 | -4.6682e-12 | -2.796e-09 | -4.3463e-09 | 2.9764 | 0.03611 | -0.035399 | 2.8304e-12 | -2.7922e-09 | 1.8971e-09 | 0.8639 | -0.038245 | -0.053424 | 163.4414 | 0 | 0 | -16.7692 | -101.9842 | -101.9842 | 0 | 1.3858 | 1.6631 | 0.27084 | 1.2463 | 1.5185 | 0 | -153.3341 | 138.1249 | -0.58407 | -148.6287 | 134.4875
Line_2 | 0 | 0 | 0 | 0.0031467 | 0.0031467 | 0.0031467 | 0 | 0 | 0 | 0.036334 | 0.036334 | 0.036334 | 7.2412e-10 | -1.6822e-09 | -3.0682e-09 | -0.0021376 | 0.031739 | -0.029549 | -6.5035e-12 | -2.1912e-09 | 1.391e-09 | 0.009606 | -0.032297 | -0.046593 | 0 | 0 | 0 | -103.1298 | -103.1298 | -103.1298 | 0.27086 | 1.2457 | 1.5191 | 0.27084 | 1.2463 | 1.5185 | -0.37524 | -148.6669 | 134.4607 | -0.58407 | -148.6287 | 134.4875

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.99132 | 0.009437 | 0.009437 | 0.9912 | 0.0068014 | 0.0068014 | 11.4468 | 0.10897 | 0.10897 | 11.4454 | 0.078536 | 0.078536 | 5.9569 | 0.094028 | -0.089843 | -2.9743 | -0.06785 | 0.064948 | 1.7195 | -0.077754 | -0.12035 | -0.87351 | 0.070542 | 0.10002 | -17.103 | -103.0427 | -103.0427 | 163.0492 | 77.4858 | 77.4858 | 0.54164 | 1.1197 | 1.3782 | 0.27084 | 1.2463 | 1.5185 | -1.0017 | -142.631 | 130.2149 | -0.58407 | -148.6287 | 134.4875
Line_1 | 0.9907 | 0 | 0 | 0.991 | 0.0036551 | 0.0036551 | 11.4396 | 0 | 0 | 11.4431 | 0.042206 | 0.042206 | -4.6682e-12 | -2.796e-09 | -4.3463e-09 | 2.9764 | 0.03611 | -0.035399 | 2.8304e-12 | -2.7922e-09 | 1.8971e-09 | 0.8639 | -0.038245 | -0.053424 | 163.4414 | 0 | 0 | -16.7692 | -101.9842 | -101.9842 | 0 | 1.3858 | 1.6631 | 0.27084 | 1.2463 | 1.5185 | 0 | -153.3341 | 138.1249 | -0.58407 | -148.6287 | 134.4875
Line_2 | 0 | 0 | 0 | 0.0031467 | 0.0031467 | 0.0031467 | 0 | 0 | 0 | 0.036334 | 0.036334 | 0.036334 | 7.2412e-10 | -1.6822e-09 | -3.0682e-09 | -0.0021376 | 0.031739 | -0.029549 | -6.5035e-12 | -2.1912e-09 | 1.391e-09 | 0.009606 | -0.032297 | -0.046593 | 0 | 0 | 0 | -103.1298 | -103.1298 | -103.1298 | 0.27086 | 1.2457 | 1.5191 | 0.27084 | 1.2463 | 1.5185 | -0.37524 | -148.6669 | 134.4607 | -0.58407 | -148.6287 | 134.4875

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.63529 | 0.0060477 | 0.0060477 | 0.63521 | 0.0043587 | 0.0043587 | 7.3357 | 0.069832 | 0.069832 | 7.3348 | 0.05033 | 0.05033 | 4.4438 | 0.065222 | -0.045519 | -3.2241 | -0.047076 | 0.033058 | 2.7419 | -0.026527 | -0.07517 | -2.3889 | 0.025252 | 0.059572 | -27.7737 | -113.7134 | -113.7134 | 152.3786 | 66.8151 | 66.8151 | 0.71182 | 1.0083 | 1.2584 | 0.54708 | 1.0614 | 1.3537 | 3.9017 | -135.8457 | 125.0895 | 8.9156 | -141.3942 | 127.7882
Line_1 | 0.63489 | 0 | 0 | 0.63508 | 0.0023424 | 0.0023424 | 7.331 | 0 | 0 | 7.3332 | 0.027047 | 0.027047 | -2.0154 | -9.4366e-10 | -2.4765e-09 | 3.231 | 0.025172 | -0.018061 | -2.0154 | -1.827e-09 | 9.421e-10 | 2.3782 | -0.013804 | -0.031848 | 152.7707 | 0 | 0 | -27.4399 | -112.6549 | -112.6549 | 0.38879 | 1.1253 | 1.45 | 0.54708 | 1.0614 | 1.3537 | 17.7707 | -146.2821 | 130.2066 | 8.9156 | -141.3942 | 127.7882
Line_2 | 0 | 0 | 0 | 0.0020165 | 0.0020165 | 0.0020165 | 0 | 0 | 0 | 0.023285 | 0.023285 | 0.023285 | 8.8387e-10 | -5.0557e-10 | -1.8035e-09 | -0.0068849 | 0.021904 | -0.014997 | 3.1315e-10 | -1.4204e-09 | 6.7104e-10 | 0.010718 | -0.011448 | -0.027723 | 0 | 0 | 0 | -113.8005 | -113.8005 | -113.8005 | 0.5473 | 1.0609 | 1.3541 | 0.54708 | 1.0614 | 1.3537 | 8.9774 | -141.4158 | 127.7677 | 8.9156 | -141.3942 | 127.7882

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.63529 | 0.0060477 | 0.0060477 | 0.63521 | 0.0043587 | 0.0043587 | 7.3357 | 0.069832 | 0.069832 | 7.3348 | 0.05033 | 0.05033 | 4.4438 | 0.065222 | -0.045519 | -3.2241 | -0.047076 | 0.033058 | 2.7419 | -0.026527 | -0.07517 | -2.3889 | 0.025252 | 0.059572 | -27.7737 | -113.7134 | -113.7134 | 152.3786 | 66.8151 | 66.8151 | 0.71182 | 1.0083 | 1.2584 | 0.54708 | 1.0614 | 1.3537 | 3.9017 | -135.8457 | 125.0895 | 8.9156 | -141.3942 | 127.7882
Line_1 | 0.63489 | 0 | 0 | 0.63508 | 0.0023424 | 0.0023424 | 7.331 | 0 | 0 | 7.3332 | 0.027047 | 0.027047 | -2.0154 | -9.4366e-10 | -2.4765e-09 | 3.231 | 0.025172 | -0.018061 | -2.0154 | -1.827e-09 | 9.421e-10 | 2.3782 | -0.013804 | -0.031848 | 152.7707 | 0 | 0 | -27.4399 | -112.6549 | -112.6549 | 0.38879 | 1.1253 | 1.45 | 0.54708 | 1.0614 | 1.3537 | 17.7707 | -146.2821 | 130.2066 | 8.9156 | -141.3942 | 127.7882
Line_2 | 0 | 0 | 0 | 0.0020165 | 0.0020165 | 0.0020165 | 0 | 0 | 0 | 0.023285 | 0.023285 | 0.023285 | 8.8387e-10 | -5.0557e-10 | -1.8035e-09 | -0.0068849 | 0.021904 | -0.014997 | 3.1315e-10 | -1.4204e-09 | 6.7104e-10 | 0.010718 | -0.011448 | -0.027723 | 0 | 0 | 0 | -113.8005 | -113.8005 | -113.8005 | 0.5473 | 1.0609 | 1.3541 | 0.54708 | 1.0614 | 1.3537 | 8.9774 | -141.4158 | 127.7677 | 8.9156 | -141.3942 | 127.7882

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0065372 | 3.3505 | 2.6545 | 0.00458 | 3.3513 | 2.6535 | 0.075485 | 38.6887 | 30.6521 | 0.052885 | 38.6977 | 30.6403 | 0.0040265 | 17.5177 | 2.8737 | -0.0023768 | -8.7641 | -1.43 | -0.10838 | 12.0774 | 9.8771 | 0.080015 | -6.0644 | -4.9148 | 83.0747 | -165.3262 | 22.679 | -96.1242 | 14.7045 | -157.3571 | 1.4368 | 0.54997 | 0.3356 | 1.5137 | 0.27541 | 0.16706 | -4.7978 | -130.7423 | 96.4567 | -4.4228 | -130.6137 | 96.4197
Line_1 | 0 | 3.353 | 2.6513 | 0.0024007 | 3.3521 | 2.6524 | 0 | 38.7166 | 30.6149 | 0.027721 | 38.707 | 30.6279 | -2.8731e-09 | 6.8589e-11 | 6.0656e-11 | 0.00068312 | 8.7699 | 1.4259 | -4.5102e-10 | -4.4975e-11 | 2.0907e-11 | -0.041954 | 6.0606 | 4.9138 | 0 | 14.7777 | -157.4439 | 84.6444 | -165.2609 | 22.6019 | 1.5901 | 0 | 0 | 1.5137 | 0.27541 | 0.16706 | -4.0328 | 0 | 0 | -4.4228 | -130.6137 | 96.4197
Line_2 | 0 | 0 | 0 | 0.0021797 | 0.0021797 | 0.0021797 | 0 | 0 | 0 | 0.02517 | 0.02517 | 0.02517 | -2.315e-09 | 8.1434e-10 | 5.1419e-10 | 0.0016937 | -0.0057709 | 0.0040904 | -4.7228e-10 | -2.0354e-10 | -2.6914e-10 | -0.03806 | 0.0038404 | 0.00097375 | 0 | 0 | 0 | 83.0293 | 83.0293 | 83.0293 | 1.5138 | 0.27562 | 0.16668 | 1.5137 | 0.27541 | 0.16706 | -4.4362 | -130.5495 | 96.4011 | -4.4228 | -130.6137 | 96.4197

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0065372 | 3.3505 | 2.6545 | 0.00458 | 3.3513 | 2.6535 | 0.075485 | 38.6887 | 30.6521 | 0.052885 | 38.6977 | 30.6403 | 0.0040265 | 17.5177 | 2.8737 | -0.0023768 | -8.7641 | -1.43 | -0.10838 | 12.0774 | 9.8771 | 0.080015 | -6.0644 | -4.9148 | 83.0747 | -165.3262 | 22.679 | -96.1242 | 14.7045 | -157.3571 | 1.4368 | 0.54997 | 0.3356 | 1.5137 | 0.27541 | 0.16706 | -4.7978 | -130.7423 | 96.4567 | -4.4228 | -130.6137 | 96.4197
Line_1 | 0 | 3.353 | 2.6513 | 0.0024007 | 3.3521 | 2.6524 | 0 | 38.7166 | 30.6149 | 0.027721 | 38.707 | 30.6279 | -2.8731e-09 | 6.8589e-11 | 6.0656e-11 | 0.00068312 | 8.7699 | 1.4259 | -4.5102e-10 | -4.4975e-11 | 2.0907e-11 | -0.041954 | 6.0606 | 4.9138 | 0 | 14.7777 | -157.4439 | 84.6444 | -165.2609 | 22.6019 | 1.5901 | 0 | 0 | 1.5137 | 0.27541 | 0.16706 | -4.0328 | 0 | 0 | -4.4228 | -130.6137 | 96.4197
Line_2 | 0 | 0 | 0 | 0.0021797 | 0.0021797 | 0.0021797 | 0 | 0 | 0 | 0.02517 | 0.02517 | 0.02517 | -2.315e-09 | 8.1434e-10 | 5.1419e-10 | 0.0016937 | -0.0057709 | 0.0040904 | -4.7228e-10 | -2.0354e-10 | -2.6914e-10 | -0.03806 | 0.0038404 | 0.00097375 | 0 | 0 | 0 | 83.0293 | 83.0293 | 83.0293 | 1.5138 | 0.27562 | 0.16668 | 1.5137 | 0.27541 | 0.16706 | -4.4362 | -130.5495 | 96.4011 | -4.4228 | -130.6137 | 96.4197

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0046749 | 1.2259 | 0.93193 | 0.0032753 | 1.2268 | 0.93061 | 0.053981 | 14.155 | 10.761 | 0.03782 | 14.1661 | 10.7458 | 0.014468 | 10.4082 | 4.609 | -0.0097655 | -8.9759 | -4.4564 | -0.070007 | 8.5208 | 6.3464 | 0.051255 | -8.0435 | -5.321 | 72.8304 | -155.7354 | 51.3168 | -106.3684 | 24.3122 | -128.7122 | 1.3243 | 0.95028 | 0.72887 | 1.3796 | 0.8508 | 0.6459 | -5.493 | -116.4293 | 105.3282 | -5.5813 | -113.8238 | 101.3418
Line_1 | 0 | 1.229 | 0.92758 | 0.0017168 | 1.2279 | 0.92916 | 0 | 14.1908 | 10.7108 | 0.019824 | 14.1781 | 10.729 | -1.789e-09 | -7.5517 | -4.302 | 0.0047579 | 8.9912 | 4.4461 | -5.6679e-10 | -7.5517 | -4.302 | -0.026933 | 8.0417 | 5.3155 | 0 | 24.428 | -128.7891 | 74.4002 | -155.6334 | 51.2526 | 1.4348 | 0.75258 | 0.56803 | 1.3796 | 0.8508 | 0.6459 | -5.6205 | -110.572 | 96.2109 | -5.5813 | -113.8238 | 101.3418
Line_2 | 0 | 0 | 0 | 0.0015588 | 0.0015588 | 0.0015588 | 0 | 0 | 0 | 0.017999 | 0.017999 | 0.017999 | -1.4413e-09 | 7.5689e-10 | 9.3881e-10 | 0.0050075 | -0.015212 | 0.010211 | -5.4227e-10 | 3.698e-10 | -8.3297e-10 | -0.024322 | 0.0017625 | 0.0055575 | 0 | 0 | 0 | 72.7851 | 72.7851 | 72.7851 | 1.3797 | 0.85104 | 0.64563 | 1.3796 | 0.8508 | 0.6459 | -5.5923 | -113.8152 | 101.3447 | -5.5813 | -113.8238 | 101.3418

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0046749 | 1.2259 | 0.93193 | 0.0032753 | 1.2268 | 0.93061 | 0.053981 | 14.155 | 10.761 | 0.03782 | 14.1661 | 10.7458 | 0.014468 | 10.4082 | 4.609 | -0.0097655 | -8.9759 | -4.4564 | -0.070007 | 8.5208 | 6.3464 | 0.051255 | -8.0435 | -5.321 | 72.8304 | -155.7354 | 51.3168 | -106.3684 | 24.3122 | -128.7122 | 1.3243 | 0.95028 | 0.72887 | 1.3796 | 0.8508 | 0.6459 | -5.493 | -116.4293 | 105.3282 | -5.5813 | -113.8238 | 101.3418
Line_1 | 0 | 1.229 | 0.92758 | 0.0017168 | 1.2279 | 0.92916 | 0 | 14.1908 | 10.7108 | 0.019824 | 14.1781 | 10.729 | -1.789e-09 | -7.5517 | -4.302 | 0.0047579 | 8.9912 | 4.4461 | -5.6679e-10 | -7.5517 | -4.302 | -0.026933 | 8.0417 | 5.3155 | 0 | 24.428 | -128.7891 | 74.4002 | -155.6334 | 51.2526 | 1.4348 | 0.75258 | 0.56803 | 1.3796 | 0.8508 | 0.6459 | -5.6205 | -110.572 | 96.2109 | -5.5813 | -113.8238 | 101.3418
Line_2 | 0 | 0 | 0 | 0.0015588 | 0.0015588 | 0.0015588 | 0 | 0 | 0 | 0.017999 | 0.017999 | 0.017999 | -1.4413e-09 | 7.5689e-10 | 9.3881e-10 | 0.0050075 | -0.015212 | 0.010211 | -5.4227e-10 | 3.698e-10 | -8.3297e-10 | -0.024322 | 0.0017625 | 0.0055575 | 0 | 0 | 0 | 72.7851 | 72.7851 | 72.7851 | 1.3797 | 0.85104 | 0.64563 | 1.3796 | 0.8508 | 0.6459 | -5.5923 | -113.8152 | 101.3447 | -5.5813 | -113.8238 | 101.3418

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0053759 | 2.6202 | 2.189 | 0.0038745 | 2.621 | 2.188 | 0.062076 | 30.2552 | 25.2765 | 0.044739 | 30.2646 | 25.265 | 0.0021517 | 19.0922 | 5.4801 | -0.0012357 | -9.5619 | -2.723 | -0.076754 | 5.2897 | 8.6598 | 0.059834 | -2.6731 | -4.3044 | 84.9511 | -153.5558 | 35.1928 | -94.5204 | 26.4718 | -144.8366 | 1.2369 | 0.65481 | 0.40544 | 1.3377 | 0.32806 | 0.2016 | -3.4431 | -138.0699 | 92.8662 | -3.3373 | -137.9097 | 92.8454
Line_1 | 0 | 2.623 | 2.1855 | 0.0020822 | 2.6219 | 2.1869 | 0 | 30.2876 | 25.2364 | 0.024043 | 30.2754 | 25.2516 | -2.3178e-09 | -1.4309e-10 | -5.7166e-12 | 0.00036662 | 9.5669 | 2.7189 | -2.9048e-10 | -1.0668e-10 | -1.4869e-10 | -0.03216 | 2.6685 | 4.3038 | 0 | 26.5443 | -144.9147 | 86.0096 | -153.4949 | 35.1276 | 1.4381 | 0 | 0 | 1.3377 | 0.32806 | 0.2016 | -3.158 | 0 | 0 | -3.3373 | -137.9097 | 92.8454
Line_2 | 0 | 0 | 0 | 0.0017925 | 0.0017925 | 0.0017925 | 0 | 0 | 0 | 0.020698 | 0.020698 | 0.020698 | -1.6653e-09 | 7.5085e-10 | 5.0763e-10 | 0.00086911 | -0.0049844 | 0.0041323 | -2.8757e-10 | -3.6867e-10 | -3.3654e-10 | -0.027674 | 0.0046113 | 0.0005794 | 0 | 0 | 0 | 84.864 | 84.864 | 84.864 | 1.3378 | 0.32838 | 0.20104 | 1.3377 | 0.32806 | 0.2016 | -3.361 | -137.8298 | 92.8351 | -3.3373 | -137.9097 | 92.8454

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0053759 | 2.6202 | 2.189 | 0.0038745 | 2.621 | 2.188 | 0.062076 | 30.2552 | 25.2765 | 0.044739 | 30.2646 | 25.265 | 0.0021517 | 19.0922 | 5.4801 | -0.0012357 | -9.5619 | -2.723 | -0.076754 | 5.2897 | 8.6598 | 0.059834 | -2.6731 | -4.3044 | 84.9511 | -153.5558 | 35.1928 | -94.5204 | 26.4718 | -144.8366 | 1.2369 | 0.65481 | 0.40544 | 1.3377 | 0.32806 | 0.2016 | -3.4431 | -138.0699 | 92.8662 | -3.3373 | -137.9097 | 92.8454
Line_1 | 0 | 2.623 | 2.1855 | 0.0020822 | 2.6219 | 2.1869 | 0 | 30.2876 | 25.2364 | 0.024043 | 30.2754 | 25.2516 | -2.3178e-09 | -1.4309e-10 | -5.7166e-12 | 0.00036662 | 9.5669 | 2.7189 | -2.9048e-10 | -1.0668e-10 | -1.4869e-10 | -0.03216 | 2.6685 | 4.3038 | 0 | 26.5443 | -144.9147 | 86.0096 | -153.4949 | 35.1276 | 1.4381 | 0 | 0 | 1.3377 | 0.32806 | 0.2016 | -3.158 | 0 | 0 | -3.3373 | -137.9097 | 92.8454
Line_2 | 0 | 0 | 0 | 0.0017925 | 0.0017925 | 0.0017925 | 0 | 0 | 0 | 0.020698 | 0.020698 | 0.020698 | -1.6653e-09 | 7.5085e-10 | 5.0763e-10 | 0.00086911 | -0.0049844 | 0.0041323 | -2.8757e-10 | -3.6867e-10 | -3.3654e-10 | -0.027674 | 0.0046113 | 0.0005794 | 0 | 0 | 0 | 84.864 | 84.864 | 84.864 | 1.3378 | 0.32838 | 0.20104 | 1.3377 | 0.32806 | 0.2016 | -3.361 | -137.8298 | 92.8351 | -3.3373 | -137.9097 | 92.8454

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0041531 | 1.0277 | 0.80363 | 0.0029933 | 1.0285 | 0.80255 | 0.047956 | 11.8668 | 9.2796 | 0.034563 | 11.8762 | 9.2671 | 0.0097658 | 8.8101 | 3.8617 | -0.0067863 | -7.0603 | -3.5273 | -0.055401 | 5.3882 | 5.2542 | 0.04268 | -5.3569 | -4.2224 | 75.8271 | -150.8184 | 52.9763 | -103.6444 | 29.2275 | -127.0541 | 1.173 | 0.87026 | 0.70269 | 1.2504 | 0.74625 | 0.5937 | -4.1757 | -119.3689 | 106.6616 | -4.6097 | -113.5836 | 103.0709
Line_1 | 0 | 1.0305 | 0.79981 | 0.0016086 | 1.0295 | 0.80128 | 0 | 11.8997 | 9.2354 | 0.018574 | 11.8872 | 9.2524 | -1.6129e-09 | -5.3101 | -3.1985 | 0.0034347 | 7.0721 | 3.5189 | -4.1735e-10 | -5.3101 | -3.1985 | -0.022969 | 5.355 | 4.218 | 0 | 29.3494 | -127.1393 | 76.8856 | -150.7166 | 52.9076 | 1.3277 | 0.63108 | 0.48978 | 1.2504 | 0.74625 | 0.5937 | -4.9181 | -105.6506 | 97.8607 | -4.6097 | -113.5836 | 103.0709
Line_2 | 0 | 0 | 0 | 0.0013848 | 0.0013848 | 0.0013848 | 0 | 0 | 0 | 0.01599 | 0.01599 | 0.01599 | -1.1628e-09 | 6.7638e-10 | 7.9061e-10 | 0.0033516 | -0.011775 | 0.0084337 | -3.7006e-10 | 3.0652e-10 | -6.3302e-10 | -0.019711 | 0.0019332 | 0.0043587 | 0 | 0 | 0 | 75.74 | 75.74 | 75.74 | 1.2504 | 0.74665 | 0.59328 | 1.2504 | 0.74625 | 0.5937 | -4.6296 | -113.5717 | 103.0822 | -4.6097 | -113.5836 | 103.0709

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0041531 | 1.0277 | 0.80363 | 0.0029933 | 1.0285 | 0.80255 | 0.047956 | 11.8668 | 9.2796 | 0.034563 | 11.8762 | 9.2671 | 0.0097658 | 8.8101 | 3.8617 | -0.0067863 | -7.0603 | -3.5273 | -0.055401 | 5.3882 | 5.2542 | 0.04268 | -5.3569 | -4.2224 | 75.8271 | -150.8184 | 52.9763 | -103.6444 | 29.2275 | -127.0541 | 1.173 | 0.87026 | 0.70269 | 1.2504 | 0.74625 | 0.5937 | -4.1757 | -119.3689 | 106.6616 | -4.6097 | -113.5836 | 103.0709
Line_1 | 0 | 1.0305 | 0.79981 | 0.0016086 | 1.0295 | 0.80128 | 0 | 11.8997 | 9.2354 | 0.018574 | 11.8872 | 9.2524 | -1.6129e-09 | -5.3101 | -3.1985 | 0.0034347 | 7.0721 | 3.5189 | -4.1735e-10 | -5.3101 | -3.1985 | -0.022969 | 5.355 | 4.218 | 0 | 29.3494 | -127.1393 | 76.8856 | -150.7166 | 52.9076 | 1.3277 | 0.63108 | 0.48978 | 1.2504 | 0.74625 | 0.5937 | -4.9181 | -105.6506 | 97.8607 | -4.6097 | -113.5836 | 103.0709
Line_2 | 0 | 0 | 0 | 0.0013848 | 0.0013848 | 0.0013848 | 0 | 0 | 0 | 0.01599 | 0.01599 | 0.01599 | -1.1628e-09 | 6.7638e-10 | 7.9061e-10 | 0.0033516 | -0.011775 | 0.0084337 | -3.7006e-10 | 3.0652e-10 | -6.3302e-10 | -0.019711 | 0.0019332 | 0.0043587 | 0 | 0 | 0 | 75.74 | 75.74 | 75.74 | 1.2504 | 0.74665 | 0.59328 | 1.2504 | 0.74625 | 0.5937 | -4.6296 | -113.5717 | 103.0822 | -4.6097 | -113.5836 | 103.0709