## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.447 | 1.447 | 0 | 0 | 50.1248 | 50.1248 | -0.40169 | 3.6679 | -11.7498 | 15.4558 | 104.9445 | -75.0555 | 0.23455 | 0.31691 | 12.9865 | 1.5941
Line_1 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_2 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.447 | 1.447 | 0 | 0 | 50.1248 | 50.1248 | -0.40169 | 3.6679 | -11.7498 | 15.4558 | 104.9445 | -75.0555 | 0.23455 | 0.31691 | 12.9865 | 1.5941
Line_1 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_2 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.046 | 1.046 | 0 | 0 | 36.2336 | 36.2336 | -11.7882 | 13.495 | -15.827 | 17.7635 | 114.8595 | -65.1405 | 0.54465 | 0.61568 | -11.82 | -12.3646
Line_1 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_2 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.046 | 1.046 | 0 | 0 | 36.2336 | 36.2336 | -11.7882 | 13.495 | -15.827 | 17.7635 | 114.8595 | -65.1405 | 0.54465 | 0.61568 | -11.82 | -12.3646
Line_1 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_2 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30846 | 1.2664 | 1.1621 | 0.30846 | 1.2664 | 1.1621 | 3.5618 | 14.6226 | 13.4184 | 3.5618 | 14.6226 | 13.4184 | -1.9561 | -8.212 | 7.0481 | 2.0056 | 9.0459 | -6.3459 | -3.6202 | -2.5682 | -4.6789 | 3.6764 | 3.5143 | 5.4756 | 119.7791 | 3.2941 | -162.962 | -60.2209 | -176.7059 | 17.038 | 1.1553 | 0.58842 | 0.63046 | 1.1758 | 0.66367 | 0.62464 | 1.3952 | -159.3397 | 163.46 | 1.1647 | -155.4748 | 156.2486
Line_1 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_2 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30846 | 1.2664 | 1.1621 | 0.30846 | 1.2664 | 1.1621 | 3.5618 | 14.6226 | 13.4184 | 3.5618 | 14.6226 | 13.4184 | -1.9561 | -8.212 | 7.0481 | 2.0056 | 9.0459 | -6.3459 | -3.6202 | -2.5682 | -4.6789 | 3.6764 | 3.5143 | 5.4756 | 119.7791 | 3.2941 | -162.962 | -60.2209 | -176.7059 | 17.038 | 1.1553 | 0.58842 | 0.63046 | 1.1758 | 0.66367 | 0.62464 | 1.3952 | -159.3397 | 163.46 | 1.1647 | -155.4748 | 156.2486
Line_1 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_2 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28034 | 1.0551 | 0.99862 | 0.28034 | 1.0551 | 0.99862 | 3.2371 | 12.1835 | 11.5311 | 3.2371 | 12.1835 | 11.5311 | -1.6769 | -8.4393 | 3.7435 | 1.7178 | 9.0182 | -3.2249 | -3.3271 | -3.1078 | -5.8862 | 3.3735 | 3.7647 | 6.4745 | 117.9411 | 8.7332 | -155.894 | -62.0589 | -171.2668 | 24.106 | 1.151 | 0.73816 | 0.60495 | 1.1695 | 0.80211 | 0.62728 | 1.1923 | -151.0501 | 146.5614 | 0.95582 | -148.6085 | 140.5834
Line_1 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_2 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28034 | 1.0551 | 0.99862 | 0.28034 | 1.0551 | 0.99862 | 3.2371 | 12.1835 | 11.5311 | 3.2371 | 12.1835 | 11.5311 | -1.6769 | -8.4393 | 3.7435 | 1.7178 | 9.0182 | -3.2249 | -3.3271 | -3.1078 | -5.8862 | 3.3735 | 3.7647 | 6.4745 | 117.9411 | 8.7332 | -155.894 | -62.0589 | -171.2668 | 24.106 | 1.151 | 0.73816 | 0.60495 | 1.1695 | 0.80211 | 0.62728 | 1.1923 | -151.0501 | 146.5614 | 0.95582 | -148.6085 | 140.5834
Line_1 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_2 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4406 | 0.041925 | 0.47591 | 1.4419 | 0.040798 | 0.47537 | 16.6342 | 0.48411 | 5.4954 | 16.6499 | 0.47109 | 5.4891 | -0.41586 | 0.17679 | 0.46747 | 3.3267 | -0.22245 | -0.058849 | -3.025 | -0.53129 | -6.5084 | 5.5057 | 0.50919 | 5.9704 | 108.432 | -49.4764 | -152.0044 | -71.5807 | 131.6572 | 27.8409 |  | 0.18357 | 1.1566 | 1.1874 | 0.38635 | 1.1795 | 1.0877 | 10.6045 | -121.0712 | 122.1038 | -12.7221 | -114.7435 | 118.4056
Line_1 | 0.72193 | 0.019459 | 0.23766 | 0.72096 | 0.020399 | 0.23769 | 8.3361 | 0.22469 | 2.7443 | 8.3249 | 0.23555 | 2.7446 | 2.3972 | -0.11743 | 0.065418 | -1.6634 | 0.11123 | 0.029424 | 3.3772 | 0.2418 | 2.8521 | -2.7529 | -0.25459 | -2.9852 | -71.5701 | 132.4198 | 27.6056 | 108.4193 | -48.3428 | -152.1591 |  | 0.49682 | 1.1963 | 1.0396 | 0.38635 | 1.1795 | 1.0877 | -16.9375 | -111.6772 | 116.2916 | -12.7221 | -114.7435 | 118.4056
Line_2 | 0.72193 | 0.019459 | 0.23766 | 0.72096 | 0.020399 | 0.23769 | 8.3361 | 0.22469 | 2.7443 | 8.3249 | 0.23555 | 2.7446 | 2.3972 | -0.11743 | 0.065418 | -1.6634 | 0.11123 | 0.029424 | 3.3772 | 0.2418 | 2.8521 | -2.7529 | -0.25459 | -2.9852 | -71.5701 | 132.4198 | 27.6056 | 108.4193 | -48.3428 | -152.1591 |  | 0.49682 | 1.1963 | 1.0396 | 0.38635 | 1.1795 | 1.0877 | -16.9375 | -111.6772 | 116.2916 | -12.7221 | -114.7435 | 118.4056

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4406 | 0.041925 | 0.47591 | 1.4419 | 0.040798 | 0.47537 | 16.6342 | 0.48411 | 5.4954 | 16.6499 | 0.47109 | 5.4891 | -0.41586 | 0.17679 | 0.46747 | 3.3267 | -0.22245 | -0.058849 | -3.025 | -0.53129 | -6.5084 | 5.5057 | 0.50919 | 5.9704 | 108.432 | -49.4764 | -152.0044 | -71.5807 | 131.6572 | 27.8409 |  | 0.18357 | 1.1566 | 1.1874 | 0.38635 | 1.1795 | 1.0877 | 10.6045 | -121.0712 | 122.1038 | -12.7221 | -114.7435 | 118.4056
Line_1 | 0.72193 | 0.019459 | 0.23766 | 0.72096 | 0.020399 | 0.23769 | 8.3361 | 0.22469 | 2.7443 | 8.3249 | 0.23555 | 2.7446 | 2.3972 | -0.11743 | 0.065418 | -1.6634 | 0.11123 | 0.029424 | 3.3772 | 0.2418 | 2.8521 | -2.7529 | -0.25459 | -2.9852 | -71.5701 | 132.4198 | 27.6056 | 108.4193 | -48.3428 | -152.1591 |  | 0.49682 | 1.1963 | 1.0396 | 0.38635 | 1.1795 | 1.0877 | -16.9375 | -111.6772 | 116.2916 | -12.7221 | -114.7435 | 118.4056
Line_2 | 0.72193 | 0.019459 | 0.23766 | 0.72096 | 0.020399 | 0.23769 | 8.3361 | 0.22469 | 2.7443 | 8.3249 | 0.23555 | 2.7446 | 2.3972 | -0.11743 | 0.065418 | -1.6634 | 0.11123 | 0.029424 | 3.3772 | 0.2418 | 2.8521 | -2.7529 | -0.25459 | -2.9852 | -71.5701 | 132.4198 | 27.6056 | 108.4193 | -48.3428 | -152.1591 |  | 0.49682 | 1.1963 | 1.0396 | 0.38635 | 1.1795 | 1.0877 | -16.9375 | -111.6772 | 116.2916 | -12.7221 | -114.7435 | 118.4056

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0368 | 0.11896 | 0.40379 | 1.0378 | 0.11811 | 0.40353 | 11.9722 | 1.3736 | 4.6626 | 11.9829 | 1.3638 | 4.6595 | -4.2337 | 0.42754 | -0.30097 | 5.6465 | -0.52598 | 0.59372 | -4.5933 | -1.5316 | -5.4357 | 5.9044 | 1.4833 | 5.1703 | 118.0919 | -46.1962 | -145.078 | -61.9166 | 133.9982 | 34.7931 |  | 0.52178 | 1.1576 | 1.1676 | 0.68178 | 1.154 | 1.1169 | -14.575 | -120.5996 | 121.7529 | -15.6377 | -116.4777 | 118.2424
Line_1 | 0.51952 | 0.058392 | 0.20182 | 0.51888 | 0.059053 | 0.20176 | 5.999 | 0.67425 | 2.3305 | 5.9915 | 0.68188 | 2.3298 | 3.1815 | -0.28595 | 0.36516 | -2.8232 | 0.26299 | -0.29686 | 3.2825 | 0.72402 | 2.521 | -2.9522 | -0.74167 | -2.5851 | -61.9017 | 134.0449 | 34.6058 | 118.0834 | -46.0018 | -145.2069 |  | 0.76202 | 1.1545 | 1.0931 | 0.68178 | 1.154 | 1.1169 | -16.0068 | -114.4033 | 116.3641 | -15.6377 | -116.4777 | 118.2424
Line_2 | 0.51952 | 0.058392 | 0.20182 | 0.51888 | 0.059053 | 0.20176 | 5.999 | 0.67425 | 2.3305 | 5.9915 | 0.68188 | 2.3298 | 3.1815 | -0.28595 | 0.36516 | -2.8232 | 0.26299 | -0.29686 | 3.2825 | 0.72402 | 2.521 | -2.9522 | -0.74167 | -2.5851 | -61.9017 | 134.0449 | 34.6058 | 118.0834 | -46.0018 | -145.2069 |  | 0.76202 | 1.1545 | 1.0931 | 0.68178 | 1.154 | 1.1169 | -16.0068 | -114.4033 | 116.3641 | -15.6377 | -116.4777 | 118.2424

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0368 | 0.11896 | 0.40379 | 1.0378 | 0.11811 | 0.40353 | 11.9722 | 1.3736 | 4.6626 | 11.9829 | 1.3638 | 4.6595 | -4.2337 | 0.42754 | -0.30097 | 5.6465 | -0.52598 | 0.59372 | -4.5933 | -1.5316 | -5.4357 | 5.9044 | 1.4833 | 5.1703 | 118.0919 | -46.1962 | -145.078 | -61.9166 | 133.9982 | 34.7931 |  | 0.52178 | 1.1576 | 1.1676 | 0.68178 | 1.154 | 1.1169 | -14.575 | -120.5996 | 121.7529 | -15.6377 | -116.4777 | 118.2424
Line_1 | 0.51952 | 0.058392 | 0.20182 | 0.51888 | 0.059053 | 0.20176 | 5.999 | 0.67425 | 2.3305 | 5.9915 | 0.68188 | 2.3298 | 3.1815 | -0.28595 | 0.36516 | -2.8232 | 0.26299 | -0.29686 | 3.2825 | 0.72402 | 2.521 | -2.9522 | -0.74167 | -2.5851 | -61.9017 | 134.0449 | 34.6058 | 118.0834 | -46.0018 | -145.2069 |  | 0.76202 | 1.1545 | 1.0931 | 0.68178 | 1.154 | 1.1169 | -16.0068 | -114.4033 | 116.3641 | -15.6377 | -116.4777 | 118.2424
Line_2 | 0.51952 | 0.058392 | 0.20182 | 0.51888 | 0.059053 | 0.20176 | 5.999 | 0.67425 | 2.3305 | 5.9915 | 0.68188 | 2.3298 | 3.1815 | -0.28595 | 0.36516 | -2.8232 | 0.26299 | -0.29686 | 3.2825 | 0.72402 | 2.521 | -2.9522 | -0.74167 | -2.5851 | -61.9017 | 134.0449 | 34.6058 | 118.0834 | -46.0018 | -145.2069 |  | 0.76202 | 1.1545 | 1.0931 | 0.68178 | 1.154 | 1.1169 | -16.0068 | -114.4033 | 116.3641 | -15.6377 | -116.4777 | 118.2424

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.97215 | 0.1963 | 0.3025 | 0.97324 | 0.19568 | 0.30157 | 11.2255 | 2.2667 | 3.493 | 11.238 | 2.2596 | 3.4823 | -0.27477 | 2.143 | -1.4512 | 2.6602 | -1.914 | 1.6166 | -1.463 | 0.85291 | -3.3299 | 3.153 | -1.1597 | 2.8164 | 117.1893 | -143.6551 | -123.4158 | -62.8373 | 36.0519 | 56.4464 |  | 0.13261 | 1.0176 | 1.0399 | 0.36709 | 0.99045 | 0.93254 | 16.552 | -121.9522 | 123.0354 | -12.9922 | -112.7359 | 116.5911
Line_1 | 0.48723 | 0.09783 | 0.15056 | 0.48662 | 0.097841 | 0.15079 | 5.6261 | 1.1296 | 1.7385 | 5.619 | 1.1298 | 1.7411 | 1.9314 | -0.89832 | 0.84628 | -1.3301 | 0.95702 | -0.80829 | 2.0009 | -0.66056 | 1.2823 | -1.5765 | 0.57987 | -1.4082 | -62.8275 | 35.689 | 56.2271 | 117.1627 | -143.9481 | -123.5536 |  | 0.49431 | 0.98707 | 0.88371 | 0.36709 | 0.99045 | 0.93254 | -16.8148 | -107.9831 | 112.8026 | -12.9922 | -112.7359 | 116.5911
Line_2 | 0.48723 | 0.09783 | 0.15056 | 0.48662 | 0.097841 | 0.15079 | 5.6261 | 1.1296 | 1.7385 | 5.619 | 1.1298 | 1.7411 | 1.9314 | -0.89832 | 0.84628 | -1.3301 | 0.95702 | -0.80829 | 2.0009 | -0.66056 | 1.2823 | -1.5765 | 0.57987 | -1.4082 | -62.8275 | 35.689 | 56.2271 | 117.1627 | -143.9481 | -123.5536 |  | 0.49431 | 0.98707 | 0.88371 | 0.36709 | 0.99045 | 0.93254 | -16.8148 | -107.9831 | 112.8026 | -12.9922 | -112.7359 | 116.5911

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.97215 | 0.1963 | 0.3025 | 0.97324 | 0.19568 | 0.30157 | 11.2255 | 2.2667 | 3.493 | 11.238 | 2.2596 | 3.4823 | -0.27477 | 2.143 | -1.4512 | 2.6602 | -1.914 | 1.6166 | -1.463 | 0.85291 | -3.3299 | 3.153 | -1.1597 | 2.8164 | 117.1893 | -143.6551 | -123.4158 | -62.8373 | 36.0519 | 56.4464 |  | 0.13261 | 1.0176 | 1.0399 | 0.36709 | 0.99045 | 0.93254 | 16.552 | -121.9522 | 123.0354 | -12.9922 | -112.7359 | 116.5911
Line_1 | 0.48723 | 0.09783 | 0.15056 | 0.48662 | 0.097841 | 0.15079 | 5.6261 | 1.1296 | 1.7385 | 5.619 | 1.1298 | 1.7411 | 1.9314 | -0.89832 | 0.84628 | -1.3301 | 0.95702 | -0.80829 | 2.0009 | -0.66056 | 1.2823 | -1.5765 | 0.57987 | -1.4082 | -62.8275 | 35.689 | 56.2271 | 117.1627 | -143.9481 | -123.5536 |  | 0.49431 | 0.98707 | 0.88371 | 0.36709 | 0.99045 | 0.93254 | -16.8148 | -107.9831 | 112.8026 | -12.9922 | -112.7359 | 116.5911
Line_2 | 0.48723 | 0.09783 | 0.15056 | 0.48662 | 0.097841 | 0.15079 | 5.6261 | 1.1296 | 1.7385 | 5.619 | 1.1298 | 1.7411 | 1.9314 | -0.89832 | 0.84628 | -1.3301 | 0.95702 | -0.80829 | 2.0009 | -0.66056 | 1.2823 | -1.5765 | 0.57987 | -1.4082 | -62.8275 | 35.689 | 56.2271 | 117.1627 | -143.9481 | -123.5536 |  | 0.49431 | 0.98707 | 0.88371 | 0.36709 | 0.99045 | 0.93254 | -16.8148 | -107.9831 | 112.8026 | -12.9922 | -112.7359 | 116.5911

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.68726 | 0.13877 | 0.21385 | 0.68803 | 0.13834 | 0.2132 | 7.9358 | 1.6024 | 2.4693 | 7.9447 | 1.5974 | 2.4618 | -2.6289 | 1.6048 | -1.4968 | 3.8234 | -1.4895 | 1.5763 | -1.8583 | 0.28508 | -2.0231 | 2.7054 | -0.44159 | 1.7672 | 129.5681 | -131.2763 | -111.037 | -50.4585 | 48.4307 | 68.8252 |  | 0.40568 | 1.0172 | 1.0192 | 0.58954 | 0.97256 | 0.96192 | -15.176 | -121.2035 | 122.4661 | -15.1757 | -115.0555 | 117.0943
Line_1 | 0.34445 | 0.069161 | 0.10644 | 0.34401 | 0.069169 | 0.1066 | 3.9774 | 0.7986 | 1.229 | 3.9723 | 0.79869 | 1.2309 | 2.2139 | -0.7158 | 0.80585 | -1.9117 | 0.74473 | -0.78813 | 1.5653 | -0.26282 | 0.82187 | -1.3527 | 0.22079 | -0.88362 | -50.4487 | 48.0678 | 68.6059 | 129.5415 | -131.5693 | -111.1748 |  | 0.6817 | 0.95482 | 0.93652 | 0.58954 | 0.97256 | 0.96192 | -15.1866 | -111.7707 | 114.1698 | -15.1757 | -115.0555 | 117.0943
Line_2 | 0.34445 | 0.069161 | 0.10644 | 0.34401 | 0.069169 | 0.1066 | 3.9774 | 0.7986 | 1.229 | 3.9723 | 0.79869 | 1.2309 | 2.2139 | -0.7158 | 0.80585 | -1.9117 | 0.74473 | -0.78813 | 1.5653 | -0.26282 | 0.82187 | -1.3527 | 0.22079 | -0.88362 | -50.4487 | 48.0678 | 68.6059 | 129.5415 | -131.5693 | -111.1748 |  | 0.6817 | 0.95482 | 0.93652 | 0.58954 | 0.97256 | 0.96192 | -15.1866 | -111.7707 | 114.1698 | -15.1757 | -115.0555 | 117.0943

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.68726 | 0.13877 | 0.21385 | 0.68803 | 0.13834 | 0.2132 | 7.9358 | 1.6024 | 2.4693 | 7.9447 | 1.5974 | 2.4618 | -2.6289 | 1.6048 | -1.4968 | 3.8234 | -1.4895 | 1.5763 | -1.8583 | 0.28508 | -2.0231 | 2.7054 | -0.44159 | 1.7672 | 129.5681 | -131.2763 | -111.037 | -50.4585 | 48.4307 | 68.8252 |  | 0.40568 | 1.0172 | 1.0192 | 0.58954 | 0.97256 | 0.96192 | -15.176 | -121.2035 | 122.4661 | -15.1757 | -115.0555 | 117.0943
Line_1 | 0.34445 | 0.069161 | 0.10644 | 0.34401 | 0.069169 | 0.1066 | 3.9774 | 0.7986 | 1.229 | 3.9723 | 0.79869 | 1.2309 | 2.2139 | -0.7158 | 0.80585 | -1.9117 | 0.74473 | -0.78813 | 1.5653 | -0.26282 | 0.82187 | -1.3527 | 0.22079 | -0.88362 | -50.4487 | 48.0678 | 68.6059 | 129.5415 | -131.5693 | -111.1748 |  | 0.6817 | 0.95482 | 0.93652 | 0.58954 | 0.97256 | 0.96192 | -15.1866 | -111.7707 | 114.1698 | -15.1757 | -115.0555 | 117.0943
Line_2 | 0.34445 | 0.069161 | 0.10644 | 0.34401 | 0.069169 | 0.1066 | 3.9774 | 0.7986 | 1.229 | 3.9723 | 0.79869 | 1.2309 | 2.2139 | -0.7158 | 0.80585 | -1.9117 | 0.74473 | -0.78813 | 1.5653 | -0.26282 | 0.82187 | -1.3527 | 0.22079 | -0.88362 | -50.4487 | 48.0678 | 68.6059 | 129.5415 | -131.5693 | -111.1748 |  | 0.6817 | 0.95482 | 0.93652 | 0.58954 | 0.97256 | 0.96192 | -15.1866 | -111.7707 | 114.1698 | -15.1757 | -115.0555 | 117.0943

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2826 | 1.6603 | 1.2266 | 0.28126 | 1.6608 | 1.2276 | 3.2632 | 19.1711 | 14.1638 | 3.2477 | 19.177 | 14.175 | 0.83763 | 0.4535 | -0.84994 | -0.98201 | 3.3728 | 1.5208 | -3.8089 | -4.3224 | -2.6472 | 3.4428 | 5.0334 | 5.4303 | 78.5413 | -15.5899 | -130.129 | -101.543 | 164.3651 | 49.9179 |  | 1.1951 | 0.2267 | 0.19629 | 1.1023 | 0.31595 | 0.39783 | 0.94394 | -99.6004 | 122.0703 | 4.3772 | -139.4602 | 124.2722
Line_1 | 0.13986 | 0.83105 | 0.61418 | 0.14063 | 0.83039 | 0.6138 | 1.615 | 9.5962 | 7.0919 | 1.6239 | 9.5885 | 7.0875 | -0.5312 | 2.6459 | 0.93337 | 0.49101 | -1.6864 | -0.76041 | 1.6231 | 2.6971 | 3.4133 | -1.7214 | -2.5167 | -2.7151 | -101.7929 | 164.3153 | 50.0021 | 78.457 | -15.6349 | -130.0821 |  | 1.0574 | 0.39372 | 0.49896 | 1.1023 | 0.31595 | 0.39783 | 6.3291 | -150.1352 | 124.7084 | 4.3772 | -139.4602 | 124.2722
Line_2 | 0.13986 | 0.83105 | 0.61418 | 0.14063 | 0.83039 | 0.6138 | 1.615 | 9.5962 | 7.0919 | 1.6239 | 9.5885 | 7.0875 | -0.5312 | 2.6459 | 0.93337 | 0.49101 | -1.6864 | -0.76041 | 1.6231 | 2.6971 | 3.4133 | -1.7214 | -2.5167 | -2.7151 | -101.7929 | 164.3153 | 50.0021 | 78.457 | -15.6349 | -130.0821 |  | 1.0574 | 0.39372 | 0.49896 | 1.1023 | 0.31595 | 0.39783 | 6.3291 | -150.1352 | 124.7084 | 4.3772 | -139.4602 | 124.2722

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2826 | 1.6603 | 1.2266 | 0.28126 | 1.6608 | 1.2276 | 3.2632 | 19.1711 | 14.1638 | 3.2477 | 19.177 | 14.175 | 0.83763 | 0.4535 | -0.84994 | -0.98201 | 3.3728 | 1.5208 | -3.8089 | -4.3224 | -2.6472 | 3.4428 | 5.0334 | 5.4303 | 78.5413 | -15.5899 | -130.129 | -101.543 | 164.3651 | 49.9179 |  | 1.1951 | 0.2267 | 0.19629 | 1.1023 | 0.31595 | 0.39783 | 0.94394 | -99.6004 | 122.0703 | 4.3772 | -139.4602 | 124.2722
Line_1 | 0.13986 | 0.83105 | 0.61418 | 0.14063 | 0.83039 | 0.6138 | 1.615 | 9.5962 | 7.0919 | 1.6239 | 9.5885 | 7.0875 | -0.5312 | 2.6459 | 0.93337 | 0.49101 | -1.6864 | -0.76041 | 1.6231 | 2.6971 | 3.4133 | -1.7214 | -2.5167 | -2.7151 | -101.7929 | 164.3153 | 50.0021 | 78.457 | -15.6349 | -130.0821 |  | 1.0574 | 0.39372 | 0.49896 | 1.1023 | 0.31595 | 0.39783 | 6.3291 | -150.1352 | 124.7084 | 4.3772 | -139.4602 | 124.2722
Line_2 | 0.13986 | 0.83105 | 0.61418 | 0.14063 | 0.83039 | 0.6138 | 1.615 | 9.5962 | 7.0919 | 1.6239 | 9.5885 | 7.0875 | -0.5312 | 2.6459 | 0.93337 | 0.49101 | -1.6864 | -0.76041 | 1.6231 | 2.6971 | 3.4133 | -1.7214 | -2.5167 | -2.7151 | -101.7929 | 164.3153 | 50.0021 | 78.457 | -15.6349 | -130.0821 |  | 1.0574 | 0.39372 | 0.49896 | 1.1023 | 0.31595 | 0.39783 | 6.3291 | -150.1352 | 124.7084 | 4.3772 | -139.4602 | 124.2722

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.27783 | 1.189 | 0.89266 | 0.27696 | 1.1894 | 0.89326 | 3.2081 | 13.7298 | 10.3075 | 3.1981 | 13.7343 | 10.3145 | 0.3749 | -4.2182 | -3.8756 | -0.43042 | 6.1329 | 4.1646 | -3.7556 | -5.9178 | -3.9637 | 3.5141 | 6.3743 | 5.3578 | 85.3335 | -5.1563 | -121.3256 | -94.7457 | 174.8022 | 58.7213 |  | 1.1765 | 0.52931 | 0.53782 | 1.107 | 0.64405 | 0.65791 | 1.0342 | -130.6375 | 104.3182 | 2.2373 | -139.0921 | 110.8631
Line_1 | 0.13801 | 0.59519 | 0.44684 | 0.13848 | 0.59471 | 0.44663 | 1.5936 | 6.8726 | 5.1597 | 1.599 | 6.8671 | 5.1572 | -0.23324 | 3.5472 | 2.1585 | 0.21521 | -3.0665 | -2.0823 | 1.693 | 3.3047 | 3.0269 | -1.7571 | -3.1872 | -2.6789 | -94.9407 | 174.7574 | 58.802 | 85.2543 | -5.1978 | -121.2787 |  | 1.0723 | 0.70542 | 0.72053 | 1.107 | 0.64405 | 0.65791 | 2.9036 | -142.2694 | 113.3094 | 2.2373 | -139.0921 | 110.8631
Line_2 | 0.13801 | 0.59519 | 0.44684 | 0.13848 | 0.59471 | 0.44663 | 1.5936 | 6.8726 | 5.1597 | 1.599 | 6.8671 | 5.1572 | -0.23324 | 3.5472 | 2.1585 | 0.21521 | -3.0665 | -2.0823 | 1.693 | 3.3047 | 3.0269 | -1.7571 | -3.1872 | -2.6789 | -94.9407 | 174.7574 | 58.802 | 85.2543 | -5.1978 | -121.2787 |  | 1.0723 | 0.70542 | 0.72053 | 1.107 | 0.64405 | 0.65791 | 2.9036 | -142.2694 | 113.3094 | 2.2373 | -139.0921 | 110.8631

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.27783 | 1.189 | 0.89266 | 0.27696 | 1.1894 | 0.89326 | 3.2081 | 13.7298 | 10.3075 | 3.1981 | 13.7343 | 10.3145 | 0.3749 | -4.2182 | -3.8756 | -0.43042 | 6.1329 | 4.1646 | -3.7556 | -5.9178 | -3.9637 | 3.5141 | 6.3743 | 5.3578 | 85.3335 | -5.1563 | -121.3256 | -94.7457 | 174.8022 | 58.7213 |  | 1.1765 | 0.52931 | 0.53782 | 1.107 | 0.64405 | 0.65791 | 1.0342 | -130.6375 | 104.3182 | 2.2373 | -139.0921 | 110.8631
Line_1 | 0.13801 | 0.59519 | 0.44684 | 0.13848 | 0.59471 | 0.44663 | 1.5936 | 6.8726 | 5.1597 | 1.599 | 6.8671 | 5.1572 | -0.23324 | 3.5472 | 2.1585 | 0.21521 | -3.0665 | -2.0823 | 1.693 | 3.3047 | 3.0269 | -1.7571 | -3.1872 | -2.6789 | -94.9407 | 174.7574 | 58.802 | 85.2543 | -5.1978 | -121.2787 |  | 1.0723 | 0.70542 | 0.72053 | 1.107 | 0.64405 | 0.65791 | 2.9036 | -142.2694 | 113.3094 | 2.2373 | -139.0921 | 110.8631
Line_2 | 0.13801 | 0.59519 | 0.44684 | 0.13848 | 0.59471 | 0.44663 | 1.5936 | 6.8726 | 5.1597 | 1.599 | 6.8671 | 5.1572 | -0.23324 | 3.5472 | 2.1585 | 0.21521 | -3.0665 | -2.0823 | 1.693 | 3.3047 | 3.0269 | -1.7571 | -3.1872 | -2.6789 | -94.9407 | 174.7574 | 58.802 | 85.2543 | -5.1978 | -121.2787 |  | 1.0723 | 0.70542 | 0.72053 | 1.107 | 0.64405 | 0.65791 | 2.9036 | -142.2694 | 113.3094 | 2.2373 | -139.0921 | 110.8631

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19822 | 1.2828 | 0.82359 | 0.1971 | 1.2829 | 0.82438 | 2.2888 | 14.8122 | 9.51 | 2.2759 | 14.8141 | 9.5192 | 0.54971 | 0.14461 | -0.38443 | -0.58831 | 3.7411 | 0.5927 | -2.3529 | -2.6809 | -1.3678 | 2 | 2.7883 | 3.2414 | 77.9975 | -2.9266 | -131.8694 | -102.1042 | 177.0216 | 48.1904 |  | 1.0557 | 0.18125 | 0.1494 | 0.916 | 0.31496 | 0.34616 | 1.1479 | -89.839 | 122.4322 | 4.2875 | -146.2802 | 127.8282
Line_1 | 0.098133 | 0.64185 | 0.41233 | 0.098549 | 0.64147 | 0.41219 | 1.1331 | 7.4115 | 4.7611 | 1.1379 | 7.4071 | 4.7596 | -0.3068 | 2.8448 | 0.35161 | 0.29416 | -1.8705 | -0.29635 | 0.90977 | 1.4218 | 2.0907 | -0.99999 | -1.3942 | -1.6207 | -102.3709 | 176.9784 | 48.2742 | 77.8958 | -2.9784 | -131.8096 |  | 0.84729 | 0.4291 | 0.44529 | 0.916 | 0.31496 | 0.34616 | 6.2646 | -156.4665 | 128.7278 | 4.2875 | -146.2802 | 127.8282
Line_2 | 0.098133 | 0.64185 | 0.41233 | 0.098549 | 0.64147 | 0.41219 | 1.1331 | 7.4115 | 4.7611 | 1.1379 | 7.4071 | 4.7596 | -0.3068 | 2.8448 | 0.35161 | 0.29416 | -1.8705 | -0.29635 | 0.90977 | 1.4218 | 2.0907 | -0.99999 | -1.3942 | -1.6207 | -102.3709 | 176.9784 | 48.2742 | 77.8958 | -2.9784 | -131.8096 |  | 0.84729 | 0.4291 | 0.44529 | 0.916 | 0.31496 | 0.34616 | 6.2646 | -156.4665 | 128.7278 | 4.2875 | -146.2802 | 127.8282

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19822 | 1.2828 | 0.82359 | 0.1971 | 1.2829 | 0.82438 | 2.2888 | 14.8122 | 9.51 | 2.2759 | 14.8141 | 9.5192 | 0.54971 | 0.14461 | -0.38443 | -0.58831 | 3.7411 | 0.5927 | -2.3529 | -2.6809 | -1.3678 | 2 | 2.7883 | 3.2414 | 77.9975 | -2.9266 | -131.8694 | -102.1042 | 177.0216 | 48.1904 |  | 1.0557 | 0.18125 | 0.1494 | 0.916 | 0.31496 | 0.34616 | 1.1479 | -89.839 | 122.4322 | 4.2875 | -146.2802 | 127.8282
Line_1 | 0.098133 | 0.64185 | 0.41233 | 0.098549 | 0.64147 | 0.41219 | 1.1331 | 7.4115 | 4.7611 | 1.1379 | 7.4071 | 4.7596 | -0.3068 | 2.8448 | 0.35161 | 0.29416 | -1.8705 | -0.29635 | 0.90977 | 1.4218 | 2.0907 | -0.99999 | -1.3942 | -1.6207 | -102.3709 | 176.9784 | 48.2742 | 77.8958 | -2.9784 | -131.8096 |  | 0.84729 | 0.4291 | 0.44529 | 0.916 | 0.31496 | 0.34616 | 6.2646 | -156.4665 | 128.7278 | 4.2875 | -146.2802 | 127.8282
Line_2 | 0.098133 | 0.64185 | 0.41233 | 0.098549 | 0.64147 | 0.41219 | 1.1331 | 7.4115 | 4.7611 | 1.1379 | 7.4071 | 4.7596 | -0.3068 | 2.8448 | 0.35161 | 0.29416 | -1.8705 | -0.29635 | 0.90977 | 1.4218 | 2.0907 | -0.99999 | -1.3942 | -1.6207 | -102.3709 | 176.9784 | 48.2742 | 77.8958 | -2.9784 | -131.8096 |  | 0.84729 | 0.4291 | 0.44529 | 0.916 | 0.31496 | 0.34616 | 6.2646 | -156.4665 | 128.7278 | 4.2875 | -146.2802 | 127.8282

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13944 | 0.90502 | 0.58419 | 0.13865 | 0.90514 | 0.58476 | 1.6101 | 10.4503 | 6.7457 | 1.601 | 10.4516 | 6.7522 | 0.033369 | -3.2236 | -2.1342 | -0.054824 | 5.1558 | 2.2474 | -1.6666 | -2.8424 | -1.9525 | 1.4888 | 2.8929 | 2.8926 | 90.1168 | 9.4994 | -119.4057 | -89.9855 | -170.5525 | 60.6536 |  | 1.0353 | 0.41126 | 0.42881 | 0.93055 | 0.56565 | 0.5425 | 1.2638 | -129.0959 | 103.0485 | 2.1235 | -141.2553 | 112.8078
Line_1 | 0.069032 | 0.45284 | 0.29248 | 0.069325 | 0.45257 | 0.29238 | 0.79711 | 5.2289 | 3.3772 | 0.80049 | 5.2258 | 3.3761 | -0.035362 | 3.063 | 1.1541 | 0.027412 | -2.5779 | -1.1237 | 0.69905 | 1.4604 | 1.6811 | -0.7444 | -1.4465 | -1.4463 | -90.2533 | -170.5959 | 60.7369 | 90.0145 | 9.4475 | -119.3464 |  | 0.8781 | 0.64895 | 0.60379 | 0.93055 | 0.56565 | 0.5425 | 2.6426 | -145.105 | 116.2677 | 2.1235 | -141.2553 | 112.8078
Line_2 | 0.069032 | 0.45284 | 0.29248 | 0.069325 | 0.45257 | 0.29238 | 0.79711 | 5.2289 | 3.3772 | 0.80049 | 5.2258 | 3.3761 | -0.035362 | 3.063 | 1.1541 | 0.027412 | -2.5779 | -1.1237 | 0.69905 | 1.4604 | 1.6811 | -0.7444 | -1.4465 | -1.4463 | -90.2533 | -170.5959 | 60.7369 | 90.0145 | 9.4475 | -119.3464 |  | 0.8781 | 0.64895 | 0.60379 | 0.93055 | 0.56565 | 0.5425 | 2.6426 | -145.105 | 116.2677 | 2.1235 | -141.2553 | 112.8078

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13944 | 0.90502 | 0.58419 | 0.13865 | 0.90514 | 0.58476 | 1.6101 | 10.4503 | 6.7457 | 1.601 | 10.4516 | 6.7522 | 0.033369 | -3.2236 | -2.1342 | -0.054824 | 5.1558 | 2.2474 | -1.6666 | -2.8424 | -1.9525 | 1.4888 | 2.8929 | 2.8926 | 90.1168 | 9.4994 | -119.4057 | -89.9855 | -170.5525 | 60.6536 |  | 1.0353 | 0.41126 | 0.42881 | 0.93055 | 0.56565 | 0.5425 | 1.2638 | -129.0959 | 103.0485 | 2.1235 | -141.2553 | 112.8078
Line_1 | 0.069032 | 0.45284 | 0.29248 | 0.069325 | 0.45257 | 0.29238 | 0.79711 | 5.2289 | 3.3772 | 0.80049 | 5.2258 | 3.3761 | -0.035362 | 3.063 | 1.1541 | 0.027412 | -2.5779 | -1.1237 | 0.69905 | 1.4604 | 1.6811 | -0.7444 | -1.4465 | -1.4463 | -90.2533 | -170.5959 | 60.7369 | 90.0145 | 9.4475 | -119.3464 |  | 0.8781 | 0.64895 | 0.60379 | 0.93055 | 0.56565 | 0.5425 | 2.6426 | -145.105 | 116.2677 | 2.1235 | -141.2553 | 112.8078
Line_2 | 0.069032 | 0.45284 | 0.29248 | 0.069325 | 0.45257 | 0.29238 | 0.79711 | 5.2289 | 3.3772 | 0.80049 | 5.2258 | 3.3761 | -0.035362 | 3.063 | 1.1541 | 0.027412 | -2.5779 | -1.1237 | 0.69905 | 1.4604 | 1.6811 | -0.7444 | -1.4465 | -1.4463 | -90.2533 | -170.5959 | 60.7369 | 90.0145 | 9.4475 | -119.3464 |  | 0.8781 | 0.64895 | 0.60379 | 0.93055 | 0.56565 | 0.5425 | 2.6426 | -145.105 | 116.2677 | 2.1235 | -141.2553 | 112.8078