## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 5.2106e-15 | 5.2106e-15 | 1.0421e-14 | 1.3027e-14 | -1.5631e-14 | 5.2106e-15 | 5.7634e-09 | -5.7634e-09 | 1.3632e-28 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.6201e-13 | -180 | 180 | 7.495e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 1.5632e-14 | -5.2104e-15 | -5.2106e-15 | -7.8161e-15 | 5.2105e-15 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.458e-13 | -180 | 180 | 7.495e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -5.2104e-15 | 5.2109e-15 | 0 | 1.3026e-14 | -1.5632e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 0 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.5073e-13 | -180 | 180 | 7.495e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 5.2106e-15 | 5.2106e-15 | 1.0421e-14 | 1.3027e-14 | -1.5631e-14 | 5.2106e-15 | 5.7634e-09 | -5.7634e-09 | 1.3632e-28 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.6201e-13 | -180 | 180 | 7.495e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 1.5632e-14 | -5.2104e-15 | -5.2106e-15 | -7.8161e-15 | 5.2105e-15 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.458e-13 | -180 | 180 | 7.495e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -5.2104e-15 | 5.2109e-15 | 0 | 1.3026e-14 | -1.5632e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 0 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.5073e-13 | -180 | 180 | 7.495e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -7.3078e-10 | -2.0393e-09 | 5.2106e-15 | 7.3078e-10 | 2.0393e-09 | -1.0421e-14 | 5.8225e-09 | -3.556e-09 | 5.2106e-15 | -5.8225e-09 | 3.556e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 6.2181e-13 | -164.9034 | 158.1097 | 6.1327e-13 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6654e-28 | 2.436e-10 | 6.7977e-10 | -1.0421e-14 | -2.436e-10 | -6.7977e-10 | -1.5632e-14 | -1.9408e-09 | 1.1854e-09 | 1.0421e-14 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 6.1043e-13 | -164.9034 | 158.1097 | 6.1327e-13 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.4358e-10 | 6.7977e-10 | 1.0421e-14 | -2.4358e-10 | -6.7977e-10 | -5.2106e-15 | -1.9408e-09 | 1.1854e-09 | -5.2106e-15 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 6.147e-13 | -164.9034 | 158.1097 | 6.1327e-13 | -164.9034 | 158.1097

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -7.3078e-10 | -2.0393e-09 | 5.2106e-15 | 7.3078e-10 | 2.0393e-09 | -1.0421e-14 | 5.8225e-09 | -3.556e-09 | 5.2106e-15 | -5.8225e-09 | 3.556e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 6.2181e-13 | -164.9034 | 158.1097 | 6.1327e-13 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6654e-28 | 2.436e-10 | 6.7977e-10 | -1.0421e-14 | -2.436e-10 | -6.7977e-10 | -1.5632e-14 | -1.9408e-09 | 1.1854e-09 | 1.0421e-14 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 6.1043e-13 | -164.9034 | 158.1097 | 6.1327e-13 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.4358e-10 | 6.7977e-10 | 1.0421e-14 | -2.4358e-10 | -6.7977e-10 | -5.2106e-15 | -1.9408e-09 | 1.1854e-09 | -5.2106e-15 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 6.147e-13 | -164.9034 | 158.1097 | 6.1327e-13 | -164.9034 | 158.1097

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -9.474e-15 | 4.7368e-15 | 2.1316e-14 | 1.3027e-14 | 2.3693e-15 | 2.3685e-14 | 4.7631e-09 | -4.7631e-09 | -1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.2827e-13 | -180 | 180 | 9.1834e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -4.7366e-15 | 4.7373e-15 | 2.3685e-15 | 8.2894e-15 | -2.3687e-15 | -3.8438e-29 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.2985e-13 | -180 | 180 | 9.1834e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4872e-28 | 3.3611e-19 | 4.7373e-15 | 2.2777e-28 | 3.5525e-15 | 2.3682e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.9943e-13 | -180 | 180 | 9.1834e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -9.474e-15 | 4.7368e-15 | 2.1316e-14 | 1.3027e-14 | 2.3693e-15 | 2.3685e-14 | 4.7631e-09 | -4.7631e-09 | -1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.2827e-13 | -180 | 180 | 9.1834e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -4.7366e-15 | 4.7373e-15 | 2.3685e-15 | 8.2894e-15 | -2.3687e-15 | -3.8438e-29 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.2985e-13 | -180 | 180 | 9.1834e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4872e-28 | 3.3611e-19 | 4.7373e-15 | 2.2777e-28 | 3.5525e-15 | 2.3682e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.9943e-13 | -180 | 180 | 9.1834e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -5.5596e-10 | -1.5515e-09 | 2.6053e-14 | 5.5595e-10 | 1.5515e-09 | 9.4739e-15 | 4.8331e-09 | -3.1089e-09 | -1.1842e-14 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.7154e-13 | -166.2936 | 160.6236 | 7.3813e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.2163e-29 | 1.8532e-10 | 5.1715e-10 | 2.3685e-15 | -1.8531e-10 | -5.1715e-10 | -7.1054e-15 | -1.6111e-09 | 1.0363e-09 | 7.1054e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 7.4317e-13 | -166.2936 | 160.6236 | 7.3813e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 1.8532e-10 | 5.1715e-10 | -2.3685e-15 | -1.8532e-10 | -5.1715e-10 | 2.9844e-29 | -1.6111e-09 | 1.0363e-09 | 2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 7.2197e-13 | -166.2936 | 160.6236 | 7.3813e-13 | -166.2936 | 160.6236

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -5.5596e-10 | -1.5515e-09 | 2.6053e-14 | 5.5595e-10 | 1.5515e-09 | 9.4739e-15 | 4.8331e-09 | -3.1089e-09 | -1.1842e-14 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.7154e-13 | -166.2936 | 160.6236 | 7.3813e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.2163e-29 | 1.8532e-10 | 5.1715e-10 | 2.3685e-15 | -1.8531e-10 | -5.1715e-10 | -7.1054e-15 | -1.6111e-09 | 1.0363e-09 | 7.1054e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 7.4317e-13 | -166.2936 | 160.6236 | 7.3813e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 1.8532e-10 | 5.1715e-10 | -2.3685e-15 | -1.8532e-10 | -5.1715e-10 | 2.9844e-29 | -1.6111e-09 | 1.0363e-09 | 2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 7.2197e-13 | -166.2936 | 160.6236 | 7.3813e-13 | -166.2936 | 160.6236

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054825 | 0.0054825 | 0.0054825 | 0.0036561 | 0.0036561 | 0.0036561 | 0.063306 | 0.063306 | 0.063306 | 0.042217 | 0.042217 | 0.042217 | -0.00045555 | 0.060644 | -0.059939 | 0.00036539 | -0.040398 | 0.040014 | -0.00026412 | -0.033503 | -0.036252 | 0.00020094 | 0.022335 | 0.024232 | -91.3061 | -91.3061 | -91.3061 | 88.6485 | 88.6485 | 88.6485 | 0.008318 | 1.0944 | 1.1065 | 0.0098775 | 1.0934 | 1.1081 | 118.7985 | -120.2244 | 119.8602 | 117.4566 | -120.2881 | 119.8467
Line_1 | 0 | 0 | 0 | 0.0018281 | 0.0018281 | 0.0018281 | 0 | 0 | 0 | 0.021109 | 0.021109 | 0.021109 | -1.9191e-11 | 2.7106e-11 | -3.4069e-11 | -0.0001827 | 0.020199 | -0.020007 | 3.6543e-11 | -2.3152e-11 | -1.217e-11 | -0.00010047 | -0.011167 | -0.012116 | 0 | 0 | 0 | -91.3515 | -91.3515 | -91.3515 | 0.01019 | 1.0932 | 1.1084 | 0.0098775 | 1.0934 | 1.1081 | 117.2367 | -120.3009 | 119.844 | 117.4566 | -120.2881 | 119.8467
Line_2 | 0 | 0 | 0 | 0.0018281 | 0.0018281 | 0.0018281 | 0 | 0 | 0 | 0.021109 | 0.021109 | 0.021109 | -1.9191e-11 | 2.713e-11 | -3.4065e-11 | -0.0001827 | 0.020199 | -0.020007 | 3.6543e-11 | -2.3154e-11 | -1.2167e-11 | -0.00010047 | -0.011167 | -0.012116 | 0 | 0 | 0 | -91.3515 | -91.3515 | -91.3515 | 0.01019 | 1.0932 | 1.1084 | 0.0098775 | 1.0934 | 1.1081 | 117.2367 | -120.3009 | 119.844 | 117.4566 | -120.2881 | 119.8467

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054825 | 0.0054825 | 0.0054825 | 0.0036561 | 0.0036561 | 0.0036561 | 0.063306 | 0.063306 | 0.063306 | 0.042217 | 0.042217 | 0.042217 | -0.00045555 | 0.060644 | -0.059939 | 0.00036539 | -0.040398 | 0.040014 | -0.00026412 | -0.033503 | -0.036252 | 0.00020094 | 0.022335 | 0.024232 | -91.3061 | -91.3061 | -91.3061 | 88.6485 | 88.6485 | 88.6485 | 0.008318 | 1.0944 | 1.1065 | 0.0098775 | 1.0934 | 1.1081 | 118.7985 | -120.2244 | 119.8602 | 117.4566 | -120.2881 | 119.8467
Line_1 | 0 | 0 | 0 | 0.0018281 | 0.0018281 | 0.0018281 | 0 | 0 | 0 | 0.021109 | 0.021109 | 0.021109 | -1.9191e-11 | 2.7106e-11 | -3.4069e-11 | -0.0001827 | 0.020199 | -0.020007 | 3.6543e-11 | -2.3152e-11 | -1.217e-11 | -0.00010047 | -0.011167 | -0.012116 | 0 | 0 | 0 | -91.3515 | -91.3515 | -91.3515 | 0.01019 | 1.0932 | 1.1084 | 0.0098775 | 1.0934 | 1.1081 | 117.2367 | -120.3009 | 119.844 | 117.4566 | -120.2881 | 119.8467
Line_2 | 0 | 0 | 0 | 0.0018281 | 0.0018281 | 0.0018281 | 0 | 0 | 0 | 0.021109 | 0.021109 | 0.021109 | -1.9191e-11 | 2.713e-11 | -3.4065e-11 | -0.0001827 | 0.020199 | -0.020007 | 3.6543e-11 | -2.3154e-11 | -1.2167e-11 | -0.00010047 | -0.011167 | -0.012116 | 0 | 0 | 0 | -91.3515 | -91.3515 | -91.3515 | 0.01019 | 1.0932 | 1.1084 | 0.0098775 | 1.0934 | 1.1081 | 117.2367 | -120.3009 | 119.844 | 117.4566 | -120.2881 | 119.8467

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0037758 | 0.0037758 | 0.0037758 | 0.002518 | 0.002518 | 0.002518 | 0.043599 | 0.043599 | 0.043599 | 0.029075 | 0.029075 | 0.029075 | 0.010617 | 0.035357 | -0.045856 | -0.0070439 | -0.023566 | 0.030601 | 0.013741 | -0.032206 | -0.014746 | -0.0091578 | 0.021471 | 0.0098698 | -77.8666 | -77.8666 | -77.8666 | 102.088 | 102.088 | 102.088 | 0.39829 | 1.0969 | 1.1048 | 0.39736 | 1.0965 | 1.1059 | -25.5582 | -120.1967 | 119.9602 | -25.4786 | -120.2476 | 119.964
Line_1 | 0 | 0 | 0 | 0.001259 | 0.001259 | 0.001259 | 0 | 0 | 0 | 0.014538 | 0.014538 | 0.014538 | 8.6792e-10 | 1.4511e-11 | -2.4694e-11 | 0.003522 | 0.011783 | -0.015301 | -6.8871e-10 | -1.9896e-11 | -2.7509e-12 | 0.0045789 | -0.010735 | -0.0049349 | 0 | 0 | 0 | -77.912 | -77.912 | -77.912 | 0.39717 | 1.0964 | 1.1061 | 0.39736 | 1.0965 | 1.1059 | -25.4626 | -120.2578 | 119.9647 | -25.4786 | -120.2476 | 119.964
Line_2 | 0 | 0 | 0 | 0.001259 | 0.001259 | 0.001259 | 0 | 0 | 0 | 0.014538 | 0.014538 | 0.014538 | 8.6793e-10 | 1.4514e-11 | -2.4701e-11 | 0.003522 | 0.011783 | -0.015301 | -6.8871e-10 | -1.9891e-11 | -2.7489e-12 | 0.0045789 | -0.010735 | -0.0049349 | 0 | 0 | 0 | -77.912 | -77.912 | -77.912 | 0.39717 | 1.0964 | 1.1061 | 0.39736 | 1.0965 | 1.1059 | -25.4626 | -120.2578 | 119.9647 | -25.4786 | -120.2476 | 119.964

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0037758 | 0.0037758 | 0.0037758 | 0.002518 | 0.002518 | 0.002518 | 0.043599 | 0.043599 | 0.043599 | 0.029075 | 0.029075 | 0.029075 | 0.010617 | 0.035357 | -0.045856 | -0.0070439 | -0.023566 | 0.030601 | 0.013741 | -0.032206 | -0.014746 | -0.0091578 | 0.021471 | 0.0098698 | -77.8666 | -77.8666 | -77.8666 | 102.088 | 102.088 | 102.088 | 0.39829 | 1.0969 | 1.1048 | 0.39736 | 1.0965 | 1.1059 | -25.5582 | -120.1967 | 119.9602 | -25.4786 | -120.2476 | 119.964
Line_1 | 0 | 0 | 0 | 0.001259 | 0.001259 | 0.001259 | 0 | 0 | 0 | 0.014538 | 0.014538 | 0.014538 | 8.6792e-10 | 1.4511e-11 | -2.4694e-11 | 0.003522 | 0.011783 | -0.015301 | -6.8871e-10 | -1.9896e-11 | -2.7509e-12 | 0.0045789 | -0.010735 | -0.0049349 | 0 | 0 | 0 | -77.912 | -77.912 | -77.912 | 0.39717 | 1.0964 | 1.1061 | 0.39736 | 1.0965 | 1.1059 | -25.4626 | -120.2578 | 119.9647 | -25.4786 | -120.2476 | 119.964
Line_2 | 0 | 0 | 0 | 0.001259 | 0.001259 | 0.001259 | 0 | 0 | 0 | 0.014538 | 0.014538 | 0.014538 | 8.6793e-10 | 1.4514e-11 | -2.4701e-11 | 0.003522 | 0.011783 | -0.015301 | -6.8871e-10 | -1.9891e-11 | -2.7489e-12 | 0.0045789 | -0.010735 | -0.0049349 | 0 | 0 | 0 | -77.912 | -77.912 | -77.912 | 0.39717 | 1.0964 | 1.1061 | 0.39736 | 1.0965 | 1.1059 | -25.4626 | -120.2578 | 119.9647 | -25.4786 | -120.2476 | 119.964

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049788 | 0.0049788 | 0.0049788 | 0.0033202 | 0.0033202 | 0.0033202 | 0.05749 | 0.05749 | 0.05749 | 0.038339 | 0.038339 | 0.038339 | -0.00037636 | 0.050157 | -0.049385 | 0.00034852 | -0.033379 | 0.033001 | -0.00021384 | -0.027467 | -0.030063 | 0.00016326 | 0.018287 | 0.020119 | -91.4939 | -91.4939 | -91.4939 | 88.419 | 88.419 | 88.419 | 0.0075294 | 0.9947 | 1.0057 | 0.010039 | 0.99272 | 1.0081 | 118.1113 | -120.2001 | 119.8373 | 113.5192 | -120.2974 | 119.7874
Line_1 | 0 | 0 | 0 | 0.0016601 | 0.0016601 | 0.0016601 | 0 | 0 | 0 | 0.019169 | 0.019169 | 0.019169 | -1.543e-11 | 2.7882e-11 | -3.1858e-11 | -0.00017426 | 0.016689 | -0.0165 | 3.563e-11 | -2.0124e-11 | -1.4369e-11 | -8.163e-05 | -0.0091433 | -0.010059 | 0 | 0 | 0 | -91.581 | -91.581 | -91.581 | 0.010546 | 0.99232 | 1.0086 | 0.010039 | 0.99272 | 1.0081 | 112.8616 | -120.3169 | 119.7774 | 113.5192 | -120.2974 | 119.7874
Line_2 | 0 | 0 | 0 | 0.0016601 | 0.0016601 | 0.0016601 | 0 | 0 | 0 | 0.019169 | 0.019169 | 0.019169 | -1.5431e-11 | 2.7885e-11 | -3.186e-11 | -0.00017426 | 0.016689 | -0.0165 | 3.563e-11 | -2.0099e-11 | -1.436e-11 | -8.163e-05 | -0.0091433 | -0.010059 | 0 | 0 | 0 | -91.581 | -91.581 | -91.581 | 0.010546 | 0.99232 | 1.0086 | 0.010039 | 0.99272 | 1.0081 | 112.8616 | -120.3169 | 119.7774 | 113.5192 | -120.2974 | 119.7874

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049788 | 0.0049788 | 0.0049788 | 0.0033202 | 0.0033202 | 0.0033202 | 0.05749 | 0.05749 | 0.05749 | 0.038339 | 0.038339 | 0.038339 | -0.00037636 | 0.050157 | -0.049385 | 0.00034852 | -0.033379 | 0.033001 | -0.00021384 | -0.027467 | -0.030063 | 0.00016326 | 0.018287 | 0.020119 | -91.4939 | -91.4939 | -91.4939 | 88.419 | 88.419 | 88.419 | 0.0075294 | 0.9947 | 1.0057 | 0.010039 | 0.99272 | 1.0081 | 118.1113 | -120.2001 | 119.8373 | 113.5192 | -120.2974 | 119.7874
Line_1 | 0 | 0 | 0 | 0.0016601 | 0.0016601 | 0.0016601 | 0 | 0 | 0 | 0.019169 | 0.019169 | 0.019169 | -1.543e-11 | 2.7882e-11 | -3.1858e-11 | -0.00017426 | 0.016689 | -0.0165 | 3.563e-11 | -2.0124e-11 | -1.4369e-11 | -8.163e-05 | -0.0091433 | -0.010059 | 0 | 0 | 0 | -91.581 | -91.581 | -91.581 | 0.010546 | 0.99232 | 1.0086 | 0.010039 | 0.99272 | 1.0081 | 112.8616 | -120.3169 | 119.7774 | 113.5192 | -120.2974 | 119.7874
Line_2 | 0 | 0 | 0 | 0.0016601 | 0.0016601 | 0.0016601 | 0 | 0 | 0 | 0.019169 | 0.019169 | 0.019169 | -1.5431e-11 | 2.7885e-11 | -3.186e-11 | -0.00017426 | 0.016689 | -0.0165 | 3.563e-11 | -2.0099e-11 | -1.436e-11 | -8.163e-05 | -0.0091433 | -0.010059 | 0 | 0 | 0 | -91.581 | -91.581 | -91.581 | 0.010546 | 0.99232 | 1.0086 | 0.010039 | 0.99272 | 1.0081 | 112.8616 | -120.3169 | 119.7774 | 113.5192 | -120.2974 | 119.7874

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035693 | 0.0035693 | 0.0035693 | 0.0023803 | 0.0023803 | 0.0023803 | 0.041214 | 0.041214 | 0.041214 | 0.027485 | 0.027485 | 0.027485 | 0.0083023 | 0.031011 | -0.039109 | -0.0054754 | -0.020657 | 0.026118 | 0.010838 | -0.026948 | -0.013567 | -0.0072253 | 0.01795 | 0.0090975 | -79.1962 | -79.1962 | -79.1962 | 100.7166 | 100.7167 | 100.7167 | 0.33125 | 0.99682 | 1.0044 | 0.32984 | 0.99569 | 1.0063 | -26.651 | -120.1864 | 119.9352 | -26.4386 | -120.2718 | 119.9213
Line_1 | 0 | 0 | 0 | 0.0011901 | 0.0011901 | 0.0011901 | 0 | 0 | 0 | 0.013742 | 0.013742 | 0.013742 | 6.8416e-10 | 1.651e-11 | -2.4449e-11 | 0.0027377 | 0.010329 | -0.013059 | -5.3721e-10 | -1.8401e-11 | -5.2477e-12 | 0.0036126 | -0.0089749 | -0.0045487 | 0 | 0 | 0 | -79.2833 | -79.2833 | -79.2833 | 0.32956 | 0.99546 | 1.0066 | 0.32984 | 0.99569 | 1.0063 | -26.3958 | -120.2889 | 119.9185 | -26.4386 | -120.2718 | 119.9213
Line_2 | 0 | 0 | 0 | 0.0011901 | 0.0011901 | 0.0011901 | 0 | 0 | 0 | 0.013742 | 0.013742 | 0.013742 | 6.8416e-10 | 1.6515e-11 | -2.4446e-11 | 0.0027377 | 0.010329 | -0.013059 | -5.372e-10 | -1.8393e-11 | -5.2459e-12 | 0.0036126 | -0.0089749 | -0.0045487 | 0 | 0 | 0 | -79.2833 | -79.2833 | -79.2833 | 0.32956 | 0.99546 | 1.0066 | 0.32984 | 0.99569 | 1.0063 | -26.3958 | -120.2889 | 119.9185 | -26.4386 | -120.2718 | 119.9213

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035693 | 0.0035693 | 0.0035693 | 0.0023803 | 0.0023803 | 0.0023803 | 0.041214 | 0.041214 | 0.041214 | 0.027485 | 0.027485 | 0.027485 | 0.0083023 | 0.031011 | -0.039109 | -0.0054754 | -0.020657 | 0.026118 | 0.010838 | -0.026948 | -0.013567 | -0.0072253 | 0.01795 | 0.0090975 | -79.1962 | -79.1962 | -79.1962 | 100.7166 | 100.7167 | 100.7167 | 0.33125 | 0.99682 | 1.0044 | 0.32984 | 0.99569 | 1.0063 | -26.651 | -120.1864 | 119.9352 | -26.4386 | -120.2718 | 119.9213
Line_1 | 0 | 0 | 0 | 0.0011901 | 0.0011901 | 0.0011901 | 0 | 0 | 0 | 0.013742 | 0.013742 | 0.013742 | 6.8416e-10 | 1.651e-11 | -2.4449e-11 | 0.0027377 | 0.010329 | -0.013059 | -5.3721e-10 | -1.8401e-11 | -5.2477e-12 | 0.0036126 | -0.0089749 | -0.0045487 | 0 | 0 | 0 | -79.2833 | -79.2833 | -79.2833 | 0.32956 | 0.99546 | 1.0066 | 0.32984 | 0.99569 | 1.0063 | -26.3958 | -120.2889 | 119.9185 | -26.4386 | -120.2718 | 119.9213
Line_2 | 0 | 0 | 0 | 0.0011901 | 0.0011901 | 0.0011901 | 0 | 0 | 0 | 0.013742 | 0.013742 | 0.013742 | 6.8416e-10 | 1.6515e-11 | -2.4446e-11 | 0.0027377 | 0.010329 | -0.013059 | -5.372e-10 | -1.8393e-11 | -5.2459e-12 | 0.0036126 | -0.0089749 | -0.0045487 | 0 | 0 | 0 | -79.2833 | -79.2833 | -79.2833 | 0.32956 | 0.99546 | 1.0066 | 0.32984 | 0.99569 | 1.0063 | -26.3958 | -120.2889 | 119.9185 | -26.4386 | -120.2718 | 119.9213

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054979 | 0.0054979 | 0.0054979 | 0.0036664 | 0.0036664 | 0.0036664 | 0.063485 | 0.063485 | 0.063485 | 0.042336 | 0.042336 | 0.042336 | 0.0011677 | -0.00045812 | -0.00045812 | -0.00075354 | 0.00036746 | 0.00036746 | -0.069883 | -0.00026561 | -0.00026561 | 0.046627 | 0.00020208 | 0.00020208 | 88.6781 | 88.6781 | 88.6781 | -91.3673 | -91.3673 | -91.3673 | 1.1009 | 0.0083414 | 0.0083414 | 1.1015 | 0.0099053 | 0.0099053 | -0.36465 | -61.2173 | -61.2173 | -0.44145 | -62.5592 | -62.5592
Line_1 | 0 | 0 | 0 | 0.0018332 | 0.0018332 | 0.0018332 | 0 | 0 | 0 | 0.021168 | 0.021168 | 0.021168 | -6.6386e-12 | 2.1931e-11 | -4.1549e-11 | 0.00037677 | -0.00018373 | -0.00018373 | -3.5432e-11 | 3.4653e-11 | 1.9983e-12 | -0.023314 | -0.00010104 | -0.00010104 | 0 | 0 | 0 | 88.6327 | 88.6327 | 88.6327 | 1.1016 | 0.010219 | 0.010219 | 1.1015 | 0.0099053 | 0.0099053 | -0.4568 | -62.7791 | -62.7791 | -0.44145 | -62.5592 | -62.5592
Line_2 | 0 | 0 | 0 | 0.0018332 | 0.0018332 | 0.0018332 | 0 | 0 | 0 | 0.021168 | 0.021168 | 0.021168 | -6.6333e-12 | 2.1931e-11 | -4.155e-11 | 0.00037677 | -0.00018373 | -0.00018373 | -3.5422e-11 | 3.4652e-11 | 1.9986e-12 | -0.023314 | -0.00010104 | -0.00010104 | 0 | 0 | 0 | 88.6327 | 88.6327 | 88.6327 | 1.1016 | 0.010219 | 0.010219 | 1.1015 | 0.0099053 | 0.0099053 | -0.4568 | -62.7791 | -62.7791 | -0.44145 | -62.5592 | -62.5592

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054979 | 0.0054979 | 0.0054979 | 0.0036664 | 0.0036664 | 0.0036664 | 0.063485 | 0.063485 | 0.063485 | 0.042336 | 0.042336 | 0.042336 | 0.0011677 | -0.00045812 | -0.00045812 | -0.00075354 | 0.00036746 | 0.00036746 | -0.069883 | -0.00026561 | -0.00026561 | 0.046627 | 0.00020208 | 0.00020208 | 88.6781 | 88.6781 | 88.6781 | -91.3673 | -91.3673 | -91.3673 | 1.1009 | 0.0083414 | 0.0083414 | 1.1015 | 0.0099053 | 0.0099053 | -0.36465 | -61.2173 | -61.2173 | -0.44145 | -62.5592 | -62.5592
Line_1 | 0 | 0 | 0 | 0.0018332 | 0.0018332 | 0.0018332 | 0 | 0 | 0 | 0.021168 | 0.021168 | 0.021168 | -6.6386e-12 | 2.1931e-11 | -4.1549e-11 | 0.00037677 | -0.00018373 | -0.00018373 | -3.5432e-11 | 3.4653e-11 | 1.9983e-12 | -0.023314 | -0.00010104 | -0.00010104 | 0 | 0 | 0 | 88.6327 | 88.6327 | 88.6327 | 1.1016 | 0.010219 | 0.010219 | 1.1015 | 0.0099053 | 0.0099053 | -0.4568 | -62.7791 | -62.7791 | -0.44145 | -62.5592 | -62.5592
Line_2 | 0 | 0 | 0 | 0.0018332 | 0.0018332 | 0.0018332 | 0 | 0 | 0 | 0.021168 | 0.021168 | 0.021168 | -6.6333e-12 | 2.1931e-11 | -4.155e-11 | 0.00037677 | -0.00018373 | -0.00018373 | -3.5422e-11 | 3.4652e-11 | 1.9986e-12 | -0.023314 | -0.00010104 | -0.00010104 | 0 | 0 | 0 | 88.6327 | 88.6327 | 88.6327 | 1.1016 | 0.010219 | 0.010219 | 1.1015 | 0.0099053 | 0.0099053 | -0.4568 | -62.7791 | -62.7791 | -0.44145 | -62.5592 | -62.5592

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0037831 | 0.0037831 | 0.0037831 | 0.0025229 | 0.0025229 | 0.0025229 | 0.043684 | 0.043684 | 0.043684 | 0.029132 | 0.029132 | 0.029132 | -0.010322 | -0.0067832 | 0.017225 | 0.0068883 | 0.0045615 | -0.011459 | -0.047008 | 0.016223 | -0.0025541 | 0.031366 | -0.010803 | 0.0017058 | 102.1487 | 102.1487 | 102.1487 | -77.8967 | -77.8967 | -77.8967 | 1.1017 | 0.40253 | 0.39862 | 1.1024 | 0.40255 | 0.39768 | -0.23619 | -145.1602 | 93.7143 | -0.28297 | -145.0056 | 93.6359
Line_1 | 0 | 0 | 0 | 0.0012614 | 0.0012614 | 0.0012614 | 0 | 0 | 0 | 0.014566 | 0.014566 | 0.014566 | -1.0067e-11 | 8.7764e-10 | 8.5694e-10 | -0.0034442 | -0.0022808 | 0.0057293 | -2.2698e-11 | -6.8552e-10 | -7.1234e-10 | -0.015683 | 0.0054017 | -0.00085292 | 0 | 0 | 0 | 102.1033 | 102.1033 | 102.1033 | 1.1025 | 0.40255 | 0.39749 | 1.1024 | 0.40255 | 0.39768 | -0.29232 | -144.9747 | 93.6201 | -0.28297 | -145.0056 | 93.6359
Line_2 | 0 | 0 | 0 | 0.0012614 | 0.0012614 | 0.0012614 | 0 | 0 | 0 | 0.014566 | 0.014566 | 0.014566 | -1.0072e-11 | 8.7763e-10 | 8.5694e-10 | -0.0034442 | -0.0022808 | 0.0057293 | -2.2687e-11 | -6.8552e-10 | -7.1234e-10 | -0.015683 | 0.0054017 | -0.00085292 | 0 | 0 | 0 | 102.1033 | 102.1033 | 102.1033 | 1.1025 | 0.40255 | 0.39749 | 1.1024 | 0.40255 | 0.39768 | -0.29232 | -144.9747 | 93.6201 | -0.28297 | -145.0056 | 93.6359

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0037831 | 0.0037831 | 0.0037831 | 0.0025229 | 0.0025229 | 0.0025229 | 0.043684 | 0.043684 | 0.043684 | 0.029132 | 0.029132 | 0.029132 | -0.010322 | -0.0067832 | 0.017225 | 0.0068883 | 0.0045615 | -0.011459 | -0.047008 | 0.016223 | -0.0025541 | 0.031366 | -0.010803 | 0.0017058 | 102.1487 | 102.1487 | 102.1487 | -77.8967 | -77.8967 | -77.8967 | 1.1017 | 0.40253 | 0.39862 | 1.1024 | 0.40255 | 0.39768 | -0.23619 | -145.1602 | 93.7143 | -0.28297 | -145.0056 | 93.6359
Line_1 | 0 | 0 | 0 | 0.0012614 | 0.0012614 | 0.0012614 | 0 | 0 | 0 | 0.014566 | 0.014566 | 0.014566 | -1.0067e-11 | 8.7764e-10 | 8.5694e-10 | -0.0034442 | -0.0022808 | 0.0057293 | -2.2698e-11 | -6.8552e-10 | -7.1234e-10 | -0.015683 | 0.0054017 | -0.00085292 | 0 | 0 | 0 | 102.1033 | 102.1033 | 102.1033 | 1.1025 | 0.40255 | 0.39749 | 1.1024 | 0.40255 | 0.39768 | -0.29232 | -144.9747 | 93.6201 | -0.28297 | -145.0056 | 93.6359
Line_2 | 0 | 0 | 0 | 0.0012614 | 0.0012614 | 0.0012614 | 0 | 0 | 0 | 0.014566 | 0.014566 | 0.014566 | -1.0072e-11 | 8.7763e-10 | 8.5694e-10 | -0.0034442 | -0.0022808 | 0.0057293 | -2.2687e-11 | -6.8552e-10 | -7.1234e-10 | -0.015683 | 0.0054017 | -0.00085292 | 0 | 0 | 0 | 102.1033 | 102.1033 | 102.1033 | 1.1025 | 0.40255 | 0.39749 | 1.1024 | 0.40255 | 0.39768 | -0.29232 | -144.9747 | 93.6201 | -0.28297 | -145.0056 | 93.6359

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049947 | 0.0049947 | 0.0049947 | 0.0033308 | 0.0033308 | 0.0033308 | 0.057674 | 0.057674 | 0.057674 | 0.038461 | 0.038461 | 0.038461 | 0.001156 | -0.00037877 | -0.00037877 | -0.00073103 | 0.00035075 | 0.00035075 | -0.057684 | -0.00021522 | -0.00021522 | 0.038487 | 0.00016431 | 0.00016431 | 88.4882 | 88.4882 | 88.4882 | -91.5989 | -91.5989 | -91.5989 | 1.0004 | 0.0075535 | 0.0075535 | 1.0009 | 0.010071 | 0.010071 | -0.36371 | -61.9066 | -61.9066 | -0.51076 | -66.4987 | -66.4987
Line_1 | 0 | 0 | 0 | 0.0016654 | 0.0016654 | 0.0016654 | 0 | 0 | 0 | 0.019231 | 0.019231 | 0.019231 | -3.6549e-12 | 2.3019e-11 | -3.89e-11 | 0.00036552 | -0.00017538 | -0.00017538 | -3.4603e-11 | 3.0917e-11 | 4.8325e-12 | -0.019244 | -8.2154e-05 | -8.2153e-05 | 0 | 0 | 0 | 88.4011 | 88.4011 | 88.4011 | 1.001 | 0.01058 | 0.01058 | 1.0009 | 0.010071 | 0.010071 | -0.54017 | -67.1563 | -67.1563 | -0.51076 | -66.4987 | -66.4987
Line_2 | 0 | 0 | 0 | 0.0016654 | 0.0016654 | 0.0016654 | 0 | 0 | 0 | 0.019231 | 0.019231 | 0.019231 | -3.6643e-12 | 2.302e-11 | -3.89e-11 | 0.00036552 | -0.00017538 | -0.00017538 | -3.4599e-11 | 3.0917e-11 | 4.8326e-12 | -0.019244 | -8.2154e-05 | -8.2153e-05 | 0 | 0 | 0 | 88.4011 | 88.4011 | 88.4011 | 1.001 | 0.01058 | 0.01058 | 1.0009 | 0.010071 | 0.010071 | -0.54017 | -67.1563 | -67.1563 | -0.51076 | -66.4987 | -66.4987

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049947 | 0.0049947 | 0.0049947 | 0.0033308 | 0.0033308 | 0.0033308 | 0.057674 | 0.057674 | 0.057674 | 0.038461 | 0.038461 | 0.038461 | 0.001156 | -0.00037877 | -0.00037877 | -0.00073103 | 0.00035075 | 0.00035075 | -0.057684 | -0.00021522 | -0.00021522 | 0.038487 | 0.00016431 | 0.00016431 | 88.4882 | 88.4882 | 88.4882 | -91.5989 | -91.5989 | -91.5989 | 1.0004 | 0.0075535 | 0.0075535 | 1.0009 | 0.010071 | 0.010071 | -0.36371 | -61.9066 | -61.9066 | -0.51076 | -66.4987 | -66.4987
Line_1 | 0 | 0 | 0 | 0.0016654 | 0.0016654 | 0.0016654 | 0 | 0 | 0 | 0.019231 | 0.019231 | 0.019231 | -3.6549e-12 | 2.3019e-11 | -3.89e-11 | 0.00036552 | -0.00017538 | -0.00017538 | -3.4603e-11 | 3.0917e-11 | 4.8325e-12 | -0.019244 | -8.2154e-05 | -8.2153e-05 | 0 | 0 | 0 | 88.4011 | 88.4011 | 88.4011 | 1.001 | 0.01058 | 0.01058 | 1.0009 | 0.010071 | 0.010071 | -0.54017 | -67.1563 | -67.1563 | -0.51076 | -66.4987 | -66.4987
Line_2 | 0 | 0 | 0 | 0.0016654 | 0.0016654 | 0.0016654 | 0 | 0 | 0 | 0.019231 | 0.019231 | 0.019231 | -3.6643e-12 | 2.302e-11 | -3.89e-11 | 0.00036552 | -0.00017538 | -0.00017538 | -3.4599e-11 | 3.0917e-11 | 4.8326e-12 | -0.019244 | -8.2154e-05 | -8.2153e-05 | 0 | 0 | 0 | 88.4011 | 88.4011 | 88.4011 | 1.001 | 0.01058 | 0.01058 | 1.0009 | 0.010071 | 0.010071 | -0.54017 | -67.1563 | -67.1563 | -0.51076 | -66.4987 | -66.4987

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035774 | 0.0035774 | 0.0035774 | 0.0023857 | 0.0023857 | 0.0023857 | 0.041309 | 0.041309 | 0.041309 | 0.027548 | 0.027548 | 0.027548 | -0.0079416 | -0.0054038 | 0.01355 | 0.0053054 | 0.0036671 | -0.0089876 | -0.04059 | 0.012751 | -0.0019743 | 0.027087 | -0.0084874 | 0.0013133 | 100.8193 | 100.8193 | 100.8193 | -79.2679 | -79.2679 | -79.2679 | 1.0012 | 0.33525 | 0.33148 | 1.002 | 0.33563 | 0.32972 | -0.25116 | -146.2139 | 92.5292 | -0.34987 | -145.9007 | 92.4184
Line_1 | 0 | 0 | 0 | 0.0011929 | 0.0011929 | 0.0011929 | 0 | 0 | 0 | 0.013774 | 0.013774 | 0.013774 | -7.7849e-12 | 6.9463e-10 | 6.7244e-10 | -0.0026527 | -0.0018335 | 0.0044938 | -2.3708e-11 | -5.3646e-10 | -5.5959e-10 | -0.013543 | 0.0042437 | -0.00065667 | 0 | 0 | 0 | 100.7321 | 100.7321 | 100.7321 | 1.0021 | 0.3357 | 0.32937 | 1.002 | 0.33563 | 0.32972 | -0.3696 | -145.8381 | 92.3962 | -0.34987 | -145.9007 | 92.4184
Line_2 | 0 | 0 | 0 | 0.0011929 | 0.0011929 | 0.0011929 | 0 | 0 | 0 | 0.013774 | 0.013774 | 0.013774 | -7.7801e-12 | 6.9464e-10 | 6.7244e-10 | -0.0026527 | -0.0018335 | 0.0044938 | -2.3704e-11 | -5.3647e-10 | -5.5959e-10 | -0.013543 | 0.0042437 | -0.00065667 | 0 | 0 | 0 | 100.7321 | 100.7321 | 100.7321 | 1.0021 | 0.3357 | 0.32937 | 1.002 | 0.33563 | 0.32972 | -0.3696 | -145.8381 | 92.3962 | -0.34987 | -145.9007 | 92.4184

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035774 | 0.0035774 | 0.0035774 | 0.0023857 | 0.0023857 | 0.0023857 | 0.041309 | 0.041309 | 0.041309 | 0.027548 | 0.027548 | 0.027548 | -0.0079416 | -0.0054038 | 0.01355 | 0.0053054 | 0.0036671 | -0.0089876 | -0.04059 | 0.012751 | -0.0019743 | 0.027087 | -0.0084874 | 0.0013133 | 100.8193 | 100.8193 | 100.8193 | -79.2679 | -79.2679 | -79.2679 | 1.0012 | 0.33525 | 0.33148 | 1.002 | 0.33563 | 0.32972 | -0.25116 | -146.2139 | 92.5292 | -0.34987 | -145.9007 | 92.4184
Line_1 | 0 | 0 | 0 | 0.0011929 | 0.0011929 | 0.0011929 | 0 | 0 | 0 | 0.013774 | 0.013774 | 0.013774 | -7.7849e-12 | 6.9463e-10 | 6.7244e-10 | -0.0026527 | -0.0018335 | 0.0044938 | -2.3708e-11 | -5.3646e-10 | -5.5959e-10 | -0.013543 | 0.0042437 | -0.00065667 | 0 | 0 | 0 | 100.7321 | 100.7321 | 100.7321 | 1.0021 | 0.3357 | 0.32937 | 1.002 | 0.33563 | 0.32972 | -0.3696 | -145.8381 | 92.3962 | -0.34987 | -145.9007 | 92.4184
Line_2 | 0 | 0 | 0 | 0.0011929 | 0.0011929 | 0.0011929 | 0 | 0 | 0 | 0.013774 | 0.013774 | 0.013774 | -7.7801e-12 | 6.9464e-10 | 6.7244e-10 | -0.0026527 | -0.0018335 | 0.0044938 | -2.3704e-11 | -5.3647e-10 | -5.5959e-10 | -0.013543 | 0.0042437 | -0.00065667 | 0 | 0 | 0 | 100.7321 | 100.7321 | 100.7321 | 1.0021 | 0.3357 | 0.32937 | 1.002 | 0.33563 | 0.32972 | -0.3696 | -145.8381 | 92.3962 | -0.34987 | -145.9007 | 92.4184