## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-14 | 7.8159e-15 | -3.1264e-14 | 3.6475e-14 | 5.2111e-15 | 1.0422e-14 | 5.2106e-14 | 5.7634e-09 | -5.7634e-09 | -3.1264e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -2.3534e-12 | -180 | 180 | -2.3094e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -2.6051e-15 | -1.0421e-14 | -1.5632e-14 | 1.5632e-14 | 1.0421e-14 | -2.0926e-28 | -1.9211e-09 | 1.9211e-09 | 2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -2.301e-12 | -180 | 180 | -2.3094e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -1.3026e-14 | 2.0497e-19 | -5.2106e-15 | 2.6053e-14 | -1.0421e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -2.294e-12 | -180 | 180 | -2.3094e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-14 | 7.8159e-15 | -3.1264e-14 | 3.6475e-14 | 5.2111e-15 | 1.0422e-14 | 5.2106e-14 | 5.7634e-09 | -5.7634e-09 | -3.1264e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -2.3534e-12 | -180 | 180 | -2.3094e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -2.6051e-15 | -1.0421e-14 | -1.5632e-14 | 1.5632e-14 | 1.0421e-14 | -2.0926e-28 | -1.9211e-09 | 1.9211e-09 | 2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -2.301e-12 | -180 | 180 | -2.3094e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -1.3026e-14 | 2.0497e-19 | -5.2106e-15 | 2.6053e-14 | -1.0421e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -2.294e-12 | -180 | 180 | -2.3094e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -7.3076e-10 | -2.0393e-09 | 1.5632e-14 | 7.3076e-10 | 2.0393e-09 | 2.6053e-14 | 5.8225e-09 | -3.5561e-09 | -1.0421e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | -2.3622e-12 | -164.9034 | 158.1097 | -2.3326e-12 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 2.4359e-10 | 6.7976e-10 | -1.0421e-14 | -2.4359e-10 | -6.7977e-10 | 5.2106e-15 | -1.9408e-09 | 1.1854e-09 | 1.0421e-14 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | -2.3267e-12 | -164.9034 | 158.1097 | -2.3326e-12 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 2.4357e-10 | 6.7978e-10 | 6.3639e-28 | -2.4357e-10 | -6.7978e-10 | -5.2106e-15 | -1.9408e-09 | 1.1853e-09 | 1.5632e-14 | 1.9408e-09 | -1.1853e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | -2.3203e-12 | -164.9034 | 158.1097 | -2.3326e-12 | -164.9034 | 158.1097

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -7.3076e-10 | -2.0393e-09 | 1.5632e-14 | 7.3076e-10 | 2.0393e-09 | 2.6053e-14 | 5.8225e-09 | -3.5561e-09 | -1.0421e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | -2.3622e-12 | -164.9034 | 158.1097 | -2.3326e-12 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 2.4359e-10 | 6.7976e-10 | -1.0421e-14 | -2.4359e-10 | -6.7977e-10 | 5.2106e-15 | -1.9408e-09 | 1.1854e-09 | 1.0421e-14 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | -2.3267e-12 | -164.9034 | 158.1097 | -2.3326e-12 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 2.4357e-10 | 6.7978e-10 | 6.3639e-28 | -2.4357e-10 | -6.7978e-10 | -5.2106e-15 | -1.9408e-09 | 1.1853e-09 | 1.5632e-14 | 1.9408e-09 | -1.1853e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | -2.3203e-12 | -164.9034 | 158.1097 | -2.3326e-12 | -164.9034 | 158.1097

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -1.1842e-14 | -1.8948e-14 | 1.6579e-14 | 1.3027e-14 | 1.8949e-14 | 9.4739e-15 | 4.7631e-09 | -4.7631e-09 | -1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -2.3022e-13 | -180 | 180 | -2.3123e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -2.3681e-15 | -4.7366e-15 | 2.3685e-15 | 3.5525e-15 | 9.4736e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -2.2943e-13 | -180 | 180 | -2.3123e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3681e-15 | 4.7373e-15 | -2.3685e-15 | 3.5525e-15 | -2.6075e-19 | 0 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -2.6012e-13 | -180 | 180 | -2.3123e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -1.1842e-14 | -1.8948e-14 | 1.6579e-14 | 1.3027e-14 | 1.8949e-14 | 9.4739e-15 | 4.7631e-09 | -4.7631e-09 | -1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -2.3022e-13 | -180 | 180 | -2.3123e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -2.3681e-15 | -4.7366e-15 | 2.3685e-15 | 3.5525e-15 | 9.4736e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -2.2943e-13 | -180 | 180 | -2.3123e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3681e-15 | 4.7373e-15 | -2.3685e-15 | 3.5525e-15 | -2.6075e-19 | 0 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -2.6012e-13 | -180 | 180 | -2.3123e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -5.5598e-10 | -1.5515e-09 | 4.737e-15 | 5.5598e-10 | 1.5515e-09 | 2.3685e-15 | 4.8332e-09 | -3.1089e-09 | -4.737e-15 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | -3.3401e-12 | -166.2936 | 160.6236 | -3.3461e-12 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 1.8531e-10 | 5.1715e-10 | -2.3685e-15 | -1.8531e-10 | -5.1716e-10 | -4.737e-15 | -1.611e-09 | 1.0363e-09 | 1.3832e-28 | 1.611e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | -3.3457e-12 | -166.2936 | 160.6236 | -3.3461e-12 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 1.8532e-10 | 5.1715e-10 | 4.737e-15 | -1.8532e-10 | -5.1716e-10 | 2.3685e-15 | -1.6111e-09 | 1.0363e-09 | -2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | -3.3711e-12 | -166.2936 | 160.6236 | -3.3461e-12 | -166.2936 | 160.6236

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -5.5598e-10 | -1.5515e-09 | 4.737e-15 | 5.5598e-10 | 1.5515e-09 | 2.3685e-15 | 4.8332e-09 | -3.1089e-09 | -4.737e-15 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | -3.3401e-12 | -166.2936 | 160.6236 | -3.3461e-12 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 1.8531e-10 | 5.1715e-10 | -2.3685e-15 | -1.8531e-10 | -5.1716e-10 | -4.737e-15 | -1.611e-09 | 1.0363e-09 | 1.3832e-28 | 1.611e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | -3.3457e-12 | -166.2936 | 160.6236 | -3.3461e-12 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 1.8532e-10 | 5.1715e-10 | 4.737e-15 | -1.8532e-10 | -5.1716e-10 | 2.3685e-15 | -1.6111e-09 | 1.0363e-09 | -2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | -3.3711e-12 | -166.2936 | 160.6236 | -3.3461e-12 | -166.2936 | 160.6236

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0026825 | 0.0026825 | 0.0026825 | 0.0017889 | 0.0017889 | 0.0017889 | 0.030975 | 0.030975 | 0.030975 | 0.020656 | 0.020656 | 0.020656 | -1.7983e-07 | -0.029477 | 0.029537 | 5.9855e-06 | 0.019672 | -0.019683 | -0.016875 | 0.000127 | -1.4648e-05 | 0.011259 | -6.3239e-05 | 4.2548e-08 | 90.1375 | 90.1375 | 90.1375 | -89.9078 | -89.9079 | -89.9079 |  | 0.54479 | 0.95166 | 0.95359 | 0.54507 | 0.95238 | 0.95288 | 0.13694 | -90.1093 | 90.1091 | 0.061703 | -90.0921 | 90.092
Line_1 | 0 | 0 | 0 | 0.00089444 | 0.00089444 | 0.00089444 | 0 | 0 | 0 | 0.010328 | 0.010328 | 0.010328 | 1.1091e-09 | 3.3461e-12 | 2.5835e-12 | -2.9922e-06 | -0.0098362 | 0.0098414 | 1.7825e-12 | 1.9158e-09 | -1.9162e-09 | -0.0056296 | 3.162e-05 | -2.2232e-08 | 0 | 0 | 0 | 90.0922 | 90.0921 | 90.0921 |  | 0.54513 | 0.95252 | 0.95274 | 0.54507 | 0.95238 | 0.95288 | 0.04666 | -90.0886 | 90.0886 | 0.061703 | -90.0921 | 90.092
Line_2 | 0 | 0 | 0 | 0.00089444 | 0.00089444 | 0.00089444 | 0 | 0 | 0 | 0.010328 | 0.010328 | 0.010328 | 1.1091e-09 | 3.3281e-12 | 2.5835e-12 | -2.9922e-06 | -0.0098362 | 0.0098414 | 1.7825e-12 | 1.9158e-09 | -1.9162e-09 | -0.0056296 | 3.162e-05 | -2.2232e-08 | 0 | 0 | 0 | 90.0922 | 90.0921 | 90.0921 |  | 0.54513 | 0.95252 | 0.95274 | 0.54507 | 0.95238 | 0.95288 | 0.04666 | -90.0886 | 90.0886 | 0.061703 | -90.0921 | 90.092

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0026825 | 0.0026825 | 0.0026825 | 0.0017889 | 0.0017889 | 0.0017889 | 0.030975 | 0.030975 | 0.030975 | 0.020656 | 0.020656 | 0.020656 | -1.7983e-07 | -0.029477 | 0.029537 | 5.9855e-06 | 0.019672 | -0.019683 | -0.016875 | 0.000127 | -1.4648e-05 | 0.011259 | -6.3239e-05 | 4.2548e-08 | 90.1375 | 90.1375 | 90.1375 | -89.9078 | -89.9079 | -89.9079 |  | 0.54479 | 0.95166 | 0.95359 | 0.54507 | 0.95238 | 0.95288 | 0.13694 | -90.1093 | 90.1091 | 0.061703 | -90.0921 | 90.092
Line_1 | 0 | 0 | 0 | 0.00089444 | 0.00089444 | 0.00089444 | 0 | 0 | 0 | 0.010328 | 0.010328 | 0.010328 | 1.1091e-09 | 3.3461e-12 | 2.5835e-12 | -2.9922e-06 | -0.0098362 | 0.0098414 | 1.7825e-12 | 1.9158e-09 | -1.9162e-09 | -0.0056296 | 3.162e-05 | -2.2232e-08 | 0 | 0 | 0 | 90.0922 | 90.0921 | 90.0921 |  | 0.54513 | 0.95252 | 0.95274 | 0.54507 | 0.95238 | 0.95288 | 0.04666 | -90.0886 | 90.0886 | 0.061703 | -90.0921 | 90.092
Line_2 | 0 | 0 | 0 | 0.00089444 | 0.00089444 | 0.00089444 | 0 | 0 | 0 | 0.010328 | 0.010328 | 0.010328 | 1.1091e-09 | 3.3281e-12 | 2.5835e-12 | -2.9922e-06 | -0.0098362 | 0.0098414 | 1.7825e-12 | 1.9158e-09 | -1.9162e-09 | -0.0056296 | 3.162e-05 | -2.2232e-08 | 0 | 0 | 0 | 90.0922 | 90.0921 | 90.0921 |  | 0.54513 | 0.95252 | 0.95274 | 0.54507 | 0.95238 | 0.95288 | 0.04666 | -90.0886 | 90.0886 | 0.061703 | -90.0921 | 90.092

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0018473 | 0.0018473 | 0.0018473 | 0.0012319 | 0.0012319 | 0.0012319 | 0.021331 | 0.021331 | 0.021331 | 0.014225 | 0.014225 | 0.014225 | -0.0054707 | -0.017002 | 0.022501 | 0.0036476 | 0.01135 | -0.014999 | -0.014652 | 0.0081227 | -0.0014199 | 0.0097768 | -0.005405 | 0.00093779 | 103.5802 | 103.5802 | 103.5802 | -76.4652 | -76.4652 | -76.4652 |  | 0.73322 | 0.88338 | 1.057 | 0.73358 | 0.88374 | 1.0565 | -6.8941 | -101.9553 | 99.9695 | -6.9249 | -101.9301 | 99.9573
Line_1 | 0 | 0 | 0 | 0.00061595 | 0.00061595 | 0.00061595 | 0 | 0 | 0 | 0.0071124 | 0.0071124 | 0.0071124 | 9.6387e-10 | 5.2468e-10 | -8.9309e-11 | -0.0018238 | -0.0056749 | 0.0074997 | -3.5708e-10 | 1.106e-09 | -1.4605e-09 | -0.0048884 | 0.0027025 | -0.00046889 | 0 | 0 | 0 | 103.5348 | 103.5348 | 103.5348 |  | 0.73365 | 0.88382 | 1.0564 | 0.73358 | 0.88374 | 1.0565 | -6.931 | -101.925 | 99.9548 | -6.9249 | -101.9301 | 99.9573
Line_2 | 0 | 0 | 0 | 0.00061595 | 0.00061595 | 0.00061595 | 0 | 0 | 0 | 0.0071124 | 0.0071124 | 0.0071124 | 9.6387e-10 | 5.2467e-10 | -8.931e-11 | -0.0018238 | -0.0056749 | 0.0074997 | -3.5708e-10 | 1.106e-09 | -1.4605e-09 | -0.0048884 | 0.0027025 | -0.00046889 | 0 | 0 | 0 | 103.5348 | 103.5348 | 103.5348 |  | 0.73365 | 0.88382 | 1.0564 | 0.73358 | 0.88374 | 1.0565 | -6.931 | -101.925 | 99.9548 | -6.9249 | -101.9301 | 99.9573

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0018473 | 0.0018473 | 0.0018473 | 0.0012319 | 0.0012319 | 0.0012319 | 0.021331 | 0.021331 | 0.021331 | 0.014225 | 0.014225 | 0.014225 | -0.0054707 | -0.017002 | 0.022501 | 0.0036476 | 0.01135 | -0.014999 | -0.014652 | 0.0081227 | -0.0014199 | 0.0097768 | -0.005405 | 0.00093779 | 103.5802 | 103.5802 | 103.5802 | -76.4652 | -76.4652 | -76.4652 |  | 0.73322 | 0.88338 | 1.057 | 0.73358 | 0.88374 | 1.0565 | -6.8941 | -101.9553 | 99.9695 | -6.9249 | -101.9301 | 99.9573
Line_1 | 0 | 0 | 0 | 0.00061595 | 0.00061595 | 0.00061595 | 0 | 0 | 0 | 0.0071124 | 0.0071124 | 0.0071124 | 9.6387e-10 | 5.2468e-10 | -8.9309e-11 | -0.0018238 | -0.0056749 | 0.0074997 | -3.5708e-10 | 1.106e-09 | -1.4605e-09 | -0.0048884 | 0.0027025 | -0.00046889 | 0 | 0 | 0 | 103.5348 | 103.5348 | 103.5348 |  | 0.73365 | 0.88382 | 1.0564 | 0.73358 | 0.88374 | 1.0565 | -6.931 | -101.925 | 99.9548 | -6.9249 | -101.9301 | 99.9573
Line_2 | 0 | 0 | 0 | 0.00061595 | 0.00061595 | 0.00061595 | 0 | 0 | 0 | 0.0071124 | 0.0071124 | 0.0071124 | 9.6387e-10 | 5.2467e-10 | -8.931e-11 | -0.0018238 | -0.0056749 | 0.0074997 | -3.5708e-10 | 1.106e-09 | -1.4605e-09 | -0.0048884 | 0.0027025 | -0.00046889 | 0 | 0 | 0 | 103.5348 | 103.5348 | 103.5348 |  | 0.73365 | 0.88382 | 1.0564 | 0.73358 | 0.88374 | 1.0565 | -6.931 | -101.925 | 99.9548 | -6.9249 | -101.9301 | 99.9573

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002436 | 0.002436 | 0.002436 | 0.0016245 | 0.0016245 | 0.0016245 | 0.028128 | 0.028128 | 0.028128 | 0.018758 | 0.018758 | 0.018758 | -2.8827e-07 | -0.024312 | 0.024407 | 9.4766e-06 | 0.016237 | -0.016253 | -0.013918 | 0.00014782 | -5.3099e-05 | 0.0092866 | -6.9059e-05 | 1.5504e-05 | 90.2363 | 90.2363 | 90.2363 | -89.8508 | -89.8509 | -89.8509 |  | 0.49481 | 0.86434 | 0.86771 | 0.49507 | 0.86559 | 0.86646 | 0.23512 | -90.1121 | 90.1116 | 0.090691 | -90.0946 | 90.0945
Line_1 | 0 | 0 | 0 | 0.00081225 | 0.00081225 | 0.00081225 | 0 | 0 | 0 | 0.0093791 | 0.0093791 | 0.0093791 | 9.1658e-10 | 3.1144e-12 | 1.934e-12 | -4.7378e-06 | -0.0081184 | 0.0081266 | 1.9581e-12 | 1.583e-09 | -1.5837e-09 | -0.0046433 | 3.453e-05 | -7.7527e-06 | 0 | 0 | 0 | 90.1492 | 90.1491 | 90.1491 |  | 0.49512 | 0.86584 | 0.86621 | 0.49507 | 0.86559 | 0.86646 | 0.061813 | -90.0911 | 90.091 | 0.090691 | -90.0946 | 90.0945
Line_2 | 0 | 0 | 0 | 0.00081225 | 0.00081225 | 0.00081225 | 0 | 0 | 0 | 0.0093791 | 0.0093791 | 0.0093791 | 9.1657e-10 | 3.1103e-12 | 1.9257e-12 | -4.7378e-06 | -0.0081184 | 0.0081266 | 1.958e-12 | 1.583e-09 | -1.5837e-09 | -0.0046433 | 3.453e-05 | -7.7527e-06 | 0 | 0 | 0 | 90.1492 | 90.1491 | 90.1491 |  | 0.49512 | 0.86584 | 0.86621 | 0.49507 | 0.86559 | 0.86646 | 0.061813 | -90.0911 | 90.091 | 0.090691 | -90.0946 | 90.0945

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002436 | 0.002436 | 0.002436 | 0.0016245 | 0.0016245 | 0.0016245 | 0.028128 | 0.028128 | 0.028128 | 0.018758 | 0.018758 | 0.018758 | -2.8827e-07 | -0.024312 | 0.024407 | 9.4766e-06 | 0.016237 | -0.016253 | -0.013918 | 0.00014782 | -5.3099e-05 | 0.0092866 | -6.9059e-05 | 1.5504e-05 | 90.2363 | 90.2363 | 90.2363 | -89.8508 | -89.8509 | -89.8509 |  | 0.49481 | 0.86434 | 0.86771 | 0.49507 | 0.86559 | 0.86646 | 0.23512 | -90.1121 | 90.1116 | 0.090691 | -90.0946 | 90.0945
Line_1 | 0 | 0 | 0 | 0.00081225 | 0.00081225 | 0.00081225 | 0 | 0 | 0 | 0.0093791 | 0.0093791 | 0.0093791 | 9.1658e-10 | 3.1144e-12 | 1.934e-12 | -4.7378e-06 | -0.0081184 | 0.0081266 | 1.9581e-12 | 1.583e-09 | -1.5837e-09 | -0.0046433 | 3.453e-05 | -7.7527e-06 | 0 | 0 | 0 | 90.1492 | 90.1491 | 90.1491 |  | 0.49512 | 0.86584 | 0.86621 | 0.49507 | 0.86559 | 0.86646 | 0.061813 | -90.0911 | 90.091 | 0.090691 | -90.0946 | 90.0945
Line_2 | 0 | 0 | 0 | 0.00081225 | 0.00081225 | 0.00081225 | 0 | 0 | 0 | 0.0093791 | 0.0093791 | 0.0093791 | 9.1657e-10 | 3.1103e-12 | 1.9257e-12 | -4.7378e-06 | -0.0081184 | 0.0081266 | 1.958e-12 | 1.583e-09 | -1.5837e-09 | -0.0046433 | 3.453e-05 | -7.7527e-06 | 0 | 0 | 0 | 90.1492 | 90.1491 | 90.1491 |  | 0.49512 | 0.86584 | 0.86621 | 0.49507 | 0.86559 | 0.86646 | 0.061813 | -90.0911 | 90.091 | 0.090691 | -90.0946 | 90.0945

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0017462 | 0.0017462 | 0.0017462 | 0.0011645 | 0.0011645 | 0.0011645 | 0.020163 | 0.020163 | 0.020163 | 0.013447 | 0.013447 | 0.013447 | -0.0043175 | -0.014863 | 0.019229 | 0.0028787 | 0.00993 | -0.012812 | -0.012381 | 0.0064294 | -0.0011518 | 0.0082633 | -0.00427 | 0.00075108 | 102.5373 | 102.5373 | 102.5373 | -77.5498 | -77.5498 | -77.5498 |  | 0.65029 | 0.80312 | 0.95536 | 0.65076 | 0.80386 | 0.95447 | -6.6877 | -100.8555 | 99.1095 | -6.7568 | -100.8181 | 99.0952
Line_1 | 0 | 0 | 0 | 0.00058225 | 0.00058225 | 0.00058225 | 0 | 0 | 0 | 0.0067233 | 0.0067233 | 0.0067233 | 8.1658e-10 | 4.1397e-10 | -7.0469e-11 | -0.0014394 | -0.004965 | 0.0064062 | -2.8135e-10 | 9.6899e-10 | -1.2487e-09 | -0.0041317 | 0.002135 | -0.00037554 | 0 | 0 | 0 | 102.4502 | 102.4502 | 102.4502 |  | 0.65085 | 0.80401 | 0.9543 | 0.65076 | 0.80386 | 0.95447 | -6.7706 | -100.8107 | 99.0924 | -6.7568 | -100.8181 | 99.0952
Line_2 | 0 | 0 | 0 | 0.00058225 | 0.00058225 | 0.00058225 | 0 | 0 | 0 | 0.0067233 | 0.0067233 | 0.0067233 | 8.1659e-10 | 4.1397e-10 | -7.0474e-11 | -0.0014394 | -0.004965 | 0.0064062 | -2.8134e-10 | 9.69e-10 | -1.2487e-09 | -0.0041317 | 0.002135 | -0.00037554 | 0 | 0 | 0 | 102.4502 | 102.4502 | 102.4502 |  | 0.65085 | 0.80401 | 0.9543 | 0.65076 | 0.80386 | 0.95447 | -6.7706 | -100.8107 | 99.0924 | -6.7568 | -100.8181 | 99.0952

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0017462 | 0.0017462 | 0.0017462 | 0.0011645 | 0.0011645 | 0.0011645 | 0.020163 | 0.020163 | 0.020163 | 0.013447 | 0.013447 | 0.013447 | -0.0043175 | -0.014863 | 0.019229 | 0.0028787 | 0.00993 | -0.012812 | -0.012381 | 0.0064294 | -0.0011518 | 0.0082633 | -0.00427 | 0.00075108 | 102.5373 | 102.5373 | 102.5373 | -77.5498 | -77.5498 | -77.5498 |  | 0.65029 | 0.80312 | 0.95536 | 0.65076 | 0.80386 | 0.95447 | -6.6877 | -100.8555 | 99.1095 | -6.7568 | -100.8181 | 99.0952
Line_1 | 0 | 0 | 0 | 0.00058225 | 0.00058225 | 0.00058225 | 0 | 0 | 0 | 0.0067233 | 0.0067233 | 0.0067233 | 8.1658e-10 | 4.1397e-10 | -7.0469e-11 | -0.0014394 | -0.004965 | 0.0064062 | -2.8135e-10 | 9.6899e-10 | -1.2487e-09 | -0.0041317 | 0.002135 | -0.00037554 | 0 | 0 | 0 | 102.4502 | 102.4502 | 102.4502 |  | 0.65085 | 0.80401 | 0.9543 | 0.65076 | 0.80386 | 0.95447 | -6.7706 | -100.8107 | 99.0924 | -6.7568 | -100.8181 | 99.0952
Line_2 | 0 | 0 | 0 | 0.00058225 | 0.00058225 | 0.00058225 | 0 | 0 | 0 | 0.0067233 | 0.0067233 | 0.0067233 | 8.1659e-10 | 4.1397e-10 | -7.0474e-11 | -0.0014394 | -0.004965 | 0.0064062 | -2.8134e-10 | 9.69e-10 | -1.2487e-09 | -0.0041317 | 0.002135 | -0.00037554 | 0 | 0 | 0 | 102.4502 | 102.4502 | 102.4502 |  | 0.65085 | 0.80401 | 0.9543 | 0.65076 | 0.80386 | 0.95447 | -6.7706 | -100.8107 | 99.0924 | -6.7568 | -100.8181 | 99.0952

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0026908 | 0.0026908 | 0.0026908 | 0.0017944 | 0.0017944 | 0.0017944 | 0.03107 | 0.03107 | 0.03107 | 0.02072 | 0.02072 | 0.02072 | 6.0582e-05 | -1.7763e-07 | -1.7761e-07 | -1.6498e-05 | 6.0193e-06 | 6.0193e-06 | 0.017092 | -0.016979 | -0.016979 | -0.011393 | 0.011329 | 0.011329 | -89.8801 | -89.8801 | -89.8801 | 90.0745 | 90.0745 | 90.0745 |  | 0.55012 | 0.54648 | 0.54648 | 0.54983 | 0.54676 | 0.54676 | -0.083176 | -179.8807 | -179.8807 | -0.0084677 | -179.9559 | -179.9559
Line_1 | 0 | 0 | 0 | 0.00089721 | 0.00089721 | 0.00089721 | 0 | 0 | 0 | 0.01036 | 0.01036 | 0.01036 | 1.1092e-09 | 7.3449e-12 | 5.3882e-12 | 8.2497e-06 | -3.0096e-06 | -3.0096e-06 | 2.4541e-13 | -1.9095e-09 | 1.9106e-09 | 0.0056963 | -0.0056645 | -0.0056645 | 0 | 0 | 0 | -89.9255 | -89.9255 | -89.9255 |  | 0.54977 | 0.54682 | 0.54682 | 0.54983 | 0.54676 | 0.54676 | 0.0064889 | -179.971 | -179.971 | -0.0084677 | -179.9559 | -179.9559
Line_2 | 0 | 0 | 0 | 0.00089721 | 0.00089721 | 0.00089721 | 0 | 0 | 0 | 0.01036 | 0.01036 | 0.01036 | 1.1092e-09 | 7.3449e-12 | 5.4089e-12 | 8.2497e-06 | -3.0096e-06 | -3.0096e-06 | 2.4541e-13 | -1.9095e-09 | 1.9106e-09 | 0.0056963 | -0.0056645 | -0.0056645 | 0 | 0 | 0 | -89.9255 | -89.9255 | -89.9255 |  | 0.54977 | 0.54682 | 0.54682 | 0.54983 | 0.54676 | 0.54676 | 0.0064889 | -179.971 | -179.971 | -0.0084677 | -179.9559 | -179.9559

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0026908 | 0.0026908 | 0.0026908 | 0.0017944 | 0.0017944 | 0.0017944 | 0.03107 | 0.03107 | 0.03107 | 0.02072 | 0.02072 | 0.02072 | 6.0582e-05 | -1.7763e-07 | -1.7761e-07 | -1.6498e-05 | 6.0193e-06 | 6.0193e-06 | 0.017092 | -0.016979 | -0.016979 | -0.011393 | 0.011329 | 0.011329 | -89.8801 | -89.8801 | -89.8801 | 90.0745 | 90.0745 | 90.0745 |  | 0.55012 | 0.54648 | 0.54648 | 0.54983 | 0.54676 | 0.54676 | -0.083176 | -179.8807 | -179.8807 | -0.0084677 | -179.9559 | -179.9559
Line_1 | 0 | 0 | 0 | 0.00089721 | 0.00089721 | 0.00089721 | 0 | 0 | 0 | 0.01036 | 0.01036 | 0.01036 | 1.1092e-09 | 7.3449e-12 | 5.3882e-12 | 8.2497e-06 | -3.0096e-06 | -3.0096e-06 | 2.4541e-13 | -1.9095e-09 | 1.9106e-09 | 0.0056963 | -0.0056645 | -0.0056645 | 0 | 0 | 0 | -89.9255 | -89.9255 | -89.9255 |  | 0.54977 | 0.54682 | 0.54682 | 0.54983 | 0.54676 | 0.54676 | 0.0064889 | -179.971 | -179.971 | -0.0084677 | -179.9559 | -179.9559
Line_2 | 0 | 0 | 0 | 0.00089721 | 0.00089721 | 0.00089721 | 0 | 0 | 0 | 0.01036 | 0.01036 | 0.01036 | 1.1092e-09 | 7.3449e-12 | 5.4089e-12 | 8.2497e-06 | -3.0096e-06 | -3.0096e-06 | 2.4541e-13 | -1.9095e-09 | 1.9106e-09 | 0.0056963 | -0.0056645 | -0.0056645 | 0 | 0 | 0 | -89.9255 | -89.9255 | -89.9255 |  | 0.54977 | 0.54682 | 0.54682 | 0.54983 | 0.54676 | 0.54676 | 0.0064889 | -179.971 | -179.971 | -0.0084677 | -179.9559 | -179.9559

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0018512 | 0.0018512 | 0.0018512 | 0.0012345 | 0.0012345 | 0.0012345 | 0.021376 | 0.021376 | 0.021376 | 0.014255 | 0.014255 | 0.014255 | 0.0055225 | 0.0030089 | -0.0085029 | -0.003668 | -0.0020081 | 0.0056739 | 0.014768 | -0.016116 | -0.0066344 | -0.0098484 | 0.010749 | 0.0044316 | -76.4032 | -76.4032 | -76.4032 | 103.5514 | 103.5514 | 103.5514 |  | 0.73759 | 0.76699 | 0.50454 | 0.73723 | 0.76709 | 0.50505 | -6.9069 | -155.8279 | 141.5597 | -6.8763 | -155.8668 | 141.5427
Line_1 | 0 | 0 | 0 | 0.00061726 | 0.00061726 | 0.00061726 | 0 | 0 | 0 | 0.0071275 | 0.0071275 | 0.0071275 | 9.5938e-10 | 3.494e-10 | 9.5951e-10 | 0.001834 | 0.001004 | -0.002837 | -3.5566e-10 | -1.8131e-09 | 7.4803e-10 | 0.0049242 | -0.0053744 | -0.0022158 | 0 | 0 | 0 | -76.4486 | -76.4486 | -76.4486 |  | 0.73716 | 0.76711 | 0.50515 | 0.73723 | 0.76709 | 0.50505 | -6.8701 | -155.8746 | 141.5393 | -6.8763 | -155.8668 | 141.5427
Line_2 | 0 | 0 | 0 | 0.00061726 | 0.00061726 | 0.00061726 | 0 | 0 | 0 | 0.0071275 | 0.0071275 | 0.0071275 | 9.5938e-10 | 3.4939e-10 | 9.5951e-10 | 0.001834 | 0.001004 | -0.002837 | -3.5566e-10 | -1.8131e-09 | 7.4803e-10 | 0.0049242 | -0.0053744 | -0.0022158 | 0 | 0 | 0 | -76.4486 | -76.4486 | -76.4486 |  | 0.73716 | 0.76711 | 0.50515 | 0.73723 | 0.76709 | 0.50505 | -6.8701 | -155.8746 | 141.5393 | -6.8763 | -155.8668 | 141.5427

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0018512 | 0.0018512 | 0.0018512 | 0.0012345 | 0.0012345 | 0.0012345 | 0.021376 | 0.021376 | 0.021376 | 0.014255 | 0.014255 | 0.014255 | 0.0055225 | 0.0030089 | -0.0085029 | -0.003668 | -0.0020081 | 0.0056739 | 0.014768 | -0.016116 | -0.0066344 | -0.0098484 | 0.010749 | 0.0044316 | -76.4032 | -76.4032 | -76.4032 | 103.5514 | 103.5514 | 103.5514 |  | 0.73759 | 0.76699 | 0.50454 | 0.73723 | 0.76709 | 0.50505 | -6.9069 | -155.8279 | 141.5597 | -6.8763 | -155.8668 | 141.5427
Line_1 | 0 | 0 | 0 | 0.00061726 | 0.00061726 | 0.00061726 | 0 | 0 | 0 | 0.0071275 | 0.0071275 | 0.0071275 | 9.5938e-10 | 3.494e-10 | 9.5951e-10 | 0.001834 | 0.001004 | -0.002837 | -3.5566e-10 | -1.8131e-09 | 7.4803e-10 | 0.0049242 | -0.0053744 | -0.0022158 | 0 | 0 | 0 | -76.4486 | -76.4486 | -76.4486 |  | 0.73716 | 0.76711 | 0.50515 | 0.73723 | 0.76709 | 0.50505 | -6.8701 | -155.8746 | 141.5393 | -6.8763 | -155.8668 | 141.5427
Line_2 | 0 | 0 | 0 | 0.00061726 | 0.00061726 | 0.00061726 | 0 | 0 | 0 | 0.0071275 | 0.0071275 | 0.0071275 | 9.5938e-10 | 3.4939e-10 | 9.5951e-10 | 0.001834 | 0.001004 | -0.002837 | -3.5566e-10 | -1.8131e-09 | 7.4803e-10 | 0.0049242 | -0.0053744 | -0.0022158 | 0 | 0 | 0 | -76.4486 | -76.4486 | -76.4486 |  | 0.73716 | 0.76711 | 0.50515 | 0.73723 | 0.76709 | 0.50505 | -6.8701 | -155.8746 | 141.5393 | -6.8763 | -155.8668 | 141.5427

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024446 | 0.0024446 | 0.0024446 | 0.0016302 | 0.0016302 | 0.0016302 | 0.028227 | 0.028227 | 0.028227 | 0.018824 | 0.018824 | 0.018824 | 9.6019e-05 | -2.8758e-07 | -2.8754e-07 | -2.6151e-05 | 9.5406e-06 | 9.5406e-06 | 0.014112 | -0.014016 | -0.014016 | -0.0094059 | 0.009352 | 0.009352 | -89.7837 | -89.7837 | -89.7837 | 90.1291 | 90.1292 | 90.1292 |  | 0.49994 | 0.49655 | 0.49655 | 0.49968 | 0.49681 | 0.49681 | -0.17355 | -179.7849 | -179.7849 | -0.030158 | -179.9293 | -179.9293
Line_1 | 0 | 0 | 0 | 0.00081511 | 0.00081511 | 0.00081511 | 0 | 0 | 0 | 0.0094121 | 0.0094121 | 0.0094121 | 9.1667e-10 | 6.8682e-12 | 4.5717e-12 | 1.3076e-05 | -4.7703e-06 | -4.7703e-06 | -4.6876e-14 | -1.5771e-09 | 1.5784e-09 | 0.004703 | -0.004676 | -0.004676 | 0 | 0 | 0 | -89.8709 | -89.8708 | -89.8708 |  | 0.49962 | 0.49686 | 0.49686 | 0.49968 | 0.49681 | 0.49681 | -0.0014507 | -179.9582 | -179.9582 | -0.030158 | -179.9293 | -179.9293
Line_2 | 0 | 0 | 0 | 0.00081511 | 0.00081511 | 0.00081511 | 0 | 0 | 0 | 0.0094121 | 0.0094121 | 0.0094121 | 9.1666e-10 | 6.8823e-12 | 4.5717e-12 | 1.3076e-05 | -4.7703e-06 | -4.7703e-06 | -4.2143e-14 | -1.5771e-09 | 1.5784e-09 | 0.004703 | -0.004676 | -0.004676 | 0 | 0 | 0 | -89.8709 | -89.8708 | -89.8708 |  | 0.49962 | 0.49686 | 0.49686 | 0.49968 | 0.49681 | 0.49681 | -0.0014507 | -179.9582 | -179.9582 | -0.030158 | -179.9293 | -179.9293

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024446 | 0.0024446 | 0.0024446 | 0.0016302 | 0.0016302 | 0.0016302 | 0.028227 | 0.028227 | 0.028227 | 0.018824 | 0.018824 | 0.018824 | 9.6019e-05 | -2.8758e-07 | -2.8754e-07 | -2.6151e-05 | 9.5406e-06 | 9.5406e-06 | 0.014112 | -0.014016 | -0.014016 | -0.0094059 | 0.009352 | 0.009352 | -89.7837 | -89.7837 | -89.7837 | 90.1291 | 90.1292 | 90.1292 |  | 0.49994 | 0.49655 | 0.49655 | 0.49968 | 0.49681 | 0.49681 | -0.17355 | -179.7849 | -179.7849 | -0.030158 | -179.9293 | -179.9293
Line_1 | 0 | 0 | 0 | 0.00081511 | 0.00081511 | 0.00081511 | 0 | 0 | 0 | 0.0094121 | 0.0094121 | 0.0094121 | 9.1667e-10 | 6.8682e-12 | 4.5717e-12 | 1.3076e-05 | -4.7703e-06 | -4.7703e-06 | -4.6876e-14 | -1.5771e-09 | 1.5784e-09 | 0.004703 | -0.004676 | -0.004676 | 0 | 0 | 0 | -89.8709 | -89.8708 | -89.8708 |  | 0.49962 | 0.49686 | 0.49686 | 0.49968 | 0.49681 | 0.49681 | -0.0014507 | -179.9582 | -179.9582 | -0.030158 | -179.9293 | -179.9293
Line_2 | 0 | 0 | 0 | 0.00081511 | 0.00081511 | 0.00081511 | 0 | 0 | 0 | 0.0094121 | 0.0094121 | 0.0094121 | 9.1666e-10 | 6.8823e-12 | 4.5717e-12 | 1.3076e-05 | -4.7703e-06 | -4.7703e-06 | -4.2143e-14 | -1.5771e-09 | 1.5784e-09 | 0.004703 | -0.004676 | -0.004676 | 0 | 0 | 0 | -89.8709 | -89.8708 | -89.8708 |  | 0.49962 | 0.49686 | 0.49686 | 0.49968 | 0.49681 | 0.49681 | -0.0014507 | -179.9582 | -179.9582 | -0.030158 | -179.9293 | -179.9293

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0017506 | 0.0017506 | 0.0017506 | 0.0011674 | 0.0011674 | 0.0011674 | 0.020214 | 0.020214 | 0.020214 | 0.01348 | 0.01348 | 0.01348 | 0.0043884 | 0.0023565 | -0.0066959 | -0.0029017 | -0.0015732 | 0.0044713 | 0.012492 | -0.013557 | -0.0060739 | -0.0083326 | 0.009041 | 0.0040598 | -77.4459 | -77.4459 | -77.4459 | 102.4669 | 102.4669 | 102.4669 |  | 0.65501 | 0.68073 | 0.44723 | 0.65454 | 0.68076 | 0.44802 | -6.8019 | -157.5852 | 144.7652 | -6.7332 | -157.6622 | 144.7057
Line_1 | 0 | 0 | 0 | 0.00058371 | 0.00058371 | 0.00058371 | 0 | 0 | 0 | 0.0067402 | 0.0067402 | 0.0067402 | 8.1272e-10 | 2.763e-10 | 7.5655e-10 | 0.0014509 | 0.00078659 | -0.0022356 | -2.8077e-10 | -1.5257e-09 | 6.8652e-10 | 0.0041663 | -0.0045205 | -0.0020299 | 0 | 0 | 0 | -77.5331 | -77.5331 | -77.5331 |  | 0.65444 | 0.68077 | 0.44817 | 0.65454 | 0.68076 | 0.44802 | -6.7194 | -157.6776 | 144.6938 | -6.7332 | -157.6622 | 144.7057
Line_2 | 0 | 0 | 0 | 0.00058371 | 0.00058371 | 0.00058371 | 0 | 0 | 0 | 0.0067402 | 0.0067402 | 0.0067402 | 8.1272e-10 | 2.7631e-10 | 7.5654e-10 | 0.0014509 | 0.00078659 | -0.0022356 | -2.8077e-10 | -1.5257e-09 | 6.8652e-10 | 0.0041663 | -0.0045205 | -0.0020299 | 0 | 0 | 0 | -77.5331 | -77.5331 | -77.5331 |  | 0.65444 | 0.68077 | 0.44817 | 0.65454 | 0.68076 | 0.44802 | -6.7194 | -157.6776 | 144.6938 | -6.7332 | -157.6622 | 144.7057

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0017506 | 0.0017506 | 0.0017506 | 0.0011674 | 0.0011674 | 0.0011674 | 0.020214 | 0.020214 | 0.020214 | 0.01348 | 0.01348 | 0.01348 | 0.0043884 | 0.0023565 | -0.0066959 | -0.0029017 | -0.0015732 | 0.0044713 | 0.012492 | -0.013557 | -0.0060739 | -0.0083326 | 0.009041 | 0.0040598 | -77.4459 | -77.4459 | -77.4459 | 102.4669 | 102.4669 | 102.4669 |  | 0.65501 | 0.68073 | 0.44723 | 0.65454 | 0.68076 | 0.44802 | -6.8019 | -157.5852 | 144.7652 | -6.7332 | -157.6622 | 144.7057
Line_1 | 0 | 0 | 0 | 0.00058371 | 0.00058371 | 0.00058371 | 0 | 0 | 0 | 0.0067402 | 0.0067402 | 0.0067402 | 8.1272e-10 | 2.763e-10 | 7.5655e-10 | 0.0014509 | 0.00078659 | -0.0022356 | -2.8077e-10 | -1.5257e-09 | 6.8652e-10 | 0.0041663 | -0.0045205 | -0.0020299 | 0 | 0 | 0 | -77.5331 | -77.5331 | -77.5331 |  | 0.65444 | 0.68077 | 0.44817 | 0.65454 | 0.68076 | 0.44802 | -6.7194 | -157.6776 | 144.6938 | -6.7332 | -157.6622 | 144.7057
Line_2 | 0 | 0 | 0 | 0.00058371 | 0.00058371 | 0.00058371 | 0 | 0 | 0 | 0.0067402 | 0.0067402 | 0.0067402 | 8.1272e-10 | 2.7631e-10 | 7.5654e-10 | 0.0014509 | 0.00078659 | -0.0022356 | -2.8077e-10 | -1.5257e-09 | 6.8652e-10 | 0.0041663 | -0.0045205 | -0.0020299 | 0 | 0 | 0 | -77.5331 | -77.5331 | -77.5331 |  | 0.65444 | 0.68077 | 0.44817 | 0.65454 | 0.68076 | 0.44802 | -6.7194 | -157.6776 | 144.6938 | -6.7332 | -157.6622 | 144.7057