## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7806 | 0.61959 | 0.68224 | 1.7832 | 0.62251 | 0.68416 | 20.5611 | 7.1544 | 7.8778 | 20.5906 | 7.1882 | 7.9 | 9.248e-11 | -4.1045 | 13.1897 | 7.3421 | 6.0423 | -10.7189 | -7.911e-11 | 8.4321 | -0.71138 | 3.4921 | -7.078 | 0.85007 | 116.1893 | 97.8568 | 134.5852 | -63.8617 | -82.2078 | -45.6083 |  | 0 | 1.3108 | 1.6767 | 0.39485 | 1.2947 | 1.3611 | 0 | -146.1878 | 131.498 | -38.4249 | -131.7216 | 129.8573
Line_1 | 0.89367 | 0.31334 | 0.34393 | 0.8916 | 0.31126 | 0.34208 | 10.3192 | 3.6182 | 3.9713 | 10.2953 | 3.5941 | 3.95 | 5.5245 | 3.521 | -4.7565 | -3.671 | -3.0211 | 5.3595 | 2.6278 | -3.2155 | 0.45816 | -1.746 | 3.539 | -0.42504 | -63.8866 | -82.1562 | -45.7779 | 116.1383 | 97.7922 | 134.3917 |  | 0.59284 | 1.3179 | 1.2032 | 0.39485 | 1.2947 | 1.3611 | -38.4482 | -124.5599 | 128.7201 | -38.4249 | -131.7216 | 129.8573
Line_2 | 0.89367 | 0.31334 | 0.34393 | 0.8916 | 0.31126 | 0.34208 | 10.3192 | 3.6182 | 3.9713 | 10.2953 | 3.5941 | 3.95 | 5.5245 | 3.521 | -4.7565 | -3.671 | -3.0211 | 5.3595 | 2.6278 | -3.2155 | 0.45816 | -1.746 | 3.539 | -0.42504 | -63.8866 | -82.1562 | -45.7779 | 116.1383 | 97.7922 | 134.3917 |  | 0.59284 | 1.3179 | 1.2032 | 0.39485 | 1.2947 | 1.3611 | -38.4482 | -124.5599 | 128.7201 | -38.4249 | -131.7216 | 129.8573

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7806 | 0.61959 | 0.68224 | 1.7832 | 0.62251 | 0.68416 | 20.5611 | 7.1544 | 7.8778 | 20.5906 | 7.1882 | 7.9 | 9.248e-11 | -4.1045 | 13.1897 | 7.3421 | 6.0423 | -10.7189 | -7.911e-11 | 8.4321 | -0.71138 | 3.4921 | -7.078 | 0.85007 | 116.1893 | 97.8568 | 134.5852 | -63.8617 | -82.2078 | -45.6083 |  | 0 | 1.3108 | 1.6767 | 0.39485 | 1.2947 | 1.3611 | 0 | -146.1878 | 131.498 | -38.4249 | -131.7216 | 129.8573
Line_1 | 0.89367 | 0.31334 | 0.34393 | 0.8916 | 0.31126 | 0.34208 | 10.3192 | 3.6182 | 3.9713 | 10.2953 | 3.5941 | 3.95 | 5.5245 | 3.521 | -4.7565 | -3.671 | -3.0211 | 5.3595 | 2.6278 | -3.2155 | 0.45816 | -1.746 | 3.539 | -0.42504 | -63.8866 | -82.1562 | -45.7779 | 116.1383 | 97.7922 | 134.3917 |  | 0.59284 | 1.3179 | 1.2032 | 0.39485 | 1.2947 | 1.3611 | -38.4482 | -124.5599 | 128.7201 | -38.4249 | -131.7216 | 129.8573
Line_2 | 0.89367 | 0.31334 | 0.34393 | 0.8916 | 0.31126 | 0.34208 | 10.3192 | 3.6182 | 3.9713 | 10.2953 | 3.5941 | 3.95 | 5.5245 | 3.521 | -4.7565 | -3.671 | -3.0211 | 5.3595 | 2.6278 | -3.2155 | 0.45816 | -1.746 | 3.539 | -0.42504 | -63.8866 | -82.1562 | -45.7779 | 116.1383 | 97.7922 | 134.3917 |  | 0.59284 | 1.3179 | 1.2032 | 0.39485 | 1.2947 | 1.3611 | -38.4482 | -124.5599 | 128.7201 | -38.4249 | -131.7216 | 129.8573

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.69118 | 0.11813 | 0.33024 | 0.69205 | 0.11877 | 0.33046 | 7.9811 | 1.364 | 3.8133 | 7.9911 | 1.3714 | 3.8158 | -3.6185 | -1.6457 | 3.3255 | 4.5165 | 1.6533 | -2.9822 | -5.2836 | -0.062025 | -3.5951 | 5.8775 | 0.18347 | 3.4875 | 119.0457 | 49.5415 | 173.2217 | -60.984 | -130.129 | -6.9362 |  | 0.80238 | 1.2073 | 1.2843 | 0.92759 | 1.2129 | 1.2025 | -5.3601 | -128.3001 | 125.9902 | -8.5241 | -123.7967 | 123.5984
Line_1 | 0.34668 | 0.059637 | 0.1656 | 0.34602 | 0.059385 | 0.16523 | 4.0031 | 0.68863 | 1.9122 | 3.9955 | 0.68572 | 1.9079 | 2.4876 | 0.83096 | -1.4108 | -2.2583 | -0.82663 | 1.4911 | 3.0912 | 0.11659 | 1.7176 | -2.9388 | -0.091733 | -1.7437 | -60.9867 | -129.546 | -7.1231 | 119.016 | 49.871 | 173.0638 |  | 0.99119 | 1.2185 | 1.1624 | 0.92759 | 1.2129 | 1.2025 | -9.8114 | -121.5588 | 122.2762 | -8.5241 | -123.7967 | 123.5984
Line_2 | 0.34668 | 0.059637 | 0.1656 | 0.34602 | 0.059385 | 0.16523 | 4.0031 | 0.68863 | 1.9122 | 3.9955 | 0.68572 | 1.9079 | 2.4876 | 0.83096 | -1.4108 | -2.2583 | -0.82663 | 1.4911 | 3.0912 | 0.11659 | 1.7176 | -2.9388 | -0.091733 | -1.7437 | -60.9867 | -129.546 | -7.1231 | 119.016 | 49.871 | 173.0638 |  | 0.99119 | 1.2185 | 1.1624 | 0.92759 | 1.2129 | 1.2025 | -9.8114 | -121.5588 | 122.2762 | -8.5241 | -123.7967 | 123.5984

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.69118 | 0.11813 | 0.33024 | 0.69205 | 0.11877 | 0.33046 | 7.9811 | 1.364 | 3.8133 | 7.9911 | 1.3714 | 3.8158 | -3.6185 | -1.6457 | 3.3255 | 4.5165 | 1.6533 | -2.9822 | -5.2836 | -0.062025 | -3.5951 | 5.8775 | 0.18347 | 3.4875 | 119.0457 | 49.5415 | 173.2217 | -60.984 | -130.129 | -6.9362 |  | 0.80238 | 1.2073 | 1.2843 | 0.92759 | 1.2129 | 1.2025 | -5.3601 | -128.3001 | 125.9902 | -8.5241 | -123.7967 | 123.5984
Line_1 | 0.34668 | 0.059637 | 0.1656 | 0.34602 | 0.059385 | 0.16523 | 4.0031 | 0.68863 | 1.9122 | 3.9955 | 0.68572 | 1.9079 | 2.4876 | 0.83096 | -1.4108 | -2.2583 | -0.82663 | 1.4911 | 3.0912 | 0.11659 | 1.7176 | -2.9388 | -0.091733 | -1.7437 | -60.9867 | -129.546 | -7.1231 | 119.016 | 49.871 | 173.0638 |  | 0.99119 | 1.2185 | 1.1624 | 0.92759 | 1.2129 | 1.2025 | -9.8114 | -121.5588 | 122.2762 | -8.5241 | -123.7967 | 123.5984
Line_2 | 0.34668 | 0.059637 | 0.1656 | 0.34602 | 0.059385 | 0.16523 | 4.0031 | 0.68863 | 1.9122 | 3.9955 | 0.68572 | 1.9079 | 2.4876 | 0.83096 | -1.4108 | -2.2583 | -0.82663 | 1.4911 | 3.0912 | 0.11659 | 1.7176 | -2.9388 | -0.091733 | -1.7437 | -60.9867 | -129.546 | -7.1231 | 119.016 | 49.871 | 173.0638 |  | 0.99119 | 1.2185 | 1.1624 | 0.92759 | 1.2129 | 1.2025 | -9.8114 | -121.5588 | 122.2762 | -8.5241 | -123.7967 | 123.5984

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1449 | 0.49726 | 0.41158 | 1.1464 | 0.499 | 0.41325 | 13.2205 | 5.7419 | 4.7525 | 13.2381 | 5.762 | 4.7718 | -2.7283e-11 | 1.4815 | 7.4489 | 6.1205 | 0.84684 | -5.593 | 2.7441e-12 | 6.7287 | -0.016545 | 1.2779 | -6.1731 | 0.38596 | 137.0585 | 131.1259 | 133.0999 | -43.0491 | -49.102 | -47.1834 |  | 0 | 1.1999 | 1.5674 | 0.47231 | 1.0814 | 1.1749 | 0 | -151.2915 | 132.9727 | -31.2561 | -131.2908 | 128.869
Line_1 | 0.57449 | 0.25082 | 0.20793 | 0.57322 | 0.2495 | 0.20663 | 6.6336 | 2.8962 | 2.401 | 6.619 | 2.881 | 2.3859 | 4.6044 | 1.0128 | -2.3385 | -3.0602 | -0.42342 | 2.7965 | 0.9626 | -2.9549 | 0.29022 | -0.63893 | 3.0866 | -0.19298 | -43.1065 | -49.2022 | -47.3164 | 136.9509 | 130.898 | 132.8166 |  | 0.7091 | 1.0785 | 0.98146 | 0.47231 | 1.0814 | 1.1749 | -31.2981 | -120.2837 | 125.6093 | -31.2561 | -131.2908 | 128.869
Line_2 | 0.57449 | 0.25082 | 0.20793 | 0.57322 | 0.2495 | 0.20663 | 6.6336 | 2.8962 | 2.401 | 6.619 | 2.881 | 2.3859 | 4.6044 | 1.0128 | -2.3385 | -3.0602 | -0.42342 | 2.7965 | 0.9626 | -2.9549 | 0.29022 | -0.63893 | 3.0866 | -0.19298 | -43.1065 | -49.2022 | -47.3164 | 136.9509 | 130.898 | 132.8166 |  | 0.7091 | 1.0785 | 0.98146 | 0.47231 | 1.0814 | 1.1749 | -31.2981 | -120.2837 | 125.6093 | -31.2561 | -131.2908 | 128.869

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1449 | 0.49726 | 0.41158 | 1.1464 | 0.499 | 0.41325 | 13.2205 | 5.7419 | 4.7525 | 13.2381 | 5.762 | 4.7718 | -2.7283e-11 | 1.4815 | 7.4489 | 6.1205 | 0.84684 | -5.593 | 2.7441e-12 | 6.7287 | -0.016545 | 1.2779 | -6.1731 | 0.38596 | 137.0585 | 131.1259 | 133.0999 | -43.0491 | -49.102 | -47.1834 |  | 0 | 1.1999 | 1.5674 | 0.47231 | 1.0814 | 1.1749 | 0 | -151.2915 | 132.9727 | -31.2561 | -131.2908 | 128.869
Line_1 | 0.57449 | 0.25082 | 0.20793 | 0.57322 | 0.2495 | 0.20663 | 6.6336 | 2.8962 | 2.401 | 6.619 | 2.881 | 2.3859 | 4.6044 | 1.0128 | -2.3385 | -3.0602 | -0.42342 | 2.7965 | 0.9626 | -2.9549 | 0.29022 | -0.63893 | 3.0866 | -0.19298 | -43.1065 | -49.2022 | -47.3164 | 136.9509 | 130.898 | 132.8166 |  | 0.7091 | 1.0785 | 0.98146 | 0.47231 | 1.0814 | 1.1749 | -31.2981 | -120.2837 | 125.6093 | -31.2561 | -131.2908 | 128.869
Line_2 | 0.57449 | 0.25082 | 0.20793 | 0.57322 | 0.2495 | 0.20663 | 6.6336 | 2.8962 | 2.401 | 6.619 | 2.881 | 2.3859 | 4.6044 | 1.0128 | -2.3385 | -3.0602 | -0.42342 | 2.7965 | 0.9626 | -2.9549 | 0.29022 | -0.63893 | 3.0866 | -0.19298 | -43.1065 | -49.2022 | -47.3164 | 136.9509 | 130.898 | 132.8166 |  | 0.7091 | 1.0785 | 0.98146 | 0.47231 | 1.0814 | 1.1749 | -31.2981 | -120.2837 | 125.6093 | -31.2561 | -131.2908 | 128.869

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38921 | 0.16904 | 0.13991 | 0.38972 | 0.16963 | 0.14048 | 4.4942 | 1.9519 | 1.6156 | 4.5002 | 1.9587 | 1.6221 | -2.3795 | -0.11362 | 1.8696 | 3.0866 | 0.38871 | -1.661 | -1.781 | 2.0366 | -0.35376 | 1.9355 | -1.9757 | 0.39287 | 141.1062 | 135.1736 | 137.1476 | -39.0014 | -45.0543 | -43.1357 |  | 0.66134 | 1.045 | 1.1778 | 0.80958 | 1.028 | 1.0522 | -2.0793 | -131.6332 | 126.4331 | -6.9104 | -123.9237 | 123.557
Line_1 | 0.19529 | 0.085264 | 0.070684 | 0.19486 | 0.084816 | 0.070241 | 2.255 | 0.98454 | 0.81619 | 2.2501 | 0.97937 | 0.81107 | 1.7234 | 0.26434 | -0.78119 | -1.5433 | -0.19436 | 0.83051 | 1.0083 | -0.97571 | 0.20758 | -0.96776 | 0.98784 | -0.19644 | -39.0588 | -45.1545 | -43.2687 | 140.9986 | 134.9457 | 136.8643 |  | 0.88546 | 1.0268 | 0.99033 | 0.80958 | 1.028 | 1.0522 | -8.7283 | -119.9959 | 121.8501 | -6.9104 | -123.9237 | 123.557
Line_2 | 0.19529 | 0.085264 | 0.070684 | 0.19486 | 0.084816 | 0.070241 | 2.255 | 0.98454 | 0.81619 | 2.2501 | 0.97937 | 0.81107 | 1.7234 | 0.26434 | -0.78119 | -1.5433 | -0.19436 | 0.83051 | 1.0083 | -0.97571 | 0.20758 | -0.96776 | 0.98784 | -0.19644 | -39.0588 | -45.1545 | -43.2687 | 140.9986 | 134.9457 | 136.8643 |  | 0.88546 | 1.0268 | 0.99033 | 0.80958 | 1.028 | 1.0522 | -8.7283 | -119.9959 | 121.8501 | -6.9104 | -123.9237 | 123.557

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38921 | 0.16904 | 0.13991 | 0.38972 | 0.16963 | 0.14048 | 4.4942 | 1.9519 | 1.6156 | 4.5002 | 1.9587 | 1.6221 | -2.3795 | -0.11362 | 1.8696 | 3.0866 | 0.38871 | -1.661 | -1.781 | 2.0366 | -0.35376 | 1.9355 | -1.9757 | 0.39287 | 141.1062 | 135.1736 | 137.1476 | -39.0014 | -45.0543 | -43.1357 |  | 0.66134 | 1.045 | 1.1778 | 0.80958 | 1.028 | 1.0522 | -2.0793 | -131.6332 | 126.4331 | -6.9104 | -123.9237 | 123.557
Line_1 | 0.19529 | 0.085264 | 0.070684 | 0.19486 | 0.084816 | 0.070241 | 2.255 | 0.98454 | 0.81619 | 2.2501 | 0.97937 | 0.81107 | 1.7234 | 0.26434 | -0.78119 | -1.5433 | -0.19436 | 0.83051 | 1.0083 | -0.97571 | 0.20758 | -0.96776 | 0.98784 | -0.19644 | -39.0588 | -45.1545 | -43.2687 | 140.9986 | 134.9457 | 136.8643 |  | 0.88546 | 1.0268 | 0.99033 | 0.80958 | 1.028 | 1.0522 | -8.7283 | -119.9959 | 121.8501 | -6.9104 | -123.9237 | 123.557
Line_2 | 0.19529 | 0.085264 | 0.070684 | 0.19486 | 0.084816 | 0.070241 | 2.255 | 0.98454 | 0.81619 | 2.2501 | 0.97937 | 0.81107 | 1.7234 | 0.26434 | -0.78119 | -1.5433 | -0.19436 | 0.83051 | 1.0083 | -0.97571 | 0.20758 | -0.96776 | 0.98784 | -0.19644 | -39.0588 | -45.1545 | -43.2687 | 140.9986 | 134.9457 | 136.8643 |  | 0.88546 | 1.0268 | 0.99033 | 0.80958 | 1.028 | 1.0522 | -8.7283 | -119.9959 | 121.8501 | -6.9104 | -123.9237 | 123.557

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17805 | 2.0255 | 1.3413 | 0.17981 | 2.0261 | 1.3428 | 2.056 | 23.3881 | 15.4877 | 2.0763 | 23.3953 | 15.5048 | 1.9814 | 3.8534e-11 | 2.3873e-11 | -1.5809 | 6.3008 | 0.87749 | 2.4771 | -2.3361e-11 | -1.7678e-11 | -2.3744 | 0.51311 | 4.1002 | -54.2827 | -12.8143 | -128.6797 | 125.3823 | 167.1305 | 51.3806 |  | 1.5429 | 0 | 0 | 1.3738 | 0.27021 | 0.27044 | -2.9389 | 0 | 0 | 1.7262 | 171.7862 | 129.3009
Line_1 | 0.091325 | 1.0139 | 0.672 | 0.089907 | 1.013 | 0.67138 | 1.0545 | 11.7081 | 7.7595 | 1.0382 | 11.6977 | 7.7524 | -0.69651 | 4.7332 | 0.66537 | 0.79045 | -3.1504 | -0.43875 | -1.1724 | 0.38738 | 3.0799 | 1.1872 | -0.25656 | -2.0501 | 125.2355 | 167.0673 | 51.4912 | -54.6177 | -12.8695 | -128.6194 |  | 1.2932 | 0.40562 | 0.40607 | 1.3738 | 0.27021 | 0.27044 | 4.5218 | 171.7461 | 129.3005 | 1.7262 | 171.7862 | 129.3009
Line_2 | 0.091325 | 1.0139 | 0.672 | 0.089907 | 1.013 | 0.67138 | 1.0545 | 11.7081 | 7.7595 | 1.0382 | 11.6977 | 7.7524 | -0.69651 | 4.7332 | 0.66537 | 0.79045 | -3.1504 | -0.43875 | -1.1724 | 0.38738 | 3.0799 | 1.1872 | -0.25656 | -2.0501 | 125.2355 | 167.0673 | 51.4912 | -54.6177 | -12.8695 | -128.6194 |  | 1.2932 | 0.40562 | 0.40607 | 1.3738 | 0.27021 | 0.27044 | 4.5218 | 171.7461 | 129.3005 | 1.7262 | 171.7862 | 129.3009

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17805 | 2.0255 | 1.3413 | 0.17981 | 2.0261 | 1.3428 | 2.056 | 23.3881 | 15.4877 | 2.0763 | 23.3953 | 15.5048 | 1.9814 | 3.8534e-11 | 2.3873e-11 | -1.5809 | 6.3008 | 0.87749 | 2.4771 | -2.3361e-11 | -1.7678e-11 | -2.3744 | 0.51311 | 4.1002 | -54.2827 | -12.8143 | -128.6797 | 125.3823 | 167.1305 | 51.3806 |  | 1.5429 | 0 | 0 | 1.3738 | 0.27021 | 0.27044 | -2.9389 | 0 | 0 | 1.7262 | 171.7862 | 129.3009
Line_1 | 0.091325 | 1.0139 | 0.672 | 0.089907 | 1.013 | 0.67138 | 1.0545 | 11.7081 | 7.7595 | 1.0382 | 11.6977 | 7.7524 | -0.69651 | 4.7332 | 0.66537 | 0.79045 | -3.1504 | -0.43875 | -1.1724 | 0.38738 | 3.0799 | 1.1872 | -0.25656 | -2.0501 | 125.2355 | 167.0673 | 51.4912 | -54.6177 | -12.8695 | -128.6194 |  | 1.2932 | 0.40562 | 0.40607 | 1.3738 | 0.27021 | 0.27044 | 4.5218 | 171.7461 | 129.3005 | 1.7262 | 171.7862 | 129.3009
Line_2 | 0.091325 | 1.0139 | 0.672 | 0.089907 | 1.013 | 0.67138 | 1.0545 | 11.7081 | 7.7595 | 1.0382 | 11.6977 | 7.7524 | -0.69651 | 4.7332 | 0.66537 | 0.79045 | -3.1504 | -0.43875 | -1.1724 | 0.38738 | 3.0799 | 1.1872 | -0.25656 | -2.0501 | 125.2355 | 167.0673 | 51.4912 | -54.6177 | -12.8695 | -128.6194 |  | 1.2932 | 0.40562 | 0.40607 | 1.3738 | 0.27021 | 0.27044 | 4.5218 | 171.7461 | 129.3005 | 1.7262 | 171.7862 | 129.3009

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10524 | 0.63883 | 0.57298 | 0.10478 | 0.63912 | 0.57371 | 1.2153 | 7.3766 | 6.6162 | 1.2099 | 7.3799 | 6.6246 | 1.1162 | -2.0538 | -4.8071 | -1.0918 | 2.7914 | 5.1327 | -1.1196 | -6.4492 | -3.0761 | 1.023 | 6.4903 | 3.7617 | 43.9108 | -12.4274 | -106.9976 | -136.4505 | 167.5051 | 73.0374 |  | 1.301 | 0.91754 | 0.86259 | 1.2367 | 0.95735 | 0.96059 | -1.1764 | -120.0916 | 105.618 | 0.41248 | -125.767 | 109.2745
Line_1 | 0.05226 | 0.31994 | 0.28724 | 0.05239 | 0.31956 | 0.28685 | 0.60344 | 3.6944 | 3.3168 | 0.60495 | 3.69 | 3.3123 | -0.54306 | 1.5799 | 2.6526 | 0.54591 | -1.3957 | -2.5663 | 0.48334 | 3.2597 | 2.0514 | -0.51152 | -3.2452 | -1.8808 | -137.0542 | 167.4301 | 73.1199 | 43.5495 | -12.4949 | -106.9626 |  | 1.2048 | 0.98052 | 1.011 | 1.2367 | 0.95735 | 0.96059 | 1.276 | -128.4285 | 110.8372 | 0.41248 | -125.767 | 109.2745
Line_2 | 0.05226 | 0.31994 | 0.28724 | 0.05239 | 0.31956 | 0.28685 | 0.60344 | 3.6944 | 3.3168 | 0.60495 | 3.69 | 3.3123 | -0.54306 | 1.5799 | 2.6526 | 0.54591 | -1.3957 | -2.5663 | 0.48334 | 3.2597 | 2.0514 | -0.51152 | -3.2452 | -1.8808 | -137.0542 | 167.4301 | 73.1199 | 43.5495 | -12.4949 | -106.9626 |  | 1.2048 | 0.98052 | 1.011 | 1.2367 | 0.95735 | 0.96059 | 1.276 | -128.4285 | 110.8372 | 0.41248 | -125.767 | 109.2745

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10524 | 0.63883 | 0.57298 | 0.10478 | 0.63912 | 0.57371 | 1.2153 | 7.3766 | 6.6162 | 1.2099 | 7.3799 | 6.6246 | 1.1162 | -2.0538 | -4.8071 | -1.0918 | 2.7914 | 5.1327 | -1.1196 | -6.4492 | -3.0761 | 1.023 | 6.4903 | 3.7617 | 43.9108 | -12.4274 | -106.9976 | -136.4505 | 167.5051 | 73.0374 |  | 1.301 | 0.91754 | 0.86259 | 1.2367 | 0.95735 | 0.96059 | -1.1764 | -120.0916 | 105.618 | 0.41248 | -125.767 | 109.2745
Line_1 | 0.05226 | 0.31994 | 0.28724 | 0.05239 | 0.31956 | 0.28685 | 0.60344 | 3.6944 | 3.3168 | 0.60495 | 3.69 | 3.3123 | -0.54306 | 1.5799 | 2.6526 | 0.54591 | -1.3957 | -2.5663 | 0.48334 | 3.2597 | 2.0514 | -0.51152 | -3.2452 | -1.8808 | -137.0542 | 167.4301 | 73.1199 | 43.5495 | -12.4949 | -106.9626 |  | 1.2048 | 0.98052 | 1.011 | 1.2367 | 0.95735 | 0.96059 | 1.276 | -128.4285 | 110.8372 | 0.41248 | -125.767 | 109.2745
Line_2 | 0.05226 | 0.31994 | 0.28724 | 0.05239 | 0.31956 | 0.28685 | 0.60344 | 3.6944 | 3.3168 | 0.60495 | 3.69 | 3.3123 | -0.54306 | 1.5799 | 2.6526 | 0.54591 | -1.3957 | -2.5663 | 0.48334 | 3.2597 | 2.0514 | -0.51152 | -3.2452 | -1.8808 | -137.0542 | 167.4301 | 73.1199 | 43.5495 | -12.4949 | -106.9626 |  | 1.2048 | 0.98052 | 1.011 | 1.2367 | 0.95735 | 0.96059 | 1.276 | -128.4285 | 110.8372 | 0.41248 | -125.767 | 109.2745

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18808 | 1.5818 | 0.85462 | 0.1896 | 1.5818 | 0.85575 | 2.1717 | 18.265 | 9.8683 | 2.1893 | 18.2654 | 9.8813 | 1.5621 | -2.9662e-11 | -1.2004e-11 | -1.1259 | 6.2214 | 0.03153 | 2.5777 | -2.4071e-11 | -1.7101e-11 | -2.2793 | -0.50032 | 2.6026 | -61.7636 | 3.0135 | -132.9577 | 118.0327 | -177.0468 | 47.1244 |  | 1.3879 | 0 | 0 | 1.1612 | 0.34171 | 0.2634 | -2.9797 | 0 | 0 | 1.7441 | 178.3554 | 136.4302
Line_1 | 0.095674 | 0.79138 | 0.42807 | 0.094801 | 0.79092 | 0.42787 | 1.1047 | 9.138 | 4.9429 | 1.0947 | 9.1327 | 4.9407 | -0.45776 | 4.6714 | 0.028263 | 0.56296 | -3.1107 | -0.015765 | -1.0676 | -0.3752 | 1.9552 | 1.1396 | 0.25016 | -1.3013 | 118.0926 | -177.101 | 47.2391 | -61.9673 | 2.9532 | -132.8756 |  | 1.0515 | 0.51285 | 0.3956 | 1.1612 | 0.34171 | 0.2634 | 4.8844 | 178.3069 | 136.411 | 1.7441 | 178.3554 | 136.4302
Line_2 | 0.095674 | 0.79138 | 0.42807 | 0.094801 | 0.79092 | 0.42787 | 1.1047 | 9.138 | 4.9429 | 1.0947 | 9.1327 | 4.9407 | -0.45776 | 4.6714 | 0.028263 | 0.56296 | -3.1107 | -0.015765 | -1.0676 | -0.3752 | 1.9552 | 1.1396 | 0.25016 | -1.3013 | 118.0926 | -177.101 | 47.2391 | -61.9673 | 2.9532 | -132.8756 |  | 1.0515 | 0.51285 | 0.3956 | 1.1612 | 0.34171 | 0.2634 | 4.8844 | 178.3069 | 136.411 | 1.7441 | 178.3554 | 136.4302

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18808 | 1.5818 | 0.85462 | 0.1896 | 1.5818 | 0.85575 | 2.1717 | 18.265 | 9.8683 | 2.1893 | 18.2654 | 9.8813 | 1.5621 | -2.9662e-11 | -1.2004e-11 | -1.1259 | 6.2214 | 0.03153 | 2.5777 | -2.4071e-11 | -1.7101e-11 | -2.2793 | -0.50032 | 2.6026 | -61.7636 | 3.0135 | -132.9577 | 118.0327 | -177.0468 | 47.1244 |  | 1.3879 | 0 | 0 | 1.1612 | 0.34171 | 0.2634 | -2.9797 | 0 | 0 | 1.7441 | 178.3554 | 136.4302
Line_1 | 0.095674 | 0.79138 | 0.42807 | 0.094801 | 0.79092 | 0.42787 | 1.1047 | 9.138 | 4.9429 | 1.0947 | 9.1327 | 4.9407 | -0.45776 | 4.6714 | 0.028263 | 0.56296 | -3.1107 | -0.015765 | -1.0676 | -0.3752 | 1.9552 | 1.1396 | 0.25016 | -1.3013 | 118.0926 | -177.101 | 47.2391 | -61.9673 | 2.9532 | -132.8756 |  | 1.0515 | 0.51285 | 0.3956 | 1.1612 | 0.34171 | 0.2634 | 4.8844 | 178.3069 | 136.411 | 1.7441 | 178.3554 | 136.4302
Line_2 | 0.095674 | 0.79138 | 0.42807 | 0.094801 | 0.79092 | 0.42787 | 1.1047 | 9.138 | 4.9429 | 1.0947 | 9.1327 | 4.9407 | -0.45776 | 4.6714 | 0.028263 | 0.56296 | -3.1107 | -0.015765 | -1.0676 | -0.3752 | 1.9552 | 1.1396 | 0.25016 | -1.3013 | 118.0926 | -177.101 | 47.2391 | -61.9673 | 2.9532 | -132.8756 |  | 1.0515 | 0.51285 | 0.3956 | 1.1612 | 0.34171 | 0.2634 | 4.8844 | 178.3069 | 136.411 | 1.7441 | 178.3554 | 136.4302

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12098 | 0.3662 | 0.32054 | 0.12159 | 0.36607 | 0.32128 | 1.397 | 4.2285 | 3.7013 | 1.404 | 4.227 | 3.7098 | 1.0178 | -2.1163 | -2.6121 | -0.8727 | 2.5804 | 2.9386 | 1.2724 | -2.6611 | -0.38683 | -1.2118 | 2.466 | 0.76409 | -53.838 | 10.908 | -84.0763 | 125.9583 | -169.2067 | 95.9116 |  | 1.1664 | 0.80407 | 0.71343 | 1.0636 | 0.8444 | 0.81845 | -2.4943 | -117.5862 | 104.3475 | 0.19752 | -125.5054 | 110.4868
Line_1 | 0.061185 | 0.18317 | 0.161 | 0.060794 | 0.18303 | 0.16064 | 0.70651 | 2.115 | 1.859 | 0.70199 | 2.1135 | 1.8549 | -0.40201 | 1.4065 | 1.5538 | 0.43635 | -1.2902 | -1.4693 | -0.59226 | 1.1866 | 0.47561 | 0.60589 | -1.233 | -0.38204 | 125.9256 | -169.3221 | 95.9705 | -54.0417 | 10.7933 | -84.0884 |  | 1.0132 | 0.87007 | 0.87407 | 1.0636 | 0.8444 | 0.81845 | 1.7582 | -129.1691 | 112.9902 | 0.19752 | -125.5054 | 110.4868
Line_2 | 0.061185 | 0.18317 | 0.161 | 0.060794 | 0.18303 | 0.16064 | 0.70651 | 2.115 | 1.859 | 0.70199 | 2.1135 | 1.8549 | -0.40201 | 1.4065 | 1.5538 | 0.43635 | -1.2902 | -1.4693 | -0.59226 | 1.1866 | 0.47561 | 0.60589 | -1.233 | -0.38204 | 125.9256 | -169.3221 | 95.9705 | -54.0417 | 10.7933 | -84.0884 |  | 1.0132 | 0.87007 | 0.87407 | 1.0636 | 0.8444 | 0.81845 | 1.7582 | -129.1691 | 112.9902 | 0.19752 | -125.5054 | 110.4868

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12098 | 0.3662 | 0.32054 | 0.12159 | 0.36607 | 0.32128 | 1.397 | 4.2285 | 3.7013 | 1.404 | 4.227 | 3.7098 | 1.0178 | -2.1163 | -2.6121 | -0.8727 | 2.5804 | 2.9386 | 1.2724 | -2.6611 | -0.38683 | -1.2118 | 2.466 | 0.76409 | -53.838 | 10.908 | -84.0763 | 125.9583 | -169.2067 | 95.9116 |  | 1.1664 | 0.80407 | 0.71343 | 1.0636 | 0.8444 | 0.81845 | -2.4943 | -117.5862 | 104.3475 | 0.19752 | -125.5054 | 110.4868
Line_1 | 0.061185 | 0.18317 | 0.161 | 0.060794 | 0.18303 | 0.16064 | 0.70651 | 2.115 | 1.859 | 0.70199 | 2.1135 | 1.8549 | -0.40201 | 1.4065 | 1.5538 | 0.43635 | -1.2902 | -1.4693 | -0.59226 | 1.1866 | 0.47561 | 0.60589 | -1.233 | -0.38204 | 125.9256 | -169.3221 | 95.9705 | -54.0417 | 10.7933 | -84.0884 |  | 1.0132 | 0.87007 | 0.87407 | 1.0636 | 0.8444 | 0.81845 | 1.7582 | -129.1691 | 112.9902 | 0.19752 | -125.5054 | 110.4868
Line_2 | 0.061185 | 0.18317 | 0.161 | 0.060794 | 0.18303 | 0.16064 | 0.70651 | 2.115 | 1.859 | 0.70199 | 2.1135 | 1.8549 | -0.40201 | 1.4065 | 1.5538 | 0.43635 | -1.2902 | -1.4693 | -0.59226 | 1.1866 | 0.47561 | 0.60589 | -1.233 | -0.38204 | 125.9256 | -169.3221 | 95.9705 | -54.0417 | 10.7933 | -84.0884 |  | 1.0132 | 0.87007 | 0.87407 | 1.0636 | 0.8444 | 0.81845 | 1.7582 | -129.1691 | 112.9902 | 0.19752 | -125.5054 | 110.4868