## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6588 | 0.39827 | 0.65627 | 1.6596 | 0.3975 | 0.65555 | 19.1538 | 4.5989 | 7.5779 | 19.1632 | 4.5899 | 7.5697 | 2.6266e-10 | 3.3864 | -5.9116 | 2.6183 | -3.6229 | 6.0057 | -9.4248e-11 | -3.3438 | -5.4408 | 2.5784 | 3.2739 | 5.1031 | 105.5256 | -61.6383 | -114.1847 | -74.4788 | 118.406 | 65.778 |  | 0 | 1.0348 | 1.0602 | 0.19176 | 1.0639 | 1.0411 | 0 | -106.2756 | 108.4402 | -29.9187 | -103.6966 | 106.1331
Line_1 | 0.83036 | 0.19817 | 0.32742 | 0.82979 | 0.19875 | 0.32778 | 9.5882 | 2.2882 | 3.7807 | 9.5816 | 2.295 | 3.7848 | 1.9668 | -1.8677 | 3.0218 | -1.3092 | 1.8115 | -3.0028 | 1.9355 | 1.6156 | 2.4686 | -1.2892 | -1.6369 | -2.5516 | -74.4703 | 118.4077 | 65.6977 | 105.5212 | -61.594 | -114.222 |  | 0.2878 | 1.0792 | 1.0321 | 0.19176 | 1.0639 | 1.0411 | -29.9298 | -102.4531 | 104.9445 | -29.9187 | -103.6966 | 106.1331
Line_2 | 0.83036 | 0.19817 | 0.32742 | 0.82979 | 0.19875 | 0.32778 | 9.5882 | 2.2882 | 3.7807 | 9.5816 | 2.295 | 3.7848 | 1.9668 | -1.8677 | 3.0218 | -1.3092 | 1.8115 | -3.0028 | 1.9355 | 1.6156 | 2.4686 | -1.2892 | -1.6369 | -2.5516 | -74.4703 | 118.4077 | 65.6977 | 105.5212 | -61.594 | -114.222 |  | 0.2878 | 1.0792 | 1.0321 | 0.19176 | 1.0639 | 1.0411 | -29.9298 | -102.4531 | 104.9445 | -29.9187 | -103.6966 | 106.1331

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6588 | 0.39827 | 0.65627 | 1.6596 | 0.3975 | 0.65555 | 19.1538 | 4.5989 | 7.5779 | 19.1632 | 4.5899 | 7.5697 | 2.6266e-10 | 3.3864 | -5.9116 | 2.6183 | -3.6229 | 6.0057 | -9.4248e-11 | -3.3438 | -5.4408 | 2.5784 | 3.2739 | 5.1031 | 105.5256 | -61.6383 | -114.1847 | -74.4788 | 118.406 | 65.778 |  | 0 | 1.0348 | 1.0602 | 0.19176 | 1.0639 | 1.0411 | 0 | -106.2756 | 108.4402 | -29.9187 | -103.6966 | 106.1331
Line_1 | 0.83036 | 0.19817 | 0.32742 | 0.82979 | 0.19875 | 0.32778 | 9.5882 | 2.2882 | 3.7807 | 9.5816 | 2.295 | 3.7848 | 1.9668 | -1.8677 | 3.0218 | -1.3092 | 1.8115 | -3.0028 | 1.9355 | 1.6156 | 2.4686 | -1.2892 | -1.6369 | -2.5516 | -74.4703 | 118.4077 | 65.6977 | 105.5212 | -61.594 | -114.222 |  | 0.2878 | 1.0792 | 1.0321 | 0.19176 | 1.0639 | 1.0411 | -29.9298 | -102.4531 | 104.9445 | -29.9187 | -103.6966 | 106.1331
Line_2 | 0.83036 | 0.19817 | 0.32742 | 0.82979 | 0.19875 | 0.32778 | 9.5882 | 2.2882 | 3.7807 | 9.5816 | 2.295 | 3.7848 | 1.9668 | -1.8677 | 3.0218 | -1.3092 | 1.8115 | -3.0028 | 1.9355 | 1.6156 | 2.4686 | -1.2892 | -1.6369 | -2.5516 | -74.4703 | 118.4077 | 65.6977 | 105.5212 | -61.594 | -114.222 |  | 0.2878 | 1.0792 | 1.0321 | 0.19176 | 1.0639 | 1.0411 | -29.9298 | -102.4531 | 104.9445 | -29.9187 | -103.6966 | 106.1331

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45792 | 0.27923 | 0.26717 | 0.45806 | 0.27908 | 0.26714 | 5.2876 | 3.2242 | 3.085 | 5.2893 | 3.2226 | 3.0847 | -2.9365 | 0.23339 | -1.4184 | 3.0852 | -0.23252 | 1.4801 | -4.2718 | -3.5464 | -3.265 | 4.4631 | 3.567 | 3.2716 | 117.7557 | -32.5683 | -128.672 | -62.2402 | 147.441 | 51.2961 |  | 0.98037 | 1.1023 | 1.1539 | 1.0258 | 1.1092 | 1.1641 | -6.7493 | -118.803 | 117.8459 | -6.8956 | -118.8295 | 116.9536
Line_1 | 0.22912 | 0.13943 | 0.13359 | 0.22903 | 0.13954 | 0.13357 | 2.6457 | 1.6101 | 1.5425 | 2.6446 | 1.6113 | 1.5423 | 1.5807 | -0.11626 | 0.75479 | -1.5426 | 0.11626 | -0.74004 | 2.2796 | 1.7877 | 1.6381 | -2.2315 | -1.7835 | -1.6358 | -62.2256 | 147.4381 | 51.2512 | 117.7598 | -32.559 | -128.7039 |  | 1.0485 | 1.1127 | 1.1693 | 1.0258 | 1.1092 | 1.1641 | -6.9642 | -118.841 | 116.5122 | -6.8956 | -118.8295 | 116.9536
Line_2 | 0.22912 | 0.13943 | 0.13359 | 0.22903 | 0.13954 | 0.13357 | 2.6457 | 1.6101 | 1.5425 | 2.6446 | 1.6113 | 1.5423 | 1.5807 | -0.11626 | 0.75479 | -1.5426 | 0.11626 | -0.74004 | 2.2796 | 1.7877 | 1.6381 | -2.2315 | -1.7835 | -1.6358 | -62.2256 | 147.4381 | 51.2512 | 117.7598 | -32.559 | -128.7039 |  | 1.0485 | 1.1127 | 1.1693 | 1.0258 | 1.1092 | 1.1641 | -6.9642 | -118.841 | 116.5122 | -6.8956 | -118.8295 | 116.9536

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45792 | 0.27923 | 0.26717 | 0.45806 | 0.27908 | 0.26714 | 5.2876 | 3.2242 | 3.085 | 5.2893 | 3.2226 | 3.0847 | -2.9365 | 0.23339 | -1.4184 | 3.0852 | -0.23252 | 1.4801 | -4.2718 | -3.5464 | -3.265 | 4.4631 | 3.567 | 3.2716 | 117.7557 | -32.5683 | -128.672 | -62.2402 | 147.441 | 51.2961 |  | 0.98037 | 1.1023 | 1.1539 | 1.0258 | 1.1092 | 1.1641 | -6.7493 | -118.803 | 117.8459 | -6.8956 | -118.8295 | 116.9536
Line_1 | 0.22912 | 0.13943 | 0.13359 | 0.22903 | 0.13954 | 0.13357 | 2.6457 | 1.6101 | 1.5425 | 2.6446 | 1.6113 | 1.5423 | 1.5807 | -0.11626 | 0.75479 | -1.5426 | 0.11626 | -0.74004 | 2.2796 | 1.7877 | 1.6381 | -2.2315 | -1.7835 | -1.6358 | -62.2256 | 147.4381 | 51.2512 | 117.7598 | -32.559 | -128.7039 |  | 1.0485 | 1.1127 | 1.1693 | 1.0258 | 1.1092 | 1.1641 | -6.9642 | -118.841 | 116.5122 | -6.8956 | -118.8295 | 116.9536
Line_2 | 0.22912 | 0.13943 | 0.13359 | 0.22903 | 0.13954 | 0.13357 | 2.6457 | 1.6101 | 1.5425 | 2.6446 | 1.6113 | 1.5423 | 1.5807 | -0.11626 | 0.75479 | -1.5426 | 0.11626 | -0.74004 | 2.2796 | 1.7877 | 1.6381 | -2.2315 | -1.7835 | -1.6358 | -62.2256 | 147.4381 | 51.2512 | 117.7598 | -32.559 | -128.7039 |  | 1.0485 | 1.1127 | 1.1693 | 1.0258 | 1.1092 | 1.1641 | -6.9642 | -118.841 | 116.5122 | -6.8956 | -118.8295 | 116.9536

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2072 | 0.3156 | 0.5163 | 1.2079 | 0.3149 | 0.5156 | 13.9397 | 3.6442 | 5.9617 | 13.9475 | 3.6361 | 5.9537 | -5.3099e-11 | 3.1352 | -5.1905 | 2.426 | -3.17 | 5.2262 | -4.0838e-11 | -1.0425 | -1.8486 | 1.806 | 0.77415 | 1.4704 | 113.2653 | -88.9925 | -89.8174 | -66.744 | 90.9943 | 90.1734 |  | 0 | 0.90664 | 0.92421 | 0.21684 | 0.89743 | 0.91189 | 0 | -107.3846 | 109.7864 | -30.0778 | -102.7293 | 105.8878
Line_1 | 0.6043 | 0.15715 | 0.25751 | 0.60394 | 0.15745 | 0.2578 | 6.9779 | 1.8146 | 2.9734 | 6.9737 | 1.8181 | 2.9768 | 1.8222 | -1.5931 | 2.6197 | -1.213 | 1.585 | -2.6131 | 1.3553 | 0.31772 | 0.64224 | -0.90301 | -0.38708 | -0.73521 | -66.7356 | 90.9149 | 90.124 | 113.256 | -89.0057 | -89.8266 |  | 0.32546 | 0.89523 | 0.90714 | 0.21684 | 0.89743 | 0.91189 | -30.0945 | -100.3638 | 103.8987 | -30.0778 | -102.7293 | 105.8878
Line_2 | 0.6043 | 0.15715 | 0.25751 | 0.60394 | 0.15745 | 0.2578 | 6.9779 | 1.8146 | 2.9734 | 6.9737 | 1.8181 | 2.9768 | 1.8222 | -1.5931 | 2.6197 | -1.213 | 1.585 | -2.6131 | 1.3553 | 0.31772 | 0.64224 | -0.90301 | -0.38708 | -0.73521 | -66.7356 | 90.9149 | 90.124 | 113.256 | -89.0057 | -89.8266 |  | 0.32546 | 0.89523 | 0.90714 | 0.21684 | 0.89743 | 0.91189 | -30.0945 | -100.3638 | 103.8987 | -30.0778 | -102.7293 | 105.8878

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2072 | 0.3156 | 0.5163 | 1.2079 | 0.3149 | 0.5156 | 13.9397 | 3.6442 | 5.9617 | 13.9475 | 3.6361 | 5.9537 | -5.3099e-11 | 3.1352 | -5.1905 | 2.426 | -3.17 | 5.2262 | -4.0838e-11 | -1.0425 | -1.8486 | 1.806 | 0.77415 | 1.4704 | 113.2653 | -88.9925 | -89.8174 | -66.744 | 90.9943 | 90.1734 |  | 0 | 0.90664 | 0.92421 | 0.21684 | 0.89743 | 0.91189 | 0 | -107.3846 | 109.7864 | -30.0778 | -102.7293 | 105.8878
Line_1 | 0.6043 | 0.15715 | 0.25751 | 0.60394 | 0.15745 | 0.2578 | 6.9779 | 1.8146 | 2.9734 | 6.9737 | 1.8181 | 2.9768 | 1.8222 | -1.5931 | 2.6197 | -1.213 | 1.585 | -2.6131 | 1.3553 | 0.31772 | 0.64224 | -0.90301 | -0.38708 | -0.73521 | -66.7356 | 90.9149 | 90.124 | 113.256 | -89.0057 | -89.8266 |  | 0.32546 | 0.89523 | 0.90714 | 0.21684 | 0.89743 | 0.91189 | -30.0945 | -100.3638 | 103.8987 | -30.0778 | -102.7293 | 105.8878
Line_2 | 0.6043 | 0.15715 | 0.25751 | 0.60394 | 0.15745 | 0.2578 | 6.9779 | 1.8146 | 2.9734 | 6.9737 | 1.8181 | 2.9768 | 1.8222 | -1.5931 | 2.6197 | -1.213 | 1.585 | -2.6131 | 1.3553 | 0.31772 | 0.64224 | -0.90301 | -0.38708 | -0.73521 | -66.7356 | 90.9149 | 90.124 | 113.256 | -89.0057 | -89.8266 |  | 0.32546 | 0.89523 | 0.90714 | 0.21684 | 0.89743 | 0.91189 | -30.0945 | -100.3638 | 103.8987 | -30.0778 | -102.7293 | 105.8878

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22777 | 0.059546 | 0.097413 | 0.2279 | 0.059414 | 0.097282 | 2.6301 | 0.68757 | 1.1248 | 2.6316 | 0.68605 | 1.1233 | -1.9701 | 0.31058 | -1.1245 | 2.0574 | -0.3115 | 1.1245 | -1.0359 | -0.58392 | 0.086061 | 1.1011 | 0.57312 | -0.09917 | 145.444 | -56.8139 | -57.6388 | -34.5654 | 123.1729 | 122.352 |  | 0.84629 | 0.96191 | 1.0026 | 0.88673 | 0.9508 | 1.005 | -6.8189 | -118.8061 | 117.9848 | -6.409 | -118.3019 | 117.3124
Line_1 | 0.11402 | 0.029651 | 0.048585 | 0.11395 | 0.029707 | 0.048641 | 1.3166 | 0.34238 | 0.56101 | 1.3158 | 0.34303 | 0.56166 | 1.051 | -0.15623 | 0.56204 | -1.0287 | 0.15575 | -0.56227 | 0.56683 | 0.28344 | -0.052404 | -0.55056 | -0.28656 | 0.049585 | -34.557 | 123.0935 | 122.3026 | 145.4346 | -56.8271 | -57.648 |  | 0.90701 | 0.94528 | 1.0062 | 0.88673 | 0.9508 | 1.005 | -6.2186 | -118.0428 | 116.9758 | -6.409 | -118.3019 | 117.3124
Line_2 | 0.11402 | 0.029651 | 0.048585 | 0.11395 | 0.029707 | 0.048641 | 1.3166 | 0.34238 | 0.56101 | 1.3158 | 0.34303 | 0.56166 | 1.051 | -0.15623 | 0.56204 | -1.0287 | 0.15575 | -0.56227 | 0.56683 | 0.28344 | -0.052404 | -0.55056 | -0.28656 | 0.049585 | -34.557 | 123.0935 | 122.3026 | 145.4346 | -56.8271 | -57.648 |  | 0.90701 | 0.94528 | 1.0062 | 0.88673 | 0.9508 | 1.005 | -6.2186 | -118.0428 | 116.9758 | -6.409 | -118.3019 | 117.3124

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22777 | 0.059546 | 0.097413 | 0.2279 | 0.059414 | 0.097282 | 2.6301 | 0.68757 | 1.1248 | 2.6316 | 0.68605 | 1.1233 | -1.9701 | 0.31058 | -1.1245 | 2.0574 | -0.3115 | 1.1245 | -1.0359 | -0.58392 | 0.086061 | 1.1011 | 0.57312 | -0.09917 | 145.444 | -56.8139 | -57.6388 | -34.5654 | 123.1729 | 122.352 |  | 0.84629 | 0.96191 | 1.0026 | 0.88673 | 0.9508 | 1.005 | -6.8189 | -118.8061 | 117.9848 | -6.409 | -118.3019 | 117.3124
Line_1 | 0.11402 | 0.029651 | 0.048585 | 0.11395 | 0.029707 | 0.048641 | 1.3166 | 0.34238 | 0.56101 | 1.3158 | 0.34303 | 0.56166 | 1.051 | -0.15623 | 0.56204 | -1.0287 | 0.15575 | -0.56227 | 0.56683 | 0.28344 | -0.052404 | -0.55056 | -0.28656 | 0.049585 | -34.557 | 123.0935 | 122.3026 | 145.4346 | -56.8271 | -57.648 |  | 0.90701 | 0.94528 | 1.0062 | 0.88673 | 0.9508 | 1.005 | -6.2186 | -118.0428 | 116.9758 | -6.409 | -118.3019 | 117.3124
Line_2 | 0.11402 | 0.029651 | 0.048585 | 0.11395 | 0.029707 | 0.048641 | 1.3166 | 0.34238 | 0.56101 | 1.3158 | 0.34303 | 0.56166 | 1.051 | -0.15623 | 0.56204 | -1.0287 | 0.15575 | -0.56227 | 0.56683 | 0.28344 | -0.052404 | -0.55056 | -0.28656 | 0.049585 | -34.557 | 123.0935 | 122.3026 | 145.4346 | -56.8271 | -57.648 |  | 0.90701 | 0.94528 | 1.0062 | 0.88673 | 0.9508 | 1.005 | -6.2186 | -118.0428 | 116.9758 | -6.409 | -118.3019 | 117.3124

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.74168 | 1.8906 | 1.5253 | 0.7406 | 1.891 | 1.526 | 8.5642 | 21.8309 | 17.6127 | 8.5517 | 21.8354 | 17.6207 | -1.1216 | 1.5248e-10 | 1.1825e-10 | 0.79302 | 3.9643 | 0.97252 | -6.8888 | -2.3887e-10 | -1.9548e-10 | 6.5636 | 1.289 | 3.1814 | 100.1043 | -12.3559 | -131.2347 | -79.8936 | 167.6134 | 48.7964 |  | 0.81496 | 0 | 0 | 0.7731 | 0.19091 | 0.1888 | 0.85707 | 0 | 0 | 3.2173 | -174.3747 | 121.7985
Line_1 | 0.36959 | 0.94601 | 0.76325 | 0.3703 | 0.9455 | 0.763 | 4.2676 | 10.9236 | 8.8132 | 4.2759 | 10.9177 | 8.8104 | 0.31111 | 2.9762 | 0.73208 | -0.39651 | -1.9821 | -0.48626 | 3.1966 | 0.96765 | 2.3881 | -3.2818 | -0.64449 | -1.5907 | -79.9332 | 167.5794 | 48.8502 | 100.1064 | -12.3866 | -131.2036 |  | 0.75257 | 0.2865 | 0.28341 | 0.7731 | 0.19091 | 0.1888 | 4.5079 | -174.4098 | 121.8069 | 3.2173 | -174.3747 | 121.7985
Line_2 | 0.36959 | 0.94601 | 0.76325 | 0.3703 | 0.9455 | 0.763 | 4.2676 | 10.9236 | 8.8132 | 4.2759 | 10.9177 | 8.8104 | 0.31111 | 2.9762 | 0.73208 | -0.39651 | -1.9821 | -0.48626 | 3.1966 | 0.96765 | 2.3881 | -3.2818 | -0.64449 | -1.5907 | -79.9332 | 167.5794 | 48.8502 | 100.1064 | -12.3866 | -131.2036 |  | 0.75257 | 0.2865 | 0.28341 | 0.7731 | 0.19091 | 0.1888 | 4.5079 | -174.4098 | 121.8069 | 3.2173 | -174.3747 | 121.7985

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.74168 | 1.8906 | 1.5253 | 0.7406 | 1.891 | 1.526 | 8.5642 | 21.8309 | 17.6127 | 8.5517 | 21.8354 | 17.6207 | -1.1216 | 1.5248e-10 | 1.1825e-10 | 0.79302 | 3.9643 | 0.97252 | -6.8888 | -2.3887e-10 | -1.9548e-10 | 6.5636 | 1.289 | 3.1814 | 100.1043 | -12.3559 | -131.2347 | -79.8936 | 167.6134 | 48.7964 |  | 0.81496 | 0 | 0 | 0.7731 | 0.19091 | 0.1888 | 0.85707 | 0 | 0 | 3.2173 | -174.3747 | 121.7985
Line_1 | 0.36959 | 0.94601 | 0.76325 | 0.3703 | 0.9455 | 0.763 | 4.2676 | 10.9236 | 8.8132 | 4.2759 | 10.9177 | 8.8104 | 0.31111 | 2.9762 | 0.73208 | -0.39651 | -1.9821 | -0.48626 | 3.1966 | 0.96765 | 2.3881 | -3.2818 | -0.64449 | -1.5907 | -79.9332 | 167.5794 | 48.8502 | 100.1064 | -12.3866 | -131.2036 |  | 0.75257 | 0.2865 | 0.28341 | 0.7731 | 0.19091 | 0.1888 | 4.5079 | -174.4098 | 121.8069 | 3.2173 | -174.3747 | 121.7985
Line_2 | 0.36959 | 0.94601 | 0.76325 | 0.3703 | 0.9455 | 0.763 | 4.2676 | 10.9236 | 8.8132 | 4.2759 | 10.9177 | 8.8104 | 0.31111 | 2.9762 | 0.73208 | -0.39651 | -1.9821 | -0.48626 | 3.1966 | 0.96765 | 2.3881 | -3.2818 | -0.64449 | -1.5907 | -79.9332 | 167.5794 | 48.8502 | 100.1064 | -12.3866 | -131.2036 |  | 0.75257 | 0.2865 | 0.28341 | 0.7731 | 0.19091 | 0.1888 | 4.5079 | -174.4098 | 121.8069 | 3.2173 | -174.3747 | 121.7985

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29759 | 0.50922 | 0.46799 | 0.29745 | 0.50931 | 0.46802 | 3.4363 | 5.8799 | 5.4039 | 3.4347 | 5.881 | 5.4043 | -1.0368 | -3.9999 | -2.4308 | 1.068 | 4.2221 | 2.4985 | -3.6589 | -4.1933 | -4.4694 | 3.66 | 4.3398 | 4.6633 | 104.6493 | 4.8366 | -126.9194 | -75.3645 | -175.1775 | 53.0994 |  | 1.1067 | 0.98557 | 0.94149 | 1.11 | 1.0295 | 0.97894 | -1.172 | -128.8113 | 114.5398 | -1.6316 | -129.3897 | 114.9183
Line_1 | 0.14865 | 0.25475 | 0.23399 | 0.14873 | 0.25466 | 0.23401 | 1.7165 | 2.9416 | 2.7019 | 1.7173 | 2.9405 | 2.7021 | 0.54082 | 2.167 | 1.2667 | -0.53399 | -2.111 | -1.2492 | 1.83 | 2.2074 | 2.3796 | -1.83 | -2.1699 | -2.3317 | -75.396 | -175.1905 | 53.1259 | 104.6355 | 4.8225 | -126.9006 |  | 1.1117 | 1.0516 | 0.9977 | 1.11 | 1.0295 | 0.97894 | -1.86 | -129.6623 | 115.0982 | -1.6316 | -129.3897 | 114.9183
Line_2 | 0.14865 | 0.25475 | 0.23399 | 0.14873 | 0.25466 | 0.23401 | 1.7165 | 2.9416 | 2.7019 | 1.7173 | 2.9405 | 2.7021 | 0.54082 | 2.167 | 1.2667 | -0.53399 | -2.111 | -1.2492 | 1.83 | 2.2074 | 2.3796 | -1.83 | -2.1699 | -2.3317 | -75.396 | -175.1905 | 53.1259 | 104.6355 | 4.8225 | -126.9006 |  | 1.1117 | 1.0516 | 0.9977 | 1.11 | 1.0295 | 0.97894 | -1.86 | -129.6623 | 115.0982 | -1.6316 | -129.3897 | 114.9183

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29759 | 0.50922 | 0.46799 | 0.29745 | 0.50931 | 0.46802 | 3.4363 | 5.8799 | 5.4039 | 3.4347 | 5.881 | 5.4043 | -1.0368 | -3.9999 | -2.4308 | 1.068 | 4.2221 | 2.4985 | -3.6589 | -4.1933 | -4.4694 | 3.66 | 4.3398 | 4.6633 | 104.6493 | 4.8366 | -126.9194 | -75.3645 | -175.1775 | 53.0994 |  | 1.1067 | 0.98557 | 0.94149 | 1.11 | 1.0295 | 0.97894 | -1.172 | -128.8113 | 114.5398 | -1.6316 | -129.3897 | 114.9183
Line_1 | 0.14865 | 0.25475 | 0.23399 | 0.14873 | 0.25466 | 0.23401 | 1.7165 | 2.9416 | 2.7019 | 1.7173 | 2.9405 | 2.7021 | 0.54082 | 2.167 | 1.2667 | -0.53399 | -2.111 | -1.2492 | 1.83 | 2.2074 | 2.3796 | -1.83 | -2.1699 | -2.3317 | -75.396 | -175.1905 | 53.1259 | 104.6355 | 4.8225 | -126.9006 |  | 1.1117 | 1.0516 | 0.9977 | 1.11 | 1.0295 | 0.97894 | -1.86 | -129.6623 | 115.0982 | -1.6316 | -129.3897 | 114.9183
Line_2 | 0.14865 | 0.25475 | 0.23399 | 0.14873 | 0.25466 | 0.23401 | 1.7165 | 2.9416 | 2.7019 | 1.7173 | 2.9405 | 2.7021 | 0.54082 | 2.167 | 1.2667 | -0.53399 | -2.111 | -1.2492 | 1.83 | 2.2074 | 2.3796 | -1.83 | -2.1699 | -2.3317 | -75.396 | -175.1905 | 53.1259 | 104.6355 | 4.8225 | -126.9006 |  | 1.1117 | 1.0516 | 0.9977 | 1.11 | 1.0295 | 0.97894 | -1.86 | -129.6623 | 115.0982 | -1.6316 | -129.3897 | 114.9183

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55224 | 1.4739 | 1.1041 | 0.55136 | 1.4741 | 1.1047 | 6.3767 | 17.0196 | 12.7495 | 6.3666 | 17.0212 | 12.7563 | -1.3008 | -1.5287e-10 | -1.1389e-10 | 1.121 | 4.1302 | 0.71092 | -4.5274 | 1.8486e-12 | -1.7296e-11 | 4.0836 | 0.55618 | 2.2025 | 107.4785 | -0.23418 | -129.5159 | -72.5076 | 179.7318 | 50.5185 |  | 0.73872 | 0 | 0 | 0.66515 | 0.24484 | 0.18143 | 1.4489 | 0 | 0 | 2.1419 | -172.5989 | 122.6296
Line_1 | 0.27525 | 0.73734 | 0.55246 | 0.27568 | 0.73704 | 0.55237 | 3.1783 | 8.514 | 6.3792 | 3.1833 | 8.5106 | 6.3782 | 0.51298 | 3.1001 | 0.53509 | -0.56051 | -2.0651 | -0.35546 | 1.9297 | 0.41693 | 1.6534 | -2.0418 | -0.27809 | -1.1013 | -72.5433 | 179.7036 | 50.566 | 107.4924 | -0.26823 | -129.4815 |  | 0.62826 | 0.3674 | 0.27242 | 0.66515 | 0.24484 | 0.18143 | 2.5703 | -172.6367 | 122.633 | 2.1419 | -172.5989 | 122.6296
Line_2 | 0.27525 | 0.73734 | 0.55246 | 0.27568 | 0.73704 | 0.55237 | 3.1783 | 8.514 | 6.3792 | 3.1833 | 8.5106 | 6.3782 | 0.51298 | 3.1001 | 0.53509 | -0.56051 | -2.0651 | -0.35546 | 1.9297 | 0.41693 | 1.6534 | -2.0418 | -0.27809 | -1.1013 | -72.5433 | 179.7036 | 50.566 | 107.4924 | -0.26823 | -129.4815 |  | 0.62826 | 0.3674 | 0.27242 | 0.66515 | 0.24484 | 0.18143 | 2.5703 | -172.6367 | 122.633 | 2.1419 | -172.5989 | 122.6296

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55224 | 1.4739 | 1.1041 | 0.55136 | 1.4741 | 1.1047 | 6.3767 | 17.0196 | 12.7495 | 6.3666 | 17.0212 | 12.7563 | -1.3008 | -1.5287e-10 | -1.1389e-10 | 1.121 | 4.1302 | 0.71092 | -4.5274 | 1.8486e-12 | -1.7296e-11 | 4.0836 | 0.55618 | 2.2025 | 107.4785 | -0.23418 | -129.5159 | -72.5076 | 179.7318 | 50.5185 |  | 0.73872 | 0 | 0 | 0.66515 | 0.24484 | 0.18143 | 1.4489 | 0 | 0 | 2.1419 | -172.5989 | 122.6296
Line_1 | 0.27525 | 0.73734 | 0.55246 | 0.27568 | 0.73704 | 0.55237 | 3.1783 | 8.514 | 6.3792 | 3.1833 | 8.5106 | 6.3782 | 0.51298 | 3.1001 | 0.53509 | -0.56051 | -2.0651 | -0.35546 | 1.9297 | 0.41693 | 1.6534 | -2.0418 | -0.27809 | -1.1013 | -72.5433 | 179.7036 | 50.566 | 107.4924 | -0.26823 | -129.4815 |  | 0.62826 | 0.3674 | 0.27242 | 0.66515 | 0.24484 | 0.18143 | 2.5703 | -172.6367 | 122.633 | 2.1419 | -172.5989 | 122.6296
Line_2 | 0.27525 | 0.73734 | 0.55246 | 0.27568 | 0.73704 | 0.55237 | 3.1783 | 8.514 | 6.3792 | 3.1833 | 8.5106 | 6.3782 | 0.51298 | 3.1001 | 0.53509 | -0.56051 | -2.0651 | -0.35546 | 1.9297 | 0.41693 | 1.6534 | -2.0418 | -0.27809 | -1.1013 | -72.5433 | 179.7036 | 50.566 | 107.4924 | -0.26823 | -129.4815 |  | 0.62826 | 0.3674 | 0.27242 | 0.66515 | 0.24484 | 0.18143 | 2.5703 | -172.6367 | 122.633 | 2.1419 | -172.5989 | 122.6296

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.089059 | 0.30623 | 0.23174 | 0.088926 | 0.30625 | 0.23181 | 1.0284 | 3.5361 | 2.6759 | 1.0268 | 3.5362 | 2.6767 | -0.8224 | -2.8808 | -1.6037 | 0.81588 | 3.0354 | 1.6338 | -0.55299 | -0.84551 | -1.4762 | 0.54253 | 0.87548 | 1.5515 | 145.0748 | 34.889 | -108.1738 | -34.9034 | -145.1364 | 71.8551 |  | 0.9637 | 0.84906 | 0.81457 | 0.95418 | 0.89337 | 0.84174 | -1.0081 | -128.7543 | 114.4547 | -1.281 | -129.0477 | 115.3761
Line_1 | 0.044394 | 0.15317 | 0.11591 | 0.044463 | 0.15312 | 0.1159 | 0.51262 | 1.7686 | 1.3384 | 0.51342 | 1.7681 | 1.3383 | 0.40579 | 1.5567 | 0.82458 | -0.40794 | -1.5177 | -0.81688 | 0.26869 | 0.44556 | 0.79424 | -0.27126 | -0.43774 | -0.77576 | -34.9286 | -145.1581 | 71.8906 | 145.0966 | 34.8636 | -108.1449 |  | 0.94939 | 0.91554 | 0.85543 | 0.95418 | 0.89337 | 0.84174 | -1.4186 | -129.1862 | 115.8167 | -1.281 | -129.0477 | 115.3761
Line_2 | 0.044394 | 0.15317 | 0.11591 | 0.044463 | 0.15312 | 0.1159 | 0.51262 | 1.7686 | 1.3384 | 0.51342 | 1.7681 | 1.3383 | 0.40579 | 1.5567 | 0.82458 | -0.40794 | -1.5177 | -0.81688 | 0.26869 | 0.44556 | 0.79424 | -0.27126 | -0.43774 | -0.77576 | -34.9286 | -145.1581 | 71.8906 | 145.0966 | 34.8636 | -108.1449 |  | 0.94939 | 0.91554 | 0.85543 | 0.95418 | 0.89337 | 0.84174 | -1.4186 | -129.1862 | 115.8167 | -1.281 | -129.0477 | 115.3761

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.089059 | 0.30623 | 0.23174 | 0.088926 | 0.30625 | 0.23181 | 1.0284 | 3.5361 | 2.6759 | 1.0268 | 3.5362 | 2.6767 | -0.8224 | -2.8808 | -1.6037 | 0.81588 | 3.0354 | 1.6338 | -0.55299 | -0.84551 | -1.4762 | 0.54253 | 0.87548 | 1.5515 | 145.0748 | 34.889 | -108.1738 | -34.9034 | -145.1364 | 71.8551 |  | 0.9637 | 0.84906 | 0.81457 | 0.95418 | 0.89337 | 0.84174 | -1.0081 | -128.7543 | 114.4547 | -1.281 | -129.0477 | 115.3761
Line_1 | 0.044394 | 0.15317 | 0.11591 | 0.044463 | 0.15312 | 0.1159 | 0.51262 | 1.7686 | 1.3384 | 0.51342 | 1.7681 | 1.3383 | 0.40579 | 1.5567 | 0.82458 | -0.40794 | -1.5177 | -0.81688 | 0.26869 | 0.44556 | 0.79424 | -0.27126 | -0.43774 | -0.77576 | -34.9286 | -145.1581 | 71.8906 | 145.0966 | 34.8636 | -108.1449 |  | 0.94939 | 0.91554 | 0.85543 | 0.95418 | 0.89337 | 0.84174 | -1.4186 | -129.1862 | 115.8167 | -1.281 | -129.0477 | 115.3761
Line_2 | 0.044394 | 0.15317 | 0.11591 | 0.044463 | 0.15312 | 0.1159 | 0.51262 | 1.7686 | 1.3384 | 0.51342 | 1.7681 | 1.3383 | 0.40579 | 1.5567 | 0.82458 | -0.40794 | -1.5177 | -0.81688 | 0.26869 | 0.44556 | 0.79424 | -0.27126 | -0.43774 | -0.77576 | -34.9286 | -145.1581 | 71.8906 | 145.0966 | 34.8636 | -108.1449 |  | 0.94939 | 0.91554 | 0.85543 | 0.95418 | 0.89337 | 0.84174 | -1.4186 | -129.1862 | 115.8167 | -1.281 | -129.0477 | 115.3761