## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 3.1264e-14 | 1.5632e-14 | 2.6053e-14 | -1.5632e-14 | -1.5632e-14 | -1.5632e-14 | 5.7634e-09 | -5.7634e-09 | 2.0843e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1179e-12 | 180 | -180 | 1.1522e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -1.0421e-14 | -5.2105e-15 | -1.0421e-14 | 1.5632e-14 | 5.2105e-15 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1561e-12 | -180 | 180 | 1.1522e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -1.0421e-14 | 5.2108e-15 | -5.2106e-15 | 2.6053e-14 | -5.2108e-15 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1537e-12 | -180 | 180 | 1.1522e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 3.1264e-14 | 1.5632e-14 | 2.6053e-14 | -1.5632e-14 | -1.5632e-14 | -1.5632e-14 | 5.7634e-09 | -5.7634e-09 | 2.0843e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1179e-12 | 180 | -180 | 1.1522e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -1.0421e-14 | -5.2105e-15 | -1.0421e-14 | 1.5632e-14 | 5.2105e-15 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1561e-12 | -180 | 180 | 1.1522e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -1.0421e-14 | 5.2108e-15 | -5.2106e-15 | 2.6053e-14 | -5.2108e-15 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1537e-12 | -180 | 180 | 1.1522e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1724e-14 | -9.5546e-10 | -3.0749e-09 | 3.908e-15 | 9.5546e-10 | 3.075e-09 | -5.2106e-15 | 4.0277e-09 | -3.5665e-10 | 1.0421e-14 | -4.0277e-09 | 3.5666e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.2758e-13 | -140.8543 | 122.4159 | 4.3722e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-15 | 3.1849e-10 | 1.025e-09 | -6.5133e-15 | -3.1848e-10 | -1.025e-09 | 2.6053e-15 | -1.3426e-09 | 1.1888e-10 | -2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.3685e-13 | -140.8543 | 122.4159 | 4.3722e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.816e-15 | 3.1848e-10 | 1.025e-09 | 1.9881e-29 | -3.1847e-10 | -1.025e-09 | 5.2106e-15 | -1.3426e-09 | 1.1888e-10 | -2.6053e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.3856e-13 | -140.8543 | 122.4159 | 4.3722e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1724e-14 | -9.5546e-10 | -3.0749e-09 | 3.908e-15 | 9.5546e-10 | 3.075e-09 | -5.2106e-15 | 4.0277e-09 | -3.5665e-10 | 1.0421e-14 | -4.0277e-09 | 3.5666e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.2758e-13 | -140.8543 | 122.4159 | 4.3722e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-15 | 3.1849e-10 | 1.025e-09 | -6.5133e-15 | -3.1848e-10 | -1.025e-09 | 2.6053e-15 | -1.3426e-09 | 1.1888e-10 | -2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.3685e-13 | -140.8543 | 122.4159 | 4.3722e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.816e-15 | 3.1848e-10 | 1.025e-09 | 1.9881e-29 | -3.1847e-10 | -1.025e-09 | 5.2106e-15 | -1.3426e-09 | 1.1888e-10 | -2.6053e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.3856e-13 | -140.8543 | 122.4159 | 4.3722e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -1.1842e-15 | -7.1054e-15 | 1.8948e-14 | 1.1849e-15 | 9.4746e-15 | 4.737e-15 | 4.7631e-09 | -4.7631e-09 | 2.8457e-28 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.9813e-13 | -180 | 180 | 8.605e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | -1.1839e-15 | 2.3688e-15 | -9.4739e-15 | 5.921e-15 | -2.2922e-19 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | -1.4228e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.7859e-13 | -180 | 180 | 8.605e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3918e-28 | -1.1839e-15 | 7.1057e-15 | -2.3685e-15 | 1.184e-15 | -2.2922e-19 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.417e-13 | -180 | 180 | 8.605e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -1.1842e-15 | -7.1054e-15 | 1.8948e-14 | 1.1849e-15 | 9.4746e-15 | 4.737e-15 | 4.7631e-09 | -4.7631e-09 | 2.8457e-28 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.9813e-13 | -180 | 180 | 8.605e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | -1.1839e-15 | 2.3688e-15 | -9.4739e-15 | 5.921e-15 | -2.2922e-19 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | -1.4228e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.7859e-13 | -180 | 180 | 8.605e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3918e-28 | -1.1839e-15 | 7.1057e-15 | -2.3685e-15 | 1.184e-15 | -2.2922e-19 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.417e-13 | -180 | 180 | 8.605e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1778e-15 | -8.0023e-10 | -2.5674e-09 | 7.9936e-15 | 8.0024e-10 | 2.5674e-09 | -7.1054e-15 | 3.4014e-09 | -3.4065e-10 | 7.1054e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.3907e-13 | -141.4824 | 122.8363 | 3.5777e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0724e-15 | 2.6675e-10 | 8.558e-10 | -2.0724e-15 | -2.6675e-10 | -8.558e-10 | -4.737e-15 | -1.1338e-09 | 1.1355e-10 | 4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.6283e-13 | -141.4824 | 122.8363 | 3.5777e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 2.6675e-10 | 8.558e-10 | 3.5527e-15 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.4976e-13 | -141.4824 | 122.8363 | 3.5777e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1778e-15 | -8.0023e-10 | -2.5674e-09 | 7.9936e-15 | 8.0024e-10 | 2.5674e-09 | -7.1054e-15 | 3.4014e-09 | -3.4065e-10 | 7.1054e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.3907e-13 | -141.4824 | 122.8363 | 3.5777e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0724e-15 | 2.6675e-10 | 8.558e-10 | -2.0724e-15 | -2.6675e-10 | -8.558e-10 | -4.737e-15 | -1.1338e-09 | 1.1355e-10 | 4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.6283e-13 | -141.4824 | 122.8363 | 3.5777e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 2.6675e-10 | 8.558e-10 | 3.5527e-15 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.4976e-13 | -141.4824 | 122.8363 | 3.5777e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.012733 | 0.012733 | 0.012733 | 0.0084911 | 0.0084911 | 0.0084911 | 0.14702 | 0.14702 | 0.14702 | 0.098047 | 0.098047 | 0.098047 | -7.313e-13 | 0.14073 | -0.13938 | 0.00033299 | -0.093618 | 0.093185 | 5.7026e-14 | -0.18969 | -0.18797 | 0.00013251 | 0.12656 | 0.12556 | -89.6477 | -89.6477 | -89.6477 | 90.3069 | 90.3069 | 90.3069 | 0 | 1.6065 | 1.5916 | 0.0036552 | 1.6056 | 1.5947 | 0 | -143.0762 | 143.7947 | 112.0059 | -143.2022 | 143.7256
Line_1 | 0 | 0 | 0 | 0.0042456 | 0.0042456 | 0.0042456 | 0 | 0 | 0 | 0.049024 | 0.049024 | 0.049024 | -6.6985e-12 | -3.4997e-09 | -3.4409e-09 | -0.00016649 | 0.046809 | -0.046592 | 1.6403e-11 | -2.5536e-09 | 2.5876e-09 | -6.6253e-05 | -0.06328 | -0.062779 | 0 | 0 | 0 | -89.6931 | -89.693 | -89.693 | 0.0043864 | 1.6054 | 1.5954 | 0.0036552 | 1.6056 | 1.5947 | 112.0013 | -143.2274 | 143.7117 | 112.0059 | -143.2022 | 143.7256
Line_2 | 0 | 0 | 0 | 0.0042456 | 0.0042456 | 0.0042456 | 0 | 0 | 0 | 0.049024 | 0.049024 | 0.049024 | -6.6985e-12 | -3.4997e-09 | -3.4408e-09 | -0.00016649 | 0.046809 | -0.046592 | 1.6403e-11 | -2.5536e-09 | 2.5876e-09 | -6.6253e-05 | -0.06328 | -0.062779 | 0 | 0 | 0 | -89.6931 | -89.693 | -89.693 | 0.0043864 | 1.6054 | 1.5954 | 0.0036552 | 1.6056 | 1.5947 | 112.0013 | -143.2274 | 143.7117 | 112.0059 | -143.2022 | 143.7256

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.012733 | 0.012733 | 0.012733 | 0.0084911 | 0.0084911 | 0.0084911 | 0.14702 | 0.14702 | 0.14702 | 0.098047 | 0.098047 | 0.098047 | -7.313e-13 | 0.14073 | -0.13938 | 0.00033299 | -0.093618 | 0.093185 | 5.7026e-14 | -0.18969 | -0.18797 | 0.00013251 | 0.12656 | 0.12556 | -89.6477 | -89.6477 | -89.6477 | 90.3069 | 90.3069 | 90.3069 | 0 | 1.6065 | 1.5916 | 0.0036552 | 1.6056 | 1.5947 | 0 | -143.0762 | 143.7947 | 112.0059 | -143.2022 | 143.7256
Line_1 | 0 | 0 | 0 | 0.0042456 | 0.0042456 | 0.0042456 | 0 | 0 | 0 | 0.049024 | 0.049024 | 0.049024 | -6.6985e-12 | -3.4997e-09 | -3.4409e-09 | -0.00016649 | 0.046809 | -0.046592 | 1.6403e-11 | -2.5536e-09 | 2.5876e-09 | -6.6253e-05 | -0.06328 | -0.062779 | 0 | 0 | 0 | -89.6931 | -89.693 | -89.693 | 0.0043864 | 1.6054 | 1.5954 | 0.0036552 | 1.6056 | 1.5947 | 112.0013 | -143.2274 | 143.7117 | 112.0059 | -143.2022 | 143.7256
Line_2 | 0 | 0 | 0 | 0.0042456 | 0.0042456 | 0.0042456 | 0 | 0 | 0 | 0.049024 | 0.049024 | 0.049024 | -6.6985e-12 | -3.4997e-09 | -3.4408e-09 | -0.00016649 | 0.046809 | -0.046592 | 1.6403e-11 | -2.5536e-09 | 2.5876e-09 | -6.6253e-05 | -0.06328 | -0.062779 | 0 | 0 | 0 | -89.6931 | -89.693 | -89.693 | 0.0043864 | 1.6054 | 1.5954 | 0.0036552 | 1.6056 | 1.5947 | 112.0013 | -143.2274 | 143.7117 | 112.0059 | -143.2022 | 143.7256

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0068124 | 0.0068124 | 0.0068124 | 0.004543 | 0.004543 | 0.004543 | 0.078662 | 0.078662 | 0.078662 | 0.052458 | 0.052458 | 0.052458 | 0.033108 | 0.052771 | -0.085492 | -0.021966 | -0.035149 | 0.057086 | 0.033531 | -0.099738 | -0.041901 | -0.022341 | 0.066523 | 0.028026 | -67.2998 | -67.2998 | -67.2998 | 112.6548 | 112.6548 | 112.6548 | 0.59904 | 1.4345 | 1.2103 | 0.59725 | 1.4342 | 1.2123 | -21.9354 | -129.4169 | 138.8105 | -21.8599 | -129.4946 | 138.8033
Line_1 | 0 | 0 | 0 | 0.0022715 | 0.0022715 | 0.0022715 | 0 | 0 | 0 | 0.026229 | 0.026229 | 0.026229 | 9.2824e-10 | -1.837e-09 | -7.6201e-10 | 0.010983 | 0.017574 | -0.028543 | -8.9579e-10 | -9.5574e-10 | 1.5764e-09 | 0.01117 | -0.033262 | -0.014013 | 0 | 0 | 0 | -67.3452 | -67.3452 | -67.3452 | 0.59689 | 1.4342 | 1.2127 | 0.59725 | 1.4342 | 1.2123 | -21.8448 | -129.5101 | 138.8019 | -21.8599 | -129.4946 | 138.8033
Line_2 | 0 | 0 | 0 | 0.0022715 | 0.0022715 | 0.0022715 | 0 | 0 | 0 | 0.026229 | 0.026229 | 0.026229 | 9.2825e-10 | -1.837e-09 | -7.6199e-10 | 0.010983 | 0.017574 | -0.028543 | -8.958e-10 | -9.5573e-10 | 1.5764e-09 | 0.01117 | -0.033262 | -0.014013 | 0 | 0 | 0 | -67.3452 | -67.3452 | -67.3452 | 0.59689 | 1.4342 | 1.2127 | 0.59725 | 1.4342 | 1.2123 | -21.8448 | -129.5101 | 138.8019 | -21.8599 | -129.4946 | 138.8033

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0068124 | 0.0068124 | 0.0068124 | 0.004543 | 0.004543 | 0.004543 | 0.078662 | 0.078662 | 0.078662 | 0.052458 | 0.052458 | 0.052458 | 0.033108 | 0.052771 | -0.085492 | -0.021966 | -0.035149 | 0.057086 | 0.033531 | -0.099738 | -0.041901 | -0.022341 | 0.066523 | 0.028026 | -67.2998 | -67.2998 | -67.2998 | 112.6548 | 112.6548 | 112.6548 | 0.59904 | 1.4345 | 1.2103 | 0.59725 | 1.4342 | 1.2123 | -21.9354 | -129.4169 | 138.8105 | -21.8599 | -129.4946 | 138.8033
Line_1 | 0 | 0 | 0 | 0.0022715 | 0.0022715 | 0.0022715 | 0 | 0 | 0 | 0.026229 | 0.026229 | 0.026229 | 9.2824e-10 | -1.837e-09 | -7.6201e-10 | 0.010983 | 0.017574 | -0.028543 | -8.9579e-10 | -9.5574e-10 | 1.5764e-09 | 0.01117 | -0.033262 | -0.014013 | 0 | 0 | 0 | -67.3452 | -67.3452 | -67.3452 | 0.59689 | 1.4342 | 1.2127 | 0.59725 | 1.4342 | 1.2123 | -21.8448 | -129.5101 | 138.8019 | -21.8599 | -129.4946 | 138.8033
Line_2 | 0 | 0 | 0 | 0.0022715 | 0.0022715 | 0.0022715 | 0 | 0 | 0 | 0.026229 | 0.026229 | 0.026229 | 9.2825e-10 | -1.837e-09 | -7.6199e-10 | 0.010983 | 0.017574 | -0.028543 | -8.958e-10 | -9.5573e-10 | 1.5764e-09 | 0.01117 | -0.033262 | -0.014013 | 0 | 0 | 0 | -67.3452 | -67.3452 | -67.3452 | 0.59689 | 1.4342 | 1.2127 | 0.59725 | 1.4342 | 1.2123 | -21.8448 | -129.5101 | 138.8019 | -21.8599 | -129.4946 | 138.8033

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.011468 | 0.011468 | 0.011468 | 0.0076476 | 0.0076476 | 0.0076476 | 0.13242 | 0.13242 | 0.13242 | 0.088306 | 0.088306 | 0.088306 | 1.3038e-13 | 0.11573 | -0.11363 | 0.00051861 | -0.076813 | 0.076138 | 2.3829e-13 | -0.15356 | -0.15279 | 0.00010754 | 0.10239 | 0.10212 | -89.8093 | -89.8093 | -89.8093 | 90.1036 | 90.1036 | 90.1036 | 0 | 1.4521 | 1.438 | 0.0059978 | 1.4495 | 1.4424 | 0 | -142.8062 | 143.5541 | 101.8187 | -143.0204 | 143.3955
Line_1 | 0 | 0 | 0 | 0.0038238 | 0.0038238 | 0.0038238 | 0 | 0 | 0 | 0.044153 | 0.044153 | 0.044153 | -5.5914e-12 | -2.8103e-09 | -2.7802e-09 | -0.00025931 | 0.038406 | -0.038069 | 2.5833e-11 | -2.0814e-09 | 2.0988e-09 | -5.3771e-05 | -0.051197 | -0.051059 | 0 | 0 | 0 | -89.8964 | -89.8964 | -89.8964 | 0.0071976 | 1.449 | 1.4433 | 0.0059978 | 1.4495 | 1.4424 | 101.8099 | -143.0633 | 143.3639 | 101.8187 | -143.0204 | 143.3955
Line_2 | 0 | 0 | 0 | 0.0038238 | 0.0038238 | 0.0038238 | 0 | 0 | 0 | 0.044153 | 0.044153 | 0.044153 | -5.5915e-12 | -2.8103e-09 | -2.7802e-09 | -0.00025931 | 0.038406 | -0.038069 | 2.5833e-11 | -2.0814e-09 | 2.0987e-09 | -5.3771e-05 | -0.051197 | -0.051059 | 0 | 0 | 0 | -89.8964 | -89.8964 | -89.8964 | 0.0071976 | 1.449 | 1.4433 | 0.0059978 | 1.4495 | 1.4424 | 101.8099 | -143.0633 | 143.3639 | 101.8187 | -143.0204 | 143.3955

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.011468 | 0.011468 | 0.011468 | 0.0076476 | 0.0076476 | 0.0076476 | 0.13242 | 0.13242 | 0.13242 | 0.088306 | 0.088306 | 0.088306 | 1.3038e-13 | 0.11573 | -0.11363 | 0.00051861 | -0.076813 | 0.076138 | 2.3829e-13 | -0.15356 | -0.15279 | 0.00010754 | 0.10239 | 0.10212 | -89.8093 | -89.8093 | -89.8093 | 90.1036 | 90.1036 | 90.1036 | 0 | 1.4521 | 1.438 | 0.0059978 | 1.4495 | 1.4424 | 0 | -142.8062 | 143.5541 | 101.8187 | -143.0204 | 143.3955
Line_1 | 0 | 0 | 0 | 0.0038238 | 0.0038238 | 0.0038238 | 0 | 0 | 0 | 0.044153 | 0.044153 | 0.044153 | -5.5914e-12 | -2.8103e-09 | -2.7802e-09 | -0.00025931 | 0.038406 | -0.038069 | 2.5833e-11 | -2.0814e-09 | 2.0988e-09 | -5.3771e-05 | -0.051197 | -0.051059 | 0 | 0 | 0 | -89.8964 | -89.8964 | -89.8964 | 0.0071976 | 1.449 | 1.4433 | 0.0059978 | 1.4495 | 1.4424 | 101.8099 | -143.0633 | 143.3639 | 101.8187 | -143.0204 | 143.3955
Line_2 | 0 | 0 | 0 | 0.0038238 | 0.0038238 | 0.0038238 | 0 | 0 | 0 | 0.044153 | 0.044153 | 0.044153 | -5.5915e-12 | -2.8103e-09 | -2.7802e-09 | -0.00025931 | 0.038406 | -0.038069 | 2.5833e-11 | -2.0814e-09 | 2.0987e-09 | -5.3771e-05 | -0.051197 | -0.051059 | 0 | 0 | 0 | -89.8964 | -89.8964 | -89.8964 | 0.0071976 | 1.449 | 1.4433 | 0.0059978 | 1.4495 | 1.4424 | 101.8099 | -143.0633 | 143.3639 | 101.8187 | -143.0204 | 143.3955

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006177 | 0.006177 | 0.006177 | 0.0041193 | 0.0041193 | 0.0041193 | 0.071326 | 0.071326 | 0.071326 | 0.047566 | 0.047566 | 0.047566 | 0.026998 | 0.043934 | -0.070323 | -0.017826 | -0.029231 | 0.047012 | 0.027547 | -0.081708 | -0.034724 | -0.018367 | 0.054476 | 0.023259 | -67.6469 | -67.6469 | -67.6469 | 112.266 | 112.266 | 112.266 | 0.54078 | 1.3007 | 1.0996 | 0.5381 | 1.2997 | 1.1027 | -22.0703 | -129.38 | 138.632 | -21.8782 | -129.5165 | 138.5895
Line_1 | 0 | 0 | 0 | 0.0020597 | 0.0020597 | 0.0020597 | 0 | 0 | 0 | 0.023783 | 0.023783 | 0.023783 | 7.7003e-10 | -1.4933e-09 | -6.2892e-10 | 0.0089131 | 0.014616 | -0.023506 | -7.3325e-10 | -7.9004e-10 | 1.2891e-09 | 0.0091834 | -0.027238 | -0.011629 | 0 | 0 | 0 | -67.734 | -67.734 | -67.734 | 0.53757 | 1.2995 | 1.1033 | 0.5381 | 1.2997 | 1.1027 | -21.8395 | -129.5438 | 138.581 | -21.8782 | -129.5165 | 138.5895
Line_2 | 0 | 0 | 0 | 0.0020597 | 0.0020597 | 0.0020597 | 0 | 0 | 0 | 0.023783 | 0.023783 | 0.023783 | 7.7002e-10 | -1.4933e-09 | -6.2891e-10 | 0.0089131 | 0.014616 | -0.023506 | -7.3325e-10 | -7.9003e-10 | 1.2891e-09 | 0.0091834 | -0.027238 | -0.011629 | 0 | 0 | 0 | -67.734 | -67.734 | -67.734 | 0.53757 | 1.2995 | 1.1033 | 0.5381 | 1.2997 | 1.1027 | -21.8395 | -129.5438 | 138.581 | -21.8782 | -129.5165 | 138.5895

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006177 | 0.006177 | 0.006177 | 0.0041193 | 0.0041193 | 0.0041193 | 0.071326 | 0.071326 | 0.071326 | 0.047566 | 0.047566 | 0.047566 | 0.026998 | 0.043934 | -0.070323 | -0.017826 | -0.029231 | 0.047012 | 0.027547 | -0.081708 | -0.034724 | -0.018367 | 0.054476 | 0.023259 | -67.6469 | -67.6469 | -67.6469 | 112.266 | 112.266 | 112.266 | 0.54078 | 1.3007 | 1.0996 | 0.5381 | 1.2997 | 1.1027 | -22.0703 | -129.38 | 138.632 | -21.8782 | -129.5165 | 138.5895
Line_1 | 0 | 0 | 0 | 0.0020597 | 0.0020597 | 0.0020597 | 0 | 0 | 0 | 0.023783 | 0.023783 | 0.023783 | 7.7003e-10 | -1.4933e-09 | -6.2892e-10 | 0.0089131 | 0.014616 | -0.023506 | -7.3325e-10 | -7.9004e-10 | 1.2891e-09 | 0.0091834 | -0.027238 | -0.011629 | 0 | 0 | 0 | -67.734 | -67.734 | -67.734 | 0.53757 | 1.2995 | 1.1033 | 0.5381 | 1.2997 | 1.1027 | -21.8395 | -129.5438 | 138.581 | -21.8782 | -129.5165 | 138.5895
Line_2 | 0 | 0 | 0 | 0.0020597 | 0.0020597 | 0.0020597 | 0 | 0 | 0 | 0.023783 | 0.023783 | 0.023783 | 7.7002e-10 | -1.4933e-09 | -6.2891e-10 | 0.0089131 | 0.014616 | -0.023506 | -7.3325e-10 | -7.9003e-10 | 1.2891e-09 | 0.0091834 | -0.027238 | -0.011629 | 0 | 0 | 0 | -67.734 | -67.734 | -67.734 | 0.53757 | 1.2995 | 1.1033 | 0.5381 | 1.2997 | 1.1027 | -21.8395 | -129.5438 | 138.581 | -21.8782 | -129.5165 | 138.5895

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076354 | 0.0076354 | 0.0076354 | 0.0050919 | 0.0050919 | 0.0050919 | 0.088166 | 0.088166 | 0.088166 | 0.058796 | 0.058796 | 0.058796 | 0.00048499 | -1.6886e-13 | -6.219e-15 | -0.00027543 | 0.00011974 | 0.00011974 | -0.13581 | -1.1059e-13 | 1.989e-13 | 0.090615 | 4.765e-05 | 4.765e-05 | 89.9624 | 89.9624 | 89.9624 | -90.083 | -90.083 | -90.083 | 1.5404 | 0 | 0 | 1.5412 | 0.0021919 | 0.0021919 | 0.16699 | 0 | 0 | 0.091146 | -68.3841 | -68.3841
Line_1 | 0 | 0 | 0 | 0.0025459 | 0.0025459 | 0.0025459 | 0 | 0 | 0 | 0.029398 | 0.029398 | 0.029398 | -2.4943e-09 | 6.5628e-12 | -1.0521e-11 | 0.00013772 | -5.9872e-05 | -5.9872e-05 | 8.2575e-12 | 8.3157e-12 | 1.5477e-12 | -0.045308 | -2.3825e-05 | -2.3825e-05 | 0 | 0 | 0 | 89.917 | 89.917 | 89.917 | 1.5413 | 0.0026304 | 0.0026304 | 1.5412 | 0.0021919 | 0.0021919 | 0.075981 | -68.3886 | -68.3886 | 0.091146 | -68.3841 | -68.3841
Line_2 | 0 | 0 | 0 | 0.0025459 | 0.0025459 | 0.0025459 | 0 | 0 | 0 | 0.029398 | 0.029398 | 0.029398 | -2.4943e-09 | 6.5629e-12 | -1.0521e-11 | 0.00013772 | -5.9872e-05 | -5.9872e-05 | 8.2721e-12 | 8.3157e-12 | 1.5478e-12 | -0.045308 | -2.3825e-05 | -2.3825e-05 | 0 | 0 | 0 | 89.917 | 89.917 | 89.917 | 1.5413 | 0.0026304 | 0.0026304 | 1.5412 | 0.0021919 | 0.0021919 | 0.075981 | -68.3886 | -68.3886 | 0.091146 | -68.3841 | -68.3841

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076354 | 0.0076354 | 0.0076354 | 0.0050919 | 0.0050919 | 0.0050919 | 0.088166 | 0.088166 | 0.088166 | 0.058796 | 0.058796 | 0.058796 | 0.00048499 | -1.6886e-13 | -6.219e-15 | -0.00027543 | 0.00011974 | 0.00011974 | -0.13581 | -1.1059e-13 | 1.989e-13 | 0.090615 | 4.765e-05 | 4.765e-05 | 89.9624 | 89.9624 | 89.9624 | -90.083 | -90.083 | -90.083 | 1.5404 | 0 | 0 | 1.5412 | 0.0021919 | 0.0021919 | 0.16699 | 0 | 0 | 0.091146 | -68.3841 | -68.3841
Line_1 | 0 | 0 | 0 | 0.0025459 | 0.0025459 | 0.0025459 | 0 | 0 | 0 | 0.029398 | 0.029398 | 0.029398 | -2.4943e-09 | 6.5628e-12 | -1.0521e-11 | 0.00013772 | -5.9872e-05 | -5.9872e-05 | 8.2575e-12 | 8.3157e-12 | 1.5477e-12 | -0.045308 | -2.3825e-05 | -2.3825e-05 | 0 | 0 | 0 | 89.917 | 89.917 | 89.917 | 1.5413 | 0.0026304 | 0.0026304 | 1.5412 | 0.0021919 | 0.0021919 | 0.075981 | -68.3886 | -68.3886 | 0.091146 | -68.3841 | -68.3841
Line_2 | 0 | 0 | 0 | 0.0025459 | 0.0025459 | 0.0025459 | 0 | 0 | 0 | 0.029398 | 0.029398 | 0.029398 | -2.4943e-09 | 6.5629e-12 | -1.0521e-11 | 0.00013772 | -5.9872e-05 | -5.9872e-05 | 8.2721e-12 | 8.3157e-12 | 1.5478e-12 | -0.045308 | -2.3825e-05 | -2.3825e-05 | 0 | 0 | 0 | 89.917 | 89.917 | 89.917 | 1.5413 | 0.0026304 | 0.0026304 | 1.5412 | 0.0021919 | 0.0021919 | 0.075981 | -68.3886 | -68.3886 | 0.091146 | -68.3841 | -68.3841

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0051009 | 0.0051009 | 0.0051009 | 0.0034017 | 0.0034017 | 0.0034017 | 0.0589 | 0.0589 | 0.0589 | 0.039279 | 0.039279 | 0.039279 | -0.018345 | -0.030481 | 0.049043 | 0.012246 | 0.020396 | -0.032658 | -0.07941 | 0.029374 | -0.010575 | 0.052988 | -0.019552 | 0.0070475 | 106.6219 | 106.6219 | 106.6219 | -73.4235 | -73.4235 | -73.4235 | 1.3837 | 0.7187 | 0.85179 | 1.3846 | 0.71931 | 0.85057 | 3.6136 | -117.3188 | 94.4537 | 3.5638 | -117.2126 | 94.3988
Line_1 | 0 | 0 | 0 | 0.0017008 | 0.0017008 | 0.0017008 | 0 | 0 | 0 | 0.019639 | 0.019639 | 0.019639 | -1.4565e-09 | 1.0004e-09 | 4.4146e-10 | -0.0061228 | -0.010198 | 0.016329 | 3.4619e-10 | 1.4217e-10 | -1.4826e-09 | -0.026494 | 0.0097759 | -0.0035238 | 0 | 0 | 0 | 106.5765 | 106.5765 | 106.5765 | 1.3847 | 0.71943 | 0.85033 | 1.3846 | 0.71931 | 0.85057 | 3.5538 | -117.1914 | 94.3878 | 3.5638 | -117.2126 | 94.3988
Line_2 | 0 | 0 | 0 | 0.0017008 | 0.0017008 | 0.0017008 | 0 | 0 | 0 | 0.019639 | 0.019639 | 0.019639 | -1.4565e-09 | 1.0004e-09 | 4.4144e-10 | -0.0061228 | -0.010198 | 0.016329 | 3.4619e-10 | 1.4218e-10 | -1.4826e-09 | -0.026494 | 0.0097759 | -0.0035238 | 0 | 0 | 0 | 106.5765 | 106.5765 | 106.5765 | 1.3847 | 0.71943 | 0.85033 | 1.3846 | 0.71931 | 0.85057 | 3.5538 | -117.1914 | 94.3878 | 3.5638 | -117.2126 | 94.3988

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0051009 | 0.0051009 | 0.0051009 | 0.0034017 | 0.0034017 | 0.0034017 | 0.0589 | 0.0589 | 0.0589 | 0.039279 | 0.039279 | 0.039279 | -0.018345 | -0.030481 | 0.049043 | 0.012246 | 0.020396 | -0.032658 | -0.07941 | 0.029374 | -0.010575 | 0.052988 | -0.019552 | 0.0070475 | 106.6219 | 106.6219 | 106.6219 | -73.4235 | -73.4235 | -73.4235 | 1.3837 | 0.7187 | 0.85179 | 1.3846 | 0.71931 | 0.85057 | 3.6136 | -117.3188 | 94.4537 | 3.5638 | -117.2126 | 94.3988
Line_1 | 0 | 0 | 0 | 0.0017008 | 0.0017008 | 0.0017008 | 0 | 0 | 0 | 0.019639 | 0.019639 | 0.019639 | -1.4565e-09 | 1.0004e-09 | 4.4146e-10 | -0.0061228 | -0.010198 | 0.016329 | 3.4619e-10 | 1.4217e-10 | -1.4826e-09 | -0.026494 | 0.0097759 | -0.0035238 | 0 | 0 | 0 | 106.5765 | 106.5765 | 106.5765 | 1.3847 | 0.71943 | 0.85033 | 1.3846 | 0.71931 | 0.85057 | 3.5538 | -117.1914 | 94.3878 | 3.5638 | -117.2126 | 94.3988
Line_2 | 0 | 0 | 0 | 0.0017008 | 0.0017008 | 0.0017008 | 0 | 0 | 0 | 0.019639 | 0.019639 | 0.019639 | -1.4565e-09 | 1.0004e-09 | 4.4144e-10 | -0.0061228 | -0.010198 | 0.016329 | 3.4619e-10 | 1.4218e-10 | -1.4826e-09 | -0.026494 | 0.0097759 | -0.0035238 | 0 | 0 | 0 | 106.5765 | 106.5765 | 106.5765 | 1.3847 | 0.71943 | 0.85033 | 1.3846 | 0.71931 | 0.85057 | 3.5538 | -117.1914 | 94.3878 | 3.5638 | -117.2126 | 94.3988

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0069218 | 0.0069218 | 0.0069218 | 0.004616 | 0.004616 | 0.004616 | 0.079926 | 0.079926 | 0.079926 | 0.0533 | 0.0533 | 0.0533 | 0.00076523 | -5.9161e-14 | 1.4983e-13 | -0.00043459 | 0.00018894 | 0.00018894 | -0.11161 | 1.3401e-13 | -1.7012e-14 | 0.074467 | 3.9179e-05 | 3.9179e-05 | 89.7833 | 89.7833 | 89.7833 | -90.3039 | -90.3039 | -90.3039 | 1.3964 | 0 | 0 | 1.3971 | 0.0036202 | 0.0036202 | 0.17611 | 0 | 0 | 0.030498 | -78.5888 | -78.5888
Line_1 | 0 | 0 | 0 | 0.002308 | 0.002308 | 0.002308 | 0 | 0 | 0 | 0.02665 | 0.02665 | 0.02665 | -2.0355e-09 | 1.1879e-11 | -1.5167e-11 | 0.00021729 | -9.4469e-05 | -9.4469e-05 | 1.3624e-13 | 1.0535e-11 | 5.08e-12 | -0.037234 | -1.959e-05 | -1.959e-05 | 0 | 0 | 0 | 89.6961 | 89.6961 | 89.6961 | 1.3973 | 0.0043444 | 0.0043444 | 1.3971 | 0.0036202 | 0.0036202 | 0.0013817 | -78.5975 | -78.5975 | 0.030498 | -78.5888 | -78.5888
Line_2 | 0 | 0 | 0 | 0.002308 | 0.002308 | 0.002308 | 0 | 0 | 0 | 0.02665 | 0.02665 | 0.02665 | -2.0355e-09 | 1.1879e-11 | -1.5167e-11 | 0.00021729 | -9.4469e-05 | -9.4469e-05 | 1.2301e-13 | 1.0535e-11 | 5.0802e-12 | -0.037234 | -1.959e-05 | -1.959e-05 | 0 | 0 | 0 | 89.6961 | 89.6961 | 89.6961 | 1.3973 | 0.0043444 | 0.0043444 | 1.3971 | 0.0036202 | 0.0036202 | 0.0013817 | -78.5975 | -78.5975 | 0.030498 | -78.5888 | -78.5888

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0069218 | 0.0069218 | 0.0069218 | 0.004616 | 0.004616 | 0.004616 | 0.079926 | 0.079926 | 0.079926 | 0.0533 | 0.0533 | 0.0533 | 0.00076523 | -5.9161e-14 | 1.4983e-13 | -0.00043459 | 0.00018894 | 0.00018894 | -0.11161 | 1.3401e-13 | -1.7012e-14 | 0.074467 | 3.9179e-05 | 3.9179e-05 | 89.7833 | 89.7833 | 89.7833 | -90.3039 | -90.3039 | -90.3039 | 1.3964 | 0 | 0 | 1.3971 | 0.0036202 | 0.0036202 | 0.17611 | 0 | 0 | 0.030498 | -78.5888 | -78.5888
Line_1 | 0 | 0 | 0 | 0.002308 | 0.002308 | 0.002308 | 0 | 0 | 0 | 0.02665 | 0.02665 | 0.02665 | -2.0355e-09 | 1.1879e-11 | -1.5167e-11 | 0.00021729 | -9.4469e-05 | -9.4469e-05 | 1.3624e-13 | 1.0535e-11 | 5.08e-12 | -0.037234 | -1.959e-05 | -1.959e-05 | 0 | 0 | 0 | 89.6961 | 89.6961 | 89.6961 | 1.3973 | 0.0043444 | 0.0043444 | 1.3971 | 0.0036202 | 0.0036202 | 0.0013817 | -78.5975 | -78.5975 | 0.030498 | -78.5888 | -78.5888
Line_2 | 0 | 0 | 0 | 0.002308 | 0.002308 | 0.002308 | 0 | 0 | 0 | 0.02665 | 0.02665 | 0.02665 | -2.0355e-09 | 1.1879e-11 | -1.5167e-11 | 0.00021729 | -9.4469e-05 | -9.4469e-05 | 1.2301e-13 | 1.0535e-11 | 5.0802e-12 | -0.037234 | -1.959e-05 | -1.959e-05 | 0 | 0 | 0 | 89.6961 | 89.6961 | 89.6961 | 1.3973 | 0.0043444 | 0.0043444 | 1.3971 | 0.0036202 | 0.0036202 | 0.0013817 | -78.5975 | -78.5975 | 0.030498 | -78.5888 | -78.5888

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0046356 | 0.0046356 | 0.0046356 | 0.0030914 | 0.0030914 | 0.0030914 | 0.053527 | 0.053527 | 0.053527 | 0.035696 | 0.035696 | 0.035696 | -0.014862 | -0.024885 | 0.04009 | 0.0099294 | 0.016704 | -0.026659 | -0.065573 | 0.024137 | -0.0086221 | 0.043762 | -0.016053 | 0.0057268 | 106.3516 | 106.3516 | 106.3516 | -73.7355 | -73.7355 | -73.7355 | 1.2561 | 0.64765 | 0.76608 | 1.2571 | 0.64902 | 0.76387 | 3.5814 | -117.7741 | 94.2139 | 3.4807 | -117.5972 | 94.1406
Line_1 | 0 | 0 | 0 | 0.0015457 | 0.0015457 | 0.0015457 | 0 | 0 | 0 | 0.017848 | 0.017848 | 0.017848 | -1.1946e-09 | 8.3278e-10 | 3.8162e-10 | -0.0049647 | -0.0083521 | 0.013329 | 2.7828e-10 | 1.0127e-10 | -1.2216e-09 | -0.021881 | 0.0080266 | -0.0028634 | 0 | 0 | 0 | 106.2645 | 106.2645 | 106.2645 | 1.2573 | 0.64929 | 0.76342 | 1.2571 | 0.64902 | 0.76387 | 3.4606 | -117.5619 | 94.1259 | 3.4807 | -117.5972 | 94.1406
Line_2 | 0 | 0 | 0 | 0.0015457 | 0.0015457 | 0.0015457 | 0 | 0 | 0 | 0.017848 | 0.017848 | 0.017848 | -1.1946e-09 | 8.3278e-10 | 3.8162e-10 | -0.0049647 | -0.0083521 | 0.013329 | 2.7827e-10 | 1.0127e-10 | -1.2216e-09 | -0.021881 | 0.0080266 | -0.0028634 | 0 | 0 | 0 | 106.2645 | 106.2645 | 106.2645 | 1.2573 | 0.64929 | 0.76342 | 1.2571 | 0.64902 | 0.76387 | 3.4606 | -117.5619 | 94.1259 | 3.4807 | -117.5972 | 94.1406

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0046356 | 0.0046356 | 0.0046356 | 0.0030914 | 0.0030914 | 0.0030914 | 0.053527 | 0.053527 | 0.053527 | 0.035696 | 0.035696 | 0.035696 | -0.014862 | -0.024885 | 0.04009 | 0.0099294 | 0.016704 | -0.026659 | -0.065573 | 0.024137 | -0.0086221 | 0.043762 | -0.016053 | 0.0057268 | 106.3516 | 106.3516 | 106.3516 | -73.7355 | -73.7355 | -73.7355 | 1.2561 | 0.64765 | 0.76608 | 1.2571 | 0.64902 | 0.76387 | 3.5814 | -117.7741 | 94.2139 | 3.4807 | -117.5972 | 94.1406
Line_1 | 0 | 0 | 0 | 0.0015457 | 0.0015457 | 0.0015457 | 0 | 0 | 0 | 0.017848 | 0.017848 | 0.017848 | -1.1946e-09 | 8.3278e-10 | 3.8162e-10 | -0.0049647 | -0.0083521 | 0.013329 | 2.7828e-10 | 1.0127e-10 | -1.2216e-09 | -0.021881 | 0.0080266 | -0.0028634 | 0 | 0 | 0 | 106.2645 | 106.2645 | 106.2645 | 1.2573 | 0.64929 | 0.76342 | 1.2571 | 0.64902 | 0.76387 | 3.4606 | -117.5619 | 94.1259 | 3.4807 | -117.5972 | 94.1406
Line_2 | 0 | 0 | 0 | 0.0015457 | 0.0015457 | 0.0015457 | 0 | 0 | 0 | 0.017848 | 0.017848 | 0.017848 | -1.1946e-09 | 8.3278e-10 | 3.8162e-10 | -0.0049647 | -0.0083521 | 0.013329 | 2.7827e-10 | 1.0127e-10 | -1.2216e-09 | -0.021881 | 0.0080266 | -0.0028634 | 0 | 0 | 0 | 106.2645 | 106.2645 | 106.2645 | 1.2573 | 0.64929 | 0.76342 | 1.2571 | 0.64902 | 0.76387 | 3.4606 | -117.5619 | 94.1259 | 3.4807 | -117.5972 | 94.1406