## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 2.6053e-15 | -5.2106e-14 | -3.8582e-27 | 7.8164e-15 | 2.6054e-14 | 2.6053e-14 | 5.7634e-09 | -5.7634e-09 | -1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -1.4146e-11 | -180 | -180 | -1.4142e-11 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 2.6055e-15 | 1.8912e-19 | 2.5721e-27 | -2.6055e-15 | -1.5632e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -1.4139e-11 | -180 | 180 | -1.4142e-11 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -7.8158e-15 | 1.8912e-19 | 1.0421e-14 | 1.8237e-14 | -2.6053e-14 | -1.2854e-27 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -1.4134e-11 | -180 | 180 | -1.4142e-11 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 2.6053e-15 | -5.2106e-14 | -3.8582e-27 | 7.8164e-15 | 2.6054e-14 | 2.6053e-14 | 5.7634e-09 | -5.7634e-09 | -1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -1.4146e-11 | -180 | -180 | -1.4142e-11 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 2.6055e-15 | 1.8912e-19 | 2.5721e-27 | -2.6055e-15 | -1.5632e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -1.4139e-11 | -180 | 180 | -1.4142e-11 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -7.8158e-15 | 1.8912e-19 | 1.0421e-14 | 1.8237e-14 | -2.6053e-14 | -1.2854e-27 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -1.4134e-11 | -180 | 180 | -1.4142e-11 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.908e-15 | -9.5549e-10 | -3.075e-09 | -1.3027e-15 | 9.555e-10 | 3.075e-09 | -5.2106e-15 | 4.0277e-09 | -3.5664e-10 | 5.2106e-15 | -4.0277e-09 | 3.5664e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -6.0415e-12 | -140.8543 | 122.4159 | -6.0503e-12 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | 3.185e-10 | 1.025e-09 | 6.5133e-15 | -3.1848e-10 | -1.025e-09 | 5.2106e-15 | -1.3426e-09 | 1.1889e-10 | -5.2106e-15 | 1.3425e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -6.0528e-12 | -140.8543 | 122.4159 | -6.0503e-12 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | 3.1849e-10 | 1.025e-09 | 9.1186e-15 | -3.1848e-10 | -1.025e-09 | -5.2106e-15 | -1.3426e-09 | 1.1888e-10 | 5.2106e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -6.0487e-12 | -140.8543 | 122.4159 | -6.0503e-12 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.908e-15 | -9.5549e-10 | -3.075e-09 | -1.3027e-15 | 9.555e-10 | 3.075e-09 | -5.2106e-15 | 4.0277e-09 | -3.5664e-10 | 5.2106e-15 | -4.0277e-09 | 3.5664e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -6.0415e-12 | -140.8543 | 122.4159 | -6.0503e-12 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | 3.185e-10 | 1.025e-09 | 6.5133e-15 | -3.1848e-10 | -1.025e-09 | 5.2106e-15 | -1.3426e-09 | 1.1889e-10 | -5.2106e-15 | 1.3425e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -6.0528e-12 | -140.8543 | 122.4159 | -6.0503e-12 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | 3.1849e-10 | 1.025e-09 | 9.1186e-15 | -3.1848e-10 | -1.025e-09 | -5.2106e-15 | -1.3426e-09 | 1.1888e-10 | 5.2106e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -6.0487e-12 | -140.8543 | 122.4159 | -6.0503e-12 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -1.1842e-14 | 4.7369e-15 | 1.1842e-14 | 1.1843e-14 | -2.3678e-15 | -1.0719e-27 | 4.7631e-09 | -4.7631e-09 | -1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.3215e-12 | -180 | 180 | 4.3362e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | -1.1842e-14 | 4.7373e-15 | -4.737e-15 | 1.1842e-14 | -2.3687e-15 | 3.5883e-28 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.3402e-12 | -180 | 180 | 4.3362e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | -2.3682e-15 | 4.7373e-15 | -7.1054e-15 | 2.3682e-15 | -2.3687e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | -5.3774e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.3107e-12 | -180 | 180 | 4.3362e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -1.1842e-14 | 4.7369e-15 | 1.1842e-14 | 1.1843e-14 | -2.3678e-15 | -1.0719e-27 | 4.7631e-09 | -4.7631e-09 | -1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.3215e-12 | -180 | 180 | 4.3362e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | -1.1842e-14 | 4.7373e-15 | -4.737e-15 | 1.1842e-14 | -2.3687e-15 | 3.5883e-28 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.3402e-12 | -180 | 180 | 4.3362e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | -2.3682e-15 | 4.7373e-15 | -7.1054e-15 | 2.3682e-15 | -2.3687e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | -5.3774e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.3107e-12 | -180 | 180 | 4.3362e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-15 | -8.0025e-10 | -2.5674e-09 | 8.2897e-15 | 8.0025e-10 | 2.5674e-09 | 9.4739e-15 | 3.4014e-09 | -3.4064e-10 | -7.1054e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -1.6742e-13 | -141.4824 | 122.8363 | -1.5457e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 2.6675e-10 | 8.558e-10 | -3.5527e-15 | -2.6675e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1354e-10 | 4.737e-15 | 1.1338e-09 | -1.1354e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -1.5144e-13 | -141.4824 | 122.8363 | -1.5457e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6645e-15 | 2.6675e-10 | 8.558e-10 | 5.033e-15 | -2.6675e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -1.6338e-13 | -141.4824 | 122.8363 | -1.5457e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-15 | -8.0025e-10 | -2.5674e-09 | 8.2897e-15 | 8.0025e-10 | 2.5674e-09 | 9.4739e-15 | 3.4014e-09 | -3.4064e-10 | -7.1054e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -1.6742e-13 | -141.4824 | 122.8363 | -1.5457e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 2.6675e-10 | 8.558e-10 | -3.5527e-15 | -2.6675e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1354e-10 | 4.737e-15 | 1.1338e-09 | -1.1354e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -1.5144e-13 | -141.4824 | 122.8363 | -1.5457e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6645e-15 | 2.6675e-10 | 8.558e-10 | 5.033e-15 | -2.6675e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -1.6338e-13 | -141.4824 | 122.8363 | -1.5457e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016423 | 0.016423 | 0.016423 | 0.010952 | 0.010952 | 0.010952 | 0.18963 | 0.18963 | 0.18963 | 0.12646 | 0.12646 | 0.12646 | 1.3182e-14 | 0.18177 | -0.17953 | 0.00055396 | -0.12083 | 0.12011 | -7.8649e-14 | -0.31346 | -0.31482 | 0.00022043 | 0.20916 | 0.21026 | -90.2165 | -90.2165 | -90.2165 | 89.7381 | 89.7381 | 89.7381 |  | 0 | 1.9108 | 1.9111 | 0.0047145 | 1.9101 | 1.9148 | 0 | -150.1074 | 150.0895 | 111.4371 | -150.2473 | 150.0014
Line_1 | 0 | 0 | 0 | 0.005476 | 0.005476 | 0.005476 | 0 | 0 | 0 | 0.063231 | 0.063231 | 0.063231 | -8.4557e-12 | -6.7229e-09 | -6.762e-09 | -0.00027698 | 0.060415 | -0.060055 | 2.1241e-11 | -3.8837e-09 | 3.8611e-09 | -0.00011022 | -0.10458 | -0.10513 | 0 | 0 | 0 | -90.2619 | -90.2619 | -90.2619 |  | 0.0056576 | 1.91 | 1.9155 | 0.0047145 | 1.9101 | 1.9148 | 111.4325 | -150.2753 | 149.9838 | 111.4371 | -150.2473 | 150.0014
Line_2 | 0 | 0 | 0 | 0.005476 | 0.005476 | 0.005476 | 0 | 0 | 0 | 0.063231 | 0.063231 | 0.063231 | -8.4558e-12 | -6.7228e-09 | -6.7621e-09 | -0.00027698 | 0.060415 | -0.060055 | 2.1241e-11 | -3.8836e-09 | 3.8611e-09 | -0.00011022 | -0.10458 | -0.10513 | 0 | 0 | 0 | -90.2619 | -90.2619 | -90.2619 |  | 0.0056576 | 1.91 | 1.9155 | 0.0047145 | 1.9101 | 1.9148 | 111.4325 | -150.2753 | 149.9838 | 111.4371 | -150.2473 | 150.0014

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016423 | 0.016423 | 0.016423 | 0.010952 | 0.010952 | 0.010952 | 0.18963 | 0.18963 | 0.18963 | 0.12646 | 0.12646 | 0.12646 | 1.3182e-14 | 0.18177 | -0.17953 | 0.00055396 | -0.12083 | 0.12011 | -7.8649e-14 | -0.31346 | -0.31482 | 0.00022043 | 0.20916 | 0.21026 | -90.2165 | -90.2165 | -90.2165 | 89.7381 | 89.7381 | 89.7381 |  | 0 | 1.9108 | 1.9111 | 0.0047145 | 1.9101 | 1.9148 | 0 | -150.1074 | 150.0895 | 111.4371 | -150.2473 | 150.0014
Line_1 | 0 | 0 | 0 | 0.005476 | 0.005476 | 0.005476 | 0 | 0 | 0 | 0.063231 | 0.063231 | 0.063231 | -8.4557e-12 | -6.7229e-09 | -6.762e-09 | -0.00027698 | 0.060415 | -0.060055 | 2.1241e-11 | -3.8837e-09 | 3.8611e-09 | -0.00011022 | -0.10458 | -0.10513 | 0 | 0 | 0 | -90.2619 | -90.2619 | -90.2619 |  | 0.0056576 | 1.91 | 1.9155 | 0.0047145 | 1.9101 | 1.9148 | 111.4325 | -150.2753 | 149.9838 | 111.4371 | -150.2473 | 150.0014
Line_2 | 0 | 0 | 0 | 0.005476 | 0.005476 | 0.005476 | 0 | 0 | 0 | 0.063231 | 0.063231 | 0.063231 | -8.4558e-12 | -6.7228e-09 | -6.7621e-09 | -0.00027698 | 0.060415 | -0.060055 | 2.1241e-11 | -3.8836e-09 | 3.8611e-09 | -0.00011022 | -0.10458 | -0.10513 | 0 | 0 | 0 | -90.2619 | -90.2619 | -90.2619 |  | 0.0056576 | 1.91 | 1.9155 | 0.0047145 | 1.9101 | 1.9148 | 111.4325 | -150.2753 | 149.9838 | 111.4371 | -150.2473 | 150.0014

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016635 | 0.016635 | 0.016635 | 0.011094 | 0.011094 | 0.011094 | 0.19209 | 0.19209 | 0.19209 | 0.1281 | 0.1281 | 0.1281 | -0.0027737 | 0.1855 | -0.18042 | 0.0024166 | -0.1233 | 0.12072 | -0.0027638 | -0.31784 | -0.32404 | 0.0020707 | 0.21209 | 0.21642 | -90.9715 | -90.9715 | -90.9715 | 88.9832 | 88.9832 | 88.9832 |  | 0.020384 | 1.9158 | 1.9308 | 0.024844 | 1.9151 | 1.9345 | 133.9259 | -150.7024 | 149.92 | 129.5753 | -150.8437 | 149.8305
Line_1 | 0 | 0 | 0 | 0.0055468 | 0.0055468 | 0.0055468 | 0 | 0 | 0 | 0.064049 | 0.064049 | 0.064049 | -6.763e-11 | -6.817e-09 | -6.96e-09 | -0.0012083 | 0.061652 | -0.060359 | 8.0841e-11 | -3.9632e-09 | 3.8807e-09 | -0.0010354 | -0.10604 | -0.10821 | 0 | 0 | 0 | -91.0168 | -91.0168 | -91.0168 |  | 0.02575 | 1.915 | 1.9353 | 0.024844 | 1.9151 | 1.9345 | 128.886 | -150.8719 | 149.8126 | 129.5753 | -150.8437 | 149.8305
Line_2 | 0 | 0 | 0 | 0.0055468 | 0.0055468 | 0.0055468 | 0 | 0 | 0 | 0.064049 | 0.064049 | 0.064049 | -6.763e-11 | -6.8169e-09 | -6.96e-09 | -0.0012083 | 0.061652 | -0.060359 | 8.0842e-11 | -3.9632e-09 | 3.8806e-09 | -0.0010354 | -0.10604 | -0.10821 | 0 | 0 | 0 | -91.0168 | -91.0168 | -91.0168 |  | 0.02575 | 1.915 | 1.9353 | 0.024844 | 1.9151 | 1.9345 | 128.886 | -150.8719 | 149.8126 | 129.5753 | -150.8437 | 149.8305

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016635 | 0.016635 | 0.016635 | 0.011094 | 0.011094 | 0.011094 | 0.19209 | 0.19209 | 0.19209 | 0.1281 | 0.1281 | 0.1281 | -0.0027737 | 0.1855 | -0.18042 | 0.0024166 | -0.1233 | 0.12072 | -0.0027638 | -0.31784 | -0.32404 | 0.0020707 | 0.21209 | 0.21642 | -90.9715 | -90.9715 | -90.9715 | 88.9832 | 88.9832 | 88.9832 |  | 0.020384 | 1.9158 | 1.9308 | 0.024844 | 1.9151 | 1.9345 | 133.9259 | -150.7024 | 149.92 | 129.5753 | -150.8437 | 149.8305
Line_1 | 0 | 0 | 0 | 0.0055468 | 0.0055468 | 0.0055468 | 0 | 0 | 0 | 0.064049 | 0.064049 | 0.064049 | -6.763e-11 | -6.817e-09 | -6.96e-09 | -0.0012083 | 0.061652 | -0.060359 | 8.0841e-11 | -3.9632e-09 | 3.8807e-09 | -0.0010354 | -0.10604 | -0.10821 | 0 | 0 | 0 | -91.0168 | -91.0168 | -91.0168 |  | 0.02575 | 1.915 | 1.9353 | 0.024844 | 1.9151 | 1.9345 | 128.886 | -150.8719 | 149.8126 | 129.5753 | -150.8437 | 149.8305
Line_2 | 0 | 0 | 0 | 0.0055468 | 0.0055468 | 0.0055468 | 0 | 0 | 0 | 0.064049 | 0.064049 | 0.064049 | -6.763e-11 | -6.8169e-09 | -6.96e-09 | -0.0012083 | 0.061652 | -0.060359 | 8.0842e-11 | -3.9632e-09 | 3.8806e-09 | -0.0010354 | -0.10604 | -0.10821 | 0 | 0 | 0 | -91.0168 | -91.0168 | -91.0168 |  | 0.02575 | 1.915 | 1.9353 | 0.024844 | 1.9151 | 1.9345 | 128.886 | -150.8719 | 149.8126 | 129.5753 | -150.8437 | 149.8305

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014932 | 0.014932 | 0.014932 | 0.0099579 | 0.0099579 | 0.0099579 | 0.17242 | 0.17242 | 0.17242 | 0.11498 | 0.11498 | 0.11498 | -6.2949e-14 | 0.1511 | -0.14754 | 0.00087929 | -0.10015 | 0.099003 | -5.7378e-14 | -0.25864 | -0.26076 | 0.00018233 | 0.17251 | 0.17423 | -90.4067 | -90.4067 | -90.4067 | 89.5062 | 89.5062 | 89.5062 |  | 0 | 1.7373 | 1.7376 | 0.0078098 | 1.7348 | 1.7428 | 0 | -150.1135 | 150.0926 | 101.2212 | -150.3578 | 149.8992
Line_1 | 0 | 0 | 0 | 0.0049789 | 0.0049789 | 0.0049789 | 0 | 0 | 0 | 0.057492 | 0.057492 | 0.057492 | -7.0041e-12 | -5.5442e-09 | -5.6049e-09 | -0.00043964 | 0.050073 | -0.049502 | 3.3708e-11 | -3.2185e-09 | 3.1835e-09 | -9.1167e-05 | -0.086256 | -0.087114 | 0 | 0 | 0 | -90.4938 | -90.4938 | -90.4938 |  | 0.009372 | 1.7343 | 1.7438 | 0.0078098 | 1.7348 | 1.7428 | 101.2125 | -150.4068 | 149.8607 | 101.2212 | -150.3578 | 149.8992
Line_2 | 0 | 0 | 0 | 0.0049789 | 0.0049789 | 0.0049789 | 0 | 0 | 0 | 0.057492 | 0.057492 | 0.057492 | -7.0043e-12 | -5.5442e-09 | -5.6049e-09 | -0.00043964 | 0.050073 | -0.049502 | 3.3708e-11 | -3.2186e-09 | 3.1835e-09 | -9.1167e-05 | -0.086256 | -0.087114 | 0 | 0 | 0 | -90.4938 | -90.4938 | -90.4938 |  | 0.009372 | 1.7343 | 1.7438 | 0.0078098 | 1.7348 | 1.7428 | 101.2125 | -150.4068 | 149.8607 | 101.2212 | -150.3578 | 149.8992

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014932 | 0.014932 | 0.014932 | 0.0099579 | 0.0099579 | 0.0099579 | 0.17242 | 0.17242 | 0.17242 | 0.11498 | 0.11498 | 0.11498 | -6.2949e-14 | 0.1511 | -0.14754 | 0.00087929 | -0.10015 | 0.099003 | -5.7378e-14 | -0.25864 | -0.26076 | 0.00018233 | 0.17251 | 0.17423 | -90.4067 | -90.4067 | -90.4067 | 89.5062 | 89.5062 | 89.5062 |  | 0 | 1.7373 | 1.7376 | 0.0078098 | 1.7348 | 1.7428 | 0 | -150.1135 | 150.0926 | 101.2212 | -150.3578 | 149.8992
Line_1 | 0 | 0 | 0 | 0.0049789 | 0.0049789 | 0.0049789 | 0 | 0 | 0 | 0.057492 | 0.057492 | 0.057492 | -7.0041e-12 | -5.5442e-09 | -5.6049e-09 | -0.00043964 | 0.050073 | -0.049502 | 3.3708e-11 | -3.2185e-09 | 3.1835e-09 | -9.1167e-05 | -0.086256 | -0.087114 | 0 | 0 | 0 | -90.4938 | -90.4938 | -90.4938 |  | 0.009372 | 1.7343 | 1.7438 | 0.0078098 | 1.7348 | 1.7428 | 101.2125 | -150.4068 | 149.8607 | 101.2212 | -150.3578 | 149.8992
Line_2 | 0 | 0 | 0 | 0.0049789 | 0.0049789 | 0.0049789 | 0 | 0 | 0 | 0.057492 | 0.057492 | 0.057492 | -7.0043e-12 | -5.5442e-09 | -5.6049e-09 | -0.00043964 | 0.050073 | -0.049502 | 3.3708e-11 | -3.2186e-09 | 3.1835e-09 | -9.1167e-05 | -0.086256 | -0.087114 | 0 | 0 | 0 | -90.4938 | -90.4938 | -90.4938 |  | 0.009372 | 1.7343 | 1.7438 | 0.0078098 | 1.7348 | 1.7428 | 101.2125 | -150.4068 | 149.8607 | 101.2212 | -150.3578 | 149.8992

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015124 | 0.015124 | 0.015124 | 0.010086 | 0.010086 | 0.010086 | 0.17464 | 0.17464 | 0.17464 | 0.11646 | 0.11646 | 0.11646 | -0.0022965 | 0.15419 | -0.14824 | 0.0024313 | -0.10219 | 0.099486 | -0.0022808 | -0.26222 | -0.26837 | 0.0017104 | 0.1749 | 0.17931 | -91.1654 | -91.1654 | -91.1654 | 88.7474 | 88.7474 | 88.7474 |  | 0.018533 | 1.7418 | 1.7555 | 0.025524 | 1.7393 | 1.7607 | 133.6379 | -150.7094 | 149.92 | 123.874 | -150.956 | 149.7244
Line_1 | 0 | 0 | 0 | 0.0050431 | 0.0050431 | 0.0050431 | 0 | 0 | 0 | 0.058232 | 0.058232 | 0.058232 | -5.588e-11 | -5.6209e-09 | -5.7683e-09 | -0.0012156 | 0.051094 | -0.049743 | 8.3409e-11 | -3.2841e-09 | 3.1991e-09 | -0.00085521 | -0.087449 | -0.089654 | 0 | 0 | 0 | -91.2526 | -91.2526 | -91.2526 |  | 0.026983 | 1.7388 | 1.7617 | 0.025524 | 1.7393 | 1.7607 | 122.536 | -151.0054 | 149.6854 | 123.874 | -150.956 | 149.7244
Line_2 | 0 | 0 | 0 | 0.0050431 | 0.0050431 | 0.0050431 | 0 | 0 | 0 | 0.058232 | 0.058232 | 0.058232 | -5.5881e-11 | -5.6209e-09 | -5.7683e-09 | -0.0012156 | 0.051094 | -0.049743 | 8.3409e-11 | -3.2841e-09 | 3.1991e-09 | -0.00085521 | -0.087449 | -0.089654 | 0 | 0 | 0 | -91.2526 | -91.2526 | -91.2526 |  | 0.026983 | 1.7388 | 1.7617 | 0.025524 | 1.7393 | 1.7607 | 122.536 | -151.0054 | 149.6854 | 123.874 | -150.956 | 149.7244

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015124 | 0.015124 | 0.015124 | 0.010086 | 0.010086 | 0.010086 | 0.17464 | 0.17464 | 0.17464 | 0.11646 | 0.11646 | 0.11646 | -0.0022965 | 0.15419 | -0.14824 | 0.0024313 | -0.10219 | 0.099486 | -0.0022808 | -0.26222 | -0.26837 | 0.0017104 | 0.1749 | 0.17931 | -91.1654 | -91.1654 | -91.1654 | 88.7474 | 88.7474 | 88.7474 |  | 0.018533 | 1.7418 | 1.7555 | 0.025524 | 1.7393 | 1.7607 | 133.6379 | -150.7094 | 149.92 | 123.874 | -150.956 | 149.7244
Line_1 | 0 | 0 | 0 | 0.0050431 | 0.0050431 | 0.0050431 | 0 | 0 | 0 | 0.058232 | 0.058232 | 0.058232 | -5.588e-11 | -5.6209e-09 | -5.7683e-09 | -0.0012156 | 0.051094 | -0.049743 | 8.3409e-11 | -3.2841e-09 | 3.1991e-09 | -0.00085521 | -0.087449 | -0.089654 | 0 | 0 | 0 | -91.2526 | -91.2526 | -91.2526 |  | 0.026983 | 1.7388 | 1.7617 | 0.025524 | 1.7393 | 1.7607 | 122.536 | -151.0054 | 149.6854 | 123.874 | -150.956 | 149.7244
Line_2 | 0 | 0 | 0 | 0.0050431 | 0.0050431 | 0.0050431 | 0 | 0 | 0 | 0.058232 | 0.058232 | 0.058232 | -5.5881e-11 | -5.6209e-09 | -5.7683e-09 | -0.0012156 | 0.051094 | -0.049743 | 8.3409e-11 | -3.2841e-09 | 3.1991e-09 | -0.00085521 | -0.087449 | -0.089654 | 0 | 0 | 0 | -91.2526 | -91.2526 | -91.2526 |  | 0.026983 | 1.7388 | 1.7617 | 0.025524 | 1.7393 | 1.7607 | 122.536 | -151.0054 | 149.6854 | 123.874 | -150.956 | 149.7244

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0081869 | 0.0081869 | 0.0081869 | 0.0054597 | 0.0054597 | 0.0054597 | 0.094534 | 0.094534 | 0.094534 | 0.063043 | 0.063043 | 0.063043 | 0.00055757 | -1.85e-14 | -3.3462e-14 | -0.00031666 | 0.00013767 | 0.00013767 | -0.15614 | -5.8831e-14 | 2.3714e-14 | 0.10418 | 5.4781e-05 | 5.4781e-05 | 89.7924 | 89.7924 | 89.7924 | -90.253 | -90.253 | -90.253 |  | 1.6516 | 0 | 0 | 1.6525 | 0.0023502 | 0.0023502 | -0.0029586 | 0 | 0 | -0.078803 | -68.554 | -68.554
Line_1 | 0 | 0 | 0 | 0.0027298 | 0.0027298 | 0.0027298 | 0 | 0 | 0 | 0.031521 | 0.031521 | 0.031521 | -3.3491e-09 | 7.0614e-12 | -1.1278e-11 | 0.00015833 | -6.8833e-05 | -6.8833e-05 | -1.0947e-11 | 8.8954e-12 | 1.6928e-12 | -0.052089 | -2.7391e-05 | -2.7391e-05 | 0 | 0 | 0 | 89.747 | 89.747 | 89.747 |  | 1.6527 | 0.0028204 | 0.0028204 | 1.6525 | 0.0023502 | 0.0023502 | -0.093968 | -68.5586 | -68.5586 | -0.078803 | -68.554 | -68.554
Line_2 | 0 | 0 | 0 | 0.0027298 | 0.0027298 | 0.0027298 | 0 | 0 | 0 | 0.031521 | 0.031521 | 0.031521 | -3.3491e-09 | 7.0613e-12 | -1.1278e-11 | 0.00015833 | -6.8833e-05 | -6.8833e-05 | -1.0947e-11 | 8.8952e-12 | 1.693e-12 | -0.052089 | -2.7391e-05 | -2.7391e-05 | 0 | 0 | 0 | 89.747 | 89.747 | 89.747 |  | 1.6527 | 0.0028204 | 0.0028204 | 1.6525 | 0.0023502 | 0.0023502 | -0.093968 | -68.5586 | -68.5586 | -0.078803 | -68.554 | -68.554

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0081869 | 0.0081869 | 0.0081869 | 0.0054597 | 0.0054597 | 0.0054597 | 0.094534 | 0.094534 | 0.094534 | 0.063043 | 0.063043 | 0.063043 | 0.00055757 | -1.85e-14 | -3.3462e-14 | -0.00031666 | 0.00013767 | 0.00013767 | -0.15614 | -5.8831e-14 | 2.3714e-14 | 0.10418 | 5.4781e-05 | 5.4781e-05 | 89.7924 | 89.7924 | 89.7924 | -90.253 | -90.253 | -90.253 |  | 1.6516 | 0 | 0 | 1.6525 | 0.0023502 | 0.0023502 | -0.0029586 | 0 | 0 | -0.078803 | -68.554 | -68.554
Line_1 | 0 | 0 | 0 | 0.0027298 | 0.0027298 | 0.0027298 | 0 | 0 | 0 | 0.031521 | 0.031521 | 0.031521 | -3.3491e-09 | 7.0614e-12 | -1.1278e-11 | 0.00015833 | -6.8833e-05 | -6.8833e-05 | -1.0947e-11 | 8.8954e-12 | 1.6928e-12 | -0.052089 | -2.7391e-05 | -2.7391e-05 | 0 | 0 | 0 | 89.747 | 89.747 | 89.747 |  | 1.6527 | 0.0028204 | 0.0028204 | 1.6525 | 0.0023502 | 0.0023502 | -0.093968 | -68.5586 | -68.5586 | -0.078803 | -68.554 | -68.554
Line_2 | 0 | 0 | 0 | 0.0027298 | 0.0027298 | 0.0027298 | 0 | 0 | 0 | 0.031521 | 0.031521 | 0.031521 | -3.3491e-09 | 7.0613e-12 | -1.1278e-11 | 0.00015833 | -6.8833e-05 | -6.8833e-05 | -1.0947e-11 | 8.8952e-12 | 1.693e-12 | -0.052089 | -2.7391e-05 | -2.7391e-05 | 0 | 0 | 0 | 89.747 | 89.747 | 89.747 |  | 1.6527 | 0.0028204 | 0.0028204 | 1.6525 | 0.0023502 | 0.0023502 | -0.093968 | -68.5586 | -68.5586 | -0.078803 | -68.554 | -68.554

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0082396 | 0.0082396 | 0.0082396 | 0.0054948 | 0.0054948 | 0.0054948 | 0.095142 | 0.095142 | 0.095142 | 0.063448 | 0.063448 | 0.063448 | 0.0012452 | -0.071238 | 0.070558 | -0.00077418 | 0.047653 | -0.04692 | -0.15747 | 0.011487 | -0.012165 | 0.10507 | -0.007567 | 0.0081305 | 89.4186 | 89.4186 | 89.4186 | -90.6268 | -90.6268 | -90.6268 |  | 1.6552 | 0.75842 | 0.75254 | 1.656 | 0.76046 | 0.75053 | -0.12838 | -99.741 | 79.6366 | -0.20468 | -99.6498 | 79.5424
Line_1 | 0 | 0 | 0 | 0.0027474 | 0.0027474 | 0.0027474 | 0 | 0 | 0 | 0.031724 | 0.031724 | 0.031724 | -3.3778e-09 | 7.5427e-10 | 2.3822e-10 | 0.00038709 | -0.023826 | 0.02346 | -2.5696e-11 | 1.0681e-09 | -1.964e-09 | -0.052535 | 0.0037835 | -0.0040652 | 0 | 0 | 0 | 89.3732 | 89.3732 | 89.3732 |  | 1.6562 | 0.76086 | 0.75012 | 1.656 | 0.76046 | 0.75053 | -0.21993 | -99.6316 | 79.5235 | -0.20468 | -99.6498 | 79.5424
Line_2 | 0 | 0 | 0 | 0.0027474 | 0.0027474 | 0.0027474 | 0 | 0 | 0 | 0.031724 | 0.031724 | 0.031724 | -3.3778e-09 | 7.5425e-10 | 2.3821e-10 | 0.00038709 | -0.023826 | 0.02346 | -2.5681e-11 | 1.0681e-09 | -1.9639e-09 | -0.052535 | 0.0037835 | -0.0040652 | 0 | 0 | 0 | 89.3732 | 89.3732 | 89.3732 |  | 1.6562 | 0.76086 | 0.75012 | 1.656 | 0.76046 | 0.75053 | -0.21993 | -99.6316 | 79.5235 | -0.20468 | -99.6498 | 79.5424

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0082396 | 0.0082396 | 0.0082396 | 0.0054948 | 0.0054948 | 0.0054948 | 0.095142 | 0.095142 | 0.095142 | 0.063448 | 0.063448 | 0.063448 | 0.0012452 | -0.071238 | 0.070558 | -0.00077418 | 0.047653 | -0.04692 | -0.15747 | 0.011487 | -0.012165 | 0.10507 | -0.007567 | 0.0081305 | 89.4186 | 89.4186 | 89.4186 | -90.6268 | -90.6268 | -90.6268 |  | 1.6552 | 0.75842 | 0.75254 | 1.656 | 0.76046 | 0.75053 | -0.12838 | -99.741 | 79.6366 | -0.20468 | -99.6498 | 79.5424
Line_1 | 0 | 0 | 0 | 0.0027474 | 0.0027474 | 0.0027474 | 0 | 0 | 0 | 0.031724 | 0.031724 | 0.031724 | -3.3778e-09 | 7.5427e-10 | 2.3822e-10 | 0.00038709 | -0.023826 | 0.02346 | -2.5696e-11 | 1.0681e-09 | -1.964e-09 | -0.052535 | 0.0037835 | -0.0040652 | 0 | 0 | 0 | 89.3732 | 89.3732 | 89.3732 |  | 1.6562 | 0.76086 | 0.75012 | 1.656 | 0.76046 | 0.75053 | -0.21993 | -99.6316 | 79.5235 | -0.20468 | -99.6498 | 79.5424
Line_2 | 0 | 0 | 0 | 0.0027474 | 0.0027474 | 0.0027474 | 0 | 0 | 0 | 0.031724 | 0.031724 | 0.031724 | -3.3778e-09 | 7.5425e-10 | 2.3821e-10 | 0.00038709 | -0.023826 | 0.02346 | -2.5681e-11 | 1.0681e-09 | -1.9639e-09 | -0.052535 | 0.0037835 | -0.0040652 | 0 | 0 | 0 | 89.3732 | 89.3732 | 89.3732 |  | 1.6562 | 0.76086 | 0.75012 | 1.656 | 0.76046 | 0.75053 | -0.21993 | -99.6316 | 79.5235 | -0.20468 | -99.6498 | 79.5424

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0074428 | 0.0074428 | 0.0074428 | 0.0049634 | 0.0049634 | 0.0049634 | 0.085942 | 0.085942 | 0.085942 | 0.057313 | 0.057313 | 0.057313 | 0.00088478 | -9.8535e-14 | 3.4022e-14 | -0.00050248 | 0.00021845 | 0.00021845 | -0.12904 | 1.897e-14 | 4.0568e-14 | 0.086101 | 4.53e-05 | 4.53e-05 | 89.6037 | 89.6037 | 89.6037 | -90.4834 | -90.4834 | -90.4834 |  | 1.5016 | 0 | 0 | 1.5023 | 0.0038927 | 0.0038927 | -0.0034539 | 0 | 0 | -0.14907 | -78.7684 | -78.7684
Line_1 | 0 | 0 | 0 | 0.0024817 | 0.0024817 | 0.0024817 | 0 | 0 | 0 | 0.028656 | 0.028656 | 0.028656 | -2.7682e-09 | 1.2803e-11 | -1.6297e-11 | 0.00025124 | -0.00010923 | -0.00010923 | -1.7127e-11 | 1.1287e-11 | 5.5135e-12 | -0.04305 | -2.265e-05 | -2.265e-05 | 0 | 0 | 0 | 89.5166 | 89.5166 | 89.5166 |  | 1.5025 | 0.0046714 | 0.0046714 | 1.5023 | 0.0038927 | 0.0038927 | -0.17819 | -78.7771 | -78.7771 | -0.14907 | -78.7684 | -78.7684
Line_2 | 0 | 0 | 0 | 0.0024817 | 0.0024817 | 0.0024817 | 0 | 0 | 0 | 0.028656 | 0.028656 | 0.028656 | -2.7682e-09 | 1.2803e-11 | -1.6297e-11 | 0.00025124 | -0.00010923 | -0.00010923 | -1.7148e-11 | 1.1288e-11 | 5.5134e-12 | -0.04305 | -2.265e-05 | -2.265e-05 | 0 | 0 | 0 | 89.5166 | 89.5166 | 89.5166 |  | 1.5025 | 0.0046714 | 0.0046714 | 1.5023 | 0.0038927 | 0.0038927 | -0.17819 | -78.7771 | -78.7771 | -0.14907 | -78.7684 | -78.7684

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0074428 | 0.0074428 | 0.0074428 | 0.0049634 | 0.0049634 | 0.0049634 | 0.085942 | 0.085942 | 0.085942 | 0.057313 | 0.057313 | 0.057313 | 0.00088478 | -9.8535e-14 | 3.4022e-14 | -0.00050248 | 0.00021845 | 0.00021845 | -0.12904 | 1.897e-14 | 4.0568e-14 | 0.086101 | 4.53e-05 | 4.53e-05 | 89.6037 | 89.6037 | 89.6037 | -90.4834 | -90.4834 | -90.4834 |  | 1.5016 | 0 | 0 | 1.5023 | 0.0038927 | 0.0038927 | -0.0034539 | 0 | 0 | -0.14907 | -78.7684 | -78.7684
Line_1 | 0 | 0 | 0 | 0.0024817 | 0.0024817 | 0.0024817 | 0 | 0 | 0 | 0.028656 | 0.028656 | 0.028656 | -2.7682e-09 | 1.2803e-11 | -1.6297e-11 | 0.00025124 | -0.00010923 | -0.00010923 | -1.7127e-11 | 1.1287e-11 | 5.5135e-12 | -0.04305 | -2.265e-05 | -2.265e-05 | 0 | 0 | 0 | 89.5166 | 89.5166 | 89.5166 |  | 1.5025 | 0.0046714 | 0.0046714 | 1.5023 | 0.0038927 | 0.0038927 | -0.17819 | -78.7771 | -78.7771 | -0.14907 | -78.7684 | -78.7684
Line_2 | 0 | 0 | 0 | 0.0024817 | 0.0024817 | 0.0024817 | 0 | 0 | 0 | 0.028656 | 0.028656 | 0.028656 | -2.7682e-09 | 1.2803e-11 | -1.6297e-11 | 0.00025124 | -0.00010923 | -0.00010923 | -1.7148e-11 | 1.1288e-11 | 5.5134e-12 | -0.04305 | -2.265e-05 | -2.265e-05 | 0 | 0 | 0 | 89.5166 | 89.5166 | 89.5166 |  | 1.5025 | 0.0046714 | 0.0046714 | 1.5023 | 0.0038927 | 0.0038927 | -0.17819 | -78.7771 | -78.7771 | -0.14907 | -78.7684 | -78.7684

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0074904 | 0.0074904 | 0.0074904 | 0.0049952 | 0.0049952 | 0.0049952 | 0.086492 | 0.086492 | 0.086492 | 0.05768 | 0.05768 | 0.05768 | 0.0014594 | -0.058242 | 0.057678 | -0.00088401 | 0.039071 | -0.038253 | -0.13014 | 0.0095574 | -0.010117 | 0.086833 | -0.0062687 | 0.0067341 | 89.228 | 89.228 | 89.228 | -90.8591 | -90.8591 | -90.8591 |  | 1.5048 | 0.68238 | 0.67704 | 1.5055 | 0.68604 | 0.6734 | -0.1295 | -100.0911 | 79.2795 | -0.27586 | -99.9742 | 79.1569
Line_1 | 0 | 0 | 0 | 0.0024976 | 0.0024976 | 0.0024976 | 0 | 0 | 0 | 0.02884 | 0.02884 | 0.02884 | -2.7917e-09 | 6.3616e-10 | 2.0607e-10 | 0.000442 | -0.019535 | 0.019127 | -2.9396e-11 | 8.6328e-10 | -1.6139e-09 | -0.043416 | 0.0031343 | -0.003367 | 0 | 0 | 0 | 89.1409 | 89.1409 | 89.1409 |  | 1.5057 | 0.68677 | 0.67267 | 1.5055 | 0.68604 | 0.6734 | -0.30512 | -99.951 | 79.1323 | -0.27586 | -99.9742 | 79.1569
Line_2 | 0 | 0 | 0 | 0.0024976 | 0.0024976 | 0.0024976 | 0 | 0 | 0 | 0.02884 | 0.02884 | 0.02884 | -2.7917e-09 | 6.3616e-10 | 2.0607e-10 | 0.000442 | -0.019535 | 0.019127 | -2.9425e-11 | 8.6329e-10 | -1.6138e-09 | -0.043416 | 0.0031343 | -0.003367 | 0 | 0 | 0 | 89.1409 | 89.1409 | 89.1409 |  | 1.5057 | 0.68677 | 0.67267 | 1.5055 | 0.68604 | 0.6734 | -0.30512 | -99.951 | 79.1323 | -0.27586 | -99.9742 | 79.1569

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0074904 | 0.0074904 | 0.0074904 | 0.0049952 | 0.0049952 | 0.0049952 | 0.086492 | 0.086492 | 0.086492 | 0.05768 | 0.05768 | 0.05768 | 0.0014594 | -0.058242 | 0.057678 | -0.00088401 | 0.039071 | -0.038253 | -0.13014 | 0.0095574 | -0.010117 | 0.086833 | -0.0062687 | 0.0067341 | 89.228 | 89.228 | 89.228 | -90.8591 | -90.8591 | -90.8591 |  | 1.5048 | 0.68238 | 0.67704 | 1.5055 | 0.68604 | 0.6734 | -0.1295 | -100.0911 | 79.2795 | -0.27586 | -99.9742 | 79.1569
Line_1 | 0 | 0 | 0 | 0.0024976 | 0.0024976 | 0.0024976 | 0 | 0 | 0 | 0.02884 | 0.02884 | 0.02884 | -2.7917e-09 | 6.3616e-10 | 2.0607e-10 | 0.000442 | -0.019535 | 0.019127 | -2.9396e-11 | 8.6328e-10 | -1.6139e-09 | -0.043416 | 0.0031343 | -0.003367 | 0 | 0 | 0 | 89.1409 | 89.1409 | 89.1409 |  | 1.5057 | 0.68677 | 0.67267 | 1.5055 | 0.68604 | 0.6734 | -0.30512 | -99.951 | 79.1323 | -0.27586 | -99.9742 | 79.1569
Line_2 | 0 | 0 | 0 | 0.0024976 | 0.0024976 | 0.0024976 | 0 | 0 | 0 | 0.02884 | 0.02884 | 0.02884 | -2.7917e-09 | 6.3616e-10 | 2.0607e-10 | 0.000442 | -0.019535 | 0.019127 | -2.9425e-11 | 8.6329e-10 | -1.6138e-09 | -0.043416 | 0.0031343 | -0.003367 | 0 | 0 | 0 | 89.1409 | 89.1409 | 89.1409 |  | 1.5057 | 0.68677 | 0.67267 | 1.5055 | 0.68604 | 0.6734 | -0.30512 | -99.951 | 79.1323 | -0.27586 | -99.9742 | 79.1569